	LHCb VELO Module

Checklist V1.5
	M5
	[image: image1.png]




	

	Principal Checker
	Anthony Affolder
	

	Date
	 27 February 2007
	

	

	
	Visual
	db
	Comment

	Basic Module

	Base  
	[#]
	5
	(
	

	Hybrid 
	[#]
	135
	(
	

	Side Glued 
	[R/(]
	R
	(
	

	R sensor 
	[#]
	2469-07E
	(
	

	Phi sensor 
	[#]
	2439-10B
	(
	

	Extended 
	[Y/N]
	N
	
	

	Cable number and inspect. Connector Check.

	R-HT
	[#]
	88
	(
	

	R-LT
	[#]
	88
	(
	

	P-HT
	[#]
	91
	(
	

	P-LT
	[#]
	92
	(
	

	R Connecter Check
	
	(
	
	

	P Connection Check
	
	(
	
	

	Module Inspection

	Clamp inspection
	[(]
	(
	
	

	Clamp position marked
	[(]
	(
	
	

	Feet clean & no burs
	[(]
	(
	
	

	Mounting holes in feet checked
	[(]
	(
	
	

	Captive screws on feet
	[(]
	(
	
	

	Paddle vacuum hole (clean and no burs)
	[(]
	(
	
	

	Cooling face free residue
	[(]
	(
	
	

	Captive screws on paddle inserted and free. Inspect threads.
	[(]
	(
	
	

	Pinholes removed
	[(]
	(
	
	

	Ground strap available
	[(]
	X
	
	To be sent directly to assembly area

	No delamination on hybrid R
	[(]
	(
	
	

	No delamination on hybrid Phi
	[(]
	(
	
	

	Low resolution inspection of bondwires R
	[(]
	(
	
	

	Low resolution inspection of bondwires Phi
	[(]
	(
	
	

	No evidence of debris on hybrid R
	[(]
	(
	
	

	No evidence of debris on hybrid Phi
	[(]
	(
	
	

	No evidence of debris on  silicon R
	[(]
	(
	
	

	
	
	db
	Comment

	No evidence of debris on  silicon Phi
	[(]
	(
	
	

	Integrity Si – R
	[(]
	(
	
	

	Integrity Si – Phi
	[(]
	(
	
	

	Si db checklist 

	 R 

	Sensor depletion voltage
	
	30
	

	Sensor current after bonding @ 250V
	
	-2.7
	

	Photograph in db
	
	(
	

	Phi

	Sensor depletion voltage
	
	30
	

	Sensor current after bonding @ 250V
	
	-1.8
	

	Photograph in db
	
	(
	

	Chip data db

	
	Bare Chip
	FEB
	Laser
	Burnin

	R 
	[(]
	(
	(
	(
	(

	Phi
	[(]
	(
	(
	(
	(

	Bad strip list 

	
	Laser Burnin Sensor bad strip – list. 

Confirmed by inspection (Software Strip #)
	# Db list

	R
	[i1,i2,

I3,…]
	772, 897, 1131, 1756
	4

	Phi
	[i1,i2,

I3,…]
	270, 294, 357, 364, 423, 444, 560, 642, 1196, 1211, 1245, 1271, 1421, 1471, 1975
	16

	Thermal Burnin data

	R .img file
	[(]
	(
	

	Phi .img file
	[(]
	(
	

	R jpg
	[(]
	(
	

	Phi jpg 
	[(]
	(
	

	Temp Si R FLIR
	[(]
	(
	

	Temp Si Phi FLIR
	[(]
	(
	

	Temps in logfile
	[(]
	(
	

	Max Movement 
	[(]
	(
	

	Metrology Data

	
	dx (um)
	dy (um)
	D( (urad)

	Si-Si Smartscope

	Value
	
	-6 um
	-1 um 
	20 urad

	CMM 

	Si-Si Value

Absolute R deviation
	
	-6 um

4 um
	8 um

5 um
	-11 urad

-24 urad


	Module
	db
	Twist (um)
	Lean

	
	
	Sensor R
	Sensor 
	

	
	
	Hybrid R
	Hybrid
	

	Full Metrology data
	[(]
	(
	65
	62
	-37 um

	
	
	
	94
	93
	

	With Cables 
	[(]
	(
	
	10 um

	After Burnin
	[(]
	(
	
	3 um

	Module after packing

	Transport Screws tightened
	[(]
	(
	

	Box flushed N2 and sealed
	[(]
	(
	

	Box free loose components
	[(]
	(
	


Countersigned for transport: 

Name:






Date:










PAGE  
Page 3 of 3

