## Slide 1: Lecture 7 – Detectors - I
Early Techniques
Collider Detectors
Solenoidal Field
Tracking
Drift Chamber
Silicon Detector
Introduction to Particle Physics - Max Klein – Lecture 7 - Liverpool University 17.3.14
M.Klein 17.3.2014 L7

## Slide 2: Early Techniques
Emulsion: silver halide crystals in gelatine (π±,K±, ..)
Cloud chamber: ionisation in cloud (e+, μ±, K0,..)
The Study of Elementary Particles by the Photographic Method
C.Powell, P.Fowler, D.Perkins, Pergamon, London 1959
Bubble chamber:
ionisation in
superheated
liquid (Σ0,Ξ0..)
photographic techniques
not triggerable
small active volumes
small event rates
M, p, Q from ionisation and
curvature in magnetic field
A.Bettini, Introduction to Elementary Particle Physics, Cambridge, 2008
M.Klein 17.3.2014 L7

## Slide 3: A now famous detector: ATLAS
ATLAS: global collaboration of ~ 200 institutes
and ~3300 physicists and engineers to explore
the physics at the accelerator energy frontier.
Detector: housed 100m underground in cavern
25m x 45m D x Z, 7000t, 108 channels, 3000 cables
Design 92-97
R&D 94-02
Construction 99-08
Operation 08-33(?)
High energies are nowadays
achieved with colliders.
Full (4π) acceptance is crucial
for searches for new particles.
This determines the by now
classic detector structure,
at LEP, HERA, Tevatron, now
the LHC as for future colliders.
M.Klein 17.3.2014 L7

## Slide 4: Atlas photo
A gigantic evolution of instrumentation, electronics and computing over 100 years

## Slide 5: A detector under design
Muon detector: ID with few detector planes, no momentum measurement – unlike ATLAS
Detector dimensions: 9m diameter,12m length
M.Klein 17.3.2014 L7

## Slide 6: H1 Detector at HERA
Tracker
Lar Calorimeter
Coil
Return Iron/  Detector
beam
line
Forward muon detector
Design 83-85
R&D 84-87
Construction 87-92
Operation 92-07
Data Analysis -2014
350 Physicists
100 PhD students/year
100 Engineers
40 Institutes
130 Publications
electronic techniques
triggerable
large active volumes
huge event rates
M.Klein 17.3.2014 L7

## Slide 7: Particle Identification
ν neutrino carries energy away (“missing E”) -- Hermetic Detector!
M.Klein 17.3.2014 L7

## Slide 8: Particle Identification
M.Klein 17.3.2014 L7

## Slide 9: Deep inelastic scattering event in H1
ep  e’X
1m
M.Klein 17.3.2014 L7

## Slide 10: The same event in xy view
Electromagnetic calorimeter
1m
soleniodal
magnetic field
bends charged
particle tracks.
transverse
momentum
conservation:
e-h back to back
Electron
deposits full
energy in
elem. Calorimeter
hadrons deposite
all energy in elem
and subsequent
hadronic
calorimeter
[cf detectors – II]
M.Klein 17.3.2014 L7

## Slide 11: Momentum Measurement
Charged particles ionize gas of a tracking chamber: the ionisation is detected on wires and the track is reconstructed using the drift time information. Hits
are found to be on a curved track - in the plane
transverse to the beam, i.e. the solenoidal field. The
curvature is the larger the smaller the transverse
momentum, pt , of the track is.
centrifugal force
Tracks in the central
drift chamber of H1
Lorentz force
In solenoidal field:
transverse motion
perpendicular to B:
[GeV] [T] [m]
M.Klein 17.3.2014 L7

## Slide 12: Solenoid - Magnet
Keep dimensions
small to keep cost
down.
Try to arrange the
magnet to contain
the calorimeter
Stored energy
Magnetic field parallel to the beam axis
H1: L=5.7m, R=3m, I=6kA,W=1238, B=1.13T, E=100MJ
M.Klein 17.3.2014 L7

## Slide 13: Tracking
 small , high field B, large L (+ ‘no’ material)
“triple sagitta”
R.Glueckstern, NIM 24(1963)381
Given the desired momentum resolution, the field,
the point resolution and the number of layers, the
radial extension of the tracker is fixed to be ~0.5m
s = sagitta
[note clash in notation: r is the radius of
curvature, L is the track length, which in
a solenoidal field determined the radial
extension of the tracking detector ..]
2
1 3
M.Klein 17.3.2014 L7

## Slide 14: Silicon Detectors
Modern semiconductor detectors use charge deposited by minimum ionising particle
for high precision measurement of charged particle tracks to ~10μm hit reconstruction precision.
Signal: ~20ke in 250μm Si, Noise: interstrip C~ 1k, leakage current 0.1k, bias resistors 0.2k [BST H1]
“p in n”
Planar sensor from pure Si wafer
segmented with implants (pn)
Strip pitch p~50μm,δ≈p/√12
Resolution worsens with inclination
Bulk Si ‘depleted’ by reverse bias V
Ionisation creates e-h pairs
e (h) drift time 10 (25) ns
Charge amplified for strip
Pedestal defined by random noise
…
Visit ground floor at “Oliver Lodge”
D.Pitzl
M.Klein 17.3.2014 L7

## Slide 15: Segmentation and History
Two dimensional strip readout
(often preferred back-to-back single sided r/o)
CMS pixel detector
CMS
1997+ H1,ZEUS
Silicon detectors have dominated tracking detectors and major efforts are
devoted to high resolution, radiation hardness, fast and integrated readout..
M.Klein 17.3.2014 L7

## Slide 16: Drift Chambers
Large sensitive volume
Point resolution of order 200μm
Typical: 1m radius, 104 wires positioned
to 20μm precision, strung parallel to beam
or circular around (“z chambers”).
Sensitive to ageing, gas impurities,
wire and wire-feedthrough mechanics..
Example: COZ of H1 (PHE 88-02, Zeuthen)
Analog pulses to determine the
spatial resolution using different
pulse shape analyses.
Second coordinate from readout
at both ends (charge division)
Calculation of time-distance
relation and measurement of
maximum drift time to determine
the drift velocity vD=56μm/ns
C.Niebuhr
time - channel number
amplitude
Electric field lines and drift time isochrones in a drift cell
M.Klein 17.3.2014 L7

## Slide 17: Drift Chambers
15 000 wires,, 6 tons on endflange, separating CJC from forward tracker
Radial view of H1 central tracker
Outer H1 central jet chamber (CJC2)
spatial resolution vs drift length
M.Klein 17.3.2014 L7

## Slide 18: coz
COZ
H1 drift
chamber
built at
Zeuthen
1986-91