SCT Detector shielding and grounding  Tony Smith Jan 00

Magnetic field susceptibility of the detector and front end

The front ends of Silicon strip detector modules are relatively immune to magnetic fields in their passband due to the very small loop area encompassed by the strip, the backplane metalisation, the fanin structure and the chip input and reference (analog power ground) connection. Depending on the angle of incidence of the magnetic field there are a number of identifiable loops.  Any magnetic coupling into these loops will generate a noise voltage in the loop, and hence a current determined by the loop impedance.  The coupling is directly proportional to frequency, current in the offending conductor, inversely proportional to the distance.from the culprit conductor and proportional to the cosine of the angle of incidence.

Let us examine the six cases of a magnetic field cutting the detector, these are

- A culprit radiating wire parallel to the strips and above or below the detector

b) A culprit radiating wire parallel to the strips in line with the detector plane at either side of the detector

c) A culprit radiating wire orthogonal to the strips and above or below the detector

d) A culprit radiating wire orthogonal to the strips and in the detector plane at either end of the detector

e) A culprit radiating wire normal to the detector plane and centrally at the side of the strips

f) A culprit radiating wire normal to the detector plane and at the end of the strips

For the above cases there are different coupling loops formed by the strips and backplane, between strips and any loop area enclosed by traces to the backplane decoupling capacitor and from the capacitor back to the amplifier ground.

Cases a) and b) are clearly the worst cases for loops where the strips and backplane form the greater part of the loop.

They also cut any loop in the backplane decoupling capacitor traces.

These cover the case of pipework or cabling in the barrel and some of the pipework and cabling in the forward

Figure 1

Cases c) and d) do not contribute any coupling to loops formed by the strips and backplane as the field is in the plane of the loop

They do couple into loops formed between adjacent strips, the inter-strip capacitance, and the amplifiers. For strips in the centre of the detector the opposing current in the neighbouring strip will cancel the effect. For strips at the edge the compensation is not balanced and some net effect may be seen. They also couple into any loop formed by the decoupling capacitor traces. These cover the case of some parts of the pipework and cabling in the forward detectors.

Figure 2

Case e) Field lines cut the strip and backplane loop tin both directions so the net flux is zero in the strip and backplane loop. There will be no contribution to a loop formed by connections to the decoupling capacitor, as these traces will be in the same plane as the field.

Case f) The field lines cut the strip backplane loop and will couple into it but the field is decreasing by 1/r along the length of the loop

Again, There will be no contribution to a loop formed by connections to the decoupling capacitor, as these traces will be in the same plane as the field.

From the above it can be seen that:

1) The largest coupling to the strip backplane loop will be from a current carrying conductor running parallel to and above or below the strips

2) Any loop formed by the conductors to the backplane decoupling capacitor can couple signals into the input loop.

How will the coupling influence the input circuit

A sinusoidally varying magnetic field B with constant field intensity cutting a loop area A at an angle theta will induce in the loop a voltage equal to jw B A cos theta.

In the case of a strip and backplane loop with a low impedance amplifier at one end, then the loop is closed via the strip to backplane capacitance, Csb. If we assume that Csb is the dominant impedance in the loop relative to the strip resistance or the amplifier input impedance then we can consider the strip and backplane to be shorted at the amplifier input and Vsb to be close to zero. The voltage in the loop will be induced incrementally along the length of the strip and backplane conductors so at the far end of the strip the maximum voltage difference will occur. This means that the voltage across the distributed Csb will increase linearly with distance from the amplifier from zero to Vsb max so the average voltage across Csb will be Vsbmax / 2. Alternatively one can think of the effective capacitance being halved or the impedance of the capacitance being doubled. Having determined the impedance of the loop as 2 * Xcsb it is now possible to calculate the current in the loop and the signal seen by the amplifier.

Differences between barrel and forward detectors with respect to electromagnetic coupling

Figures 1 and 2 essentially represent the geometry of a forward module with amplifiers placed at the ends of the strips. In a barrel module the amplifiers are placed at the centre of the strips and the loop geometry is rather different. Here the strip and backplane loop is essentially split into two halves with the amplifier at the centre. Now we have a balanced situation where Vsb max occurs at one end of the strip and –Vsb max at the other end and the current induced at the amplifier from one half of the detector is exactly matched by an equal and opposite sense current from the other half of the detector.

Conversion of magnetic field induced voltages to electrostatic pickup

Note – Even if the currents are essentially balanced it can be seen that a voltage gradient exists along the strip. If these potentials are sufficiently large then it is possible that the parasitic capacitance of the strip to a shield or to another module will induce a signal into the input

Clearly in the case of the barrel, to first order there will be no net susceptibility in the strip backplane loop to magnetic fields from current flowing in a conductor parallel to the strips, such as the cooling tube or power cables. Any magnetic pickup seen is likely to be due to second order effect such as nonlinearities in the field or from coupling into the loop formed by the traces to the backplane decoupling capacitor or due to the indirect effect of strip potentials rising relative to other structures.. .

Example calculation for order of magnitude of the effects in the strip backplane loop

Let us take the loop area enclosed by a 12 cm strip and its backplane on a 300 um thick detector as an example and calculate the current required to flow in a single wire spaced 1 cm from the loop to generate a 10 MHz sinusoidal signal of an amplitude equal to that necessary to give a 100 electron increase in noise at the amplifier above an assumed initial level of 1500 electrons

The loop impedance will determine the current generated in the loop by the induced voltage so it is necessary to estimate the impedance. The impedances in the loop are those of the amplifier input impedance, the strip resistance, the backplane resistance, the impedance of the strip to backplane capacitance and the return path from the backplane to the amplifier ground. The issue of the return path is one where there is some debate. Figure 1 shows two possible paths one via the decoupling capacitor and one via the virtual earth inputs of the other strip amplifiers. In the case where a single strip is stimulated by the charge from a single particle it could be argued that the decoupling capacitor and the amplifier inputs are in parallel and there will be current sharing between them in the ratio of their impedances. Here the impinging field influences many strips, so a large number of the amplifier inputs will have their input voltage raised. (For a wire 1 cm above a detector with 640 strips on a 100 micron pitch, taking into account the angle of incidence and the field reduction as the reciprocal of the distance from the wire the net current will be 44% of the current expected from a uniform field.) If we assume that this current flows mainly in the decoupling capacitor then the decoupling capacitor will have a proportionally smaller effect than for a single strip and we can divide its true value by the effective number of strips stimulated. For two back to back detectors with 640 strips each the effective number of strips is 44% of 1280 = 572 strips

Loop impedance calculation

Amplifier input impedance – will be complex but assume low resistance at 10 MHz --- 	say 30 ohms

Strip resistance  									say 100 ohms

Strip to backplane capacitance 	0.2 pF / cm * 12 cm  					2.4 pF

Effective Csb is half of this due to distributed voltage profile in strip                    1.2pF

Backplane decoupling capacitance (effective) 10 nF / 572 strips  			17.5 pF

Csb is the smallest capacitance and will dominate the capacitive impedance – calculating the impedance of 1.2 pF at 10 MHz gives X= 	13.2K ohms

And this being the dominant impedance in the loop, most of the induced voltage will appear between the strip and the backplane.

(Note that the strip to backplane capacitance and the strip resistance are distributed parameters but are lumped in this calculation. If the strip resistance were the dominant impedance then this would need to be accounted for as field lines cutting the loop at the near end to the amplifier would see a lower impedance and produce more current from the induced noise voltage. If the strip to backplane capacitance is dominant as above, then this is not an issue)

Given that the dimensions of the loop are 12 cm by 300um for the strip and backplane plus a further 1 cm on the fanout

the total loop area is approximately 40 square mm

Current flowing in a circuit produces a magnetic flux ( proportional to the current, the constant of proportionality being the inductance L

(  = LI

The inductance depends on the geometry and the permittivity of the medium (assumed to be unity here)

If current flow in one circuit produces a flux in a second circuit there is a mutual inductance M 1-2 between the two circuits

M1-2 = ( 1-2 / I1 			--------1

The noise voltage induced in the second loop is given by:

.   .                                                               Vn  = j( M 1-2 I1       	----------2

We wish now to calculate M for a simple geometry where we have a loop formed by the strip and backplane with constant flux produced by a parallel single wire cutting the loop normally.

The flux density B at a distance r from a current carrying conductor is given by

B = ( I /2( r         Biot-Savart law         --------3

If we assume that

- The return current flow is in a remote conductor and the field from this does not influence the second loop.

- That the second loop dimensions are so small such that the flux density is constant across it

- The field is normal to the loop. (worst case )

- The strip backplane loop area is A

Then the total flux cutting the loop due to the field around the wire is

( 1-2 = B A cos ( 		Where cos ( =1 as the field is normal to the loop

Substituting into 1 for ( 1-2 we have

M1-2 = B A cos (  / I1

Substituting for B from 3 and cancelling I we have

M1-2 = ( A cos ( /2( r

The noise voltage in the loop can now be calculated from 1 as

.                                                               Vn  = j( ( A cos ( I1  /2( r

Substituting 2( f for j( and putting in numbers then at 10MHz

Vn = 2( 10 7    4( 10 - 7    40 10 - 6    I1   / 2( 0.01

Vn = 0.05  I1   							------ 4

So for 1 mA of current at 10 MHz in the wire we would expect to see 50 uV at the end of the strip relative to the backplane

If we wish to have a measure of the voltage in the loop with respect to frequency  we have

Vn =  5 * 10 -9    f  I1   							------- 4a

Now the voltage across Csb will determine the current in the loop, this will be

I loop = Vn/ XCsb  = Vn * 2pi * f  * Csb(effective) = 7.54e-5 Vn

substituting for Vn  from 4 we have Iloop = 7.54e-5 * 0.05 * Iwire

Or		 Iloop = 3.8 e-6 Iwire  @ 10MHz                                         ------5

Can we estimate the effect on the noise of the amplifier of a 10 Mhz sinusoidal current being input to the amplifier

The following is a crude attempt to estimate the effect and is very far from a mathematically sound calculation but hopefully it is within an order of magnitude --- any help would be appreciated!!!!

The measured noise in the system from multiple sources is around 1500 electrons. If we now inject a further uncorrelated noise signal then it will add in quadrature to the pre existing noise. What size of signal would we need to add to see a 100 electron increase in the noise?

Noise total = sqrt (Noise initial**2 + Noise added**2)

rearranging Noise added = sqrt(noise total**2  - Noise initial) = sqrt (1600**2 – 1500**2) = 557 electrons RMS

If we take the peaking time of the shaper (25 nS) as the time over which this signal changes, then the rms current noise would need to be

I=q / t  = 557 * 1.6e-19 / 25e-9 = 3.56 nA rms

NOTE – If the injected noise is doubled to 1114 electrons the total noise increase seen is almost  fourfold to 400 electrons so the effect is very non linear.

Induced noise current in electrons     	0	557	800	995	1166	1322

To give total noise of  			1500 	1600 	1700	1800	1900	2000

Now for the dodgy bit. If we think of a 10 Mhz sinewave, which is close to the centre frequency of the shaper it has a 1/f of 100ns so we will need 100/25 times the amplitude to induce the same current variation in the 25ns shaping time

If this is true then we need approximately 14nA of current at 10 MHz to see a 100 electron change in the noise

Then what current would we need in the wire suspended 1 cm over the detector?

using equation 5         the current in the wire would need to be  Iwire = Iloop/3.8e-6  =  14nA / 3.8e-6 = 3.7 mA at 10 MHz

- Consistency check--- if we know the voltage induced in the loop and the effective capacitance of Csb the we can use Q=CV to calculate the number of electrons flowing in the loop     From 4        Vn = 0.05* Iwire

Q = 1.2pF  * Vn   = 1.2e-12 * 0.05 * 3.7e-3 = 2.2e-16

Dividing Q by the charge on an electron we have    N = 2.2e-16  / 1.6 e-19 = 1375 electrons.

This is a factor 2.5 too large  - But at least we are not an order of magnitude out!

We now know the magnitude of the voltage on the strip that a current in a wire can induce between the strip and backplane. One question we must answer is: if this voltage signal on the strip can induce a current in the strip because of parasitic coupling to adjacent conductors and is this a greater or lesser effect than that from the current in the loop. The  .

From 4        Vn = 0.05* Iwire   If I wire is 3.7 mA as calculated above then Vn = 185 uV

This would seem to be a quite large effect for quite a small current but it must be remembered that the calculation is done for a single conductor where the return current is flowing in a return conductor, which is remote and does not greatly affect the magnetic field. In practice this will not be the case for power and signal conductors, which will be arranged so that the return current travels in close proximity to the outgoing current and contributes a nearly equal and opposite field. In this case the coupling will be several orders of magnitude smaller.  There is however an exception to this balanced situation with field cancellation and this is where common mode current flows through power and signal conductors, shielding foils and the cooling tubes due to external loops

In the case of the cooling tubes within the shield a net magnetic field will exist if current is allowed to flow through the tubes. This raises the question of trying to demonstrate the effect and deciding if it is likely to be significant in the design of the grounding and shielding scheme for the detector. .

Experimental verification

Barrel system test

To test if the above calculation is correct to an order of magnitude I suggest that a test be made with a current being passed along the cooling tube with the return current part of the loop at a reasonably large distance (say 30 cm)  so that it subtracts only a very small fraction from the field generated by the tube. For this test it will be necessary to isolate the tube at one end so that the current cannot flow by any other route than the tube. Figure 1 shows the arrangement of the test setup required

Note the position of the 50 ohm load  which terminates the signal generator output. Its position is important as if it were placed anywhere else then some portion of the loop would also radiate electrically as well as magnetically. Note also that the detector analog ground should be shorted to the tube so that there is no electric field coupling.

Figure 3

Method

The setup is constructed as in figure 3. The tinned copper wire loop should be of a substantial cross section (say 16 gauge or larger or possibly made from a self-supporting piece of aluminium angle or tube)

A signal generator is connected via short coax cable. It should be powered, set to 10MHz sinewave and the output voltage set to zero.

A calibration run is now done to establish a baseline noise for the setup.

The output voltage of the signal generator voltage should now be adjusted so that the voltage measured differentially across the 50 ohm load is 0.5 volt, which will drive 10 mA of current around the loop. Note that it is important to measure the size of the signal on each side of the 50 ohm resistor and subtract the two signals because at higher frequencies the inductance of the loop will become significant, and a simple measurement of the generator output voltage will overestimate the current. (Note.  I estimate the reactive impedance of this 3 metre loop is around 100 ohms at 10MHz  so the voltage required at the signal generator output to provide

0.5 volts across the resistor will be around 1,2 volts Current leads voltage by 90 degrees in the inductance so total drive voltage is the quadrature addition of the voltage across the inductor and the voltage across the resistor)

A noise scan should now be done

Depending on the result of this noise scan, further scans should be taken after adjusting the output level and /or the frequency

I suggest frequency should be scanned in decades from 10KHz to 50MHz in half decade steps. The output voltage of the generator should be adjusted each time the frequency is changed so there is always the same voltage across the resistor and hence the same current in the loop. If there is a marked peak in the response versus frequency then a finer scan may be useful.

Non-sinusoidal stimulus

It would be interesting to see what the response is with square wave signals and with varying mark space ratios, however it is difficult to see how to interpret the results as the inductance will limit the current of the high frequency components of the signal so the current waveform will not be the same as the applied voltage waveform. This should be evident from the voltage waveform seen across the resistor.

What we might expect to see

The calculation has been done assuming that the magnetic field cuts the loop area of the detector at right angles (cos theta = 1) however in this setup the cooling tube is very nearly in the same plane as the detector so the field will cut at a small angle so the effect will be considerably smaller. The positive side to this is that the angle of incidence will be nearly constant with distance from the tube so, if the effect is measurable, it should be possible to see a difference in the noise on strips depending on the strip proximity to the tube. Note that the 1/r dependence will be convoluted with the quadrature addition of noise so the falloff of noise with distance will be more rapid than the 1/r relationship alone would give.

Potential inaccuracies

The strips are sensitive to capacitively coupled charge

What if we don’t see an effect (or even if we do).

Should it prove impossible to see an influence on the noise from current in the tube (or even if it is possible) it would be useful to check that it is possible to see the effect from a wire 1cm above the detector, Figure 2 . This would involve almost the same setup except that instead of the cooling tube carrying the loop current, the loop is closed by a tinned copper wire suspended 1cm above the detector and preferably not centrally but offset to one side.

Figure 4

NEED RESULTS HERE TO DRAW CONCLUSIONS

ALSO NEED SETUP WITH OVERALL FOIL SCREEN AND TUBE SHORTED TO IT AT BOTH ENDS TO SEE IF CURRENT IS DIVERTED TO THE SCREEN AND THE EFFECT REDUCES

Susceptibility of detector and front ends to electric fields

Strip detectors are particularly sensitive to changes in electric fields due to their charge sensitive front ends and large area strips, which have significant parasitic capacitive coupling to conductors or other detectors.

Example calculation for order of magnitude of the effects

Take a simple case of two modules overlapping along the full length of 12 cm with a 3 mm gap between the strips on one module and the strips on another module. (as in the Atlas SCT forward region )

The amplifier inputs are virtual earths so the strips on each detector will be forced to the AC potential of the amplifier ground reference point on each of the modules.  Therefore any potential difference between the ground reference points on the two modules will appear as a potential difference between the two silicon detector faces. From the point of view of a single strip on one of the detectors in the overlap region, the opposing face of the superposed detector will appear as an equipotential second plate of a parallel plate capacitor with a capacitance determined by the area of the strip and the separation of the strip and plate.

For a 12 cm strip of width 100 um (assume all field lines in the width of one strip pitch terminate on the strip) and separated by 3 mm from the overlying detector then:

C = 12e-2 * 1.0e-4  * 8.85e-12

------------------------------------               = 35.4 fF

3e-3

This parasitic capacitance is connected directly to the input of the strip amplifier and consequently any voltage change across it will inject a signal in the same way as the on chip calibrate capacitor is used to inject a known calibration charge.

In order to get a feel for the problem which may be caused by this parasitic capacitance let us calculate the magnitude of a voltage step which would be required across this parasitic capacitance to inject a charge equal to 1 mip.

=                            	  22500 * 1.6 e-19

------------------------       =100 mV for 1 mip

3.54e-14

.

Now this is for a 1 mip signal injection and clearly such a large parasitic input would completely swamp real signals- what we really need to know is the maximum noise voltage which we can allow between the detector grounds before the performance of the detector is compromised.

For this purpose let us now assume that we are dealing with non-correlated random noise where the noise contributions are RMS values and add in quadrature.

The noise in RMS electrons of the unirradiated module is expected to be around 1500e-. If we now say we can allow an additional 100 electrons total noise so that the total noise will become 1600e then we can allow a contribution from the injected signal of 556 electrons. - dividing this by 22500e and multiplying by 100mV gives us an allowed noise voltage between the two detector grounds of 2.5 mV RMS.

It is clear that one way to minimise voltage differences between module grounds, and hence minimise injected noise, is to short the sensor reference grounds together by a low impedance path..

It may be possible to use the cooling tube as a common reference conductor and also as a common (safety)  ground point in the detector.