## Slide 1: Digital Gamma-ray Spectroscopy
Frontiers of gamma-ray spectroscopy
AGATA
GRETA

## Slide 2
Compton continuum.
=> Large peak to total ratio
Less solid angle coverage
=> Big drop in efficiency
Without Compton suppression shields
With BGO shielding
With highly segmented detectors
Path of -ray reconstructed to form full energy event
=> Compton continuum reduced
=> Excellent efficiency ~50% @1MeV
=> Greatly improved angular resolution (~10) to reduce Doppler effects
The AGATA Concept

## Slide 3
Pulse Shape Analysis to decompose recorded waves
Highly segmented
HPGe detectors
·
·
·
·
Identified
interaction points
(x,y,z,E,t)i
Reconstruction of tracks
e.g. by evaluation of permutations
of interaction points
Digital electronics
to record and process segment signals
g
1
2
3
4
reconstructed g-rays
Ingredients of Gamma-Tracking
Notes: What has to be done to perform tracking
What are the ingredients
Detectors highly segmented, encapsulated, cryostats
Electronics Digital
PSA to extract Energy Time and Position
Algorithm development particularly for position
Area where effort is required Thorsten Kroell. See him.
Tracking algorithms, reconstruction of the events for full array
Obtain full energy
Many technical development in all areas.

## Slide 4: AGATA : The configuration
Ge crystals size:
length 90 mm
diameter 80 mm
180 hexagonal crystals 3 shapes
60 triple-clusters all equal
Inner radius (Ge) 22 cm
Amount of germanium 310 kg
Solid angle coverage 80 %
Singles rate ~50 kHz
6480 segments
Efficiency: 40% (Mg=1) 25% (Mg=30)
Peak/Total: 65% (Mg=1) 50% (Mg=30)

## Slide 5
27 gammas detected -- 23 in photopeak 16 reconstructed -- 14 in photopeak
Eg = 1.33 MeV
Mg = 30
A high multiplicity event
Idealized configuration to determine maximum attainable performance
Ri = 15 cm Ro = 24 cm
230 kg of Ge
Assuming 5 mm Position Resolution
Mg= 1  eph = 65%
P/T = 85%
Mg= 30  eph = 36%
P/T = 60%
The “Standard” Germanium Shell

## Slide 6: AGATA Design
3 different asymmetric hexagonal shapes are used
Triple cluster modular units in a single cryostat
The AGATA demonstrator: 5 triple clusters, 540 segments. Scheduled for completion 2008
2 of completed array
Completed array (6480 segments) with support structure

## Slide 7: AGATA 1st symmetric cluster

## Slide 8
920MBq Cs-137 source
60 sec per position
1mm steps
1mm diameter collimator
Max count rate = 720 cps
Background = 40 cps
600keV CFD threshold
Accepted triggers = 120 cps
180GB pre-sorted data
Cs-137 Singles Fine scan

## Slide 9
Core 662keV – Ring gated

## Slide 10
Core 662keV & Fold 1, Core T30

## Slide 11
Core 662keV & Fold 1, Core T90

## Slide 12: Electric Field Simulations : MGS
I
Geometry
II
Potential
Elec field
III
Drift velocities
IV
Weighting fields
AGATA symmetric crystal simulation
Electric field simulations have been performed and details comparisons have been made with experimental pulse shape data.

## Slide 13: Calculation of pulse shapes
net charge signals
*
transient signals
·
·
·
·
·
·
·
·
·
·
·
·
·
·
·
·
·
·
·
·
·
·
·
·
·
·

## Slide 14: Pulse shape database
A 1mm grid was used to evaluate the pulse shapes.
Following cylindrical symmetry arguments interactions only in seg. B  25,000 grid points were used.
Net and image charge considered.
662 keV photons from 137Cs considered.

## Slide 15: Sensitivity
Total average sensitivity:
 < 1 : Difference in signal is less than noise
 = 1 : Difference in signal is noise
 > 1 : Difference in signal is well above noise
Charge collected at time t in segment i for interaction (x,y,z)
Segment that collects net charge and eight direct neighbours
Integration over time in steps of 1ns
Noise factor 1% of total charge

## Slide 16: Sensitivity
Demonstration of sensitivity: the position sensitivity peaks at the (effective) segment borders
Regions near the outer surface between segment borders have the poorest sensitivity
total
dz
dy
dx
high
low

## Slide 17: Which grid to choose ?
 |  | advantages | drawbacks
 | r,q | cst. values of t10-90… cylindrical | not homogenous
 | √r,q | cst. values of t10-90… homogen., cylindr. | not the same x/y accuracy
 | x,y,z | homogenous simple | not cylindrical large distances to grid
 | hexagon, z | cylindrical compact | not compact in z not homogenous
 | hexagonal compact | cylindrical maximum compacity | less “standard”
 | Adaptive grid | optimum conditioning of the problem | not homogenous

## Slide 18
Different colors show active regions for the different segments
Cartesian Grid

## Slide 19: New Quasi-cylindrical Grid
Different colors show active regions for the different segments
Spacing is equidistant in sensitivity

## Slide 20: New Quasi-cylindrical Grid
Different colors show active regions for the different segments
Spacing is equidistant in sensitivity

## Slide 21: Coincidence scan: set up
Collimation gap centred on (w.r.t. crystal base):
2mm
13.5mm
29mm
48mm
65mm
83.7mm
Physical segmentation depth:
0mm
21mm
36mm
72mm
54mm
90mm
8mm
Div = 2.1mm
Div = 1.5mm

## Slide 22: Coincidence scan: set up

## Slide 23: Coincidence results
Region of Interest
Ge Energy
NaI Energy
374 keV
288 keV
Matrix of Ge energy vs Total NaI derived from Silena ADCs
The region of interest for “true” coincidences is highlighted in red.
The data was presorted to keep only the data in this region.
  This leaves ~ 1.5Gb of data per line.
  Gzip compressed into three 400Mb files.
Available for download now.

## Slide 24: Coincidence scan: plan
1
2
3
4
5
6
7
8
10
9
11
12
13
14
15
16
17
Azimuth 1
Azimuth 2
Azimuth 3
Azimuth 5
Azimuth 6
Azimuth 4
Azimuth 7
A
F
E
D
C
B

## Slide 25
6.0 mm
45.5 mm
28.5 mm
15.5 mm
Centre contact pulses
Segment pulses

## Slide 26: Digital Gamma-ray Spectroscopy
Frontiers of gamma-ray spectroscopy
AGATA
GRETA