## Slide 1: REACTOR THEORY
The basic principles are simple but detailed calculations are difficult
  Use very simplified models to understand principles of calculations
Hence assume a HOMOGENEOUS reactor
  Uniform mixture of UO2SO4 (fuel) and D2O (moderator)
  N.B. A normal reactor is HETEROGENEOUS with fuel and moderator separated
The overall aim is to develop a reactor equation which will allow us to
Estimate the minimum size of a thermal fission reactor
Provide an estimate of how quickly the neutron flux will change when control rods are moved

## Slide 2
PLAN
Consider how neutrons diffuse in a reactor and define a partial flux density
Apply the continuity equation for neutrons in a small volume allowing for diffusion, capture plus a source of neutrons
Average over thermal neutron energies
 The Reactor Equation
Then look at steady state solutions for finite size reactors
Look at time dependence for an infinite reactor
NEUTRON DIFFUSION THEORY
Assume all the neutrons have one velocity v  ONE GROUP MODEL (assumes all the neutrons have slowed down)
Neutron Flux F = n v assuming n neutrons per unit volume

## Slide 3
Introduce PARTIAL CURRENT DENSITY J where J is the NET no. of neutrons s-1 crossing an area of 1 m2 perpendicular to the direction of J
  A vector with same dimensions as F
Let Jz+ be the current density in + z direction
Let Jz- be the current density in - z direction
  Net flow Jz = Jz+ - Jz-
Similarly for Jx and Jy so
J = Jx i + Jy j + Jz k
i.e Jz+ is the number of
Neutrons passing upwards through the
area from the lower
hemisphere

## Slide 4
ASSUME:-
Homogeneous and isotropic medium
Scattering in Lab. System is isotropic
This happens as vC0 i.e. M >> m . e.g. OK for Carbon (but not H)
3. sS >> sA
4. Neutron flux is a slowly varying function of position
Consider an infinite system in which neutrons are diffusing and
we wish to determine Jz
According to assumption 2. the scattering will be isotropic
 Fraction scattered from volume dV in particular direction
The number of interactions per second in a
volume dV is FN sS dV (assuming 3. above)
(N is the number of nuclei per unit volume)

## Slide 5
In the above dV = r2 sinq dr dq df
Probability that neutrons from dV will pass through dA is
dA cosq / (4pr2)
(i.e. the solid angle subtended by A at dV divided by 4p)
If sS >> sA then the probability that neutrons will travel a distance r without interacting is exp(- sS Nr)
Putting all these factors together and defining SS = sS N we obtain:-

## Slide 6
The current density at dA due to scattering in dV is
The number of neutrons which pass through dA per second
after scattering in dV is
The Flux F is not constant but varies throughout the reactor i,e. F = F(r)
Evaluate F in terms of F0, the flux at the point at which J is being determined
Make a Taylor expansion to 1st Order (See (4))
(F(r) is the flux at dV and F0 is flux at dA)

## Slide 7
Now substitute in equation for Jz- and integrate to find the number of neutrons passing from the upper hemisphere to the lower hemisphere
The terms involving cos(f) and sin(f) vanish when integrating f
from 0 to 2p

## Slide 8
Similarly for Jz+ we have :-
for Jx and Jy Similarly we obtain

## Slide 9
Where lS is the MEAN FREE PATH for scattering
Note the difference between J and F. One is a vector representing the net
number of neutrons crossing an area and the latter is a scalar specifying
the neutron flux at a point but with the neutrons travelling in all
directions due to scattering as in a gas.
N.B. Modern text books have a different definition of D as they
start from Fick’s Law (which we have essentially just derived)
This extra factor of v occurs in the ensuing derivations in Lilley for
example but leads to the same final formulae.
    Introduce the DIFFUSION COEFFICIENT D

## Slide 10: Example:- Calculate the Diffusion Coefficient in a) H20 and b) Graphite. [Densities are:- a) 1000 kg m-3 and b) 1600 kg m-3and the scattering cross sections are sS(H20) = 50 b and sS(Graphite) = 50 b ]
H2O; NH2O = 1000 / ( 18 * 1.66 10-27) = 4.78 1028 m-3
lS = 1 / (Ns) = 1 / (4.78 1028 x 50 10-28) = 4.2 10-3 m
 D = 4.2 10-3 / 3 = 1.4 10-3 m for H2O
Graphite; NC = 1600 / ( 12 * 1.66 10-27) = 8.03 1028 m-3
lS = 1 / (Ns) = 1 / (8.03 1028 x 4.7 10-28) = 26.4 10-3 m
 D = 26.4 10-3 / 3 = 8.8 10-3 m for H2O

## Slide 11: EXAMPLE:- A source emitting S neutrons s-1 is situated at the origin in a moderator with Diffusion Coefficient D and Diffusion Length L= (D/SA)1/2(L allows for absorption of neutrons). The flux as a function of radius r is given by F(r)= (S / 4pDr) exp(-r/L) . Evaluate the total radial flux passing through a sphere at radius r.
J = - D  F where   /  r for spherical symmetry
so J  Jr(r) i.e.radial
Jr(r) = - D  F /  r
= - D (S/4pD)[ (- 1 / r2) exp(-r/L) – (1 /r L) exp(-r/L) ]
Jr(r) = D (S/4pD) exp(-r/L) [ 1 / r2 + 1 / rL) ]
Total Radial Flux = 4 p r2 Jr(r) = S exp(-r/L) [ 1 + r / L) ]
N.B. In the limit r  0 Total flux is just S.