G. Casse et al., Characterisation of an  inhomogenously irradiated detector…
8

Characterisation of an inhomogeneously irradiated microstrip detector using a fine spot infrared laser

G. Casse, S. F. Biagi, T.J.V. Bowcock, A. Greenall, J.P. Phillips,  P.R. Turner and 

V. Wright

Oliver Lodge Laboratory, University of Liverpool, P.O. Box 147, Liverpool L69 3BX, UK

Abstract


A prototype silicon microstrip detector for the LHCb vertex locator (VELO) has been partially irradiated using a 24 GeV/c proton beam at the CERN-PS accelerator. The detector possesses a radial strip geometry designed to measure the azimuthal coordinate (Phi) of tracks within the VELO. The peak fluence received by the detector was measured to be 4.6(1014  p/cm2 though the non-uniform nature of the exposure left part of the detector unirradiated. The inhomogeneous irradiation introduced a damage profile in the detector approximating to that expected in the VELO. High irradiation gradients are important to study as they can modify the electric field within the silicon. Of special interest are changes in the component of the electric field parallel to the strip plane but perpendicular to the strips which lead to systematic shifts in the reconstructed cluster position. If these (flux and position dependent) shifts are sufficiently large they could contribute to a degraded spatial resolution of the detector.  In order quantify these effects a precise fine light spot infrared laser was used to investigate the charge collection properties of the sensor. Particular attention was devoted to the regions where a high gradient of the fluence introduced a large gradient in the effective local space charge. The results reported below place limits on the “distortions” expected in the VELO due to non-uniform irradiation.


I. Introduction

The silicon detectors for the VELO tracker [1] are designed to provide the azimuthal (phi measuring sensor) and radial (R measuring sensor) coordinates [2]. An LHCb Phi measuring detector was non-uniformly irradiated, with 24 GeV/c protons in the CERN-PS/T7 experimental area, to study the effects of an inhomogeneous damage profile in the detector bulk. 

To study the position dependent properties (e.g. the depletion voltage and charge collection) of the irradiated sensor a precise method of injecting electron-hole pairs is necessary.  An infrared laser system has been built that allows the sensor to be scanned using a fine beam. The results of the study on a partially irradiated phi-type detector are presented below.

II. LHCb prototype phi detector

The LHCb prototype phi measuring sensors are 300 µm thick, p-strip in n-bulk silicon, with a semicircular shape covering 182 degrees. The sensor masks were designed at the University of Liverpool and fabricated by Micron Semiconductor[3]

using an oxygen enriched (density ~2(1017 cm-3)[8] FZ silicon 6” wafer.  The sensors are divided into inner and outer radial sections each containing 1024 strips (Fig. 1). The inner strip and outer strips are collinear and are AC coupled to the p-implants on a “first” metal layer. The outer strips have bond-pads at the outer radius of the sensor. The inner strips are routed to the bonding pads, also located at the outer radius of the sensor, via metal strips. These metal routing strips are fabricated on a “second” metal layer and are insulated from the first metal layer by a 3.7-4 µm thick oxide layer. The routing lines from the inner section run in between the strips in the outer section.  Some dimensions of the detector geometry are given below.

· The bonding pads have a pitch of 62 µm. To enable easier bond the pads for the inner strips are interleaved and staggered with those for the outer ones so that the effective pitch is 124 µm. 

· The pitch of the innermost end of an outer strip is ~55.5 µm. 

· The pitch of the innermost and outermost ends of an inner strip are ~24.4 µm and ~55.4 µm respectively.

·  The strip width increases with the radius. The width of the innermost end of an inner strip is ~12 µm and the outermost end is ~ 16.7 µm. The width of the innermost end of an outer strip is ~16.8 µm and the outermost end is ~ 37 µm.

· The detector is also divided in 8 sectors, each one with bonding pads for the 128 inner and 128 outer strips.

III. Inhomogeneous irradiation of the Phi detector
A schematic of the set-up used to irradiate the Phi detector with 24 GeV/c protons in the CERN-PS East Hall is shown in Fig. 2. A holder containing the detector was mounted in a motorised carrier (Shuttle) in the IRRAD-1 facility [4]. The Shuttle allows positioning of the detector in the beam with the beam centre aligned as shown in Fig. 2. The beam has a nearly Gaussian profile with a FWHM of approximately 2 cm. Fig. 3 shows the fluence profile as measured using the activated aluminium foil technique [5] during the irradiation. The error on the absolute magnitude of the fluence is about 10%. The sensor position relative to the beam centre is known to an accuracy of about 2mm. The radiation damage introduces changes in the detector reverse current and effective space charge (Neff). The reverse current and, for high doses, Neff increase proportionally to the fluence. As a consequence of the beam profile, the detector Neff has a nearly Gaussian profile across the device.

The detector was irradiated during ~14 hours between the 7th and the 8th of October 2000. The temperature of the irradiation area was about 32oC. After irradiation the detector was kept at ~-20oC to freeze the annealing process, until it was sent to Liverpool for measurement. During transport (~48 h) the temperature was not monitored, but it is safe to assume that it never exceeded 20oC. On arrival at Liverpool the detector was stored at ~-25oC. The detector was removed from cold storage and glued onto a support (necessary for bonding) and kept in a room at 25oC for 12 hours to allow curing of the glue. The equivalent annealing time corresponds to 5 days at room temperature (20 oC in Oct).

IV. Experimental methods

a. The detector support

To study the various sectors of the detector using a single read-out chip with 128 channels, a dedicated rebondable support, an infrared laser system and a precise x-y table have been set-up. The support (Fig. 4) has been designed to allow the sensor to be rotated hence enabling each sector to be bonded in turn. A rebondable fan-in extension was added to permit multiple bonding to the chip fan-in. 

A single chip with 128 channels was used to read-out the outer radial section. In order to study the effect of the routing lines (from the inner radial section) on the electrical properties of the detector, the first and last 10 read out-channels were bonded, for each sector studied, to 5 outer strips and 5 routing lines respectively. All the remaining channels were bonded to the outer strips. 

b. The read-out system

The sensor was read-out by the SCT128 LHC speed electronics [7]. The output of the chip is a data stream of 128 channels divided into 25 ns time bins containing single channel information. This output was acquired by the LeCroy LC574AL 1GHz oscilloscope and averaged over 1000 sweeps to record the height of the signal. This technique strongly suppresses the effect of electronic noise.

The read out speed was 40 MHz and the peaking time about 25 ns. The timing of the readout relative to the laser pulse was adjusted to optimise the signal size. The signal was recorded for different trigger delays time allowing the shape of the signal to be deduced.  This shape is compared to the design pulse shape in Fig. 5.

An asymmetry due to the read-out system was found. The time “bin” that follows the hit channel exhibits a negative signal, shown in Fig. 6, where the pulse is injected every four channels using the internal calibration of the SCT128 chip. Two heights of calibration pulse were injected and, in both cases, a large (10-15%) negative signal was observed in the adjacent time bin. A correction for this effect has been applied. 

c. Infrared laser set-up and mechanics 

An infrared diode laser with 1060 nm wavelength was driven by an external pulse generator to deliver short (< 5 ns FWHM, Fig. 7) pulses. The light was guided by a single mode optical fibre to a light splitter with three output lines delivering about 60%, 20% and 20% of the input intensity respectively. The 60% output was connected via a single mode optical fibre and a coupler to a TTI TIA-950 Optical Electrical converter connected to the oscilloscope. This was used to monitor the stability of the laser power emission. A 6µm diameter core fibre, terminated with an optical focuser of 12mm focal length, was connected to one of the 20% output lines. The light beam had a slightly elliptical profile with full-width-half-maxima of 7 µm and 6.6 µm, and widths of 13.9 µm and 12.9 µm at 13% of the maximum peak intensity on the major and minor axes. The laser power output was adjusted to produce a signal corresponding to 3 minimum ionising particles in the sensor.   

The sensor was mounted on an x-y table perpendicular to the beam (Fig. 8). Two micromanipulators allowed precise movement with a resolution of two microns. 

V. Experimental results

a. Full depletion voltage (Vfd) profile

The charge collection efficiency (CCE) allows the extraction of the local Vfd [9]. Vfd is proportional to Neff 

 (1)

where q0 is the electron charge, w is the thickness of the detector and Si is the dielectric constant of silicon.  

The collected (cluster) charge was defined to be the sum of the charge collected on a strip and the two neighbouring strips (and routing lines where they were connected) on each side. An example of CCE as a function of bias voltage for a low irradiation region  (<5 ( 1013 p/cm2) of the sensor is shown in Fig 9a. The CCE curves are normalised to the maximum charge collected with strong over-depletion (500 V). The collected charge can be seen to rise approximately linearly at both very low and high voltages, with a smooth transition between these two regions of linear behaviour. At low voltages the charge collected rises rapidly, as the depleted depth increases, and at high voltages the sensor is in a plateau region corresponding to full depletion.  The two linear regions were fitted with straight lines, which were extrapolated into the transition region. The intersection of the lines characterizes the centre of the transition from one behaviour to the other and this was taken as an estimate of Vfd . 

The low irradiation region (Figure 9(a)) may be compared a region that has received a high dose (Figure 9(b)) (about 4.4( 1014 p/cm2 ) It can be seen that irradiated region has a higher Vfd and that the plateau region still exhibits a significant rising trend ( part of which is certainly attributable to the ballistic deficit). In this case the maximum bias limited the number of measurement in the plateau region. This led to a larger uncertainty in the evaluation of Vfd. The error on Vfd was estimated using a different choice of points for the two trend lines. The CCE is arbitrarily normalized at the maximum of the CCE-voltage curve. Further studies are being performed to establish the absolute amount of charge collected at a specific bias voltage.

Fig. 10 shows an example of charge collection efficiency (CCE) curves in three different positions and estimated radiation fluences (<5 ( 1013 ,1.2(1014 , 3.4(1014 p/cm2 ) of the detector. Fig. 11 shows the map of Vfd measured across the whole detector at the outer end of the outer radial section. The shape of Vfd closely follows the radiation damage profile.  Between strip #570 and #670 the gradient of Vfd  (and therefore of Neff) is positive, while between strip #690 and #760 it is negative.  Transverse component of the electric field generated by the inhomogeneity of the irradiated would thus be expected to be opposite direction in these two regions. The comparison of the CCE properties in these two regions enables the study of the effects of any possible transverse field. 

b. Noise 

In the low depletion voltage region (low fluence), noise due to micro-discharges [10] may be observed. In the more irradiated area the bias could be raised above 400 volts without any increase in the noise. Fig. 12 shows the noise measured in outer radial sector 5 of the sensor (Fig. 1) as a function of voltage. The noise is not flat across the chip because of the poor condition of the fan-in extension. This measurement was not intended to determine the absolute noise level of the detector, but to give evidence of micro-discharges above 200Volts in the low fluence area (<1.0(1014) With the same applied bias voltage, the electric field is much higher in the low Vfd region than in the high one, explaining the shape of the measured noise. 

In Fig. 12(c) and (d) the noise values for the strips between #549 and #559 (in the low fluence region) are missing because of an automatic masking, within the analysis program, of channels with extreme noise. 

c. Charge sharing between adjacent strips

A detailed study of the charge division between adjacent strips (called Left and Right for simplicity) has been carried out in different areas of the detector. The charge division has been evaluated using the pulse height as a function of the local coordinate x, defined as the distance in microns of the centre of the light spot from the centre of the left (L) strip. The following algorithm has been used to evaluate the ratio () of the charge seen by the right strip (R) to the total charge:


[image: image1.wmf])

(

L

R

R

H

H

H

+

=

h

                                                                                         (2)

where HR and HL are the height of the signals seen by the left and right strip respectively.

The read-out system introduces a distortion in the time bin that follows the signal bin, as described above. Fig. 13 shows the charge sharing as a function of  x for the two different bonding schemes. In Fig. 13a two adjacent strips were bonded to adjacent read out channels so that the signal of the right strip is in the time bin that follows the left strip signal. In this case an asymmetry is found in the  function: no charge is seen on the R strip at the local coordinates 30 and 40 µm. This is because the over-shoot compensates the small charge picked by strip R In Fig. 13b the intermediate routing line is also bonded to the read out chip, in the time bin that follows the signal on the left strip. In this second case the over-shoot does not affect the signal in the right strip, which is two time bins away from the strip signal. The over-shoot affects the routing line and does not disturb the charge seen by strip R. In this second case the symmetry of the charge-sharing scan across two strips is very good. This allows the application of a correction for the  scan performed between strips measured leaving the intermediate routing line floating. 

Figures from 14 to 19 show the  scan as measured in the outer end of the outer radial section.

Fig. 14 shows the  scan for a non-irradiated area (strips #244-245) (<5 ( 1013p/cm2). Fig. 15 is taken from strips located in the area where the gradient of Vfd is small (#490-491) (<5 ( 1013p/cm2) and the depletion voltage is about 50 Volts. Fig. 16 is from an area where the gradient of Vfd is increasing from strip L towards strip R(#634-635)( 3.9( 1014p/cm2). Fig. 17 is from strips located in the area where the gradient of Vfd is small but with a high radiation level (#690-691) ( 4.4( 1014p/cm2). Fig. 18 shows the area where the gradient is decreasing from strip L towards strip R (#760-761) )( 2.2( 1014p/cm2) . There is no evidence of distortion due to a transverse electric field in the region with maximum gradient of Vfd. Fig. 19 shows the comparison of the charge sharing scan in the non-irradiated area with the two highly irradiated areas with opposite Vfd gradient. The three sets of data look similar with no evidence of an asymmetry leading to the conclusion that the effects of the transverse electric fields produce distortions of less than 2 microns in the reconstructed cluster position for fluence gradients of  (4( 1014p/cm3. This is approximately the spatial resolution expected from this procedure. More precise measurements are planned to reduce this uncertainty.
The strips #760-761 have been studied as a function of  radial position in the outer radial section. Fig. 18, 20 and 21 show the  scan in the innermost, intermediate and outer part of the strip, where the pitch is 78 µm, 95 µm and 118 µm respectively.  The irradiation was not collinear with the strips and there is a gradient along the strips as well as across them. Fig. 22 shows the CCE curves measured in the three positions, clearly indicating a difference in Vfd. This explains the difference in the different bias voltage behaviour of the  scan for the different regions. In Fig. 20 and 21 the detector is non-depleted at 150 and 200 volts (positions 1 and 2 of Fig. 22) and the data are well separated from  the data at 400 volts, when the detector is fully depleted. In Fig. 18 the detector is depleted  at 200 volts (Pos. 3 of Fig. 22) and the set of data taken at 200 and 400 volts of applied bias almost superimpose each other.

 In the  scan the solid line represents the curve for ideal resolution. It is apparent that the charge sharing between neighbour strips in the irradiated part of the detector is much closer to the ideal resolution when the detector is biased below depletion. The presence of a non-depleted layer next to the read out strips enhances charge division, as it is shown in Fig. 23, where the laser was focused between strips #740-741, close to the #741. A significant fraction of the charge is distributed over 4 strips at low bias voltages and decreases significantly by increasing the bias. A similar situation is not found in non-irradiated detectors, where the charge division for bias voltages below and above full depletion is more similar (Fig. 14).

Data were taken in a region with wide inter-strip pitch and intermediate routing lines. The presence of the 17 µm wide routing line prevented the accurate study of the middle of the inter-strip space. A further study to be carried out in the outermost part of the inner sector (strip pitch ~ 50 µm and no routing line) will give a more precise measurement of the  function. 

d. Effect of the routing-line on the collected charge

The  non-uniform irradiation permits the study of the effect of the routing lines on the CCE as a function of the dose. After the type inversion of the detector bulk from n-type to p-type because of the radiation damage, in the highly irradiated regions the junction side migrates from the back plane of the detector towards the readout strips. When the detector is under-depleted a low electric field region separates the active volume from the read out strips (double junction effects[11] are of lesser importance and are not addressed here). When the detector has not inverted, the p-n junction, and therefore the high field region, is on the side of the implanted p-type strips. 

The electric field distribution influences the charge trapping as well as the signal shape and duration. In the case of the particular geometry of the LHCb Phi detector, a small signal could be induced on the routing lines in the outer segment (Fig. 5), which is dependent on the electric field distribution. The fraction of the signal measured on the routing lines as a function of the irradiation dose and of the bias applied to the detector has been studied. 

In the non-irradiated region of the detector no charge was observed on the routing line at any bias voltage. Some loss of the charge to the routing has been observed in the irradiated and type inverted region, as shown in Fig. 24. The highest charge observed on the routing line coincides with the highest fluence region. In general, the charge in the routing line decreases strongly with bias, and becomes negligible for bias voltages above Vfd. 

The ratio of the width of the routing line to the width of the read-out strips can influence the amount of the charge collected by the routing lines, because of the high relative capacitance for high ratios. The width of the routing line is constant (17 µm) while the width of the outer strips increases with radius, as described in section II. Fig. 25 shows the ratio of the charge collected by the routing line to the total charge for five radial positions from the inner to the outer part of the detector. The strip width, as measured using the deficit of signal caused by the screening to the laser light from the metal read-out strip was 16, 20, 25, 30, 35 µm for position 1 to 5 respectively. The effect of the lower depletion voltage in the outer part of the strip is clearly shown by the earlier decrease of the signal on the routing line for the outer positions. The effect of the relative width of the routing line to the strip, which varies from ~1 to ~0.5 going outwards, is not evident. (This would appear as a trend in the maximum sharing observed as a function of voltage.)  

VI. Conclusions

The infrared laser set-up is an effective tool for studying the effects of inhomogeneous irradiation. The measurement of the charge collection properties across the irradiated LHCb-Phi detector allowed the reconstruction of the measured irradiation profile. 

The study of the charge sharing between neighbouring strips as a function of the local position shows no evidence of distortion of the resolution as a consequence of a distorted electric field resulting from inhomogeneous irradiation.

Evidence has been found of increased charge sharing in the irradiated and type inverted part of the detector when biased below Vfd. This effect is expected because of the presence of the non-depleted bulk next to the read-out strip. The enhanced resolution implied by the increased charge sharing is not necessarily beneficial. Operating (p-in-n) sensors under-depleted implies a large reduction in charge collection efficiency. Post-irradiation it is important to operate the detector with high charge collection to optimise the signal to noise ratio. An alternate choice of the diode structure, like n-strips (n-in-n) or n-strips in p-bulk, would greatly benefit the operation of irradiated detectors [12-14].

The measured shape of the noise at high bias voltages on the irradiated sector of the detector (where the Vfd varies from 50 V to 280V) is compatible with noise induced by micro-discharges. The micro-discharge effect depends on the strength of the electric field and not on the applied bias. With the same applied bias voltage the electric field is higher for lower Vfd. In this region the noise is inversely proportional to Vfd confirming the hypothesis on the origin of the noise. 

The unique geometry of the LHCb-phi detectors includes metal lines to route the innermost strips to the bonding pads located on the outer end of the detector. The metal lines run symmetrically between the outer strips. The effect of these metal lines on the charge collection has been studied. When the detector is type inverted and biased below depletion, a fraction of the total charge is seen by the routing line and therefore lost. This effect is suppressed when the detector is depleted. Moreover, this effect is not seen in the non-irradiated part, suggesting that it is correlated with the presence of the non-depleted layer next to the strips. In case of read-out from the junction side, as for n-in-n or n-in-p detectors, no charge loss in the routing lines is predicted, improving the performances for non-depleted operation, as compared with p-in-n detectors.    

References

[1] C. Parkes and T. Bowcock, Nucl. Instr. And Meth. In Phys. Research A435
      (1999)65-73.

[2] LHCb Technical Proposal, CERN/LHCC98-4.

[3] Micron Semiconductors, 1 Royal Buildings, Marlborough Road, Lancing, Sussex,
      BN15 8UN (UK).

[4] M. Glaser et al., Nucl. Instr. And Meth. In Phys. Research A426 (1999)72-77. See
      also http://irradiation.web.cern.ch/irradiation/.

[5] E. Leòn-Floriàn et. Al. “Particle fluence measurements by activation technique for
      radiation damage”, CERN-ECP/95-15.

[6] A. Ruzin et al., Nucl. Instr. And Meth. In Phys. Research A,426 (1999)94-98.

[7] J. Kaplon et al. IEEE Transact. On Nucl. Sci. 44 (1997)2 98.

[8] G. Casse et al., Nucl. Instr. And Meth. In Phys. Research A 438 (1999) 429-432.

[9] S. Martí I García et al. “A model of charge collection for irradiated p+n
      detectors”, presented at Vertex 2000, 9th International Workshop on Vertex
      Detectors, Sleeping Bear Dunes National Lakeshore - Michigan, USA, to be
      published in NIMA.

[10] T. Oshugi et al., Nucl. Instr. And Meth. In Phys. Research A, 342 (1994) 22. 

[11] G. Casse et al., Nucl. Instr. And Meth. In Phys. Research A 426 (1999) 140.

[12] S. Martí I García et al., Nucl. Instr. And Meth. In Phys. Research A426 (1999)24
       27.

[13] P. Allport et al., Nucl. Instr. And Meth. In Phys. Research A435 (1999) 74-79.

[14] T. Bowcock, Silicon Technology for the LHCb Vertex Detector, LHCb/98-048 

Figures

[image: image2.png]Fluence contours x10°4 pierm?
051234 4543 20 1005





Fig. 1: Schematic draft of the LHCb-Phi detector. Diagram contains approximate fluence contours for the irradiated detector and some indicative measuring positions labelled (a-n), most of which are along the outer radius of the sensor.
[image: image3.png]C T TTITTT T 7
Back Al foils

Front Al foils

? Beam centre




Fig. 2: Diagram of the inhomogeneous irradiation set-up.


[image: image4.wmf]0.0E+00

5.0E+13

1.0E+14

1.5E+14

2.0E+14

2.5E+14

3.0E+14

3.5E+14

4.0E+14

4.5E+14

5.0E+14

0

10

20

30

40

50

60

70

Position [mm]

Measured fluence [p cm

-2

]

Front Al foils

Back Al foils


Fig. 3 Beam profile as measured with the Al foils activation method on the before and after the beam crossing the detector.

[image: image5.jpg]



Fig. 4 Rebondable support for the detector. The support can pivot around the centre to allow successive read-out of the various sectors.


[image: image6.wmf]0

100

200

300

400

500

600

700

800

900

0

20

40

60

80

100

Time [ns]

Amplitude [arb. units]

Measured (hit strip)

Calculated

Adjacent strip

Intermediate routing line


Fig. 5 Time scan to reconstruct the pulse shape of the SCT128 chip. The solid line is the predicted SCT128a pulse shape. In the same plot are shown the hit strip, a neighbour one and the intermediate routing line.

[image: image7.jpg]B-Mar-a1
17:15:27

Level 0—

50 ns

il A An
’\,\
!
L ol Lo
W
— 1568 ps





Fig. 6: Calibration signal from the SCT128 chip. Two different heights of the internal calibration (a charge is injected every fourth channel) have been used to show the overshoot  in the time bin that follows a hit one.

[image: image8.jpg]b-Mar-o1 Reading Floppy Disk Orive
19:18:31

:fverage (4
5 ns

n:
B9mi

39 sups

5 ns RIS T

1.1 v OC§

g 1 v o 18 BS/s
W DC T 4 OC 7Amv SLOW TRIGGER

1w O NORMAL




Fig. 7: Infrared (1060 nm wavelength) laser pulse as measured by a fast optical/electrical converter.

[image: image9.jpg]



Fig. 8: x-y table with micromanipulator, laser focuser and CCD camera.


[image: image10.wmf]0

0.2

0.4

0.6

0.8

1

1.2

0

50

100

150

200

250

300

350

400

Bias [Volt]

Normalised CCE

Strip #526


Fig. 9(a) Example of evaluation of Vfd from the charge collection curve as a function of bias. In this low fluence case  Vfd = 53 V. Vfd is defined to be the intersection of the two lines. Strip #526 was measured at position a ( see Figure 1).

[image: image11.wmf]0

0.2

0.4

0.6

0.8

1

1.2

0

100

200

300

400

500

600

Bias [V]

Collected charge (arb. unit)

Strip #690


Fig. 9(b): Example of evaluation of Vfd  from the charge collection curve as a function of bias. In this high fluence case  Vfd = 300 V. Vfd is defined to be the intersection of the two lines. Strip #690 was measured at position b (see Figure 1).

[image: image12.wmf]0

0.2

0.4

0.6

0.8

1

1.2

0

100

200

300

400

500

Bias [Volt]

Normalised CCE

Strip #526

Strip #578

Strip #605


Fig. 10: Sample of CCE curves in three different locations of the detector with different irradiation fluences. Strip #526 is in the lowest region, strip #578 in an intermediated region and strip #605 in a region of high flux. The degradation in depletion voltage can be clearly seen. Strips #526, 578 and 605 were measured at positions a,c and d respectively (see Figure 1).


[image: image13.wmf]0

50

100

150

200

250

300

350

100

200

300

400

500

600

700

800

900

Strip Number

V

fd

 [Volt]


Fig. 11: Full depletion voltage profile across the detector, as evaluated from the CCE curves measured on the outer end of the outer strips. Two typical error bars are shown for the low and high Vfd regions. The profile matches the spatial irradiation profile. (Note Channels 580 to 800 span about 25mm).

	[image: image14.jpg]Counts

80

70

60

50

40

El

z

510

s60

580

500

620 &0
Strip number




a) V=100Volts
	[image: image15.jpg]Counts

70

60

50

40

s0

20

540

sto

560

600

620 ot
Srip number




b) V=200Volts

	[image: image16.jpg]Counts

100

20

60

40

20

540

560

580

600

620 640
Strip number




c) V=300Volts
	[image: image17.jpg]Counts

120

30

50

0

20

560

580

600

620 640
Strip number




d) V=350Volts


Fig. 12: Noise distribution in the sector number 5 of the irradiated detector at different bias voltages 


[image: image18.wmf]0

0.2

0.4

0.6

0.8

1

1.2

0

10

20

30

40

50

60

70

80

90

100

110

Local position [µm]

Right charge/Total charge

400 Volt


Fig. 13(a):  scan across strip #760 – 761. The left and right strips are connected to two consecutive electronic channels: the zero charge seen in the first two points at 400 volts is due to the overshoot (see text) and requires appropriate correction. The strips were measured at position e (see Figure 1).

[image: image19.wmf]0

0.2

0.4

0.6

0.8

1

1.2

0

10

20

30

40

50

60

70

80

90

100

110

Local position [µm]

Right charge/Total charge

400 Volt


Fig. 13(b):  scan across strip #760 - 761  with intermediate routing lines connected to the read-out electronics, thus no correction for the overshoot in the right strip is required.


[image: image20.wmf]0

0.2

0.4

0.6

0.8

1

1.2

0

10

20

30

40

50

60

70

80

90

100

110

Local position [µm]

Right charge/Total charge

20 Volt

50 Volt

200 Volt


Fig. 14  scan across strip #244 – 245 (non irradiated region) measured at position f (see Figure 1).


[image: image21.wmf]0

0.2

0.4

0.6

0.8

1

1.2

0

20

40

60

80

100

Local position [µm]

Right charge/Total charge

20 Volt

50 Volt

200 Volt


Fig. 15  scan across strip #490 – 491 (irradiated region with low Vfd) measured at position g (see Figure 1). 


[image: image22.wmf]0

0.2

0.4

0.6

0.8

1

1.2

0

20

40

60

80

100

Local position [µm]

Right charge/Total charge

150 Volt

200 Volt

400 Volt


Fig. 16:  scan across strip #634 – 635 (irradiated region with positive gradient of Vfd as a function of the strip number). The measuring position was h (see figure 1).


[image: image23.wmf]0

0.2

0.4

0.6

0.8

1

1.2

0

10

20

30

40

50

60

70

80

90

100

110

Local position [µm]

Right charge/Total charge

200 Volt

400 Volt


Fig. 17:  scan across strip #690 – 691 (heavily irradiated region). The detector was measured at position i(see figure 1). 


[image: image24.wmf]0

0.2

0.4

0.6

0.8

1

1.2

0

10

20

30

40

50

60

70

80

90

100

110

Local position [µm]

Right charge/Total charge

150 Volt

200 Volt

400 Volt


Fig. 18:  scan across strip #760 - 761 (irradiated region with negative gradient of Vfd as a function of the strip number). Measured position is at j (see Figure 1).


[image: image25.png]Right chargefTotal charg

12

04244245 (@ 200 Volt)

4#534 - B35 (@ 400 Vol
+#760- 761 (@ 400 Vol

-
.
s o® —fs—

El a E E 100

Local position [um]





Fig. 19: Comparison of the  scan across adjacent strips located in the non irradiated, irradiated with positive gradient of Vfd and irradiated with negative gradient of Vfd regions respectively. The degree to which all points from the positive and negative gradient areas on opposite the left and right hands sides of the geometric centre of the strips pass through a common point is a measure of the distortion. The spread observed (() is approximately (2microns. The measured  strips #244,634 and 760 correspond to measuring points f,h and e (see Figure 1).


[image: image26.wmf]0

0.2

0.4

0.6

0.8

1

1.2

0

10

20

30

40

50

60

70

Local position [µm]

Right charge/Total charge

150 Volt

200 Volt

400 Volt


Fig. 20:  scan across strip #760 – 761 in the inner part (strip pitch 78 µm).Measured position corresponds to  i (see Figure 1)


[image: image27.wmf]0

0.2

0.4

0.6

0.8

1

1.2

0

10

20

30

40

50

60

70

80

90

Local position [µm]

Right charge/Total charge

150 Volt

200 Volt

400 Volt


Fig. 21:  scan across strip #760 – 761 in the intermediate part (strip pitch 95 µm and position j in Figure 1)


[image: image28.wmf]0

0.2

0.4

0.6

0.8

1

1.2

0

100

200

300

400

500

600

Pos. 1

Pos. 2

Pos. 3


Fig. 22: CCE curves measured next to strip #760: Pos. 1, 2 and 3 are  the inner part,  intermediate and outer parts of the strip (measuring points i,j, and e Figure 1).


[image: image29.wmf]0

100

200

300

400

500

600

0

100

200

300

400

500

600

Bias [V]

Collected charge [Arb. unit]

Strip #739

Strip #740

Strip #741

Strip #742


Fig. 23: Charge collection in four adjacent strips in a irradiated and type inverted region. The laser was focused between strips ~740-741, next to strip #741. (The measuring position was k, see Figure 1)


[image: image30.wmf]0

0.05

0.1

0.15

0.2

0.25

0

100

200

300

400

500

600

Bias [Volt]

Charge routing line/total charge

Strip #499

Strip #760

Strip #774

Strip #888


Fig. 24: Ratio between the charge collected by the routing line to the total collected charge in irradiated areas with different fluences. Strips#499,760,774 and 888 were measured at positions l,e,m and n (Figure 1).


[image: image31.wmf]0

0.05

0.1

0.15

0.2

0.25

0

100

200

300

400

500

600

Bias [V]

Charge routing line/Total charge

Pos. 1

Pos. 2

Pos. 3

Pos. 4

Pos. 5


Fig. 25: Ratio between the charge collected by the routing line to the total collected charge in the proximity of strip #760 in five equally spaced positions from the inner to the outer end of the strip. The shape of the curves reflect are dependent on the degree of  depletion of the sensor at a fixed location and the geometry of the strips. The depletion effects are seen to dominate as there is no trend in the plot maximum from positions 1- 5. 




Vfd=q0w2Neff / 2Si























































































































PAGE  

_1050836907.xls
Chart2

		50

		100

		150

		200

		250

		300

		350

		400

		500



Strip #690

Bias [V]

Collected charge (arb. unit)

0.1529411765

0.3025210084

0.4352941176

0.6168907563

0.7513445378

0.8789915966

0.9276470588

0.9793277311

1.03



General

		Sector #		Strip's range								1		128

		1		1-128								2		256

		2		129-256								3		384

		3		257-384								4		512

		4		385-512								5		640

		5		513-640								6		768

		6		641-768								7		896

		7		769-896								8		1024

		8		897-1024

		Measured strips:

		Sector #:		1		2		3		4		5		6		7		8





Routing line

		

																						Strip #		Est. VFD

																						499		55

																						760		170

																						774		125

																						888		50





Routing line

		10		50		20		10

		20		100		40		20

		30		150		50		40

		40		200		60		50

		50		250		80		60

		60		300		100		80

		80		350		125		100

		100		400		150		125

		150		500		175		150

		200				200		200

		300				300		300



Strip #499

Strip #760

Strip #774

Strip #888

Bias [Volt]

Charge routing line/total charge

0.1402439024

0.1694915254

0.0649350649

0.1036036036

0.0886524823

0.1589958159

0.1363636364

0.0705521472

0.069637883

0.0979381443

0.1446540881

0.0580808081

0.0611246944

0.0445859873

0.1421052632

0.0324189526

0.0412844037

0

0.1553030303

0.0324189526

0

0

0.1184210526

0.0224438903

0

0

0.0692771084

0

0

0

0.0507042254

0

0

0

0.05

0

0

0.025

0

0

0.0243902439

0



Irradiated (4)

		50		50		50		50		50

		100		100		100		100		100

		150		150		150		150		150

		200		200		200		200		200

		250		250		250		250		250

		300		300		300		300		300

		350		350		350		350		350

		400		400		400		400		400

		500		500		500		500		500



Pos. 1

Pos. 2

Pos. 3

Pos. 4

Pos. 5

Bias [V]

Charge routing line/Total charge

0.0740740741

0

0

0

0.1478873239

0.0801886792

0.0867052023

0.1188118812

0.1954022989

0.1422594142

0.1413427562

0.141221374

0.1611721612

0.2078853047

0.0545454545

0.1800486618

0.117816092

0.1380952381

0.0490196078

0.0298804781

0.1109090909

0.0914760915

0.0462427746

0.0218340611

0

0.0587301587

0.0844277674

0.0235081374

0.044

0

0.0406015038

0.0175438596

0

0

0

0

0

0

0

0

0

0

0

0

0



Irradiated (5) 

		Bias 250 V		Strip #		Centre		Distance		20 V		Local coord.		D24		D25		Pulse Left		Pulse Right		Pulse sum		h		ideal				50 V		Pulse Left		Pulse Right		Pulse sum		h		200 V		Pulse Left		Pulse Right		Pulse sum		h				Volt scan		#85		#86		Total		Normalised

				85		31		110				33.5		25		85		128		12		140		0.0857142857		0		0				253		30		283		0.1060070671				373		16		389		0.0411311054				20		36		126		162		0.3884892086

				86		42						34.5		35		75		132		12		144		0.0833333333		110		1				233		24		257		0.093385214				341		25		366		0.0683060109				30		52		240		292		0.7002398082

												35.5		45		65		84		32		116		0.275862069								204		48		252		0.1904761905				325		50		375		0.1333333333				40		48		317		365		0.8752997602

												37		60		50		22		40		62		0.6451612903								36		76		112		0.6785714286				50		136		186		0.7311827957				50		48		371		407		0.9760191847

		#85		Amplitude		#86		Amplitude				37.5		65		45		40		84		124		0.6774193548								60		197		257		0.766536965				60		305		365		0.8356164384				75		36		380		412		0.9880095923

		39		417		28		417				38.5		75		35		28		152		180		0.8444444444								40		272		312		0.8717948718				32		401		433		0.9260969977				100		32		397		425		1.0191846523

		40		325		29		297				39.5		85		25		24		160		184		0.8695652174								44		281		325		0.8646153846				32		405		437		0.9267734554				120		28		413		441		1.0575539568

		41		50		30		60																																												150		28		417		417		1

		42		0		31		0

		43		68		32		32

		44		361		33		272

						34		409

		Bias 250 V		Strip #		Centre		Distance		20 V		Local coord.		D24		D25		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h		ideal				50 V		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h		200 V		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h				Volt scan		#4		Int 1		#5		Int 2		Total		Normalised		Norm Rout		Norm rzatio rout/total

				4		12.5		115				14.5		20		95		204		-28		36				240		0.15		0		0				333				36				369		0.0975609756				449		-64		48				497		0.0965794769				20		12		-24		200		-48		212		0.4265593561

				5		24						15.5		30		85		240		-36		44				284		0.1549295775		115		1				425		-64		72				497		0.1448692153				573		-112		64				637		0.1004709576				30		40				328		-52		368		0.7404426559

												16.5		40		75		212		-32		44				256		0.171875								373		-48		52				425		0.1223529412				525		-88		52				577		0.0901213172				40		24		-16		381		-88		405		0.814889336

												17.5		50		65		116		-8		48				164		0.2926829268								256		-24		104				360		0.2888888889				373		-64		120				493		0.2434077079				50		28		-24		425		-92		453		0.9114688129

		#4		Amplitude		#5		Amplitude				18.5		60		55		16				32				48		0.6666666667								32				72				104		0.6923076923				60				112				172		0.6511627907				75		16				445		-100		461		0.9275653924

		12		0		21		489				19.5		70		45		52				188		-16		240		0.7833333333								68				385		-48		453		0.8498896247				52				509		-96		561		0.9073083779				100		12		-28		457		-124		469		0.9436619718

		13		0		22		341				20.5		80		35		52				253		-16		305		0.8295081967								76				429		-52		505		0.8495049505				36				549		-96		585		0.9384615385				120		16		-20		465		-120		481		0.967806841

		14		132		23		84				21.5		90		25		28				204		-48		232		0.8793103448								36				393		-84		429		0.9160839161				28				501		-112		529		0.9470699433				150		12		-44		485		-132		497		1

		15		437		24		0

		16		517		25		0

						26		272

		Bias 250 V		Strip #		Centre		Distance		20 V		Local coord.		D24		D25		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h		ideal				50 V		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h		200 V		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h

				5		24		110				26.5		25		85		197				36				233		0.1545064378		0		0				328				36				364		0.0989010989				445				32				477		0.0670859539

				6		35						27.5		35		75		152				28				180		0.1555555556		110		1				305				36				341		0.1055718475				449				36				485		0.0742268041

												28.5		45		65		116				36				152		0.2368421053								253				60				313		0.1916932907				413				100				513		0.1949317739

												29.5		55		55		44				28				72										60				36				96						72				32				104

												30.5		65		45		28				104				132		0.7878787879								52				212				264		0.803030303				72				345				417		0.8273381295

												31.5		75		35		36				160				196		0.8163265306								32				272				304		0.8947368421				28				405				433		0.935334873

												32.5		85		25		12				164				176		0.9318181818								32				333				365		0.9123287671				72				469				541		0.8669131238

		Bias 250 V		Strip #		Centre		Distance		20 V		Local coord.		D24		D25		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h		ideal				50 Volt		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h		200 Volts		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h				Volt scan		#115		Int 1		#116		Int 2		Total		Normalised		Norm Rout		Norm rzatio rout/total

				115		44		120				47.5		35		85		237				45				282		0.1595744681		0		0				396		-18		54				450		0.12				474		-31		41				515		0.0796116505				10		32		23		132		0		164		0.3326572008				0.1402439024

				116		56						48.5		45		75		209		0		54				263		0.2053231939		120		1				387		-13		59				446		0.1322869955				460		-41		45				505		0.0891089109				20		41		25		241		0		282		0.5720081136				0.0886524823

												49.5		55		65		128		13		54				182		0.2967032967								264				77				341		0.2258064516				360		-23		90				450		0.2				30		45		25		314		0		359		0.7281947262				0.069637883

												51		70		50		41		13		91				132										63		13		182				245						73		0		250				323		0.72				40		45		25		364		0		409		0.8296146045				0.0611246944

		#115		Amplitude		#116		Amplitude				51.5		75		45		77		41		173				250		0.692								91		18		360				451		0.7982261641				91		0		461				552		0.8351449275				50		36		18		400		-13		436		0.8843813387				0.0412844037

		42		506		54		483				52.5		85		35		54		30		214				268		0.7985074627								54		23		383				437		0.8764302059				32		-23		460				492		0.9349593496				60		25		0		419		-23		444		0.9006085193				0

		43		410		55		287				53.5		95		25		41		25		241				282		0.8546099291								36		18		400		-13		436		0.9174311927				27				460		-23		487		0.9445585216				80		27		0		442		-23		469		0.9513184584				0

		44		77		56		0																																																								100		27		0		446		-23		473		0.9594320487				0

		45		455		57		0																																																								150		23		0		455		-27		478		0.9695740365				0

		46		488		58		145																																																								200		27				460		-18		487		0.9878296146				0

						59		469																																																								300		23				470		-30		493		1				0





Irr. corr (5)

		Bias 250 V		Strip #		Centre		Distance		100 V		Local coord.		D24		D25		Pulse Left		Pulse Right		Pulse sum		h		ideal				200 V		Pulse Left		Pulse Right		Pulse sum		h		300 V		Pulse Left		Pulse Right		Pulse sum		h				Volt scan		#13		#14		Total		Normalised						Strip #5		Volt scan		Normalised

				13		8.5		110				11		25		85		351		0		351		0		0		0				369		0		369		0				364		0		364		0				20		5		205		210		0.4338842975						10		140		0.2868852459

				14		19.5						12		35		75		387		0		387		0		110		1				414		0		414		0				414		0		414		0				30		5		273		278		0.5743801653						30		285		0.5840163934

												13		45		65		328		27		355		0.076056338								374		15		389		0.0385604113				383		24		407		0.058968059				40		54		323		377		0.7789256198						50		393		0.8053278689

												14		55		55		154		73		227		0.3215859031								164		59		223		0.264573991				173		68		241		0.2821576763				50		45		360		405		0.8367768595						70		434		0.8893442623

		#13		Amplitude		#14		Amplitude				15		65		45		54		223		277		0.8050541516								63		264		327		0.8073394495				82		278		360		0.7722222222				75		41		405		446		0.9214876033						100		454		0.9303278689

		6		364		17		351				16		75		35		36		378		414		0.9130434783								36		424		460		0.9217391304				32		424		456		0.9298245614				100		32		428		460		0.9504132231						150		468

		7		164		18		164				17		85		25		23		414		437		0.9473684211								23		460		483		0.9523809524				20		464		484		0.958677686				120		23		437		460		0.9504132231						200		485		0.993852459

		8		30		19		0																																												150		27		446		473		0.9772727273						300		488		1

		9		0		20		0																																												200		23		455		478		0.9876033058

		10		209		21		196																																												300		20		464		484		1

		11		370		22		392

		Bias 250 V		Strip #		Centre		Distance		50 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				200 V		Pulse Left		Pulse Right		Pulse sum		h		300 V		Pulse Left		Pulse Right		Pulse sum		h				Volt scan		#33		#34		Total		Normalised

				13		4.8		112				8		32		80		31		334		71		405		0.175308642		0		0				427		-17		410		0				434		-17		417		0				10		48		97		145		0.3325688073				30		112		20		31		163

				14		16						9		42		70		34		317		51		368		0.1385869565		112		1				427		31		458		0.0676855895				458		24		482		0.0497925311				20		51		184		235		0.5389908257				50		157		31		41		229

												10		52		60		0		68		34		102		0.3333333333								89		37		126		0.2936507937				99		34		133		0.2556390977				30		54		263		317		0.7270642202				100		291		51		85		427

												11		62		50		0		65		195		260		0.75								61		266		327		0.8134556575				61		260		321		0.8099688474				50		37		345		382		0.876146789				130		372		58		103		533

		#33		Amplitude		#34		Amplitude				12		72		40		0		51		308		359		0.8579387187								34		413		447		0.9239373602				34		430		464		0.9267241379				75		27		389		416		0.9541284404				150		530		50		109		689

		2		445		13		451				13		82		30		0		37		342		379		0.9023746702								27		427		454		0.9405286344				10		447		457		0.9781181619				100		24		400		424		0.9724770642				200		567		44		65		676

		3		191		14		214																																														125		24		417		441		1.0114678899				250		605		31				636

		4		41		15		41																																														150		20		420		440		1.0091743119				300		612		31				643

		5		34		16		34																																														200		20		424		444		1.0183486239

		6		68		17		58																																														300		20		436		456		1.0458715596

		7		413		18		330

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.		D24		D25		#120		Int 1		#121		Int 2		#122		Int 3		Pulse sum		h		ideal				200 V		#120		Int 1		#121		Int 2		#122		Int 3		Pulse sum		h		400 V		#120		Int 1		#121		Int 2		#122		Int 3		Pulse sum		h						Volt scan		#120		Int 1		#121		Int 2		#122		Total		Normalised		Rout/total

				121		40		117				43		30		87		30		24		167		24		48		17		215		0.223255814		0		0				24		20		266		10		34		0		300		0.1133333333				10		0		372		-24		20		0		392		0.0510204082						50		0		0		61		0		24		85		0.2093596059		0

				122		51.7						44		40		77		24		15		140		31		54		117		194		0.2783505155		117		1				27		15		242		27		58		0		300		0.1933333333				0		0		376		-24		31		0		407		0.0761670762						100		20		0		106		0		34		140		0.3448275862		0

												45		50		67		24		20		99		37		65		0		164		0.3963414634								15		0		171		44		75		0		246		0.3048780488				10		0		311		0		75		0		386		0.1943005181						150		27		10		157		24		48		205		0.5049261084		0.0487804878

												47		70		47		0		0		58		41		95		0		153		0.6209150327								0		0		68		48		146		0		214		0.6822429907				0		0		61		17		270		0		331		0.8157099698						200		20		10		253		10		34		287		0.7068965517		0.0348432056

		#121		Amplitude		#122		Amplitude				48		80		37		0		0		65		41		143		10		208		0.6875								0		0		58		41		229		0		287		0.7979094077				0		0		34		0		366		-13		400		0.915						250		10		5		317		0		27		344		0.8472906404		0.0145348837

		38		345		49		366				49		90		27		0		0		51		34		157		0		208		0.7548076923								0		0		44		27		266		0		310		0.8580645161				0		0		27		0		376		-17		403		0.9330024814						300		0		0		349		0		31		380		0.9359605911		0

		39		37		50		201																																																																						350		0		0		362		-15		27		389		0.9581280788		0

		40		30		51		34																																																																						400		0		0		372		-17		34		406		1		0

		41		34		52		24																																																																						500		0		0		383		-20		27		410		1.0098522167		0

		42		195		53		58

		43		362		54		342

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				200 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		400 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h						Volt scan		#109		#110		Total		Normalised

				109		12.4		116				15		26		90		31		178		51		229		0.2227074236		0		0				15		280		24		304		0.0789473684						369		0		369		0						50		65		0		65		0.1747311828

				110		24						16		36		80		24		154		58		212		0.2735849057		116		1				24		263		41		304		0.1348684211						372		0		372		0						100		123		37		160		0.4301075269

												17		46		70		20		123		71		194		0.3659793814								30		215		71		286		0.2482517483						331		41		372		0.1102150538						150		171		51		222		0.5967741935

												19		66		50		0		68		95		163		0.5828220859								0		71		146		217		0.6728110599						58		242		300		0.8066666667						200		287		24		311		0.8360215054

		#109		Amplitude		#110		Amplitude				20		76		40		0		68		146		214		0.6822429907								0		58		242		300		0.8066666667						34		338		372		0.9086021505						250		334		0		334		0.8978494624

		10		308		21		291				21		86		30		0		58		167		225		0.7422222222								0		44		259		303		0.8547854785						0		345		345		1						300		351		0		351		0.9435483871

		11		37		22		208																																																				350		366		0		366		0.9838709677

		12		0		23		31																																																				400		372		0		372		1

		13		0		24		27																																																				500		383		0		383		1.0295698925

		14		225		25		31

		15		321		26		235

						27		285

		Bias 250 V		Strip #		Centre		Distance		100 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				300 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		400 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h						Volt scan		#72		#73		Total		Normalised

				72		29.1		114				31.5		24		90				253		34		287		0.118466899		0		0						355		1		356		0.0028089888						0		0		0		0						25		44		20		64		0.170212766

				73		40.5						32.5		34		80				242		48		290		0.1655172414		114		1						386		1		387		0.0025839793																		50		95		41		136		0.3617021277

												33.5		44		70				150		78		228		0.3421052632										280		41		321		0.1277258567																		75		150		58		208		0.5531914894

												35.5		64		50				54		120		174		0.6896551724										51		222		273		0.8131868132																		100		240		51		291		0.7739361702

		#72		Amplitude		#73		Amplitude				36.5		74		40				68		215		283		0.7597173145										17		376		393		0.9567430025																		125		311		27		338		0.8989361702

		27		249		38		311				37.5		84		30				41		253		294		0.8605442177										1		386		387		0.9974160207																		150		342		10		352		0.9361702128

		28		71		39		106				38		89		25				41		249		290		0.8586206897										20		355		375		0.9466666667																		200		355		10		365		0.9707446809

		28.5		25		40		20																																																				300		376		0		376		1

		29		0		41		31																																																				400		383		0		383		1.0186170213

		30		58		42		154

		31		256		43		334

		Bias 250 V		Strip #		Centre		Distance		100 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				150 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		300 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		200 V		Pulse Left		Pulse Right		Pulse sum		h		Volt scan		#92		#93		Total		Normalised

				92		37.8		116				40		22		94		20		146		41		187		0.2192513369		0		0						259		24		283		0.0848056537						352		1		353		0.0028328612				331		5		336		0.0148809524		50		65		10		75		0.2049180328

				93		49.4						41		32		84		20		140		44		184		0.2391304348		116		1						246		34		280		0.1214285714						369		1		370		0.0027027027				334		5		339		0.0147492625		75		95		10		105		0.2868852459

												42		42		74		24		112		51		163		0.3128834356										208		65		273		0.2380952381						355		1		356		0.0028089888				300		34		334		0.1017964072		100		129		27		156		0.4262295082

												44.5		67		49		0		68		89		157		0.5668789809										82		143		225		0.6355555556						65		256		321		0.7975077882				71		215		286		0.7517482517		125		167		27		194		0.5300546448

		#92		Amplitude		#93		Amplitude				45		72		44				71		103		174		0.591954023										78		198		276		0.7173913043						37		334		371		0.9002695418				54		291		345		0.8434782609		150		236		30		266		0.7267759563

		35		352		47		345				46		82		34				54		123		177		0.6949152542										54		236		290		0.8137931034						1		370		371		0.9973045822				41		328		369		0.8888888889		200		328		0		328		0.8961748634

		36		143		48		68				47		92		24				48		133		181		0.7348066298										48		259		307		0.8436482085						10		359		369		0.972899729				35		331		366		0.9043715847		250		355		0		355		0.9699453552

		37		17		49		0																																																										300		366		0		366		1

		38		17		49.5		0																																																										400		379		0		379		1.0355191257

		39		95		50		0

		40		325		51		116

						52		321

		Bias 250 V		Strip #		Centre		Distance		20 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				50 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		200 V		Pulse Left		Pulse Right		Pulse sum		h								Volt scan		#32		#33		Total		Normalised

				32		43.2		108				45.5		23		85		24		188		30		218		0.1376146789		0		0				24		317		1		318		0.0031446541				400		1		401		0.0024937656								10		89		41		130		0.3147699758

				33		54						46.5		33		75		20		174		44		218		0.2018348624		108		1				20		325		10		335		0.0298507463				410		1		411		0.00243309								20		171		41		212		0.5133171913

												47.5		43		65		24		123		65		188		0.3457446809								20		242		54		296		0.1824324324				342		37		379		0.0976253298								30		232		34		266		0.6440677966

												49		58		50		0		41		58		99		0.5858585859										44		109		153		0.7124183007				51		164		215		0.7627906977								50		321		0		321		0.7772397094

		#32		Amplitude		#33		Amplitude				49.5		63		45				68		116		184		0.6304347826										68		212		280		0.7571428571				65		297		362		0.820441989								75		362		0		362		0.8765133172

		40		393		51		413				50.5		73		35				58		157		215		0.7302325581										44		297		341		0.8709677419				24		389		413		0.9418886199								100		383		0		383		0.9273607748

		41		181		52		291				51		78		30				48		164		212		0.7735849057										41		304		345		0.8811594203				15		393		408		0.9632352941								150		396		0		396		0.9588377724

		42		31		53		51																																																				200		413		0		413		1

		43		24		54		17																																																				300		420		0		420		1.0169491525

		44		80		55		50

		45		359		56		280

						57		403

		Bias 250 V		Strip #		Centre		Distance		50 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				100 V		Pulse Left		Pulse Right		Pulse sum		h		300 V		Pulse Left		Pulse Right		Pulse sum		h										Volt scan		#53		#54		#55		#56		Total		Normalised

				54		39		110				42.5		35		75		24		259		37		296		0.125		0		0				352		1		353		0.0028328612				400		1		401		0.0024937656										10		13		27		41		13		68		0.17

				55		50						43		40		70		24		222		48		270		0.1777777778		110		1				331		1		332		0.0030120482				393		1		394		0.0025380711										25		20		61		109		20		170		0.425

												44		50		60		0		123		58		181		0.320441989								195		44		239		0.1841004184				239		41		280		0.1464285714										50				266		41				307		0.7675

												45.5		65		45		0		51		116		167		0.6946107784								42		178		220		0.8090909091				61		215		276		0.7789855072										75				334		14				348		0.87

		#54		Amplitude		#55		Amplitude				46		70		40				70		201		271		0.741697417								51		308		359		0.8579387187				51		355		406		0.8743842365										100				359		0				359		0.8975

		37		352		47		400				47		80		30				43		260		303		0.8580858086								17		355		372		0.9543010753				1		400		401		0.9975062344										150				372		0				372		0.93

		38		44		48		280																																																				200				383		0				383		0.9575

		39		27		49		41																																																				250				396		0				396		0.99

		40		51		50		20																																																				300				400		0				400		1

		41		266		51		51								512		63		575																																								400				406						406		1.015

		42		390		52		273

						53		410

		Bias 250 V		Strip #		Centre		Distance		50 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				100 V		Pulse Left		Pulse Right		Pulse sum		h		250 V		Pulse Left		Pulse Right		Pulse sum		h										Volt scan		#64		#65		Total		Normalised

				63		1		120				4.5		35		85		37		161		65		226		0.2876106195		0		0				317		1		318		0.0031446541				376		1		377		0.0026525199										25		34		75		109		0.2632850242

				64		13						5.5		45		75		30		137		82		219		0.3744292237		120		1				297		54		351		0.1538461538				376		15		391		0.0383631714										50		55		164		219		0.5289855072

												6		50		70		0		123		78		201		0.3880597015								249		58		307		0.1889250814				325		41		366		0.1120218579										75		37		290		327		0.7898550725

												7.5		65		55		0		38		51		89		0.5730337079								40		106		146		0.7260273973				51		129		180		0.7166666667										100		27		330		357		0.8623188406

		#63		Amplitude		#64		Amplitude				8		70		50				71		103		174		0.591954023								61		242		303		0.798679868				58		300		358		0.8379888268										150		27		359		386		0.9323671498

		-1		352		10		400				9		80		40				75		143		218		0.6559633028								41		325		366		0.8879781421				31		372		403		0.9230769231										200		24		372		396		0.9565217391

		0		44		11		280				10		90		30				51		164		215		0.7627906977								34		334		368		0.9076086957				20		389		409		0.9511002445										250		20		379		399		0.9637681159

		1		27		12		41																																																				300		24		382		406		0.9806763285

		2		51		13		20																																																				350		24		390		414		1

		3		266		14		51

		4		390		15		273





Irr. corr. (6)

		Bias 250 V		Strip #		Centre		Distance		100 V		Local coord.		D24		D25		Pulse Left		Pulse Right		Pulse sum		h		ideal				200 V		Pulse Left		Pulse Right		Pulse sum		h		300 V		Pulse Left		Pulse Right		Pulse sum		h				Volt scan		#13		#14		Total		Normalised						Strip #5		Volt scan		Normalised

				13		8.5		110				11		25		85		351		17		368		0.0461956522		0		0				369		17		386		0.0440414508				364		17		381		0.0446194226				20		5		205		210		0.4338842975						10		140		0.2868852459

				14		19.5						12		35		75		387		24		411		0.0583941606		110		1				414		24		438		0.0547945205				414		24		438		0.0547945205				30		5		273		278		0.5743801653						30		285		0.5840163934

												13		45		65		328		54		382		0.1413612565								374		55		429		0.1282051282				383		48		431		0.1113689095				40		54		323		377		0.7789256198						50		393		0.8053278689

												14		55		55		154		73		227		0.3215859031								164		59		223		0.264573991				173		68		241		0.2821576763				50		45		360		405		0.8367768595						70		434		0.8893442623

		#13		Amplitude		#14		Amplitude				15		65		45		54		223		277		0.8050541516								63		264		327		0.8073394495				82		278		360		0.7722222222				75		41		405		446		0.9214876033						100		454		0.9303278689

		6		364		17		351				16		75		35		36		378		414		0.9130434783								36		424		460		0.9217391304				32		424		456		0.9298245614				100		32		428		460		0.9504132231						150		468

		7		164		18		164				17		85		25		23		414		437		0.9473684211								23		460		483		0.9523809524				20		464		484		0.958677686				120		23		437		460		0.9504132231						200		485		0.993852459

		8		30		19		0																																												150		27		446		473		0.9772727273						300		488		1

		9		0		20		0																																												200		23		455		478		0.9876033058

		10		209		21		196																																												300		20		464		484		1

		11		370		22		392

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.		D24		D25		#120		Int 1		#121		Int 2		#122		Int 3		Pulse sum		h		ideal				200 V		#120		Int 1		#121		Int 2		#122		Int 3		Pulse sum		h		400 V		#120		Int 1		#121		Int 2		#122		Int 3		Pulse sum		h						Volt scan		#120		Int 1		#121		Int 2		#122		Total		Normalised

				121		40		117				43		30		87		30		24		167		24		48		17		215		0.223255814		0		0				24		20		266		10		34		0		300		0.1133333333				10		0		372		-24		20		0		392		0.0510204082						50		0		0		61		0		24		85		0.2093596059

				122		51.7						44		40		77		24		15		140		31		54		117		194		0.2783505155		117		1				27		15		242		27		58		0		300		0.1933333333				0		0		376		-24		31		0		407		0.0761670762						100		20		0		106		0		34		140		0.3448275862

												45		50		67		24		20		99		37		65		0		164		0.3963414634								15		0		171		44		75		0		246		0.3048780488				10		0		311		0		75		0		386		0.1943005181						150		27		10		157		24		48		205		0.5049261084

												47		70		47		0		0		58		41		95		0		153		0.6209150327								0		0		68		48		146		0		214		0.6822429907				0		0		61		17		270		0		331		0.8157099698						200		20		10		253		10		34		287		0.7068965517

		#121		Amplitude		#122		Amplitude				48		80		37		0		0		65		41		143		10		208		0.6875								0		0		58		41		229		0		287		0.7979094077				0		0		34		0		366		-13		400		0.915						250		10		5		317		0		27		344		0.8472906404

		38		345		49		366				49		90		27		0		0		51		34		157		0		208		0.7548076923								0		0		44		27		266		0		310		0.8580645161				0		0		27		0		376		-17		403		0.9330024814						300		0		0		349		0		31		380		0.9359605911

		39		37		50		201																																																																						350		0		0		362		-15		27		389		0.9581280788

		40		30		51		34																																																																						400		0		0		372		-17		34		406		1

		41		34		52		24																																																																						500		0		0		383		-20		27		410		1.0098522167

		42		195		53		58

		43		362		54		342

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				200 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		400 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h						Volt scan		#109		#110		Total		Normalised

				109		12.4		116				15		26		90		31		178		51		229		0.2227074236		0		0				15		280		24		304		0.0789473684						369		15		384		0.0390625						50		65		0		65		0.1747311828

				110		24						16		36		80		24		154		58		212		0.2735849057		116		1				24		263		41		304		0.1348684211						372		24		396		0.0606060606						100		123		37		160		0.4301075269

												17		46		70		20		123		71		194		0.3659793814								30		215		71		286		0.2482517483						331		41		372		0.1102150538						150		171		51		222		0.5967741935

												19		66		50		0		68		95		163		0.5828220859								0		71		146		217		0.6728110599						58		242		300		0.8066666667						200		287		24		311		0.8360215054

		#109		Amplitude		#110		Amplitude				20		76		40		0		68		146		214		0.6822429907								0		58		242		300		0.8066666667						34		338		372		0.9086021505						250		334		0		334		0.8978494624

		10		308		21		291				21		86		30		0		58		167		225		0.7422222222								0		44		259		303		0.8547854785						15		345		360		0.9583333333						300		351		0		351		0.9435483871

		11		37		22		208																																																				350		366		0		366		0.9838709677

		12		0		23		31																																																				400		372		0		372		1

		13		0		24		27																																																				500		383		0		383		1.0295698925

		14		225		25		31

		15		321		26		235

						27		285

		Bias 250 V		Strip #		Centre		Distance		100 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				300 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		400 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h						Volt scan		#72		#73		Total		Normalised

				72		29.1		114				31.5		24		90				253		34		287		0.118466899		0		0						355		14		369		0.0379403794						0		0		0		0						25		44		20		64		0.170212766

				73		40.5						32.5		34		80				242		48		290		0.1655172414		114		1						386		25		411		0.0608272506																		50		95		41		136		0.3617021277

												33.5		44		70				150		78		228		0.3421052632										280		56		336		0.1666666667																		75		150		58		208		0.5531914894

												35.5		64		50				54		120		174		0.6896551724										51		222		273		0.8131868132																		100		240		51		291		0.7739361702

		#72		Amplitude		#73		Amplitude				36.5		74		40				68		215		283		0.7597173145										17		376		393		0.9567430025																		125		311		27		338		0.8989361702

		27		249		38		311				37.5		84		30				41		253		294		0.8605442177										1		386		387		0.9974160207																		150		342		10		352		0.9361702128

		28		71		39		106				38		89		25				41		249		290		0.8586206897										20		355		375		0.9466666667																		200		355		10		365		0.9707446809

		28.5		25		40		20																																																				300		376		0		376		1

		29		0		41		31																																																				400		383		0		383		1.0186170213

		30		58		42		154

		31		256		43		334

		Bias 250 V		Strip #		Centre		Distance		100 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				150 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		300 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		200 V		Pulse Left		Pulse Right		Pulse sum		h		Volt scan		#92		#93		Total		Normalised

				92		37.8		116				40		22		94		20		146		41		187		0.2192513369		0		0						259		24		283		0.0848056537						352		15		367		0.0408719346				331		20		351		0.056980057		50		65		10		75		0.2049180328

				93		49.4						41		32		84		20		140		44		184		0.2391304348		116		1						246		34		280		0.1214285714						369		27		396		0.0681818182				334		29		363		0.0798898072		75		95		10		105		0.2868852459

												42		42		74		24		112		51		163		0.3128834356										208		65		273		0.2380952381						355		36		391		0.0920716113				300		55		355		0.1549295775		100		129		27		156		0.4262295082

												44.5		67		49		0		68		89		157		0.5668789809										82		143		225		0.6355555556						65		256		321		0.7975077882				71		215		286		0.7517482517		125		167		27		194		0.5300546448

		#92		Amplitude		#93		Amplitude				45		72		44				71		103		174		0.591954023										78		198		276		0.7173913043						37		334		371		0.9002695418				54		291		345		0.8434782609		150		236		30		266		0.7267759563

		35		352		47		345				46		82		34				54		123		177		0.6949152542										54		236		290		0.8137931034						1		370		371		0.9973045822				41		328		369		0.8888888889		200		328		0		328		0.8961748634

		36		143		48		68				47		92		24				48		133		181		0.7348066298										48		259		307		0.8436482085						10		359		369		0.972899729				35		331		366		0.9043715847		250		355		0		355		0.9699453552

		37		17		49		0																																																										300		366		0		366		1

		38		17		49.5		0																																																										400		379		0		379		1.0355191257

		39		95		50		0

		40		325		51		116

						52		321

		Bias 250 V		Strip #		Centre		Distance		20 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				50 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		200 V		Pulse Left		Pulse Right		Pulse sum		h								Volt scan		#32		#33		Total		Normalised

				32		43.2		108				45.5		23		85		24		188		30		218		0.1376146789		0		0				24		317		14		331		0.0422960725				400		15		415		0.0361445783								10		89		41		130		0.3147699758

				33		54						46.5		33		75		20		174		44		218		0.2018348624		108		1				20		325		30		355		0.0845070423				410		25		435		0.0574712644								20		171		41		212		0.5133171913

												47.5		43		65		24		123		65		188		0.3457446809								20		242		74		316		0.2341772152				342		37		379		0.0976253298								30		232		34		266		0.6440677966

												49		58		50		0		41		58		99		0.5858585859										44		109		153		0.7124183007				51		164		215		0.7627906977								50		321		0		321		0.7772397094

		#32		Amplitude		#33		Amplitude				49.5		63		45				68		116		184		0.6304347826										68		212		280		0.7571428571				65		297		362		0.820441989								75		362		0		362		0.8765133172

		40		393		51		413				50.5		73		35				58		157		215		0.7302325581										44		297		341		0.8709677419				24		389		413		0.9418886199								100		383		0		383		0.9273607748

		41		181		52		291				51		78		30				48		164		212		0.7735849057										41		304		345		0.8811594203				15		393		408		0.9632352941								150		396		0		396		0.9588377724

		42		31		53		51																																																				200		413		0		413		1

		43		24		54		17																																																				300		420		0		420		1.0169491525

		44		80		55		50

		45		359		56		280

						57		403

		Bias 250 V		Strip #		Centre		Distance		50 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				100 V		Pulse Left		Pulse Right		Pulse sum		h		300 V		Pulse Left		Pulse Right		Pulse sum		h										Volt scan		#53		#54		#55		#56		Total		Normalised

				54		39		110				42.5		35		75		24		259		37		296		0.125		0		0				352		15		367		0.0408719346				400		17		417		0.0407673861										10		13		27		41		13		68		0.17

				55		50						43		40		70		24		222		48		270		0.1777777778		110		1				331		25		356		0.0702247191				393		29		422		0.0687203791										25		20		61		109		20		170		0.425

												44		50		60		0		123		58		181		0.320441989								195		55		250		0.22				239		61		300		0.2033333333										50				266		41				307		0.7675

												45.5		65		45		0		51		116		167		0.6946107784								42		178		220		0.8090909091				61		215		276		0.7789855072										75				334		14				348		0.87

		#54		Amplitude		#55		Amplitude				46		70		40				70		201		271		0.741697417								51		308		359		0.8579387187				51		355		406		0.8743842365										100				359		0				359		0.8975

		37		352		47		400				47		80		30				43		260		303		0.8580858086								17		355		372		0.9543010753				1		400		401		0.9975062344										150				372		0				372		0.93

		38		44		48		280																																																				200				383		0				383		0.9575

		39		27		49		41																																																				250				396		0				396		0.99

		40		51		50		20																																																				300				400		0				400		1

		41		266		51		51								512		63		575																																								400				406						406		1.015

		42		390		52		273

						53		410

		Bias 250 V		Strip #		Centre		Distance		50 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				100 V		Pulse Left		Pulse Right		Pulse sum		h		250 V		Pulse Left		Pulse Right		Pulse sum		h										Volt scan		#64		#65		Total		Normalised

				63		1		120				4.5		35		85		37		161		65		226		0.2876106195		0		0				317		15		332		0.0451807229				376		15		391		0.0383631714										25		34		75		109		0.2632850242

				64		13						5.5		45		75		30		137		82		219		0.3744292237		120		1				297		50		347		0.144092219				376		39		415		0.0939759036										50		55		164		219		0.5289855072

												6		50		70		0		123		78		201		0.3880597015								249		54		303		0.1782178218				325		61		386		0.1580310881										75		37		290		327		0.7898550725

												7.5		65		55		0		38		51		89		0.5730337079								40		106		146		0.7260273973				51		129		180		0.7166666667										100		27		330		357		0.8623188406

		#63		Amplitude		#64		Amplitude				8		70		50				71		103		174		0.591954023								61		242		303		0.798679868				58		300		358		0.8379888268										150		27		359		386		0.9323671498

		-1		352		10		400				9		80		40				75		143		218		0.6559633028								41		325		366		0.8879781421				31		372		403		0.9230769231										200		24		372		396		0.9565217391

		0		44		11		280				10		90		30				51		164		215		0.7627906977								34		334		368		0.9076086957				20		389		409		0.9511002445										250		20		379		399		0.9637681159

		1		27		12		41																																																				300		24		382		406		0.9806763285

		2		51		13		20																																																				350		24		390		414		1

		3		266		14		51

		4		390		15		273





Irr. corr. (6)

		0		1		0

		0				0

		0				0

		0				0

		0				0

		0				0

		0				0

		0				0

		0

		0



0

1

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



Irradiated (6)

		

		Vfd

		Normalised		10		30		50		70		120

		50		0.2016		0.2		0.1500938086		0.1529411765		0.2610294118

		100		0.3248		0.2585365854		0.3114446529		0.3025210084		0.4393382353

		150		0.4832		0.4170731707		0.4671669794		0.4352941176		0.8088235294

		200		0.656		0.6		0.6303939962		0.6268907563		0.9227941176

		250		0.8032		0.8097560976		0.8105065666		0.7613445378		0.9430147059

		300		0.9104		0.856097561		0.8780487805		0.8789915966		0.9411764706

		350		0.928		0.8902439024		0.9099437148		0.9176470588		0.9724264706

		400		0.9696		0.9268292683		0.9230769231		0.9193277311		0.9852941176

		500		1		1		1		1		1

		Strip #		VFD

		10

		30

		50

		70

		120

		Eta scan		#10		#11

								D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		Norm. pulse

								20		90		239		62		301		0.2059800664		0		0				20		90		409		59		468		0.1260683761		0.6688888889

								30		80		350		76		426		0.1784037559		110		1				30		80		582		32		614		0.0521172638		0.9466666667

								40		70		298		104		402		0.2587064677								40		70		520		60		580		0.1034482759		0.8933333333

								50		60		149		83		232		0.3577586207								50		60		270		76		346		0.2196531792		0.5155555556

								60		50		90		152		242		0.6280991736								60		50		100		281		381		0.7375328084		0.5377777778

								70		40		118		291		409		0.7114914425								70		40		80		544		624		0.8717948718		0.9088888889

								80		30		94		357		451		0.7915742794								80		30		55		564		619		0.9111470113		1.0022222222

								90		20		80		277		357		0.7759103641								90		20		76		447		523		0.8546845124		0.7933333333

				#30		#31		200 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		Norm. pulse

										20		90		114		61		175		0.3485714286		0		0				20		90		195		58		253		0.2292490119		0.6730769231

										30		80		168		47		215		0.2186046512		110		1				30		80		309		15		324		0.0462962963		0.8269230769

										40		70		160		75		235		0.3191489362								40		70		328		27		355		0.076056338		0.9038461538

										50		60		95		73		168		0.4345238095								50		60		161		58		219		0.2648401826		0.6461538462

										60		50		39		65		104		0.625								60		50		56		91		147		0.619047619		0.4

										70		40		58		147		205		0.7170731707								70		40		51		303		354		0.8559322034		0.7884615385

										80		30		52		203		255		0.7960784314								80		30		15		372		387		0.9612403101		0.9807692308

										90		20		42		198		240		0.825								90		20		10		367		377		0.9734748011		0.9230769231

				#50		#51		200 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		Norm. pulse

										20		90		253		45		298		0.1510067114		0		0				20		90		429		24		453		0.0529801325		0.903030303

										30		80		225		55		280		0.1964285714		110		1				30		80		423		32		455		0.0703296703		0.8484848485

										40		70		177		86		263		0.3269961977								40		70		385		72		457		0.1575492341		0.796969697

										50		60		0		0		0										50		60		0		0		0				0

										60		50		62		128		190		0.6736842105								60		50		69		267		336		0.7946428571		0.5757575758

										70		40		83		232		315		0.7365079365								70		40		42		461		503		0.916500994		0.9545454545

										80		30		52		277		329		0.8419452888								80		30		28		461		489		0.9427402863		0.996969697

										90		20		55		270		325		0.8307692308								90		20		24		468		492		0.9512195122		0.9848484848

				#70		#71		200 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		Norm. pulse

										20		95		263		55		318		0.1729559748		0		0				20		95		395		59		454		0.1299559471		0.7066666667

										30		85		374		42		416		0.1009615385		115		1				30		85		547		20		567		0.0352733686		0.9244444444

										40		75		315		76		391		0.1943734015								40		75		550		38		588		0.0646258503		0.8688888889

										50		65		121		55		176		0.3125								50		65		204		58		262		0.2213740458		0.3911111111

										60		55		48		50		98		0.5102040816								60		55		59		83		142		0.5845070423		0.2177777778

										70		45		114		253		367		0.689373297								70		45		66		499		565		0.8831858407		0.8155555556

										80		35		76		333		409		0.8141809291								80		35		38		561		599		0.9365609349		0.9088888889

										90		25		66		381		447		0.8523489933								90		25		34		513		547		0.9378427788		0.9933333333

				#120		#121		200 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		Norm. pulse

										20		100		346		121		467		0.2591006424		0		0				20		100		377		135		512		0.263671875		0.6867647059

										30		90		616		59		675		0.0874074074		115		1				30		90		682		48		730		0.0657534247		0.9926470588

										40		80		616		62		678		0.0914454277								40		80		665		52		717		0.0725244073		0.9970588235

										50		70		308		55		363		0.1515151515								50		70		385		66		451		0.1463414634		0.7117647059

										60		60		59		59		118		0.5								60		60		66		66		132		0.5		0.231372549

										70		50		90		360		450		0.8								70		50		86		450		536		0.8395522388		0.8823529412

										80		40		59		450		509		0.884086444								80		40		42		520		562		0.9252669039		0.9980392157

										90		30		38		468		506		0.9249011858								90		30		28		523		551		0.9491833031		0.9921568627

				Sample of metal strip scan

		#10		#10		Amplitude		Norm. ampl.

		25.5		0		491		0.982

		26		5		376		0.752

		26.5		10		173		0.346

		27.5		20		0		0

		28		25		0		0

		28.5		30		0		0

		29.5		40		108.6		0.2172

		30		45		310		0.62

		30.5		50		472		0.944

		Strip		#90		#91		200 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		Pulse Left		Pulse Right		Pulse sum		h

										38		30		87.5		329		38		367		0.1035422343		0		0				436		14		450		0.0311111111

										39		40		77.5		281		69		350		0.1971428571		117.5		1				433		25		458		0.0545851528

										40		50		67.5		142		83		225		0.3688888889								235		76		311		0.2443729904

										41		60		57.5		52		86		138		0.6231884058								38		136		174		0.7816091954

										42		70		47.5		94		274		368		0.7445652174								48		485		533		0.9099437148

										43		80		37.5		48		385		433		0.8891454965								0		526		526		1

										44		90		27.5		38		402		440		0.9136363636								0		523		523		1

		Strip #		150 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				200 V		Pulse Left		Pulse Right		Pulse sum		h		400 V		Pulse Left		Pulse Right		Pulse sum		h

		100				24		30		85		276		71		347		0.204610951		0		0				405		25		430		0.0581395349				509		24		533		0.0450281426

		101				25		40		75		233		104		337		0.3086053412		115		1				388		74		462		0.1601731602				516		38		554		0.0685920578

						26		50		65		91		57		148		0.3851351351								142		54		196		0.2755102041				219		62		281		0.2206405694

						27		60		55		51		67		118		0.5677966102								64		101		165		0.6121212121				67		148		215		0.688372093

						28		70		45		121		202		323		0.6253869969								111		317		428		0.7406542056				61		476		537		0.886405959

						29		80		35		91		250		341		0.7331378299								71		385		456		0.8442982456				37		496		533		0.9305816135

						30		90		25		74		290		364		0.7967032967								57		425		482		0.8817427386				34		519		553		0.938517179

		New 0 position

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		Ideal				200 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		400 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h

				120		22.2		118				25		28		90		32		0		333		23		50		0		0		383		0.1305483029		0		0				25		250		-250		13		0		396		-13		35		0		0		431		0.0812064965				25		250		-250		10		0		469		-23		32		0		0		501		0.0638722555

				121		34						26		38		80		32		0		314		30		54		0		0		368		0.1467391304		118		1				26		260		-260		23		0		424		-13		36		0		0		460		0.0782608696				26		260		-260		0		0		469		-27		30		0		0		499		0.0601202405

												27		48		70		27		0		259		54		86		0		13		345		0.2492753623								27		270		-270		0		0		387		23		68		0		0		455		0.1494505495				27		270		-270		0		0		492		-23		63		0		0		555		0.1135135135

												28		58		60		0		0		41		0		27		0		0		68		0.3970588235								28		280		-280		0		0		59		0		41		0		0		100		0.41				28		280		-280		0		0		77		0		45		0		0		122		0.368852459

		#121		Ampitude		#121		Amplitude				29		68		50		18		0		68		41		132		0		32		200		0.66								29		290		-290		0		0		59		32		178		0		0		237		0.7510548523				29		290		-290		0		0		73		18		273		0		32		346		0.789017341

		20		483		32		451				30		78		40		18		0		86		68		264		0		27		350		0.7542857143								30		300		-300		0		0		50		10		506		-18		0		556		0.9100719424				30		300		-300		0		0		50		10		506		-18		0		556		0.9100719424

		21		86		33		54				31		88		30		0				63		50		342		0		32		405		0.8444444444								31		310		-310		0		0		41		18		428		-23		18		469		0.9125799574				31		310		-310		0		0		36		0		496		-23		18		532		0.9323308271

		22		45		34		32

		23		23		35		45				Estimated strip width:

		24		154		36		387				35 µm

		25		470





Irradiated (6)

		0		0		0

		0		0		0

		0		0

		0		0

		0		0

		0		0



200 Volts

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #650-651

0

0

0

0

0

0

0

0

0

0

0

0

0

0



Irr. (7)

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D24		D25		Pulse 24		Pulse 25		Pulse sum		h		ideal				400 V		Local coord.		D24		D25		Pulse 24		Pulse 25		Pulse sum		h

				24		22.2		120				24.5		23		97		589		98		687		0.1426491994		0		0				24.5		23		97		841		0		841		0

				25		34.2						25.5		33		87		663		135		798		0.1691729323		120		1				25.5		33		87		892		0		892		0

												26.5		43		77		565		140		705		0.1985815603								26.5		43		77		841		61		902		0.0676274945

												27.5		53		67		425		233		658		0.3541033435								27.5		53		67		715		332		1047		0.3170964661

		#24		Amplitude		#25		Amplitude				28		58		62		388		318		706		0.4504249292								28		58		62		607		514		1121		0.4585191793

		20.5		715		32		738				28.5		63		57		322		388		710		0.5464788732								28.5		63		57		402		691		1093		0.6322049405

		21		579		32.5		663				29.5		73		47		196		520		716		0.7262569832								29.5		73		47		135		888		1023		0.8680351906

		21.5		462		33		486				30.5		83		37		201		645		846		0.7624113475								30.5		83		37		140		906		1046		0.8661567878

		22		374		33.5		402				31.5		93		27		140		551		691		0.7973950796								31.5		93		27		112		850		962		0.8835758836

		22.5		340		34		336				32		98		22		112		490		602		0.8139534884								32		98		22		98		771		869		0.8872266974

		23		416		34.5		327

		23.5		551		35		378

		24		631		35.5		462

		24.5		757		36		603

						36.5		705

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D39		D40		Pulse 39		Pulse 40		Pulse sum		h		ideal				400 V		Local coord.		D39		D40		Pulse 39		Pulse 40		Pulse sum		h

				39		38.5		120				41		25		95		537		98		635		0.1543307087		0		0				41		25		95		818		0		818		0

				40		50.5						42		35		85		598		159		757		0.2100396301		120		1				42		35		85		850		0		850		0

												43		45		75		495		159		654		0.2431192661								43		45		75		780		60		840		0.0714285714

												44		55		65		378		290		668		0.4341317365								44		55		65		663		397		1060		0.3745283019

		#39		Amplitude		#40		Amplitude				45		65		55		252		411		663		0.6199095023								45		65		55		360		673		1033		0.651500484

		37.5		446		49.5		474				46		75		45		168		547		715		0.765034965								46		75		45		126		892		1018		0.8762278978

		38.5		265		50.5		339				47		85		35		173		659		832		0.7920673077								47		85		35		103		897		1000		0.897

		39		274		51		367				48		95		25		135		603		738		0.8170731707								48		95		25		89		836		925		0.9037837838

		39.5		395		51.5		442				49		105		15		84		406		490		0.8285714286								49		105		15		84		682		766		0.8903394256

		40.5		553		52.5		679				50		115		5		70		276		346		0.7976878613								50		115		5		65		462		527		0.8766603416

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D64		D65		Pulse 64		Pulse 65		Pulse sum		h		ideal				400 V		Local coord.		D64		D65		Pulse 64		Pulse 65		Pulse sum		h

				64		38		118				39.5		15		103		509		84		593		0.1416526138		0		0				39.5		15		103		761		0		761		0

				65		49.8						40.5		25		93		738		135		873		0.1546391753		120		1				40.5		25		93		836		0		836		0

												41.5		35		83		715		135		850		0.1588235294								41.5		35		83		888		0		888		0

												42.5		45		73		593		206		799		0.2578222778								42.5		45		73		803		177		980		0.5581632653

		#64		Amplitude		#65		Amplitude				43.5		55		63		472		383		855		0.4479532164								43.5		55		63		654		547		1201		0.6378018318

		37		458		48.5		537				44.5		65		53		313		530		843		0.6287069988								44.5		65		53		318		766		1084		0.7066420664

		38		322		49.5		322				45.5		75		43		219		696		915		0.7606557377								45.5		75		43		126		902		1028		0.8774319066

		38.5		472		50		332				46.5		85		33		224		748		972		0.7695473251								46.5		85		33		131		916		1047		0.8748806113

		39		579		50.5		411				47.5		95		23		135		589		724		0.8135359116								47.5		95		23		98		813		911		0.8924259056

		40		813		51.5		705				48		100		18		121		514		635		0.8094488189								48		100		18		107		733		840		0.8726190476

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D85		D86		Pulse 85		Pulse 86		Pulse sum		h		ideal				400 V		Local coord.		D85		D86		Pulse 85		Pulse 86		Pulse sum		h		h-1

				85		46.5		120				47		5		115		472		89		561		0.8413547237		0		0				47		5		115		551		65		616		0.1055194805		0.8944805195

				86		58.5						48		15		105		705		89		794		0.8879093199		120		1				48		15		105		813		51		864		0.0590277778		0.9409722222

												49		25		95		864		117		981		0.880733945								49		25		95		920		0		920		0		1

												50		35		85		874		187		1061		0.8237511781								50		35		85		911		70		981		0.0713557594		0.9286442406

		#85		Amplitude		#86		Amplitude				51		45		75		799		201		1000		0.799								51		45		75		897		107		1004		0.1065737052		0.8934262948

		45		654		57		663				52		55		65		645		486		1131		0.5702917772								52		55		65		780		589		1369		0.4302410519		0.5697589481

		46		462		58		504				53		65		55		430		705		1135		0.3788546256								53		65		55		453		794		1247		0.6367281476		0.3632718524

		46.5		486		58.5		477				54		75		45		248		813		1061		0.2337417531								54		75		45		126		874		1000		0.874		0.126

		47		598		59		598				55		85		35		266		860		1126		0.2362344583								55		85		35		131		883		1014		0.8708086785		0.1291913215

		48		775		60		813				56		95		25		149		771		920		0.1619565217								56		95		25		107		845		952		0.887605042		0.112394958

												57		105		15		112		654		766		0.1462140992								57		105		15		93		705		798		0.8834586466		0.1165413534

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D85		D86		Pulse 85		Pulse 86		Pulse sum		h		ideal				Local coord.		D85		D86		Pulse 85		Pulse 86		Pulse sum		h

				120		25.5		120				27.5		20		100		472		89		561		0.1586452763		0		0		27.5		20		100		845		210		1055		0.1990521327

				121		37.5						28.5		30		90		705		89		794		0.1120906801		120		1		28.5		30		90		892		173		1065		0.1624413146

												29.5		40		80		864		117		981		0.119266055						29.5		40		80		916		177		1093		0.1619396157

												30.5		50		70		874		187		1061		0.1762488219						30.5		50		70		850		570		1420		0.4014084507

		#120		Amplitude		#121		Amplitude				31.5		60		60		799		201		1000		0.201						31.5		60		60		640		827		1467		0.5637355147

		24.5		719		36		794				32.5		70		50		645		486		1131		0.4297082228						32.5		70		50		187		900		1087		0.8279668813

		25.5		369		37		519				33.5		80		40		430		705		1135		0.6211453744						33.5		80		40		112		920		1032		0.8914728682

		26		561		37.5		481				34.5		90		30		248		813		1061		0.7662582469						34.5		90		30		177		911		1088		0.8373161765

		26.5		794		38		757				35.5		100		20		266		860		1126		0.7637655417						35.5		100		20		154		855		1009		0.8473736373

		27.5		902		39		888				36.5		110		10		635		771		1406		0.5483641536						36.5		110		10		168		673		841		0.8002378121

				Strip numbers																																																														Normalised

		Bias		24		25		total		39		40		total		64		65		total		84		85		86		87		total		total		64		65		total		99		100		total		73		74		total		120		121		total										1		2		3		4		5		6		7

		50		173		56		229		32		140		172		79		187		266		51		191		149		42		433		340		139		354		493		163		189		352		200		88		288		453		173		626										0.257751938		0.2470978441		0.2458423717		0.3912698413		0.2693190513		0.24		0.5424610052

		100		257		61		318		70		257		327		159		378		537		70		330		257		56		713		587		232		604		836		316		373		689		421		201		622		719		383		1102										0.5203488372		0.4262023217		0.424439624		0.6634920635		0.5271614384		0.5183333333		0.9549393414

		150		402		93		495		117		411		528		210		532		742		100		514		402		75		1091		916		378		796		1174		426		516		942		593		294		887		934		229		1163										0.7189922481		0.6666666667		0.6623282719		0.9317460317		0.7207345065		0.7391666667		1.0077989601

		200		589		98		687		131		589		720		219		719		938		75		659		467		47		1248		1126		378		889		1267		479		612		1091		779		255		1034		953		223		1176										0.9089147287		0.7744610282		0.8141720897		1.0055555556		0.8347360367		0.8616666667		1.0190641248

		250		748		0		748		112		743		855		191		818		1009		60		743		519		32		1354		1262		308		941		1249		506		699		1205		950		245		1195		948		238		1186										0.9777131783		0.8606965174		0.9125090383		0.9912698413		0.921958684		0.9958333333		1.027729636

		300		775		0		775		98		813		911		159		892		1051		51		771		551				1373		1322		250		994		1244		516		742		1258		1000		167		1167		948		215		1163										1.0184108527		0.9137645108		0.9558929863		0.9873015873		0.9625095639		0.9725		1.0077989601

		350		803		0		803		89		841		930		145		888		1033		37		743		547				1327		1290		221		1017		1238		512		742		1254		1053		167		1220		939		206		1145										1.0009689922		0.9071310116		0.9327548807		0.9825396825		0.9594491201		1.0166666667		0.9922010399

		400		841		0		841		89		892		981		140		888		1028		32		743		542				1317		1285		221		1029		1250		516		745		1261		1063		176		1239		950		238		1188										0.996124031		0.8988391376		0.9291395517		0.9920634921		0.9648048967		1.0325		1.0294627383

		500		860		0		860		84		850		934		154		878		1032		47		780		603				1430		1383		220		1040		1260		522		785		1307		1063		137		1200		944		210		1154										1		1		1		1		1		1		1

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D64		D65		Pulse 64		Pulse 65		Pulse sum		h		ideal				Local coord.		D64		D65		Pulse 64		Pulse 65		Pulse sum		h

				64		41		120				43		20		100		901		198		1099		0.1801637853		0		0		43		20		100		994		157		1151		0.1364031277

				65		53						44		30		90		930		343		1273		0.2694422624		120		1		44		30		90		1000		190		1190		0.1596638655

												45		40		80		901		337		1238		0.2722132472						45		40		80		970		180		1150		0.1565217391

												46		50		70		773		529		1302		0.4062980031						46		50		70		901		575		1476		0.3895663957

		#64		Amplitude		#65		Amplitude				47		60		60		616		755		1371		0.5506929249						47		60		60		762		883		1645		0.5367781155

		39		889		51		906				48		70		50		424		860		1284		0.6697819315						48		70		50		256		947		1203		0.78719867

		40		703		52		726				49		80		40		420		959		1379		0.6954314721						49		80		40		186		988		1174		0.8415672913

		40.5		453		52.5		465				50		90		30		325		912		1237		0.7372675829						50		90		30		192		994		1186		0.8381112985

		41		395		53		424				51		100		20		227		831		1058		0.7854442344						51		100		20		180		924		1104		0.8369565217

		42		837		54		813

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D99		D100		Pulse 99		Pulse 100		Pulse sum		h		ideal				Local coord.		D99		D100		Pulse 99		Pulse 100		Pulse sum		h

				99		4		120				6		20		100		872		86		958		0.0897703549		0		0		6		20		100		908		0		908		0

				100		16						7		30		90		902		140		1042		0.1343570058		120		1		7		30		90		942		23		965		0.0238341969

												8		40		80		855		133		988		0.1346153846						8		40		80		918		43		961		0.0447450572

												9		50		70		722		100		822		0.1216545012						9		50		70		815		403		1218		0.3308702791

		#99		Amplitude		#100		Amplitude				10		60		60		532		652		1184		0.5506756757						10		60		60		549		745		1294		0.5757341577

		2		832		14		772				11		70		50		270		785		1055		0.7440758294						11		70		50		130		892		1022		0.8727984344

		3		691		15		562				12		80		40		226		888		1114		0.7971274686						12		80		40		86		945		1031		0.916585839

		3.5		452		15.5		393				13		90		30		206		878		1084		0.8099630996						13		90		30		93		905		998		0.9068136273

		4		393		16		432				14		100		20		180		749		929		0.8062432723						14		100		20		165		815		980		0.8316326531

		5		729		17		749

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D73		D74		Pulse 73		Pulse 74		Pulse sum		h		ideal				Local coord.		D73		D74		Pulse 73		Pulse 74		Pulse sum		h

				73		5.5		120				6		5		115		384		384		768		0.5		0		0		6		5		115		503		503		1006		0.5

				74		17.5						7		15		105		648		113		761		0.1484888305		120		1		7		15		105		761		25		786		0.0318066158

												8		25		95		799		138		937		0.1472785486						8		25		95		899		22		921		0.0238870793

												9		35		85		818		157		975		0.161025641						9		35		85		950		16		966		0.016563147

		#73		Amplitude		#74		Amplitude				10		45		75		657		223		880		0.2534090909						10		45		75		872		111		983		0.1129196338

		3.5		767		15.5		755				11		55		65		555		456		1011		0.4510385757						11		55		65		761		531		1292		0.4109907121

		4.5		569		16.5		549				12		65		55		353		603		956		0.6307531381						12		65		55		317		797		1114		0.7154398564

		5		368		17		362				13		75		45		270		837		1107		0.756097561						13		75		45		108		1093		1201		0.9100749376

		5.5		299		17.5		396				14		85		35		309		936		1245		0.7518072289						14		85		35		108		1112		1220		0.9114754098

		6.5		613		18		679				15		95		25		230		916		1146		0.7993019197						15		95		25		83		1044		1127		0.92635315

		Strip #		10		11		Total		30		31		Total		50		51		Total		70		71		Total		90		91		Total		110		111		Total		Normalised		10		30		50		70		90		110

		50		67		15		82		38		8		46		36		15		51		50		10		60		74		18		92		616		180		796		50		0.1876430206		0.1916666667		0.2015810277		0.1754385965		0.2105263158		0.6683459278

		100		119		37		156		66		11		77		60		27		87		79		26		105		126		33		159		831		331		1162		100		0.356979405		0.3208333333		0.3438735178		0.3070175439		0.3638443936		0.9756507137

		150		158		43		201		86		23		109		85		27		112		116		34		150		208		54		262		906		285		1191		150		0.4599542334		0.4541666667		0.442687747		0.4385964912		0.5995423341		1

		200		262		34		296		138		18		156		136		27		163		186		30		216		324		0		324		936		198		1134		200		0.6773455378		0.65		0.6442687747		0.6315789474		0.7414187643		0.9521410579

		250		353		0		353		186		0		186		186		0		186		255		0		255		371		0		371		941		157		1098		250		0.8077803204		0.775		0.7351778656		0.7456140351		0.8489702517		0.9219143577

		300		398		0		398		213		0		213		215		0		215		282		0		282		391		0		391		941		168		1109		300		0.9107551487		0.8875		0.8498023715		0.8245614035		0.8947368421		0.9311502939

		350		429		0		429		231		0		231		225		0		225		295		0		295		417		0		417		953		128		1081		350		0.9816933638		0.9625		0.8893280632		0.8625730994		0.9542334096		0.9076406381

		400		429		0		429		234		0		234		245		0		245		312		0		312		429		0		429		970		163		1133		400		0.9816933638		0.975		0.9683794466		0.9122807018		0.9816933638		0.9513014274

		500		437		0		437		240		0		240		253		0		253		342		0		342		437		0		437		965		157		1122		500		1		1		1		1		1		0.9420654912

		Norm. factor						409.2						220.8						224.8						297.2						409						1108.6

																																																																																																		Routing/Total

																																																																														Strip 120-121				Pos. 39						Strip 120-121				Pos. 41.5

		Strip #		10		11		Total		30		31		Total		50		51		Total		70		71		Total		90		91		Total		110		111		Total		120		int 1		121		int 2		Total						Normalised		10		30		50		70		90		110		120										120		int 1		121		int 2				120		int 1		121		int 2				Rout. 1		Tot.1		Rou. 2		Tot. 2		Rout. 3		Tot. 3		Ratio 1		Ratio 2		Ratio 3

		50		41		85		126		24		58		82		0		80		80		15		76		91														38		21		104		-10		142						50		0.2016		0.2		0.1500938086		0.1529411765		0		0		0.2610294118								50		52		10		24		-10				28		20		70		-10				21		142		10		86		20		118		0.1478873239		0.1162790698		0.1694915254

		100		63		140		203		22		84		106		31		135		166		38		142		180														62		34		177		-21		239						100		0.3248		0.2585365854		0.3114446529		0.3025210084		0		0		0.4393382353								100		97		24		48		-17				66		38		135		-10				34		239		24		169		38		239		0.1422594142		0.1420118343		0.1589958159

		150		92		210		302		38		133		171		52		197		249		48		211		259														55		24		385		-31		440						150		0.4832		0.4170731707		0.4671669794		0.4352941176		0		0		0.8088235294								150		222		17		52		-17				66		38		284		-20				24		440		17		291		38		388		0.0545454545		0.058419244		0.0979381443

		200		81		329		410		39		207		246		45		291		336		48		325		373														48		15		454		-24		502						200		0.656		0.6		0.6303939962		0.6268907563		0		0		0.9227941176								200		287		0		55		0				55		21		395		-30				15		502		0		342		21		471		0.0298804781		0		0.0445859873

		250		59		443		502		32		300		332		34		398		432		24		429		453														45		0		468		-34		513						250		0.8032		0.8097560976		0.8105065666		0.7613445378		0		0		0.9430147059								250		308		-24		55		0				42		0		436		-45				0		513		-24		339		0		478		0		-0.0707964602		0

		300		59		510		569		30		321		351		35		433		468		28		495		523														34		-10		478		-34		512						300		0.9104		0.856097561		0.8780487805		0.8789915966		0		0		0.9411764706								300		308		-17		62		0				55		0		454		-42				-10		512		-17		353		0		509		-0.01953125		-0.0481586402		0

		350		50		530		580		23		342		365		31		454		485		30		516		546														34		-17		495		-34		529						350		0.928		0.8902439024		0.9099437148		0.9176470588		0		0		0.9724264706								350		315		-25		62		0				48		0		478		-45				-17		529		-25		352		0		526		-0.0321361059		-0.0710227273		0

		400		45		561		606		10		370		380		24		468		492		34		513		547														34		-17		502		-34		536						400		0.9696		0.9268292683		0.9230769231		0.9193277311		0		0		0.9852941176								400		315		-28		55		0				42		0		485		-38				-17		536		-28		342		0		527		-0.0317164179		-0.081871345		0

		500		45		580		625		10		400		410		10		523		533		34		561		595						1						1		34		-17		510		-34		544						500		1		1		1		1		1		1		1								500		340		-31		55		0				52		0		520		-38				-17		544		-31		364		0		572		-0.03125		-0.0851648352		0

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal														50		0.1529411765

				10		24		110				26		20		90		239		62		301		0.2059800664		0		0				26		20		90		409		59		468		0.1260683761		0		0												100		0.3025210084

				11		35						27		30		80		350		76		426		0.1784037559		110		1				27		30		80		582		0		582		0		110		1												150		0.4352941176

												28		40		70		298		104		402		0.2587064677								28		40		70		520		52		572		0.0909090909																200		0.6168907563

												29		50		60		149		83		232		0.3577586207								29		50		60		270		76		346		0.2196531792																250		0.7513445378

		#10		Amplitude		#11		Amplitude				30		60		50		90		152		242		0.6280991736								30		60		50		100		281		381		0.7375328084																300		0.8789915966

		25.5		491		37		343				31		70		40		118		291		409		0.7114914425								31		70		40		80		544		624		0.8717948718																350		0.9276470588

		26		376		38		0				32		80		30		94		357		451		0.7915742794								32		80		30		55		564		619		0.9111470113																400		0.9793277311

		26.5		173		39		0				33		90		20		80		277		357		0.7759103641								33		90		20		76		447		523		0.8546845124																500		1.03

		27.5		0		40		0

		28		0		41		406						25		0.1354679803																						25		0

		28.5		0										35		0.2190721649																						35		0

		29.5		108.6										45		0.3144329897																						45		0

		30		310										48		0.3333333333																						48		0.1697247706

		30.5		472										65		0.6071428571																						65		0.7439759036

														75		0.7055702918																						75		0.8892794376

														85		0.7814726841																						85		1

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h

				30		22		110				24		20		90		114		61		175		0.3485714286		0		0				24		20		90		195		58		253		0.2292490119

				31		33						25		30		80		168		47		215		0.2186046512		110		1				25		30		80		309		0		309		0

												26		40		70		160		75		235		0.3191489362								26		40		70		328		0		328		0

												27		50		60		95		73		168		0.4345238095								27		50		60		161		58		219		0.2648401826

		#30		Amplitude		#31		Amplitude				28		60		50		39		65		104		0.625								28		60		50		56		91		147		0.619047619

		18.5		210		31		280				29		70		40		58		147		205		0.7170731707								29		70		40		51		303		354		0.8559322034

		19.5		163		32		67				30		80		30		52		203		255		0.7960784314								30		80		30		5		372		377		0.9867374005

		20.5		91		33		47				31		90		20		42		198		240		0.825								31		90		20		10		367		377		0.9734748011

		21.5		37		34		49

		22.5		39		35		212

		23.5		137

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h

				50		49		110				51		20		90		253		45		298		0.1510067114		0		0				51		20		90		429		0		429		0

				51		60						52		30		80		225		55		280		0.1964285714		110		1				52		30		80		423		0		423		0

												53		40		70		177		86		263		0.3269961977								53		40		70		385		52		437		0.118993135

												54		50		60		0		0		0		0								54		50		60		0		0		0		0

		#50		Amplitude		#51		Amplitude				55		60		50		62		128		190		0.6736842105								55		60		50		69		267		336		0.7946428571

		46.5		320		57.5		385				56		70		40		83		232		315		0.7365079365								56		70		40		42		461		503		0.916500994

		47.5		42		58.5		50				57		80		30		52		277		329		0.8419452888								57		80		30		28		461		489		0.9427402863

		48.5		0		59.5		0				58		90		20		55		270		325		0.8307692308								58		90		20		24		468		492		0.9512195122

		49.5		0		60.5		30

		50.5		229		61.5		104						20										0.1510067114										20										0

						62.5		385						30										0.1964285714										30										0

														40										0.3269961977										40										0.118993135

														60										0.6736842105										60										0.7946428571

														70										0.7365079365										70										0.916500994

														80										0.8419452888										80										0.9427402863

														90										0.8307692308										90										0.9512195122

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h

				70		38		115				40		20		95		263		55		318		0.1729559748		0		0				40		20		95		395		59		454		0.1299559471

				71		49.5						41		30		85		374		42		416		0.1009615385		110		1				41		30		85		547		0		547		0

												42		40		75		315		76		391		0.1943734015								42		40		75		550		0		550		0

												43		50		65		121		55		176		0.3125								43		50		65		204		42		246		0.1707317073

		#70		Amplitude		#71		Amplitude				44		60		55		48		50		98		0.5102040816								44		60		55		59		83		142		0.5845070423

		36		429		47.5		190				45		70		45		114		253		367		0.689373297								45		70		45		66		499		565		0.8831858407

		37		52		48.5		31				46		80		35		76		333		409		0.8141809291								46		80		35		38		561		599		0.9365609349

		38		0		49.5		0				47		90		25		66		381		447		0.8523489933								47		90		25		34		513		547		0.9378427788

		39		38		50.5		76

		40		412		51.5		423

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h

				120		34		120				36		20		100		346		121		467		0.2591006424		0		0				36		20		100		377		135		512		0.263671875

				121		46						37		30		90		616		59		675		0.0874074074		110		1				37		30		90		682		48		730		0.0657534247

												38		40		80		616		62		678		0.0914454277								38		40		80		665		52		717		0.0725244073

												39		50		70		308		55		363		0.1515151515								39		50		70		385		66		451		0.1463414634

		#120		Amplitude		#121		Amplitude				40		60		60		59		59		118		0.5								40		60		60		66		66		132		0.5

		32.5		391		44		513				41		70		50		90		360		450		0.8								41		70		50		86		450		536		0.8395522388

		33.5		76		45		86				42		80		40		59		450		509		0.884086444								42		80		40		42		520		562		0.9252669039

		34.5		59		46		69				43		90		30		38		468		506		0.9249011858								43		90		30		28		523		551		0.9491833031

		35.5		142		47		104

		36.5		606		48		475

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h

				90		35		117.5				38		158		-38		329		38		367		0.1035422343		0		0				38		158		-38		436		0		436		0

				91		46.75						39		168		-48		281		69		350		0.1971428571		117.5		1				39		168		-48		433		0		433		0

												40		178		-58		142		83		225		0.3688888889								40		178		-58		235		76		311		0.2443729904

												41		188		-68		52		86		138		0.6231884058								41		188		-68		38		136		174		0.7816091954

		#70		Ampitude		#71		Amplitude				42		198		-78		94		274		368		0.7445652174								42		198		-78		48		485		533		0.9099437148

												43		208		-88		48		385		433		0.8891454965								43		208		-88		0		526		526		1

												44		218		-98		38		402		440		0.9136363636								44		218		-98		0		523		523		1

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h

				90		35		117.5				38		30		87.5		329		38		367		0.1035422343		0		0				38		30		87.5		436		0		436		0

				91		46.75						39		40		77.5		281		69		350		0.1971428571		117.5		1				39		40		77.5		433		0		433		0

												40		50		67.5		142		83		225		0.3688888889								40		50		67.5		235		76		311		0.2443729904

												41		60		57.5		52		86		138		0.6231884058								41		60		57.5		38		136		174		0.7816091954

		#90		Ampitude		#91		Amplitude				42		70		47.5		94		274		368		0.7445652174								42		70		47.5		48		485		533		0.9099437148

		33		346		45		263				43		80		37.5		48		385		433		0.8891454965								43		80		37.5		0		526		526		1

		33.5		160		45.5		94				44		90		27.5		38		402		440		0.9136363636								44		90		27.5		0		523		523		1

		34		55		46		42

		34.5		10		46.5		28

		35		10		47		24

		35.5		15		47.5		59

		36		59		48		138

		36.5		184		49		523

		37		364

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				200 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		400 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h

				100		21		115				24		30		85		276		71		347		0.204610951		0		0				24		30		85		405		0		405		0				24		30		85		509		0		509		0

				101		32.5						25		40		75		233		104		337		0.3086053412		115		1				25		40		75		388		74		462		0.1601731602				25		40		75		516		0		516		0

												26		50		65		91		57		148		0.3851351351								26		50		65		142		54		196		0.2755102041				26		50		65		219		54		273		0.1978021978

												27		60		55		51		67		118		0.5677966102								27		60		55		64		101		165		0.6121212121				27		60		55		67		148		215		0.688372093

		#100		Ampitude		#101		Amplitude				28		70		45		121		202		323		0.6253869969								28		70		45		111		317		428		0.7406542056				28		70		45		61		476		537		0.886405959

		18.5		408		31		196				29		80		35		91		250		341		0.7331378299								29		80		35		71		385		456		0.8442982456				29		80		35		37		496		533		0.9305816135

		19.5		108		32		50				30		90		25		74		290		364		0.7967032967								30		90		25		57		425		482		0.8817427386				30		90		25		34		519		553		0.938517179

		20.5		40		32.5		30

		21.5		35		33		37

		22.5		105		33.5		50

		23.5		445		34		101

						35		452

																12		23		34		-10		-18		-23		-27		-27		-27

																																				New												Other position

		Strip #		70		71		Total		90		91		Total		99		100		101		102		Total		Total		Normalised		70		90		100		120		Int 2		121		Int 3		122		Total		119		120		Int 2		121		Total

		50		31		78		109		31		83		114		13		30		101		13		157		131				0.2060491493		0.2054054054		0.2364620939		45		27		100		25		32		145		27		91		18		41		132

		100		53		125		178		45		142		187		20		67		182		33		302		249				0.3364839319		0.3369369369		0.4494584838		68		41		178		10		30		246		30		168		35		68		236

		150		58		180		238		66		232		298		23		74		290		45		432		364				0.449905482		0.5369369369		0.6570397112		63		50		342		0		30		405		35		314		35		54		368

		200		73		290		363		48		374		422		17		57		425		15		514		482				0.6862003781		0.7603603604		0.8700361011		50		27		446		-10		30		496		27		405		0		41		446

		250		51		388		439		31		478		509		0		51		472		5		528		523				0.8298676749		0.9171171171		0.9440433213		41		15		490		-18		23		531		15		433		-18		32		465

		300		38		462		500		17		501		518		0		40		500		0		540		540				0.9451795841		0.9333333333		0.9747292419		36		0		501		-27		18		537		10		446		-20		41		487

		350		33		485		518		20		535		555		0		34		513		0		547		547				0.9792060491		1		0.9873646209		32		0		510		-23		18		542		10		460		-20		36		496

		400		31		498		529		20		535		555		0		34		520		0		554		554				1		1		1		36		0		519		-23		18		555		10		474		-23		36		510

		500		30		540		570		0		578		578		0		34		540		0		574		574				1.0775047259		1.0414414414		1.036101083		32		0		533		-23		18		565		10		483		-23		36		519

		Futher Measurements as a function of the r-position

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		Ideal				200 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		400 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h

				120		19.8		61				21		12		49		47.12		28.88		171.76		28.88		80.56		28.88		41.8		252.32		0.3192771084		0		0				21		12		49		57		36.48		262.2		47.12		117.04		31.16		44.08		379.24		0.3086172345				21		12		49		28.88		0		428.64		-31.16		119.32		0		31.16		547.96		0.2177531207

				121		25.9						22		22		39		44		27		140		27		68		10		31		208		0.3269230769		61		1				22		22		39		62		38		215		51		106		27		31		321		0.3302180685				22		22		39		48		0		431		-17		126		0		10		557		0.2262118492

												23		32		29		0		0		24		0		24		0		0		48		0.5								23		32		29		0		0		34		0		34		0		0		68		0.5				23		32		29		0		0		58		0		65		0		0		123		0.5284552846

												24		42		19		34		15		105		41		212		24		48		317		0.6687697161								24		42		19		51		27		157		85		335		34		62		492		0.6808943089				24		42		19		31		0		130		21		619		-24		34		749		0.826435247

		#121		Ampitude		#121		Amplitude				25		52		9		38		17		89		31		205		12		41		294		0.6972789116								25		52		9		51		23		128		57		341		15		44		469		0.7270788913				25		52		9		51		0		131		10		560		-30		27		691		0.8104196816

		19		398		25		351

		19.5		58		25.5		104				Estimated strip width:								Routing line		#120		#121

		20		72		26		47				16 µm								25.6		447		85		0.9933333333		0.1888888889		532		0.7093333333

		20.5		212		26.5		81												26		242		68		0.5377777778		0.1511111111		310		0.4133333333

		21		489		27		368												26.2		103		31		0.2288888889		0.0688888889		134		0.1786666667

																				26.4		65		31		0.1444444444		0.0688888889		96		0.128

																				26.6		58		31		0.1288888889		0.0688888889		89		0.1186666667

																				26.8		42		40		0.0933333333		0.0888888889		82		0.1093333333

																				27		42		55		0.0933333333		0.1222222222		97		0.1293333333

																				27.2		54		154		0.12		0.3422222222		208		0.2773333333

																				27.4		71		248		0.1577777778		0.5511111111		319		0.4253333333

																				27.6		81		310		0.18		0.6888888889		391		0.5213333333

																				28		92		448		0.2044444444		0.9955555556		540		0.72

		Futher Measurements as a function of the r-position								Far end

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		Ideal				200 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		400 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h

				120		23		78				25		20		58		40		0		184		23		61		0		15		245		0.2489795918		0		0				25		20		58		33		0		255		38		76		0		18		331		0.2296072508				25		20		58		54		0		523		-10		54		0		0		577		0.0935875217

				121		30.8						26		30		48		31		0		89		24		51		0		24		140		0.3642857143		78		1				26		30		48		31		0		116		31		65		0		24		181		0.3591160221				26		30		48		31		0		263		0		78		0		0		341		0.2287390029

												27		40		38		0		0		0		0		0		0		0		0		0								27		40		38		0		0		0		0		0		0		0		0		0				27		40		38		0		0		0		0		0		0		0		0		0

												28		50		28		20		0		68		41		157		0		31		225		0.6977777778								28		50		28		0		0		99		61		222		0		34		321		0.691588785				28		50		28		0		0		78		15		492		-31		24		570		0.8631578947

		#121		Ampitude		#121		Amplitude				29		60		18		0		0		61		27		184		0		31		245		0.7510204082								29		60		18		0		0		78		48		276		0		37		354		0.7796610169				29		60		18		0		0		44		0		540		-31		13		584		0.9246575342

		21		728		29		755

		22		230		30		225				Estimated strip width:

		22.5		134		30.5		101				20 µm

		23		107		31		96

		23.5		150		31.5		161

		24		557		32		551

		25		760

										1 cm plus

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		Ideal				200 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		400 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h

				120		22.7		95				25		23		72		44		0		222		34		68		0		17		290		0.2344827586		0		0				25		23		72		41		0		366		31		68		0		24		434		0.1566820276				25		23		72		27		0		557		-24		48		0		0		605		0.079338843

				121		32.2						26		33		62		41		0		208		51		103		0		24		311		0.3311897106		95		1				26		33		62		31		0		311		68		112		0		34		423		0.2647754137				26		33		62		17		0		543		-20		78		0		0		621		0.1256038647

												27		43		52		0		0		0		0		0		0		0		0		0								27		43		52		0		0		58		0		27		0		0		85		0.3176470588				27		43		52		0		0		103		0		44		0		0		147		0.2993197279

												28		53		42		0		0		44		31		78		0		0		122		0.6393442623								28		53		42		0		0		58		24		120		0		0		178		0.6741573034				28		53		42		0		0		61		0		236		0		0		297		0.7946127946

		#121		Ampitude		#121		Amplitude				29		63		32		24		0		82		51		195		0		17		277		0.7039711191								29		63		32		27		0		112		85		328		0		34		440		0.7454545455				29		63		32		0		0		65		0		574		-37		15		639		0.8982785603

		21		464		30		523				30		73		22		0		0		71		44		242		0		31		313		0.7731629393								30		73		22		0		0		78		58		383		0		37		461		0.830802603				30		73		22		0		0		34		0		588		-40		13		622		0.9453376206

		22		58		31		171				Estimated strip width:

		22.5		37		32		41				25 µm

		23		51		32.5		51

		23.5		58		33		65

		24		178		34		499

		25		496

										1 cm plus

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		Ideal				200 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		400 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h

				120		22.7		108				25		23		85		34		0		254		29		45		0		0		299		0.1505016722		0		0				25		23		85		22		0		388		0		34		0		0		422		0.0805687204				25		23		85		11		0		474		-29		26		0		0		500		0.052

				121		33.5						26		33		75		26		0		228		41		63		0		10		291		0.2164948454		108		1				26		33		75		22		0		374		0		40		0		0		414		0.0966183575				26		33		75		0		0		474		-25		30		0		0		504		0.0595238095

												27		43		65		34		0		190		78		101		0		26		291		0.3470790378								27		43		65		26		0		317		37		82		0		12		399		0.2055137845				27		43		65		0		0		456		-22		71		0		0		527		0.1347248577

												29		63		45		12		0		85		60		157		0		29		242		0.6487603306								29		63		45		0		0		93		67		269		0		34		362		0.7430939227				29		63		45		0		0		71		18		422		-22		18		493		0.8559837728

		#121		Ampitude		#121		Amplitude				30		73		35		0		0		63		56		209		0		0		272		0.7683823529								30		73		35		0		0		48		34		366		-18		18		414		0.884057971				30		73		35		0		0		26		0		508		-26		0		534		0.9513108614

		20		470		31		508				31		83		25		0		0		50		37		247		0		26		297		0.8316498316								31		83		25		0		0		34		34		490		-30		0		524		0.9351145038				31		83		25		0		0		10		0		490		-30		0		500		0.98

		21		300		32		247

		22		40		33		41

		23		0		33.5		29				Estimated strip width:

		23.5		0		34		41				30 µm

		24		85		35		134

		25		430		36		500

		New 0 position

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		Ideal				200 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		400 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h

				120		22.2		118				25		28		90		32		0		333		23		50		0		0		383		0.1305483029		0		0				25		28		90		13		0		396		-13		35		0		0		431		0.0812064965				25		28		90		10		0		469		-23		32		0		0		501		0.0638722555

				121		34						26		38		80		32		0		314		30		54		0		0		368		0.1467391304		118		1				26		38		80		23		0		424		-13		36		0		0		460		0.0782608696				26		38		80		0		0		469		-27		30		0		0		499		0.0601202405

												27		48		70		27		0		259		54		86		0		13		345		0.2492753623								27		48		70		0		0		387		23		68		0		0		455		0.1494505495				27		48		70		0		0		492		-23		63		0		0		555		0.1135135135

												28		58		60		0		0		41		0		27		0		0		68		0.3970588235								28		58		60		0		0		59		0		41		0		0		100		0.41				28		58		60		0		0		77		0		45		0		0		122		0.368852459

		#121		Ampitude		#121		Amplitude				29		68		50		18		0		68		41		132		0		32		200		0.66								29		68		50		0		0		59		32		178		0		0		237		0.7510548523				29		68		50		0		0		73		18		273		0		32		346		0.789017341

		20		483		32		451				30		78		40		18		0		86		68		264		0		27		350		0.7542857143								30		78		40		0		0		50		10		506		-18		0		556		0.9100719424				30		78		40		0		0		50		10		506		-18		0		556		0.9100719424

		21		86		33		54				31		88		30		0				63		50		342		0		32		405		0.8444444444								31		88		30		0		0		41		18		428		-23		18		469		0.9125799574				31		88		30		0		0		36		0		496		-23		18		532		0.9323308271

		22		45		34		32

		23		23		35		45				Estimated strip width:

		24		154		36		387				35 µm

		25		470



Irradiated section n. 6



Irr. (7)

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0



Strp #99

Strip #100

Strip #101

Strip #102

Bias [V]

Collected charge [Arb. unit]

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



Non irr. (2)

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0



0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



Various final Pic.

		0

		0

		0

		0

		0

		0

		0

		0

		0



Strip #690

Bias [V]

Collected charge (arb. unit)

0

0

0

0

0

0

0

0

0



Final pic. eta

		Bias 250 V		Strip #		Centre		Distance		50 V		Local coord.		D24		D25		Pulse Left		Int		Pulse Right		Pulse sum		h		ideal				100 V		Pulse Left		Int		Pulse Right		Pulse sum		h		300 V		Pulse Left		Int		Pulse Right		Pulse sum		h				Volt scan		#6		Int.		#7		Total		Normalised				Volt scan		#59		#60		#61		Total		Normalised				Volt scan		#114		Int.		#115		Int.		#116		Total		Normalised		Rout/total		Volt #6		#6		Volt #115		#115

				6		37		115				40		30		85		104		18		40		144		0.2777777778		0		0				246				45		291		0.1546391753				333		-23		27		360		0.075				20		23		5		54		77		0.2086720867				20		32		141		54		227		0.576142132				10		63		4		159		23		32		222		0.5536159601				20		0.0649350649		10		0.1036036036

				7		48.5						41		40		75		86		32		54		140		0.3857142857		115		1				214		36		63		277		0.2274368231				323		-23		36		359		0.1002785515				40		32		18		100		132		0.3577235772				40		41		264		54		359		0.9111675127				20		80				246		23		36		326		0.812967581				40		0.1363636364		20		0.0705521472

												42		50		65		45		9		32		77		0.4155844156								128		36		63		191		0.3298429319				209		0		68		277		0.2454873646				50		36		23		123		159						50		36		287		50		373		0.9467005076				40		82				314		23		41		396		0.9875311721				50		0.1446540881		40		0.0580808081

												43.5		65		50		36		18		54		90		0.6								50		36		118		168		0.7023809524				63		13		246		309		0.7961165049				60		45		27		145		190		0.5149051491				60		36		298		40		374		0.9492385787				50		73				328		13		32		401		1				60		0.1421052632		50		0.0324189526

		#6		Amplitude		#7		Amplitude				44		70		45		45		27		77		122		0.631147541								50		36		195		245		0.7959183673				41		9		305		346		0.8815028902				80		59		41		205		264		0.7154471545				80		30		328		27		385		0.9771573604				60		68				333		13		32		401		1				80		0.1553030303		60		0.0324189526

		34.5		305		46.5		296				45		80		35		45		23		104		149		0.6979865772								45		41		241		286		0.8426573427				27		9		342		369		0.9268292683				100		45		36		259		304		0.8238482385				100		27		337		24		388		0.9847715736				80		59				342		9		32		401		1				100		0.1184210526		80		0.0224438903

		35.5		137		47.5		54				46		90		25		9		0		50		59		0.8474576271								45		36		255		300		0.85				27		4		337		364		0.9258241758				125		36		23		296		332		0.8997289973				150		24		355		21		400		1.0152284264				100		46				351				18		397		0.9900249377				125		0.0692771084		100		0

		36.5		27		48.5		0																																																		150		32		18		323		355		0.9620596206				200		23		360		20		403		1.0228426396				125		45				355				27		400		0.9975062344				150		0.0507042254		125		0

		37.5		0		49.5		36																																																		175		32		18		328		360		0.9756097561				300		20		374		0		394		1				150		45				355				27		400		0.9975062344				175		0.05		150		0

		38.5		100		50.5		232																																																		200		23		9		337		360		0.9756097561																		200		45				355				18		400		0.9975062344				200		0.025		200		0

		39.5		305		51.5		333																																																		300		23		9		346		369		1																		300		41				360				18		401		1				300		0.0243902439		300		0

		40.5		319





Final pic. eta

		0		0		0		0

		0		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0



50 Volt

100 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #774-775

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



Neff vs position

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0



0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



Eta comparison

		Bias 250 V		Strip #		Centre		Distance		25 V		Local coord.		D24		D25		Pulse Left		Pulse Right		Pulse sum		h		ideal				50 V		Pulse Left		Pulse Right		Pulse sum		h		150 V		Pulse Left		Pulse Right		Pulse sum		h								Volt scan		#60		#61		Total		Normalised

				60		43.2		113				46		28		85		212		1		213		0.0046948357		0		0				311		1		312		0.0032051282				410		1		411		0.00243309						3.1622776602		10		95		0		95		0.2467532468

				61		54.5						47		38		75		143		20		163		0.1226993865		113		1				222		1		223		0.0044843049				294		1		295		0.0033898305						5		25		191		0		191		0.4961038961

												48		48		65		68		34		102		0.3333333333								123		58		181		0.320441989				171		68		239		0.2845188285						7.0710678119		50		283		0		283		0.7350649351

												49		58		55		37		109		146		0.7465753425								37		161		198		0.8131313131				37		212		249		0.8514056225						8.6602540378		75		321		0		321		0.8337662338

		#60		Amplitude		#61		Amplitude				50		68		45		31		174		205		0.8487804878								34		259		293		0.8839590444				50		334		384		0.8697916667						10		100		352		0		352		0.9142857143

		41		308		52		386				51		78		35		24		181		205		0.8829268293								24		263		287		0.9163763066				20		345		365		0.9452054795						12.2474487139		150		372		0		372		0.9662337662

		42		171		53		253																																														14.1421356237		200		372		0		372		0.9662337662

		43		20		54		116																																														17.3205080757		300		385		0		385		1

		44		49		55		24

		45		209		56		123

		46		345		57		280

						58		389

		Bias 250 V		Strip #		Centre		Distance		20 V		Local coord.		D24		D25		#115		Int 1		#116		Int 2		#117		Pulse sum		h		ideal				50 V		#115		Int 1		#116		Int 2		#117		Pulse sum		h		200 V		#115		Int 1		#116		Int 2		#117		Pulse sum		h				Volt scan		#115		#116		Int		#117		Total		Normalised

				115		21		114				24		30		84		198		-17		27						225		0.12		0		0				317		-17		31						348		0.0890804598				403		-30		24						427		0.056206089		3.1622776602		10				116						116		0.2829268293

				116		32.4						25		40		74		178		-13		27						205		0.1317073171		114		1				311		-20		41						352		0.1164772727				396		-27		27						423		0.0638297872		5		25		31		208		-5		20		228		0.556097561

												26		50		64		126		-13		37						163		0.226993865								242		-17		61						303		0.201320132				334		-24		68						402		0.1691542289		7.0710678119		50		31		308		-7		20		328		0.8

												28		70		44		34				137				17		171		0.8011695906								48				236				24		284		0.8309859155				54		-5		317		-13		24		371		0.8544474394		8.6602540378		75		24		345		-17		20		365		0.8902439024

		#115		Amplitude		#116		Amplitude				29		80		34		24				181				17		205		0.8829268293								31				311		-10		20		342		0.9093567251				27				400		-17		17		427		0.9367681499		10		100		27		366		-20		17		383		0.9341463415

		18		400		30		389				29.5		85		29		27				195						222		0.8783783784								34				314		-15		20		348		0.9022988506				24				389		-24		17		413		0.9418886199		11.1803398875		125		24		380		-17		13		393		0.9585365854

		19		270		31		89																																																												12.2474487139		150		24		385		-20		13		398		0.9707317073

		20		34		32		28																																																												14.1421356237		200		24		389		-20		13		402		0.9804878049

		21		30		33		30																																																												17.3205080757		300		24		393		-20		17		410		1

		22		38		34		126

		23		308		35		389

		24		400





Strip 120 

		47		400		-30		380

		48		280		-20		260

		49		41		-10		21

		50		20		0		0

		51		51		10		31

		52		273		20		253

		53		410		30		390

		Beam Profile

		Coordinate		Front		Back

		0						10

		10		1.00E+13		1.05E+13		20		1.00E+13		1.05E+13

		20		4.50E+13		4.55E+13		30		4.50E+13		4.55E+13

		25		3.00E+14		2.52E+14		35		3.00E+14		2.52E+14

		30		4.10E+14		4.40E+14		40		4.10E+14		4.40E+14

		35		4.30E+14		4.60E+14		45		4.30E+14		4.60E+14

		40		3.15E+14		3.80E+14		50		3.15E+14		3.80E+14

		45		1.09E+14		2.70E+14		55		1.09E+14		2.70E+14

		55		1.20E+13		2.70E+13		65		1.20E+13		2.70E+13

		65		7.00E+11		1.20E+12		75		7.00E+11		1.20E+12





Strip 120 

		0

		0

		0

		0

		0

		0

		0



Local coord. [µm]

Amplitude [arb. Units]

Strip scan #10

0

0

0

0

0

0

0



Inner stri #623 

		55		0		55		55

		50		1		50		50

		45		2		45		45

		40		3		40		40

		35		4		35		35

		30		5		30		30

		25		6		25		25

		20		7		20		20

		15		8		15		15

		10		9		10		10

		5		10		5		5

		0		11		0		0

				12

				13

				14

				15

				16

				17

				18

				19

				20

				21

				22

				23

				24

				25

				26

				27

				28

				29

				30

				31

				32

				33

				34

				35

				36

				37

				38

				39

				40

				41

				42

				43

				44

				45

				46

				47

				48

				49

				50

				51

				52

				53

				54

				55

				56

				57

				58

				59

				60

				61

				62

				63

				64

				65

				66

				67

				68



Measured (hit strip)

Calculated

Adjacent strip

Intermediate routing line

Time [ns]

Amplitude [arb. units]

68

10

0

0

150

34.5396

16

0

245

54.05968

34

0

369

80.39936

54

0

560

114.09384

123

32

688

155.13512

154

40

826

202.94192

188

51

792

256.42064

199

74

615

314.09432

188

108

421

374.26344

176

131

199

435.16424

85

68

0

495.10184

0

0

552.54736

606.19912

655.01224

698.20408

735.24416

765.8304

789.86272

807.41192

818.68832

824.01216

823.78664

818.47312

808.57016

794.59512

777.0692

756.50528

733.3992

708.22128

681.41152

653.37656

624.48752

595.07864

565.44744

535.85544

506.53048

477.66728

449.43032

421.95584

395.35408

369.71192

345.0956

321.5524

299.11304

277.79416

257.59968

238.52336

220.54992

203.6564

187.81424

172.98976

159.14552

146.24152

134.23568

123.08456

112.74432

103.1708

94.32024

86.14968

78.61696

71.6812

65.30304

59.44456

54.06952

49.14336

44.63336

40.50856

36.7396



Pulse shape

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0



Front Al foils

Back Al foils

Position [mm]

Measured fluence [p cm-2]

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		50		50		50		50

		100		100		100		100

		150		150		150		150

		200		200		200		200

		250		250		250		250

		300		300		300		300

		350		350		350		350

		400		400		400		400

		500		500		500		500



Strip #739

Strip #740

Strip #741

Strip #742

Bias [V]

Collected charge [Arb. unit]

13

30

101

13

20

67

182

33

23

74

290

45

17

57

425

15

0

51

472

5

0

40

500

0

0

34

513

0

0

34

520

0

0

34

540

0



		50

		100

		150

		200

		250

		300

		350

		400

		500



Strip #690

Bias [V]

Collected charge (arb. unit)

0.1529411765

0.3025210084

0.4352941176

0.6168907563

0.7513445378

0.8789915966

0.9276470588

0.9793277311

1.03



		20

		30

		40

		50

		75

		100

		120

		150

		200

		300



Strip #526

Bias [Volt]

Normalised CCE

0.4393305439

0.5815899582

0.7887029289

0.8577405858

0.9330543933

0.9623430962

0.9707112971

0.989539749

1

1.0125523013



		

						760





		30		30		0

		40		40		117.5

		50		50

		60		60

		70		70

		80		80

		90		90



200 Volt

400 Volt

Ideal resolution

Local position [µm]

Right charge/Total charge

Scan across strips #740-741

0.1035422343

0.0311111111

0

0.1971428571

0.0545851528

1

0.3688888889

0.2443729904

0.6231884058

0.7816091954

0.7445652174

0.9099437148

0.8891454965

1

0.9136363636

1



		30		30		0

		40		40		115

		50		50

		60		60

		70		70

		80		80

		90		90



200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #710-711

0.1009615385

0.0352733686

0

0.1943734015

0.0646258503

1

0.3125

0.2213740458

0.5102040816

0.5845070423

0.689373297

0.8831858407

0.8141809291

0.9365609349

0.8523489933

0.9378427788



		30		30		0

		40		40		115

		50		50

		60		60

		70		70

		80		80

		90		90



200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #760-761

0.0874074074

0.0657534247

0

0.0914454277

0.0725244073

1

0.1515151515

0.1463414634

0.5

0.5

0.8

0.8395522388

0.884086444

0.9252669039

0.9249011858

0.9491833031



		0		30		30		30

		115		40		40		40

				50		50		50

				60		60		60

				70		70		70

				80		80		80

				90		90		90



150 Volt

200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #740-741

0

0.204610951

0.0581395349

0.0450281426

1

0.3086053412

0.1601731602

0.0685920578

0.3851351351

0.2755102041

0.2206405694

0.5677966102

0.6121212121

0.688372093

0.6253869969

0.7406542056

0.886405959

0.7331378299

0.8442982456

0.9305816135

0.7967032967

0.8817427386

0.938517179



		0		30		30

		110		40		40

				50		50

				60		60

				70		70

				80		80

				90		90



200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #670-671

0

0.2186046512

0.0462962963

1

0.3191489362

0.076056338

0.4345238095

0.2648401826

0.625

0.619047619

0.7170731707

0.8559322034

0.7960784314

0.9612403101

0.825

0.9734748011



		0		20		20

		110		30		30

				40		40

				50		50

				60		60

				70		70

				80		80

				90		90



200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #690-691

0

0.1510067114

0.0529801325

1

0.1964285714

0.0703296703

0.3269961977

0.1575492341

0.6736842105

0.7946428571

0.7365079365

0.916500994

0.8419452888

0.9427402863

0.8307692308

0.9512195122



		25		25		25		0

		35		35		35		110

		45		45		45

		55		55		55

		65		65		65

		75		75		75

		85		85		85



100 Volt

200 Volt

300 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #525-526

0.0461956522

0.0440414508

0.0446194226

0

0.0583941606

0.0547945205

0.0547945205

1

0.1413612565

0.1282051282

0.1113689095

0.3215859031

0.264573991

0.2821576763

0.8050541516

0.8073394495

0.7722222222

0.9130434783

0.9217391304

0.9298245614

0.9473684211

0.9523809524

0.958677686



		0		30		30		30

		117		40		40		40

				50		50		50

				70		70		70

				80		80		80

				90		90		90



150 Volt

200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #634-635

0

0.223255814

0.1133333333

0.0510204082

1

0.2783505155

0.1933333333

0.0761670762

0.3963414634

0.3048780488

0.1943005181

0.6209150327

0.6822429907

0.8157099698

0.6875

0.7979094077

0.915

0.7548076923

0.8580645161

0.9330024814



		0		24		24

		114		34		34

				44		44

				64		64

				74		74

				84		84

				89		89



100 Volt

300 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #584-585

0

0.118466899

0.0379403794

1

0.1655172414

0.0608272506

0.3421052632

0.1666666667

0.6896551724

0.8131868132

0.7597173145

0.9567430025

0.8605442177

0.9974160207

0.8586206897

0.9466666667



		0		22		22		22		22

		116		32		32		32		32

				42		42		42		42

				67		67		67		67

				72		72		72		72

				82		82		82		82

				92		92		92		92



100 Volt

150 Volt

200 Volt

300 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #604-605

0

0.2192513369

0.0848056537

0.0408719346

0.056980057

1

0.2391304348

0.1214285714

0.0681818182

0.0798898072

0.3128834356

0.2380952381

0.0920716113

0.1549295775

0.5668789809

0.6355555556

0.7975077882

0.7517482517

0.591954023

0.7173913043

0.9002695418

0.8434782609

0.6949152542

0.8137931034

0.9973045822

0.8888888889

0.7348066298

0.8436482085

0.972899729

0.9043715847



		0		23		23		23

		108		33		33		33

				43		43		43

				58		58		58

				63		63		63

				73		73		73

				78		78		78



20 Volt

50 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #544-545

0

0.1376146789

0.0422960725

0.0361445783

1

0.2018348624

0.0845070423

0.0574712644

0.3457446809

0.2341772152

0.0976253298

0.5858585859

0.7124183007

0.7627906977

0.6304347826

0.7571428571

0.820441989

0.7302325581

0.8709677419

0.9418886199

0.7735849057

0.8811594203

0.9632352941



		0		35		35		35

		110		40		40		40

				50		50		50

				65		65		65

				70		70		70

				80		80		80



50 Volt

100 Volt

300 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #566-567

0

0.125

0.0408719346

0.0407673861

1

0.1777777778

0.0702247191

0.0687203791

0.320441989

0.22

0.2033333333

0.6946107784

0.8090909091

0.7789855072

0.741697417

0.8579387187

0.8743842365

0.8580858086

0.9543010753

0.9975062344



		0		35		35		35

		120		45		45		45

				50		50		50

				65		65		65

				70		70		70

				80		80		80

				90		90		90



50 Volt

100 Volt

250 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #575-576

0

0.2876106195

0.0451807229

0.0383631714

1

0.3744292237

0.144092219

0.0939759036

0.3880597015

0.1782178218

0.1580310881

0.5730337079

0.7260273973

0.7166666667

0.591954023

0.798679868

0.8379888268

0.6559633028

0.8879781421

0.9230769231

0.7627906977

0.9076086957

0.9511002445



		0		28		28		28

		113		38		38		38

				48		48		48

				58		58		58

				68		68		68

				78		78		78



25 Volt

50 Volt

150 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #188-189

0

0.0046948357

0.0032051282

0.00243309

1

0.1226993865

0.0044843049

0.0033898305

0.3333333333

0.320441989

0.2845188285

0.7465753425

0.8131313131

0.8514056225

0.8487804878

0.8839590444

0.8697916667

0.8829268293

0.9163763066

0.9452054795



		26		26		0		26

		36		36		114		36

		46		46				46

		66		66				66

		76		76				76

		86		86				86



100 Volt

300 Volt

=

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #621-622

0.2227074236

0.0789473684

0

0.0390625

0.2735849057

0.1348684211

1

0.0606060606

0.3659793814

0.2482517483

0.1102150538

0.5828220859

0.6728110599

0.8066666667

0.6822429907

0.8066666667

0.9086021505

0.7422222222

0.8547854785

0.9583333333



		25		25		25		0

		35		35		35		110

		45		45		45

		60		60		60

		65		65		65

		75		75		75

		85		85		85



20 Volt

50 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #469-470

0.0857142857

0.1060070671

0.0411311054

0

0.0833333333

0.093385214

0.0683060109

1

0.275862069

0.1904761905

0.1333333333

0.6451612903

0.6785714286

0.7311827957

0.6774193548

0.766536965

0.8356164384

0.8444444444

0.8717948718

0.9260969977

0.8695652174

0.8646153846

0.9267734554



		30		30		0

		40		40		110

		50		50

		60		60

		70		70

		80		80



200 Volts

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #650-651

0.1784037559

0.0521172638

0

0.2587064677

0.1034482759

1

0.3577586207

0.2196531792

0.6280991736

0.7375328084

0.7114914425

0.8717948718

0.7915742794

0.9111470113



		0		30		30		30

		114		40		40		40

				50		50		50

				70		70		70

				80		80		80

				85		85		85



20 Volt

50 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #244-245

0

0.12

0.0890804598

0.056206089

1

0.1317073171

0.1164772727

0.0638297872

0.226993865

0.201320132

0.1691542289

0.8011695906

0.8309859155

0.8544474394

0.8829268293

0.9093567251

0.9367681499

0.8783783784

0.9022988506

0.9418886199



		30		30		0		30

		40		40		114		40

		50		50				50

		70		60				60

		80		70				70

		85		80				80

								90



#245 - 200 Volt

#650 - 400 Volt

#760 - 400 Volt

Local position [µm]

Right charge/Total charge

0.056206089

0.0521172638

0

0.0657534247

0.0638297872

0.1034482759

1

0.0725244073

0.1691542289

0.2196531792

0.1463414634

0.8544474394

0.7375328084

0.5

0.9367681499

0.8717948718

0.8395522388

0.9418886199

0.9111470113

0.9252669039

0.9491833031



		20		20		20		0

		30		30		30		115

		40		40		40

		50		50		50

		60		60		60

		70		70		70

		80		80		80

		90		90		90



20 Volt

50 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #388-389

0.15

0.0975609756

0.0965794769

0

0.1549295775

0.1448692153

0.1004709576

1

0.171875

0.1223529412

0.0901213172

0.2926829268

0.2888888889

0.2434077079

0.6666666667

0.6923076923

0.6511627907

0.7833333333

0.8498896247

0.9073083779

0.8295081967

0.8495049505

0.9384615385

0.8793103448

0.9160839161

0.9470699433



		35		0		35		35

		45		120		45		45

		55				55		55

		70				70		70

		75				75		75

		85				85		85

		95				95		95



20 Volt

50 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #490-491

0.1595744681

0

0.12

0.0796116505

0.2053231939

1

0.1322869955

0.0891089109

0.2967032967

0.2258064516

0.2

0.72

0.692

0.7982261641

0.8351449275

0.7985074627

0.8764302059

0.9349593496

0.8546099291

0.9174311927

0.9445585216



		0		28		28		28

		118		38		38		38

				48		48		48

				58		58		58

				68		68		68

				78		78		78

				88		88		88



150 Volt

200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #760-761

0

0.1305483029

0.0812064965

0.0638722555

1

0.1467391304

0.0782608696

0.0601202405

0.2492753623

0.1494505495

0.1135135135

0.3970588235

0.41

0.368852459

0.66

0.7510548523

0.789017341

0.7542857143

0.9100719424

0.9100719424

0.8444444444

0.9125799574

0.9323308271



		30		30		28		0

		40		40		38		118

		50		50		48

		70		70		58

		80		80		68

		85		90		78

						88



#244 -245 (@ 200 Volt)

#634 - 635 (@ 400 Volt)

#760 - 761 (@ 400 Volt)

Local position [µm]

Right charge/Total charge

0.056206089

0.0510204082

0.0638722555

0

0.0638297872

0.0761670762

0.0601202405

1

0.1691542289

0.1943005181

0.1135135135

0.8544474394

0.8157099698

0.368852459

0.9367681499

0.915

0.789017341

0.9418886199

0.9330024814

0.9100719424

0.9323308271



		30		30		30		0

		40		40		40		115

		50		50		50

		65		65		65

		70		70		70

		80		80		80

		90		90		90



50 Volt

100 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #774-775

0.2777777778

0.1546391753

0.075

0

0.3857142857

0.2274368231

0.1002785515

1

0.4155844156

0.3298429319

0.2454873646

0.6

0.7023809524

0.7961165049

0.631147541

0.7959183673

0.8815028902

0.6979865772

0.8426573427

0.9268292683

0.8474576271

0.85

0.9258241758



		Bias		#650		#651		Pulse sum		Normalised		#670		#671		Pulse sum		Normalised		#690		#691		Pulse sum		Normalised		#710		#711		Pulse sum		Normalised		#730		#731		Pulse sum		Normalised		#740		#741		Pulse sum		Normalised		#760		#761		Pulse sum		Normalised

		[Volt]		[mV]		[mV]		[mv]				[mV]		[mV]		[mv]				[mV]		[mV]		[mv]				[mV]		[mV]		[mv]				[mV]		[mV]		[mv]				[mV]		[mV]		[mv]				[mV]		[mV]		[mv]

		50		41		85		126		0.2016		24		58		82		0.2		0		80		80		0.1500938086		31		78		109		0.1912280702		31		83		114		0.1972318339		30		101		131		0.2205387205		45		100		145		0.2566371681				104		104

		100		63		140		203		0.3248		22		84		106		0.2585365854		31		135		166		0.3114446529		53		125		178		0.3122807018		45		142		187		0.3235294118		67		182		249		0.4191919192		68		178		246		0.4353982301				177		177

		150		92		210		302		0.4832		38		133		171		0.4170731707		52		197		249		0.4671669794		58		180		238		0.4175438596		66		232		298		0.5155709343		74		290		364		0.6127946128		63		342		405		0.7168141593				385		385

		200		81		329		410		0.656		39		207		246		0.6		45		291		336		0.6303939962		73		290		363		0.6368421053		48		374		422		0.7301038062		57		425		482		0.8114478114		50		446		496		0.8778761062				454		454

		250		59		443		502		0.8032		32		300		332		0.8097560976		34		398		432		0.8105065666		51		388		439		0.7701754386		31		478		509		0.8806228374		51		472		523		0.8804713805		41		490		531		0.9398230088				468		468

		300		59		510		569		0.9104		30		321		351		0.856097561		35		433		468		0.8780487805		38		462		500		0.8771929825		17		501		518		0.8961937716		40		500		540		0.9090909091		36		501		537		0.9504424779				478		478

		350		50		530		580		0.928		23		342		365		0.8902439024		31		454		485		0.9099437148		33		485		518		0.9087719298		20		535		555		0.9602076125		34		513		547		0.9208754209		32		510		542		0.9592920354				495		495

		400		45		561		606		0.9696		10		370		380		0.9268292683		24		468		492		0.9230769231		31		498		529		0.9280701754		20		535		555		0.9602076125		34		520		554		0.9326599327		36		519		555		0.982300885				502		502

		500		45		580		625		1		10		400		410		1		10		523		533		1		30		540		570		1		0		578		578		1		34		560		594		1		32		533		565		1				510		510

																						Neff map		Vfd

																						10

																						30

																						50

																						70

																						90

																						100

																						120

																																												634

																																		72

		Bias		#526		#527		Pulse sum		Normalised		Bias		#545		#546		Pulse sum		Normalised		Bias		#567		#568		Pulse sum		Normalised		Bias		#577		#578		Pulse sum		Normalised		Bias		#585		#586		Pulse sum		Normalised		Bias		#605		#606		Pulse sum		Normalised		Bias		#622		#623		Pulse sum		Normalised		Bias		#634		#635		Pulse sum		Normalised

		[Volt]		[mV]		[mV]		[mv]				[Volt]		[mV]		[mV]		[mv]				[Volt]		[mV]		[mV]		[mv]				[Volt]		[mV]		[mV]		[mv]				[Volt]		[mV]		[mV]		[mv]				[Volt]		[mV]		[mV]		[mv]				[Volt]		[mV]		[mV]		[mv]				[Volt]		[mV]		[mV]		[mv]

		20		5		205		210		0.4393305439		10		89		41		130		0.313253012		10		27		41		68		0.17		25		34		75		109		0.2632850242		25		44		20		64		0.1671018277		50		65		10		75		0.1978891821		50		65		0		65		0.1697127937		50		61		24		85		0.2073170732

		30		5		273		278		0.5815899582		20		171		41		212		0.5108433735		25		61		109		170		0.425		50		55		164		219		0.5289855072		50		95		41		136		0.3550913838		75		95		10		105		0.2770448549		100		123		37		160		0.4177545692		100		106		34		140		0.3414634146

		40		54		323		377		0.7887029289		30		232		34		266		0.6409638554		50		266		41		307		0.7675		75		37		290		327		0.7898550725		75		150		58		208		0.5430809399		100		129		27		156		0.4116094987		150		171		51		222		0.5796344648		150		157		48		205		0.5

		50		45		365		410		0.8577405858		50		321		0		321		0.7734939759		75		334		14		348		0.87		100		27		330		357		0.8623188406		100		240		51		291		0.7597911227		125		167		27		194		0.5118733509		200		287		24		311		0.8120104439		200		253		34		287		0.7

		75		41		405		446		0.9330543933		75		362		0		362		0.8722891566		100		359		0		359		0.8975		150		27		359		386		0.9323671498		125		311		27		338		0.8825065274		150		236		30		266		0.7018469657		250		334		0		334		0.8720626632		250		317		27		344		0.8390243902

		100		32		428		460		0.9623430962		100		383		0		383		0.9228915663		150		372		0		372		0.93		200		24		372		396		0.9565217391		150		342		10		352		0.9190600522		200		328		0		328		0.8654353562		300		351		0		351		0.9164490862		300		349		31		380		0.9268292683

		120		23		441		464		0.9707112971		150		396		0		396		0.9542168675		200		383		0		383		0.9575		250		20		379		399		0.9637681159		200		355		10		365		0.953002611		250		355		0		355		0.9366754617		350		366		0		366		0.955613577		350		362		27		389		0.9487804878

		150		27		446		473		0.989539749		200		410		0		410		0.9879518072		250		396		0		396		0.99		300		24		382		406		0.9806763285		300		376		0		376		0.9817232376		300		366		0		366		0.9656992084		400		372		0		372		0.9712793734		400		372		34		406		0.9902439024

		200		23		455		478		1		300		415		0		415		1		300		400		0		400		1		350		24		390		414		1		400		383		0		383		1		400		379		0		379		1		500		383		0		383		1		500		383		27		410		1

		300		20		464		484		1.0125523013

		Strip #		VFD

		188		80

		244		75

		390		60

		470		55

		498		55

		526		53

		545		55

		568		62

		578		92								0.0004882813		0.1806640625		0.0451660156

		585		128

		605		200

		622		225

		634		270

		650		285

		670		297

		690		300

		710		285								512		640

		730		250

		740		220

		760		170

		774		125

		829		60

		888		47





		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0



Strip #10

Strip #30

Strip #50

Strip #70

Strip #90

Strip #100

Strip #120

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0



Strip #526

Strip #545

Strip #578

Strip #585

Strip #605

Strip #622

Strip #634

Bias [Volt]

Normalised CCE

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0



Strip Number

Vfd [Volt]

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0



Strip #545

Strip #585

Strip #634

Bias [Volt]

Normalised CCE

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0



Strip #526

Strip #578

Strip #605

Bias [Volt]

Normalised CCE

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0

		0

		0

		0

		0

		0

		0

		0

		0



Strip #634

Bias [Volt]

Normalised CCE

0

0

0

0

0

0

0

0

0



		0

		0

		0

		0

		0

		0

		0

		0

		0

		0



Strip #526

Bias [Volt]

Normalised CCE

0

0

0

0

0

0

0

0

0

0



		Strip:		#10								Strip:		#30								Strip:		#50								Strip:		#70								Strip:		#90								Strip:		#100		#101						Strip:		#120

				#11										#31										#51										#71										#91										#121										#121

		D Left		h 200 V		ideal				h 400 V		D Left		h 200 V		ideal				h 400 V		D Left		h 200 V		ideal				h 400 V		D Left		h 200 V		ideal				h 400 V		D Left		h 200 V		ideal				h 400 V		D Left		h 200 V		ideal				h 400 V		D Left		h 200 V		ideal				h 400 V

		20		0.2059800664		0		0		0.1260683761		20		0.3485714286		0		0		0.2292490119		20		0.1510067114		0		0		0		20		0.1729559748		0		0		0.1299559471		30		0.1035422343		0		0		0		30		0.204610951		0		0		0		20		0.2591006424		0		0		0.263671875

		30		0.1784037559		110		1		0		30		0.2186046512		110		1		0		30		0.1964285714		110		1		0		30		0.1009615385		115		1		0		40		0.1971428571		117.5		1		0		40		0.3086053412		115		1		0		30		0.0874074074		115		1		0.0657534247

		40		0.2587064677						0.0909090909		40		0.3191489362						0		40		0.3269961977						0.118993135		40		0.1943734015						0		50		0.3688888889						0.2443729904		50		0.3851351351						0.1978021978		40		0.0914454277						0.0725244073

		50		0.3577586207						0.2196531792		50		0.4345238095						0.2648401826		60		0.6736842105						0.7946428571		50		0.3125						0.1707317073		60		0.6231884058						0.7816091954		60		0.5677966102						0.688372093		50		0.1515151515						0.1463414634

		60		0.6280991736						0.7375328084		60		0.625						0.619047619		70		0.7365079365						0.916500994		60		0.5102040816						0.5845070423		70		0.7445652174						0.9099437148		70		0.6253869969						0.886405959		60		0.5						0.5

		70		0.7114914425						0.8717948718		70		0.7170731707						0.8559322034		80		0.8419452888						0.9427402863		70		0.689373297						0.8831858407		80		0.8891454965						1		80		0.7331378299						0.9305816135		70		0.8						0.8395522388

		80		0.7915742794						0.9111470113		80		0.7960784314						0.9867374005		90		0.8307692308						0.9512195122		80		0.8141809291						0.9365609349		90		0.9136363636						1		90		0.7967032967						0.938517179		80		0.884086444						0.9252669039

		90		0.7759103641						0.8546845124		90		0.825						0.9734748011												90		0.8523489933						0.9378427788																						90		0.9249011858						0.9491833031

		Residuals		#10-#11								Residuals		#30-#31								Residuals		#50-#51								Residuals		#50-#51								Residuals		#70-#71								Residuals		#90-#91								Residuals		#100-#101

		True position		Est. position		Est. position		Residuals		Residuals		True position		Est. position		Est. position		Residuals		Residuals		True position		Est. position		Est. position		Residuals		Residuals		True position		Est. position		Est. position		Residuals		Residuals		True position		Est. position		Est. position		Residuals		Residuals		True position		Est. position		Est. position		Residuals		Residuals		True position		Est. position		Est. position		Residuals

				200 V		400 V		200 V		400 V				200 V		400 V		200 V		400 V				200 V		400 V		200 V		400 V				200 V		400 V		200 V		400 V				200 V		400 V		200 V		400 V				200 V		400 V		200 V		400 V				200 V		400 V		200 V		400 V

		20		22.657807309		38.3428571429		2.657807309		18.3428571429		20		38.3428571429		25.2173913043		18.3428571429		5.2173913043		20		16.610738255		0		-3.389261745		-20		20		19.8899371069		14.9449339207		-0.1100628931		-5.0550660793		30		12.1662125341		0		-17.8337874659		-30		30		23.530259366		0		-6.469740634		-30		20		29.7965738758		30.322265625		9.7965738758		10.322265625

		30		19.6244131455		24.0465116279		-10.3755868545		-5.9534883721		30		24.0465116279		0		-5.9534883721		-30		30		21.6071428571		0		-8.3928571429		-30		30		11.6105769231		0		-18.3894230769		-30		40		23.1642857143		0		-16.8357142857		-40		40		35.4896142433		0		-4.5103857567		-40		30		10.0518518519		7.5616438356		-19.9481481481		-22.4383561644

		40		28.4577114428		35.1063829787		-11.5422885572		-4.8936170213		40		35.1063829787		0		-4.8936170213		-40		40		35.969581749		13.0892448513		-4.030418251		-26.9107551487		40		22.3529411765		0		-17.6470588235		-40		50		43.3444444444		28.7138263666		-6.6555555556		-21.2861736334		50		44.2905405405		22.7472527473		-5.7094594595		-27.2527472527		40		10.5162241888		8.340306834		-29.4837758112		-31.659693166

		50		39.3534482759		47.7976190476		-10.6465517241		-2.2023809524		50		47.7976190476		29.1324200913		-2.2023809524		-20.8675799087		60		74.1052631579		87.4107142857		14.1052631579		27.4107142857		50		35.9375		19.6341463415		-14.0625		-30.3658536585		60		73.2246376812		91.8390804598		13.2246376812		31.8390804598		60		65.2966101695		79.1627906977		5.2966101695		19.1627906977		50		17.4242424242		16.8292682927		-32.5757575758		-33.1707317073

		60		69.0909090909		68.75		9.0909090909		8.75		60		68.75		68.0952380952		8.75		8.0952380952		70		81.0158730159		100.8151093439		11.0158730159		30.8151093439		60		58.6734693878		67.2183098592		-1.3265306122		7.2183098592		70		87.4864130435		106.9183864916		17.4864130435		36.9183864916		70		71.919504644		101.9366852886		1.919504644		31.9366852886		60		57.5		57.5		-2.5		-2.5

		70		78.2640586797		78.8780487805		8.2640586797		8.8780487805		70		78.8780487805		94.1525423729		8.8780487805		24.1525423729		80		92.6139817629		103.7014314928		12.6139817629		23.7014314928		70		79.2779291553		101.5663716814		9.2779291553		31.5663716814		80		104.474595843		117.5		24.474595843		37.5		80		84.3108504399		107.0168855535		4.3108504399		27.0168855535		70		92		96.5485074627		22		26.5485074627

		80		87.0731707317		87.568627451		7.0731707317		7.568627451		80		87.568627451		108.5411140584		7.568627451		28.5411140584		90		91.3846153846		104.6341463415		1.3846153846		14.6341463415		80		93.630806846		107.7045075125		13.630806846		27.7045075125		90		107.3522727273		117.5		17.3522727273		27.5		90		91.6208791209		107.9294755877		1.6208791209		17.9294755877		80		101.6699410609		106.4056939502		21.6699410609		26.4056939502

		90		85.350140056		90.75		-4.649859944		0.75		90		90.75		107.0822281167		0.75		17.0822281167												90		98.0201342282		107.8519195612		8.0201342282		17.8519195612																						90		106.3636363636		109.1560798548		16.3636363636		19.1560798548





		Far end														End + 1 cm														End + 2 cm														End + 3 cm														End + 3.5 cm

		Strip width		Local coord.		h 150 V						h 200 V		h 400 V		Strip width		Local coord.		h 150 V						h 200 V		h 400 V		Strip width		Local coord.		h 150 V						h 200 V		h 400 V		Strip width		Local coord.		h 150 V						h 200 V		h 400 V		Strip width		Local coord.		h 200 V						h 400 V				Local coord.		h 150 V		h 200 V		h 400 V

		16 µm		12		0.3192771084		0		0		0.3086172345		0.2177531207		25 µm		20		0.2489795918		0		0		0.2296072508		0.0935875217		25 µm		23		0.2344827586		0		0		0.1566820276		0.079338843		30 µm		23		0.1505016722		0		0		0.0805687204		0.052		35 µm		20		0.2591006424		0		0		0.263671875				28		0.1305483029		0.0812064965		0.0638722555		0		0

				22		0.3269230769		61		1		0.3302180685		0.2262118492				30		0.3642857143		78		1		0.3591160221		0.2287390029				33		0.3311897106		95		1		0.2647754137		0.1256038647				33		0.2164948454		108		1		0.0966183575		0.0595238095				30		0.0874074074		115		1		0.0657534247				38		0.1467391304		0.0782608696		0.0601202405		118		1

				32		0.5						0.5		0.5284552846				40		0.6977777778						0.691588785		0.8631578947				43								0.3176470588		0.2993197279				43		0.3470790378						0.2055137845		0.1347248577				40		0.0914454277						0.0725244073				48		0.2492753623		0.1494505495		0.1135135135

				42		0.6687697161						0.6808943089		0.826435247				50		0.7510204082						0.7796610169		0.9246575342				53		0.6393442623						0.6741573034		0.7946127946				63		0.6487603306						0.7430939227		0.8559837728				50		0.1515151515						0.1463414634				58		0.3970588235		0.41		0.368852459

				52		0.6972789116						0.7270788913		0.8104196816				60														63		0.7039711191						0.7454545455		0.8982785603				73		0.7683823529						0.884057971		0.9513108614				60		0.5						0.5				68		0.66		0.7510548523		0.789017341

																																73		0.7731629393						0.830802603		0.9453376206				83		0.8316498316						0.9351145038		0.98				70		0.8						0.8395522388				78		0.7542857143		0.9100719424		0.9100719424

																																																												80		0.884086444						0.9252669039				88		0.8444444444		0.9125799574		0.9323308271

																																																												90		0.9249011858						0.9491833031

				Pos. inner end (1)														Pos.(2)=(1)+1 cm														Pos.(3)=(2)+1 cm														Pos.(4)=(3)+1 cm														Pos.(5)=(4)+0.5 cm

		Bias		#119		Int 1		#120		Int 2		#121		Int 3		#122		#119		Int 1		#120		Int 2		#121		Int 3		#122		#119		Int 1		#120		Int 2		#121		Int 3		#122		#119		Int 1		#120		Int 2		#121		Int 3		#122		#119		Int 1		#120		Int 2		#121		Int 3		#122

		[Volt]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]

		50		0		0		30		10		115		10		20						20		0		68						0		0		31		0		99		0		0		0		0		0		0		70		0		0						38		21		104		-10

		100		28		0		61		17		179		15		33						44		15		129						20		0		48		24		171		0		31						52		34		145		0		29						62		34		177		-21

		150		30		0		88		40		239		27		44						78		37		184						0		0		71		44		242		0		31						63		58		250		0		29						55		24		385		-31

		200		37		0		115		74		357		37		54						68		41		280						0		0		78		58		383		0		37						37		20		388		-5		20						48		15		454		-24

		250		34		0		101		61		530		51		20						71		44		410						0		0		44		24		509		-24		10						26		10		448		-20		10						45		0		468		-34

		300		23		0		81		37		600		-23		30						58		45		475						0		0		37		13		533		-30		20						22		22		490		-24		10						34		0		478		-34

		350		34		0		84		27		641		-27		24						51		10		519						0		0		30		0		567		-30		15						20		0		512		-24		0						34		0		495		-34

		400		23		0		64		0		644		-34		23						51		0		530						0		0		41		0		577		-37		15						20		0		527		-24		0						34		0		502		-34

		500		10		0		77		0		680		-30		10						48		0		547						0		0		34		0		588		-40		13						10		0		530		-24		0						34		0		510		-34

																																																																		-10

																																																																		-17

																																																																		-17

				Total										Total										Intermediate strip/total charge																																										-17

		Bias		Pos.(1)		Pos.(2)		Pos.(3)		Pos.(4)		Pos.(5)		normalised

		[Volt]												Pos.(1)		Pos.(2)		Pos.(3)		Pos.(4)		Pos.(5)		Pos.(1)		Pos.(2)		Pos.(3)		Pos.(4)		Pos.(5)

		50		135		88		99		70		142		0.2023988006		0.1514629948		0.1672297297		0.1328273245		0.2649253731		0.0740740741		0		0		0		0.1478873239

		100		212		173		202		174		239		0.3178410795		0.2977624785		0.3412162162		0.330170778		0.4458955224		0.0801886792		0.0867052023		0.1188118812		0.1954022989		0.1422594142

		150		283		262		273		279		440		0.4242878561		0.4509466437		0.4611486486		0.5294117647		0.8208955224		0.1413427562		0.141221374		0.1611721612		0.2078853047		0.0545454545

		200		411		348		420		408		502		0.616191904		0.5989672978		0.7094594595		0.7741935484		0.9365671642		0.1800486618		0.117816092		0.1380952381		0.0490196078		0.0298804781

		250		550		481		519		458		513		0.8245877061		0.8278829604		0.8766891892		0.8690702087		0.9570895522		0.1109090909		0.0914760915		0.0462427746		0.0218340611		0

		300		630		533		553		500		512		0.9445277361		0.917383821		0.9341216216		0.9487666034		0.9552238806		0.0587301587		0.0844277674		0.0235081374		0.044		0

		350		665		570		582		512		529		0.9970014993		0.9810671256		0.9831081081		0.9715370019		0.9869402985		0.0406015038		0.0175438596		0		0		0

		400		667		581		592		527		536		1		1		1		1		1		0		0		0		0		0

		500		690		595		601		530		544		1.0344827586		1.0240963855		1.0152027027		1.0056925996		1.0149253731		0		0		0		0		0





		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0



Pos. 1

Pos. 2

Pos. 3

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0



Bias [V]

Charge routing line/Total charge

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0		0		0

		0		0		0		0

				0		0		0

				0		0		0



150 Volt

200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #760-761

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0		0		0

		0		0		0		0

				0		0		0

				0		0		0

				0		0		0

				0		0		0



Strip #120 of sector n. 6

Local position [µm]

Right charge/Total charge

Scan across strips #760-761

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

150 Volt

200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #760-761

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0		0		0

		0		0		0		0

				0		0		0

				0		0		0

				0		0		0

				0		0		0



150 Volt

200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #760-761

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0		0		0

		0		0		0		0

				0		0		0

				0		0		0

				0		0		0

				0		0		0

				0		0		0



150 Volt

200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #760-761

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



				Strip #		Centre		Distance																				Strip #		Centre		Distance		50 V		Local coord.		DL		DR		Pulse Left		Pulse Right		Pulse sum		h		ideal				100 V		Pulse Left		Pulse Right		Pulse sum		h		150 V		Pulse Left		Pulse Right		Pulse sum		h

				6		37		115																				112		40.9		54				42.5		16		38		89		59		148		0.3986486486		0		0				178		109		287		0.3797909408				191		73		264		0.2765151515

				7		48.5																						113		46.3						42.75		18.5		35.5		125		89		214		0.4158878505		54		1				200		150		350		0.4285714286				225		91		316		0.2879746835

																																				43		21		33		129		104		233		0.4463519313								212		175		387		0.4521963824				221		118		339		0.3480825959

																																				43.25		23.5		30.5		95		95		190		0.5								168		168		336		0.5				168		168		336		0.5

		# 112		Amplitude																						# 113		Amplitude								43.5		26		28		104		114		218		0.5229357798								171		193		364		0.5302197802				148		182		330		0.5515151515

		38.6		294		0.2		0																		44.5		193								43.75		28.5		25.5		86		114		200		0.57								139		200		339		0.5899705015				118		212		330		0.6424242424

		38.8		294		0.2		-11																		44.75		180								44		31		23		77		116		193		0.6010362694								139		223		362		0.6160220994				104		228		332		0.686746988

		39		283		0.2		-17																		45		145								44.25		33.5		20.5		70		116		186		0.623655914								104		205		309		0.6634304207				66		214		280		0.7642857143

		39.2		266		0.2		-32																		45.25		116								44.5		36		18		66		114		180		0.6333333333								103		203		306		0.6633986928				52		193		245		0.787755102

		39.4		234		0.2		-36																		45.5		70

		39.6		198		0.2		-50																		45.75		59

		39.8		148		0.2		-50																		46		32

		40		98		0.2		-25																		46.25		20

		40.2		73		0.2		-30																		46.5		23																										0.9074074074		121.2244897959

		40.4		43		0.2		-16																		46.75		42

		40.6		27		0.2		-2																		47		82

		40.8		25		0.2		-2		Gaussian fit par				Fit				Normalised								47.25		100

		41		23		0.2		2		A		51		39		0.0000000044		41		2		0.04		0.0000000001		47.5		150

		41.2		25		0.2		7		B		41.92		39.2		0.0000000951		41.2		7		0.14		0.0000000019		47.75		172

		41.4		32		0.2		27		C		0.429		39.4		0.0000016399		41.4		27		0.54		0.0000000328		48		193

		41.6		59		0.2		37						39.6		0.0000227487		41.6		37		0.74		0.000000455

		41.8		96		0.2		50				51		39.8		0.0002539185		41.8		50		1		0.0000050784

		42		146		0.2		50				41.938		40		0.0022805605		42		50		1		0.0000456112

		42.2		196		0.2		38				0.43643		40.2		0.0164815472		42.2		38		0.76		0.0003296309

		42.4		234		0.2		28						40.4		0.0958436953		42.4		28		0.56		0.0019168739

		42.6		262		0.2		18						40.6		0.4484750729		42.6		18		0.36		0.0089695015

		42.8		280		0.2		11						40.8		1.6885823954		42.8		11		0.22		0.0337716479

		43		291		0.2		3						41		5.1158216329		43		3		0.06		0.1023164327

		43.2		294										41.2		12.4714721089								0.2494294422

														41.4		24.4640994978								0.48928199

														41.6		38.6144575058								0.7722891501

														41.8		49.0433163761								0.9808663275

		42.2		216		196								42		50.120905813								1.0024181163

		42.4		234		234								42.2		41.2161271536								0.8243225431

		42.6		266		262								42.4		27.272480504								0.5454496101

		42.8		278		280								42.6		14.5208248704								0.2904164974

		43		291		291								42.8		6.221099165								0.1244219833

		43.2		294		294								43		2.1446288772								0.0428925775

														43.2		0.5949032803								0.0118980656

														43.4		0.1327852289								0.0026557046

														43.6		0.0238485708								0.0004769714

														43.8		0.0034465465								0.0000689309

														44		0.0004007884								0.0000080158

														44.2		0.0000375021								0.00000075

														44.4		0.0000028236								0.0000000565

														44.6		0.0000001711								0.0000000034

																												Strip #		Centre		Distance		50 V		Local coord.		DL		DR		Pulse Left		Pulse Right		Pulse sum		h		ideal				100 V		Pulse Left		Pulse Right		Pulse sum		h		150 V		Pulse Left		Pulse Right		Pulse sum		h

																												113		46.3		54				48		17		37		129		104		233		0.4463519313		0		0				198		157		355		0.4422535211				200		114		314		0.3630573248

																												114		51.7						48.3		20		34		128		107		235		0.4553191489		54		1				200		168		368		0.4565217391				203		137		340		0.4029411765

		#114		Amplitude																																48.5		22		32		128		114		242		0.4710743802								207		193		400		0.4825				198		148		346		0.4277456647

		50.3		203																																48.8		25		29		128		139		267		0.5205992509								225		205		430		0.476744186				180		198		378		0.5238095238

		50.5		150																								Amplitude								49		27		27		116		139		255		0.5450980392								187		234		421		0.5558194774				145		205		350		0.5857142857

		50.8		109																								193								49.3		30		24		109		157		266		0.5902255639								175		250		425		0.5882352941				120		237		357		0.6638655462

		51		70																								180								49.5		32		22		98		148		246		0.6016260163								148		248		396		0.6262626263				98		253		351		0.7207977208

		51.3		29																								145								49.8		35		19		91		150		241		0.622406639								125		235		360		0.6527777778				84		253		337		0.7507418398

		51.5		29																								116								50		37		17		77		134		211		0.63507109								111		234		345		0.6782608696				63		234		297		0.7878787879

		51.8		36																								70

		52		38

		52.5		89

		53		193

		53.5		216





		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0



0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0



0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0		0		0

		0		0		0		0

		0				0		0

		0				0		0

		0				0		0

		0				0		0

		0				0		0

		0				0		0

		0				0		0



Local position [µm]

Right charge/Total charge

Scan across strips #623-624

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0		0		0

		0		0		0		0

		0				0		0

		0				0		0

		0				0		0

		0				0		0

		0				0		0

		0				0		0

		0				0		0



Local position [µm]

Right charge/Total charge

Scan across strips #624-625

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		Time delay		Corrected time		Bias [V]		#120		Int 1		#121		Int 2																		0		0.08185		9.1672		112				0.261052		10		80

		70		55		250		0		0		68		0				0		0		0		610								1		0.168384		18.859008						0.431745		34.5396

		75		50				16		0		150		0				3		0.0512794593		31.2804701969										2		0.312367		34.985104						0.675746		54.05968

		80		45				34		0		245		-25				6		0.2672435413		163.0185601936										3		0.52869		59.21328						1.004992		80.39936

		85		40				54		0		369		-41				9		0.5875634723		358.4137180924										4		0.825982		92.509984						1.426173		114.09384

		90		35				123		32		560		0				12		0.9072872169		553.4452023										5		1.20452		134.90624						1.939189		155.13512

		95		30				154		40		688		0				15		1.1543795498		704.1715253543										6		1.656436		185.520832						2.536774		202.94192

		100		25				188		51		826		-28				18		1.299469696		792.6765145638										7		2.16761		242.77232						3.205258		256.42064

		105		20				199		74		792		0				21		1.3442508459		819.9930160187										8		2.720225		304.6652						3.926179		314.09432

		110		15				188		108		615		-5				24		1.3071636214		797.3698090352										9		3.295125		369.054						4.678293		374.26344

		115		10				176		131		421		79				27		1.2124429531		739.5902013697										10		3.873637		433.847344						5.439553		435.16424

		120		5				85		68		199		34				30		1.0834467691		660.9025291351										11		4.438771		497.142352						6.188773		495.10184

		125		0				0		0		0		0				33		0.9394191906		573.0457062512										12		4.97592		557.30304						6.906842		552.54736

																		36		0.7945091514		484.6505823432										13		5.473185		612.99672						7.577489		606.19912

																		39		0.6580501859		401.410613397										14		5.92143		663.20016						8.187653		655.01224

																		42		0.5354104702		326.6003867976										15		6.31416		707.18592						8.727551		698.20408

																		45		0.4289931162		261.6858008585										16		6.647297		744.497264						9.190552		735.24416

																		48		0.339164421		206.8902967894										17		6.91889		774.91568						9.57288		765.8304

																		51		0.2650152693		161.6593142647										18		7.128793		798.424816						9.873284		789.86272

																		54		0.2049346724		125.0101501754										19		7.278362		815.176544						10.092649		807.41192

																		57		0.1570118833		95.7772488293										20		7.370132		825.454784						10.233604		818.68832

																		60		0.1192986421		72.7721716988										21		7.407557		829.646384						10.300152		824.01216

																		63		0.0899657472		54.8791057793										22		7.394742		828.211104						10.297333		823.78664

																		66		0.0673846758		41.1046522082										23		7.336235		821.65832						10.230914		818.47312

																		69		0.050159177		30.597097963										24		7.236837		810.525744						10.107127		808.57016

																		72		0.0371256796		22.6466645667										25		7.101445		795.36184						9.932439		794.59512

																		75		0.0273359711		16.67494238										26		6.934925		776.7116						9.713365		777.0692

																																27		6.742013		755.105456						9.456316		756.50528

																																28		6.527242		731.051104						9.16749		733.3992

																																29		6.294873		705.025776						8.852766		708.22128

																																30		6.048868		677.473216						8.517644		681.41152

																																31		5.792859		648.800208						8.167207		653.37656

																																32		5.530137		619.375344						7.806094		624.48752

																																33		5.263647		589.528464						7.438483		595.07864

																																34		4.995998		559.551776						7.068093		565.44744

																																35		4.729472		529.700864						6.698193		535.85544

																																36		4.466033		500.195696						6.331631		506.53048

																																37		4.207353		471.223536						5.970841		477.66728

																																38		3.954834		442.941408						5.617879		449.43032

																																39		3.709625		415.478						5.274448		421.95584

																																40		3.472645		388.93624						4.941926		395.35408

																																41		3.244611		363.396432						4.621399		369.71192

																																42		3.026052		338.917824						4.313695		345.0956

																																43		2.817337		315.541744						4.019405		321.5524

																																44		2.618692		293.293504						3.738913		299.11304

																																45		2.43022		272.18464						3.472427		277.79416

																																46		2.251916		252.214592						3.219996		257.59968

																																47		2.083687		233.372944						2.981542		238.52336

																																48		1.925365		215.64088						2.756874		220.54992

																																49		1.776718		198.992416						2.545705		203.6564

																																50		1.637465		183.39608						2.347678		187.81424

																																51		1.507286		168.816032						2.162372		172.98976

																																52		1.38583		155.21296						1.989319		159.14552

																																53		1.272725		142.5452						1.828019		146.24152

																																54		1.167583		130.769296						1.677946		134.23568

																																55		1.070007		119.840784						1.538557		123.08456

																																56		0.979598		109.714976						1.409304		112.74432

																																57		0.895956		100.347072						1.289635		103.1708

																																58		0.818688		91.693056						1.179003		94.32024

																																59		0.747406		83.709472						1.076871		86.14968

																																60		0.681733		76.354096						0.982712		78.61696

																																61		0.621304		69.586048						0.896015		71.6812

																																62		0.565769		63.366128						0.816288		65.30304

																																63		0.51479		57.65648						0.743057		59.44456

																																64		0.468044		52.420928						0.675869		54.06952

																																65		0.425227		47.625424						0.614292		49.14336

																																66		0.386049		43.237488						0.557917		44.63336

																																67		0.350235		39.22632						0.506357		40.50856

																																68		0.317529		35.563248						0.459245		36.7396

																																69		0.287687		32.220944						0.416239		33.29912

																																70		0.260483		29.174096						0.377015		30.1612

																																71		0.235705		26.39896						0.341272		27.30176

																																72		0.213156		23.873472						0.308729		24.69832

																																73		0.19265		21.5768						0.279123		22.32984

																																74		0.174018		19.490016						0.25221		20.1768

																																75		0.157101		17.595312						0.227764		18.22112

																																76		0.141751		15.876112						0.205574		16.44592

																																77		0.127834		14.317408						0.185447		14.83576

																																78		0.115224		12.905088						0.167204		13.37632

																																79		0.103806		11.626272						0.150679		12.05432

																																80		0.093474		10.469088						0.13572		10.8576

																																81		0.084131		9.422672						0.122188		9.77504

																																82		0.075686		8.476832						0.109953		8.79624

																																83		0.068058		7.622496						0.098898		7.91184

																																84		0.061172		6.851264						0.088915		7.1132

																																85		0.054959		6.155408						0.079904		6.39232

																																86		0.049356		5.527872						0.071777		5.74216

																																87		0.044307		4.962384

																																88		0.039758		4.452896

																																89		0.035662		3.994144

																																90		0.031975		3.5812

																																91		0.028659		3.209808

																																92		0.025678		2.875936

																																93		0.022998		2.575776

																																94		0.020591		2.306192

																																95		0.018429		2.064048

																																96		0.016489		1.846768

																																97		0.014748		1.651776

																																98		0.013187		1.476944

																																99		0.011787		1.320144





		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0



0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0



0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0



Measured (hit strip)

Calculated

Adjacent strip

Intermediate routing line

Time [ns]

Amplitude [arb. units]

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0



Measured

Calculated

Time [ns]

Amplitude [arb. units]

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0




_1051558557.xls
Chart14

		0		30		30		30

		114		40		40		40

				50		50		50

				70		70		70

				80		80		80

				85		85		85



20 Volt

50 Volt

200 Volt

Local position [µm]

Right charge/Total charge

0

0.12

0.0890804598

0.056206089

1

0.1317073171

0.1164772727

0.0638297872

0.226993865

0.201320132

0.1691542289

0.8011695906

0.8309859155

0.8544474394

0.8829268293

0.9093567251

0.9367681499

0.8783783784

0.9022988506

0.9418886199



General

		Sector #		Strip's range								1		128

		1		1-128								2		256

		2		129-256								3		384

		3		257-384								4		512

		4		385-512								5		640

		5		513-640								6		768

		6		641-768								7		896

		7		769-896								8		1024

		8		897-1024

		Measured strips:

		Sector #:		1		2		3		4		5		6		7		8





Sheet1

				Bias 200 V		Step posit.		Delta #85		Delta #86		Left Height		Right Height		Sum (L+R)		Eta		Integral		Predicted position		Residuals		Ideal eta

								[µm]		[µm]																0		0

		Strip #85 position		40.3		41		7		115		558		104		662		0.1570996979				18.8519637462		11.8519637462		120		1

		Strip #86 position		52.5		42		17		105		608		154		762		0.2020997375				24.2519685039		7.2519685039

						43		27		95		625		116		741		0.1565452092				18.7854251012		-8.2145748988

						44		37		85		608		227		835		0.2718562874				32.622754491		-4.377245509

						45		47		75		608		446		1054		0.4231499051				50.7779886148		3.7779886148

						46		57		65		568		548		1116		0.4910394265				58.9247311828		1.9247311828

						47		67		55		507		572		1079		0.5301204819				63.6144578313		-3.3855421687

						48		77		45		357		580		937		0.6189967983				74.2796157951		-2.7203842049

						49		87		35		170		570		740		0.7702702703				92.4324324324		5.4324324324

						50		97		25		187		608		795		0.7647798742				91.7735849057		-5.2264150943

						51		107		15		174		600		774		0.7751937984				93.023255814		-13.976744186

																								7.5058591589

																						7.5058591589

																						6

				Bias 200 V		Step posit.		Delta #85		Delta #86		Left Height		Right Height		Sum (L+R)		Eta		Integral						Ideal eta

								[µm]		[µm]																0		0

		Strip #85 position		41.7		43		13		105		755		170		925		0.1837837838								120		1

		Strip #86 position		53.5		44		23		95		778		178		956		0.1861924686

						45		33		85		770		244		1014		0.2406311637

						46		43		75		770		585		1355		0.4317343173

						47		53		65		711		689		1400		0.4921428571

						48		63		55		607		741		1348		0.5497032641

						49		73		45		452		741		1193		0.6211232188

						50		83		35		178		726		904		0.8030973451

						51		93		25		118		711		829		0.8576598311

						52		103		15		104		681		785		0.8675159236

						53		113		5		89		704		793		0.8877679697





Irradiated (4)

		Bias 250 V		Strip #		Centre		Distance		20 V		Local coord.		D24		D25		Pulse Left		Pulse Right		Pulse sum		h		ideal				50 V		Pulse Left		Pulse Right		Pulse sum		h		200 V		Pulse Left		Pulse Right		Pulse sum		h				Volt scan		#85		#86		Total		Normalised

				85		31		110				33.5		25		85		128		12		140		0.0857142857		0		0				253		30		283		0.1060070671				373		16		389		0.0411311054				20		36		126		162		0.3884892086

				86		42						34.5		35		75		132		12		144		0.0833333333		110		1				233		24		257		0.093385214				341		25		366		0.0683060109				30		52		240		292		0.7002398082

												35.5		45		65		84		32		116		0.275862069								204		48		252		0.1904761905				325		50		375		0.1333333333				40		48		317		365		0.8752997602

												37		60		50		22		40		62		0.6451612903								36		76		112		0.6785714286				50		136		186		0.7311827957				50		48		371		407		0.9760191847

		#85		Amplitude		#86		Amplitude				37.5		65		45		40		84		124		0.6774193548								60		197		257		0.766536965				60		305		365		0.8356164384				75		36		380		412		0.9880095923

		39		417		28		417				38.5		75		35		28		152		180		0.8444444444								40		272		312		0.8717948718				32		401		433		0.9260969977				100		32		397		425		1.0191846523

		40		325		29		297				39.5		85		25		24		160		184		0.8695652174								44		281		325		0.8646153846				32		405		437		0.9267734554				120		28		413		441		1.0575539568

		41		50		30		60																																												150		28		417		417		1

		42		0		31		0

		43		68		32		32

		44		361		33		272

						34		409

		Bias 250 V		Strip #		Centre		Distance		20 V		Local coord.		D24		D25		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h		ideal				50 V		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h		200 V		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h				Volt scan		#4		Int 1		#5		Int 2		Total		Normalised

				4		12.5		115				14.5		20		95		204		-28		36				240		0.15		0		0				333				36				369		0.0975609756				449		-64		48				497		0.0965794769				20		12		-24		200		-48		212		0.4265593561

				5		24						15.5		30		85		240		-36		44				284		0.1549295775		115		1				425		-64		72				497		0.1448692153				573		-112		64				637		0.1004709576				30		40				328		-52		368		0.7404426559

												16.5		40		75		212		-32		44				256		0.171875								373		-48		52				425		0.1223529412				525		-88		52				577		0.0901213172				40		24		-16		381		-88		405		0.814889336

												17.5		50		65		116		-8		48				164		0.2926829268								256		-24		104				360		0.2888888889				373		-64		120				493		0.2434077079				50		28		-24		425		-92		453		0.9114688129

		#4		Amplitude		#5		Amplitude				18.5		60		55		16				32				48		0.6666666667								32				72				104		0.6923076923				60				112				172		0.6511627907				75		16				445		-100		461		0.9275653924

		12		0		21		489				19.5		70		45		52				188		-16		240		0.7833333333								68				385		-48		453		0.8498896247				52				509		-96		561		0.9073083779				100		12		-28		457		-124		469		0.9436619718

		13		0		22		341				20.5		80		35		52				253		-16		305		0.8295081967								76				429		-52		505		0.8495049505				36				549		-96		585		0.9384615385				120		16		-20		465		-120		481		0.967806841

		14		132		23		84				21.5		90		25		28				204		-48		232		0.8793103448								36				393		-84		429		0.9160839161				28				501		-112		529		0.9470699433				150		12		-44		485		-132		497		1

		15		437		24		0

		16		517		25		0

						26		272

		Bias 250 V		Strip #		Centre		Distance		20 V		Local coord.		D24		D25		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h		ideal				50 V		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h		200 V		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h

				5		24		110				26.5		25		85		197				36				233		0.1545064378		0		0				328				36				364		0.0989010989				445				32				477		0.0670859539

				6		35						27.5		35		75		152				28				180		0.1555555556		110		1				305				36				341		0.1055718475				449				36				485		0.0742268041

												28.5		45		65		116				36				152		0.2368421053								253				60				313		0.1916932907				413				100				513		0.1949317739

												29.5		55		55		44				28				72										60				36				96						72				32				104

												30.5		65		45		28				104				132		0.7878787879								52				212				264		0.803030303				72				345				417		0.8273381295

												31.5		75		35		36				160				196		0.8163265306								32				272				304		0.8947368421				28				405				433		0.935334873

												32.5		85		25		12				164				176		0.9318181818								32				333				365		0.9123287671				72				469				541		0.8669131238

		Bias 250 V		Strip #		Centre		Distance		20 V		Local coord.		D24		D25		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h		ideal				50 Volt		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h		200 Volts		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h				Volt scan		#115		Int 1		#116		Int 2		Total		Normalised

				115		44		120				47.5		35		85		237				45				282		0.1595744681		0		0				396		-18		54				450		0.12				474		-31		41				515		0.0796116505				10		32		23		132		0		164		0.3326572008

				116		56						48.5		45		75		209		0		54				263		0.2053231939		120		1				387		-13		59				446		0.1322869955				460		-41		45				505		0.0891089109				20		41		25		241		0		282		0.5720081136

												49.5		55		65		128		13		54				182		0.2967032967								264				77				341		0.2258064516				360		-23		90				450		0.2				30		45		25		314		0		359		0.7281947262

												51		70		50		41		13		91				132										63		13		182				245						73		0		250				323		0.72				40		45		25		364		0		409		0.8296146045

		#115		Amplitude		#116		Amplitude				51.5		75		45		77		41		173				250		0.692								91		18		360				451		0.7982261641				91		0		461				552		0.8351449275				50		36		18		400		-13		436		0.8843813387

		42		506		54		483				52.5		85		35		54		30		214				268		0.7985074627								54		23		383				437		0.8764302059				32		-23		460				492		0.9349593496				60		25		0		419		-23		444		0.9006085193

		43		410		55		287				53.5		95		25		41		25		241				282		0.8546099291								36		18		400		-13		436		0.9174311927				27				460		-23		487		0.9445585216				80		27		0		442		-23		469		0.9513184584

		44		77		56		0																																																								100		27		0		446		-23		473		0.9594320487

		45		455		57		0																																																								150		23		0		455		-27		478		0.9695740365

		46		488		58		145																																																								200		27				460		-18		487		0.9878296146

						59		469																																																								300		23				470		-30		493		1





Irradiated (4)

		20		10

		30		20

		40		30

		50		40

		75		50

		100		60

		120		80

		150		100

				150

				200

				300



0.4265593561

0.3326572008

0.7404426559

0.5720081136

0.814889336

0.7281947262

0.9114688129

0.8296146045

0.9275653924

0.8843813387

0.9436619718

0.9006085193

0.967806841

0.9513184584

1

0.9594320487

0.9695740365

0.9878296146

1



Irradiated (5) 

		20		20		20		0

		30		30		30		115

		40		40		40

		50		50		50

		60		60		60

		70		70		70

		80		80		80

		90		90		90



20 Volt

50 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #388-389

0.15

0.0975609756

0.0965794769

0

0.1549295775

0.1448692153

0.1004709576

1

0.171875

0.1223529412

0.0901213172

0.2926829268

0.2888888889

0.2434077079

0.6666666667

0.6923076923

0.6511627907

0.7833333333

0.8498896247

0.9073083779

0.8295081967

0.8495049505

0.9384615385

0.8793103448

0.9160839161

0.9470699433



Irr. corr (5)

		25		25		25		0

		35		35		35		110

		45		45		45

		55		55		55

		65		65		65

		75		75		75

		85		85		85



0.1545064378

0.0989010989

0.0670859539

0

0.1555555556

0.1055718475

0.0742268041

1

0.2368421053

0.1916932907

0.1949317739

0.7878787879

0.803030303

0.8273381295

0.8163265306

0.8947368421

0.935334873

0.9318181818

0.9123287671

0.8669131238



Irr. corr. (6)

		Bias 250 V		Strip #		Centre		Distance		100 V		Local coord.		D24		D25		Pulse Left		Pulse Right		Pulse sum		h		ideal				200 V		Pulse Left		Pulse Right		Pulse sum		h		300 V		Pulse Left		Pulse Right		Pulse sum		h				Volt scan		#13		#14		Total		Normalised						Strip #5		Volt scan		Normalised

				13		8.5		110				11		25		85		351		0		351		0		0		0				369		0		369		0				364		0		364		0				20		5		205		210		0.4338842975						10		140		0.2868852459

				14		19.5						12		35		75		387		0		387		0		110		1				414		0		414		0				414		0		414		0				30		5		273		278		0.5743801653						30		285		0.5840163934

												13		45		65		328		27		355		0.076056338								374		15		389		0.0385604113				383		24		407		0.058968059				40		54		323		377		0.7789256198						50		393		0.8053278689

												14		55		55		154		73		227		0.3215859031								164		59		223		0.264573991				173		68		241		0.2821576763				50		45		360		405		0.8367768595						70		434		0.8893442623

		#13		Amplitude		#14		Amplitude				15		65		45		54		223		277		0.8050541516								63		264		327		0.8073394495				82		278		360		0.7722222222				75		41		405		446		0.9214876033						100		454		0.9303278689

		6		364		17		351				16		75		35		36		378		414		0.9130434783								36		424		460		0.9217391304				32		424		456		0.9298245614				100		32		428		460		0.9504132231						150		468

		7		164		18		164				17		85		25		23		414		437		0.9473684211								23		460		483		0.9523809524				20		464		484		0.958677686				120		23		437		460		0.9504132231						200		485		0.993852459

		8		30		19		0																																												150		27		446		473		0.9772727273						300		488		1

		9		0		20		0																																												200		23		455		478		0.9876033058

		10		209		21		196																																												300		20		464		484		1

		11		370		22		392

		Bias 250 V		Strip #		Centre		Distance		50 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				200 V		Pulse Left		Pulse Right		Pulse sum		h		300 V		Pulse Left		Pulse Right		Pulse sum		h				Volt scan		#33		#34		Total		Normalised

				13		4.8		112				8		32		80		31		334		71		405		0.175308642		0		0				427		-17		410		0				434		-17		417		0				10		48		97		145		0.3325688073				30		112		20		31		163

				14		16						9		42		70		34		317		51		368		0.1385869565		112		1				427		31		458		0.0676855895				458		24		482		0.0497925311				20		51		184		235		0.5389908257				50		157		31		41		229

												10		52		60		0		68		34		102		0.3333333333								89		37		126		0.2936507937				99		34		133		0.2556390977				30		54		263		317		0.7270642202				100		291		51		85		427

												11		62		50		0		65		195		260		0.75								61		266		327		0.8134556575				61		260		321		0.8099688474				50		37		345		382		0.876146789				130		372		58		103		533

		#33		Amplitude		#34		Amplitude				12		72		40		0		51		308		359		0.8579387187								34		413		447		0.9239373602				34		430		464		0.9267241379				75		27		389		416		0.9541284404				150		530		50		109		689

		2		445		13		451				13		82		30		0		37		342		379		0.9023746702								27		427		454		0.9405286344				10		447		457		0.9781181619				100		24		400		424		0.9724770642				200		567		44		65		676

		3		191		14		214																																														125		24		417		441		1.0114678899				250		605		31				636

		4		41		15		41																																														150		20		420		440		1.0091743119				300		612		31				643

		5		34		16		34																																														200		20		424		444		1.0183486239

		6		68		17		58																																														300		20		436		456		1.0458715596

		7		413		18		330

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.		D24		D25		#120		Int 1		#121		Int 2		#122		Int 3		Pulse sum		h		ideal				200 V		#120		Int 1		#121		Int 2		#122		Int 3		Pulse sum		h		400 V		#120		Int 1		#121		Int 2		#122		Int 3		Pulse sum		h						Volt scan		#120		Int 1		#121		Int 2		#122		Total		Normalised

				121		40		117				43		30		87		30		24		167		24		48		17		215		0.223255814		0		0				24		20		266		10		34		0		300		0.1133333333				10		0		372		-24		20		0		392		0.0510204082						50		0		0		61		0		24		85		0.2093596059

				122		51.7						44		40		77		24		15		140		31		54		117		194		0.2783505155		117		1				27		15		242		27		58		0		300		0.1933333333				0		0		376		-24		31		0		407		0.0761670762						100		20		0		106		0		34		140		0.3448275862

												45		50		67		24		20		99		37		65		0		164		0.3963414634								15		0		171		44		75		0		246		0.3048780488				10		0		311		0		75		0		386		0.1943005181						150		27		10		157		24		48		205		0.5049261084

												47		70		47		0		0		58		41		95		0		153		0.6209150327								0		0		68		48		146		0		214		0.6822429907				0		0		61		17		270		0		331		0.8157099698						200		20		10		253		10		34		287		0.7068965517

		#121		Amplitude		#122		Amplitude				48		80		37		0		0		65		41		143		10		208		0.6875								0		0		58		41		229		0		287		0.7979094077				0		0		34		0		366		-13		400		0.915						250		10		5		317		0		27		344		0.8472906404

		38		345		49		366				49		90		27		0		0		51		34		157		0		208		0.7548076923								0		0		44		27		266		0		310		0.8580645161				0		0		27		0		376		-17		403		0.9330024814						300		0		0		349		0		31		380		0.9359605911

		39		37		50		201																																																																						350		0		0		362		-15		27		389		0.9581280788

		40		30		51		34																																																																						400		0		0		372		-17		34		406		1

		41		34		52		24																																																																						500		0		0		383		-20		27		410		1.0098522167

		42		195		53		58

		43		362		54		342

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				200 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		400 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h						Volt scan		#109		#110		Total		Normalised

				109		12.4		116				15		26		90		31		178		51		229		0.2227074236		0		0				15		280		24		304		0.0789473684						369		0		369		0						50		65		0		65		0.1747311828

				110		24						16		36		80		24		154		58		212		0.2735849057		116		1				24		263		41		304		0.1348684211						372		0		372		0						100		123		37		160		0.4301075269

												17		46		70		20		123		71		194		0.3659793814								30		215		71		286		0.2482517483						331		41		372		0.1102150538						150		171		51		222		0.5967741935

												19		66		50		0		68		95		163		0.5828220859								0		71		146		217		0.6728110599						58		242		300		0.8066666667						200		287		24		311		0.8360215054

		#109		Amplitude		#110		Amplitude				20		76		40		0		68		146		214		0.6822429907								0		58		242		300		0.8066666667						34		338		372		0.9086021505						250		334		0		334		0.8978494624

		10		308		21		291				21		86		30		0		58		167		225		0.7422222222								0		44		259		303		0.8547854785						0		345		345		1						300		351		0		351		0.9435483871

		11		37		22		208																																																				350		366		0		366		0.9838709677

		12		0		23		31																																																				400		372		0		372		1

		13		0		24		27																																																				500		383		0		383		1.0295698925

		14		225		25		31

		15		321		26		235

						27		285

		Bias 250 V		Strip #		Centre		Distance		100 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				300 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		400 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h						Volt scan		#72		#73		Total		Normalised

				72		29.1		114				31.5		24		90				253		34		287		0.118466899		0		0						355		1		356		0.0028089888						0		0		0		0						25		44		20		64		0.170212766

				73		40.5						32.5		34		80				242		48		290		0.1655172414		114		1						386		1		387		0.0025839793																		50		95		41		136		0.3617021277

												33.5		44		70				150		78		228		0.3421052632										280		41		321		0.1277258567																		75		150		58		208		0.5531914894

												35.5		64		50				54		120		174		0.6896551724										51		222		273		0.8131868132																		100		240		51		291		0.7739361702

		#72		Amplitude		#73		Amplitude				36.5		74		40				68		215		283		0.7597173145										17		376		393		0.9567430025																		125		311		27		338		0.8989361702

		27		249		38		311				37.5		84		30				41		253		294		0.8605442177										1		386		387		0.9974160207																		150		342		10		352		0.9361702128

		28		71		39		106				38		89		25				41		249		290		0.8586206897										20		355		375		0.9466666667																		200		355		10		365		0.9707446809

		28.5		25		40		20																																																				300		376		0		376		1

		29		0		41		31																																																				400		383		0		383		1.0186170213

		30		58		42		154

		31		256		43		334

		Bias 250 V		Strip #		Centre		Distance		100 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				150 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		300 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		200 V		Pulse Left		Pulse Right		Pulse sum		h		Volt scan		#92		#93		Total		Normalised

				92		37.8		116				40		22		94		20		146		41		187		0.2192513369		0		0						259		24		283		0.0848056537						352		1		353		0.0028328612				331		5		336		0.0148809524		50		65		10		75		0.2049180328

				93		49.4						41		32		84		20		140		44		184		0.2391304348		116		1						246		34		280		0.1214285714						369		1		370		0.0027027027				334		5		339		0.0147492625		75		95		10		105		0.2868852459

												42		42		74		24		112		51		163		0.3128834356										208		65		273		0.2380952381						355		1		356		0.0028089888				300		34		334		0.1017964072		100		129		27		156		0.4262295082

												44.5		67		49		0		68		89		157		0.5668789809										82		143		225		0.6355555556						65		256		321		0.7975077882				71		215		286		0.7517482517		125		167		27		194		0.5300546448

		#92		Amplitude		#93		Amplitude				45		72		44				71		103		174		0.591954023										78		198		276		0.7173913043						37		334		371		0.9002695418				54		291		345		0.8434782609		150		236		30		266		0.7267759563

		35		352		47		345				46		82		34				54		123		177		0.6949152542										54		236		290		0.8137931034						1		370		371		0.9973045822				41		328		369		0.8888888889		200		328		0		328		0.8961748634

		36		143		48		68				47		92		24				48		133		181		0.7348066298										48		259		307		0.8436482085						10		359		369		0.972899729				35		331		366		0.9043715847		250		355		0		355		0.9699453552

		37		17		49		0																																																										300		366		0		366		1

		38		17		49.5		0																																																										400		379		0		379		1.0355191257

		39		95		50		0

		40		325		51		116

						52		321

		Bias 250 V		Strip #		Centre		Distance		20 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				50 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		200 V		Pulse Left		Pulse Right		Pulse sum		h								Volt scan		#32		#33		Total		Normalised

				32		43.2		108				45.5		23		85		24		188		30		218		0.1376146789		0		0				24		317		1		318		0.0031446541				400		1		401		0.0024937656								10		89		41		130		0.3147699758

				33		54						46.5		33		75		20		174		44		218		0.2018348624		108		1				20		325		10		335		0.0298507463				410		1		411		0.00243309								20		171		41		212		0.5133171913

												47.5		43		65		24		123		65		188		0.3457446809								20		242		54		296		0.1824324324				342		37		379		0.0976253298								30		232		34		266		0.6440677966

												49		58		50		0		41		58		99		0.5858585859										44		109		153		0.7124183007				51		164		215		0.7627906977								50		321		0		321		0.7772397094

		#32		Amplitude		#33		Amplitude				49.5		63		45				68		116		184		0.6304347826										68		212		280		0.7571428571				65		297		362		0.820441989								75		362		0		362		0.8765133172

		40		393		51		413				50.5		73		35				58		157		215		0.7302325581										44		297		341		0.8709677419				24		389		413		0.9418886199								100		383		0		383		0.9273607748

		41		181		52		291				51		78		30				48		164		212		0.7735849057										41		304		345		0.8811594203				15		393		408		0.9632352941								150		396		0		396		0.9588377724

		42		31		53		51																																																				200		413		0		413		1

		43		24		54		17																																																				300		420		0		420		1.0169491525

		44		80		55		50

		45		359		56		280

						57		403

		Bias 250 V		Strip #		Centre		Distance		50 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				100 V		Pulse Left		Pulse Right		Pulse sum		h		300 V		Pulse Left		Pulse Right		Pulse sum		h										Volt scan		#53		#54		#55		#56		Total		Normalised

				54		39		110				42.5		35		75		24		259		37		296		0.125		0		0				352		1		353		0.0028328612				400		1		401		0.0024937656										10		13		27		41		13		68		0.17

				55		50						43		40		70		24		222		48		270		0.1777777778		110		1				331		1		332		0.0030120482				393		1		394		0.0025380711										25		20		61		109		20		170		0.425

												44		50		60		0		123		58		181		0.320441989								195		44		239		0.1841004184				239		41		280		0.1464285714										50				266		41				307		0.7675

												45.5		65		45		0		51		116		167		0.6946107784								42		178		220		0.8090909091				61		215		276		0.7789855072										75				334		14				348		0.87

		#54		Amplitude		#55		Amplitude				46		70		40				70		201		271		0.741697417								51		308		359		0.8579387187				51		355		406		0.8743842365										100				359		0				359		0.8975

		37		352		47		400				47		80		30				43		260		303		0.8580858086								17		355		372		0.9543010753				1		400		401		0.9975062344										150				372		0				372		0.93

		38		44		48		280																																																				200				383		0				383		0.9575

		39		27		49		41																																																				250				396		0				396		0.99

		40		51		50		20																																																				300				400		0				400		1

		41		266		51		51								512		63		575																																								400				406						406		1.015

		42		390		52		273

						53		410

		Bias 250 V		Strip #		Centre		Distance		50 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				100 V		Pulse Left		Pulse Right		Pulse sum		h		250 V		Pulse Left		Pulse Right		Pulse sum		h										Volt scan		#64		#65		Total		Normalised

				63		1		120				4.5		35		85		37		161		65		226		0.2876106195		0		0				317		1		318		0.0031446541				376		1		377		0.0026525199										25		34		75		109		0.2632850242

				64		13						5.5		45		75		30		137		82		219		0.3744292237		120		1				297		54		351		0.1538461538				376		15		391		0.0383631714										50		55		164		219		0.5289855072

												6		50		70		0		123		78		201		0.3880597015								249		58		307		0.1889250814				325		41		366		0.1120218579										75		37		290		327		0.7898550725

												7.5		65		55		0		38		51		89		0.5730337079								40		106		146		0.7260273973				51		129		180		0.7166666667										100		27		330		357		0.8623188406

		#63		Amplitude		#64		Amplitude				8		70		50				71		103		174		0.591954023								61		242		303		0.798679868				58		300		358		0.8379888268										150		27		359		386		0.9323671498

		-1		352		10		400				9		80		40				75		143		218		0.6559633028								41		325		366		0.8879781421				31		372		403		0.9230769231										200		24		372		396		0.9565217391

		0		44		11		280				10		90		30				51		164		215		0.7627906977								34		334		368		0.9076086957				20		389		409		0.9511002445										250		20		379		399		0.9637681159

		1		27		12		41																																																				300		24		382		406		0.9806763285

		2		51		13		20																																																				350		24		390		414		1

		3		266		14		51

		4		390		15		273





Irradiated (6)

		Bias 250 V		Strip #		Centre		Distance		100 V		Local coord.		D24		D25		Pulse Left		Pulse Right		Pulse sum		h		ideal				200 V		Pulse Left		Pulse Right		Pulse sum		h		300 V		Pulse Left		Pulse Right		Pulse sum		h				Volt scan		#13		#14		Total		Normalised						Strip #5		Volt scan		Normalised

				13		8.5		110				11		25		85		351		17		368		0.0461956522		0		0				369		17		386		0.0440414508				364		17		381		0.0446194226				20		5		205		210		0.4338842975						10		140		0.2868852459

				14		19.5						12		35		75		387		24		411		0.0583941606		110		1				414		24		438		0.0547945205				414		24		438		0.0547945205				30		5		273		278		0.5743801653						30		285		0.5840163934

												13		45		65		328		54		382		0.1413612565								374		55		429		0.1282051282				383		48		431		0.1113689095				40		54		323		377		0.7789256198						50		393		0.8053278689

												14		55		55		154		73		227		0.3215859031								164		59		223		0.264573991				173		68		241		0.2821576763				50		45		360		405		0.8367768595						70		434		0.8893442623

		#13		Amplitude		#14		Amplitude				15		65		45		54		223		277		0.8050541516								63		264		327		0.8073394495				82		278		360		0.7722222222				75		41		405		446		0.9214876033						100		454		0.9303278689

		6		364		17		351				16		75		35		36		378		414		0.9130434783								36		424		460		0.9217391304				32		424		456		0.9298245614				100		32		428		460		0.9504132231						150		468

		7		164		18		164				17		85		25		23		414		437		0.9473684211								23		460		483		0.9523809524				20		464		484		0.958677686				120		23		437		460		0.9504132231						200		485		0.993852459

		8		30		19		0																																												150		27		446		473		0.9772727273						300		488		1

		9		0		20		0																																												200		23		455		478		0.9876033058

		10		209		21		196																																												300		20		464		484		1

		11		370		22		392

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.		D24		D25		#120		Int 1		#121		Int 2		#122		Int 3		Pulse sum		h		ideal				200 V		#120		Int 1		#121		Int 2		#122		Int 3		Pulse sum		h		400 V		#120		Int 1		#121		Int 2		#122		Int 3		Pulse sum		h						Volt scan		#120		Int 1		#121		Int 2		#122		Total		Normalised

				121		40		117				43		30		87		30		24		167		24		48		17		215		0.223255814		0		0				24		20		266		10		34		0		300		0.1133333333				10		0		372		-24		20		0		392		0.0510204082						50		0		0		61		0		24		85		0.2093596059

				122		51.7						44		40		77		24		15		140		31		54		117		194		0.2783505155		117		1				27		15		242		27		58		0		300		0.1933333333				0		0		376		-24		31		0		407		0.0761670762						100		20		0		106		0		34		140		0.3448275862

												45		50		67		24		20		99		37		65		0		164		0.3963414634								15		0		171		44		75		0		246		0.3048780488				10		0		311		0		75		0		386		0.1943005181						150		27		10		157		24		48		205		0.5049261084

												47		70		47		0		0		58		41		95		0		153		0.6209150327								0		0		68		48		146		0		214		0.6822429907				0		0		61		17		270		0		331		0.8157099698						200		20		10		253		10		34		287		0.7068965517

		#121		Amplitude		#122		Amplitude				48		80		37		0		0		65		41		143		10		208		0.6875								0		0		58		41		229		0		287		0.7979094077				0		0		34		0		366		-13		400		0.915						250		10		5		317		0		27		344		0.8472906404

		38		345		49		366				49		90		27		0		0		51		34		157		0		208		0.7548076923								0		0		44		27		266		0		310		0.8580645161				0		0		27		0		376		-17		403		0.9330024814						300		0		0		349		0		31		380		0.9359605911

		39		37		50		201																																																																						350		0		0		362		-15		27		389		0.9581280788

		40		30		51		34																																																																						400		0		0		372		-17		34		406		1

		41		34		52		24																																																																						500		0		0		383		-20		27		410		1.0098522167

		42		195		53		58

		43		362		54		342

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				200 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		400 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h						Volt scan		#109		#110		Total		Normalised

				109		12.4		116				15		26		90		31		178		51		229		0.2227074236		0		0				15		280		24		304		0.0789473684						369		15		384		0.0390625						50		65		0		65		0.1747311828

				110		24						16		36		80		24		154		58		212		0.2735849057		116		1				24		263		41		304		0.1348684211						372		24		396		0.0606060606						100		123		37		160		0.4301075269

												17		46		70		20		123		71		194		0.3659793814								30		215		71		286		0.2482517483						331		41		372		0.1102150538						150		171		51		222		0.5967741935

												19		66		50		0		68		95		163		0.5828220859								0		71		146		217		0.6728110599						58		242		300		0.8066666667						200		287		24		311		0.8360215054

		#109		Amplitude		#110		Amplitude				20		76		40		0		68		146		214		0.6822429907								0		58		242		300		0.8066666667						34		338		372		0.9086021505						250		334		0		334		0.8978494624

		10		308		21		291				21		86		30		0		58		167		225		0.7422222222								0		44		259		303		0.8547854785						15		345		360		0.9583333333						300		351		0		351		0.9435483871

		11		37		22		208																																																				350		366		0		366		0.9838709677

		12		0		23		31																																																				400		372		0		372		1

		13		0		24		27																																																				500		383		0		383		1.0295698925

		14		225		25		31

		15		321		26		235

						27		285

		Bias 250 V		Strip #		Centre		Distance		100 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				300 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		400 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h						Volt scan		#72		#73		Total		Normalised

				72		29.1		114				31.5		24		90				253		34		287		0.118466899		0		0						355		14		369		0.0379403794						0		0		0		0						25		44		20		64		0.170212766

				73		40.5						32.5		34		80				242		48		290		0.1655172414		114		1						386		25		411		0.0608272506																		50		95		41		136		0.3617021277

												33.5		44		70				150		78		228		0.3421052632										280		56		336		0.1666666667																		75		150		58		208		0.5531914894

												35.5		64		50				54		120		174		0.6896551724										51		222		273		0.8131868132																		100		240		51		291		0.7739361702

		#72		Amplitude		#73		Amplitude				36.5		74		40				68		215		283		0.7597173145										17		376		393		0.9567430025																		125		311		27		338		0.8989361702

		27		249		38		311				37.5		84		30				41		253		294		0.8605442177										1		386		387		0.9974160207																		150		342		10		352		0.9361702128

		28		71		39		106				38		89		25				41		249		290		0.8586206897										20		355		375		0.9466666667																		200		355		10		365		0.9707446809

		28.5		25		40		20																																																				300		376		0		376		1

		29		0		41		31																																																				400		383		0		383		1.0186170213

		30		58		42		154

		31		256		43		334

		Bias 250 V		Strip #		Centre		Distance		100 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				150 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		300 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		200 V		Pulse Left		Pulse Right		Pulse sum		h		Volt scan		#92		#93		Total		Normalised

				92		37.8		116				40		22		94		20		146		41		187		0.2192513369		0		0						259		24		283		0.0848056537						352		15		367		0.0408719346				331		20		351		0.056980057		50		65		10		75		0.2049180328

				93		49.4						41		32		84		20		140		44		184		0.2391304348		116		1						246		34		280		0.1214285714						369		27		396		0.0681818182				334		29		363		0.0798898072		75		95		10		105		0.2868852459

												42		42		74		24		112		51		163		0.3128834356										208		65		273		0.2380952381						355		36		391		0.0920716113				300		55		355		0.1549295775		100		129		27		156		0.4262295082

												44.5		67		49		0		68		89		157		0.5668789809										82		143		225		0.6355555556						65		256		321		0.7975077882				71		215		286		0.7517482517		125		167		27		194		0.5300546448

		#92		Amplitude		#93		Amplitude				45		72		44				71		103		174		0.591954023										78		198		276		0.7173913043						37		334		371		0.9002695418				54		291		345		0.8434782609		150		236		30		266		0.7267759563

		35		352		47		345				46		82		34				54		123		177		0.6949152542										54		236		290		0.8137931034						1		370		371		0.9973045822				41		328		369		0.8888888889		200		328		0		328		0.8961748634

		36		143		48		68				47		92		24				48		133		181		0.7348066298										48		259		307		0.8436482085						10		359		369		0.972899729				35		331		366		0.9043715847		250		355		0		355		0.9699453552

		37		17		49		0																																																										300		366		0		366		1

		38		17		49.5		0																																																										400		379		0		379		1.0355191257

		39		95		50		0

		40		325		51		116

						52		321

		Bias 250 V		Strip #		Centre		Distance		20 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				50 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		200 V		Pulse Left		Pulse Right		Pulse sum		h								Volt scan		#32		#33		Total		Normalised

				32		43.2		108				45.5		23		85		24		188		30		218		0.1376146789		0		0				24		317		14		331		0.0422960725				400		15		415		0.0361445783								10		89		41		130		0.3147699758

				33		54						46.5		33		75		20		174		44		218		0.2018348624		108		1				20		325		30		355		0.0845070423				410		25		435		0.0574712644								20		171		41		212		0.5133171913

												47.5		43		65		24		123		65		188		0.3457446809								20		242		74		316		0.2341772152				342		37		379		0.0976253298								30		232		34		266		0.6440677966

												49		58		50		0		41		58		99		0.5858585859										44		109		153		0.7124183007				51		164		215		0.7627906977								50		321		0		321		0.7772397094

		#32		Amplitude		#33		Amplitude				49.5		63		45				68		116		184		0.6304347826										68		212		280		0.7571428571				65		297		362		0.820441989								75		362		0		362		0.8765133172

		40		393		51		413				50.5		73		35				58		157		215		0.7302325581										44		297		341		0.8709677419				24		389		413		0.9418886199								100		383		0		383		0.9273607748

		41		181		52		291				51		78		30				48		164		212		0.7735849057										41		304		345		0.8811594203				15		393		408		0.9632352941								150		396		0		396		0.9588377724

		42		31		53		51																																																				200		413		0		413		1

		43		24		54		17																																																				300		420		0		420		1.0169491525

		44		80		55		50

		45		359		56		280

						57		403

		Bias 250 V		Strip #		Centre		Distance		50 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				100 V		Pulse Left		Pulse Right		Pulse sum		h		300 V		Pulse Left		Pulse Right		Pulse sum		h										Volt scan		#53		#54		#55		#56		Total		Normalised

				54		39		110				42.5		35		75		24		259		37		296		0.125		0		0				352		15		367		0.0408719346				400		17		417		0.0407673861										10		13		27		41		13		68		0.17

				55		50						43		40		70		24		222		48		270		0.1777777778		110		1				331		25		356		0.0702247191				393		29		422		0.0687203791										25		20		61		109		20		170		0.425

												44		50		60		0		123		58		181		0.320441989								195		55		250		0.22				239		61		300		0.2033333333										50				266		41				307		0.7675

												45.5		65		45		0		51		116		167		0.6946107784								42		178		220		0.8090909091				61		215		276		0.7789855072										75				334		14				348		0.87

		#54		Amplitude		#55		Amplitude				46		70		40				70		201		271		0.741697417								51		308		359		0.8579387187				51		355		406		0.8743842365										100				359		0				359		0.8975

		37		352		47		400				47		80		30				43		260		303		0.8580858086								17		355		372		0.9543010753				1		400		401		0.9975062344										150				372		0				372		0.93

		38		44		48		280																																																				200				383		0				383		0.9575

		39		27		49		41																																																				250				396		0				396		0.99

		40		51		50		20																																																				300				400		0				400		1

		41		266		51		51								512		63		575																																								400				406						406		1.015

		42		390		52		273

						53		410

		Bias 250 V		Strip #		Centre		Distance		50 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				100 V		Pulse Left		Pulse Right		Pulse sum		h		250 V		Pulse Left		Pulse Right		Pulse sum		h										Volt scan		#64		#65		Total		Normalised

				63		1		120				4.5		35		85		37		161		65		226		0.2876106195		0		0				317		15		332		0.0451807229				376		15		391		0.0383631714										25		34		75		109		0.2632850242

				64		13						5.5		45		75		30		137		82		219		0.3744292237		120		1				297		50		347		0.144092219				376		39		415		0.0939759036										50		55		164		219		0.5289855072

												6		50		70		0		123		78		201		0.3880597015								249		54		303		0.1782178218				325		61		386		0.1580310881										75		37		290		327		0.7898550725

												7.5		65		55		0		38		51		89		0.5730337079								40		106		146		0.7260273973				51		129		180		0.7166666667										100		27		330		357		0.8623188406

		#63		Amplitude		#64		Amplitude				8		70		50				71		103		174		0.591954023								61		242		303		0.798679868				58		300		358		0.8379888268										150		27		359		386		0.9323671498

		-1		352		10		400				9		80		40				75		143		218		0.6559633028								41		325		366		0.8879781421				31		372		403		0.9230769231										200		24		372		396		0.9565217391

		0		44		11		280				10		90		30				51		164		215		0.7627906977								34		334		368		0.9076086957				20		389		409		0.9511002445										250		20		379		399		0.9637681159

		1		27		12		41																																																				300		24		382		406		0.9806763285

		2		51		13		20																																																				350		24		390		414		1

		3		266		14		51

		4		390		15		273





Irradiated (6)

		20		10		10

		30		20		30

		40		30		50

		50		50		70

		75		75		100

		100		100		150

		120		125		200

		150		150		300

		200		200

		300		300



0.4338842975

0.3325688073

0.2868852459

0.5743801653

0.5389908257

0.5840163934

0.7789256198

0.7270642202

0.8053278689

0.8367768595

0.876146789

0.8893442623

0.9214876033

0.9541284404

0.9303278689

0.9504132231

0.9724770642

0

0.9504132231

1.0114678899

0.993852459

0.9772727273

1.0091743119

1

0.9876033058

1.0183486239

1

1.0458715596



Irr. (7)

		

		Vfd

		Normalised		10		30		50		70		120

		50		0.2016		0.2		0.1500938086		0.1529411765		0.2610294118

		100		0.3248		0.2585365854		0.3114446529		0.3025210084		0.4393382353

		150		0.4832		0.4170731707		0.4671669794		0.4352941176		0.8088235294

		200		0.656		0.6		0.6303939962		0.6268907563		0.9227941176

		250		0.8032		0.8097560976		0.8105065666		0.7613445378		0.9430147059

		300		0.9104		0.856097561		0.8780487805		0.8789915966		0.9411764706

		350		0.928		0.8902439024		0.9099437148		0.9176470588		0.9724264706

		400		0.9696		0.9268292683		0.9230769231		0.9193277311		0.9852941176

		500		1		1		1		1		1

		Strip #		VFD

		10

		30

		50

		70

		120

		Eta scan		#10		#11

								D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		Norm. pulse

								20		90		239		62		301		0.2059800664		0		0				20		90		409		59		468		0.1260683761		0.6688888889

								30		80		350		76		426		0.1784037559		110		1				30		80		582		32		614		0.0521172638		0.9466666667

								40		70		298		104		402		0.2587064677								40		70		520		60		580		0.1034482759		0.8933333333

								50		60		149		83		232		0.3577586207								50		60		270		76		346		0.2196531792		0.5155555556

								60		50		90		152		242		0.6280991736								60		50		100		281		381		0.7375328084		0.5377777778

								70		40		118		291		409		0.7114914425								70		40		80		544		624		0.8717948718		0.9088888889

								80		30		94		357		451		0.7915742794								80		30		55		564		619		0.9111470113		1.0022222222

								90		20		80		277		357		0.7759103641								90		20		76		447		523		0.8546845124		0.7933333333

				#30		#31		200 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		Norm. pulse

										20		90		114		61		175		0.3485714286		0		0				20		90		195		58		253		0.2292490119		0.6730769231

										30		80		168		47		215		0.2186046512		110		1				30		80		309		15		324		0.0462962963		0.8269230769

										40		70		160		75		235		0.3191489362								40		70		328		27		355		0.076056338		0.9038461538

										50		60		95		73		168		0.4345238095								50		60		161		58		219		0.2648401826		0.6461538462

										60		50		39		65		104		0.625								60		50		56		91		147		0.619047619		0.4

										70		40		58		147		205		0.7170731707								70		40		51		303		354		0.8559322034		0.7884615385

										80		30		52		203		255		0.7960784314								80		30		15		372		387		0.9612403101		0.9807692308

										90		20		42		198		240		0.825								90		20		10		367		377		0.9734748011		0.9230769231

				#50		#51		200 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		Norm. pulse

										20		90		253		45		298		0.1510067114		0		0				20		90		429		24		453		0.0529801325		0.903030303

										30		80		225		55		280		0.1964285714		110		1				30		80		423		32		455		0.0703296703		0.8484848485

										40		70		177		86		263		0.3269961977								40		70		385		72		457		0.1575492341		0.796969697

										50		60		0		0		0										50		60		0		0		0		0		0

										60		50		62		128		190		0.6736842105								60		50		69		267		336		0.7946428571		0.5757575758

										70		40		83		232		315		0.7365079365								70		40		42		461		503		0.916500994		0.9545454545

										80		30		52		277		329		0.8419452888								80		30		28		461		489		0.9427402863		0.996969697

										90		20		55		270		325		0.8307692308								90		20		24		468		492		0.9512195122		0.9848484848

				#70		#71		200 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		Norm. pulse

										20		95		263		55		318		0.1729559748		0		0				20		95		395		59		454		0.1299559471		0.7066666667

										30		85		374		42		416		0.1009615385		115		1				30		85		547		20		567		0.0352733686		0.9244444444

										40		75		315		76		391		0.1943734015								40		75		550		38		588		0.0646258503		0.8688888889

										50		65		121		55		176		0.3125								50		65		204		58		262		0.2213740458		0.3911111111

										60		55		48		50		98		0.5102040816								60		55		59		83		142		0.5845070423		0.2177777778

										70		45		114		253		367		0.689373297								70		45		66		499		565		0.8831858407		0.8155555556

										80		35		76		333		409		0.8141809291								80		35		38		561		599		0.9365609349		0.9088888889

										90		25		66		381		447		0.8523489933								90		25		34		513		547		0.9378427788		0.9933333333

				#120		#121		200 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		Norm. pulse

										20		100		346		121		467		0.2591006424		0		0				20		100		377		135		512		0.263671875		0.6867647059

										30		90		616		59		675		0.0874074074		115		1				30		90		682		48		730		0.0657534247		0.9926470588

										40		80		616		62		678		0.0914454277								40		80		665		52		717		0.0725244073		0.9970588235

										50		70		308		55		363		0.1515151515								50		70		385		66		451		0.1463414634		0.7117647059

										60		60		59		59		118		0.5								60		60		66		66		132		0.5		0.231372549

										70		50		90		360		450		0.8								70		50		86		450		536		0.8395522388		0.8823529412

										80		40		59		450		509		0.884086444								80		40		42		520		562		0.9252669039		0.9980392157

										90		30		38		468		506		0.9249011858								90		30		28		523		551		0.9491833031		0.9921568627

				Sample of metal strip scan

		#10		#10		Amplitude		Norm. ampl.

		25.5		0		491		0.982

		26		5		376		0.752

		26.5		10		173		0.346

		27.5		20		0		0

		28		25		0		0

		28.5		30		0		0

		29.5		40		108.6		0.2172

		30		45		310		0.62

		30.5		50		472		0.944

		Strip		#90		#91		200 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		Pulse Left		Pulse Right		Pulse sum		h

										38		30		87.5		329		38		367		0.1035422343		0		0				436		14		450		0.0311111111

										39		40		77.5		281		69		350		0.1971428571		117.5		1				433		25		458		0.0545851528

										40		50		67.5		142		83		225		0.3688888889								235		76		311		0.2443729904

										41		60		57.5		52		86		138		0.6231884058								38		136		174		0.7816091954

										42		70		47.5		94		274		368		0.7445652174								48		485		533		0.9099437148

										43		80		37.5		48		385		433		0.8891454965								0		526		526		1

										44		90		27.5		38		402		440		0.9136363636								0		523		523		1

		Strip #		150 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				200 V		Pulse Left		Pulse Right		Pulse sum		h		400 V		Pulse Left		Pulse Right		Pulse sum		h

		100				24		30		85		276		71		347		0.204610951		0		0				405		25		430		0.0581395349				509		24		533		0.0450281426

		101				25		40		75		233		104		337		0.3086053412		115		1				388		74		462		0.1601731602				516		38		554		0.0685920578

						26		50		65		91		57		148		0.3851351351								142		54		196		0.2755102041				219		62		281		0.2206405694

						27		60		55		51		67		118		0.5677966102								64		101		165		0.6121212121				67		148		215		0.688372093

						28		70		45		121		202		323		0.6253869969								111		317		428		0.7406542056				61		476		537		0.886405959

						29		80		35		91		250		341		0.7331378299								71		385		456		0.8442982456				37		496		533		0.9305816135

						30		90		25		74		290		364		0.7967032967								57		425		482		0.8817427386				34		519		553		0.938517179

		New 0 position

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		Ideal				200 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		400 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h

				120		22.2		118				25		28		90		32		0		333		23		50		0		0		383		0.1305483029		0		0				25		250		-250		13		0		396		-13		35		0		0		431		0.0812064965				25		250		-250		10		0		469		-23		32		0		0		501		0.0638722555

				121		34						26		38		80		32		0		314		30		54		0		0		368		0.1467391304		118		1				26		260		-260		23		0		424		-13		36		0		0		460		0.0782608696				26		260		-260		0		0		469		-27		30		0		0		499		0.0601202405

												27		48		70		27		0		259		54		86		0		13		345		0.2492753623								27		270		-270		0		0		387		23		68		0		0		455		0.1494505495				27		270		-270		0		0		492		-23		63		0		0		555		0.1135135135

												28		58		60		0		0		41		0		27		0		0		68		0.3970588235								28		280		-280		0		0		59		0		41		0		0		100		0.41				28		280		-280		0		0		77		0		45		0		0		122		0.368852459

		#121		Ampitude		#121		Amplitude				29		68		50		18		0		68		41		132		0		32		200		0.66								29		290		-290		0		0		59		32		178		0		0		237		0.7510548523				29		290		-290		0		0		73		18		273		0		32		346		0.789017341

		20		483		32		451				30		78		40		18		0		86		68		264		0		27		350		0.7542857143								30		300		-300		0		0		50		10		506		-18		0		556		0.9100719424				30		300		-300		0		0		50		10		506		-18		0		556		0.9100719424

		21		86		33		54				31		88		30		0				63		50		342		0		32		405		0.8444444444								31		310		-310		0		0		41		18		428		-23		18		469		0.9125799574				31		310		-310		0		0		36		0		496		-23		18		532		0.9323308271

		22		45		34		32

		23		23		35		45				Estimated strip width:

		24		154		36		387				35 µm

		25		470





Irr. (7)

		30		30		0

		40		40		115

		50		50

		60		60

		70		70

		80		80

		90		90



200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #760-761

0.0874074074

0.0657534247

0

0.0914454277

0.0725244073

1

0.1515151515

0.1463414634

0.5

0.5

0.8

0.8395522388

0.884086444

0.9252669039

0.9249011858

0.9491833031



Non irr. (2)

		0		28		28		28

		118		38		38		38

				48		48		48

				58		58		58

				68		68		68

				78		78		78

				88		88		88



Local position [µm]

Right charge/Total charge

Scan across strips #760-761

0

0.1305483029

0.0812064965

0.0638722555

1

0.1467391304

0.0782608696

0.0601202405

0.2492753623

0.1494505495

0.1135135135

0.3970588235

0.41

0.368852459

0.66

0.7510548523

0.789017341

0.7542857143

0.9100719424

0.9100719424

0.8444444444

0.9125799574

0.9323308271



Various final Pic.

		30		30		0

		40		40		110

		50		50

		60		60

		70		70

		80		80



200 Volts

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #650-651

0.1784037559

0.0521172638

0

0.2587064677

0.1034482759

1

0.3577586207

0.2196531792

0.6280991736

0.7375328084

0.7114914425

0.8717948718

0.7915742794

0.9111470113



Final pic. eta

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D24		D25		Pulse 24		Pulse 25		Pulse sum		h		ideal				400 V		Local coord.		D24		D25		Pulse 24		Pulse 25		Pulse sum		h

				24		22.2		120				24.5		23		97		589		98		687		0.1426491994		0		0				24.5		23		97		841		0		841		0

				25		34.2						25.5		33		87		663		135		798		0.1691729323		120		1				25.5		33		87		892		0		892		0

												26.5		43		77		565		140		705		0.1985815603								26.5		43		77		841		61		902		0.0676274945

												27.5		53		67		425		233		658		0.3541033435								27.5		53		67		715		332		1047		0.3170964661

		#24		Amplitude		#25		Amplitude				28		58		62		388		318		706		0.4504249292								28		58		62		607		514		1121		0.4585191793

		20.5		715		32		738				28.5		63		57		322		388		710		0.5464788732								28.5		63		57		402		691		1093		0.6322049405

		21		579		32.5		663				29.5		73		47		196		520		716		0.7262569832								29.5		73		47		135		888		1023		0.8680351906

		21.5		462		33		486				30.5		83		37		201		645		846		0.7624113475								30.5		83		37		140		906		1046		0.8661567878

		22		374		33.5		402				31.5		93		27		140		551		691		0.7973950796								31.5		93		27		112		850		962		0.8835758836

		22.5		340		34		336				32		98		22		112		490		602		0.8139534884								32		98		22		98		771		869		0.8872266974

		23		416		34.5		327

		23.5		551		35		378

		24		631		35.5		462

		24.5		757		36		603

						36.5		705

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D39		D40		Pulse 39		Pulse 40		Pulse sum		h		ideal				400 V		Local coord.		D39		D40		Pulse 39		Pulse 40		Pulse sum		h

				39		38.5		120				41		25		95		537		98		635		0.1543307087		0		0				41		25		95		818		0		818		0

				40		50.5						42		35		85		598		159		757		0.2100396301		120		1				42		35		85		850		0		850		0

												43		45		75		495		159		654		0.2431192661								43		45		75		780		60		840		0.0714285714

												44		55		65		378		290		668		0.4341317365								44		55		65		663		397		1060		0.3745283019

		#39		Amplitude		#40		Amplitude				45		65		55		252		411		663		0.6199095023								45		65		55		360		673		1033		0.651500484

		37.5		446		49.5		474				46		75		45		168		547		715		0.765034965								46		75		45		126		892		1018		0.8762278978

		38.5		265		50.5		339				47		85		35		173		659		832		0.7920673077								47		85		35		103		897		1000		0.897

		39		274		51		367				48		95		25		135		603		738		0.8170731707								48		95		25		89		836		925		0.9037837838

		39.5		395		51.5		442				49		105		15		84		406		490		0.8285714286								49		105		15		84		682		766		0.8903394256

		40.5		553		52.5		679				50		115		5		70		276		346		0.7976878613								50		115		5		65		462		527		0.8766603416

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D64		D65		Pulse 64		Pulse 65		Pulse sum		h		ideal				400 V		Local coord.		D64		D65		Pulse 64		Pulse 65		Pulse sum		h

				64		38		118				39.5		15		103		509		84		593		0.1416526138		0		0				39.5		15		103		761		0		761		0

				65		49.8						40.5		25		93		738		135		873		0.1546391753		120		1				40.5		25		93		836		0		836		0

												41.5		35		83		715		135		850		0.1588235294								41.5		35		83		888		0		888		0

												42.5		45		73		593		206		799		0.2578222778								42.5		45		73		803		177		980		0.5581632653

		#64		Amplitude		#65		Amplitude				43.5		55		63		472		383		855		0.4479532164								43.5		55		63		654		547		1201		0.6378018318

		37		458		48.5		537				44.5		65		53		313		530		843		0.6287069988								44.5		65		53		318		766		1084		0.7066420664

		38		322		49.5		322				45.5		75		43		219		696		915		0.7606557377								45.5		75		43		126		902		1028		0.8774319066

		38.5		472		50		332				46.5		85		33		224		748		972		0.7695473251								46.5		85		33		131		916		1047		0.8748806113

		39		579		50.5		411				47.5		95		23		135		589		724		0.8135359116								47.5		95		23		98		813		911		0.8924259056

		40		813		51.5		705				48		100		18		121		514		635		0.8094488189								48		100		18		107		733		840		0.8726190476

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D85		D86		Pulse 85		Pulse 86		Pulse sum		h		ideal				400 V		Local coord.		D85		D86		Pulse 85		Pulse 86		Pulse sum		h		h-1

				85		46.5		120				47		5		115		472		89		561		0.8413547237		0		0				47		5		115		551		65		616		0.1055194805		0.8944805195

				86		58.5						48		15		105		705		89		794		0.8879093199		120		1				48		15		105		813		51		864		0.0590277778		0.9409722222

												49		25		95		864		117		981		0.880733945								49		25		95		920		0		920		0		1

												50		35		85		874		187		1061		0.8237511781								50		35		85		911		70		981		0.0713557594		0.9286442406

		#85		Amplitude		#86		Amplitude				51		45		75		799		201		1000		0.799								51		45		75		897		107		1004		0.1065737052		0.8934262948

		45		654		57		663				52		55		65		645		486		1131		0.5702917772								52		55		65		780		589		1369		0.4302410519		0.5697589481

		46		462		58		504				53		65		55		430		705		1135		0.3788546256								53		65		55		453		794		1247		0.6367281476		0.3632718524

		46.5		486		58.5		477				54		75		45		248		813		1061		0.2337417531								54		75		45		126		874		1000		0.874		0.126

		47		598		59		598				55		85		35		266		860		1126		0.2362344583								55		85		35		131		883		1014		0.8708086785		0.1291913215

		48		775		60		813				56		95		25		149		771		920		0.1619565217								56		95		25		107		845		952		0.887605042		0.112394958

												57		105		15		112		654		766		0.1462140992								57		105		15		93		705		798		0.8834586466		0.1165413534

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D85		D86		Pulse 85		Pulse 86		Pulse sum		h		ideal				Local coord.		D85		D86		Pulse 85		Pulse 86		Pulse sum		h

				120		25.5		120				27.5		20		100		472		89		561		0.1586452763		0		0		27.5		20		100		845		210		1055		0.1990521327

				121		37.5						28.5		30		90		705		89		794		0.1120906801		120		1		28.5		30		90		892		173		1065		0.1624413146

												29.5		40		80		864		117		981		0.119266055						29.5		40		80		916		177		1093		0.1619396157

												30.5		50		70		874		187		1061		0.1762488219						30.5		50		70		850		570		1420		0.4014084507

		#120		Amplitude		#121		Amplitude				31.5		60		60		799		201		1000		0.201						31.5		60		60		640		827		1467		0.5637355147

		24.5		719		36		794				32.5		70		50		645		486		1131		0.4297082228						32.5		70		50		187		900		1087		0.8279668813

		25.5		369		37		519				33.5		80		40		430		705		1135		0.6211453744						33.5		80		40		112		920		1032		0.8914728682

		26		561		37.5		481				34.5		90		30		248		813		1061		0.7662582469						34.5		90		30		177		911		1088		0.8373161765

		26.5		794		38		757				35.5		100		20		266		860		1126		0.7637655417						35.5		100		20		154		855		1009		0.8473736373

		27.5		902		39		888				36.5		110		10		635		771		1406		0.5483641536						36.5		110		10		168		673		841		0.8002378121

				Strip numbers																																																														Normalised

		Bias		24		25		total		39		40		total		64		65		total		84		85		86		87		total		total		64		65		total		99		100		total		73		74		total		120		121		total										1		2		3		4		5		6		7

		50		173		56		229		32		140		172		79		187		266		51		191		149		42		433		340		139		354		493		163		189		352		200		88		288		453		173		626										0.257751938		0.2470978441		0.2458423717		0.3912698413		0.2693190513		0.24		0.5424610052

		100		257		61		318		70		257		327		159		378		537		70		330		257		56		713		587		232		604		836		316		373		689		421		201		622		719		383		1102										0.5203488372		0.4262023217		0.424439624		0.6634920635		0.5271614384		0.5183333333		0.9549393414

		150		402		93		495		117		411		528		210		532		742		100		514		402		75		1091		916		378		796		1174		426		516		942		593		294		887		934		229		1163										0.7189922481		0.6666666667		0.6623282719		0.9317460317		0.7207345065		0.7391666667		1.0077989601

		200		589		98		687		131		589		720		219		719		938		75		659		467		47		1248		1126		378		889		1267		479		612		1091		779		255		1034		953		223		1176										0.9089147287		0.7744610282		0.8141720897		1.0055555556		0.8347360367		0.8616666667		1.0190641248

		250		748		0		748		112		743		855		191		818		1009		60		743		519		32		1354		1262		308		941		1249		506		699		1205		950		245		1195		948		238		1186										0.9777131783		0.8606965174		0.9125090383		0.9912698413		0.921958684		0.9958333333		1.027729636

		300		775		0		775		98		813		911		159		892		1051		51		771		551				1373		1322		250		994		1244		516		742		1258		1000		167		1167		948		215		1163										1.0184108527		0.9137645108		0.9558929863		0.9873015873		0.9625095639		0.9725		1.0077989601

		350		803		0		803		89		841		930		145		888		1033		37		743		547				1327		1290		221		1017		1238		512		742		1254		1053		167		1220		939		206		1145										1.0009689922		0.9071310116		0.9327548807		0.9825396825		0.9594491201		1.0166666667		0.9922010399

		400		841		0		841		89		892		981		140		888		1028		32		743		542				1317		1285		221		1029		1250		516		745		1261		1063		176		1239		950		238		1188										0.996124031		0.8988391376		0.9291395517		0.9920634921		0.9648048967		1.0325		1.0294627383

		500		860		0		860		84		850		934		154		878		1032		47		780		603				1430		1383		220		1040		1260		522		785		1307		1063		137		1200		944		210		1154										1		1		1		1		1		1		1

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D64		D65		Pulse 64		Pulse 65		Pulse sum		h		ideal				Local coord.		D64		D65		Pulse 64		Pulse 65		Pulse sum		h

				64		41		120				43		20		100		901		198		1099		0.1801637853		0		0		43		20		100		994		157		1151		0.1364031277

				65		53						44		30		90		930		343		1273		0.2694422624		120		1		44		30		90		1000		190		1190		0.1596638655

												45		40		80		901		337		1238		0.2722132472						45		40		80		970		180		1150		0.1565217391

												46		50		70		773		529		1302		0.4062980031						46		50		70		901		575		1476		0.3895663957

		#64		Amplitude		#65		Amplitude				47		60		60		616		755		1371		0.5506929249						47		60		60		762		883		1645		0.5367781155

		39		889		51		906				48		70		50		424		860		1284		0.6697819315						48		70		50		256		947		1203		0.78719867

		40		703		52		726				49		80		40		420		959		1379		0.6954314721						49		80		40		186		988		1174		0.8415672913

		40.5		453		52.5		465				50		90		30		325		912		1237		0.7372675829						50		90		30		192		994		1186		0.8381112985

		41		395		53		424				51		100		20		227		831		1058		0.7854442344						51		100		20		180		924		1104		0.8369565217

		42		837		54		813

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D99		D100		Pulse 99		Pulse 100		Pulse sum		h		ideal				Local coord.		D99		D100		Pulse 99		Pulse 100		Pulse sum		h

				99		4		120				6		20		100		872		86		958		0.0897703549		0		0		6		20		100		908		0		908		0

				100		16						7		30		90		902		140		1042		0.1343570058		120		1		7		30		90		942		23		965		0.0238341969

												8		40		80		855		133		988		0.1346153846						8		40		80		918		43		961		0.0447450572

												9		50		70		722		100		822		0.1216545012						9		50		70		815		403		1218		0.3308702791

		#99		Amplitude		#100		Amplitude				10		60		60		532		652		1184		0.5506756757						10		60		60		549		745		1294		0.5757341577

		2		832		14		772				11		70		50		270		785		1055		0.7440758294						11		70		50		130		892		1022		0.8727984344

		3		691		15		562				12		80		40		226		888		1114		0.7971274686						12		80		40		86		945		1031		0.916585839

		3.5		452		15.5		393				13		90		30		206		878		1084		0.8099630996						13		90		30		93		905		998		0.9068136273

		4		393		16		432				14		100		20		180		749		929		0.8062432723						14		100		20		165		815		980		0.8316326531

		5		729		17		749

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D73		D74		Pulse 73		Pulse 74		Pulse sum		h		ideal				Local coord.		D73		D74		Pulse 73		Pulse 74		Pulse sum		h

				73		5.5		120				6		5		115		384		384		768		0.5		0		0		6		5		115		503		503		1006		0.5

				74		17.5						7		15		105		648		113		761		0.1484888305		120		1		7		15		105		761		25		786		0.0318066158

												8		25		95		799		138		937		0.1472785486						8		25		95		899		22		921		0.0238870793

												9		35		85		818		157		975		0.161025641						9		35		85		950		16		966		0.016563147

		#73		Amplitude		#74		Amplitude				10		45		75		657		223		880		0.2534090909						10		45		75		872		111		983		0.1129196338

		3.5		767		15.5		755				11		55		65		555		456		1011		0.4510385757						11		55		65		761		531		1292		0.4109907121

		4.5		569		16.5		549				12		65		55		353		603		956		0.6307531381						12		65		55		317		797		1114		0.7154398564

		5		368		17		362				13		75		45		270		837		1107		0.756097561						13		75		45		108		1093		1201		0.9100749376

		5.5		299		17.5		396				14		85		35		309		936		1245		0.7518072289						14		85		35		108		1112		1220		0.9114754098

		6.5		613		18		679				15		95		25		230		916		1146		0.7993019197						15		95		25		83		1044		1127		0.92635315

		Strip #		10		11		Total		30		31		Total		50		51		Total		70		71		Total		90		91		Total		110		111		Total		Normalised		10		30		50		70		90		110

		50		67		15		82		38		8		46		36		15		51		50		10		60		74		18		92		616		180		796		50		0.1876430206		0.1916666667		0.2015810277		0.1754385965		0.2105263158		0.6683459278

		100		119		37		156		66		11		77		60		27		87		79		26		105		126		33		159		831		331		1162		100		0.356979405		0.3208333333		0.3438735178		0.3070175439		0.3638443936		0.9756507137

		150		158		43		201		86		23		109		85		27		112		116		34		150		208		54		262		906		285		1191		150		0.4599542334		0.4541666667		0.442687747		0.4385964912		0.5995423341		1

		200		262		34		296		138		18		156		136		27		163		186		30		216		324		0		324		936		198		1134		200		0.6773455378		0.65		0.6442687747		0.6315789474		0.7414187643		0.9521410579

		250		353		0		353		186		0		186		186		0		186		255		0		255		371		0		371		941		157		1098		250		0.8077803204		0.775		0.7351778656		0.7456140351		0.8489702517		0.9219143577

		300		398		0		398		213		0		213		215		0		215		282		0		282		391		0		391		941		168		1109		300		0.9107551487		0.8875		0.8498023715		0.8245614035		0.8947368421		0.9311502939

		350		429		0		429		231		0		231		225		0		225		295		0		295		417		0		417		953		128		1081		350		0.9816933638		0.9625		0.8893280632		0.8625730994		0.9542334096		0.9076406381

		400		429		0		429		234		0		234		245		0		245		312		0		312		429		0		429		970		163		1133		400		0.9816933638		0.975		0.9683794466		0.9122807018		0.9816933638		0.9513014274

		500		437		0		437		240		0		240		253		0		253		342		0		342		437		0		437		965		157		1122		500		1		1		1		1		1		0.9420654912

		Norm. factor						409.2						220.8						224.8						297.2						409						1108.6

																																																																																																		Routing/Total

																																																																														Strip 120-121				Pos. 39						Strip 120-121				Pos. 41.5

		Strip #		10		11		Total		30		31		Total		50		51		Total		70		71		Total		90		91		Total		110		111		Total		120		int 1		121		int 2		Total						Normalised		10		30		50		70		90		110		120										120		int 1		121		int 2				120		int 1		121		int 2				Rout. 1		Tot.1		Rou. 2		Tot. 2		Rout. 3		Tot. 3		Ratio 1		Ratio 2		Ratio 3

		50		41		85		126		24		58		82		0		80		80		15		76		91														38		21		104		-10		142						50		0.2016		0.2		0.1500938086		0.1529411765		0		0		0.2610294118								50		52		10		24		-10				28		20		70		-10				21		142		10		86		20		118		0.1478873239		0.1162790698		0.1694915254

		100		63		140		203		22		84		106		31		135		166		38		142		180														62		34		177		-21		239						100		0.3248		0.2585365854		0.3114446529		0.3025210084		0		0		0.4393382353								100		97		24		48		-17				66		38		135		-10				34		239		24		169		38		239		0.1422594142		0.1420118343		0.1589958159

		150		92		210		302		38		133		171		52		197		249		48		211		259														55		24		385		-31		440						150		0.4832		0.4170731707		0.4671669794		0.4352941176		0		0		0.8088235294								150		222		17		52		-17				66		38		284		-20				24		440		17		291		38		388		0.0545454545		0.058419244		0.0979381443

		200		81		329		410		39		207		246		45		291		336		48		325		373														48		15		454		-24		502						200		0.656		0.6		0.6303939962		0.6268907563		0		0		0.9227941176								200		287		0		55		0				55		21		395		-30				15		502		0		342		21		471		0.0298804781		0		0.0445859873

		250		59		443		502		32		300		332		34		398		432		24		429		453														45		0		468		-34		513						250		0.8032		0.8097560976		0.8105065666		0.7613445378		0		0		0.9430147059								250		308		-24		55		0				42		0		436		-45				0		513		-24		339		0		478		0		-0.0707964602		0

		300		59		510		569		30		321		351		35		433		468		28		495		523														34		-10		478		-34		512						300		0.9104		0.856097561		0.8780487805		0.8789915966		0		0		0.9411764706								300		308		-17		62		0				55		0		454		-42				-10		512		-17		353		0		509		-0.01953125		-0.0481586402		0

		350		50		530		580		23		342		365		31		454		485		30		516		546														34		-17		495		-34		529						350		0.928		0.8902439024		0.9099437148		0.9176470588		0		0		0.9724264706								350		315		-25		62		0				48		0		478		-45				-17		529		-25		352		0		526		-0.0321361059		-0.0710227273		0

		400		45		561		606		10		370		380		24		468		492		34		513		547														34		-17		502		-34		536						400		0.9696		0.9268292683		0.9230769231		0.9193277311		0		0		0.9852941176								400		315		-28		55		0				42		0		485		-38				-17		536		-28		342		0		527		-0.0317164179		-0.081871345		0

		500		45		580		625		10		400		410		10		523		533		34		561		595						1						1		34		-17		510		-34		544						500		1		1		1		1		1		1		1								500		340		-31		55		0				52		0		520		-38				-17		544		-31		364		0		572		-0.03125		-0.0851648352		0

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal

				10		24		110				26		20		90		239		62		301		0.2059800664		0		0				26		20		90		409		59		468		0.1260683761		0		0

				11		35						27		30		80		350		76		426		0.1784037559		110		1				27		30		80		582		0		582		0		110		1

												28		40		70		298		104		402		0.2587064677								28		40		70		520		52		572		0.0909090909

												29		50		60		149		83		232		0.3577586207								29		50		60		270		76		346		0.2196531792

		#10		Amplitude		#11		Amplitude				30		60		50		90		152		242		0.6280991736								30		60		50		100		281		381		0.7375328084

		25.5		491		37		343				31		70		40		118		291		409		0.7114914425								31		70		40		80		544		624		0.8717948718

		26		376		38		0				32		80		30		94		357		451		0.7915742794								32		80		30		55		564		619		0.9111470113

		26.5		173		39		0				33		90		20		80		277		357		0.7759103641								33		90		20		76		447		523		0.8546845124

		27.5		0		40		0

		28		0		41		406						25		0.1354679803																						25		0

		28.5		0										35		0.2190721649																						35		0

		29.5		108.6										45		0.3144329897																						45		0

		30		310										48		0.3333333333																						48		0.1697247706

		30.5		472										65		0.6071428571																						65		0.7439759036

														75		0.7055702918																						75		0.8892794376

														85		0.7814726841																						85		1

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h

				30		22		110				24		20		90		114		61		175		0.3485714286		0		0				24		20		90		195		58		253		0.2292490119

				31		33						25		30		80		168		47		215		0.2186046512		110		1				25		30		80		309		0		309		0

												26		40		70		160		75		235		0.3191489362								26		40		70		328		0		328		0

												27		50		60		95		73		168		0.4345238095								27		50		60		161		58		219		0.2648401826

		#30		Amplitude		#31		Amplitude				28		60		50		39		65		104		0.625								28		60		50		56		91		147		0.619047619

		18.5		210		31		280				29		70		40		58		147		205		0.7170731707								29		70		40		51		303		354		0.8559322034

		19.5		163		32		67				30		80		30		52		203		255		0.7960784314								30		80		30		5		372		377		0.9867374005

		20.5		91		33		47				31		90		20		42		198		240		0.825								31		90		20		10		367		377		0.9734748011

		21.5		37		34		49

		22.5		39		35		212

		23.5		137

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h

				50		49		110				51		20		90		253		45		298		0.1510067114		0		0				51		20		90		429		0		429		0

				51		60						52		30		80		225		55		280		0.1964285714		110		1				52		30		80		423		0		423		0

												53		40		70		177		86		263		0.3269961977								53		40		70		385		52		437		0.118993135

												54		50		60		0		0		0		0								54		50		60		0		0		0		0

		#50		Amplitude		#51		Amplitude				55		60		50		62		128		190		0.6736842105								55		60		50		69		267		336		0.7946428571

		46.5		320		57.5		385				56		70		40		83		232		315		0.7365079365								56		70		40		42		461		503		0.916500994

		47.5		42		58.5		50				57		80		30		52		277		329		0.8419452888								57		80		30		28		461		489		0.9427402863

		48.5		0		59.5		0				58		90		20		55		270		325		0.8307692308								58		90		20		24		468		492		0.9512195122

		49.5		0		60.5		30

		50.5		229		61.5		104						20										0.1510067114										20										0

						62.5		385						30										0.1964285714										30										0

														40										0.3269961977										40										0.118993135

														60										0.6736842105										60										0.7946428571

														70										0.7365079365										70										0.916500994

														80										0.8419452888										80										0.9427402863

														90										0.8307692308										90										0.9512195122

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h

				70		38		115				40		20		95		263		55		318		0.1729559748		0		0				40		20		95		395		59		454		0.1299559471

				71		49.5						41		30		85		374		42		416		0.1009615385		110		1				41		30		85		547		0		547		0

												42		40		75		315		76		391		0.1943734015								42		40		75		550		0		550		0

												43		50		65		121		55		176		0.3125								43		50		65		204		42		246		0.1707317073

		#70		Amplitude		#71		Amplitude				44		60		55		48		50		98		0.5102040816								44		60		55		59		83		142		0.5845070423

		36		429		47.5		190				45		70		45		114		253		367		0.689373297								45		70		45		66		499		565		0.8831858407

		37		52		48.5		31				46		80		35		76		333		409		0.8141809291								46		80		35		38		561		599		0.9365609349

		38		0		49.5		0				47		90		25		66		381		447		0.8523489933								47		90		25		34		513		547		0.9378427788

		39		38		50.5		76

		40		412		51.5		423

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h

				120		34		120				36		20		100		346		121		467		0.2591006424		0		0				36		20		100		377		135		512		0.263671875

				121		46						37		30		90		616		59		675		0.0874074074		110		1				37		30		90		682		48		730		0.0657534247

												38		40		80		616		62		678		0.0914454277								38		40		80		665		52		717		0.0725244073

												39		50		70		308		55		363		0.1515151515								39		50		70		385		66		451		0.1463414634

		#120		Amplitude		#121		Amplitude				40		60		60		59		59		118		0.5								40		60		60		66		66		132		0.5

		32.5		391		44		513				41		70		50		90		360		450		0.8								41		70		50		86		450		536		0.8395522388

		33.5		76		45		86				42		80		40		59		450		509		0.884086444								42		80		40		42		520		562		0.9252669039

		34.5		59		46		69				43		90		30		38		468		506		0.9249011858								43		90		30		28		523		551		0.9491833031

		35.5		142		47		104

		36.5		606		48		475

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h

				90		35		117.5				38		158		-38		329		38		367		0.1035422343		0		0				38		158		-38		436		0		436		0

				91		46.75						39		168		-48		281		69		350		0.1971428571		117.5		1				39		168		-48		433		0		433		0

												40		178		-58		142		83		225		0.3688888889								40		178		-58		235		76		311		0.2443729904

												41		188		-68		52		86		138		0.6231884058								41		188		-68		38		136		174		0.7816091954

		#70		Ampitude		#71		Amplitude				42		198		-78		94		274		368		0.7445652174								42		198		-78		48		485		533		0.9099437148

												43		208		-88		48		385		433		0.8891454965								43		208		-88		0		526		526		1

												44		218		-98		38		402		440		0.9136363636								44		218		-98		0		523		523		1

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h

				90		35		117.5				38		30		87.5		329		38		367		0.1035422343		0		0				38		30		87.5		436		0		436		0

				91		46.75						39		40		77.5		281		69		350		0.1971428571		117.5		1				39		40		77.5		433		0		433		0

												40		50		67.5		142		83		225		0.3688888889								40		50		67.5		235		76		311		0.2443729904

												41		60		57.5		52		86		138		0.6231884058								41		60		57.5		38		136		174		0.7816091954

		#90		Ampitude		#91		Amplitude				42		70		47.5		94		274		368		0.7445652174								42		70		47.5		48		485		533		0.9099437148

		33		346		45		263				43		80		37.5		48		385		433		0.8891454965								43		80		37.5		0		526		526		1

		33.5		160		45.5		94				44		90		27.5		38		402		440		0.9136363636								44		90		27.5		0		523		523		1

		34		55		46		42

		34.5		10		46.5		28

		35		10		47		24

		35.5		15		47.5		59

		36		59		48		138

		36.5		184		49		523

		37		364

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				200 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		400 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h

				100		21		115				24		30		85		276		71		347		0.204610951		0		0				24		30		85		405		0		405		0				24		30		85		509		0		509		0

				101		32.5						25		40		75		233		104		337		0.3086053412		115		1				25		40		75		388		74		462		0.1601731602				25		40		75		516		0		516		0

												26		50		65		91		57		148		0.3851351351								26		50		65		142		54		196		0.2755102041				26		50		65		219		54		273		0.1978021978

												27		60		55		51		67		118		0.5677966102								27		60		55		64		101		165		0.6121212121				27		60		55		67		148		215		0.688372093

		#100		Ampitude		#101		Amplitude				28		70		45		121		202		323		0.6253869969								28		70		45		111		317		428		0.7406542056				28		70		45		61		476		537		0.886405959

		18.5		408		31		196				29		80		35		91		250		341		0.7331378299								29		80		35		71		385		456		0.8442982456				29		80		35		37		496		533		0.9305816135

		19.5		108		32		50				30		90		25		74		290		364		0.7967032967								30		90		25		57		425		482		0.8817427386				30		90		25		34		519		553		0.938517179

		20.5		40		32.5		30

		21.5		35		33		37

		22.5		105		33.5		50

		23.5		445		34		101

						35		452

																																				New												Other position

		Strip #		70		71		Total		90		91		Total		99		100		101		102		Total		Total		Normalised		70		90		100		120		Int 2		121		Int 3		122		Total		119		120		Int 2		121		Total

		50		31		78		109		31		83		114		13		30		101		12		156		131				0.2060491493		0.2054054054		0.2364620939		45		27		100		25		32		145		27		91		18		41		132

		100		53		125		178		45		142		187		20		67		182		23		292		249				0.3364839319		0.3369369369		0.4494584838		68		41		178		10		30		246		30		168		35		68		236

		150		58		180		238		66		232		298		23		74		290		34		421		364				0.449905482		0.5369369369		0.6570397112		63		50		342		0		30		405		35		314		35		54		368

		200		73		290		363		48		374		422		17		57		425		-10		489		482				0.6862003781		0.7603603604		0.8700361011		50		27		446		-10		30		496		27		405		0		41		446

		250		51		388		439		31		478		509		0		51		472		-18		505		523				0.8298676749		0.9171171171		0.9440433213		41		15		490		-18		23		531		15		433		-18		32		465

		300		38		462		500		17		501		518		0		40		500		-23		517		540				0.9451795841		0.9333333333		0.9747292419		36		0		501		-27		18		537		10		446		-20		41		487

		350		33		485		518		20		535		555		0		34		513		-27		520		547				0.9792060491		1		0.9873646209		32		0		510		-23		18		542		10		460		-20		36		496

		400		31		498		529		20		535		555		0		34		520		-27		527		554				1		1		1		36		0		519		-23		18		555		10		474		-23		36		510

		500		30		540		570		0		578		578		0		34		560		-27		567		594				1.0775047259		1.0414414414		1.0722021661		32		0		533		-23		18		565		10		483		-23		36		519

		Futher Measurements as a function of the r-position

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		Ideal				200 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		400 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h

				120		19.8		61				21		12		49		47.12		28.88		171.76		28.88		80.56		28.88		41.8		252.32		0.3192771084		0		0				21		12		49		57		36.48		262.2		47.12		117.04		31.16		44.08		379.24		0.3086172345				21		12		49		28.88		0		428.64		-31.16		119.32		0		31.16		547.96		0.2177531207

				121		25.9						22		22		39		44		27		140		27		68		10		31		208		0.3269230769		61		1				22		22		39		62		38		215		51		106		27		31		321		0.3302180685				22		22		39		48		0		431		-17		126		0		10		557		0.2262118492

												23		32		29		0		0		24		0		24		0		0		48		0.5								23		32		29		0		0		34		0		34		0		0		68		0.5				23		32		29		0		0		58		0		65		0		0		123		0.5284552846

												24		42		19		34		15		105		41		212		24		48		317		0.6687697161								24		42		19		51		27		157		85		335		34		62		492		0.6808943089				24		42		19		31		0		130		21		619		-24		34		749		0.826435247

		#121		Ampitude		#121		Amplitude				25		52		9		38		17		89		31		205		12		41		294		0.6972789116								25		52		9		51		23		128		57		341		15		44		469		0.7270788913				25		52		9		51		0		131		10		560		-30		27		691		0.8104196816

		19		398		25		351

		19.5		58		25.5		104				Estimated strip width:								Routing line		#120		#121

		20		72		26		47				16 µm								25.6		447		85		0.9933333333		0.1888888889		532		0.7093333333

		20.5		212		26.5		81												26		242		68		0.5377777778		0.1511111111		310		0.4133333333

		21		489		27		368												26.2		103		31		0.2288888889		0.0688888889		134		0.1786666667

																				26.4		65		31		0.1444444444		0.0688888889		96		0.128

																				26.6		58		31		0.1288888889		0.0688888889		89		0.1186666667

																				26.8		42		40		0.0933333333		0.0888888889		82		0.1093333333

																				27		42		55		0.0933333333		0.1222222222		97		0.1293333333

																				27.2		54		154		0.12		0.3422222222		208		0.2773333333

																				27.4		71		248		0.1577777778		0.5511111111		319		0.4253333333

																				27.6		81		310		0.18		0.6888888889		391		0.5213333333

																				28		92		448		0.2044444444		0.9955555556		540		0.72

		Futher Measurements as a function of the r-position								Far end

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		Ideal				200 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		400 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h

				120		23		78				25		20		58		40		0		184		23		61		0		15		245		0.2489795918		0		0				25		20		58		33		0		255		38		76		0		18		331		0.2296072508				25		20		58		54		0		523		-10		54		0		0		577		0.0935875217

				121		30.8						26		30		48		31		0		89		24		51		0		24		140		0.3642857143		78		1				26		30		48		31		0		116		31		65		0		24		181		0.3591160221				26		30		48		31		0		263		0		78		0		0		341		0.2287390029

												27		40		38		0		0		0		0		0		0		0		0		0								27		40		38		0		0		0		0		0		0		0		0		0				27		40		38		0		0		0		0		0		0		0		0		0

												28		50		28		20		0		68		41		157		0		31		225		0.6977777778								28		50		28		0		0		99		61		222		0		34		321		0.691588785				28		50		28		0		0		78		15		492		-31		24		570		0.8631578947

		#121		Ampitude		#121		Amplitude				29		60		18		0		0		61		27		184		0		31		245		0.7510204082								29		60		18		0		0		78		48		276		0		37		354		0.7796610169				29		60		18		0		0		44		0		540		-31		13		584		0.9246575342

		21		728		29		755

		22		230		30		225				Estimated strip width:

		22.5		134		30.5		101				20 µm

		23		107		31		96

		23.5		150		31.5		161

		24		557		32		551

		25		760

										1 cm plus

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		Ideal				200 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		400 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h

				120		22.7		95				25		23		72		44		0		222		34		68		0		17		290		0.2344827586		0		0				25		23		72		41		0		366		31		68		0		24		434		0.1566820276				25		23		72		27		0		557		-24		48		0		0		605		0.079338843

				121		32.2						26		33		62		41		0		208		51		103		0		24		311		0.3311897106		95		1				26		33		62		31		0		311		68		112		0		34		423		0.2647754137				26		33		62		17		0		543		-20		78		0		0		621		0.1256038647

												27		43		52		0		0		0		0		0		0		0		0		0								27		43		52		0		0		58		0		27		0		0		85		0.3176470588				27		43		52		0		0		103		0		44		0		0		147		0.2993197279

												28		53		42		0		0		44		31		78		0		0		122		0.6393442623								28		53		42		0		0		58		24		120		0		0		178		0.6741573034				28		53		42		0		0		61		0		236		0		0		297		0.7946127946

		#121		Ampitude		#121		Amplitude				29		63		32		24		0		82		51		195		0		17		277		0.7039711191								29		63		32		27		0		112		85		328		0		34		440		0.7454545455				29		63		32		0		0		65		0		574		-37		15		639		0.8982785603

		21		464		30		523				30		73		22		0		0		71		44		242		0		31		313		0.7731629393								30		73		22		0		0		78		58		383		0		37		461		0.830802603				30		73		22		0		0		34		0		588		-40		13		622		0.9453376206

		22		58		31		171				Estimated strip width:

		22.5		37		32		41				25 µm

		23		51		32.5		51

		23.5		58		33		65

		24		178		34		499

		25		496

										1 cm plus

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		Ideal				200 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		400 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h

				120		22.7		108				25		23		85		34		0		254		29		45		0		0		299		0.1505016722		0		0				25		23		85		22		0		388		0		34		0		0		422		0.0805687204				25		23		85		11		0		474		-29		26		0		0		500		0.052

				121		33.5						26		33		75		26		0		228		41		63		0		10		291		0.2164948454		108		1				26		33		75		22		0		374		0		40		0		0		414		0.0966183575				26		33		75		0		0		474		-25		30		0		0		504		0.0595238095

												27		43		65		34		0		190		78		101		0		26		291		0.3470790378								27		43		65		26		0		317		37		82		0		12		399		0.2055137845				27		43		65		0		0		456		-22		71		0		0		527		0.1347248577

												29		63		45		12		0		85		60		157		0		29		242		0.6487603306								29		63		45		0		0		93		67		269		0		34		362		0.7430939227				29		63		45		0		0		71		18		422		-22		18		493		0.8559837728

		#121		Ampitude		#121		Amplitude				30		73		35		0		0		63		56		209		0		0		272		0.7683823529								30		73		35		0		0		48		34		366		-18		18		414		0.884057971				30		73		35		0		0		26		0		508		-26		0		534		0.9513108614

		20		470		31		508				31		83		25		0		0		50		37		247		0		26		297		0.8316498316								31		83		25		0		0		34		34		490		-30		0		524		0.9351145038				31		83		25		0		0		10		0		490		-30		0		500		0.98

		21		300		32		247

		22		40		33		41

		23		0		33.5		29				Estimated strip width:

		23.5		0		34		41				30 µm

		24		85		35		134

		25		430		36		500

		New 0 position

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		Ideal				200 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		400 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h

				120		22.2		118				25		28		90		32		0		333		23		50		0		0		383		0.1305483029		0		0				25		28		90		13		0		396		-13		35		0		0		431		0.0812064965				25		28		90		10		0		469		-23		32		0		0		501		0.0638722555

				121		34						26		38		80		32		0		314		30		54		0		0		368		0.1467391304		118		1				26		38		80		23		0		424		-13		36		0		0		460		0.0782608696				26		38		80		0		0		469		-27		30		0		0		499		0.0601202405

												27		48		70		27		0		259		54		86		0		13		345		0.2492753623								27		48		70		0		0		387		23		68		0		0		455		0.1494505495				27		48		70		0		0		492		-23		63		0		0		555		0.1135135135

												28		58		60		0		0		41		0		27		0		0		68		0.3970588235								28		58		60		0		0		59		0		41		0		0		100		0.41				28		58		60		0		0		77		0		45		0		0		122		0.368852459

		#121		Ampitude		#121		Amplitude				29		68		50		18		0		68		41		132		0		32		200		0.66								29		68		50		0		0		59		32		178		0		0		237		0.7510548523				29		68		50		0		0		73		18		273		0		32		346		0.789017341

		20		483		32		451				30		78		40		18		0		86		68		264		0		27		350		0.7542857143								30		78		40		0		0		50		10		506		-18		0		556		0.9100719424				30		78		40		0		0		50		10		506		-18		0		556		0.9100719424

		21		86		33		54				31		88		30		0				63		50		342		0		32		405		0.8444444444								31		88		30		0		0		41		18		428		-23		18		469		0.9125799574				31		88		30		0		0		36		0		496		-23		18		532		0.9323308271

		22		45		34		32

		23		23		35		45				Estimated strip width:

		24		154		36		387				35 µm

		25		470



Irradiated section n. 6



Final pic. eta

		1		1		1		1



Left strip

Routing #1

Right strip

Routing #2

Bias [Volt]

Signal [mV]

CCE vs bias

1

1

1

1



Neff vs position

		1		1		1		1



Strip 120

Rout. #1

Strip 121

Rout. #2

Bias [Volt]

Signal [mV]

CCE vs bias

1

1

1

1



Eta comparison

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0



Strip 120

Rout. #1

Strip 121

Rout. #2

Bias [Volt]

Signal [mV]

CCE vs bias

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



Strip 120 

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0



Position 1

Position 2

Position 3

Bias [Volt]

Ratio

Routing line/total charge

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



Pulse shape

		0		0		0		0

		0		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0



0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0



0

0

0

0

0

0

0

0

0

0

0



		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0



0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		30		30		30

		115		40		40		40

				50		50		50

				60		60		60

				70		70		70

				80		80		80

				90		90		90



150 Volt

200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #740-741

0

0.204610951

0

0

1

0.3086053412

0.1601731602

0

0.3851351351

0.2755102041

0.1978021978

0.5677966102

0.6121212121

0.688372093

0.6253869969

0.7406542056

0.886405959

0.7331378299

0.8442982456

0.9305816135

0.7967032967

0.8817427386

0.938517179



		Bias 250 V		Strip #		Centre		Distance		50 V		Local coord.		D24		D25		Pulse Left		Int		Pulse Right		Pulse sum		h		ideal				100 V		Pulse Left		Int		Pulse Right		Pulse sum		h		300 V		Pulse Left		Int		Pulse Right		Pulse sum		h				Volt scan		#6		Int.		#7		Total		Normalised				Volt scan		#59		#60		#61		Total		Normalised				Volt scan		#114		Int.		#115		Int.		#116		Total		Normalised

				6		37		115				40		30		85		104		18		40		144		0.2777777778		0		0				246				45		291		0.1546391753				333		-23		27		360		0.075				20		23		5		54		77		0.2086720867				20		32		141		54		227		0.576142132				10		63		4		159		23		32		222		0.5536159601

				7		48.5						41		40		75		86		32		54		140		0.3857142857		115		1				214		36		63		277		0.2274368231				323		-23		36		359		0.1002785515				40		32		18		100		132		0.3577235772				40		41		264		54		359		0.9111675127				20		80				246		23		36		326		0.812967581

												42		50		65		45		9		32		77		0.4155844156								128		36		63		191		0.3298429319				209		0		68		277		0.2454873646				50		36		23		123		159						50		36		287		50		373		0.9467005076				40		82				314		23		41		396		0.9875311721

												43.5		65		50		36		18		54		90		0.6								50		36		118		168		0.7023809524				63		13		246		309		0.7961165049				60		45		27		145		190		0.5149051491				60		36		298		40		374		0.9492385787				50		73				328		13		32		401		1

		#6		Amplitude		#7		Amplitude				44		70		45		45		27		77		122		0.631147541								50		36		195		245		0.7959183673				41		9		305		346		0.8815028902				80		59		41		205		264		0.7154471545				80		30		328		27		385		0.9771573604				60		68				333		13		32		401		1

		34.5		305		46.5		296				45		80		35		45		23		104		149		0.6979865772								45		41		241		286		0.8426573427				27		9		342		369		0.9268292683				100		45		36		259		304		0.8238482385				100		27		337		24		388		0.9847715736				80		59				342		9		32		401		1

		35.5		137		47.5		54				46		90		25		9		0		50		59		0.8474576271								45		36		255		300		0.85				27		4		337		364		0.9258241758				125		36		23		296		332		0.8997289973				150		24		355		21		400		1.0152284264				100		46				351				18		397		0.9900249377

		36.5		27		48.5		0																																																		150		32		18		323		355		0.9620596206				200		23		360		20		403		1.0228426396				125		45				355				27		400		0.9975062344

		37.5		0		49.5		36																																																		175		32		18		328		360		0.9756097561				300		20		374		0		394		1				150		45				355				27		400		0.9975062344

		38.5		100		50.5		232																																																		200		23		9		337		360		0.9756097561																		200		45				355				18		400		0.9975062344

		39.5		305		51.5		333																																																		300		23		9		346		369		1																		300		41				360				18		401		1

		40.5		319





		20		20		10

		40		40		20

		50		50		40

		60		60		50

		80		80		60

		100		100		80

		125		150		100

		150		200		125

		175		300		150

		200				200

		300				300



0.2086720867

0.576142132

0.5536159601

0.3577235772

0.9111675127

0.812967581

0.9467005076

0.9875311721

0.5149051491

0.9492385787

1

0.7154471545

0.9771573604

1

0.8238482385

0.9847715736

1

0.8997289973

1.0152284264

0.9900249377

0.9620596206

1.0228426396

0.9975062344

0.9756097561

1

0.9975062344

0.9756097561

0.9975062344

1

1



		30		30		30		0

		40		40		40		115

		50		50		50

		65		65		65

		70		70		70

		80		80		80

		90		90		90



50 Volt

100 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #774-775

0.2777777778

0.1546391753

0.075

0

0.3857142857

0.2274368231

0.1002785515

1

0.4155844156

0.3298429319

0.2454873646

0.6

0.7023809524

0.7961165049

0.631147541

0.7959183673

0.8815028902

0.6979865772

0.8426573427

0.9268292683

0.8474576271

0.85

0.9258241758



		Bias 250 V		Strip #		Centre		Distance		25 V		Local coord.		D24		D25		Pulse Left		Pulse Right		Pulse sum		h		ideal				50 V		Pulse Left		Pulse Right		Pulse sum		h		150 V		Pulse Left		Pulse Right		Pulse sum		h								Volt scan		#60		#61		Total		Normalised

				60		43.2		113				46		28		85		212		1		213		0.0046948357		0		0				311		1		312		0.0032051282				410		1		411		0.00243309						3.1622776602		10		95		0		95		0.2467532468

				61		54.5						47		38		75		143		20		163		0.1226993865		113		1				222		1		223		0.0044843049				294		1		295		0.0033898305						5		25		191		0		191		0.4961038961

												48		48		65		68		34		102		0.3333333333								123		58		181		0.320441989				171		68		239		0.2845188285						7.0710678119		50		283		0		283		0.7350649351

												49		58		55		37		109		146		0.7465753425								37		161		198		0.8131313131				37		212		249		0.8514056225						8.6602540378		75		321		0		321		0.8337662338

		#60		Amplitude		#61		Amplitude				50		68		45		31		174		205		0.8487804878								34		259		293		0.8839590444				50		334		384		0.8697916667						10		100		352		0		352		0.9142857143

		41		308		52		386				51		78		35		24		181		205		0.8829268293								24		263		287		0.9163763066				20		345		365		0.9452054795						12.2474487139		150		372		0		372		0.9662337662

		42		171		53		253																																														14.1421356237		200		372		0		372		0.9662337662

		43		20		54		116																																														17.3205080757		300		385		0		385		1

		44		49		55		24

		45		209		56		123

		46		345		57		280

						58		389

		Bias 250 V		Strip #		Centre		Distance		20 V		Local coord.		D24		D25		#115		Int 1		#116		Int 2		#117		Pulse sum		h		ideal				50 V		#115		Int 1		#116		Int 2		#117		Pulse sum		h		200 V		#115		Int 1		#116		Int 2		#117		Pulse sum		h				Volt scan		#115		#116		Int		#117		Total		Normalised

				115		21		114				24		30		84		198		-17		27						225		0.12		0		0				317		-17		31						348		0.0890804598				403		-30		24						427		0.056206089		3.1622776602		10				116						116		0.2829268293

				116		32.4						25		40		74		178		-13		27						205		0.1317073171		114		1				311		-20		41						352		0.1164772727				396		-27		27						423		0.0638297872		5		25		31		208		-5		20		228		0.556097561

												26		50		64		126		-13		37						163		0.226993865								242		-17		61						303		0.201320132				334		-24		68						402		0.1691542289		7.0710678119		50		31		308		-7		20		328		0.8

												28		70		44		34				137				17		171		0.8011695906								48				236				24		284		0.8309859155				54		-5		317		-13		24		371		0.8544474394		8.6602540378		75		24		345		-17		20		365		0.8902439024

		#115		Amplitude		#116		Amplitude				29		80		34		24				181				17		205		0.8829268293								31				311		-10		20		342		0.9093567251				27				400		-17		17		427		0.9367681499		10		100		27		366		-20		17		383		0.9341463415

		18		400		30		389				29.5		85		29		27				195						222		0.8783783784								34				314		-15		20		348		0.9022988506				24				389		-24		17		413		0.9418886199		11.1803398875		125		24		380		-17		13		393		0.9585365854

		19		270		31		89																																																												12.2474487139		150		24		385		-20		13		398		0.9707317073

		20		34		32		28																																																												14.1421356237		200		24		389		-20		13		402		0.9804878049

		21		30		33		30																																																												17.3205080757		300		24		393		-20		17		410		1

		22		38		34		126

		23		308		35		389

		24		400





		0		28		28		28

		113		38		38		38

				48		48		48

				58		58		58

				68		68		68

				78		78		78



25 Volt

50 Volt

150 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #188-189

0

0.0046948357

0.0032051282

0.00243309

1

0.1226993865

0.0044843049

0.0033898305

0.3333333333

0.320441989

0.2845188285

0.7465753425

0.8131313131

0.8514056225

0.8487804878

0.8839590444

0.8697916667

0.8829268293

0.9163763066

0.9452054795



		0		30		30		30

		114		40		40		40

				50		50		50

				70		70		70

				80		80		80

				85		85		85



20 Volt

50 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #244-245

0

0.12

0.0890804598

0.056206089

1

0.1317073171

0.1164772727

0.0638297872

0.226993865

0.201320132

0.1691542289

0.8011695906

0.8309859155

0.8544474394

0.8829268293

0.9093567251

0.9367681499

0.8783783784

0.9022988506

0.9418886199



		10		10

		25		25

		50		50

		75		75

		100		100

		125		150

		150		200

		200		300

		300



#115

#60

0.2829268293

0.2467532468

0.556097561

0.4961038961

0.8

0.7350649351

0.8902439024

0.8337662338

0.9341463415

0.9142857143

0.9585365854

0.9662337662

0.9707317073

0.9662337662

0.9804878049

1

1



		47		400		-30		380

		48		280		-20		260

		49		41		-10		21

		50		20		0		0

		51		51		10		31

		52		273		20		253

		53		410		30		390

		Beam Profile

		Coordinate		Front		Back

		0						10

		10		1.00E+13		1.05E+13		20		1.00E+13		1.05E+13

		20		4.50E+13		4.55E+13		30		4.50E+13		4.55E+13

		25		3.00E+14		2.52E+14		35		3.00E+14		2.52E+14

		30		4.10E+14		4.40E+14		40		4.10E+14		4.40E+14

		35		4.30E+14		4.60E+14		45		4.30E+14		4.60E+14

		40		3.15E+14		3.80E+14		50		3.15E+14		3.80E+14

		45		1.09E+14		2.70E+14		55		1.09E+14		2.70E+14

		55		1.20E+13		2.70E+13		65		1.20E+13		2.70E+13

		65		7.00E+11		1.20E+12		75		7.00E+11		1.20E+12





		-30

		-20

		-10

		0

		10

		20

		30



Local coord. [µm]

Amplitude [arb. Units]

Strip scan #10

380

260

21

0

31

253

390



		55		0		55		55

		50		1		50		50

		45		2		45		45

		40		3		40		40

		35		4		35		35

		30		5		30		30

		25		6		25		25

		20		7		20		20

		15		8		15		15

		10		9		10		10

		5		10		5		5

		0		11		0		0

				12

				13

				14

				15

				16

				17

				18

				19

				20

				21

				22

				23

				24

				25

				26

				27

				28

				29

				30

				31

				32

				33

				34

				35

				36

				37

				38

				39

				40

				41

				42

				43

				44

				45

				46

				47

				48

				49

				50

				51

				52

				53

				54

				55

				56

				57

				58

				59

				60

				61

				62

				63

				64

				65

				66

				67

				68



Measured (hit strip)

Calculated

Adjacent strip

Intermediate routing line

Time [ns]

Amplitude [arb. units]

68

10

0

0

150

34.5396

16

0

245

54.05968

34

0

369

80.39936

54

0

560

114.09384

123

32

688

155.13512

154

40

826

202.94192

188

51

792

256.42064

199

74

615

314.09432

188

108

421

374.26344

176

131

199

435.16424

85

68

0

495.10184

0

0

552.54736

606.19912

655.01224

698.20408

735.24416

765.8304

789.86272

807.41192

818.68832

824.01216

823.78664

818.47312

808.57016

794.59512

777.0692

756.50528

733.3992

708.22128

681.41152

653.37656

624.48752

595.07864

565.44744

535.85544

506.53048

477.66728

449.43032

421.95584

395.35408

369.71192

345.0956

321.5524

299.11304

277.79416

257.59968

238.52336

220.54992

203.6564

187.81424

172.98976

159.14552

146.24152

134.23568

123.08456

112.74432

103.1708

94.32024

86.14968

78.61696

71.6812

65.30304

59.44456

54.06952

49.14336

44.63336

40.50856

36.7396



		0		0

		10		10

		20		20

		25		25

		30		30

		35		35

		40		40

		45		45

		55		55

		65		65



Front Al foils

Back Al foils

Position [mm]

Measured fluence [p cm-2]

10000000000000

10500000000000

45000000000000

45500000000000

300000000000000

252000000000000

410000000000000

440000000000000

430000000000000

460000000000000

315000000000000

380000000000000

109000000000000

270000000000000

12000000000000

27000000000000

700000000000

1200000000000



		

						760





		30		30		0

		40		40		117.5

		50		50

		60		60

		70		70

		80		80

		90		90



200 Volt

400 Volt

Ideal resolution

Local position [µm]

Right charge/Total charge

Scan across strips #740-741

0.1035422343

0.0311111111

0

0.1971428571

0.0545851528

1

0.3688888889

0.2443729904

0.6231884058

0.7816091954

0.7445652174

0.9099437148

0.8891454965

1

0.9136363636

1



		30		30		0

		40		40		115

		50		50

		60		60

		70		70

		80		80

		90		90



200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #710-711

0.1009615385

0.0352733686

0

0.1943734015

0.0646258503

1

0.3125

0.2213740458

0.5102040816

0.5845070423

0.689373297

0.8831858407

0.8141809291

0.9365609349

0.8523489933

0.9378427788



		30		30		0

		40		40		115

		50		50

		60		60

		70		70

		80		80

		90		90



200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #760-761

0.0874074074

0.0657534247

0

0.0914454277

0.0725244073

1

0.1515151515

0.1463414634

0.5

0.5

0.8

0.8395522388

0.884086444

0.9252669039

0.9249011858

0.9491833031



		0		30		30		30

		115		40		40		40

				50		50		50

				60		60		60

				70		70		70

				80		80		80

				90		90		90



150 Volt

200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #740-741

0

0.204610951

0.0581395349

0.0450281426

1

0.3086053412

0.1601731602

0.0685920578

0.3851351351

0.2755102041

0.2206405694

0.5677966102

0.6121212121

0.688372093

0.6253869969

0.7406542056

0.886405959

0.7331378299

0.8442982456

0.9305816135

0.7967032967

0.8817427386

0.938517179



		0		30		30

		110		40		40

				50		50

				60		60

				70		70

				80		80

				90		90



200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #670-671

0

0.2186046512

0.0462962963

1

0.3191489362

0.076056338

0.4345238095

0.2648401826

0.625

0.619047619

0.7170731707

0.8559322034

0.7960784314

0.9612403101

0.825

0.9734748011



		0		20		20

		110		30		30

				40		40

				50		50

				60		60

				70		70

				80		80

				90		90



200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #690-691

0

0.1510067114

0.0529801325

1

0.1964285714

0.0703296703

0.3269961977

0.1575492341

0

0.6736842105

0.7946428571

0.7365079365

0.916500994

0.8419452888

0.9427402863

0.8307692308

0.9512195122



		25		25		25		0

		35		35		35		110

		45		45		45

		55		55		55

		65		65		65

		75		75		75

		85		85		85



100 Volt

200 Volt

300 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #525-526

0.0461956522

0.0440414508

0.0446194226

0

0.0583941606

0.0547945205

0.0547945205

1

0.1413612565

0.1282051282

0.1113689095

0.3215859031

0.264573991

0.2821576763

0.8050541516

0.8073394495

0.7722222222

0.9130434783

0.9217391304

0.9298245614

0.9473684211

0.9523809524

0.958677686



		0		30		30		30

		117		40		40		40

				50		50		50

				70		70		70

				80		80		80

				90		90		90



150 Volt

200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #634-635

0

0.223255814

0.1133333333

0.0510204082

1

0.2783505155

0.1933333333

0.0761670762

0.3963414634

0.3048780488

0.1943005181

0.6209150327

0.6822429907

0.8157099698

0.6875

0.7979094077

0.915

0.7548076923

0.8580645161

0.9330024814



		0		24		24

		114		34		34

				44		44

				64		64

				74		74

				84		84

				89		89



100 Volt

300 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #584-585

0

0.118466899

0.0379403794

1

0.1655172414

0.0608272506

0.3421052632

0.1666666667

0.6896551724

0.8131868132

0.7597173145

0.9567430025

0.8605442177

0.9974160207

0.8586206897

0.9466666667



		0		22		22		22		22

		116		32		32		32		32

				42		42		42		42

				67		67		67		67

				72		72		72		72

				82		82		82		82

				92		92		92		92



100 Volt

150 Volt

200 Volt

300 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #604-605

0

0.2192513369

0.0848056537

0.0408719346

0.056980057

1

0.2391304348

0.1214285714

0.0681818182

0.0798898072

0.3128834356

0.2380952381

0.0920716113

0.1549295775

0.5668789809

0.6355555556

0.7975077882

0.7517482517

0.591954023

0.7173913043

0.9002695418

0.8434782609

0.6949152542

0.8137931034

0.9973045822

0.8888888889

0.7348066298

0.8436482085

0.972899729

0.9043715847



		0		23		23		23

		108		33		33		33

				43		43		43

				58		58		58

				63		63		63

				73		73		73

				78		78		78



20 Volt

50 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #544-545

0

0.1376146789

0.0422960725

0.0361445783

1

0.2018348624

0.0845070423

0.0574712644

0.3457446809

0.2341772152

0.0976253298

0.5858585859

0.7124183007

0.7627906977

0.6304347826

0.7571428571

0.820441989

0.7302325581

0.8709677419

0.9418886199

0.7735849057

0.8811594203

0.9632352941



		0		35		35		35

		110		40		40		40

				50		50		50

				65		65		65

				70		70		70

				80		80		80



50 Volt

100 Volt

300 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #566-567

0

0.125

0.0408719346

0.0407673861

1

0.1777777778

0.0702247191

0.0687203791

0.320441989

0.22

0.2033333333

0.6946107784

0.8090909091

0.7789855072

0.741697417

0.8579387187

0.8743842365

0.8580858086

0.9543010753

0.9975062344



		0		35		35		35

		120		45		45		45

				50		50		50

				65		65		65

				70		70		70

				80		80		80

				90		90		90



50 Volt

100 Volt

250 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #575-576

0

0.2876106195

0.0451807229

0.0383631714

1

0.3744292237

0.144092219

0.0939759036

0.3880597015

0.1782178218

0.1580310881

0.5730337079

0.7260273973

0.7166666667

0.591954023

0.798679868

0.8379888268

0.6559633028

0.8879781421

0.9230769231

0.7627906977

0.9076086957

0.9511002445



		0		28		28		28

		113		38		38		38

				48		48		48

				58		58		58

				68		68		68

				78		78		78



25 Volt

50 Volt

150 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #188-189

0

0.0046948357

0.0032051282

0.00243309

1

0.1226993865

0.0044843049

0.0033898305

0.3333333333

0.320441989

0.2845188285

0.7465753425

0.8131313131

0.8514056225

0.8487804878

0.8839590444

0.8697916667

0.8829268293

0.9163763066

0.9452054795



		26		26		0		26

		36		36		114		36

		46		46				46

		66		66				66

		76		76				76

		86		86				86



100 Volt

300 Volt

=

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #621-622

0.2227074236

0.0789473684

0

0.0390625

0.2735849057

0.1348684211

1

0.0606060606

0.3659793814

0.2482517483

0.1102150538

0.5828220859

0.6728110599

0.8066666667

0.6822429907

0.8066666667

0.9086021505

0.7422222222

0.8547854785

0.9583333333



		25		25		25		0

		35		35		35		110

		45		45		45

		60		60		60

		65		65		65

		75		75		75

		85		85		85



20 Volt

50 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #469-470

0.0857142857

0.1060070671

0.0411311054

0

0.0833333333

0.093385214

0.0683060109

1

0.275862069

0.1904761905

0.1333333333

0.6451612903

0.6785714286

0.7311827957

0.6774193548

0.766536965

0.8356164384

0.8444444444

0.8717948718

0.9260969977

0.8695652174

0.8646153846

0.9267734554



		30		30		0

		40		40		110

		50		50

		60		60

		70		70

		80		80



200 Volts

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #650-651

0.1784037559

0.0521172638

0

0.2587064677

0.1034482759

1

0.3577586207

0.2196531792

0.6280991736

0.7375328084

0.7114914425

0.8717948718

0.7915742794

0.9111470113



		0		30		30		30

		114		40		40		40

				50		50		50

				70		70		70

				80		80		80

				85		85		85



20 Volt

50 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #244-245

0

0.12

0.0890804598

0.056206089

1

0.1317073171

0.1164772727

0.0638297872

0.226993865

0.201320132

0.1691542289

0.8011695906

0.8309859155

0.8544474394

0.8829268293

0.9093567251

0.9367681499

0.8783783784

0.9022988506

0.9418886199



		30		30		0		30

		40		40		114		40

		50		50				50

		70		60				60

		80		70				70

		85		80				80

								90



#245 - 200 Volt

#650 - 400 Volt

#760 - 400 Volt

Local position [µm]

Right charge/Total charge

0.056206089

0.0521172638

0

0.0657534247

0.0638297872

0.1034482759

1

0.0725244073

0.1691542289

0.2196531792

0.1463414634

0.8544474394

0.7375328084

0.5

0.9367681499

0.8717948718

0.8395522388

0.9418886199

0.9111470113

0.9252669039

0.9491833031



		20		20		20		0

		30		30		30		115

		40		40		40

		50		50		50

		60		60		60

		70		70		70

		80		80		80

		90		90		90



20 Volt

50 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #388-389

0.15

0.0975609756

0.0965794769

0

0.1549295775

0.1448692153

0.1004709576

1

0.171875

0.1223529412

0.0901213172

0.2926829268

0.2888888889

0.2434077079

0.6666666667

0.6923076923

0.6511627907

0.7833333333

0.8498896247

0.9073083779

0.8295081967

0.8495049505

0.9384615385

0.8793103448

0.9160839161

0.9470699433



		35		0		35		35

		45		120		45		45

		55				55		55

		70				70		70

		75				75		75

		85				85		85

		95				95		95



Local position [µm]

Right charge/Total charge

Scan across strip #490-491

0.1595744681

0

0.12

0.0796116505

0.2053231939

1

0.1322869955

0.0891089109

0.2967032967

0.2258064516

0.2

0.72

0.692

0.7982261641

0.8351449275

0.7985074627

0.8764302059

0.9349593496

0.8546099291

0.9174311927

0.9445585216



		0		28		28		28

		118		38		38		38

				48		48		48

				58		58		58

				68		68		68

				78		78		78

				88		88		88



150 Volt

200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #760-761

0

0.1305483029

0.0812064965

0.0638722555

1

0.1467391304

0.0782608696

0.0601202405

0.2492753623

0.1494505495

0.1135135135

0.3970588235

0.41

0.368852459

0.66

0.7510548523

0.789017341

0.7542857143

0.9100719424

0.9100719424

0.8444444444

0.9125799574

0.9323308271



		30		30		28		0

		40		40		38		118

		50		50		48

		70		70		58

		80		80		68

		85		90		78

						88



#245 - 200 Volt

#534 - 400 Volt

#760 - 400 Volt

Local position [µm]

Right charge/Total charge

0.056206089

0.0510204082

0.0638722555

0

0.0638297872

0.0761670762

0.0601202405

1

0.1691542289

0.1943005181

0.1135135135

0.8544474394

0.8157099698

0.368852459

0.9367681499

0.915

0.789017341

0.9418886199

0.9330024814

0.9100719424

0.9323308271



		30		30		30		0

		40		40		40		115

		50		50		50

		65		65		65

		70		70		70

		80		80		80

		90		90		90



50 Volt

100 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #774-775

0.2777777778

0.1546391753

0.075

0

0.3857142857

0.2274368231

0.1002785515

1

0.4155844156

0.3298429319

0.2454873646

0.6

0.7023809524

0.7961165049

0.631147541

0.7959183673

0.8815028902

0.6979865772

0.8426573427

0.9268292683

0.8474576271

0.85

0.9258241758



		Bias		#650		#651		Pulse sum		Normalised		#670		#671		Pulse sum		Normalised		#690		#691		Pulse sum		Normalised		#710		#711		Pulse sum		Normalised		#730		#731		Pulse sum		Normalised		#740		#741		Pulse sum		Normalised		#760		#761		Pulse sum		Normalised

		[Volt]		[mV]		[mV]		[mv]				[mV]		[mV]		[mv]				[mV]		[mV]		[mv]				[mV]		[mV]		[mv]				[mV]		[mV]		[mv]				[mV]		[mV]		[mv]				[mV]		[mV]		[mv]

		50		41		85		126		0.2016		24		58		82		0.2		0		80		80		0.1500938086		31		78		109		0.1912280702		31		83		114		0.1972318339		30		101		131		0.2205387205		45		100		145		0.2566371681				104		104

		100		63		140		203		0.3248		22		84		106		0.2585365854		31		135		166		0.3114446529		53		125		178		0.3122807018		45		142		187		0.3235294118		67		182		249		0.4191919192		68		178		246		0.4353982301				177		177

		150		92		210		302		0.4832		38		133		171		0.4170731707		52		197		249		0.4671669794		58		180		238		0.4175438596		66		232		298		0.5155709343		74		290		364		0.6127946128		63		342		405		0.7168141593				385		385

		200		81		329		410		0.656		39		207		246		0.6		45		291		336		0.6303939962		73		290		363		0.6368421053		48		374		422		0.7301038062		57		425		482		0.8114478114		50		446		496		0.8778761062				454		454

		250		59		443		502		0.8032		32		300		332		0.8097560976		34		398		432		0.8105065666		51		388		439		0.7701754386		31		478		509		0.8806228374		51		472		523		0.8804713805		41		490		531		0.9398230088				468		468

		300		59		510		569		0.9104		30		321		351		0.856097561		35		433		468		0.8780487805		38		462		500		0.8771929825		17		501		518		0.8961937716		40		500		540		0.9090909091		36		501		537		0.9504424779				478		478

		350		50		530		580		0.928		23		342		365		0.8902439024		31		454		485		0.9099437148		33		485		518		0.9087719298		20		535		555		0.9602076125		34		513		547		0.9208754209		32		510		542		0.9592920354				495		495

		400		45		561		606		0.9696		10		370		380		0.9268292683		24		468		492		0.9230769231		31		498		529		0.9280701754		20		535		555		0.9602076125		34		520		554		0.9326599327		36		519		555		0.982300885				502		502

		500		45		580		625		1		10		400		410		1		10		523		533		1		30		540		570		1		0		578		578		1		34		560		594		1		32		533		565		1				510		510

																						Neff map		Vfd

																						10

																						30

																						50

																						70

																						90

																						100

																						120

																																												634

																																		72

		Bias		#526		#527		Pulse sum		Normalised		Bias		#545		#546		Pulse sum		Normalised		Bias		#567		#568		Pulse sum		Normalised		Bias		#577		#578		Pulse sum		Normalised		Bias		#585		#586		Pulse sum		Normalised		Bias		#605		#606		Pulse sum		Normalised		Bias		#622		#623		Pulse sum		Normalised		Bias		#634		#635		Pulse sum		Normalised

		[Volt]		[mV]		[mV]		[mv]				[Volt]		[mV]		[mV]		[mv]				[Volt]		[mV]		[mV]		[mv]				[Volt]		[mV]		[mV]		[mv]				[Volt]		[mV]		[mV]		[mv]				[Volt]		[mV]		[mV]		[mv]				[Volt]		[mV]		[mV]		[mv]				[Volt]		[mV]		[mV]		[mv]

		20		5		205		210		0.4393305439		10		89		41		130		0.3095238095		10		27		41		68		0.17		25		34		75		109		0.2632850242		25		44		20		64		0.1671018277		50		65		10		75		0.1978891821		50		65		0		65		0.1697127937		50		61		24		85		0.2073170732

		30		5		273		278		0.5815899582		20		171		41		212		0.5047619048		25		61		109		170		0.425		50		55		164		219		0.5289855072		50		95		41		136		0.3550913838		75		95		10		105		0.2770448549		100		123		37		160		0.4177545692		100		106		34		140		0.3414634146

		40		54		323		377		0.7887029289		30		232		34		266		0.6333333333		50		266		41		307		0.7675		75		37		290		327		0.7898550725		75		150		58		208		0.5430809399		100		129		27		156		0.4116094987		150		171		51		222		0.5796344648		150		157		48		205		0.5

		50		45		360		405		0.8472803347		50		321		0		321		0.7642857143		75		334		14		348		0.87		100		27		330		357		0.8623188406		100		240		51		291		0.7597911227		125		167		27		194		0.5118733509		200		287		24		311		0.8120104439		200		253		34		287		0.7

		75		41		405		446		0.9330543933		75		362		0		362		0.8619047619		100		359		0		359		0.8975		150		27		359		386		0.9323671498		125		311		27		338		0.8825065274		150		236		30		266		0.7018469657		250		334		0		334		0.8720626632		250		317		27		344		0.8390243902

		100		32		428		460		0.9623430962		100		383		0		383		0.9119047619		150		372		0		372		0.93		200		24		372		396		0.9565217391		150		342		10		352		0.9190600522		200		328		0		328		0.8654353562		300		351		0		351		0.9164490862		300		349		31		380		0.9268292683

		120		23		437		460		0.9623430962		150		396		0		396		0.9428571429		200		383		0		383		0.9575		250		20		379		399		0.9637681159		200		355		10		365		0.953002611		250		355		0		355		0.9366754617		350		366		0		366		0.955613577		350		362		27		389		0.9487804878

		150		27		446		473		0.989539749		200		413		0		413		0.9833333333		250		396		0		396		0.99		300		24		382		406		0.9806763285		300		376		0		376		0.9817232376		300		366		0		366		0.9656992084		400		372		0		372		0.9712793734		400		372		34		406		0.9902439024

		200		23		455		478		1		300		420		0		420		1		300		400		0		400		1		350		24		390		414		1		400		383		0		383		1		400		379		0		379		1		500		383		0		383		1		500		383		27		410		1

		300		20		464		484		1.0125523013

		Strip #		VFD

		188		80

		244		75

		390		60

		470		55

		498		55

		526		53

		545		54

		568		62

		578		92								0.0004882813		0.1806640625		0.0451660156

		585		128

		605		200

		622		225

		634		270

		650		285

		670		297

		690		300

		710		285								768		640

		730		250

		740		220

		760		170

		774		125

		829		60

		888		47





		50		50		50		50		50		50		50

		100		100		100		100		100		100		100

		150		150		150		150		150		150		150

		200		200		200		200		200		200		200

		250		250		250		250		250		250		250

		300		300		300		300		300		300		300

		350		350		350		350		350		350		350

		400		400		400		400		400		400		400

		500		500		500		500		500		500		500



Strip #10

Strip #30

Strip #50

Strip #70

Strip #90

Strip #100

Strip #120

0.2016

0.2

0.1500938086

0.1912280702

0.1972318339

0.2205387205

0.2566371681

0.3248

0.2585365854

0.3114446529

0.3122807018

0.3235294118

0.4191919192

0.4353982301

0.4832

0.4170731707

0.4671669794

0.4175438596

0.5155709343

0.6127946128

0.7168141593

0.656

0.6

0.6303939962

0.6368421053

0.7301038062

0.8114478114

0.8778761062

0.8032

0.8097560976

0.8105065666

0.7701754386

0.8806228374

0.8804713805

0.9398230088

0.9104

0.856097561

0.8780487805

0.8771929825

0.8961937716

0.9090909091

0.9504424779

0.928

0.8902439024

0.9099437148

0.9087719298

0.9602076125

0.9208754209

0.9592920354

0.9696

0.9268292683

0.9230769231

0.9280701754

0.9602076125

0.9326599327

0.982300885

1

1

1

1

1

1

1



		20		10		25		25		50		50		50

		30		20		50		50		75		100		100

		40		30		75		75		100		150		150

		50		50		100		100		125		200		200

		75		75		150		125		150		250		250

		100		100		200		150		200		300		300

		120		150		250		200		250		350		350

		150		200		300		300		300		400		400

		200		300		350		400		400		500		500

		300



Strip #526

Strip #545

Strip #578

Strip #585

Strip #605

Strip #622

Strip #634

Bias [Volt]

Normalised CCE

0.4393305439

0.3095238095

0.2632850242

0.1671018277

0.1978891821

0.1697127937

0.2073170732

0.5815899582

0.5047619048

0.5289855072

0.3550913838

0.2770448549

0.4177545692

0.3414634146

0.7887029289

0.6333333333

0.7898550725

0.5430809399

0.4116094987

0.5796344648

0.5

0.8472803347

0.7642857143

0.8623188406

0.7597911227

0.5118733509

0.8120104439

0.7

0.9330543933

0.8619047619

0.9323671498

0.8825065274

0.7018469657

0.8720626632

0.8390243902

0.9623430962

0.9119047619

0.9565217391

0.9190600522

0.8654353562

0.9164490862

0.9268292683

0.9623430962

0.9428571429

0.9637681159

0.953002611

0.9366754617

0.955613577

0.9487804878

0.989539749

0.9833333333

0.9806763285

0.9817232376

0.9656992084

0.9712793734

0.9902439024

1

1

1

1

1

1

1

1.0125523013



		

		188

		244

		390

		470

		498

		526

		545

		568

		578

		585

		605

		622

		634

		650

		670

		690

		710

		730

		740

		760

		774

		829

		888



Strip Number

Vfd [Volt]

80

75

60

55

55

53

54

62

92

128

200

225

270

285

297

300

285

250

220

170

125

60

47



		10		25		50

		20		50		100

		30		75		150

		50		100		200

		75		125		250

		100		150		300

		150		200		350

		200		300		400

		300		400		500



Strip #545

Strip #585

Strip #634

Bias [Volt]

Normalised CCE

0.3095238095

0.1671018277

0.2073170732

0.5047619048

0.3550913838

0.3414634146

0.6333333333

0.5430809399

0.5

0.7642857143

0.7597911227

0.7

0.8619047619

0.8825065274

0.8390243902

0.9119047619

0.9190600522

0.9268292683

0.9428571429

0.953002611

0.9487804878

0.9833333333

0.9817232376

0.9902439024

1

1

1



		20		25		50

		30		50		75

		40		75		100

		50		100		125

		75		150		150

		100		200		200

		120		250		250

		150		300		300

		200		350		400

		300



Strip #526

Strip #578

Strip #605

Bias [Volt]

Normalised CCE

0.4393305439

0.2632850242

0.1978891821

0.5815899582

0.5289855072

0.2770448549

0.7887029289

0.7898550725

0.4116094987

0.8472803347

0.8623188406

0.5118733509

0.9330543933

0.9323671498

0.7018469657

0.9623430962

0.9565217391

0.8654353562

0.9623430962

0.9637681159

0.9366754617

0.989539749

0.9806763285

0.9656992084

1

1

1

1.0125523013



		Strip:		#10								Strip:		#30								Strip:		#50								Strip:		#70								Strip:		#90								Strip:		#100		#101						Strip:		#120

				#11										#31										#51										#71										#91										#121										#121

		D Left		h 200 V		ideal				h 400 V		D Left		h 200 V		ideal				h 400 V		D Left		h 200 V		ideal				h 400 V		D Left		h 200 V		ideal				h 400 V		D Left		h 200 V		ideal				h 400 V		D Left		h 200 V		ideal				h 400 V		D Left		h 200 V		ideal				h 400 V

		20		0.2059800664		0		0		0.1260683761		20		0.3485714286		0		0		0.2292490119		20		0.1510067114		0		0		0		20		0.1729559748		0		0		0.1299559471		30		0.1035422343		0		0		0		30		0.204610951		0		0		0		20		0.2591006424		0		0		0.263671875

		30		0.1784037559		110		1		0		30		0.2186046512		110		1		0		30		0.1964285714		110		1		0		30		0.1009615385		115		1		0		40		0.1971428571		117.5		1		0		40		0.3086053412		115		1		0		30		0.0874074074		115		1		0.0657534247

		40		0.2587064677						0.0909090909		40		0.3191489362						0		40		0.3269961977						0.118993135		40		0.1943734015						0		50		0.3688888889						0.2443729904		50		0.3851351351						0.1978021978		40		0.0914454277						0.0725244073

		50		0.3577586207						0.2196531792		50		0.4345238095						0.2648401826		60		0.6736842105						0.7946428571		50		0.3125						0.1707317073		60		0.6231884058						0.7816091954		60		0.5677966102						0.688372093		50		0.1515151515						0.1463414634

		60		0.6280991736						0.7375328084		60		0.625						0.619047619		70		0.7365079365						0.916500994		60		0.5102040816						0.5845070423		70		0.7445652174						0.9099437148		70		0.6253869969						0.886405959		60		0.5						0.5

		70		0.7114914425						0.8717948718		70		0.7170731707						0.8559322034		80		0.8419452888						0.9427402863		70		0.689373297						0.8831858407		80		0.8891454965						1		80		0.7331378299						0.9305816135		70		0.8						0.8395522388

		80		0.7915742794						0.9111470113		80		0.7960784314						0.9867374005		90		0.8307692308						0.9512195122		80		0.8141809291						0.9365609349		90		0.9136363636						1		90		0.7967032967						0.938517179		80		0.884086444						0.9252669039

		90		0.7759103641						0.8546845124		90		0.825						0.9734748011												90		0.8523489933						0.9378427788																						90		0.9249011858						0.9491833031

		Residuals		#10-#11								Residuals		#30-#31								Residuals		#50-#51								Residuals		#50-#51								Residuals		#70-#71								Residuals		#90-#91								Residuals		#100-#101

		True position		Est. position		Est. position		Residuals		Residuals		True position		Est. position		Est. position		Residuals		Residuals		True position		Est. position		Est. position		Residuals		Residuals		True position		Est. position		Est. position		Residuals		Residuals		True position		Est. position		Est. position		Residuals		Residuals		True position		Est. position		Est. position		Residuals		Residuals		True position		Est. position		Est. position		Residuals

				200 V		400 V		200 V		400 V				200 V		400 V		200 V		400 V				200 V		400 V		200 V		400 V				200 V		400 V		200 V		400 V				200 V		400 V		200 V		400 V				200 V		400 V		200 V		400 V				200 V		400 V		200 V		400 V

		20		22.657807309		38.3428571429		2.657807309		18.3428571429		20		38.3428571429		25.2173913043		18.3428571429		5.2173913043		20		16.610738255		0		-3.389261745		-20		20		19.8899371069		14.9449339207		-0.1100628931		-5.0550660793		30		12.1662125341		0		-17.8337874659		-30		30		23.530259366		0		-6.469740634		-30		20		29.7965738758		30.322265625		9.7965738758		10.322265625

		30		19.6244131455		24.0465116279		-10.3755868545		-5.9534883721		30		24.0465116279		0		-5.9534883721		-30		30		21.6071428571		0		-8.3928571429		-30		30		11.6105769231		0		-18.3894230769		-30		40		23.1642857143		0		-16.8357142857		-40		40		35.4896142433		0		-4.5103857567		-40		30		10.0518518519		7.5616438356		-19.9481481481		-22.4383561644

		40		28.4577114428		35.1063829787		-11.5422885572		-4.8936170213		40		35.1063829787		0		-4.8936170213		-40		40		35.969581749		13.0892448513		-4.030418251		-26.9107551487		40		22.3529411765		0		-17.6470588235		-40		50		43.3444444444		28.7138263666		-6.6555555556		-21.2861736334		50		44.2905405405		22.7472527473		-5.7094594595		-27.2527472527		40		10.5162241888		8.340306834		-29.4837758112		-31.659693166

		50		39.3534482759		47.7976190476		-10.6465517241		-2.2023809524		50		47.7976190476		29.1324200913		-2.2023809524		-20.8675799087		60		74.1052631579		87.4107142857		14.1052631579		27.4107142857		50		35.9375		19.6341463415		-14.0625		-30.3658536585		60		73.2246376812		91.8390804598		13.2246376812		31.8390804598		60		65.2966101695		79.1627906977		5.2966101695		19.1627906977		50		17.4242424242		16.8292682927		-32.5757575758		-33.1707317073

		60		69.0909090909		68.75		9.0909090909		8.75		60		68.75		68.0952380952		8.75		8.0952380952		70		81.0158730159		100.8151093439		11.0158730159		30.8151093439		60		58.6734693878		67.2183098592		-1.3265306122		7.2183098592		70		87.4864130435		106.9183864916		17.4864130435		36.9183864916		70		71.919504644		101.9366852886		1.919504644		31.9366852886		60		57.5		57.5		-2.5		-2.5

		70		78.2640586797		78.8780487805		8.2640586797		8.8780487805		70		78.8780487805		94.1525423729		8.8780487805		24.1525423729		80		92.6139817629		103.7014314928		12.6139817629		23.7014314928		70		79.2779291553		101.5663716814		9.2779291553		31.5663716814		80		104.474595843		117.5		24.474595843		37.5		80		84.3108504399		107.0168855535		4.3108504399		27.0168855535		70		92		96.5485074627		22		26.5485074627

		80		87.0731707317		87.568627451		7.0731707317		7.568627451		80		87.568627451		108.5411140584		7.568627451		28.5411140584		90		91.3846153846		104.6341463415		1.3846153846		14.6341463415		80		93.630806846		107.7045075125		13.630806846		27.7045075125		90		107.3522727273		117.5		17.3522727273		27.5		90		91.6208791209		107.9294755877		1.6208791209		17.9294755877		80		101.6699410609		106.4056939502		21.6699410609		26.4056939502

		90		85.350140056		90.75		-4.649859944		0.75		90		90.75		107.0822281167		0.75		17.0822281167												90		98.0201342282		107.8519195612		8.0201342282		17.8519195612																						90		106.3636363636		109.1560798548		16.3636363636		19.1560798548





		Far end														End + 1 cm														End + 2 cm														End + 3 cm														End + 3.5 cm

		Strip width		Local coord.		h 150 V						h 200 V		h 400 V		Strip width		Local coord.		h 150 V						h 200 V		h 400 V		Strip width		Local coord.		h 150 V						h 200 V		h 400 V		Strip width		Local coord.		h 150 V						h 200 V		h 400 V		Strip width		Local coord.		h 200 V						h 400 V

		16 µm		21		0.3192771084		0		0		0.3086172345		0.2177531207		25 µm		25		0.2489795918		0		0		0.2296072508		0.0935875217		25 µm		25		0.2344827586		0		0		0.1566820276		0.079338843		30 µm		25		0.1505016722		0		0		0.0805687204		0.052		35 µm		20		0.2591006424		0		0		0.263671875

				22		0.3269230769		61		1		0.3302180685		0.2262118492				26		0.3642857143		78		1		0.3591160221		0.2287390029				26		0.3311897106		95		1		0.2647754137		0.1256038647				26		0.2164948454		108		1		0.0966183575		0.0595238095				30		0.0874074074		115		1		0.0657534247

				23		0.5						0.5		0.5284552846				28		0.6977777778						0.691588785		0.8631578947				27								0.3176470588		0.2993197279				27		0.3470790378						0.2055137845		0.1347248577				40		0.0914454277						0.0725244073

				24		0.6687697161						0.6808943089		0.826435247				29		0.7510204082						0.7796610169		0.9246575342				28		0.6393442623						0.6741573034		0.7946127946				29		0.6487603306						0.7430939227		0.8559837728				50		0.1515151515						0.1463414634

				25		0.6972789116						0.7270788913		0.8104196816																		29		0.7039711191						0.7454545455		0.8982785603				30		0.7683823529						0.884057971		0.9513108614				60		0.5						0.5

																																30		0.7731629393						0.830802603		0.9453376206				31		0.8316498316						0.9351145038		0.98				70		0.8						0.8395522388

																																																												80		0.884086444						0.9252669039

																																																												90		0.9249011858						0.9491833031

				Pos. far end (1)														Pos.(2)=(1)+1 cm														Pos.(3)=(2)+1 cm														Pos.(4)=(3)+1 cm														Pos.(5)=(4)+0.5 cm

		Bias		#119		Int 1		#120		Int 2		#121		Int 3		#122		#119		Int 1		#120		Int 2		#121		Int 3		#122		#119		Int 1		#120		Int 2		#121		Int 3		#122		#119		Int 1		#120		Int 2		#121		Int 3		#122		#119		Int 1		#120		Int 2		#121		Int 3		#122

		[Volt]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]

		50		0		0		30		10		115		10		20						20		0		68						0		0		31		0		99		0		0		0		0		0		0		70		0		0						38		21		104		-10

		100		28		0		61		17		179		15		33						44		15		129						20		0		48		24		171		0		31						52		34		145		0		29						62		34		177		-21

		150		30		0		88		40		239		27		44						78		37		184						0		0		71		44		242		0		31						63		58		250		0		29						55		24		385		-31

		200		37		0		115		74		357		37		54						68		41		280						0		0		78		58		383		0		37						37		20		388		-5		20						48		15		454		-24

		250		34		0		101		61		530		51		20						71		44		410						0		0		44		24		509		-24		10						26		10		448		-20		10						45		0		468		-34

		300		23		0		81		37		600		-23		30						58		45		475						0		0		37		13		533		-30		20						22		22		490		-24		10						34		-10		478		-34

		350		34		0		84		27		641		-27		24						51		10		519						0		0		30		0		567		-30		15						20		0		512		-24		0						34		-17		495		-34

		400		23		0		64		0		644		-34		23						51		0		530						0		0		41		0		577		-37		15						20		0		527		-24		0						34		-17		502		-34

		500		10		0		77		0		680		-30		10						48		0		547						0		0		34		0		588		-40		13						10		0		530		-24		0						34		-17		510		-34

				Total										Total										Intermediate strip/total charge

		Bias		Pos.(1)		Pos.(2)		Pos.(3)		Pos.(4)		Pos.(5)		normalised

		[Volt]												Pos.(1)		Pos.(2)		Pos.(3)		Pos.(4)		Pos.(5)		Pos.(1)		Pos.(2)		Pos.(3)		Pos.(4)		Pos.(5)

		50		135		88		99		70		142		0.2023988006		0.1514629948		0.1672297297		0.1328273245		0.2649253731		0.0740740741		0		0		0		0.1478873239

		100		212		173		202		174		239		0.3178410795		0.2977624785		0.3412162162		0.330170778		0.4458955224		0.0801886792		0.0867052023		0.1188118812		0.1954022989		0.1422594142

		150		283		262		273		279		440		0.4242878561		0.4509466437		0.4611486486		0.5294117647		0.8208955224		0.1413427562		0.141221374		0.1611721612		0.2078853047		0.0545454545

		200		411		348		420		408		502		0.616191904		0.5989672978		0.7094594595		0.7741935484		0.9365671642		0.1800486618		0.117816092		0.1380952381		0.0490196078		0.0298804781

		250		550		481		519		458		513		0.8245877061		0.8278829604		0.8766891892		0.8690702087		0.9570895522		0.1109090909		0.0914760915		0.0462427746		0.0218340611		0

		300		630		533		553		500		512		0.9445277361		0.917383821		0.9341216216		0.9487666034		0.9552238806		0.0587301587		0.0844277674		0.0235081374		0.044		-0.01953125

		350		665		570		582		512		529		0.9970014993		0.9810671256		0.9831081081		0.9715370019		0.9869402985		0.0406015038		0.0175438596		0		0		-0.0321361059

		400		667		581		592		527		536		1		1		1		1		1		0		0		0		0		-0.0317164179

		500		690		595		601		530		544		1.0344827586		1.0240963855		1.0152027027		1.0056925996		1.0149253731		0		0		0		0		-0.03125





		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0



0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		50		50		50		50		50

		100		100		100		100		100

		150		150		150		150		150

		200		200		200		200		200

		250		250		250		250		250

		300		300		300		300		300

		350		350		350		350		350

		400		400		400		400		400

		500		500		500		500		500



0.0740740741

0

0

0

0.1478873239

0.0801886792

0.0867052023

0.1188118812

0.1954022989

0.1422594142

0.1413427562

0.141221374

0.1611721612

0.2078853047

0.0545454545

0.1800486618

0.117816092

0.1380952381

0.0490196078

0.0298804781

0.1109090909

0.0914760915

0.0462427746

0.0218340611

0

0.0587301587

0.0844277674

0.0235081374

0.044

-0.01953125

0.0406015038

0.0175438596

0

0

-0.0321361059

0

0

0

0

-0.0317164179

0

0

0

0

-0.03125



		50		50		50		50		50

		100		100		100		100		100

		150		150		150		150		150

		200		200		200		200		200

		250		250		250		250		250

		300		300		300		300		300

		350		350		350		350		350

		400		400		400		400		400

		500		500		500		500		500



0.2023988006

0.1514629948

0.1672297297

0.1328273245

0.2649253731

0.3178410795

0.2977624785

0.3412162162

0.330170778

0.4458955224

0.4242878561

0.4509466437

0.4611486486

0.5294117647

0.8208955224

0.616191904

0.5989672978

0.7094594595

0.7741935484

0.9365671642

0.8245877061

0.8278829604

0.8766891892

0.8690702087

0.9570895522

0.9445277361

0.917383821

0.9341216216

0.9487666034

0.9552238806

0.9970014993

0.9810671256

0.9831081081

0.9715370019

0.9869402985

1

1

1

1

1

1.0344827586

1.0240963855

1.0152027027

1.0056925996

1.0149253731



		Time delay		Corrected time		Bias [V]		#120		Int 1		#121		Int 2																		0		0.08185		9.1672		112				0.261052		10		80

		70		55		250		0		0		68		0				0		0		0		610								1		0.168384		18.859008						0.431745		34.5396

		75		50				16		0		150		0				3		0.0512794593		31.2804701969										2		0.312367		34.985104						0.675746		54.05968

		80		45				34		0		245		-25				6		0.2672435413		163.0185601936										3		0.52869		59.21328						1.004992		80.39936

		85		40				54		0		369		-41				9		0.5875634723		358.4137180924										4		0.825982		92.509984						1.426173		114.09384

		90		35				123		32		560		0				12		0.9072872169		553.4452023										5		1.20452		134.90624						1.939189		155.13512

		95		30				154		40		688		0				15		1.1543795498		704.1715253543										6		1.656436		185.520832						2.536774		202.94192

		100		25				188		51		826		-28				18		1.299469696		792.6765145638										7		2.16761		242.77232						3.205258		256.42064

		105		20				199		74		792		0				21		1.3442508459		819.9930160187										8		2.720225		304.6652						3.926179		314.09432

		110		15				188		108		615		-5				24		1.3071636214		797.3698090352										9		3.295125		369.054						4.678293		374.26344

		115		10				176		131		421		79				27		1.2124429531		739.5902013697										10		3.873637		433.847344						5.439553		435.16424

		120		5				85		68		199		34				30		1.0834467691		660.9025291351										11		4.438771		497.142352						6.188773		495.10184

		125		0				0		0		0		0				33		0.9394191906		573.0457062512										12		4.97592		557.30304						6.906842		552.54736

																		36		0.7945091514		484.6505823432										13		5.473185		612.99672						7.577489		606.19912

																		39		0.6580501859		401.410613397										14		5.92143		663.20016						8.187653		655.01224

																		42		0.5354104702		326.6003867976										15		6.31416		707.18592						8.727551		698.20408

																		45		0.4289931162		261.6858008585										16		6.647297		744.497264						9.190552		735.24416

																		48		0.339164421		206.8902967894										17		6.91889		774.91568						9.57288		765.8304

																		51		0.2650152693		161.6593142647										18		7.128793		798.424816						9.873284		789.86272

																		54		0.2049346724		125.0101501754										19		7.278362		815.176544						10.092649		807.41192

																		57		0.1570118833		95.7772488293										20		7.370132		825.454784						10.233604		818.68832

																		60		0.1192986421		72.7721716988										21		7.407557		829.646384						10.300152		824.01216

																		63		0.0899657472		54.8791057793										22		7.394742		828.211104						10.297333		823.78664

																		66		0.0673846758		41.1046522082										23		7.336235		821.65832						10.230914		818.47312

																		69		0.050159177		30.597097963										24		7.236837		810.525744						10.107127		808.57016

																		72		0.0371256796		22.6466645667										25		7.101445		795.36184						9.932439		794.59512

																		75		0.0273359711		16.67494238										26		6.934925		776.7116						9.713365		777.0692

																																27		6.742013		755.105456						9.456316		756.50528

																																28		6.527242		731.051104						9.16749		733.3992

																																29		6.294873		705.025776						8.852766		708.22128

																																30		6.048868		677.473216						8.517644		681.41152

																																31		5.792859		648.800208						8.167207		653.37656

																																32		5.530137		619.375344						7.806094		624.48752

																																33		5.263647		589.528464						7.438483		595.07864

																																34		4.995998		559.551776						7.068093		565.44744

																																35		4.729472		529.700864						6.698193		535.85544

																																36		4.466033		500.195696						6.331631		506.53048

																																37		4.207353		471.223536						5.970841		477.66728

																																38		3.954834		442.941408						5.617879		449.43032

																																39		3.709625		415.478						5.274448		421.95584

																																40		3.472645		388.93624						4.941926		395.35408

																																41		3.244611		363.396432						4.621399		369.71192

																																42		3.026052		338.917824						4.313695		345.0956

																																43		2.817337		315.541744						4.019405		321.5524

																																44		2.618692		293.293504						3.738913		299.11304

																																45		2.43022		272.18464						3.472427		277.79416

																																46		2.251916		252.214592						3.219996		257.59968

																																47		2.083687		233.372944						2.981542		238.52336

																																48		1.925365		215.64088						2.756874		220.54992

																																49		1.776718		198.992416						2.545705		203.6564

																																50		1.637465		183.39608						2.347678		187.81424

																																51		1.507286		168.816032						2.162372		172.98976

																																52		1.38583		155.21296						1.989319		159.14552

																																53		1.272725		142.5452						1.828019		146.24152

																																54		1.167583		130.769296						1.677946		134.23568

																																55		1.070007		119.840784						1.538557		123.08456

																																56		0.979598		109.714976						1.409304		112.74432

																																57		0.895956		100.347072						1.289635		103.1708

																																58		0.818688		91.693056						1.179003		94.32024

																																59		0.747406		83.709472						1.076871		86.14968

																																60		0.681733		76.354096						0.982712		78.61696

																																61		0.621304		69.586048						0.896015		71.6812

																																62		0.565769		63.366128						0.816288		65.30304

																																63		0.51479		57.65648						0.743057		59.44456

																																64		0.468044		52.420928						0.675869		54.06952

																																65		0.425227		47.625424						0.614292		49.14336

																																66		0.386049		43.237488						0.557917		44.63336

																																67		0.350235		39.22632						0.506357		40.50856

																																68		0.317529		35.563248						0.459245		36.7396

																																69		0.287687		32.220944						0.416239		33.29912

																																70		0.260483		29.174096						0.377015		30.1612

																																71		0.235705		26.39896						0.341272		27.30176

																																72		0.213156		23.873472						0.308729		24.69832

																																73		0.19265		21.5768						0.279123		22.32984

																																74		0.174018		19.490016						0.25221		20.1768

																																75		0.157101		17.595312						0.227764		18.22112

																																76		0.141751		15.876112						0.205574		16.44592

																																77		0.127834		14.317408						0.185447		14.83576

																																78		0.115224		12.905088						0.167204		13.37632

																																79		0.103806		11.626272						0.150679		12.05432

																																80		0.093474		10.469088						0.13572		10.8576

																																81		0.084131		9.422672						0.122188		9.77504

																																82		0.075686		8.476832						0.109953		8.79624

																																83		0.068058		7.622496						0.098898		7.91184

																																84		0.061172		6.851264						0.088915		7.1132

																																85		0.054959		6.155408						0.079904		6.39232

																																86		0.049356		5.527872						0.071777		5.74216

																																87		0.044307		4.962384

																																88		0.039758		4.452896

																																89		0.035662		3.994144

																																90		0.031975		3.5812

																																91		0.028659		3.209808

																																92		0.025678		2.875936

																																93		0.022998		2.575776

																																94		0.020591		2.306192

																																95		0.018429		2.064048

																																96		0.016489		1.846768

																																97		0.014748		1.651776

																																98		0.013187		1.476944

																																99		0.011787		1.320144





		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0



0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0



0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0



Measured (hit strip)

Calculated

Adjacent strip

Intermediate routing line

Time [ns]

Amplitude [arb. units]

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0



Measured

Calculated

Time [ns]

Amplitude [arb. units]

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0




_1051558629.xls
Chart1

		28		28		28		0

		38		38		38		118

		48		48		48

		68		68		68

		78		78		78

		88		88		88



150 Volt

200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

0.1305483029

0.0812064965

0.0638722555

0

0.1467391304

0.0782608696

0.0601202405

1

0.2492753623

0.1494505495

0.1135135135

0.66

0.7510548523

0.789017341

0.7542857143

0.9100719424

0.9100719424

0.8444444444

0.9125799574

0.9323308271



General

		Sector #		Strip's range								1		128

		1		1-128								2		256

		2		129-256								3		384

		3		257-384								4		512

		4		385-512								5		640

		5		513-640								6		768

		6		641-768								7		896

		7		769-896								8		1024

		8		897-1024

		Measured strips:

		Sector #:		1		2		3		4		5		6		7		8





Routing line

		

																						Strip #		Est. VFD

																						499		55

																						760		170

																						774		125

																						888		50





Routing line

		10		50		20		10

		20		100		40		20

		30		150		50		40

		40		200		60		50

		50		250		80		60

		60		300		100		80

		80		350		125		100

		100		400		150		125

		150		500		175		150

		200				200		200

		300				300		300



Strip #499

Strip #760

Strip #774

Strip #888

Bias [Volt]

Charge routing line/total charge

0.1402439024

0.1694915254

0.0649350649

0.1036036036

0.0886524823

0.1589958159

0.1363636364

0.0705521472

0.069637883

0.0979381443

0.1446540881

0.0580808081

0.0611246944

0.0445859873

0.1421052632

0.0324189526

0.0412844037

0

0.1553030303

0.0324189526

0

0

0.1184210526

0.0224438903

0

0

0.0692771084

0

0

0

0.0507042254

0

0

0

0.05

0

0

0.025

0

0

0.0243902439

0



Irradiated (4)

		50		50		50		50		50

		100		100		100		100		100

		150		150		150		150		150

		200		200		200		200		200

		250		250		250		250		250

		300		300		300		300		300

		350		350		350		350		350

		400		400		400		400		400

		500		500		500		500		500



Pos. 1

Pos. 2

Pos. 3

Pos. 4

Pos. 5

Bias [V]

Charge routing line/Total charge

0.0740740741

0

0

0

0.1478873239

0.0801886792

0.0867052023

0.1188118812

0.1954022989

0.1422594142

0.1413427562

0.141221374

0.1611721612

0.2078853047

0.0545454545

0.1800486618

0.117816092

0.1380952381

0.0490196078

0.0298804781

0.1109090909

0.0914760915

0.0462427746

0.0218340611

0

0.0587301587

0.0844277674

0.0235081374

0.044

0

0.0406015038

0.0175438596

0

0

0

0

0

0

0

0

0

0

0

0

0



Irradiated (5) 

		Bias 250 V		Strip #		Centre		Distance		20 V		Local coord.		D24		D25		Pulse Left		Pulse Right		Pulse sum		h		ideal				50 V		Pulse Left		Pulse Right		Pulse sum		h		200 V		Pulse Left		Pulse Right		Pulse sum		h				Volt scan		#85		#86		Total		Normalised

				85		31		110				33.5		25		85		128		12		140		0.0857142857		0		0				253		30		283		0.1060070671				373		16		389		0.0411311054				20		36		126		162		0.3884892086

				86		42						34.5		35		75		132		12		144		0.0833333333		110		1				233		24		257		0.093385214				341		25		366		0.0683060109				30		52		240		292		0.7002398082

												35.5		45		65		84		32		116		0.275862069								204		48		252		0.1904761905				325		50		375		0.1333333333				40		48		317		365		0.8752997602

												37		60		50		22		40		62		0.6451612903								36		76		112		0.6785714286				50		136		186		0.7311827957				50		48		371		407		0.9760191847

		#85		Amplitude		#86		Amplitude				37.5		65		45		40		84		124		0.6774193548								60		197		257		0.766536965				60		305		365		0.8356164384				75		36		380		412		0.9880095923

		39		417		28		417				38.5		75		35		28		152		180		0.8444444444								40		272		312		0.8717948718				32		401		433		0.9260969977				100		32		397		425		1.0191846523

		40		325		29		297				39.5		85		25		24		160		184		0.8695652174								44		281		325		0.8646153846				32		405		437		0.9267734554				120		28		413		441		1.0575539568

		41		50		30		60																																												150		28		417		417		1

		42		0		31		0

		43		68		32		32

		44		361		33		272

						34		409

		Bias 250 V		Strip #		Centre		Distance		20 V		Local coord.		D24		D25		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h		ideal				50 V		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h		200 V		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h				Volt scan		#4		Int 1		#5		Int 2		Total		Normalised		Norm Rout		Norm rzatio rout/total

				4		12.5		115				14.5		20		95		204		-28		36				240		0.15		0		0				333				36				369		0.0975609756				449		-64		48				497		0.0965794769				20		12		-24		200		-48		212		0.4265593561

				5		24						15.5		30		85		240		-36		44				284		0.1549295775		115		1				425		-64		72				497		0.1448692153				573		-112		64				637		0.1004709576				30		40				328		-52		368		0.7404426559

												16.5		40		75		212		-32		44				256		0.171875								373		-48		52				425		0.1223529412				525		-88		52				577		0.0901213172				40		24		-16		381		-88		405		0.814889336

												17.5		50		65		116		-8		48				164		0.2926829268								256		-24		104				360		0.2888888889				373		-64		120				493		0.2434077079				50		28		-24		425		-92		453		0.9114688129

		#4		Amplitude		#5		Amplitude				18.5		60		55		16				32				48		0.6666666667								32				72				104		0.6923076923				60				112				172		0.6511627907				75		16				445		-100		461		0.9275653924

		12		0		21		489				19.5		70		45		52				188		-16		240		0.7833333333								68				385		-48		453		0.8498896247				52				509		-96		561		0.9073083779				100		12		-28		457		-124		469		0.9436619718

		13		0		22		341				20.5		80		35		52				253		-16		305		0.8295081967								76				429		-52		505		0.8495049505				36				549		-96		585		0.9384615385				120		16		-20		465		-120		481		0.967806841

		14		132		23		84				21.5		90		25		28				204		-48		232		0.8793103448								36				393		-84		429		0.9160839161				28				501		-112		529		0.9470699433				150		12		-44		485		-132		497		1

		15		437		24		0

		16		517		25		0

						26		272

		Bias 250 V		Strip #		Centre		Distance		20 V		Local coord.		D24		D25		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h		ideal				50 V		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h		200 V		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h

				5		24		110				26.5		25		85		197				36				233		0.1545064378		0		0				328				36				364		0.0989010989				445				32				477		0.0670859539

				6		35						27.5		35		75		152				28				180		0.1555555556		110		1				305				36				341		0.1055718475				449				36				485		0.0742268041

												28.5		45		65		116				36				152		0.2368421053								253				60				313		0.1916932907				413				100				513		0.1949317739

												29.5		55		55		44				28				72										60				36				96						72				32				104

												30.5		65		45		28				104				132		0.7878787879								52				212				264		0.803030303				72				345				417		0.8273381295

												31.5		75		35		36				160				196		0.8163265306								32				272				304		0.8947368421				28				405				433		0.935334873

												32.5		85		25		12				164				176		0.9318181818								32				333				365		0.9123287671				72				469				541		0.8669131238

		Bias 250 V		Strip #		Centre		Distance		20 V		Local coord.		D24		D25		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h		ideal				50 Volt		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h		200 Volts		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h				Volt scan		#115		Int 1		#116		Int 2		Total		Normalised		Norm Rout		Norm rzatio rout/total

				115		44		120				47.5		35		85		237				45				282		0.1595744681		0		0				396		-18		54				450		0.12				474		-31		41				515		0.0796116505				10		32		23		132		0		164		0.3326572008				0.1402439024

				116		56						48.5		45		75		209		0		54				263		0.2053231939		120		1				387		-13		59				446		0.1322869955				460		-41		45				505		0.0891089109				20		41		25		241		0		282		0.5720081136				0.0886524823

												49.5		55		65		128		13		54				182		0.2967032967								264				77				341		0.2258064516				360		-23		90				450		0.2				30		45		25		314		0		359		0.7281947262				0.069637883

												51		70		50		41		13		91				132										63		13		182				245						73		0		250				323		0.72				40		45		25		364		0		409		0.8296146045				0.0611246944

		#115		Amplitude		#116		Amplitude				51.5		75		45		77		41		173				250		0.692								91		18		360				451		0.7982261641				91		0		461				552		0.8351449275				50		36		18		400		-13		436		0.8843813387				0.0412844037

		42		506		54		483				52.5		85		35		54		30		214				268		0.7985074627								54		23		383				437		0.8764302059				32		-23		460				492		0.9349593496				60		25		0		419		-23		444		0.9006085193				0

		43		410		55		287				53.5		95		25		41		25		241				282		0.8546099291								36		18		400		-13		436		0.9174311927				27				460		-23		487		0.9445585216				80		27		0		442		-23		469		0.9513184584				0

		44		77		56		0																																																								100		27		0		446		-23		473		0.9594320487				0

		45		455		57		0																																																								150		23		0		455		-27		478		0.9695740365				0

		46		488		58		145																																																								200		27				460		-18		487		0.9878296146				0

						59		469																																																								300		23				470		-30		493		1				0





Irr. corr (5)

		Bias 250 V		Strip #		Centre		Distance		100 V		Local coord.		D24		D25		Pulse Left		Pulse Right		Pulse sum		h		ideal				200 V		Pulse Left		Pulse Right		Pulse sum		h		300 V		Pulse Left		Pulse Right		Pulse sum		h				Volt scan		#13		#14		Total		Normalised						Strip #5		Volt scan		Normalised

				13		8.5		110				11		25		85		351		0		351		0		0		0				369		0		369		0				364		0		364		0				20		5		205		210		0.4338842975						10		140		0.2868852459

				14		19.5						12		35		75		387		0		387		0		110		1				414		0		414		0				414		0		414		0				30		5		273		278		0.5743801653						30		285		0.5840163934

												13		45		65		328		27		355		0.076056338								374		15		389		0.0385604113				383		24		407		0.058968059				40		54		323		377		0.7789256198						50		393		0.8053278689

												14		55		55		154		73		227		0.3215859031								164		59		223		0.264573991				173		68		241		0.2821576763				50		45		360		405		0.8367768595						70		434		0.8893442623

		#13		Amplitude		#14		Amplitude				15		65		45		54		223		277		0.8050541516								63		264		327		0.8073394495				82		278		360		0.7722222222				75		41		405		446		0.9214876033						100		454		0.9303278689

		6		364		17		351				16		75		35		36		378		414		0.9130434783								36		424		460		0.9217391304				32		424		456		0.9298245614				100		32		428		460		0.9504132231						150		468

		7		164		18		164				17		85		25		23		414		437		0.9473684211								23		460		483		0.9523809524				20		464		484		0.958677686				120		23		437		460		0.9504132231						200		485		0.993852459

		8		30		19		0																																												150		27		446		473		0.9772727273						300		488		1

		9		0		20		0																																												200		23		455		478		0.9876033058

		10		209		21		196																																												300		20		464		484		1

		11		370		22		392

		Bias 250 V		Strip #		Centre		Distance		50 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				200 V		Pulse Left		Pulse Right		Pulse sum		h		300 V		Pulse Left		Pulse Right		Pulse sum		h				Volt scan		#33		#34		Total		Normalised

				13		4.8		112				8		32		80		31		334		71		405		0.175308642		0		0				427		-17		410		0				434		-17		417		0				10		48		97		145		0.3325688073				30		112		20		31		163

				14		16						9		42		70		34		317		51		368		0.1385869565		112		1				427		31		458		0.0676855895				458		24		482		0.0497925311				20		51		184		235		0.5389908257				50		157		31		41		229

												10		52		60		0		68		34		102		0.3333333333								89		37		126		0.2936507937				99		34		133		0.2556390977				30		54		263		317		0.7270642202				100		291		51		85		427

												11		62		50		0		65		195		260		0.75								61		266		327		0.8134556575				61		260		321		0.8099688474				50		37		345		382		0.876146789				130		372		58		103		533

		#33		Amplitude		#34		Amplitude				12		72		40		0		51		308		359		0.8579387187								34		413		447		0.9239373602				34		430		464		0.9267241379				75		27		389		416		0.9541284404				150		530		50		109		689

		2		445		13		451				13		82		30		0		37		342		379		0.9023746702								27		427		454		0.9405286344				10		447		457		0.9781181619				100		24		400		424		0.9724770642				200		567		44		65		676

		3		191		14		214																																														125		24		417		441		1.0114678899				250		605		31				636

		4		41		15		41																																														150		20		420		440		1.0091743119				300		612		31				643

		5		34		16		34																																														200		20		424		444		1.0183486239

		6		68		17		58																																														300		20		436		456		1.0458715596

		7		413		18		330

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.		D24		D25		#120		Int 1		#121		Int 2		#122		Int 3		Pulse sum		h		ideal				200 V		#120		Int 1		#121		Int 2		#122		Int 3		Pulse sum		h		400 V		#120		Int 1		#121		Int 2		#122		Int 3		Pulse sum		h						Volt scan		#120		Int 1		#121		Int 2		#122		Total		Normalised		Rout/total

				121		40		117				43		30		87		30		24		167		24		48		17		215		0.223255814		0		0				24		20		266		10		34		0		300		0.1133333333				10		0		372		-24		20		0		392		0.0510204082						50		0		0		61		0		24		85		0.2093596059		0

				122		51.7						44		40		77		24		15		140		31		54		117		194		0.2783505155		117		1				27		15		242		27		58		0		300		0.1933333333				0		0		376		-24		31		0		407		0.0761670762						100		20		0		106		0		34		140		0.3448275862		0

												45		50		67		24		20		99		37		65		0		164		0.3963414634								15		0		171		44		75		0		246		0.3048780488				10		0		311		0		75		0		386		0.1943005181						150		27		10		157		24		48		205		0.5049261084		0.0487804878

												47		70		47		0		0		58		41		95		0		153		0.6209150327								0		0		68		48		146		0		214		0.6822429907				0		0		61		17		270		0		331		0.8157099698						200		20		10		253		10		34		287		0.7068965517		0.0348432056

		#121		Amplitude		#122		Amplitude				48		80		37		0		0		65		41		143		10		208		0.6875								0		0		58		41		229		0		287		0.7979094077				0		0		34		0		366		-13		400		0.915						250		10		5		317		0		27		344		0.8472906404		0.0145348837

		38		345		49		366				49		90		27		0		0		51		34		157		0		208		0.7548076923								0		0		44		27		266		0		310		0.8580645161				0		0		27		0		376		-17		403		0.9330024814						300		0		0		349		0		31		380		0.9359605911		0

		39		37		50		201																																																																						350		0		0		362		-15		27		389		0.9581280788		0

		40		30		51		34																																																																						400		0		0		372		-17		34		406		1		0

		41		34		52		24																																																																						500		0		0		383		-20		27		410		1.0098522167		0

		42		195		53		58

		43		362		54		342

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				200 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		400 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h						Volt scan		#109		#110		Total		Normalised

				109		12.4		116				15		26		90		31		178		51		229		0.2227074236		0		0				15		280		24		304		0.0789473684						369		0		369		0						50		65		0		65		0.1747311828

				110		24						16		36		80		24		154		58		212		0.2735849057		116		1				24		263		41		304		0.1348684211						372		0		372		0						100		123		37		160		0.4301075269

												17		46		70		20		123		71		194		0.3659793814								30		215		71		286		0.2482517483						331		41		372		0.1102150538						150		171		51		222		0.5967741935

												19		66		50		0		68		95		163		0.5828220859								0		71		146		217		0.6728110599						58		242		300		0.8066666667						200		287		24		311		0.8360215054

		#109		Amplitude		#110		Amplitude				20		76		40		0		68		146		214		0.6822429907								0		58		242		300		0.8066666667						34		338		372		0.9086021505						250		334		0		334		0.8978494624

		10		308		21		291				21		86		30		0		58		167		225		0.7422222222								0		44		259		303		0.8547854785						0		345		345		1						300		351		0		351		0.9435483871

		11		37		22		208																																																				350		366		0		366		0.9838709677

		12		0		23		31																																																				400		372		0		372		1

		13		0		24		27																																																				500		383		0		383		1.0295698925

		14		225		25		31

		15		321		26		235

						27		285

		Bias 250 V		Strip #		Centre		Distance		100 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				300 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		400 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h						Volt scan		#72		#73		Total		Normalised

				72		29.1		114				31.5		24		90				253		34		287		0.118466899		0		0						355		1		356		0.0028089888						0		0		0		0						25		44		20		64		0.170212766

				73		40.5						32.5		34		80				242		48		290		0.1655172414		114		1						386		1		387		0.0025839793																		50		95		41		136		0.3617021277

												33.5		44		70				150		78		228		0.3421052632										280		41		321		0.1277258567																		75		150		58		208		0.5531914894

												35.5		64		50				54		120		174		0.6896551724										51		222		273		0.8131868132																		100		240		51		291		0.7739361702

		#72		Amplitude		#73		Amplitude				36.5		74		40				68		215		283		0.7597173145										17		376		393		0.9567430025																		125		311		27		338		0.8989361702

		27		249		38		311				37.5		84		30				41		253		294		0.8605442177										1		386		387		0.9974160207																		150		342		10		352		0.9361702128

		28		71		39		106				38		89		25				41		249		290		0.8586206897										20		355		375		0.9466666667																		200		355		10		365		0.9707446809

		28.5		25		40		20																																																				300		376		0		376		1

		29		0		41		31																																																				400		383		0		383		1.0186170213

		30		58		42		154

		31		256		43		334

		Bias 250 V		Strip #		Centre		Distance		100 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				150 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		300 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		200 V		Pulse Left		Pulse Right		Pulse sum		h		Volt scan		#92		#93		Total		Normalised

				92		37.8		116				40		22		94		20		146		41		187		0.2192513369		0		0						259		24		283		0.0848056537						352		1		353		0.0028328612				331		5		336		0.0148809524		50		65		10		75		0.2049180328

				93		49.4						41		32		84		20		140		44		184		0.2391304348		116		1						246		34		280		0.1214285714						369		1		370		0.0027027027				334		5		339		0.0147492625		75		95		10		105		0.2868852459

												42		42		74		24		112		51		163		0.3128834356										208		65		273		0.2380952381						355		1		356		0.0028089888				300		34		334		0.1017964072		100		129		27		156		0.4262295082

												44.5		67		49		0		68		89		157		0.5668789809										82		143		225		0.6355555556						65		256		321		0.7975077882				71		215		286		0.7517482517		125		167		27		194		0.5300546448

		#92		Amplitude		#93		Amplitude				45		72		44				71		103		174		0.591954023										78		198		276		0.7173913043						37		334		371		0.9002695418				54		291		345		0.8434782609		150		236		30		266		0.7267759563

		35		352		47		345				46		82		34				54		123		177		0.6949152542										54		236		290		0.8137931034						1		370		371		0.9973045822				41		328		369		0.8888888889		200		328		0		328		0.8961748634

		36		143		48		68				47		92		24				48		133		181		0.7348066298										48		259		307		0.8436482085						10		359		369		0.972899729				35		331		366		0.9043715847		250		355		0		355		0.9699453552

		37		17		49		0																																																										300		366		0		366		1

		38		17		49.5		0																																																										400		379		0		379		1.0355191257

		39		95		50		0

		40		325		51		116

						52		321

		Bias 250 V		Strip #		Centre		Distance		20 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				50 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		200 V		Pulse Left		Pulse Right		Pulse sum		h								Volt scan		#32		#33		Total		Normalised

				32		43.2		108				45.5		23		85		24		188		30		218		0.1376146789		0		0				24		317		1		318		0.0031446541				400		1		401		0.0024937656								10		89		41		130		0.3147699758

				33		54						46.5		33		75		20		174		44		218		0.2018348624		108		1				20		325		10		335		0.0298507463				410		1		411		0.00243309								20		171		41		212		0.5133171913

												47.5		43		65		24		123		65		188		0.3457446809								20		242		54		296		0.1824324324				342		37		379		0.0976253298								30		232		34		266		0.6440677966

												49		58		50		0		41		58		99		0.5858585859										44		109		153		0.7124183007				51		164		215		0.7627906977								50		321		0		321		0.7772397094

		#32		Amplitude		#33		Amplitude				49.5		63		45				68		116		184		0.6304347826										68		212		280		0.7571428571				65		297		362		0.820441989								75		362		0		362		0.8765133172

		40		393		51		413				50.5		73		35				58		157		215		0.7302325581										44		297		341		0.8709677419				24		389		413		0.9418886199								100		383		0		383		0.9273607748

		41		181		52		291				51		78		30				48		164		212		0.7735849057										41		304		345		0.8811594203				15		393		408		0.9632352941								150		396		0		396		0.9588377724

		42		31		53		51																																																				200		413		0		413		1

		43		24		54		17																																																				300		420		0		420		1.0169491525

		44		80		55		50

		45		359		56		280

						57		403

		Bias 250 V		Strip #		Centre		Distance		50 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				100 V		Pulse Left		Pulse Right		Pulse sum		h		300 V		Pulse Left		Pulse Right		Pulse sum		h										Volt scan		#53		#54		#55		#56		Total		Normalised

				54		39		110				42.5		35		75		24		259		37		296		0.125		0		0				352		1		353		0.0028328612				400		1		401		0.0024937656										10		13		27		41		13		68		0.17

				55		50						43		40		70		24		222		48		270		0.1777777778		110		1				331		1		332		0.0030120482				393		1		394		0.0025380711										25		20		61		109		20		170		0.425

												44		50		60		0		123		58		181		0.320441989								195		44		239		0.1841004184				239		41		280		0.1464285714										50				266		41				307		0.7675

												45.5		65		45		0		51		116		167		0.6946107784								42		178		220		0.8090909091				61		215		276		0.7789855072										75				334		14				348		0.87

		#54		Amplitude		#55		Amplitude				46		70		40				70		201		271		0.741697417								51		308		359		0.8579387187				51		355		406		0.8743842365										100				359		0				359		0.8975

		37		352		47		400				47		80		30				43		260		303		0.8580858086								17		355		372		0.9543010753				1		400		401		0.9975062344										150				372		0				372		0.93

		38		44		48		280																																																				200				383		0				383		0.9575

		39		27		49		41																																																				250				396		0				396		0.99

		40		51		50		20																																																				300				400		0				400		1

		41		266		51		51								512		63		575																																								400				406						406		1.015

		42		390		52		273

						53		410

		Bias 250 V		Strip #		Centre		Distance		50 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				100 V		Pulse Left		Pulse Right		Pulse sum		h		250 V		Pulse Left		Pulse Right		Pulse sum		h										Volt scan		#64		#65		Total		Normalised

				63		1		120				4.5		35		85		37		161		65		226		0.2876106195		0		0				317		1		318		0.0031446541				376		1		377		0.0026525199										25		34		75		109		0.2632850242

				64		13						5.5		45		75		30		137		82		219		0.3744292237		120		1				297		54		351		0.1538461538				376		15		391		0.0383631714										50		55		164		219		0.5289855072

												6		50		70		0		123		78		201		0.3880597015								249		58		307		0.1889250814				325		41		366		0.1120218579										75		37		290		327		0.7898550725

												7.5		65		55		0		38		51		89		0.5730337079								40		106		146		0.7260273973				51		129		180		0.7166666667										100		27		330		357		0.8623188406

		#63		Amplitude		#64		Amplitude				8		70		50				71		103		174		0.591954023								61		242		303		0.798679868				58		300		358		0.8379888268										150		27		359		386		0.9323671498

		-1		352		10		400				9		80		40				75		143		218		0.6559633028								41		325		366		0.8879781421				31		372		403		0.9230769231										200		24		372		396		0.9565217391

		0		44		11		280				10		90		30				51		164		215		0.7627906977								34		334		368		0.9076086957				20		389		409		0.9511002445										250		20		379		399		0.9637681159

		1		27		12		41																																																				300		24		382		406		0.9806763285

		2		51		13		20																																																				350		24		390		414		1

		3		266		14		51

		4		390		15		273





Irr. corr. (6)

		Bias 250 V		Strip #		Centre		Distance		100 V		Local coord.		D24		D25		Pulse Left		Pulse Right		Pulse sum		h		ideal				200 V		Pulse Left		Pulse Right		Pulse sum		h		300 V		Pulse Left		Pulse Right		Pulse sum		h				Volt scan		#13		#14		Total		Normalised						Strip #5		Volt scan		Normalised

				13		8.5		110				11		25		85		351		17		368		0.0461956522		0		0				369		17		386		0.0440414508				364		17		381		0.0446194226				20		5		205		210		0.4338842975						10		140		0.2868852459

				14		19.5						12		35		75		387		24		411		0.0583941606		110		1				414		24		438		0.0547945205				414		24		438		0.0547945205				30		5		273		278		0.5743801653						30		285		0.5840163934

												13		45		65		328		54		382		0.1413612565								374		55		429		0.1282051282				383		48		431		0.1113689095				40		54		323		377		0.7789256198						50		393		0.8053278689

												14		55		55		154		73		227		0.3215859031								164		59		223		0.264573991				173		68		241		0.2821576763				50		45		360		405		0.8367768595						70		434		0.8893442623

		#13		Amplitude		#14		Amplitude				15		65		45		54		223		277		0.8050541516								63		264		327		0.8073394495				82		278		360		0.7722222222				75		41		405		446		0.9214876033						100		454		0.9303278689

		6		364		17		351				16		75		35		36		378		414		0.9130434783								36		424		460		0.9217391304				32		424		456		0.9298245614				100		32		428		460		0.9504132231						150		468

		7		164		18		164				17		85		25		23		414		437		0.9473684211								23		460		483		0.9523809524				20		464		484		0.958677686				120		23		437		460		0.9504132231						200		485		0.993852459

		8		30		19		0																																												150		27		446		473		0.9772727273						300		488		1

		9		0		20		0																																												200		23		455		478		0.9876033058

		10		209		21		196																																												300		20		464		484		1

		11		370		22		392

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.		D24		D25		#120		Int 1		#121		Int 2		#122		Int 3		Pulse sum		h		ideal				200 V		#120		Int 1		#121		Int 2		#122		Int 3		Pulse sum		h		400 V		#120		Int 1		#121		Int 2		#122		Int 3		Pulse sum		h						Volt scan		#120		Int 1		#121		Int 2		#122		Total		Normalised

				121		40		117				43		30		87		30		24		167		24		48		17		215		0.223255814		0		0				24		20		266		10		34		0		300		0.1133333333				10		0		372		-24		20		0		392		0.0510204082						50		0		0		61		0		24		85		0.2093596059

				122		51.7						44		40		77		24		15		140		31		54		117		194		0.2783505155		117		1				27		15		242		27		58		0		300		0.1933333333				0		0		376		-24		31		0		407		0.0761670762						100		20		0		106		0		34		140		0.3448275862

												45		50		67		24		20		99		37		65		0		164		0.3963414634								15		0		171		44		75		0		246		0.3048780488				10		0		311		0		75		0		386		0.1943005181						150		27		10		157		24		48		205		0.5049261084

												47		70		47		0		0		58		41		95		0		153		0.6209150327								0		0		68		48		146		0		214		0.6822429907				0		0		61		17		270		0		331		0.8157099698						200		20		10		253		10		34		287		0.7068965517

		#121		Amplitude		#122		Amplitude				48		80		37		0		0		65		41		143		10		208		0.6875								0		0		58		41		229		0		287		0.7979094077				0		0		34		0		366		-13		400		0.915						250		10		5		317		0		27		344		0.8472906404

		38		345		49		366				49		90		27		0		0		51		34		157		0		208		0.7548076923								0		0		44		27		266		0		310		0.8580645161				0		0		27		0		376		-17		403		0.9330024814						300		0		0		349		0		31		380		0.9359605911

		39		37		50		201																																																																						350		0		0		362		-15		27		389		0.9581280788

		40		30		51		34																																																																						400		0		0		372		-17		34		406		1

		41		34		52		24																																																																						500		0		0		383		-20		27		410		1.0098522167

		42		195		53		58

		43		362		54		342

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				200 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		400 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h						Volt scan		#109		#110		Total		Normalised

				109		12.4		116				15		26		90		31		178		51		229		0.2227074236		0		0				15		280		24		304		0.0789473684						369		15		384		0.0390625						50		65		0		65		0.1747311828

				110		24						16		36		80		24		154		58		212		0.2735849057		116		1				24		263		41		304		0.1348684211						372		24		396		0.0606060606						100		123		37		160		0.4301075269

												17		46		70		20		123		71		194		0.3659793814								30		215		71		286		0.2482517483						331		41		372		0.1102150538						150		171		51		222		0.5967741935

												19		66		50		0		68		95		163		0.5828220859								0		71		146		217		0.6728110599						58		242		300		0.8066666667						200		287		24		311		0.8360215054

		#109		Amplitude		#110		Amplitude				20		76		40		0		68		146		214		0.6822429907								0		58		242		300		0.8066666667						34		338		372		0.9086021505						250		334		0		334		0.8978494624

		10		308		21		291				21		86		30		0		58		167		225		0.7422222222								0		44		259		303		0.8547854785						15		345		360		0.9583333333						300		351		0		351		0.9435483871

		11		37		22		208																																																				350		366		0		366		0.9838709677

		12		0		23		31																																																				400		372		0		372		1

		13		0		24		27																																																				500		383		0		383		1.0295698925

		14		225		25		31

		15		321		26		235

						27		285

		Bias 250 V		Strip #		Centre		Distance		100 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				300 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		400 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h						Volt scan		#72		#73		Total		Normalised

				72		29.1		114				31.5		24		90				253		34		287		0.118466899		0		0						355		14		369		0.0379403794						0		0		0		0						25		44		20		64		0.170212766

				73		40.5						32.5		34		80				242		48		290		0.1655172414		114		1						386		25		411		0.0608272506																		50		95		41		136		0.3617021277

												33.5		44		70				150		78		228		0.3421052632										280		56		336		0.1666666667																		75		150		58		208		0.5531914894

												35.5		64		50				54		120		174		0.6896551724										51		222		273		0.8131868132																		100		240		51		291		0.7739361702

		#72		Amplitude		#73		Amplitude				36.5		74		40				68		215		283		0.7597173145										17		376		393		0.9567430025																		125		311		27		338		0.8989361702

		27		249		38		311				37.5		84		30				41		253		294		0.8605442177										1		386		387		0.9974160207																		150		342		10		352		0.9361702128

		28		71		39		106				38		89		25				41		249		290		0.8586206897										20		355		375		0.9466666667																		200		355		10		365		0.9707446809

		28.5		25		40		20																																																				300		376		0		376		1

		29		0		41		31																																																				400		383		0		383		1.0186170213

		30		58		42		154

		31		256		43		334

		Bias 250 V		Strip #		Centre		Distance		100 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				150 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		300 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		200 V		Pulse Left		Pulse Right		Pulse sum		h		Volt scan		#92		#93		Total		Normalised

				92		37.8		116				40		22		94		20		146		41		187		0.2192513369		0		0						259		24		283		0.0848056537						352		15		367		0.0408719346				331		20		351		0.056980057		50		65		10		75		0.2049180328

				93		49.4						41		32		84		20		140		44		184		0.2391304348		116		1						246		34		280		0.1214285714						369		27		396		0.0681818182				334		29		363		0.0798898072		75		95		10		105		0.2868852459

												42		42		74		24		112		51		163		0.3128834356										208		65		273		0.2380952381						355		36		391		0.0920716113				300		55		355		0.1549295775		100		129		27		156		0.4262295082

												44.5		67		49		0		68		89		157		0.5668789809										82		143		225		0.6355555556						65		256		321		0.7975077882				71		215		286		0.7517482517		125		167		27		194		0.5300546448

		#92		Amplitude		#93		Amplitude				45		72		44				71		103		174		0.591954023										78		198		276		0.7173913043						37		334		371		0.9002695418				54		291		345		0.8434782609		150		236		30		266		0.7267759563

		35		352		47		345				46		82		34				54		123		177		0.6949152542										54		236		290		0.8137931034						1		370		371		0.9973045822				41		328		369		0.8888888889		200		328		0		328		0.8961748634

		36		143		48		68				47		92		24				48		133		181		0.7348066298										48		259		307		0.8436482085						10		359		369		0.972899729				35		331		366		0.9043715847		250		355		0		355		0.9699453552

		37		17		49		0																																																										300		366		0		366		1

		38		17		49.5		0																																																										400		379		0		379		1.0355191257

		39		95		50		0

		40		325		51		116

						52		321

		Bias 250 V		Strip #		Centre		Distance		20 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				50 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		200 V		Pulse Left		Pulse Right		Pulse sum		h								Volt scan		#32		#33		Total		Normalised

				32		43.2		108				45.5		23		85		24		188		30		218		0.1376146789		0		0				24		317		14		331		0.0422960725				400		15		415		0.0361445783								10		89		41		130		0.3147699758

				33		54						46.5		33		75		20		174		44		218		0.2018348624		108		1				20		325		30		355		0.0845070423				410		25		435		0.0574712644								20		171		41		212		0.5133171913

												47.5		43		65		24		123		65		188		0.3457446809								20		242		74		316		0.2341772152				342		37		379		0.0976253298								30		232		34		266		0.6440677966

												49		58		50		0		41		58		99		0.5858585859										44		109		153		0.7124183007				51		164		215		0.7627906977								50		321		0		321		0.7772397094

		#32		Amplitude		#33		Amplitude				49.5		63		45				68		116		184		0.6304347826										68		212		280		0.7571428571				65		297		362		0.820441989								75		362		0		362		0.8765133172

		40		393		51		413				50.5		73		35				58		157		215		0.7302325581										44		297		341		0.8709677419				24		389		413		0.9418886199								100		383		0		383		0.9273607748

		41		181		52		291				51		78		30				48		164		212		0.7735849057										41		304		345		0.8811594203				15		393		408		0.9632352941								150		396		0		396		0.9588377724

		42		31		53		51																																																				200		413		0		413		1

		43		24		54		17																																																				300		420		0		420		1.0169491525

		44		80		55		50

		45		359		56		280

						57		403

		Bias 250 V		Strip #		Centre		Distance		50 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				100 V		Pulse Left		Pulse Right		Pulse sum		h		300 V		Pulse Left		Pulse Right		Pulse sum		h										Volt scan		#53		#54		#55		#56		Total		Normalised

				54		39		110				42.5		35		75		24		259		37		296		0.125		0		0				352		15		367		0.0408719346				400		17		417		0.0407673861										10		13		27		41		13		68		0.17

				55		50						43		40		70		24		222		48		270		0.1777777778		110		1				331		25		356		0.0702247191				393		29		422		0.0687203791										25		20		61		109		20		170		0.425

												44		50		60		0		123		58		181		0.320441989								195		55		250		0.22				239		61		300		0.2033333333										50				266		41				307		0.7675

												45.5		65		45		0		51		116		167		0.6946107784								42		178		220		0.8090909091				61		215		276		0.7789855072										75				334		14				348		0.87

		#54		Amplitude		#55		Amplitude				46		70		40				70		201		271		0.741697417								51		308		359		0.8579387187				51		355		406		0.8743842365										100				359		0				359		0.8975

		37		352		47		400				47		80		30				43		260		303		0.8580858086								17		355		372		0.9543010753				1		400		401		0.9975062344										150				372		0				372		0.93

		38		44		48		280																																																				200				383		0				383		0.9575

		39		27		49		41																																																				250				396		0				396		0.99

		40		51		50		20																																																				300				400		0				400		1

		41		266		51		51								512		63		575																																								400				406						406		1.015

		42		390		52		273

						53		410

		Bias 250 V		Strip #		Centre		Distance		50 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				100 V		Pulse Left		Pulse Right		Pulse sum		h		250 V		Pulse Left		Pulse Right		Pulse sum		h										Volt scan		#64		#65		Total		Normalised

				63		1		120				4.5		35		85		37		161		65		226		0.2876106195		0		0				317		15		332		0.0451807229				376		15		391		0.0383631714										25		34		75		109		0.2632850242

				64		13						5.5		45		75		30		137		82		219		0.3744292237		120		1				297		50		347		0.144092219				376		39		415		0.0939759036										50		55		164		219		0.5289855072

												6		50		70		0		123		78		201		0.3880597015								249		54		303		0.1782178218				325		61		386		0.1580310881										75		37		290		327		0.7898550725

												7.5		65		55		0		38		51		89		0.5730337079								40		106		146		0.7260273973				51		129		180		0.7166666667										100		27		330		357		0.8623188406

		#63		Amplitude		#64		Amplitude				8		70		50				71		103		174		0.591954023								61		242		303		0.798679868				58		300		358		0.8379888268										150		27		359		386		0.9323671498

		-1		352		10		400				9		80		40				75		143		218		0.6559633028								41		325		366		0.8879781421				31		372		403		0.9230769231										200		24		372		396		0.9565217391

		0		44		11		280				10		90		30				51		164		215		0.7627906977								34		334		368		0.9076086957				20		389		409		0.9511002445										250		20		379		399		0.9637681159

		1		27		12		41																																																				300		24		382		406		0.9806763285

		2		51		13		20																																																				350		24		390		414		1

		3		266		14		51

		4		390		15		273





Irr. corr. (6)

		0		1		0

		0				0

		0				0

		0				0

		0				0

		0				0

		0				0

		0				0

		0

		0



0

1

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



Irradiated (6)

		

		Vfd

		Normalised		10		30		50		70		120

		50		0.2016		0.2		0.1500938086		0.1529411765		0.2610294118

		100		0.3248		0.2585365854		0.3114446529		0.3025210084		0.4393382353

		150		0.4832		0.4170731707		0.4671669794		0.4352941176		0.8088235294

		200		0.656		0.6		0.6303939962		0.6268907563		0.9227941176

		250		0.8032		0.8097560976		0.8105065666		0.7613445378		0.9430147059

		300		0.9104		0.856097561		0.8780487805		0.8789915966		0.9411764706

		350		0.928		0.8902439024		0.9099437148		0.9176470588		0.9724264706

		400		0.9696		0.9268292683		0.9230769231		0.9193277311		0.9852941176

		500		1		1		1		1		1

		Strip #		VFD

		10

		30

		50

		70

		120

		Eta scan		#10		#11

								D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		Norm. pulse

								20		90		239		62		301		0.2059800664		0		0				20		90		409		59		468		0.1260683761		0.6688888889

								30		80		350		76		426		0.1784037559		110		1				30		80		582		32		614		0.0521172638		0.9466666667

								40		70		298		104		402		0.2587064677								40		70		520		60		580		0.1034482759		0.8933333333

								50		60		149		83		232		0.3577586207								50		60		270		76		346		0.2196531792		0.5155555556

								60		50		90		152		242		0.6280991736								60		50		100		281		381		0.7375328084		0.5377777778

								70		40		118		291		409		0.7114914425								70		40		80		544		624		0.8717948718		0.9088888889

								80		30		94		357		451		0.7915742794								80		30		55		564		619		0.9111470113		1.0022222222

								90		20		80		277		357		0.7759103641								90		20		76		447		523		0.8546845124		0.7933333333

				#30		#31		200 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		Norm. pulse

										20		90		114		61		175		0.3485714286		0		0				20		90		195		58		253		0.2292490119		0.6730769231

										30		80		168		47		215		0.2186046512		110		1				30		80		309		15		324		0.0462962963		0.8269230769

										40		70		160		75		235		0.3191489362								40		70		328		27		355		0.076056338		0.9038461538

										50		60		95		73		168		0.4345238095								50		60		161		58		219		0.2648401826		0.6461538462

										60		50		39		65		104		0.625								60		50		56		91		147		0.619047619		0.4

										70		40		58		147		205		0.7170731707								70		40		51		303		354		0.8559322034		0.7884615385

										80		30		52		203		255		0.7960784314								80		30		15		372		387		0.9612403101		0.9807692308

										90		20		42		198		240		0.825								90		20		10		367		377		0.9734748011		0.9230769231

				#50		#51		200 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		Norm. pulse

										20		90		253		45		298		0.1510067114		0		0				20		90		429		24		453		0.0529801325		0.903030303

										30		80		225		55		280		0.1964285714		110		1				30		80		423		32		455		0.0703296703		0.8484848485

										40		70		177		86		263		0.3269961977								40		70		385		72		457		0.1575492341		0.796969697

										50		60		0		0		0										50		60		0		0		0				0

										60		50		62		128		190		0.6736842105								60		50		69		267		336		0.7946428571		0.5757575758

										70		40		83		232		315		0.7365079365								70		40		42		461		503		0.916500994		0.9545454545

										80		30		52		277		329		0.8419452888								80		30		28		461		489		0.9427402863		0.996969697

										90		20		55		270		325		0.8307692308								90		20		24		468		492		0.9512195122		0.9848484848

				#70		#71		200 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		Norm. pulse

										20		95		263		55		318		0.1729559748		0		0				20		95		395		59		454		0.1299559471		0.7066666667

										30		85		374		42		416		0.1009615385		115		1				30		85		547		20		567		0.0352733686		0.9244444444

										40		75		315		76		391		0.1943734015								40		75		550		38		588		0.0646258503		0.8688888889

										50		65		121		55		176		0.3125								50		65		204		58		262		0.2213740458		0.3911111111

										60		55		48		50		98		0.5102040816								60		55		59		83		142		0.5845070423		0.2177777778

										70		45		114		253		367		0.689373297								70		45		66		499		565		0.8831858407		0.8155555556

										80		35		76		333		409		0.8141809291								80		35		38		561		599		0.9365609349		0.9088888889

										90		25		66		381		447		0.8523489933								90		25		34		513		547		0.9378427788		0.9933333333

				#120		#121		200 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		Norm. pulse

										20		100		346		121		467		0.2591006424		0		0				20		100		377		135		512		0.263671875		0.6867647059

										30		90		616		59		675		0.0874074074		115		1				30		90		682		48		730		0.0657534247		0.9926470588

										40		80		616		62		678		0.0914454277								40		80		665		52		717		0.0725244073		0.9970588235

										50		70		308		55		363		0.1515151515								50		70		385		66		451		0.1463414634		0.7117647059

										60		60		59		59		118		0.5								60		60		66		66		132		0.5		0.231372549

										70		50		90		360		450		0.8								70		50		86		450		536		0.8395522388		0.8823529412

										80		40		59		450		509		0.884086444								80		40		42		520		562		0.9252669039		0.9980392157

										90		30		38		468		506		0.9249011858								90		30		28		523		551		0.9491833031		0.9921568627

				Sample of metal strip scan

		#10		#10		Amplitude		Norm. ampl.

		25.5		0		491		0.982

		26		5		376		0.752

		26.5		10		173		0.346

		27.5		20		0		0

		28		25		0		0

		28.5		30		0		0

		29.5		40		108.6		0.2172

		30		45		310		0.62

		30.5		50		472		0.944

		Strip		#90		#91		200 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		Pulse Left		Pulse Right		Pulse sum		h

										38		30		87.5		329		38		367		0.1035422343		0		0				436		14		450		0.0311111111

										39		40		77.5		281		69		350		0.1971428571		117.5		1				433		25		458		0.0545851528

										40		50		67.5		142		83		225		0.3688888889								235		76		311		0.2443729904

										41		60		57.5		52		86		138		0.6231884058								38		136		174		0.7816091954

										42		70		47.5		94		274		368		0.7445652174								48		485		533		0.9099437148

										43		80		37.5		48		385		433		0.8891454965								0		526		526		1

										44		90		27.5		38		402		440		0.9136363636								0		523		523		1

		Strip #		150 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				200 V		Pulse Left		Pulse Right		Pulse sum		h		400 V		Pulse Left		Pulse Right		Pulse sum		h

		100				24		30		85		276		71		347		0.204610951		0		0				405		25		430		0.0581395349				509		24		533		0.0450281426

		101				25		40		75		233		104		337		0.3086053412		115		1				388		74		462		0.1601731602				516		38		554		0.0685920578

						26		50		65		91		57		148		0.3851351351								142		54		196		0.2755102041				219		62		281		0.2206405694

						27		60		55		51		67		118		0.5677966102								64		101		165		0.6121212121				67		148		215		0.688372093

						28		70		45		121		202		323		0.6253869969								111		317		428		0.7406542056				61		476		537		0.886405959

						29		80		35		91		250		341		0.7331378299								71		385		456		0.8442982456				37		496		533		0.9305816135

						30		90		25		74		290		364		0.7967032967								57		425		482		0.8817427386				34		519		553		0.938517179

		New 0 position

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		Ideal				200 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		400 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h

				120		22.2		118				25		28		90		32		0		333		23		50		0		0		383		0.1305483029		0		0				25		250		-250		13		0		396		-13		35		0		0		431		0.0812064965				25		250		-250		10		0		469		-23		32		0		0		501		0.0638722555

				121		34						26		38		80		32		0		314		30		54		0		0		368		0.1467391304		118		1				26		260		-260		23		0		424		-13		36		0		0		460		0.0782608696				26		260		-260		0		0		469		-27		30		0		0		499		0.0601202405

												27		48		70		27		0		259		54		86		0		13		345		0.2492753623								27		270		-270		0		0		387		23		68		0		0		455		0.1494505495				27		270		-270		0		0		492		-23		63		0		0		555		0.1135135135

												28		58		60		0		0		41		0		27		0		0		68		0.3970588235								28		280		-280		0		0		59		0		41		0		0		100		0.41				28		280		-280		0		0		77		0		45		0		0		122		0.368852459

		#121		Ampitude		#121		Amplitude				29		68		50		18		0		68		41		132		0		32		200		0.66								29		290		-290		0		0		59		32		178		0		0		237		0.7510548523				29		290		-290		0		0		73		18		273		0		32		346		0.789017341

		20		483		32		451				30		78		40		18		0		86		68		264		0		27		350		0.7542857143								30		300		-300		0		0		50		10		506		-18		0		556		0.9100719424				30		300		-300		0		0		50		10		506		-18		0		556		0.9100719424

		21		86		33		54				31		88		30		0				63		50		342		0		32		405		0.8444444444								31		310		-310		0		0		41		18		428		-23		18		469		0.9125799574				31		310		-310		0		0		36		0		496		-23		18		532		0.9323308271

		22		45		34		32

		23		23		35		45				Estimated strip width:

		24		154		36		387				35 µm

		25		470





Irradiated (6)

		0		0		0

		0		0		0

		0		0

		0		0

		0		0

		0		0



200 Volts

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #650-651

0

0

0

0

0

0

0

0

0

0

0

0

0

0



Irr. (7)

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D24		D25		Pulse 24		Pulse 25		Pulse sum		h		ideal				400 V		Local coord.		D24		D25		Pulse 24		Pulse 25		Pulse sum		h

				24		22.2		120				24.5		23		97		589		98		687		0.1426491994		0		0				24.5		23		97		841		0		841		0

				25		34.2						25.5		33		87		663		135		798		0.1691729323		120		1				25.5		33		87		892		0		892		0

												26.5		43		77		565		140		705		0.1985815603								26.5		43		77		841		61		902		0.0676274945

												27.5		53		67		425		233		658		0.3541033435								27.5		53		67		715		332		1047		0.3170964661

		#24		Amplitude		#25		Amplitude				28		58		62		388		318		706		0.4504249292								28		58		62		607		514		1121		0.4585191793

		20.5		715		32		738				28.5		63		57		322		388		710		0.5464788732								28.5		63		57		402		691		1093		0.6322049405

		21		579		32.5		663				29.5		73		47		196		520		716		0.7262569832								29.5		73		47		135		888		1023		0.8680351906

		21.5		462		33		486				30.5		83		37		201		645		846		0.7624113475								30.5		83		37		140		906		1046		0.8661567878

		22		374		33.5		402				31.5		93		27		140		551		691		0.7973950796								31.5		93		27		112		850		962		0.8835758836

		22.5		340		34		336				32		98		22		112		490		602		0.8139534884								32		98		22		98		771		869		0.8872266974

		23		416		34.5		327

		23.5		551		35		378

		24		631		35.5		462

		24.5		757		36		603

						36.5		705

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D39		D40		Pulse 39		Pulse 40		Pulse sum		h		ideal				400 V		Local coord.		D39		D40		Pulse 39		Pulse 40		Pulse sum		h

				39		38.5		120				41		25		95		537		98		635		0.1543307087		0		0				41		25		95		818		0		818		0

				40		50.5						42		35		85		598		159		757		0.2100396301		120		1				42		35		85		850		0		850		0

												43		45		75		495		159		654		0.2431192661								43		45		75		780		60		840		0.0714285714

												44		55		65		378		290		668		0.4341317365								44		55		65		663		397		1060		0.3745283019

		#39		Amplitude		#40		Amplitude				45		65		55		252		411		663		0.6199095023								45		65		55		360		673		1033		0.651500484

		37.5		446		49.5		474				46		75		45		168		547		715		0.765034965								46		75		45		126		892		1018		0.8762278978

		38.5		265		50.5		339				47		85		35		173		659		832		0.7920673077								47		85		35		103		897		1000		0.897

		39		274		51		367				48		95		25		135		603		738		0.8170731707								48		95		25		89		836		925		0.9037837838

		39.5		395		51.5		442				49		105		15		84		406		490		0.8285714286								49		105		15		84		682		766		0.8903394256

		40.5		553		52.5		679				50		115		5		70		276		346		0.7976878613								50		115		5		65		462		527		0.8766603416

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D64		D65		Pulse 64		Pulse 65		Pulse sum		h		ideal				400 V		Local coord.		D64		D65		Pulse 64		Pulse 65		Pulse sum		h

				64		38		118				39.5		15		103		509		84		593		0.1416526138		0		0				39.5		15		103		761		0		761		0

				65		49.8						40.5		25		93		738		135		873		0.1546391753		120		1				40.5		25		93		836		0		836		0

												41.5		35		83		715		135		850		0.1588235294								41.5		35		83		888		0		888		0

												42.5		45		73		593		206		799		0.2578222778								42.5		45		73		803		177		980		0.5581632653

		#64		Amplitude		#65		Amplitude				43.5		55		63		472		383		855		0.4479532164								43.5		55		63		654		547		1201		0.6378018318

		37		458		48.5		537				44.5		65		53		313		530		843		0.6287069988								44.5		65		53		318		766		1084		0.7066420664

		38		322		49.5		322				45.5		75		43		219		696		915		0.7606557377								45.5		75		43		126		902		1028		0.8774319066

		38.5		472		50		332				46.5		85		33		224		748		972		0.7695473251								46.5		85		33		131		916		1047		0.8748806113

		39		579		50.5		411				47.5		95		23		135		589		724		0.8135359116								47.5		95		23		98		813		911		0.8924259056

		40		813		51.5		705				48		100		18		121		514		635		0.8094488189								48		100		18		107		733		840		0.8726190476

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D85		D86		Pulse 85		Pulse 86		Pulse sum		h		ideal				400 V		Local coord.		D85		D86		Pulse 85		Pulse 86		Pulse sum		h		h-1

				85		46.5		120				47		5		115		472		89		561		0.8413547237		0		0				47		5		115		551		65		616		0.1055194805		0.8944805195

				86		58.5						48		15		105		705		89		794		0.8879093199		120		1				48		15		105		813		51		864		0.0590277778		0.9409722222

												49		25		95		864		117		981		0.880733945								49		25		95		920		0		920		0		1

												50		35		85		874		187		1061		0.8237511781								50		35		85		911		70		981		0.0713557594		0.9286442406

		#85		Amplitude		#86		Amplitude				51		45		75		799		201		1000		0.799								51		45		75		897		107		1004		0.1065737052		0.8934262948

		45		654		57		663				52		55		65		645		486		1131		0.5702917772								52		55		65		780		589		1369		0.4302410519		0.5697589481

		46		462		58		504				53		65		55		430		705		1135		0.3788546256								53		65		55		453		794		1247		0.6367281476		0.3632718524

		46.5		486		58.5		477				54		75		45		248		813		1061		0.2337417531								54		75		45		126		874		1000		0.874		0.126

		47		598		59		598				55		85		35		266		860		1126		0.2362344583								55		85		35		131		883		1014		0.8708086785		0.1291913215

		48		775		60		813				56		95		25		149		771		920		0.1619565217								56		95		25		107		845		952		0.887605042		0.112394958

												57		105		15		112		654		766		0.1462140992								57		105		15		93		705		798		0.8834586466		0.1165413534

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D85		D86		Pulse 85		Pulse 86		Pulse sum		h		ideal				Local coord.		D85		D86		Pulse 85		Pulse 86		Pulse sum		h

				120		25.5		120				27.5		20		100		472		89		561		0.1586452763		0		0		27.5		20		100		845		210		1055		0.1990521327

				121		37.5						28.5		30		90		705		89		794		0.1120906801		120		1		28.5		30		90		892		173		1065		0.1624413146

												29.5		40		80		864		117		981		0.119266055						29.5		40		80		916		177		1093		0.1619396157

												30.5		50		70		874		187		1061		0.1762488219						30.5		50		70		850		570		1420		0.4014084507

		#120		Amplitude		#121		Amplitude				31.5		60		60		799		201		1000		0.201						31.5		60		60		640		827		1467		0.5637355147

		24.5		719		36		794				32.5		70		50		645		486		1131		0.4297082228						32.5		70		50		187		900		1087		0.8279668813

		25.5		369		37		519				33.5		80		40		430		705		1135		0.6211453744						33.5		80		40		112		920		1032		0.8914728682

		26		561		37.5		481				34.5		90		30		248		813		1061		0.7662582469						34.5		90		30		177		911		1088		0.8373161765

		26.5		794		38		757				35.5		100		20		266		860		1126		0.7637655417						35.5		100		20		154		855		1009		0.8473736373

		27.5		902		39		888				36.5		110		10		635		771		1406		0.5483641536						36.5		110		10		168		673		841		0.8002378121

				Strip numbers																																																														Normalised

		Bias		24		25		total		39		40		total		64		65		total		84		85		86		87		total		total		64		65		total		99		100		total		73		74		total		120		121		total										1		2		3		4		5		6		7

		50		173		56		229		32		140		172		79		187		266		51		191		149		42		433		340		139		354		493		163		189		352		200		88		288		453		173		626										0.257751938		0.2470978441		0.2458423717		0.3912698413		0.2693190513		0.24		0.5424610052

		100		257		61		318		70		257		327		159		378		537		70		330		257		56		713		587		232		604		836		316		373		689		421		201		622		719		383		1102										0.5203488372		0.4262023217		0.424439624		0.6634920635		0.5271614384		0.5183333333		0.9549393414

		150		402		93		495		117		411		528		210		532		742		100		514		402		75		1091		916		378		796		1174		426		516		942		593		294		887		934		229		1163										0.7189922481		0.6666666667		0.6623282719		0.9317460317		0.7207345065		0.7391666667		1.0077989601

		200		589		98		687		131		589		720		219		719		938		75		659		467		47		1248		1126		378		889		1267		479		612		1091		779		255		1034		953		223		1176										0.9089147287		0.7744610282		0.8141720897		1.0055555556		0.8347360367		0.8616666667		1.0190641248

		250		748		0		748		112		743		855		191		818		1009		60		743		519		32		1354		1262		308		941		1249		506		699		1205		950		245		1195		948		238		1186										0.9777131783		0.8606965174		0.9125090383		0.9912698413		0.921958684		0.9958333333		1.027729636

		300		775		0		775		98		813		911		159		892		1051		51		771		551				1373		1322		250		994		1244		516		742		1258		1000		167		1167		948		215		1163										1.0184108527		0.9137645108		0.9558929863		0.9873015873		0.9625095639		0.9725		1.0077989601

		350		803		0		803		89		841		930		145		888		1033		37		743		547				1327		1290		221		1017		1238		512		742		1254		1053		167		1220		939		206		1145										1.0009689922		0.9071310116		0.9327548807		0.9825396825		0.9594491201		1.0166666667		0.9922010399

		400		841		0		841		89		892		981		140		888		1028		32		743		542				1317		1285		221		1029		1250		516		745		1261		1063		176		1239		950		238		1188										0.996124031		0.8988391376		0.9291395517		0.9920634921		0.9648048967		1.0325		1.0294627383

		500		860		0		860		84		850		934		154		878		1032		47		780		603				1430		1383		220		1040		1260		522		785		1307		1063		137		1200		944		210		1154										1		1		1		1		1		1		1

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D64		D65		Pulse 64		Pulse 65		Pulse sum		h		ideal				Local coord.		D64		D65		Pulse 64		Pulse 65		Pulse sum		h

				64		41		120				43		20		100		901		198		1099		0.1801637853		0		0		43		20		100		994		157		1151		0.1364031277

				65		53						44		30		90		930		343		1273		0.2694422624		120		1		44		30		90		1000		190		1190		0.1596638655

												45		40		80		901		337		1238		0.2722132472						45		40		80		970		180		1150		0.1565217391

												46		50		70		773		529		1302		0.4062980031						46		50		70		901		575		1476		0.3895663957

		#64		Amplitude		#65		Amplitude				47		60		60		616		755		1371		0.5506929249						47		60		60		762		883		1645		0.5367781155

		39		889		51		906				48		70		50		424		860		1284		0.6697819315						48		70		50		256		947		1203		0.78719867

		40		703		52		726				49		80		40		420		959		1379		0.6954314721						49		80		40		186		988		1174		0.8415672913

		40.5		453		52.5		465				50		90		30		325		912		1237		0.7372675829						50		90		30		192		994		1186		0.8381112985

		41		395		53		424				51		100		20		227		831		1058		0.7854442344						51		100		20		180		924		1104		0.8369565217

		42		837		54		813

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D99		D100		Pulse 99		Pulse 100		Pulse sum		h		ideal				Local coord.		D99		D100		Pulse 99		Pulse 100		Pulse sum		h

				99		4		120				6		20		100		872		86		958		0.0897703549		0		0		6		20		100		908		0		908		0

				100		16						7		30		90		902		140		1042		0.1343570058		120		1		7		30		90		942		23		965		0.0238341969

												8		40		80		855		133		988		0.1346153846						8		40		80		918		43		961		0.0447450572

												9		50		70		722		100		822		0.1216545012						9		50		70		815		403		1218		0.3308702791

		#99		Amplitude		#100		Amplitude				10		60		60		532		652		1184		0.5506756757						10		60		60		549		745		1294		0.5757341577

		2		832		14		772				11		70		50		270		785		1055		0.7440758294						11		70		50		130		892		1022		0.8727984344

		3		691		15		562				12		80		40		226		888		1114		0.7971274686						12		80		40		86		945		1031		0.916585839

		3.5		452		15.5		393				13		90		30		206		878		1084		0.8099630996						13		90		30		93		905		998		0.9068136273

		4		393		16		432				14		100		20		180		749		929		0.8062432723						14		100		20		165		815		980		0.8316326531

		5		729		17		749

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D73		D74		Pulse 73		Pulse 74		Pulse sum		h		ideal				Local coord.		D73		D74		Pulse 73		Pulse 74		Pulse sum		h

				73		5.5		120				6		5		115		384		384		768		0.5		0		0		6		5		115		503		503		1006		0.5

				74		17.5						7		15		105		648		113		761		0.1484888305		120		1		7		15		105		761		25		786		0.0318066158

												8		25		95		799		138		937		0.1472785486						8		25		95		899		22		921		0.0238870793

												9		35		85		818		157		975		0.161025641						9		35		85		950		16		966		0.016563147

		#73		Amplitude		#74		Amplitude				10		45		75		657		223		880		0.2534090909						10		45		75		872		111		983		0.1129196338

		3.5		767		15.5		755				11		55		65		555		456		1011		0.4510385757						11		55		65		761		531		1292		0.4109907121

		4.5		569		16.5		549				12		65		55		353		603		956		0.6307531381						12		65		55		317		797		1114		0.7154398564

		5		368		17		362				13		75		45		270		837		1107		0.756097561						13		75		45		108		1093		1201		0.9100749376

		5.5		299		17.5		396				14		85		35		309		936		1245		0.7518072289						14		85		35		108		1112		1220		0.9114754098

		6.5		613		18		679				15		95		25		230		916		1146		0.7993019197						15		95		25		83		1044		1127		0.92635315

		Strip #		10		11		Total		30		31		Total		50		51		Total		70		71		Total		90		91		Total		110		111		Total		Normalised		10		30		50		70		90		110

		50		67		15		82		38		8		46		36		15		51		50		10		60		74		18		92		616		180		796		50		0.1876430206		0.1916666667		0.2015810277		0.1754385965		0.2105263158		0.6683459278

		100		119		37		156		66		11		77		60		27		87		79		26		105		126		33		159		831		331		1162		100		0.356979405		0.3208333333		0.3438735178		0.3070175439		0.3638443936		0.9756507137

		150		158		43		201		86		23		109		85		27		112		116		34		150		208		54		262		906		285		1191		150		0.4599542334		0.4541666667		0.442687747		0.4385964912		0.5995423341		1

		200		262		34		296		138		18		156		136		27		163		186		30		216		324		0		324		936		198		1134		200		0.6773455378		0.65		0.6442687747		0.6315789474		0.7414187643		0.9521410579

		250		353		0		353		186		0		186		186		0		186		255		0		255		371		0		371		941		157		1098		250		0.8077803204		0.775		0.7351778656		0.7456140351		0.8489702517		0.9219143577

		300		398		0		398		213		0		213		215		0		215		282		0		282		391		0		391		941		168		1109		300		0.9107551487		0.8875		0.8498023715		0.8245614035		0.8947368421		0.9311502939

		350		429		0		429		231		0		231		225		0		225		295		0		295		417		0		417		953		128		1081		350		0.9816933638		0.9625		0.8893280632		0.8625730994		0.9542334096		0.9076406381

		400		429		0		429		234		0		234		245		0		245		312		0		312		429		0		429		970		163		1133		400		0.9816933638		0.975		0.9683794466		0.9122807018		0.9816933638		0.9513014274

		500		437		0		437		240		0		240		253		0		253		342		0		342		437		0		437		965		157		1122		500		1		1		1		1		1		0.9420654912

		Norm. factor						409.2						220.8						224.8						297.2						409						1108.6

																																																																																																		Routing/Total

																																																																														Strip 120-121				Pos. 39						Strip 120-121				Pos. 41.5

		Strip #		10		11		Total		30		31		Total		50		51		Total		70		71		Total		90		91		Total		110		111		Total		120		int 1		121		int 2		Total						Normalised		10		30		50		70		90		110		120										120		int 1		121		int 2				120		int 1		121		int 2				Rout. 1		Tot.1		Rou. 2		Tot. 2		Rout. 3		Tot. 3		Ratio 1		Ratio 2		Ratio 3

		50		41		85		126		24		58		82		0		80		80		15		76		91														38		21		104		-10		142						50		0.2016		0.2		0.1500938086		0.1529411765		0		0		0.2610294118								50		52		10		24		-10				28		20		70		-10				21		142		10		86		20		118		0.1478873239		0.1162790698		0.1694915254

		100		63		140		203		22		84		106		31		135		166		38		142		180														62		34		177		-21		239						100		0.3248		0.2585365854		0.3114446529		0.3025210084		0		0		0.4393382353								100		97		24		48		-17				66		38		135		-10				34		239		24		169		38		239		0.1422594142		0.1420118343		0.1589958159

		150		92		210		302		38		133		171		52		197		249		48		211		259														55		24		385		-31		440						150		0.4832		0.4170731707		0.4671669794		0.4352941176		0		0		0.8088235294								150		222		17		52		-17				66		38		284		-20				24		440		17		291		38		388		0.0545454545		0.058419244		0.0979381443

		200		81		329		410		39		207		246		45		291		336		48		325		373														48		15		454		-24		502						200		0.656		0.6		0.6303939962		0.6268907563		0		0		0.9227941176								200		287		0		55		0				55		21		395		-30				15		502		0		342		21		471		0.0298804781		0		0.0445859873

		250		59		443		502		32		300		332		34		398		432		24		429		453														45		0		468		-34		513						250		0.8032		0.8097560976		0.8105065666		0.7613445378		0		0		0.9430147059								250		308		-24		55		0				42		0		436		-45				0		513		-24		339		0		478		0		-0.0707964602		0

		300		59		510		569		30		321		351		35		433		468		28		495		523														34		-10		478		-34		512						300		0.9104		0.856097561		0.8780487805		0.8789915966		0		0		0.9411764706								300		308		-17		62		0				55		0		454		-42				-10		512		-17		353		0		509		-0.01953125		-0.0481586402		0

		350		50		530		580		23		342		365		31		454		485		30		516		546														34		-17		495		-34		529						350		0.928		0.8902439024		0.9099437148		0.9176470588		0		0		0.9724264706								350		315		-25		62		0				48		0		478		-45				-17		529		-25		352		0		526		-0.0321361059		-0.0710227273		0

		400		45		561		606		10		370		380		24		468		492		34		513		547														34		-17		502		-34		536						400		0.9696		0.9268292683		0.9230769231		0.9193277311		0		0		0.9852941176								400		315		-28		55		0				42		0		485		-38				-17		536		-28		342		0		527		-0.0317164179		-0.081871345		0

		500		45		580		625		10		400		410		10		523		533		34		561		595						1						1		34		-17		510		-34		544						500		1		1		1		1		1		1		1								500		340		-31		55		0				52		0		520		-38				-17		544		-31		364		0		572		-0.03125		-0.0851648352		0

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal														50		0.1529411765

				10		24		110				26		20		90		239		62		301		0.2059800664		0		0				26		20		90		409		59		468		0.1260683761		0		0												100		0.3025210084

				11		35						27		30		80		350		76		426		0.1784037559		110		1				27		30		80		582		0		582		0		110		1												150		0.4352941176

												28		40		70		298		104		402		0.2587064677								28		40		70		520		52		572		0.0909090909																200		0.6168907563

												29		50		60		149		83		232		0.3577586207								29		50		60		270		76		346		0.2196531792																250		0.7513445378

		#10		Amplitude		#11		Amplitude				30		60		50		90		152		242		0.6280991736								30		60		50		100		281		381		0.7375328084																300		0.8789915966

		25.5		491		37		343				31		70		40		118		291		409		0.7114914425								31		70		40		80		544		624		0.8717948718																350		0.9276470588

		26		376		38		0				32		80		30		94		357		451		0.7915742794								32		80		30		55		564		619		0.9111470113																400		0.9793277311

		26.5		173		39		0				33		90		20		80		277		357		0.7759103641								33		90		20		76		447		523		0.8546845124																500		1.03

		27.5		0		40		0

		28		0		41		406						25		0.1354679803																						25		0

		28.5		0										35		0.2190721649																						35		0

		29.5		108.6										45		0.3144329897																						45		0

		30		310										48		0.3333333333																						48		0.1697247706

		30.5		472										65		0.6071428571																						65		0.7439759036

														75		0.7055702918																						75		0.8892794376

														85		0.7814726841																						85		1

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h

				30		22		110				24		20		90		114		61		175		0.3485714286		0		0				24		20		90		195		58		253		0.2292490119

				31		33						25		30		80		168		47		215		0.2186046512		110		1				25		30		80		309		0		309		0

												26		40		70		160		75		235		0.3191489362								26		40		70		328		0		328		0

												27		50		60		95		73		168		0.4345238095								27		50		60		161		58		219		0.2648401826

		#30		Amplitude		#31		Amplitude				28		60		50		39		65		104		0.625								28		60		50		56		91		147		0.619047619

		18.5		210		31		280				29		70		40		58		147		205		0.7170731707								29		70		40		51		303		354		0.8559322034

		19.5		163		32		67				30		80		30		52		203		255		0.7960784314								30		80		30		5		372		377		0.9867374005

		20.5		91		33		47				31		90		20		42		198		240		0.825								31		90		20		10		367		377		0.9734748011

		21.5		37		34		49

		22.5		39		35		212

		23.5		137

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h

				50		49		110				51		20		90		253		45		298		0.1510067114		0		0				51		20		90		429		0		429		0

				51		60						52		30		80		225		55		280		0.1964285714		110		1				52		30		80		423		0		423		0

												53		40		70		177		86		263		0.3269961977								53		40		70		385		52		437		0.118993135

												54		50		60		0		0		0		0								54		50		60		0		0		0		0

		#50		Amplitude		#51		Amplitude				55		60		50		62		128		190		0.6736842105								55		60		50		69		267		336		0.7946428571

		46.5		320		57.5		385				56		70		40		83		232		315		0.7365079365								56		70		40		42		461		503		0.916500994

		47.5		42		58.5		50				57		80		30		52		277		329		0.8419452888								57		80		30		28		461		489		0.9427402863

		48.5		0		59.5		0				58		90		20		55		270		325		0.8307692308								58		90		20		24		468		492		0.9512195122

		49.5		0		60.5		30

		50.5		229		61.5		104						20										0.1510067114										20										0

						62.5		385						30										0.1964285714										30										0

														40										0.3269961977										40										0.118993135

														60										0.6736842105										60										0.7946428571

														70										0.7365079365										70										0.916500994

														80										0.8419452888										80										0.9427402863

														90										0.8307692308										90										0.9512195122

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h

				70		38		115				40		20		95		263		55		318		0.1729559748		0		0				40		20		95		395		59		454		0.1299559471

				71		49.5						41		30		85		374		42		416		0.1009615385		110		1				41		30		85		547		0		547		0

												42		40		75		315		76		391		0.1943734015								42		40		75		550		0		550		0

												43		50		65		121		55		176		0.3125								43		50		65		204		42		246		0.1707317073

		#70		Amplitude		#71		Amplitude				44		60		55		48		50		98		0.5102040816								44		60		55		59		83		142		0.5845070423

		36		429		47.5		190				45		70		45		114		253		367		0.689373297								45		70		45		66		499		565		0.8831858407

		37		52		48.5		31				46		80		35		76		333		409		0.8141809291								46		80		35		38		561		599		0.9365609349

		38		0		49.5		0				47		90		25		66		381		447		0.8523489933								47		90		25		34		513		547		0.9378427788

		39		38		50.5		76

		40		412		51.5		423

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h

				120		34		120				36		20		100		346		121		467		0.2591006424		0		0				36		20		100		377		135		512		0.263671875

				121		46						37		30		90		616		59		675		0.0874074074		110		1				37		30		90		682		48		730		0.0657534247

												38		40		80		616		62		678		0.0914454277								38		40		80		665		52		717		0.0725244073

												39		50		70		308		55		363		0.1515151515								39		50		70		385		66		451		0.1463414634

		#120		Amplitude		#121		Amplitude				40		60		60		59		59		118		0.5								40		60		60		66		66		132		0.5

		32.5		391		44		513				41		70		50		90		360		450		0.8								41		70		50		86		450		536		0.8395522388

		33.5		76		45		86				42		80		40		59		450		509		0.884086444								42		80		40		42		520		562		0.9252669039

		34.5		59		46		69				43		90		30		38		468		506		0.9249011858								43		90		30		28		523		551		0.9491833031

		35.5		142		47		104

		36.5		606		48		475

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h

				90		35		117.5				38		158		-38		329		38		367		0.1035422343		0		0				38		158		-38		436		0		436		0

				91		46.75						39		168		-48		281		69		350		0.1971428571		117.5		1				39		168		-48		433		0		433		0

												40		178		-58		142		83		225		0.3688888889								40		178		-58		235		76		311		0.2443729904

												41		188		-68		52		86		138		0.6231884058								41		188		-68		38		136		174		0.7816091954

		#70		Ampitude		#71		Amplitude				42		198		-78		94		274		368		0.7445652174								42		198		-78		48		485		533		0.9099437148

												43		208		-88		48		385		433		0.8891454965								43		208		-88		0		526		526		1

												44		218		-98		38		402		440		0.9136363636								44		218		-98		0		523		523		1

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h

				90		35		117.5				38		30		87.5		329		38		367		0.1035422343		0		0				38		30		87.5		436		0		436		0

				91		46.75						39		40		77.5		281		69		350		0.1971428571		117.5		1				39		40		77.5		433		0		433		0

												40		50		67.5		142		83		225		0.3688888889								40		50		67.5		235		76		311		0.2443729904

												41		60		57.5		52		86		138		0.6231884058								41		60		57.5		38		136		174		0.7816091954

		#90		Ampitude		#91		Amplitude				42		70		47.5		94		274		368		0.7445652174								42		70		47.5		48		485		533		0.9099437148

		33		346		45		263				43		80		37.5		48		385		433		0.8891454965								43		80		37.5		0		526		526		1

		33.5		160		45.5		94				44		90		27.5		38		402		440		0.9136363636								44		90		27.5		0		523		523		1

		34		55		46		42

		34.5		10		46.5		28

		35		10		47		24

		35.5		15		47.5		59

		36		59		48		138

		36.5		184		49		523

		37		364

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				200 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		400 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h

				100		21		115				24		30		85		276		71		347		0.204610951		0		0				24		30		85		405		0		405		0				24		30		85		509		0		509		0

				101		32.5						25		40		75		233		104		337		0.3086053412		115		1				25		40		75		388		74		462		0.1601731602				25		40		75		516		0		516		0

												26		50		65		91		57		148		0.3851351351								26		50		65		142		54		196		0.2755102041				26		50		65		219		54		273		0.1978021978

												27		60		55		51		67		118		0.5677966102								27		60		55		64		101		165		0.6121212121				27		60		55		67		148		215		0.688372093

		#100		Ampitude		#101		Amplitude				28		70		45		121		202		323		0.6253869969								28		70		45		111		317		428		0.7406542056				28		70		45		61		476		537		0.886405959

		18.5		408		31		196				29		80		35		91		250		341		0.7331378299								29		80		35		71		385		456		0.8442982456				29		80		35		37		496		533		0.9305816135

		19.5		108		32		50				30		90		25		74		290		364		0.7967032967								30		90		25		57		425		482		0.8817427386				30		90		25		34		519		553		0.938517179

		20.5		40		32.5		30

		21.5		35		33		37

		22.5		105		33.5		50

		23.5		445		34		101

						35		452

																12		23		34		-10		-18		-23		-27		-27		-27

																																				New												Other position

		Strip #		70		71		Total		90		91		Total		99		100		101		102		Total		Total		Normalised		70		90		100		120		Int 2		121		Int 3		122		Total		119		120		Int 2		121		Total

		50		31		78		109		31		83		114		13		30		101		13		157		131				0.2060491493		0.2054054054		0.2364620939		45		27		100		25		32		145		27		91		18		41		132

		100		53		125		178		45		142		187		20		67		182		33		302		249				0.3364839319		0.3369369369		0.4494584838		68		41		178		10		30		246		30		168		35		68		236

		150		58		180		238		66		232		298		23		74		290		45		432		364				0.449905482		0.5369369369		0.6570397112		63		50		342		0		30		405		35		314		35		54		368

		200		73		290		363		48		374		422		17		57		425		15		514		482				0.6862003781		0.7603603604		0.8700361011		50		27		446		-10		30		496		27		405		0		41		446

		250		51		388		439		31		478		509		0		51		472		5		528		523				0.8298676749		0.9171171171		0.9440433213		41		15		490		-18		23		531		15		433		-18		32		465

		300		38		462		500		17		501		518		0		40		500		0		540		540				0.9451795841		0.9333333333		0.9747292419		36		0		501		-27		18		537		10		446		-20		41		487

		350		33		485		518		20		535		555		0		34		513		0		547		547				0.9792060491		1		0.9873646209		32		0		510		-23		18		542		10		460		-20		36		496

		400		31		498		529		20		535		555		0		34		520		0		554		554				1		1		1		36		0		519		-23		18		555		10		474		-23		36		510

		500		30		540		570		0		578		578		0		34		540		0		574		574				1.0775047259		1.0414414414		1.036101083		32		0		533		-23		18		565		10		483		-23		36		519

		Futher Measurements as a function of the r-position

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		Ideal				200 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		400 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h

				120		19.8		61				21		12		49		47.12		28.88		171.76		28.88		80.56		28.88		41.8		252.32		0.3192771084		0		0				21		12		49		57		36.48		262.2		47.12		117.04		31.16		44.08		379.24		0.3086172345				21		12		49		28.88		0		428.64		-31.16		119.32		0		31.16		547.96		0.2177531207

				121		25.9						22		22		39		44		27		140		27		68		10		31		208		0.3269230769		61		1				22		22		39		62		38		215		51		106		27		31		321		0.3302180685				22		22		39		48		0		431		-17		126		0		10		557		0.2262118492

												23		32		29		0		0		24		0		24		0		0		48		0.5								23		32		29		0		0		34		0		34		0		0		68		0.5				23		32		29		0		0		58		0		65		0		0		123		0.5284552846

												24		42		19		34		15		105		41		212		24		48		317		0.6687697161								24		42		19		51		27		157		85		335		34		62		492		0.6808943089				24		42		19		31		0		130		21		619		-24		34		749		0.826435247

		#121		Ampitude		#121		Amplitude				25		52		9		38		17		89		31		205		12		41		294		0.6972789116								25		52		9		51		23		128		57		341		15		44		469		0.7270788913				25		52		9		51		0		131		10		560		-30		27		691		0.8104196816

		19		398		25		351

		19.5		58		25.5		104				Estimated strip width:								Routing line		#120		#121

		20		72		26		47				16 µm								25.6		447		85		0.9933333333		0.1888888889		532		0.7093333333

		20.5		212		26.5		81												26		242		68		0.5377777778		0.1511111111		310		0.4133333333

		21		489		27		368												26.2		103		31		0.2288888889		0.0688888889		134		0.1786666667

																				26.4		65		31		0.1444444444		0.0688888889		96		0.128

																				26.6		58		31		0.1288888889		0.0688888889		89		0.1186666667

																				26.8		42		40		0.0933333333		0.0888888889		82		0.1093333333

																				27		42		55		0.0933333333		0.1222222222		97		0.1293333333

																				27.2		54		154		0.12		0.3422222222		208		0.2773333333

																				27.4		71		248		0.1577777778		0.5511111111		319		0.4253333333

																				27.6		81		310		0.18		0.6888888889		391		0.5213333333

																				28		92		448		0.2044444444		0.9955555556		540		0.72

		Futher Measurements as a function of the r-position								Far end

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		Ideal				200 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		400 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h

				120		23		78				25		20		58		40		0		184		23		61		0		15		245		0.2489795918		0		0				25		20		58		33		0		255		38		76		0		18		331		0.2296072508				25		20		58		54		0		523		-10		54		0		0		577		0.0935875217

				121		30.8						26		30		48		31		0		89		24		51		0		24		140		0.3642857143		78		1				26		30		48		31		0		116		31		65		0		24		181		0.3591160221				26		30		48		31		0		263		0		78		0		0		341		0.2287390029

												27		40		38		0		0		0		0		0		0		0		0		0								27		40		38		0		0		0		0		0		0		0		0		0				27		40		38		0		0		0		0		0		0		0		0		0

												28		50		28		20		0		68		41		157		0		31		225		0.6977777778								28		50		28		0		0		99		61		222		0		34		321		0.691588785				28		50		28		0		0		78		15		492		-31		24		570		0.8631578947

		#121		Ampitude		#121		Amplitude				29		60		18		0		0		61		27		184		0		31		245		0.7510204082								29		60		18		0		0		78		48		276		0		37		354		0.7796610169				29		60		18		0		0		44		0		540		-31		13		584		0.9246575342

		21		728		29		755

		22		230		30		225				Estimated strip width:

		22.5		134		30.5		101				20 µm

		23		107		31		96

		23.5		150		31.5		161

		24		557		32		551

		25		760

										1 cm plus

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		Ideal				200 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		400 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h

				120		22.7		95				25		23		72		44		0		222		34		68		0		17		290		0.2344827586		0		0				25		23		72		41		0		366		31		68		0		24		434		0.1566820276				25		23		72		27		0		557		-24		48		0		0		605		0.079338843

				121		32.2						26		33		62		41		0		208		51		103		0		24		311		0.3311897106		95		1				26		33		62		31		0		311		68		112		0		34		423		0.2647754137				26		33		62		17		0		543		-20		78		0		0		621		0.1256038647

												27		43		52		0		0		0		0		0		0		0		0		0								27		43		52		0		0		58		0		27		0		0		85		0.3176470588				27		43		52		0		0		103		0		44		0		0		147		0.2993197279

												28		53		42		0		0		44		31		78		0		0		122		0.6393442623								28		53		42		0		0		58		24		120		0		0		178		0.6741573034				28		53		42		0		0		61		0		236		0		0		297		0.7946127946

		#121		Ampitude		#121		Amplitude				29		63		32		24		0		82		51		195		0		17		277		0.7039711191								29		63		32		27		0		112		85		328		0		34		440		0.7454545455				29		63		32		0		0		65		0		574		-37		15		639		0.8982785603

		21		464		30		523				30		73		22		0		0		71		44		242		0		31		313		0.7731629393								30		73		22		0		0		78		58		383		0		37		461		0.830802603				30		73		22		0		0		34		0		588		-40		13		622		0.9453376206

		22		58		31		171				Estimated strip width:

		22.5		37		32		41				25 µm

		23		51		32.5		51

		23.5		58		33		65

		24		178		34		499

		25		496

										1 cm plus

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		Ideal				200 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		400 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h

				120		22.7		108				25		23		85		34		0		254		29		45		0		0		299		0.1505016722		0		0				25		23		85		22		0		388		0		34		0		0		422		0.0805687204				25		23		85		11		0		474		-29		26		0		0		500		0.052

				121		33.5						26		33		75		26		0		228		41		63		0		10		291		0.2164948454		108		1				26		33		75		22		0		374		0		40		0		0		414		0.0966183575				26		33		75		0		0		474		-25		30		0		0		504		0.0595238095

												27		43		65		34		0		190		78		101		0		26		291		0.3470790378								27		43		65		26		0		317		37		82		0		12		399		0.2055137845				27		43		65		0		0		456		-22		71		0		0		527		0.1347248577

												29		63		45		12		0		85		60		157		0		29		242		0.6487603306								29		63		45		0		0		93		67		269		0		34		362		0.7430939227				29		63		45		0		0		71		18		422		-22		18		493		0.8559837728

		#121		Ampitude		#121		Amplitude				30		73		35		0		0		63		56		209		0		0		272		0.7683823529								30		73		35		0		0		48		34		366		-18		18		414		0.884057971				30		73		35		0		0		26		0		508		-26		0		534		0.9513108614

		20		470		31		508				31		83		25		0		0		50		37		247		0		26		297		0.8316498316								31		83		25		0		0		34		34		490		-30		0		524		0.9351145038				31		83		25		0		0		10		0		490		-30		0		500		0.98

		21		300		32		247

		22		40		33		41

		23		0		33.5		29				Estimated strip width:

		23.5		0		34		41				30 µm

		24		85		35		134

		25		430		36		500

		New 0 position

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		Ideal				200 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		400 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h

				120		22.2		118				25		28		90		32		0		333		23		50		0		0		383		0.1305483029		0		0				25		28		90		13		0		396		-13		35		0		0		431		0.0812064965				25		28		90		10		0		469		-23		32		0		0		501		0.0638722555

				121		34						26		38		80		32		0		314		30		54		0		0		368		0.1467391304		118		1				26		38		80		23		0		424		-13		36		0		0		460		0.0782608696				26		38		80		0		0		469		-27		30		0		0		499		0.0601202405

												27		48		70		27		0		259		54		86		0		13		345		0.2492753623								27		48		70		0		0		387		23		68		0		0		455		0.1494505495				27		48		70		0		0		492		-23		63		0		0		555		0.1135135135

												28		58		60		0		0		41		0		27		0		0		68		0.3970588235								28		58		60		0		0		59		0		41		0		0		100		0.41				28		58		60		0		0		77		0		45		0		0		122		0.368852459

		#121		Ampitude		#121		Amplitude				29		68		50		18		0		68		41		132		0		32		200		0.66								29		68		50		0		0		59		32		178		0		0		237		0.7510548523				29		68		50		0		0		73		18		273		0		32		346		0.789017341

		20		483		32		451				30		78		40		18		0		86		68		264		0		27		350		0.7542857143								30		78		40		0		0		50		10		506		-18		0		556		0.9100719424				30		78		40		0		0		50		10		506		-18		0		556		0.9100719424

		21		86		33		54				31		88		30		0				63		50		342		0		32		405		0.8444444444								31		88		30		0		0		41		18		428		-23		18		469		0.9125799574				31		88		30		0		0		36		0		496		-23		18		532		0.9323308271

		22		45		34		32

		23		23		35		45				Estimated strip width:

		24		154		36		387				35 µm

		25		470



Irradiated section n. 6



Irr. (7)

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0



Strp #99

Strip #100

Strip #101

Strip #102

Bias [V]

Collected charge [Arb. unit]

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



Non irr. (2)

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0



0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



Various final Pic.

		0

		0

		0

		0

		0

		0

		0

		0

		0



Strip #690

Bias [V]

Collected charge (arb. unit)

0

0

0

0

0

0

0

0

0



Final pic. eta

		Bias 250 V		Strip #		Centre		Distance		50 V		Local coord.		D24		D25		Pulse Left		Int		Pulse Right		Pulse sum		h		ideal				100 V		Pulse Left		Int		Pulse Right		Pulse sum		h		300 V		Pulse Left		Int		Pulse Right		Pulse sum		h				Volt scan		#6		Int.		#7		Total		Normalised				Volt scan		#59		#60		#61		Total		Normalised				Volt scan		#114		Int.		#115		Int.		#116		Total		Normalised		Rout/total		Volt #6		#6		Volt #115		#115

				6		37		115				40		30		85		104		18		40		144		0.2777777778		0		0				246				45		291		0.1546391753				333		-23		27		360		0.075				20		23		5		54		77		0.2086720867				20		32		141		54		227		0.576142132				10		63		4		159		23		32		222		0.5536159601				20		0.0649350649		10		0.1036036036

				7		48.5						41		40		75		86		32		54		140		0.3857142857		115		1				214		36		63		277		0.2274368231				323		-23		36		359		0.1002785515				40		32		18		100		132		0.3577235772				40		41		264		54		359		0.9111675127				20		80				246		23		36		326		0.812967581				40		0.1363636364		20		0.0705521472

												42		50		65		45		9		32		77		0.4155844156								128		36		63		191		0.3298429319				209		0		68		277		0.2454873646				50		36		23		123		159						50		36		287		50		373		0.9467005076				40		82				314		23		41		396		0.9875311721				50		0.1446540881		40		0.0580808081

												43.5		65		50		36		18		54		90		0.6								50		36		118		168		0.7023809524				63		13		246		309		0.7961165049				60		45		27		145		190		0.5149051491				60		36		298		40		374		0.9492385787				50		73				328		13		32		401		1				60		0.1421052632		50		0.0324189526

		#6		Amplitude		#7		Amplitude				44		70		45		45		27		77		122		0.631147541								50		36		195		245		0.7959183673				41		9		305		346		0.8815028902				80		59		41		205		264		0.7154471545				80		30		328		27		385		0.9771573604				60		68				333		13		32		401		1				80		0.1553030303		60		0.0324189526

		34.5		305		46.5		296				45		80		35		45		23		104		149		0.6979865772								45		41		241		286		0.8426573427				27		9		342		369		0.9268292683				100		45		36		259		304		0.8238482385				100		27		337		24		388		0.9847715736				80		59				342		9		32		401		1				100		0.1184210526		80		0.0224438903

		35.5		137		47.5		54				46		90		25		9		0		50		59		0.8474576271								45		36		255		300		0.85				27		4		337		364		0.9258241758				125		36		23		296		332		0.8997289973				150		24		355		21		400		1.0152284264				100		46				351				18		397		0.9900249377				125		0.0692771084		100		0

		36.5		27		48.5		0																																																		150		32		18		323		355		0.9620596206				200		23		360		20		403		1.0228426396				125		45				355				27		400		0.9975062344				150		0.0507042254		125		0

		37.5		0		49.5		36																																																		175		32		18		328		360		0.9756097561				300		20		374		0		394		1				150		45				355				27		400		0.9975062344				175		0.05		150		0

		38.5		100		50.5		232																																																		200		23		9		337		360		0.9756097561																		200		45				355				18		400		0.9975062344				200		0.025		200		0

		39.5		305		51.5		333																																																		300		23		9		346		369		1																		300		41				360				18		401		1				300		0.0243902439		300		0

		40.5		319





Final pic. eta

		0		0		0		0

		0		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0



50 Volt

100 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #774-775

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



Neff vs position

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0



0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



Eta comparison

		Bias 250 V		Strip #		Centre		Distance		25 V		Local coord.		D24		D25		Pulse Left		Pulse Right		Pulse sum		h		ideal				50 V		Pulse Left		Pulse Right		Pulse sum		h		150 V		Pulse Left		Pulse Right		Pulse sum		h								Volt scan		#60		#61		Total		Normalised

				60		43.2		113				46		28		85		212		1		213		0.0046948357		0		0				311		1		312		0.0032051282				410		1		411		0.00243309						3.1622776602		10		95		0		95		0.2467532468

				61		54.5						47		38		75		143		20		163		0.1226993865		113		1				222		1		223		0.0044843049				294		1		295		0.0033898305						5		25		191		0		191		0.4961038961

												48		48		65		68		34		102		0.3333333333								123		58		181		0.320441989				171		68		239		0.2845188285						7.0710678119		50		283		0		283		0.7350649351

												49		58		55		37		109		146		0.7465753425								37		161		198		0.8131313131				37		212		249		0.8514056225						8.6602540378		75		321		0		321		0.8337662338

		#60		Amplitude		#61		Amplitude				50		68		45		31		174		205		0.8487804878								34		259		293		0.8839590444				50		334		384		0.8697916667						10		100		352		0		352		0.9142857143

		41		308		52		386				51		78		35		24		181		205		0.8829268293								24		263		287		0.9163763066				20		345		365		0.9452054795						12.2474487139		150		372		0		372		0.9662337662

		42		171		53		253																																														14.1421356237		200		372		0		372		0.9662337662

		43		20		54		116																																														17.3205080757		300		385		0		385		1

		44		49		55		24

		45		209		56		123

		46		345		57		280

						58		389

		Bias 250 V		Strip #		Centre		Distance		20 V		Local coord.		D24		D25		#115		Int 1		#116		Int 2		#117		Pulse sum		h		ideal				50 V		#115		Int 1		#116		Int 2		#117		Pulse sum		h		200 V		#115		Int 1		#116		Int 2		#117		Pulse sum		h				Volt scan		#115		#116		Int		#117		Total		Normalised

				115		21		114				24		30		84		198		-17		27						225		0.12		0		0				317		-17		31						348		0.0890804598				403		-30		24						427		0.056206089		3.1622776602		10				116						116		0.2829268293

				116		32.4						25		40		74		178		-13		27						205		0.1317073171		114		1				311		-20		41						352		0.1164772727				396		-27		27						423		0.0638297872		5		25		31		208		-5		20		228		0.556097561

												26		50		64		126		-13		37						163		0.226993865								242		-17		61						303		0.201320132				334		-24		68						402		0.1691542289		7.0710678119		50		31		308		-7		20		328		0.8

												28		70		44		34				137				17		171		0.8011695906								48				236				24		284		0.8309859155				54		-5		317		-13		24		371		0.8544474394		8.6602540378		75		24		345		-17		20		365		0.8902439024

		#115		Amplitude		#116		Amplitude				29		80		34		24				181				17		205		0.8829268293								31				311		-10		20		342		0.9093567251				27				400		-17		17		427		0.9367681499		10		100		27		366		-20		17		383		0.9341463415

		18		400		30		389				29.5		85		29		27				195						222		0.8783783784								34				314		-15		20		348		0.9022988506				24				389		-24		17		413		0.9418886199		11.1803398875		125		24		380		-17		13		393		0.9585365854

		19		270		31		89																																																												12.2474487139		150		24		385		-20		13		398		0.9707317073

		20		34		32		28																																																												14.1421356237		200		24		389		-20		13		402		0.9804878049

		21		30		33		30																																																												17.3205080757		300		24		393		-20		17		410		1

		22		38		34		126

		23		308		35		389

		24		400





Strip 120 

		47		400		-30		380

		48		280		-20		260

		49		41		-10		21

		50		20		0		0

		51		51		10		31

		52		273		20		253

		53		410		30		390

		Beam Profile

		Coordinate		Front		Back

		0						10

		10		1.00E+13		1.05E+13		20		1.00E+13		1.05E+13

		20		4.50E+13		4.55E+13		30		4.50E+13		4.55E+13

		25		3.00E+14		2.52E+14		35		3.00E+14		2.52E+14

		30		4.10E+14		4.40E+14		40		4.10E+14		4.40E+14

		35		4.30E+14		4.60E+14		45		4.30E+14		4.60E+14

		40		3.15E+14		3.80E+14		50		3.15E+14		3.80E+14

		45		1.09E+14		2.70E+14		55		1.09E+14		2.70E+14

		55		1.20E+13		2.70E+13		65		1.20E+13		2.70E+13

		65		7.00E+11		1.20E+12		75		7.00E+11		1.20E+12





Strip 120 

		0

		0

		0

		0

		0

		0

		0



Local coord. [µm]

Amplitude [arb. Units]

Strip scan #10

0

0

0

0

0

0

0



Inner stri #623 

		55		0		55		55

		50		1		50		50

		45		2		45		45

		40		3		40		40

		35		4		35		35

		30		5		30		30

		25		6		25		25

		20		7		20		20

		15		8		15		15

		10		9		10		10

		5		10		5		5

		0		11		0		0

				12

				13

				14

				15

				16

				17

				18

				19

				20

				21

				22

				23

				24

				25

				26

				27

				28

				29

				30

				31

				32

				33

				34

				35

				36

				37

				38

				39

				40

				41

				42

				43

				44

				45

				46

				47

				48

				49

				50

				51

				52

				53

				54

				55

				56

				57

				58

				59

				60

				61

				62

				63

				64

				65

				66

				67

				68



Measured (hit strip)

Calculated

Adjacent strip

Intermediate routing line

Time [ns]

Amplitude [arb. units]

68

10

0

0

150

34.5396

16

0

245

54.05968

34

0

369

80.39936

54

0

560

114.09384

123

32

688

155.13512

154

40

826

202.94192

188

51

792

256.42064

199

74

615

314.09432

188

108

421

374.26344

176

131

199

435.16424

85

68

0

495.10184

0

0

552.54736

606.19912

655.01224

698.20408

735.24416

765.8304

789.86272

807.41192

818.68832

824.01216

823.78664

818.47312

808.57016

794.59512

777.0692

756.50528

733.3992

708.22128

681.41152

653.37656

624.48752

595.07864

565.44744

535.85544

506.53048

477.66728

449.43032

421.95584

395.35408

369.71192

345.0956

321.5524

299.11304

277.79416

257.59968

238.52336

220.54992

203.6564

187.81424

172.98976

159.14552

146.24152

134.23568

123.08456

112.74432

103.1708

94.32024

86.14968

78.61696

71.6812

65.30304

59.44456

54.06952

49.14336

44.63336

40.50856

36.7396



Pulse shape

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0



Front Al foils

Back Al foils

Position [mm]

Measured fluence [p cm-2]

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		50		50		50		50

		100		100		100		100

		150		150		150		150

		200		200		200		200

		250		250		250		250

		300		300		300		300

		350		350		350		350

		400		400		400		400

		500		500		500		500



Strip #739

Strip #740

Strip #741

Strip #742

Bias [V]

Collected charge [Arb. unit]

13

30

101

13

20

67

182

33

23

74

290

45

17

57

425

15

0

51

472

5

0

40

500

0

0

34

513

0

0

34

520

0

0

34

540

0



		50

		100

		150

		200

		250

		300

		350

		400

		500



Strip #690

Bias [V]

Collected charge (arb. unit)

0.1529411765

0.3025210084

0.4352941176

0.6168907563

0.7513445378

0.8789915966

0.9276470588

0.9793277311

1.03



		20

		30

		40

		50

		75

		100

		120

		150

		200

		300



Strip #526

Bias [Volt]

Normalised CCE

0.4393305439

0.5815899582

0.7887029289

0.8577405858

0.9330543933

0.9623430962

0.9707112971

0.989539749

1

1.0125523013



		

						760

																																																												28		0.1305483029		0.0812064965		0.0638722555				0		0

																																																												38		0.1467391304		0.0782608696		0.0601202405				118		1

																																																												48		0.2492753623		0.1494505495		0.1135135135

																																																												68		0.66		0.7510548523		0.789017341

																																																												78		0.7542857143		0.9100719424		0.9100719424

																																																												88		0.8444444444		0.9125799574		0.9323308271





		30		30		0

		40		40		117.5

		50		50

		60		60

		70		70

		80		80

		90		90



200 Volt

400 Volt

Ideal resolution

Local position [µm]

Right charge/Total charge

Scan across strips #740-741

0.1035422343

0.0311111111

0

0.1971428571

0.0545851528

1

0.3688888889

0.2443729904

0.6231884058

0.7816091954

0.7445652174

0.9099437148

0.8891454965

1

0.9136363636

1



		30		30		0

		40		40		115

		50		50

		60		60

		70		70

		80		80

		90		90



200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #710-711

0.1009615385

0.0352733686

0

0.1943734015

0.0646258503

1

0.3125

0.2213740458

0.5102040816

0.5845070423

0.689373297

0.8831858407

0.8141809291

0.9365609349

0.8523489933

0.9378427788



		30		30		0

		40		40		115

		50		50

		60		60

		70		70

		80		80

		90		90



200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #760-761

0.0874074074

0.0657534247

0

0.0914454277

0.0725244073

1

0.1515151515

0.1463414634

0.5

0.5

0.8

0.8395522388

0.884086444

0.9252669039

0.9249011858

0.9491833031



		0		30		30		30

		115		40		40		40

				50		50		50

				60		60		60

				70		70		70

				80		80		80

				90		90		90



150 Volt

200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #740-741

0

0.204610951

0.0581395349

0.0450281426

1

0.3086053412

0.1601731602

0.0685920578

0.3851351351

0.2755102041

0.2206405694

0.5677966102

0.6121212121

0.688372093

0.6253869969

0.7406542056

0.886405959

0.7331378299

0.8442982456

0.9305816135

0.7967032967

0.8817427386

0.938517179



		0		30		30

		110		40		40

				50		50

				60		60

				70		70

				80		80

				90		90



200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #670-671

0

0.2186046512

0.0462962963

1

0.3191489362

0.076056338

0.4345238095

0.2648401826

0.625

0.619047619

0.7170731707

0.8559322034

0.7960784314

0.9612403101

0.825

0.9734748011



		0		20		20

		110		30		30

				40		40

				50		50

				60		60

				70		70

				80		80

				90		90



200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #690-691

0

0.1510067114

0.0529801325

1

0.1964285714

0.0703296703

0.3269961977

0.1575492341

0.6736842105

0.7946428571

0.7365079365

0.916500994

0.8419452888

0.9427402863

0.8307692308

0.9512195122



		25		25		25		0

		35		35		35		110

		45		45		45

		55		55		55

		65		65		65

		75		75		75

		85		85		85



100 Volt

200 Volt

300 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #525-526

0.0461956522

0.0440414508

0.0446194226

0

0.0583941606

0.0547945205

0.0547945205

1

0.1413612565

0.1282051282

0.1113689095

0.3215859031

0.264573991

0.2821576763

0.8050541516

0.8073394495

0.7722222222

0.9130434783

0.9217391304

0.9298245614

0.9473684211

0.9523809524

0.958677686



		0		30		30		30

		117		40		40		40

				50		50		50

				70		70		70

				80		80		80

				90		90		90



150 Volt

200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #634-635

0

0.223255814

0.1133333333

0.0510204082

1

0.2783505155

0.1933333333

0.0761670762

0.3963414634

0.3048780488

0.1943005181

0.6209150327

0.6822429907

0.8157099698

0.6875

0.7979094077

0.915

0.7548076923

0.8580645161

0.9330024814



		0		24		24

		114		34		34

				44		44

				64		64

				74		74

				84		84

				89		89



100 Volt

300 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #584-585

0

0.118466899

0.0379403794

1

0.1655172414

0.0608272506

0.3421052632

0.1666666667

0.6896551724

0.8131868132

0.7597173145

0.9567430025

0.8605442177

0.9974160207

0.8586206897

0.9466666667



		0		22		22		22		22

		116		32		32		32		32

				42		42		42		42

				67		67		67		67

				72		72		72		72

				82		82		82		82

				92		92		92		92



100 Volt

150 Volt

200 Volt

300 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #604-605

0

0.2192513369

0.0848056537

0.0408719346

0.056980057

1

0.2391304348

0.1214285714

0.0681818182

0.0798898072

0.3128834356

0.2380952381

0.0920716113

0.1549295775

0.5668789809

0.6355555556

0.7975077882

0.7517482517

0.591954023

0.7173913043

0.9002695418

0.8434782609

0.6949152542

0.8137931034

0.9973045822

0.8888888889

0.7348066298

0.8436482085

0.972899729

0.9043715847



		0		23		23		23

		108		33		33		33

				43		43		43

				58		58		58

				63		63		63

				73		73		73

				78		78		78



20 Volt

50 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #544-545

0

0.1376146789

0.0422960725

0.0361445783

1

0.2018348624

0.0845070423

0.0574712644

0.3457446809

0.2341772152

0.0976253298

0.5858585859

0.7124183007

0.7627906977

0.6304347826

0.7571428571

0.820441989

0.7302325581

0.8709677419

0.9418886199

0.7735849057

0.8811594203

0.9632352941



		0		35		35		35

		110		40		40		40

				50		50		50

				65		65		65

				70		70		70

				80		80		80



50 Volt

100 Volt

300 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #566-567

0

0.125

0.0408719346

0.0407673861

1

0.1777777778

0.0702247191

0.0687203791

0.320441989

0.22

0.2033333333

0.6946107784

0.8090909091

0.7789855072

0.741697417

0.8579387187

0.8743842365

0.8580858086

0.9543010753

0.9975062344



		0		35		35		35

		120		45		45		45

				50		50		50

				65		65		65

				70		70		70

				80		80		80

				90		90		90



50 Volt

100 Volt

250 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #575-576

0

0.2876106195

0.0451807229

0.0383631714

1

0.3744292237

0.144092219

0.0939759036

0.3880597015

0.1782178218

0.1580310881

0.5730337079

0.7260273973

0.7166666667

0.591954023

0.798679868

0.8379888268

0.6559633028

0.8879781421

0.9230769231

0.7627906977

0.9076086957

0.9511002445



		0		28		28		28

		113		38		38		38

				48		48		48

				58		58		58

				68		68		68

				78		78		78



25 Volt

50 Volt

150 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #188-189

0

0.0046948357

0.0032051282

0.00243309

1

0.1226993865

0.0044843049

0.0033898305

0.3333333333

0.320441989

0.2845188285

0.7465753425

0.8131313131

0.8514056225

0.8487804878

0.8839590444

0.8697916667

0.8829268293

0.9163763066

0.9452054795



		26		26		0		26

		36		36		114		36

		46		46				46

		66		66				66

		76		76				76

		86		86				86



100 Volt

300 Volt

=

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #621-622

0.2227074236

0.0789473684

0

0.0390625

0.2735849057

0.1348684211

1

0.0606060606

0.3659793814

0.2482517483

0.1102150538

0.5828220859

0.6728110599

0.8066666667

0.6822429907

0.8066666667

0.9086021505

0.7422222222

0.8547854785

0.9583333333



		25		25		25		0

		35		35		35		110

		45		45		45

		60		60		60

		65		65		65

		75		75		75

		85		85		85



20 Volt

50 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #469-470

0.0857142857

0.1060070671

0.0411311054

0

0.0833333333

0.093385214

0.0683060109

1

0.275862069

0.1904761905

0.1333333333

0.6451612903

0.6785714286

0.7311827957

0.6774193548

0.766536965

0.8356164384

0.8444444444

0.8717948718

0.9260969977

0.8695652174

0.8646153846

0.9267734554



		30		30		0

		40		40		110

		50		50

		60		60

		70		70

		80		80



200 Volts

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #650-651

0.1784037559

0.0521172638

0

0.2587064677

0.1034482759

1

0.3577586207

0.2196531792

0.6280991736

0.7375328084

0.7114914425

0.8717948718

0.7915742794

0.9111470113



		0		30		30		30

		114		40		40		40

				50		50		50

				70		70		70

				80		80		80

				85		85		85



20 Volt

50 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #244-245

0

0.12

0.0890804598

0.056206089

1

0.1317073171

0.1164772727

0.0638297872

0.226993865

0.201320132

0.1691542289

0.8011695906

0.8309859155

0.8544474394

0.8829268293

0.9093567251

0.9367681499

0.8783783784

0.9022988506

0.9418886199



		30		30		0		30

		40		40		114		40

		50		50				50

		70		60				60

		80		70				70

		85		80				80

								90



#245 - 200 Volt

#650 - 400 Volt

#760 - 400 Volt

Local position [µm]

Right charge/Total charge

0.056206089

0.0521172638

0

0.0657534247

0.0638297872

0.1034482759

1

0.0725244073

0.1691542289

0.2196531792

0.1463414634

0.8544474394

0.7375328084

0.5

0.9367681499

0.8717948718

0.8395522388

0.9418886199

0.9111470113

0.9252669039

0.9491833031



		20		20		20		0

		30		30		30		115

		40		40		40

		50		50		50

		60		60		60

		70		70		70

		80		80		80

		90		90		90



20 Volt

50 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #388-389

0.15

0.0975609756

0.0965794769

0

0.1549295775

0.1448692153

0.1004709576

1

0.171875

0.1223529412

0.0901213172

0.2926829268

0.2888888889

0.2434077079

0.6666666667

0.6923076923

0.6511627907

0.7833333333

0.8498896247

0.9073083779

0.8295081967

0.8495049505

0.9384615385

0.8793103448

0.9160839161

0.9470699433



		35		0		35		35

		45		120		45		45

		55				55		55

		70				70		70

		75				75		75

		85				85		85

		95				95		95



20 Volt

50 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #490-491

0.1595744681

0

0.12

0.0796116505

0.2053231939

1

0.1322869955

0.0891089109

0.2967032967

0.2258064516

0.2

0.72

0.692

0.7982261641

0.8351449275

0.7985074627

0.8764302059

0.9349593496

0.8546099291

0.9174311927

0.9445585216



		0		28		28		28

		118		38		38		38

				48		48		48

				58		58		58

				68		68		68

				78		78		78

				88		88		88



150 Volt

200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #760-761

0

0.1305483029

0.0812064965

0.0638722555

1

0.1467391304

0.0782608696

0.0601202405

0.2492753623

0.1494505495

0.1135135135

0.3970588235

0.41

0.368852459

0.66

0.7510548523

0.789017341

0.7542857143

0.9100719424

0.9100719424

0.8444444444

0.9125799574

0.9323308271



		30		30		0		0

		40		40		118		0

		50		50				0

		70		70				0

		80		80				0

		85		90				0



#244 -245 (@ 200 Volt)

#634 - 635 (@ 400 Volt)

#760 - 761 (@ 400 Volt)

Local position [µm]

Right charge/Total charge

0.056206089

0.0510204082

0

0

0.0638297872

0.0761670762

1

0

0.1691542289

0.1943005181

0

0.8544474394

0.8157099698

0

0.9367681499

0.915

0

0.9418886199

0.9330024814

0



		30		30		30		0

		40		40		40		115

		50		50		50

		65		65		65

		70		70		70

		80		80		80

		90		90		90



50 Volt

100 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #774-775

0.2777777778

0.1546391753

0.075

0

0.3857142857

0.2274368231

0.1002785515

1

0.4155844156

0.3298429319

0.2454873646

0.6

0.7023809524

0.7961165049

0.631147541

0.7959183673

0.8815028902

0.6979865772

0.8426573427

0.9268292683

0.8474576271

0.85

0.9258241758



		0		0		0		0

		0		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0



150 Volt

200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		Bias		#650		#651		Pulse sum		Normalised		#670		#671		Pulse sum		Normalised		#690		#691		Pulse sum		Normalised		#710		#711		Pulse sum		Normalised		#730		#731		Pulse sum		Normalised		#740		#741		Pulse sum		Normalised		#760		#761		Pulse sum		Normalised

		[Volt]		[mV]		[mV]		[mv]				[mV]		[mV]		[mv]				[mV]		[mV]		[mv]				[mV]		[mV]		[mv]				[mV]		[mV]		[mv]				[mV]		[mV]		[mv]				[mV]		[mV]		[mv]

		50		41		85		126		0.2016		24		58		82		0.2		0		80		80		0.1500938086		31		78		109		0.1912280702		31		83		114		0.1972318339		30		101		131		0.2205387205		45		100		145		0.2566371681				104		104

		100		63		140		203		0.3248		22		84		106		0.2585365854		31		135		166		0.3114446529		53		125		178		0.3122807018		45		142		187		0.3235294118		67		182		249		0.4191919192		68		178		246		0.4353982301				177		177

		150		92		210		302		0.4832		38		133		171		0.4170731707		52		197		249		0.4671669794		58		180		238		0.4175438596		66		232		298		0.5155709343		74		290		364		0.6127946128		63		342		405		0.7168141593				385		385

		200		81		329		410		0.656		39		207		246		0.6		45		291		336		0.6303939962		73		290		363		0.6368421053		48		374		422		0.7301038062		57		425		482		0.8114478114		50		446		496		0.8778761062				454		454

		250		59		443		502		0.8032		32		300		332		0.8097560976		34		398		432		0.8105065666		51		388		439		0.7701754386		31		478		509		0.8806228374		51		472		523		0.8804713805		41		490		531		0.9398230088				468		468

		300		59		510		569		0.9104		30		321		351		0.856097561		35		433		468		0.8780487805		38		462		500		0.8771929825		17		501		518		0.8961937716		40		500		540		0.9090909091		36		501		537		0.9504424779				478		478

		350		50		530		580		0.928		23		342		365		0.8902439024		31		454		485		0.9099437148		33		485		518		0.9087719298		20		535		555		0.9602076125		34		513		547		0.9208754209		32		510		542		0.9592920354				495		495

		400		45		561		606		0.9696		10		370		380		0.9268292683		24		468		492		0.9230769231		31		498		529		0.9280701754		20		535		555		0.9602076125		34		520		554		0.9326599327		36		519		555		0.982300885				502		502

		500		45		580		625		1		10		400		410		1		10		523		533		1		30		540		570		1		0		578		578		1		34		560		594		1		32		533		565		1				510		510

																						Neff map		Vfd

																						10

																						30

																						50

																						70

																						90

																						100

																						120

																																												634

																																		72

		Bias		#526		#527		Pulse sum		Normalised		Bias		#545		#546		Pulse sum		Normalised		Bias		#567		#568		Pulse sum		Normalised		Bias		#577		#578		Pulse sum		Normalised		Bias		#585		#586		Pulse sum		Normalised		Bias		#605		#606		Pulse sum		Normalised		Bias		#622		#623		Pulse sum		Normalised		Bias		#634		#635		Pulse sum		Normalised

		[Volt]		[mV]		[mV]		[mv]				[Volt]		[mV]		[mV]		[mv]				[Volt]		[mV]		[mV]		[mv]				[Volt]		[mV]		[mV]		[mv]				[Volt]		[mV]		[mV]		[mv]				[Volt]		[mV]		[mV]		[mv]				[Volt]		[mV]		[mV]		[mv]				[Volt]		[mV]		[mV]		[mv]

		20		5		205		210		0.4393305439		10		89		41		130		0.313253012		10		27		41		68		0.17		25		34		75		109		0.2632850242		25		44		20		64		0.1671018277		50		65		10		75		0.1978891821		50		65		0		65		0.1697127937		50		61		24		85		0.2073170732

		30		5		273		278		0.5815899582		20		171		41		212		0.5108433735		25		61		109		170		0.425		50		55		164		219		0.5289855072		50		95		41		136		0.3550913838		75		95		10		105		0.2770448549		100		123		37		160		0.4177545692		100		106		34		140		0.3414634146

		40		54		323		377		0.7887029289		30		232		34		266		0.6409638554		50		266		41		307		0.7675		75		37		290		327		0.7898550725		75		150		58		208		0.5430809399		100		129		27		156		0.4116094987		150		171		51		222		0.5796344648		150		157		48		205		0.5

		50		45		365		410		0.8577405858		50		321		0		321		0.7734939759		75		334		14		348		0.87		100		27		330		357		0.8623188406		100		240		51		291		0.7597911227		125		167		27		194		0.5118733509		200		287		24		311		0.8120104439		200		253		34		287		0.7

		75		41		405		446		0.9330543933		75		362		0		362		0.8722891566		100		359		0		359		0.8975		150		27		359		386		0.9323671498		125		311		27		338		0.8825065274		150		236		30		266		0.7018469657		250		334		0		334		0.8720626632		250		317		27		344		0.8390243902

		100		32		428		460		0.9623430962		100		383		0		383		0.9228915663		150		372		0		372		0.93		200		24		372		396		0.9565217391		150		342		10		352		0.9190600522		200		328		0		328		0.8654353562		300		351		0		351		0.9164490862		300		349		31		380		0.9268292683

		120		23		441		464		0.9707112971		150		396		0		396		0.9542168675		200		383		0		383		0.9575		250		20		379		399		0.9637681159		200		355		10		365		0.953002611		250		355		0		355		0.9366754617		350		366		0		366		0.955613577		350		362		27		389		0.9487804878

		150		27		446		473		0.989539749		200		410		0		410		0.9879518072		250		396		0		396		0.99		300		24		382		406		0.9806763285		300		376		0		376		0.9817232376		300		366		0		366		0.9656992084		400		372		0		372		0.9712793734		400		372		34		406		0.9902439024

		200		23		455		478		1		300		415		0		415		1		300		400		0		400		1		350		24		390		414		1		400		383		0		383		1		400		379		0		379		1		500		383		0		383		1		500		383		27		410		1

		300		20		464		484		1.0125523013

		Strip #		VFD		Error

		188		80		0

		244		75		0

		390		60		0

		470		55		0

		498		55		0

		526		53		8

		545		55		0

		568		62		0

		578		92		0						0.0004882813		0.1806640625		0.0451660156

		585		128		0

		605		200		0

		622		225		0

		634		270		0

		650		285		0

		670		297		0

		690		300		20

		710		285		0						512		640

		730		250		0

		740		220		0

		760		170		0

		774		125		0

		829		60		0

		888		47		0





		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0



Strip #10

Strip #30

Strip #50

Strip #70

Strip #90

Strip #100

Strip #120

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0



Strip #526

Strip #545

Strip #578

Strip #585

Strip #605

Strip #622

Strip #634

Bias [Volt]

Normalised CCE

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		NaN		NaN

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		8		8

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		20		20

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0



Strip Number

Vfd [Volt]

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0



Strip #545

Strip #585

Strip #634

Bias [Volt]

Normalised CCE

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0



Strip #526

Strip #578

Strip #605

Bias [Volt]

Normalised CCE

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0

		0

		0

		0

		0

		0

		0

		0

		0



Strip #634

Bias [Volt]

Normalised CCE

0

0

0

0

0

0

0

0

0



		0

		0

		0

		0

		0

		0

		0

		0

		0

		0



Strip #526

Bias [Volt]

Normalised CCE

0

0

0

0

0

0

0

0

0

0



		Strip:		#10								Strip:		#30								Strip:		#50								Strip:		#70								Strip:		#90								Strip:		#100		#101						Strip:		#120

				#11										#31										#51										#71										#91										#121										#121

		D Left		h 200 V		ideal				h 400 V		D Left		h 200 V		ideal				h 400 V		D Left		h 200 V		ideal				h 400 V		D Left		h 200 V		ideal				h 400 V		D Left		h 200 V		ideal				h 400 V		D Left		h 200 V		ideal				h 400 V		D Left		h 200 V		ideal				h 400 V

		20		0.2059800664		0		0		0.1260683761		20		0.3485714286		0		0		0.2292490119		20		0.1510067114		0		0		0		20		0.1729559748		0		0		0.1299559471		30		0.1035422343		0		0		0		30		0.204610951		0		0		0		20		0.2591006424		0		0		0.263671875

		30		0.1784037559		110		1		0		30		0.2186046512		110		1		0		30		0.1964285714		110		1		0		30		0.1009615385		115		1		0		40		0.1971428571		117.5		1		0		40		0.3086053412		115		1		0		30		0.0874074074		115		1		0.0657534247

		40		0.2587064677						0.0909090909		40		0.3191489362						0		40		0.3269961977						0.118993135		40		0.1943734015						0		50		0.3688888889						0.2443729904		50		0.3851351351						0.1978021978		40		0.0914454277						0.0725244073

		50		0.3577586207						0.2196531792		50		0.4345238095						0.2648401826		60		0.6736842105						0.7946428571		50		0.3125						0.1707317073		60		0.6231884058						0.7816091954		60		0.5677966102						0.688372093		50		0.1515151515						0.1463414634

		60		0.6280991736						0.7375328084		60		0.625						0.619047619		70		0.7365079365						0.916500994		60		0.5102040816						0.5845070423		70		0.7445652174						0.9099437148		70		0.6253869969						0.886405959		60		0.5						0.5

		70		0.7114914425						0.8717948718		70		0.7170731707						0.8559322034		80		0.8419452888						0.9427402863		70		0.689373297						0.8831858407		80		0.8891454965						1		80		0.7331378299						0.9305816135		70		0.8						0.8395522388

		80		0.7915742794						0.9111470113		80		0.7960784314						0.9867374005		90		0.8307692308						0.9512195122		80		0.8141809291						0.9365609349		90		0.9136363636						1		90		0.7967032967						0.938517179		80		0.884086444						0.9252669039

		90		0.7759103641						0.8546845124		90		0.825						0.9734748011												90		0.8523489933						0.9378427788																						90		0.9249011858						0.9491833031

		Residuals		#10-#11								Residuals		#30-#31								Residuals		#50-#51								Residuals		#50-#51								Residuals		#70-#71								Residuals		#90-#91								Residuals		#100-#101

		True position		Est. position		Est. position		Residuals		Residuals		True position		Est. position		Est. position		Residuals		Residuals		True position		Est. position		Est. position		Residuals		Residuals		True position		Est. position		Est. position		Residuals		Residuals		True position		Est. position		Est. position		Residuals		Residuals		True position		Est. position		Est. position		Residuals		Residuals		True position		Est. position		Est. position		Residuals

				200 V		400 V		200 V		400 V				200 V		400 V		200 V		400 V				200 V		400 V		200 V		400 V				200 V		400 V		200 V		400 V				200 V		400 V		200 V		400 V				200 V		400 V		200 V		400 V				200 V		400 V		200 V		400 V

		20		22.657807309		38.3428571429		2.657807309		18.3428571429		20		38.3428571429		25.2173913043		18.3428571429		5.2173913043		20		16.610738255		0		-3.389261745		-20		20		19.8899371069		14.9449339207		-0.1100628931		-5.0550660793		30		12.1662125341		0		-17.8337874659		-30		30		23.530259366		0		-6.469740634		-30		20		29.7965738758		30.322265625		9.7965738758		10.322265625

		30		19.6244131455		24.0465116279		-10.3755868545		-5.9534883721		30		24.0465116279		0		-5.9534883721		-30		30		21.6071428571		0		-8.3928571429		-30		30		11.6105769231		0		-18.3894230769		-30		40		23.1642857143		0		-16.8357142857		-40		40		35.4896142433		0		-4.5103857567		-40		30		10.0518518519		7.5616438356		-19.9481481481		-22.4383561644

		40		28.4577114428		35.1063829787		-11.5422885572		-4.8936170213		40		35.1063829787		0		-4.8936170213		-40		40		35.969581749		13.0892448513		-4.030418251		-26.9107551487		40		22.3529411765		0		-17.6470588235		-40		50		43.3444444444		28.7138263666		-6.6555555556		-21.2861736334		50		44.2905405405		22.7472527473		-5.7094594595		-27.2527472527		40		10.5162241888		8.340306834		-29.4837758112		-31.659693166

		50		39.3534482759		47.7976190476		-10.6465517241		-2.2023809524		50		47.7976190476		29.1324200913		-2.2023809524		-20.8675799087		60		74.1052631579		87.4107142857		14.1052631579		27.4107142857		50		35.9375		19.6341463415		-14.0625		-30.3658536585		60		73.2246376812		91.8390804598		13.2246376812		31.8390804598		60		65.2966101695		79.1627906977		5.2966101695		19.1627906977		50		17.4242424242		16.8292682927		-32.5757575758		-33.1707317073

		60		69.0909090909		68.75		9.0909090909		8.75		60		68.75		68.0952380952		8.75		8.0952380952		70		81.0158730159		100.8151093439		11.0158730159		30.8151093439		60		58.6734693878		67.2183098592		-1.3265306122		7.2183098592		70		87.4864130435		106.9183864916		17.4864130435		36.9183864916		70		71.919504644		101.9366852886		1.919504644		31.9366852886		60		57.5		57.5		-2.5		-2.5

		70		78.2640586797		78.8780487805		8.2640586797		8.8780487805		70		78.8780487805		94.1525423729		8.8780487805		24.1525423729		80		92.6139817629		103.7014314928		12.6139817629		23.7014314928		70		79.2779291553		101.5663716814		9.2779291553		31.5663716814		80		104.474595843		117.5		24.474595843		37.5		80		84.3108504399		107.0168855535		4.3108504399		27.0168855535		70		92		96.5485074627		22		26.5485074627

		80		87.0731707317		87.568627451		7.0731707317		7.568627451		80		87.568627451		108.5411140584		7.568627451		28.5411140584		90		91.3846153846		104.6341463415		1.3846153846		14.6341463415		80		93.630806846		107.7045075125		13.630806846		27.7045075125		90		107.3522727273		117.5		17.3522727273		27.5		90		91.6208791209		107.9294755877		1.6208791209		17.9294755877		80		101.6699410609		106.4056939502		21.6699410609		26.4056939502

		90		85.350140056		90.75		-4.649859944		0.75		90		90.75		107.0822281167		0.75		17.0822281167												90		98.0201342282		107.8519195612		8.0201342282		17.8519195612																						90		106.3636363636		109.1560798548		16.3636363636		19.1560798548





		Far end														End + 1 cm														End + 2 cm														End + 3 cm														End + 3.5 cm

		Strip width		Local coord.		h 150 V						h 200 V		h 400 V		Strip width		Local coord.		h 150 V						h 200 V		h 400 V		Strip width		Local coord.		h 150 V						h 200 V		h 400 V		Strip width		Local coord.		h 150 V						h 200 V		h 400 V		Strip width		Local coord.		h 200 V						h 400 V				Local coord.		h 150 V		h 200 V		h 400 V

		16 µm		12		0.3192771084		0		0		0.3086172345		0.2177531207		25 µm		20		0.2489795918		0		0		0.2296072508		0.0935875217		25 µm		23		0.2344827586		0		0		0.1566820276		0.079338843		30 µm		23		0.1505016722		0		0		0.0805687204		0.052		35 µm		20		0.2591006424		0		0		0.263671875				28		0.1305483029		0.0812064965		0.0638722555		0		0

				22		0.3269230769		61		1		0.3302180685		0.2262118492				30		0.3642857143		78		1		0.3591160221		0.2287390029				33		0.3311897106		95		1		0.2647754137		0.1256038647				33		0.2164948454		108		1		0.0966183575		0.0595238095				30		0.0874074074		115		1		0.0657534247				38		0.1467391304		0.0782608696		0.0601202405		118		1

				32		0.5						0.5		0.5284552846				40		0.6977777778						0.691588785		0.8631578947				43								0.3176470588		0.2993197279				43		0.3470790378						0.2055137845		0.1347248577				40		0.0914454277						0.0725244073				48		0.2492753623		0.1494505495		0.1135135135

				42		0.6687697161						0.6808943089		0.826435247				50		0.7510204082						0.7796610169		0.9246575342				53		0.6393442623						0.6741573034		0.7946127946				63		0.6487603306						0.7430939227		0.8559837728				50		0.1515151515						0.1463414634				58		0.3970588235		0.41		0.368852459

				52		0.6972789116						0.7270788913		0.8104196816				60														63		0.7039711191						0.7454545455		0.8982785603				73		0.7683823529						0.884057971		0.9513108614				60		0.5						0.5				68		0.66		0.7510548523		0.789017341

																																73		0.7731629393						0.830802603		0.9453376206				83		0.8316498316						0.9351145038		0.98				70		0.8						0.8395522388				78		0.7542857143		0.9100719424		0.9100719424

																																																												80		0.884086444						0.9252669039				88		0.8444444444		0.9125799574		0.9323308271

																																																												90		0.9249011858						0.9491833031

				Pos. inner end (1)														Pos.(2)=(1)+1 cm														Pos.(3)=(2)+1 cm														Pos.(4)=(3)+1 cm														Pos.(5)=(4)+0.5 cm

		Bias		#119		Int 1		#120		Int 2		#121		Int 3		#122		#119		Int 1		#120		Int 2		#121		Int 3		#122		#119		Int 1		#120		Int 2		#121		Int 3		#122		#119		Int 1		#120		Int 2		#121		Int 3		#122		#119		Int 1		#120		Int 2		#121		Int 3		#122

		[Volt]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]

		50		0		0		30		10		115		10		20						20		0		68						0		0		31		0		99		0		0		0		0		0		0		70		0		0						38		21		104		-10

		100		28		0		61		17		179		15		33						44		15		129						20		0		48		24		171		0		31						52		34		145		0		29						62		34		177		-21

		150		30		0		88		40		239		27		44						78		37		184						0		0		71		44		242		0		31						63		58		250		0		29						55		24		385		-31

		200		37		0		115		74		357		37		54						68		41		280						0		0		78		58		383		0		37						37		20		388		-5		20						48		15		454		-24

		250		34		0		101		61		530		51		20						71		44		410						0		0		44		24		509		-24		10						26		10		448		-20		10						45		0		468		-34

		300		23		0		81		37		600		-23		30						58		45		475						0		0		37		13		533		-30		20						22		22		490		-24		10						34		0		478		-34

		350		34		0		84		27		641		-27		24						51		10		519						0		0		30		0		567		-30		15						20		0		512		-24		0						34		0		495		-34

		400		23		0		64		0		644		-34		23						51		0		530						0		0		41		0		577		-37		15						20		0		527		-24		0						34		0		502		-34

		500		10		0		77		0		680		-30		10						48		0		547						0		0		34		0		588		-40		13						10		0		530		-24		0						34		0		510		-34

																																																																		-10

																																																																		-17

																																																																		-17

				Total										Total										Intermediate strip/total charge																																										-17

		Bias		Pos.(1)		Pos.(2)		Pos.(3)		Pos.(4)		Pos.(5)		normalised

		[Volt]												Pos.(1)		Pos.(2)		Pos.(3)		Pos.(4)		Pos.(5)		Pos.(1)		Pos.(2)		Pos.(3)		Pos.(4)		Pos.(5)

		50		135		88		99		70		142		0.2023988006		0.1514629948		0.1672297297		0.1328273245		0.2649253731		0.0740740741		0		0		0		0.1478873239

		100		212		173		202		174		239		0.3178410795		0.2977624785		0.3412162162		0.330170778		0.4458955224		0.0801886792		0.0867052023		0.1188118812		0.1954022989		0.1422594142

		150		283		262		273		279		440		0.4242878561		0.4509466437		0.4611486486		0.5294117647		0.8208955224		0.1413427562		0.141221374		0.1611721612		0.2078853047		0.0545454545

		200		411		348		420		408		502		0.616191904		0.5989672978		0.7094594595		0.7741935484		0.9365671642		0.1800486618		0.117816092		0.1380952381		0.0490196078		0.0298804781

		250		550		481		519		458		513		0.8245877061		0.8278829604		0.8766891892		0.8690702087		0.9570895522		0.1109090909		0.0914760915		0.0462427746		0.0218340611		0

		300		630		533		553		500		512		0.9445277361		0.917383821		0.9341216216		0.9487666034		0.9552238806		0.0587301587		0.0844277674		0.0235081374		0.044		0

		350		665		570		582		512		529		0.9970014993		0.9810671256		0.9831081081		0.9715370019		0.9869402985		0.0406015038		0.0175438596		0		0		0

		400		667		581		592		527		536		1		1		1		1		1		0		0		0		0		0

		500		690		595		601		530		544		1.0344827586		1.0240963855		1.0152027027		1.0056925996		1.0149253731		0		0		0		0		0





		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0



Pos. 1

Pos. 2

Pos. 3

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0



Bias [V]

Charge routing line/Total charge

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0		0		0

		0		0		0		0

				0		0		0

				0		0		0



150 Volt

200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #760-761

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0		0		0

		0		0		0		0

				0		0		0

				0		0		0

				0		0		0

				0		0		0



Strip #120 of sector n. 6

Local position [µm]

Right charge/Total charge

Scan across strips #760-761

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

150 Volt

200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #760-761

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0		0		0

		0		0		0		0

				0		0		0

				0		0		0

				0		0		0

				0		0		0



150 Volt

200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #760-761

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0		0		0

		0		0		0		0

				0		0		0

				0		0		0

				0		0		0

				0		0		0

				0		0		0



150 Volt

200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #760-761

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



				Strip #		Centre		Distance																				Strip #		Centre		Distance		50 V		Local coord.		DL		DR		Pulse Left		Pulse Right		Pulse sum		h		ideal				100 V		Pulse Left		Pulse Right		Pulse sum		h		150 V		Pulse Left		Pulse Right		Pulse sum		h

				6		37		115																				112		40.9		54				42.5		16		38		89		59		148		0.3986486486		0		0				178		109		287		0.3797909408				191		73		264		0.2765151515

				7		48.5																						113		46.3						42.75		18.5		35.5		125		89		214		0.4158878505		54		1				200		150		350		0.4285714286				225		91		316		0.2879746835

																																				43		21		33		129		104		233		0.4463519313								212		175		387		0.4521963824				221		118		339		0.3480825959

																																				43.25		23.5		30.5		95		95		190		0.5								168		168		336		0.5				168		168		336		0.5

		# 112		Amplitude																						# 113		Amplitude								43.5		26		28		104		114		218		0.5229357798								171		193		364		0.5302197802				148		182		330		0.5515151515

		38.6		294		0.2		0																		44.5		193								43.75		28.5		25.5		86		114		200		0.57								139		200		339		0.5899705015				118		212		330		0.6424242424

		38.8		294		0.2		-11																		44.75		180								44		31		23		77		116		193		0.6010362694								139		223		362		0.6160220994				104		228		332		0.686746988

		39		283		0.2		-17																		45		145								44.25		33.5		20.5		70		116		186		0.623655914								104		205		309		0.6634304207				66		214		280		0.7642857143

		39.2		266		0.2		-32																		45.25		116								44.5		36		18		66		114		180		0.6333333333								103		203		306		0.6633986928				52		193		245		0.787755102

		39.4		234		0.2		-36																		45.5		70

		39.6		198		0.2		-50																		45.75		59

		39.8		148		0.2		-50																		46		32

		40		98		0.2		-25																		46.25		20

		40.2		73		0.2		-30																		46.5		23																										0.9074074074		121.2244897959

		40.4		43		0.2		-16																		46.75		42

		40.6		27		0.2		-2																		47		82

		40.8		25		0.2		-2		Gaussian fit par				Fit				Normalised								47.25		100

		41		23		0.2		2		A		51		39		0.0000000044		41		2		0.04		0.0000000001		47.5		150

		41.2		25		0.2		7		B		41.92		39.2		0.0000000951		41.2		7		0.14		0.0000000019		47.75		172

		41.4		32		0.2		27		C		0.429		39.4		0.0000016399		41.4		27		0.54		0.0000000328		48		193

		41.6		59		0.2		37						39.6		0.0000227487		41.6		37		0.74		0.000000455

		41.8		96		0.2		50				51		39.8		0.0002539185		41.8		50		1		0.0000050784

		42		146		0.2		50				41.938		40		0.0022805605		42		50		1		0.0000456112

		42.2		196		0.2		38				0.43643		40.2		0.0164815472		42.2		38		0.76		0.0003296309

		42.4		234		0.2		28						40.4		0.0958436953		42.4		28		0.56		0.0019168739

		42.6		262		0.2		18						40.6		0.4484750729		42.6		18		0.36		0.0089695015

		42.8		280		0.2		11						40.8		1.6885823954		42.8		11		0.22		0.0337716479

		43		291		0.2		3						41		5.1158216329		43		3		0.06		0.1023164327

		43.2		294										41.2		12.4714721089								0.2494294422

														41.4		24.4640994978								0.48928199

														41.6		38.6144575058								0.7722891501

														41.8		49.0433163761								0.9808663275

		42.2		216		196								42		50.120905813								1.0024181163

		42.4		234		234								42.2		41.2161271536								0.8243225431

		42.6		266		262								42.4		27.272480504								0.5454496101

		42.8		278		280								42.6		14.5208248704								0.2904164974

		43		291		291								42.8		6.221099165								0.1244219833

		43.2		294		294								43		2.1446288772								0.0428925775

														43.2		0.5949032803								0.0118980656

														43.4		0.1327852289								0.0026557046

														43.6		0.0238485708								0.0004769714

														43.8		0.0034465465								0.0000689309

														44		0.0004007884								0.0000080158

														44.2		0.0000375021								0.00000075

														44.4		0.0000028236								0.0000000565

														44.6		0.0000001711								0.0000000034

																												Strip #		Centre		Distance		50 V		Local coord.		DL		DR		Pulse Left		Pulse Right		Pulse sum		h		ideal				100 V		Pulse Left		Pulse Right		Pulse sum		h		150 V		Pulse Left		Pulse Right		Pulse sum		h

																												113		46.3		54				48		17		37		129		104		233		0.4463519313		0		0				198		157		355		0.4422535211				200		114		314		0.3630573248

																												114		51.7						48.3		20		34		128		107		235		0.4553191489		54		1				200		168		368		0.4565217391				203		137		340		0.4029411765

		#114		Amplitude																																48.5		22		32		128		114		242		0.4710743802								207		193		400		0.4825				198		148		346		0.4277456647

		50.3		203																																48.8		25		29		128		139		267		0.5205992509								225		205		430		0.476744186				180		198		378		0.5238095238

		50.5		150																								Amplitude								49		27		27		116		139		255		0.5450980392								187		234		421		0.5558194774				145		205		350		0.5857142857

		50.8		109																								193								49.3		30		24		109		157		266		0.5902255639								175		250		425		0.5882352941				120		237		357		0.6638655462

		51		70																								180								49.5		32		22		98		148		246		0.6016260163								148		248		396		0.6262626263				98		253		351		0.7207977208

		51.3		29																								145								49.8		35		19		91		150		241		0.622406639								125		235		360		0.6527777778				84		253		337		0.7507418398

		51.5		29																								116								50		37		17		77		134		211		0.63507109								111		234		345		0.6782608696				63		234		297		0.7878787879

		51.8		36																								70

		52		38

		52.5		89

		53		193

		53.5		216





		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0



0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0



0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0		0		0

		0		0		0		0

		0				0		0

		0				0		0

		0				0		0

		0				0		0

		0				0		0

		0				0		0

		0				0		0



Local position [µm]

Right charge/Total charge

Scan across strips #623-624

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0		0		0

		0		0		0		0

		0				0		0

		0				0		0

		0				0		0

		0				0		0

		0				0		0

		0				0		0

		0				0		0



Local position [µm]

Right charge/Total charge

Scan across strips #624-625

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		Time delay		Corrected time		Bias [V]		#120		Int 1		#121		Int 2																		0		0.08185		9.1672		112				0.261052		10		80

		70		55		250		0		0		68		0				0		0		0		610								1		0.168384		18.859008						0.431745		34.5396

		75		50				16		0		150		0				3		0.0512794593		31.2804701969										2		0.312367		34.985104						0.675746		54.05968

		80		45				34		0		245		-25				6		0.2672435413		163.0185601936										3		0.52869		59.21328						1.004992		80.39936

		85		40				54		0		369		-41				9		0.5875634723		358.4137180924										4		0.825982		92.509984						1.426173		114.09384

		90		35				123		32		560		0				12		0.9072872169		553.4452023										5		1.20452		134.90624						1.939189		155.13512

		95		30				154		40		688		0				15		1.1543795498		704.1715253543										6		1.656436		185.520832						2.536774		202.94192

		100		25				188		51		826		-28				18		1.299469696		792.6765145638										7		2.16761		242.77232						3.205258		256.42064

		105		20				199		74		792		0				21		1.3442508459		819.9930160187										8		2.720225		304.6652						3.926179		314.09432

		110		15				188		108		615		-5				24		1.3071636214		797.3698090352										9		3.295125		369.054						4.678293		374.26344

		115		10				176		131		421		79				27		1.2124429531		739.5902013697										10		3.873637		433.847344						5.439553		435.16424

		120		5				85		68		199		34				30		1.0834467691		660.9025291351										11		4.438771		497.142352						6.188773		495.10184

		125		0				0		0		0		0				33		0.9394191906		573.0457062512										12		4.97592		557.30304						6.906842		552.54736

																		36		0.7945091514		484.6505823432										13		5.473185		612.99672						7.577489		606.19912

																		39		0.6580501859		401.410613397										14		5.92143		663.20016						8.187653		655.01224

																		42		0.5354104702		326.6003867976										15		6.31416		707.18592						8.727551		698.20408

																		45		0.4289931162		261.6858008585										16		6.647297		744.497264						9.190552		735.24416

																		48		0.339164421		206.8902967894										17		6.91889		774.91568						9.57288		765.8304

																		51		0.2650152693		161.6593142647										18		7.128793		798.424816						9.873284		789.86272

																		54		0.2049346724		125.0101501754										19		7.278362		815.176544						10.092649		807.41192

																		57		0.1570118833		95.7772488293										20		7.370132		825.454784						10.233604		818.68832

																		60		0.1192986421		72.7721716988										21		7.407557		829.646384						10.300152		824.01216

																		63		0.0899657472		54.8791057793										22		7.394742		828.211104						10.297333		823.78664

																		66		0.0673846758		41.1046522082										23		7.336235		821.65832						10.230914		818.47312

																		69		0.050159177		30.597097963										24		7.236837		810.525744						10.107127		808.57016

																		72		0.0371256796		22.6466645667										25		7.101445		795.36184						9.932439		794.59512

																		75		0.0273359711		16.67494238										26		6.934925		776.7116						9.713365		777.0692

																																27		6.742013		755.105456						9.456316		756.50528

																																28		6.527242		731.051104						9.16749		733.3992

																																29		6.294873		705.025776						8.852766		708.22128

																																30		6.048868		677.473216						8.517644		681.41152

																																31		5.792859		648.800208						8.167207		653.37656

																																32		5.530137		619.375344						7.806094		624.48752

																																33		5.263647		589.528464						7.438483		595.07864

																																34		4.995998		559.551776						7.068093		565.44744

																																35		4.729472		529.700864						6.698193		535.85544

																																36		4.466033		500.195696						6.331631		506.53048

																																37		4.207353		471.223536						5.970841		477.66728

																																38		3.954834		442.941408						5.617879		449.43032

																																39		3.709625		415.478						5.274448		421.95584

																																40		3.472645		388.93624						4.941926		395.35408

																																41		3.244611		363.396432						4.621399		369.71192

																																42		3.026052		338.917824						4.313695		345.0956

																																43		2.817337		315.541744						4.019405		321.5524

																																44		2.618692		293.293504						3.738913		299.11304

																																45		2.43022		272.18464						3.472427		277.79416

																																46		2.251916		252.214592						3.219996		257.59968

																																47		2.083687		233.372944						2.981542		238.52336

																																48		1.925365		215.64088						2.756874		220.54992

																																49		1.776718		198.992416						2.545705		203.6564

																																50		1.637465		183.39608						2.347678		187.81424

																																51		1.507286		168.816032						2.162372		172.98976

																																52		1.38583		155.21296						1.989319		159.14552

																																53		1.272725		142.5452						1.828019		146.24152

																																54		1.167583		130.769296						1.677946		134.23568

																																55		1.070007		119.840784						1.538557		123.08456

																																56		0.979598		109.714976						1.409304		112.74432

																																57		0.895956		100.347072						1.289635		103.1708

																																58		0.818688		91.693056						1.179003		94.32024

																																59		0.747406		83.709472						1.076871		86.14968

																																60		0.681733		76.354096						0.982712		78.61696

																																61		0.621304		69.586048						0.896015		71.6812

																																62		0.565769		63.366128						0.816288		65.30304

																																63		0.51479		57.65648						0.743057		59.44456

																																64		0.468044		52.420928						0.675869		54.06952

																																65		0.425227		47.625424						0.614292		49.14336

																																66		0.386049		43.237488						0.557917		44.63336

																																67		0.350235		39.22632						0.506357		40.50856

																																68		0.317529		35.563248						0.459245		36.7396

																																69		0.287687		32.220944						0.416239		33.29912

																																70		0.260483		29.174096						0.377015		30.1612

																																71		0.235705		26.39896						0.341272		27.30176

																																72		0.213156		23.873472						0.308729		24.69832

																																73		0.19265		21.5768						0.279123		22.32984

																																74		0.174018		19.490016						0.25221		20.1768

																																75		0.157101		17.595312						0.227764		18.22112

																																76		0.141751		15.876112						0.205574		16.44592

																																77		0.127834		14.317408						0.185447		14.83576

																																78		0.115224		12.905088						0.167204		13.37632

																																79		0.103806		11.626272						0.150679		12.05432

																																80		0.093474		10.469088						0.13572		10.8576

																																81		0.084131		9.422672						0.122188		9.77504

																																82		0.075686		8.476832						0.109953		8.79624

																																83		0.068058		7.622496						0.098898		7.91184

																																84		0.061172		6.851264						0.088915		7.1132

																																85		0.054959		6.155408						0.079904		6.39232

																																86		0.049356		5.527872						0.071777		5.74216

																																87		0.044307		4.962384

																																88		0.039758		4.452896

																																89		0.035662		3.994144

																																90		0.031975		3.5812

																																91		0.028659		3.209808

																																92		0.025678		2.875936

																																93		0.022998		2.575776

																																94		0.020591		2.306192

																																95		0.018429		2.064048

																																96		0.016489		1.846768

																																97		0.014748		1.651776

																																98		0.013187		1.476944

																																99		0.011787		1.320144





		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0



0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0



0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0



Measured (hit strip)

Calculated

Adjacent strip

Intermediate routing line

Time [ns]

Amplitude [arb. units]

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0



Measured

Calculated

Time [ns]

Amplitude [arb. units]

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0




_1051560452.xls
Chart1

		0		0

		10		10

		20		20

		25		25

		30		30

		35		35

		40		40

		45		45

		55		55

		65		65



Front Al foils

Back Al foils

Position [mm]

Measured fluence [p cm-2]

10000000000000

10500000000000

45000000000000

45500000000000

300000000000000

252000000000000

410000000000000

440000000000000

430000000000000

460000000000000

315000000000000

380000000000000

109000000000000

270000000000000

12000000000000

27000000000000

700000000000

1200000000000



General

		Sector #		Strip's range								1		128

		1		1-128								2		256

		2		129-256								3		384

		3		257-384								4		512

		4		385-512								5		640

		5		513-640								6		768

		6		641-768								7		896

		7		769-896								8		1024

		8		897-1024

		Measured strips:

		Sector #:		1		2		3		4		5		6		7		8





Routing line

		

																						Strip #		Est. VFD

																						499		55

																						760		170

																						774		125

																						888		50





Routing line

		10		50		20		10

		20		100		40		20

		30		150		50		40

		40		200		60		50

		50		250		80		60

		60		300		100		80

		80		350		125		100

		100		400		150		125

		150		500		175		150

		200				200		200

		300				300		300



Strip #499

Strip #760

Strip #774

Strip #888

Bias [Volt]

Charge routing line/total charge

0.1402439024

0.1694915254

0.0649350649

0.1036036036

0.0886524823

0.1589958159

0.1363636364

0.0705521472

0.069637883

0.0979381443

0.1446540881

0.0580808081

0.0611246944

0.0445859873

0.1421052632

0.0324189526

0.0412844037

0

0.1553030303

0.0324189526

0

0

0.1184210526

0.0224438903

0

0

0.0692771084

0

0

0

0.0507042254

0

0

0

0.05

0

0

0.025

0

0

0.0243902439

0



Irradiated (4)

		50		50		50		50		50

		100		100		100		100		100

		150		150		150		150		150

		200		200		200		200		200

		250		250		250		250		250

		300		300		300		300		300

		350		350		350		350		350

		400		400		400		400		400

		500		500		500		500		500



Pos. 1

Pos. 2

Pos. 3

Pos. 4

Pos. 5

Bias [V]

Charge routing line/Total charge

0.0740740741

0

0

0

0.1478873239

0.0801886792

0.0867052023

0.1188118812

0.1954022989

0.1422594142

0.1413427562

0.141221374

0.1611721612

0.2078853047

0.0545454545

0.1800486618

0.117816092

0.1380952381

0.0490196078

0.0298804781

0.1109090909

0.0914760915

0.0462427746

0.0218340611

0

0.0587301587

0.0844277674

0.0235081374

0.044

0

0.0406015038

0.0175438596

0

0

0

0

0

0

0

0

0

0

0

0

0



Irradiated (5) 

		Bias 250 V		Strip #		Centre		Distance		20 V		Local coord.		D24		D25		Pulse Left		Pulse Right		Pulse sum		h		ideal				50 V		Pulse Left		Pulse Right		Pulse sum		h		200 V		Pulse Left		Pulse Right		Pulse sum		h				Volt scan		#85		#86		Total		Normalised

				85		31		110				33.5		25		85		128		12		140		0.0857142857		0		0				253		30		283		0.1060070671				373		16		389		0.0411311054				20		36		126		162		0.3884892086

				86		42						34.5		35		75		132		12		144		0.0833333333		110		1				233		24		257		0.093385214				341		25		366		0.0683060109				30		52		240		292		0.7002398082

												35.5		45		65		84		32		116		0.275862069								204		48		252		0.1904761905				325		50		375		0.1333333333				40		48		317		365		0.8752997602

												37		60		50		22		40		62		0.6451612903								36		76		112		0.6785714286				50		136		186		0.7311827957				50		48		371		407		0.9760191847

		#85		Amplitude		#86		Amplitude				37.5		65		45		40		84		124		0.6774193548								60		197		257		0.766536965				60		305		365		0.8356164384				75		36		380		412		0.9880095923

		39		417		28		417				38.5		75		35		28		152		180		0.8444444444								40		272		312		0.8717948718				32		401		433		0.9260969977				100		32		397		425		1.0191846523

		40		325		29		297				39.5		85		25		24		160		184		0.8695652174								44		281		325		0.8646153846				32		405		437		0.9267734554				120		28		413		441		1.0575539568

		41		50		30		60																																												150		28		417		417		1

		42		0		31		0

		43		68		32		32

		44		361		33		272

						34		409

		Bias 250 V		Strip #		Centre		Distance		20 V		Local coord.		D24		D25		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h		ideal				50 V		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h		200 V		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h				Volt scan		#4		Int 1		#5		Int 2		Total		Normalised		Norm Rout		Norm rzatio rout/total

				4		12.5		115				14.5		20		95		204		-28		36				240		0.15		0		0				333				36				369		0.0975609756				449		-64		48				497		0.0965794769				20		12		-24		200		-48		212		0.4265593561

				5		24						15.5		30		85		240		-36		44				284		0.1549295775		115		1				425		-64		72				497		0.1448692153				573		-112		64				637		0.1004709576				30		40				328		-52		368		0.7404426559

												16.5		40		75		212		-32		44				256		0.171875								373		-48		52				425		0.1223529412				525		-88		52				577		0.0901213172				40		24		-16		381		-88		405		0.814889336

												17.5		50		65		116		-8		48				164		0.2926829268								256		-24		104				360		0.2888888889				373		-64		120				493		0.2434077079				50		28		-24		425		-92		453		0.9114688129

		#4		Amplitude		#5		Amplitude				18.5		60		55		16				32				48		0.6666666667								32				72				104		0.6923076923				60				112				172		0.6511627907				75		16				445		-100		461		0.9275653924

		12		0		21		489				19.5		70		45		52				188		-16		240		0.7833333333								68				385		-48		453		0.8498896247				52				509		-96		561		0.9073083779				100		12		-28		457		-124		469		0.9436619718

		13		0		22		341				20.5		80		35		52				253		-16		305		0.8295081967								76				429		-52		505		0.8495049505				36				549		-96		585		0.9384615385				120		16		-20		465		-120		481		0.967806841

		14		132		23		84				21.5		90		25		28				204		-48		232		0.8793103448								36				393		-84		429		0.9160839161				28				501		-112		529		0.9470699433				150		12		-44		485		-132		497		1

		15		437		24		0

		16		517		25		0

						26		272

		Bias 250 V		Strip #		Centre		Distance		20 V		Local coord.		D24		D25		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h		ideal				50 V		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h		200 V		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h

				5		24		110				26.5		25		85		197				36				233		0.1545064378		0		0				328				36				364		0.0989010989				445				32				477		0.0670859539

				6		35						27.5		35		75		152				28				180		0.1555555556		110		1				305				36				341		0.1055718475				449				36				485		0.0742268041

												28.5		45		65		116				36				152		0.2368421053								253				60				313		0.1916932907				413				100				513		0.1949317739

												29.5		55		55		44				28				72										60				36				96						72				32				104

												30.5		65		45		28				104				132		0.7878787879								52				212				264		0.803030303				72				345				417		0.8273381295

												31.5		75		35		36				160				196		0.8163265306								32				272				304		0.8947368421				28				405				433		0.935334873

												32.5		85		25		12				164				176		0.9318181818								32				333				365		0.9123287671				72				469				541		0.8669131238

		Bias 250 V		Strip #		Centre		Distance		20 V		Local coord.		D24		D25		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h		ideal				50 Volt		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h		200 Volts		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h				Volt scan		#115		Int 1		#116		Int 2		Total		Normalised		Norm Rout		Norm rzatio rout/total

				115		44		120				47.5		35		85		237				45				282		0.1595744681		0		0				396		-18		54				450		0.12				474		-31		41				515		0.0796116505				10		32		23		132		0		164		0.3326572008				0.1402439024

				116		56						48.5		45		75		209		0		54				263		0.2053231939		120		1				387		-13		59				446		0.1322869955				460		-41		45				505		0.0891089109				20		41		25		241		0		282		0.5720081136				0.0886524823

												49.5		55		65		128		13		54				182		0.2967032967								264				77				341		0.2258064516				360		-23		90				450		0.2				30		45		25		314		0		359		0.7281947262				0.069637883

												51		70		50		41		13		91				132										63		13		182				245						73		0		250				323		0.72				40		45		25		364		0		409		0.8296146045				0.0611246944

		#115		Amplitude		#116		Amplitude				51.5		75		45		77		41		173				250		0.692								91		18		360				451		0.7982261641				91		0		461				552		0.8351449275				50		36		18		400		-13		436		0.8843813387				0.0412844037

		42		506		54		483				52.5		85		35		54		30		214				268		0.7985074627								54		23		383				437		0.8764302059				32		-23		460				492		0.9349593496				60		25		0		419		-23		444		0.9006085193				0

		43		410		55		287				53.5		95		25		41		25		241				282		0.8546099291								36		18		400		-13		436		0.9174311927				27				460		-23		487		0.9445585216				80		27		0		442		-23		469		0.9513184584				0

		44		77		56		0																																																								100		27		0		446		-23		473		0.9594320487				0

		45		455		57		0																																																								150		23		0		455		-27		478		0.9695740365				0

		46		488		58		145																																																								200		27				460		-18		487		0.9878296146				0

						59		469																																																								300		23				470		-30		493		1				0





Irr. corr (5)

		Bias 250 V		Strip #		Centre		Distance		100 V		Local coord.		D24		D25		Pulse Left		Pulse Right		Pulse sum		h		ideal				200 V		Pulse Left		Pulse Right		Pulse sum		h		300 V		Pulse Left		Pulse Right		Pulse sum		h				Volt scan		#13		#14		Total		Normalised						Strip #5		Volt scan		Normalised

				13		8.5		110				11		25		85		351		0		351		0		0		0				369		0		369		0				364		0		364		0				20		5		205		210		0.4338842975						10		140		0.2868852459

				14		19.5						12		35		75		387		0		387		0		110		1				414		0		414		0				414		0		414		0				30		5		273		278		0.5743801653						30		285		0.5840163934

												13		45		65		328		27		355		0.076056338								374		15		389		0.0385604113				383		24		407		0.058968059				40		54		323		377		0.7789256198						50		393		0.8053278689

												14		55		55		154		73		227		0.3215859031								164		59		223		0.264573991				173		68		241		0.2821576763				50		45		360		405		0.8367768595						70		434		0.8893442623

		#13		Amplitude		#14		Amplitude				15		65		45		54		223		277		0.8050541516								63		264		327		0.8073394495				82		278		360		0.7722222222				75		41		405		446		0.9214876033						100		454		0.9303278689

		6		364		17		351				16		75		35		36		378		414		0.9130434783								36		424		460		0.9217391304				32		424		456		0.9298245614				100		32		428		460		0.9504132231						150		468

		7		164		18		164				17		85		25		23		414		437		0.9473684211								23		460		483		0.9523809524				20		464		484		0.958677686				120		23		437		460		0.9504132231						200		485		0.993852459

		8		30		19		0																																												150		27		446		473		0.9772727273						300		488		1

		9		0		20		0																																												200		23		455		478		0.9876033058

		10		209		21		196																																												300		20		464		484		1

		11		370		22		392

		Bias 250 V		Strip #		Centre		Distance		50 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				200 V		Pulse Left		Pulse Right		Pulse sum		h		300 V		Pulse Left		Pulse Right		Pulse sum		h				Volt scan		#33		#34		Total		Normalised

				13		4.8		112				8		32		80		31		334		71		405		0.175308642		0		0				427		-17		410		0				434		-17		417		0				10		48		97		145		0.3325688073				30		112		20		31		163

				14		16						9		42		70		34		317		51		368		0.1385869565		112		1				427		31		458		0.0676855895				458		24		482		0.0497925311				20		51		184		235		0.5389908257				50		157		31		41		229

												10		52		60		0		68		34		102		0.3333333333								89		37		126		0.2936507937				99		34		133		0.2556390977				30		54		263		317		0.7270642202				100		291		51		85		427

												11		62		50		0		65		195		260		0.75								61		266		327		0.8134556575				61		260		321		0.8099688474				50		37		345		382		0.876146789				130		372		58		103		533

		#33		Amplitude		#34		Amplitude				12		72		40		0		51		308		359		0.8579387187								34		413		447		0.9239373602				34		430		464		0.9267241379				75		27		389		416		0.9541284404				150		530		50		109		689

		2		445		13		451				13		82		30		0		37		342		379		0.9023746702								27		427		454		0.9405286344				10		447		457		0.9781181619				100		24		400		424		0.9724770642				200		567		44		65		676

		3		191		14		214																																														125		24		417		441		1.0114678899				250		605		31				636

		4		41		15		41																																														150		20		420		440		1.0091743119				300		612		31				643

		5		34		16		34																																														200		20		424		444		1.0183486239

		6		68		17		58																																														300		20		436		456		1.0458715596

		7		413		18		330

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.		D24		D25		#120		Int 1		#121		Int 2		#122		Int 3		Pulse sum		h		ideal				200 V		#120		Int 1		#121		Int 2		#122		Int 3		Pulse sum		h		400 V		#120		Int 1		#121		Int 2		#122		Int 3		Pulse sum		h						Volt scan		#120		Int 1		#121		Int 2		#122		Total		Normalised		Rout/total

				121		40		117				43		30		87		30		24		167		24		48		17		215		0.223255814		0		0				24		20		266		10		34		0		300		0.1133333333				10		0		372		-24		20		0		392		0.0510204082						50		0		0		61		0		24		85		0.2093596059		0

				122		51.7						44		40		77		24		15		140		31		54		117		194		0.2783505155		117		1				27		15		242		27		58		0		300		0.1933333333				0		0		376		-24		31		0		407		0.0761670762						100		20		0		106		0		34		140		0.3448275862		0

												45		50		67		24		20		99		37		65		0		164		0.3963414634								15		0		171		44		75		0		246		0.3048780488				10		0		311		0		75		0		386		0.1943005181						150		27		10		157		24		48		205		0.5049261084		0.0487804878

												47		70		47		0		0		58		41		95		0		153		0.6209150327								0		0		68		48		146		0		214		0.6822429907				0		0		61		17		270		0		331		0.8157099698						200		20		10		253		10		34		287		0.7068965517		0.0348432056

		#121		Amplitude		#122		Amplitude				48		80		37		0		0		65		41		143		10		208		0.6875								0		0		58		41		229		0		287		0.7979094077				0		0		34		0		366		-13		400		0.915						250		10		5		317		0		27		344		0.8472906404		0.0145348837

		38		345		49		366				49		90		27		0		0		51		34		157		0		208		0.7548076923								0		0		44		27		266		0		310		0.8580645161				0		0		27		0		376		-17		403		0.9330024814						300		0		0		349		0		31		380		0.9359605911		0

		39		37		50		201																																																																						350		0		0		362		-15		27		389		0.9581280788		0

		40		30		51		34																																																																						400		0		0		372		-17		34		406		1		0

		41		34		52		24																																																																						500		0		0		383		-20		27		410		1.0098522167		0

		42		195		53		58

		43		362		54		342

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				200 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		400 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h						Volt scan		#109		#110		Total		Normalised

				109		12.4		116				15		26		90		31		178		51		229		0.2227074236		0		0				15		280		24		304		0.0789473684						369		0		369		0						50		65		0		65		0.1747311828

				110		24						16		36		80		24		154		58		212		0.2735849057		116		1				24		263		41		304		0.1348684211						372		0		372		0						100		123		37		160		0.4301075269

												17		46		70		20		123		71		194		0.3659793814								30		215		71		286		0.2482517483						331		41		372		0.1102150538						150		171		51		222		0.5967741935

												19		66		50		0		68		95		163		0.5828220859								0		71		146		217		0.6728110599						58		242		300		0.8066666667						200		287		24		311		0.8360215054

		#109		Amplitude		#110		Amplitude				20		76		40		0		68		146		214		0.6822429907								0		58		242		300		0.8066666667						34		338		372		0.9086021505						250		334		0		334		0.8978494624

		10		308		21		291				21		86		30		0		58		167		225		0.7422222222								0		44		259		303		0.8547854785						0		345		345		1						300		351		0		351		0.9435483871

		11		37		22		208																																																				350		366		0		366		0.9838709677

		12		0		23		31																																																				400		372		0		372		1

		13		0		24		27																																																				500		383		0		383		1.0295698925

		14		225		25		31

		15		321		26		235

						27		285

		Bias 250 V		Strip #		Centre		Distance		100 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				300 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		400 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h						Volt scan		#72		#73		Total		Normalised

				72		29.1		114				31.5		24		90				253		34		287		0.118466899		0		0						355		1		356		0.0028089888						0		0		0		0						25		44		20		64		0.170212766

				73		40.5						32.5		34		80				242		48		290		0.1655172414		114		1						386		1		387		0.0025839793																		50		95		41		136		0.3617021277

												33.5		44		70				150		78		228		0.3421052632										280		41		321		0.1277258567																		75		150		58		208		0.5531914894

												35.5		64		50				54		120		174		0.6896551724										51		222		273		0.8131868132																		100		240		51		291		0.7739361702

		#72		Amplitude		#73		Amplitude				36.5		74		40				68		215		283		0.7597173145										17		376		393		0.9567430025																		125		311		27		338		0.8989361702

		27		249		38		311				37.5		84		30				41		253		294		0.8605442177										1		386		387		0.9974160207																		150		342		10		352		0.9361702128

		28		71		39		106				38		89		25				41		249		290		0.8586206897										20		355		375		0.9466666667																		200		355		10		365		0.9707446809

		28.5		25		40		20																																																				300		376		0		376		1

		29		0		41		31																																																				400		383		0		383		1.0186170213

		30		58		42		154

		31		256		43		334

		Bias 250 V		Strip #		Centre		Distance		100 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				150 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		300 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		200 V		Pulse Left		Pulse Right		Pulse sum		h		Volt scan		#92		#93		Total		Normalised

				92		37.8		116				40		22		94		20		146		41		187		0.2192513369		0		0						259		24		283		0.0848056537						352		1		353		0.0028328612				331		5		336		0.0148809524		50		65		10		75		0.2049180328

				93		49.4						41		32		84		20		140		44		184		0.2391304348		116		1						246		34		280		0.1214285714						369		1		370		0.0027027027				334		5		339		0.0147492625		75		95		10		105		0.2868852459

												42		42		74		24		112		51		163		0.3128834356										208		65		273		0.2380952381						355		1		356		0.0028089888				300		34		334		0.1017964072		100		129		27		156		0.4262295082

												44.5		67		49		0		68		89		157		0.5668789809										82		143		225		0.6355555556						65		256		321		0.7975077882				71		215		286		0.7517482517		125		167		27		194		0.5300546448

		#92		Amplitude		#93		Amplitude				45		72		44				71		103		174		0.591954023										78		198		276		0.7173913043						37		334		371		0.9002695418				54		291		345		0.8434782609		150		236		30		266		0.7267759563

		35		352		47		345				46		82		34				54		123		177		0.6949152542										54		236		290		0.8137931034						1		370		371		0.9973045822				41		328		369		0.8888888889		200		328		0		328		0.8961748634

		36		143		48		68				47		92		24				48		133		181		0.7348066298										48		259		307		0.8436482085						10		359		369		0.972899729				35		331		366		0.9043715847		250		355		0		355		0.9699453552

		37		17		49		0																																																										300		366		0		366		1

		38		17		49.5		0																																																										400		379		0		379		1.0355191257

		39		95		50		0

		40		325		51		116

						52		321

		Bias 250 V		Strip #		Centre		Distance		20 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				50 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		200 V		Pulse Left		Pulse Right		Pulse sum		h								Volt scan		#32		#33		Total		Normalised

				32		43.2		108				45.5		23		85		24		188		30		218		0.1376146789		0		0				24		317		1		318		0.0031446541				400		1		401		0.0024937656								10		89		41		130		0.3147699758

				33		54						46.5		33		75		20		174		44		218		0.2018348624		108		1				20		325		10		335		0.0298507463				410		1		411		0.00243309								20		171		41		212		0.5133171913

												47.5		43		65		24		123		65		188		0.3457446809								20		242		54		296		0.1824324324				342		37		379		0.0976253298								30		232		34		266		0.6440677966

												49		58		50		0		41		58		99		0.5858585859										44		109		153		0.7124183007				51		164		215		0.7627906977								50		321		0		321		0.7772397094

		#32		Amplitude		#33		Amplitude				49.5		63		45				68		116		184		0.6304347826										68		212		280		0.7571428571				65		297		362		0.820441989								75		362		0		362		0.8765133172

		40		393		51		413				50.5		73		35				58		157		215		0.7302325581										44		297		341		0.8709677419				24		389		413		0.9418886199								100		383		0		383		0.9273607748

		41		181		52		291				51		78		30				48		164		212		0.7735849057										41		304		345		0.8811594203				15		393		408		0.9632352941								150		396		0		396		0.9588377724

		42		31		53		51																																																				200		413		0		413		1

		43		24		54		17																																																				300		420		0		420		1.0169491525

		44		80		55		50

		45		359		56		280

						57		403

		Bias 250 V		Strip #		Centre		Distance		50 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				100 V		Pulse Left		Pulse Right		Pulse sum		h		300 V		Pulse Left		Pulse Right		Pulse sum		h										Volt scan		#53		#54		#55		#56		Total		Normalised

				54		39		110				42.5		35		75		24		259		37		296		0.125		0		0				352		1		353		0.0028328612				400		1		401		0.0024937656										10		13		27		41		13		68		0.17

				55		50						43		40		70		24		222		48		270		0.1777777778		110		1				331		1		332		0.0030120482				393		1		394		0.0025380711										25		20		61		109		20		170		0.425

												44		50		60		0		123		58		181		0.320441989								195		44		239		0.1841004184				239		41		280		0.1464285714										50				266		41				307		0.7675

												45.5		65		45		0		51		116		167		0.6946107784								42		178		220		0.8090909091				61		215		276		0.7789855072										75				334		14				348		0.87

		#54		Amplitude		#55		Amplitude				46		70		40				70		201		271		0.741697417								51		308		359		0.8579387187				51		355		406		0.8743842365										100				359		0				359		0.8975

		37		352		47		400				47		80		30				43		260		303		0.8580858086								17		355		372		0.9543010753				1		400		401		0.9975062344										150				372		0				372		0.93

		38		44		48		280																																																				200				383		0				383		0.9575

		39		27		49		41																																																				250				396		0				396		0.99

		40		51		50		20																																																				300				400		0				400		1

		41		266		51		51								512		63		575																																								400				406						406		1.015

		42		390		52		273

						53		410

		Bias 250 V		Strip #		Centre		Distance		50 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				100 V		Pulse Left		Pulse Right		Pulse sum		h		250 V		Pulse Left		Pulse Right		Pulse sum		h										Volt scan		#64		#65		Total		Normalised

				63		1		120				4.5		35		85		37		161		65		226		0.2876106195		0		0				317		1		318		0.0031446541				376		1		377		0.0026525199										25		34		75		109		0.2632850242

				64		13						5.5		45		75		30		137		82		219		0.3744292237		120		1				297		54		351		0.1538461538				376		15		391		0.0383631714										50		55		164		219		0.5289855072

												6		50		70		0		123		78		201		0.3880597015								249		58		307		0.1889250814				325		41		366		0.1120218579										75		37		290		327		0.7898550725

												7.5		65		55		0		38		51		89		0.5730337079								40		106		146		0.7260273973				51		129		180		0.7166666667										100		27		330		357		0.8623188406

		#63		Amplitude		#64		Amplitude				8		70		50				71		103		174		0.591954023								61		242		303		0.798679868				58		300		358		0.8379888268										150		27		359		386		0.9323671498

		-1		352		10		400				9		80		40				75		143		218		0.6559633028								41		325		366		0.8879781421				31		372		403		0.9230769231										200		24		372		396		0.9565217391

		0		44		11		280				10		90		30				51		164		215		0.7627906977								34		334		368		0.9076086957				20		389		409		0.9511002445										250		20		379		399		0.9637681159

		1		27		12		41																																																				300		24		382		406		0.9806763285

		2		51		13		20																																																				350		24		390		414		1

		3		266		14		51

		4		390		15		273





Irr. corr. (6)

		Bias 250 V		Strip #		Centre		Distance		100 V		Local coord.		D24		D25		Pulse Left		Pulse Right		Pulse sum		h		ideal				200 V		Pulse Left		Pulse Right		Pulse sum		h		300 V		Pulse Left		Pulse Right		Pulse sum		h				Volt scan		#13		#14		Total		Normalised						Strip #5		Volt scan		Normalised

				13		8.5		110				11		25		85		351		17		368		0.0461956522		0		0				369		17		386		0.0440414508				364		17		381		0.0446194226				20		5		205		210		0.4338842975						10		140		0.2868852459

				14		19.5						12		35		75		387		24		411		0.0583941606		110		1				414		24		438		0.0547945205				414		24		438		0.0547945205				30		5		273		278		0.5743801653						30		285		0.5840163934

												13		45		65		328		54		382		0.1413612565								374		55		429		0.1282051282				383		48		431		0.1113689095				40		54		323		377		0.7789256198						50		393		0.8053278689

												14		55		55		154		73		227		0.3215859031								164		59		223		0.264573991				173		68		241		0.2821576763				50		45		360		405		0.8367768595						70		434		0.8893442623

		#13		Amplitude		#14		Amplitude				15		65		45		54		223		277		0.8050541516								63		264		327		0.8073394495				82		278		360		0.7722222222				75		41		405		446		0.9214876033						100		454		0.9303278689

		6		364		17		351				16		75		35		36		378		414		0.9130434783								36		424		460		0.9217391304				32		424		456		0.9298245614				100		32		428		460		0.9504132231						150		468

		7		164		18		164				17		85		25		23		414		437		0.9473684211								23		460		483		0.9523809524				20		464		484		0.958677686				120		23		437		460		0.9504132231						200		485		0.993852459

		8		30		19		0																																												150		27		446		473		0.9772727273						300		488		1

		9		0		20		0																																												200		23		455		478		0.9876033058

		10		209		21		196																																												300		20		464		484		1

		11		370		22		392

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.		D24		D25		#120		Int 1		#121		Int 2		#122		Int 3		Pulse sum		h		ideal				200 V		#120		Int 1		#121		Int 2		#122		Int 3		Pulse sum		h		400 V		#120		Int 1		#121		Int 2		#122		Int 3		Pulse sum		h						Volt scan		#120		Int 1		#121		Int 2		#122		Total		Normalised

				121		40		117				43		30		87		30		24		167		24		48		17		215		0.223255814		0		0				24		20		266		10		34		0		300		0.1133333333				10		0		372		-24		20		0		392		0.0510204082						50		0		0		61		0		24		85		0.2093596059

				122		51.7						44		40		77		24		15		140		31		54		117		194		0.2783505155		117		1				27		15		242		27		58		0		300		0.1933333333				0		0		376		-24		31		0		407		0.0761670762						100		20		0		106		0		34		140		0.3448275862

												45		50		67		24		20		99		37		65		0		164		0.3963414634								15		0		171		44		75		0		246		0.3048780488				10		0		311		0		75		0		386		0.1943005181						150		27		10		157		24		48		205		0.5049261084

												47		70		47		0		0		58		41		95		0		153		0.6209150327								0		0		68		48		146		0		214		0.6822429907				0		0		61		17		270		0		331		0.8157099698						200		20		10		253		10		34		287		0.7068965517

		#121		Amplitude		#122		Amplitude				48		80		37		0		0		65		41		143		10		208		0.6875								0		0		58		41		229		0		287		0.7979094077				0		0		34		0		366		-13		400		0.915						250		10		5		317		0		27		344		0.8472906404

		38		345		49		366				49		90		27		0		0		51		34		157		0		208		0.7548076923								0		0		44		27		266		0		310		0.8580645161				0		0		27		0		376		-17		403		0.9330024814						300		0		0		349		0		31		380		0.9359605911

		39		37		50		201																																																																						350		0		0		362		-15		27		389		0.9581280788

		40		30		51		34																																																																						400		0		0		372		-17		34		406		1

		41		34		52		24																																																																						500		0		0		383		-20		27		410		1.0098522167

		42		195		53		58

		43		362		54		342

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				200 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		400 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h						Volt scan		#109		#110		Total		Normalised

				109		12.4		116				15		26		90		31		178		51		229		0.2227074236		0		0				15		280		24		304		0.0789473684						369		15		384		0.0390625						50		65		0		65		0.1747311828

				110		24						16		36		80		24		154		58		212		0.2735849057		116		1				24		263		41		304		0.1348684211						372		24		396		0.0606060606						100		123		37		160		0.4301075269

												17		46		70		20		123		71		194		0.3659793814								30		215		71		286		0.2482517483						331		41		372		0.1102150538						150		171		51		222		0.5967741935

												19		66		50		0		68		95		163		0.5828220859								0		71		146		217		0.6728110599						58		242		300		0.8066666667						200		287		24		311		0.8360215054

		#109		Amplitude		#110		Amplitude				20		76		40		0		68		146		214		0.6822429907								0		58		242		300		0.8066666667						34		338		372		0.9086021505						250		334		0		334		0.8978494624

		10		308		21		291				21		86		30		0		58		167		225		0.7422222222								0		44		259		303		0.8547854785						15		345		360		0.9583333333						300		351		0		351		0.9435483871

		11		37		22		208																																																				350		366		0		366		0.9838709677

		12		0		23		31																																																				400		372		0		372		1

		13		0		24		27																																																				500		383		0		383		1.0295698925

		14		225		25		31

		15		321		26		235

						27		285

		Bias 250 V		Strip #		Centre		Distance		100 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				300 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		400 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h						Volt scan		#72		#73		Total		Normalised

				72		29.1		114				31.5		24		90				253		34		287		0.118466899		0		0						355		14		369		0.0379403794						0		0		0		0						25		44		20		64		0.170212766

				73		40.5						32.5		34		80				242		48		290		0.1655172414		114		1						386		25		411		0.0608272506																		50		95		41		136		0.3617021277

												33.5		44		70				150		78		228		0.3421052632										280		56		336		0.1666666667																		75		150		58		208		0.5531914894

												35.5		64		50				54		120		174		0.6896551724										51		222		273		0.8131868132																		100		240		51		291		0.7739361702

		#72		Amplitude		#73		Amplitude				36.5		74		40				68		215		283		0.7597173145										17		376		393		0.9567430025																		125		311		27		338		0.8989361702

		27		249		38		311				37.5		84		30				41		253		294		0.8605442177										1		386		387		0.9974160207																		150		342		10		352		0.9361702128

		28		71		39		106				38		89		25				41		249		290		0.8586206897										20		355		375		0.9466666667																		200		355		10		365		0.9707446809

		28.5		25		40		20																																																				300		376		0		376		1

		29		0		41		31																																																				400		383		0		383		1.0186170213

		30		58		42		154

		31		256		43		334

		Bias 250 V		Strip #		Centre		Distance		100 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				150 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		300 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		200 V		Pulse Left		Pulse Right		Pulse sum		h		Volt scan		#92		#93		Total		Normalised

				92		37.8		116				40		22		94		20		146		41		187		0.2192513369		0		0						259		24		283		0.0848056537						352		15		367		0.0408719346				331		20		351		0.056980057		50		65		10		75		0.2049180328

				93		49.4						41		32		84		20		140		44		184		0.2391304348		116		1						246		34		280		0.1214285714						369		27		396		0.0681818182				334		29		363		0.0798898072		75		95		10		105		0.2868852459

												42		42		74		24		112		51		163		0.3128834356										208		65		273		0.2380952381						355		36		391		0.0920716113				300		55		355		0.1549295775		100		129		27		156		0.4262295082

												44.5		67		49		0		68		89		157		0.5668789809										82		143		225		0.6355555556						65		256		321		0.7975077882				71		215		286		0.7517482517		125		167		27		194		0.5300546448

		#92		Amplitude		#93		Amplitude				45		72		44				71		103		174		0.591954023										78		198		276		0.7173913043						37		334		371		0.9002695418				54		291		345		0.8434782609		150		236		30		266		0.7267759563

		35		352		47		345				46		82		34				54		123		177		0.6949152542										54		236		290		0.8137931034						1		370		371		0.9973045822				41		328		369		0.8888888889		200		328		0		328		0.8961748634

		36		143		48		68				47		92		24				48		133		181		0.7348066298										48		259		307		0.8436482085						10		359		369		0.972899729				35		331		366		0.9043715847		250		355		0		355		0.9699453552

		37		17		49		0																																																										300		366		0		366		1

		38		17		49.5		0																																																										400		379		0		379		1.0355191257

		39		95		50		0

		40		325		51		116

						52		321

		Bias 250 V		Strip #		Centre		Distance		20 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				50 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		200 V		Pulse Left		Pulse Right		Pulse sum		h								Volt scan		#32		#33		Total		Normalised

				32		43.2		108				45.5		23		85		24		188		30		218		0.1376146789		0		0				24		317		14		331		0.0422960725				400		15		415		0.0361445783								10		89		41		130		0.3147699758

				33		54						46.5		33		75		20		174		44		218		0.2018348624		108		1				20		325		30		355		0.0845070423				410		25		435		0.0574712644								20		171		41		212		0.5133171913

												47.5		43		65		24		123		65		188		0.3457446809								20		242		74		316		0.2341772152				342		37		379		0.0976253298								30		232		34		266		0.6440677966

												49		58		50		0		41		58		99		0.5858585859										44		109		153		0.7124183007				51		164		215		0.7627906977								50		321		0		321		0.7772397094

		#32		Amplitude		#33		Amplitude				49.5		63		45				68		116		184		0.6304347826										68		212		280		0.7571428571				65		297		362		0.820441989								75		362		0		362		0.8765133172

		40		393		51		413				50.5		73		35				58		157		215		0.7302325581										44		297		341		0.8709677419				24		389		413		0.9418886199								100		383		0		383		0.9273607748

		41		181		52		291				51		78		30				48		164		212		0.7735849057										41		304		345		0.8811594203				15		393		408		0.9632352941								150		396		0		396		0.9588377724

		42		31		53		51																																																				200		413		0		413		1

		43		24		54		17																																																				300		420		0		420		1.0169491525

		44		80		55		50

		45		359		56		280

						57		403

		Bias 250 V		Strip #		Centre		Distance		50 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				100 V		Pulse Left		Pulse Right		Pulse sum		h		300 V		Pulse Left		Pulse Right		Pulse sum		h										Volt scan		#53		#54		#55		#56		Total		Normalised

				54		39		110				42.5		35		75		24		259		37		296		0.125		0		0				352		15		367		0.0408719346				400		17		417		0.0407673861										10		13		27		41		13		68		0.17

				55		50						43		40		70		24		222		48		270		0.1777777778		110		1				331		25		356		0.0702247191				393		29		422		0.0687203791										25		20		61		109		20		170		0.425

												44		50		60		0		123		58		181		0.320441989								195		55		250		0.22				239		61		300		0.2033333333										50				266		41				307		0.7675

												45.5		65		45		0		51		116		167		0.6946107784								42		178		220		0.8090909091				61		215		276		0.7789855072										75				334		14				348		0.87

		#54		Amplitude		#55		Amplitude				46		70		40				70		201		271		0.741697417								51		308		359		0.8579387187				51		355		406		0.8743842365										100				359		0				359		0.8975

		37		352		47		400				47		80		30				43		260		303		0.8580858086								17		355		372		0.9543010753				1		400		401		0.9975062344										150				372		0				372		0.93

		38		44		48		280																																																				200				383		0				383		0.9575

		39		27		49		41																																																				250				396		0				396		0.99

		40		51		50		20																																																				300				400		0				400		1

		41		266		51		51								512		63		575																																								400				406						406		1.015

		42		390		52		273

						53		410

		Bias 250 V		Strip #		Centre		Distance		50 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				100 V		Pulse Left		Pulse Right		Pulse sum		h		250 V		Pulse Left		Pulse Right		Pulse sum		h										Volt scan		#64		#65		Total		Normalised

				63		1		120				4.5		35		85		37		161		65		226		0.2876106195		0		0				317		15		332		0.0451807229				376		15		391		0.0383631714										25		34		75		109		0.2632850242

				64		13						5.5		45		75		30		137		82		219		0.3744292237		120		1				297		50		347		0.144092219				376		39		415		0.0939759036										50		55		164		219		0.5289855072

												6		50		70		0		123		78		201		0.3880597015								249		54		303		0.1782178218				325		61		386		0.1580310881										75		37		290		327		0.7898550725

												7.5		65		55		0		38		51		89		0.5730337079								40		106		146		0.7260273973				51		129		180		0.7166666667										100		27		330		357		0.8623188406

		#63		Amplitude		#64		Amplitude				8		70		50				71		103		174		0.591954023								61		242		303		0.798679868				58		300		358		0.8379888268										150		27		359		386		0.9323671498

		-1		352		10		400				9		80		40				75		143		218		0.6559633028								41		325		366		0.8879781421				31		372		403		0.9230769231										200		24		372		396		0.9565217391

		0		44		11		280				10		90		30				51		164		215		0.7627906977								34		334		368		0.9076086957				20		389		409		0.9511002445										250		20		379		399		0.9637681159

		1		27		12		41																																																				300		24		382		406		0.9806763285

		2		51		13		20																																																				350		24		390		414		1

		3		266		14		51

		4		390		15		273





Irr. corr. (6)

		0		1		0

		0				0

		0				0

		0				0

		0				0

		0				0

		0				0

		0				0

		0

		0



0

1

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



Irradiated (6)

		

		Vfd

		Normalised		10		30		50		70		120

		50		0.2016		0.2		0.1500938086		0.1529411765		0.2610294118

		100		0.3248		0.2585365854		0.3114446529		0.3025210084		0.4393382353

		150		0.4832		0.4170731707		0.4671669794		0.4352941176		0.8088235294

		200		0.656		0.6		0.6303939962		0.6268907563		0.9227941176

		250		0.8032		0.8097560976		0.8105065666		0.7613445378		0.9430147059

		300		0.9104		0.856097561		0.8780487805		0.8789915966		0.9411764706

		350		0.928		0.8902439024		0.9099437148		0.9176470588		0.9724264706

		400		0.9696		0.9268292683		0.9230769231		0.9193277311		0.9852941176

		500		1		1		1		1		1

		Strip #		VFD

		10

		30

		50

		70

		120

		Eta scan		#10		#11

								D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		Norm. pulse

								20		90		239		62		301		0.2059800664		0		0				20		90		409		59		468		0.1260683761		0.6688888889

								30		80		350		76		426		0.1784037559		110		1				30		80		582		32		614		0.0521172638		0.9466666667

								40		70		298		104		402		0.2587064677								40		70		520		60		580		0.1034482759		0.8933333333

								50		60		149		83		232		0.3577586207								50		60		270		76		346		0.2196531792		0.5155555556

								60		50		90		152		242		0.6280991736								60		50		100		281		381		0.7375328084		0.5377777778

								70		40		118		291		409		0.7114914425								70		40		80		544		624		0.8717948718		0.9088888889

								80		30		94		357		451		0.7915742794								80		30		55		564		619		0.9111470113		1.0022222222

								90		20		80		277		357		0.7759103641								90		20		76		447		523		0.8546845124		0.7933333333

				#30		#31		200 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		Norm. pulse

										20		90		114		61		175		0.3485714286		0		0				20		90		195		58		253		0.2292490119		0.6730769231

										30		80		168		47		215		0.2186046512		110		1				30		80		309		15		324		0.0462962963		0.8269230769

										40		70		160		75		235		0.3191489362								40		70		328		27		355		0.076056338		0.9038461538

										50		60		95		73		168		0.4345238095								50		60		161		58		219		0.2648401826		0.6461538462

										60		50		39		65		104		0.625								60		50		56		91		147		0.619047619		0.4

										70		40		58		147		205		0.7170731707								70		40		51		303		354		0.8559322034		0.7884615385

										80		30		52		203		255		0.7960784314								80		30		15		372		387		0.9612403101		0.9807692308

										90		20		42		198		240		0.825								90		20		10		367		377		0.9734748011		0.9230769231

				#50		#51		200 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		Norm. pulse

										20		90		253		45		298		0.1510067114		0		0				20		90		429		24		453		0.0529801325		0.903030303

										30		80		225		55		280		0.1964285714		110		1				30		80		423		32		455		0.0703296703		0.8484848485

										40		70		177		86		263		0.3269961977								40		70		385		72		457		0.1575492341		0.796969697

										50		60		0		0		0										50		60		0		0		0				0

										60		50		62		128		190		0.6736842105								60		50		69		267		336		0.7946428571		0.5757575758

										70		40		83		232		315		0.7365079365								70		40		42		461		503		0.916500994		0.9545454545

										80		30		52		277		329		0.8419452888								80		30		28		461		489		0.9427402863		0.996969697

										90		20		55		270		325		0.8307692308								90		20		24		468		492		0.9512195122		0.9848484848

				#70		#71		200 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		Norm. pulse

										20		95		263		55		318		0.1729559748		0		0				20		95		395		59		454		0.1299559471		0.7066666667

										30		85		374		42		416		0.1009615385		115		1				30		85		547		20		567		0.0352733686		0.9244444444

										40		75		315		76		391		0.1943734015								40		75		550		38		588		0.0646258503		0.8688888889

										50		65		121		55		176		0.3125								50		65		204		58		262		0.2213740458		0.3911111111

										60		55		48		50		98		0.5102040816								60		55		59		83		142		0.5845070423		0.2177777778

										70		45		114		253		367		0.689373297								70		45		66		499		565		0.8831858407		0.8155555556

										80		35		76		333		409		0.8141809291								80		35		38		561		599		0.9365609349		0.9088888889

										90		25		66		381		447		0.8523489933								90		25		34		513		547		0.9378427788		0.9933333333

				#120		#121		200 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		Norm. pulse

										20		100		346		121		467		0.2591006424		0		0				20		100		377		135		512		0.263671875		0.6867647059

										30		90		616		59		675		0.0874074074		115		1				30		90		682		48		730		0.0657534247		0.9926470588

										40		80		616		62		678		0.0914454277								40		80		665		52		717		0.0725244073		0.9970588235

										50		70		308		55		363		0.1515151515								50		70		385		66		451		0.1463414634		0.7117647059

										60		60		59		59		118		0.5								60		60		66		66		132		0.5		0.231372549

										70		50		90		360		450		0.8								70		50		86		450		536		0.8395522388		0.8823529412

										80		40		59		450		509		0.884086444								80		40		42		520		562		0.9252669039		0.9980392157

										90		30		38		468		506		0.9249011858								90		30		28		523		551		0.9491833031		0.9921568627

				Sample of metal strip scan

		#10		#10		Amplitude		Norm. ampl.

		25.5		0		491		0.982

		26		5		376		0.752

		26.5		10		173		0.346

		27.5		20		0		0

		28		25		0		0

		28.5		30		0		0

		29.5		40		108.6		0.2172

		30		45		310		0.62

		30.5		50		472		0.944

		Strip		#90		#91		200 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		Pulse Left		Pulse Right		Pulse sum		h

										38		30		87.5		329		38		367		0.1035422343		0		0				436		14		450		0.0311111111

										39		40		77.5		281		69		350		0.1971428571		117.5		1				433		25		458		0.0545851528

										40		50		67.5		142		83		225		0.3688888889								235		76		311		0.2443729904

										41		60		57.5		52		86		138		0.6231884058								38		136		174		0.7816091954

										42		70		47.5		94		274		368		0.7445652174								48		485		533		0.9099437148

										43		80		37.5		48		385		433		0.8891454965								0		526		526		1

										44		90		27.5		38		402		440		0.9136363636								0		523		523		1

		Strip #		150 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				200 V		Pulse Left		Pulse Right		Pulse sum		h		400 V		Pulse Left		Pulse Right		Pulse sum		h

		100				24		30		85		276		71		347		0.204610951		0		0				405		25		430		0.0581395349				509		24		533		0.0450281426

		101				25		40		75		233		104		337		0.3086053412		115		1				388		74		462		0.1601731602				516		38		554		0.0685920578

						26		50		65		91		57		148		0.3851351351								142		54		196		0.2755102041				219		62		281		0.2206405694

						27		60		55		51		67		118		0.5677966102								64		101		165		0.6121212121				67		148		215		0.688372093

						28		70		45		121		202		323		0.6253869969								111		317		428		0.7406542056				61		476		537		0.886405959

						29		80		35		91		250		341		0.7331378299								71		385		456		0.8442982456				37		496		533		0.9305816135

						30		90		25		74		290		364		0.7967032967								57		425		482		0.8817427386				34		519		553		0.938517179

		New 0 position

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		Ideal				200 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		400 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h

				120		22.2		118				25		28		90		32		0		333		23		50		0		0		383		0.1305483029		0		0				25		250		-250		13		0		396		-13		35		0		0		431		0.0812064965				25		250		-250		10		0		469		-23		32		0		0		501		0.0638722555

				121		34						26		38		80		32		0		314		30		54		0		0		368		0.1467391304		118		1				26		260		-260		23		0		424		-13		36		0		0		460		0.0782608696				26		260		-260		0		0		469		-27		30		0		0		499		0.0601202405

												27		48		70		27		0		259		54		86		0		13		345		0.2492753623								27		270		-270		0		0		387		23		68		0		0		455		0.1494505495				27		270		-270		0		0		492		-23		63		0		0		555		0.1135135135

												28		58		60		0		0		41		0		27		0		0		68		0.3970588235								28		280		-280		0		0		59		0		41		0		0		100		0.41				28		280		-280		0		0		77		0		45		0		0		122		0.368852459

		#121		Ampitude		#121		Amplitude				29		68		50		18		0		68		41		132		0		32		200		0.66								29		290		-290		0		0		59		32		178		0		0		237		0.7510548523				29		290		-290		0		0		73		18		273		0		32		346		0.789017341

		20		483		32		451				30		78		40		18		0		86		68		264		0		27		350		0.7542857143								30		300		-300		0		0		50		10		506		-18		0		556		0.9100719424				30		300		-300		0		0		50		10		506		-18		0		556		0.9100719424

		21		86		33		54				31		88		30		0				63		50		342		0		32		405		0.8444444444								31		310		-310		0		0		41		18		428		-23		18		469		0.9125799574				31		310		-310		0		0		36		0		496		-23		18		532		0.9323308271

		22		45		34		32

		23		23		35		45				Estimated strip width:

		24		154		36		387				35 µm

		25		470





Irradiated (6)

		0		0		0

		0		0		0

		0		0

		0		0

		0		0

		0		0



200 Volts

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #650-651

0

0

0

0

0

0

0

0

0

0

0

0

0

0



Irr. (7)

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D24		D25		Pulse 24		Pulse 25		Pulse sum		h		ideal				400 V		Local coord.		D24		D25		Pulse 24		Pulse 25		Pulse sum		h

				24		22.2		120				24.5		23		97		589		98		687		0.1426491994		0		0				24.5		23		97		841		0		841		0

				25		34.2						25.5		33		87		663		135		798		0.1691729323		120		1				25.5		33		87		892		0		892		0

												26.5		43		77		565		140		705		0.1985815603								26.5		43		77		841		61		902		0.0676274945

												27.5		53		67		425		233		658		0.3541033435								27.5		53		67		715		332		1047		0.3170964661

		#24		Amplitude		#25		Amplitude				28		58		62		388		318		706		0.4504249292								28		58		62		607		514		1121		0.4585191793

		20.5		715		32		738				28.5		63		57		322		388		710		0.5464788732								28.5		63		57		402		691		1093		0.6322049405

		21		579		32.5		663				29.5		73		47		196		520		716		0.7262569832								29.5		73		47		135		888		1023		0.8680351906

		21.5		462		33		486				30.5		83		37		201		645		846		0.7624113475								30.5		83		37		140		906		1046		0.8661567878

		22		374		33.5		402				31.5		93		27		140		551		691		0.7973950796								31.5		93		27		112		850		962		0.8835758836

		22.5		340		34		336				32		98		22		112		490		602		0.8139534884								32		98		22		98		771		869		0.8872266974

		23		416		34.5		327

		23.5		551		35		378

		24		631		35.5		462

		24.5		757		36		603

						36.5		705

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D39		D40		Pulse 39		Pulse 40		Pulse sum		h		ideal				400 V		Local coord.		D39		D40		Pulse 39		Pulse 40		Pulse sum		h

				39		38.5		120				41		25		95		537		98		635		0.1543307087		0		0				41		25		95		818		0		818		0

				40		50.5						42		35		85		598		159		757		0.2100396301		120		1				42		35		85		850		0		850		0

												43		45		75		495		159		654		0.2431192661								43		45		75		780		60		840		0.0714285714

												44		55		65		378		290		668		0.4341317365								44		55		65		663		397		1060		0.3745283019

		#39		Amplitude		#40		Amplitude				45		65		55		252		411		663		0.6199095023								45		65		55		360		673		1033		0.651500484

		37.5		446		49.5		474				46		75		45		168		547		715		0.765034965								46		75		45		126		892		1018		0.8762278978

		38.5		265		50.5		339				47		85		35		173		659		832		0.7920673077								47		85		35		103		897		1000		0.897

		39		274		51		367				48		95		25		135		603		738		0.8170731707								48		95		25		89		836		925		0.9037837838

		39.5		395		51.5		442				49		105		15		84		406		490		0.8285714286								49		105		15		84		682		766		0.8903394256

		40.5		553		52.5		679				50		115		5		70		276		346		0.7976878613								50		115		5		65		462		527		0.8766603416

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D64		D65		Pulse 64		Pulse 65		Pulse sum		h		ideal				400 V		Local coord.		D64		D65		Pulse 64		Pulse 65		Pulse sum		h

				64		38		118				39.5		15		103		509		84		593		0.1416526138		0		0				39.5		15		103		761		0		761		0

				65		49.8						40.5		25		93		738		135		873		0.1546391753		120		1				40.5		25		93		836		0		836		0

												41.5		35		83		715		135		850		0.1588235294								41.5		35		83		888		0		888		0

												42.5		45		73		593		206		799		0.2578222778								42.5		45		73		803		177		980		0.5581632653

		#64		Amplitude		#65		Amplitude				43.5		55		63		472		383		855		0.4479532164								43.5		55		63		654		547		1201		0.6378018318

		37		458		48.5		537				44.5		65		53		313		530		843		0.6287069988								44.5		65		53		318		766		1084		0.7066420664

		38		322		49.5		322				45.5		75		43		219		696		915		0.7606557377								45.5		75		43		126		902		1028		0.8774319066

		38.5		472		50		332				46.5		85		33		224		748		972		0.7695473251								46.5		85		33		131		916		1047		0.8748806113

		39		579		50.5		411				47.5		95		23		135		589		724		0.8135359116								47.5		95		23		98		813		911		0.8924259056

		40		813		51.5		705				48		100		18		121		514		635		0.8094488189								48		100		18		107		733		840		0.8726190476

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D85		D86		Pulse 85		Pulse 86		Pulse sum		h		ideal				400 V		Local coord.		D85		D86		Pulse 85		Pulse 86		Pulse sum		h		h-1

				85		46.5		120				47		5		115		472		89		561		0.8413547237		0		0				47		5		115		551		65		616		0.1055194805		0.8944805195

				86		58.5						48		15		105		705		89		794		0.8879093199		120		1				48		15		105		813		51		864		0.0590277778		0.9409722222

												49		25		95		864		117		981		0.880733945								49		25		95		920		0		920		0		1

												50		35		85		874		187		1061		0.8237511781								50		35		85		911		70		981		0.0713557594		0.9286442406

		#85		Amplitude		#86		Amplitude				51		45		75		799		201		1000		0.799								51		45		75		897		107		1004		0.1065737052		0.8934262948

		45		654		57		663				52		55		65		645		486		1131		0.5702917772								52		55		65		780		589		1369		0.4302410519		0.5697589481

		46		462		58		504				53		65		55		430		705		1135		0.3788546256								53		65		55		453		794		1247		0.6367281476		0.3632718524

		46.5		486		58.5		477				54		75		45		248		813		1061		0.2337417531								54		75		45		126		874		1000		0.874		0.126

		47		598		59		598				55		85		35		266		860		1126		0.2362344583								55		85		35		131		883		1014		0.8708086785		0.1291913215

		48		775		60		813				56		95		25		149		771		920		0.1619565217								56		95		25		107		845		952		0.887605042		0.112394958

												57		105		15		112		654		766		0.1462140992								57		105		15		93		705		798		0.8834586466		0.1165413534

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D85		D86		Pulse 85		Pulse 86		Pulse sum		h		ideal				Local coord.		D85		D86		Pulse 85		Pulse 86		Pulse sum		h

				120		25.5		120				27.5		20		100		472		89		561		0.1586452763		0		0		27.5		20		100		845		210		1055		0.1990521327

				121		37.5						28.5		30		90		705		89		794		0.1120906801		120		1		28.5		30		90		892		173		1065		0.1624413146

												29.5		40		80		864		117		981		0.119266055						29.5		40		80		916		177		1093		0.1619396157

												30.5		50		70		874		187		1061		0.1762488219						30.5		50		70		850		570		1420		0.4014084507

		#120		Amplitude		#121		Amplitude				31.5		60		60		799		201		1000		0.201						31.5		60		60		640		827		1467		0.5637355147

		24.5		719		36		794				32.5		70		50		645		486		1131		0.4297082228						32.5		70		50		187		900		1087		0.8279668813

		25.5		369		37		519				33.5		80		40		430		705		1135		0.6211453744						33.5		80		40		112		920		1032		0.8914728682

		26		561		37.5		481				34.5		90		30		248		813		1061		0.7662582469						34.5		90		30		177		911		1088		0.8373161765

		26.5		794		38		757				35.5		100		20		266		860		1126		0.7637655417						35.5		100		20		154		855		1009		0.8473736373

		27.5		902		39		888				36.5		110		10		635		771		1406		0.5483641536						36.5		110		10		168		673		841		0.8002378121

				Strip numbers																																																														Normalised

		Bias		24		25		total		39		40		total		64		65		total		84		85		86		87		total		total		64		65		total		99		100		total		73		74		total		120		121		total										1		2		3		4		5		6		7

		50		173		56		229		32		140		172		79		187		266		51		191		149		42		433		340		139		354		493		163		189		352		200		88		288		453		173		626										0.257751938		0.2470978441		0.2458423717		0.3912698413		0.2693190513		0.24		0.5424610052

		100		257		61		318		70		257		327		159		378		537		70		330		257		56		713		587		232		604		836		316		373		689		421		201		622		719		383		1102										0.5203488372		0.4262023217		0.424439624		0.6634920635		0.5271614384		0.5183333333		0.9549393414

		150		402		93		495		117		411		528		210		532		742		100		514		402		75		1091		916		378		796		1174		426		516		942		593		294		887		934		229		1163										0.7189922481		0.6666666667		0.6623282719		0.9317460317		0.7207345065		0.7391666667		1.0077989601

		200		589		98		687		131		589		720		219		719		938		75		659		467		47		1248		1126		378		889		1267		479		612		1091		779		255		1034		953		223		1176										0.9089147287		0.7744610282		0.8141720897		1.0055555556		0.8347360367		0.8616666667		1.0190641248

		250		748		0		748		112		743		855		191		818		1009		60		743		519		32		1354		1262		308		941		1249		506		699		1205		950		245		1195		948		238		1186										0.9777131783		0.8606965174		0.9125090383		0.9912698413		0.921958684		0.9958333333		1.027729636

		300		775		0		775		98		813		911		159		892		1051		51		771		551				1373		1322		250		994		1244		516		742		1258		1000		167		1167		948		215		1163										1.0184108527		0.9137645108		0.9558929863		0.9873015873		0.9625095639		0.9725		1.0077989601

		350		803		0		803		89		841		930		145		888		1033		37		743		547				1327		1290		221		1017		1238		512		742		1254		1053		167		1220		939		206		1145										1.0009689922		0.9071310116		0.9327548807		0.9825396825		0.9594491201		1.0166666667		0.9922010399

		400		841		0		841		89		892		981		140		888		1028		32		743		542				1317		1285		221		1029		1250		516		745		1261		1063		176		1239		950		238		1188										0.996124031		0.8988391376		0.9291395517		0.9920634921		0.9648048967		1.0325		1.0294627383

		500		860		0		860		84		850		934		154		878		1032		47		780		603				1430		1383		220		1040		1260		522		785		1307		1063		137		1200		944		210		1154										1		1		1		1		1		1		1

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D64		D65		Pulse 64		Pulse 65		Pulse sum		h		ideal				Local coord.		D64		D65		Pulse 64		Pulse 65		Pulse sum		h

				64		41		120				43		20		100		901		198		1099		0.1801637853		0		0		43		20		100		994		157		1151		0.1364031277

				65		53						44		30		90		930		343		1273		0.2694422624		120		1		44		30		90		1000		190		1190		0.1596638655

												45		40		80		901		337		1238		0.2722132472						45		40		80		970		180		1150		0.1565217391

												46		50		70		773		529		1302		0.4062980031						46		50		70		901		575		1476		0.3895663957

		#64		Amplitude		#65		Amplitude				47		60		60		616		755		1371		0.5506929249						47		60		60		762		883		1645		0.5367781155

		39		889		51		906				48		70		50		424		860		1284		0.6697819315						48		70		50		256		947		1203		0.78719867

		40		703		52		726				49		80		40		420		959		1379		0.6954314721						49		80		40		186		988		1174		0.8415672913

		40.5		453		52.5		465				50		90		30		325		912		1237		0.7372675829						50		90		30		192		994		1186		0.8381112985

		41		395		53		424				51		100		20		227		831		1058		0.7854442344						51		100		20		180		924		1104		0.8369565217

		42		837		54		813

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D99		D100		Pulse 99		Pulse 100		Pulse sum		h		ideal				Local coord.		D99		D100		Pulse 99		Pulse 100		Pulse sum		h

				99		4		120				6		20		100		872		86		958		0.0897703549		0		0		6		20		100		908		0		908		0

				100		16						7		30		90		902		140		1042		0.1343570058		120		1		7		30		90		942		23		965		0.0238341969

												8		40		80		855		133		988		0.1346153846						8		40		80		918		43		961		0.0447450572

												9		50		70		722		100		822		0.1216545012						9		50		70		815		403		1218		0.3308702791

		#99		Amplitude		#100		Amplitude				10		60		60		532		652		1184		0.5506756757						10		60		60		549		745		1294		0.5757341577

		2		832		14		772				11		70		50		270		785		1055		0.7440758294						11		70		50		130		892		1022		0.8727984344

		3		691		15		562				12		80		40		226		888		1114		0.7971274686						12		80		40		86		945		1031		0.916585839

		3.5		452		15.5		393				13		90		30		206		878		1084		0.8099630996						13		90		30		93		905		998		0.9068136273

		4		393		16		432				14		100		20		180		749		929		0.8062432723						14		100		20		165		815		980		0.8316326531

		5		729		17		749

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D73		D74		Pulse 73		Pulse 74		Pulse sum		h		ideal				Local coord.		D73		D74		Pulse 73		Pulse 74		Pulse sum		h

				73		5.5		120				6		5		115		384		384		768		0.5		0		0		6		5		115		503		503		1006		0.5

				74		17.5						7		15		105		648		113		761		0.1484888305		120		1		7		15		105		761		25		786		0.0318066158

												8		25		95		799		138		937		0.1472785486						8		25		95		899		22		921		0.0238870793

												9		35		85		818		157		975		0.161025641						9		35		85		950		16		966		0.016563147

		#73		Amplitude		#74		Amplitude				10		45		75		657		223		880		0.2534090909						10		45		75		872		111		983		0.1129196338

		3.5		767		15.5		755				11		55		65		555		456		1011		0.4510385757						11		55		65		761		531		1292		0.4109907121

		4.5		569		16.5		549				12		65		55		353		603		956		0.6307531381						12		65		55		317		797		1114		0.7154398564

		5		368		17		362				13		75		45		270		837		1107		0.756097561						13		75		45		108		1093		1201		0.9100749376

		5.5		299		17.5		396				14		85		35		309		936		1245		0.7518072289						14		85		35		108		1112		1220		0.9114754098

		6.5		613		18		679				15		95		25		230		916		1146		0.7993019197						15		95		25		83		1044		1127		0.92635315

		Strip #		10		11		Total		30		31		Total		50		51		Total		70		71		Total		90		91		Total		110		111		Total		Normalised		10		30		50		70		90		110

		50		67		15		82		38		8		46		36		15		51		50		10		60		74		18		92		616		180		796		50		0.1876430206		0.1916666667		0.2015810277		0.1754385965		0.2105263158		0.6683459278

		100		119		37		156		66		11		77		60		27		87		79		26		105		126		33		159		831		331		1162		100		0.356979405		0.3208333333		0.3438735178		0.3070175439		0.3638443936		0.9756507137

		150		158		43		201		86		23		109		85		27		112		116		34		150		208		54		262		906		285		1191		150		0.4599542334		0.4541666667		0.442687747		0.4385964912		0.5995423341		1

		200		262		34		296		138		18		156		136		27		163		186		30		216		324		0		324		936		198		1134		200		0.6773455378		0.65		0.6442687747		0.6315789474		0.7414187643		0.9521410579

		250		353		0		353		186		0		186		186		0		186		255		0		255		371		0		371		941		157		1098		250		0.8077803204		0.775		0.7351778656		0.7456140351		0.8489702517		0.9219143577

		300		398		0		398		213		0		213		215		0		215		282		0		282		391		0		391		941		168		1109		300		0.9107551487		0.8875		0.8498023715		0.8245614035		0.8947368421		0.9311502939

		350		429		0		429		231		0		231		225		0		225		295		0		295		417		0		417		953		128		1081		350		0.9816933638		0.9625		0.8893280632		0.8625730994		0.9542334096		0.9076406381

		400		429		0		429		234		0		234		245		0		245		312		0		312		429		0		429		970		163		1133		400		0.9816933638		0.975		0.9683794466		0.9122807018		0.9816933638		0.9513014274

		500		437		0		437		240		0		240		253		0		253		342		0		342		437		0		437		965		157		1122		500		1		1		1		1		1		0.9420654912

		Norm. factor						409.2						220.8						224.8						297.2						409						1108.6

																																																																																																		Routing/Total

																																																																														Strip 120-121				Pos. 39						Strip 120-121				Pos. 41.5

		Strip #		10		11		Total		30		31		Total		50		51		Total		70		71		Total		90		91		Total		110		111		Total		120		int 1		121		int 2		Total						Normalised		10		30		50		70		90		110		120										120		int 1		121		int 2				120		int 1		121		int 2				Rout. 1		Tot.1		Rou. 2		Tot. 2		Rout. 3		Tot. 3		Ratio 1		Ratio 2		Ratio 3

		50		41		85		126		24		58		82		0		80		80		15		76		91														38		21		104		-10		142						50		0.2016		0.2		0.1500938086		0.1529411765		0		0		0.2610294118								50		52		10		24		-10				28		20		70		-10				21		142		10		86		20		118		0.1478873239		0.1162790698		0.1694915254

		100		63		140		203		22		84		106		31		135		166		38		142		180														62		34		177		-21		239						100		0.3248		0.2585365854		0.3114446529		0.3025210084		0		0		0.4393382353								100		97		24		48		-17				66		38		135		-10				34		239		24		169		38		239		0.1422594142		0.1420118343		0.1589958159

		150		92		210		302		38		133		171		52		197		249		48		211		259														55		24		385		-31		440						150		0.4832		0.4170731707		0.4671669794		0.4352941176		0		0		0.8088235294								150		222		17		52		-17				66		38		284		-20				24		440		17		291		38		388		0.0545454545		0.058419244		0.0979381443

		200		81		329		410		39		207		246		45		291		336		48		325		373														48		15		454		-24		502						200		0.656		0.6		0.6303939962		0.6268907563		0		0		0.9227941176								200		287		0		55		0				55		21		395		-30				15		502		0		342		21		471		0.0298804781		0		0.0445859873

		250		59		443		502		32		300		332		34		398		432		24		429		453														45		0		468		-34		513						250		0.8032		0.8097560976		0.8105065666		0.7613445378		0		0		0.9430147059								250		308		-24		55		0				42		0		436		-45				0		513		-24		339		0		478		0		-0.0707964602		0

		300		59		510		569		30		321		351		35		433		468		28		495		523														34		-10		478		-34		512						300		0.9104		0.856097561		0.8780487805		0.8789915966		0		0		0.9411764706								300		308		-17		62		0				55		0		454		-42				-10		512		-17		353		0		509		-0.01953125		-0.0481586402		0

		350		50		530		580		23		342		365		31		454		485		30		516		546														34		-17		495		-34		529						350		0.928		0.8902439024		0.9099437148		0.9176470588		0		0		0.9724264706								350		315		-25		62		0				48		0		478		-45				-17		529		-25		352		0		526		-0.0321361059		-0.0710227273		0

		400		45		561		606		10		370		380		24		468		492		34		513		547														34		-17		502		-34		536						400		0.9696		0.9268292683		0.9230769231		0.9193277311		0		0		0.9852941176								400		315		-28		55		0				42		0		485		-38				-17		536		-28		342		0		527		-0.0317164179		-0.081871345		0

		500		45		580		625		10		400		410		10		523		533		34		561		595						1						1		34		-17		510		-34		544						500		1		1		1		1		1		1		1								500		340		-31		55		0				52		0		520		-38				-17		544		-31		364		0		572		-0.03125		-0.0851648352		0

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal

				10		24		110				26		20		90		239		62		301		0.2059800664		0		0				26		20		90		409		59		468		0.1260683761		0		0

				11		35						27		30		80		350		76		426		0.1784037559		110		1				27		30		80		582		0		582		0		110		1

												28		40		70		298		104		402		0.2587064677								28		40		70		520		52		572		0.0909090909

												29		50		60		149		83		232		0.3577586207								29		50		60		270		76		346		0.2196531792

		#10		Amplitude		#11		Amplitude				30		60		50		90		152		242		0.6280991736								30		60		50		100		281		381		0.7375328084

		25.5		491		37		343				31		70		40		118		291		409		0.7114914425								31		70		40		80		544		624		0.8717948718

		26		376		38		0				32		80		30		94		357		451		0.7915742794								32		80		30		55		564		619		0.9111470113

		26.5		173		39		0				33		90		20		80		277		357		0.7759103641								33		90		20		76		447		523		0.8546845124

		27.5		0		40		0

		28		0		41		406						25		0.1354679803																						25		0

		28.5		0										35		0.2190721649																						35		0

		29.5		108.6										45		0.3144329897																						45		0

		30		310										48		0.3333333333																						48		0.1697247706

		30.5		472										65		0.6071428571																						65		0.7439759036

														75		0.7055702918																						75		0.8892794376

														85		0.7814726841																						85		1

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h

				30		22		110				24		20		90		114		61		175		0.3485714286		0		0				24		20		90		195		58		253		0.2292490119

				31		33						25		30		80		168		47		215		0.2186046512		110		1				25		30		80		309		0		309		0

												26		40		70		160		75		235		0.3191489362								26		40		70		328		0		328		0

												27		50		60		95		73		168		0.4345238095								27		50		60		161		58		219		0.2648401826

		#30		Amplitude		#31		Amplitude				28		60		50		39		65		104		0.625								28		60		50		56		91		147		0.619047619

		18.5		210		31		280				29		70		40		58		147		205		0.7170731707								29		70		40		51		303		354		0.8559322034

		19.5		163		32		67				30		80		30		52		203		255		0.7960784314								30		80		30		5		372		377		0.9867374005

		20.5		91		33		47				31		90		20		42		198		240		0.825								31		90		20		10		367		377		0.9734748011

		21.5		37		34		49

		22.5		39		35		212

		23.5		137

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h

				50		49		110				51		20		90		253		45		298		0.1510067114		0		0				51		20		90		429		0		429		0

				51		60						52		30		80		225		55		280		0.1964285714		110		1				52		30		80		423		0		423		0

												53		40		70		177		86		263		0.3269961977								53		40		70		385		52		437		0.118993135

												54		50		60		0		0		0		0								54		50		60		0		0		0		0

		#50		Amplitude		#51		Amplitude				55		60		50		62		128		190		0.6736842105								55		60		50		69		267		336		0.7946428571

		46.5		320		57.5		385				56		70		40		83		232		315		0.7365079365								56		70		40		42		461		503		0.916500994

		47.5		42		58.5		50				57		80		30		52		277		329		0.8419452888								57		80		30		28		461		489		0.9427402863

		48.5		0		59.5		0				58		90		20		55		270		325		0.8307692308								58		90		20		24		468		492		0.9512195122

		49.5		0		60.5		30

		50.5		229		61.5		104						20										0.1510067114										20										0

						62.5		385						30										0.1964285714										30										0

														40										0.3269961977										40										0.118993135

														60										0.6736842105										60										0.7946428571

														70										0.7365079365										70										0.916500994

														80										0.8419452888										80										0.9427402863

														90										0.8307692308										90										0.9512195122

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h

				70		38		115				40		20		95		263		55		318		0.1729559748		0		0				40		20		95		395		59		454		0.1299559471

				71		49.5						41		30		85		374		42		416		0.1009615385		110		1				41		30		85		547		0		547		0

												42		40		75		315		76		391		0.1943734015								42		40		75		550		0		550		0

												43		50		65		121		55		176		0.3125								43		50		65		204		42		246		0.1707317073

		#70		Amplitude		#71		Amplitude				44		60		55		48		50		98		0.5102040816								44		60		55		59		83		142		0.5845070423

		36		429		47.5		190				45		70		45		114		253		367		0.689373297								45		70		45		66		499		565		0.8831858407

		37		52		48.5		31				46		80		35		76		333		409		0.8141809291								46		80		35		38		561		599		0.9365609349

		38		0		49.5		0				47		90		25		66		381		447		0.8523489933								47		90		25		34		513		547		0.9378427788

		39		38		50.5		76

		40		412		51.5		423

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h

				120		34		120				36		20		100		346		121		467		0.2591006424		0		0				36		20		100		377		135		512		0.263671875

				121		46						37		30		90		616		59		675		0.0874074074		110		1				37		30		90		682		48		730		0.0657534247

												38		40		80		616		62		678		0.0914454277								38		40		80		665		52		717		0.0725244073

												39		50		70		308		55		363		0.1515151515								39		50		70		385		66		451		0.1463414634

		#120		Amplitude		#121		Amplitude				40		60		60		59		59		118		0.5								40		60		60		66		66		132		0.5

		32.5		391		44		513				41		70		50		90		360		450		0.8								41		70		50		86		450		536		0.8395522388

		33.5		76		45		86				42		80		40		59		450		509		0.884086444								42		80		40		42		520		562		0.9252669039

		34.5		59		46		69				43		90		30		38		468		506		0.9249011858								43		90		30		28		523		551		0.9491833031

		35.5		142		47		104

		36.5		606		48		475

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h

				90		35		117.5				38		158		-38		329		38		367		0.1035422343		0		0				38		158		-38		436		0		436		0

				91		46.75						39		168		-48		281		69		350		0.1971428571		117.5		1				39		168		-48		433		0		433		0

												40		178		-58		142		83		225		0.3688888889								40		178		-58		235		76		311		0.2443729904

												41		188		-68		52		86		138		0.6231884058								41		188		-68		38		136		174		0.7816091954

		#70		Ampitude		#71		Amplitude				42		198		-78		94		274		368		0.7445652174								42		198		-78		48		485		533		0.9099437148

												43		208		-88		48		385		433		0.8891454965								43		208		-88		0		526		526		1

												44		218		-98		38		402		440		0.9136363636								44		218		-98		0		523		523		1

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h

				90		35		117.5				38		30		87.5		329		38		367		0.1035422343		0		0				38		30		87.5		436		0		436		0

				91		46.75						39		40		77.5		281		69		350		0.1971428571		117.5		1				39		40		77.5		433		0		433		0

												40		50		67.5		142		83		225		0.3688888889								40		50		67.5		235		76		311		0.2443729904

												41		60		57.5		52		86		138		0.6231884058								41		60		57.5		38		136		174		0.7816091954

		#90		Ampitude		#91		Amplitude				42		70		47.5		94		274		368		0.7445652174								42		70		47.5		48		485		533		0.9099437148

		33		346		45		263				43		80		37.5		48		385		433		0.8891454965								43		80		37.5		0		526		526		1

		33.5		160		45.5		94				44		90		27.5		38		402		440		0.9136363636								44		90		27.5		0		523		523		1

		34		55		46		42

		34.5		10		46.5		28

		35		10		47		24

		35.5		15		47.5		59

		36		59		48		138

		36.5		184		49		523

		37		364

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				200 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		400 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h

				100		21		115				24		30		85		276		71		347		0.204610951		0		0				24		30		85		405		0		405		0				24		30		85		509		0		509		0

				101		32.5						25		40		75		233		104		337		0.3086053412		115		1				25		40		75		388		74		462		0.1601731602				25		40		75		516		0		516		0

												26		50		65		91		57		148		0.3851351351								26		50		65		142		54		196		0.2755102041				26		50		65		219		54		273		0.1978021978

												27		60		55		51		67		118		0.5677966102								27		60		55		64		101		165		0.6121212121				27		60		55		67		148		215		0.688372093

		#100		Ampitude		#101		Amplitude				28		70		45		121		202		323		0.6253869969								28		70		45		111		317		428		0.7406542056				28		70		45		61		476		537		0.886405959

		18.5		408		31		196				29		80		35		91		250		341		0.7331378299								29		80		35		71		385		456		0.8442982456				29		80		35		37		496		533		0.9305816135

		19.5		108		32		50				30		90		25		74		290		364		0.7967032967								30		90		25		57		425		482		0.8817427386				30		90		25		34		519		553		0.938517179

		20.5		40		32.5		30

		21.5		35		33		37

		22.5		105		33.5		50

		23.5		445		34		101

						35		452

																12		23		34		-10		-18		-23		-27		-27		-27

																																				New												Other position

		Strip #		70		71		Total		90		91		Total		99		100		101		102		Total		Total		Normalised		70		90		100		120		Int 2		121		Int 3		122		Total		119		120		Int 2		121		Total

		50		31		78		109		31		83		114		13		30		101		13		157		131				0.2060491493		0.2054054054		0.2364620939		45		27		100		25		32		145		27		91		18		41		132

		100		53		125		178		45		142		187		20		67		182		33		302		249				0.3364839319		0.3369369369		0.4494584838		68		41		178		10		30		246		30		168		35		68		236

		150		58		180		238		66		232		298		23		74		290		45		432		364				0.449905482		0.5369369369		0.6570397112		63		50		342		0		30		405		35		314		35		54		368

		200		73		290		363		48		374		422		17		57		425		15		514		482				0.6862003781		0.7603603604		0.8700361011		50		27		446		-10		30		496		27		405		0		41		446

		250		51		388		439		31		478		509		0		51		472		5		528		523				0.8298676749		0.9171171171		0.9440433213		41		15		490		-18		23		531		15		433		-18		32		465

		300		38		462		500		17		501		518		0		40		500		0		540		540				0.9451795841		0.9333333333		0.9747292419		36		0		501		-27		18		537		10		446		-20		41		487

		350		33		485		518		20		535		555		0		34		513		0		547		547				0.9792060491		1		0.9873646209		32		0		510		-23		18		542		10		460		-20		36		496

		400		31		498		529		20		535		555		0		34		520		0		554		554				1		1		1		36		0		519		-23		18		555		10		474		-23		36		510

		500		30		540		570		0		578		578		0		34		540		0		574		574				1.0775047259		1.0414414414		1.036101083		32		0		533		-23		18		565		10		483		-23		36		519

		Futher Measurements as a function of the r-position

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		Ideal				200 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		400 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h

				120		19.8		61				21		12		49		47.12		28.88		171.76		28.88		80.56		28.88		41.8		252.32		0.3192771084		0		0				21		12		49		57		36.48		262.2		47.12		117.04		31.16		44.08		379.24		0.3086172345				21		12		49		28.88		0		428.64		-31.16		119.32		0		31.16		547.96		0.2177531207

				121		25.9						22		22		39		44		27		140		27		68		10		31		208		0.3269230769		61		1				22		22		39		62		38		215		51		106		27		31		321		0.3302180685				22		22		39		48		0		431		-17		126		0		10		557		0.2262118492

												23		32		29		0		0		24		0		24		0		0		48		0.5								23		32		29		0		0		34		0		34		0		0		68		0.5				23		32		29		0		0		58		0		65		0		0		123		0.5284552846

												24		42		19		34		15		105		41		212		24		48		317		0.6687697161								24		42		19		51		27		157		85		335		34		62		492		0.6808943089				24		42		19		31		0		130		21		619		-24		34		749		0.826435247

		#121		Ampitude		#121		Amplitude				25		52		9		38		17		89		31		205		12		41		294		0.6972789116								25		52		9		51		23		128		57		341		15		44		469		0.7270788913				25		52		9		51		0		131		10		560		-30		27		691		0.8104196816

		19		398		25		351

		19.5		58		25.5		104				Estimated strip width:								Routing line		#120		#121

		20		72		26		47				16 µm								25.6		447		85		0.9933333333		0.1888888889		532		0.7093333333

		20.5		212		26.5		81												26		242		68		0.5377777778		0.1511111111		310		0.4133333333

		21		489		27		368												26.2		103		31		0.2288888889		0.0688888889		134		0.1786666667

																				26.4		65		31		0.1444444444		0.0688888889		96		0.128

																				26.6		58		31		0.1288888889		0.0688888889		89		0.1186666667

																				26.8		42		40		0.0933333333		0.0888888889		82		0.1093333333

																				27		42		55		0.0933333333		0.1222222222		97		0.1293333333

																				27.2		54		154		0.12		0.3422222222		208		0.2773333333

																				27.4		71		248		0.1577777778		0.5511111111		319		0.4253333333

																				27.6		81		310		0.18		0.6888888889		391		0.5213333333

																				28		92		448		0.2044444444		0.9955555556		540		0.72

		Futher Measurements as a function of the r-position								Far end

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		Ideal				200 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		400 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h

				120		23		78				25		20		58		40		0		184		23		61		0		15		245		0.2489795918		0		0				25		20		58		33		0		255		38		76		0		18		331		0.2296072508				25		20		58		54		0		523		-10		54		0		0		577		0.0935875217

				121		30.8						26		30		48		31		0		89		24		51		0		24		140		0.3642857143		78		1				26		30		48		31		0		116		31		65		0		24		181		0.3591160221				26		30		48		31		0		263		0		78		0		0		341		0.2287390029

												27		40		38		0		0		0		0		0		0		0		0		0								27		40		38		0		0		0		0		0		0		0		0		0				27		40		38		0		0		0		0		0		0		0		0		0

												28		50		28		20		0		68		41		157		0		31		225		0.6977777778								28		50		28		0		0		99		61		222		0		34		321		0.691588785				28		50		28		0		0		78		15		492		-31		24		570		0.8631578947

		#121		Ampitude		#121		Amplitude				29		60		18		0		0		61		27		184		0		31		245		0.7510204082								29		60		18		0		0		78		48		276		0		37		354		0.7796610169				29		60		18		0		0		44		0		540		-31		13		584		0.9246575342

		21		728		29		755

		22		230		30		225				Estimated strip width:

		22.5		134		30.5		101				20 µm

		23		107		31		96

		23.5		150		31.5		161

		24		557		32		551

		25		760

										1 cm plus

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		Ideal				200 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		400 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h

				120		22.7		95				25		23		72		44		0		222		34		68		0		17		290		0.2344827586		0		0				25		23		72		41		0		366		31		68		0		24		434		0.1566820276				25		23		72		27		0		557		-24		48		0		0		605		0.079338843

				121		32.2						26		33		62		41		0		208		51		103		0		24		311		0.3311897106		95		1				26		33		62		31		0		311		68		112		0		34		423		0.2647754137				26		33		62		17		0		543		-20		78		0		0		621		0.1256038647

												27		43		52		0		0		0		0		0		0		0		0		0								27		43		52		0		0		58		0		27		0		0		85		0.3176470588				27		43		52		0		0		103		0		44		0		0		147		0.2993197279

												28		53		42		0		0		44		31		78		0		0		122		0.6393442623								28		53		42		0		0		58		24		120		0		0		178		0.6741573034				28		53		42		0		0		61		0		236		0		0		297		0.7946127946

		#121		Ampitude		#121		Amplitude				29		63		32		24		0		82		51		195		0		17		277		0.7039711191								29		63		32		27		0		112		85		328		0		34		440		0.7454545455				29		63		32		0		0		65		0		574		-37		15		639		0.8982785603

		21		464		30		523				30		73		22		0		0		71		44		242		0		31		313		0.7731629393								30		73		22		0		0		78		58		383		0		37		461		0.830802603				30		73		22		0		0		34		0		588		-40		13		622		0.9453376206

		22		58		31		171				Estimated strip width:

		22.5		37		32		41				25 µm

		23		51		32.5		51

		23.5		58		33		65

		24		178		34		499

		25		496

										1 cm plus

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		Ideal				200 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		400 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h

				120		22.7		108				25		23		85		34		0		254		29		45		0		0		299		0.1505016722		0		0				25		23		85		22		0		388		0		34		0		0		422		0.0805687204				25		23		85		11		0		474		-29		26		0		0		500		0.052

				121		33.5						26		33		75		26		0		228		41		63		0		10		291		0.2164948454		108		1				26		33		75		22		0		374		0		40		0		0		414		0.0966183575				26		33		75		0		0		474		-25		30		0		0		504		0.0595238095

												27		43		65		34		0		190		78		101		0		26		291		0.3470790378								27		43		65		26		0		317		37		82		0		12		399		0.2055137845				27		43		65		0		0		456		-22		71		0		0		527		0.1347248577

												29		63		45		12		0		85		60		157		0		29		242		0.6487603306								29		63		45		0		0		93		67		269		0		34		362		0.7430939227				29		63		45		0		0		71		18		422		-22		18		493		0.8559837728

		#121		Ampitude		#121		Amplitude				30		73		35		0		0		63		56		209		0		0		272		0.7683823529								30		73		35		0		0		48		34		366		-18		18		414		0.884057971				30		73		35		0		0		26		0		508		-26		0		534		0.9513108614

		20		470		31		508				31		83		25		0		0		50		37		247		0		26		297		0.8316498316								31		83		25		0		0		34		34		490		-30		0		524		0.9351145038				31		83		25		0		0		10		0		490		-30		0		500		0.98

		21		300		32		247

		22		40		33		41

		23		0		33.5		29				Estimated strip width:

		23.5		0		34		41				30 µm

		24		85		35		134

		25		430		36		500

		New 0 position

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		Ideal				200 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		400 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h

				120		22.2		118				25		28		90		32		0		333		23		50		0		0		383		0.1305483029		0		0				25		28		90		13		0		396		-13		35		0		0		431		0.0812064965				25		28		90		10		0		469		-23		32		0		0		501		0.0638722555

				121		34						26		38		80		32		0		314		30		54		0		0		368		0.1467391304		118		1				26		38		80		23		0		424		-13		36		0		0		460		0.0782608696				26		38		80		0		0		469		-27		30		0		0		499		0.0601202405

												27		48		70		27		0		259		54		86		0		13		345		0.2492753623								27		48		70		0		0		387		23		68		0		0		455		0.1494505495				27		48		70		0		0		492		-23		63		0		0		555		0.1135135135

												28		58		60		0		0		41		0		27		0		0		68		0.3970588235								28		58		60		0		0		59		0		41		0		0		100		0.41				28		58		60		0		0		77		0		45		0		0		122		0.368852459

		#121		Ampitude		#121		Amplitude				29		68		50		18		0		68		41		132		0		32		200		0.66								29		68		50		0		0		59		32		178		0		0		237		0.7510548523				29		68		50		0		0		73		18		273		0		32		346		0.789017341

		20		483		32		451				30		78		40		18		0		86		68		264		0		27		350		0.7542857143								30		78		40		0		0		50		10		506		-18		0		556		0.9100719424				30		78		40		0		0		50		10		506		-18		0		556		0.9100719424

		21		86		33		54				31		88		30		0				63		50		342		0		32		405		0.8444444444								31		88		30		0		0		41		18		428		-23		18		469		0.9125799574				31		88		30		0		0		36		0		496		-23		18		532		0.9323308271

		22		45		34		32

		23		23		35		45				Estimated strip width:

		24		154		36		387				35 µm

		25		470



Irradiated section n. 6



Irr. (7)

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0



Strp #99

Strip #100

Strip #101

Strip #102

Bias [V]

Collected charge [Arb. unit]

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



Non irr. (2)

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0



0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



Various final Pic.

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0



0

0

0

0

0

0

0

0

0

0

0



Final pic. eta

		Bias 250 V		Strip #		Centre		Distance		50 V		Local coord.		D24		D25		Pulse Left		Int		Pulse Right		Pulse sum		h		ideal				100 V		Pulse Left		Int		Pulse Right		Pulse sum		h		300 V		Pulse Left		Int		Pulse Right		Pulse sum		h				Volt scan		#6		Int.		#7		Total		Normalised				Volt scan		#59		#60		#61		Total		Normalised				Volt scan		#114		Int.		#115		Int.		#116		Total		Normalised		Rout/total		Volt #6		#6		Volt #115		#115

				6		37		115				40		30		85		104		18		40		144		0.2777777778		0		0				246				45		291		0.1546391753				333		-23		27		360		0.075				20		23		5		54		77		0.2086720867				20		32		141		54		227		0.576142132				10		63		4		159		23		32		222		0.5536159601				20		0.0649350649		10		0.1036036036

				7		48.5						41		40		75		86		32		54		140		0.3857142857		115		1				214		36		63		277		0.2274368231				323		-23		36		359		0.1002785515				40		32		18		100		132		0.3577235772				40		41		264		54		359		0.9111675127				20		80				246		23		36		326		0.812967581				40		0.1363636364		20		0.0705521472

												42		50		65		45		9		32		77		0.4155844156								128		36		63		191		0.3298429319				209		0		68		277		0.2454873646				50		36		23		123		159						50		36		287		50		373		0.9467005076				40		82				314		23		41		396		0.9875311721				50		0.1446540881		40		0.0580808081

												43.5		65		50		36		18		54		90		0.6								50		36		118		168		0.7023809524				63		13		246		309		0.7961165049				60		45		27		145		190		0.5149051491				60		36		298		40		374		0.9492385787				50		73				328		13		32		401		1				60		0.1421052632		50		0.0324189526

		#6		Amplitude		#7		Amplitude				44		70		45		45		27		77		122		0.631147541								50		36		195		245		0.7959183673				41		9		305		346		0.8815028902				80		59		41		205		264		0.7154471545				80		30		328		27		385		0.9771573604				60		68				333		13		32		401		1				80		0.1553030303		60		0.0324189526

		34.5		305		46.5		296				45		80		35		45		23		104		149		0.6979865772								45		41		241		286		0.8426573427				27		9		342		369		0.9268292683				100		45		36		259		304		0.8238482385				100		27		337		24		388		0.9847715736				80		59				342		9		32		401		1				100		0.1184210526		80		0.0224438903

		35.5		137		47.5		54				46		90		25		9		0		50		59		0.8474576271								45		36		255		300		0.85				27		4		337		364		0.9258241758				125		36		23		296		332		0.8997289973				150		24		355		21		400		1.0152284264				100		46				351				18		397		0.9900249377				125		0.0692771084		100		0

		36.5		27		48.5		0																																																		150		32		18		323		355		0.9620596206				200		23		360		20		403		1.0228426396				125		45				355				27		400		0.9975062344				150		0.0507042254		125		0

		37.5		0		49.5		36																																																		175		32		18		328		360		0.9756097561				300		20		374		0		394		1				150		45				355				27		400		0.9975062344				175		0.05		150		0

		38.5		100		50.5		232																																																		200		23		9		337		360		0.9756097561																		200		45				355				18		400		0.9975062344				200		0.025		200		0

		39.5		305		51.5		333																																																		300		23		9		346		369		1																		300		41				360				18		401		1				300		0.0243902439		300		0

		40.5		319





Final pic. eta

		0		0		0		0

		0		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0



50 Volt

100 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #774-775

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



Neff vs position

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0



0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



Eta comparison

		Bias 250 V		Strip #		Centre		Distance		25 V		Local coord.		D24		D25		Pulse Left		Pulse Right		Pulse sum		h		ideal				50 V		Pulse Left		Pulse Right		Pulse sum		h		150 V		Pulse Left		Pulse Right		Pulse sum		h								Volt scan		#60		#61		Total		Normalised

				60		43.2		113				46		28		85		212		1		213		0.0046948357		0		0				311		1		312		0.0032051282				410		1		411		0.00243309						3.1622776602		10		95		0		95		0.2467532468

				61		54.5						47		38		75		143		20		163		0.1226993865		113		1				222		1		223		0.0044843049				294		1		295		0.0033898305						5		25		191		0		191		0.4961038961

												48		48		65		68		34		102		0.3333333333								123		58		181		0.320441989				171		68		239		0.2845188285						7.0710678119		50		283		0		283		0.7350649351

												49		58		55		37		109		146		0.7465753425								37		161		198		0.8131313131				37		212		249		0.8514056225						8.6602540378		75		321		0		321		0.8337662338

		#60		Amplitude		#61		Amplitude				50		68		45		31		174		205		0.8487804878								34		259		293		0.8839590444				50		334		384		0.8697916667						10		100		352		0		352		0.9142857143

		41		308		52		386				51		78		35		24		181		205		0.8829268293								24		263		287		0.9163763066				20		345		365		0.9452054795						12.2474487139		150		372		0		372		0.9662337662

		42		171		53		253																																														14.1421356237		200		372		0		372		0.9662337662

		43		20		54		116																																														17.3205080757		300		385		0		385		1

		44		49		55		24

		45		209		56		123

		46		345		57		280

						58		389

		Bias 250 V		Strip #		Centre		Distance		20 V		Local coord.		D24		D25		#115		Int 1		#116		Int 2		#117		Pulse sum		h		ideal				50 V		#115		Int 1		#116		Int 2		#117		Pulse sum		h		200 V		#115		Int 1		#116		Int 2		#117		Pulse sum		h				Volt scan		#115		#116		Int		#117		Total		Normalised

				115		21		114				24		30		84		198		-17		27						225		0.12		0		0				317		-17		31						348		0.0890804598				403		-30		24						427		0.056206089		3.1622776602		10				116						116		0.2829268293

				116		32.4						25		40		74		178		-13		27						205		0.1317073171		114		1				311		-20		41						352		0.1164772727				396		-27		27						423		0.0638297872		5		25		31		208		-5		20		228		0.556097561

												26		50		64		126		-13		37						163		0.226993865								242		-17		61						303		0.201320132				334		-24		68						402		0.1691542289		7.0710678119		50		31		308		-7		20		328		0.8

												28		70		44		34				137				17		171		0.8011695906								48				236				24		284		0.8309859155				54		-5		317		-13		24		371		0.8544474394		8.6602540378		75		24		345		-17		20		365		0.8902439024

		#115		Amplitude		#116		Amplitude				29		80		34		24				181				17		205		0.8829268293								31				311		-10		20		342		0.9093567251				27				400		-17		17		427		0.9367681499		10		100		27		366		-20		17		383		0.9341463415

		18		400		30		389				29.5		85		29		27				195						222		0.8783783784								34				314		-15		20		348		0.9022988506				24				389		-24		17		413		0.9418886199		11.1803398875		125		24		380		-17		13		393		0.9585365854

		19		270		31		89																																																												12.2474487139		150		24		385		-20		13		398		0.9707317073

		20		34		32		28																																																												14.1421356237		200		24		389		-20		13		402		0.9804878049

		21		30		33		30																																																												17.3205080757		300		24		393		-20		17		410		1

		22		38		34		126

		23		308		35		389

		24		400





Strip 120 

		47		400		-30		380

		48		280		-20		260

		49		41		-10		21

		50		20		0		0

		51		51		10		31

		52		273		20		253

		53		410		30		390

		Beam Profile

		Coordinate		Front		Back

		0						10

		10		1.00E+13		1.05E+13		20		1.00E+13		1.05E+13

		20		4.50E+13		4.55E+13		30		4.50E+13		4.55E+13

		25		3.00E+14		2.52E+14		35		3.00E+14		2.52E+14

		30		4.10E+14		4.40E+14		40		4.10E+14		4.40E+14

		35		4.30E+14		4.60E+14		45		4.30E+14		4.60E+14

		40		3.15E+14		3.80E+14		50		3.15E+14		3.80E+14

		45		1.09E+14		2.70E+14		55		1.09E+14		2.70E+14

		55		1.20E+13		2.70E+13		65		1.20E+13		2.70E+13

		65		7.00E+11		1.20E+12		75		7.00E+11		1.20E+12





Strip 120 

		0

		0

		0

		0

		0

		0

		0



Local coord. [µm]

Amplitude [arb. Units]

Strip scan #10

0

0

0

0

0

0

0



Pulse shape

		55		0		55		55

		50		1		50		50

		45		2		45		45

		40		3		40		40

		35		4		35		35

		30		5		30		30

		25		6		25		25

		20		7		20		20

		15		8		15		15

		10		9		10		10

		5		10		5		5

		0		11		0		0

				12

				13

				14

				15

				16

				17

				18

				19

				20

				21

				22

				23

				24

				25

				26

				27

				28

				29

				30

				31

				32

				33

				34

				35

				36

				37

				38

				39

				40

				41

				42

				43

				44

				45

				46

				47

				48

				49

				50

				51

				52

				53

				54

				55

				56

				57

				58

				59

				60

				61

				62

				63

				64

				65

				66

				67

				68



Measured (hit strip)

Calculated

Adjacent strip

Intermediate routing line

Time [ns]

Amplitude [arb. units]

68

10

0

0

150

34.5396

16

0

245

54.05968

34

0

369

80.39936

54

0

560

114.09384

123

32

688

155.13512

154

40

826

202.94192

188

51

792

256.42064

199

74

615

314.09432

188

108

421

374.26344

176

131

199

435.16424

85

68

0

495.10184

0

0

552.54736

606.19912

655.01224

698.20408

735.24416

765.8304

789.86272

807.41192

818.68832

824.01216

823.78664

818.47312

808.57016

794.59512

777.0692

756.50528

733.3992

708.22128

681.41152

653.37656

624.48752

595.07864

565.44744

535.85544

506.53048

477.66728

449.43032

421.95584

395.35408

369.71192

345.0956

321.5524

299.11304

277.79416

257.59968

238.52336

220.54992

203.6564

187.81424

172.98976

159.14552

146.24152

134.23568

123.08456

112.74432

103.1708

94.32024

86.14968

78.61696

71.6812

65.30304

59.44456

54.06952

49.14336

44.63336

40.50856

36.7396



		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0



Front Al foils

Back Al foils

Position [mm]

Measured fluence [p cm-2]

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		50		50		50		50

		100		100		100		100

		150		150		150		150

		200		200		200		200

		250		250		250		250

		300		300		300		300

		350		350		350		350

		400		400		400		400

		500		500		500		500



Strip #739

Strip #740

Strip #741

Strip #742

Bias [V]

Collected charge [Arb. unit]

13

30

101

13

20

67

182

33

23

74

290

45

17

57

425

15

0

51

472

5

0

40

500

0

0

34

513

0

0

34

520

0

0

34

540

0



		

						760





		30		30		0

		40		40		117.5

		50		50

		60		60

		70		70

		80		80

		90		90



200 Volt

400 Volt

Ideal resolution

Local position [µm]

Right charge/Total charge

Scan across strips #740-741

0.1035422343

0.0311111111

0

0.1971428571

0.0545851528

1

0.3688888889

0.2443729904

0.6231884058

0.7816091954

0.7445652174

0.9099437148

0.8891454965

1

0.9136363636

1



		30		30		0

		40		40		115

		50		50

		60		60

		70		70

		80		80

		90		90



200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #710-711

0.1009615385

0.0352733686

0

0.1943734015

0.0646258503

1

0.3125

0.2213740458

0.5102040816

0.5845070423

0.689373297

0.8831858407

0.8141809291

0.9365609349

0.8523489933

0.9378427788



		30		30		0

		40		40		115

		50		50

		60		60

		70		70

		80		80

		90		90



200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #760-761

0.0874074074

0.0657534247

0

0.0914454277

0.0725244073

1

0.1515151515

0.1463414634

0.5

0.5

0.8

0.8395522388

0.884086444

0.9252669039

0.9249011858

0.9491833031



		0		30		30		30

		115		40		40		40

				50		50		50

				60		60		60

				70		70		70

				80		80		80

				90		90		90



150 Volt

200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #740-741

0

0.204610951

0.0581395349

0.0450281426

1

0.3086053412

0.1601731602

0.0685920578

0.3851351351

0.2755102041

0.2206405694

0.5677966102

0.6121212121

0.688372093

0.6253869969

0.7406542056

0.886405959

0.7331378299

0.8442982456

0.9305816135

0.7967032967

0.8817427386

0.938517179



		0		30		30

		110		40		40

				50		50

				60		60

				70		70

				80		80

				90		90



200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #670-671

0

0.2186046512

0.0462962963

1

0.3191489362

0.076056338

0.4345238095

0.2648401826

0.625

0.619047619

0.7170731707

0.8559322034

0.7960784314

0.9612403101

0.825

0.9734748011



		0		20		20

		110		30		30

				40		40

				50		50

				60		60

				70		70

				80		80

				90		90



200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #690-691

0

0.1510067114

0.0529801325

1

0.1964285714

0.0703296703

0.3269961977

0.1575492341

0.6736842105

0.7946428571

0.7365079365

0.916500994

0.8419452888

0.9427402863

0.8307692308

0.9512195122



		25		25		25		0

		35		35		35		110

		45		45		45

		55		55		55

		65		65		65

		75		75		75

		85		85		85



100 Volt

200 Volt

300 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #525-526

0.0461956522

0.0440414508

0.0446194226

0

0.0583941606

0.0547945205

0.0547945205

1

0.1413612565

0.1282051282

0.1113689095

0.3215859031

0.264573991

0.2821576763

0.8050541516

0.8073394495

0.7722222222

0.9130434783

0.9217391304

0.9298245614

0.9473684211

0.9523809524

0.958677686



		0		30		30		30

		117		40		40		40

				50		50		50

				70		70		70

				80		80		80

				90		90		90



150 Volt

200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #634-635

0

0.223255814

0.1133333333

0.0510204082

1

0.2783505155

0.1933333333

0.0761670762

0.3963414634

0.3048780488

0.1943005181

0.6209150327

0.6822429907

0.8157099698

0.6875

0.7979094077

0.915

0.7548076923

0.8580645161

0.9330024814



		0		24		24

		114		34		34

				44		44

				64		64

				74		74

				84		84

				89		89



100 Volt

300 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #584-585

0

0.118466899

0.0379403794

1

0.1655172414

0.0608272506

0.3421052632

0.1666666667

0.6896551724

0.8131868132

0.7597173145

0.9567430025

0.8605442177

0.9974160207

0.8586206897

0.9466666667



		0		22		22		22		22

		116		32		32		32		32

				42		42		42		42

				67		67		67		67

				72		72		72		72

				82		82		82		82

				92		92		92		92



100 Volt

150 Volt

200 Volt

300 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #604-605

0

0.2192513369

0.0848056537

0.0408719346

0.056980057

1

0.2391304348

0.1214285714

0.0681818182

0.0798898072

0.3128834356

0.2380952381

0.0920716113

0.1549295775

0.5668789809

0.6355555556

0.7975077882

0.7517482517

0.591954023

0.7173913043

0.9002695418

0.8434782609

0.6949152542

0.8137931034

0.9973045822

0.8888888889

0.7348066298

0.8436482085

0.972899729

0.9043715847



		0		23		23		23

		108		33		33		33

				43		43		43

				58		58		58

				63		63		63

				73		73		73

				78		78		78



20 Volt

50 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #544-545

0

0.1376146789

0.0422960725

0.0361445783

1

0.2018348624

0.0845070423

0.0574712644

0.3457446809

0.2341772152

0.0976253298

0.5858585859

0.7124183007

0.7627906977

0.6304347826

0.7571428571

0.820441989

0.7302325581

0.8709677419

0.9418886199

0.7735849057

0.8811594203

0.9632352941



		0		35		35		35

		110		40		40		40

				50		50		50

				65		65		65

				70		70		70

				80		80		80



50 Volt

100 Volt

300 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #566-567

0

0.125

0.0408719346

0.0407673861

1

0.1777777778

0.0702247191

0.0687203791

0.320441989

0.22

0.2033333333

0.6946107784

0.8090909091

0.7789855072

0.741697417

0.8579387187

0.8743842365

0.8580858086

0.9543010753

0.9975062344



		0		35		35		35

		120		45		45		45

				50		50		50

				65		65		65

				70		70		70

				80		80		80

				90		90		90



50 Volt

100 Volt

250 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #575-576

0

0.2876106195

0.0451807229

0.0383631714

1

0.3744292237

0.144092219

0.0939759036

0.3880597015

0.1782178218

0.1580310881

0.5730337079

0.7260273973

0.7166666667

0.591954023

0.798679868

0.8379888268

0.6559633028

0.8879781421

0.9230769231

0.7627906977

0.9076086957

0.9511002445



		0		28		28		28

		113		38		38		38

				48		48		48

				58		58		58

				68		68		68

				78		78		78



25 Volt

50 Volt

150 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #188-189

0

0.0046948357

0.0032051282

0.00243309

1

0.1226993865

0.0044843049

0.0033898305

0.3333333333

0.320441989

0.2845188285

0.7465753425

0.8131313131

0.8514056225

0.8487804878

0.8839590444

0.8697916667

0.8829268293

0.9163763066

0.9452054795



		26		26		0		26

		36		36		114		36

		46		46				46

		66		66				66

		76		76				76

		86		86				86



100 Volt

300 Volt

=

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #621-622

0.2227074236

0.0789473684

0

0.0390625

0.2735849057

0.1348684211

1

0.0606060606

0.3659793814

0.2482517483

0.1102150538

0.5828220859

0.6728110599

0.8066666667

0.6822429907

0.8066666667

0.9086021505

0.7422222222

0.8547854785

0.9583333333



		25		25		25		0

		35		35		35		110

		45		45		45

		60		60		60

		65		65		65

		75		75		75

		85		85		85



20 Volt

50 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #469-470

0.0857142857

0.1060070671

0.0411311054

0

0.0833333333

0.093385214

0.0683060109

1

0.275862069

0.1904761905

0.1333333333

0.6451612903

0.6785714286

0.7311827957

0.6774193548

0.766536965

0.8356164384

0.8444444444

0.8717948718

0.9260969977

0.8695652174

0.8646153846

0.9267734554



		30		30		0

		40		40		110

		50		50

		60		60

		70		70

		80		80



200 Volts

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #650-651

0.1784037559

0.0521172638

0

0.2587064677

0.1034482759

1

0.3577586207

0.2196531792

0.6280991736

0.7375328084

0.7114914425

0.8717948718

0.7915742794

0.9111470113



		0		30		30		30

		114		40		40		40

				50		50		50

				70		70		70

				80		80		80

				85		85		85



20 Volt

50 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #244-245

0

0.12

0.0890804598

0.056206089

1

0.1317073171

0.1164772727

0.0638297872

0.226993865

0.201320132

0.1691542289

0.8011695906

0.8309859155

0.8544474394

0.8829268293

0.9093567251

0.9367681499

0.8783783784

0.9022988506

0.9418886199



		30		30		0		30

		40		40		114		40

		50		50				50

		70		60				60

		80		70				70

		85		80				80

								90



#245 - 200 Volt

#650 - 400 Volt

#760 - 400 Volt

Local position [µm]

Right charge/Total charge

0.056206089

0.0521172638

0

0.0657534247

0.0638297872

0.1034482759

1

0.0725244073

0.1691542289

0.2196531792

0.1463414634

0.8544474394

0.7375328084

0.5

0.9367681499

0.8717948718

0.8395522388

0.9418886199

0.9111470113

0.9252669039

0.9491833031



		20		20		20		0

		30		30		30		115

		40		40		40

		50		50		50

		60		60		60

		70		70		70

		80		80		80

		90		90		90



20 Volt

50 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #388-389

0.15

0.0975609756

0.0965794769

0

0.1549295775

0.1448692153

0.1004709576

1

0.171875

0.1223529412

0.0901213172

0.2926829268

0.2888888889

0.2434077079

0.6666666667

0.6923076923

0.6511627907

0.7833333333

0.8498896247

0.9073083779

0.8295081967

0.8495049505

0.9384615385

0.8793103448

0.9160839161

0.9470699433



		35		0		35		35

		45		120		45		45

		55				55		55

		70				70		70

		75				75		75

		85				85		85

		95				95		95



20 Volt

50 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #490-491

0.1595744681

0

0.12

0.0796116505

0.2053231939

1

0.1322869955

0.0891089109

0.2967032967

0.2258064516

0.2

0.72

0.692

0.7982261641

0.8351449275

0.7985074627

0.8764302059

0.9349593496

0.8546099291

0.9174311927

0.9445585216



		0		28		28		28

		118		38		38		38

				48		48		48

				58		58		58

				68		68		68

				78		78		78

				88		88		88



150 Volt

200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #760-761

0

0.1305483029

0.0812064965

0.0638722555

1

0.1467391304

0.0782608696

0.0601202405

0.2492753623

0.1494505495

0.1135135135

0.3970588235

0.41

0.368852459

0.66

0.7510548523

0.789017341

0.7542857143

0.9100719424

0.9100719424

0.8444444444

0.9125799574

0.9323308271



		30		30		28		0

		40		40		38		118

		50		50		48

		70		70		58

		80		80		68

		85		90		78

						88



#244 -245 (@ 200 Volt)

#534 - 535 (@ 400 Volt)

#760 - 761 (@ 400 Volt)

Local position [µm]

Right charge/Total charge

0.056206089

0.0510204082

0.0638722555

0

0.0638297872

0.0761670762

0.0601202405

1

0.1691542289

0.1943005181

0.1135135135

0.8544474394

0.8157099698

0.368852459

0.9367681499

0.915

0.789017341

0.9418886199

0.9330024814

0.9100719424

0.9323308271



		30		30		30		0

		40		40		40		115

		50		50		50

		65		65		65

		70		70		70

		80		80		80

		90		90		90



50 Volt

100 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #774-775

0.2777777778

0.1546391753

0.075

0

0.3857142857

0.2274368231

0.1002785515

1

0.4155844156

0.3298429319

0.2454873646

0.6

0.7023809524

0.7961165049

0.631147541

0.7959183673

0.8815028902

0.6979865772

0.8426573427

0.9268292683

0.8474576271

0.85

0.9258241758



		Bias		#650		#651		Pulse sum		Normalised		#670		#671		Pulse sum		Normalised		#690		#691		Pulse sum		Normalised		#710		#711		Pulse sum		Normalised		#730		#731		Pulse sum		Normalised		#740		#741		Pulse sum		Normalised		#760		#761		Pulse sum		Normalised

		[Volt]		[mV]		[mV]		[mv]				[mV]		[mV]		[mv]				[mV]		[mV]		[mv]				[mV]		[mV]		[mv]				[mV]		[mV]		[mv]				[mV]		[mV]		[mv]				[mV]		[mV]		[mv]

		50		41		85		126		0.2016		24		58		82		0.2		0		80		80		0.1500938086		31		78		109		0.1912280702		31		83		114		0.1972318339		30		101		131		0.2205387205		45		100		145		0.2566371681				104		104

		100		63		140		203		0.3248		22		84		106		0.2585365854		31		135		166		0.3114446529		53		125		178		0.3122807018		45		142		187		0.3235294118		67		182		249		0.4191919192		68		178		246		0.4353982301				177		177

		150		92		210		302		0.4832		38		133		171		0.4170731707		52		197		249		0.4671669794		58		180		238		0.4175438596		66		232		298		0.5155709343		74		290		364		0.6127946128		63		342		405		0.7168141593				385		385

		200		81		329		410		0.656		39		207		246		0.6		45		291		336		0.6303939962		73		290		363		0.6368421053		48		374		422		0.7301038062		57		425		482		0.8114478114		50		446		496		0.8778761062				454		454

		250		59		443		502		0.8032		32		300		332		0.8097560976		34		398		432		0.8105065666		51		388		439		0.7701754386		31		478		509		0.8806228374		51		472		523		0.8804713805		41		490		531		0.9398230088				468		468

		300		59		510		569		0.9104		30		321		351		0.856097561		35		433		468		0.8780487805		38		462		500		0.8771929825		17		501		518		0.8961937716		40		500		540		0.9090909091		36		501		537		0.9504424779				478		478

		350		50		530		580		0.928		23		342		365		0.8902439024		31		454		485		0.9099437148		33		485		518		0.9087719298		20		535		555		0.9602076125		34		513		547		0.9208754209		32		510		542		0.9592920354				495		495

		400		45		561		606		0.9696		10		370		380		0.9268292683		24		468		492		0.9230769231		31		498		529		0.9280701754		20		535		555		0.9602076125		34		520		554		0.9326599327		36		519		555		0.982300885				502		502

		500		45		580		625		1		10		400		410		1		10		523		533		1		30		540		570		1		0		578		578		1		34		560		594		1		32		533		565		1				510		510

																						Neff map		Vfd

																						10

																						30

																						50

																						70

																						90

																						100

																						120

																																												634

																																		72

		Bias		#526		#527		Pulse sum		Normalised		Bias		#545		#546		Pulse sum		Normalised		Bias		#567		#568		Pulse sum		Normalised		Bias		#577		#578		Pulse sum		Normalised		Bias		#585		#586		Pulse sum		Normalised		Bias		#605		#606		Pulse sum		Normalised		Bias		#622		#623		Pulse sum		Normalised		Bias		#634		#635		Pulse sum		Normalised

		[Volt]		[mV]		[mV]		[mv]				[Volt]		[mV]		[mV]		[mv]				[Volt]		[mV]		[mV]		[mv]				[Volt]		[mV]		[mV]		[mv]				[Volt]		[mV]		[mV]		[mv]				[Volt]		[mV]		[mV]		[mv]				[Volt]		[mV]		[mV]		[mv]				[Volt]		[mV]		[mV]		[mv]

		20		5		205		210		0.4393305439		10		89		41		130		0.313253012		10		27		41		68		0.17		25		34		75		109		0.2632850242		25		44		20		64		0.1671018277		50		65		10		75		0.1978891821		50		65		0		65		0.1697127937		50		61		24		85		0.2073170732

		30		5		273		278		0.5815899582		20		171		41		212		0.5108433735		25		61		109		170		0.425		50		55		164		219		0.5289855072		50		95		41		136		0.3550913838		75		95		10		105		0.2770448549		100		123		37		160		0.4177545692		100		106		34		140		0.3414634146

		40		54		323		377		0.7887029289		30		232		34		266		0.6409638554		50		266		41		307		0.7675		75		37		290		327		0.7898550725		75		150		58		208		0.5430809399		100		129		27		156		0.4116094987		150		171		51		222		0.5796344648		150		157		48		205		0.5

		50		45		365		410		0.8577405858		50		321		0		321		0.7734939759		75		334		14		348		0.87		100		27		330		357		0.8623188406		100		240		51		291		0.7597911227		125		167		27		194		0.5118733509		200		287		24		311		0.8120104439		200		253		34		287		0.7

		75		41		405		446		0.9330543933		75		362		0		362		0.8722891566		100		359		0		359		0.8975		150		27		359		386		0.9323671498		125		311		27		338		0.8825065274		150		236		30		266		0.7018469657		250		334		0		334		0.8720626632		250		317		27		344		0.8390243902

		100		32		428		460		0.9623430962		100		383		0		383		0.9228915663		150		372		0		372		0.93		200		24		372		396		0.9565217391		150		342		10		352		0.9190600522		200		328		0		328		0.8654353562		300		351		0		351		0.9164490862		300		349		31		380		0.9268292683

		120		23		441		464		0.9707112971		150		396		0		396		0.9542168675		200		383		0		383		0.9575		250		20		379		399		0.9637681159		200		355		10		365		0.953002611		250		355		0		355		0.9366754617		350		366		0		366		0.955613577		350		362		27		389		0.9487804878

		150		27		446		473		0.989539749		200		410		0		410		0.9879518072		250		396		0		396		0.99		300		24		382		406		0.9806763285		300		376		0		376		0.9817232376		300		366		0		366		0.9656992084		400		372		0		372		0.9712793734		400		372		34		406		0.9902439024

		200		23		455		478		1		300		415		0		415		1		300		400		0		400		1		350		24		390		414		1		400		383		0		383		1		400		379		0		379		1		500		383		0		383		1		500		383		27		410		1

		300		20		464		484		1.0125523013

		Strip #		VFD

		188		80

		244		75

		390		60

		470		55

		498		55

		526		53

		545		55

		568		62

		578		92								0.0004882813		0.1806640625		0.0451660156

		585		128

		605		200

		622		225

		634		270

		650		285

		670		297

		690		300

		710		285								768		640

		730		250

		740		220

		760		170

		774		125

		829		60

		888		47





		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0



Strip #10

Strip #30

Strip #50

Strip #70

Strip #90

Strip #100

Strip #120

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0



Strip #526

Strip #545

Strip #578

Strip #585

Strip #605

Strip #622

Strip #634

Bias [Volt]

Normalised CCE

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0



Strip Number

Vfd [Volt]

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0



Strip #545

Strip #585

Strip #634

Bias [Volt]

Normalised CCE

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0



Strip #526

Strip #578

Strip #605

Bias [Volt]

Normalised CCE

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		Strip:		#10								Strip:		#30								Strip:		#50								Strip:		#70								Strip:		#90								Strip:		#100		#101						Strip:		#120

				#11										#31										#51										#71										#91										#121										#121

		D Left		h 200 V		ideal				h 400 V		D Left		h 200 V		ideal				h 400 V		D Left		h 200 V		ideal				h 400 V		D Left		h 200 V		ideal				h 400 V		D Left		h 200 V		ideal				h 400 V		D Left		h 200 V		ideal				h 400 V		D Left		h 200 V		ideal				h 400 V

		20		0.2059800664		0		0		0.1260683761		20		0.3485714286		0		0		0.2292490119		20		0.1510067114		0		0		0		20		0.1729559748		0		0		0.1299559471		30		0.1035422343		0		0		0		30		0.204610951		0		0		0		20		0.2591006424		0		0		0.263671875

		30		0.1784037559		110		1		0		30		0.2186046512		110		1		0		30		0.1964285714		110		1		0		30		0.1009615385		115		1		0		40		0.1971428571		117.5		1		0		40		0.3086053412		115		1		0		30		0.0874074074		115		1		0.0657534247

		40		0.2587064677						0.0909090909		40		0.3191489362						0		40		0.3269961977						0.118993135		40		0.1943734015						0		50		0.3688888889						0.2443729904		50		0.3851351351						0.1978021978		40		0.0914454277						0.0725244073

		50		0.3577586207						0.2196531792		50		0.4345238095						0.2648401826		60		0.6736842105						0.7946428571		50		0.3125						0.1707317073		60		0.6231884058						0.7816091954		60		0.5677966102						0.688372093		50		0.1515151515						0.1463414634

		60		0.6280991736						0.7375328084		60		0.625						0.619047619		70		0.7365079365						0.916500994		60		0.5102040816						0.5845070423		70		0.7445652174						0.9099437148		70		0.6253869969						0.886405959		60		0.5						0.5

		70		0.7114914425						0.8717948718		70		0.7170731707						0.8559322034		80		0.8419452888						0.9427402863		70		0.689373297						0.8831858407		80		0.8891454965						1		80		0.7331378299						0.9305816135		70		0.8						0.8395522388

		80		0.7915742794						0.9111470113		80		0.7960784314						0.9867374005		90		0.8307692308						0.9512195122		80		0.8141809291						0.9365609349		90		0.9136363636						1		90		0.7967032967						0.938517179		80		0.884086444						0.9252669039

		90		0.7759103641						0.8546845124		90		0.825						0.9734748011												90		0.8523489933						0.9378427788																						90		0.9249011858						0.9491833031

		Residuals		#10-#11								Residuals		#30-#31								Residuals		#50-#51								Residuals		#50-#51								Residuals		#70-#71								Residuals		#90-#91								Residuals		#100-#101

		True position		Est. position		Est. position		Residuals		Residuals		True position		Est. position		Est. position		Residuals		Residuals		True position		Est. position		Est. position		Residuals		Residuals		True position		Est. position		Est. position		Residuals		Residuals		True position		Est. position		Est. position		Residuals		Residuals		True position		Est. position		Est. position		Residuals		Residuals		True position		Est. position		Est. position		Residuals

				200 V		400 V		200 V		400 V				200 V		400 V		200 V		400 V				200 V		400 V		200 V		400 V				200 V		400 V		200 V		400 V				200 V		400 V		200 V		400 V				200 V		400 V		200 V		400 V				200 V		400 V		200 V		400 V

		20		22.657807309		38.3428571429		2.657807309		18.3428571429		20		38.3428571429		25.2173913043		18.3428571429		5.2173913043		20		16.610738255		0		-3.389261745		-20		20		19.8899371069		14.9449339207		-0.1100628931		-5.0550660793		30		12.1662125341		0		-17.8337874659		-30		30		23.530259366		0		-6.469740634		-30		20		29.7965738758		30.322265625		9.7965738758		10.322265625

		30		19.6244131455		24.0465116279		-10.3755868545		-5.9534883721		30		24.0465116279		0		-5.9534883721		-30		30		21.6071428571		0		-8.3928571429		-30		30		11.6105769231		0		-18.3894230769		-30		40		23.1642857143		0		-16.8357142857		-40		40		35.4896142433		0		-4.5103857567		-40		30		10.0518518519		7.5616438356		-19.9481481481		-22.4383561644

		40		28.4577114428		35.1063829787		-11.5422885572		-4.8936170213		40		35.1063829787		0		-4.8936170213		-40		40		35.969581749		13.0892448513		-4.030418251		-26.9107551487		40		22.3529411765		0		-17.6470588235		-40		50		43.3444444444		28.7138263666		-6.6555555556		-21.2861736334		50		44.2905405405		22.7472527473		-5.7094594595		-27.2527472527		40		10.5162241888		8.340306834		-29.4837758112		-31.659693166

		50		39.3534482759		47.7976190476		-10.6465517241		-2.2023809524		50		47.7976190476		29.1324200913		-2.2023809524		-20.8675799087		60		74.1052631579		87.4107142857		14.1052631579		27.4107142857		50		35.9375		19.6341463415		-14.0625		-30.3658536585		60		73.2246376812		91.8390804598		13.2246376812		31.8390804598		60		65.2966101695		79.1627906977		5.2966101695		19.1627906977		50		17.4242424242		16.8292682927		-32.5757575758		-33.1707317073

		60		69.0909090909		68.75		9.0909090909		8.75		60		68.75		68.0952380952		8.75		8.0952380952		70		81.0158730159		100.8151093439		11.0158730159		30.8151093439		60		58.6734693878		67.2183098592		-1.3265306122		7.2183098592		70		87.4864130435		106.9183864916		17.4864130435		36.9183864916		70		71.919504644		101.9366852886		1.919504644		31.9366852886		60		57.5		57.5		-2.5		-2.5

		70		78.2640586797		78.8780487805		8.2640586797		8.8780487805		70		78.8780487805		94.1525423729		8.8780487805		24.1525423729		80		92.6139817629		103.7014314928		12.6139817629		23.7014314928		70		79.2779291553		101.5663716814		9.2779291553		31.5663716814		80		104.474595843		117.5		24.474595843		37.5		80		84.3108504399		107.0168855535		4.3108504399		27.0168855535		70		92		96.5485074627		22		26.5485074627

		80		87.0731707317		87.568627451		7.0731707317		7.568627451		80		87.568627451		108.5411140584		7.568627451		28.5411140584		90		91.3846153846		104.6341463415		1.3846153846		14.6341463415		80		93.630806846		107.7045075125		13.630806846		27.7045075125		90		107.3522727273		117.5		17.3522727273		27.5		90		91.6208791209		107.9294755877		1.6208791209		17.9294755877		80		101.6699410609		106.4056939502		21.6699410609		26.4056939502

		90		85.350140056		90.75		-4.649859944		0.75		90		90.75		107.0822281167		0.75		17.0822281167												90		98.0201342282		107.8519195612		8.0201342282		17.8519195612																						90		106.3636363636		109.1560798548		16.3636363636		19.1560798548





		Far end														End + 1 cm														End + 2 cm														End + 3 cm														End + 3.5 cm

		Strip width		Local coord.		h 150 V						h 200 V		h 400 V		Strip width		Local coord.		h 150 V						h 200 V		h 400 V		Strip width		Local coord.		h 150 V						h 200 V		h 400 V		Strip width		Local coord.		h 150 V						h 200 V		h 400 V		Strip width		Local coord.		h 200 V						h 400 V				Local coord.		h 150 V		h 200 V		h 400 V

		16 µm		12		0.3192771084		0		0		0.3086172345		0.2177531207		25 µm		20		0.2489795918		0		0		0.2296072508		0.0935875217		25 µm		23		0.2344827586		0		0		0.1566820276		0.079338843		30 µm		23		0.1505016722		0		0		0.0805687204		0.052		35 µm		20		0.2591006424		0		0		0.263671875				28		0.1305483029		0.0812064965		0.0638722555		0		0

				22		0.3269230769		61		1		0.3302180685		0.2262118492				30		0.3642857143		78		1		0.3591160221		0.2287390029				33		0.3311897106		95		1		0.2647754137		0.1256038647				33		0.2164948454		108		1		0.0966183575		0.0595238095				30		0.0874074074		115		1		0.0657534247				38		0.1467391304		0.0782608696		0.0601202405		118		1

				32		0.5						0.5		0.5284552846				40		0.6977777778						0.691588785		0.8631578947				43								0.3176470588		0.2993197279				43		0.3470790378						0.2055137845		0.1347248577				40		0.0914454277						0.0725244073				48		0.2492753623		0.1494505495		0.1135135135

				42		0.6687697161						0.6808943089		0.826435247				50		0.7510204082						0.7796610169		0.9246575342				53		0.6393442623						0.6741573034		0.7946127946				63		0.6487603306						0.7430939227		0.8559837728				50		0.1515151515						0.1463414634				58		0.3970588235		0.41		0.368852459

				52		0.6972789116						0.7270788913		0.8104196816				60														63		0.7039711191						0.7454545455		0.8982785603				73		0.7683823529						0.884057971		0.9513108614				60		0.5						0.5				68		0.66		0.7510548523		0.789017341

																																73		0.7731629393						0.830802603		0.9453376206				83		0.8316498316						0.9351145038		0.98				70		0.8						0.8395522388				78		0.7542857143		0.9100719424		0.9100719424

																																																												80		0.884086444						0.9252669039				88		0.8444444444		0.9125799574		0.9323308271

																																																												90		0.9249011858						0.9491833031

				Pos. inner end (1)														Pos.(2)=(1)+1 cm														Pos.(3)=(2)+1 cm														Pos.(4)=(3)+1 cm														Pos.(5)=(4)+0.5 cm

		Bias		#119		Int 1		#120		Int 2		#121		Int 3		#122		#119		Int 1		#120		Int 2		#121		Int 3		#122		#119		Int 1		#120		Int 2		#121		Int 3		#122		#119		Int 1		#120		Int 2		#121		Int 3		#122		#119		Int 1		#120		Int 2		#121		Int 3		#122

		[Volt]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]

		50		0		0		30		10		115		10		20						20		0		68						0		0		31		0		99		0		0		0		0		0		0		70		0		0						38		21		104		-10

		100		28		0		61		17		179		15		33						44		15		129						20		0		48		24		171		0		31						52		34		145		0		29						62		34		177		-21

		150		30		0		88		40		239		27		44						78		37		184						0		0		71		44		242		0		31						63		58		250		0		29						55		24		385		-31

		200		37		0		115		74		357		37		54						68		41		280						0		0		78		58		383		0		37						37		20		388		-5		20						48		15		454		-24

		250		34		0		101		61		530		51		20						71		44		410						0		0		44		24		509		-24		10						26		10		448		-20		10						45		0		468		-34

		300		23		0		81		37		600		-23		30						58		45		475						0		0		37		13		533		-30		20						22		22		490		-24		10						34		0		478		-34

		350		34		0		84		27		641		-27		24						51		10		519						0		0		30		0		567		-30		15						20		0		512		-24		0						34		0		495		-34

		400		23		0		64		0		644		-34		23						51		0		530						0		0		41		0		577		-37		15						20		0		527		-24		0						34		0		502		-34

		500		10		0		77		0		680		-30		10						48		0		547						0		0		34		0		588		-40		13						10		0		530		-24		0						34		0		510		-34

																																																																		-10

																																																																		-17

																																																																		-17

				Total										Total										Intermediate strip/total charge																																										-17

		Bias		Pos.(1)		Pos.(2)		Pos.(3)		Pos.(4)		Pos.(5)		normalised

		[Volt]												Pos.(1)		Pos.(2)		Pos.(3)		Pos.(4)		Pos.(5)		Pos.(1)		Pos.(2)		Pos.(3)		Pos.(4)		Pos.(5)

		50		135		88		99		70		142		0.2023988006		0.1514629948		0.1672297297		0.1328273245		0.2649253731		0.0740740741		0		0		0		0.1478873239

		100		212		173		202		174		239		0.3178410795		0.2977624785		0.3412162162		0.330170778		0.4458955224		0.0801886792		0.0867052023		0.1188118812		0.1954022989		0.1422594142

		150		283		262		273		279		440		0.4242878561		0.4509466437		0.4611486486		0.5294117647		0.8208955224		0.1413427562		0.141221374		0.1611721612		0.2078853047		0.0545454545

		200		411		348		420		408		502		0.616191904		0.5989672978		0.7094594595		0.7741935484		0.9365671642		0.1800486618		0.117816092		0.1380952381		0.0490196078		0.0298804781

		250		550		481		519		458		513		0.8245877061		0.8278829604		0.8766891892		0.8690702087		0.9570895522		0.1109090909		0.0914760915		0.0462427746		0.0218340611		0

		300		630		533		553		500		512		0.9445277361		0.917383821		0.9341216216		0.9487666034		0.9552238806		0.0587301587		0.0844277674		0.0235081374		0.044		0

		350		665		570		582		512		529		0.9970014993		0.9810671256		0.9831081081		0.9715370019		0.9869402985		0.0406015038		0.0175438596		0		0		0

		400		667		581		592		527		536		1		1		1		1		1		0		0		0		0		0

		500		690		595		601		530		544		1.0344827586		1.0240963855		1.0152027027		1.0056925996		1.0149253731		0		0		0		0		0





		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0



Pos. 1

Pos. 2

Pos. 3

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0



Bias [V]

Charge routing line/Total charge

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0		0		0

		0		0		0		0

				0		0		0

				0		0		0



150 Volt

200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #760-761

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0		0		0

		0		0		0		0

				0		0		0

				0		0		0

				0		0		0

				0		0		0



Strip #120 of sector n. 6

Local position [µm]

Right charge/Total charge

Scan across strips #760-761

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

150 Volt

200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #760-761

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0		0		0

		0		0		0		0

				0		0		0

				0		0		0

				0		0		0

				0		0		0



150 Volt

200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #760-761

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0		0		0

		0		0		0		0

				0		0		0

				0		0		0

				0		0		0

				0		0		0

				0		0		0



150 Volt

200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #760-761

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		Time delay		Corrected time		Bias [V]		#120		Int 1		#121		Int 2																		0		0.08185		9.1672		112				0.261052		10		80

		70		55		250		0		0		68		0				0		0		0		610								1		0.168384		18.859008						0.431745		34.5396

		75		50				16		0		150		0				3		0.0512794593		31.2804701969										2		0.312367		34.985104						0.675746		54.05968

		80		45				34		0		245		-25				6		0.2672435413		163.0185601936										3		0.52869		59.21328						1.004992		80.39936

		85		40				54		0		369		-41				9		0.5875634723		358.4137180924										4		0.825982		92.509984						1.426173		114.09384

		90		35				123		32		560		0				12		0.9072872169		553.4452023										5		1.20452		134.90624						1.939189		155.13512

		95		30				154		40		688		0				15		1.1543795498		704.1715253543										6		1.656436		185.520832						2.536774		202.94192

		100		25				188		51		826		-28				18		1.299469696		792.6765145638										7		2.16761		242.77232						3.205258		256.42064

		105		20				199		74		792		0				21		1.3442508459		819.9930160187										8		2.720225		304.6652						3.926179		314.09432

		110		15				188		108		615		-5				24		1.3071636214		797.3698090352										9		3.295125		369.054						4.678293		374.26344

		115		10				176		131		421		79				27		1.2124429531		739.5902013697										10		3.873637		433.847344						5.439553		435.16424

		120		5				85		68		199		34				30		1.0834467691		660.9025291351										11		4.438771		497.142352						6.188773		495.10184

		125		0				0		0		0		0				33		0.9394191906		573.0457062512										12		4.97592		557.30304						6.906842		552.54736

																		36		0.7945091514		484.6505823432										13		5.473185		612.99672						7.577489		606.19912

																		39		0.6580501859		401.410613397										14		5.92143		663.20016						8.187653		655.01224

																		42		0.5354104702		326.6003867976										15		6.31416		707.18592						8.727551		698.20408

																		45		0.4289931162		261.6858008585										16		6.647297		744.497264						9.190552		735.24416

																		48		0.339164421		206.8902967894										17		6.91889		774.91568						9.57288		765.8304

																		51		0.2650152693		161.6593142647										18		7.128793		798.424816						9.873284		789.86272

																		54		0.2049346724		125.0101501754										19		7.278362		815.176544						10.092649		807.41192

																		57		0.1570118833		95.7772488293										20		7.370132		825.454784						10.233604		818.68832

																		60		0.1192986421		72.7721716988										21		7.407557		829.646384						10.300152		824.01216

																		63		0.0899657472		54.8791057793										22		7.394742		828.211104						10.297333		823.78664

																		66		0.0673846758		41.1046522082										23		7.336235		821.65832						10.230914		818.47312

																		69		0.050159177		30.597097963										24		7.236837		810.525744						10.107127		808.57016

																		72		0.0371256796		22.6466645667										25		7.101445		795.36184						9.932439		794.59512

																		75		0.0273359711		16.67494238										26		6.934925		776.7116						9.713365		777.0692

																																27		6.742013		755.105456						9.456316		756.50528

																																28		6.527242		731.051104						9.16749		733.3992

																																29		6.294873		705.025776						8.852766		708.22128

																																30		6.048868		677.473216						8.517644		681.41152

																																31		5.792859		648.800208						8.167207		653.37656

																																32		5.530137		619.375344						7.806094		624.48752

																																33		5.263647		589.528464						7.438483		595.07864

																																34		4.995998		559.551776						7.068093		565.44744

																																35		4.729472		529.700864						6.698193		535.85544

																																36		4.466033		500.195696						6.331631		506.53048

																																37		4.207353		471.223536						5.970841		477.66728

																																38		3.954834		442.941408						5.617879		449.43032

																																39		3.709625		415.478						5.274448		421.95584

																																40		3.472645		388.93624						4.941926		395.35408

																																41		3.244611		363.396432						4.621399		369.71192

																																42		3.026052		338.917824						4.313695		345.0956

																																43		2.817337		315.541744						4.019405		321.5524

																																44		2.618692		293.293504						3.738913		299.11304

																																45		2.43022		272.18464						3.472427		277.79416

																																46		2.251916		252.214592						3.219996		257.59968

																																47		2.083687		233.372944						2.981542		238.52336

																																48		1.925365		215.64088						2.756874		220.54992

																																49		1.776718		198.992416						2.545705		203.6564

																																50		1.637465		183.39608						2.347678		187.81424

																																51		1.507286		168.816032						2.162372		172.98976

																																52		1.38583		155.21296						1.989319		159.14552

																																53		1.272725		142.5452						1.828019		146.24152

																																54		1.167583		130.769296						1.677946		134.23568

																																55		1.070007		119.840784						1.538557		123.08456

																																56		0.979598		109.714976						1.409304		112.74432

																																57		0.895956		100.347072						1.289635		103.1708

																																58		0.818688		91.693056						1.179003		94.32024

																																59		0.747406		83.709472						1.076871		86.14968

																																60		0.681733		76.354096						0.982712		78.61696

																																61		0.621304		69.586048						0.896015		71.6812

																																62		0.565769		63.366128						0.816288		65.30304

																																63		0.51479		57.65648						0.743057		59.44456

																																64		0.468044		52.420928						0.675869		54.06952

																																65		0.425227		47.625424						0.614292		49.14336

																																66		0.386049		43.237488						0.557917		44.63336

																																67		0.350235		39.22632						0.506357		40.50856

																																68		0.317529		35.563248						0.459245		36.7396

																																69		0.287687		32.220944						0.416239		33.29912

																																70		0.260483		29.174096						0.377015		30.1612

																																71		0.235705		26.39896						0.341272		27.30176

																																72		0.213156		23.873472						0.308729		24.69832

																																73		0.19265		21.5768						0.279123		22.32984

																																74		0.174018		19.490016						0.25221		20.1768

																																75		0.157101		17.595312						0.227764		18.22112

																																76		0.141751		15.876112						0.205574		16.44592

																																77		0.127834		14.317408						0.185447		14.83576

																																78		0.115224		12.905088						0.167204		13.37632

																																79		0.103806		11.626272						0.150679		12.05432

																																80		0.093474		10.469088						0.13572		10.8576

																																81		0.084131		9.422672						0.122188		9.77504

																																82		0.075686		8.476832						0.109953		8.79624

																																83		0.068058		7.622496						0.098898		7.91184

																																84		0.061172		6.851264						0.088915		7.1132

																																85		0.054959		6.155408						0.079904		6.39232

																																86		0.049356		5.527872						0.071777		5.74216

																																87		0.044307		4.962384

																																88		0.039758		4.452896

																																89		0.035662		3.994144

																																90		0.031975		3.5812

																																91		0.028659		3.209808

																																92		0.025678		2.875936

																																93		0.022998		2.575776

																																94		0.020591		2.306192

																																95		0.018429		2.064048

																																96		0.016489		1.846768

																																97		0.014748		1.651776

																																98		0.013187		1.476944

																																99		0.011787		1.320144





		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0



0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0



0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0



Measured (hit strip)

Calculated

Adjacent strip

Intermediate routing line

Time [ns]

Amplitude [arb. units]

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0



Measured

Calculated

Time [ns]

Amplitude [arb. units]

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0




_1051641369

_1051558604.xls
Chart3

		0		20		20

		114		30		30

				40		40

				50		50

				60		60

				70		70

				80		80

				90		90



200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

0

0.1510067114

0.0529801325

1

0.1964285714

0.0703296703

0.3269961977

0.1575492341

0.7365079365

0.916500994

0.8419452888

0.9427402863

0.8307692308

0.9512195122



General

		Sector #		Strip's range								1		128

		1		1-128								2		256

		2		129-256								3		384

		3		257-384								4		512

		4		385-512								5		640

		5		513-640								6		768

		6		641-768								7		896

		7		769-896								8		1024

		8		897-1024

		Measured strips:

		Sector #:		1		2		3		4		5		6		7		8





Routing line

		

																						Strip #		Est. VFD

																						499		55

																						760		170

																						774		125

																						888		50





Routing line

		10		50		20		10

		20		100		40		20

		30		150		50		40

		40		200		60		50

		50		250		80		60

		60		300		100		80

		80		350		125		100

		100		400		150		125

		150		500		175		150

		200				200		200

		300				300		300



Strip #499

Strip #760

Strip #774

Strip #888

Bias [Volt]

Charge routing line/total charge

0.1402439024

0.1694915254

0.0649350649

0.1036036036

0.0886524823

0.1589958159

0.1363636364

0.0705521472

0.069637883

0.0979381443

0.1446540881

0.0580808081

0.0611246944

0.0445859873

0.1421052632

0.0324189526

0.0412844037

0

0.1553030303

0.0324189526

0

0

0.1184210526

0.0224438903

0

0

0.0692771084

0

0

0

0.0507042254

0

0

0

0.05

0

0

0.025

0

0

0.0243902439

0



Irradiated (4)

		50		50		50		50		50

		100		100		100		100		100

		150		150		150		150		150

		200		200		200		200		200

		250		250		250		250		250

		300		300		300		300		300

		350		350		350		350		350

		400		400		400		400		400

		500		500		500		500		500



Pos. 1

Pos. 2

Pos. 3

Pos. 4

Pos. 5

Bias [V]

Charge routing line/Total charge

0.0740740741

0

0

0

0.1478873239

0.0801886792

0.0867052023

0.1188118812

0.1954022989

0.1422594142

0.1413427562

0.141221374

0.1611721612

0.2078853047

0.0545454545

0.1800486618

0.117816092

0.1380952381

0.0490196078

0.0298804781

0.1109090909

0.0914760915

0.0462427746

0.0218340611

0

0.0587301587

0.0844277674

0.0235081374

0.044

0

0.0406015038

0.0175438596

0

0

0

0

0

0

0

0

0

0

0

0

0



Irradiated (5) 

		Bias 250 V		Strip #		Centre		Distance		20 V		Local coord.		D24		D25		Pulse Left		Pulse Right		Pulse sum		h		ideal				50 V		Pulse Left		Pulse Right		Pulse sum		h		200 V		Pulse Left		Pulse Right		Pulse sum		h				Volt scan		#85		#86		Total		Normalised

				85		31		110				33.5		25		85		128		12		140		0.0857142857		0		0				253		30		283		0.1060070671				373		16		389		0.0411311054				20		36		126		162		0.3884892086

				86		42						34.5		35		75		132		12		144		0.0833333333		110		1				233		24		257		0.093385214				341		25		366		0.0683060109				30		52		240		292		0.7002398082

												35.5		45		65		84		32		116		0.275862069								204		48		252		0.1904761905				325		50		375		0.1333333333				40		48		317		365		0.8752997602

												37		60		50		22		40		62		0.6451612903								36		76		112		0.6785714286				50		136		186		0.7311827957				50		48		371		407		0.9760191847

		#85		Amplitude		#86		Amplitude				37.5		65		45		40		84		124		0.6774193548								60		197		257		0.766536965				60		305		365		0.8356164384				75		36		380		412		0.9880095923

		39		417		28		417				38.5		75		35		28		152		180		0.8444444444								40		272		312		0.8717948718				32		401		433		0.9260969977				100		32		397		425		1.0191846523

		40		325		29		297				39.5		85		25		24		160		184		0.8695652174								44		281		325		0.8646153846				32		405		437		0.9267734554				120		28		413		441		1.0575539568

		41		50		30		60																																												150		28		417		417		1

		42		0		31		0

		43		68		32		32

		44		361		33		272

						34		409

		Bias 250 V		Strip #		Centre		Distance		20 V		Local coord.		D24		D25		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h		ideal				50 V		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h		200 V		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h				Volt scan		#4		Int 1		#5		Int 2		Total		Normalised		Norm Rout		Norm rzatio rout/total

				4		12.5		115				14.5		20		95		204		-28		36				240		0.15		0		0				333				36				369		0.0975609756				449		-64		48				497		0.0965794769				20		12		-24		200		-48		212		0.4265593561

				5		24						15.5		30		85		240		-36		44				284		0.1549295775		115		1				425		-64		72				497		0.1448692153				573		-112		64				637		0.1004709576				30		40				328		-52		368		0.7404426559

												16.5		40		75		212		-32		44				256		0.171875								373		-48		52				425		0.1223529412				525		-88		52				577		0.0901213172				40		24		-16		381		-88		405		0.814889336

												17.5		50		65		116		-8		48				164		0.2926829268								256		-24		104				360		0.2888888889				373		-64		120				493		0.2434077079				50		28		-24		425		-92		453		0.9114688129

		#4		Amplitude		#5		Amplitude				18.5		60		55		16				32				48		0.6666666667								32				72				104		0.6923076923				60				112				172		0.6511627907				75		16				445		-100		461		0.9275653924

		12		0		21		489				19.5		70		45		52				188		-16		240		0.7833333333								68				385		-48		453		0.8498896247				52				509		-96		561		0.9073083779				100		12		-28		457		-124		469		0.9436619718

		13		0		22		341				20.5		80		35		52				253		-16		305		0.8295081967								76				429		-52		505		0.8495049505				36				549		-96		585		0.9384615385				120		16		-20		465		-120		481		0.967806841

		14		132		23		84				21.5		90		25		28				204		-48		232		0.8793103448								36				393		-84		429		0.9160839161				28				501		-112		529		0.9470699433				150		12		-44		485		-132		497		1

		15		437		24		0

		16		517		25		0

						26		272

		Bias 250 V		Strip #		Centre		Distance		20 V		Local coord.		D24		D25		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h		ideal				50 V		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h		200 V		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h

				5		24		110				26.5		25		85		197				36				233		0.1545064378		0		0				328				36				364		0.0989010989				445				32				477		0.0670859539

				6		35						27.5		35		75		152				28				180		0.1555555556		110		1				305				36				341		0.1055718475				449				36				485		0.0742268041

												28.5		45		65		116				36				152		0.2368421053								253				60				313		0.1916932907				413				100				513		0.1949317739

												29.5		55		55		44				28				72										60				36				96						72				32				104

												30.5		65		45		28				104				132		0.7878787879								52				212				264		0.803030303				72				345				417		0.8273381295

												31.5		75		35		36				160				196		0.8163265306								32				272				304		0.8947368421				28				405				433		0.935334873

												32.5		85		25		12				164				176		0.9318181818								32				333				365		0.9123287671				72				469				541		0.8669131238

		Bias 250 V		Strip #		Centre		Distance		20 V		Local coord.		D24		D25		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h		ideal				50 Volt		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h		200 Volts		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h				Volt scan		#115		Int 1		#116		Int 2		Total		Normalised		Norm Rout		Norm rzatio rout/total

				115		44		120				47.5		35		85		237				45				282		0.1595744681		0		0				396		-18		54				450		0.12				474		-31		41				515		0.0796116505				10		32		23		132		0		164		0.3326572008				0.1402439024

				116		56						48.5		45		75		209		0		54				263		0.2053231939		120		1				387		-13		59				446		0.1322869955				460		-41		45				505		0.0891089109				20		41		25		241		0		282		0.5720081136				0.0886524823

												49.5		55		65		128		13		54				182		0.2967032967								264				77				341		0.2258064516				360		-23		90				450		0.2				30		45		25		314		0		359		0.7281947262				0.069637883

												51		70		50		41		13		91				132										63		13		182				245						73		0		250				323		0.72				40		45		25		364		0		409		0.8296146045				0.0611246944

		#115		Amplitude		#116		Amplitude				51.5		75		45		77		41		173				250		0.692								91		18		360				451		0.7982261641				91		0		461				552		0.8351449275				50		36		18		400		-13		436		0.8843813387				0.0412844037

		42		506		54		483				52.5		85		35		54		30		214				268		0.7985074627								54		23		383				437		0.8764302059				32		-23		460				492		0.9349593496				60		25		0		419		-23		444		0.9006085193				0

		43		410		55		287				53.5		95		25		41		25		241				282		0.8546099291								36		18		400		-13		436		0.9174311927				27				460		-23		487		0.9445585216				80		27		0		442		-23		469		0.9513184584				0

		44		77		56		0																																																								100		27		0		446		-23		473		0.9594320487				0

		45		455		57		0																																																								150		23		0		455		-27		478		0.9695740365				0

		46		488		58		145																																																								200		27				460		-18		487		0.9878296146				0

						59		469																																																								300		23				470		-30		493		1				0





Irr. corr (5)

		Bias 250 V		Strip #		Centre		Distance		100 V		Local coord.		D24		D25		Pulse Left		Pulse Right		Pulse sum		h		ideal				200 V		Pulse Left		Pulse Right		Pulse sum		h		300 V		Pulse Left		Pulse Right		Pulse sum		h				Volt scan		#13		#14		Total		Normalised						Strip #5		Volt scan		Normalised

				13		8.5		110				11		25		85		351		0		351		0		0		0				369		0		369		0				364		0		364		0				20		5		205		210		0.4338842975						10		140		0.2868852459

				14		19.5						12		35		75		387		0		387		0		110		1				414		0		414		0				414		0		414		0				30		5		273		278		0.5743801653						30		285		0.5840163934

												13		45		65		328		27		355		0.076056338								374		15		389		0.0385604113				383		24		407		0.058968059				40		54		323		377		0.7789256198						50		393		0.8053278689

												14		55		55		154		73		227		0.3215859031								164		59		223		0.264573991				173		68		241		0.2821576763				50		45		360		405		0.8367768595						70		434		0.8893442623

		#13		Amplitude		#14		Amplitude				15		65		45		54		223		277		0.8050541516								63		264		327		0.8073394495				82		278		360		0.7722222222				75		41		405		446		0.9214876033						100		454		0.9303278689

		6		364		17		351				16		75		35		36		378		414		0.9130434783								36		424		460		0.9217391304				32		424		456		0.9298245614				100		32		428		460		0.9504132231						150		468

		7		164		18		164				17		85		25		23		414		437		0.9473684211								23		460		483		0.9523809524				20		464		484		0.958677686				120		23		437		460		0.9504132231						200		485		0.993852459

		8		30		19		0																																												150		27		446		473		0.9772727273						300		488		1

		9		0		20		0																																												200		23		455		478		0.9876033058

		10		209		21		196																																												300		20		464		484		1

		11		370		22		392

		Bias 250 V		Strip #		Centre		Distance		50 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				200 V		Pulse Left		Pulse Right		Pulse sum		h		300 V		Pulse Left		Pulse Right		Pulse sum		h				Volt scan		#33		#34		Total		Normalised

				13		4.8		112				8		32		80		31		334		71		405		0.175308642		0		0				427		-17		410		0				434		-17		417		0				10		48		97		145		0.3325688073				30		112		20		31		163

				14		16						9		42		70		34		317		51		368		0.1385869565		112		1				427		31		458		0.0676855895				458		24		482		0.0497925311				20		51		184		235		0.5389908257				50		157		31		41		229

												10		52		60		0		68		34		102		0.3333333333								89		37		126		0.2936507937				99		34		133		0.2556390977				30		54		263		317		0.7270642202				100		291		51		85		427

												11		62		50		0		65		195		260		0.75								61		266		327		0.8134556575				61		260		321		0.8099688474				50		37		345		382		0.876146789				130		372		58		103		533

		#33		Amplitude		#34		Amplitude				12		72		40		0		51		308		359		0.8579387187								34		413		447		0.9239373602				34		430		464		0.9267241379				75		27		389		416		0.9541284404				150		530		50		109		689

		2		445		13		451				13		82		30		0		37		342		379		0.9023746702								27		427		454		0.9405286344				10		447		457		0.9781181619				100		24		400		424		0.9724770642				200		567		44		65		676

		3		191		14		214																																														125		24		417		441		1.0114678899				250		605		31				636

		4		41		15		41																																														150		20		420		440		1.0091743119				300		612		31				643

		5		34		16		34																																														200		20		424		444		1.0183486239

		6		68		17		58																																														300		20		436		456		1.0458715596

		7		413		18		330

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.		D24		D25		#120		Int 1		#121		Int 2		#122		Int 3		Pulse sum		h		ideal				200 V		#120		Int 1		#121		Int 2		#122		Int 3		Pulse sum		h		400 V		#120		Int 1		#121		Int 2		#122		Int 3		Pulse sum		h						Volt scan		#120		Int 1		#121		Int 2		#122		Total		Normalised		Rout/total

				121		40		117				43		30		87		30		24		167		24		48		17		215		0.223255814		0		0				24		20		266		10		34		0		300		0.1133333333				10		0		372		-24		20		0		392		0.0510204082						50		0		0		61		0		24		85		0.2093596059		0

				122		51.7						44		40		77		24		15		140		31		54		117		194		0.2783505155		117		1				27		15		242		27		58		0		300		0.1933333333				0		0		376		-24		31		0		407		0.0761670762						100		20		0		106		0		34		140		0.3448275862		0

												45		50		67		24		20		99		37		65		0		164		0.3963414634								15		0		171		44		75		0		246		0.3048780488				10		0		311		0		75		0		386		0.1943005181						150		27		10		157		24		48		205		0.5049261084		0.0487804878

												47		70		47		0		0		58		41		95		0		153		0.6209150327								0		0		68		48		146		0		214		0.6822429907				0		0		61		17		270		0		331		0.8157099698						200		20		10		253		10		34		287		0.7068965517		0.0348432056

		#121		Amplitude		#122		Amplitude				48		80		37		0		0		65		41		143		10		208		0.6875								0		0		58		41		229		0		287		0.7979094077				0		0		34		0		366		-13		400		0.915						250		10		5		317		0		27		344		0.8472906404		0.0145348837

		38		345		49		366				49		90		27		0		0		51		34		157		0		208		0.7548076923								0		0		44		27		266		0		310		0.8580645161				0		0		27		0		376		-17		403		0.9330024814						300		0		0		349		0		31		380		0.9359605911		0

		39		37		50		201																																																																						350		0		0		362		-15		27		389		0.9581280788		0

		40		30		51		34																																																																						400		0		0		372		-17		34		406		1		0

		41		34		52		24																																																																						500		0		0		383		-20		27		410		1.0098522167		0

		42		195		53		58

		43		362		54		342

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				200 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		400 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h						Volt scan		#109		#110		Total		Normalised

				109		12.4		116				15		26		90		31		178		51		229		0.2227074236		0		0				15		280		24		304		0.0789473684						369		0		369		0						50		65		0		65		0.1747311828

				110		24						16		36		80		24		154		58		212		0.2735849057		116		1				24		263		41		304		0.1348684211						372		0		372		0						100		123		37		160		0.4301075269

												17		46		70		20		123		71		194		0.3659793814								30		215		71		286		0.2482517483						331		41		372		0.1102150538						150		171		51		222		0.5967741935

												19		66		50		0		68		95		163		0.5828220859								0		71		146		217		0.6728110599						58		242		300		0.8066666667						200		287		24		311		0.8360215054

		#109		Amplitude		#110		Amplitude				20		76		40		0		68		146		214		0.6822429907								0		58		242		300		0.8066666667						34		338		372		0.9086021505						250		334		0		334		0.8978494624

		10		308		21		291				21		86		30		0		58		167		225		0.7422222222								0		44		259		303		0.8547854785						0		345		345		1						300		351		0		351		0.9435483871

		11		37		22		208																																																				350		366		0		366		0.9838709677

		12		0		23		31																																																				400		372		0		372		1

		13		0		24		27																																																				500		383		0		383		1.0295698925

		14		225		25		31

		15		321		26		235

						27		285

		Bias 250 V		Strip #		Centre		Distance		100 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				300 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		400 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h						Volt scan		#72		#73		Total		Normalised

				72		29.1		114				31.5		24		90				253		34		287		0.118466899		0		0						355		1		356		0.0028089888						0		0		0		0						25		44		20		64		0.170212766

				73		40.5						32.5		34		80				242		48		290		0.1655172414		114		1						386		1		387		0.0025839793																		50		95		41		136		0.3617021277

												33.5		44		70				150		78		228		0.3421052632										280		41		321		0.1277258567																		75		150		58		208		0.5531914894

												35.5		64		50				54		120		174		0.6896551724										51		222		273		0.8131868132																		100		240		51		291		0.7739361702

		#72		Amplitude		#73		Amplitude				36.5		74		40				68		215		283		0.7597173145										17		376		393		0.9567430025																		125		311		27		338		0.8989361702

		27		249		38		311				37.5		84		30				41		253		294		0.8605442177										1		386		387		0.9974160207																		150		342		10		352		0.9361702128

		28		71		39		106				38		89		25				41		249		290		0.8586206897										20		355		375		0.9466666667																		200		355		10		365		0.9707446809

		28.5		25		40		20																																																				300		376		0		376		1

		29		0		41		31																																																				400		383		0		383		1.0186170213

		30		58		42		154

		31		256		43		334

		Bias 250 V		Strip #		Centre		Distance		100 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				150 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		300 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		200 V		Pulse Left		Pulse Right		Pulse sum		h		Volt scan		#92		#93		Total		Normalised

				92		37.8		116				40		22		94		20		146		41		187		0.2192513369		0		0						259		24		283		0.0848056537						352		1		353		0.0028328612				331		5		336		0.0148809524		50		65		10		75		0.2049180328

				93		49.4						41		32		84		20		140		44		184		0.2391304348		116		1						246		34		280		0.1214285714						369		1		370		0.0027027027				334		5		339		0.0147492625		75		95		10		105		0.2868852459

												42		42		74		24		112		51		163		0.3128834356										208		65		273		0.2380952381						355		1		356		0.0028089888				300		34		334		0.1017964072		100		129		27		156		0.4262295082

												44.5		67		49		0		68		89		157		0.5668789809										82		143		225		0.6355555556						65		256		321		0.7975077882				71		215		286		0.7517482517		125		167		27		194		0.5300546448

		#92		Amplitude		#93		Amplitude				45		72		44				71		103		174		0.591954023										78		198		276		0.7173913043						37		334		371		0.9002695418				54		291		345		0.8434782609		150		236		30		266		0.7267759563

		35		352		47		345				46		82		34				54		123		177		0.6949152542										54		236		290		0.8137931034						1		370		371		0.9973045822				41		328		369		0.8888888889		200		328		0		328		0.8961748634

		36		143		48		68				47		92		24				48		133		181		0.7348066298										48		259		307		0.8436482085						10		359		369		0.972899729				35		331		366		0.9043715847		250		355		0		355		0.9699453552

		37		17		49		0																																																										300		366		0		366		1

		38		17		49.5		0																																																										400		379		0		379		1.0355191257

		39		95		50		0

		40		325		51		116

						52		321

		Bias 250 V		Strip #		Centre		Distance		20 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				50 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		200 V		Pulse Left		Pulse Right		Pulse sum		h								Volt scan		#32		#33		Total		Normalised

				32		43.2		108				45.5		23		85		24		188		30		218		0.1376146789		0		0				24		317		1		318		0.0031446541				400		1		401		0.0024937656								10		89		41		130		0.3147699758

				33		54						46.5		33		75		20		174		44		218		0.2018348624		108		1				20		325		10		335		0.0298507463				410		1		411		0.00243309								20		171		41		212		0.5133171913

												47.5		43		65		24		123		65		188		0.3457446809								20		242		54		296		0.1824324324				342		37		379		0.0976253298								30		232		34		266		0.6440677966

												49		58		50		0		41		58		99		0.5858585859										44		109		153		0.7124183007				51		164		215		0.7627906977								50		321		0		321		0.7772397094

		#32		Amplitude		#33		Amplitude				49.5		63		45				68		116		184		0.6304347826										68		212		280		0.7571428571				65		297		362		0.820441989								75		362		0		362		0.8765133172

		40		393		51		413				50.5		73		35				58		157		215		0.7302325581										44		297		341		0.8709677419				24		389		413		0.9418886199								100		383		0		383		0.9273607748

		41		181		52		291				51		78		30				48		164		212		0.7735849057										41		304		345		0.8811594203				15		393		408		0.9632352941								150		396		0		396		0.9588377724

		42		31		53		51																																																				200		413		0		413		1

		43		24		54		17																																																				300		420		0		420		1.0169491525

		44		80		55		50

		45		359		56		280

						57		403

		Bias 250 V		Strip #		Centre		Distance		50 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				100 V		Pulse Left		Pulse Right		Pulse sum		h		300 V		Pulse Left		Pulse Right		Pulse sum		h										Volt scan		#53		#54		#55		#56		Total		Normalised

				54		39		110				42.5		35		75		24		259		37		296		0.125		0		0				352		1		353		0.0028328612				400		1		401		0.0024937656										10		13		27		41		13		68		0.17

				55		50						43		40		70		24		222		48		270		0.1777777778		110		1				331		1		332		0.0030120482				393		1		394		0.0025380711										25		20		61		109		20		170		0.425

												44		50		60		0		123		58		181		0.320441989								195		44		239		0.1841004184				239		41		280		0.1464285714										50				266		41				307		0.7675

												45.5		65		45		0		51		116		167		0.6946107784								42		178		220		0.8090909091				61		215		276		0.7789855072										75				334		14				348		0.87

		#54		Amplitude		#55		Amplitude				46		70		40				70		201		271		0.741697417								51		308		359		0.8579387187				51		355		406		0.8743842365										100				359		0				359		0.8975

		37		352		47		400				47		80		30				43		260		303		0.8580858086								17		355		372		0.9543010753				1		400		401		0.9975062344										150				372		0				372		0.93

		38		44		48		280																																																				200				383		0				383		0.9575

		39		27		49		41																																																				250				396		0				396		0.99

		40		51		50		20																																																				300				400		0				400		1

		41		266		51		51								512		63		575																																								400				406						406		1.015

		42		390		52		273

						53		410

		Bias 250 V		Strip #		Centre		Distance		50 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				100 V		Pulse Left		Pulse Right		Pulse sum		h		250 V		Pulse Left		Pulse Right		Pulse sum		h										Volt scan		#64		#65		Total		Normalised

				63		1		120				4.5		35		85		37		161		65		226		0.2876106195		0		0				317		1		318		0.0031446541				376		1		377		0.0026525199										25		34		75		109		0.2632850242

				64		13						5.5		45		75		30		137		82		219		0.3744292237		120		1				297		54		351		0.1538461538				376		15		391		0.0383631714										50		55		164		219		0.5289855072

												6		50		70		0		123		78		201		0.3880597015								249		58		307		0.1889250814				325		41		366		0.1120218579										75		37		290		327		0.7898550725

												7.5		65		55		0		38		51		89		0.5730337079								40		106		146		0.7260273973				51		129		180		0.7166666667										100		27		330		357		0.8623188406

		#63		Amplitude		#64		Amplitude				8		70		50				71		103		174		0.591954023								61		242		303		0.798679868				58		300		358		0.8379888268										150		27		359		386		0.9323671498

		-1		352		10		400				9		80		40				75		143		218		0.6559633028								41		325		366		0.8879781421				31		372		403		0.9230769231										200		24		372		396		0.9565217391

		0		44		11		280				10		90		30				51		164		215		0.7627906977								34		334		368		0.9076086957				20		389		409		0.9511002445										250		20		379		399		0.9637681159

		1		27		12		41																																																				300		24		382		406		0.9806763285

		2		51		13		20																																																				350		24		390		414		1

		3		266		14		51

		4		390		15		273





Irr. corr. (6)

		Bias 250 V		Strip #		Centre		Distance		100 V		Local coord.		D24		D25		Pulse Left		Pulse Right		Pulse sum		h		ideal				200 V		Pulse Left		Pulse Right		Pulse sum		h		300 V		Pulse Left		Pulse Right		Pulse sum		h				Volt scan		#13		#14		Total		Normalised						Strip #5		Volt scan		Normalised

				13		8.5		110				11		25		85		351		17		368		0.0461956522		0		0				369		17		386		0.0440414508				364		17		381		0.0446194226				20		5		205		210		0.4338842975						10		140		0.2868852459

				14		19.5						12		35		75		387		24		411		0.0583941606		110		1				414		24		438		0.0547945205				414		24		438		0.0547945205				30		5		273		278		0.5743801653						30		285		0.5840163934

												13		45		65		328		54		382		0.1413612565								374		55		429		0.1282051282				383		48		431		0.1113689095				40		54		323		377		0.7789256198						50		393		0.8053278689

												14		55		55		154		73		227		0.3215859031								164		59		223		0.264573991				173		68		241		0.2821576763				50		45		360		405		0.8367768595						70		434		0.8893442623

		#13		Amplitude		#14		Amplitude				15		65		45		54		223		277		0.8050541516								63		264		327		0.8073394495				82		278		360		0.7722222222				75		41		405		446		0.9214876033						100		454		0.9303278689

		6		364		17		351				16		75		35		36		378		414		0.9130434783								36		424		460		0.9217391304				32		424		456		0.9298245614				100		32		428		460		0.9504132231						150		468

		7		164		18		164				17		85		25		23		414		437		0.9473684211								23		460		483		0.9523809524				20		464		484		0.958677686				120		23		437		460		0.9504132231						200		485		0.993852459

		8		30		19		0																																												150		27		446		473		0.9772727273						300		488		1

		9		0		20		0																																												200		23		455		478		0.9876033058

		10		209		21		196																																												300		20		464		484		1

		11		370		22		392

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.		D24		D25		#120		Int 1		#121		Int 2		#122		Int 3		Pulse sum		h		ideal				200 V		#120		Int 1		#121		Int 2		#122		Int 3		Pulse sum		h		400 V		#120		Int 1		#121		Int 2		#122		Int 3		Pulse sum		h						Volt scan		#120		Int 1		#121		Int 2		#122		Total		Normalised

				121		40		117				43		30		87		30		24		167		24		48		17		215		0.223255814		0		0				24		20		266		10		34		0		300		0.1133333333				10		0		372		-24		20		0		392		0.0510204082						50		0		0		61		0		24		85		0.2093596059

				122		51.7						44		40		77		24		15		140		31		54		117		194		0.2783505155		117		1				27		15		242		27		58		0		300		0.1933333333				0		0		376		-24		31		0		407		0.0761670762						100		20		0		106		0		34		140		0.3448275862

												45		50		67		24		20		99		37		65		0		164		0.3963414634								15		0		171		44		75		0		246		0.3048780488				10		0		311		0		75		0		386		0.1943005181						150		27		10		157		24		48		205		0.5049261084

												47		70		47		0		0		58		41		95		0		153		0.6209150327								0		0		68		48		146		0		214		0.6822429907				0		0		61		17		270		0		331		0.8157099698						200		20		10		253		10		34		287		0.7068965517

		#121		Amplitude		#122		Amplitude				48		80		37		0		0		65		41		143		10		208		0.6875								0		0		58		41		229		0		287		0.7979094077				0		0		34		0		366		-13		400		0.915						250		10		5		317		0		27		344		0.8472906404

		38		345		49		366				49		90		27		0		0		51		34		157		0		208		0.7548076923								0		0		44		27		266		0		310		0.8580645161				0		0		27		0		376		-17		403		0.9330024814						300		0		0		349		0		31		380		0.9359605911

		39		37		50		201																																																																						350		0		0		362		-15		27		389		0.9581280788

		40		30		51		34																																																																						400		0		0		372		-17		34		406		1

		41		34		52		24																																																																						500		0		0		383		-20		27		410		1.0098522167

		42		195		53		58

		43		362		54		342

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				200 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		400 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h						Volt scan		#109		#110		Total		Normalised

				109		12.4		116				15		26		90		31		178		51		229		0.2227074236		0		0				15		280		24		304		0.0789473684						369		15		384		0.0390625						50		65		0		65		0.1747311828

				110		24						16		36		80		24		154		58		212		0.2735849057		116		1				24		263		41		304		0.1348684211						372		24		396		0.0606060606						100		123		37		160		0.4301075269

												17		46		70		20		123		71		194		0.3659793814								30		215		71		286		0.2482517483						331		41		372		0.1102150538						150		171		51		222		0.5967741935

												19		66		50		0		68		95		163		0.5828220859								0		71		146		217		0.6728110599						58		242		300		0.8066666667						200		287		24		311		0.8360215054

		#109		Amplitude		#110		Amplitude				20		76		40		0		68		146		214		0.6822429907								0		58		242		300		0.8066666667						34		338		372		0.9086021505						250		334		0		334		0.8978494624

		10		308		21		291				21		86		30		0		58		167		225		0.7422222222								0		44		259		303		0.8547854785						15		345		360		0.9583333333						300		351		0		351		0.9435483871

		11		37		22		208																																																				350		366		0		366		0.9838709677

		12		0		23		31																																																				400		372		0		372		1

		13		0		24		27																																																				500		383		0		383		1.0295698925

		14		225		25		31

		15		321		26		235

						27		285

		Bias 250 V		Strip #		Centre		Distance		100 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				300 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		400 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h						Volt scan		#72		#73		Total		Normalised

				72		29.1		114				31.5		24		90				253		34		287		0.118466899		0		0						355		14		369		0.0379403794						0		0		0		0						25		44		20		64		0.170212766

				73		40.5						32.5		34		80				242		48		290		0.1655172414		114		1						386		25		411		0.0608272506																		50		95		41		136		0.3617021277

												33.5		44		70				150		78		228		0.3421052632										280		56		336		0.1666666667																		75		150		58		208		0.5531914894

												35.5		64		50				54		120		174		0.6896551724										51		222		273		0.8131868132																		100		240		51		291		0.7739361702

		#72		Amplitude		#73		Amplitude				36.5		74		40				68		215		283		0.7597173145										17		376		393		0.9567430025																		125		311		27		338		0.8989361702

		27		249		38		311				37.5		84		30				41		253		294		0.8605442177										1		386		387		0.9974160207																		150		342		10		352		0.9361702128

		28		71		39		106				38		89		25				41		249		290		0.8586206897										20		355		375		0.9466666667																		200		355		10		365		0.9707446809

		28.5		25		40		20																																																				300		376		0		376		1

		29		0		41		31																																																				400		383		0		383		1.0186170213

		30		58		42		154

		31		256		43		334

		Bias 250 V		Strip #		Centre		Distance		100 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				150 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		300 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		200 V		Pulse Left		Pulse Right		Pulse sum		h		Volt scan		#92		#93		Total		Normalised

				92		37.8		116				40		22		94		20		146		41		187		0.2192513369		0		0						259		24		283		0.0848056537						352		15		367		0.0408719346				331		20		351		0.056980057		50		65		10		75		0.2049180328

				93		49.4						41		32		84		20		140		44		184		0.2391304348		116		1						246		34		280		0.1214285714						369		27		396		0.0681818182				334		29		363		0.0798898072		75		95		10		105		0.2868852459

												42		42		74		24		112		51		163		0.3128834356										208		65		273		0.2380952381						355		36		391		0.0920716113				300		55		355		0.1549295775		100		129		27		156		0.4262295082

												44.5		67		49		0		68		89		157		0.5668789809										82		143		225		0.6355555556						65		256		321		0.7975077882				71		215		286		0.7517482517		125		167		27		194		0.5300546448

		#92		Amplitude		#93		Amplitude				45		72		44				71		103		174		0.591954023										78		198		276		0.7173913043						37		334		371		0.9002695418				54		291		345		0.8434782609		150		236		30		266		0.7267759563

		35		352		47		345				46		82		34				54		123		177		0.6949152542										54		236		290		0.8137931034						1		370		371		0.9973045822				41		328		369		0.8888888889		200		328		0		328		0.8961748634

		36		143		48		68				47		92		24				48		133		181		0.7348066298										48		259		307		0.8436482085						10		359		369		0.972899729				35		331		366		0.9043715847		250		355		0		355		0.9699453552

		37		17		49		0																																																										300		366		0		366		1

		38		17		49.5		0																																																										400		379		0		379		1.0355191257

		39		95		50		0

		40		325		51		116

						52		321

		Bias 250 V		Strip #		Centre		Distance		20 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				50 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		200 V		Pulse Left		Pulse Right		Pulse sum		h								Volt scan		#32		#33		Total		Normalised

				32		43.2		108				45.5		23		85		24		188		30		218		0.1376146789		0		0				24		317		14		331		0.0422960725				400		15		415		0.0361445783								10		89		41		130		0.3147699758

				33		54						46.5		33		75		20		174		44		218		0.2018348624		108		1				20		325		30		355		0.0845070423				410		25		435		0.0574712644								20		171		41		212		0.5133171913

												47.5		43		65		24		123		65		188		0.3457446809								20		242		74		316		0.2341772152				342		37		379		0.0976253298								30		232		34		266		0.6440677966

												49		58		50		0		41		58		99		0.5858585859										44		109		153		0.7124183007				51		164		215		0.7627906977								50		321		0		321		0.7772397094

		#32		Amplitude		#33		Amplitude				49.5		63		45				68		116		184		0.6304347826										68		212		280		0.7571428571				65		297		362		0.820441989								75		362		0		362		0.8765133172

		40		393		51		413				50.5		73		35				58		157		215		0.7302325581										44		297		341		0.8709677419				24		389		413		0.9418886199								100		383		0		383		0.9273607748

		41		181		52		291				51		78		30				48		164		212		0.7735849057										41		304		345		0.8811594203				15		393		408		0.9632352941								150		396		0		396		0.9588377724

		42		31		53		51																																																				200		413		0		413		1

		43		24		54		17																																																				300		420		0		420		1.0169491525

		44		80		55		50

		45		359		56		280

						57		403

		Bias 250 V		Strip #		Centre		Distance		50 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				100 V		Pulse Left		Pulse Right		Pulse sum		h		300 V		Pulse Left		Pulse Right		Pulse sum		h										Volt scan		#53		#54		#55		#56		Total		Normalised

				54		39		110				42.5		35		75		24		259		37		296		0.125		0		0				352		15		367		0.0408719346				400		17		417		0.0407673861										10		13		27		41		13		68		0.17

				55		50						43		40		70		24		222		48		270		0.1777777778		110		1				331		25		356		0.0702247191				393		29		422		0.0687203791										25		20		61		109		20		170		0.425

												44		50		60		0		123		58		181		0.320441989								195		55		250		0.22				239		61		300		0.2033333333										50				266		41				307		0.7675

												45.5		65		45		0		51		116		167		0.6946107784								42		178		220		0.8090909091				61		215		276		0.7789855072										75				334		14				348		0.87

		#54		Amplitude		#55		Amplitude				46		70		40				70		201		271		0.741697417								51		308		359		0.8579387187				51		355		406		0.8743842365										100				359		0				359		0.8975

		37		352		47		400				47		80		30				43		260		303		0.8580858086								17		355		372		0.9543010753				1		400		401		0.9975062344										150				372		0				372		0.93

		38		44		48		280																																																				200				383		0				383		0.9575

		39		27		49		41																																																				250				396		0				396		0.99

		40		51		50		20																																																				300				400		0				400		1

		41		266		51		51								512		63		575																																								400				406						406		1.015

		42		390		52		273

						53		410

		Bias 250 V		Strip #		Centre		Distance		50 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				100 V		Pulse Left		Pulse Right		Pulse sum		h		250 V		Pulse Left		Pulse Right		Pulse sum		h										Volt scan		#64		#65		Total		Normalised

				63		1		120				4.5		35		85		37		161		65		226		0.2876106195		0		0				317		15		332		0.0451807229				376		15		391		0.0383631714										25		34		75		109		0.2632850242

				64		13						5.5		45		75		30		137		82		219		0.3744292237		120		1				297		50		347		0.144092219				376		39		415		0.0939759036										50		55		164		219		0.5289855072

												6		50		70		0		123		78		201		0.3880597015								249		54		303		0.1782178218				325		61		386		0.1580310881										75		37		290		327		0.7898550725

												7.5		65		55		0		38		51		89		0.5730337079								40		106		146		0.7260273973				51		129		180		0.7166666667										100		27		330		357		0.8623188406

		#63		Amplitude		#64		Amplitude				8		70		50				71		103		174		0.591954023								61		242		303		0.798679868				58		300		358		0.8379888268										150		27		359		386		0.9323671498

		-1		352		10		400				9		80		40				75		143		218		0.6559633028								41		325		366		0.8879781421				31		372		403		0.9230769231										200		24		372		396		0.9565217391

		0		44		11		280				10		90		30				51		164		215		0.7627906977								34		334		368		0.9076086957				20		389		409		0.9511002445										250		20		379		399		0.9637681159

		1		27		12		41																																																				300		24		382		406		0.9806763285

		2		51		13		20																																																				350		24		390		414		1

		3		266		14		51

		4		390		15		273





Irr. corr. (6)

		0		1		0

		0				0

		0				0

		0				0

		0				0

		0				0

		0				0

		0				0

		0

		0



0

1

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



Irradiated (6)

		

		Vfd

		Normalised		10		30		50		70		120

		50		0.2016		0.2		0.1500938086		0.1529411765		0.2610294118

		100		0.3248		0.2585365854		0.3114446529		0.3025210084		0.4393382353

		150		0.4832		0.4170731707		0.4671669794		0.4352941176		0.8088235294

		200		0.656		0.6		0.6303939962		0.6268907563		0.9227941176

		250		0.8032		0.8097560976		0.8105065666		0.7613445378		0.9430147059

		300		0.9104		0.856097561		0.8780487805		0.8789915966		0.9411764706

		350		0.928		0.8902439024		0.9099437148		0.9176470588		0.9724264706

		400		0.9696		0.9268292683		0.9230769231		0.9193277311		0.9852941176

		500		1		1		1		1		1

		Strip #		VFD

		10

		30

		50

		70

		120

		Eta scan		#10		#11

								D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		Norm. pulse

								20		90		239		62		301		0.2059800664		0		0				20		90		409		59		468		0.1260683761		0.6688888889

								30		80		350		76		426		0.1784037559		114		1				30		80		582		32		614		0.0521172638		0.9466666667

								40		70		298		104		402		0.2587064677								40		70		520		60		580		0.1034482759		0.8933333333

								50		60		149		83		232		0.3577586207								50		60		270		76		346		0.2196531792		0.5155555556

								60		50		90		152		242		0.6280991736								60		50		100		281		381		0.7375328084		0.5377777778

								70		40		118		291		409		0.7114914425								70		40		80		544		624		0.8717948718		0.9088888889

								80		30		94		357		451		0.7915742794								80		30		55		564		619		0.9111470113		1.0022222222

								90		20		80		277		357		0.7759103641								90		20		76		447		523		0.8546845124		0.7933333333

				#30		#31		200 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		Norm. pulse

										20		90		114		61		175		0.3485714286		0		0				20		90		195		58		253		0.2292490119		0.6730769231

										30		80		168		47		215		0.2186046512		110		1				30		80		309		15		324		0.0462962963		0.8269230769

										40		70		160		75		235		0.3191489362								40		70		328		27		355		0.076056338		0.9038461538

										50		60		95		73		168		0.4345238095								50		60		161		58		219		0.2648401826		0.6461538462

										60		50		39		65		104		0.625								60		50		56		91		147		0.619047619		0.4

										70		40		58		147		205		0.7170731707								70		40		51		303		354		0.8559322034		0.7884615385

										80		30		52		203		255		0.7960784314								80		30		15		372		387		0.9612403101		0.9807692308

										90		20		42		198		240		0.825								90		20		10		367		377		0.9734748011		0.9230769231

				#50		#51		200 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		Norm. pulse

										20		90		253		45		298		0.1510067114		0		0				20		90		429		24		453		0.0529801325		0.903030303

										30		80		225		55		280		0.1964285714		110		1				30		80		423		32		455		0.0703296703		0.8484848485

										40		70		177		86		263		0.3269961977								40		70		385		72		457		0.1575492341		0.796969697

										50		60		0		0		0										50		60		0		0		0				0

										60		50		62		128		190										60		50		69		267		336				0.5757575758

										70		40		83		232		315		0.7365079365								70		40		42		461		503		0.916500994		0.9545454545

										80		30		52		277		329		0.8419452888								80		30		28		461		489		0.9427402863		0.996969697

										90		20		55		270		325		0.8307692308								90		20		24		468		492		0.9512195122		0.9848484848

				#70		#71		200 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		Norm. pulse

										20		95		263		55		318		0.1729559748		0		0				20		95		395		59		454		0.1299559471		0.7066666667

										30		85		374		42		416		0.1009615385		115		1				30		85		547		20		567		0.0352733686		0.9244444444

										40		75		315		76		391		0.1943734015								40		75		550		38		588		0.0646258503		0.8688888889

										50		65		121		55		176		0.3125								50		65		204		58		262		0.2213740458		0.3911111111

										60		55		48		50		98		0.5102040816								60		55		59		83		142		0.5845070423		0.2177777778

										70		45		114		253		367		0.689373297								70		45		66		499		565		0.8831858407		0.8155555556

										80		35		76		333		409		0.8141809291								80		35		38		561		599		0.9365609349		0.9088888889

										90		25		66		381		447		0.8523489933								90		25		34		513		547		0.9378427788		0.9933333333

				#120		#121		200 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		Norm. pulse

										20		100		346		121		467		0.2591006424		0		0				20		100		377		135		512		0.263671875		0.6867647059

										30		90		616		59		675		0.0874074074		115		1				30		90		682		48		730		0.0657534247		0.9926470588

										40		80		616		62		678		0.0914454277								40		80		665		52		717		0.0725244073		0.9970588235

										50		70		308		55		363		0.1515151515								50		70		385		66		451		0.1463414634		0.7117647059

										60		60		59		59		118		0.5								60		60		66		66		132		0.5		0.231372549

										70		50		90		360		450		0.8								70		50		86		450		536		0.8395522388		0.8823529412

										80		40		59		450		509		0.884086444								80		40		42		520		562		0.9252669039		0.9980392157

										90		30		38		468		506		0.9249011858								90		30		28		523		551		0.9491833031		0.9921568627

				Sample of metal strip scan

		#10		#10		Amplitude		Norm. ampl.

		25.5		0		491		0.982

		26		5		376		0.752

		26.5		10		173		0.346

		27.5		20		0		0

		28		25		0		0

		28.5		30		0		0

		29.5		40		108.6		0.2172

		30		45		310		0.62

		30.5		50		472		0.944

		Strip		#90		#91		200 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		Pulse Left		Pulse Right		Pulse sum		h

										38		30		87.5		329		38		367		0.1035422343		0		0				436		14		450		0.0311111111

										39		40		77.5		281		69		350		0.1971428571		117.5		1				433		25		458		0.0545851528

										40		50		67.5		142		83		225		0.3688888889								235		76		311		0.2443729904

										41		60		57.5		52		86		138		0.6231884058								38		136		174		0.7816091954

										42		70		47.5		94		274		368		0.7445652174								48		485		533		0.9099437148

										43		80		37.5		48		385		433		0.8891454965								0		526		526		1

										44		90		27.5		38		402		440		0.9136363636								0		523		523		1

		Strip #		150 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				200 V		Pulse Left		Pulse Right		Pulse sum		h		400 V		Pulse Left		Pulse Right		Pulse sum		h

		100				24		30		85		276		71		347		0.204610951		0		0				405		25		430		0.0581395349				509		24		533		0.0450281426

		101				25		40		75		233		104		337		0.3086053412		115		1				388		74		462		0.1601731602				516		38		554		0.0685920578

						26		50		65		91		57		148		0.3851351351								142		54		196		0.2755102041				219		62		281		0.2206405694

						27		60		55		51		67		118		0.5677966102								64		101		165		0.6121212121				67		148		215		0.688372093

						28		70		45		121		202		323		0.6253869969								111		317		428		0.7406542056				61		476		537		0.886405959

						29		80		35		91		250		341		0.7331378299								71		385		456		0.8442982456				37		496		533		0.9305816135

						30		90		25		74		290		364		0.7967032967								57		425		482		0.8817427386				34		519		553		0.938517179

		New 0 position

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		Ideal				200 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		400 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h

				120		22.2		118				25		28		90		32		0		333		23		50		0		0		383		0.1305483029		0		0				25		250		-250		13		0		396		-13		35		0		0		431		0.0812064965				25		250		-250		10		0		469		-23		32		0		0		501		0.0638722555

				121		34						26		38		80		32		0		314		30		54		0		0		368		0.1467391304		118		1				26		260		-260		23		0		424		-13		36		0		0		460		0.0782608696				26		260		-260		0		0		469		-27		30		0		0		499		0.0601202405

												27		48		70		27		0		259		54		86		0		13		345		0.2492753623								27		270		-270		0		0		387		23		68		0		0		455		0.1494505495				27		270		-270		0		0		492		-23		63		0		0		555		0.1135135135

												28		58		60		0		0		41		0		27		0		0		68		0.3970588235								28		280		-280		0		0		59		0		41		0		0		100		0.41				28		280		-280		0		0		77		0		45		0		0		122		0.368852459

		#121		Ampitude		#121		Amplitude				29		68		50		18		0		68		41		132		0		32		200		0.66								29		290		-290		0		0		59		32		178		0		0		237		0.7510548523				29		290		-290		0		0		73		18		273		0		32		346		0.789017341

		20		483		32		451				30		78		40		18		0		86		68		264		0		27		350		0.7542857143								30		300		-300		0		0		50		10		506		-18		0		556		0.9100719424				30		300		-300		0		0		50		10		506		-18		0		556		0.9100719424

		21		86		33		54				31		88		30		0				63		50		342		0		32		405		0.8444444444								31		310		-310		0		0		41		18		428		-23		18		469		0.9125799574				31		310		-310		0		0		36		0		496		-23		18		532		0.9323308271

		22		45		34		32

		23		23		35		45				Estimated strip width:

		24		154		36		387				35 µm

		25		470





Irradiated (6)

		0		0		0

		0		0		0

		0		0

		0		0

		0		0

		0		0



200 Volts

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #650-651

0

0

0

0

0

0

0

0

0

0

0

0

0

0



Irr. (7)

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D24		D25		Pulse 24		Pulse 25		Pulse sum		h		ideal				400 V		Local coord.		D24		D25		Pulse 24		Pulse 25		Pulse sum		h

				24		22.2		120				24.5		23		97		589		98		687		0.1426491994		0		0				24.5		23		97		841		0		841		0

				25		34.2						25.5		33		87		663		135		798		0.1691729323		120		1				25.5		33		87		892		0		892		0

												26.5		43		77		565		140		705		0.1985815603								26.5		43		77		841		61		902		0.0676274945

												27.5		53		67		425		233		658		0.3541033435								27.5		53		67		715		332		1047		0.3170964661

		#24		Amplitude		#25		Amplitude				28		58		62		388		318		706		0.4504249292								28		58		62		607		514		1121		0.4585191793

		20.5		715		32		738				28.5		63		57		322		388		710		0.5464788732								28.5		63		57		402		691		1093		0.6322049405

		21		579		32.5		663				29.5		73		47		196		520		716		0.7262569832								29.5		73		47		135		888		1023		0.8680351906

		21.5		462		33		486				30.5		83		37		201		645		846		0.7624113475								30.5		83		37		140		906		1046		0.8661567878

		22		374		33.5		402				31.5		93		27		140		551		691		0.7973950796								31.5		93		27		112		850		962		0.8835758836

		22.5		340		34		336				32		98		22		112		490		602		0.8139534884								32		98		22		98		771		869		0.8872266974

		23		416		34.5		327

		23.5		551		35		378

		24		631		35.5		462

		24.5		757		36		603

						36.5		705

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D39		D40		Pulse 39		Pulse 40		Pulse sum		h		ideal				400 V		Local coord.		D39		D40		Pulse 39		Pulse 40		Pulse sum		h

				39		38.5		120				41		25		95		537		98		635		0.1543307087		0		0				41		25		95		818		0		818		0

				40		50.5						42		35		85		598		159		757		0.2100396301		120		1				42		35		85		850		0		850		0

												43		45		75		495		159		654		0.2431192661								43		45		75		780		60		840		0.0714285714

												44		55		65		378		290		668		0.4341317365								44		55		65		663		397		1060		0.3745283019

		#39		Amplitude		#40		Amplitude				45		65		55		252		411		663		0.6199095023								45		65		55		360		673		1033		0.651500484

		37.5		446		49.5		474				46		75		45		168		547		715		0.765034965								46		75		45		126		892		1018		0.8762278978

		38.5		265		50.5		339				47		85		35		173		659		832		0.7920673077								47		85		35		103		897		1000		0.897

		39		274		51		367				48		95		25		135		603		738		0.8170731707								48		95		25		89		836		925		0.9037837838

		39.5		395		51.5		442				49		105		15		84		406		490		0.8285714286								49		105		15		84		682		766		0.8903394256

		40.5		553		52.5		679				50		115		5		70		276		346		0.7976878613								50		115		5		65		462		527		0.8766603416

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D64		D65		Pulse 64		Pulse 65		Pulse sum		h		ideal				400 V		Local coord.		D64		D65		Pulse 64		Pulse 65		Pulse sum		h

				64		38		118				39.5		15		103		509		84		593		0.1416526138		0		0				39.5		15		103		761		0		761		0

				65		49.8						40.5		25		93		738		135		873		0.1546391753		120		1				40.5		25		93		836		0		836		0

												41.5		35		83		715		135		850		0.1588235294								41.5		35		83		888		0		888		0

												42.5		45		73		593		206		799		0.2578222778								42.5		45		73		803		177		980		0.5581632653

		#64		Amplitude		#65		Amplitude				43.5		55		63		472		383		855		0.4479532164								43.5		55		63		654		547		1201		0.6378018318

		37		458		48.5		537				44.5		65		53		313		530		843		0.6287069988								44.5		65		53		318		766		1084		0.7066420664

		38		322		49.5		322				45.5		75		43		219		696		915		0.7606557377								45.5		75		43		126		902		1028		0.8774319066

		38.5		472		50		332				46.5		85		33		224		748		972		0.7695473251								46.5		85		33		131		916		1047		0.8748806113

		39		579		50.5		411				47.5		95		23		135		589		724		0.8135359116								47.5		95		23		98		813		911		0.8924259056

		40		813		51.5		705				48		100		18		121		514		635		0.8094488189								48		100		18		107		733		840		0.8726190476

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D85		D86		Pulse 85		Pulse 86		Pulse sum		h		ideal				400 V		Local coord.		D85		D86		Pulse 85		Pulse 86		Pulse sum		h		h-1

				85		46.5		120				47		5		115		472		89		561		0.8413547237		0		0				47		5		115		551		65		616		0.1055194805		0.8944805195

				86		58.5						48		15		105		705		89		794		0.8879093199		120		1				48		15		105		813		51		864		0.0590277778		0.9409722222

												49		25		95		864		117		981		0.880733945								49		25		95		920		0		920		0		1

												50		35		85		874		187		1061		0.8237511781								50		35		85		911		70		981		0.0713557594		0.9286442406

		#85		Amplitude		#86		Amplitude				51		45		75		799		201		1000		0.799								51		45		75		897		107		1004		0.1065737052		0.8934262948

		45		654		57		663				52		55		65		645		486		1131		0.5702917772								52		55		65		780		589		1369		0.4302410519		0.5697589481

		46		462		58		504				53		65		55		430		705		1135		0.3788546256								53		65		55		453		794		1247		0.6367281476		0.3632718524

		46.5		486		58.5		477				54		75		45		248		813		1061		0.2337417531								54		75		45		126		874		1000		0.874		0.126

		47		598		59		598				55		85		35		266		860		1126		0.2362344583								55		85		35		131		883		1014		0.8708086785		0.1291913215

		48		775		60		813				56		95		25		149		771		920		0.1619565217								56		95		25		107		845		952		0.887605042		0.112394958

												57		105		15		112		654		766		0.1462140992								57		105		15		93		705		798		0.8834586466		0.1165413534

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D85		D86		Pulse 85		Pulse 86		Pulse sum		h		ideal				Local coord.		D85		D86		Pulse 85		Pulse 86		Pulse sum		h

				120		25.5		120				27.5		20		100		472		89		561		0.1586452763		0		0		27.5		20		100		845		210		1055		0.1990521327

				121		37.5						28.5		30		90		705		89		794		0.1120906801		120		1		28.5		30		90		892		173		1065		0.1624413146

												29.5		40		80		864		117		981		0.119266055						29.5		40		80		916		177		1093		0.1619396157

												30.5		50		70		874		187		1061		0.1762488219						30.5		50		70		850		570		1420		0.4014084507

		#120		Amplitude		#121		Amplitude				31.5		60		60		799		201		1000		0.201						31.5		60		60		640		827		1467		0.5637355147

		24.5		719		36		794				32.5		70		50		645		486		1131		0.4297082228						32.5		70		50		187		900		1087		0.8279668813

		25.5		369		37		519				33.5		80		40		430		705		1135		0.6211453744						33.5		80		40		112		920		1032		0.8914728682

		26		561		37.5		481				34.5		90		30		248		813		1061		0.7662582469						34.5		90		30		177		911		1088		0.8373161765

		26.5		794		38		757				35.5		100		20		266		860		1126		0.7637655417						35.5		100		20		154		855		1009		0.8473736373

		27.5		902		39		888				36.5		110		10		635		771		1406		0.5483641536						36.5		110		10		168		673		841		0.8002378121

				Strip numbers																																																														Normalised

		Bias		24		25		total		39		40		total		64		65		total		84		85		86		87		total		total		64		65		total		99		100		total		73		74		total		120		121		total										1		2		3		4		5		6		7

		50		173		56		229		32		140		172		79		187		266		51		191		149		42		433		340		139		354		493		163		189		352		200		88		288		453		173		626										0.257751938		0.2470978441		0.2458423717		0.3912698413		0.2693190513		0.24		0.5424610052

		100		257		61		318		70		257		327		159		378		537		70		330		257		56		713		587		232		604		836		316		373		689		421		201		622		719		383		1102										0.5203488372		0.4262023217		0.424439624		0.6634920635		0.5271614384		0.5183333333		0.9549393414

		150		402		93		495		117		411		528		210		532		742		100		514		402		75		1091		916		378		796		1174		426		516		942		593		294		887		934		229		1163										0.7189922481		0.6666666667		0.6623282719		0.9317460317		0.7207345065		0.7391666667		1.0077989601

		200		589		98		687		131		589		720		219		719		938		75		659		467		47		1248		1126		378		889		1267		479		612		1091		779		255		1034		953		223		1176										0.9089147287		0.7744610282		0.8141720897		1.0055555556		0.8347360367		0.8616666667		1.0190641248

		250		748		0		748		112		743		855		191		818		1009		60		743		519		32		1354		1262		308		941		1249		506		699		1205		950		245		1195		948		238		1186										0.9777131783		0.8606965174		0.9125090383		0.9912698413		0.921958684		0.9958333333		1.027729636

		300		775		0		775		98		813		911		159		892		1051		51		771		551				1373		1322		250		994		1244		516		742		1258		1000		167		1167		948		215		1163										1.0184108527		0.9137645108		0.9558929863		0.9873015873		0.9625095639		0.9725		1.0077989601

		350		803		0		803		89		841		930		145		888		1033		37		743		547				1327		1290		221		1017		1238		512		742		1254		1053		167		1220		939		206		1145										1.0009689922		0.9071310116		0.9327548807		0.9825396825		0.9594491201		1.0166666667		0.9922010399

		400		841		0		841		89		892		981		140		888		1028		32		743		542				1317		1285		221		1029		1250		516		745		1261		1063		176		1239		950		238		1188										0.996124031		0.8988391376		0.9291395517		0.9920634921		0.9648048967		1.0325		1.0294627383

		500		860		0		860		84		850		934		154		878		1032		47		780		603				1430		1383		220		1040		1260		522		785		1307		1063		137		1200		944		210		1154										1		1		1		1		1		1		1

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D64		D65		Pulse 64		Pulse 65		Pulse sum		h		ideal				Local coord.		D64		D65		Pulse 64		Pulse 65		Pulse sum		h

				64		41		120				43		20		100		901		198		1099		0.1801637853		0		0		43		20		100		994		157		1151		0.1364031277

				65		53						44		30		90		930		343		1273		0.2694422624		120		1		44		30		90		1000		190		1190		0.1596638655

												45		40		80		901		337		1238		0.2722132472						45		40		80		970		180		1150		0.1565217391

												46		50		70		773		529		1302		0.4062980031						46		50		70		901		575		1476		0.3895663957

		#64		Amplitude		#65		Amplitude				47		60		60		616		755		1371		0.5506929249						47		60		60		762		883		1645		0.5367781155

		39		889		51		906				48		70		50		424		860		1284		0.6697819315						48		70		50		256		947		1203		0.78719867

		40		703		52		726				49		80		40		420		959		1379		0.6954314721						49		80		40		186		988		1174		0.8415672913

		40.5		453		52.5		465				50		90		30		325		912		1237		0.7372675829						50		90		30		192		994		1186		0.8381112985

		41		395		53		424				51		100		20		227		831		1058		0.7854442344						51		100		20		180		924		1104		0.8369565217

		42		837		54		813

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D99		D100		Pulse 99		Pulse 100		Pulse sum		h		ideal				Local coord.		D99		D100		Pulse 99		Pulse 100		Pulse sum		h

				99		4		120				6		20		100		872		86		958		0.0897703549		0		0		6		20		100		908		0		908		0

				100		16						7		30		90		902		140		1042		0.1343570058		120		1		7		30		90		942		23		965		0.0238341969

												8		40		80		855		133		988		0.1346153846						8		40		80		918		43		961		0.0447450572

												9		50		70		722		100		822		0.1216545012						9		50		70		815		403		1218		0.3308702791

		#99		Amplitude		#100		Amplitude				10		60		60		532		652		1184		0.5506756757						10		60		60		549		745		1294		0.5757341577

		2		832		14		772				11		70		50		270		785		1055		0.7440758294						11		70		50		130		892		1022		0.8727984344

		3		691		15		562				12		80		40		226		888		1114		0.7971274686						12		80		40		86		945		1031		0.916585839

		3.5		452		15.5		393				13		90		30		206		878		1084		0.8099630996						13		90		30		93		905		998		0.9068136273

		4		393		16		432				14		100		20		180		749		929		0.8062432723						14		100		20		165		815		980		0.8316326531

		5		729		17		749

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D73		D74		Pulse 73		Pulse 74		Pulse sum		h		ideal				Local coord.		D73		D74		Pulse 73		Pulse 74		Pulse sum		h

				73		5.5		120				6		5		115		384		384		768		0.5		0		0		6		5		115		503		503		1006		0.5

				74		17.5						7		15		105		648		113		761		0.1484888305		120		1		7		15		105		761		25		786		0.0318066158

												8		25		95		799		138		937		0.1472785486						8		25		95		899		22		921		0.0238870793

												9		35		85		818		157		975		0.161025641						9		35		85		950		16		966		0.016563147

		#73		Amplitude		#74		Amplitude				10		45		75		657		223		880		0.2534090909						10		45		75		872		111		983		0.1129196338

		3.5		767		15.5		755				11		55		65		555		456		1011		0.4510385757						11		55		65		761		531		1292		0.4109907121

		4.5		569		16.5		549				12		65		55		353		603		956		0.6307531381						12		65		55		317		797		1114		0.7154398564

		5		368		17		362				13		75		45		270		837		1107		0.756097561						13		75		45		108		1093		1201		0.9100749376

		5.5		299		17.5		396				14		85		35		309		936		1245		0.7518072289						14		85		35		108		1112		1220		0.9114754098

		6.5		613		18		679				15		95		25		230		916		1146		0.7993019197						15		95		25		83		1044		1127		0.92635315

		Strip #		10		11		Total		30		31		Total		50		51		Total		70		71		Total		90		91		Total		110		111		Total		Normalised		10		30		50		70		90		110

		50		67		15		82		38		8		46		36		15		51		50		10		60		74		18		92		616		180		796		50		0.1876430206		0.1916666667		0.2015810277		0.1754385965		0.2105263158		0.6683459278

		100		119		37		156		66		11		77		60		27		87		79		26		105		126		33		159		831		331		1162		100		0.356979405		0.3208333333		0.3438735178		0.3070175439		0.3638443936		0.9756507137

		150		158		43		201		86		23		109		85		27		112		116		34		150		208		54		262		906		285		1191		150		0.4599542334		0.4541666667		0.442687747		0.4385964912		0.5995423341		1

		200		262		34		296		138		18		156		136		27		163		186		30		216		324		0		324		936		198		1134		200		0.6773455378		0.65		0.6442687747		0.6315789474		0.7414187643		0.9521410579

		250		353		0		353		186		0		186		186		0		186		255		0		255		371		0		371		941		157		1098		250		0.8077803204		0.775		0.7351778656		0.7456140351		0.8489702517		0.9219143577

		300		398		0		398		213		0		213		215		0		215		282		0		282		391		0		391		941		168		1109		300		0.9107551487		0.8875		0.8498023715		0.8245614035		0.8947368421		0.9311502939

		350		429		0		429		231		0		231		225		0		225		295		0		295		417		0		417		953		128		1081		350		0.9816933638		0.9625		0.8893280632		0.8625730994		0.9542334096		0.9076406381

		400		429		0		429		234		0		234		245		0		245		312		0		312		429		0		429		970		163		1133		400		0.9816933638		0.975		0.9683794466		0.9122807018		0.9816933638		0.9513014274

		500		437		0		437		240		0		240		253		0		253		342		0		342		437		0		437		965		157		1122		500		1		1		1		1		1		0.9420654912

		Norm. factor						409.2						220.8						224.8						297.2						409						1108.6

																																																																																																		Routing/Total

																																																																														Strip 120-121				Pos. 39						Strip 120-121				Pos. 41.5

		Strip #		10		11		Total		30		31		Total		50		51		Total		70		71		Total		90		91		Total		110		111		Total		120		int 1		121		int 2		Total						Normalised		10		30		50		70		90		110		120										120		int 1		121		int 2				120		int 1		121		int 2				Rout. 1		Tot.1		Rou. 2		Tot. 2		Rout. 3		Tot. 3		Ratio 1		Ratio 2		Ratio 3

		50		41		85		126		24		58		82		0		80		80		15		76		91														38		21		104		-10		142						50		0.2016		0.2		0.1500938086		0.1529411765		0		0		0.2610294118								50		52		10		24		-10				28		20		70		-10				21		142		10		86		20		118		0.1478873239		0.1162790698		0.1694915254

		100		63		140		203		22		84		106		31		135		166		38		142		180														62		34		177		-21		239						100		0.3248		0.2585365854		0.3114446529		0.3025210084		0		0		0.4393382353								100		97		24		48		-17				66		38		135		-10				34		239		24		169		38		239		0.1422594142		0.1420118343		0.1589958159

		150		92		210		302		38		133		171		52		197		249		48		211		259														55		24		385		-31		440						150		0.4832		0.4170731707		0.4671669794		0.4352941176		0		0		0.8088235294								150		222		17		52		-17				66		38		284		-20				24		440		17		291		38		388		0.0545454545		0.058419244		0.0979381443

		200		81		329		410		39		207		246		45		291		336		48		325		373														48		15		454		-24		502						200		0.656		0.6		0.6303939962		0.6268907563		0		0		0.9227941176								200		287		0		55		0				55		21		395		-30				15		502		0		342		21		471		0.0298804781		0		0.0445859873

		250		59		443		502		32		300		332		34		398		432		24		429		453														45		0		468		-34		513						250		0.8032		0.8097560976		0.8105065666		0.7613445378		0		0		0.9430147059								250		308		-24		55		0				42		0		436		-45				0		513		-24		339		0		478		0		-0.0707964602		0

		300		59		510		569		30		321		351		35		433		468		28		495		523														34		-10		478		-34		512						300		0.9104		0.856097561		0.8780487805		0.8789915966		0		0		0.9411764706								300		308		-17		62		0				55		0		454		-42				-10		512		-17		353		0		509		-0.01953125		-0.0481586402		0

		350		50		530		580		23		342		365		31		454		485		30		516		546														34		-17		495		-34		529						350		0.928		0.8902439024		0.9099437148		0.9176470588		0		0		0.9724264706								350		315		-25		62		0				48		0		478		-45				-17		529		-25		352		0		526		-0.0321361059		-0.0710227273		0

		400		45		561		606		10		370		380		24		468		492		34		513		547														34		-17		502		-34		536						400		0.9696		0.9268292683		0.9230769231		0.9193277311		0		0		0.9852941176								400		315		-28		55		0				42		0		485		-38				-17		536		-28		342		0		527		-0.0317164179		-0.081871345		0

		500		45		580		625		10		400		410		10		523		533		34		561		595						1						1		34		-17		510		-34		544						500		1		1		1		1		1		1		1								500		340		-31		55		0				52		0		520		-38				-17		544		-31		364		0		572		-0.03125		-0.0851648352		0

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal														50		0.1529411765

				10		24		110				26		20		90		239		62		301		0.2059800664		0		0				26		20		90		409		59		468		0.1260683761		0		0												100		0.3025210084

				11		35						27		30		80		350		76		426		0.1784037559		110		1				27		30		80		582		0		582		0		110		1												150		0.4352941176

												28		40		70		298		104		402		0.2587064677								28		40		70		520		52		572		0.0909090909																200		0.6168907563

												29		50		60		149		83		232		0.3577586207								29		50		60		270		76		346		0.2196531792																250		0.7513445378

		#10		Amplitude		#11		Amplitude				30		60		50		90		152		242		0.6280991736								30		60		50		100		281		381		0.7375328084																300		0.8789915966

		25.5		491		37		343				31		70		40		118		291		409		0.7114914425								31		70		40		80		544		624		0.8717948718																350		0.9276470588

		26		376		38		0				32		80		30		94		357		451		0.7915742794								32		80		30		55		564		619		0.9111470113																400		0.9793277311

		26.5		173		39		0				33		90		20		80		277		357		0.7759103641								33		90		20		76		447		523		0.8546845124																500		1.03

		27.5		0		40		0

		28		0		41		406						25		0.1354679803																						25		0

		28.5		0										35		0.2190721649																						35		0

		29.5		108.6										45		0.3144329897																						45		0

		30		310										48		0.3333333333																						48		0.1697247706

		30.5		472										65		0.6071428571																						65		0.7439759036

														75		0.7055702918																						75		0.8892794376

														85		0.7814726841																						85		1

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h

				30		22		110				24		20		90		114		61		175		0.3485714286		0		0				24		20		90		195		58		253		0.2292490119

				31		33						25		30		80		168		47		215		0.2186046512		110		1				25		30		80		309		0		309		0

												26		40		70		160		75		235		0.3191489362								26		40		70		328		0		328		0

												27		50		60		95		73		168		0.4345238095								27		50		60		161		58		219		0.2648401826

		#30		Amplitude		#31		Amplitude				28		60		50		39		65		104		0.625								28		60		50		56		91		147		0.619047619

		18.5		210		31		280				29		70		40		58		147		205		0.7170731707								29		70		40		51		303		354		0.8559322034

		19.5		163		32		67				30		80		30		52		203		255		0.7960784314								30		80		30		5		372		377		0.9867374005

		20.5		91		33		47				31		90		20		42		198		240		0.825								31		90		20		10		367		377		0.9734748011

		21.5		37		34		49

		22.5		39		35		212

		23.5		137

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h

				50		49		110				51		20		90		253		45		298		0.1510067114		0		0				51		20		90		429		0		429		0

				51		60						52		30		80		225		55		280		0.1964285714		110		1				52		30		80		423		0		423		0

												53		40		70		177		86		263		0.3269961977								53		40		70		385		52		437		0.118993135

												54		50		60		0		0		0		0								54		50		60		0		0		0		0

		#50		Amplitude		#51		Amplitude				55		60		50		62		128		190		0.6736842105								55		60		50		69		267		336		0.7946428571

		46.5		320		57.5		385				56		70		40		83		232		315		0.7365079365								56		70		40		42		461		503		0.916500994

		47.5		42		58.5		50				57		80		30		52		277		329		0.8419452888								57		80		30		28		461		489		0.9427402863

		48.5		0		59.5		0				58		90		20		55		270		325		0.8307692308								58		90		20		24		468		492		0.9512195122

		49.5		0		60.5		30

		50.5		229		61.5		104						20										0.1510067114										20										0

						62.5		385						30										0.1964285714										30										0

														40										0.3269961977										40										0.118993135

														60										0.6736842105										60										0.7946428571

														70										0.7365079365										70										0.916500994

														80										0.8419452888										80										0.9427402863

														90										0.8307692308										90										0.9512195122

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h

				70		38		115				40		20		95		263		55		318		0.1729559748		0		0				40		20		95		395		59		454		0.1299559471

				71		49.5						41		30		85		374		42		416		0.1009615385		110		1				41		30		85		547		0		547		0

												42		40		75		315		76		391		0.1943734015								42		40		75		550		0		550		0

												43		50		65		121		55		176		0.3125								43		50		65		204		42		246		0.1707317073

		#70		Amplitude		#71		Amplitude				44		60		55		48		50		98		0.5102040816								44		60		55		59		83		142		0.5845070423

		36		429		47.5		190				45		70		45		114		253		367		0.689373297								45		70		45		66		499		565		0.8831858407

		37		52		48.5		31				46		80		35		76		333		409		0.8141809291								46		80		35		38		561		599		0.9365609349

		38		0		49.5		0				47		90		25		66		381		447		0.8523489933								47		90		25		34		513		547		0.9378427788

		39		38		50.5		76

		40		412		51.5		423

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h

				120		34		120				36		20		100		346		121		467		0.2591006424		0		0				36		20		100		377		135		512		0.263671875

				121		46						37		30		90		616		59		675		0.0874074074		110		1				37		30		90		682		48		730		0.0657534247

												38		40		80		616		62		678		0.0914454277								38		40		80		665		52		717		0.0725244073

												39		50		70		308		55		363		0.1515151515								39		50		70		385		66		451		0.1463414634

		#120		Amplitude		#121		Amplitude				40		60		60		59		59		118		0.5								40		60		60		66		66		132		0.5

		32.5		391		44		513				41		70		50		90		360		450		0.8								41		70		50		86		450		536		0.8395522388

		33.5		76		45		86				42		80		40		59		450		509		0.884086444								42		80		40		42		520		562		0.9252669039

		34.5		59		46		69				43		90		30		38		468		506		0.9249011858								43		90		30		28		523		551		0.9491833031

		35.5		142		47		104

		36.5		606		48		475

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h

				90		35		117.5				38		158		-38		329		38		367		0.1035422343		0		0				38		158		-38		436		0		436		0

				91		46.75						39		168		-48		281		69		350		0.1971428571		117.5		1				39		168		-48		433		0		433		0

												40		178		-58		142		83		225		0.3688888889								40		178		-58		235		76		311		0.2443729904

												41		188		-68		52		86		138		0.6231884058								41		188		-68		38		136		174		0.7816091954

		#70		Ampitude		#71		Amplitude				42		198		-78		94		274		368		0.7445652174								42		198		-78		48		485		533		0.9099437148

												43		208		-88		48		385		433		0.8891454965								43		208		-88		0		526		526		1

												44		218		-98		38		402		440		0.9136363636								44		218		-98		0		523		523		1

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h

				90		35		117.5				38		30		87.5		329		38		367		0.1035422343		0		0				38		30		87.5		436		0		436		0

				91		46.75						39		40		77.5		281		69		350		0.1971428571		117.5		1				39		40		77.5		433		0		433		0

												40		50		67.5		142		83		225		0.3688888889								40		50		67.5		235		76		311		0.2443729904

												41		60		57.5		52		86		138		0.6231884058								41		60		57.5		38		136		174		0.7816091954

		#90		Ampitude		#91		Amplitude				42		70		47.5		94		274		368		0.7445652174								42		70		47.5		48		485		533		0.9099437148

		33		346		45		263				43		80		37.5		48		385		433		0.8891454965								43		80		37.5		0		526		526		1

		33.5		160		45.5		94				44		90		27.5		38		402		440		0.9136363636								44		90		27.5		0		523		523		1

		34		55		46		42

		34.5		10		46.5		28

		35		10		47		24

		35.5		15		47.5		59

		36		59		48		138

		36.5		184		49		523

		37		364

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				200 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		400 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h

				100		21		115				24		30		85		276		71		347		0.204610951		0		0				24		30		85		405		0		405		0				24		30		85		509		0		509		0

				101		32.5						25		40		75		233		104		337		0.3086053412		115		1				25		40		75		388		74		462		0.1601731602				25		40		75		516		0		516		0

												26		50		65		91		57		148		0.3851351351								26		50		65		142		54		196		0.2755102041				26		50		65		219		54		273		0.1978021978

												27		60		55		51		67		118		0.5677966102								27		60		55		64		101		165		0.6121212121				27		60		55		67		148		215		0.688372093

		#100		Ampitude		#101		Amplitude				28		70		45		121		202		323		0.6253869969								28		70		45		111		317		428		0.7406542056				28		70		45		61		476		537		0.886405959

		18.5		408		31		196				29		80		35		91		250		341		0.7331378299								29		80		35		71		385		456		0.8442982456				29		80		35		37		496		533		0.9305816135

		19.5		108		32		50				30		90		25		74		290		364		0.7967032967								30		90		25		57		425		482		0.8817427386				30		90		25		34		519		553		0.938517179

		20.5		40		32.5		30

		21.5		35		33		37

		22.5		105		33.5		50

		23.5		445		34		101

						35		452

																12		23		34		-10		-18		-23		-27		-27		-27

																																				New												Other position

		Strip #		70		71		Total		90		91		Total		99		100		101		102		Total		Total		Normalised		70		90		100		120		Int 2		121		Int 3		122		Total		119		120		Int 2		121		Total

		50		31		78		109		31		83		114		13		30		101		13		157		131				0.2060491493		0.2054054054		0.2364620939		45		27		100		25		32		145		27		91		18		41		132

		100		53		125		178		45		142		187		20		67		182		33		302		249				0.3364839319		0.3369369369		0.4494584838		68		41		178		10		30		246		30		168		35		68		236

		150		58		180		238		66		232		298		23		74		290		45		432		364				0.449905482		0.5369369369		0.6570397112		63		50		342		0		30		405		35		314		35		54		368

		200		73		290		363		48		374		422		17		57		425		15		514		482				0.6862003781		0.7603603604		0.8700361011		50		27		446		-10		30		496		27		405		0		41		446

		250		51		388		439		31		478		509		0		51		472		5		528		523				0.8298676749		0.9171171171		0.9440433213		41		15		490		-18		23		531		15		433		-18		32		465

		300		38		462		500		17		501		518		0		40		500		0		540		540				0.9451795841		0.9333333333		0.9747292419		36		0		501		-27		18		537		10		446		-20		41		487

		350		33		485		518		20		535		555		0		34		513		0		547		547				0.9792060491		1		0.9873646209		32		0		510		-23		18		542		10		460		-20		36		496

		400		31		498		529		20		535		555		0		34		520		0		554		554				1		1		1		36		0		519		-23		18		555		10		474		-23		36		510

		500		30		540		570		0		578		578		0		34		540		0		574		574				1.0775047259		1.0414414414		1.036101083		32		0		533		-23		18		565		10		483		-23		36		519

		Futher Measurements as a function of the r-position

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		Ideal				200 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		400 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h

				120		19.8		61				21		12		49		47.12		28.88		171.76		28.88		80.56		28.88		41.8		252.32		0.3192771084		0		0				21		12		49		57		36.48		262.2		47.12		117.04		31.16		44.08		379.24		0.3086172345				21		12		49		28.88		0		428.64		-31.16		119.32		0		31.16		547.96		0.2177531207

				121		25.9						22		22		39		44		27		140		27		68		10		31		208		0.3269230769		61		1				22		22		39		62		38		215		51		106		27		31		321		0.3302180685				22		22		39		48		0		431		-17		126		0		10		557		0.2262118492

												23		32		29		0		0		24		0		24		0		0		48		0.5								23		32		29		0		0		34		0		34		0		0		68		0.5				23		32		29		0		0		58		0		65		0		0		123		0.5284552846

												24		42		19		34		15		105		41		212		24		48		317		0.6687697161								24		42		19		51		27		157		85		335		34		62		492		0.6808943089				24		42		19		31		0		130		21		619		-24		34		749		0.826435247

		#121		Ampitude		#121		Amplitude				25		52		9		38		17		89		31		205		12		41		294		0.6972789116								25		52		9		51		23		128		57		341		15		44		469		0.7270788913				25		52		9		51		0		131		10		560		-30		27		691		0.8104196816

		19		398		25		351

		19.5		58		25.5		104				Estimated strip width:								Routing line		#120		#121

		20		72		26		47				16 µm								25.6		447		85		0.9933333333		0.1888888889		532		0.7093333333

		20.5		212		26.5		81												26		242		68		0.5377777778		0.1511111111		310		0.4133333333

		21		489		27		368												26.2		103		31		0.2288888889		0.0688888889		134		0.1786666667

																				26.4		65		31		0.1444444444		0.0688888889		96		0.128

																				26.6		58		31		0.1288888889		0.0688888889		89		0.1186666667

																				26.8		42		40		0.0933333333		0.0888888889		82		0.1093333333

																				27		42		55		0.0933333333		0.1222222222		97		0.1293333333

																				27.2		54		154		0.12		0.3422222222		208		0.2773333333

																				27.4		71		248		0.1577777778		0.5511111111		319		0.4253333333

																				27.6		81		310		0.18		0.6888888889		391		0.5213333333

																				28		92		448		0.2044444444		0.9955555556		540		0.72

		Futher Measurements as a function of the r-position								Far end

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		Ideal				200 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		400 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h

				120		23		78				25		20		58		40		0		184		23		61		0		15		245		0.2489795918		0		0				25		20		58		33		0		255		38		76		0		18		331		0.2296072508				25		20		58		54		0		523		-10		54		0		0		577		0.0935875217

				121		30.8						26		30		48		31		0		89		24		51		0		24		140		0.3642857143		78		1				26		30		48		31		0		116		31		65		0		24		181		0.3591160221				26		30		48		31		0		263		0		78		0		0		341		0.2287390029

												27		40		38		0		0		0		0		0		0		0		0		0								27		40		38		0		0		0		0		0		0		0		0		0				27		40		38		0		0		0		0		0		0		0		0		0

												28		50		28		20		0		68		41		157		0		31		225		0.6977777778								28		50		28		0		0		99		61		222		0		34		321		0.691588785				28		50		28		0		0		78		15		492		-31		24		570		0.8631578947

		#121		Ampitude		#121		Amplitude				29		60		18		0		0		61		27		184		0		31		245		0.7510204082								29		60		18		0		0		78		48		276		0		37		354		0.7796610169				29		60		18		0		0		44		0		540		-31		13		584		0.9246575342

		21		728		29		755

		22		230		30		225				Estimated strip width:

		22.5		134		30.5		101				20 µm

		23		107		31		96

		23.5		150		31.5		161

		24		557		32		551

		25		760

										1 cm plus

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		Ideal				200 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		400 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h

				120		22.7		95				25		23		72		44		0		222		34		68		0		17		290		0.2344827586		0		0				25		23		72		41		0		366		31		68		0		24		434		0.1566820276				25		23		72		27		0		557		-24		48		0		0		605		0.079338843

				121		32.2						26		33		62		41		0		208		51		103		0		24		311		0.3311897106		95		1				26		33		62		31		0		311		68		112		0		34		423		0.2647754137				26		33		62		17		0		543		-20		78		0		0		621		0.1256038647

												27		43		52		0		0		0		0		0		0		0		0		0								27		43		52		0		0		58		0		27		0		0		85		0.3176470588				27		43		52		0		0		103		0		44		0		0		147		0.2993197279

												28		53		42		0		0		44		31		78		0		0		122		0.6393442623								28		53		42		0		0		58		24		120		0		0		178		0.6741573034				28		53		42		0		0		61		0		236		0		0		297		0.7946127946

		#121		Ampitude		#121		Amplitude				29		63		32		24		0		82		51		195		0		17		277		0.7039711191								29		63		32		27		0		112		85		328		0		34		440		0.7454545455				29		63		32		0		0		65		0		574		-37		15		639		0.8982785603

		21		464		30		523				30		73		22		0		0		71		44		242		0		31		313		0.7731629393								30		73		22		0		0		78		58		383		0		37		461		0.830802603				30		73		22		0		0		34		0		588		-40		13		622		0.9453376206

		22		58		31		171				Estimated strip width:

		22.5		37		32		41				25 µm

		23		51		32.5		51

		23.5		58		33		65

		24		178		34		499

		25		496

										1 cm plus

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		Ideal				200 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		400 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h

				120		22.7		108				25		23		85		34		0		254		29		45		0		0		299		0.1505016722		0		0				25		23		85		22		0		388		0		34		0		0		422		0.0805687204				25		23		85		11		0		474		-29		26		0		0		500		0.052

				121		33.5						26		33		75		26		0		228		41		63		0		10		291		0.2164948454		108		1				26		33		75		22		0		374		0		40		0		0		414		0.0966183575				26		33		75		0		0		474		-25		30		0		0		504		0.0595238095

												27		43		65		34		0		190		78		101		0		26		291		0.3470790378								27		43		65		26		0		317		37		82		0		12		399		0.2055137845				27		43		65		0		0		456		-22		71		0		0		527		0.1347248577

												29		63		45		12		0		85		60		157		0		29		242		0.6487603306								29		63		45		0		0		93		67		269		0		34		362		0.7430939227				29		63		45		0		0		71		18		422		-22		18		493		0.8559837728

		#121		Ampitude		#121		Amplitude				30		73		35		0		0		63		56		209		0		0		272		0.7683823529								30		73		35		0		0		48		34		366		-18		18		414		0.884057971				30		73		35		0		0		26		0		508		-26		0		534		0.9513108614

		20		470		31		508				31		83		25		0		0		50		37		247		0		26		297		0.8316498316								31		83		25		0		0		34		34		490		-30		0		524		0.9351145038				31		83		25		0		0		10		0		490		-30		0		500		0.98

		21		300		32		247

		22		40		33		41

		23		0		33.5		29				Estimated strip width:

		23.5		0		34		41				30 µm

		24		85		35		134

		25		430		36		500

		New 0 position

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		Ideal				200 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		400 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h

				120		22.2		118				25		28		90		32		0		333		23		50		0		0		383		0.1305483029		0		0				25		28		90		13		0		396		-13		35		0		0		431		0.0812064965				25		28		90		10		0		469		-23		32		0		0		501		0.0638722555

				121		34						26		38		80		32		0		314		30		54		0		0		368		0.1467391304		118		1				26		38		80		23		0		424		-13		36		0		0		460		0.0782608696				26		38		80		0		0		469		-27		30		0		0		499		0.0601202405

												27		48		70		27		0		259		54		86		0		13		345		0.2492753623								27		48		70		0		0		387		23		68		0		0		455		0.1494505495				27		48		70		0		0		492		-23		63		0		0		555		0.1135135135

												28		58		60		0		0		41		0		27		0		0		68		0.3970588235								28		58		60		0		0		59		0		41		0		0		100		0.41				28		58		60		0		0		77		0		45		0		0		122		0.368852459

		#121		Ampitude		#121		Amplitude				29		68		50		18		0		68		41		132		0		32		200		0.66								29		68		50		0		0		59		32		178		0		0		237		0.7510548523				29		68		50		0		0		73		18		273		0		32		346		0.789017341

		20		483		32		451				30		78		40		18		0		86		68		264		0		27		350		0.7542857143								30		78		40		0		0		50		10		506		-18		0		556		0.9100719424				30		78		40		0		0		50		10		506		-18		0		556		0.9100719424

		21		86		33		54				31		88		30		0				63		50		342		0		32		405		0.8444444444								31		88		30		0		0		41		18		428		-23		18		469		0.9125799574				31		88		30		0		0		36		0		496		-23		18		532		0.9323308271

		22		45		34		32

		23		23		35		45				Estimated strip width:

		24		154		36		387				35 µm

		25		470



Irradiated section n. 6



Irr. (7)

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0



Strp #99

Strip #100

Strip #101

Strip #102

Bias [V]

Collected charge [Arb. unit]

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



Non irr. (2)

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0



0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



Various final Pic.

		0

		0

		0

		0

		0

		0

		0

		0

		0



Strip #690

Bias [V]

Collected charge (arb. unit)

0

0

0

0

0

0

0

0

0



Final pic. eta

		Bias 250 V		Strip #		Centre		Distance		50 V		Local coord.		D24		D25		Pulse Left		Int		Pulse Right		Pulse sum		h		ideal				100 V		Pulse Left		Int		Pulse Right		Pulse sum		h		300 V		Pulse Left		Int		Pulse Right		Pulse sum		h				Volt scan		#6		Int.		#7		Total		Normalised				Volt scan		#59		#60		#61		Total		Normalised				Volt scan		#114		Int.		#115		Int.		#116		Total		Normalised		Rout/total		Volt #6		#6		Volt #115		#115

				6		37		115				40		30		85		104		18		40		144		0.2777777778		0		0				246				45		291		0.1546391753				333		-23		27		360		0.075				20		23		5		54		77		0.2086720867				20		32		141		54		227		0.576142132				10		63		4		159		23		32		222		0.5536159601				20		0.0649350649		10		0.1036036036

				7		48.5						41		40		75		86		32		54		140		0.3857142857		115		1				214		36		63		277		0.2274368231				323		-23		36		359		0.1002785515				40		32		18		100		132		0.3577235772				40		41		264		54		359		0.9111675127				20		80				246		23		36		326		0.812967581				40		0.1363636364		20		0.0705521472

												42		50		65		45		9		32		77		0.4155844156								128		36		63		191		0.3298429319				209		0		68		277		0.2454873646				50		36		23		123		159						50		36		287		50		373		0.9467005076				40		82				314		23		41		396		0.9875311721				50		0.1446540881		40		0.0580808081

												43.5		65		50		36		18		54		90		0.6								50		36		118		168		0.7023809524				63		13		246		309		0.7961165049				60		45		27		145		190		0.5149051491				60		36		298		40		374		0.9492385787				50		73				328		13		32		401		1				60		0.1421052632		50		0.0324189526

		#6		Amplitude		#7		Amplitude				44		70		45		45		27		77		122		0.631147541								50		36		195		245		0.7959183673				41		9		305		346		0.8815028902				80		59		41		205		264		0.7154471545				80		30		328		27		385		0.9771573604				60		68				333		13		32		401		1				80		0.1553030303		60		0.0324189526

		34.5		305		46.5		296				45		80		35		45		23		104		149		0.6979865772								45		41		241		286		0.8426573427				27		9		342		369		0.9268292683				100		45		36		259		304		0.8238482385				100		27		337		24		388		0.9847715736				80		59				342		9		32		401		1				100		0.1184210526		80		0.0224438903

		35.5		137		47.5		54				46		90		25		9		0		50		59		0.8474576271								45		36		255		300		0.85				27		4		337		364		0.9258241758				125		36		23		296		332		0.8997289973				150		24		355		21		400		1.0152284264				100		46				351				18		397		0.9900249377				125		0.0692771084		100		0

		36.5		27		48.5		0																																																		150		32		18		323		355		0.9620596206				200		23		360		20		403		1.0228426396				125		45				355				27		400		0.9975062344				150		0.0507042254		125		0

		37.5		0		49.5		36																																																		175		32		18		328		360		0.9756097561				300		20		374		0		394		1				150		45				355				27		400		0.9975062344				175		0.05		150		0

		38.5		100		50.5		232																																																		200		23		9		337		360		0.9756097561																		200		45				355				18		400		0.9975062344				200		0.025		200		0

		39.5		305		51.5		333																																																		300		23		9		346		369		1																		300		41				360				18		401		1				300		0.0243902439		300		0

		40.5		319





Final pic. eta

		0		0		0		0

		0		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0



50 Volt

100 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #774-775

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



Neff vs position

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0



0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



Eta comparison

		Bias 250 V		Strip #		Centre		Distance		25 V		Local coord.		D24		D25		Pulse Left		Pulse Right		Pulse sum		h		ideal				50 V		Pulse Left		Pulse Right		Pulse sum		h		150 V		Pulse Left		Pulse Right		Pulse sum		h								Volt scan		#60		#61		Total		Normalised

				60		43.2		113				46		28		85		212		1		213		0.0046948357		0		0				311		1		312		0.0032051282				410		1		411		0.00243309						3.1622776602		10		95		0		95		0.2467532468

				61		54.5						47		38		75		143		20		163		0.1226993865		113		1				222		1		223		0.0044843049				294		1		295		0.0033898305						5		25		191		0		191		0.4961038961

												48		48		65		68		34		102		0.3333333333								123		58		181		0.320441989				171		68		239		0.2845188285						7.0710678119		50		283		0		283		0.7350649351

												49		58		55		37		109		146		0.7465753425								37		161		198		0.8131313131				37		212		249		0.8514056225						8.6602540378		75		321		0		321		0.8337662338

		#60		Amplitude		#61		Amplitude				50		68		45		31		174		205		0.8487804878								34		259		293		0.8839590444				50		334		384		0.8697916667						10		100		352		0		352		0.9142857143

		41		308		52		386				51		78		35		24		181		205		0.8829268293								24		263		287		0.9163763066				20		345		365		0.9452054795						12.2474487139		150		372		0		372		0.9662337662

		42		171		53		253																																														14.1421356237		200		372		0		372		0.9662337662

		43		20		54		116																																														17.3205080757		300		385		0		385		1

		44		49		55		24

		45		209		56		123

		46		345		57		280

						58		389

		Bias 250 V		Strip #		Centre		Distance		20 V		Local coord.		D24		D25		#115		Int 1		#116		Int 2		#117		Pulse sum		h		ideal				50 V		#115		Int 1		#116		Int 2		#117		Pulse sum		h		200 V		#115		Int 1		#116		Int 2		#117		Pulse sum		h				Volt scan		#115		#116		Int		#117		Total		Normalised

				115		21		114				24		30		84		198		-17		27						225		0.12		0		0				317		-17		31						348		0.0890804598				403		-30		24						427		0.056206089		3.1622776602		10				116						116		0.2829268293

				116		32.4						25		40		74		178		-13		27						205		0.1317073171		114		1				311		-20		41						352		0.1164772727				396		-27		27						423		0.0638297872		5		25		31		208		-5		20		228		0.556097561

												26		50		64		126		-13		37						163		0.226993865								242		-17		61						303		0.201320132				334		-24		68						402		0.1691542289		7.0710678119		50		31		308		-7		20		328		0.8

												28		70		44		34				137				17		171		0.8011695906								48				236				24		284		0.8309859155				54		-5		317		-13		24		371		0.8544474394		8.6602540378		75		24		345		-17		20		365		0.8902439024

		#115		Amplitude		#116		Amplitude				29		80		34		24				181				17		205		0.8829268293								31				311		-10		20		342		0.9093567251				27				400		-17		17		427		0.9367681499		10		100		27		366		-20		17		383		0.9341463415

		18		400		30		389				29.5		85		29		27				195						222		0.8783783784								34				314		-15		20		348		0.9022988506				24				389		-24		17		413		0.9418886199		11.1803398875		125		24		380		-17		13		393		0.9585365854

		19		270		31		89																																																												12.2474487139		150		24		385		-20		13		398		0.9707317073

		20		34		32		28																																																												14.1421356237		200		24		389		-20		13		402		0.9804878049

		21		30		33		30																																																												17.3205080757		300		24		393		-20		17		410		1

		22		38		34		126

		23		308		35		389

		24		400





Strip 120 

		47		400		-30		380

		48		280		-20		260

		49		41		-10		21

		50		20		0		0

		51		51		10		31

		52		273		20		253

		53		410		30		390

		Beam Profile

		Coordinate		Front		Back

		0						10

		10		1.00E+13		1.05E+13		20		1.00E+13		1.05E+13

		20		4.50E+13		4.55E+13		30		4.50E+13		4.55E+13

		25		3.00E+14		2.52E+14		35		3.00E+14		2.52E+14

		30		4.10E+14		4.40E+14		40		4.10E+14		4.40E+14

		35		4.30E+14		4.60E+14		45		4.30E+14		4.60E+14

		40		3.15E+14		3.80E+14		50		3.15E+14		3.80E+14

		45		1.09E+14		2.70E+14		55		1.09E+14		2.70E+14

		55		1.20E+13		2.70E+13		65		1.20E+13		2.70E+13

		65		7.00E+11		1.20E+12		75		7.00E+11		1.20E+12





Strip 120 

		0

		0

		0

		0

		0

		0

		0



Local coord. [µm]

Amplitude [arb. Units]

Strip scan #10

0

0

0

0

0

0

0



Inner stri #623 

		55		0		55		55

		50		1		50		50

		45		2		45		45

		40		3		40		40

		35		4		35		35

		30		5		30		30

		25		6		25		25

		20		7		20		20

		15		8		15		15

		10		9		10		10

		5		10		5		5

		0		11		0		0

				12

				13

				14

				15

				16

				17

				18

				19

				20

				21

				22

				23

				24

				25

				26

				27

				28

				29

				30

				31

				32

				33

				34

				35

				36

				37

				38

				39

				40

				41

				42

				43

				44

				45

				46

				47

				48

				49

				50

				51

				52

				53

				54

				55

				56

				57

				58

				59

				60

				61

				62

				63

				64

				65

				66

				67

				68



Measured (hit strip)

Calculated

Adjacent strip

Intermediate routing line

Time [ns]

Amplitude [arb. units]

68

10

0

0

150

34.5396

16

0

245

54.05968

34

0

369

80.39936

54

0

560

114.09384

123

32

688

155.13512

154

40

826

202.94192

188

51

792

256.42064

199

74

615

314.09432

188

108

421

374.26344

176

131

199

435.16424

85

68

0

495.10184

0

0

552.54736

606.19912

655.01224

698.20408

735.24416

765.8304

789.86272

807.41192

818.68832

824.01216

823.78664

818.47312

808.57016

794.59512

777.0692

756.50528

733.3992

708.22128

681.41152

653.37656

624.48752

595.07864

565.44744

535.85544

506.53048

477.66728

449.43032

421.95584

395.35408

369.71192

345.0956

321.5524

299.11304

277.79416

257.59968

238.52336

220.54992

203.6564

187.81424

172.98976

159.14552

146.24152

134.23568

123.08456

112.74432

103.1708

94.32024

86.14968

78.61696

71.6812

65.30304

59.44456

54.06952

49.14336

44.63336

40.50856

36.7396



Pulse shape

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0



Front Al foils

Back Al foils

Position [mm]

Measured fluence [p cm-2]

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		50		50		50		50

		100		100		100		100

		150		150		150		150

		200		200		200		200

		250		250		250		250

		300		300		300		300

		350		350		350		350

		400		400		400		400

		500		500		500		500



Strip #739

Strip #740

Strip #741

Strip #742

Bias [V]

Collected charge [Arb. unit]

13

30

101

13

20

67

182

33

23

74

290

45

17

57

425

15

0

51

472

5

0

40

500

0

0

34

513

0

0

34

520

0

0

34

540

0



		50

		100

		150

		200

		250

		300

		350

		400

		500



Strip #690

Bias [V]

Collected charge (arb. unit)

0.1529411765

0.3025210084

0.4352941176

0.6168907563

0.7513445378

0.8789915966

0.9276470588

0.9793277311

1.03



		20

		30

		40

		50

		75

		100

		120

		150

		200

		300



Strip #526

Bias [Volt]

Normalised CCE

0.4393305439

0.5815899582

0.7887029289

0.8577405858

0.9330543933

0.9623430962

0.9707112971

0.989539749

1

1.0125523013



		

						760

																																																												28		0.1305483029		0.0812064965		0.0638722555				0		0

																																																												38		0.1467391304		0.0782608696		0.0601202405				118		1

																																																												48		0.2492753623		0.1494505495		0.1135135135

																																																												68		0.66		0.7510548523		0.789017341

																																																												78		0.7542857143		0.9100719424		0.9100719424

																																																												88		0.8444444444		0.9125799574		0.9323308271





		30		30		0

		40		40		117.5

		50		50

		60		60

		70		70

		80		80

		90		90



200 Volt

400 Volt

Ideal resolution

Local position [µm]

Right charge/Total charge

Scan across strips #740-741

0.1035422343

0.0311111111

0

0.1971428571

0.0545851528

1

0.3688888889

0.2443729904

0.6231884058

0.7816091954

0.7445652174

0.9099437148

0.8891454965

1

0.9136363636

1



		30		30		0

		40		40		115

		50		50

		60		60

		70		70

		80		80

		90		90



200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #710-711

0.1009615385

0.0352733686

0

0.1943734015

0.0646258503

1

0.3125

0.2213740458

0.5102040816

0.5845070423

0.689373297

0.8831858407

0.8141809291

0.9365609349

0.8523489933

0.9378427788



		30		30		0

		40		40		115

		50		50

		60		60

		70		70

		80		80

		90		90



200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #760-761

0.0874074074

0.0657534247

0

0.0914454277

0.0725244073

1

0.1515151515

0.1463414634

0.5

0.5

0.8

0.8395522388

0.884086444

0.9252669039

0.9249011858

0.9491833031



		0		30		30		30

		115		40		40		40

				50		50		50

				60		60		60

				70		70		70

				80		80		80

				90		90		90



150 Volt

200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #740-741

0

0.204610951

0.0581395349

0.0450281426

1

0.3086053412

0.1601731602

0.0685920578

0.3851351351

0.2755102041

0.2206405694

0.5677966102

0.6121212121

0.688372093

0.6253869969

0.7406542056

0.886405959

0.7331378299

0.8442982456

0.9305816135

0.7967032967

0.8817427386

0.938517179



		0		30		30

		114		40		40

				50		50

				60		60

				70		70

				80		80

				90		90



200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #670-671

0

0.2186046512

0.0462962963

1

0.3191489362

0.076056338

0.4345238095

0.2648401826

0.625

0.619047619

0.7170731707

0.8559322034

0.7960784314

0.9612403101

0.825

0.9734748011



		0		20		20

		114		30		30

				40		40

				50		50

				60		60

				70		70

				80		80

				90		90



200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #690-691

0

0.1510067114

0.0529801325

1

0.1964285714

0.0703296703

0.3269961977

0.1575492341

0.7365079365

0.916500994

0.8419452888

0.9427402863

0.8307692308

0.9512195122



		25		25		25		0

		35		35		35		110

		45		45		45

		55		55		55

		65		65		65

		75		75		75

		85		85		85



100 Volt

200 Volt

300 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #525-526

0.0461956522

0.0440414508

0.0446194226

0

0.0583941606

0.0547945205

0.0547945205

1

0.1413612565

0.1282051282

0.1113689095

0.3215859031

0.264573991

0.2821576763

0.8050541516

0.8073394495

0.7722222222

0.9130434783

0.9217391304

0.9298245614

0.9473684211

0.9523809524

0.958677686



		0		30		30		30

		117		40		40		40

				50		50		50

				70		70		70

				80		80		80

				90		90		90



150 Volt

200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #634-635

0

0.223255814

0.1133333333

0.0510204082

1

0.2783505155

0.1933333333

0.0761670762

0.3963414634

0.3048780488

0.1943005181

0.6209150327

0.6822429907

0.8157099698

0.6875

0.7979094077

0.915

0.7548076923

0.8580645161

0.9330024814



		0		24		24

		114		34		34

				44		44

				64		64

				74		74

				84		84

				89		89



100 Volt

300 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #584-585

0

0.118466899

0.0379403794

1

0.1655172414

0.0608272506

0.3421052632

0.1666666667

0.6896551724

0.8131868132

0.7597173145

0.9567430025

0.8605442177

0.9974160207

0.8586206897

0.9466666667



		0		22		22		22		22

		116		32		32		32		32

				42		42		42		42

				67		67		67		67

				72		72		72		72

				82		82		82		82

				92		92		92		92



100 Volt

150 Volt

200 Volt

300 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #604-605

0

0.2192513369

0.0848056537

0.0408719346

0.056980057

1

0.2391304348

0.1214285714

0.0681818182

0.0798898072

0.3128834356

0.2380952381

0.0920716113

0.1549295775

0.5668789809

0.6355555556

0.7975077882

0.7517482517

0.591954023

0.7173913043

0.9002695418

0.8434782609

0.6949152542

0.8137931034

0.9973045822

0.8888888889

0.7348066298

0.8436482085

0.972899729

0.9043715847



		0		23		23		23

		108		33		33		33

				43		43		43

				58		58		58

				63		63		63

				73		73		73

				78		78		78



20 Volt

50 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #544-545

0

0.1376146789

0.0422960725

0.0361445783

1

0.2018348624

0.0845070423

0.0574712644

0.3457446809

0.2341772152

0.0976253298

0.5858585859

0.7124183007

0.7627906977

0.6304347826

0.7571428571

0.820441989

0.7302325581

0.8709677419

0.9418886199

0.7735849057

0.8811594203

0.9632352941



		0		35		35		35

		110		40		40		40

				50		50		50

				65		65		65

				70		70		70

				80		80		80



50 Volt

100 Volt

300 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #566-567

0

0.125

0.0408719346

0.0407673861

1

0.1777777778

0.0702247191

0.0687203791

0.320441989

0.22

0.2033333333

0.6946107784

0.8090909091

0.7789855072

0.741697417

0.8579387187

0.8743842365

0.8580858086

0.9543010753

0.9975062344



		0		35		35		35

		120		45		45		45

				50		50		50

				65		65		65

				70		70		70

				80		80		80

				90		90		90



50 Volt

100 Volt

250 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #575-576

0

0.2876106195

0.0451807229

0.0383631714

1

0.3744292237

0.144092219

0.0939759036

0.3880597015

0.1782178218

0.1580310881

0.5730337079

0.7260273973

0.7166666667

0.591954023

0.798679868

0.8379888268

0.6559633028

0.8879781421

0.9230769231

0.7627906977

0.9076086957

0.9511002445



		0		28		28		28

		113		38		38		38

				48		48		48

				58		58		58

				68		68		68

				78		78		78



25 Volt

50 Volt

150 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #188-189

0

0.0046948357

0.0032051282

0.00243309

1

0.1226993865

0.0044843049

0.0033898305

0.3333333333

0.320441989

0.2845188285

0.7465753425

0.8131313131

0.8514056225

0.8487804878

0.8839590444

0.8697916667

0.8829268293

0.9163763066

0.9452054795



		26		26		0		26

		36		36		114		36

		46		46				46

		66		66				66

		76		76				76

		86		86				86



100 Volt

300 Volt

=

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #621-622

0.2227074236

0.0789473684

0

0.0390625

0.2735849057

0.1348684211

1

0.0606060606

0.3659793814

0.2482517483

0.1102150538

0.5828220859

0.6728110599

0.8066666667

0.6822429907

0.8066666667

0.9086021505

0.7422222222

0.8547854785

0.9583333333



		25		25		25		0

		35		35		35		110

		45		45		45

		60		60		60

		65		65		65

		75		75		75

		85		85		85



20 Volt

50 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #469-470

0.0857142857

0.1060070671

0.0411311054

0

0.0833333333

0.093385214

0.0683060109

1

0.275862069

0.1904761905

0.1333333333

0.6451612903

0.6785714286

0.7311827957

0.6774193548

0.766536965

0.8356164384

0.8444444444

0.8717948718

0.9260969977

0.8695652174

0.8646153846

0.9267734554



		30		30		0

		40		40		114

		50		50

		60		60

		70		70

		80		80



200 Volts

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #650-651

0.1784037559

0.0521172638

0

0.2587064677

0.1034482759

1

0.3577586207

0.2196531792

0.6280991736

0.7375328084

0.7114914425

0.8717948718

0.7915742794

0.9111470113



		0		30		30		30

		114		40		40		40

				50		50		50

				70		70		70

				80		80		80

				85		85		85



20 Volt

50 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #244-245

0

0.12

0.0890804598

0.056206089

1

0.1317073171

0.1164772727

0.0638297872

0.226993865

0.201320132

0.1691542289

0.8011695906

0.8309859155

0.8544474394

0.8829268293

0.9093567251

0.9367681499

0.8783783784

0.9022988506

0.9418886199



		30		30		0		30

		40		40		114		40

		50		50				50

		70		60				60

		80		70				70

		85		80				80

								90



#245 - 200 Volt

#650 - 400 Volt

#760 - 400 Volt

Local position [µm]

Right charge/Total charge

0.056206089

0.0521172638

0

0.0657534247

0.0638297872

0.1034482759

1

0.0725244073

0.1691542289

0.2196531792

0.1463414634

0.8544474394

0.7375328084

0.5

0.9367681499

0.8717948718

0.8395522388

0.9418886199

0.9111470113

0.9252669039

0.9491833031



		20		20		20		0

		30		30		30		115

		40		40		40

		50		50		50

		60		60		60

		70		70		70

		80		80		80

		90		90		90



20 Volt

50 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #388-389

0.15

0.0975609756

0.0965794769

0

0.1549295775

0.1448692153

0.1004709576

1

0.171875

0.1223529412

0.0901213172

0.2926829268

0.2888888889

0.2434077079

0.6666666667

0.6923076923

0.6511627907

0.7833333333

0.8498896247

0.9073083779

0.8295081967

0.8495049505

0.9384615385

0.8793103448

0.9160839161

0.9470699433



		35		0		35		35

		45		120		45		45

		55				55		55

		70				70		70

		75				75		75

		85				85		85

		95				95		95



20 Volt

50 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #490-491

0.1595744681

0

0.12

0.0796116505

0.2053231939

1

0.1322869955

0.0891089109

0.2967032967

0.2258064516

0.2

0.72

0.692

0.7982261641

0.8351449275

0.7985074627

0.8764302059

0.9349593496

0.8546099291

0.9174311927

0.9445585216



		0		28		28		28

		118		38		38		38

				48		48		48

				58		58		58

				68		68		68

				78		78		78

				88		88		88



150 Volt

200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #760-761

0

0.1305483029

0.0812064965

0.0638722555

1

0.1467391304

0.0782608696

0.0601202405

0.2492753623

0.1494505495

0.1135135135

0.3970588235

0.41

0.368852459

0.66

0.7510548523

0.789017341

0.7542857143

0.9100719424

0.9100719424

0.8444444444

0.9125799574

0.9323308271



		30		30		0		0

		40		40		118		0

		50		50				0

		70		70				0

		80		80				0

		85		90				0



#244 -245 (@ 200 Volt)

#634 - 635 (@ 400 Volt)

#760 - 761 (@ 400 Volt)

Local position [µm]

Right charge/Total charge

0.056206089

0.0510204082

0

0

0.0638297872

0.0761670762

1

0

0.1691542289

0.1943005181

0

0.8544474394

0.8157099698

0

0.9367681499

0.915

0

0.9418886199

0.9330024814

0



		30		30		30		0

		40		40		40		115

		50		50		50

		65		65		65

		70		70		70

		80		80		80

		90		90		90



50 Volt

100 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #774-775

0.2777777778

0.1546391753

0.075

0

0.3857142857

0.2274368231

0.1002785515

1

0.4155844156

0.3298429319

0.2454873646

0.6

0.7023809524

0.7961165049

0.631147541

0.7959183673

0.8815028902

0.6979865772

0.8426573427

0.9268292683

0.8474576271

0.85

0.9258241758



		0		0		0		0

		0		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0



150 Volt

200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		Bias		#650		#651		Pulse sum		Normalised		#670		#671		Pulse sum		Normalised		#690		#691		Pulse sum		Normalised		#710		#711		Pulse sum		Normalised		#730		#731		Pulse sum		Normalised		#740		#741		Pulse sum		Normalised		#760		#761		Pulse sum		Normalised

		[Volt]		[mV]		[mV]		[mv]				[mV]		[mV]		[mv]				[mV]		[mV]		[mv]				[mV]		[mV]		[mv]				[mV]		[mV]		[mv]				[mV]		[mV]		[mv]				[mV]		[mV]		[mv]

		50		41		85		126		0.2016		24		58		82		0.2		0		80		80		0.1500938086		31		78		109		0.1912280702		31		83		114		0.1972318339		30		101		131		0.2205387205		45		100		145		0.2566371681				104		104

		100		63		140		203		0.3248		22		84		106		0.2585365854		31		135		166		0.3114446529		53		125		178		0.3122807018		45		142		187		0.3235294118		67		182		249		0.4191919192		68		178		246		0.4353982301				177		177

		150		92		210		302		0.4832		38		133		171		0.4170731707		52		197		249		0.4671669794		58		180		238		0.4175438596		66		232		298		0.5155709343		74		290		364		0.6127946128		63		342		405		0.7168141593				385		385

		200		81		329		410		0.656		39		207		246		0.6		45		291		336		0.6303939962		73		290		363		0.6368421053		48		374		422		0.7301038062		57		425		482		0.8114478114		50		446		496		0.8778761062				454		454

		250		59		443		502		0.8032		32		300		332		0.8097560976		34		398		432		0.8105065666		51		388		439		0.7701754386		31		478		509		0.8806228374		51		472		523		0.8804713805		41		490		531		0.9398230088				468		468

		300		59		510		569		0.9104		30		321		351		0.856097561		35		433		468		0.8780487805		38		462		500		0.8771929825		17		501		518		0.8961937716		40		500		540		0.9090909091		36		501		537		0.9504424779				478		478

		350		50		530		580		0.928		23		342		365		0.8902439024		31		454		485		0.9099437148		33		485		518		0.9087719298		20		535		555		0.9602076125		34		513		547		0.9208754209		32		510		542		0.9592920354				495		495

		400		45		561		606		0.9696		10		370		380		0.9268292683		24		468		492		0.9230769231		31		498		529		0.9280701754		20		535		555		0.9602076125		34		520		554		0.9326599327		36		519		555		0.982300885				502		502

		500		45		580		625		1		10		400		410		1		10		523		533		1		30		540		570		1		0		578		578		1		34		560		594		1		32		533		565		1				510		510

																						Neff map		Vfd

																						10

																						30

																						50

																						70

																						90

																						100

																						120

																																												634

																																		72

		Bias		#526		#527		Pulse sum		Normalised		Bias		#545		#546		Pulse sum		Normalised		Bias		#567		#568		Pulse sum		Normalised		Bias		#577		#578		Pulse sum		Normalised		Bias		#585		#586		Pulse sum		Normalised		Bias		#605		#606		Pulse sum		Normalised		Bias		#622		#623		Pulse sum		Normalised		Bias		#634		#635		Pulse sum		Normalised

		[Volt]		[mV]		[mV]		[mv]				[Volt]		[mV]		[mV]		[mv]				[Volt]		[mV]		[mV]		[mv]				[Volt]		[mV]		[mV]		[mv]				[Volt]		[mV]		[mV]		[mv]				[Volt]		[mV]		[mV]		[mv]				[Volt]		[mV]		[mV]		[mv]				[Volt]		[mV]		[mV]		[mv]

		20		5		205		210		0.4393305439		10		89		41		130		0.313253012		10		27		41		68		0.17		25		34		75		109		0.2632850242		25		44		20		64		0.1671018277		50		65		10		75		0.1978891821		50		65		0		65		0.1697127937		50		61		24		85		0.2073170732

		30		5		273		278		0.5815899582		20		171		41		212		0.5108433735		25		61		109		170		0.425		50		55		164		219		0.5289855072		50		95		41		136		0.3550913838		75		95		10		105		0.2770448549		100		123		37		160		0.4177545692		100		106		34		140		0.3414634146

		40		54		323		377		0.7887029289		30		232		34		266		0.6409638554		50		266		41		307		0.7675		75		37		290		327		0.7898550725		75		150		58		208		0.5430809399		100		129		27		156		0.4116094987		150		171		51		222		0.5796344648		150		157		48		205		0.5

		50		45		365		410		0.8577405858		50		321		0		321		0.7734939759		75		334		14		348		0.87		100		27		330		357		0.8623188406		100		240		51		291		0.7597911227		125		167		27		194		0.5118733509		200		287		24		311		0.8120104439		200		253		34		287		0.7

		75		41		405		446		0.9330543933		75		362		0		362		0.8722891566		100		359		0		359		0.8975		150		27		359		386		0.9323671498		125		311		27		338		0.8825065274		150		236		30		266		0.7018469657		250		334		0		334		0.8720626632		250		317		27		344		0.8390243902

		100		32		428		460		0.9623430962		100		383		0		383		0.9228915663		150		372		0		372		0.93		200		24		372		396		0.9565217391		150		342		10		352		0.9190600522		200		328		0		328		0.8654353562		300		351		0		351		0.9164490862		300		349		31		380		0.9268292683

		120		23		441		464		0.9707112971		150		396		0		396		0.9542168675		200		383		0		383		0.9575		250		20		379		399		0.9637681159		200		355		10		365		0.953002611		250		355		0		355		0.9366754617		350		366		0		366		0.955613577		350		362		27		389		0.9487804878

		150		27		446		473		0.989539749		200		410		0		410		0.9879518072		250		396		0		396		0.99		300		24		382		406		0.9806763285		300		376		0		376		0.9817232376		300		366		0		366		0.9656992084		400		372		0		372		0.9712793734		400		372		34		406		0.9902439024

		200		23		455		478		1		300		415		0		415		1		300		400		0		400		1		350		24		390		414		1		400		383		0		383		1		400		379		0		379		1		500		383		0		383		1		500		383		27		410		1

		300		20		464		484		1.0125523013

		Strip #		VFD		Error

		188		80		0

		244		75		0

		390		60		0

		470		55		0

		498		55		0

		526		53		8

		545		55		0

		568		62		0

		578		92		0						0.0004882813		0.1806640625		0.0451660156

		585		128		0

		605		200		0

		622		225		0

		634		270		0

		650		285		0

		670		297		0

		690		300		20

		710		285		0						512		640

		730		250		0

		740		220		0

		760		170		0

		774		125		0

		829		60		0

		888		47		0





		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0



Strip #10

Strip #30

Strip #50

Strip #70

Strip #90

Strip #100

Strip #120

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0



Strip #526

Strip #545

Strip #578

Strip #585

Strip #605

Strip #622

Strip #634

Bias [Volt]

Normalised CCE

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		NaN		NaN

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		8		8

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		20		20

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0



Strip Number

Vfd [Volt]

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0



Strip #545

Strip #585

Strip #634

Bias [Volt]

Normalised CCE

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0



Strip #526

Strip #578

Strip #605

Bias [Volt]

Normalised CCE

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0

		0

		0

		0

		0

		0

		0

		0

		0



Strip #634

Bias [Volt]

Normalised CCE

0

0

0

0

0

0

0

0

0



		0

		0

		0

		0

		0

		0

		0

		0

		0

		0



Strip #526

Bias [Volt]

Normalised CCE

0

0

0

0

0

0

0

0

0

0



		Strip:		#10								Strip:		#30								Strip:		#50								Strip:		#70								Strip:		#90								Strip:		#100		#101						Strip:		#120

				#11										#31										#51										#71										#91										#121										#121

		D Left		h 200 V		ideal				h 400 V		D Left		h 200 V		ideal				h 400 V		D Left		h 200 V		ideal				h 400 V		D Left		h 200 V		ideal				h 400 V		D Left		h 200 V		ideal				h 400 V		D Left		h 200 V		ideal				h 400 V		D Left		h 200 V		ideal				h 400 V

		20		0.2059800664		0		0		0.1260683761		20		0.3485714286		0		0		0.2292490119		20		0.1510067114		0		0		0		20		0.1729559748		0		0		0.1299559471		30		0.1035422343		0		0		0		30		0.204610951		0		0		0		20		0.2591006424		0		0		0.263671875

		30		0.1784037559		110		1		0		30		0.2186046512		110		1		0		30		0.1964285714		110		1		0		30		0.1009615385		115		1		0		40		0.1971428571		117.5		1		0		40		0.3086053412		115		1		0		30		0.0874074074		115		1		0.0657534247

		40		0.2587064677						0.0909090909		40		0.3191489362						0		40		0.3269961977						0.118993135		40		0.1943734015						0		50		0.3688888889						0.2443729904		50		0.3851351351						0.1978021978		40		0.0914454277						0.0725244073

		50		0.3577586207						0.2196531792		50		0.4345238095						0.2648401826		60		0.6736842105						0.7946428571		50		0.3125						0.1707317073		60		0.6231884058						0.7816091954		60		0.5677966102						0.688372093		50		0.1515151515						0.1463414634

		60		0.6280991736						0.7375328084		60		0.625						0.619047619		70		0.7365079365						0.916500994		60		0.5102040816						0.5845070423		70		0.7445652174						0.9099437148		70		0.6253869969						0.886405959		60		0.5						0.5

		70		0.7114914425						0.8717948718		70		0.7170731707						0.8559322034		80		0.8419452888						0.9427402863		70		0.689373297						0.8831858407		80		0.8891454965						1		80		0.7331378299						0.9305816135		70		0.8						0.8395522388

		80		0.7915742794						0.9111470113		80		0.7960784314						0.9867374005		90		0.8307692308						0.9512195122		80		0.8141809291						0.9365609349		90		0.9136363636						1		90		0.7967032967						0.938517179		80		0.884086444						0.9252669039

		90		0.7759103641						0.8546845124		90		0.825						0.9734748011												90		0.8523489933						0.9378427788																						90		0.9249011858						0.9491833031

		Residuals		#10-#11								Residuals		#30-#31								Residuals		#50-#51								Residuals		#50-#51								Residuals		#70-#71								Residuals		#90-#91								Residuals		#100-#101

		True position		Est. position		Est. position		Residuals		Residuals		True position		Est. position		Est. position		Residuals		Residuals		True position		Est. position		Est. position		Residuals		Residuals		True position		Est. position		Est. position		Residuals		Residuals		True position		Est. position		Est. position		Residuals		Residuals		True position		Est. position		Est. position		Residuals		Residuals		True position		Est. position		Est. position		Residuals

				200 V		400 V		200 V		400 V				200 V		400 V		200 V		400 V				200 V		400 V		200 V		400 V				200 V		400 V		200 V		400 V				200 V		400 V		200 V		400 V				200 V		400 V		200 V		400 V				200 V		400 V		200 V		400 V

		20		22.657807309		38.3428571429		2.657807309		18.3428571429		20		38.3428571429		25.2173913043		18.3428571429		5.2173913043		20		16.610738255		0		-3.389261745		-20		20		19.8899371069		14.9449339207		-0.1100628931		-5.0550660793		30		12.1662125341		0		-17.8337874659		-30		30		23.530259366		0		-6.469740634		-30		20		29.7965738758		30.322265625		9.7965738758		10.322265625

		30		19.6244131455		24.0465116279		-10.3755868545		-5.9534883721		30		24.0465116279		0		-5.9534883721		-30		30		21.6071428571		0		-8.3928571429		-30		30		11.6105769231		0		-18.3894230769		-30		40		23.1642857143		0		-16.8357142857		-40		40		35.4896142433		0		-4.5103857567		-40		30		10.0518518519		7.5616438356		-19.9481481481		-22.4383561644

		40		28.4577114428		35.1063829787		-11.5422885572		-4.8936170213		40		35.1063829787		0		-4.8936170213		-40		40		35.969581749		13.0892448513		-4.030418251		-26.9107551487		40		22.3529411765		0		-17.6470588235		-40		50		43.3444444444		28.7138263666		-6.6555555556		-21.2861736334		50		44.2905405405		22.7472527473		-5.7094594595		-27.2527472527		40		10.5162241888		8.340306834		-29.4837758112		-31.659693166

		50		39.3534482759		47.7976190476		-10.6465517241		-2.2023809524		50		47.7976190476		29.1324200913		-2.2023809524		-20.8675799087		60		74.1052631579		87.4107142857		14.1052631579		27.4107142857		50		35.9375		19.6341463415		-14.0625		-30.3658536585		60		73.2246376812		91.8390804598		13.2246376812		31.8390804598		60		65.2966101695		79.1627906977		5.2966101695		19.1627906977		50		17.4242424242		16.8292682927		-32.5757575758		-33.1707317073

		60		69.0909090909		68.75		9.0909090909		8.75		60		68.75		68.0952380952		8.75		8.0952380952		70		81.0158730159		100.8151093439		11.0158730159		30.8151093439		60		58.6734693878		67.2183098592		-1.3265306122		7.2183098592		70		87.4864130435		106.9183864916		17.4864130435		36.9183864916		70		71.919504644		101.9366852886		1.919504644		31.9366852886		60		57.5		57.5		-2.5		-2.5

		70		78.2640586797		78.8780487805		8.2640586797		8.8780487805		70		78.8780487805		94.1525423729		8.8780487805		24.1525423729		80		92.6139817629		103.7014314928		12.6139817629		23.7014314928		70		79.2779291553		101.5663716814		9.2779291553		31.5663716814		80		104.474595843		117.5		24.474595843		37.5		80		84.3108504399		107.0168855535		4.3108504399		27.0168855535		70		92		96.5485074627		22		26.5485074627

		80		87.0731707317		87.568627451		7.0731707317		7.568627451		80		87.568627451		108.5411140584		7.568627451		28.5411140584		90		91.3846153846		104.6341463415		1.3846153846		14.6341463415		80		93.630806846		107.7045075125		13.630806846		27.7045075125		90		107.3522727273		117.5		17.3522727273		27.5		90		91.6208791209		107.9294755877		1.6208791209		17.9294755877		80		101.6699410609		106.4056939502		21.6699410609		26.4056939502

		90		85.350140056		90.75		-4.649859944		0.75		90		90.75		107.0822281167		0.75		17.0822281167												90		98.0201342282		107.8519195612		8.0201342282		17.8519195612																						90		106.3636363636		109.1560798548		16.3636363636		19.1560798548





		Far end														End + 1 cm														End + 2 cm														End + 3 cm														End + 3.5 cm

		Strip width		Local coord.		h 150 V						h 200 V		h 400 V		Strip width		Local coord.		h 150 V						h 200 V		h 400 V		Strip width		Local coord.		h 150 V						h 200 V		h 400 V		Strip width		Local coord.		h 150 V						h 200 V		h 400 V		Strip width		Local coord.		h 200 V						h 400 V				Local coord.		h 150 V		h 200 V		h 400 V

		16 µm		12		0.3192771084		0		0		0.3086172345		0.2177531207		25 µm		20		0.2489795918		0		0		0.2296072508		0.0935875217		25 µm		23		0.2344827586		0		0		0.1566820276		0.079338843		30 µm		23		0.1505016722		0		0		0.0805687204		0.052		35 µm		20		0.2591006424		0		0		0.263671875				28		0.1305483029		0.0812064965		0.0638722555		0		0

				22		0.3269230769		61		1		0.3302180685		0.2262118492				30		0.3642857143		78		1		0.3591160221		0.2287390029				33		0.3311897106		95		1		0.2647754137		0.1256038647				33		0.2164948454		108		1		0.0966183575		0.0595238095				30		0.0874074074		115		1		0.0657534247				38		0.1467391304		0.0782608696		0.0601202405		118		1

				32		0.5						0.5		0.5284552846				40		0.6977777778						0.691588785		0.8631578947				43								0.3176470588		0.2993197279				43		0.3470790378						0.2055137845		0.1347248577				40		0.0914454277						0.0725244073				48		0.2492753623		0.1494505495		0.1135135135

				42		0.6687697161						0.6808943089		0.826435247				50		0.7510204082						0.7796610169		0.9246575342				53		0.6393442623						0.6741573034		0.7946127946				63		0.6487603306						0.7430939227		0.8559837728				50		0.1515151515						0.1463414634				58		0.3970588235		0.41		0.368852459

				52		0.6972789116						0.7270788913		0.8104196816				60														63		0.7039711191						0.7454545455		0.8982785603				73		0.7683823529						0.884057971		0.9513108614				60		0.5						0.5				68		0.66		0.7510548523		0.789017341

																																73		0.7731629393						0.830802603		0.9453376206				83		0.8316498316						0.9351145038		0.98				70		0.8						0.8395522388				78		0.7542857143		0.9100719424		0.9100719424

																																																												80		0.884086444						0.9252669039				88		0.8444444444		0.9125799574		0.9323308271

																																																												90		0.9249011858						0.9491833031

				Pos. inner end (1)														Pos.(2)=(1)+1 cm														Pos.(3)=(2)+1 cm														Pos.(4)=(3)+1 cm														Pos.(5)=(4)+0.5 cm

		Bias		#119		Int 1		#120		Int 2		#121		Int 3		#122		#119		Int 1		#120		Int 2		#121		Int 3		#122		#119		Int 1		#120		Int 2		#121		Int 3		#122		#119		Int 1		#120		Int 2		#121		Int 3		#122		#119		Int 1		#120		Int 2		#121		Int 3		#122

		[Volt]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]

		50		0		0		30		10		115		10		20						20		0		68						0		0		31		0		99		0		0		0		0		0		0		70		0		0						38		21		104		-10

		100		28		0		61		17		179		15		33						44		15		129						20		0		48		24		171		0		31						52		34		145		0		29						62		34		177		-21

		150		30		0		88		40		239		27		44						78		37		184						0		0		71		44		242		0		31						63		58		250		0		29						55		24		385		-31

		200		37		0		115		74		357		37		54						68		41		280						0		0		78		58		383		0		37						37		20		388		-5		20						48		15		454		-24

		250		34		0		101		61		530		51		20						71		44		410						0		0		44		24		509		-24		10						26		10		448		-20		10						45		0		468		-34

		300		23		0		81		37		600		-23		30						58		45		475						0		0		37		13		533		-30		20						22		22		490		-24		10						34		0		478		-34

		350		34		0		84		27		641		-27		24						51		10		519						0		0		30		0		567		-30		15						20		0		512		-24		0						34		0		495		-34

		400		23		0		64		0		644		-34		23						51		0		530						0		0		41		0		577		-37		15						20		0		527		-24		0						34		0		502		-34

		500		10		0		77		0		680		-30		10						48		0		547						0		0		34		0		588		-40		13						10		0		530		-24		0						34		0		510		-34

																																																																		-10

																																																																		-17

																																																																		-17

				Total										Total										Intermediate strip/total charge																																										-17

		Bias		Pos.(1)		Pos.(2)		Pos.(3)		Pos.(4)		Pos.(5)		normalised

		[Volt]												Pos.(1)		Pos.(2)		Pos.(3)		Pos.(4)		Pos.(5)		Pos.(1)		Pos.(2)		Pos.(3)		Pos.(4)		Pos.(5)

		50		135		88		99		70		142		0.2023988006		0.1514629948		0.1672297297		0.1328273245		0.2649253731		0.0740740741		0		0		0		0.1478873239

		100		212		173		202		174		239		0.3178410795		0.2977624785		0.3412162162		0.330170778		0.4458955224		0.0801886792		0.0867052023		0.1188118812		0.1954022989		0.1422594142

		150		283		262		273		279		440		0.4242878561		0.4509466437		0.4611486486		0.5294117647		0.8208955224		0.1413427562		0.141221374		0.1611721612		0.2078853047		0.0545454545

		200		411		348		420		408		502		0.616191904		0.5989672978		0.7094594595		0.7741935484		0.9365671642		0.1800486618		0.117816092		0.1380952381		0.0490196078		0.0298804781

		250		550		481		519		458		513		0.8245877061		0.8278829604		0.8766891892		0.8690702087		0.9570895522		0.1109090909		0.0914760915		0.0462427746		0.0218340611		0

		300		630		533		553		500		512		0.9445277361		0.917383821		0.9341216216		0.9487666034		0.9552238806		0.0587301587		0.0844277674		0.0235081374		0.044		0

		350		665		570		582		512		529		0.9970014993		0.9810671256		0.9831081081		0.9715370019		0.9869402985		0.0406015038		0.0175438596		0		0		0

		400		667		581		592		527		536		1		1		1		1		1		0		0		0		0		0

		500		690		595		601		530		544		1.0344827586		1.0240963855		1.0152027027		1.0056925996		1.0149253731		0		0		0		0		0





		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0



Pos. 1

Pos. 2

Pos. 3

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0



Bias [V]

Charge routing line/Total charge

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0		0		0

		0		0		0		0

				0		0		0

				0		0		0



150 Volt

200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #760-761

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0		0		0

		0		0		0		0

				0		0		0

				0		0		0

				0		0		0

				0		0		0



Strip #120 of sector n. 6

Local position [µm]

Right charge/Total charge

Scan across strips #760-761

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

150 Volt

200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #760-761

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0		0		0

		0		0		0		0

				0		0		0

				0		0		0

				0		0		0

				0		0		0



150 Volt

200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #760-761

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0		0		0

		0		0		0		0

				0		0		0

				0		0		0

				0		0		0

				0		0		0

				0		0		0



150 Volt

200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #760-761

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



				Strip #		Centre		Distance																				Strip #		Centre		Distance		50 V		Local coord.		DL		DR		Pulse Left		Pulse Right		Pulse sum		h		ideal				100 V		Pulse Left		Pulse Right		Pulse sum		h		150 V		Pulse Left		Pulse Right		Pulse sum		h

				6		37		115																				112		40.9		54				42.5		16		38		89		59		148		0.3986486486		0		0				178		109		287		0.3797909408				191		73		264		0.2765151515

				7		48.5																						113		46.3						42.75		18.5		35.5		125		89		214		0.4158878505		54		1				200		150		350		0.4285714286				225		91		316		0.2879746835

																																				43		21		33		129		104		233		0.4463519313								212		175		387		0.4521963824				221		118		339		0.3480825959

																																				43.25		23.5		30.5		95		95		190		0.5								168		168		336		0.5				168		168		336		0.5

		# 112		Amplitude																						# 113		Amplitude								43.5		26		28		104		114		218		0.5229357798								171		193		364		0.5302197802				148		182		330		0.5515151515

		38.6		294		0.2		0																		44.5		193								43.75		28.5		25.5		86		114		200		0.57								139		200		339		0.5899705015				118		212		330		0.6424242424

		38.8		294		0.2		-11																		44.75		180								44		31		23		77		116		193		0.6010362694								139		223		362		0.6160220994				104		228		332		0.686746988

		39		283		0.2		-17																		45		145								44.25		33.5		20.5		70		116		186		0.623655914								104		205		309		0.6634304207				66		214		280		0.7642857143

		39.2		266		0.2		-32																		45.25		116								44.5		36		18		66		114		180		0.6333333333								103		203		306		0.6633986928				52		193		245		0.787755102

		39.4		234		0.2		-36																		45.5		70

		39.6		198		0.2		-50																		45.75		59

		39.8		148		0.2		-50																		46		32

		40		98		0.2		-25																		46.25		20

		40.2		73		0.2		-30																		46.5		23																										0.9074074074		121.2244897959

		40.4		43		0.2		-16																		46.75		42

		40.6		27		0.2		-2																		47		82

		40.8		25		0.2		-2		Gaussian fit par				Fit				Normalised								47.25		100

		41		23		0.2		2		A		51		39		0.0000000044		41		2		0.04		0.0000000001		47.5		150

		41.2		25		0.2		7		B		41.92		39.2		0.0000000951		41.2		7		0.14		0.0000000019		47.75		172

		41.4		32		0.2		27		C		0.429		39.4		0.0000016399		41.4		27		0.54		0.0000000328		48		193

		41.6		59		0.2		37						39.6		0.0000227487		41.6		37		0.74		0.000000455

		41.8		96		0.2		50				51		39.8		0.0002539185		41.8		50		1		0.0000050784

		42		146		0.2		50				41.938		40		0.0022805605		42		50		1		0.0000456112

		42.2		196		0.2		38				0.43643		40.2		0.0164815472		42.2		38		0.76		0.0003296309

		42.4		234		0.2		28						40.4		0.0958436953		42.4		28		0.56		0.0019168739

		42.6		262		0.2		18						40.6		0.4484750729		42.6		18		0.36		0.0089695015

		42.8		280		0.2		11						40.8		1.6885823954		42.8		11		0.22		0.0337716479

		43		291		0.2		3						41		5.1158216329		43		3		0.06		0.1023164327

		43.2		294										41.2		12.4714721089								0.2494294422

														41.4		24.4640994978								0.48928199

														41.6		38.6144575058								0.7722891501

														41.8		49.0433163761								0.9808663275

		42.2		216		196								42		50.120905813								1.0024181163

		42.4		234		234								42.2		41.2161271536								0.8243225431

		42.6		266		262								42.4		27.272480504								0.5454496101

		42.8		278		280								42.6		14.5208248704								0.2904164974

		43		291		291								42.8		6.221099165								0.1244219833

		43.2		294		294								43		2.1446288772								0.0428925775

														43.2		0.5949032803								0.0118980656

														43.4		0.1327852289								0.0026557046

														43.6		0.0238485708								0.0004769714

														43.8		0.0034465465								0.0000689309

														44		0.0004007884								0.0000080158

														44.2		0.0000375021								0.00000075

														44.4		0.0000028236								0.0000000565

														44.6		0.0000001711								0.0000000034

																												Strip #		Centre		Distance		50 V		Local coord.		DL		DR		Pulse Left		Pulse Right		Pulse sum		h		ideal				100 V		Pulse Left		Pulse Right		Pulse sum		h		150 V		Pulse Left		Pulse Right		Pulse sum		h

																												113		46.3		54				48		17		37		129		104		233		0.4463519313		0		0				198		157		355		0.4422535211				200		114		314		0.3630573248

																												114		51.7						48.3		20		34		128		107		235		0.4553191489		54		1				200		168		368		0.4565217391				203		137		340		0.4029411765

		#114		Amplitude																																48.5		22		32		128		114		242		0.4710743802								207		193		400		0.4825				198		148		346		0.4277456647

		50.3		203																																48.8		25		29		128		139		267		0.5205992509								225		205		430		0.476744186				180		198		378		0.5238095238

		50.5		150																								Amplitude								49		27		27		116		139		255		0.5450980392								187		234		421		0.5558194774				145		205		350		0.5857142857

		50.8		109																								193								49.3		30		24		109		157		266		0.5902255639								175		250		425		0.5882352941				120		237		357		0.6638655462

		51		70																								180								49.5		32		22		98		148		246		0.6016260163								148		248		396		0.6262626263				98		253		351		0.7207977208

		51.3		29																								145								49.8		35		19		91		150		241		0.622406639								125		235		360		0.6527777778				84		253		337		0.7507418398

		51.5		29																								116								50		37		17		77		134		211		0.63507109								111		234		345		0.6782608696				63		234		297		0.7878787879

		51.8		36																								70

		52		38

		52.5		89

		53		193

		53.5		216





		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0



0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0



0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0		0		0

		0		0		0		0

		0				0		0

		0				0		0

		0				0		0

		0				0		0

		0				0		0

		0				0		0

		0				0		0



Local position [µm]

Right charge/Total charge

Scan across strips #623-624

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0		0		0

		0		0		0		0

		0				0		0

		0				0		0

		0				0		0

		0				0		0

		0				0		0

		0				0		0

		0				0		0



Local position [µm]

Right charge/Total charge

Scan across strips #624-625

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		Time delay		Corrected time		Bias [V]		#120		Int 1		#121		Int 2																		0		0.08185		9.1672		112				0.261052		10		80

		70		55		250		0		0		68		0				0		0		0		610								1		0.168384		18.859008						0.431745		34.5396

		75		50				16		0		150		0				3		0.0512794593		31.2804701969										2		0.312367		34.985104						0.675746		54.05968

		80		45				34		0		245		-25				6		0.2672435413		163.0185601936										3		0.52869		59.21328						1.004992		80.39936

		85		40				54		0		369		-41				9		0.5875634723		358.4137180924										4		0.825982		92.509984						1.426173		114.09384

		90		35				123		32		560		0				12		0.9072872169		553.4452023										5		1.20452		134.90624						1.939189		155.13512

		95		30				154		40		688		0				15		1.1543795498		704.1715253543										6		1.656436		185.520832						2.536774		202.94192

		100		25				188		51		826		-28				18		1.299469696		792.6765145638										7		2.16761		242.77232						3.205258		256.42064

		105		20				199		74		792		0				21		1.3442508459		819.9930160187										8		2.720225		304.6652						3.926179		314.09432

		110		15				188		108		615		-5				24		1.3071636214		797.3698090352										9		3.295125		369.054						4.678293		374.26344

		115		10				176		131		421		79				27		1.2124429531		739.5902013697										10		3.873637		433.847344						5.439553		435.16424

		120		5				85		68		199		34				30		1.0834467691		660.9025291351										11		4.438771		497.142352						6.188773		495.10184

		125		0				0		0		0		0				33		0.9394191906		573.0457062512										12		4.97592		557.30304						6.906842		552.54736

																		36		0.7945091514		484.6505823432										13		5.473185		612.99672						7.577489		606.19912

																		39		0.6580501859		401.410613397										14		5.92143		663.20016						8.187653		655.01224

																		42		0.5354104702		326.6003867976										15		6.31416		707.18592						8.727551		698.20408

																		45		0.4289931162		261.6858008585										16		6.647297		744.497264						9.190552		735.24416

																		48		0.339164421		206.8902967894										17		6.91889		774.91568						9.57288		765.8304

																		51		0.2650152693		161.6593142647										18		7.128793		798.424816						9.873284		789.86272

																		54		0.2049346724		125.0101501754										19		7.278362		815.176544						10.092649		807.41192

																		57		0.1570118833		95.7772488293										20		7.370132		825.454784						10.233604		818.68832

																		60		0.1192986421		72.7721716988										21		7.407557		829.646384						10.300152		824.01216

																		63		0.0899657472		54.8791057793										22		7.394742		828.211104						10.297333		823.78664

																		66		0.0673846758		41.1046522082										23		7.336235		821.65832						10.230914		818.47312

																		69		0.050159177		30.597097963										24		7.236837		810.525744						10.107127		808.57016

																		72		0.0371256796		22.6466645667										25		7.101445		795.36184						9.932439		794.59512

																		75		0.0273359711		16.67494238										26		6.934925		776.7116						9.713365		777.0692

																																27		6.742013		755.105456						9.456316		756.50528

																																28		6.527242		731.051104						9.16749		733.3992

																																29		6.294873		705.025776						8.852766		708.22128

																																30		6.048868		677.473216						8.517644		681.41152

																																31		5.792859		648.800208						8.167207		653.37656

																																32		5.530137		619.375344						7.806094		624.48752

																																33		5.263647		589.528464						7.438483		595.07864

																																34		4.995998		559.551776						7.068093		565.44744

																																35		4.729472		529.700864						6.698193		535.85544

																																36		4.466033		500.195696						6.331631		506.53048

																																37		4.207353		471.223536						5.970841		477.66728

																																38		3.954834		442.941408						5.617879		449.43032

																																39		3.709625		415.478						5.274448		421.95584

																																40		3.472645		388.93624						4.941926		395.35408

																																41		3.244611		363.396432						4.621399		369.71192

																																42		3.026052		338.917824						4.313695		345.0956

																																43		2.817337		315.541744						4.019405		321.5524

																																44		2.618692		293.293504						3.738913		299.11304

																																45		2.43022		272.18464						3.472427		277.79416

																																46		2.251916		252.214592						3.219996		257.59968

																																47		2.083687		233.372944						2.981542		238.52336

																																48		1.925365		215.64088						2.756874		220.54992

																																49		1.776718		198.992416						2.545705		203.6564

																																50		1.637465		183.39608						2.347678		187.81424

																																51		1.507286		168.816032						2.162372		172.98976

																																52		1.38583		155.21296						1.989319		159.14552

																																53		1.272725		142.5452						1.828019		146.24152

																																54		1.167583		130.769296						1.677946		134.23568

																																55		1.070007		119.840784						1.538557		123.08456

																																56		0.979598		109.714976						1.409304		112.74432

																																57		0.895956		100.347072						1.289635		103.1708

																																58		0.818688		91.693056						1.179003		94.32024

																																59		0.747406		83.709472						1.076871		86.14968

																																60		0.681733		76.354096						0.982712		78.61696

																																61		0.621304		69.586048						0.896015		71.6812

																																62		0.565769		63.366128						0.816288		65.30304

																																63		0.51479		57.65648						0.743057		59.44456

																																64		0.468044		52.420928						0.675869		54.06952

																																65		0.425227		47.625424						0.614292		49.14336

																																66		0.386049		43.237488						0.557917		44.63336

																																67		0.350235		39.22632						0.506357		40.50856

																																68		0.317529		35.563248						0.459245		36.7396

																																69		0.287687		32.220944						0.416239		33.29912

																																70		0.260483		29.174096						0.377015		30.1612

																																71		0.235705		26.39896						0.341272		27.30176

																																72		0.213156		23.873472						0.308729		24.69832

																																73		0.19265		21.5768						0.279123		22.32984

																																74		0.174018		19.490016						0.25221		20.1768

																																75		0.157101		17.595312						0.227764		18.22112

																																76		0.141751		15.876112						0.205574		16.44592

																																77		0.127834		14.317408						0.185447		14.83576

																																78		0.115224		12.905088						0.167204		13.37632

																																79		0.103806		11.626272						0.150679		12.05432

																																80		0.093474		10.469088						0.13572		10.8576

																																81		0.084131		9.422672						0.122188		9.77504

																																82		0.075686		8.476832						0.109953		8.79624

																																83		0.068058		7.622496						0.098898		7.91184

																																84		0.061172		6.851264						0.088915		7.1132

																																85		0.054959		6.155408						0.079904		6.39232

																																86		0.049356		5.527872						0.071777		5.74216

																																87		0.044307		4.962384

																																88		0.039758		4.452896

																																89		0.035662		3.994144

																																90		0.031975		3.5812

																																91		0.028659		3.209808

																																92		0.025678		2.875936

																																93		0.022998		2.575776

																																94		0.020591		2.306192

																																95		0.018429		2.064048

																																96		0.016489		1.846768

																																97		0.014748		1.651776

																																98		0.013187		1.476944

																																99		0.011787		1.320144





		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0



0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0



0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0



Measured (hit strip)

Calculated

Adjacent strip

Intermediate routing line

Time [ns]

Amplitude [arb. units]

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0



Measured

Calculated

Time [ns]

Amplitude [arb. units]

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0




_1051557359.xls
Chart1

		20

		30

		40

		50

		75

		100

		120

		150

		200

		300



Strip #526

Bias [Volt]

Normalised CCE

0.4393305439

0.5815899582

0.7887029289

0.8577405858

0.9330543933

0.9623430962

0.9707112971

0.989539749

1

1.0125523013



General

		Sector #		Strip's range								1		128

		1		1-128								2		256

		2		129-256								3		384

		3		257-384								4		512

		4		385-512								5		640

		5		513-640								6		768

		6		641-768								7		896

		7		769-896								8		1024

		8		897-1024

		Measured strips:

		Sector #:		1		2		3		4		5		6		7		8





Routing line

		

																						Strip #		Est. VFD

																						499		55

																						760		170

																						774		125

																						888		50





Routing line

		10		50		20		10

		20		100		40		20

		30		150		50		40

		40		200		60		50

		50		250		80		60

		60		300		100		80

		80		350		125		100

		100		400		150		125

		150		500		175		150

		200				200		200

		300				300		300



Strip #499

Strip #760

Strip #774

Strip #888

Bias [Volt]

Charge routing line/total charge

0.1402439024

0.1694915254

0.0649350649

0.1036036036

0.0886524823

0.1589958159

0.1363636364

0.0705521472

0.069637883

0.0979381443

0.1446540881

0.0580808081

0.0611246944

0.0445859873

0.1421052632

0.0324189526

0.0412844037

0

0.1553030303

0.0324189526

0

0

0.1184210526

0.0224438903

0

0

0.0692771084

0

0

0

0.0507042254

0

0

0

0.05

0

0

0.025

0

0

0.0243902439

0



Irradiated (4)

		50		50		50		50		50

		100		100		100		100		100

		150		150		150		150		150

		200		200		200		200		200

		250		250		250		250		250

		300		300		300		300		300

		350		350		350		350		350

		400		400		400		400		400

		500		500		500		500		500



Pos. 1

Pos. 2

Pos. 3

Pos. 4

Pos. 5

Bias [V]

Charge routing line/Total charge

0.0740740741

0

0

0

0.1478873239

0.0801886792

0.0867052023

0.1188118812

0.1954022989

0.1422594142

0.1413427562

0.141221374

0.1611721612

0.2078853047

0.0545454545

0.1800486618

0.117816092

0.1380952381

0.0490196078

0.0298804781

0.1109090909

0.0914760915

0.0462427746

0.0218340611

0

0.0587301587

0.0844277674

0.0235081374

0.044

0

0.0406015038

0.0175438596

0

0

0

0

0

0

0

0

0

0

0

0

0



Irradiated (5) 

		Bias 250 V		Strip #		Centre		Distance		20 V		Local coord.		D24		D25		Pulse Left		Pulse Right		Pulse sum		h		ideal				50 V		Pulse Left		Pulse Right		Pulse sum		h		200 V		Pulse Left		Pulse Right		Pulse sum		h				Volt scan		#85		#86		Total		Normalised

				85		31		110				33.5		25		85		128		12		140		0.0857142857		0		0				253		30		283		0.1060070671				373		16		389		0.0411311054				20		36		126		162		0.3884892086

				86		42						34.5		35		75		132		12		144		0.0833333333		110		1				233		24		257		0.093385214				341		25		366		0.0683060109				30		52		240		292		0.7002398082

												35.5		45		65		84		32		116		0.275862069								204		48		252		0.1904761905				325		50		375		0.1333333333				40		48		317		365		0.8752997602

												37		60		50		22		40		62		0.6451612903								36		76		112		0.6785714286				50		136		186		0.7311827957				50		48		371		407		0.9760191847

		#85		Amplitude		#86		Amplitude				37.5		65		45		40		84		124		0.6774193548								60		197		257		0.766536965				60		305		365		0.8356164384				75		36		380		412		0.9880095923

		39		417		28		417				38.5		75		35		28		152		180		0.8444444444								40		272		312		0.8717948718				32		401		433		0.9260969977				100		32		397		425		1.0191846523

		40		325		29		297				39.5		85		25		24		160		184		0.8695652174								44		281		325		0.8646153846				32		405		437		0.9267734554				120		28		413		441		1.0575539568

		41		50		30		60																																												150		28		417		417		1

		42		0		31		0

		43		68		32		32

		44		361		33		272

						34		409

		Bias 250 V		Strip #		Centre		Distance		20 V		Local coord.		D24		D25		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h		ideal				50 V		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h		200 V		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h				Volt scan		#4		Int 1		#5		Int 2		Total		Normalised		Norm Rout		Norm rzatio rout/total

				4		12.5		115				14.5		20		95		204		-28		36				240		0.15		0		0				333				36				369		0.0975609756				449		-64		48				497		0.0965794769				20		12		-24		200		-48		212		0.4265593561

				5		24						15.5		30		85		240		-36		44				284		0.1549295775		115		1				425		-64		72				497		0.1448692153				573		-112		64				637		0.1004709576				30		40				328		-52		368		0.7404426559

												16.5		40		75		212		-32		44				256		0.171875								373		-48		52				425		0.1223529412				525		-88		52				577		0.0901213172				40		24		-16		381		-88		405		0.814889336

												17.5		50		65		116		-8		48				164		0.2926829268								256		-24		104				360		0.2888888889				373		-64		120				493		0.2434077079				50		28		-24		425		-92		453		0.9114688129

		#4		Amplitude		#5		Amplitude				18.5		60		55		16				32				48		0.6666666667								32				72				104		0.6923076923				60				112				172		0.6511627907				75		16				445		-100		461		0.9275653924

		12		0		21		489				19.5		70		45		52				188		-16		240		0.7833333333								68				385		-48		453		0.8498896247				52				509		-96		561		0.9073083779				100		12		-28		457		-124		469		0.9436619718

		13		0		22		341				20.5		80		35		52				253		-16		305		0.8295081967								76				429		-52		505		0.8495049505				36				549		-96		585		0.9384615385				120		16		-20		465		-120		481		0.967806841

		14		132		23		84				21.5		90		25		28				204		-48		232		0.8793103448								36				393		-84		429		0.9160839161				28				501		-112		529		0.9470699433				150		12		-44		485		-132		497		1

		15		437		24		0

		16		517		25		0

						26		272

		Bias 250 V		Strip #		Centre		Distance		20 V		Local coord.		D24		D25		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h		ideal				50 V		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h		200 V		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h

				5		24		110				26.5		25		85		197				36				233		0.1545064378		0		0				328				36				364		0.0989010989				445				32				477		0.0670859539

				6		35						27.5		35		75		152				28				180		0.1555555556		110		1				305				36				341		0.1055718475				449				36				485		0.0742268041

												28.5		45		65		116				36				152		0.2368421053								253				60				313		0.1916932907				413				100				513		0.1949317739

												29.5		55		55		44				28				72										60				36				96						72				32				104

												30.5		65		45		28				104				132		0.7878787879								52				212				264		0.803030303				72				345				417		0.8273381295

												31.5		75		35		36				160				196		0.8163265306								32				272				304		0.8947368421				28				405				433		0.935334873

												32.5		85		25		12				164				176		0.9318181818								32				333				365		0.9123287671				72				469				541		0.8669131238

		Bias 250 V		Strip #		Centre		Distance		20 V		Local coord.		D24		D25		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h		ideal				50 Volt		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h		200 Volts		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h				Volt scan		#115		Int 1		#116		Int 2		Total		Normalised		Norm Rout		Norm rzatio rout/total

				115		44		120				47.5		35		85		237				45				282		0.1595744681		0		0				396		-18		54				450		0.12				474		-31		41				515		0.0796116505				10		32		23		132		0		164		0.3326572008				0.1402439024

				116		56						48.5		45		75		209		0		54				263		0.2053231939		120		1				387		-13		59				446		0.1322869955				460		-41		45				505		0.0891089109				20		41		25		241		0		282		0.5720081136				0.0886524823

												49.5		55		65		128		13		54				182		0.2967032967								264				77				341		0.2258064516				360		-23		90				450		0.2				30		45		25		314		0		359		0.7281947262				0.069637883

												51		70		50		41		13		91				132										63		13		182				245						73		0		250				323		0.72				40		45		25		364		0		409		0.8296146045				0.0611246944

		#115		Amplitude		#116		Amplitude				51.5		75		45		77		41		173				250		0.692								91		18		360				451		0.7982261641				91		0		461				552		0.8351449275				50		36		18		400		-13		436		0.8843813387				0.0412844037

		42		506		54		483				52.5		85		35		54		30		214				268		0.7985074627								54		23		383				437		0.8764302059				32		-23		460				492		0.9349593496				60		25		0		419		-23		444		0.9006085193				0

		43		410		55		287				53.5		95		25		41		25		241				282		0.8546099291								36		18		400		-13		436		0.9174311927				27				460		-23		487		0.9445585216				80		27		0		442		-23		469		0.9513184584				0

		44		77		56		0																																																								100		27		0		446		-23		473		0.9594320487				0

		45		455		57		0																																																								150		23		0		455		-27		478		0.9695740365				0

		46		488		58		145																																																								200		27				460		-18		487		0.9878296146				0

						59		469																																																								300		23				470		-30		493		1				0





Irr. corr (5)

		Bias 250 V		Strip #		Centre		Distance		100 V		Local coord.		D24		D25		Pulse Left		Pulse Right		Pulse sum		h		ideal				200 V		Pulse Left		Pulse Right		Pulse sum		h		300 V		Pulse Left		Pulse Right		Pulse sum		h				Volt scan		#13		#14		Total		Normalised						Strip #5		Volt scan		Normalised

				13		8.5		110				11		25		85		351		0		351		0		0		0				369		0		369		0				364		0		364		0				20		5		205		210		0.4338842975						10		140		0.2868852459

				14		19.5						12		35		75		387		0		387		0		110		1				414		0		414		0				414		0		414		0				30		5		273		278		0.5743801653						30		285		0.5840163934

												13		45		65		328		27		355		0.076056338								374		15		389		0.0385604113				383		24		407		0.058968059				40		54		323		377		0.7789256198						50		393		0.8053278689

												14		55		55		154		73		227		0.3215859031								164		59		223		0.264573991				173		68		241		0.2821576763				50		45		360		405		0.8367768595						70		434		0.8893442623

		#13		Amplitude		#14		Amplitude				15		65		45		54		223		277		0.8050541516								63		264		327		0.8073394495				82		278		360		0.7722222222				75		41		405		446		0.9214876033						100		454		0.9303278689

		6		364		17		351				16		75		35		36		378		414		0.9130434783								36		424		460		0.9217391304				32		424		456		0.9298245614				100		32		428		460		0.9504132231						150		468

		7		164		18		164				17		85		25		23		414		437		0.9473684211								23		460		483		0.9523809524				20		464		484		0.958677686				120		23		437		460		0.9504132231						200		485		0.993852459

		8		30		19		0																																												150		27		446		473		0.9772727273						300		488		1

		9		0		20		0																																												200		23		455		478		0.9876033058

		10		209		21		196																																												300		20		464		484		1

		11		370		22		392

		Bias 250 V		Strip #		Centre		Distance		50 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				200 V		Pulse Left		Pulse Right		Pulse sum		h		300 V		Pulse Left		Pulse Right		Pulse sum		h				Volt scan		#33		#34		Total		Normalised

				13		4.8		112				8		32		80		31		334		71		405		0.175308642		0		0				427		-17		410		0				434		-17		417		0				10		48		97		145		0.3325688073				30		112		20		31		163

				14		16						9		42		70		34		317		51		368		0.1385869565		112		1				427		31		458		0.0676855895				458		24		482		0.0497925311				20		51		184		235		0.5389908257				50		157		31		41		229

												10		52		60		0		68		34		102		0.3333333333								89		37		126		0.2936507937				99		34		133		0.2556390977				30		54		263		317		0.7270642202				100		291		51		85		427

												11		62		50		0		65		195		260		0.75								61		266		327		0.8134556575				61		260		321		0.8099688474				50		37		345		382		0.876146789				130		372		58		103		533

		#33		Amplitude		#34		Amplitude				12		72		40		0		51		308		359		0.8579387187								34		413		447		0.9239373602				34		430		464		0.9267241379				75		27		389		416		0.9541284404				150		530		50		109		689

		2		445		13		451				13		82		30		0		37		342		379		0.9023746702								27		427		454		0.9405286344				10		447		457		0.9781181619				100		24		400		424		0.9724770642				200		567		44		65		676

		3		191		14		214																																														125		24		417		441		1.0114678899				250		605		31				636

		4		41		15		41																																														150		20		420		440		1.0091743119				300		612		31				643

		5		34		16		34																																														200		20		424		444		1.0183486239

		6		68		17		58																																														300		20		436		456		1.0458715596

		7		413		18		330

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.		D24		D25		#120		Int 1		#121		Int 2		#122		Int 3		Pulse sum		h		ideal				200 V		#120		Int 1		#121		Int 2		#122		Int 3		Pulse sum		h		400 V		#120		Int 1		#121		Int 2		#122		Int 3		Pulse sum		h						Volt scan		#120		Int 1		#121		Int 2		#122		Total		Normalised		Rout/total

				121		40		117				43		30		87		30		24		167		24		48		17		215		0.223255814		0		0				24		20		266		10		34		0		300		0.1133333333				10		0		372		-24		20		0		392		0.0510204082						50		0		0		61		0		24		85		0.2093596059		0

				122		51.7						44		40		77		24		15		140		31		54		117		194		0.2783505155		117		1				27		15		242		27		58		0		300		0.1933333333				0		0		376		-24		31		0		407		0.0761670762						100		20		0		106		0		34		140		0.3448275862		0

												45		50		67		24		20		99		37		65		0		164		0.3963414634								15		0		171		44		75		0		246		0.3048780488				10		0		311		0		75		0		386		0.1943005181						150		27		10		157		24		48		205		0.5049261084		0.0487804878

												47		70		47		0		0		58		41		95		0		153		0.6209150327								0		0		68		48		146		0		214		0.6822429907				0		0		61		17		270		0		331		0.8157099698						200		20		10		253		10		34		287		0.7068965517		0.0348432056

		#121		Amplitude		#122		Amplitude				48		80		37		0		0		65		41		143		10		208		0.6875								0		0		58		41		229		0		287		0.7979094077				0		0		34		0		366		-13		400		0.915						250		10		5		317		0		27		344		0.8472906404		0.0145348837

		38		345		49		366				49		90		27		0		0		51		34		157		0		208		0.7548076923								0		0		44		27		266		0		310		0.8580645161				0		0		27		0		376		-17		403		0.9330024814						300		0		0		349		0		31		380		0.9359605911		0

		39		37		50		201																																																																						350		0		0		362		-15		27		389		0.9581280788		0

		40		30		51		34																																																																						400		0		0		372		-17		34		406		1		0

		41		34		52		24																																																																						500		0		0		383		-20		27		410		1.0098522167		0

		42		195		53		58

		43		362		54		342

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				200 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		400 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h						Volt scan		#109		#110		Total		Normalised

				109		12.4		116				15		26		90		31		178		51		229		0.2227074236		0		0				15		280		24		304		0.0789473684						369		0		369		0						50		65		0		65		0.1747311828

				110		24						16		36		80		24		154		58		212		0.2735849057		116		1				24		263		41		304		0.1348684211						372		0		372		0						100		123		37		160		0.4301075269

												17		46		70		20		123		71		194		0.3659793814								30		215		71		286		0.2482517483						331		41		372		0.1102150538						150		171		51		222		0.5967741935

												19		66		50		0		68		95		163		0.5828220859								0		71		146		217		0.6728110599						58		242		300		0.8066666667						200		287		24		311		0.8360215054

		#109		Amplitude		#110		Amplitude				20		76		40		0		68		146		214		0.6822429907								0		58		242		300		0.8066666667						34		338		372		0.9086021505						250		334		0		334		0.8978494624

		10		308		21		291				21		86		30		0		58		167		225		0.7422222222								0		44		259		303		0.8547854785						0		345		345		1						300		351		0		351		0.9435483871

		11		37		22		208																																																				350		366		0		366		0.9838709677

		12		0		23		31																																																				400		372		0		372		1

		13		0		24		27																																																				500		383		0		383		1.0295698925

		14		225		25		31

		15		321		26		235

						27		285

		Bias 250 V		Strip #		Centre		Distance		100 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				300 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		400 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h						Volt scan		#72		#73		Total		Normalised

				72		29.1		114				31.5		24		90				253		34		287		0.118466899		0		0						355		1		356		0.0028089888						0		0		0		0						25		44		20		64		0.170212766

				73		40.5						32.5		34		80				242		48		290		0.1655172414		114		1						386		1		387		0.0025839793																		50		95		41		136		0.3617021277

												33.5		44		70				150		78		228		0.3421052632										280		41		321		0.1277258567																		75		150		58		208		0.5531914894

												35.5		64		50				54		120		174		0.6896551724										51		222		273		0.8131868132																		100		240		51		291		0.7739361702

		#72		Amplitude		#73		Amplitude				36.5		74		40				68		215		283		0.7597173145										17		376		393		0.9567430025																		125		311		27		338		0.8989361702

		27		249		38		311				37.5		84		30				41		253		294		0.8605442177										1		386		387		0.9974160207																		150		342		10		352		0.9361702128

		28		71		39		106				38		89		25				41		249		290		0.8586206897										20		355		375		0.9466666667																		200		355		10		365		0.9707446809

		28.5		25		40		20																																																				300		376		0		376		1

		29		0		41		31																																																				400		383		0		383		1.0186170213

		30		58		42		154

		31		256		43		334

		Bias 250 V		Strip #		Centre		Distance		100 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				150 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		300 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		200 V		Pulse Left		Pulse Right		Pulse sum		h		Volt scan		#92		#93		Total		Normalised

				92		37.8		116				40		22		94		20		146		41		187		0.2192513369		0		0						259		24		283		0.0848056537						352		1		353		0.0028328612				331		5		336		0.0148809524		50		65		10		75		0.2049180328

				93		49.4						41		32		84		20		140		44		184		0.2391304348		116		1						246		34		280		0.1214285714						369		1		370		0.0027027027				334		5		339		0.0147492625		75		95		10		105		0.2868852459

												42		42		74		24		112		51		163		0.3128834356										208		65		273		0.2380952381						355		1		356		0.0028089888				300		34		334		0.1017964072		100		129		27		156		0.4262295082

												44.5		67		49		0		68		89		157		0.5668789809										82		143		225		0.6355555556						65		256		321		0.7975077882				71		215		286		0.7517482517		125		167		27		194		0.5300546448

		#92		Amplitude		#93		Amplitude				45		72		44				71		103		174		0.591954023										78		198		276		0.7173913043						37		334		371		0.9002695418				54		291		345		0.8434782609		150		236		30		266		0.7267759563

		35		352		47		345				46		82		34				54		123		177		0.6949152542										54		236		290		0.8137931034						1		370		371		0.9973045822				41		328		369		0.8888888889		200		328		0		328		0.8961748634

		36		143		48		68				47		92		24				48		133		181		0.7348066298										48		259		307		0.8436482085						10		359		369		0.972899729				35		331		366		0.9043715847		250		355		0		355		0.9699453552

		37		17		49		0																																																										300		366		0		366		1

		38		17		49.5		0																																																										400		379		0		379		1.0355191257

		39		95		50		0

		40		325		51		116

						52		321

		Bias 250 V		Strip #		Centre		Distance		20 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				50 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		200 V		Pulse Left		Pulse Right		Pulse sum		h								Volt scan		#32		#33		Total		Normalised

				32		43.2		108				45.5		23		85		24		188		30		218		0.1376146789		0		0				24		317		1		318		0.0031446541				400		1		401		0.0024937656								10		89		41		130		0.3147699758

				33		54						46.5		33		75		20		174		44		218		0.2018348624		108		1				20		325		10		335		0.0298507463				410		1		411		0.00243309								20		171		41		212		0.5133171913

												47.5		43		65		24		123		65		188		0.3457446809								20		242		54		296		0.1824324324				342		37		379		0.0976253298								30		232		34		266		0.6440677966

												49		58		50		0		41		58		99		0.5858585859										44		109		153		0.7124183007				51		164		215		0.7627906977								50		321		0		321		0.7772397094

		#32		Amplitude		#33		Amplitude				49.5		63		45				68		116		184		0.6304347826										68		212		280		0.7571428571				65		297		362		0.820441989								75		362		0		362		0.8765133172

		40		393		51		413				50.5		73		35				58		157		215		0.7302325581										44		297		341		0.8709677419				24		389		413		0.9418886199								100		383		0		383		0.9273607748

		41		181		52		291				51		78		30				48		164		212		0.7735849057										41		304		345		0.8811594203				15		393		408		0.9632352941								150		396		0		396		0.9588377724

		42		31		53		51																																																				200		413		0		413		1

		43		24		54		17																																																				300		420		0		420		1.0169491525

		44		80		55		50

		45		359		56		280

						57		403

		Bias 250 V		Strip #		Centre		Distance		50 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				100 V		Pulse Left		Pulse Right		Pulse sum		h		300 V		Pulse Left		Pulse Right		Pulse sum		h										Volt scan		#53		#54		#55		#56		Total		Normalised

				54		39		110				42.5		35		75		24		259		37		296		0.125		0		0				352		1		353		0.0028328612				400		1		401		0.0024937656										10		13		27		41		13		68		0.17

				55		50						43		40		70		24		222		48		270		0.1777777778		110		1				331		1		332		0.0030120482				393		1		394		0.0025380711										25		20		61		109		20		170		0.425

												44		50		60		0		123		58		181		0.320441989								195		44		239		0.1841004184				239		41		280		0.1464285714										50				266		41				307		0.7675

												45.5		65		45		0		51		116		167		0.6946107784								42		178		220		0.8090909091				61		215		276		0.7789855072										75				334		14				348		0.87

		#54		Amplitude		#55		Amplitude				46		70		40				70		201		271		0.741697417								51		308		359		0.8579387187				51		355		406		0.8743842365										100				359		0				359		0.8975

		37		352		47		400				47		80		30				43		260		303		0.8580858086								17		355		372		0.9543010753				1		400		401		0.9975062344										150				372		0				372		0.93

		38		44		48		280																																																				200				383		0				383		0.9575

		39		27		49		41																																																				250				396		0				396		0.99

		40		51		50		20																																																				300				400		0				400		1

		41		266		51		51								512		63		575																																								400				406						406		1.015

		42		390		52		273

						53		410

		Bias 250 V		Strip #		Centre		Distance		50 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				100 V		Pulse Left		Pulse Right		Pulse sum		h		250 V		Pulse Left		Pulse Right		Pulse sum		h										Volt scan		#64		#65		Total		Normalised

				63		1		120				4.5		35		85		37		161		65		226		0.2876106195		0		0				317		1		318		0.0031446541				376		1		377		0.0026525199										25		34		75		109		0.2632850242

				64		13						5.5		45		75		30		137		82		219		0.3744292237		120		1				297		54		351		0.1538461538				376		15		391		0.0383631714										50		55		164		219		0.5289855072

												6		50		70		0		123		78		201		0.3880597015								249		58		307		0.1889250814				325		41		366		0.1120218579										75		37		290		327		0.7898550725

												7.5		65		55		0		38		51		89		0.5730337079								40		106		146		0.7260273973				51		129		180		0.7166666667										100		27		330		357		0.8623188406

		#63		Amplitude		#64		Amplitude				8		70		50				71		103		174		0.591954023								61		242		303		0.798679868				58		300		358		0.8379888268										150		27		359		386		0.9323671498

		-1		352		10		400				9		80		40				75		143		218		0.6559633028								41		325		366		0.8879781421				31		372		403		0.9230769231										200		24		372		396		0.9565217391

		0		44		11		280				10		90		30				51		164		215		0.7627906977								34		334		368		0.9076086957				20		389		409		0.9511002445										250		20		379		399		0.9637681159

		1		27		12		41																																																				300		24		382		406		0.9806763285

		2		51		13		20																																																				350		24		390		414		1

		3		266		14		51

		4		390		15		273





Irr. corr. (6)

		Bias 250 V		Strip #		Centre		Distance		100 V		Local coord.		D24		D25		Pulse Left		Pulse Right		Pulse sum		h		ideal				200 V		Pulse Left		Pulse Right		Pulse sum		h		300 V		Pulse Left		Pulse Right		Pulse sum		h				Volt scan		#13		#14		Total		Normalised						Strip #5		Volt scan		Normalised

				13		8.5		110				11		25		85		351		17		368		0.0461956522		0		0				369		17		386		0.0440414508				364		17		381		0.0446194226				20		5		205		210		0.4338842975						10		140		0.2868852459

				14		19.5						12		35		75		387		24		411		0.0583941606		110		1				414		24		438		0.0547945205				414		24		438		0.0547945205				30		5		273		278		0.5743801653						30		285		0.5840163934

												13		45		65		328		54		382		0.1413612565								374		55		429		0.1282051282				383		48		431		0.1113689095				40		54		323		377		0.7789256198						50		393		0.8053278689

												14		55		55		154		73		227		0.3215859031								164		59		223		0.264573991				173		68		241		0.2821576763				50		45		360		405		0.8367768595						70		434		0.8893442623

		#13		Amplitude		#14		Amplitude				15		65		45		54		223		277		0.8050541516								63		264		327		0.8073394495				82		278		360		0.7722222222				75		41		405		446		0.9214876033						100		454		0.9303278689

		6		364		17		351				16		75		35		36		378		414		0.9130434783								36		424		460		0.9217391304				32		424		456		0.9298245614				100		32		428		460		0.9504132231						150		468

		7		164		18		164				17		85		25		23		414		437		0.9473684211								23		460		483		0.9523809524				20		464		484		0.958677686				120		23		437		460		0.9504132231						200		485		0.993852459

		8		30		19		0																																												150		27		446		473		0.9772727273						300		488		1

		9		0		20		0																																												200		23		455		478		0.9876033058

		10		209		21		196																																												300		20		464		484		1

		11		370		22		392

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.		D24		D25		#120		Int 1		#121		Int 2		#122		Int 3		Pulse sum		h		ideal				200 V		#120		Int 1		#121		Int 2		#122		Int 3		Pulse sum		h		400 V		#120		Int 1		#121		Int 2		#122		Int 3		Pulse sum		h						Volt scan		#120		Int 1		#121		Int 2		#122		Total		Normalised

				121		40		117				43		30		87		30		24		167		24		48		17		215		0.223255814		0		0				24		20		266		10		34		0		300		0.1133333333				10		0		372		-24		20		0		392		0.0510204082						50		0		0		61		0		24		85		0.2093596059

				122		51.7						44		40		77		24		15		140		31		54		117		194		0.2783505155		117		1				27		15		242		27		58		0		300		0.1933333333				0		0		376		-24		31		0		407		0.0761670762						100		20		0		106		0		34		140		0.3448275862

												45		50		67		24		20		99		37		65		0		164		0.3963414634								15		0		171		44		75		0		246		0.3048780488				10		0		311		0		75		0		386		0.1943005181						150		27		10		157		24		48		205		0.5049261084

												47		70		47		0		0		58		41		95		0		153		0.6209150327								0		0		68		48		146		0		214		0.6822429907				0		0		61		17		270		0		331		0.8157099698						200		20		10		253		10		34		287		0.7068965517

		#121		Amplitude		#122		Amplitude				48		80		37		0		0		65		41		143		10		208		0.6875								0		0		58		41		229		0		287		0.7979094077				0		0		34		0		366		-13		400		0.915						250		10		5		317		0		27		344		0.8472906404

		38		345		49		366				49		90		27		0		0		51		34		157		0		208		0.7548076923								0		0		44		27		266		0		310		0.8580645161				0		0		27		0		376		-17		403		0.9330024814						300		0		0		349		0		31		380		0.9359605911

		39		37		50		201																																																																						350		0		0		362		-15		27		389		0.9581280788

		40		30		51		34																																																																						400		0		0		372		-17		34		406		1

		41		34		52		24																																																																						500		0		0		383		-20		27		410		1.0098522167

		42		195		53		58

		43		362		54		342

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				200 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		400 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h						Volt scan		#109		#110		Total		Normalised

				109		12.4		116				15		26		90		31		178		51		229		0.2227074236		0		0				15		280		24		304		0.0789473684						369		15		384		0.0390625						50		65		0		65		0.1747311828

				110		24						16		36		80		24		154		58		212		0.2735849057		116		1				24		263		41		304		0.1348684211						372		24		396		0.0606060606						100		123		37		160		0.4301075269

												17		46		70		20		123		71		194		0.3659793814								30		215		71		286		0.2482517483						331		41		372		0.1102150538						150		171		51		222		0.5967741935

												19		66		50		0		68		95		163		0.5828220859								0		71		146		217		0.6728110599						58		242		300		0.8066666667						200		287		24		311		0.8360215054

		#109		Amplitude		#110		Amplitude				20		76		40		0		68		146		214		0.6822429907								0		58		242		300		0.8066666667						34		338		372		0.9086021505						250		334		0		334		0.8978494624

		10		308		21		291				21		86		30		0		58		167		225		0.7422222222								0		44		259		303		0.8547854785						15		345		360		0.9583333333						300		351		0		351		0.9435483871

		11		37		22		208																																																				350		366		0		366		0.9838709677

		12		0		23		31																																																				400		372		0		372		1

		13		0		24		27																																																				500		383		0		383		1.0295698925

		14		225		25		31

		15		321		26		235

						27		285

		Bias 250 V		Strip #		Centre		Distance		100 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				300 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		400 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h						Volt scan		#72		#73		Total		Normalised

				72		29.1		114				31.5		24		90				253		34		287		0.118466899		0		0						355		14		369		0.0379403794						0		0		0		0						25		44		20		64		0.170212766

				73		40.5						32.5		34		80				242		48		290		0.1655172414		114		1						386		25		411		0.0608272506																		50		95		41		136		0.3617021277

												33.5		44		70				150		78		228		0.3421052632										280		56		336		0.1666666667																		75		150		58		208		0.5531914894

												35.5		64		50				54		120		174		0.6896551724										51		222		273		0.8131868132																		100		240		51		291		0.7739361702

		#72		Amplitude		#73		Amplitude				36.5		74		40				68		215		283		0.7597173145										17		376		393		0.9567430025																		125		311		27		338		0.8989361702

		27		249		38		311				37.5		84		30				41		253		294		0.8605442177										1		386		387		0.9974160207																		150		342		10		352		0.9361702128

		28		71		39		106				38		89		25				41		249		290		0.8586206897										20		355		375		0.9466666667																		200		355		10		365		0.9707446809

		28.5		25		40		20																																																				300		376		0		376		1

		29		0		41		31																																																				400		383		0		383		1.0186170213

		30		58		42		154

		31		256		43		334

		Bias 250 V		Strip #		Centre		Distance		100 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				150 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		300 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		200 V		Pulse Left		Pulse Right		Pulse sum		h		Volt scan		#92		#93		Total		Normalised

				92		37.8		116				40		22		94		20		146		41		187		0.2192513369		0		0						259		24		283		0.0848056537						352		15		367		0.0408719346				331		20		351		0.056980057		50		65		10		75		0.2049180328

				93		49.4						41		32		84		20		140		44		184		0.2391304348		116		1						246		34		280		0.1214285714						369		27		396		0.0681818182				334		29		363		0.0798898072		75		95		10		105		0.2868852459

												42		42		74		24		112		51		163		0.3128834356										208		65		273		0.2380952381						355		36		391		0.0920716113				300		55		355		0.1549295775		100		129		27		156		0.4262295082

												44.5		67		49		0		68		89		157		0.5668789809										82		143		225		0.6355555556						65		256		321		0.7975077882				71		215		286		0.7517482517		125		167		27		194		0.5300546448

		#92		Amplitude		#93		Amplitude				45		72		44				71		103		174		0.591954023										78		198		276		0.7173913043						37		334		371		0.9002695418				54		291		345		0.8434782609		150		236		30		266		0.7267759563

		35		352		47		345				46		82		34				54		123		177		0.6949152542										54		236		290		0.8137931034						1		370		371		0.9973045822				41		328		369		0.8888888889		200		328		0		328		0.8961748634

		36		143		48		68				47		92		24				48		133		181		0.7348066298										48		259		307		0.8436482085						10		359		369		0.972899729				35		331		366		0.9043715847		250		355		0		355		0.9699453552

		37		17		49		0																																																										300		366		0		366		1

		38		17		49.5		0																																																										400		379		0		379		1.0355191257

		39		95		50		0

		40		325		51		116

						52		321

		Bias 250 V		Strip #		Centre		Distance		20 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				50 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		200 V		Pulse Left		Pulse Right		Pulse sum		h								Volt scan		#32		#33		Total		Normalised

				32		43.2		108				45.5		23		85		24		188		30		218		0.1376146789		0		0				24		317		14		331		0.0422960725				400		15		415		0.0361445783								10		89		41		130		0.3147699758

				33		54						46.5		33		75		20		174		44		218		0.2018348624		108		1				20		325		30		355		0.0845070423				410		25		435		0.0574712644								20		171		41		212		0.5133171913

												47.5		43		65		24		123		65		188		0.3457446809								20		242		74		316		0.2341772152				342		37		379		0.0976253298								30		232		34		266		0.6440677966

												49		58		50		0		41		58		99		0.5858585859										44		109		153		0.7124183007				51		164		215		0.7627906977								50		321		0		321		0.7772397094

		#32		Amplitude		#33		Amplitude				49.5		63		45				68		116		184		0.6304347826										68		212		280		0.7571428571				65		297		362		0.820441989								75		362		0		362		0.8765133172

		40		393		51		413				50.5		73		35				58		157		215		0.7302325581										44		297		341		0.8709677419				24		389		413		0.9418886199								100		383		0		383		0.9273607748

		41		181		52		291				51		78		30				48		164		212		0.7735849057										41		304		345		0.8811594203				15		393		408		0.9632352941								150		396		0		396		0.9588377724

		42		31		53		51																																																				200		413		0		413		1

		43		24		54		17																																																				300		420		0		420		1.0169491525

		44		80		55		50

		45		359		56		280

						57		403

		Bias 250 V		Strip #		Centre		Distance		50 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				100 V		Pulse Left		Pulse Right		Pulse sum		h		300 V		Pulse Left		Pulse Right		Pulse sum		h										Volt scan		#53		#54		#55		#56		Total		Normalised

				54		39		110				42.5		35		75		24		259		37		296		0.125		0		0				352		15		367		0.0408719346				400		17		417		0.0407673861										10		13		27		41		13		68		0.17

				55		50						43		40		70		24		222		48		270		0.1777777778		110		1				331		25		356		0.0702247191				393		29		422		0.0687203791										25		20		61		109		20		170		0.425

												44		50		60		0		123		58		181		0.320441989								195		55		250		0.22				239		61		300		0.2033333333										50				266		41				307		0.7675

												45.5		65		45		0		51		116		167		0.6946107784								42		178		220		0.8090909091				61		215		276		0.7789855072										75				334		14				348		0.87

		#54		Amplitude		#55		Amplitude				46		70		40				70		201		271		0.741697417								51		308		359		0.8579387187				51		355		406		0.8743842365										100				359		0				359		0.8975

		37		352		47		400				47		80		30				43		260		303		0.8580858086								17		355		372		0.9543010753				1		400		401		0.9975062344										150				372		0				372		0.93

		38		44		48		280																																																				200				383		0				383		0.9575

		39		27		49		41																																																				250				396		0				396		0.99

		40		51		50		20																																																				300				400		0				400		1

		41		266		51		51								512		63		575																																								400				406						406		1.015

		42		390		52		273

						53		410

		Bias 250 V		Strip #		Centre		Distance		50 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				100 V		Pulse Left		Pulse Right		Pulse sum		h		250 V		Pulse Left		Pulse Right		Pulse sum		h										Volt scan		#64		#65		Total		Normalised

				63		1		120				4.5		35		85		37		161		65		226		0.2876106195		0		0				317		15		332		0.0451807229				376		15		391		0.0383631714										25		34		75		109		0.2632850242

				64		13						5.5		45		75		30		137		82		219		0.3744292237		120		1				297		50		347		0.144092219				376		39		415		0.0939759036										50		55		164		219		0.5289855072

												6		50		70		0		123		78		201		0.3880597015								249		54		303		0.1782178218				325		61		386		0.1580310881										75		37		290		327		0.7898550725

												7.5		65		55		0		38		51		89		0.5730337079								40		106		146		0.7260273973				51		129		180		0.7166666667										100		27		330		357		0.8623188406

		#63		Amplitude		#64		Amplitude				8		70		50				71		103		174		0.591954023								61		242		303		0.798679868				58		300		358		0.8379888268										150		27		359		386		0.9323671498

		-1		352		10		400				9		80		40				75		143		218		0.6559633028								41		325		366		0.8879781421				31		372		403		0.9230769231										200		24		372		396		0.9565217391

		0		44		11		280				10		90		30				51		164		215		0.7627906977								34		334		368		0.9076086957				20		389		409		0.9511002445										250		20		379		399		0.9637681159

		1		27		12		41																																																				300		24		382		406		0.9806763285

		2		51		13		20																																																				350		24		390		414		1

		3		266		14		51

		4		390		15		273





Irr. corr. (6)

		0		1		0

		0				0

		0				0

		0				0

		0				0

		0				0

		0				0

		0				0

		0

		0



0

1

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



Irradiated (6)

		

		Vfd

		Normalised		10		30		50		70		120

		50		0.2016		0.2		0.1500938086		0.1529411765		0.2610294118

		100		0.3248		0.2585365854		0.3114446529		0.3025210084		0.4393382353

		150		0.4832		0.4170731707		0.4671669794		0.4352941176		0.8088235294

		200		0.656		0.6		0.6303939962		0.6268907563		0.9227941176

		250		0.8032		0.8097560976		0.8105065666		0.7613445378		0.9430147059

		300		0.9104		0.856097561		0.8780487805		0.8789915966		0.9411764706

		350		0.928		0.8902439024		0.9099437148		0.9176470588		0.9724264706

		400		0.9696		0.9268292683		0.9230769231		0.9193277311		0.9852941176

		500		1		1		1		1		1

		Strip #		VFD

		10

		30

		50

		70

		120

		Eta scan		#10		#11

								D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		Norm. pulse

								20		90		239		62		301		0.2059800664		0		0				20		90		409		59		468		0.1260683761		0.6688888889

								30		80		350		76		426		0.1784037559		110		1				30		80		582		32		614		0.0521172638		0.9466666667

								40		70		298		104		402		0.2587064677								40		70		520		60		580		0.1034482759		0.8933333333

								50		60		149		83		232		0.3577586207								50		60		270		76		346		0.2196531792		0.5155555556

								60		50		90		152		242		0.6280991736								60		50		100		281		381		0.7375328084		0.5377777778

								70		40		118		291		409		0.7114914425								70		40		80		544		624		0.8717948718		0.9088888889

								80		30		94		357		451		0.7915742794								80		30		55		564		619		0.9111470113		1.0022222222

								90		20		80		277		357		0.7759103641								90		20		76		447		523		0.8546845124		0.7933333333

				#30		#31		200 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		Norm. pulse

										20		90		114		61		175		0.3485714286		0		0				20		90		195		58		253		0.2292490119		0.6730769231

										30		80		168		47		215		0.2186046512		110		1				30		80		309		15		324		0.0462962963		0.8269230769

										40		70		160		75		235		0.3191489362								40		70		328		27		355		0.076056338		0.9038461538

										50		60		95		73		168		0.4345238095								50		60		161		58		219		0.2648401826		0.6461538462

										60		50		39		65		104		0.625								60		50		56		91		147		0.619047619		0.4

										70		40		58		147		205		0.7170731707								70		40		51		303		354		0.8559322034		0.7884615385

										80		30		52		203		255		0.7960784314								80		30		15		372		387		0.9612403101		0.9807692308

										90		20		42		198		240		0.825								90		20		10		367		377		0.9734748011		0.9230769231

				#50		#51		200 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		Norm. pulse

										20		90		253		45		298		0.1510067114		0		0				20		90		429		24		453		0.0529801325		0.903030303

										30		80		225		55		280		0.1964285714		110		1				30		80		423		32		455		0.0703296703		0.8484848485

										40		70		177		86		263		0.3269961977								40		70		385		72		457		0.1575492341		0.796969697

										50		60		0		0		0										50		60		0		0		0				0

										60		50		62		128		190		0.6736842105								60		50		69		267		336		0.7946428571		0.5757575758

										70		40		83		232		315		0.7365079365								70		40		42		461		503		0.916500994		0.9545454545

										80		30		52		277		329		0.8419452888								80		30		28		461		489		0.9427402863		0.996969697

										90		20		55		270		325		0.8307692308								90		20		24		468		492		0.9512195122		0.9848484848

				#70		#71		200 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		Norm. pulse

										20		95		263		55		318		0.1729559748		0		0				20		95		395		59		454		0.1299559471		0.7066666667

										30		85		374		42		416		0.1009615385		115		1				30		85		547		20		567		0.0352733686		0.9244444444

										40		75		315		76		391		0.1943734015								40		75		550		38		588		0.0646258503		0.8688888889

										50		65		121		55		176		0.3125								50		65		204		58		262		0.2213740458		0.3911111111

										60		55		48		50		98		0.5102040816								60		55		59		83		142		0.5845070423		0.2177777778

										70		45		114		253		367		0.689373297								70		45		66		499		565		0.8831858407		0.8155555556

										80		35		76		333		409		0.8141809291								80		35		38		561		599		0.9365609349		0.9088888889

										90		25		66		381		447		0.8523489933								90		25		34		513		547		0.9378427788		0.9933333333

				#120		#121		200 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		Norm. pulse

										20		100		346		121		467		0.2591006424		0		0				20		100		377		135		512		0.263671875		0.6867647059

										30		90		616		59		675		0.0874074074		115		1				30		90		682		48		730		0.0657534247		0.9926470588

										40		80		616		62		678		0.0914454277								40		80		665		52		717		0.0725244073		0.9970588235

										50		70		308		55		363		0.1515151515								50		70		385		66		451		0.1463414634		0.7117647059

										60		60		59		59		118		0.5								60		60		66		66		132		0.5		0.231372549

										70		50		90		360		450		0.8								70		50		86		450		536		0.8395522388		0.8823529412

										80		40		59		450		509		0.884086444								80		40		42		520		562		0.9252669039		0.9980392157

										90		30		38		468		506		0.9249011858								90		30		28		523		551		0.9491833031		0.9921568627

				Sample of metal strip scan

		#10		#10		Amplitude		Norm. ampl.

		25.5		0		491		0.982

		26		5		376		0.752

		26.5		10		173		0.346

		27.5		20		0		0

		28		25		0		0

		28.5		30		0		0

		29.5		40		108.6		0.2172

		30		45		310		0.62

		30.5		50		472		0.944

		Strip		#90		#91		200 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		Pulse Left		Pulse Right		Pulse sum		h

										38		30		87.5		329		38		367		0.1035422343		0		0				436		14		450		0.0311111111

										39		40		77.5		281		69		350		0.1971428571		117.5		1				433		25		458		0.0545851528

										40		50		67.5		142		83		225		0.3688888889								235		76		311		0.2443729904

										41		60		57.5		52		86		138		0.6231884058								38		136		174		0.7816091954

										42		70		47.5		94		274		368		0.7445652174								48		485		533		0.9099437148

										43		80		37.5		48		385		433		0.8891454965								0		526		526		1

										44		90		27.5		38		402		440		0.9136363636								0		523		523		1

		Strip #		150 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				200 V		Pulse Left		Pulse Right		Pulse sum		h		400 V		Pulse Left		Pulse Right		Pulse sum		h

		100				24		30		85		276		71		347		0.204610951		0		0				405		25		430		0.0581395349				509		24		533		0.0450281426

		101				25		40		75		233		104		337		0.3086053412		115		1				388		74		462		0.1601731602				516		38		554		0.0685920578

						26		50		65		91		57		148		0.3851351351								142		54		196		0.2755102041				219		62		281		0.2206405694

						27		60		55		51		67		118		0.5677966102								64		101		165		0.6121212121				67		148		215		0.688372093

						28		70		45		121		202		323		0.6253869969								111		317		428		0.7406542056				61		476		537		0.886405959

						29		80		35		91		250		341		0.7331378299								71		385		456		0.8442982456				37		496		533		0.9305816135

						30		90		25		74		290		364		0.7967032967								57		425		482		0.8817427386				34		519		553		0.938517179

		New 0 position

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		Ideal				200 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		400 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h

				120		22.2		118				25		28		90		32		0		333		23		50		0		0		383		0.1305483029		0		0				25		250		-250		13		0		396		-13		35		0		0		431		0.0812064965				25		250		-250		10		0		469		-23		32		0		0		501		0.0638722555

				121		34						26		38		80		32		0		314		30		54		0		0		368		0.1467391304		118		1				26		260		-260		23		0		424		-13		36		0		0		460		0.0782608696				26		260		-260		0		0		469		-27		30		0		0		499		0.0601202405

												27		48		70		27		0		259		54		86		0		13		345		0.2492753623								27		270		-270		0		0		387		23		68		0		0		455		0.1494505495				27		270		-270		0		0		492		-23		63		0		0		555		0.1135135135

												28		58		60		0		0		41		0		27		0		0		68		0.3970588235								28		280		-280		0		0		59		0		41		0		0		100		0.41				28		280		-280		0		0		77		0		45		0		0		122		0.368852459

		#121		Ampitude		#121		Amplitude				29		68		50		18		0		68		41		132		0		32		200		0.66								29		290		-290		0		0		59		32		178		0		0		237		0.7510548523				29		290		-290		0		0		73		18		273		0		32		346		0.789017341

		20		483		32		451				30		78		40		18		0		86		68		264		0		27		350		0.7542857143								30		300		-300		0		0		50		10		506		-18		0		556		0.9100719424				30		300		-300		0		0		50		10		506		-18		0		556		0.9100719424

		21		86		33		54				31		88		30		0				63		50		342		0		32		405		0.8444444444								31		310		-310		0		0		41		18		428		-23		18		469		0.9125799574				31		310		-310		0		0		36		0		496		-23		18		532		0.9323308271

		22		45		34		32

		23		23		35		45				Estimated strip width:

		24		154		36		387				35 µm

		25		470





Irradiated (6)

		0		0		0

		0		0		0

		0		0

		0		0

		0		0

		0		0



200 Volts

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #650-651

0

0

0

0

0

0

0

0

0

0

0

0

0

0



Irr. (7)

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D24		D25		Pulse 24		Pulse 25		Pulse sum		h		ideal				400 V		Local coord.		D24		D25		Pulse 24		Pulse 25		Pulse sum		h

				24		22.2		120				24.5		23		97		589		98		687		0.1426491994		0		0				24.5		23		97		841		0		841		0

				25		34.2						25.5		33		87		663		135		798		0.1691729323		120		1				25.5		33		87		892		0		892		0

												26.5		43		77		565		140		705		0.1985815603								26.5		43		77		841		61		902		0.0676274945

												27.5		53		67		425		233		658		0.3541033435								27.5		53		67		715		332		1047		0.3170964661

		#24		Amplitude		#25		Amplitude				28		58		62		388		318		706		0.4504249292								28		58		62		607		514		1121		0.4585191793

		20.5		715		32		738				28.5		63		57		322		388		710		0.5464788732								28.5		63		57		402		691		1093		0.6322049405

		21		579		32.5		663				29.5		73		47		196		520		716		0.7262569832								29.5		73		47		135		888		1023		0.8680351906

		21.5		462		33		486				30.5		83		37		201		645		846		0.7624113475								30.5		83		37		140		906		1046		0.8661567878

		22		374		33.5		402				31.5		93		27		140		551		691		0.7973950796								31.5		93		27		112		850		962		0.8835758836

		22.5		340		34		336				32		98		22		112		490		602		0.8139534884								32		98		22		98		771		869		0.8872266974

		23		416		34.5		327

		23.5		551		35		378

		24		631		35.5		462

		24.5		757		36		603

						36.5		705

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D39		D40		Pulse 39		Pulse 40		Pulse sum		h		ideal				400 V		Local coord.		D39		D40		Pulse 39		Pulse 40		Pulse sum		h

				39		38.5		120				41		25		95		537		98		635		0.1543307087		0		0				41		25		95		818		0		818		0

				40		50.5						42		35		85		598		159		757		0.2100396301		120		1				42		35		85		850		0		850		0

												43		45		75		495		159		654		0.2431192661								43		45		75		780		60		840		0.0714285714

												44		55		65		378		290		668		0.4341317365								44		55		65		663		397		1060		0.3745283019

		#39		Amplitude		#40		Amplitude				45		65		55		252		411		663		0.6199095023								45		65		55		360		673		1033		0.651500484

		37.5		446		49.5		474				46		75		45		168		547		715		0.765034965								46		75		45		126		892		1018		0.8762278978

		38.5		265		50.5		339				47		85		35		173		659		832		0.7920673077								47		85		35		103		897		1000		0.897

		39		274		51		367				48		95		25		135		603		738		0.8170731707								48		95		25		89		836		925		0.9037837838

		39.5		395		51.5		442				49		105		15		84		406		490		0.8285714286								49		105		15		84		682		766		0.8903394256

		40.5		553		52.5		679				50		115		5		70		276		346		0.7976878613								50		115		5		65		462		527		0.8766603416

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D64		D65		Pulse 64		Pulse 65		Pulse sum		h		ideal				400 V		Local coord.		D64		D65		Pulse 64		Pulse 65		Pulse sum		h

				64		38		118				39.5		15		103		509		84		593		0.1416526138		0		0				39.5		15		103		761		0		761		0

				65		49.8						40.5		25		93		738		135		873		0.1546391753		120		1				40.5		25		93		836		0		836		0

												41.5		35		83		715		135		850		0.1588235294								41.5		35		83		888		0		888		0

												42.5		45		73		593		206		799		0.2578222778								42.5		45		73		803		177		980		0.5581632653

		#64		Amplitude		#65		Amplitude				43.5		55		63		472		383		855		0.4479532164								43.5		55		63		654		547		1201		0.6378018318

		37		458		48.5		537				44.5		65		53		313		530		843		0.6287069988								44.5		65		53		318		766		1084		0.7066420664

		38		322		49.5		322				45.5		75		43		219		696		915		0.7606557377								45.5		75		43		126		902		1028		0.8774319066

		38.5		472		50		332				46.5		85		33		224		748		972		0.7695473251								46.5		85		33		131		916		1047		0.8748806113

		39		579		50.5		411				47.5		95		23		135		589		724		0.8135359116								47.5		95		23		98		813		911		0.8924259056

		40		813		51.5		705				48		100		18		121		514		635		0.8094488189								48		100		18		107		733		840		0.8726190476

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D85		D86		Pulse 85		Pulse 86		Pulse sum		h		ideal				400 V		Local coord.		D85		D86		Pulse 85		Pulse 86		Pulse sum		h		h-1

				85		46.5		120				47		5		115		472		89		561		0.8413547237		0		0				47		5		115		551		65		616		0.1055194805		0.8944805195

				86		58.5						48		15		105		705		89		794		0.8879093199		120		1				48		15		105		813		51		864		0.0590277778		0.9409722222

												49		25		95		864		117		981		0.880733945								49		25		95		920		0		920		0		1

												50		35		85		874		187		1061		0.8237511781								50		35		85		911		70		981		0.0713557594		0.9286442406

		#85		Amplitude		#86		Amplitude				51		45		75		799		201		1000		0.799								51		45		75		897		107		1004		0.1065737052		0.8934262948

		45		654		57		663				52		55		65		645		486		1131		0.5702917772								52		55		65		780		589		1369		0.4302410519		0.5697589481

		46		462		58		504				53		65		55		430		705		1135		0.3788546256								53		65		55		453		794		1247		0.6367281476		0.3632718524

		46.5		486		58.5		477				54		75		45		248		813		1061		0.2337417531								54		75		45		126		874		1000		0.874		0.126

		47		598		59		598				55		85		35		266		860		1126		0.2362344583								55		85		35		131		883		1014		0.8708086785		0.1291913215

		48		775		60		813				56		95		25		149		771		920		0.1619565217								56		95		25		107		845		952		0.887605042		0.112394958

												57		105		15		112		654		766		0.1462140992								57		105		15		93		705		798		0.8834586466		0.1165413534

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D85		D86		Pulse 85		Pulse 86		Pulse sum		h		ideal				Local coord.		D85		D86		Pulse 85		Pulse 86		Pulse sum		h

				120		25.5		120				27.5		20		100		472		89		561		0.1586452763		0		0		27.5		20		100		845		210		1055		0.1990521327

				121		37.5						28.5		30		90		705		89		794		0.1120906801		120		1		28.5		30		90		892		173		1065		0.1624413146

												29.5		40		80		864		117		981		0.119266055						29.5		40		80		916		177		1093		0.1619396157

												30.5		50		70		874		187		1061		0.1762488219						30.5		50		70		850		570		1420		0.4014084507

		#120		Amplitude		#121		Amplitude				31.5		60		60		799		201		1000		0.201						31.5		60		60		640		827		1467		0.5637355147

		24.5		719		36		794				32.5		70		50		645		486		1131		0.4297082228						32.5		70		50		187		900		1087		0.8279668813

		25.5		369		37		519				33.5		80		40		430		705		1135		0.6211453744						33.5		80		40		112		920		1032		0.8914728682

		26		561		37.5		481				34.5		90		30		248		813		1061		0.7662582469						34.5		90		30		177		911		1088		0.8373161765

		26.5		794		38		757				35.5		100		20		266		860		1126		0.7637655417						35.5		100		20		154		855		1009		0.8473736373

		27.5		902		39		888				36.5		110		10		635		771		1406		0.5483641536						36.5		110		10		168		673		841		0.8002378121

				Strip numbers																																																														Normalised

		Bias		24		25		total		39		40		total		64		65		total		84		85		86		87		total		total		64		65		total		99		100		total		73		74		total		120		121		total										1		2		3		4		5		6		7

		50		173		56		229		32		140		172		79		187		266		51		191		149		42		433		340		139		354		493		163		189		352		200		88		288		453		173		626										0.257751938		0.2470978441		0.2458423717		0.3912698413		0.2693190513		0.24		0.5424610052

		100		257		61		318		70		257		327		159		378		537		70		330		257		56		713		587		232		604		836		316		373		689		421		201		622		719		383		1102										0.5203488372		0.4262023217		0.424439624		0.6634920635		0.5271614384		0.5183333333		0.9549393414

		150		402		93		495		117		411		528		210		532		742		100		514		402		75		1091		916		378		796		1174		426		516		942		593		294		887		934		229		1163										0.7189922481		0.6666666667		0.6623282719		0.9317460317		0.7207345065		0.7391666667		1.0077989601

		200		589		98		687		131		589		720		219		719		938		75		659		467		47		1248		1126		378		889		1267		479		612		1091		779		255		1034		953		223		1176										0.9089147287		0.7744610282		0.8141720897		1.0055555556		0.8347360367		0.8616666667		1.0190641248

		250		748		0		748		112		743		855		191		818		1009		60		743		519		32		1354		1262		308		941		1249		506		699		1205		950		245		1195		948		238		1186										0.9777131783		0.8606965174		0.9125090383		0.9912698413		0.921958684		0.9958333333		1.027729636

		300		775		0		775		98		813		911		159		892		1051		51		771		551				1373		1322		250		994		1244		516		742		1258		1000		167		1167		948		215		1163										1.0184108527		0.9137645108		0.9558929863		0.9873015873		0.9625095639		0.9725		1.0077989601

		350		803		0		803		89		841		930		145		888		1033		37		743		547				1327		1290		221		1017		1238		512		742		1254		1053		167		1220		939		206		1145										1.0009689922		0.9071310116		0.9327548807		0.9825396825		0.9594491201		1.0166666667		0.9922010399

		400		841		0		841		89		892		981		140		888		1028		32		743		542				1317		1285		221		1029		1250		516		745		1261		1063		176		1239		950		238		1188										0.996124031		0.8988391376		0.9291395517		0.9920634921		0.9648048967		1.0325		1.0294627383

		500		860		0		860		84		850		934		154		878		1032		47		780		603				1430		1383		220		1040		1260		522		785		1307		1063		137		1200		944		210		1154										1		1		1		1		1		1		1

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D64		D65		Pulse 64		Pulse 65		Pulse sum		h		ideal				Local coord.		D64		D65		Pulse 64		Pulse 65		Pulse sum		h

				64		41		120				43		20		100		901		198		1099		0.1801637853		0		0		43		20		100		994		157		1151		0.1364031277

				65		53						44		30		90		930		343		1273		0.2694422624		120		1		44		30		90		1000		190		1190		0.1596638655

												45		40		80		901		337		1238		0.2722132472						45		40		80		970		180		1150		0.1565217391

												46		50		70		773		529		1302		0.4062980031						46		50		70		901		575		1476		0.3895663957

		#64		Amplitude		#65		Amplitude				47		60		60		616		755		1371		0.5506929249						47		60		60		762		883		1645		0.5367781155

		39		889		51		906				48		70		50		424		860		1284		0.6697819315						48		70		50		256		947		1203		0.78719867

		40		703		52		726				49		80		40		420		959		1379		0.6954314721						49		80		40		186		988		1174		0.8415672913

		40.5		453		52.5		465				50		90		30		325		912		1237		0.7372675829						50		90		30		192		994		1186		0.8381112985

		41		395		53		424				51		100		20		227		831		1058		0.7854442344						51		100		20		180		924		1104		0.8369565217

		42		837		54		813

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D99		D100		Pulse 99		Pulse 100		Pulse sum		h		ideal				Local coord.		D99		D100		Pulse 99		Pulse 100		Pulse sum		h

				99		4		120				6		20		100		872		86		958		0.0897703549		0		0		6		20		100		908		0		908		0

				100		16						7		30		90		902		140		1042		0.1343570058		120		1		7		30		90		942		23		965		0.0238341969

												8		40		80		855		133		988		0.1346153846						8		40		80		918		43		961		0.0447450572

												9		50		70		722		100		822		0.1216545012						9		50		70		815		403		1218		0.3308702791

		#99		Amplitude		#100		Amplitude				10		60		60		532		652		1184		0.5506756757						10		60		60		549		745		1294		0.5757341577

		2		832		14		772				11		70		50		270		785		1055		0.7440758294						11		70		50		130		892		1022		0.8727984344

		3		691		15		562				12		80		40		226		888		1114		0.7971274686						12		80		40		86		945		1031		0.916585839

		3.5		452		15.5		393				13		90		30		206		878		1084		0.8099630996						13		90		30		93		905		998		0.9068136273

		4		393		16		432				14		100		20		180		749		929		0.8062432723						14		100		20		165		815		980		0.8316326531

		5		729		17		749

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D73		D74		Pulse 73		Pulse 74		Pulse sum		h		ideal				Local coord.		D73		D74		Pulse 73		Pulse 74		Pulse sum		h

				73		5.5		120				6		5		115		384		384		768		0.5		0		0		6		5		115		503		503		1006		0.5

				74		17.5						7		15		105		648		113		761		0.1484888305		120		1		7		15		105		761		25		786		0.0318066158

												8		25		95		799		138		937		0.1472785486						8		25		95		899		22		921		0.0238870793

												9		35		85		818		157		975		0.161025641						9		35		85		950		16		966		0.016563147

		#73		Amplitude		#74		Amplitude				10		45		75		657		223		880		0.2534090909						10		45		75		872		111		983		0.1129196338

		3.5		767		15.5		755				11		55		65		555		456		1011		0.4510385757						11		55		65		761		531		1292		0.4109907121

		4.5		569		16.5		549				12		65		55		353		603		956		0.6307531381						12		65		55		317		797		1114		0.7154398564

		5		368		17		362				13		75		45		270		837		1107		0.756097561						13		75		45		108		1093		1201		0.9100749376

		5.5		299		17.5		396				14		85		35		309		936		1245		0.7518072289						14		85		35		108		1112		1220		0.9114754098

		6.5		613		18		679				15		95		25		230		916		1146		0.7993019197						15		95		25		83		1044		1127		0.92635315

		Strip #		10		11		Total		30		31		Total		50		51		Total		70		71		Total		90		91		Total		110		111		Total		Normalised		10		30		50		70		90		110

		50		67		15		82		38		8		46		36		15		51		50		10		60		74		18		92		616		180		796		50		0.1876430206		0.1916666667		0.2015810277		0.1754385965		0.2105263158		0.6683459278

		100		119		37		156		66		11		77		60		27		87		79		26		105		126		33		159		831		331		1162		100		0.356979405		0.3208333333		0.3438735178		0.3070175439		0.3638443936		0.9756507137

		150		158		43		201		86		23		109		85		27		112		116		34		150		208		54		262		906		285		1191		150		0.4599542334		0.4541666667		0.442687747		0.4385964912		0.5995423341		1

		200		262		34		296		138		18		156		136		27		163		186		30		216		324		0		324		936		198		1134		200		0.6773455378		0.65		0.6442687747		0.6315789474		0.7414187643		0.9521410579

		250		353		0		353		186		0		186		186		0		186		255		0		255		371		0		371		941		157		1098		250		0.8077803204		0.775		0.7351778656		0.7456140351		0.8489702517		0.9219143577

		300		398		0		398		213		0		213		215		0		215		282		0		282		391		0		391		941		168		1109		300		0.9107551487		0.8875		0.8498023715		0.8245614035		0.8947368421		0.9311502939

		350		429		0		429		231		0		231		225		0		225		295		0		295		417		0		417		953		128		1081		350		0.9816933638		0.9625		0.8893280632		0.8625730994		0.9542334096		0.9076406381

		400		429		0		429		234		0		234		245		0		245		312		0		312		429		0		429		970		163		1133		400		0.9816933638		0.975		0.9683794466		0.9122807018		0.9816933638		0.9513014274

		500		437		0		437		240		0		240		253		0		253		342		0		342		437		0		437		965		157		1122		500		1		1		1		1		1		0.9420654912

		Norm. factor						409.2						220.8						224.8						297.2						409						1108.6

																																																																																																		Routing/Total

																																																																														Strip 120-121				Pos. 39						Strip 120-121				Pos. 41.5

		Strip #		10		11		Total		30		31		Total		50		51		Total		70		71		Total		90		91		Total		110		111		Total		120		int 1		121		int 2		Total						Normalised		10		30		50		70		90		110		120										120		int 1		121		int 2				120		int 1		121		int 2				Rout. 1		Tot.1		Rou. 2		Tot. 2		Rout. 3		Tot. 3		Ratio 1		Ratio 2		Ratio 3

		50		41		85		126		24		58		82		0		80		80		15		76		91														38		21		104		-10		142						50		0.2016		0.2		0.1500938086		0.1529411765		0		0		0.2610294118								50		52		10		24		-10				28		20		70		-10				21		142		10		86		20		118		0.1478873239		0.1162790698		0.1694915254

		100		63		140		203		22		84		106		31		135		166		38		142		180														62		34		177		-21		239						100		0.3248		0.2585365854		0.3114446529		0.3025210084		0		0		0.4393382353								100		97		24		48		-17				66		38		135		-10				34		239		24		169		38		239		0.1422594142		0.1420118343		0.1589958159

		150		92		210		302		38		133		171		52		197		249		48		211		259														55		24		385		-31		440						150		0.4832		0.4170731707		0.4671669794		0.4352941176		0		0		0.8088235294								150		222		17		52		-17				66		38		284		-20				24		440		17		291		38		388		0.0545454545		0.058419244		0.0979381443

		200		81		329		410		39		207		246		45		291		336		48		325		373														48		15		454		-24		502						200		0.656		0.6		0.6303939962		0.6268907563		0		0		0.9227941176								200		287		0		55		0				55		21		395		-30				15		502		0		342		21		471		0.0298804781		0		0.0445859873

		250		59		443		502		32		300		332		34		398		432		24		429		453														45		0		468		-34		513						250		0.8032		0.8097560976		0.8105065666		0.7613445378		0		0		0.9430147059								250		308		-24		55		0				42		0		436		-45				0		513		-24		339		0		478		0		-0.0707964602		0

		300		59		510		569		30		321		351		35		433		468		28		495		523														34		-10		478		-34		512						300		0.9104		0.856097561		0.8780487805		0.8789915966		0		0		0.9411764706								300		308		-17		62		0				55		0		454		-42				-10		512		-17		353		0		509		-0.01953125		-0.0481586402		0

		350		50		530		580		23		342		365		31		454		485		30		516		546														34		-17		495		-34		529						350		0.928		0.8902439024		0.9099437148		0.9176470588		0		0		0.9724264706								350		315		-25		62		0				48		0		478		-45				-17		529		-25		352		0		526		-0.0321361059		-0.0710227273		0

		400		45		561		606		10		370		380		24		468		492		34		513		547														34		-17		502		-34		536						400		0.9696		0.9268292683		0.9230769231		0.9193277311		0		0		0.9852941176								400		315		-28		55		0				42		0		485		-38				-17		536		-28		342		0		527		-0.0317164179		-0.081871345		0

		500		45		580		625		10		400		410		10		523		533		34		561		595						1						1		34		-17		510		-34		544						500		1		1		1		1		1		1		1								500		340		-31		55		0				52		0		520		-38				-17		544		-31		364		0		572		-0.03125		-0.0851648352		0

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal														50		0.1529411765

				10		24		110				26		20		90		239		62		301		0.2059800664		0		0				26		20		90		409		59		468		0.1260683761		0		0												100		0.3025210084

				11		35						27		30		80		350		76		426		0.1784037559		110		1				27		30		80		582		0		582		0		110		1												150		0.4352941176

												28		40		70		298		104		402		0.2587064677								28		40		70		520		52		572		0.0909090909																200		0.6168907563

												29		50		60		149		83		232		0.3577586207								29		50		60		270		76		346		0.2196531792																250		0.7513445378

		#10		Amplitude		#11		Amplitude				30		60		50		90		152		242		0.6280991736								30		60		50		100		281		381		0.7375328084																300		0.8789915966

		25.5		491		37		343				31		70		40		118		291		409		0.7114914425								31		70		40		80		544		624		0.8717948718																350		0.9276470588

		26		376		38		0				32		80		30		94		357		451		0.7915742794								32		80		30		55		564		619		0.9111470113																400		0.9793277311

		26.5		173		39		0				33		90		20		80		277		357		0.7759103641								33		90		20		76		447		523		0.8546845124																500		1.03

		27.5		0		40		0

		28		0		41		406						25		0.1354679803																						25		0

		28.5		0										35		0.2190721649																						35		0

		29.5		108.6										45		0.3144329897																						45		0

		30		310										48		0.3333333333																						48		0.1697247706

		30.5		472										65		0.6071428571																						65		0.7439759036

														75		0.7055702918																						75		0.8892794376

														85		0.7814726841																						85		1

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h

				30		22		110				24		20		90		114		61		175		0.3485714286		0		0				24		20		90		195		58		253		0.2292490119

				31		33						25		30		80		168		47		215		0.2186046512		110		1				25		30		80		309		0		309		0

												26		40		70		160		75		235		0.3191489362								26		40		70		328		0		328		0

												27		50		60		95		73		168		0.4345238095								27		50		60		161		58		219		0.2648401826

		#30		Amplitude		#31		Amplitude				28		60		50		39		65		104		0.625								28		60		50		56		91		147		0.619047619

		18.5		210		31		280				29		70		40		58		147		205		0.7170731707								29		70		40		51		303		354		0.8559322034

		19.5		163		32		67				30		80		30		52		203		255		0.7960784314								30		80		30		5		372		377		0.9867374005

		20.5		91		33		47				31		90		20		42		198		240		0.825								31		90		20		10		367		377		0.9734748011

		21.5		37		34		49

		22.5		39		35		212

		23.5		137

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h

				50		49		110				51		20		90		253		45		298		0.1510067114		0		0				51		20		90		429		0		429		0

				51		60						52		30		80		225		55		280		0.1964285714		110		1				52		30		80		423		0		423		0

												53		40		70		177		86		263		0.3269961977								53		40		70		385		52		437		0.118993135

												54		50		60		0		0		0		0								54		50		60		0		0		0		0

		#50		Amplitude		#51		Amplitude				55		60		50		62		128		190		0.6736842105								55		60		50		69		267		336		0.7946428571

		46.5		320		57.5		385				56		70		40		83		232		315		0.7365079365								56		70		40		42		461		503		0.916500994

		47.5		42		58.5		50				57		80		30		52		277		329		0.8419452888								57		80		30		28		461		489		0.9427402863

		48.5		0		59.5		0				58		90		20		55		270		325		0.8307692308								58		90		20		24		468		492		0.9512195122

		49.5		0		60.5		30

		50.5		229		61.5		104						20										0.1510067114										20										0

						62.5		385						30										0.1964285714										30										0

														40										0.3269961977										40										0.118993135

														60										0.6736842105										60										0.7946428571

														70										0.7365079365										70										0.916500994

														80										0.8419452888										80										0.9427402863

														90										0.8307692308										90										0.9512195122

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h

				70		38		115				40		20		95		263		55		318		0.1729559748		0		0				40		20		95		395		59		454		0.1299559471

				71		49.5						41		30		85		374		42		416		0.1009615385		110		1				41		30		85		547		0		547		0

												42		40		75		315		76		391		0.1943734015								42		40		75		550		0		550		0

												43		50		65		121		55		176		0.3125								43		50		65		204		42		246		0.1707317073

		#70		Amplitude		#71		Amplitude				44		60		55		48		50		98		0.5102040816								44		60		55		59		83		142		0.5845070423

		36		429		47.5		190				45		70		45		114		253		367		0.689373297								45		70		45		66		499		565		0.8831858407

		37		52		48.5		31				46		80		35		76		333		409		0.8141809291								46		80		35		38		561		599		0.9365609349

		38		0		49.5		0				47		90		25		66		381		447		0.8523489933								47		90		25		34		513		547		0.9378427788

		39		38		50.5		76

		40		412		51.5		423

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h

				120		34		120				36		20		100		346		121		467		0.2591006424		0		0				36		20		100		377		135		512		0.263671875

				121		46						37		30		90		616		59		675		0.0874074074		110		1				37		30		90		682		48		730		0.0657534247

												38		40		80		616		62		678		0.0914454277								38		40		80		665		52		717		0.0725244073

												39		50		70		308		55		363		0.1515151515								39		50		70		385		66		451		0.1463414634

		#120		Amplitude		#121		Amplitude				40		60		60		59		59		118		0.5								40		60		60		66		66		132		0.5

		32.5		391		44		513				41		70		50		90		360		450		0.8								41		70		50		86		450		536		0.8395522388

		33.5		76		45		86				42		80		40		59		450		509		0.884086444								42		80		40		42		520		562		0.9252669039

		34.5		59		46		69				43		90		30		38		468		506		0.9249011858								43		90		30		28		523		551		0.9491833031

		35.5		142		47		104

		36.5		606		48		475

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h

				90		35		117.5				38		158		-38		329		38		367		0.1035422343		0		0				38		158		-38		436		0		436		0

				91		46.75						39		168		-48		281		69		350		0.1971428571		117.5		1				39		168		-48		433		0		433		0

												40		178		-58		142		83		225		0.3688888889								40		178		-58		235		76		311		0.2443729904

												41		188		-68		52		86		138		0.6231884058								41		188		-68		38		136		174		0.7816091954

		#70		Ampitude		#71		Amplitude				42		198		-78		94		274		368		0.7445652174								42		198		-78		48		485		533		0.9099437148

												43		208		-88		48		385		433		0.8891454965								43		208		-88		0		526		526		1

												44		218		-98		38		402		440		0.9136363636								44		218		-98		0		523		523		1

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h

				90		35		117.5				38		30		87.5		329		38		367		0.1035422343		0		0				38		30		87.5		436		0		436		0

				91		46.75						39		40		77.5		281		69		350		0.1971428571		117.5		1				39		40		77.5		433		0		433		0

												40		50		67.5		142		83		225		0.3688888889								40		50		67.5		235		76		311		0.2443729904

												41		60		57.5		52		86		138		0.6231884058								41		60		57.5		38		136		174		0.7816091954

		#90		Ampitude		#91		Amplitude				42		70		47.5		94		274		368		0.7445652174								42		70		47.5		48		485		533		0.9099437148

		33		346		45		263				43		80		37.5		48		385		433		0.8891454965								43		80		37.5		0		526		526		1

		33.5		160		45.5		94				44		90		27.5		38		402		440		0.9136363636								44		90		27.5		0		523		523		1

		34		55		46		42

		34.5		10		46.5		28

		35		10		47		24

		35.5		15		47.5		59

		36		59		48		138

		36.5		184		49		523

		37		364

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				200 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		400 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h

				100		21		115				24		30		85		276		71		347		0.204610951		0		0				24		30		85		405		0		405		0				24		30		85		509		0		509		0

				101		32.5						25		40		75		233		104		337		0.3086053412		115		1				25		40		75		388		74		462		0.1601731602				25		40		75		516		0		516		0

												26		50		65		91		57		148		0.3851351351								26		50		65		142		54		196		0.2755102041				26		50		65		219		54		273		0.1978021978

												27		60		55		51		67		118		0.5677966102								27		60		55		64		101		165		0.6121212121				27		60		55		67		148		215		0.688372093

		#100		Ampitude		#101		Amplitude				28		70		45		121		202		323		0.6253869969								28		70		45		111		317		428		0.7406542056				28		70		45		61		476		537		0.886405959

		18.5		408		31		196				29		80		35		91		250		341		0.7331378299								29		80		35		71		385		456		0.8442982456				29		80		35		37		496		533		0.9305816135

		19.5		108		32		50				30		90		25		74		290		364		0.7967032967								30		90		25		57		425		482		0.8817427386				30		90		25		34		519		553		0.938517179

		20.5		40		32.5		30

		21.5		35		33		37

		22.5		105		33.5		50

		23.5		445		34		101

						35		452

																12		23		34		-10		-18		-23		-27		-27		-27

																																				New												Other position

		Strip #		70		71		Total		90		91		Total		99		100		101		102		Total		Total		Normalised		70		90		100		120		Int 2		121		Int 3		122		Total		119		120		Int 2		121		Total

		50		31		78		109		31		83		114		13		30		101		13		157		131				0.2060491493		0.2054054054		0.2364620939		45		27		100		25		32		145		27		91		18		41		132

		100		53		125		178		45		142		187		20		67		182		33		302		249				0.3364839319		0.3369369369		0.4494584838		68		41		178		10		30		246		30		168		35		68		236

		150		58		180		238		66		232		298		23		74		290		45		432		364				0.449905482		0.5369369369		0.6570397112		63		50		342		0		30		405		35		314		35		54		368

		200		73		290		363		48		374		422		17		57		425		15		514		482				0.6862003781		0.7603603604		0.8700361011		50		27		446		-10		30		496		27		405		0		41		446

		250		51		388		439		31		478		509		0		51		472		5		528		523				0.8298676749		0.9171171171		0.9440433213		41		15		490		-18		23		531		15		433		-18		32		465

		300		38		462		500		17		501		518		0		40		500		0		540		540				0.9451795841		0.9333333333		0.9747292419		36		0		501		-27		18		537		10		446		-20		41		487

		350		33		485		518		20		535		555		0		34		513		0		547		547				0.9792060491		1		0.9873646209		32		0		510		-23		18		542		10		460		-20		36		496

		400		31		498		529		20		535		555		0		34		520		0		554		554				1		1		1		36		0		519		-23		18		555		10		474		-23		36		510

		500		30		540		570		0		578		578		0		34		540		0		574		574				1.0775047259		1.0414414414		1.036101083		32		0		533		-23		18		565		10		483		-23		36		519

		Futher Measurements as a function of the r-position

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		Ideal				200 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		400 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h

				120		19.8		61				21		12		49		47.12		28.88		171.76		28.88		80.56		28.88		41.8		252.32		0.3192771084		0		0				21		12		49		57		36.48		262.2		47.12		117.04		31.16		44.08		379.24		0.3086172345				21		12		49		28.88		0		428.64		-31.16		119.32		0		31.16		547.96		0.2177531207

				121		25.9						22		22		39		44		27		140		27		68		10		31		208		0.3269230769		61		1				22		22		39		62		38		215		51		106		27		31		321		0.3302180685				22		22		39		48		0		431		-17		126		0		10		557		0.2262118492

												23		32		29		0		0		24		0		24		0		0		48		0.5								23		32		29		0		0		34		0		34		0		0		68		0.5				23		32		29		0		0		58		0		65		0		0		123		0.5284552846

												24		42		19		34		15		105		41		212		24		48		317		0.6687697161								24		42		19		51		27		157		85		335		34		62		492		0.6808943089				24		42		19		31		0		130		21		619		-24		34		749		0.826435247

		#121		Ampitude		#121		Amplitude				25		52		9		38		17		89		31		205		12		41		294		0.6972789116								25		52		9		51		23		128		57		341		15		44		469		0.7270788913				25		52		9		51		0		131		10		560		-30		27		691		0.8104196816

		19		398		25		351

		19.5		58		25.5		104				Estimated strip width:								Routing line		#120		#121

		20		72		26		47				16 µm								25.6		447		85		0.9933333333		0.1888888889		532		0.7093333333

		20.5		212		26.5		81												26		242		68		0.5377777778		0.1511111111		310		0.4133333333

		21		489		27		368												26.2		103		31		0.2288888889		0.0688888889		134		0.1786666667

																				26.4		65		31		0.1444444444		0.0688888889		96		0.128

																				26.6		58		31		0.1288888889		0.0688888889		89		0.1186666667

																				26.8		42		40		0.0933333333		0.0888888889		82		0.1093333333

																				27		42		55		0.0933333333		0.1222222222		97		0.1293333333

																				27.2		54		154		0.12		0.3422222222		208		0.2773333333

																				27.4		71		248		0.1577777778		0.5511111111		319		0.4253333333

																				27.6		81		310		0.18		0.6888888889		391		0.5213333333

																				28		92		448		0.2044444444		0.9955555556		540		0.72

		Futher Measurements as a function of the r-position								Far end

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		Ideal				200 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		400 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h

				120		23		78				25		20		58		40		0		184		23		61		0		15		245		0.2489795918		0		0				25		20		58		33		0		255		38		76		0		18		331		0.2296072508				25		20		58		54		0		523		-10		54		0		0		577		0.0935875217

				121		30.8						26		30		48		31		0		89		24		51		0		24		140		0.3642857143		78		1				26		30		48		31		0		116		31		65		0		24		181		0.3591160221				26		30		48		31		0		263		0		78		0		0		341		0.2287390029

												27		40		38		0		0		0		0		0		0		0		0		0								27		40		38		0		0		0		0		0		0		0		0		0				27		40		38		0		0		0		0		0		0		0		0		0

												28		50		28		20		0		68		41		157		0		31		225		0.6977777778								28		50		28		0		0		99		61		222		0		34		321		0.691588785				28		50		28		0		0		78		15		492		-31		24		570		0.8631578947

		#121		Ampitude		#121		Amplitude				29		60		18		0		0		61		27		184		0		31		245		0.7510204082								29		60		18		0		0		78		48		276		0		37		354		0.7796610169				29		60		18		0		0		44		0		540		-31		13		584		0.9246575342

		21		728		29		755

		22		230		30		225				Estimated strip width:

		22.5		134		30.5		101				20 µm

		23		107		31		96

		23.5		150		31.5		161

		24		557		32		551

		25		760

										1 cm plus

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		Ideal				200 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		400 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h

				120		22.7		95				25		23		72		44		0		222		34		68		0		17		290		0.2344827586		0		0				25		23		72		41		0		366		31		68		0		24		434		0.1566820276				25		23		72		27		0		557		-24		48		0		0		605		0.079338843

				121		32.2						26		33		62		41		0		208		51		103		0		24		311		0.3311897106		95		1				26		33		62		31		0		311		68		112		0		34		423		0.2647754137				26		33		62		17		0		543		-20		78		0		0		621		0.1256038647

												27		43		52		0		0		0		0		0		0		0		0		0								27		43		52		0		0		58		0		27		0		0		85		0.3176470588				27		43		52		0		0		103		0		44		0		0		147		0.2993197279

												28		53		42		0		0		44		31		78		0		0		122		0.6393442623								28		53		42		0		0		58		24		120		0		0		178		0.6741573034				28		53		42		0		0		61		0		236		0		0		297		0.7946127946

		#121		Ampitude		#121		Amplitude				29		63		32		24		0		82		51		195		0		17		277		0.7039711191								29		63		32		27		0		112		85		328		0		34		440		0.7454545455				29		63		32		0		0		65		0		574		-37		15		639		0.8982785603

		21		464		30		523				30		73		22		0		0		71		44		242		0		31		313		0.7731629393								30		73		22		0		0		78		58		383		0		37		461		0.830802603				30		73		22		0		0		34		0		588		-40		13		622		0.9453376206

		22		58		31		171				Estimated strip width:

		22.5		37		32		41				25 µm

		23		51		32.5		51

		23.5		58		33		65

		24		178		34		499

		25		496

										1 cm plus

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		Ideal				200 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		400 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h

				120		22.7		108				25		23		85		34		0		254		29		45		0		0		299		0.1505016722		0		0				25		23		85		22		0		388		0		34		0		0		422		0.0805687204				25		23		85		11		0		474		-29		26		0		0		500		0.052

				121		33.5						26		33		75		26		0		228		41		63		0		10		291		0.2164948454		108		1				26		33		75		22		0		374		0		40		0		0		414		0.0966183575				26		33		75		0		0		474		-25		30		0		0		504		0.0595238095

												27		43		65		34		0		190		78		101		0		26		291		0.3470790378								27		43		65		26		0		317		37		82		0		12		399		0.2055137845				27		43		65		0		0		456		-22		71		0		0		527		0.1347248577

												29		63		45		12		0		85		60		157		0		29		242		0.6487603306								29		63		45		0		0		93		67		269		0		34		362		0.7430939227				29		63		45		0		0		71		18		422		-22		18		493		0.8559837728

		#121		Ampitude		#121		Amplitude				30		73		35		0		0		63		56		209		0		0		272		0.7683823529								30		73		35		0		0		48		34		366		-18		18		414		0.884057971				30		73		35		0		0		26		0		508		-26		0		534		0.9513108614

		20		470		31		508				31		83		25		0		0		50		37		247		0		26		297		0.8316498316								31		83		25		0		0		34		34		490		-30		0		524		0.9351145038				31		83		25		0		0		10		0		490		-30		0		500		0.98

		21		300		32		247

		22		40		33		41

		23		0		33.5		29				Estimated strip width:

		23.5		0		34		41				30 µm

		24		85		35		134

		25		430		36		500

		New 0 position

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		Ideal				200 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		400 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h

				120		22.2		118				25		28		90		32		0		333		23		50		0		0		383		0.1305483029		0		0				25		28		90		13		0		396		-13		35		0		0		431		0.0812064965				25		28		90		10		0		469		-23		32		0		0		501		0.0638722555

				121		34						26		38		80		32		0		314		30		54		0		0		368		0.1467391304		118		1				26		38		80		23		0		424		-13		36		0		0		460		0.0782608696				26		38		80		0		0		469		-27		30		0		0		499		0.0601202405

												27		48		70		27		0		259		54		86		0		13		345		0.2492753623								27		48		70		0		0		387		23		68		0		0		455		0.1494505495				27		48		70		0		0		492		-23		63		0		0		555		0.1135135135

												28		58		60		0		0		41		0		27		0		0		68		0.3970588235								28		58		60		0		0		59		0		41		0		0		100		0.41				28		58		60		0		0		77		0		45		0		0		122		0.368852459

		#121		Ampitude		#121		Amplitude				29		68		50		18		0		68		41		132		0		32		200		0.66								29		68		50		0		0		59		32		178		0		0		237		0.7510548523				29		68		50		0		0		73		18		273		0		32		346		0.789017341

		20		483		32		451				30		78		40		18		0		86		68		264		0		27		350		0.7542857143								30		78		40		0		0		50		10		506		-18		0		556		0.9100719424				30		78		40		0		0		50		10		506		-18		0		556		0.9100719424

		21		86		33		54				31		88		30		0				63		50		342		0		32		405		0.8444444444								31		88		30		0		0		41		18		428		-23		18		469		0.9125799574				31		88		30		0		0		36		0		496		-23		18		532		0.9323308271

		22		45		34		32

		23		23		35		45				Estimated strip width:

		24		154		36		387				35 µm

		25		470



Irradiated section n. 6



Irr. (7)

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0



Strp #99

Strip #100

Strip #101

Strip #102

Bias [V]

Collected charge [Arb. unit]

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



Non irr. (2)

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0



0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



Various final Pic.

		0

		0

		0

		0

		0

		0

		0

		0

		0



Strip #690

Bias [V]

Collected charge (arb. unit)

0

0

0

0

0

0

0

0

0



Final pic. eta

		Bias 250 V		Strip #		Centre		Distance		50 V		Local coord.		D24		D25		Pulse Left		Int		Pulse Right		Pulse sum		h		ideal				100 V		Pulse Left		Int		Pulse Right		Pulse sum		h		300 V		Pulse Left		Int		Pulse Right		Pulse sum		h				Volt scan		#6		Int.		#7		Total		Normalised				Volt scan		#59		#60		#61		Total		Normalised				Volt scan		#114		Int.		#115		Int.		#116		Total		Normalised		Rout/total		Volt #6		#6		Volt #115		#115

				6		37		115				40		30		85		104		18		40		144		0.2777777778		0		0				246				45		291		0.1546391753				333		-23		27		360		0.075				20		23		5		54		77		0.2086720867				20		32		141		54		227		0.576142132				10		63		4		159		23		32		222		0.5536159601				20		0.0649350649		10		0.1036036036

				7		48.5						41		40		75		86		32		54		140		0.3857142857		115		1				214		36		63		277		0.2274368231				323		-23		36		359		0.1002785515				40		32		18		100		132		0.3577235772				40		41		264		54		359		0.9111675127				20		80				246		23		36		326		0.812967581				40		0.1363636364		20		0.0705521472

												42		50		65		45		9		32		77		0.4155844156								128		36		63		191		0.3298429319				209		0		68		277		0.2454873646				50		36		23		123		159						50		36		287		50		373		0.9467005076				40		82				314		23		41		396		0.9875311721				50		0.1446540881		40		0.0580808081

												43.5		65		50		36		18		54		90		0.6								50		36		118		168		0.7023809524				63		13		246		309		0.7961165049				60		45		27		145		190		0.5149051491				60		36		298		40		374		0.9492385787				50		73				328		13		32		401		1				60		0.1421052632		50		0.0324189526

		#6		Amplitude		#7		Amplitude				44		70		45		45		27		77		122		0.631147541								50		36		195		245		0.7959183673				41		9		305		346		0.8815028902				80		59		41		205		264		0.7154471545				80		30		328		27		385		0.9771573604				60		68				333		13		32		401		1				80		0.1553030303		60		0.0324189526

		34.5		305		46.5		296				45		80		35		45		23		104		149		0.6979865772								45		41		241		286		0.8426573427				27		9		342		369		0.9268292683				100		45		36		259		304		0.8238482385				100		27		337		24		388		0.9847715736				80		59				342		9		32		401		1				100		0.1184210526		80		0.0224438903

		35.5		137		47.5		54				46		90		25		9		0		50		59		0.8474576271								45		36		255		300		0.85				27		4		337		364		0.9258241758				125		36		23		296		332		0.8997289973				150		24		355		21		400		1.0152284264				100		46				351				18		397		0.9900249377				125		0.0692771084		100		0

		36.5		27		48.5		0																																																		150		32		18		323		355		0.9620596206				200		23		360		20		403		1.0228426396				125		45				355				27		400		0.9975062344				150		0.0507042254		125		0

		37.5		0		49.5		36																																																		175		32		18		328		360		0.9756097561				300		20		374		0		394		1				150		45				355				27		400		0.9975062344				175		0.05		150		0

		38.5		100		50.5		232																																																		200		23		9		337		360		0.9756097561																		200		45				355				18		400		0.9975062344				200		0.025		200		0

		39.5		305		51.5		333																																																		300		23		9		346		369		1																		300		41				360				18		401		1				300		0.0243902439		300		0

		40.5		319





Final pic. eta

		0		0		0		0

		0		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0



50 Volt

100 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #774-775

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



Neff vs position

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0



0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



Eta comparison

		Bias 250 V		Strip #		Centre		Distance		25 V		Local coord.		D24		D25		Pulse Left		Pulse Right		Pulse sum		h		ideal				50 V		Pulse Left		Pulse Right		Pulse sum		h		150 V		Pulse Left		Pulse Right		Pulse sum		h								Volt scan		#60		#61		Total		Normalised

				60		43.2		113				46		28		85		212		1		213		0.0046948357		0		0				311		1		312		0.0032051282				410		1		411		0.00243309						3.1622776602		10		95		0		95		0.2467532468

				61		54.5						47		38		75		143		20		163		0.1226993865		113		1				222		1		223		0.0044843049				294		1		295		0.0033898305						5		25		191		0		191		0.4961038961

												48		48		65		68		34		102		0.3333333333								123		58		181		0.320441989				171		68		239		0.2845188285						7.0710678119		50		283		0		283		0.7350649351

												49		58		55		37		109		146		0.7465753425								37		161		198		0.8131313131				37		212		249		0.8514056225						8.6602540378		75		321		0		321		0.8337662338

		#60		Amplitude		#61		Amplitude				50		68		45		31		174		205		0.8487804878								34		259		293		0.8839590444				50		334		384		0.8697916667						10		100		352		0		352		0.9142857143

		41		308		52		386				51		78		35		24		181		205		0.8829268293								24		263		287		0.9163763066				20		345		365		0.9452054795						12.2474487139		150		372		0		372		0.9662337662

		42		171		53		253																																														14.1421356237		200		372		0		372		0.9662337662

		43		20		54		116																																														17.3205080757		300		385		0		385		1

		44		49		55		24

		45		209		56		123

		46		345		57		280

						58		389

		Bias 250 V		Strip #		Centre		Distance		20 V		Local coord.		D24		D25		#115		Int 1		#116		Int 2		#117		Pulse sum		h		ideal				50 V		#115		Int 1		#116		Int 2		#117		Pulse sum		h		200 V		#115		Int 1		#116		Int 2		#117		Pulse sum		h				Volt scan		#115		#116		Int		#117		Total		Normalised

				115		21		114				24		30		84		198		-17		27						225		0.12		0		0				317		-17		31						348		0.0890804598				403		-30		24						427		0.056206089		3.1622776602		10				116						116		0.2829268293

				116		32.4						25		40		74		178		-13		27						205		0.1317073171		114		1				311		-20		41						352		0.1164772727				396		-27		27						423		0.0638297872		5		25		31		208		-5		20		228		0.556097561

												26		50		64		126		-13		37						163		0.226993865								242		-17		61						303		0.201320132				334		-24		68						402		0.1691542289		7.0710678119		50		31		308		-7		20		328		0.8

												28		70		44		34				137				17		171		0.8011695906								48				236				24		284		0.8309859155				54		-5		317		-13		24		371		0.8544474394		8.6602540378		75		24		345		-17		20		365		0.8902439024

		#115		Amplitude		#116		Amplitude				29		80		34		24				181				17		205		0.8829268293								31				311		-10		20		342		0.9093567251				27				400		-17		17		427		0.9367681499		10		100		27		366		-20		17		383		0.9341463415

		18		400		30		389				29.5		85		29		27				195						222		0.8783783784								34				314		-15		20		348		0.9022988506				24				389		-24		17		413		0.9418886199		11.1803398875		125		24		380		-17		13		393		0.9585365854

		19		270		31		89																																																												12.2474487139		150		24		385		-20		13		398		0.9707317073

		20		34		32		28																																																												14.1421356237		200		24		389		-20		13		402		0.9804878049

		21		30		33		30																																																												17.3205080757		300		24		393		-20		17		410		1

		22		38		34		126

		23		308		35		389

		24		400





Strip 120 

		47		400		-30		380

		48		280		-20		260

		49		41		-10		21

		50		20		0		0

		51		51		10		31

		52		273		20		253

		53		410		30		390

		Beam Profile

		Coordinate		Front		Back

		0						10

		10		1.00E+13		1.05E+13		20		1.00E+13		1.05E+13

		20		4.50E+13		4.55E+13		30		4.50E+13		4.55E+13

		25		3.00E+14		2.52E+14		35		3.00E+14		2.52E+14

		30		4.10E+14		4.40E+14		40		4.10E+14		4.40E+14

		35		4.30E+14		4.60E+14		45		4.30E+14		4.60E+14

		40		3.15E+14		3.80E+14		50		3.15E+14		3.80E+14

		45		1.09E+14		2.70E+14		55		1.09E+14		2.70E+14

		55		1.20E+13		2.70E+13		65		1.20E+13		2.70E+13

		65		7.00E+11		1.20E+12		75		7.00E+11		1.20E+12





Strip 120 

		0

		0

		0

		0

		0

		0

		0



Local coord. [µm]

Amplitude [arb. Units]

Strip scan #10

0

0

0

0

0

0

0



Inner stri #623 

		55		0		55		55

		50		1		50		50

		45		2		45		45

		40		3		40		40

		35		4		35		35

		30		5		30		30

		25		6		25		25

		20		7		20		20

		15		8		15		15

		10		9		10		10

		5		10		5		5

		0		11		0		0

				12

				13

				14

				15

				16

				17

				18

				19

				20

				21

				22

				23

				24

				25

				26

				27

				28

				29

				30

				31

				32

				33

				34

				35

				36

				37

				38

				39

				40

				41

				42

				43

				44

				45

				46

				47

				48

				49

				50

				51

				52

				53

				54

				55

				56

				57

				58

				59

				60

				61

				62

				63

				64

				65

				66

				67

				68



Measured (hit strip)

Calculated

Adjacent strip

Intermediate routing line

Time [ns]

Amplitude [arb. units]

68

10

0

0

150

34.5396

16

0

245

54.05968

34

0

369

80.39936

54

0

560

114.09384

123

32

688

155.13512

154

40

826

202.94192

188

51

792

256.42064

199

74

615

314.09432

188

108

421

374.26344

176

131

199

435.16424

85

68

0

495.10184

0

0

552.54736

606.19912

655.01224

698.20408

735.24416

765.8304

789.86272

807.41192

818.68832

824.01216

823.78664

818.47312

808.57016

794.59512

777.0692

756.50528

733.3992

708.22128

681.41152

653.37656

624.48752

595.07864

565.44744

535.85544

506.53048

477.66728

449.43032

421.95584

395.35408

369.71192

345.0956

321.5524

299.11304

277.79416

257.59968

238.52336

220.54992

203.6564

187.81424

172.98976

159.14552

146.24152

134.23568

123.08456

112.74432

103.1708

94.32024

86.14968

78.61696

71.6812

65.30304

59.44456

54.06952

49.14336

44.63336

40.50856

36.7396



Pulse shape

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0



Front Al foils

Back Al foils

Position [mm]

Measured fluence [p cm-2]

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		50		50		50		50

		100		100		100		100

		150		150		150		150

		200		200		200		200

		250		250		250		250

		300		300		300		300

		350		350		350		350

		400		400		400		400

		500		500		500		500



Strip #739

Strip #740

Strip #741

Strip #742

Bias [V]

Collected charge [Arb. unit]

13

30

101

13

20

67

182

33

23

74

290

45

17

57

425

15

0

51

472

5

0

40

500

0

0

34

513

0

0

34

520

0

0

34

540

0



		50

		100

		150

		200

		250

		300

		350

		400

		500



Strip #690

Bias [V]

Collected charge (arb. unit)

0.1529411765

0.3025210084

0.4352941176

0.6168907563

0.7513445378

0.8789915966

0.9276470588

0.9793277311

1.03



		20

		30

		40

		50

		75

		100

		120

		150

		200

		300



Strip #526

Bias [Volt]

Normalised CCE

0.4393305439

0.5815899582

0.7887029289

0.8577405858

0.9330543933

0.9623430962

0.9707112971

0.989539749

1

1.0125523013



		

						760





		30		30		0

		40		40		117.5

		50		50

		60		60

		70		70

		80		80

		90		90



200 Volt

400 Volt

Ideal resolution

Local position [µm]

Right charge/Total charge

Scan across strips #740-741

0.1035422343

0.0311111111

0

0.1971428571

0.0545851528

1

0.3688888889

0.2443729904

0.6231884058

0.7816091954

0.7445652174

0.9099437148

0.8891454965

1

0.9136363636

1



		30		30		0

		40		40		115

		50		50

		60		60

		70		70

		80		80

		90		90



200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #710-711

0.1009615385

0.0352733686

0

0.1943734015

0.0646258503

1

0.3125

0.2213740458

0.5102040816

0.5845070423

0.689373297

0.8831858407

0.8141809291

0.9365609349

0.8523489933

0.9378427788



		30		30		0

		40		40		115

		50		50

		60		60

		70		70

		80		80

		90		90



200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #760-761

0.0874074074

0.0657534247

0

0.0914454277

0.0725244073

1

0.1515151515

0.1463414634

0.5

0.5

0.8

0.8395522388

0.884086444

0.9252669039

0.9249011858

0.9491833031



		0		30		30		30

		115		40		40		40

				50		50		50

				60		60		60

				70		70		70

				80		80		80

				90		90		90



150 Volt

200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #740-741

0

0.204610951

0.0581395349

0.0450281426

1

0.3086053412

0.1601731602

0.0685920578

0.3851351351

0.2755102041

0.2206405694

0.5677966102

0.6121212121

0.688372093

0.6253869969

0.7406542056

0.886405959

0.7331378299

0.8442982456

0.9305816135

0.7967032967

0.8817427386

0.938517179



		0		30		30

		110		40		40

				50		50

				60		60

				70		70

				80		80

				90		90



200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #670-671

0

0.2186046512

0.0462962963

1

0.3191489362

0.076056338

0.4345238095

0.2648401826

0.625

0.619047619

0.7170731707

0.8559322034

0.7960784314

0.9612403101

0.825

0.9734748011



		0		20		20

		110		30		30

				40		40

				50		50

				60		60

				70		70

				80		80

				90		90



200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #690-691

0

0.1510067114

0.0529801325

1

0.1964285714

0.0703296703

0.3269961977

0.1575492341

0.6736842105

0.7946428571

0.7365079365

0.916500994

0.8419452888

0.9427402863

0.8307692308

0.9512195122



		25		25		25		0

		35		35		35		110

		45		45		45

		55		55		55

		65		65		65

		75		75		75

		85		85		85



100 Volt

200 Volt

300 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #525-526

0.0461956522

0.0440414508

0.0446194226

0

0.0583941606

0.0547945205

0.0547945205

1

0.1413612565

0.1282051282

0.1113689095

0.3215859031

0.264573991

0.2821576763

0.8050541516

0.8073394495

0.7722222222

0.9130434783

0.9217391304

0.9298245614

0.9473684211

0.9523809524

0.958677686



		0		30		30		30

		117		40		40		40

				50		50		50

				70		70		70

				80		80		80

				90		90		90



150 Volt

200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #634-635

0

0.223255814

0.1133333333

0.0510204082

1

0.2783505155

0.1933333333

0.0761670762

0.3963414634

0.3048780488

0.1943005181

0.6209150327

0.6822429907

0.8157099698

0.6875

0.7979094077

0.915

0.7548076923

0.8580645161

0.9330024814



		0		24		24

		114		34		34

				44		44

				64		64

				74		74

				84		84

				89		89



100 Volt

300 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #584-585

0

0.118466899

0.0379403794

1

0.1655172414

0.0608272506

0.3421052632

0.1666666667

0.6896551724

0.8131868132

0.7597173145

0.9567430025

0.8605442177

0.9974160207

0.8586206897

0.9466666667



		0		22		22		22		22

		116		32		32		32		32

				42		42		42		42

				67		67		67		67

				72		72		72		72

				82		82		82		82

				92		92		92		92



100 Volt

150 Volt

200 Volt

300 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #604-605

0

0.2192513369

0.0848056537

0.0408719346

0.056980057

1

0.2391304348

0.1214285714

0.0681818182

0.0798898072

0.3128834356

0.2380952381

0.0920716113

0.1549295775

0.5668789809

0.6355555556

0.7975077882

0.7517482517

0.591954023

0.7173913043

0.9002695418

0.8434782609

0.6949152542

0.8137931034

0.9973045822

0.8888888889

0.7348066298

0.8436482085

0.972899729

0.9043715847



		0		23		23		23

		108		33		33		33

				43		43		43

				58		58		58

				63		63		63

				73		73		73

				78		78		78



20 Volt

50 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #544-545

0

0.1376146789

0.0422960725

0.0361445783

1

0.2018348624

0.0845070423

0.0574712644

0.3457446809

0.2341772152

0.0976253298

0.5858585859

0.7124183007

0.7627906977

0.6304347826

0.7571428571

0.820441989

0.7302325581

0.8709677419

0.9418886199

0.7735849057

0.8811594203

0.9632352941



		0		35		35		35

		110		40		40		40

				50		50		50

				65		65		65

				70		70		70

				80		80		80



50 Volt

100 Volt

300 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #566-567

0

0.125

0.0408719346

0.0407673861

1

0.1777777778

0.0702247191

0.0687203791

0.320441989

0.22

0.2033333333

0.6946107784

0.8090909091

0.7789855072

0.741697417

0.8579387187

0.8743842365

0.8580858086

0.9543010753

0.9975062344



		0		35		35		35

		120		45		45		45

				50		50		50

				65		65		65

				70		70		70

				80		80		80

				90		90		90



50 Volt

100 Volt

250 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #575-576

0

0.2876106195

0.0451807229

0.0383631714

1

0.3744292237

0.144092219

0.0939759036

0.3880597015

0.1782178218

0.1580310881

0.5730337079

0.7260273973

0.7166666667

0.591954023

0.798679868

0.8379888268

0.6559633028

0.8879781421

0.9230769231

0.7627906977

0.9076086957

0.9511002445



		0		28		28		28

		113		38		38		38

				48		48		48

				58		58		58

				68		68		68

				78		78		78



25 Volt

50 Volt

150 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #188-189

0

0.0046948357

0.0032051282

0.00243309

1

0.1226993865

0.0044843049

0.0033898305

0.3333333333

0.320441989

0.2845188285

0.7465753425

0.8131313131

0.8514056225

0.8487804878

0.8839590444

0.8697916667

0.8829268293

0.9163763066

0.9452054795



		26		26		0		26

		36		36		114		36

		46		46				46

		66		66				66

		76		76				76

		86		86				86



100 Volt

300 Volt

=

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #621-622

0.2227074236

0.0789473684

0

0.0390625

0.2735849057

0.1348684211

1

0.0606060606

0.3659793814

0.2482517483

0.1102150538

0.5828220859

0.6728110599

0.8066666667

0.6822429907

0.8066666667

0.9086021505

0.7422222222

0.8547854785

0.9583333333



		25		25		25		0

		35		35		35		110

		45		45		45

		60		60		60

		65		65		65

		75		75		75

		85		85		85



20 Volt

50 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #469-470

0.0857142857

0.1060070671

0.0411311054

0

0.0833333333

0.093385214

0.0683060109

1

0.275862069

0.1904761905

0.1333333333

0.6451612903

0.6785714286

0.7311827957

0.6774193548

0.766536965

0.8356164384

0.8444444444

0.8717948718

0.9260969977

0.8695652174

0.8646153846

0.9267734554



		30		30		0

		40		40		110

		50		50

		60		60

		70		70

		80		80



200 Volts

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #650-651

0.1784037559

0.0521172638

0

0.2587064677

0.1034482759

1

0.3577586207

0.2196531792

0.6280991736

0.7375328084

0.7114914425

0.8717948718

0.7915742794

0.9111470113



		0		30		30		30

		114		40		40		40

				50		50		50

				70		70		70

				80		80		80

				85		85		85



20 Volt

50 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #244-245

0

0.12

0.0890804598

0.056206089

1

0.1317073171

0.1164772727

0.0638297872

0.226993865

0.201320132

0.1691542289

0.8011695906

0.8309859155

0.8544474394

0.8829268293

0.9093567251

0.9367681499

0.8783783784

0.9022988506

0.9418886199



		30		30		0		30

		40		40		114		40

		50		50				50

		70		60				60

		80		70				70

		85		80				80

								90



#245 - 200 Volt

#650 - 400 Volt

#760 - 400 Volt

Local position [µm]

Right charge/Total charge

0.056206089

0.0521172638

0

0.0657534247

0.0638297872

0.1034482759

1

0.0725244073

0.1691542289

0.2196531792

0.1463414634

0.8544474394

0.7375328084

0.5

0.9367681499

0.8717948718

0.8395522388

0.9418886199

0.9111470113

0.9252669039

0.9491833031



		20		20		20		0

		30		30		30		115

		40		40		40

		50		50		50

		60		60		60

		70		70		70

		80		80		80

		90		90		90



20 Volt

50 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #388-389

0.15

0.0975609756

0.0965794769

0

0.1549295775

0.1448692153

0.1004709576

1

0.171875

0.1223529412

0.0901213172

0.2926829268

0.2888888889

0.2434077079

0.6666666667

0.6923076923

0.6511627907

0.7833333333

0.8498896247

0.9073083779

0.8295081967

0.8495049505

0.9384615385

0.8793103448

0.9160839161

0.9470699433



		35		0		35		35

		45		120		45		45

		55				55		55

		70				70		70

		75				75		75

		85				85		85

		95				95		95



20 Volt

50 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #490-491

0.1595744681

0

0.12

0.0796116505

0.2053231939

1

0.1322869955

0.0891089109

0.2967032967

0.2258064516

0.2

0.72

0.692

0.7982261641

0.8351449275

0.7985074627

0.8764302059

0.9349593496

0.8546099291

0.9174311927

0.9445585216



		0		28		28		28

		118		38		38		38

				48		48		48

				58		58		58

				68		68		68

				78		78		78

				88		88		88



150 Volt

200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #760-761

0

0.1305483029

0.0812064965

0.0638722555

1

0.1467391304

0.0782608696

0.0601202405

0.2492753623

0.1494505495

0.1135135135

0.3970588235

0.41

0.368852459

0.66

0.7510548523

0.789017341

0.7542857143

0.9100719424

0.9100719424

0.8444444444

0.9125799574

0.9323308271



		30		30		28		0

		40		40		38		118

		50		50		48

		70		70		58

		80		80		68

		85		90		78

						88



#244 -245 (@ 200 Volt)

#634 - 635 (@ 400 Volt)

#760 - 761 (@ 400 Volt)

Local position [µm]

Right charge/Total charge

0.056206089

0.0510204082

0.0638722555

0

0.0638297872

0.0761670762

0.0601202405

1

0.1691542289

0.1943005181

0.1135135135

0.8544474394

0.8157099698

0.368852459

0.9367681499

0.915

0.789017341

0.9418886199

0.9330024814

0.9100719424

0.9323308271



		30		30		30		0

		40		40		40		115

		50		50		50

		65		65		65

		70		70		70

		80		80		80

		90		90		90



50 Volt

100 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #774-775

0.2777777778

0.1546391753

0.075

0

0.3857142857

0.2274368231

0.1002785515

1

0.4155844156

0.3298429319

0.2454873646

0.6

0.7023809524

0.7961165049

0.631147541

0.7959183673

0.8815028902

0.6979865772

0.8426573427

0.9268292683

0.8474576271

0.85

0.9258241758



		Bias		#650		#651		Pulse sum		Normalised		#670		#671		Pulse sum		Normalised		#690		#691		Pulse sum		Normalised		#710		#711		Pulse sum		Normalised		#730		#731		Pulse sum		Normalised		#740		#741		Pulse sum		Normalised		#760		#761		Pulse sum		Normalised

		[Volt]		[mV]		[mV]		[mv]				[mV]		[mV]		[mv]				[mV]		[mV]		[mv]				[mV]		[mV]		[mv]				[mV]		[mV]		[mv]				[mV]		[mV]		[mv]				[mV]		[mV]		[mv]

		50		41		85		126		0.2016		24		58		82		0.2		0		80		80		0.1500938086		31		78		109		0.1912280702		31		83		114		0.1972318339		30		101		131		0.2205387205		45		100		145		0.2566371681				104		104

		100		63		140		203		0.3248		22		84		106		0.2585365854		31		135		166		0.3114446529		53		125		178		0.3122807018		45		142		187		0.3235294118		67		182		249		0.4191919192		68		178		246		0.4353982301				177		177

		150		92		210		302		0.4832		38		133		171		0.4170731707		52		197		249		0.4671669794		58		180		238		0.4175438596		66		232		298		0.5155709343		74		290		364		0.6127946128		63		342		405		0.7168141593				385		385

		200		81		329		410		0.656		39		207		246		0.6		45		291		336		0.6303939962		73		290		363		0.6368421053		48		374		422		0.7301038062		57		425		482		0.8114478114		50		446		496		0.8778761062				454		454

		250		59		443		502		0.8032		32		300		332		0.8097560976		34		398		432		0.8105065666		51		388		439		0.7701754386		31		478		509		0.8806228374		51		472		523		0.8804713805		41		490		531		0.9398230088				468		468

		300		59		510		569		0.9104		30		321		351		0.856097561		35		433		468		0.8780487805		38		462		500		0.8771929825		17		501		518		0.8961937716		40		500		540		0.9090909091		36		501		537		0.9504424779				478		478

		350		50		530		580		0.928		23		342		365		0.8902439024		31		454		485		0.9099437148		33		485		518		0.9087719298		20		535		555		0.9602076125		34		513		547		0.9208754209		32		510		542		0.9592920354				495		495

		400		45		561		606		0.9696		10		370		380		0.9268292683		24		468		492		0.9230769231		31		498		529		0.9280701754		20		535		555		0.9602076125		34		520		554		0.9326599327		36		519		555		0.982300885				502		502

		500		45		580		625		1		10		400		410		1		10		523		533		1		30		540		570		1		0		578		578		1		34		560		594		1		32		533		565		1				510		510

																						Neff map		Vfd

																						10

																						30

																						50

																						70

																						90

																						100

																						120

																																												634

																																		72

		Bias		#526		#527		Pulse sum		Normalised		Bias		#545		#546		Pulse sum		Normalised		Bias		#567		#568		Pulse sum		Normalised		Bias		#577		#578		Pulse sum		Normalised		Bias		#585		#586		Pulse sum		Normalised		Bias		#605		#606		Pulse sum		Normalised		Bias		#622		#623		Pulse sum		Normalised		Bias		#634		#635		Pulse sum		Normalised

		[Volt]		[mV]		[mV]		[mv]				[Volt]		[mV]		[mV]		[mv]				[Volt]		[mV]		[mV]		[mv]				[Volt]		[mV]		[mV]		[mv]				[Volt]		[mV]		[mV]		[mv]				[Volt]		[mV]		[mV]		[mv]				[Volt]		[mV]		[mV]		[mv]				[Volt]		[mV]		[mV]		[mv]

		20		5		205		210		0.4393305439		10		89		41		130		0.313253012		10		27		41		68		0.17		25		34		75		109		0.2632850242		25		44		20		64		0.1671018277		50		65		10		75		0.1978891821		50		65		0		65		0.1697127937		50		61		24		85		0.2073170732

		30		5		273		278		0.5815899582		20		171		41		212		0.5108433735		25		61		109		170		0.425		50		55		164		219		0.5289855072		50		95		41		136		0.3550913838		75		95		10		105		0.2770448549		100		123		37		160		0.4177545692		100		106		34		140		0.3414634146

		40		54		323		377		0.7887029289		30		232		34		266		0.6409638554		50		266		41		307		0.7675		75		37		290		327		0.7898550725		75		150		58		208		0.5430809399		100		129		27		156		0.4116094987		150		171		51		222		0.5796344648		150		157		48		205		0.5

		50		45		365		410		0.8577405858		50		321		0		321		0.7734939759		75		334		14		348		0.87		100		27		330		357		0.8623188406		100		240		51		291		0.7597911227		125		167		27		194		0.5118733509		200		287		24		311		0.8120104439		200		253		34		287		0.7

		75		41		405		446		0.9330543933		75		362		0		362		0.8722891566		100		359		0		359		0.8975		150		27		359		386		0.9323671498		125		311		27		338		0.8825065274		150		236		30		266		0.7018469657		250		334		0		334		0.8720626632		250		317		27		344		0.8390243902

		100		32		428		460		0.9623430962		100		383		0		383		0.9228915663		150		372		0		372		0.93		200		24		372		396		0.9565217391		150		342		10		352		0.9190600522		200		328		0		328		0.8654353562		300		351		0		351		0.9164490862		300		349		31		380		0.9268292683

		120		23		441		464		0.9707112971		150		396		0		396		0.9542168675		200		383		0		383		0.9575		250		20		379		399		0.9637681159		200		355		10		365		0.953002611		250		355		0		355		0.9366754617		350		366		0		366		0.955613577		350		362		27		389		0.9487804878

		150		27		446		473		0.989539749		200		410		0		410		0.9879518072		250		396		0		396		0.99		300		24		382		406		0.9806763285		300		376		0		376		0.9817232376		300		366		0		366		0.9656992084		400		372		0		372		0.9712793734		400		372		34		406		0.9902439024

		200		23		455		478		1		300		415		0		415		1		300		400		0		400		1		350		24		390		414		1		400		383		0		383		1		400		379		0		379		1		500		383		0		383		1		500		383		27		410		1

		300		20		464		484		1.0125523013

		Strip #		VFD

		188		80

		244		75

		390		60

		470		55

		498		55

		526		53

		545		55

		568		62

		578		92								0.0004882813		0.1806640625		0.0451660156

		585		128

		605		200

		622		225

		634		270

		650		285

		670		297

		690		300

		710		285								512		640

		730		250

		740		220

		760		170

		774		125

		829		60

		888		47





		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0



Strip #10

Strip #30

Strip #50

Strip #70

Strip #90

Strip #100

Strip #120

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0



Strip #526

Strip #545

Strip #578

Strip #585

Strip #605

Strip #622

Strip #634

Bias [Volt]

Normalised CCE

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0



Strip Number

Vfd [Volt]

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0



Strip #545

Strip #585

Strip #634

Bias [Volt]

Normalised CCE

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0



Strip #526

Strip #578

Strip #605

Bias [Volt]

Normalised CCE

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0

		0

		0

		0

		0

		0

		0

		0

		0



Strip #634

Bias [Volt]

Normalised CCE

0

0

0

0

0

0

0

0

0



		0

		0

		0

		0

		0

		0

		0

		0

		0

		0



Strip #526

Bias [Volt]

Normalised CCE

0

0

0

0

0

0

0

0

0

0



		Strip:		#10								Strip:		#30								Strip:		#50								Strip:		#70								Strip:		#90								Strip:		#100		#101						Strip:		#120

				#11										#31										#51										#71										#91										#121										#121

		D Left		h 200 V		ideal				h 400 V		D Left		h 200 V		ideal				h 400 V		D Left		h 200 V		ideal				h 400 V		D Left		h 200 V		ideal				h 400 V		D Left		h 200 V		ideal				h 400 V		D Left		h 200 V		ideal				h 400 V		D Left		h 200 V		ideal				h 400 V

		20		0.2059800664		0		0		0.1260683761		20		0.3485714286		0		0		0.2292490119		20		0.1510067114		0		0		0		20		0.1729559748		0		0		0.1299559471		30		0.1035422343		0		0		0		30		0.204610951		0		0		0		20		0.2591006424		0		0		0.263671875

		30		0.1784037559		110		1		0		30		0.2186046512		110		1		0		30		0.1964285714		110		1		0		30		0.1009615385		115		1		0		40		0.1971428571		117.5		1		0		40		0.3086053412		115		1		0		30		0.0874074074		115		1		0.0657534247

		40		0.2587064677						0.0909090909		40		0.3191489362						0		40		0.3269961977						0.118993135		40		0.1943734015						0		50		0.3688888889						0.2443729904		50		0.3851351351						0.1978021978		40		0.0914454277						0.0725244073

		50		0.3577586207						0.2196531792		50		0.4345238095						0.2648401826		60		0.6736842105						0.7946428571		50		0.3125						0.1707317073		60		0.6231884058						0.7816091954		60		0.5677966102						0.688372093		50		0.1515151515						0.1463414634

		60		0.6280991736						0.7375328084		60		0.625						0.619047619		70		0.7365079365						0.916500994		60		0.5102040816						0.5845070423		70		0.7445652174						0.9099437148		70		0.6253869969						0.886405959		60		0.5						0.5

		70		0.7114914425						0.8717948718		70		0.7170731707						0.8559322034		80		0.8419452888						0.9427402863		70		0.689373297						0.8831858407		80		0.8891454965						1		80		0.7331378299						0.9305816135		70		0.8						0.8395522388

		80		0.7915742794						0.9111470113		80		0.7960784314						0.9867374005		90		0.8307692308						0.9512195122		80		0.8141809291						0.9365609349		90		0.9136363636						1		90		0.7967032967						0.938517179		80		0.884086444						0.9252669039

		90		0.7759103641						0.8546845124		90		0.825						0.9734748011												90		0.8523489933						0.9378427788																						90		0.9249011858						0.9491833031

		Residuals		#10-#11								Residuals		#30-#31								Residuals		#50-#51								Residuals		#50-#51								Residuals		#70-#71								Residuals		#90-#91								Residuals		#100-#101

		True position		Est. position		Est. position		Residuals		Residuals		True position		Est. position		Est. position		Residuals		Residuals		True position		Est. position		Est. position		Residuals		Residuals		True position		Est. position		Est. position		Residuals		Residuals		True position		Est. position		Est. position		Residuals		Residuals		True position		Est. position		Est. position		Residuals		Residuals		True position		Est. position		Est. position		Residuals

				200 V		400 V		200 V		400 V				200 V		400 V		200 V		400 V				200 V		400 V		200 V		400 V				200 V		400 V		200 V		400 V				200 V		400 V		200 V		400 V				200 V		400 V		200 V		400 V				200 V		400 V		200 V		400 V

		20		22.657807309		38.3428571429		2.657807309		18.3428571429		20		38.3428571429		25.2173913043		18.3428571429		5.2173913043		20		16.610738255		0		-3.389261745		-20		20		19.8899371069		14.9449339207		-0.1100628931		-5.0550660793		30		12.1662125341		0		-17.8337874659		-30		30		23.530259366		0		-6.469740634		-30		20		29.7965738758		30.322265625		9.7965738758		10.322265625

		30		19.6244131455		24.0465116279		-10.3755868545		-5.9534883721		30		24.0465116279		0		-5.9534883721		-30		30		21.6071428571		0		-8.3928571429		-30		30		11.6105769231		0		-18.3894230769		-30		40		23.1642857143		0		-16.8357142857		-40		40		35.4896142433		0		-4.5103857567		-40		30		10.0518518519		7.5616438356		-19.9481481481		-22.4383561644

		40		28.4577114428		35.1063829787		-11.5422885572		-4.8936170213		40		35.1063829787		0		-4.8936170213		-40		40		35.969581749		13.0892448513		-4.030418251		-26.9107551487		40		22.3529411765		0		-17.6470588235		-40		50		43.3444444444		28.7138263666		-6.6555555556		-21.2861736334		50		44.2905405405		22.7472527473		-5.7094594595		-27.2527472527		40		10.5162241888		8.340306834		-29.4837758112		-31.659693166

		50		39.3534482759		47.7976190476		-10.6465517241		-2.2023809524		50		47.7976190476		29.1324200913		-2.2023809524		-20.8675799087		60		74.1052631579		87.4107142857		14.1052631579		27.4107142857		50		35.9375		19.6341463415		-14.0625		-30.3658536585		60		73.2246376812		91.8390804598		13.2246376812		31.8390804598		60		65.2966101695		79.1627906977		5.2966101695		19.1627906977		50		17.4242424242		16.8292682927		-32.5757575758		-33.1707317073

		60		69.0909090909		68.75		9.0909090909		8.75		60		68.75		68.0952380952		8.75		8.0952380952		70		81.0158730159		100.8151093439		11.0158730159		30.8151093439		60		58.6734693878		67.2183098592		-1.3265306122		7.2183098592		70		87.4864130435		106.9183864916		17.4864130435		36.9183864916		70		71.919504644		101.9366852886		1.919504644		31.9366852886		60		57.5		57.5		-2.5		-2.5

		70		78.2640586797		78.8780487805		8.2640586797		8.8780487805		70		78.8780487805		94.1525423729		8.8780487805		24.1525423729		80		92.6139817629		103.7014314928		12.6139817629		23.7014314928		70		79.2779291553		101.5663716814		9.2779291553		31.5663716814		80		104.474595843		117.5		24.474595843		37.5		80		84.3108504399		107.0168855535		4.3108504399		27.0168855535		70		92		96.5485074627		22		26.5485074627

		80		87.0731707317		87.568627451		7.0731707317		7.568627451		80		87.568627451		108.5411140584		7.568627451		28.5411140584		90		91.3846153846		104.6341463415		1.3846153846		14.6341463415		80		93.630806846		107.7045075125		13.630806846		27.7045075125		90		107.3522727273		117.5		17.3522727273		27.5		90		91.6208791209		107.9294755877		1.6208791209		17.9294755877		80		101.6699410609		106.4056939502		21.6699410609		26.4056939502

		90		85.350140056		90.75		-4.649859944		0.75		90		90.75		107.0822281167		0.75		17.0822281167												90		98.0201342282		107.8519195612		8.0201342282		17.8519195612																						90		106.3636363636		109.1560798548		16.3636363636		19.1560798548





		Far end														End + 1 cm														End + 2 cm														End + 3 cm														End + 3.5 cm

		Strip width		Local coord.		h 150 V						h 200 V		h 400 V		Strip width		Local coord.		h 150 V						h 200 V		h 400 V		Strip width		Local coord.		h 150 V						h 200 V		h 400 V		Strip width		Local coord.		h 150 V						h 200 V		h 400 V		Strip width		Local coord.		h 200 V						h 400 V				Local coord.		h 150 V		h 200 V		h 400 V

		16 µm		12		0.3192771084		0		0		0.3086172345		0.2177531207		25 µm		20		0.2489795918		0		0		0.2296072508		0.0935875217		25 µm		23		0.2344827586		0		0		0.1566820276		0.079338843		30 µm		23		0.1505016722		0		0		0.0805687204		0.052		35 µm		20		0.2591006424		0		0		0.263671875				28		0.1305483029		0.0812064965		0.0638722555		0		0

				22		0.3269230769		61		1		0.3302180685		0.2262118492				30		0.3642857143		78		1		0.3591160221		0.2287390029				33		0.3311897106		95		1		0.2647754137		0.1256038647				33		0.2164948454		108		1		0.0966183575		0.0595238095				30		0.0874074074		115		1		0.0657534247				38		0.1467391304		0.0782608696		0.0601202405		118		1

				32		0.5						0.5		0.5284552846				40		0.6977777778						0.691588785		0.8631578947				43								0.3176470588		0.2993197279				43		0.3470790378						0.2055137845		0.1347248577				40		0.0914454277						0.0725244073				48		0.2492753623		0.1494505495		0.1135135135

				42		0.6687697161						0.6808943089		0.826435247				50		0.7510204082						0.7796610169		0.9246575342				53		0.6393442623						0.6741573034		0.7946127946				63		0.6487603306						0.7430939227		0.8559837728				50		0.1515151515						0.1463414634				58		0.3970588235		0.41		0.368852459

				52		0.6972789116						0.7270788913		0.8104196816				60														63		0.7039711191						0.7454545455		0.8982785603				73		0.7683823529						0.884057971		0.9513108614				60		0.5						0.5				68		0.66		0.7510548523		0.789017341

																																73		0.7731629393						0.830802603		0.9453376206				83		0.8316498316						0.9351145038		0.98				70		0.8						0.8395522388				78		0.7542857143		0.9100719424		0.9100719424

																																																												80		0.884086444						0.9252669039				88		0.8444444444		0.9125799574		0.9323308271

																																																												90		0.9249011858						0.9491833031

				Pos. inner end (1)														Pos.(2)=(1)+1 cm														Pos.(3)=(2)+1 cm														Pos.(4)=(3)+1 cm														Pos.(5)=(4)+0.5 cm

		Bias		#119		Int 1		#120		Int 2		#121		Int 3		#122		#119		Int 1		#120		Int 2		#121		Int 3		#122		#119		Int 1		#120		Int 2		#121		Int 3		#122		#119		Int 1		#120		Int 2		#121		Int 3		#122		#119		Int 1		#120		Int 2		#121		Int 3		#122

		[Volt]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]

		50		0		0		30		10		115		10		20						20		0		68						0		0		31		0		99		0		0		0		0		0		0		70		0		0						38		21		104		-10

		100		28		0		61		17		179		15		33						44		15		129						20		0		48		24		171		0		31						52		34		145		0		29						62		34		177		-21

		150		30		0		88		40		239		27		44						78		37		184						0		0		71		44		242		0		31						63		58		250		0		29						55		24		385		-31

		200		37		0		115		74		357		37		54						68		41		280						0		0		78		58		383		0		37						37		20		388		-5		20						48		15		454		-24

		250		34		0		101		61		530		51		20						71		44		410						0		0		44		24		509		-24		10						26		10		448		-20		10						45		0		468		-34

		300		23		0		81		37		600		-23		30						58		45		475						0		0		37		13		533		-30		20						22		22		490		-24		10						34		0		478		-34

		350		34		0		84		27		641		-27		24						51		10		519						0		0		30		0		567		-30		15						20		0		512		-24		0						34		0		495		-34

		400		23		0		64		0		644		-34		23						51		0		530						0		0		41		0		577		-37		15						20		0		527		-24		0						34		0		502		-34

		500		10		0		77		0		680		-30		10						48		0		547						0		0		34		0		588		-40		13						10		0		530		-24		0						34		0		510		-34

																																																																		-10

																																																																		-17

																																																																		-17

				Total										Total										Intermediate strip/total charge																																										-17

		Bias		Pos.(1)		Pos.(2)		Pos.(3)		Pos.(4)		Pos.(5)		normalised

		[Volt]												Pos.(1)		Pos.(2)		Pos.(3)		Pos.(4)		Pos.(5)		Pos.(1)		Pos.(2)		Pos.(3)		Pos.(4)		Pos.(5)

		50		135		88		99		70		142		0.2023988006		0.1514629948		0.1672297297		0.1328273245		0.2649253731		0.0740740741		0		0		0		0.1478873239

		100		212		173		202		174		239		0.3178410795		0.2977624785		0.3412162162		0.330170778		0.4458955224		0.0801886792		0.0867052023		0.1188118812		0.1954022989		0.1422594142

		150		283		262		273		279		440		0.4242878561		0.4509466437		0.4611486486		0.5294117647		0.8208955224		0.1413427562		0.141221374		0.1611721612		0.2078853047		0.0545454545

		200		411		348		420		408		502		0.616191904		0.5989672978		0.7094594595		0.7741935484		0.9365671642		0.1800486618		0.117816092		0.1380952381		0.0490196078		0.0298804781

		250		550		481		519		458		513		0.8245877061		0.8278829604		0.8766891892		0.8690702087		0.9570895522		0.1109090909		0.0914760915		0.0462427746		0.0218340611		0

		300		630		533		553		500		512		0.9445277361		0.917383821		0.9341216216		0.9487666034		0.9552238806		0.0587301587		0.0844277674		0.0235081374		0.044		0

		350		665		570		582		512		529		0.9970014993		0.9810671256		0.9831081081		0.9715370019		0.9869402985		0.0406015038		0.0175438596		0		0		0

		400		667		581		592		527		536		1		1		1		1		1		0		0		0		0		0

		500		690		595		601		530		544		1.0344827586		1.0240963855		1.0152027027		1.0056925996		1.0149253731		0		0		0		0		0





		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0



Pos. 1

Pos. 2

Pos. 3

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0



Bias [V]

Charge routing line/Total charge

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0		0		0

		0		0		0		0

				0		0		0

				0		0		0



150 Volt

200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #760-761

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0		0		0

		0		0		0		0

				0		0		0

				0		0		0

				0		0		0

				0		0		0



Strip #120 of sector n. 6

Local position [µm]

Right charge/Total charge

Scan across strips #760-761

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

150 Volt

200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #760-761

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0		0		0

		0		0		0		0

				0		0		0

				0		0		0

				0		0		0

				0		0		0



150 Volt

200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #760-761

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0		0		0

		0		0		0		0

				0		0		0

				0		0		0

				0		0		0

				0		0		0

				0		0		0



150 Volt

200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #760-761

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



				Strip #		Centre		Distance																				Strip #		Centre		Distance		50 V		Local coord.		DL		DR		Pulse Left		Pulse Right		Pulse sum		h		ideal				100 V		Pulse Left		Pulse Right		Pulse sum		h		150 V		Pulse Left		Pulse Right		Pulse sum		h

				6		37		115																				112		40.9		54				42.5		16		38		89		59		148		0.3986486486		0		0				178		109		287		0.3797909408				191		73		264		0.2765151515

				7		48.5																						113		46.3						42.75		18.5		35.5		125		89		214		0.4158878505		54		1				200		150		350		0.4285714286				225		91		316		0.2879746835

																																				43		21		33		129		104		233		0.4463519313								212		175		387		0.4521963824				221		118		339		0.3480825959

																																				43.25		23.5		30.5		95		95		190		0.5								168		168		336		0.5				168		168		336		0.5

		# 112		Amplitude																						# 113		Amplitude								43.5		26		28		104		114		218		0.5229357798								171		193		364		0.5302197802				148		182		330		0.5515151515

		38.6		294		0.2		0																		44.5		193								43.75		28.5		25.5		86		114		200		0.57								139		200		339		0.5899705015				118		212		330		0.6424242424

		38.8		294		0.2		-11																		44.75		180								44		31		23		77		116		193		0.6010362694								139		223		362		0.6160220994				104		228		332		0.686746988

		39		283		0.2		-17																		45		145								44.25		33.5		20.5		70		116		186		0.623655914								104		205		309		0.6634304207				66		214		280		0.7642857143

		39.2		266		0.2		-32																		45.25		116								44.5		36		18		66		114		180		0.6333333333								103		203		306		0.6633986928				52		193		245		0.787755102

		39.4		234		0.2		-36																		45.5		70

		39.6		198		0.2		-50																		45.75		59

		39.8		148		0.2		-50																		46		32

		40		98		0.2		-25																		46.25		20

		40.2		73		0.2		-30																		46.5		23																										0.9074074074		121.2244897959

		40.4		43		0.2		-16																		46.75		42

		40.6		27		0.2		-2																		47		82

		40.8		25		0.2		-2		Gaussian fit par				Fit				Normalised								47.25		100

		41		23		0.2		2		A		51		39		0.0000000044		41		2		0.04		0.0000000001		47.5		150

		41.2		25		0.2		7		B		41.92		39.2		0.0000000951		41.2		7		0.14		0.0000000019		47.75		172

		41.4		32		0.2		27		C		0.429		39.4		0.0000016399		41.4		27		0.54		0.0000000328		48		193

		41.6		59		0.2		37						39.6		0.0000227487		41.6		37		0.74		0.000000455

		41.8		96		0.2		50				51		39.8		0.0002539185		41.8		50		1		0.0000050784

		42		146		0.2		50				41.938		40		0.0022805605		42		50		1		0.0000456112

		42.2		196		0.2		38				0.43643		40.2		0.0164815472		42.2		38		0.76		0.0003296309

		42.4		234		0.2		28						40.4		0.0958436953		42.4		28		0.56		0.0019168739

		42.6		262		0.2		18						40.6		0.4484750729		42.6		18		0.36		0.0089695015

		42.8		280		0.2		11						40.8		1.6885823954		42.8		11		0.22		0.0337716479

		43		291		0.2		3						41		5.1158216329		43		3		0.06		0.1023164327

		43.2		294										41.2		12.4714721089								0.2494294422

														41.4		24.4640994978								0.48928199

														41.6		38.6144575058								0.7722891501

														41.8		49.0433163761								0.9808663275

		42.2		216		196								42		50.120905813								1.0024181163

		42.4		234		234								42.2		41.2161271536								0.8243225431

		42.6		266		262								42.4		27.272480504								0.5454496101

		42.8		278		280								42.6		14.5208248704								0.2904164974

		43		291		291								42.8		6.221099165								0.1244219833

		43.2		294		294								43		2.1446288772								0.0428925775

														43.2		0.5949032803								0.0118980656

														43.4		0.1327852289								0.0026557046

														43.6		0.0238485708								0.0004769714

														43.8		0.0034465465								0.0000689309

														44		0.0004007884								0.0000080158

														44.2		0.0000375021								0.00000075

														44.4		0.0000028236								0.0000000565

														44.6		0.0000001711								0.0000000034

																												Strip #		Centre		Distance		50 V		Local coord.		DL		DR		Pulse Left		Pulse Right		Pulse sum		h		ideal				100 V		Pulse Left		Pulse Right		Pulse sum		h		150 V		Pulse Left		Pulse Right		Pulse sum		h

																												113		46.3		54				48		17		37		129		104		233		0.4463519313		0		0				198		157		355		0.4422535211				200		114		314		0.3630573248

																												114		51.7						48.3		20		34		128		107		235		0.4553191489		54		1				200		168		368		0.4565217391				203		137		340		0.4029411765

		#114		Amplitude																																48.5		22		32		128		114		242		0.4710743802								207		193		400		0.4825				198		148		346		0.4277456647

		50.3		203																																48.8		25		29		128		139		267		0.5205992509								225		205		430		0.476744186				180		198		378		0.5238095238

		50.5		150																								Amplitude								49		27		27		116		139		255		0.5450980392								187		234		421		0.5558194774				145		205		350		0.5857142857

		50.8		109																								193								49.3		30		24		109		157		266		0.5902255639								175		250		425		0.5882352941				120		237		357		0.6638655462

		51		70																								180								49.5		32		22		98		148		246		0.6016260163								148		248		396		0.6262626263				98		253		351		0.7207977208

		51.3		29																								145								49.8		35		19		91		150		241		0.622406639								125		235		360		0.6527777778				84		253		337		0.7507418398

		51.5		29																								116								50		37		17		77		134		211		0.63507109								111		234		345		0.6782608696				63		234		297		0.7878787879

		51.8		36																								70

		52		38

		52.5		89

		53		193

		53.5		216





		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0



0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0



0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0		0		0

		0		0		0		0

		0				0		0

		0				0		0

		0				0		0

		0				0		0

		0				0		0

		0				0		0

		0				0		0



Local position [µm]

Right charge/Total charge

Scan across strips #623-624

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0		0		0

		0		0		0		0

		0				0		0

		0				0		0

		0				0		0

		0				0		0

		0				0		0

		0				0		0

		0				0		0



Local position [µm]

Right charge/Total charge

Scan across strips #624-625

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		Time delay		Corrected time		Bias [V]		#120		Int 1		#121		Int 2																		0		0.08185		9.1672		112				0.261052		10		80

		70		55		250		0		0		68		0				0		0		0		610								1		0.168384		18.859008						0.431745		34.5396

		75		50				16		0		150		0				3		0.0512794593		31.2804701969										2		0.312367		34.985104						0.675746		54.05968

		80		45				34		0		245		-25				6		0.2672435413		163.0185601936										3		0.52869		59.21328						1.004992		80.39936

		85		40				54		0		369		-41				9		0.5875634723		358.4137180924										4		0.825982		92.509984						1.426173		114.09384

		90		35				123		32		560		0				12		0.9072872169		553.4452023										5		1.20452		134.90624						1.939189		155.13512

		95		30				154		40		688		0				15		1.1543795498		704.1715253543										6		1.656436		185.520832						2.536774		202.94192

		100		25				188		51		826		-28				18		1.299469696		792.6765145638										7		2.16761		242.77232						3.205258		256.42064

		105		20				199		74		792		0				21		1.3442508459		819.9930160187										8		2.720225		304.6652						3.926179		314.09432

		110		15				188		108		615		-5				24		1.3071636214		797.3698090352										9		3.295125		369.054						4.678293		374.26344

		115		10				176		131		421		79				27		1.2124429531		739.5902013697										10		3.873637		433.847344						5.439553		435.16424

		120		5				85		68		199		34				30		1.0834467691		660.9025291351										11		4.438771		497.142352						6.188773		495.10184

		125		0				0		0		0		0				33		0.9394191906		573.0457062512										12		4.97592		557.30304						6.906842		552.54736

																		36		0.7945091514		484.6505823432										13		5.473185		612.99672						7.577489		606.19912

																		39		0.6580501859		401.410613397										14		5.92143		663.20016						8.187653		655.01224

																		42		0.5354104702		326.6003867976										15		6.31416		707.18592						8.727551		698.20408

																		45		0.4289931162		261.6858008585										16		6.647297		744.497264						9.190552		735.24416

																		48		0.339164421		206.8902967894										17		6.91889		774.91568						9.57288		765.8304

																		51		0.2650152693		161.6593142647										18		7.128793		798.424816						9.873284		789.86272

																		54		0.2049346724		125.0101501754										19		7.278362		815.176544						10.092649		807.41192

																		57		0.1570118833		95.7772488293										20		7.370132		825.454784						10.233604		818.68832

																		60		0.1192986421		72.7721716988										21		7.407557		829.646384						10.300152		824.01216

																		63		0.0899657472		54.8791057793										22		7.394742		828.211104						10.297333		823.78664

																		66		0.0673846758		41.1046522082										23		7.336235		821.65832						10.230914		818.47312

																		69		0.050159177		30.597097963										24		7.236837		810.525744						10.107127		808.57016

																		72		0.0371256796		22.6466645667										25		7.101445		795.36184						9.932439		794.59512

																		75		0.0273359711		16.67494238										26		6.934925		776.7116						9.713365		777.0692

																																27		6.742013		755.105456						9.456316		756.50528

																																28		6.527242		731.051104						9.16749		733.3992

																																29		6.294873		705.025776						8.852766		708.22128

																																30		6.048868		677.473216						8.517644		681.41152

																																31		5.792859		648.800208						8.167207		653.37656

																																32		5.530137		619.375344						7.806094		624.48752

																																33		5.263647		589.528464						7.438483		595.07864

																																34		4.995998		559.551776						7.068093		565.44744

																																35		4.729472		529.700864						6.698193		535.85544

																																36		4.466033		500.195696						6.331631		506.53048

																																37		4.207353		471.223536						5.970841		477.66728

																																38		3.954834		442.941408						5.617879		449.43032

																																39		3.709625		415.478						5.274448		421.95584

																																40		3.472645		388.93624						4.941926		395.35408

																																41		3.244611		363.396432						4.621399		369.71192

																																42		3.026052		338.917824						4.313695		345.0956

																																43		2.817337		315.541744						4.019405		321.5524

																																44		2.618692		293.293504						3.738913		299.11304

																																45		2.43022		272.18464						3.472427		277.79416

																																46		2.251916		252.214592						3.219996		257.59968

																																47		2.083687		233.372944						2.981542		238.52336

																																48		1.925365		215.64088						2.756874		220.54992

																																49		1.776718		198.992416						2.545705		203.6564

																																50		1.637465		183.39608						2.347678		187.81424

																																51		1.507286		168.816032						2.162372		172.98976

																																52		1.38583		155.21296						1.989319		159.14552

																																53		1.272725		142.5452						1.828019		146.24152

																																54		1.167583		130.769296						1.677946		134.23568

																																55		1.070007		119.840784						1.538557		123.08456

																																56		0.979598		109.714976						1.409304		112.74432

																																57		0.895956		100.347072						1.289635		103.1708

																																58		0.818688		91.693056						1.179003		94.32024

																																59		0.747406		83.709472						1.076871		86.14968

																																60		0.681733		76.354096						0.982712		78.61696

																																61		0.621304		69.586048						0.896015		71.6812

																																62		0.565769		63.366128						0.816288		65.30304

																																63		0.51479		57.65648						0.743057		59.44456

																																64		0.468044		52.420928						0.675869		54.06952

																																65		0.425227		47.625424						0.614292		49.14336

																																66		0.386049		43.237488						0.557917		44.63336

																																67		0.350235		39.22632						0.506357		40.50856

																																68		0.317529		35.563248						0.459245		36.7396

																																69		0.287687		32.220944						0.416239		33.29912

																																70		0.260483		29.174096						0.377015		30.1612

																																71		0.235705		26.39896						0.341272		27.30176

																																72		0.213156		23.873472						0.308729		24.69832

																																73		0.19265		21.5768						0.279123		22.32984

																																74		0.174018		19.490016						0.25221		20.1768

																																75		0.157101		17.595312						0.227764		18.22112

																																76		0.141751		15.876112						0.205574		16.44592

																																77		0.127834		14.317408						0.185447		14.83576

																																78		0.115224		12.905088						0.167204		13.37632

																																79		0.103806		11.626272						0.150679		12.05432

																																80		0.093474		10.469088						0.13572		10.8576

																																81		0.084131		9.422672						0.122188		9.77504

																																82		0.075686		8.476832						0.109953		8.79624

																																83		0.068058		7.622496						0.098898		7.91184

																																84		0.061172		6.851264						0.088915		7.1132

																																85		0.054959		6.155408						0.079904		6.39232

																																86		0.049356		5.527872						0.071777		5.74216

																																87		0.044307		4.962384

																																88		0.039758		4.452896

																																89		0.035662		3.994144

																																90		0.031975		3.5812

																																91		0.028659		3.209808

																																92		0.025678		2.875936

																																93		0.022998		2.575776

																																94		0.020591		2.306192

																																95		0.018429		2.064048

																																96		0.016489		1.846768

																																97		0.014748		1.651776

																																98		0.013187		1.476944

																																99		0.011787		1.320144





		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0



0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0



0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0



Measured (hit strip)

Calculated

Adjacent strip

Intermediate routing line

Time [ns]

Amplitude [arb. units]

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0



Measured

Calculated

Time [ns]

Amplitude [arb. units]

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0




_1051558279.xls
Chart11

		0		28

		118		38

				48

				58

				68

				78

				88



400 Volt

Local position [µm]

Right charge/Total charge

0

0.0638722555

1

0.0601202405

0.1135135135

0.368852459

0.789017341

0.9100719424

0.9323308271



General

		Sector #		Strip's range								1		128

		1		1-128								2		256

		2		129-256								3		384

		3		257-384								4		512

		4		385-512								5		640

		5		513-640								6		768

		6		641-768								7		896

		7		769-896								8		1024

		8		897-1024

		Measured strips:

		Sector #:		1		2		3		4		5		6		7		8





Sheet1

				Bias 200 V		Step posit.		Delta #85		Delta #86		Left Height		Right Height		Sum (L+R)		Eta		Integral		Predicted position		Residuals		Ideal eta

								[µm]		[µm]																0		0

		Strip #85 position		40.3		41		7		115		558		104		662		0.1570996979				18.8519637462		11.8519637462		120		1

		Strip #86 position		52.5		42		17		105		608		154		762		0.2020997375				24.2519685039		7.2519685039

						43		27		95		625		116		741		0.1565452092				18.7854251012		-8.2145748988

						44		37		85		608		227		835		0.2718562874				32.622754491		-4.377245509

						45		47		75		608		446		1054		0.4231499051				50.7779886148		3.7779886148

						46		57		65		568		548		1116		0.4910394265				58.9247311828		1.9247311828

						47		67		55		507		572		1079		0.5301204819				63.6144578313		-3.3855421687

						48		77		45		357		580		937		0.6189967983				74.2796157951		-2.7203842049

						49		87		35		170		570		740		0.7702702703				92.4324324324		5.4324324324

						50		97		25		187		608		795		0.7647798742				91.7735849057		-5.2264150943

						51		107		15		174		600		774		0.7751937984				93.023255814		-13.976744186

																								7.5058591589

																						7.5058591589

																						6

				Bias 200 V		Step posit.		Delta #85		Delta #86		Left Height		Right Height		Sum (L+R)		Eta		Integral						Ideal eta

								[µm]		[µm]																0		0

		Strip #85 position		41.7		43		13		105		755		170		925		0.1837837838								120		1

		Strip #86 position		53.5		44		23		95		778		178		956		0.1861924686

						45		33		85		770		244		1014		0.2406311637

						46		43		75		770		585		1355		0.4317343173

						47		53		65		711		689		1400		0.4921428571

						48		63		55		607		741		1348		0.5497032641

						49		73		45		452		741		1193		0.6211232188

						50		83		35		178		726		904		0.8030973451

						51		93		25		118		711		829		0.8576598311

						52		103		15		104		681		785		0.8675159236

						53		113		5		89		704		793		0.8877679697





Irradiated (4)

		Bias 250 V		Strip #		Centre		Distance		20 V		Local coord.		D24		D25		Pulse Left		Pulse Right		Pulse sum		h		ideal				50 V		Pulse Left		Pulse Right		Pulse sum		h		200 V		Pulse Left		Pulse Right		Pulse sum		h				Volt scan		#85		#86		Total		Normalised

				85		31		110				33.5		25		85		128		12		140		0.0857142857		0		0				253		30		283		0.1060070671				373		16		389		0.0411311054				20		36		126		162		0.3884892086

				86		42						34.5		35		75		132		12		144		0.0833333333		110		1				233		24		257		0.093385214				341		25		366		0.0683060109				30		52		240		292		0.7002398082

												35.5		45		65		84		32		116		0.275862069								204		48		252		0.1904761905				325		50		375		0.1333333333				40		48		317		365		0.8752997602

												37		60		50		22		40		62		0.6451612903								36		76		112		0.6785714286				50		136		186		0.7311827957				50		48		371		407		0.9760191847

		#85		Amplitude		#86		Amplitude				37.5		65		45		40		84		124		0.6774193548								60		197		257		0.766536965				60		305		365		0.8356164384				75		36		380		412		0.9880095923

		39		417		28		417				38.5		75		35		28		152		180		0.8444444444								40		272		312		0.8717948718				32		401		433		0.9260969977				100		32		397		425		1.0191846523

		40		325		29		297				39.5		85		25		24		160		184		0.8695652174								44		281		325		0.8646153846				32		405		437		0.9267734554				120		28		413		441		1.0575539568

		41		50		30		60																																												150		28		417		417		1

		42		0		31		0

		43		68		32		32

		44		361		33		272

						34		409

		Bias 250 V		Strip #		Centre		Distance		20 V		Local coord.		D24		D25		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h		ideal				50 V		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h		200 V		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h				Volt scan		#4		Int 1		#5		Int 2		Total		Normalised

				4		12.5		115				14.5		20		95		204		-28		36				240		0.15		0		0				333				36				369		0.0975609756				449		-64		48				497		0.0965794769				20		12		-24		200		-48		212		0.4265593561

				5		24						15.5		30		85		240		-36		44				284		0.1549295775		115		1				425		-64		72				497		0.1448692153				573		-112		64				637		0.1004709576				30		40				328		-52		368		0.7404426559

												16.5		40		75		212		-32		44				256		0.171875								373		-48		52				425		0.1223529412				525		-88		52				577		0.0901213172				40		24		-16		381		-88		405		0.814889336

												17.5		50		65		116		-8		48				164		0.2926829268								256		-24		104				360		0.2888888889				373		-64		120				493		0.2434077079				50		28		-24		425		-92		453		0.9114688129

		#4		Amplitude		#5		Amplitude				18.5		60		55		16				32				48		0.6666666667								32				72				104		0.6923076923				60				112				172		0.6511627907				75		16				445		-100		461		0.9275653924

		12		0		21		489				19.5		70		45		52				188		-16		240		0.7833333333								68				385		-48		453		0.8498896247				52				509		-96		561		0.9073083779				100		12		-28		457		-124		469		0.9436619718

		13		0		22		341				20.5		80		35		52				253		-16		305		0.8295081967								76				429		-52		505		0.8495049505				36				549		-96		585		0.9384615385				120		16		-20		465		-120		481		0.967806841

		14		132		23		84				21.5		90		25		28				204		-48		232		0.8793103448								36				393		-84		429		0.9160839161				28				501		-112		529		0.9470699433				150		12		-44		485		-132		497		1

		15		437		24		0

		16		517		25		0

						26		272

		Bias 250 V		Strip #		Centre		Distance		20 V		Local coord.		D24		D25		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h		ideal				50 V		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h		200 V		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h

				5		24		110				26.5		25		85		197				36				233		0.1545064378		0		0				328				36				364		0.0989010989				445				32				477		0.0670859539

				6		35						27.5		35		75		152				28				180		0.1555555556		110		1				305				36				341		0.1055718475				449				36				485		0.0742268041

												28.5		45		65		116				36				152		0.2368421053								253				60				313		0.1916932907				413				100				513		0.1949317739

												29.5		55		55		44				28				72										60				36				96						72				32				104

												30.5		65		45		28				104				132		0.7878787879								52				212				264		0.803030303				72				345				417		0.8273381295

												31.5		75		35		36				160				196		0.8163265306								32				272				304		0.8947368421				28				405				433		0.935334873

												32.5		85		25		12				164				176		0.9318181818								32				333				365		0.9123287671				72				469				541		0.8669131238

		Bias 250 V		Strip #		Centre		Distance		20 V		Local coord.		D24		D25		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h		ideal				50 Volt		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h		200 Volts		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h				Volt scan		#115		Int 1		#116		Int 2		Total		Normalised

				115		44		120				47.5		35		85		237				45				282		0.1595744681		0		0				396		-18		54				450		0.12				474		-31		41				515		0.0796116505				10		32		23		132		0		164		0.3326572008

				116		56						48.5		45		75		209		0		54				263		0.2053231939		120		1				387		-13		59				446		0.1322869955				460		-41		45				505		0.0891089109				20		41		25		241		0		282		0.5720081136

												49.5		55		65		128		13		54				182		0.2967032967								264				77				341		0.2258064516				360		-23		90				450		0.2				30		45		25		314		0		359		0.7281947262

												51		70		50		41		13		91				132										63		13		182				245						73		0		250				323		0.72				40		45		25		364		0		409		0.8296146045

		#115		Amplitude		#116		Amplitude				51.5		75		45		77		41		173				250		0.692								91		18		360				451		0.7982261641				91		0		461				552		0.8351449275				50		36		18		400		-13		436		0.8843813387

		42		506		54		483				52.5		85		35		54		30		214				268		0.7985074627								54		23		383				437		0.8764302059				32		-23		460				492		0.9349593496				60		25		0		419		-23		444		0.9006085193

		43		410		55		287				53.5		95		25		41		25		241				282		0.8546099291								36		18		400		-13		436		0.9174311927				27				460		-23		487		0.9445585216				80		27		0		442		-23		469		0.9513184584

		44		77		56		0																																																								100		27		0		446		-23		473		0.9594320487

		45		455		57		0																																																								150		23		0		455		-27		478		0.9695740365

		46		488		58		145																																																								200		27				460		-18		487		0.9878296146

						59		469																																																								300		23				470		-30		493		1





Irradiated (4)

		20		10

		30		20

		40		30

		50		40

		75		50

		100		60

		120		80

		150		100

				150

				200

				300



0.4265593561

0.3326572008

0.7404426559

0.5720081136

0.814889336

0.7281947262

0.9114688129

0.8296146045

0.9275653924

0.8843813387

0.9436619718

0.9006085193

0.967806841

0.9513184584

1

0.9594320487

0.9695740365

0.9878296146

1



Irradiated (5) 

		20		20		20		0

		30		30		30		115

		40		40		40

		50		50		50

		60		60		60

		70		70		70

		80		80		80

		90		90		90



20 Volt

50 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #388-389

0.15

0.0975609756

0.0965794769

0

0.1549295775

0.1448692153

0.1004709576

1

0.171875

0.1223529412

0.0901213172

0.2926829268

0.2888888889

0.2434077079

0.6666666667

0.6923076923

0.6511627907

0.7833333333

0.8498896247

0.9073083779

0.8295081967

0.8495049505

0.9384615385

0.8793103448

0.9160839161

0.9470699433



Irr. corr (5)

		25		25		25		0

		35		35		35		110

		45		45		45

		55		55		55

		65		65		65

		75		75		75

		85		85		85



0.1545064378

0.0989010989

0.0670859539

0

0.1555555556

0.1055718475

0.0742268041

1

0.2368421053

0.1916932907

0.1949317739

0.7878787879

0.803030303

0.8273381295

0.8163265306

0.8947368421

0.935334873

0.9318181818

0.9123287671

0.8669131238



Irr. corr. (6)

		Bias 250 V		Strip #		Centre		Distance		100 V		Local coord.		D24		D25		Pulse Left		Pulse Right		Pulse sum		h		ideal				200 V		Pulse Left		Pulse Right		Pulse sum		h		300 V		Pulse Left		Pulse Right		Pulse sum		h				Volt scan		#13		#14		Total		Normalised						Strip #5		Volt scan		Normalised

				13		8.5		110				11		25		85		351		0		351		0		0		0				369		0		369		0				364		0		364		0				20		5		205		210		0.4338842975						10		140		0.2868852459

				14		19.5						12		35		75		387		0		387		0		110		1				414		0		414		0				414		0		414		0				30		5		273		278		0.5743801653						30		285		0.5840163934

												13		45		65		328		27		355		0.076056338								374		15		389		0.0385604113				383		24		407		0.058968059				40		54		323		377		0.7789256198						50		393		0.8053278689

												14		55		55		154		73		227		0.3215859031								164		59		223		0.264573991				173		68		241		0.2821576763				50		45		360		405		0.8367768595						70		434		0.8893442623

		#13		Amplitude		#14		Amplitude				15		65		45		54		223		277		0.8050541516								63		264		327		0.8073394495				82		278		360		0.7722222222				75		41		405		446		0.9214876033						100		454		0.9303278689

		6		364		17		351				16		75		35		36		378		414		0.9130434783								36		424		460		0.9217391304				32		424		456		0.9298245614				100		32		428		460		0.9504132231						150		468

		7		164		18		164				17		85		25		23		414		437		0.9473684211								23		460		483		0.9523809524				20		464		484		0.958677686				120		23		437		460		0.9504132231						200		485		0.993852459

		8		30		19		0																																												150		27		446		473		0.9772727273						300		488		1

		9		0		20		0																																												200		23		455		478		0.9876033058

		10		209		21		196																																												300		20		464		484		1

		11		370		22		392

		Bias 250 V		Strip #		Centre		Distance		50 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				200 V		Pulse Left		Pulse Right		Pulse sum		h		300 V		Pulse Left		Pulse Right		Pulse sum		h				Volt scan		#33		#34		Total		Normalised

				13		4.8		112				8		32		80		31		334		71		405		0.175308642		0		0				427		-17		410		0				434		-17		417		0				10		48		97		145		0.3325688073				30		112		20		31		163

				14		16						9		42		70		34		317		51		368		0.1385869565		112		1				427		31		458		0.0676855895				458		24		482		0.0497925311				20		51		184		235		0.5389908257				50		157		31		41		229

												10		52		60		0		68		34		102		0.3333333333								89		37		126		0.2936507937				99		34		133		0.2556390977				30		54		263		317		0.7270642202				100		291		51		85		427

												11		62		50		0		65		195		260		0.75								61		266		327		0.8134556575				61		260		321		0.8099688474				50		37		345		382		0.876146789				130		372		58		103		533

		#33		Amplitude		#34		Amplitude				12		72		40		0		51		308		359		0.8579387187								34		413		447		0.9239373602				34		430		464		0.9267241379				75		27		389		416		0.9541284404				150		530		50		109		689

		2		445		13		451				13		82		30		0		37		342		379		0.9023746702								27		427		454		0.9405286344				10		447		457		0.9781181619				100		24		400		424		0.9724770642				200		567		44		65		676

		3		191		14		214																																														125		24		417		441		1.0114678899				250		605		31				636

		4		41		15		41																																														150		20		420		440		1.0091743119				300		612		31				643

		5		34		16		34																																														200		20		424		444		1.0183486239

		6		68		17		58																																														300		20		436		456		1.0458715596

		7		413		18		330

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.		D24		D25		#120		Int 1		#121		Int 2		#122		Int 3		Pulse sum		h		ideal				200 V		#120		Int 1		#121		Int 2		#122		Int 3		Pulse sum		h		400 V		#120		Int 1		#121		Int 2		#122		Int 3		Pulse sum		h						Volt scan		#120		Int 1		#121		Int 2		#122		Total		Normalised

				121		40		117				43		30		87		30		24		167		24		48		17		215		0.223255814		0		0				24		20		266		10		34		0		300		0.1133333333				10		0		372		-24		20		0		392		0.0510204082						50		0		0		61		0		24		85		0.2093596059

				122		51.7						44		40		77		24		15		140		31		54		117		194		0.2783505155		117		1				27		15		242		27		58		0		300		0.1933333333				0		0		376		-24		31		0		407		0.0761670762						100		20		0		106		0		34		140		0.3448275862

												45		50		67		24		20		99		37		65		0		164		0.3963414634								15		0		171		44		75		0		246		0.3048780488				10		0		311		0		75		0		386		0.1943005181						150		27		10		157		24		48		205		0.5049261084

												47		70		47		0		0		58		41		95		0		153		0.6209150327								0		0		68		48		146		0		214		0.6822429907				0		0		61		17		270		0		331		0.8157099698						200		20		10		253		10		34		287		0.7068965517

		#121		Amplitude		#122		Amplitude				48		80		37		0		0		65		41		143		10		208		0.6875								0		0		58		41		229		0		287		0.7979094077				0		0		34		0		366		-13		400		0.915						250		10		5		317		0		27		344		0.8472906404

		38		345		49		366				49		90		27		0		0		51		34		157		0		208		0.7548076923								0		0		44		27		266		0		310		0.8580645161				0		0		27		0		376		-17		403		0.9330024814						300		0		0		349		0		31		380		0.9359605911

		39		37		50		201																																																																						350		0		0		362		-15		27		389		0.9581280788

		40		30		51		34																																																																						400		0		0		372		-17		34		406		1

		41		34		52		24																																																																						500		0		0		383		-20		27		410		1.0098522167

		42		195		53		58

		43		362		54		342

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				200 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		400 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h						Volt scan		#109		#110		Total		Normalised

				109		12.4		116				15		26		90		31		178		51		229		0.2227074236		0		0				15		280		24		304		0.0789473684						369		0		369		0						50		65		0		65		0.1747311828

				110		24						16		36		80		24		154		58		212		0.2735849057		116		1				24		263		41		304		0.1348684211						372		0		372		0						100		123		37		160		0.4301075269

												17		46		70		20		123		71		194		0.3659793814								30		215		71		286		0.2482517483						331		41		372		0.1102150538						150		171		51		222		0.5967741935

												19		66		50		0		68		95		163		0.5828220859								0		71		146		217		0.6728110599						58		242		300		0.8066666667						200		287		24		311		0.8360215054

		#109		Amplitude		#110		Amplitude				20		76		40		0		68		146		214		0.6822429907								0		58		242		300		0.8066666667						34		338		372		0.9086021505						250		334		0		334		0.8978494624

		10		308		21		291				21		86		30		0		58		167		225		0.7422222222								0		44		259		303		0.8547854785						0		345		345		1						300		351		0		351		0.9435483871

		11		37		22		208																																																				350		366		0		366		0.9838709677

		12		0		23		31																																																				400		372		0		372		1

		13		0		24		27																																																				500		383		0		383		1.0295698925

		14		225		25		31

		15		321		26		235

						27		285

		Bias 250 V		Strip #		Centre		Distance		100 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				300 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		400 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h						Volt scan		#72		#73		Total		Normalised

				72		29.1		114				31.5		24		90				253		34		287		0.118466899		0		0						355		1		356		0.0028089888						0		0		0		0						25		44		20		64		0.170212766

				73		40.5						32.5		34		80				242		48		290		0.1655172414		114		1						386		1		387		0.0025839793																		50		95		41		136		0.3617021277

												33.5		44		70				150		78		228		0.3421052632										280		41		321		0.1277258567																		75		150		58		208		0.5531914894

												35.5		64		50				54		120		174		0.6896551724										51		222		273		0.8131868132																		100		240		51		291		0.7739361702

		#72		Amplitude		#73		Amplitude				36.5		74		40				68		215		283		0.7597173145										17		376		393		0.9567430025																		125		311		27		338		0.8989361702

		27		249		38		311				37.5		84		30				41		253		294		0.8605442177										1		386		387		0.9974160207																		150		342		10		352		0.9361702128

		28		71		39		106				38		89		25				41		249		290		0.8586206897										20		355		375		0.9466666667																		200		355		10		365		0.9707446809

		28.5		25		40		20																																																				300		376		0		376		1

		29		0		41		31																																																				400		383		0		383		1.0186170213

		30		58		42		154

		31		256		43		334

		Bias 250 V		Strip #		Centre		Distance		100 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				150 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		300 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		200 V		Pulse Left		Pulse Right		Pulse sum		h		Volt scan		#92		#93		Total		Normalised

				92		37.8		116				40		22		94		20		146		41		187		0.2192513369		0		0						259		24		283		0.0848056537						352		1		353		0.0028328612				331		5		336		0.0148809524		50		65		10		75		0.2049180328

				93		49.4						41		32		84		20		140		44		184		0.2391304348		116		1						246		34		280		0.1214285714						369		1		370		0.0027027027				334		5		339		0.0147492625		75		95		10		105		0.2868852459

												42		42		74		24		112		51		163		0.3128834356										208		65		273		0.2380952381						355		1		356		0.0028089888				300		34		334		0.1017964072		100		129		27		156		0.4262295082

												44.5		67		49		0		68		89		157		0.5668789809										82		143		225		0.6355555556						65		256		321		0.7975077882				71		215		286		0.7517482517		125		167		27		194		0.5300546448

		#92		Amplitude		#93		Amplitude				45		72		44				71		103		174		0.591954023										78		198		276		0.7173913043						37		334		371		0.9002695418				54		291		345		0.8434782609		150		236		30		266		0.7267759563

		35		352		47		345				46		82		34				54		123		177		0.6949152542										54		236		290		0.8137931034						1		370		371		0.9973045822				41		328		369		0.8888888889		200		328		0		328		0.8961748634

		36		143		48		68				47		92		24				48		133		181		0.7348066298										48		259		307		0.8436482085						10		359		369		0.972899729				35		331		366		0.9043715847		250		355		0		355		0.9699453552

		37		17		49		0																																																										300		366		0		366		1

		38		17		49.5		0																																																										400		379		0		379		1.0355191257

		39		95		50		0

		40		325		51		116

						52		321

		Bias 250 V		Strip #		Centre		Distance		20 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				50 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		200 V		Pulse Left		Pulse Right		Pulse sum		h								Volt scan		#32		#33		Total		Normalised

				32		43.2		108				45.5		23		85		24		188		30		218		0.1376146789		0		0				24		317		1		318		0.0031446541				400		1		401		0.0024937656								10		89		41		130		0.3147699758

				33		54						46.5		33		75		20		174		44		218		0.2018348624		108		1				20		325		10		335		0.0298507463				410		1		411		0.00243309								20		171		41		212		0.5133171913

												47.5		43		65		24		123		65		188		0.3457446809								20		242		54		296		0.1824324324				342		37		379		0.0976253298								30		232		34		266		0.6440677966

												49		58		50		0		41		58		99		0.5858585859										44		109		153		0.7124183007				51		164		215		0.7627906977								50		321		0		321		0.7772397094

		#32		Amplitude		#33		Amplitude				49.5		63		45				68		116		184		0.6304347826										68		212		280		0.7571428571				65		297		362		0.820441989								75		362		0		362		0.8765133172

		40		393		51		413				50.5		73		35				58		157		215		0.7302325581										44		297		341		0.8709677419				24		389		413		0.9418886199								100		383		0		383		0.9273607748

		41		181		52		291				51		78		30				48		164		212		0.7735849057										41		304		345		0.8811594203				15		393		408		0.9632352941								150		396		0		396		0.9588377724

		42		31		53		51																																																				200		413		0		413		1

		43		24		54		17																																																				300		420		0		420		1.0169491525

		44		80		55		50

		45		359		56		280

						57		403

		Bias 250 V		Strip #		Centre		Distance		50 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				100 V		Pulse Left		Pulse Right		Pulse sum		h		300 V		Pulse Left		Pulse Right		Pulse sum		h										Volt scan		#53		#54		#55		#56		Total		Normalised

				54		39		110				42.5		35		75		24		259		37		296		0.125		0		0				352		1		353		0.0028328612				400		1		401		0.0024937656										10		13		27		41		13		68		0.17

				55		50						43		40		70		24		222		48		270		0.1777777778		110		1				331		1		332		0.0030120482				393		1		394		0.0025380711										25		20		61		109		20		170		0.425

												44		50		60		0		123		58		181		0.320441989								195		44		239		0.1841004184				239		41		280		0.1464285714										50				266		41				307		0.7675

												45.5		65		45		0		51		116		167		0.6946107784								42		178		220		0.8090909091				61		215		276		0.7789855072										75				334		14				348		0.87

		#54		Amplitude		#55		Amplitude				46		70		40				70		201		271		0.741697417								51		308		359		0.8579387187				51		355		406		0.8743842365										100				359		0				359		0.8975

		37		352		47		400				47		80		30				43		260		303		0.8580858086								17		355		372		0.9543010753				1		400		401		0.9975062344										150				372		0				372		0.93

		38		44		48		280																																																				200				383		0				383		0.9575

		39		27		49		41																																																				250				396		0				396		0.99

		40		51		50		20																																																				300				400		0				400		1

		41		266		51		51								512		63		575																																								400				406						406		1.015

		42		390		52		273

						53		410

		Bias 250 V		Strip #		Centre		Distance		50 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				100 V		Pulse Left		Pulse Right		Pulse sum		h		250 V		Pulse Left		Pulse Right		Pulse sum		h										Volt scan		#64		#65		Total		Normalised

				63		1		120				4.5		35		85		37		161		65		226		0.2876106195		0		0				317		1		318		0.0031446541				376		1		377		0.0026525199										25		34		75		109		0.2632850242

				64		13						5.5		45		75		30		137		82		219		0.3744292237		120		1				297		54		351		0.1538461538				376		15		391		0.0383631714										50		55		164		219		0.5289855072

												6		50		70		0		123		78		201		0.3880597015								249		58		307		0.1889250814				325		41		366		0.1120218579										75		37		290		327		0.7898550725

												7.5		65		55		0		38		51		89		0.5730337079								40		106		146		0.7260273973				51		129		180		0.7166666667										100		27		330		357		0.8623188406

		#63		Amplitude		#64		Amplitude				8		70		50				71		103		174		0.591954023								61		242		303		0.798679868				58		300		358		0.8379888268										150		27		359		386		0.9323671498

		-1		352		10		400				9		80		40				75		143		218		0.6559633028								41		325		366		0.8879781421				31		372		403		0.9230769231										200		24		372		396		0.9565217391

		0		44		11		280				10		90		30				51		164		215		0.7627906977								34		334		368		0.9076086957				20		389		409		0.9511002445										250		20		379		399		0.9637681159

		1		27		12		41																																																				300		24		382		406		0.9806763285

		2		51		13		20																																																				350		24		390		414		1

		3		266		14		51

		4		390		15		273





Irradiated (6)

		Bias 250 V		Strip #		Centre		Distance		100 V		Local coord.		D24		D25		Pulse Left		Pulse Right		Pulse sum		h		ideal				200 V		Pulse Left		Pulse Right		Pulse sum		h		300 V		Pulse Left		Pulse Right		Pulse sum		h				Volt scan		#13		#14		Total		Normalised						Strip #5		Volt scan		Normalised

				13		8.5		110				11		25		85		351		17		368		0.0461956522		0		0				369		17		386		0.0440414508				364		17		381		0.0446194226				20		5		205		210		0.4338842975						10		140		0.2868852459

				14		19.5						12		35		75		387		24		411		0.0583941606		110		1				414		24		438		0.0547945205				414		24		438		0.0547945205				30		5		273		278		0.5743801653						30		285		0.5840163934

												13		45		65		328		54		382		0.1413612565								374		55		429		0.1282051282				383		48		431		0.1113689095				40		54		323		377		0.7789256198						50		393		0.8053278689

												14		55		55		154		73		227		0.3215859031								164		59		223		0.264573991				173		68		241		0.2821576763				50		45		360		405		0.8367768595						70		434		0.8893442623

		#13		Amplitude		#14		Amplitude				15		65		45		54		223		277		0.8050541516								63		264		327		0.8073394495				82		278		360		0.7722222222				75		41		405		446		0.9214876033						100		454		0.9303278689

		6		364		17		351				16		75		35		36		378		414		0.9130434783								36		424		460		0.9217391304				32		424		456		0.9298245614				100		32		428		460		0.9504132231						150		468

		7		164		18		164				17		85		25		23		414		437		0.9473684211								23		460		483		0.9523809524				20		464		484		0.958677686				120		23		437		460		0.9504132231						200		485		0.993852459

		8		30		19		0																																												150		27		446		473		0.9772727273						300		488		1

		9		0		20		0																																												200		23		455		478		0.9876033058

		10		209		21		196																																												300		20		464		484		1

		11		370		22		392

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.		D24		D25		#120		Int 1		#121		Int 2		#122		Int 3		Pulse sum		h		ideal				200 V		#120		Int 1		#121		Int 2		#122		Int 3		Pulse sum		h		400 V		#120		Int 1		#121		Int 2		#122		Int 3		Pulse sum		h						Volt scan		#120		Int 1		#121		Int 2		#122		Total		Normalised

				121		40		117				43		30		87		30		24		167		24		48		17		215		0.223255814		0		0				24		20		266		10		34		0		300		0.1133333333				10		0		372		-24		20		0		392		0.0510204082						50		0		0		61		0		24		85		0.2093596059

				122		51.7						44		40		77		24		15		140		31		54		117		194		0.2783505155		117		1				27		15		242		27		58		0		300		0.1933333333				0		0		376		-24		31		0		407		0.0761670762						100		20		0		106		0		34		140		0.3448275862

												45		50		67		24		20		99		37		65		0		164		0.3963414634								15		0		171		44		75		0		246		0.3048780488				10		0		311		0		75		0		386		0.1943005181						150		27		10		157		24		48		205		0.5049261084

												47		70		47		0		0		58		41		95		0		153		0.6209150327								0		0		68		48		146		0		214		0.6822429907				0		0		61		17		270		0		331		0.8157099698						200		20		10		253		10		34		287		0.7068965517

		#121		Amplitude		#122		Amplitude				48		80		37		0		0		65		41		143		10		208		0.6875								0		0		58		41		229		0		287		0.7979094077				0		0		34		0		366		-13		400		0.915						250		10		5		317		0		27		344		0.8472906404

		38		345		49		366				49		90		27		0		0		51		34		157		0		208		0.7548076923								0		0		44		27		266		0		310		0.8580645161				0		0		27		0		376		-17		403		0.9330024814						300		0		0		349		0		31		380		0.9359605911

		39		37		50		201																																																																						350		0		0		362		-15		27		389		0.9581280788

		40		30		51		34																																																																						400		0		0		372		-17		34		406		1

		41		34		52		24																																																																						500		0		0		383		-20		27		410		1.0098522167

		42		195		53		58

		43		362		54		342

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				200 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		400 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h						Volt scan		#109		#110		Total		Normalised

				109		12.4		116				15		26		90		31		178		51		229		0.2227074236		0		0				15		280		24		304		0.0789473684						369		15		384		0.0390625						50		65		0		65		0.1747311828

				110		24						16		36		80		24		154		58		212		0.2735849057		116		1				24		263		41		304		0.1348684211						372		24		396		0.0606060606						100		123		37		160		0.4301075269

												17		46		70		20		123		71		194		0.3659793814								30		215		71		286		0.2482517483						331		41		372		0.1102150538						150		171		51		222		0.5967741935

												19		66		50		0		68		95		163		0.5828220859								0		71		146		217		0.6728110599						58		242		300		0.8066666667						200		287		24		311		0.8360215054

		#109		Amplitude		#110		Amplitude				20		76		40		0		68		146		214		0.6822429907								0		58		242		300		0.8066666667						34		338		372		0.9086021505						250		334		0		334		0.8978494624

		10		308		21		291				21		86		30		0		58		167		225		0.7422222222								0		44		259		303		0.8547854785						15		345		360		0.9583333333						300		351		0		351		0.9435483871

		11		37		22		208																																																				350		366		0		366		0.9838709677

		12		0		23		31																																																				400		372		0		372		1

		13		0		24		27																																																				500		383		0		383		1.0295698925

		14		225		25		31

		15		321		26		235

						27		285

		Bias 250 V		Strip #		Centre		Distance		100 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				300 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		400 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h						Volt scan		#72		#73		Total		Normalised

				72		29.1		114				31.5		24		90				253		34		287		0.118466899		0		0						355		14		369		0.0379403794						0		0		0		0						25		44		20		64		0.170212766

				73		40.5						32.5		34		80				242		48		290		0.1655172414		114		1						386		25		411		0.0608272506																		50		95		41		136		0.3617021277

												33.5		44		70				150		78		228		0.3421052632										280		56		336		0.1666666667																		75		150		58		208		0.5531914894

												35.5		64		50				54		120		174		0.6896551724										51		222		273		0.8131868132																		100		240		51		291		0.7739361702

		#72		Amplitude		#73		Amplitude				36.5		74		40				68		215		283		0.7597173145										17		376		393		0.9567430025																		125		311		27		338		0.8989361702

		27		249		38		311				37.5		84		30				41		253		294		0.8605442177										1		386		387		0.9974160207																		150		342		10		352		0.9361702128

		28		71		39		106				38		89		25				41		249		290		0.8586206897										20		355		375		0.9466666667																		200		355		10		365		0.9707446809

		28.5		25		40		20																																																				300		376		0		376		1

		29		0		41		31																																																				400		383		0		383		1.0186170213

		30		58		42		154

		31		256		43		334

		Bias 250 V		Strip #		Centre		Distance		100 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				150 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		300 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		200 V		Pulse Left		Pulse Right		Pulse sum		h		Volt scan		#92		#93		Total		Normalised

				92		37.8		116				40		22		94		20		146		41		187		0.2192513369		0		0						259		24		283		0.0848056537						352		15		367		0.0408719346				331		20		351		0.056980057		50		65		10		75		0.2049180328

				93		49.4						41		32		84		20		140		44		184		0.2391304348		116		1						246		34		280		0.1214285714						369		27		396		0.0681818182				334		29		363		0.0798898072		75		95		10		105		0.2868852459

												42		42		74		24		112		51		163		0.3128834356										208		65		273		0.2380952381						355		36		391		0.0920716113				300		55		355		0.1549295775		100		129		27		156		0.4262295082

												44.5		67		49		0		68		89		157		0.5668789809										82		143		225		0.6355555556						65		256		321		0.7975077882				71		215		286		0.7517482517		125		167		27		194		0.5300546448

		#92		Amplitude		#93		Amplitude				45		72		44				71		103		174		0.591954023										78		198		276		0.7173913043						37		334		371		0.9002695418				54		291		345		0.8434782609		150		236		30		266		0.7267759563

		35		352		47		345				46		82		34				54		123		177		0.6949152542										54		236		290		0.8137931034						1		370		371		0.9973045822				41		328		369		0.8888888889		200		328		0		328		0.8961748634

		36		143		48		68				47		92		24				48		133		181		0.7348066298										48		259		307		0.8436482085						10		359		369		0.972899729				35		331		366		0.9043715847		250		355		0		355		0.9699453552

		37		17		49		0																																																										300		366		0		366		1

		38		17		49.5		0																																																										400		379		0		379		1.0355191257

		39		95		50		0

		40		325		51		116

						52		321

		Bias 250 V		Strip #		Centre		Distance		20 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				50 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		200 V		Pulse Left		Pulse Right		Pulse sum		h								Volt scan		#32		#33		Total		Normalised

				32		43.2		108				45.5		23		85		24		188		30		218		0.1376146789		0		0				24		317		14		331		0.0422960725				400		15		415		0.0361445783								10		89		41		130		0.3147699758

				33		54						46.5		33		75		20		174		44		218		0.2018348624		108		1				20		325		30		355		0.0845070423				410		25		435		0.0574712644								20		171		41		212		0.5133171913

												47.5		43		65		24		123		65		188		0.3457446809								20		242		74		316		0.2341772152				342		37		379		0.0976253298								30		232		34		266		0.6440677966

												49		58		50		0		41		58		99		0.5858585859										44		109		153		0.7124183007				51		164		215		0.7627906977								50		321		0		321		0.7772397094

		#32		Amplitude		#33		Amplitude				49.5		63		45				68		116		184		0.6304347826										68		212		280		0.7571428571				65		297		362		0.820441989								75		362		0		362		0.8765133172

		40		393		51		413				50.5		73		35				58		157		215		0.7302325581										44		297		341		0.8709677419				24		389		413		0.9418886199								100		383		0		383		0.9273607748

		41		181		52		291				51		78		30				48		164		212		0.7735849057										41		304		345		0.8811594203				15		393		408		0.9632352941								150		396		0		396		0.9588377724

		42		31		53		51																																																				200		413		0		413		1

		43		24		54		17																																																				300		420		0		420		1.0169491525

		44		80		55		50

		45		359		56		280

						57		403

		Bias 250 V		Strip #		Centre		Distance		50 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				100 V		Pulse Left		Pulse Right		Pulse sum		h		300 V		Pulse Left		Pulse Right		Pulse sum		h										Volt scan		#53		#54		#55		#56		Total		Normalised

				54		39		110				42.5		35		75		24		259		37		296		0.125		0		0				352		15		367		0.0408719346				400		17		417		0.0407673861										10		13		27		41		13		68		0.17

				55		50						43		40		70		24		222		48		270		0.1777777778		110		1				331		25		356		0.0702247191				393		29		422		0.0687203791										25		20		61		109		20		170		0.425

												44		50		60		0		123		58		181		0.320441989								195		55		250		0.22				239		61		300		0.2033333333										50				266		41				307		0.7675

												45.5		65		45		0		51		116		167		0.6946107784								42		178		220		0.8090909091				61		215		276		0.7789855072										75				334		14				348		0.87

		#54		Amplitude		#55		Amplitude				46		70		40				70		201		271		0.741697417								51		308		359		0.8579387187				51		355		406		0.8743842365										100				359		0				359		0.8975

		37		352		47		400				47		80		30				43		260		303		0.8580858086								17		355		372		0.9543010753				1		400		401		0.9975062344										150				372		0				372		0.93

		38		44		48		280																																																				200				383		0				383		0.9575

		39		27		49		41																																																				250				396		0				396		0.99

		40		51		50		20																																																				300				400		0				400		1

		41		266		51		51								512		63		575																																								400				406						406		1.015

		42		390		52		273

						53		410

		Bias 250 V		Strip #		Centre		Distance		50 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				100 V		Pulse Left		Pulse Right		Pulse sum		h		250 V		Pulse Left		Pulse Right		Pulse sum		h										Volt scan		#64		#65		Total		Normalised

				63		1		120				4.5		35		85		37		161		65		226		0.2876106195		0		0				317		15		332		0.0451807229				376		15		391		0.0383631714										25		34		75		109		0.2632850242

				64		13						5.5		45		75		30		137		82		219		0.3744292237		120		1				297		50		347		0.144092219				376		39		415		0.0939759036										50		55		164		219		0.5289855072

												6		50		70		0		123		78		201		0.3880597015								249		54		303		0.1782178218				325		61		386		0.1580310881										75		37		290		327		0.7898550725

												7.5		65		55		0		38		51		89		0.5730337079								40		106		146		0.7260273973				51		129		180		0.7166666667										100		27		330		357		0.8623188406

		#63		Amplitude		#64		Amplitude				8		70		50				71		103		174		0.591954023								61		242		303		0.798679868				58		300		358		0.8379888268										150		27		359		386		0.9323671498

		-1		352		10		400				9		80		40				75		143		218		0.6559633028								41		325		366		0.8879781421				31		372		403		0.9230769231										200		24		372		396		0.9565217391

		0		44		11		280				10		90		30				51		164		215		0.7627906977								34		334		368		0.9076086957				20		389		409		0.9511002445										250		20		379		399		0.9637681159

		1		27		12		41																																																				300		24		382		406		0.9806763285

		2		51		13		20																																																				350		24		390		414		1

		3		266		14		51

		4		390		15		273





Irradiated (6)

		20		10		10

		30		20		30

		40		30		50

		50		50		70

		75		75		100

		100		100		150

		120		125		200

		150		150		300

		200		200

		300		300



0.4338842975

0.3325688073

0.2868852459

0.5743801653

0.5389908257

0.5840163934

0.7789256198

0.7270642202

0.8053278689

0.8367768595

0.876146789

0.8893442623

0.9214876033

0.9541284404

0.9303278689

0.9504132231

0.9724770642

0

0.9504132231

1.0114678899

0.993852459

0.9772727273

1.0091743119

1

0.9876033058

1.0183486239

1

1.0458715596



Irr. (7)

		

		Vfd

		Normalised		10		30		50		70		120

		50		0.2016		0.2		0.1500938086		0.1529411765		0.2610294118

		100		0.3248		0.2585365854		0.3114446529		0.3025210084		0.4393382353

		150		0.4832		0.4170731707		0.4671669794		0.4352941176		0.8088235294

		200		0.656		0.6		0.6303939962		0.6268907563		0.9227941176

		250		0.8032		0.8097560976		0.8105065666		0.7613445378		0.9430147059

		300		0.9104		0.856097561		0.8780487805		0.8789915966		0.9411764706

		350		0.928		0.8902439024		0.9099437148		0.9176470588		0.9724264706

		400		0.9696		0.9268292683		0.9230769231		0.9193277311		0.9852941176

		500		1		1		1		1		1

		Strip #		VFD

		10

		30

		50

		70

		120

		Eta scan		#10		#11

								D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		Norm. pulse

								20		90		239		62		301		0.2059800664		0		0				20		90		409		59		468		0.1260683761		0.6688888889

								30		80		350		76		426		0.1784037559		110		1				30		80		582		32		614		0.0521172638		0.9466666667

								40		70		298		104		402		0.2587064677								40		70		520		60		580		0.1034482759		0.8933333333

								50		60		149		83		232		0.3577586207								50		60		270		76		346		0.2196531792		0.5155555556

								60		50		90		152		242		0.6280991736								60		50		100		281		381		0.7375328084		0.5377777778

								70		40		118		291		409		0.7114914425								70		40		80		544		624		0.8717948718		0.9088888889

								80		30		94		357		451		0.7915742794								80		30		55		564		619		0.9111470113		1.0022222222

								90		20		80		277		357		0.7759103641								90		20		76		447		523		0.8546845124		0.7933333333

				#30		#31		200 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		Norm. pulse

										20		90		114		61		175		0.3485714286		0		0				20		90		195		58		253		0.2292490119		0.6730769231

										30		80		168		47		215		0.2186046512		110		1				30		80		309		15		324		0.0462962963		0.8269230769

										40		70		160		75		235		0.3191489362								40		70		328		27		355		0.076056338		0.9038461538

										50		60		95		73		168		0.4345238095								50		60		161		58		219		0.2648401826		0.6461538462

										60		50		39		65		104		0.625								60		50		56		91		147		0.619047619		0.4

										70		40		58		147		205		0.7170731707								70		40		51		303		354		0.8559322034		0.7884615385

										80		30		52		203		255		0.7960784314								80		30		15		372		387		0.9612403101		0.9807692308

										90		20		42		198		240		0.825								90		20		10		367		377		0.9734748011		0.9230769231

				#50		#51		200 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		Norm. pulse

										20		90		253		45		298		0.1510067114		0		0				20		90		429		24		453		0.0529801325		0.903030303

										30		80		225		55		280		0.1964285714		110		1				30		80		423		32		455		0.0703296703		0.8484848485

										40		70		177		86		263		0.3269961977								40		70		385		72		457		0.1575492341		0.796969697

										50		60		0		0		0										50		60		0		0		0		0		0

										60		50		62		128		190		0.6736842105								60		50		69		267		336		0.7946428571		0.5757575758

										70		40		83		232		315		0.7365079365								70		40		42		461		503		0.916500994		0.9545454545

										80		30		52		277		329		0.8419452888								80		30		28		461		489		0.9427402863		0.996969697

										90		20		55		270		325		0.8307692308								90		20		24		468		492		0.9512195122		0.9848484848

				#70		#71		200 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		Norm. pulse

										20		95		263		55		318		0.1729559748		0		0				20		95		395		59		454		0.1299559471		0.7066666667

										30		85		374		42		416		0.1009615385		115		1				30		85		547		20		567		0.0352733686		0.9244444444

										40		75		315		76		391		0.1943734015								40		75		550		38		588		0.0646258503		0.8688888889

										50		65		121		55		176		0.3125								50		65		204		58		262		0.2213740458		0.3911111111

										60		55		48		50		98		0.5102040816								60		55		59		83		142		0.5845070423		0.2177777778

										70		45		114		253		367		0.689373297								70		45		66		499		565		0.8831858407		0.8155555556

										80		35		76		333		409		0.8141809291								80		35		38		561		599		0.9365609349		0.9088888889

										90		25		66		381		447		0.8523489933								90		25		34		513		547		0.9378427788		0.9933333333

				#120		#121		200 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		Norm. pulse

										20		100		346		121		467		0.2591006424		0		0				20		100		377		135		512		0.263671875		0.6867647059

										30		90		616		59		675		0.0874074074		115		1				30		90		682		48		730		0.0657534247		0.9926470588

										40		80		616		62		678		0.0914454277								40		80		665		52		717		0.0725244073		0.9970588235

										50		70		308		55		363		0.1515151515								50		70		385		66		451		0.1463414634		0.7117647059

										60		60		59		59		118		0.5								60		60		66		66		132		0.5		0.231372549

										70		50		90		360		450		0.8								70		50		86		450		536		0.8395522388		0.8823529412

										80		40		59		450		509		0.884086444								80		40		42		520		562		0.9252669039		0.9980392157

										90		30		38		468		506		0.9249011858								90		30		28		523		551		0.9491833031		0.9921568627

				Sample of metal strip scan

		#10		#10		Amplitude		Norm. ampl.

		25.5		0		491		0.982

		26		5		376		0.752

		26.5		10		173		0.346

		27.5		20		0		0

		28		25		0		0

		28.5		30		0		0

		29.5		40		108.6		0.2172

		30		45		310		0.62

		30.5		50		472		0.944

		Strip		#90		#91		200 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		Pulse Left		Pulse Right		Pulse sum		h

										38		30		87.5		329		38		367		0.1035422343		0		0				436		14		450		0.0311111111

										39		40		77.5		281		69		350		0.1971428571		117.5		1				433		25		458		0.0545851528

										40		50		67.5		142		83		225		0.3688888889								235		76		311		0.2443729904

										41		60		57.5		52		86		138		0.6231884058								38		136		174		0.7816091954

										42		70		47.5		94		274		368		0.7445652174								48		485		533		0.9099437148

										43		80		37.5		48		385		433		0.8891454965								0		526		526		1

										44		90		27.5		38		402		440		0.9136363636								0		523		523		1

		Strip #		150 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				200 V		Pulse Left		Pulse Right		Pulse sum		h		400 V		Pulse Left		Pulse Right		Pulse sum		h

		100				24		30		85		276		71		347		0.204610951		0		0				405		25		430		0.0581395349				509		24		533		0.0450281426

		101				25		40		75		233		104		337		0.3086053412		115		1				388		74		462		0.1601731602				516		38		554		0.0685920578

						26		50		65		91		57		148		0.3851351351								142		54		196		0.2755102041				219		62		281		0.2206405694

						27		60		55		51		67		118		0.5677966102								64		101		165		0.6121212121				67		148		215		0.688372093

						28		70		45		121		202		323		0.6253869969								111		317		428		0.7406542056				61		476		537		0.886405959

						29		80		35		91		250		341		0.7331378299								71		385		456		0.8442982456				37		496		533		0.9305816135

						30		90		25		74		290		364		0.7967032967								57		425		482		0.8817427386				34		519		553		0.938517179

		New 0 position

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		Ideal				200 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		400 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h

				120		22.2		118				25		28		90		32		0		333		23		50		0		0		383		0.1305483029		0		0				25		250		-250		13		0		396		-13		35		0		0		431		0.0812064965				25		250		-250		10		0		469		-23		32		0		0		501		0.0638722555

				121		34						26		38		80		32		0		314		30		54		0		0		368		0.1467391304		118		1				26		260		-260		23		0		424		-13		36		0		0		460		0.0782608696				26		260		-260		0		0		469		-27		30		0		0		499		0.0601202405

												27		48		70		27		0		259		54		86		0		13		345		0.2492753623								27		270		-270		0		0		387		23		68		0		0		455		0.1494505495				27		270		-270		0		0		492		-23		63		0		0		555		0.1135135135

												28		58		60		0		0		41		0		27		0		0		68		0.3970588235								28		280		-280		0		0		59		0		41		0		0		100		0.41				28		280		-280		0		0		77		0		45		0		0		122		0.368852459

		#121		Ampitude		#121		Amplitude				29		68		50		18		0		68		41		132		0		32		200		0.66								29		290		-290		0		0		59		32		178		0		0		237		0.7510548523				29		290		-290		0		0		73		18		273		0		32		346		0.789017341

		20		483		32		451				30		78		40		18		0		86		68		264		0		27		350		0.7542857143								30		300		-300		0		0		50		10		506		-18		0		556		0.9100719424				30		300		-300		0		0		50		10		506		-18		0		556		0.9100719424

		21		86		33		54				31		88		30		0				63		50		342		0		32		405		0.8444444444								31		310		-310		0		0		41		18		428		-23		18		469		0.9125799574				31		310		-310		0		0		36		0		496		-23		18		532		0.9323308271

		22		45		34		32

		23		23		35		45				Estimated strip width:

		24		154		36		387				35 µm

		25		470





Irr. (7)

		30		30		0

		40		40		115

		50		50

		60		60

		70		70

		80		80

		90		90



200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #760-761

0.0874074074

0.0657534247

0

0.0914454277

0.0725244073

1

0.1515151515

0.1463414634

0.5

0.5

0.8

0.8395522388

0.884086444

0.9252669039

0.9249011858

0.9491833031



Non irr. (2)

		0		28		28		28

		118		38		38		38

				48		48		48

				58		58		58

				68		68		68

				78		78		78

				88		88		88



Local position [µm]

Right charge/Total charge

Scan across strips #760-761

0

0.1305483029

0.0812064965

0.0638722555

1

0.1467391304

0.0782608696

0.0601202405

0.2492753623

0.1494505495

0.1135135135

0.3970588235

0.41

0.368852459

0.66

0.7510548523

0.789017341

0.7542857143

0.9100719424

0.9100719424

0.8444444444

0.9125799574

0.9323308271



Various final Pic.

		30		30		0

		40		40		110

		50		50

		60		60

		70		70

		80		80



200 Volts

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #650-651

0.1784037559

0.0521172638

0

0.2587064677

0.1034482759

1

0.3577586207

0.2196531792

0.6280991736

0.7375328084

0.7114914425

0.8717948718

0.7915742794

0.9111470113



Final pic. eta

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D24		D25		Pulse 24		Pulse 25		Pulse sum		h		ideal				400 V		Local coord.		D24		D25		Pulse 24		Pulse 25		Pulse sum		h

				24		22.2		120				24.5		23		97		589		98		687		0.1426491994		0		0				24.5		23		97		841		0		841		0

				25		34.2						25.5		33		87		663		135		798		0.1691729323		120		1				25.5		33		87		892		0		892		0

												26.5		43		77		565		140		705		0.1985815603								26.5		43		77		841		61		902		0.0676274945

												27.5		53		67		425		233		658		0.3541033435								27.5		53		67		715		332		1047		0.3170964661

		#24		Amplitude		#25		Amplitude				28		58		62		388		318		706		0.4504249292								28		58		62		607		514		1121		0.4585191793

		20.5		715		32		738				28.5		63		57		322		388		710		0.5464788732								28.5		63		57		402		691		1093		0.6322049405

		21		579		32.5		663				29.5		73		47		196		520		716		0.7262569832								29.5		73		47		135		888		1023		0.8680351906

		21.5		462		33		486				30.5		83		37		201		645		846		0.7624113475								30.5		83		37		140		906		1046		0.8661567878

		22		374		33.5		402				31.5		93		27		140		551		691		0.7973950796								31.5		93		27		112		850		962		0.8835758836

		22.5		340		34		336				32		98		22		112		490		602		0.8139534884								32		98		22		98		771		869		0.8872266974

		23		416		34.5		327

		23.5		551		35		378

		24		631		35.5		462

		24.5		757		36		603

						36.5		705

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D39		D40		Pulse 39		Pulse 40		Pulse sum		h		ideal				400 V		Local coord.		D39		D40		Pulse 39		Pulse 40		Pulse sum		h

				39		38.5		120				41		25		95		537		98		635		0.1543307087		0		0				41		25		95		818		0		818		0

				40		50.5						42		35		85		598		159		757		0.2100396301		120		1				42		35		85		850		0		850		0

												43		45		75		495		159		654		0.2431192661								43		45		75		780		60		840		0.0714285714

												44		55		65		378		290		668		0.4341317365								44		55		65		663		397		1060		0.3745283019

		#39		Amplitude		#40		Amplitude				45		65		55		252		411		663		0.6199095023								45		65		55		360		673		1033		0.651500484

		37.5		446		49.5		474				46		75		45		168		547		715		0.765034965								46		75		45		126		892		1018		0.8762278978

		38.5		265		50.5		339				47		85		35		173		659		832		0.7920673077								47		85		35		103		897		1000		0.897

		39		274		51		367				48		95		25		135		603		738		0.8170731707								48		95		25		89		836		925		0.9037837838

		39.5		395		51.5		442				49		105		15		84		406		490		0.8285714286								49		105		15		84		682		766		0.8903394256

		40.5		553		52.5		679				50		115		5		70		276		346		0.7976878613								50		115		5		65		462		527		0.8766603416

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D64		D65		Pulse 64		Pulse 65		Pulse sum		h		ideal				400 V		Local coord.		D64		D65		Pulse 64		Pulse 65		Pulse sum		h

				64		38		118				39.5		15		103		509		84		593		0.1416526138		0		0				39.5		15		103		761		0		761		0

				65		49.8						40.5		25		93		738		135		873		0.1546391753		120		1				40.5		25		93		836		0		836		0

												41.5		35		83		715		135		850		0.1588235294								41.5		35		83		888		0		888		0

												42.5		45		73		593		206		799		0.2578222778								42.5		45		73		803		177		980		0.5581632653

		#64		Amplitude		#65		Amplitude				43.5		55		63		472		383		855		0.4479532164								43.5		55		63		654		547		1201		0.6378018318

		37		458		48.5		537				44.5		65		53		313		530		843		0.6287069988								44.5		65		53		318		766		1084		0.7066420664

		38		322		49.5		322				45.5		75		43		219		696		915		0.7606557377								45.5		75		43		126		902		1028		0.8774319066

		38.5		472		50		332				46.5		85		33		224		748		972		0.7695473251								46.5		85		33		131		916		1047		0.8748806113

		39		579		50.5		411				47.5		95		23		135		589		724		0.8135359116								47.5		95		23		98		813		911		0.8924259056

		40		813		51.5		705				48		100		18		121		514		635		0.8094488189								48		100		18		107		733		840		0.8726190476

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D85		D86		Pulse 85		Pulse 86		Pulse sum		h		ideal				400 V		Local coord.		D85		D86		Pulse 85		Pulse 86		Pulse sum		h		h-1

				85		46.5		120				47		5		115		472		89		561		0.8413547237		0		0				47		5		115		551		65		616		0.1055194805		0.8944805195

				86		58.5						48		15		105		705		89		794		0.8879093199		120		1				48		15		105		813		51		864		0.0590277778		0.9409722222

												49		25		95		864		117		981		0.880733945								49		25		95		920		0		920		0		1

												50		35		85		874		187		1061		0.8237511781								50		35		85		911		70		981		0.0713557594		0.9286442406

		#85		Amplitude		#86		Amplitude				51		45		75		799		201		1000		0.799								51		45		75		897		107		1004		0.1065737052		0.8934262948

		45		654		57		663				52		55		65		645		486		1131		0.5702917772								52		55		65		780		589		1369		0.4302410519		0.5697589481

		46		462		58		504				53		65		55		430		705		1135		0.3788546256								53		65		55		453		794		1247		0.6367281476		0.3632718524

		46.5		486		58.5		477				54		75		45		248		813		1061		0.2337417531								54		75		45		126		874		1000		0.874		0.126

		47		598		59		598				55		85		35		266		860		1126		0.2362344583								55		85		35		131		883		1014		0.8708086785		0.1291913215

		48		775		60		813				56		95		25		149		771		920		0.1619565217								56		95		25		107		845		952		0.887605042		0.112394958

												57		105		15		112		654		766		0.1462140992								57		105		15		93		705		798		0.8834586466		0.1165413534

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D85		D86		Pulse 85		Pulse 86		Pulse sum		h		ideal				Local coord.		D85		D86		Pulse 85		Pulse 86		Pulse sum		h

				120		25.5		120				27.5		20		100		472		89		561		0.1586452763		0		0		27.5		20		100		845		210		1055		0.1990521327

				121		37.5						28.5		30		90		705		89		794		0.1120906801		120		1		28.5		30		90		892		173		1065		0.1624413146

												29.5		40		80		864		117		981		0.119266055						29.5		40		80		916		177		1093		0.1619396157

												30.5		50		70		874		187		1061		0.1762488219						30.5		50		70		850		570		1420		0.4014084507

		#120		Amplitude		#121		Amplitude				31.5		60		60		799		201		1000		0.201						31.5		60		60		640		827		1467		0.5637355147

		24.5		719		36		794				32.5		70		50		645		486		1131		0.4297082228						32.5		70		50		187		900		1087		0.8279668813

		25.5		369		37		519				33.5		80		40		430		705		1135		0.6211453744						33.5		80		40		112		920		1032		0.8914728682

		26		561		37.5		481				34.5		90		30		248		813		1061		0.7662582469						34.5		90		30		177		911		1088		0.8373161765

		26.5		794		38		757				35.5		100		20		266		860		1126		0.7637655417						35.5		100		20		154		855		1009		0.8473736373

		27.5		902		39		888				36.5		110		10		635		771		1406		0.5483641536						36.5		110		10		168		673		841		0.8002378121

				Strip numbers																																																														Normalised

		Bias		24		25		total		39		40		total		64		65		total		84		85		86		87		total		total		64		65		total		99		100		total		73		74		total		120		121		total										1		2		3		4		5		6		7

		50		173		56		229		32		140		172		79		187		266		51		191		149		42		433		340		139		354		493		163		189		352		200		88		288		453		173		626										0.257751938		0.2470978441		0.2458423717		0.3912698413		0.2693190513		0.24		0.5424610052

		100		257		61		318		70		257		327		159		378		537		70		330		257		56		713		587		232		604		836		316		373		689		421		201		622		719		383		1102										0.5203488372		0.4262023217		0.424439624		0.6634920635		0.5271614384		0.5183333333		0.9549393414

		150		402		93		495		117		411		528		210		532		742		100		514		402		75		1091		916		378		796		1174		426		516		942		593		294		887		934		229		1163										0.7189922481		0.6666666667		0.6623282719		0.9317460317		0.7207345065		0.7391666667		1.0077989601

		200		589		98		687		131		589		720		219		719		938		75		659		467		47		1248		1126		378		889		1267		479		612		1091		779		255		1034		953		223		1176										0.9089147287		0.7744610282		0.8141720897		1.0055555556		0.8347360367		0.8616666667		1.0190641248

		250		748		0		748		112		743		855		191		818		1009		60		743		519		32		1354		1262		308		941		1249		506		699		1205		950		245		1195		948		238		1186										0.9777131783		0.8606965174		0.9125090383		0.9912698413		0.921958684		0.9958333333		1.027729636

		300		775		0		775		98		813		911		159		892		1051		51		771		551				1373		1322		250		994		1244		516		742		1258		1000		167		1167		948		215		1163										1.0184108527		0.9137645108		0.9558929863		0.9873015873		0.9625095639		0.9725		1.0077989601

		350		803		0		803		89		841		930		145		888		1033		37		743		547				1327		1290		221		1017		1238		512		742		1254		1053		167		1220		939		206		1145										1.0009689922		0.9071310116		0.9327548807		0.9825396825		0.9594491201		1.0166666667		0.9922010399

		400		841		0		841		89		892		981		140		888		1028		32		743		542				1317		1285		221		1029		1250		516		745		1261		1063		176		1239		950		238		1188										0.996124031		0.8988391376		0.9291395517		0.9920634921		0.9648048967		1.0325		1.0294627383

		500		860		0		860		84		850		934		154		878		1032		47		780		603				1430		1383		220		1040		1260		522		785		1307		1063		137		1200		944		210		1154										1		1		1		1		1		1		1

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D64		D65		Pulse 64		Pulse 65		Pulse sum		h		ideal				Local coord.		D64		D65		Pulse 64		Pulse 65		Pulse sum		h

				64		41		120				43		20		100		901		198		1099		0.1801637853		0		0		43		20		100		994		157		1151		0.1364031277

				65		53						44		30		90		930		343		1273		0.2694422624		120		1		44		30		90		1000		190		1190		0.1596638655

												45		40		80		901		337		1238		0.2722132472						45		40		80		970		180		1150		0.1565217391

												46		50		70		773		529		1302		0.4062980031						46		50		70		901		575		1476		0.3895663957

		#64		Amplitude		#65		Amplitude				47		60		60		616		755		1371		0.5506929249						47		60		60		762		883		1645		0.5367781155

		39		889		51		906				48		70		50		424		860		1284		0.6697819315						48		70		50		256		947		1203		0.78719867

		40		703		52		726				49		80		40		420		959		1379		0.6954314721						49		80		40		186		988		1174		0.8415672913

		40.5		453		52.5		465				50		90		30		325		912		1237		0.7372675829						50		90		30		192		994		1186		0.8381112985

		41		395		53		424				51		100		20		227		831		1058		0.7854442344						51		100		20		180		924		1104		0.8369565217

		42		837		54		813

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D99		D100		Pulse 99		Pulse 100		Pulse sum		h		ideal				Local coord.		D99		D100		Pulse 99		Pulse 100		Pulse sum		h

				99		4		120				6		20		100		872		86		958		0.0897703549		0		0		6		20		100		908		0		908		0

				100		16						7		30		90		902		140		1042		0.1343570058		120		1		7		30		90		942		23		965		0.0238341969

												8		40		80		855		133		988		0.1346153846						8		40		80		918		43		961		0.0447450572

												9		50		70		722		100		822		0.1216545012						9		50		70		815		403		1218		0.3308702791

		#99		Amplitude		#100		Amplitude				10		60		60		532		652		1184		0.5506756757						10		60		60		549		745		1294		0.5757341577

		2		832		14		772				11		70		50		270		785		1055		0.7440758294						11		70		50		130		892		1022		0.8727984344

		3		691		15		562				12		80		40		226		888		1114		0.7971274686						12		80		40		86		945		1031		0.916585839

		3.5		452		15.5		393				13		90		30		206		878		1084		0.8099630996						13		90		30		93		905		998		0.9068136273

		4		393		16		432				14		100		20		180		749		929		0.8062432723						14		100		20		165		815		980		0.8316326531

		5		729		17		749

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D73		D74		Pulse 73		Pulse 74		Pulse sum		h		ideal				Local coord.		D73		D74		Pulse 73		Pulse 74		Pulse sum		h

				73		5.5		120				6		5		115		384		384		768		0.5		0		0		6		5		115		503		503		1006		0.5

				74		17.5						7		15		105		648		113		761		0.1484888305		120		1		7		15		105		761		25		786		0.0318066158

												8		25		95		799		138		937		0.1472785486						8		25		95		899		22		921		0.0238870793

												9		35		85		818		157		975		0.161025641						9		35		85		950		16		966		0.016563147

		#73		Amplitude		#74		Amplitude				10		45		75		657		223		880		0.2534090909						10		45		75		872		111		983		0.1129196338

		3.5		767		15.5		755				11		55		65		555		456		1011		0.4510385757						11		55		65		761		531		1292		0.4109907121

		4.5		569		16.5		549				12		65		55		353		603		956		0.6307531381						12		65		55		317		797		1114		0.7154398564

		5		368		17		362				13		75		45		270		837		1107		0.756097561						13		75		45		108		1093		1201		0.9100749376

		5.5		299		17.5		396				14		85		35		309		936		1245		0.7518072289						14		85		35		108		1112		1220		0.9114754098

		6.5		613		18		679				15		95		25		230		916		1146		0.7993019197						15		95		25		83		1044		1127		0.92635315

		Strip #		10		11		Total		30		31		Total		50		51		Total		70		71		Total		90		91		Total		110		111		Total		Normalised		10		30		50		70		90		110

		50		67		15		82		38		8		46		36		15		51		50		10		60		74		18		92		616		180		796		50		0.1876430206		0.1916666667		0.2015810277		0.1754385965		0.2105263158		0.6683459278

		100		119		37		156		66		11		77		60		27		87		79		26		105		126		33		159		831		331		1162		100		0.356979405		0.3208333333		0.3438735178		0.3070175439		0.3638443936		0.9756507137

		150		158		43		201		86		23		109		85		27		112		116		34		150		208		54		262		906		285		1191		150		0.4599542334		0.4541666667		0.442687747		0.4385964912		0.5995423341		1

		200		262		34		296		138		18		156		136		27		163		186		30		216		324		0		324		936		198		1134		200		0.6773455378		0.65		0.6442687747		0.6315789474		0.7414187643		0.9521410579

		250		353		0		353		186		0		186		186		0		186		255		0		255		371		0		371		941		157		1098		250		0.8077803204		0.775		0.7351778656		0.7456140351		0.8489702517		0.9219143577

		300		398		0		398		213		0		213		215		0		215		282		0		282		391		0		391		941		168		1109		300		0.9107551487		0.8875		0.8498023715		0.8245614035		0.8947368421		0.9311502939

		350		429		0		429		231		0		231		225		0		225		295		0		295		417		0		417		953		128		1081		350		0.9816933638		0.9625		0.8893280632		0.8625730994		0.9542334096		0.9076406381

		400		429		0		429		234		0		234		245		0		245		312		0		312		429		0		429		970		163		1133		400		0.9816933638		0.975		0.9683794466		0.9122807018		0.9816933638		0.9513014274

		500		437		0		437		240		0		240		253		0		253		342		0		342		437		0		437		965		157		1122		500		1		1		1		1		1		0.9420654912

		Norm. factor						409.2						220.8						224.8						297.2						409						1108.6

																																																																																																		Routing/Total

																																																																														Strip 120-121				Pos. 39						Strip 120-121				Pos. 41.5

		Strip #		10		11		Total		30		31		Total		50		51		Total		70		71		Total		90		91		Total		110		111		Total		120		int 1		121		int 2		Total						Normalised		10		30		50		70		90		110		120										120		int 1		121		int 2				120		int 1		121		int 2				Rout. 1		Tot.1		Rou. 2		Tot. 2		Rout. 3		Tot. 3		Ratio 1		Ratio 2		Ratio 3

		50		41		85		126		24		58		82		0		80		80		15		76		91														38		21		104		-10		142						50		0.2016		0.2		0.1500938086		0.1529411765		0		0		0.2610294118								50		52		10		24		-10				28		20		70		-10				21		142		10		86		20		118		0.1478873239		0.1162790698		0.1694915254

		100		63		140		203		22		84		106		31		135		166		38		142		180														62		34		177		-21		239						100		0.3248		0.2585365854		0.3114446529		0.3025210084		0		0		0.4393382353								100		97		24		48		-17				66		38		135		-10				34		239		24		169		38		239		0.1422594142		0.1420118343		0.1589958159

		150		92		210		302		38		133		171		52		197		249		48		211		259														55		24		385		-31		440						150		0.4832		0.4170731707		0.4671669794		0.4352941176		0		0		0.8088235294								150		222		17		52		-17				66		38		284		-20				24		440		17		291		38		388		0.0545454545		0.058419244		0.0979381443

		200		81		329		410		39		207		246		45		291		336		48		325		373														48		15		454		-24		502						200		0.656		0.6		0.6303939962		0.6268907563		0		0		0.9227941176								200		287		0		55		0				55		21		395		-30				15		502		0		342		21		471		0.0298804781		0		0.0445859873

		250		59		443		502		32		300		332		34		398		432		24		429		453														45		0		468		-34		513						250		0.8032		0.8097560976		0.8105065666		0.7613445378		0		0		0.9430147059								250		308		-24		55		0				42		0		436		-45				0		513		-24		339		0		478		0		-0.0707964602		0

		300		59		510		569		30		321		351		35		433		468		28		495		523														34		-10		478		-34		512						300		0.9104		0.856097561		0.8780487805		0.8789915966		0		0		0.9411764706								300		308		-17		62		0				55		0		454		-42				-10		512		-17		353		0		509		-0.01953125		-0.0481586402		0

		350		50		530		580		23		342		365		31		454		485		30		516		546														34		-17		495		-34		529						350		0.928		0.8902439024		0.9099437148		0.9176470588		0		0		0.9724264706								350		315		-25		62		0				48		0		478		-45				-17		529		-25		352		0		526		-0.0321361059		-0.0710227273		0

		400		45		561		606		10		370		380		24		468		492		34		513		547														34		-17		502		-34		536						400		0.9696		0.9268292683		0.9230769231		0.9193277311		0		0		0.9852941176								400		315		-28		55		0				42		0		485		-38				-17		536		-28		342		0		527		-0.0317164179		-0.081871345		0

		500		45		580		625		10		400		410		10		523		533		34		561		595						1						1		34		-17		510		-34		544						500		1		1		1		1		1		1		1								500		340		-31		55		0				52		0		520		-38				-17		544		-31		364		0		572		-0.03125		-0.0851648352		0

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal

				10		24		110				26		20		90		239		62		301		0.2059800664		0		0				26		20		90		409		59		468		0.1260683761		0		0

				11		35						27		30		80		350		76		426		0.1784037559		110		1				27		30		80		582		0		582		0		110		1

												28		40		70		298		104		402		0.2587064677								28		40		70		520		52		572		0.0909090909

												29		50		60		149		83		232		0.3577586207								29		50		60		270		76		346		0.2196531792

		#10		Amplitude		#11		Amplitude				30		60		50		90		152		242		0.6280991736								30		60		50		100		281		381		0.7375328084

		25.5		491		37		343				31		70		40		118		291		409		0.7114914425								31		70		40		80		544		624		0.8717948718

		26		376		38		0				32		80		30		94		357		451		0.7915742794								32		80		30		55		564		619		0.9111470113

		26.5		173		39		0				33		90		20		80		277		357		0.7759103641								33		90		20		76		447		523		0.8546845124

		27.5		0		40		0

		28		0		41		406						25		0.1354679803																						25		0

		28.5		0										35		0.2190721649																						35		0

		29.5		108.6										45		0.3144329897																						45		0

		30		310										48		0.3333333333																						48		0.1697247706

		30.5		472										65		0.6071428571																						65		0.7439759036

														75		0.7055702918																						75		0.8892794376

														85		0.7814726841																						85		1

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h

				30		22		110				24		20		90		114		61		175		0.3485714286		0		0				24		20		90		195		58		253		0.2292490119

				31		33						25		30		80		168		47		215		0.2186046512		110		1				25		30		80		309		0		309		0

												26		40		70		160		75		235		0.3191489362								26		40		70		328		0		328		0

												27		50		60		95		73		168		0.4345238095								27		50		60		161		58		219		0.2648401826

		#30		Amplitude		#31		Amplitude				28		60		50		39		65		104		0.625								28		60		50		56		91		147		0.619047619

		18.5		210		31		280				29		70		40		58		147		205		0.7170731707								29		70		40		51		303		354		0.8559322034

		19.5		163		32		67				30		80		30		52		203		255		0.7960784314								30		80		30		5		372		377		0.9867374005

		20.5		91		33		47				31		90		20		42		198		240		0.825								31		90		20		10		367		377		0.9734748011

		21.5		37		34		49

		22.5		39		35		212

		23.5		137

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h

				50		49		110				51		20		90		253		45		298		0.1510067114		0		0				51		20		90		429		0		429		0

				51		60						52		30		80		225		55		280		0.1964285714		110		1				52		30		80		423		0		423		0

												53		40		70		177		86		263		0.3269961977								53		40		70		385		52		437		0.118993135

												54		50		60		0		0		0		0								54		50		60		0		0		0		0

		#50		Amplitude		#51		Amplitude				55		60		50		62		128		190		0.6736842105								55		60		50		69		267		336		0.7946428571

		46.5		320		57.5		385				56		70		40		83		232		315		0.7365079365								56		70		40		42		461		503		0.916500994

		47.5		42		58.5		50				57		80		30		52		277		329		0.8419452888								57		80		30		28		461		489		0.9427402863

		48.5		0		59.5		0				58		90		20		55		270		325		0.8307692308								58		90		20		24		468		492		0.9512195122

		49.5		0		60.5		30

		50.5		229		61.5		104						20										0.1510067114										20										0

						62.5		385						30										0.1964285714										30										0

														40										0.3269961977										40										0.118993135

														60										0.6736842105										60										0.7946428571

														70										0.7365079365										70										0.916500994

														80										0.8419452888										80										0.9427402863

														90										0.8307692308										90										0.9512195122

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h

				70		38		115				40		20		95		263		55		318		0.1729559748		0		0				40		20		95		395		59		454		0.1299559471

				71		49.5						41		30		85		374		42		416		0.1009615385		110		1				41		30		85		547		0		547		0

												42		40		75		315		76		391		0.1943734015								42		40		75		550		0		550		0

												43		50		65		121		55		176		0.3125								43		50		65		204		42		246		0.1707317073

		#70		Amplitude		#71		Amplitude				44		60		55		48		50		98		0.5102040816								44		60		55		59		83		142		0.5845070423

		36		429		47.5		190				45		70		45		114		253		367		0.689373297								45		70		45		66		499		565		0.8831858407

		37		52		48.5		31				46		80		35		76		333		409		0.8141809291								46		80		35		38		561		599		0.9365609349

		38		0		49.5		0				47		90		25		66		381		447		0.8523489933								47		90		25		34		513		547		0.9378427788

		39		38		50.5		76

		40		412		51.5		423

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h

				120		34		120				36		20		100		346		121		467		0.2591006424		0		0				36		20		100		377		135		512		0.263671875

				121		46						37		30		90		616		59		675		0.0874074074		110		1				37		30		90		682		48		730		0.0657534247

												38		40		80		616		62		678		0.0914454277								38		40		80		665		52		717		0.0725244073

												39		50		70		308		55		363		0.1515151515								39		50		70		385		66		451		0.1463414634

		#120		Amplitude		#121		Amplitude				40		60		60		59		59		118		0.5								40		60		60		66		66		132		0.5

		32.5		391		44		513				41		70		50		90		360		450		0.8								41		70		50		86		450		536		0.8395522388

		33.5		76		45		86				42		80		40		59		450		509		0.884086444								42		80		40		42		520		562		0.9252669039

		34.5		59		46		69				43		90		30		38		468		506		0.9249011858								43		90		30		28		523		551		0.9491833031

		35.5		142		47		104

		36.5		606		48		475

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h

				90		35		117.5				38		158		-38		329		38		367		0.1035422343		0		0				38		158		-38		436		0		436		0

				91		46.75						39		168		-48		281		69		350		0.1971428571		117.5		1				39		168		-48		433		0		433		0

												40		178		-58		142		83		225		0.3688888889								40		178		-58		235		76		311		0.2443729904

												41		188		-68		52		86		138		0.6231884058								41		188		-68		38		136		174		0.7816091954

		#70		Ampitude		#71		Amplitude				42		198		-78		94		274		368		0.7445652174								42		198		-78		48		485		533		0.9099437148

												43		208		-88		48		385		433		0.8891454965								43		208		-88		0		526		526		1

												44		218		-98		38		402		440		0.9136363636								44		218		-98		0		523		523		1

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h

				90		35		117.5				38		30		87.5		329		38		367		0.1035422343		0		0				38		30		87.5		436		0		436		0

				91		46.75						39		40		77.5		281		69		350		0.1971428571		117.5		1				39		40		77.5		433		0		433		0

												40		50		67.5		142		83		225		0.3688888889								40		50		67.5		235		76		311		0.2443729904

												41		60		57.5		52		86		138		0.6231884058								41		60		57.5		38		136		174		0.7816091954

		#90		Ampitude		#91		Amplitude				42		70		47.5		94		274		368		0.7445652174								42		70		47.5		48		485		533		0.9099437148

		33		346		45		263				43		80		37.5		48		385		433		0.8891454965								43		80		37.5		0		526		526		1

		33.5		160		45.5		94				44		90		27.5		38		402		440		0.9136363636								44		90		27.5		0		523		523		1

		34		55		46		42

		34.5		10		46.5		28

		35		10		47		24

		35.5		15		47.5		59

		36		59		48		138

		36.5		184		49		523

		37		364

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				200 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		400 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h

				100		21		115				24		30		85		276		71		347		0.204610951		0		0				24		30		85		405		0		405		0				24		30		85		509		0		509		0

				101		32.5						25		40		75		233		104		337		0.3086053412		115		1				25		40		75		388		74		462		0.1601731602				25		40		75		516		0		516		0

												26		50		65		91		57		148		0.3851351351								26		50		65		142		54		196		0.2755102041				26		50		65		219		54		273		0.1978021978

												27		60		55		51		67		118		0.5677966102								27		60		55		64		101		165		0.6121212121				27		60		55		67		148		215		0.688372093

		#100		Ampitude		#101		Amplitude				28		70		45		121		202		323		0.6253869969								28		70		45		111		317		428		0.7406542056				28		70		45		61		476		537		0.886405959

		18.5		408		31		196				29		80		35		91		250		341		0.7331378299								29		80		35		71		385		456		0.8442982456				29		80		35		37		496		533		0.9305816135

		19.5		108		32		50				30		90		25		74		290		364		0.7967032967								30		90		25		57		425		482		0.8817427386				30		90		25		34		519		553		0.938517179

		20.5		40		32.5		30

		21.5		35		33		37

		22.5		105		33.5		50

		23.5		445		34		101

						35		452

																																				New												Other position

		Strip #		70		71		Total		90		91		Total		99		100		101		102		Total		Total		Normalised		70		90		100		120		Int 2		121		Int 3		122		Total		119		120		Int 2		121		Total

		50		31		78		109		31		83		114		13		30		101		12		156		131				0.2060491493		0.2054054054		0.2364620939		45		27		100		25		32		145		27		91		18		41		132

		100		53		125		178		45		142		187		20		67		182		23		292		249				0.3364839319		0.3369369369		0.4494584838		68		41		178		10		30		246		30		168		35		68		236

		150		58		180		238		66		232		298		23		74		290		34		421		364				0.449905482		0.5369369369		0.6570397112		63		50		342		0		30		405		35		314		35		54		368

		200		73		290		363		48		374		422		17		57		425		-10		489		482				0.6862003781		0.7603603604		0.8700361011		50		27		446		-10		30		496		27		405		0		41		446

		250		51		388		439		31		478		509		0		51		472		-18		505		523				0.8298676749		0.9171171171		0.9440433213		41		15		490		-18		23		531		15		433		-18		32		465

		300		38		462		500		17		501		518		0		40		500		-23		517		540				0.9451795841		0.9333333333		0.9747292419		36		0		501		-27		18		537		10		446		-20		41		487

		350		33		485		518		20		535		555		0		34		513		-27		520		547				0.9792060491		1		0.9873646209		32		0		510		-23		18		542		10		460		-20		36		496

		400		31		498		529		20		535		555		0		34		520		-27		527		554				1		1		1		36		0		519		-23		18		555		10		474		-23		36		510

		500		30		540		570		0		578		578		0		34		560		-27		567		594				1.0775047259		1.0414414414		1.0722021661		32		0		533		-23		18		565		10		483		-23		36		519

		Futher Measurements as a function of the r-position

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		Ideal				200 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		400 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h

				120		19.8		61				21		12		49		47.12		28.88		171.76		28.88		80.56		28.88		41.8		252.32		0.3192771084		0		0				21		12		49		57		36.48		262.2		47.12		117.04		31.16		44.08		379.24		0.3086172345				21		12		49		28.88		0		428.64		-31.16		119.32		0		31.16		547.96		0.2177531207

				121		25.9						22		22		39		44		27		140		27		68		10		31		208		0.3269230769		61		1				22		22		39		62		38		215		51		106		27		31		321		0.3302180685				22		22		39		48		0		431		-17		126		0		10		557		0.2262118492

												23		32		29		0		0		24		0		24		0		0		48		0.5								23		32		29		0		0		34		0		34		0		0		68		0.5				23		32		29		0		0		58		0		65		0		0		123		0.5284552846

												24		42		19		34		15		105		41		212		24		48		317		0.6687697161								24		42		19		51		27		157		85		335		34		62		492		0.6808943089				24		42		19		31		0		130		21		619		-24		34		749		0.826435247

		#121		Ampitude		#121		Amplitude				25		52		9		38		17		89		31		205		12		41		294		0.6972789116								25		52		9		51		23		128		57		341		15		44		469		0.7270788913				25		52		9		51		0		131		10		560		-30		27		691		0.8104196816

		19		398		25		351

		19.5		58		25.5		104				Estimated strip width:								Routing line		#120		#121

		20		72		26		47				16 µm								25.6		447		85		0.9933333333		0.1888888889		532		0.7093333333

		20.5		212		26.5		81												26		242		68		0.5377777778		0.1511111111		310		0.4133333333

		21		489		27		368												26.2		103		31		0.2288888889		0.0688888889		134		0.1786666667

																				26.4		65		31		0.1444444444		0.0688888889		96		0.128

																				26.6		58		31		0.1288888889		0.0688888889		89		0.1186666667

																				26.8		42		40		0.0933333333		0.0888888889		82		0.1093333333

																				27		42		55		0.0933333333		0.1222222222		97		0.1293333333

																				27.2		54		154		0.12		0.3422222222		208		0.2773333333

																				27.4		71		248		0.1577777778		0.5511111111		319		0.4253333333

																				27.6		81		310		0.18		0.6888888889		391		0.5213333333

																				28		92		448		0.2044444444		0.9955555556		540		0.72

		Futher Measurements as a function of the r-position								Far end

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		Ideal				200 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		400 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h

				120		23		78				25		20		58		40		0		184		23		61		0		15		245		0.2489795918		0		0				25		20		58		33		0		255		38		76		0		18		331		0.2296072508				25		20		58		54		0		523		-10		54		0		0		577		0.0935875217

				121		30.8						26		30		48		31		0		89		24		51		0		24		140		0.3642857143		78		1				26		30		48		31		0		116		31		65		0		24		181		0.3591160221				26		30		48		31		0		263		0		78		0		0		341		0.2287390029

												27		40		38		0		0		0		0		0		0		0		0		0								27		40		38		0		0		0		0		0		0		0		0		0				27		40		38		0		0		0		0		0		0		0		0		0

												28		50		28		20		0		68		41		157		0		31		225		0.6977777778								28		50		28		0		0		99		61		222		0		34		321		0.691588785				28		50		28		0		0		78		15		492		-31		24		570		0.8631578947

		#121		Ampitude		#121		Amplitude				29		60		18		0		0		61		27		184		0		31		245		0.7510204082								29		60		18		0		0		78		48		276		0		37		354		0.7796610169				29		60		18		0		0		44		0		540		-31		13		584		0.9246575342

		21		728		29		755

		22		230		30		225				Estimated strip width:

		22.5		134		30.5		101				20 µm

		23		107		31		96

		23.5		150		31.5		161

		24		557		32		551

		25		760

										1 cm plus

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		Ideal				200 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		400 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h

				120		22.7		95				25		23		72		44		0		222		34		68		0		17		290		0.2344827586		0		0				25		23		72		41		0		366		31		68		0		24		434		0.1566820276				25		23		72		27		0		557		-24		48		0		0		605		0.079338843

				121		32.2						26		33		62		41		0		208		51		103		0		24		311		0.3311897106		95		1				26		33		62		31		0		311		68		112		0		34		423		0.2647754137				26		33		62		17		0		543		-20		78		0		0		621		0.1256038647

												27		43		52		0		0		0		0		0		0		0		0		0								27		43		52		0		0		58		0		27		0		0		85		0.3176470588				27		43		52		0		0		103		0		44		0		0		147		0.2993197279

												28		53		42		0		0		44		31		78		0		0		122		0.6393442623								28		53		42		0		0		58		24		120		0		0		178		0.6741573034				28		53		42		0		0		61		0		236		0		0		297		0.7946127946

		#121		Ampitude		#121		Amplitude				29		63		32		24		0		82		51		195		0		17		277		0.7039711191								29		63		32		27		0		112		85		328		0		34		440		0.7454545455				29		63		32		0		0		65		0		574		-37		15		639		0.8982785603

		21		464		30		523				30		73		22		0		0		71		44		242		0		31		313		0.7731629393								30		73		22		0		0		78		58		383		0		37		461		0.830802603				30		73		22		0		0		34		0		588		-40		13		622		0.9453376206

		22		58		31		171				Estimated strip width:

		22.5		37		32		41				25 µm

		23		51		32.5		51

		23.5		58		33		65

		24		178		34		499

		25		496

										1 cm plus

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		Ideal				200 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		400 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h

				120		22.7		108				25		23		85		34		0		254		29		45		0		0		299		0.1505016722		0		0				25		23		85		22		0		388		0		34		0		0		422		0.0805687204				25		23		85		11		0		474		-29		26		0		0		500		0.052

				121		33.5						26		33		75		26		0		228		41		63		0		10		291		0.2164948454		108		1				26		33		75		22		0		374		0		40		0		0		414		0.0966183575				26		33		75		0		0		474		-25		30		0		0		504		0.0595238095

												27		43		65		34		0		190		78		101		0		26		291		0.3470790378								27		43		65		26		0		317		37		82		0		12		399		0.2055137845				27		43		65		0		0		456		-22		71		0		0		527		0.1347248577

												29		63		45		12		0		85		60		157		0		29		242		0.6487603306								29		63		45		0		0		93		67		269		0		34		362		0.7430939227				29		63		45		0		0		71		18		422		-22		18		493		0.8559837728

		#121		Ampitude		#121		Amplitude				30		73		35		0		0		63		56		209		0		0		272		0.7683823529								30		73		35		0		0		48		34		366		-18		18		414		0.884057971				30		73		35		0		0		26		0		508		-26		0		534		0.9513108614

		20		470		31		508				31		83		25		0		0		50		37		247		0		26		297		0.8316498316								31		83		25		0		0		34		34		490		-30		0		524		0.9351145038				31		83		25		0		0		10		0		490		-30		0		500		0.98

		21		300		32		247

		22		40		33		41

		23		0		33.5		29				Estimated strip width:

		23.5		0		34		41				30 µm

		24		85		35		134

		25		430		36		500

		New 0 position

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		Ideal				200 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		400 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h

				120		22.2		118				25		28		90		32		0		333		23		50		0		0		383		0.1305483029		0		0				25		28		90		13		0		396		-13		35		0		0		431		0.0812064965				25		28		90		10		0		469		-23		32		0		0		501		0.0638722555

				121		34						26		38		80		32		0		314		30		54		0		0		368		0.1467391304		118		1				26		38		80		23		0		424		-13		36		0		0		460		0.0782608696				26		38		80		0		0		469		-27		30		0		0		499		0.0601202405

												27		48		70		27		0		259		54		86		0		13		345		0.2492753623								27		48		70		0		0		387		23		68		0		0		455		0.1494505495				27		48		70		0		0		492		-23		63		0		0		555		0.1135135135

												28		58		60		0		0		41		0		27		0		0		68		0.3970588235								28		58		60		0		0		59		0		41		0		0		100		0.41				28		58		60		0		0		77		0		45		0		0		122		0.368852459

		#121		Ampitude		#121		Amplitude				29		68		50		18		0		68		41		132		0		32		200		0.66								29		68		50		0		0		59		32		178		0		0		237		0.7510548523				29		68		50		0		0		73		18		273		0		32		346		0.789017341

		20		483		32		451				30		78		40		18		0		86		68		264		0		27		350		0.7542857143								30		78		40		0		0		50		10		506		-18		0		556		0.9100719424				30		78		40		0		0		50		10		506		-18		0		556		0.9100719424

		21		86		33		54				31		88		30		0				63		50		342		0		32		405		0.8444444444								31		88		30		0		0		41		18		428		-23		18		469		0.9125799574				31		88		30		0		0		36		0		496		-23		18		532		0.9323308271

		22		45		34		32

		23		23		35		45				Estimated strip width:

		24		154		36		387				35 µm

		25		470



Irradiated section n. 6



Final pic. eta

		50		50		50		50

		100		100		100		100

		150		150		150		150

		200		200		200		200

		250		250		250		250

		300		300		300		300

		350		350		350		350

		400		400		400		400

		500		500		500		500



Left strip

Routing #1

Right strip

Routing #2

Bias [Volt]

Signal [mV]

CCE vs bias

38

21

104

-10

62

34

177

-21

55

24

385

-31

48

15

454

-24

45

0

468

-34

34

-10

478

-34

34

-17

495

-34

34

-17

502

-34

34

-17

510

-34



Neff vs position

		50		50		50		50

		100		100		100		100

		150		150		150		150

		200		200		200		200

		250		250		250		250

		300		300		300		300

		350		350		350		350

		400		400		400		400

		500		500		500		500



Strip 120

Rout. #1

Strip 121

Rout. #2

Bias [Volt]

Signal [mV]

CCE vs bias

52

10

24

-10

97

24

48

-17

222

17

52

-17

287

0

55

0

308

-24

55

0

308

-17

62

0

315

-25

62

0

315

-28

55

0

340

-31

55

0



Eta comparison

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0



Strip 120

Rout. #1

Strip 121

Rout. #2

Bias [Volt]

Signal [mV]

CCE vs bias

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



Strip 120 

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0



Position 1

Position 2

Position 3

Bias [Volt]

Ratio

Routing line/total charge

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



Pulse shape

		0		0		0		0

		0		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0



0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0



0

0

0

0

0

0

0

0

0

0

0



		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0



0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		Bias 250 V		Strip #		Centre		Distance		50 V		Local coord.		D24		D25		Pulse Left		Int		Pulse Right		Pulse sum		h		ideal				100 V		Pulse Left		Int		Pulse Right		Pulse sum		h		300 V		Pulse Left		Int		Pulse Right		Pulse sum		h				Volt scan		#6		Int.		#7		Total		Normalised				Volt scan		#59		#60		#61		Total		Normalised				Volt scan		#114		Int.		#115		Int.		#116		Total		Normalised

				6		37		115				40		30		85		104		18		40		144		0.2777777778		0		0				246				45		291		0.1546391753				333		-23		27		360		0.075				20		23		5		54		77		0.2086720867				20		32		141		54		227		0.576142132				10		63		4		159		23		32		222		0.5536159601

				7		48.5						41		40		75		86		32		54		140		0.3857142857		115		1				214		36		63		277		0.2274368231				323		-23		36		359		0.1002785515				40		32		18		100		132		0.3577235772				40		41		264		54		359		0.9111675127				20		80				246		23		36		326		0.812967581

												42		50		65		45		9		32		77		0.4155844156								128		36		63		191		0.3298429319				209		0		68		277		0.2454873646				50		36		23		123		159						50		36		287		50		373		0.9467005076				40		82				314		23		41		396		0.9875311721

												43.5		65		50		36		18		54		90		0.6								50		36		118		168		0.7023809524				63		13		246		309		0.7961165049				60		45		27		145		190		0.5149051491				60		36		298		40		374		0.9492385787				50		73				328		13		32		401		1

		#6		Amplitude		#7		Amplitude				44		70		45		45		27		77		122		0.631147541								50		36		195		245		0.7959183673				41		9		305		346		0.8815028902				80		59		41		205		264		0.7154471545				80		30		328		27		385		0.9771573604				60		68				333		13		32		401		1

		34.5		305		46.5		296				45		80		35		45		23		104		149		0.6979865772								45		41		241		286		0.8426573427				27		9		342		369		0.9268292683				100		45		36		259		304		0.8238482385				100		27		337		24		388		0.9847715736				80		59				342		9		32		401		1

		35.5		137		47.5		54				46		90		25		9		0		50		59		0.8474576271								45		36		255		300		0.85				27		4		337		364		0.9258241758				125		36		23		296		332		0.8997289973				150		24		355		21		400		1.0152284264				100		46				351				18		397		0.9900249377

		36.5		27		48.5		0																																																		150		32		18		323		355		0.9620596206				200		23		360		20		403		1.0228426396				125		45				355				27		400		0.9975062344

		37.5		0		49.5		36																																																		175		32		18		328		360		0.9756097561				300		20		374		0		394		1				150		45				355				27		400		0.9975062344

		38.5		100		50.5		232																																																		200		23		9		337		360		0.9756097561																		200		45				355				18		400		0.9975062344

		39.5		305		51.5		333																																																		300		23		9		346		369		1																		300		41				360				18		401		1

		40.5		319





		20		20		10

		40		40		20

		50		50		40

		60		60		50

		80		80		60

		100		100		80

		125		150		100

		150		200		125

		175		300		150

		200				200

		300				300



0.2086720867

0.576142132

0.5536159601

0.3577235772

0.9111675127

0.812967581

0.9467005076

0.9875311721

0.5149051491

0.9492385787

1

0.7154471545

0.9771573604

1

0.8238482385

0.9847715736

1

0.8997289973

1.0152284264

0.9900249377

0.9620596206

1.0228426396

0.9975062344

0.9756097561

1

0.9975062344

0.9756097561

0.9975062344

1

1



		30		30		30		0

		40		40		40		115

		50		50		50

		65		65		65

		70		70		70

		80		80		80

		90		90		90



50 Volt

100 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #774-775

0.2777777778

0.1546391753

0.075

0

0.3857142857

0.2274368231

0.1002785515

1

0.4155844156

0.3298429319

0.2454873646

0.6

0.7023809524

0.7961165049

0.631147541

0.7959183673

0.8815028902

0.6979865772

0.8426573427

0.9268292683

0.8474576271

0.85

0.9258241758



		Bias 250 V		Strip #		Centre		Distance		25 V		Local coord.		D24		D25		Pulse Left		Pulse Right		Pulse sum		h		ideal				50 V		Pulse Left		Pulse Right		Pulse sum		h		150 V		Pulse Left		Pulse Right		Pulse sum		h								Volt scan		#60		#61		Total		Normalised

				60		43.2		113				46		28		85		212		1		213		0.0046948357		0		0				311		1		312		0.0032051282				410		1		411		0.00243309						3.1622776602		10		95		0		95		0.2467532468

				61		54.5						47		38		75		143		20		163		0.1226993865		113		1				222		1		223		0.0044843049				294		1		295		0.0033898305						5		25		191		0		191		0.4961038961

												48		48		65		68		34		102		0.3333333333								123		58		181		0.320441989				171		68		239		0.2845188285						7.0710678119		50		283		0		283		0.7350649351

												49		58		55		37		109		146		0.7465753425								37		161		198		0.8131313131				37		212		249		0.8514056225						8.6602540378		75		321		0		321		0.8337662338

		#60		Amplitude		#61		Amplitude				50		68		45		31		174		205		0.8487804878								34		259		293		0.8839590444				50		334		384		0.8697916667						10		100		352		0		352		0.9142857143

		41		308		52		386				51		78		35		24		181		205		0.8829268293								24		263		287		0.9163763066				20		345		365		0.9452054795						12.2474487139		150		372		0		372		0.9662337662

		42		171		53		253																																														14.1421356237		200		372		0		372		0.9662337662

		43		20		54		116																																														17.3205080757		300		385		0		385		1

		44		49		55		24

		45		209		56		123

		46		345		57		280

						58		389

		Bias 250 V		Strip #		Centre		Distance		20 V		Local coord.		D24		D25		#115		Int 1		#116		Int 2		#117		Pulse sum		h		ideal				50 V		#115		Int 1		#116		Int 2		#117		Pulse sum		h		200 V		#115		Int 1		#116		Int 2		#117		Pulse sum		h				Volt scan		#115		#116		Int		#117		Total		Normalised

				115		21		114				24		30		84		198		-17		27						225		0.12		0		0				317		-17		31						348		0.0890804598				403		-30		24						427		0.056206089		3.1622776602		10				116						116		0.2829268293

				116		32.4						25		40		74		178		-13		27						205		0.1317073171		114		1				311		-20		41						352		0.1164772727				396		-27		27						423		0.0638297872		5		25		31		208		-5		20		228		0.556097561

												26		50		64		126		-13		37						163		0.226993865								242		-17		61						303		0.201320132				334		-24		68						402		0.1691542289		7.0710678119		50		31		308		-7		20		328		0.8

												28		70		44		34				137				17		171		0.8011695906								48				236				24		284		0.8309859155				54		-5		317		-13		24		371		0.8544474394		8.6602540378		75		24		345		-17		20		365		0.8902439024

		#115		Amplitude		#116		Amplitude				29		80		34		24				181				17		205		0.8829268293								31				311		-10		20		342		0.9093567251				27				400		-17		17		427		0.9367681499		10		100		27		366		-20		17		383		0.9341463415

		18		400		30		389				29.5		85		29		27				195						222		0.8783783784								34				314		-15		20		348		0.9022988506				24				389		-24		17		413		0.9418886199		11.1803398875		125		24		380		-17		13		393		0.9585365854

		19		270		31		89																																																												12.2474487139		150		24		385		-20		13		398		0.9707317073

		20		34		32		28																																																												14.1421356237		200		24		389		-20		13		402		0.9804878049

		21		30		33		30																																																												17.3205080757		300		24		393		-20		17		410		1

		22		38		34		126

		23		308		35		389

		24		400





		0		28		28		28

		113		38		38		38

				48		48		48

				58		58		58

				68		68		68

				78		78		78



25 Volt

50 Volt

150 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #188-189

0

0.0046948357

0.0032051282

0.00243309

1

0.1226993865

0.0044843049

0.0033898305

0.3333333333

0.320441989

0.2845188285

0.7465753425

0.8131313131

0.8514056225

0.8487804878

0.8839590444

0.8697916667

0.8829268293

0.9163763066

0.9452054795



		0		30		30		30

		114		40		40		40

				50		50		50

				70		70		70

				80		80		80

				85		85		85



20 Volt

50 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #244-245

0

0.12

0.0890804598

0.056206089

1

0.1317073171

0.1164772727

0.0638297872

0.226993865

0.201320132

0.1691542289

0.8011695906

0.8309859155

0.8544474394

0.8829268293

0.9093567251

0.9367681499

0.8783783784

0.9022988506

0.9418886199



		10		10

		25		25

		50		50

		75		75

		100		100

		125		150

		150		200

		200		300

		300



#115

#60

0.2829268293

0.2467532468

0.556097561

0.4961038961

0.8

0.7350649351

0.8902439024

0.8337662338

0.9341463415

0.9142857143

0.9585365854

0.9662337662

0.9707317073

0.9662337662

0.9804878049

1

1



		47		400		-30		380

		48		280		-20		260

		49		41		-10		21

		50		20		0		0

		51		51		10		31

		52		273		20		253

		53		410		30		390

		Beam Profile

		Coordinate		Front		Back

		0						10

		10		1.00E+13		1.05E+13		20		1.00E+13		1.05E+13

		20		4.50E+13		4.55E+13		30		4.50E+13		4.55E+13

		25		3.00E+14		2.52E+14		35		3.00E+14		2.52E+14

		30		4.10E+14		4.40E+14		40		4.10E+14		4.40E+14

		35		4.30E+14		4.60E+14		45		4.30E+14		4.60E+14

		40		3.15E+14		3.80E+14		50		3.15E+14		3.80E+14

		45		1.09E+14		2.70E+14		55		1.09E+14		2.70E+14

		55		1.20E+13		2.70E+13		65		1.20E+13		2.70E+13

		65		7.00E+11		1.20E+12		75		7.00E+11		1.20E+12





		-30

		-20

		-10

		0

		10

		20

		30



Local coord. [µm]

Amplitude [arb. Units]

Strip scan #10

380

260

21

0

31

253

390



		55		0		55		55

		50		1		50		50

		45		2		45		45

		40		3		40		40

		35		4		35		35

		30		5		30		30

		25		6		25		25

		20		7		20		20

		15		8		15		15

		10		9		10		10

		5		10		5		5

		0		11		0		0

				12

				13

				14

				15

				16

				17

				18

				19

				20

				21

				22

				23

				24

				25

				26

				27

				28

				29

				30

				31

				32

				33

				34

				35

				36

				37

				38

				39

				40

				41

				42

				43

				44

				45

				46

				47

				48

				49

				50

				51

				52

				53

				54

				55

				56

				57

				58

				59

				60

				61

				62

				63

				64

				65

				66

				67

				68



Measured (hit strip)

Calculated

Adjacent strip

Intermediate routing line

Time [ns]

Amplitude [arb. units]

68

10

0

0

150

34.5396

16

0

245

54.05968

34

0

369

80.39936

54

0

560

114.09384

123

32

688

155.13512

154

40

826

202.94192

188

51

792

256.42064

199

74

615

314.09432

188

108

421

374.26344

176

131

199

435.16424

85

68

0

495.10184

0

0

552.54736

606.19912

655.01224

698.20408

735.24416

765.8304

789.86272

807.41192

818.68832

824.01216

823.78664

818.47312

808.57016

794.59512

777.0692

756.50528

733.3992

708.22128

681.41152

653.37656

624.48752

595.07864

565.44744

535.85544

506.53048

477.66728

449.43032

421.95584

395.35408

369.71192

345.0956

321.5524

299.11304

277.79416

257.59968

238.52336

220.54992

203.6564

187.81424

172.98976

159.14552

146.24152

134.23568

123.08456

112.74432

103.1708

94.32024

86.14968

78.61696

71.6812

65.30304

59.44456

54.06952

49.14336

44.63336

40.50856

36.7396



		0		0

		10		10

		20		20

		25		25

		30		30

		35		35

		40		40

		45		45

		55		55

		65		65



Front Al foils

Back Al foils

Position [mm]

Measured fluence [p cm-2]

10000000000000

10500000000000

45000000000000

45500000000000

300000000000000

252000000000000

410000000000000

440000000000000

430000000000000

460000000000000

315000000000000

380000000000000

109000000000000

270000000000000

12000000000000

27000000000000

700000000000

1200000000000



		

						760





		30		30		0

		40		40		117.5

		50		50

		60		60

		70		70

		80		80

		90		90



200 Volt

400 Volt

Ideal resolution

Local position [µm]

Right charge/Total charge

Scan across strips #740-741

0.1035422343

0.0311111111

0

0.1971428571

0.0545851528

1

0.3688888889

0.2443729904

0.6231884058

0.7816091954

0.7445652174

0.9099437148

0.8891454965

1

0.9136363636

1



		30		30		0

		40		40		115

		50		50

		60		60

		70		70

		80		80

		90		90



200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #710-711

0.1009615385

0.0352733686

0

0.1943734015

0.0646258503

1

0.3125

0.2213740458

0.5102040816

0.5845070423

0.689373297

0.8831858407

0.8141809291

0.9365609349

0.8523489933

0.9378427788



		30		30		0

		40		40		115

		50		50

		60		60

		70		70

		80		80

		90		90



200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #760-761

0.0874074074

0.0657534247

0

0.0914454277

0.0725244073

1

0.1515151515

0.1463414634

0.5

0.5

0.8

0.8395522388

0.884086444

0.9252669039

0.9249011858

0.9491833031



		0		30		30		30

		115		40		40		40

				50		50		50

				60		60		60

				70		70		70

				80		80		80

				90		90		90



150 Volt

200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #740-741

0

0.204610951

0.0581395349

0.0450281426

1

0.3086053412

0.1601731602

0.0685920578

0.3851351351

0.2755102041

0.2206405694

0.5677966102

0.6121212121

0.688372093

0.6253869969

0.7406542056

0.886405959

0.7331378299

0.8442982456

0.9305816135

0.7967032967

0.8817427386

0.938517179



		0		30		30

		110		40		40

				50		50

				60		60

				70		70

				80		80

				90		90



200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #670-671

0

0.2186046512

0.0462962963

1

0.3191489362

0.076056338

0.4345238095

0.2648401826

0.625

0.619047619

0.7170731707

0.8559322034

0.7960784314

0.9612403101

0.825

0.9734748011



		0		20		20

		110		30		30

				40		40

				50		50

				60		60

				70		70

				80		80

				90		90



200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #690-691

0

0.1510067114

0.0529801325

1

0.1964285714

0.0703296703

0.3269961977

0.1575492341

0

0.6736842105

0.7946428571

0.7365079365

0.916500994

0.8419452888

0.9427402863

0.8307692308

0.9512195122



		25		25		25		0

		35		35		35		110

		45		45		45

		55		55		55

		65		65		65

		75		75		75

		85		85		85



100 Volt

200 Volt

300 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #525-526

0.0461956522

0.0440414508

0.0446194226

0

0.0583941606

0.0547945205

0.0547945205

1

0.1413612565

0.1282051282

0.1113689095

0.3215859031

0.264573991

0.2821576763

0.8050541516

0.8073394495

0.7722222222

0.9130434783

0.9217391304

0.9298245614

0.9473684211

0.9523809524

0.958677686



		0		30		30		30

		117		40		40		40

				50		50		50

				70		70		70

				80		80		80

				90		90		90



150 Volt

200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #634-635

0

0.223255814

0.1133333333

0.0510204082

1

0.2783505155

0.1933333333

0.0761670762

0.3963414634

0.3048780488

0.1943005181

0.6209150327

0.6822429907

0.8157099698

0.6875

0.7979094077

0.915

0.7548076923

0.8580645161

0.9330024814



		0		24		24

		114		34		34

				44		44

				64		64

				74		74

				84		84

				89		89



100 Volt

300 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #584-585

0

0.118466899

0.0379403794

1

0.1655172414

0.0608272506

0.3421052632

0.1666666667

0.6896551724

0.8131868132

0.7597173145

0.9567430025

0.8605442177

0.9974160207

0.8586206897

0.9466666667



		0		22		22		22		22

		116		32		32		32		32

				42		42		42		42

				67		67		67		67

				72		72		72		72

				82		82		82		82

				92		92		92		92



100 Volt

150 Volt

200 Volt

300 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #604-605

0

0.2192513369

0.0848056537

0.0408719346

0.056980057

1

0.2391304348

0.1214285714

0.0681818182

0.0798898072

0.3128834356

0.2380952381

0.0920716113

0.1549295775

0.5668789809

0.6355555556

0.7975077882

0.7517482517

0.591954023

0.7173913043

0.9002695418

0.8434782609

0.6949152542

0.8137931034

0.9973045822

0.8888888889

0.7348066298

0.8436482085

0.972899729

0.9043715847



		0		23		23		23

		108		33		33		33

				43		43		43

				58		58		58

				63		63		63

				73		73		73

				78		78		78



20 Volt

50 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #544-545

0

0.1376146789

0.0422960725

0.0361445783

1

0.2018348624

0.0845070423

0.0574712644

0.3457446809

0.2341772152

0.0976253298

0.5858585859

0.7124183007

0.7627906977

0.6304347826

0.7571428571

0.820441989

0.7302325581

0.8709677419

0.9418886199

0.7735849057

0.8811594203

0.9632352941



		0		35		35		35

		110		40		40		40

				50		50		50

				65		65		65

				70		70		70

				80		80		80



50 Volt

100 Volt

300 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #566-567

0

0.125

0.0408719346

0.0407673861

1

0.1777777778

0.0702247191

0.0687203791

0.320441989

0.22

0.2033333333

0.6946107784

0.8090909091

0.7789855072

0.741697417

0.8579387187

0.8743842365

0.8580858086

0.9543010753

0.9975062344



		0		35		35		35

		120		45		45		45

				50		50		50

				65		65		65

				70		70		70

				80		80		80

				90		90		90



50 Volt

100 Volt

250 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #575-576

0

0.2876106195

0.0451807229

0.0383631714

1

0.3744292237

0.144092219

0.0939759036

0.3880597015

0.1782178218

0.1580310881

0.5730337079

0.7260273973

0.7166666667

0.591954023

0.798679868

0.8379888268

0.6559633028

0.8879781421

0.9230769231

0.7627906977

0.9076086957

0.9511002445



		0		28		28		28

		113		38		38		38

				48		48		48

				58		58		58

				68		68		68

				78		78		78



25 Volt

50 Volt

150 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #188-189

0

0.0046948357

0.0032051282

0.00243309

1

0.1226993865

0.0044843049

0.0033898305

0.3333333333

0.320441989

0.2845188285

0.7465753425

0.8131313131

0.8514056225

0.8487804878

0.8839590444

0.8697916667

0.8829268293

0.9163763066

0.9452054795



		26		26		0		26

		36		36		114		36

		46		46				46

		66		66				66

		76		76				76

		86		86				86



100 Volt

300 Volt

=

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #621-622

0.2227074236

0.0789473684

0

0.0390625

0.2735849057

0.1348684211

1

0.0606060606

0.3659793814

0.2482517483

0.1102150538

0.5828220859

0.6728110599

0.8066666667

0.6822429907

0.8066666667

0.9086021505

0.7422222222

0.8547854785

0.9583333333



		25		25		25		0

		35		35		35		110

		45		45		45

		60		60		60

		65		65		65

		75		75		75

		85		85		85



20 Volt

50 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #469-470

0.0857142857

0.1060070671

0.0411311054

0

0.0833333333

0.093385214

0.0683060109

1

0.275862069

0.1904761905

0.1333333333

0.6451612903

0.6785714286

0.7311827957

0.6774193548

0.766536965

0.8356164384

0.8444444444

0.8717948718

0.9260969977

0.8695652174

0.8646153846

0.9267734554



		30		30		0

		40		40		110

		50		50

		60		60

		70		70

		80		80



200 Volts

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #650-651

0.1784037559

0.0521172638

0

0.2587064677

0.1034482759

1

0.3577586207

0.2196531792

0.6280991736

0.7375328084

0.7114914425

0.8717948718

0.7915742794

0.9111470113



		0		30		30		30

		114		40		40		40

				50		50		50

				70		70		70

				80		80		80

				85		85		85



20 Volt

50 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #244-245

0

0.12

0.0890804598

0.056206089

1

0.1317073171

0.1164772727

0.0638297872

0.226993865

0.201320132

0.1691542289

0.8011695906

0.8309859155

0.8544474394

0.8829268293

0.9093567251

0.9367681499

0.8783783784

0.9022988506

0.9418886199



		30		30		0		30

		40		40		114		40

		50		50				50

		70		60				60

		80		70				70

		85		80				80

								90



#245 - 200 Volt

#650 - 400 Volt

#760 - 400 Volt

Local position [µm]

Right charge/Total charge

0.056206089

0.0521172638

0

0.0657534247

0.0638297872

0.1034482759

1

0.0725244073

0.1691542289

0.2196531792

0.1463414634

0.8544474394

0.7375328084

0.5

0.9367681499

0.8717948718

0.8395522388

0.9418886199

0.9111470113

0.9252669039

0.9491833031



		20		20		20		0

		30		30		30		115

		40		40		40

		50		50		50

		60		60		60

		70		70		70

		80		80		80

		90		90		90



20 Volt

50 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #388-389

0.15

0.0975609756

0.0965794769

0

0.1549295775

0.1448692153

0.1004709576

1

0.171875

0.1223529412

0.0901213172

0.2926829268

0.2888888889

0.2434077079

0.6666666667

0.6923076923

0.6511627907

0.7833333333

0.8498896247

0.9073083779

0.8295081967

0.8495049505

0.9384615385

0.8793103448

0.9160839161

0.9470699433



		35		0		35		35

		45		120		45		45

		55				55		55

		70				70		70

		75				75		75

		85				85		85

		95				95		95



Local position [µm]

Right charge/Total charge

Scan across strip #490-491

0.1595744681

0

0.12

0.0796116505

0.2053231939

1

0.1322869955

0.0891089109

0.2967032967

0.2258064516

0.2

0.72

0.692

0.7982261641

0.8351449275

0.7985074627

0.8764302059

0.9349593496

0.8546099291

0.9174311927

0.9445585216



		0		28		28		28

		118		38		38		38

				48		48		48

				58		58		58

				68		68		68

				78		78		78

				88		88		88



150 Volt

200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #760-761

0

0.1305483029

0.0812064965

0.0638722555

1

0.1467391304

0.0782608696

0.0601202405

0.2492753623

0.1494505495

0.1135135135

0.3970588235

0.41

0.368852459

0.66

0.7510548523

0.789017341

0.7542857143

0.9100719424

0.9100719424

0.8444444444

0.9125799574

0.9323308271



		30		30		28		0

		40		40		38		118

		50		50		48

		70		70		58

		80		80		68

		85		90		78

						88



#245 - 200 Volt

#534 - 400 Volt

#760 - 400 Volt

Local position [µm]

Right charge/Total charge

0.056206089

0.0510204082

0.0638722555

0

0.0638297872

0.0761670762

0.0601202405

1

0.1691542289

0.1943005181

0.1135135135

0.8544474394

0.8157099698

0.368852459

0.9367681499

0.915

0.789017341

0.9418886199

0.9330024814

0.9100719424

0.9323308271



		30		30		30		0

		40		40		40		115

		50		50		50

		65		65		65

		70		70		70

		80		80		80

		90		90		90



50 Volt

100 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #774-775

0.2777777778

0.1546391753

0.075

0

0.3857142857

0.2274368231

0.1002785515

1

0.4155844156

0.3298429319

0.2454873646

0.6

0.7023809524

0.7961165049

0.631147541

0.7959183673

0.8815028902

0.6979865772

0.8426573427

0.9268292683

0.8474576271

0.85

0.9258241758



		Bias		#650		#651		Pulse sum		Normalised		#670		#671		Pulse sum		Normalised		#690		#691		Pulse sum		Normalised		#710		#711		Pulse sum		Normalised		#730		#731		Pulse sum		Normalised		#740		#741		Pulse sum		Normalised		#760		#761		Pulse sum		Normalised

		[Volt]		[mV]		[mV]		[mv]				[mV]		[mV]		[mv]				[mV]		[mV]		[mv]				[mV]		[mV]		[mv]				[mV]		[mV]		[mv]				[mV]		[mV]		[mv]				[mV]		[mV]		[mv]

		50		41		85		126		0.2016		24		58		82		0.2		0		80		80		0.1500938086		31		78		109		0.1912280702		31		83		114		0.1972318339		30		101		131		0.2205387205		45		100		145		0.2566371681				104		104

		100		63		140		203		0.3248		22		84		106		0.2585365854		31		135		166		0.3114446529		53		125		178		0.3122807018		45		142		187		0.3235294118		67		182		249		0.4191919192		68		178		246		0.4353982301				177		177

		150		92		210		302		0.4832		38		133		171		0.4170731707		52		197		249		0.4671669794		58		180		238		0.4175438596		66		232		298		0.5155709343		74		290		364		0.6127946128		63		342		405		0.7168141593				385		385

		200		81		329		410		0.656		39		207		246		0.6		45		291		336		0.6303939962		73		290		363		0.6368421053		48		374		422		0.7301038062		57		425		482		0.8114478114		50		446		496		0.8778761062				454		454

		250		59		443		502		0.8032		32		300		332		0.8097560976		34		398		432		0.8105065666		51		388		439		0.7701754386		31		478		509		0.8806228374		51		472		523		0.8804713805		41		490		531		0.9398230088				468		468

		300		59		510		569		0.9104		30		321		351		0.856097561		35		433		468		0.8780487805		38		462		500		0.8771929825		17		501		518		0.8961937716		40		500		540		0.9090909091		36		501		537		0.9504424779				478		478

		350		50		530		580		0.928		23		342		365		0.8902439024		31		454		485		0.9099437148		33		485		518		0.9087719298		20		535		555		0.9602076125		34		513		547		0.9208754209		32		510		542		0.9592920354				495		495

		400		45		561		606		0.9696		10		370		380		0.9268292683		24		468		492		0.9230769231		31		498		529		0.9280701754		20		535		555		0.9602076125		34		520		554		0.9326599327		36		519		555		0.982300885				502		502

		500		45		580		625		1		10		400		410		1		10		523		533		1		30		540		570		1		0		578		578		1		34		560		594		1		32		533		565		1				510		510

																						Neff map		Vfd

																						10

																						30

																						50

																						70

																						90

																						100

																						120

																																												634

																																		72

		Bias		#526		#527		Pulse sum		Normalised		Bias		#545		#546		Pulse sum		Normalised		Bias		#567		#568		Pulse sum		Normalised		Bias		#577		#578		Pulse sum		Normalised		Bias		#585		#586		Pulse sum		Normalised		Bias		#605		#606		Pulse sum		Normalised		Bias		#622		#623		Pulse sum		Normalised		Bias		#634		#635		Pulse sum		Normalised

		[Volt]		[mV]		[mV]		[mv]				[Volt]		[mV]		[mV]		[mv]				[Volt]		[mV]		[mV]		[mv]				[Volt]		[mV]		[mV]		[mv]				[Volt]		[mV]		[mV]		[mv]				[Volt]		[mV]		[mV]		[mv]				[Volt]		[mV]		[mV]		[mv]				[Volt]		[mV]		[mV]		[mv]

		20		5		205		210		0.4393305439		10		89		41		130		0.3095238095		10		27		41		68		0.17		25		34		75		109		0.2632850242		25		44		20		64		0.1671018277		50		65		10		75		0.1978891821		50		65		0		65		0.1697127937		50		61		24		85		0.2073170732

		30		5		273		278		0.5815899582		20		171		41		212		0.5047619048		25		61		109		170		0.425		50		55		164		219		0.5289855072		50		95		41		136		0.3550913838		75		95		10		105		0.2770448549		100		123		37		160		0.4177545692		100		106		34		140		0.3414634146

		40		54		323		377		0.7887029289		30		232		34		266		0.6333333333		50		266		41		307		0.7675		75		37		290		327		0.7898550725		75		150		58		208		0.5430809399		100		129		27		156		0.4116094987		150		171		51		222		0.5796344648		150		157		48		205		0.5

		50		45		360		405		0.8472803347		50		321		0		321		0.7642857143		75		334		14		348		0.87		100		27		330		357		0.8623188406		100		240		51		291		0.7597911227		125		167		27		194		0.5118733509		200		287		24		311		0.8120104439		200		253		34		287		0.7

		75		41		405		446		0.9330543933		75		362		0		362		0.8619047619		100		359		0		359		0.8975		150		27		359		386		0.9323671498		125		311		27		338		0.8825065274		150		236		30		266		0.7018469657		250		334		0		334		0.8720626632		250		317		27		344		0.8390243902

		100		32		428		460		0.9623430962		100		383		0		383		0.9119047619		150		372		0		372		0.93		200		24		372		396		0.9565217391		150		342		10		352		0.9190600522		200		328		0		328		0.8654353562		300		351		0		351		0.9164490862		300		349		31		380		0.9268292683

		120		23		437		460		0.9623430962		150		396		0		396		0.9428571429		200		383		0		383		0.9575		250		20		379		399		0.9637681159		200		355		10		365		0.953002611		250		355		0		355		0.9366754617		350		366		0		366		0.955613577		350		362		27		389		0.9487804878

		150		27		446		473		0.989539749		200		413		0		413		0.9833333333		250		396		0		396		0.99		300		24		382		406		0.9806763285		300		376		0		376		0.9817232376		300		366		0		366		0.9656992084		400		372		0		372		0.9712793734		400		372		34		406		0.9902439024

		200		23		455		478		1		300		420		0		420		1		300		400		0		400		1		350		24		390		414		1		400		383		0		383		1		400		379		0		379		1		500		383		0		383		1		500		383		27		410		1

		300		20		464		484		1.0125523013

		Strip #		VFD

		188		80

		244		75

		390		60

		470		55

		498		55

		526		53

		545		54

		568		62

		578		92								0.0004882813		0.1806640625		0.0451660156

		585		128

		605		200

		622		225

		634		270

		650		285

		670		297

		690		300

		710		285								768		640

		730		250

		740		220

		760		170

		774		125

		829		60

		888		47





		50		50		50		50		50		50		50

		100		100		100		100		100		100		100

		150		150		150		150		150		150		150

		200		200		200		200		200		200		200

		250		250		250		250		250		250		250

		300		300		300		300		300		300		300

		350		350		350		350		350		350		350

		400		400		400		400		400		400		400

		500		500		500		500		500		500		500



Strip #10

Strip #30

Strip #50

Strip #70

Strip #90

Strip #100

Strip #120

0.2016

0.2

0.1500938086

0.1912280702

0.1972318339

0.2205387205

0.2566371681

0.3248

0.2585365854

0.3114446529

0.3122807018

0.3235294118

0.4191919192

0.4353982301

0.4832

0.4170731707

0.4671669794

0.4175438596

0.5155709343

0.6127946128

0.7168141593

0.656

0.6

0.6303939962

0.6368421053

0.7301038062

0.8114478114

0.8778761062

0.8032

0.8097560976

0.8105065666

0.7701754386

0.8806228374

0.8804713805

0.9398230088

0.9104

0.856097561

0.8780487805

0.8771929825

0.8961937716

0.9090909091

0.9504424779

0.928

0.8902439024

0.9099437148

0.9087719298

0.9602076125

0.9208754209

0.9592920354

0.9696

0.9268292683

0.9230769231

0.9280701754

0.9602076125

0.9326599327

0.982300885

1

1

1

1

1

1

1



		20		10		25		25		50		50		50

		30		20		50		50		75		100		100

		40		30		75		75		100		150		150

		50		50		100		100		125		200		200

		75		75		150		125		150		250		250

		100		100		200		150		200		300		300

		120		150		250		200		250		350		350

		150		200		300		300		300		400		400

		200		300		350		400		400		500		500

		300



Strip #526

Strip #545

Strip #578

Strip #585

Strip #605

Strip #622

Strip #634

Bias [Volt]

Normalised CCE

0.4393305439

0.3095238095

0.2632850242

0.1671018277

0.1978891821

0.1697127937

0.2073170732

0.5815899582

0.5047619048

0.5289855072

0.3550913838

0.2770448549

0.4177545692

0.3414634146

0.7887029289

0.6333333333

0.7898550725

0.5430809399

0.4116094987

0.5796344648

0.5

0.8472803347

0.7642857143

0.8623188406

0.7597911227

0.5118733509

0.8120104439

0.7

0.9330543933

0.8619047619

0.9323671498

0.8825065274

0.7018469657

0.8720626632

0.8390243902

0.9623430962

0.9119047619

0.9565217391

0.9190600522

0.8654353562

0.9164490862

0.9268292683

0.9623430962

0.9428571429

0.9637681159

0.953002611

0.9366754617

0.955613577

0.9487804878

0.989539749

0.9833333333

0.9806763285

0.9817232376

0.9656992084

0.9712793734

0.9902439024

1

1

1

1

1

1

1

1.0125523013



		

		188

		244

		390

		470

		498

		526

		545

		568

		578

		585

		605

		622

		634

		650

		670

		690

		710

		730

		740

		760

		774

		829

		888



Strip Number

Vfd [Volt]

80

75

60

55

55

53

54

62

92

128

200

225

270

285

297

300

285

250

220

170

125

60

47



		10		25		50

		20		50		100

		30		75		150

		50		100		200

		75		125		250

		100		150		300

		150		200		350

		200		300		400

		300		400		500



Strip #545

Strip #585

Strip #634

Bias [Volt]

Normalised CCE

0.3095238095

0.1671018277

0.2073170732

0.5047619048

0.3550913838

0.3414634146

0.6333333333

0.5430809399

0.5

0.7642857143

0.7597911227

0.7

0.8619047619

0.8825065274

0.8390243902

0.9119047619

0.9190600522

0.9268292683

0.9428571429

0.953002611

0.9487804878

0.9833333333

0.9817232376

0.9902439024

1

1

1



		20		25		50

		30		50		75

		40		75		100

		50		100		125

		75		150		150

		100		200		200

		120		250		250

		150		300		300

		200		350		400

		300



Strip #526

Strip #578

Strip #605

Bias [Volt]

Normalised CCE

0.4393305439

0.2632850242

0.1978891821

0.5815899582

0.5289855072

0.2770448549

0.7887029289

0.7898550725

0.4116094987

0.8472803347

0.8623188406

0.5118733509

0.9330543933

0.9323671498

0.7018469657

0.9623430962

0.9565217391

0.8654353562

0.9623430962

0.9637681159

0.9366754617

0.989539749

0.9806763285

0.9656992084

1

1

1

1.0125523013



		Strip:		#10								Strip:		#30								Strip:		#50								Strip:		#70								Strip:		#90								Strip:		#100		#101						Strip:		#120

				#11										#31										#51										#71										#91										#121										#121

		D Left		h 200 V		ideal				h 400 V		D Left		h 200 V		ideal				h 400 V		D Left		h 200 V		ideal				h 400 V		D Left		h 200 V		ideal				h 400 V		D Left		h 200 V		ideal				h 400 V		D Left		h 200 V		ideal				h 400 V		D Left		h 200 V		ideal				h 400 V

		20		0.2059800664		0		0		0.1260683761		20		0.3485714286		0		0		0.2292490119		20		0.1510067114		0		0		0		20		0.1729559748		0		0		0.1299559471		30		0.1035422343		0		0		0		30		0.204610951		0		0		0		20		0.2591006424		0		0		0.263671875

		30		0.1784037559		110		1		0		30		0.2186046512		110		1		0		30		0.1964285714		110		1		0		30		0.1009615385		115		1		0		40		0.1971428571		117.5		1		0		40		0.3086053412		115		1		0		30		0.0874074074		115		1		0.0657534247

		40		0.2587064677						0.0909090909		40		0.3191489362						0		40		0.3269961977						0.118993135		40		0.1943734015						0		50		0.3688888889						0.2443729904		50		0.3851351351						0.1978021978		40		0.0914454277						0.0725244073

		50		0.3577586207						0.2196531792		50		0.4345238095						0.2648401826		60		0.6736842105						0.7946428571		50		0.3125						0.1707317073		60		0.6231884058						0.7816091954		60		0.5677966102						0.688372093		50		0.1515151515						0.1463414634

		60		0.6280991736						0.7375328084		60		0.625						0.619047619		70		0.7365079365						0.916500994		60		0.5102040816						0.5845070423		70		0.7445652174						0.9099437148		70		0.6253869969						0.886405959		60		0.5						0.5

		70		0.7114914425						0.8717948718		70		0.7170731707						0.8559322034		80		0.8419452888						0.9427402863		70		0.689373297						0.8831858407		80		0.8891454965						1		80		0.7331378299						0.9305816135		70		0.8						0.8395522388

		80		0.7915742794						0.9111470113		80		0.7960784314						0.9867374005		90		0.8307692308						0.9512195122		80		0.8141809291						0.9365609349		90		0.9136363636						1		90		0.7967032967						0.938517179		80		0.884086444						0.9252669039

		90		0.7759103641						0.8546845124		90		0.825						0.9734748011												90		0.8523489933						0.9378427788																						90		0.9249011858						0.9491833031

		Residuals		#10-#11								Residuals		#30-#31								Residuals		#50-#51								Residuals		#50-#51								Residuals		#70-#71								Residuals		#90-#91								Residuals		#100-#101

		True position		Est. position		Est. position		Residuals		Residuals		True position		Est. position		Est. position		Residuals		Residuals		True position		Est. position		Est. position		Residuals		Residuals		True position		Est. position		Est. position		Residuals		Residuals		True position		Est. position		Est. position		Residuals		Residuals		True position		Est. position		Est. position		Residuals		Residuals		True position		Est. position		Est. position		Residuals

				200 V		400 V		200 V		400 V				200 V		400 V		200 V		400 V				200 V		400 V		200 V		400 V				200 V		400 V		200 V		400 V				200 V		400 V		200 V		400 V				200 V		400 V		200 V		400 V				200 V		400 V		200 V		400 V

		20		22.657807309		38.3428571429		2.657807309		18.3428571429		20		38.3428571429		25.2173913043		18.3428571429		5.2173913043		20		16.610738255		0		-3.389261745		-20		20		19.8899371069		14.9449339207		-0.1100628931		-5.0550660793		30		12.1662125341		0		-17.8337874659		-30		30		23.530259366		0		-6.469740634		-30		20		29.7965738758		30.322265625		9.7965738758		10.322265625

		30		19.6244131455		24.0465116279		-10.3755868545		-5.9534883721		30		24.0465116279		0		-5.9534883721		-30		30		21.6071428571		0		-8.3928571429		-30		30		11.6105769231		0		-18.3894230769		-30		40		23.1642857143		0		-16.8357142857		-40		40		35.4896142433		0		-4.5103857567		-40		30		10.0518518519		7.5616438356		-19.9481481481		-22.4383561644

		40		28.4577114428		35.1063829787		-11.5422885572		-4.8936170213		40		35.1063829787		0		-4.8936170213		-40		40		35.969581749		13.0892448513		-4.030418251		-26.9107551487		40		22.3529411765		0		-17.6470588235		-40		50		43.3444444444		28.7138263666		-6.6555555556		-21.2861736334		50		44.2905405405		22.7472527473		-5.7094594595		-27.2527472527		40		10.5162241888		8.340306834		-29.4837758112		-31.659693166

		50		39.3534482759		47.7976190476		-10.6465517241		-2.2023809524		50		47.7976190476		29.1324200913		-2.2023809524		-20.8675799087		60		74.1052631579		87.4107142857		14.1052631579		27.4107142857		50		35.9375		19.6341463415		-14.0625		-30.3658536585		60		73.2246376812		91.8390804598		13.2246376812		31.8390804598		60		65.2966101695		79.1627906977		5.2966101695		19.1627906977		50		17.4242424242		16.8292682927		-32.5757575758		-33.1707317073

		60		69.0909090909		68.75		9.0909090909		8.75		60		68.75		68.0952380952		8.75		8.0952380952		70		81.0158730159		100.8151093439		11.0158730159		30.8151093439		60		58.6734693878		67.2183098592		-1.3265306122		7.2183098592		70		87.4864130435		106.9183864916		17.4864130435		36.9183864916		70		71.919504644		101.9366852886		1.919504644		31.9366852886		60		57.5		57.5		-2.5		-2.5

		70		78.2640586797		78.8780487805		8.2640586797		8.8780487805		70		78.8780487805		94.1525423729		8.8780487805		24.1525423729		80		92.6139817629		103.7014314928		12.6139817629		23.7014314928		70		79.2779291553		101.5663716814		9.2779291553		31.5663716814		80		104.474595843		117.5		24.474595843		37.5		80		84.3108504399		107.0168855535		4.3108504399		27.0168855535		70		92		96.5485074627		22		26.5485074627

		80		87.0731707317		87.568627451		7.0731707317		7.568627451		80		87.568627451		108.5411140584		7.568627451		28.5411140584		90		91.3846153846		104.6341463415		1.3846153846		14.6341463415		80		93.630806846		107.7045075125		13.630806846		27.7045075125		90		107.3522727273		117.5		17.3522727273		27.5		90		91.6208791209		107.9294755877		1.6208791209		17.9294755877		80		101.6699410609		106.4056939502		21.6699410609		26.4056939502

		90		85.350140056		90.75		-4.649859944		0.75		90		90.75		107.0822281167		0.75		17.0822281167												90		98.0201342282		107.8519195612		8.0201342282		17.8519195612																						90		106.3636363636		109.1560798548		16.3636363636		19.1560798548





		Far end														End + 1 cm														End + 2 cm														End + 3 cm														End + 3.5 cm

		Strip width		Local coord.		h 150 V						h 200 V		h 400 V		Strip width		Local coord.		h 150 V						h 200 V		h 400 V		Strip width		Local coord.		h 150 V						h 200 V		h 400 V		Strip width		Local coord.		h 150 V						h 200 V		h 400 V		Strip width		Local coord.		h 200 V						h 400 V

		16 µm		21		0.3192771084		0		0		0.3086172345		0.2177531207		25 µm		25		0.2489795918		0		0		0.2296072508		0.0935875217		25 µm		25		0.2344827586		0		0		0.1566820276		0.079338843		30 µm		25		0.1505016722		0		0		0.0805687204		0.052		35 µm		20		0.2591006424		0		0		0.263671875

				22		0.3269230769		61		1		0.3302180685		0.2262118492				26		0.3642857143		78		1		0.3591160221		0.2287390029				26		0.3311897106		95		1		0.2647754137		0.1256038647				26		0.2164948454		108		1		0.0966183575		0.0595238095				30		0.0874074074		115		1		0.0657534247

				23		0.5						0.5		0.5284552846				28		0.6977777778						0.691588785		0.8631578947				27								0.3176470588		0.2993197279				27		0.3470790378						0.2055137845		0.1347248577				40		0.0914454277						0.0725244073

				24		0.6687697161						0.6808943089		0.826435247				29		0.7510204082						0.7796610169		0.9246575342				28		0.6393442623						0.6741573034		0.7946127946				29		0.6487603306						0.7430939227		0.8559837728				50		0.1515151515						0.1463414634

				25		0.6972789116						0.7270788913		0.8104196816																		29		0.7039711191						0.7454545455		0.8982785603				30		0.7683823529						0.884057971		0.9513108614				60		0.5						0.5

																																30		0.7731629393						0.830802603		0.9453376206				31		0.8316498316						0.9351145038		0.98				70		0.8						0.8395522388

																																																												80		0.884086444						0.9252669039

																																																												90		0.9249011858						0.9491833031

				Pos. far end (1)														Pos.(2)=(1)+1 cm														Pos.(3)=(2)+1 cm														Pos.(4)=(3)+1 cm														Pos.(5)=(4)+0.5 cm

		Bias		#119		Int 1		#120		Int 2		#121		Int 3		#122		#119		Int 1		#120		Int 2		#121		Int 3		#122		#119		Int 1		#120		Int 2		#121		Int 3		#122		#119		Int 1		#120		Int 2		#121		Int 3		#122		#119		Int 1		#120		Int 2		#121		Int 3		#122

		[Volt]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]

		50		0		0		30		10		115		10		20						20		0		68						0		0		31		0		99		0		0		0		0		0		0		70		0		0						38		21		104		-10

		100		28		0		61		17		179		15		33						44		15		129						20		0		48		24		171		0		31						52		34		145		0		29						62		34		177		-21

		150		30		0		88		40		239		27		44						78		37		184						0		0		71		44		242		0		31						63		58		250		0		29						55		24		385		-31

		200		37		0		115		74		357		37		54						68		41		280						0		0		78		58		383		0		37						37		20		388		-5		20						48		15		454		-24

		250		34		0		101		61		530		51		20						71		44		410						0		0		44		24		509		-24		10						26		10		448		-20		10						45		0		468		-34

		300		23		0		81		37		600		-23		30						58		45		475						0		0		37		13		533		-30		20						22		22		490		-24		10						34		-10		478		-34

		350		34		0		84		27		641		-27		24						51		10		519						0		0		30		0		567		-30		15						20		0		512		-24		0						34		-17		495		-34

		400		23		0		64		0		644		-34		23						51		0		530						0		0		41		0		577		-37		15						20		0		527		-24		0						34		-17		502		-34

		500		10		0		77		0		680		-30		10						48		0		547						0		0		34		0		588		-40		13						10		0		530		-24		0						34		-17		510		-34

				Total										Total										Intermediate strip/total charge

		Bias		Pos.(1)		Pos.(2)		Pos.(3)		Pos.(4)		Pos.(5)		normalised

		[Volt]												Pos.(1)		Pos.(2)		Pos.(3)		Pos.(4)		Pos.(5)		Pos.(1)		Pos.(2)		Pos.(3)		Pos.(4)		Pos.(5)

		50		135		88		99		70		142		0.2023988006		0.1514629948		0.1672297297		0.1328273245		0.2649253731		0.0740740741		0		0		0		0.1478873239

		100		212		173		202		174		239		0.3178410795		0.2977624785		0.3412162162		0.330170778		0.4458955224		0.0801886792		0.0867052023		0.1188118812		0.1954022989		0.1422594142

		150		283		262		273		279		440		0.4242878561		0.4509466437		0.4611486486		0.5294117647		0.8208955224		0.1413427562		0.141221374		0.1611721612		0.2078853047		0.0545454545

		200		411		348		420		408		502		0.616191904		0.5989672978		0.7094594595		0.7741935484		0.9365671642		0.1800486618		0.117816092		0.1380952381		0.0490196078		0.0298804781

		250		550		481		519		458		513		0.8245877061		0.8278829604		0.8766891892		0.8690702087		0.9570895522		0.1109090909		0.0914760915		0.0462427746		0.0218340611		0

		300		630		533		553		500		512		0.9445277361		0.917383821		0.9341216216		0.9487666034		0.9552238806		0.0587301587		0.0844277674		0.0235081374		0.044		-0.01953125

		350		665		570		582		512		529		0.9970014993		0.9810671256		0.9831081081		0.9715370019		0.9869402985		0.0406015038		0.0175438596		0		0		-0.0321361059

		400		667		581		592		527		536		1		1		1		1		1		0		0		0		0		-0.0317164179

		500		690		595		601		530		544		1.0344827586		1.0240963855		1.0152027027		1.0056925996		1.0149253731		0		0		0		0		-0.03125





		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0



0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		50		50		50		50		50

		100		100		100		100		100

		150		150		150		150		150

		200		200		200		200		200

		250		250		250		250		250

		300		300		300		300		300

		350		350		350		350		350

		400		400		400		400		400

		500		500		500		500		500



0.0740740741

0

0

0

0.1478873239

0.0801886792

0.0867052023

0.1188118812

0.1954022989

0.1422594142

0.1413427562

0.141221374

0.1611721612

0.2078853047

0.0545454545

0.1800486618

0.117816092

0.1380952381

0.0490196078

0.0298804781

0.1109090909

0.0914760915

0.0462427746

0.0218340611

0

0.0587301587

0.0844277674

0.0235081374

0.044

-0.01953125

0.0406015038

0.0175438596

0

0

-0.0321361059

0

0

0

0

-0.0317164179

0

0

0

0

-0.03125



		50		50		50		50		50

		100		100		100		100		100

		150		150		150		150		150

		200		200		200		200		200

		250		250		250		250		250

		300		300		300		300		300

		350		350		350		350		350

		400		400		400		400		400

		500		500		500		500		500



0.2023988006

0.1514629948

0.1672297297

0.1328273245

0.2649253731

0.3178410795

0.2977624785

0.3412162162

0.330170778

0.4458955224

0.4242878561

0.4509466437

0.4611486486

0.5294117647

0.8208955224

0.616191904

0.5989672978

0.7094594595

0.7741935484

0.9365671642

0.8245877061

0.8278829604

0.8766891892

0.8690702087

0.9570895522

0.9445277361

0.917383821

0.9341216216

0.9487666034

0.9552238806

0.9970014993

0.9810671256

0.9831081081

0.9715370019

0.9869402985

1

1

1

1

1

1.0344827586

1.0240963855

1.0152027027

1.0056925996

1.0149253731



		Time delay		Corrected time		Bias [V]		#120		Int 1		#121		Int 2																		0		0.08185		9.1672		112				0.261052		10		80

		70		55		250		0		0		68		0				0		0		0		610								1		0.168384		18.859008						0.431745		34.5396

		75		50				16		0		150		0				3		0.0512794593		31.2804701969										2		0.312367		34.985104						0.675746		54.05968

		80		45				34		0		245		-25				6		0.2672435413		163.0185601936										3		0.52869		59.21328						1.004992		80.39936

		85		40				54		0		369		-41				9		0.5875634723		358.4137180924										4		0.825982		92.509984						1.426173		114.09384

		90		35				123		32		560		0				12		0.9072872169		553.4452023										5		1.20452		134.90624						1.939189		155.13512

		95		30				154		40		688		0				15		1.1543795498		704.1715253543										6		1.656436		185.520832						2.536774		202.94192

		100		25				188		51		826		-28				18		1.299469696		792.6765145638										7		2.16761		242.77232						3.205258		256.42064

		105		20				199		74		792		0				21		1.3442508459		819.9930160187										8		2.720225		304.6652						3.926179		314.09432

		110		15				188		108		615		-5				24		1.3071636214		797.3698090352										9		3.295125		369.054						4.678293		374.26344

		115		10				176		131		421		79				27		1.2124429531		739.5902013697										10		3.873637		433.847344						5.439553		435.16424

		120		5				85		68		199		34				30		1.0834467691		660.9025291351										11		4.438771		497.142352						6.188773		495.10184

		125		0				0		0		0		0				33		0.9394191906		573.0457062512										12		4.97592		557.30304						6.906842		552.54736

																		36		0.7945091514		484.6505823432										13		5.473185		612.99672						7.577489		606.19912

																		39		0.6580501859		401.410613397										14		5.92143		663.20016						8.187653		655.01224

																		42		0.5354104702		326.6003867976										15		6.31416		707.18592						8.727551		698.20408

																		45		0.4289931162		261.6858008585										16		6.647297		744.497264						9.190552		735.24416

																		48		0.339164421		206.8902967894										17		6.91889		774.91568						9.57288		765.8304

																		51		0.2650152693		161.6593142647										18		7.128793		798.424816						9.873284		789.86272

																		54		0.2049346724		125.0101501754										19		7.278362		815.176544						10.092649		807.41192

																		57		0.1570118833		95.7772488293										20		7.370132		825.454784						10.233604		818.68832

																		60		0.1192986421		72.7721716988										21		7.407557		829.646384						10.300152		824.01216

																		63		0.0899657472		54.8791057793										22		7.394742		828.211104						10.297333		823.78664

																		66		0.0673846758		41.1046522082										23		7.336235		821.65832						10.230914		818.47312

																		69		0.050159177		30.597097963										24		7.236837		810.525744						10.107127		808.57016

																		72		0.0371256796		22.6466645667										25		7.101445		795.36184						9.932439		794.59512

																		75		0.0273359711		16.67494238										26		6.934925		776.7116						9.713365		777.0692

																																27		6.742013		755.105456						9.456316		756.50528

																																28		6.527242		731.051104						9.16749		733.3992

																																29		6.294873		705.025776						8.852766		708.22128

																																30		6.048868		677.473216						8.517644		681.41152

																																31		5.792859		648.800208						8.167207		653.37656

																																32		5.530137		619.375344						7.806094		624.48752

																																33		5.263647		589.528464						7.438483		595.07864

																																34		4.995998		559.551776						7.068093		565.44744

																																35		4.729472		529.700864						6.698193		535.85544

																																36		4.466033		500.195696						6.331631		506.53048

																																37		4.207353		471.223536						5.970841		477.66728

																																38		3.954834		442.941408						5.617879		449.43032

																																39		3.709625		415.478						5.274448		421.95584

																																40		3.472645		388.93624						4.941926		395.35408

																																41		3.244611		363.396432						4.621399		369.71192

																																42		3.026052		338.917824						4.313695		345.0956

																																43		2.817337		315.541744						4.019405		321.5524

																																44		2.618692		293.293504						3.738913		299.11304

																																45		2.43022		272.18464						3.472427		277.79416

																																46		2.251916		252.214592						3.219996		257.59968

																																47		2.083687		233.372944						2.981542		238.52336

																																48		1.925365		215.64088						2.756874		220.54992

																																49		1.776718		198.992416						2.545705		203.6564

																																50		1.637465		183.39608						2.347678		187.81424

																																51		1.507286		168.816032						2.162372		172.98976

																																52		1.38583		155.21296						1.989319		159.14552

																																53		1.272725		142.5452						1.828019		146.24152

																																54		1.167583		130.769296						1.677946		134.23568

																																55		1.070007		119.840784						1.538557		123.08456

																																56		0.979598		109.714976						1.409304		112.74432

																																57		0.895956		100.347072						1.289635		103.1708

																																58		0.818688		91.693056						1.179003		94.32024

																																59		0.747406		83.709472						1.076871		86.14968

																																60		0.681733		76.354096						0.982712		78.61696

																																61		0.621304		69.586048						0.896015		71.6812

																																62		0.565769		63.366128						0.816288		65.30304

																																63		0.51479		57.65648						0.743057		59.44456

																																64		0.468044		52.420928						0.675869		54.06952

																																65		0.425227		47.625424						0.614292		49.14336

																																66		0.386049		43.237488						0.557917		44.63336

																																67		0.350235		39.22632						0.506357		40.50856

																																68		0.317529		35.563248						0.459245		36.7396

																																69		0.287687		32.220944						0.416239		33.29912

																																70		0.260483		29.174096						0.377015		30.1612

																																71		0.235705		26.39896						0.341272		27.30176

																																72		0.213156		23.873472						0.308729		24.69832

																																73		0.19265		21.5768						0.279123		22.32984

																																74		0.174018		19.490016						0.25221		20.1768

																																75		0.157101		17.595312						0.227764		18.22112

																																76		0.141751		15.876112						0.205574		16.44592

																																77		0.127834		14.317408						0.185447		14.83576

																																78		0.115224		12.905088						0.167204		13.37632

																																79		0.103806		11.626272						0.150679		12.05432

																																80		0.093474		10.469088						0.13572		10.8576

																																81		0.084131		9.422672						0.122188		9.77504

																																82		0.075686		8.476832						0.109953		8.79624

																																83		0.068058		7.622496						0.098898		7.91184

																																84		0.061172		6.851264						0.088915		7.1132

																																85		0.054959		6.155408						0.079904		6.39232

																																86		0.049356		5.527872						0.071777		5.74216

																																87		0.044307		4.962384

																																88		0.039758		4.452896

																																89		0.035662		3.994144

																																90		0.031975		3.5812

																																91		0.028659		3.209808

																																92		0.025678		2.875936

																																93		0.022998		2.575776

																																94		0.020591		2.306192

																																95		0.018429		2.064048

																																96		0.016489		1.846768

																																97		0.014748		1.651776

																																98		0.013187		1.476944

																																99		0.011787		1.320144





		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0



0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0



0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0



Measured (hit strip)

Calculated

Adjacent strip

Intermediate routing line

Time [ns]

Amplitude [arb. units]

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0



Measured

Calculated

Time [ns]

Amplitude [arb. units]

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0




_1050841170.xls
Chart1

				NaN		NaN

		188		0		0

		244		0		0

		390		0		0

		470		0		0

		498		0		0

		526		8		8

		545		0		0

		568		0		0

		578		0		0

		585		0		0

		605		0		0

		622		0		0

		634		0		0

		650		0		0

		670		0		0

		690		20		20

		710		0		0

		730		0		0

		740		0		0

		760		0		0

		774		0		0

		829		0		0

		888		0		0



Strip Number

Vfd [Volt]

80

75

60

55

55

53

55

62

92

128

200

225

270

285

297

300

285

250

220

170

125

60

47



General

		Sector #		Strip's range								1		128

		1		1-128								2		256

		2		129-256								3		384

		3		257-384								4		512

		4		385-512								5		640

		5		513-640								6		768

		6		641-768								7		896

		7		769-896								8		1024

		8		897-1024

		Measured strips:

		Sector #:		1		2		3		4		5		6		7		8





Routing line

		

																						Strip #		Est. VFD

																						499		55

																						760		170

																						774		125

																						888		50





Routing line

		10		50		20		10

		20		100		40		20

		30		150		50		40

		40		200		60		50

		50		250		80		60

		60		300		100		80

		80		350		125		100

		100		400		150		125

		150		500		175		150

		200				200		200

		300				300		300



Strip #499

Strip #760

Strip #774

Strip #888

Bias [Volt]

Charge routing line/total charge

0.1402439024

0.1694915254

0.0649350649

0.1036036036

0.0886524823

0.1589958159

0.1363636364

0.0705521472

0.069637883

0.0979381443

0.1446540881

0.0580808081

0.0611246944

0.0445859873

0.1421052632

0.0324189526

0.0412844037

0

0.1553030303

0.0324189526

0

0

0.1184210526

0.0224438903

0

0

0.0692771084

0

0

0

0.0507042254

0

0

0

0.05

0

0

0.025

0

0

0.0243902439

0



Irradiated (4)

		50		50		50		50		50

		100		100		100		100		100

		150		150		150		150		150

		200		200		200		200		200

		250		250		250		250		250

		300		300		300		300		300

		350		350		350		350		350

		400		400		400		400		400

		500		500		500		500		500



Pos. 1

Pos. 2

Pos. 3

Pos. 4

Pos. 5

Bias [V]

Charge routing line/Total charge

0.0740740741

0

0

0

0.1478873239

0.0801886792

0.0867052023

0.1188118812

0.1954022989

0.1422594142

0.1413427562

0.141221374

0.1611721612

0.2078853047

0.0545454545

0.1800486618

0.117816092

0.1380952381

0.0490196078

0.0298804781

0.1109090909

0.0914760915

0.0462427746

0.0218340611

0

0.0587301587

0.0844277674

0.0235081374

0.044

0

0.0406015038

0.0175438596

0

0

0

0

0

0

0

0

0

0

0

0

0



Irradiated (5) 

		Bias 250 V		Strip #		Centre		Distance		20 V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h		ideal				50 V		Pulse Left		Pulse Right		Pulse sum		h		200 V		Pulse Left		Pulse Right		Pulse sum		h				Volt scan		#85		#86		Total		Normalised

				85		31		110				33.5		25		85		128		12		140		0.0857142857		0		0				253		30		283		0.1060070671				373		16		389		0.0411311054				20		36		126		162		0.3884892086

				86		42						34.5		35		75		132		12		144		0.0833333333		110		1				233		24		257		0.093385214				341		25		366		0.0683060109				30		52		240		292		0.7002398082

												35.5		45		65		84		32		116		0.275862069								204		48		252		0.1904761905				325		50		375		0.1333333333				40		48		317		365		0.8752997602

												37		60		50		22		40		62		0.6451612903								36		76		112		0.6785714286				50		136		186		0.7311827957				50		48		371		407		0.9760191847

		#85		Amplitude		#86		Amplitude				37.5		65		45		40		84		124		0.6774193548								60		197		257		0.766536965				60		305		365		0.8356164384				75		36		380		412		0.9880095923

		39		417		28		417				38.5		75		35		28		152		180		0.8444444444								40		272		312		0.8717948718				32		401		433		0.9260969977				100		32		397		425		1.0191846523

		40		325		29		297				39.5		85		25		24		160		184		0.8695652174								44		281		325		0.8646153846				32		405		437		0.9267734554				120		28		413		441		1.0575539568

		41		50		30		60																																												150		28		417		417		1

		42		0		31		0

		43		68		32		32

		44		361		33		272

						34		409

		Bias 250 V		Strip #		Centre		Distance		20 V		Local coord.						Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h		ideal				50 V		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h		200 V		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h				Volt scan		#4		Int 1		#5		Int 2		Total		Normalised		Norm Rout		Norm rzatio rout/total

				4		12.5		115				14.5		20		95		204		-28		36				240		0.15		0		0				333				36				369		0.0975609756				449		-64		48				497		0.0965794769				20		12		-24		200		-48		212		0.4265593561

				5		24						15.5		30		85		240		-36		44				284		0.1549295775		115		1				425		-64		72				497		0.1448692153				573		-112		64				637		0.1004709576				30		40				328		-52		368		0.7404426559

												16.5		40		75		212		-32		44				256		0.171875								373		-48		52				425		0.1223529412				525		-88		52				577		0.0901213172				40		24		-16		381		-88		405		0.814889336

												17.5		50		65		116		-8		48				164		0.2926829268								256		-24		104				360		0.2888888889				373		-64		120				493		0.2434077079				50		28		-24		425		-92		453		0.9114688129

		#4		Amplitude		#5		Amplitude				18.5		60		55		16				32				48		0.6666666667								32				72				104		0.6923076923				60				112				172		0.6511627907				75		16				445		-100		461		0.9275653924

		12		0		21		489				19.5		70		45		52				188		-16		240		0.7833333333								68				385		-48		453		0.8498896247				52				509		-96		561		0.9073083779				100		12		-28		457		-124		469		0.9436619718

		13		0		22		341				20.5		80		35		52				253		-16		305		0.8295081967								76				429		-52		505		0.8495049505				36				549		-96		585		0.9384615385				120		16		-20		465		-120		481		0.967806841

		14		132		23		84				21.5		90		25		28				204		-48		232		0.8793103448								36				393		-84		429		0.9160839161				28				501		-112		529		0.9470699433				150		12		-44		485		-132		497		1

		15		437		24		0

		16		517		25		0

						26		272

		Bias 250 V		Strip #		Centre		Distance		20 V		Local coord.						Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h		ideal				50 V		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h		200 V		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h

				5		24		110				26.5		25		85		197				36				233		0.1545064378		0		0				328				36				364		0.0989010989				445				32				477		0.0670859539

				6		35						27.5		35		75		152				28				180		0.1555555556		110		1				305				36				341		0.1055718475				449				36				485		0.0742268041

												28.5		45		65		116				36				152		0.2368421053								253				60				313		0.1916932907				413				100				513		0.1949317739

												29.5		55		55		44				28				72										60				36				96						72				32				104

												30.5		65		45		28				104				132		0.7878787879								52				212				264		0.803030303				72				345				417		0.8273381295

												31.5		75		35		36				160				196		0.8163265306								32				272				304		0.8947368421				28				405				433		0.935334873

												32.5		85		25		12				164				176		0.9318181818								32				333				365		0.9123287671				72				469				541		0.8669131238

		Bias 250 V		Strip #		Centre		Distance		20 V		Local coord.						Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h		ideal				50 Volt		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h		200 Volts		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h				Volt scan		#115		Int 1		#116		Int 2		Total		Normalised		Norm Rout		Norm rzatio rout/total

				115		44		120				47.5		35		85		237				45				282		0.1595744681		0		0				396		-18		54				450		0.12				474		-31		41				515		0.0796116505				10		32		23		132		0		164		0.3326572008				0.1402439024

				116		56						48.5		45		75		209		0		54				263		0.2053231939		120		1				387		-13		59				446		0.1322869955				460		-41		45				505		0.0891089109				20		41		25		241		0		282		0.5720081136				0.0886524823

												49.5		55		65		128		13		54				182		0.2967032967								264				77				341		0.2258064516				360		-23		90				450		0.2				30		45		25		314		0		359		0.7281947262				0.069637883

												51		70		50		41		13		91				132										63		13		182				245						73		0		250				323		0.72				40		45		25		364		0		409		0.8296146045				0.0611246944

		#115		Amplitude		#116		Amplitude				51.5		75		45		77		41		173				250		0.692								91		18		360				451		0.7982261641				91		0		461				552		0.8351449275				50		36		18		400		-13		436		0.8843813387				0.0412844037

		42		506		54		483				52.5		85		35		54		30		214				268		0.7985074627								54		23		383				437		0.8764302059				32		-23		460				492		0.9349593496				60		25		0		419		-23		444		0.9006085193				0

		43		410		55		287				53.5		95		25		41		25		241				282		0.8546099291								36		18		400		-13		436		0.9174311927				27				460		-23		487		0.9445585216				80		27		0		442		-23		469		0.9513184584				0

		44		77		56		0																																																								100		27		0		446		-23		473		0.9594320487				0

		45		455		57		0																																																								150		23		0		455		-27		478		0.9695740365				0

		46		488		58		145																																																								200		27				460		-18		487		0.9878296146				0

						59		469																																																								300		23				470		-30		493		1				0





Irr. corr (5)

		Bias 250 V		Strip #		Centre		Distance		100 V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h		ideal				200 V		Pulse Left		Pulse Right		Pulse sum		h		300 V		Pulse Left		Pulse Right		Pulse sum		h				Volt scan		#13		#14		Total		Normalised						Strip #5		Volt scan		Normalised

				13		8.5		110				11		25		85		351		0		351		0		0		0				369		0		369		0				364		0		364		0				20		5		205		210		0.4338842975						10		140		0.2868852459

				14		19.5						12		35		75		387		0		387		0		110		1				414		0		414		0				414		0		414		0				30		5		273		278		0.5743801653						30		285		0.5840163934

												13		45		65		328		27		355		0.076056338								374		15		389		0.0385604113				383		24		407		0.058968059				40		54		323		377		0.7789256198						50		393		0.8053278689

												14		55		55		154		73		227		0.3215859031								164		59		223		0.264573991				173		68		241		0.2821576763				50		45		360		405		0.8367768595						70		434		0.8893442623

		#13		Amplitude		#14		Amplitude				15		65		45		54		223		277		0.8050541516								63		264		327		0.8073394495				82		278		360		0.7722222222				75		41		405		446		0.9214876033						100		454		0.9303278689

		6		364		17		351				16		75		35		36		378		414		0.9130434783								36		424		460		0.9217391304				32		424		456		0.9298245614				100		32		428		460		0.9504132231						150		468

		7		164		18		164				17		85		25		23		414		437		0.9473684211								23		460		483		0.9523809524				20		464		484		0.958677686				120		23		437		460		0.9504132231						200		485		0.993852459

		8		30		19		0																																												150		27		446		473		0.9772727273						300		488		1

		9		0		20		0																																												200		23		455		478		0.9876033058

		10		209		21		196																																												300		20		464		484		1

		11		370		22		392

		Bias 250 V		Strip #		Centre		Distance		50 V		Local coord.						(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				200 V		Pulse Left		Pulse Right		Pulse sum		h		300 V		Pulse Left		Pulse Right		Pulse sum		h				Volt scan		#33		#34		Total		Normalised

				13		4.8		112				8		32		80		31		334		71		405		0.175308642		0		0				427		-17		410		0				434		-17		417		0				10		48		97		145		0.3325688073				30		112		20		31		163

				14		16						9		42		70		34		317		51		368		0.1385869565		112		1				427		31		458		0.0676855895				458		24		482		0.0497925311				20		51		184		235		0.5389908257				50		157		31		41		229

												10		52		60		0		68		34		102		0.3333333333								89		37		126		0.2936507937				99		34		133		0.2556390977				30		54		263		317		0.7270642202				100		291		51		85		427

												11		62		50		0		65		195		260		0.75								61		266		327		0.8134556575				61		260		321		0.8099688474				50		37		345		382		0.876146789				130		372		58		103		533

		#33		Amplitude		#34		Amplitude				12		72		40		0		51		308		359		0.8579387187								34		413		447		0.9239373602				34		430		464		0.9267241379				75		27		389		416		0.9541284404				150		530		50		109		689

		2		445		13		451				13		82		30		0		37		342		379		0.9023746702								27		427		454		0.9405286344				10		447		457		0.9781181619				100		24		400		424		0.9724770642				200		567		44		65		676

		3		191		14		214																																														125		24		417		441		1.0114678899				250		605		31				636

		4		41		15		41																																														150		20		420		440		1.0091743119				300		612		31				643

		5		34		16		34																																														200		20		424		444		1.0183486239

		6		68		17		58																																														300		20		436		456		1.0458715596

		7		413		18		330

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.						#120		Int 1		#121		Int 2		#122		Int 3		Pulse sum		h		ideal				200 V		#120		Int 1		#121		Int 2		#122		Int 3		Pulse sum		h		400 V		#120		Int 1		#121		Int 2		#122		Int 3		Pulse sum		h						Volt scan		#120		Int 1		#121		Int 2		#122		Total		Normalised		Rout/total

				121		40		117				43		30		87		30		24		167		24		48		17		215		0.223255814		0		0				24		20		266		10		34		0		300		0.1133333333				10		0		372		-24		20		0		392		0.0510204082						50		0		0		61		0		24		85		0.2093596059		0

				122		51.7						44		40		77		24		15		140		31		54		117		194		0.2783505155		117		1				27		15		242		27		58		0		300		0.1933333333				0		0		376		-24		31		0		407		0.0761670762						100		20		0		106		0		34		140		0.3448275862		0

												45		50		67		24		20		99		37		65		0		164		0.3963414634								15		0		171		44		75		0		246		0.3048780488				10		0		311		0		75		0		386		0.1943005181						150		27		10		157		24		48		205		0.5049261084		0.0487804878

												47		70		47		0		0		58		41		95		0		153		0.6209150327								0		0		68		48		146		0		214		0.6822429907				0		0		61		17		270		0		331		0.8157099698						200		20		10		253		10		34		287		0.7068965517		0.0348432056

		#121		Amplitude		#122		Amplitude				48		80		37		0		0		65		41		143		10		208		0.6875								0		0		58		41		229		0		287		0.7979094077				0		0		34		0		366		-13		400		0.915						250		10		5		317		0		27		344		0.8472906404		0.0145348837

		38		345		49		366				49		90		27		0		0		51		34		157		0		208		0.7548076923								0		0		44		27		266		0		310		0.8580645161				0		0		27		0		376		-17		403		0.9330024814						300		0		0		349		0		31		380		0.9359605911		0

		39		37		50		201																																																																						350		0		0		362		-15		27		389		0.9581280788		0

		40		30		51		34																																																																						400		0		0		372		-17		34		406		1		0

		41		34		52		24																																																																						500		0		0		383		-20		27		410		1.0098522167		0

		42		195		53		58

		43		362		54		342

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.						(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				200 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		400 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h						Volt scan		#109		#110		Total		Normalised

				109		12.4		116				15		26		90		31		178		51		229		0.2227074236		0		0				15		280		24		304		0.0789473684						369		0		369		0						50		65		0		65		0.1747311828

				110		24						16		36		80		24		154		58		212		0.2735849057		116		1				24		263		41		304		0.1348684211						372		0		372		0						100		123		37		160		0.4301075269

												17		46		70		20		123		71		194		0.3659793814								30		215		71		286		0.2482517483						331		41		372		0.1102150538						150		171		51		222		0.5967741935

												19		66		50		0		68		95		163		0.5828220859								0		71		146		217		0.6728110599						58		242		300		0.8066666667						200		287		24		311		0.8360215054

		#109		Amplitude		#110		Amplitude				20		76		40		0		68		146		214		0.6822429907								0		58		242		300		0.8066666667						34		338		372		0.9086021505						250		334		0		334		0.8978494624

		10		308		21		291				21		86		30		0		58		167		225		0.7422222222								0		44		259		303		0.8547854785						0		345		345		1						300		351		0		351		0.9435483871

		11		37		22		208																																																				350		366		0		366		0.9838709677

		12		0		23		31																																																				400		372		0		372		1

		13		0		24		27																																																				500		383		0		383		1.0295698925

		14		225		25		31

		15		321		26		235

						27		285

		Bias 250 V		Strip #		Centre		Distance		100 V		Local coord.						(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				300 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		400 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h						Volt scan		#72		#73		Total		Normalised

				72		29.1		114				31.5		24		90				253		34		287		0.118466899		0		0						355		1		356		0.0028089888						0		0		0		0						25		44		20		64		0.170212766

				73		40.5						32.5		34		80				242		48		290		0.1655172414		114		1						386		1		387		0.0025839793																		50		95		41		136		0.3617021277

												33.5		44		70				150		78		228		0.3421052632										280		41		321		0.1277258567																		75		150		58		208		0.5531914894

												35.5		64		50				54		120		174		0.6896551724										51		222		273		0.8131868132																		100		240		51		291		0.7739361702

		#72		Amplitude		#73		Amplitude				36.5		74		40				68		215		283		0.7597173145										17		376		393		0.9567430025																		125		311		27		338		0.8989361702

		27		249		38		311				37.5		84		30				41		253		294		0.8605442177										1		386		387		0.9974160207																		150		342		10		352		0.9361702128

		28		71		39		106				38		89		25				41		249		290		0.8586206897										20		355		375		0.9466666667																		200		355		10		365		0.9707446809

		28.5		25		40		20																																																				300		376		0		376		1

		29		0		41		31																																																				400		383		0		383		1.0186170213

		30		58		42		154

		31		256		43		334

		Bias 250 V		Strip #		Centre		Distance		100 V		Local coord.						(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				150 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		300 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		200 V		Pulse Left		Pulse Right		Pulse sum		h		Volt scan		#92		#93		Total		Normalised

				92		37.8		116				40		22		94		20		146		41		187		0.2192513369		0		0						259		24		283		0.0848056537						352		1		353		0.0028328612				331		5		336		0.0148809524		50		65		10		75		0.2049180328

				93		49.4						41		32		84		20		140		44		184		0.2391304348		116		1						246		34		280		0.1214285714						369		1		370		0.0027027027				334		5		339		0.0147492625		75		95		10		105		0.2868852459

												42		42		74		24		112		51		163		0.3128834356										208		65		273		0.2380952381						355		1		356		0.0028089888				300		34		334		0.1017964072		100		129		27		156		0.4262295082

												44.5		67		49		0		68		89		157		0.5668789809										82		143		225		0.6355555556						65		256		321		0.7975077882				71		215		286		0.7517482517		125		167		27		194		0.5300546448

		#92		Amplitude		#93		Amplitude				45		72		44				71		103		174		0.591954023										78		198		276		0.7173913043						37		334		371		0.9002695418				54		291		345		0.8434782609		150		236		30		266		0.7267759563

		35		352		47		345				46		82		34				54		123		177		0.6949152542										54		236		290		0.8137931034						1		370		371		0.9973045822				41		328		369		0.8888888889		200		328		0		328		0.8961748634

		36		143		48		68				47		92		24				48		133		181		0.7348066298										48		259		307		0.8436482085						10		359		369		0.972899729				35		331		366		0.9043715847		250		355		0		355		0.9699453552

		37		17		49		0																																																										300		366		0		366		1

		38		17		49.5		0																																																										400		379		0		379		1.0355191257

		39		95		50		0

		40		325		51		116

						52		321

		Bias 250 V		Strip #		Centre		Distance		20 V		Local coord.						(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				50 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		200 V		Pulse Left		Pulse Right		Pulse sum		h								Volt scan		#32		#33		Total		Normalised

				32		43.2		108				45.5		23		85		24		188		30		218		0.1376146789		0		0				24		317		1		318		0.0031446541				400		1		401		0.0024937656								10		89		41		130		0.3147699758

				33		54						46.5		33		75		20		174		44		218		0.2018348624		108		1				20		325		10		335		0.0298507463				410		1		411		0.00243309								20		171		41		212		0.5133171913

												47.5		43		65		24		123		65		188		0.3457446809								20		242		54		296		0.1824324324				342		37		379		0.0976253298								30		232		34		266		0.6440677966

												49		58		50		0		41		58		99		0.5858585859										44		109		153		0.7124183007				51		164		215		0.7627906977								50		321		0		321		0.7772397094

		#32		Amplitude		#33		Amplitude				49.5		63		45				68		116		184		0.6304347826										68		212		280		0.7571428571				65		297		362		0.820441989								75		362		0		362		0.8765133172

		40		393		51		413				50.5		73		35				58		157		215		0.7302325581										44		297		341		0.8709677419				24		389		413		0.9418886199								100		383		0		383		0.9273607748

		41		181		52		291				51		78		30				48		164		212		0.7735849057										41		304		345		0.8811594203				15		393		408		0.9632352941								150		396		0		396		0.9588377724

		42		31		53		51																																																				200		413		0		413		1

		43		24		54		17																																																				300		420		0		420		1.0169491525

		44		80		55		50

		45		359		56		280

						57		403

		Bias 250 V		Strip #		Centre		Distance		50 V		Local coord.						(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				100 V		Pulse Left		Pulse Right		Pulse sum		h		300 V		Pulse Left		Pulse Right		Pulse sum		h										Volt scan		#53		#54		#55		#56		Total		Normalised

				54		39		110				42.5		35		75		24		259		37		296		0.125		0		0				352		1		353		0.0028328612				400		1		401		0.0024937656										10		13		27		41		13		68		0.17

				55		50						43		40		70		24		222		48		270		0.1777777778		110		1				331		1		332		0.0030120482				393		1		394		0.0025380711										25		20		61		109		20		170		0.425

												44		50		60		0		123		58		181		0.320441989								195		44		239		0.1841004184				239		41		280		0.1464285714										50				266		41				307		0.7675

												45.5		65		45		0		51		116		167		0.6946107784								42		178		220		0.8090909091				61		215		276		0.7789855072										75				334		14				348		0.87

		#54		Amplitude		#55		Amplitude				46		70		40				70		201		271		0.741697417								51		308		359		0.8579387187				51		355		406		0.8743842365										100				359		0				359		0.8975

		37		352		47		400				47		80		30				43		260		303		0.8580858086								17		355		372		0.9543010753				1		400		401		0.9975062344										150				372		0				372		0.93

		38		44		48		280																																																				200				383		0				383		0.9575

		39		27		49		41																																																				250				396		0				396		0.99

		40		51		50		20																																																				300				400		0				400		1

		41		266		51		51								512		63		575																																								400				406						406		1.015

		42		390		52		273

						53		410

		Bias 250 V		Strip #		Centre		Distance		50 V		Local coord.						(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				100 V		Pulse Left		Pulse Right		Pulse sum		h		250 V		Pulse Left		Pulse Right		Pulse sum		h										Volt scan		#64		#65		Total		Normalised

				63		1		120				4.5		35		85		37		161		65		226		0.2876106195		0		0				317		1		318		0.0031446541				376		1		377		0.0026525199										25		34		75		109		0.2632850242

				64		13						5.5		45		75		30		137		82		219		0.3744292237		120		1				297		54		351		0.1538461538				376		15		391		0.0383631714										50		55		164		219		0.5289855072

												6		50		70		0		123		78		201		0.3880597015								249		58		307		0.1889250814				325		41		366		0.1120218579										75		37		290		327		0.7898550725

												7.5		65		55		0		38		51		89		0.5730337079								40		106		146		0.7260273973				51		129		180		0.7166666667										100		27		330		357		0.8623188406

		#63		Amplitude		#64		Amplitude				8		70		50				71		103		174		0.591954023								61		242		303		0.798679868				58		300		358		0.8379888268										150		27		359		386		0.9323671498

		-1		352		10		400				9		80		40				75		143		218		0.6559633028								41		325		366		0.8879781421				31		372		403		0.9230769231										200		24		372		396		0.9565217391

		0		44		11		280				10		90		30				51		164		215		0.7627906977								34		334		368		0.9076086957				20		389		409		0.9511002445										250		20		379		399		0.9637681159

		1		27		12		41																																																				300		24		382		406		0.9806763285

		2		51		13		20																																																				350		24		390		414		1

		3		266		14		51

		4		390		15		273





Irr. corr. (6)

		Bias 250 V		Strip #		Centre		Distance		100 V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h		ideal				200 V		Pulse Left		Pulse Right		Pulse sum		h		300 V		Pulse Left		Pulse Right		Pulse sum		h				Volt scan		#13		#14		Total		Normalised						Strip #5		Volt scan		Normalised

				13		8.5		110				11		25		85		351		17		368		0.0461956522		0		0				369		17		386		0.0440414508				364		17		381		0.0446194226				20		5		205		210		0.4338842975						10		140		0.2868852459

				14		19.5						12		35		75		387		24		411		0.0583941606		110		1				414		24		438		0.0547945205				414		24		438		0.0547945205				30		5		273		278		0.5743801653						30		285		0.5840163934

												13		45		65		328		54		382		0.1413612565								374		55		429		0.1282051282				383		48		431		0.1113689095				40		54		323		377		0.7789256198						50		393		0.8053278689

												14		55		55		154		73		227		0.3215859031								164		59		223		0.264573991				173		68		241		0.2821576763				50		45		360		405		0.8367768595						70		434		0.8893442623

		#13		Amplitude		#14		Amplitude				15		65		45		54		223		277		0.8050541516								63		264		327		0.8073394495				82		278		360		0.7722222222				75		41		405		446		0.9214876033						100		454		0.9303278689

		6		364		17		351				16		75		35		36		378		414		0.9130434783								36		424		460		0.9217391304				32		424		456		0.9298245614				100		32		428		460		0.9504132231						150		468

		7		164		18		164				17		85		25		23		414		437		0.9473684211								23		460		483		0.9523809524				20		464		484		0.958677686				120		23		437		460		0.9504132231						200		485		0.993852459

		8		30		19		0																																												150		27		446		473		0.9772727273						300		488		1

		9		0		20		0																																												200		23		455		478		0.9876033058

		10		209		21		196																																												300		20		464		484		1

		11		370		22		392

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.						#120		Int 1		#121		Int 2		#122		Int 3		Pulse sum		h		ideal				200 V		#120		Int 1		#121		Int 2		#122		Int 3		Pulse sum		h		400 V		#120		Int 1		#121		Int 2		#122		Int 3		Pulse sum		h						Volt scan		#120		Int 1		#121		Int 2		#122		Total		Normalised

				121		40		117				43		30		87		30		24		167		24		48		17		215		0.223255814		0		0				24		20		266		10		34		0		300		0.1133333333				10		0		372		-24		20		0		392		0.0510204082						50		0		0		61		0		24		85		0.2093596059

				122		51.7						44		40		77		24		15		140		31		54		117		194		0.2783505155		117		1				27		15		242		27		58		0		300		0.1933333333				0		0		376		-24		31		0		407		0.0761670762						100		20		0		106		0		34		140		0.3448275862

												45		50		67		24		20		99		37		65		0		164		0.3963414634								15		0		171		44		75		0		246		0.3048780488				10		0		311		0		75		0		386		0.1943005181						150		27		10		157		24		48		205		0.5049261084

												47		70		47		0		0		58		41		95		0		153		0.6209150327								0		0		68		48		146		0		214		0.6822429907				0		0		61		17		270		0		331		0.8157099698						200		20		10		253		10		34		287		0.7068965517

		#121		Amplitude		#122		Amplitude				48		80		37		0		0		65		41		143		10		208		0.6875								0		0		58		41		229		0		287		0.7979094077				0		0		34		0		366		-13		400		0.915						250		10		5		317		0		27		344		0.8472906404

		38		345		49		366				49		90		27		0		0		51		34		157		0		208		0.7548076923								0		0		44		27		266		0		310		0.8580645161				0		0		27		0		376		-17		403		0.9330024814						300		0		0		349		0		31		380		0.9359605911

		39		37		50		201																																																																						350		0		0		362		-15		27		389		0.9581280788

		40		30		51		34																																																																						400		0		0		372		-17		34		406		1

		41		34		52		24																																																																						500		0		0		383		-20		27		410		1.0098522167

		42		195		53		58

		43		362		54		342

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.						(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				200 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		400 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h						Volt scan		#109		#110		Total		Normalised

				109		12.4		116				15		26		90		31		178		51		229		0.2227074236		0		0				15		280		24		304		0.0789473684						369		15		384		0.0390625						50		65		0		65		0.1747311828

				110		24						16		36		80		24		154		58		212		0.2735849057		116		1				24		263		41		304		0.1348684211						372		24		396		0.0606060606						100		123		37		160		0.4301075269

												17		46		70		20		123		71		194		0.3659793814								30		215		71		286		0.2482517483						331		41		372		0.1102150538						150		171		51		222		0.5967741935

												19		66		50		0		68		95		163		0.5828220859								0		71		146		217		0.6728110599						58		242		300		0.8066666667						200		287		24		311		0.8360215054

		#109		Amplitude		#110		Amplitude				20		76		40		0		68		146		214		0.6822429907								0		58		242		300		0.8066666667						34		338		372		0.9086021505						250		334		0		334		0.8978494624

		10		308		21		291				21		86		30		0		58		167		225		0.7422222222								0		44		259		303		0.8547854785						15		345		360		0.9583333333						300		351		0		351		0.9435483871

		11		37		22		208																																																				350		366		0		366		0.9838709677

		12		0		23		31																																																				400		372		0		372		1

		13		0		24		27																																																				500		383		0		383		1.0295698925

		14		225		25		31

		15		321		26		235

						27		285

		Bias 250 V		Strip #		Centre		Distance		100 V		Local coord.						(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				300 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		400 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h						Volt scan		#72		#73		Total		Normalised

				72		29.1		114				31.5		24		90				253		34		287		0.118466899		0		0						355		14		369		0.0379403794						0		0		0		0						25		44		20		64		0.170212766

				73		40.5						32.5		34		80				242		48		290		0.1655172414		114		1						386		25		411		0.0608272506																		50		95		41		136		0.3617021277

												33.5		44		70				150		78		228		0.3421052632										280		56		336		0.1666666667																		75		150		58		208		0.5531914894

												35.5		64		50				54		120		174		0.6896551724										51		222		273		0.8131868132																		100		240		51		291		0.7739361702

		#72		Amplitude		#73		Amplitude				36.5		74		40				68		215		283		0.7597173145										17		376		393		0.9567430025																		125		311		27		338		0.8989361702

		27		249		38		311				37.5		84		30				41		253		294		0.8605442177										1		386		387		0.9974160207																		150		342		10		352		0.9361702128

		28		71		39		106				38		89		25				41		249		290		0.8586206897										20		355		375		0.9466666667																		200		355		10		365		0.9707446809

		28.5		25		40		20																																																				300		376		0		376		1

		29		0		41		31																																																				400		383		0		383		1.0186170213

		30		58		42		154

		31		256		43		334

		Bias 250 V		Strip #		Centre		Distance		100 V		Local coord.						(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				150 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		300 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		200 V		Pulse Left		Pulse Right		Pulse sum		h		Volt scan		#92		#93		Total		Normalised

				92		37.8		116				40		22		94		20		146		41		187		0.2192513369		0		0						259		24		283		0.0848056537						352		15		367		0.0408719346				331		20		351		0.056980057		50		65		10		75		0.2049180328

				93		49.4						41		32		84		20		140		44		184		0.2391304348		116		1						246		34		280		0.1214285714						369		27		396		0.0681818182				334		29		363		0.0798898072		75		95		10		105		0.2868852459

												42		42		74		24		112		51		163		0.3128834356										208		65		273		0.2380952381						355		36		391		0.0920716113				300		55		355		0.1549295775		100		129		27		156		0.4262295082

												44.5		67		49		0		68		89		157		0.5668789809										82		143		225		0.6355555556						65		256		321		0.7975077882				71		215		286		0.7517482517		125		167		27		194		0.5300546448

		#92		Amplitude		#93		Amplitude				45		72		44				71		103		174		0.591954023										78		198		276		0.7173913043						37		334		371		0.9002695418				54		291		345		0.8434782609		150		236		30		266		0.7267759563

		35		352		47		345				46		82		34				54		123		177		0.6949152542										54		236		290		0.8137931034						1		370		371		0.9973045822				41		328		369		0.8888888889		200		328		0		328		0.8961748634

		36		143		48		68				47		92		24				48		133		181		0.7348066298										48		259		307		0.8436482085						10		359		369		0.972899729				35		331		366		0.9043715847		250		355		0		355		0.9699453552

		37		17		49		0																																																										300		366		0		366		1

		38		17		49.5		0																																																										400		379		0		379		1.0355191257

		39		95		50		0

		40		325		51		116

						52		321

		Bias 250 V		Strip #		Centre		Distance		20 V		Local coord.						(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				50 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		200 V		Pulse Left		Pulse Right		Pulse sum		h								Volt scan		#32		#33		Total		Normalised

				32		43.2		108				45.5		23		85		24		188		30		218		0.1376146789		0		0				24		317		14		331		0.0422960725				400		15		415		0.0361445783								10		89		41		130		0.3147699758

				33		54						46.5		33		75		20		174		44		218		0.2018348624		108		1				20		325		30		355		0.0845070423				410		25		435		0.0574712644								20		171		41		212		0.5133171913

												47.5		43		65		24		123		65		188		0.3457446809								20		242		74		316		0.2341772152				342		37		379		0.0976253298								30		232		34		266		0.6440677966

												49		58		50		0		41		58		99		0.5858585859										44		109		153		0.7124183007				51		164		215		0.7627906977								50		321		0		321		0.7772397094

		#32		Amplitude		#33		Amplitude				49.5		63		45				68		116		184		0.6304347826										68		212		280		0.7571428571				65		297		362		0.820441989								75		362		0		362		0.8765133172

		40		393		51		413				50.5		73		35				58		157		215		0.7302325581										44		297		341		0.8709677419				24		389		413		0.9418886199								100		383		0		383		0.9273607748

		41		181		52		291				51		78		30				48		164		212		0.7735849057										41		304		345		0.8811594203				15		393		408		0.9632352941								150		396		0		396		0.9588377724

		42		31		53		51																																																				200		413		0		413		1

		43		24		54		17																																																				300		420		0		420		1.0169491525

		44		80		55		50

		45		359		56		280

						57		403

		Bias 250 V		Strip #		Centre		Distance		50 V		Local coord.						(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				100 V		Pulse Left		Pulse Right		Pulse sum		h		300 V		Pulse Left		Pulse Right		Pulse sum		h										Volt scan		#53		#54		#55		#56		Total		Normalised

				54		39		110				42.5		35		75		24		259		37		296		0.125		0		0				352		15		367		0.0408719346				400		17		417		0.0407673861										10		13		27		41		13		68		0.17

				55		50						43		40		70		24		222		48		270		0.1777777778		110		1				331		25		356		0.0702247191				393		29		422		0.0687203791										25		20		61		109		20		170		0.425

												44		50		60		0		123		58		181		0.320441989								195		55		250		0.22				239		61		300		0.2033333333										50				266		41				307		0.7675

												45.5		65		45		0		51		116		167		0.6946107784								42		178		220		0.8090909091				61		215		276		0.7789855072										75				334		14				348		0.87

		#54		Amplitude		#55		Amplitude				46		70		40				70		201		271		0.741697417								51		308		359		0.8579387187				51		355		406		0.8743842365										100				359		0				359		0.8975

		37		352		47		400				47		80		30				43		260		303		0.8580858086								17		355		372		0.9543010753				1		400		401		0.9975062344										150				372		0				372		0.93

		38		44		48		280																																																				200				383		0				383		0.9575

		39		27		49		41																																																				250				396		0				396		0.99

		40		51		50		20																																																				300				400		0				400		1

		41		266		51		51								512		63		575																																								400				406						406		1.015

		42		390		52		273

						53		410

		Bias 250 V		Strip #		Centre		Distance		50 V		Local coord.						(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				100 V		Pulse Left		Pulse Right		Pulse sum		h		250 V		Pulse Left		Pulse Right		Pulse sum		h										Volt scan		#64		#65		Total		Normalised

				63		1		120				4.5		35		85		37		161		65		226		0.2876106195		0		0				317		15		332		0.0451807229				376		15		391		0.0383631714										25		34		75		109		0.2632850242

				64		13						5.5		45		75		30		137		82		219		0.3744292237		120		1				297		50		347		0.144092219				376		39		415		0.0939759036										50		55		164		219		0.5289855072

												6		50		70		0		123		78		201		0.3880597015								249		54		303		0.1782178218				325		61		386		0.1580310881										75		37		290		327		0.7898550725

												7.5		65		55		0		38		51		89		0.5730337079								40		106		146		0.7260273973				51		129		180		0.7166666667										100		27		330		357		0.8623188406

		#63		Amplitude		#64		Amplitude				8		70		50				71		103		174		0.591954023								61		242		303		0.798679868				58		300		358		0.8379888268										150		27		359		386		0.9323671498

		-1		352		10		400				9		80		40				75		143		218		0.6559633028								41		325		366		0.8879781421				31		372		403		0.9230769231										200		24		372		396		0.9565217391

		0		44		11		280				10		90		30				51		164		215		0.7627906977								34		334		368		0.9076086957				20		389		409		0.9511002445										250		20		379		399		0.9637681159

		1		27		12		41																																																				300		24		382		406		0.9806763285

		2		51		13		20																																																				350		24		390		414		1

		3		266		14		51

		4		390		15		273





Irr. corr. (6)

		0		1		0

		0				0

		0				0

		0				0

		0				0

		0				0

		0				0

		0				0

		0

		0



0

1

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



Irradiated (6)

		

		Vfd

		Normalised		10		30		50		70		120

		50		0.2016		0.2		0.1500938086		0.1529411765		0.2610294118

		100		0.3248		0.2585365854		0.3114446529		0.3025210084		0.4393382353

		150		0.4832		0.4170731707		0.4671669794		0.4352941176		0.8088235294

		200		0.656		0.6		0.6303939962		0.6268907563		0.9227941176

		250		0.8032		0.8097560976		0.8105065666		0.7613445378		0.9430147059

		300		0.9104		0.856097561		0.8780487805		0.8789915966		0.9411764706

		350		0.928		0.8902439024		0.9099437148		0.9176470588		0.9724264706

		400		0.9696		0.9268292683		0.9230769231		0.9193277311		0.9852941176

		500		1		1		1		1		1

		Strip #		VFD

		10

		30

		50

		70

		120

		Eta scan		#10		#11

								D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		Norm. pulse

								20		90		239		62		301		0.2059800664		0		0				20		90		409		59		468		0.1260683761		0.6688888889

								30		80		350		76		426		0.1784037559		110		1				30		80		582		32		614		0.0521172638		0.9466666667

								40		70		298		104		402		0.2587064677								40		70		520		60		580		0.1034482759		0.8933333333

								50		60		149		83		232		0.3577586207								50		60		270		76		346		0.2196531792		0.5155555556

								60		50		90		152		242		0.6280991736								60		50		100		281		381		0.7375328084		0.5377777778

								70		40		118		291		409		0.7114914425								70		40		80		544		624		0.8717948718		0.9088888889

								80		30		94		357		451		0.7915742794								80		30		55		564		619		0.9111470113		1.0022222222

								90		20		80		277		357		0.7759103641								90		20		76		447		523		0.8546845124		0.7933333333

				#30		#31		200 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		Norm. pulse

										20		90		114		61		175		0.3485714286		0		0				20		90		195		58		253		0.2292490119		0.6730769231

										30		80		168		47		215		0.2186046512		110		1				30		80		309		15		324		0.0462962963		0.8269230769

										40		70		160		75		235		0.3191489362								40		70		328		27		355		0.076056338		0.9038461538

										50		60		95		73		168		0.4345238095								50		60		161		58		219		0.2648401826		0.6461538462

										60		50		39		65		104		0.625								60		50		56		91		147		0.619047619		0.4

										70		40		58		147		205		0.7170731707								70		40		51		303		354		0.8559322034		0.7884615385

										80		30		52		203		255		0.7960784314								80		30		15		372		387		0.9612403101		0.9807692308

										90		20		42		198		240		0.825								90		20		10		367		377		0.9734748011		0.9230769231

				#50		#51		200 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		Norm. pulse

										20		90		253		45		298		0.1510067114		0		0				20		90		429		24		453		0.0529801325		0.903030303

										30		80		225		55		280		0.1964285714		110		1				30		80		423		32		455		0.0703296703		0.8484848485

										40		70		177		86		263		0.3269961977								40		70		385		72		457		0.1575492341		0.796969697

										50		60		0		0		0										50		60		0		0		0				0

										60		50		62		128		190		0.6736842105								60		50		69		267		336		0.7946428571		0.5757575758

										70		40		83		232		315		0.7365079365								70		40		42		461		503		0.916500994		0.9545454545

										80		30		52		277		329		0.8419452888								80		30		28		461		489		0.9427402863		0.996969697

										90		20		55		270		325		0.8307692308								90		20		24		468		492		0.9512195122		0.9848484848

				#70		#71		200 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		Norm. pulse

										20		95		263		55		318		0.1729559748		0		0				20		95		395		59		454		0.1299559471		0.7066666667

										30		85		374		42		416		0.1009615385		115		1				30		85		547		20		567		0.0352733686		0.9244444444

										40		75		315		76		391		0.1943734015								40		75		550		38		588		0.0646258503		0.8688888889

										50		65		121		55		176		0.3125								50		65		204		58		262		0.2213740458		0.3911111111

										60		55		48		50		98		0.5102040816								60		55		59		83		142		0.5845070423		0.2177777778

										70		45		114		253		367		0.689373297								70		45		66		499		565		0.8831858407		0.8155555556

										80		35		76		333		409		0.8141809291								80		35		38		561		599		0.9365609349		0.9088888889

										90		25		66		381		447		0.8523489933								90		25		34		513		547		0.9378427788		0.9933333333

				#120		#121		200 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		Norm. pulse

										20		100		346		121		467		0.2591006424		0		0				20		100		377		135		512		0.263671875		0.6867647059

										30		90		616		59		675		0.0874074074		115		1				30		90		682		48		730		0.0657534247		0.9926470588

										40		80		616		62		678		0.0914454277								40		80		665		52		717		0.0725244073		0.9970588235

										50		70		308		55		363		0.1515151515								50		70		385		66		451		0.1463414634		0.7117647059

										60		60		59		59		118		0.5								60		60		66		66		132		0.5		0.231372549

										70		50		90		360		450		0.8								70		50		86		450		536		0.8395522388		0.8823529412

										80		40		59		450		509		0.884086444								80		40		42		520		562		0.9252669039		0.9980392157

										90		30		38		468		506		0.9249011858								90		30		28		523		551		0.9491833031		0.9921568627

				Sample of metal strip scan

		#10		#10		Amplitude		Norm. ampl.

		25.5		0		491		0.982

		26		5		376		0.752

		26.5		10		173		0.346

		27.5		20		0		0

		28		25		0		0

		28.5		30		0		0

		29.5		40		108.6		0.2172

		30		45		310		0.62

		30.5		50		472		0.944

		Strip		#90		#91		200 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		Pulse Left		Pulse Right		Pulse sum		h

										38		30		87.5		329		38		367		0.1035422343		0		0				436		14		450		0.0311111111

										39		40		77.5		281		69		350		0.1971428571		117.5		1				433		25		458		0.0545851528

										40		50		67.5		142		83		225		0.3688888889								235		76		311		0.2443729904

										41		60		57.5		52		86		138		0.6231884058								38		136		174		0.7816091954

										42		70		47.5		94		274		368		0.7445652174								48		485		533		0.9099437148

										43		80		37.5		48		385		433		0.8891454965								0		526		526		1

										44		90		27.5		38		402		440		0.9136363636								0		523		523		1

		Strip #		150 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				200 V		Pulse Left		Pulse Right		Pulse sum		h		400 V		Pulse Left		Pulse Right		Pulse sum		h

		100				24		30		85		276		71		347		0.204610951		0		0				405		25		430		0.0581395349				509		24		533		0.0450281426

		101				25		40		75		233		104		337		0.3086053412		115		1				388		74		462		0.1601731602				516		38		554		0.0685920578

						26		50		65		91		57		148		0.3851351351								142		54		196		0.2755102041				219		62		281		0.2206405694

						27		60		55		51		67		118		0.5677966102								64		101		165		0.6121212121				67		148		215		0.688372093

						28		70		45		121		202		323		0.6253869969								111		317		428		0.7406542056				61		476		537		0.886405959

						29		80		35		91		250		341		0.7331378299								71		385		456		0.8442982456				37		496		533		0.9305816135

						30		90		25		74		290		364		0.7967032967								57		425		482		0.8817427386				34		519		553		0.938517179

		New 0 position

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.						#119		Int 1		#120				#121		Int 3		#122		Sum		h		Ideal				200 V		Local coord.						#119		Int 1		#120				#121		Int 3		#122		Sum		h		400 V		Local coord.						#119		Int 1		#120				#121		Int 3		#122		Sum		h

				120		22.2		118				25		28		90		32		0		333		23		50		0		0		383		0.1305483029		0		0				25		250		-250		13		0		396		-13		35		0		0		431		0.0812064965				25		250		-250		10		0		469		-23		32		0		0		501		0.0638722555

				121		34						26		38		80		32		0		314		30		54		0		0		368		0.1467391304		118		1				26		260		-260		23		0		424		-13		36		0		0		460		0.0782608696				26		260		-260		0		0		469		-27		30		0		0		499		0.0601202405

												27		48		70		27		0		259		54		86		0		13		345		0.2492753623								27		270		-270		0		0		387		23		68		0		0		455		0.1494505495				27		270		-270		0		0		492		-23		63		0		0		555		0.1135135135

												28		58		60		0		0		41		0		27		0		0		68		0.3970588235								28		280		-280		0		0		59		0		41		0		0		100		0.41				28		280		-280		0		0		77		0		45		0		0		122		0.368852459

		#121		Ampitude		#121		Amplitude				29		68		50		18		0		68		41		132		0		32		200		0.66								29		290		-290		0		0		59		32		178		0		0		237		0.7510548523				29		290		-290		0		0		73		18		273		0		32		346		0.789017341

		20		483		32		451				30		78		40		18		0		86		68		264		0		27		350		0.7542857143								30		300		-300		0		0		50		10		506		-18		0		556		0.9100719424				30		300		-300		0		0		50		10		506		-18		0		556		0.9100719424

		21		86		33		54				31		88		30		0				63		50		342		0		32		405		0.8444444444								31		310		-310		0		0		41		18		428		-23		18		469		0.9125799574				31		310		-310		0		0		36		0		496		-23		18		532		0.9323308271

		22		45		34		32

		23		23		35		45				Estimated strip width:

		24		154		36		387				35 µm

		25		470





Irradiated (6)

		0		0		0

		0		0		0

		0		0

		0		0

		0		0

		0		0



200 Volts

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #650-651

0

0

0

0

0

0

0

0

0

0

0

0

0

0



Irr. (7)

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.						Pulse 24		Pulse 25		Pulse sum		h		ideal				400 V		Local coord.						Pulse 24		Pulse 25		Pulse sum		h

				24		22.2		120				24.5		23		97		589		98		687		0.1426491994		0		0				24.5		23		97		841		0		841		0

				25		34.2						25.5		33		87		663		135		798		0.1691729323		120		1				25.5		33		87		892		0		892		0

												26.5		43		77		565		140		705		0.1985815603								26.5		43		77		841		61		902		0.0676274945

												27.5		53		67		425		233		658		0.3541033435								27.5		53		67		715		332		1047		0.3170964661

		#24		Amplitude		#25		Amplitude				28		58		62		388		318		706		0.4504249292								28		58		62		607		514		1121		0.4585191793

		20.5		715		32		738				28.5		63		57		322		388		710		0.5464788732								28.5		63		57		402		691		1093		0.6322049405

		21		579		32.5		663				29.5		73		47		196		520		716		0.7262569832								29.5		73		47		135		888		1023		0.8680351906

		21.5		462		33		486				30.5		83		37		201		645		846		0.7624113475								30.5		83		37		140		906		1046		0.8661567878

		22		374		33.5		402				31.5		93		27		140		551		691		0.7973950796								31.5		93		27		112		850		962		0.8835758836

		22.5		340		34		336				32		98		22		112		490		602		0.8139534884								32		98		22		98		771		869		0.8872266974

		23		416		34.5		327

		23.5		551		35		378

		24		631		35.5		462

		24.5		757		36		603

						36.5		705

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D39		D40		Pulse 39		Pulse 40		Pulse sum		h		ideal				400 V		Local coord.		D39		D40		Pulse 39		Pulse 40		Pulse sum		h

				39		38.5		120				41		25		95		537		98		635		0.1543307087		0		0				41		25		95		818		0		818		0

				40		50.5						42		35		85		598		159		757		0.2100396301		120		1				42		35		85		850		0		850		0

												43		45		75		495		159		654		0.2431192661								43		45		75		780		60		840		0.0714285714

												44		55		65		378		290		668		0.4341317365								44		55		65		663		397		1060		0.3745283019

		#39		Amplitude		#40		Amplitude				45		65		55		252		411		663		0.6199095023								45		65		55		360		673		1033		0.651500484

		37.5		446		49.5		474				46		75		45		168		547		715		0.765034965								46		75		45		126		892		1018		0.8762278978

		38.5		265		50.5		339				47		85		35		173		659		832		0.7920673077								47		85		35		103		897		1000		0.897

		39		274		51		367				48		95		25		135		603		738		0.8170731707								48		95		25		89		836		925		0.9037837838

		39.5		395		51.5		442				49		105		15		84		406		490		0.8285714286								49		105		15		84		682		766		0.8903394256

		40.5		553		52.5		679				50		115		5		70		276		346		0.7976878613								50		115		5		65		462		527		0.8766603416

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D64		D65		Pulse 64		Pulse 65		Pulse sum		h		ideal				400 V		Local coord.		D64		D65		Pulse 64		Pulse 65		Pulse sum		h

				64		38		118				39.5		15		103		509		84		593		0.1416526138		0		0				39.5		15		103		761		0		761		0

				65		49.8						40.5		25		93		738		135		873		0.1546391753		120		1				40.5		25		93		836		0		836		0

												41.5		35		83		715		135		850		0.1588235294								41.5		35		83		888		0		888		0

												42.5		45		73		593		206		799		0.2578222778								42.5		45		73		803		177		980		0.5581632653

		#64		Amplitude		#65		Amplitude				43.5		55		63		472		383		855		0.4479532164								43.5		55		63		654		547		1201		0.6378018318

		37		458		48.5		537				44.5		65		53		313		530		843		0.6287069988								44.5		65		53		318		766		1084		0.7066420664

		38		322		49.5		322				45.5		75		43		219		696		915		0.7606557377								45.5		75		43		126		902		1028		0.8774319066

		38.5		472		50		332				46.5		85		33		224		748		972		0.7695473251								46.5		85		33		131		916		1047		0.8748806113

		39		579		50.5		411				47.5		95		23		135		589		724		0.8135359116								47.5		95		23		98		813		911		0.8924259056

		40		813		51.5		705				48		100		18		121		514		635		0.8094488189								48		100		18		107		733		840		0.8726190476

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D85		D86		Pulse 85		Pulse 86		Pulse sum		h		ideal				400 V		Local coord.		D85		D86		Pulse 85		Pulse 86		Pulse sum		h		h-1

				85		46.5		120				47		5		115		472		89		561		0.8413547237		0		0				47		5		115		551		65		616		0.1055194805		0.8944805195

				86		58.5						48		15		105		705		89		794		0.8879093199		120		1				48		15		105		813		51		864		0.0590277778		0.9409722222

												49		25		95		864		117		981		0.880733945								49		25		95		920		0		920		0		1

												50		35		85		874		187		1061		0.8237511781								50		35		85		911		70		981		0.0713557594		0.9286442406

		#85		Amplitude		#86		Amplitude				51		45		75		799		201		1000		0.799								51		45		75		897		107		1004		0.1065737052		0.8934262948

		45		654		57		663				52		55		65		645		486		1131		0.5702917772								52		55		65		780		589		1369		0.4302410519		0.5697589481

		46		462		58		504				53		65		55		430		705		1135		0.3788546256								53		65		55		453		794		1247		0.6367281476		0.3632718524

		46.5		486		58.5		477				54		75		45		248		813		1061		0.2337417531								54		75		45		126		874		1000		0.874		0.126

		47		598		59		598				55		85		35		266		860		1126		0.2362344583								55		85		35		131		883		1014		0.8708086785		0.1291913215

		48		775		60		813				56		95		25		149		771		920		0.1619565217								56		95		25		107		845		952		0.887605042		0.112394958

												57		105		15		112		654		766		0.1462140992								57		105		15		93		705		798		0.8834586466		0.1165413534

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D85		D86		Pulse 85		Pulse 86		Pulse sum		h		ideal				Local coord.		D85		D86		Pulse 85		Pulse 86		Pulse sum		h

				120		25.5		120				27.5		20		100		472		89		561		0.1586452763		0		0		27.5		20		100		845		210		1055		0.1990521327

				121		37.5						28.5		30		90		705		89		794		0.1120906801		120		1		28.5		30		90		892		173		1065		0.1624413146

												29.5		40		80		864		117		981		0.119266055						29.5		40		80		916		177		1093		0.1619396157

												30.5		50		70		874		187		1061		0.1762488219						30.5		50		70		850		570		1420		0.4014084507

		#120		Amplitude		#121		Amplitude				31.5		60		60		799		201		1000		0.201						31.5		60		60		640		827		1467		0.5637355147

		24.5		719		36		794				32.5		70		50		645		486		1131		0.4297082228						32.5		70		50		187		900		1087		0.8279668813

		25.5		369		37		519				33.5		80		40		430		705		1135		0.6211453744						33.5		80		40		112		920		1032		0.8914728682

		26		561		37.5		481				34.5		90		30		248		813		1061		0.7662582469						34.5		90		30		177		911		1088		0.8373161765

		26.5		794		38		757				35.5		100		20		266		860		1126		0.7637655417						35.5		100		20		154		855		1009		0.8473736373

		27.5		902		39		888				36.5		110		10		635		771		1406		0.5483641536						36.5		110		10		168		673		841		0.8002378121

				Strip numbers																																																														Normalised

		Bias		24		25		total		39		40		total		64		65		total		84		85		86		87		total		total		64		65		total		99		100		total		73		74		total		120		121		total										1		2		3		4		5		6		7

		50		173		56		229		32		140		172		79		187		266		51		191		149		42		433		340		139		354		493		163		189		352		200		88		288		453		173		626										0.257751938		0.2470978441		0.2458423717		0.3912698413		0.2693190513		0.24		0.5424610052

		100		257		61		318		70		257		327		159		378		537		70		330		257		56		713		587		232		604		836		316		373		689		421		201		622		719		383		1102										0.5203488372		0.4262023217		0.424439624		0.6634920635		0.5271614384		0.5183333333		0.9549393414

		150		402		93		495		117		411		528		210		532		742		100		514		402		75		1091		916		378		796		1174		426		516		942		593		294		887		934		229		1163										0.7189922481		0.6666666667		0.6623282719		0.9317460317		0.7207345065		0.7391666667		1.0077989601

		200		589		98		687		131		589		720		219		719		938		75		659		467		47		1248		1126		378		889		1267		479		612		1091		779		255		1034		953		223		1176										0.9089147287		0.7744610282		0.8141720897		1.0055555556		0.8347360367		0.8616666667		1.0190641248

		250		748		0		748		112		743		855		191		818		1009		60		743		519		32		1354		1262		308		941		1249		506		699		1205		950		245		1195		948		238		1186										0.9777131783		0.8606965174		0.9125090383		0.9912698413		0.921958684		0.9958333333		1.027729636

		300		775		0		775		98		813		911		159		892		1051		51		771		551				1373		1322		250		994		1244		516		742		1258		1000		167		1167		948		215		1163										1.0184108527		0.9137645108		0.9558929863		0.9873015873		0.9625095639		0.9725		1.0077989601

		350		803		0		803		89		841		930		145		888		1033		37		743		547				1327		1290		221		1017		1238		512		742		1254		1053		167		1220		939		206		1145										1.0009689922		0.9071310116		0.9327548807		0.9825396825		0.9594491201		1.0166666667		0.9922010399

		400		841		0		841		89		892		981		140		888		1028		32		743		542				1317		1285		221		1029		1250		516		745		1261		1063		176		1239		950		238		1188										0.996124031		0.8988391376		0.9291395517		0.9920634921		0.9648048967		1.0325		1.0294627383

		500		860		0		860		84		850		934		154		878		1032		47		780		603				1430		1383		220		1040		1260		522		785		1307		1063		137		1200		944		210		1154										1		1		1		1		1		1		1

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D64		D65		Pulse 64		Pulse 65		Pulse sum		h		ideal				Local coord.		D64		D65		Pulse 64		Pulse 65		Pulse sum		h

				64		41		120				43		20		100		901		198		1099		0.1801637853		0		0		43		20		100		994		157		1151		0.1364031277

				65		53						44		30		90		930		343		1273		0.2694422624		120		1		44		30		90		1000		190		1190		0.1596638655

												45		40		80		901		337		1238		0.2722132472						45		40		80		970		180		1150		0.1565217391

												46		50		70		773		529		1302		0.4062980031						46		50		70		901		575		1476		0.3895663957

		#64		Amplitude		#65		Amplitude				47		60		60		616		755		1371		0.5506929249						47		60		60		762		883		1645		0.5367781155

		39		889		51		906				48		70		50		424		860		1284		0.6697819315						48		70		50		256		947		1203		0.78719867

		40		703		52		726				49		80		40		420		959		1379		0.6954314721						49		80		40		186		988		1174		0.8415672913

		40.5		453		52.5		465				50		90		30		325		912		1237		0.7372675829						50		90		30		192		994		1186		0.8381112985

		41		395		53		424				51		100		20		227		831		1058		0.7854442344						51		100		20		180		924		1104		0.8369565217

		42		837		54		813

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D99		D100		Pulse 99		Pulse 100		Pulse sum		h		ideal				Local coord.		D99		D100		Pulse 99		Pulse 100		Pulse sum		h

				99		4		120				6		20		100		872		86		958		0.0897703549		0		0		6		20		100		908		0		908		0

				100		16						7		30		90		902		140		1042		0.1343570058		120		1		7		30		90		942		23		965		0.0238341969

												8		40		80		855		133		988		0.1346153846						8		40		80		918		43		961		0.0447450572

												9		50		70		722		100		822		0.1216545012						9		50		70		815		403		1218		0.3308702791

		#99		Amplitude		#100		Amplitude				10		60		60		532		652		1184		0.5506756757						10		60		60		549		745		1294		0.5757341577

		2		832		14		772				11		70		50		270		785		1055		0.7440758294						11		70		50		130		892		1022		0.8727984344

		3		691		15		562				12		80		40		226		888		1114		0.7971274686						12		80		40		86		945		1031		0.916585839

		3.5		452		15.5		393				13		90		30		206		878		1084		0.8099630996						13		90		30		93		905		998		0.9068136273

		4		393		16		432				14		100		20		180		749		929		0.8062432723						14		100		20		165		815		980		0.8316326531

		5		729		17		749

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D73		D74		Pulse 73		Pulse 74		Pulse sum		h		ideal				Local coord.		D73		D74		Pulse 73		Pulse 74		Pulse sum		h

				73		5.5		120				6		5		115		384		384		768		0.5		0		0		6		5		115		503		503		1006		0.5

				74		17.5						7		15		105		648		113		761		0.1484888305		120		1		7		15		105		761		25		786		0.0318066158

												8		25		95		799		138		937		0.1472785486						8		25		95		899		22		921		0.0238870793

												9		35		85		818		157		975		0.161025641						9		35		85		950		16		966		0.016563147

		#73		Amplitude		#74		Amplitude				10		45		75		657		223		880		0.2534090909						10		45		75		872		111		983		0.1129196338

		3.5		767		15.5		755				11		55		65		555		456		1011		0.4510385757						11		55		65		761		531		1292		0.4109907121

		4.5		569		16.5		549				12		65		55		353		603		956		0.6307531381						12		65		55		317		797		1114		0.7154398564

		5		368		17		362				13		75		45		270		837		1107		0.756097561						13		75		45		108		1093		1201		0.9100749376

		5.5		299		17.5		396				14		85		35		309		936		1245		0.7518072289						14		85		35		108		1112		1220		0.9114754098

		6.5		613		18		679				15		95		25		230		916		1146		0.7993019197						15		95		25		83		1044		1127		0.92635315

		Strip #		10		11		Total		30		31		Total		50		51		Total		70		71		Total		90		91		Total		110		111		Total		Normalised		10		30		50		70		90		110

		50		67		15		82		38		8		46		36		15		51		50		10		60		74		18		92		616		180		796		50		0.1876430206		0.1916666667		0.2015810277		0.1754385965		0.2105263158		0.6683459278

		100		119		37		156		66		11		77		60		27		87		79		26		105		126		33		159		831		331		1162		100		0.356979405		0.3208333333		0.3438735178		0.3070175439		0.3638443936		0.9756507137

		150		158		43		201		86		23		109		85		27		112		116		34		150		208		54		262		906		285		1191		150		0.4599542334		0.4541666667		0.442687747		0.4385964912		0.5995423341		1

		200		262		34		296		138		18		156		136		27		163		186		30		216		324		0		324		936		198		1134		200		0.6773455378		0.65		0.6442687747		0.6315789474		0.7414187643		0.9521410579

		250		353		0		353		186		0		186		186		0		186		255		0		255		371		0		371		941		157		1098		250		0.8077803204		0.775		0.7351778656		0.7456140351		0.8489702517		0.9219143577

		300		398		0		398		213		0		213		215		0		215		282		0		282		391		0		391		941		168		1109		300		0.9107551487		0.8875		0.8498023715		0.8245614035		0.8947368421		0.9311502939

		350		429		0		429		231		0		231		225		0		225		295		0		295		417		0		417		953		128		1081		350		0.9816933638		0.9625		0.8893280632		0.8625730994		0.9542334096		0.9076406381

		400		429		0		429		234		0		234		245		0		245		312		0		312		429		0		429		970		163		1133		400		0.9816933638		0.975		0.9683794466		0.9122807018		0.9816933638		0.9513014274

		500		437		0		437		240		0		240		253		0		253		342		0		342		437		0		437		965		157		1122		500		1		1		1		1		1		0.9420654912

		Norm. factor						409.2						220.8						224.8						297.2						409						1108.6

																																																																																																		Routing/Total

																																																																														Strip 120-121				Pos. 39						Strip 120-121				Pos. 41.5

		Strip #		10		11		Total		30		31		Total		50		51		Total		70		71		Total		90		91		Total		110		111		Total		120		int 1		121		int 2		Total						Normalised		10		30		50		70		90		110		120										120		int 1		121		int 2				120		int 1		121		int 2				Rout. 1		Tot.1		Rou. 2		Tot. 2		Rout. 3		Tot. 3		Ratio 1		Ratio 2		Ratio 3

		50		41		85		126		24		58		82		0		80		80		15		76		91														38		21		104		-10		142						50		0.2016		0.2		0.1500938086		0.1529411765		0		0		0.2610294118								50		52		10		24		-10				28		20		70		-10				21		142		10		86		20		118		0.1478873239		0.1162790698		0.1694915254

		100		63		140		203		22		84		106		31		135		166		38		142		180														62		34		177		-21		239						100		0.3248		0.2585365854		0.3114446529		0.3025210084		0		0		0.4393382353								100		97		24		48		-17				66		38		135		-10				34		239		24		169		38		239		0.1422594142		0.1420118343		0.1589958159

		150		92		210		302		38		133		171		52		197		249		48		211		259														55		24		385		-31		440						150		0.4832		0.4170731707		0.4671669794		0.4352941176		0		0		0.8088235294								150		222		17		52		-17				66		38		284		-20				24		440		17		291		38		388		0.0545454545		0.058419244		0.0979381443

		200		81		329		410		39		207		246		45		291		336		48		325		373														48		15		454		-24		502						200		0.656		0.6		0.6303939962		0.6268907563		0		0		0.9227941176								200		287		0		55		0				55		21		395		-30				15		502		0		342		21		471		0.0298804781		0		0.0445859873

		250		59		443		502		32		300		332		34		398		432		24		429		453														45		0		468		-34		513						250		0.8032		0.8097560976		0.8105065666		0.7613445378		0		0		0.9430147059								250		308		-24		55		0				42		0		436		-45				0		513		-24		339		0		478		0		-0.0707964602		0

		300		59		510		569		30		321		351		35		433		468		28		495		523														34		-10		478		-34		512						300		0.9104		0.856097561		0.8780487805		0.8789915966		0		0		0.9411764706								300		308		-17		62		0				55		0		454		-42				-10		512		-17		353		0		509		-0.01953125		-0.0481586402		0

		350		50		530		580		23		342		365		31		454		485		30		516		546														34		-17		495		-34		529						350		0.928		0.8902439024		0.9099437148		0.9176470588		0		0		0.9724264706								350		315		-25		62		0				48		0		478		-45				-17		529		-25		352		0		526		-0.0321361059		-0.0710227273		0

		400		45		561		606		10		370		380		24		468		492		34		513		547														34		-17		502		-34		536						400		0.9696		0.9268292683		0.9230769231		0.9193277311		0		0		0.9852941176								400		315		-28		55		0				42		0		485		-38				-17		536		-28		342		0		527		-0.0317164179		-0.081871345		0

		500		45		580		625		10		400		410		10		523		533		34		561		595						1						1		34		-17		510		-34		544						500		1		1		1		1		1		1		1								500		340		-31		55		0				52		0		520		-38				-17		544		-31		364		0		572		-0.03125		-0.0851648352		0

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h		ideal														50		0.1529411765

				10		24		110				26		20		90		239		62		301		0.2059800664		0		0				26		20		90		409		59		468		0.1260683761		0		0												100		0.3025210084

				11		35						27		30		80		350		76		426		0.1784037559		110		1				27		30		80		582		0		582		0		110		1												150		0.4352941176

												28		40		70		298		104		402		0.2587064677								28		40		70		520		52		572		0.0909090909																200		0.6168907563

												29		50		60		149		83		232		0.3577586207								29		50		60		270		76		346		0.2196531792																250		0.7513445378

		#10		Amplitude		#11		Amplitude				30		60		50		90		152		242		0.6280991736								30		60		50		100		281		381		0.7375328084																300		0.8789915966

		25.5		491		37		343				31		70		40		118		291		409		0.7114914425								31		70		40		80		544		624		0.8717948718																350		0.9276470588

		26		376		38		0				32		80		30		94		357		451		0.7915742794								32		80		30		55		564		619		0.9111470113																400		0.9793277311

		26.5		173		39		0				33		90		20		80		277		357		0.7759103641								33		90		20		76		447		523		0.8546845124																500		1.03

		27.5		0		40		0

		28		0		41		406						25		0.1354679803																						25		0

		28.5		0										35		0.2190721649																						35		0

		29.5		108.6										45		0.3144329897																						45		0

		30		310										48		0.3333333333																						48		0.1697247706

		30.5		472										65		0.6071428571																						65		0.7439759036

														75		0.7055702918																						75		0.8892794376

														85		0.7814726841																						85		1

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h		ideal				400V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h

				30		22		110				24		20		90		114		61		175		0.3485714286		0		0				24		20		90		195		58		253		0.2292490119

				31		33						25		30		80		168		47		215		0.2186046512		110		1				25		30		80		309		0		309		0

												26		40		70		160		75		235		0.3191489362								26		40		70		328		0		328		0

												27		50		60		95		73		168		0.4345238095								27		50		60		161		58		219		0.2648401826

		#30		Amplitude		#31		Amplitude				28		60		50		39		65		104		0.625								28		60		50		56		91		147		0.619047619

		18.5		210		31		280				29		70		40		58		147		205		0.7170731707								29		70		40		51		303		354		0.8559322034

		19.5		163		32		67				30		80		30		52		203		255		0.7960784314								30		80		30		5		372		377		0.9867374005

		20.5		91		33		47				31		90		20		42		198		240		0.825								31		90		20		10		367		377		0.9734748011

		21.5		37		34		49

		22.5		39		35		212

		23.5		137

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h

				50		49		110				51		20		90		253		45		298		0.1510067114		0		0				51		20		90		429		0		429		0

				51		60						52		30		80		225		55		280		0.1964285714		110		1				52		30		80		423		0		423		0

												53		40		70		177		86		263		0.3269961977								53		40		70		385		52		437		0.118993135

												54		50		60		0		0		0		0								54		50		60		0		0		0		0

		#50		Amplitude		#51		Amplitude				55		60		50		62		128		190		0.6736842105								55		60		50		69		267		336		0.7946428571

		46.5		320		57.5		385				56		70		40		83		232		315		0.7365079365								56		70		40		42		461		503		0.916500994

		47.5		42		58.5		50				57		80		30		52		277		329		0.8419452888								57		80		30		28		461		489		0.9427402863

		48.5		0		59.5		0				58		90		20		55		270		325		0.8307692308								58		90		20		24		468		492		0.9512195122

		49.5		0		60.5		30

		50.5		229		61.5		104						20										0.1510067114										20										0

						62.5		385						30										0.1964285714										30										0

														40										0.3269961977										40										0.118993135

														60										0.6736842105										60										0.7946428571

														70										0.7365079365										70										0.916500994

														80										0.8419452888										80										0.9427402863

														90										0.8307692308										90										0.9512195122

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h

				70		38		115				40		20		95		263		55		318		0.1729559748		0		0				40		20		95		395		59		454		0.1299559471

				71		49.5						41		30		85		374		42		416		0.1009615385		110		1				41		30		85		547		0		547		0

												42		40		75		315		76		391		0.1943734015								42		40		75		550		0		550		0

												43		50		65		121		55		176		0.3125								43		50		65		204		42		246		0.1707317073

		#70		Amplitude		#71		Amplitude				44		60		55		48		50		98		0.5102040816								44		60		55		59		83		142		0.5845070423

		36		429		47.5		190				45		70		45		114		253		367		0.689373297								45		70		45		66		499		565		0.8831858407

		37		52		48.5		31				46		80		35		76		333		409		0.8141809291								46		80		35		38		561		599		0.9365609349

		38		0		49.5		0				47		90		25		66		381		447		0.8523489933								47		90		25		34		513		547		0.9378427788

		39		38		50.5		76

		40		412		51.5		423

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h

				120		34		120				36		20		100		346		121		467		0.2591006424		0		0				36		20		100		377		135		512		0.263671875

				121		46						37		30		90		616		59		675		0.0874074074		110		1				37		30		90		682		48		730		0.0657534247

												38		40		80		616		62		678		0.0914454277								38		40		80		665		52		717		0.0725244073

												39		50		70		308		55		363		0.1515151515								39		50		70		385		66		451		0.1463414634

		#120		Amplitude		#121		Amplitude				40		60		60		59		59		118		0.5								40		60		60		66		66		132		0.5

		32.5		391		44		513				41		70		50		90		360		450		0.8								41		70		50		86		450		536		0.8395522388

		33.5		76		45		86				42		80		40		59		450		509		0.884086444								42		80		40		42		520		562		0.9252669039

		34.5		59		46		69				43		90		30		38		468		506		0.9249011858								43		90		30		28		523		551		0.9491833031

		35.5		142		47		104

		36.5		606		48		475

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h

				90		35		117.5				38		158		-38		329		38		367		0.1035422343		0		0				38		158		-38		436		0		436		0

				91		46.75						39		168		-48		281		69		350		0.1971428571		117.5		1				39		168		-48		433		0		433		0

												40		178		-58		142		83		225		0.3688888889								40		178		-58		235		76		311		0.2443729904

												41		188		-68		52		86		138		0.6231884058								41		188		-68		38		136		174		0.7816091954

		#70		Ampitude		#71		Amplitude				42		198		-78		94		274		368		0.7445652174								42		198		-78		48		485		533		0.9099437148

												43		208		-88		48		385		433		0.8891454965								43		208		-88		0		526		526		1

												44		218		-98		38		402		440		0.9136363636								44		218		-98		0		523		523		1

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h

				90		35		117.5				38		30		87.5		329		38		367		0.1035422343		0		0				38		30		87.5		436		0		436		0

				91		46.75						39		40		77.5		281		69		350		0.1971428571		117.5		1				39		40		77.5		433		0		433		0

												40		50		67.5		142		83		225		0.3688888889								40		50		67.5		235		76		311		0.2443729904

												41		60		57.5		52		86		138		0.6231884058								41		60		57.5		38		136		174		0.7816091954

		#90		Ampitude		#91		Amplitude				42		70		47.5		94		274		368		0.7445652174								42		70		47.5		48		485		533		0.9099437148

		33		346		45		263				43		80		37.5		48		385		433		0.8891454965								43		80		37.5		0		526		526		1

		33.5		160		45.5		94				44		90		27.5		38		402		440		0.9136363636								44		90		27.5		0		523		523		1

		34		55		46		42

		34.5		10		46.5		28

		35		10		47		24

		35.5		15		47.5		59

		36		59		48		138

		36.5		184		49		523

		37		364

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h		ideal				200 V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h		400 V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h

				100		21		115				24		30		85		276		71		347		0.204610951		0		0				24		30		85		405		0		405		0				24		30		85		509		0		509		0

				101		32.5						25		40		75		233		104		337		0.3086053412		115		1				25		40		75		388		74		462		0.1601731602				25		40		75		516		0		516		0

												26		50		65		91		57		148		0.3851351351								26		50		65		142		54		196		0.2755102041				26		50		65		219		54		273		0.1978021978

												27		60		55		51		67		118		0.5677966102								27		60		55		64		101		165		0.6121212121				27		60		55		67		148		215		0.688372093

		#100		Ampitude		#101		Amplitude				28		70		45		121		202		323		0.6253869969								28		70		45		111		317		428		0.7406542056				28		70		45		61		476		537		0.886405959

		18.5		408		31		196				29		80		35		91		250		341		0.7331378299								29		80		35		71		385		456		0.8442982456				29		80		35		37		496		533		0.9305816135

		19.5		108		32		50				30		90		25		74		290		364		0.7967032967								30		90		25		57		425		482		0.8817427386				30		90		25		34		519		553		0.938517179

		20.5		40		32.5		30

		21.5		35		33		37

		22.5		105		33.5		50

		23.5		445		34		101

						35		452

																12		23		34		-10		-18		-23		-27		-27		-27

																																				New												Other position

		Strip #		70		71		Total		90		91		Total		99		100		101		102		Total		Total		Normalised		70		90		100		120		Int 2		121		Int 3		122		Total		119		120		Int 2		121		Total

		50		31		78		109		31		83		114		13		30		101		13		157		131				0.2060491493		0.2054054054		0.2364620939		45		27		100		25		32		145		27		91		18		41		132

		100		53		125		178		45		142		187		20		67		182		33		302		249				0.3364839319		0.3369369369		0.4494584838		68		41		178		10		30		246		30		168		35		68		236

		150		58		180		238		66		232		298		23		74		290		45		432		364				0.449905482		0.5369369369		0.6570397112		63		50		342		0		30		405		35		314		35		54		368

		200		73		290		363		48		374		422		17		57		425		15		514		482				0.6862003781		0.7603603604		0.8700361011		50		27		446		-10		30		496		27		405		0		41		446

		250		51		388		439		31		478		509		0		51		472		5		528		523				0.8298676749		0.9171171171		0.9440433213		41		15		490		-18		23		531		15		433		-18		32		465

		300		38		462		500		17		501		518		0		40		500		0		540		540				0.9451795841		0.9333333333		0.9747292419		36		0		501		-27		18		537		10		446		-20		41		487

		350		33		485		518		20		535		555		0		34		513		0		547		547				0.9792060491		1		0.9873646209		32		0		510		-23		18		542		10		460		-20		36		496

		400		31		498		529		20		535		555		0		34		520		0		554		554				1		1		1		36		0		519		-23		18		555		10		474		-23		36		510

		500		30		540		570		0		578		578		0		34		540		0		574		574				1.0775047259		1.0414414414		1.036101083		32		0		533		-23		18		565		10		483		-23		36		519

		Futher Measurements as a function of the r-position

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.						#119		Int 1		#120				#121		Int 3		#122		Sum		h		Ideal				200 V		Local coord.						#119		Int 1		#120				#121		Int 3		#122		Sum		h		400 V		Local coord.						#119		Int 1		#120				#121		Int 3		#122		Sum		h

				120		19.8		61				21		12		49		47.12		28.88		171.76		28.88		80.56		28.88		41.8		252.32		0.3192771084		0		0				21		12		49		57		36.48		262.2		47.12		117.04		31.16		44.08		379.24		0.3086172345				21		12		49		28.88		0		428.64		-31.16		119.32		0		31.16		547.96		0.2177531207

				121		25.9						22		22		39		44		27		140		27		68		10		31		208		0.3269230769		61		1				22		22		39		62		38		215		51		106		27		31		321		0.3302180685				22		22		39		48		0		431		-17		126		0		10		557		0.2262118492

												23		32		29		0		0		24		0		24		0		0		48		0.5								23		32		29		0		0		34		0		34		0		0		68		0.5				23		32		29		0		0		58		0		65		0		0		123		0.5284552846

												24		42		19		34		15		105		41		212		24		48		317		0.6687697161								24		42		19		51		27		157		85		335		34		62		492		0.6808943089				24		42		19		31		0		130		21		619		-24		34		749		0.826435247

		#121		Ampitude		#121		Amplitude				25		52		9		38		17		89		31		205		12		41		294		0.6972789116								25		52		9		51		23		128		57		341		15		44		469		0.7270788913				25		52		9		51		0		131		10		560		-30		27		691		0.8104196816

		19		398		25		351

		19.5		58		25.5		104				Estimated strip width:								Routing line		#120		#121

		20		72		26		47				16 µm								25.6		447		85		0.9933333333		0.1888888889		532		0.7093333333

		20.5		212		26.5		81												26		242		68		0.5377777778		0.1511111111		310		0.4133333333

		21		489		27		368												26.2		103		31		0.2288888889		0.0688888889		134		0.1786666667

																				26.4		65		31		0.1444444444		0.0688888889		96		0.128

																				26.6		58		31		0.1288888889		0.0688888889		89		0.1186666667

																				26.8		42		40		0.0933333333		0.0888888889		82		0.1093333333

																				27		42		55		0.0933333333		0.1222222222		97		0.1293333333

																				27.2		54		154		0.12		0.3422222222		208		0.2773333333

																				27.4		71		248		0.1577777778		0.5511111111		319		0.4253333333

																				27.6		81		310		0.18		0.6888888889		391		0.5213333333

																				28		92		448		0.2044444444		0.9955555556		540		0.72

		Futher Measurements as a function of the r-position								Far end

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.						#119		Int 1		#120				#121		Int 3		#122		Sum		h		Ideal				200 V		Local coord.						#119		Int 1		#120				#121		Int 3		#122		Sum		h		400 V		Local coord.						#119		Int 1		#120				#121		Int 3		#122		Sum		h

				120		23		78				25		20		58		40		0		184		23		61		0		15		245		0.2489795918		0		0				25		20		58		33		0		255		38		76		0		18		331		0.2296072508				25		20		58		54		0		523		-10		54		0		0		577		0.0935875217

				121		30.8						26		30		48		31		0		89		24		51		0		24		140		0.3642857143		78		1				26		30		48		31		0		116		31		65		0		24		181		0.3591160221				26		30		48		31		0		263		0		78		0		0		341		0.2287390029

												27		40		38		0		0		0		0		0		0		0		0		0								27		40		38		0		0		0		0		0		0		0		0		0				27		40		38		0		0		0		0		0		0		0		0		0

												28		50		28		20		0		68		41		157		0		31		225		0.6977777778								28		50		28		0		0		99		61		222		0		34		321		0.691588785				28		50		28		0		0		78		15		492		-31		24		570		0.8631578947

		#121		Ampitude		#121		Amplitude				29		60		18		0		0		61		27		184		0		31		245		0.7510204082								29		60		18		0		0		78		48		276		0		37		354		0.7796610169				29		60		18		0		0		44		0		540		-31		13		584		0.9246575342

		21		728		29		755

		22		230		30		225				Estimated strip width:

		22.5		134		30.5		101				20 µm

		23		107		31		96

		23.5		150		31.5		161

		24		557		32		551

		25		760

										1 cm plus

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.						#119		Int 1		#120				#121		Int 3		#122		Sum		h		Ideal				200 V		Local coord.						#119		Int 1		#120				#121		Int 3		#122		Sum		h		400 V		Local coord.						#119		Int 1		#120				#121		Int 3		#122		Sum		h

				120		22.7		95				25		23		72		44		0		222		34		68		0		17		290		0.2344827586		0		0				25		23		72		41		0		366		31		68		0		24		434		0.1566820276				25		23		72		27		0		557		-24		48		0		0		605		0.079338843

				121		32.2						26		33		62		41		0		208		51		103		0		24		311		0.3311897106		95		1				26		33		62		31		0		311		68		112		0		34		423		0.2647754137				26		33		62		17		0		543		-20		78		0		0		621		0.1256038647

												27		43		52		0		0		0		0		0		0		0		0		0								27		43		52		0		0		58		0		27		0		0		85		0.3176470588				27		43		52		0		0		103		0		44		0		0		147		0.2993197279

												28		53		42		0		0		44		31		78		0		0		122		0.6393442623								28		53		42		0		0		58		24		120		0		0		178		0.6741573034				28		53		42		0		0		61		0		236		0		0		297		0.7946127946

		#121		Ampitude		#121		Amplitude				29		63		32		24		0		82		51		195		0		17		277		0.7039711191								29		63		32		27		0		112		85		328		0		34		440		0.7454545455				29		63		32		0		0		65		0		574		-37		15		639		0.8982785603

		21		464		30		523				30		73		22		0		0		71		44		242		0		31		313		0.7731629393								30		73		22		0		0		78		58		383		0		37		461		0.830802603				30		73		22		0		0		34		0		588		-40		13		622		0.9453376206

		22		58		31		171				Estimated strip width:

		22.5		37		32		41				25 µm

		23		51		32.5		51

		23.5		58		33		65

		24		178		34		499

		25		496

										1 cm plus

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.						#119		Int 1		#120				#121		Int 3		#122		Sum		h		Ideal				200 V		Local coord.						#119		Int 1		#120				#121		Int 3		#122		Sum		h		400 V		Local coord.						#119		Int 1		#120				#121		Int 3		#122		Sum		h

				120		22.7		108				25		23		85		34		0		254		29		45		0		0		299		0.1505016722		0		0				25		23		85		22		0		388		0		34		0		0		422		0.0805687204				25		23		85		11		0		474		-29		26		0		0		500		0.052

				121		33.5						26		33		75		26		0		228		41		63		0		10		291		0.2164948454		108		1				26		33		75		22		0		374		0		40		0		0		414		0.0966183575				26		33		75		0		0		474		-25		30		0		0		504		0.0595238095

												27		43		65		34		0		190		78		101		0		26		291		0.3470790378								27		43		65		26		0		317		37		82		0		12		399		0.2055137845				27		43		65		0		0		456		-22		71		0		0		527		0.1347248577

												29		63		45		12		0		85		60		157		0		29		242		0.6487603306								29		63		45		0		0		93		67		269		0		34		362		0.7430939227				29		63		45		0		0		71		18		422		-22		18		493		0.8559837728

		#121		Ampitude		#121		Amplitude				30		73		35		0		0		63		56		209		0		0		272		0.7683823529								30		73		35		0		0		48		34		366		-18		18		414		0.884057971				30		73		35		0		0		26		0		508		-26		0		534		0.9513108614

		20		470		31		508				31		83		25		0		0		50		37		247		0		26		297		0.8316498316								31		83		25		0		0		34		34		490		-30		0		524		0.9351145038				31		83		25		0		0		10		0		490		-30		0		500		0.98

		21		300		32		247

		22		40		33		41

		23		0		33.5		29				Estimated strip width:

		23.5		0		34		41				30 µm

		24		85		35		134

		25		430		36		500

		New 0 position

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.						#119		Int 1		#120				#121		Int 3		#122		Sum		h		Ideal				200 V		Local coord.						#119		Int 1		#120				#121		Int 3		#122		Sum		h		400 V		Local coord.						#119		Int 1		#120				#121		Int 3		#122		Sum		h

				120		22.2		118				25		28		90		32		0		333		23		50		0		0		383		0.1305483029		0		0				25		28		90		13		0		396		-13		35		0		0		431		0.0812064965				25		28		90		10		0		469		-23		32		0		0		501		0.0638722555

				121		34						26		38		80		32		0		314		30		54		0		0		368		0.1467391304		118		1				26		38		80		23		0		424		-13		36		0		0		460		0.0782608696				26		38		80		0		0		469		-27		30		0		0		499		0.0601202405

												27		48		70		27		0		259		54		86		0		13		345		0.2492753623								27		48		70		0		0		387		23		68		0		0		455		0.1494505495				27		48		70		0		0		492		-23		63		0		0		555		0.1135135135

												28		58		60		0		0		41		0		27		0		0		68		0.3970588235								28		58		60		0		0		59		0		41		0		0		100		0.41				28		58		60		0		0		77		0		45		0		0		122		0.368852459

		#121		Ampitude		#121		Amplitude				29		68		50		18		0		68		41		132		0		32		200		0.66								29		68		50		0		0		59		32		178		0		0		237		0.7510548523				29		68		50		0		0		73		18		273		0		32		346		0.789017341

		20		483		32		451				30		78		40		18		0		86		68		264		0		27		350		0.7542857143								30		78		40		0		0		50		10		506		-18		0		556		0.9100719424				30		78		40		0		0		50		10		506		-18		0		556		0.9100719424

		21		86		33		54				31		88		30		0				63		50		342		0		32		405		0.8444444444								31		88		30		0		0		41		18		428		-23		18		469		0.9125799574				31		88		30		0		0		36		0		496		-23		18		532		0.9323308271

		22		45		34		32

		23		23		35		45				Estimated strip width:

		24		154		36		387				35 µm

		25		470



Irradiated section n. 6



Irr. (7)

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0



Strp #99

Strip #100

Strip #101

Strip #102

Bias [V]

Collected charge [Arb. unit]

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



Non irr. (2)

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0



0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



Various final Pic.

		0

		0

		0

		0

		0

		0

		0

		0

		0



Strip #690

Bias [V]

Collected charge (arb. unit)

0

0

0

0

0

0

0

0

0



Final pic. eta

		Bias 250 V		Strip #		Centre		Distance		50 V		Local coord.						Pulse Left		Int		Pulse Right		Pulse sum		h		ideal				100 V		Pulse Left		Int		Pulse Right		Pulse sum		h		300 V		Pulse Left		Int		Pulse Right		Pulse sum		h				Volt scan		#6		Int.		#7		Total		Normalised				Volt scan		#59		#60		#61		Total		Normalised				Volt scan		#114		Int.		#115		Int.		#116		Total		Normalised		Rout/total		Volt #6		#6		Volt #115		#115

				6		37		115				40		30		85		104		18		40		144		0.2777777778		0		0				246				45		291		0.1546391753				333		-23		27		360		0.075				20		23		5		54		77		0.2086720867				20		32		141		54		227		0.576142132				10		63		4		159		23		32		222		0.5536159601				20		0.0649350649		10		0.1036036036

				7		48.5						41		40		75		86		32		54		140		0.3857142857		115		1				214		36		63		277		0.2274368231				323		-23		36		359		0.1002785515				40		32		18		100		132		0.3577235772				40		41		264		54		359		0.9111675127				20		80				246		23		36		326		0.812967581				40		0.1363636364		20		0.0705521472

												42		50		65		45		9		32		77		0.4155844156								128		36		63		191		0.3298429319				209		0		68		277		0.2454873646				50		36		23		123		159						50		36		287		50		373		0.9467005076				40		82				314		23		41		396		0.9875311721				50		0.1446540881		40		0.0580808081

												43.5		65		50		36		18		54		90		0.6								50		36		118		168		0.7023809524				63		13		246		309		0.7961165049				60		45		27		145		190		0.5149051491				60		36		298		40		374		0.9492385787				50		73				328		13		32		401		1				60		0.1421052632		50		0.0324189526

		#6		Amplitude		#7		Amplitude				44		70		45		45		27		77		122		0.631147541								50		36		195		245		0.7959183673				41		9		305		346		0.8815028902				80		59		41		205		264		0.7154471545				80		30		328		27		385		0.9771573604				60		68				333		13		32		401		1				80		0.1553030303		60		0.0324189526

		34.5		305		46.5		296				45		80		35		45		23		104		149		0.6979865772								45		41		241		286		0.8426573427				27		9		342		369		0.9268292683				100		45		36		259		304		0.8238482385				100		27		337		24		388		0.9847715736				80		59				342		9		32		401		1				100		0.1184210526		80		0.0224438903

		35.5		137		47.5		54				46		90		25		9		0		50		59		0.8474576271								45		36		255		300		0.85				27		4		337		364		0.9258241758				125		36		23		296		332		0.8997289973				150		24		355		21		400		1.0152284264				100		46				351				18		397		0.9900249377				125		0.0692771084		100		0

		36.5		27		48.5		0																																																		150		32		18		323		355		0.9620596206				200		23		360		20		403		1.0228426396				125		45				355				27		400		0.9975062344				150		0.0507042254		125		0

		37.5		0		49.5		36																																																		175		32		18		328		360		0.9756097561				300		20		374		0		394		1				150		45				355				27		400		0.9975062344				175		0.05		150		0

		38.5		100		50.5		232																																																		200		23		9		337		360		0.9756097561																		200		45				355				18		400		0.9975062344				200		0.025		200		0

		39.5		305		51.5		333																																																		300		23		9		346		369		1																		300		41				360				18		401		1				300		0.0243902439		300		0

		40.5		319





Final pic. eta

		0		0		0		0

		0		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0



50 Volt

100 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #774-775

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



Neff vs position

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0



0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



Eta comparison

		Bias 250 V		Strip #		Centre		Distance		25 V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h		ideal				50 V		Pulse Left		Pulse Right		Pulse sum		h		150 V		Pulse Left		Pulse Right		Pulse sum		h								Volt scan		#60		#61		Total		Normalised

				60		43.2		113				46		28		85		212		1		213		0.0046948357		0		0				311		1		312		0.0032051282				410		1		411		0.00243309						3.1622776602		10		95		0		95		0.2467532468

				61		54.5						47		38		75		143		20		163		0.1226993865		113		1				222		1		223		0.0044843049				294		1		295		0.0033898305						5		25		191		0		191		0.4961038961

												48		48		65		68		34		102		0.3333333333								123		58		181		0.320441989				171		68		239		0.2845188285						7.0710678119		50		283		0		283		0.7350649351

												49		58		55		37		109		146		0.7465753425								37		161		198		0.8131313131				37		212		249		0.8514056225						8.6602540378		75		321		0		321		0.8337662338

		#60		Amplitude		#61		Amplitude				50		68		45		31		174		205		0.8487804878								34		259		293		0.8839590444				50		334		384		0.8697916667						10		100		352		0		352		0.9142857143

		41		308		52		386				51		78		35		24		181		205		0.8829268293								24		263		287		0.9163763066				20		345		365		0.9452054795						12.2474487139		150		372		0		372		0.9662337662

		42		171		53		253																																														14.1421356237		200		372		0		372		0.9662337662

		43		20		54		116																																														17.3205080757		300		385		0		385		1

		44		49		55		24

		45		209		56		123

		46		345		57		280

						58		389

		Bias 250 V		Strip #		Centre		Distance		20 V		Local coord.						#115		Int 1		#116		Int 2		#117		Pulse sum		h		ideal				50 V		#115		Int 1		#116		Int 2		#117		Pulse sum		h		200 V		#115		Int 1		#116		Int 2		#117		Pulse sum		h				Volt scan		#115		#116		Int		#117		Total		Normalised

				115		21		114				24		30		84		198		-17		27						225		0.12		0		0				317		-17		31						348		0.0890804598				403		-30		24						427		0.056206089		3.1622776602		10				116						116		0.2829268293

				116		32.4						25		40		74		178		-13		27						205		0.1317073171		114		1				311		-20		41						352		0.1164772727				396		-27		27						423		0.0638297872		5		25		31		208		-5		20		228		0.556097561

												26		50		64		126		-13		37						163		0.226993865								242		-17		61						303		0.201320132				334		-24		68						402		0.1691542289		7.0710678119		50		31		308		-7		20		328		0.8

												28		70		44		34				137				17		171		0.8011695906								48				236				24		284		0.8309859155				54		-5		317		-13		24		371		0.8544474394		8.6602540378		75		24		345		-17		20		365		0.8902439024

		#115		Amplitude		#116		Amplitude				29		80		34		24				181				17		205		0.8829268293								31				311		-10		20		342		0.9093567251				27				400		-17		17		427		0.9367681499		10		100		27		366		-20		17		383		0.9341463415

		18		400		30		389				29.5		85		29		27				195						222		0.8783783784								34				314		-15		20		348		0.9022988506				24				389		-24		17		413		0.9418886199		11.1803398875		125		24		380		-17		13		393		0.9585365854

		19		270		31		89																																																												12.2474487139		150		24		385		-20		13		398		0.9707317073

		20		34		32		28																																																												14.1421356237		200		24		389		-20		13		402		0.9804878049

		21		30		33		30																																																												17.3205080757		300		24		393		-20		17		410		1

		22		38		34		126

		23		308		35		389

		24		400





Strip 120 

		47		400		-30		380

		48		280		-20		260

		49		41		-10		21

		50		20		0		0

		51		51		10		31

		52		273		20		253

		53		410		30		390

		Beam Profile

		Coordinate		Front		Back

		0						10

		10		1.00E+13		1.05E+13		20		1.00E+13		1.05E+13

		20		4.50E+13		4.55E+13		30		4.50E+13		4.55E+13

		25		3.00E+14		2.52E+14		35		3.00E+14		2.52E+14

		30		4.10E+14		4.40E+14		40		4.10E+14		4.40E+14

		35		4.30E+14		4.60E+14		45		4.30E+14		4.60E+14

		40		3.15E+14		3.80E+14		50		3.15E+14		3.80E+14

		45		1.09E+14		2.70E+14		55		1.09E+14		2.70E+14

		55		1.20E+13		2.70E+13		65		1.20E+13		2.70E+13

		65		7.00E+11		1.20E+12		75		7.00E+11		1.20E+12





Strip 120 

		0

		0

		0

		0

		0

		0

		0



Local coord. [µm]

Amplitude [arb. Units]

Strip scan #10

0

0

0

0

0

0

0



Inner stri #623 

		55		0		55		55

		50		1		50		50

		45		2		45		45

		40		3		40		40

		35		4		35		35

		30		5		30		30

		25		6		25		25

		20		7		20		20

		15		8		15		15

		10		9		10		10

		5		10		5		5

		0		11		0		0

				12

				13

				14

				15

				16

				17

				18

				19

				20

				21

				22

				23

				24

				25

				26

				27

				28

				29

				30

				31

				32

				33

				34

				35

				36

				37

				38

				39

				40

				41

				42

				43

				44

				45

				46

				47

				48

				49

				50

				51

				52

				53

				54

				55

				56

				57

				58

				59

				60

				61

				62

				63

				64

				65

				66

				67

				68



Measured (hit strip)

Calculated

Adjacent strip

Intermediate routing line

Time [ns]

Amplitude [arb. units]

68

10

0

0

150

34.5396

16

0

245

54.05968

34

0

369

80.39936

54

0

560

114.09384

123

32

688

155.13512

154

40

826

202.94192

188

51

792

256.42064

199

74

615

314.09432

188

108

421

374.26344

176

131

199

435.16424

85

68

0

495.10184

0

0

552.54736

606.19912

655.01224

698.20408

735.24416

765.8304

789.86272

807.41192

818.68832

824.01216

823.78664

818.47312

808.57016

794.59512

777.0692

756.50528

733.3992

708.22128

681.41152

653.37656

624.48752

595.07864

565.44744

535.85544

506.53048

477.66728

449.43032

421.95584

395.35408

369.71192

345.0956

321.5524

299.11304

277.79416

257.59968

238.52336

220.54992

203.6564

187.81424

172.98976

159.14552

146.24152

134.23568

123.08456

112.74432

103.1708

94.32024

86.14968

78.61696

71.6812

65.30304

59.44456

54.06952

49.14336

44.63336

40.50856

36.7396



Pulse shape

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0



Front Al foils

Back Al foils

Position [mm]

Measured fluence [p cm-2]

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		50		50		50		50

		100		100		100		100

		150		150		150		150

		200		200		200		200

		250		250		250		250

		300		300		300		300

		350		350		350		350

		400		400		400		400

		500		500		500		500



Strip #739

Strip #740

Strip #741

Strip #742

Bias [V]

Collected charge [Arb. unit]

13

30

101

13

20

67

182

33

23

74

290

45

17

57

425

15

0

51

472

5

0

40

500

0

0

34

513

0

0

34

520

0

0

34

540

0



		50

		100

		150

		200

		250

		300

		350

		400

		500



Strip #690

Bias [V]

Collected charge (arb. unit)

0.1529411765

0.3025210084

0.4352941176

0.6168907563

0.7513445378

0.8789915966

0.9276470588

0.9793277311

1.03



		20

		30

		40

		50

		75

		100

		120

		150

		200

		300



Strip #526

Bias [Volt]

Normalised CCE

0.4393305439

0.5815899582

0.7887029289

0.8577405858

0.9330543933

0.9623430962

0.9707112971

0.989539749

1

1.0125523013



		

						760





		30		30		0

		40		40		117.5

		50		50

		60		60

		70		70

		80		80

		90		90



200 Volt

400 Volt

Ideal resolution

Local position [µm]

Right charge/Total charge

Scan across strips #740-741

0.1035422343

0.0311111111

0

0.1971428571

0.0545851528

1

0.3688888889

0.2443729904

0.6231884058

0.7816091954

0.7445652174

0.9099437148

0.8891454965

1

0.9136363636

1



		30		30		0

		40		40		115

		50		50

		60		60

		70		70

		80		80

		90		90



200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #710-711

0.1009615385

0.0352733686

0

0.1943734015

0.0646258503

1

0.3125

0.2213740458

0.5102040816

0.5845070423

0.689373297

0.8831858407

0.8141809291

0.9365609349

0.8523489933

0.9378427788



		30		30		0

		40		40		115

		50		50

		60		60

		70		70

		80		80

		90		90



200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #760-761

0.0874074074

0.0657534247

0

0.0914454277

0.0725244073

1

0.1515151515

0.1463414634

0.5

0.5

0.8

0.8395522388

0.884086444

0.9252669039

0.9249011858

0.9491833031



		0		30		30		30

		115		40		40		40

				50		50		50

				60		60		60

				70		70		70

				80		80		80

				90		90		90



150 Volt

200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #740-741

0

0.204610951

0.0581395349

0.0450281426

1

0.3086053412

0.1601731602

0.0685920578

0.3851351351

0.2755102041

0.2206405694

0.5677966102

0.6121212121

0.688372093

0.6253869969

0.7406542056

0.886405959

0.7331378299

0.8442982456

0.9305816135

0.7967032967

0.8817427386

0.938517179



		0		30		30

		110		40		40

				50		50

				60		60

				70		70

				80		80

				90		90



200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #670-671

0

0.2186046512

0.0462962963

1

0.3191489362

0.076056338

0.4345238095

0.2648401826

0.625

0.619047619

0.7170731707

0.8559322034

0.7960784314

0.9612403101

0.825

0.9734748011



		0		20		20

		110		30		30

				40		40

				50		50

				60		60

				70		70

				80		80

				90		90



200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #690-691

0

0.1510067114

0.0529801325

1

0.1964285714

0.0703296703

0.3269961977

0.1575492341

0.6736842105

0.7946428571

0.7365079365

0.916500994

0.8419452888

0.9427402863

0.8307692308

0.9512195122



		25		25		25		0

		35		35		35		110

		45		45		45

		55		55		55

		65		65		65

		75		75		75

		85		85		85



100 Volt

200 Volt

300 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #525-526

0.0461956522

0.0440414508

0.0446194226

0

0.0583941606

0.0547945205

0.0547945205

1

0.1413612565

0.1282051282

0.1113689095

0.3215859031

0.264573991

0.2821576763

0.8050541516

0.8073394495

0.7722222222

0.9130434783

0.9217391304

0.9298245614

0.9473684211

0.9523809524

0.958677686



		0		30		30		30

		117		40		40		40

				50		50		50

				70		70		70

				80		80		80

				90		90		90



150 Volt

200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #634-635

0

0.223255814

0.1133333333

0.0510204082

1

0.2783505155

0.1933333333

0.0761670762

0.3963414634

0.3048780488

0.1943005181

0.6209150327

0.6822429907

0.8157099698

0.6875

0.7979094077

0.915

0.7548076923

0.8580645161

0.9330024814



		0		24		24

		114		34		34

				44		44

				64		64

				74		74

				84		84

				89		89



100 Volt

300 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #584-585

0

0.118466899

0.0379403794

1

0.1655172414

0.0608272506

0.3421052632

0.1666666667

0.6896551724

0.8131868132

0.7597173145

0.9567430025

0.8605442177

0.9974160207

0.8586206897

0.9466666667



		0		22		22		22		22

		116		32		32		32		32

				42		42		42		42

				67		67		67		67

				72		72		72		72

				82		82		82		82

				92		92		92		92



100 Volt

150 Volt

200 Volt

300 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #604-605

0

0.2192513369

0.0848056537

0.0408719346

0.056980057

1

0.2391304348

0.1214285714

0.0681818182

0.0798898072

0.3128834356

0.2380952381

0.0920716113

0.1549295775

0.5668789809

0.6355555556

0.7975077882

0.7517482517

0.591954023

0.7173913043

0.9002695418

0.8434782609

0.6949152542

0.8137931034

0.9973045822

0.8888888889

0.7348066298

0.8436482085

0.972899729

0.9043715847



		0		23		23		23

		108		33		33		33

				43		43		43

				58		58		58

				63		63		63

				73		73		73

				78		78		78



20 Volt

50 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #544-545

0

0.1376146789

0.0422960725

0.0361445783

1

0.2018348624

0.0845070423

0.0574712644

0.3457446809

0.2341772152

0.0976253298

0.5858585859

0.7124183007

0.7627906977

0.6304347826

0.7571428571

0.820441989

0.7302325581

0.8709677419

0.9418886199

0.7735849057

0.8811594203

0.9632352941



		0		35		35		35

		110		40		40		40

				50		50		50

				65		65		65

				70		70		70

				80		80		80



50 Volt

100 Volt

300 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #566-567

0

0.125

0.0408719346

0.0407673861

1

0.1777777778

0.0702247191

0.0687203791

0.320441989

0.22

0.2033333333

0.6946107784

0.8090909091

0.7789855072

0.741697417

0.8579387187

0.8743842365

0.8580858086

0.9543010753

0.9975062344



		0		35		35		35

		120		45		45		45

				50		50		50

				65		65		65

				70		70		70

				80		80		80

				90		90		90



50 Volt

100 Volt

250 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #575-576

0

0.2876106195

0.0451807229

0.0383631714

1

0.3744292237

0.144092219

0.0939759036

0.3880597015

0.1782178218

0.1580310881

0.5730337079

0.7260273973

0.7166666667

0.591954023

0.798679868

0.8379888268

0.6559633028

0.8879781421

0.9230769231

0.7627906977

0.9076086957

0.9511002445



		0		28		28		28

		113		38		38		38

				48		48		48

				58		58		58

				68		68		68

				78		78		78



25 Volt

50 Volt

150 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #188-189

0

0.0046948357

0.0032051282

0.00243309

1

0.1226993865

0.0044843049

0.0033898305

0.3333333333

0.320441989

0.2845188285

0.7465753425

0.8131313131

0.8514056225

0.8487804878

0.8839590444

0.8697916667

0.8829268293

0.9163763066

0.9452054795



		26		26		0		26

		36		36		114		36

		46		46				46

		66		66				66

		76		76				76

		86		86				86



100 Volt

300 Volt

=

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #621-622

0.2227074236

0.0789473684

0

0.0390625

0.2735849057

0.1348684211

1

0.0606060606

0.3659793814

0.2482517483

0.1102150538

0.5828220859

0.6728110599

0.8066666667

0.6822429907

0.8066666667

0.9086021505

0.7422222222

0.8547854785

0.9583333333



		25		25		25		0

		35		35		35		110

		45		45		45

		60		60		60

		65		65		65

		75		75		75

		85		85		85



20 Volt

50 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #469-470

0.0857142857

0.1060070671

0.0411311054

0

0.0833333333

0.093385214

0.0683060109

1

0.275862069

0.1904761905

0.1333333333

0.6451612903

0.6785714286

0.7311827957

0.6774193548

0.766536965

0.8356164384

0.8444444444

0.8717948718

0.9260969977

0.8695652174

0.8646153846

0.9267734554



		30		30		0

		40		40		110

		50		50

		60		60

		70		70

		80		80



200 Volts

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #650-651

0.1784037559

0.0521172638

0

0.2587064677

0.1034482759

1

0.3577586207

0.2196531792

0.6280991736

0.7375328084

0.7114914425

0.8717948718

0.7915742794

0.9111470113



		0		30		30		30

		114		40		40		40

				50		50		50

				70		70		70

				80		80		80

				85		85		85



20 Volt

50 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #244-245

0

0.12

0.0890804598

0.056206089

1

0.1317073171

0.1164772727

0.0638297872

0.226993865

0.201320132

0.1691542289

0.8011695906

0.8309859155

0.8544474394

0.8829268293

0.9093567251

0.9367681499

0.8783783784

0.9022988506

0.9418886199



		30		30		0		30

		40		40		114		40

		50		50				50

		70		60				60

		80		70				70

		85		80				80

								90



#245 - 200 Volt

#650 - 400 Volt

#760 - 400 Volt

Local position [µm]

Right charge/Total charge

0.056206089

0.0521172638

0

0.0657534247

0.0638297872

0.1034482759

1

0.0725244073

0.1691542289

0.2196531792

0.1463414634

0.8544474394

0.7375328084

0.5

0.9367681499

0.8717948718

0.8395522388

0.9418886199

0.9111470113

0.9252669039

0.9491833031



		20		20		20		0

		30		30		30		115

		40		40		40

		50		50		50

		60		60		60

		70		70		70

		80		80		80

		90		90		90



20 Volt

50 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #388-389

0.15

0.0975609756

0.0965794769

0

0.1549295775

0.1448692153

0.1004709576

1

0.171875

0.1223529412

0.0901213172

0.2926829268

0.2888888889

0.2434077079

0.6666666667

0.6923076923

0.6511627907

0.7833333333

0.8498896247

0.9073083779

0.8295081967

0.8495049505

0.9384615385

0.8793103448

0.9160839161

0.9470699433



		35		0		35		35

		45		120		45		45

		55				55		55

		70				70		70

		75				75		75

		85				85		85

		95				95		95



20 Volt

50 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #490-491

0.1595744681

0

0.12

0.0796116505

0.2053231939

1

0.1322869955

0.0891089109

0.2967032967

0.2258064516

0.2

0.72

0.692

0.7982261641

0.8351449275

0.7985074627

0.8764302059

0.9349593496

0.8546099291

0.9174311927

0.9445585216



		0		28		28		28

		118		38		38		38

				48		48		48

				58		58		58

				68		68		68

				78		78		78

				88		88		88



150 Volt

200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #760-761

0

0.1305483029

0.0812064965

0.0638722555

1

0.1467391304

0.0782608696

0.0601202405

0.2492753623

0.1494505495

0.1135135135

0.3970588235

0.41

0.368852459

0.66

0.7510548523

0.789017341

0.7542857143

0.9100719424

0.9100719424

0.8444444444

0.9125799574

0.9323308271



		30		30		28		0

		40		40		38		118

		50		50		48

		70		70		58

		80		80		68

		85		90		78

						88



#244 -245 (@ 200 Volt)

#634 - 635 (@ 400 Volt)

#760 - 761 (@ 400 Volt)

Local position [µm]

Right charge/Total charge

0.056206089

0.0510204082

0.0638722555

0

0.0638297872

0.0761670762

0.0601202405

1

0.1691542289

0.1943005181

0.1135135135

0.8544474394

0.8157099698

0.368852459

0.9367681499

0.915

0.789017341

0.9418886199

0.9330024814

0.9100719424

0.9323308271



		30		30		30		0

		40		40		40		115

		50		50		50

		65		65		65

		70		70		70

		80		80		80

		90		90		90



50 Volt

100 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #774-775

0.2777777778

0.1546391753

0.075

0

0.3857142857

0.2274368231

0.1002785515

1

0.4155844156

0.3298429319

0.2454873646

0.6

0.7023809524

0.7961165049

0.631147541

0.7959183673

0.8815028902

0.6979865772

0.8426573427

0.9268292683

0.8474576271

0.85

0.9258241758



		Bias		#650		#651		Pulse sum		Normalised		#670		#671		Pulse sum		Normalised		#690		#691		Pulse sum		Normalised		#710		#711		Pulse sum		Normalised		#730		#731		Pulse sum		Normalised		#740		#741		Pulse sum		Normalised		#760		#761		Pulse sum		Normalised

		[Volt]		[mV]		[mV]		[mv]				[mV]		[mV]		[mv]				[mV]		[mV]		[mv]				[mV]		[mV]		[mv]				[mV]		[mV]		[mv]				[mV]		[mV]		[mv]				[mV]		[mV]		[mv]

		50		41		85		126		0.2016		24		58		82		0.2		0		80		80		0.1500938086		31		78		109		0.1912280702		31		83		114		0.1972318339		30		101		131		0.2205387205		45		100		145		0.2566371681				104		104

		100		63		140		203		0.3248		22		84		106		0.2585365854		31		135		166		0.3114446529		53		125		178		0.3122807018		45		142		187		0.3235294118		67		182		249		0.4191919192		68		178		246		0.4353982301				177		177

		150		92		210		302		0.4832		38		133		171		0.4170731707		52		197		249		0.4671669794		58		180		238		0.4175438596		66		232		298		0.5155709343		74		290		364		0.6127946128		63		342		405		0.7168141593				385		385

		200		81		329		410		0.656		39		207		246		0.6		45		291		336		0.6303939962		73		290		363		0.6368421053		48		374		422		0.7301038062		57		425		482		0.8114478114		50		446		496		0.8778761062				454		454

		250		59		443		502		0.8032		32		300		332		0.8097560976		34		398		432		0.8105065666		51		388		439		0.7701754386		31		478		509		0.8806228374		51		472		523		0.8804713805		41		490		531		0.9398230088				468		468

		300		59		510		569		0.9104		30		321		351		0.856097561		35		433		468		0.8780487805		38		462		500		0.8771929825		17		501		518		0.8961937716		40		500		540		0.9090909091		36		501		537		0.9504424779				478		478

		350		50		530		580		0.928		23		342		365		0.8902439024		31		454		485		0.9099437148		33		485		518		0.9087719298		20		535		555		0.9602076125		34		513		547		0.9208754209		32		510		542		0.9592920354				495		495

		400		45		561		606		0.9696		10		370		380		0.9268292683		24		468		492		0.9230769231		31		498		529		0.9280701754		20		535		555		0.9602076125		34		520		554		0.9326599327		36		519		555		0.982300885				502		502

		500		45		580		625		1		10		400		410		1		10		523		533		1		30		540		570		1		0		578		578		1		34		560		594		1		32		533		565		1				510		510

																						Neff map		Vfd

																						10

																						30

																						50

																						70

																						90

																						100

																						120

																																												634

																																		72

		Bias		#526		#527		Pulse sum		Normalised		Bias		#545		#546		Pulse sum		Normalised		Bias		#567		#568		Pulse sum		Normalised		Bias		#577		#578		Pulse sum		Normalised		Bias		#585		#586		Pulse sum		Normalised		Bias		#605		#606		Pulse sum		Normalised		Bias		#622		#623		Pulse sum		Normalised		Bias		#634		#635		Pulse sum		Normalised

		[Volt]		[mV]		[mV]		[mv]				[Volt]		[mV]		[mV]		[mv]				[Volt]		[mV]		[mV]		[mv]				[Volt]		[mV]		[mV]		[mv]				[Volt]		[mV]		[mV]		[mv]				[Volt]		[mV]		[mV]		[mv]				[Volt]		[mV]		[mV]		[mv]				[Volt]		[mV]		[mV]		[mv]

		20		5		205		210		0.4393305439		10		89		41		130		0.313253012		10		27		41		68		0.17		25		34		75		109		0.2632850242		25		44		20		64		0.1671018277		50		65		10		75		0.1978891821		50		65		0		65		0.1697127937		50		61		24		85		0.2073170732

		30		5		273		278		0.5815899582		20		171		41		212		0.5108433735		25		61		109		170		0.425		50		55		164		219		0.5289855072		50		95		41		136		0.3550913838		75		95		10		105		0.2770448549		100		123		37		160		0.4177545692		100		106		34		140		0.3414634146

		40		54		323		377		0.7887029289		30		232		34		266		0.6409638554		50		266		41		307		0.7675		75		37		290		327		0.7898550725		75		150		58		208		0.5430809399		100		129		27		156		0.4116094987		150		171		51		222		0.5796344648		150		157		48		205		0.5

		50		45		365		410		0.8577405858		50		321		0		321		0.7734939759		75		334		14		348		0.87		100		27		330		357		0.8623188406		100		240		51		291		0.7597911227		125		167		27		194		0.5118733509		200		287		24		311		0.8120104439		200		253		34		287		0.7

		75		41		405		446		0.9330543933		75		362		0		362		0.8722891566		100		359		0		359		0.8975		150		27		359		386		0.9323671498		125		311		27		338		0.8825065274		150		236		30		266		0.7018469657		250		334		0		334		0.8720626632		250		317		27		344		0.8390243902

		100		32		428		460		0.9623430962		100		383		0		383		0.9228915663		150		372		0		372		0.93		200		24		372		396		0.9565217391		150		342		10		352		0.9190600522		200		328		0		328		0.8654353562		300		351		0		351		0.9164490862		300		349		31		380		0.9268292683

		120		23		441		464		0.9707112971		150		396		0		396		0.9542168675		200		383		0		383		0.9575		250		20		379		399		0.9637681159		200		355		10		365		0.953002611		250		355		0		355		0.9366754617		350		366		0		366		0.955613577		350		362		27		389		0.9487804878

		150		27		446		473		0.989539749		200		410		0		410		0.9879518072		250		396		0		396		0.99		300		24		382		406		0.9806763285		300		376		0		376		0.9817232376		300		366		0		366		0.9656992084		400		372		0		372		0.9712793734		400		372		34		406		0.9902439024

		200		23		455		478		1		300		415		0		415		1		300		400		0		400		1		350		24		390		414		1		400		383		0		383		1		400		379		0		379		1		500		383		0		383		1		500		383		27		410		1

		300		20		464		484		1.0125523013

		Strip #		VFD		Error

		188		80		0

		244		75		0

		390		60		0

		470		55		0

		498		55		0

		526		53		8

		545		55		0

		568		62		0

		578		92		0						0.0004882813		0.1806640625		0.0451660156

		585		128		0

		605		200		0

		622		225		0

		634		270		0

		650		285		0

		670		297		0

		690		300		20

		710		285		0						512		640

		730		250		0

		740		220		0

		760		170		0

		774		125		0

		829		60		0

		888		47		0





		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0



Strip #10

Strip #30

Strip #50

Strip #70

Strip #90

Strip #100

Strip #120

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		



Strip #526

Strip #545

Strip #578

Strip #585

Strip #605

Strip #622

Strip #634

Bias [Volt]

Normalised CCE



				NaN		NaN

				0		0

				0		0

				0		0

				0		0

				0		0

				8		8

				0		0

				0		0

				0		0

				0		0

				0		0

				0		0

				0		0

				0		0

				0		0

				20		20

				0		0

				0		0

				0		0

				0		0

				0		0

				0		0

				0		0



Strip Number

Vfd [Volt]



		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0



Strip #545

Strip #585

Strip #634

Bias [Volt]

Normalised CCE

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0



Strip #526

Strip #578

Strip #605

Bias [Volt]

Normalised CCE

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		



Strip #634

Bias [Volt]

Normalised CCE



		0

		0

		0

		0

		0

		0

		0

		0

		0

		0



Strip #526

Bias [Volt]

Normalised CCE

0

0

0

0

0

0

0

0

0

0



		Strip:		#10								Strip:		#30								Strip:		#50								Strip:		#70								Strip:		#90								Strip:		#100		#101						Strip:		#120

				#11										#31										#51										#71										#91										#121										#121

						ideal										ideal										ideal										ideal										ideal										ideal										ideal

		20		0.2059800664		0		0		0.1260683761		20		0.3485714286		0		0		0.2292490119		20		0.1510067114		0		0		0		20		0.1729559748		0		0		0.1299559471		30		0.1035422343		0		0		0		30		0.204610951		0		0		0		20		0.2591006424		0		0		0.263671875

		30		0.1784037559		110		1		0		30		0.2186046512		110		1		0		30		0.1964285714		110		1		0		30		0.1009615385		115		1		0		40		0.1971428571		117.5		1		0		40		0.3086053412		115		1		0		30		0.0874074074		115		1		0.0657534247

		40		0.2587064677						0.0909090909		40		0.3191489362						0		40		0.3269961977						0.118993135		40		0.1943734015						0		50		0.3688888889						0.2443729904		50		0.3851351351						0.1978021978		40		0.0914454277						0.0725244073

		50		0.3577586207						0.2196531792		50		0.4345238095						0.2648401826		60		0.6736842105						0.7946428571		50		0.3125						0.1707317073		60		0.6231884058						0.7816091954		60		0.5677966102						0.688372093		50		0.1515151515						0.1463414634

		60		0.6280991736						0.7375328084		60		0.625						0.619047619		70		0.7365079365						0.916500994		60		0.5102040816						0.5845070423		70		0.7445652174						0.9099437148		70		0.6253869969						0.886405959		60		0.5						0.5

		70		0.7114914425						0.8717948718		70		0.7170731707						0.8559322034		80		0.8419452888						0.9427402863		70		0.689373297						0.8831858407		80		0.8891454965						1		80		0.7331378299						0.9305816135		70		0.8						0.8395522388

		80		0.7915742794						0.9111470113		80		0.7960784314						0.9867374005		90		0.8307692308						0.9512195122		80		0.8141809291						0.9365609349		90		0.9136363636						1		90		0.7967032967						0.938517179		80		0.884086444						0.9252669039

		90		0.7759103641						0.8546845124		90		0.825						0.9734748011												90		0.8523489933						0.9378427788																						90		0.9249011858						0.9491833031

		Residuals		#10-#11								Residuals		#30-#31								Residuals		#50-#51								Residuals		#50-#51								Residuals		#70-#71								Residuals		#90-#91								Residuals		#100-#101

		True position		Est. position		Est. position		Residuals		Residuals		True position		Est. position		Est. position		Residuals		Residuals		True position		Est. position		Est. position		Residuals		Residuals		True position		Est. position		Est. position		Residuals		Residuals		True position		Est. position		Est. position		Residuals		Residuals		True position		Est. position		Est. position		Residuals		Residuals		True position		Est. position		Est. position		Residuals

				200 V		400 V		200 V		400 V				200 V		400 V		200 V		400 V				200 V		400 V		200 V		400 V				200 V		400 V		200 V		400 V				200 V		400 V		200 V		400 V				200 V		400 V		200 V		400 V				200 V		400 V		200 V		400 V

		20		22.657807309		38.3428571429		2.657807309		18.3428571429		20		38.3428571429		25.2173913043		18.3428571429		5.2173913043		20		16.610738255		0		-3.389261745		-20		20		19.8899371069		14.9449339207		-0.1100628931		-5.0550660793		30		12.1662125341		0		-17.8337874659		-30		30		23.530259366		0		-6.469740634		-30		20		29.7965738758		30.322265625		9.7965738758		10.322265625

		30		19.6244131455		24.0465116279		-10.3755868545		-5.9534883721		30		24.0465116279		0		-5.9534883721		-30		30		21.6071428571		0		-8.3928571429		-30		30		11.6105769231		0		-18.3894230769		-30		40		23.1642857143		0		-16.8357142857		-40		40		35.4896142433		0		-4.5103857567		-40		30		10.0518518519		7.5616438356		-19.9481481481		-22.4383561644

		40		28.4577114428		35.1063829787		-11.5422885572		-4.8936170213		40		35.1063829787		0		-4.8936170213		-40		40		35.969581749		13.0892448513		-4.030418251		-26.9107551487		40		22.3529411765		0		-17.6470588235		-40		50		43.3444444444		28.7138263666		-6.6555555556		-21.2861736334		50		44.2905405405		22.7472527473		-5.7094594595		-27.2527472527		40		10.5162241888		8.340306834		-29.4837758112		-31.659693166

		50		39.3534482759		47.7976190476		-10.6465517241		-2.2023809524		50		47.7976190476		29.1324200913		-2.2023809524		-20.8675799087		60		74.1052631579		87.4107142857		14.1052631579		27.4107142857		50		35.9375		19.6341463415		-14.0625		-30.3658536585		60		73.2246376812		91.8390804598		13.2246376812		31.8390804598		60		65.2966101695		79.1627906977		5.2966101695		19.1627906977		50		17.4242424242		16.8292682927		-32.5757575758		-33.1707317073

		60		69.0909090909		68.75		9.0909090909		8.75		60		68.75		68.0952380952		8.75		8.0952380952		70		81.0158730159		100.8151093439		11.0158730159		30.8151093439		60		58.6734693878		67.2183098592		-1.3265306122		7.2183098592		70		87.4864130435		106.9183864916		17.4864130435		36.9183864916		70		71.919504644		101.9366852886		1.919504644		31.9366852886		60		57.5		57.5		-2.5		-2.5

		70		78.2640586797		78.8780487805		8.2640586797		8.8780487805		70		78.8780487805		94.1525423729		8.8780487805		24.1525423729		80		92.6139817629		103.7014314928		12.6139817629		23.7014314928		70		79.2779291553		101.5663716814		9.2779291553		31.5663716814		80		104.474595843		117.5		24.474595843		37.5		80		84.3108504399		107.0168855535		4.3108504399		27.0168855535		70		92		96.5485074627		22		26.5485074627

		80		87.0731707317		87.568627451		7.0731707317		7.568627451		80		87.568627451		108.5411140584		7.568627451		28.5411140584		90		91.3846153846		104.6341463415		1.3846153846		14.6341463415		80		93.630806846		107.7045075125		13.630806846		27.7045075125		90		107.3522727273		117.5		17.3522727273		27.5		90		91.6208791209		107.9294755877		1.6208791209		17.9294755877		80		101.6699410609		106.4056939502		21.6699410609		26.4056939502

		90		85.350140056		90.75		-4.649859944		0.75		90		90.75		107.0822281167		0.75		17.0822281167												90		98.0201342282		107.8519195612		8.0201342282		17.8519195612																						90		106.3636363636		109.1560798548		16.3636363636		19.1560798548





		Far end														End + 1 cm														End + 2 cm														End + 3 cm														End + 3.5 cm

		Strip width		Local coord.												Strip width		Local coord.												Strip width		Local coord.												Strip width		Local coord.												Strip width		Local coord.												Local coord.

		16 µm		12		0.3192771084		0		0		0.3086172345		0.2177531207		25 µm		20		0.2489795918		0		0		0.2296072508		0.0935875217		25 µm		23		0.2344827586		0		0		0.1566820276		0.079338843		30 µm		23		0.1505016722		0		0		0.0805687204		0.052		35 µm		20		0.2591006424		0		0		0.263671875				28		0.1305483029		0.0812064965		0.0638722555		0		0

				22		0.3269230769		61		1		0.3302180685		0.2262118492				30		0.3642857143		78		1		0.3591160221		0.2287390029				33		0.3311897106		95		1		0.2647754137		0.1256038647				33		0.2164948454		108		1		0.0966183575		0.0595238095				30		0.0874074074		115		1		0.0657534247				38		0.1467391304		0.0782608696		0.0601202405		118		1

				32		0.5						0.5		0.5284552846				40		0.6977777778						0.691588785		0.8631578947				43								0.3176470588		0.2993197279				43		0.3470790378						0.2055137845		0.1347248577				40		0.0914454277						0.0725244073				48		0.2492753623		0.1494505495		0.1135135135

				42		0.6687697161						0.6808943089		0.826435247				50		0.7510204082						0.7796610169		0.9246575342				53		0.6393442623						0.6741573034		0.7946127946				63		0.6487603306						0.7430939227		0.8559837728				50		0.1515151515						0.1463414634				58		0.3970588235		0.41		0.368852459

				52		0.6972789116						0.7270788913		0.8104196816				60														63		0.7039711191						0.7454545455		0.8982785603				73		0.7683823529						0.884057971		0.9513108614				60		0.5						0.5				68		0.66		0.7510548523		0.789017341

																																73		0.7731629393						0.830802603		0.9453376206				83		0.8316498316						0.9351145038		0.98				70		0.8						0.8395522388				78		0.7542857143		0.9100719424		0.9100719424

																																																												80		0.884086444						0.9252669039				88		0.8444444444		0.9125799574		0.9323308271

																																																												90		0.9249011858						0.9491833031

				Pos. inner end (1)														Pos.(2)=(1)+1 cm														Pos.(3)=(2)+1 cm														Pos.(4)=(3)+1 cm														Pos.(5)=(4)+0.5 cm

		Bias		#119		Int 1		#120				#121		Int 3		#122		#119		Int 1		#120				#121		Int 3		#122		#119		Int 1		#120				#121		Int 3		#122		#119		Int 1		#120				#121		Int 3		#122		#119		Int 1		#120				#121		Int 3		#122

		[Volt]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]

		50		0		0		30		10		115		10		20						20		0		68						0		0		31		0		99		0		0		0		0		0		0		70		0		0						38		21		104		-10

		100		28		0		61		17		179		15		33						44		15		129						20		0		48		24		171		0		31						52		34		145		0		29						62		34		177		-21

		150		30		0		88		40		239		27		44						78		37		184						0		0		71		44		242		0		31						63		58		250		0		29						55		24		385		-31

		200		37		0		115		74		357		37		54						68		41		280						0		0		78		58		383		0		37						37		20		388		-5		20						48		15		454		-24

		250		34		0		101		61		530		51		20						71		44		410						0		0		44		24		509		-24		10						26		10		448		-20		10						45		0		468		-34

		300		23		0		81		37		600		-23		30						58		45		475						0		0		37		13		533		-30		20						22		22		490		-24		10						34		0		478		-34

		350		34		0		84		27		641		-27		24						51		10		519						0		0		30		0		567		-30		15						20		0		512		-24		0						34		0		495		-34

		400		23		0		64		0		644		-34		23						51		0		530						0		0		41		0		577		-37		15						20		0		527		-24		0						34		0		502		-34

		500		10		0		77		0		680		-30		10						48		0		547						0		0		34		0		588		-40		13						10		0		530		-24		0						34		0		510		-34

																																																																		-10

																																																																		-17

																																																																		-17

				Total										Total										Intermediate strip/total charge																																										-17

		Bias		Pos.(1)		Pos.(2)		Pos.(3)		Pos.(4)		Pos.(5)		normalised

		[Volt]												Pos.(1)		Pos.(2)		Pos.(3)		Pos.(4)		Pos.(5)		Pos.(1)		Pos.(2)		Pos.(3)		Pos.(4)		Pos.(5)

		50		135		88		99		70		142		0.2023988006		0.1514629948		0.1672297297		0.1328273245		0.2649253731		0.0740740741		0		0		0		0.1478873239

		100		212		173		202		174		239		0.3178410795		0.2977624785		0.3412162162		0.330170778		0.4458955224		0.0801886792		0.0867052023		0.1188118812		0.1954022989		0.1422594142

		150		283		262		273		279		440		0.4242878561		0.4509466437		0.4611486486		0.5294117647		0.8208955224		0.1413427562		0.141221374		0.1611721612		0.2078853047		0.0545454545

		200		411		348		420		408		502		0.616191904		0.5989672978		0.7094594595		0.7741935484		0.9365671642		0.1800486618		0.117816092		0.1380952381		0.0490196078		0.0298804781

		250		550		481		519		458		513		0.8245877061		0.8278829604		0.8766891892		0.8690702087		0.9570895522		0.1109090909		0.0914760915		0.0462427746		0.0218340611		0

		300		630		533		553		500		512		0.9445277361		0.917383821		0.9341216216		0.9487666034		0.9552238806		0.0587301587		0.0844277674		0.0235081374		0.044		0

		350		665		570		582		512		529		0.9970014993		0.9810671256		0.9831081081		0.9715370019		0.9869402985		0.0406015038		0.0175438596		0		0		0

		400		667		581		592		527		536		1		1		1		1		1		0		0		0		0		0

		500		690		595		601		530		544		1.0344827586		1.0240963855		1.0152027027		1.0056925996		1.0149253731		0		0		0		0		0





		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0



Pos. 1

Pos. 2

Pos. 3

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0



Bias [V]

Charge routing line/Total charge

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0		0		0

		0		0		0		0

				0		0		0

				0		0		0



150 Volt

200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #760-761

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0		0		0

		0		0		0		0

				0		0		0

				0		0		0

				0		0		0

				0		0		0



Strip #120 of sector n. 6

Local position [µm]

Right charge/Total charge

Scan across strips #760-761

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

150 Volt

200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #760-761

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0		0		0

		0		0		0		0

				0		0		0

				0		0		0

				0		0		0

				0		0		0



150 Volt

200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #760-761

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0		0		0

		0		0		0		0

				0		0		0

				0		0		0

				0		0		0

				0		0		0

				0		0		0



150 Volt

200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #760-761

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



				Strip #		Centre		Distance																				Strip #		Centre		Distance		50 V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h		ideal				100 V		Pulse Left		Pulse Right		Pulse sum		h		150 V		Pulse Left		Pulse Right		Pulse sum		h

				6		37		115																				112		40.9		54				42.5		16		38		89		59		148		0.3986486486		0		0				178		109		287		0.3797909408				191		73		264		0.2765151515

				7		48.5																						113		46.3						42.75		18.5		35.5		125		89		214		0.4158878505		54		1				200		150		350		0.4285714286				225		91		316		0.2879746835

																																				43		21		33		129		104		233		0.4463519313								212		175		387		0.4521963824				221		118		339		0.3480825959

																																				43.25		23.5		30.5		95		95		190		0.5								168		168		336		0.5				168		168		336		0.5

		# 112		Amplitude																						# 113		Amplitude								43.5		26		28		104		114		218		0.5229357798								171		193		364		0.5302197802				148		182		330		0.5515151515

		38.6		294		0.2		0																		44.5		193								43.75		28.5		25.5		86		114		200		0.57								139		200		339		0.5899705015				118		212		330		0.6424242424

		38.8		294		0.2		-11																		44.75		180								44		31		23		77		116		193		0.6010362694								139		223		362		0.6160220994				104		228		332		0.686746988

		39		283		0.2		-17																		45		145								44.25		33.5		20.5		70		116		186		0.623655914								104		205		309		0.6634304207				66		214		280		0.7642857143

		39.2		266		0.2		-32																		45.25		116								44.5		36		18		66		114		180		0.6333333333								103		203		306		0.6633986928				52		193		245		0.787755102

		39.4		234		0.2		-36																		45.5		70

		39.6		198		0.2		-50																		45.75		59

		39.8		148		0.2		-50																		46		32

		40		98		0.2		-25																		46.25		20

		40.2		73		0.2		-30																		46.5		23																										0.9074074074		121.2244897959

		40.4		43		0.2		-16																		46.75		42

		40.6		27		0.2		-2																		47		82

		40.8		25		0.2		-2		Gaussian fit par				Fit				Normalised								47.25		100

		41		23		0.2		2		A		51		39		0.0000000044		41		2		0.04		0.0000000001		47.5		150

		41.2		25		0.2		7		B		41.92		39.2		0.0000000951		41.2		7		0.14		0.0000000019		47.75		172

		41.4		32		0.2		27		C		0.429		39.4		0.0000016399		41.4		27		0.54		0.0000000328		48		193

		41.6		59		0.2		37						39.6		0.0000227487		41.6		37		0.74		0.000000455

		41.8		96		0.2		50				51		39.8		0.0002539185		41.8		50		1		0.0000050784

		42		146		0.2		50				41.938		40		0.0022805605		42		50		1		0.0000456112

		42.2		196		0.2		38				0.43643		40.2		0.0164815472		42.2		38		0.76		0.0003296309

		42.4		234		0.2		28						40.4		0.0958436953		42.4		28		0.56		0.0019168739

		42.6		262		0.2		18						40.6		0.4484750729		42.6		18		0.36		0.0089695015

		42.8		280		0.2		11						40.8		1.6885823954		42.8		11		0.22		0.0337716479

		43		291		0.2		3						41		5.1158216329		43		3		0.06		0.1023164327

		43.2		294										41.2		12.4714721089								0.2494294422

														41.4		24.4640994978								0.48928199

														41.6		38.6144575058								0.7722891501

														41.8		49.0433163761								0.9808663275

		42.2		216		196								42		50.120905813								1.0024181163

		42.4		234		234								42.2		41.2161271536								0.8243225431

		42.6		266		262								42.4		27.272480504								0.5454496101

		42.8		278		280								42.6		14.5208248704								0.2904164974

		43		291		291								42.8		6.221099165								0.1244219833

		43.2		294		294								43		2.1446288772								0.0428925775

														43.2		0.5949032803								0.0118980656

														43.4		0.1327852289								0.0026557046

														43.6		0.0238485708								0.0004769714

														43.8		0.0034465465								0.0000689309

														44		0.0004007884								0.0000080158

														44.2		0.0000375021								0.00000075

														44.4		0.0000028236								0.0000000565

														44.6		0.0000001711								0.0000000034

																												Strip #		Centre		Distance		50 V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h		ideal				100 V		Pulse Left		Pulse Right		Pulse sum		h		150 V		Pulse Left		Pulse Right		Pulse sum		h

																												113		46.3		54				48		17		37		129		104		233		0.4463519313		0		0				198		157		355		0.4422535211				200		114		314		0.3630573248

																												114		51.7						48.3		20		34		128		107		235		0.4553191489		54		1				200		168		368		0.4565217391				203		137		340		0.4029411765

		#114		Amplitude																																48.5		22		32		128		114		242		0.4710743802								207		193		400		0.4825				198		148		346		0.4277456647

		50.3		203																																48.8		25		29		128		139		267		0.5205992509								225		205		430		0.476744186				180		198		378		0.5238095238

		50.5		150																								Amplitude								49		27		27		116		139		255		0.5450980392								187		234		421		0.5558194774				145		205		350		0.5857142857

		50.8		109																								193								49.3		30		24		109		157		266		0.5902255639								175		250		425		0.5882352941				120		237		357		0.6638655462

		51		70																								180								49.5		32		22		98		148		246		0.6016260163								148		248		396		0.6262626263				98		253		351		0.7207977208

		51.3		29																								145								49.8		35		19		91		150		241		0.622406639								125		235		360		0.6527777778				84		253		337		0.7507418398

		51.5		29																								116								50		37		17		77		134		211		0.63507109								111		234		345		0.6782608696				63		234		297		0.7878787879

		51.8		36																								70

		52		38

		52.5		89

		53		193

		53.5		216





		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0



0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0



0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0		0		0

		0		0		0		0

		0				0		0

		0				0		0

		0				0		0

		0				0		0

		0				0		0

		0				0		0

		0				0		0



Local position [µm]

Right charge/Total charge

Scan across strips #623-624

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0		0		0

		0		0		0		0

		0				0		0

		0				0		0

		0				0		0

		0				0		0

		0				0		0

		0				0		0

		0				0		0



Local position [µm]

Right charge/Total charge

Scan across strips #624-625

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		Time delay		Corrected time		Bias [V]		#120		Int 1		#121		Int 2																		0		0.08185		9.1672		112				0.261052		10		80

		70		55		250		0		0		68		0				0		0		0		610								1		0.168384		18.859008						0.431745		34.5396

		75		50				16		0		150		0				3		0.0512794593		31.2804701969										2		0.312367		34.985104						0.675746		54.05968

		80		45				34		0		245		-25				6		0.2672435413		163.0185601936										3		0.52869		59.21328						1.004992		80.39936

		85		40				54		0		369		-41				9		0.5875634723		358.4137180924										4		0.825982		92.509984						1.426173		114.09384

		90		35				123		32		560		0				12		0.9072872169		553.4452023										5		1.20452		134.90624						1.939189		155.13512

		95		30				154		40		688		0				15		1.1543795498		704.1715253543										6		1.656436		185.520832						2.536774		202.94192

		100		25				188		51		826		-28				18		1.299469696		792.6765145638										7		2.16761		242.77232						3.205258		256.42064

		105		20				199		74		792		0				21		1.3442508459		819.9930160187										8		2.720225		304.6652						3.926179		314.09432

		110		15				188		108		615		-5				24		1.3071636214		797.3698090352										9		3.295125		369.054						4.678293		374.26344

		115		10				176		131		421		79				27		1.2124429531		739.5902013697										10		3.873637		433.847344						5.439553		435.16424

		120		5				85		68		199		34				30		1.0834467691		660.9025291351										11		4.438771		497.142352						6.188773		495.10184

		125		0				0		0		0		0				33		0.9394191906		573.0457062512										12		4.97592		557.30304						6.906842		552.54736

																		36		0.7945091514		484.6505823432										13		5.473185		612.99672						7.577489		606.19912

																		39		0.6580501859		401.410613397										14		5.92143		663.20016						8.187653		655.01224

																		42		0.5354104702		326.6003867976										15		6.31416		707.18592						8.727551		698.20408

																		45		0.4289931162		261.6858008585										16		6.647297		744.497264						9.190552		735.24416

																		48		0.339164421		206.8902967894										17		6.91889		774.91568						9.57288		765.8304

																		51		0.2650152693		161.6593142647										18		7.128793		798.424816						9.873284		789.86272

																		54		0.2049346724		125.0101501754										19		7.278362		815.176544						10.092649		807.41192

																		57		0.1570118833		95.7772488293										20		7.370132		825.454784						10.233604		818.68832

																		60		0.1192986421		72.7721716988										21		7.407557		829.646384						10.300152		824.01216

																		63		0.0899657472		54.8791057793										22		7.394742		828.211104						10.297333		823.78664

																		66		0.0673846758		41.1046522082										23		7.336235		821.65832						10.230914		818.47312

																		69		0.050159177		30.597097963										24		7.236837		810.525744						10.107127		808.57016

																		72		0.0371256796		22.6466645667										25		7.101445		795.36184						9.932439		794.59512

																		75		0.0273359711		16.67494238										26		6.934925		776.7116						9.713365		777.0692

																																27		6.742013		755.105456						9.456316		756.50528

																																28		6.527242		731.051104						9.16749		733.3992

																																29		6.294873		705.025776						8.852766		708.22128

																																30		6.048868		677.473216						8.517644		681.41152

																																31		5.792859		648.800208						8.167207		653.37656

																																32		5.530137		619.375344						7.806094		624.48752

																																33		5.263647		589.528464						7.438483		595.07864

																																34		4.995998		559.551776						7.068093		565.44744

																																35		4.729472		529.700864						6.698193		535.85544

																																36		4.466033		500.195696						6.331631		506.53048

																																37		4.207353		471.223536						5.970841		477.66728

																																38		3.954834		442.941408						5.617879		449.43032

																																39		3.709625		415.478						5.274448		421.95584

																																40		3.472645		388.93624						4.941926		395.35408

																																41		3.244611		363.396432						4.621399		369.71192

																																42		3.026052		338.917824						4.313695		345.0956

																																43		2.817337		315.541744						4.019405		321.5524

																																44		2.618692		293.293504						3.738913		299.11304

																																45		2.43022		272.18464						3.472427		277.79416

																																46		2.251916		252.214592						3.219996		257.59968

																																47		2.083687		233.372944						2.981542		238.52336

																																48		1.925365		215.64088						2.756874		220.54992

																																49		1.776718		198.992416						2.545705		203.6564

																																50		1.637465		183.39608						2.347678		187.81424

																																51		1.507286		168.816032						2.162372		172.98976

																																52		1.38583		155.21296						1.989319		159.14552

																																53		1.272725		142.5452						1.828019		146.24152

																																54		1.167583		130.769296						1.677946		134.23568

																																55		1.070007		119.840784						1.538557		123.08456

																																56		0.979598		109.714976						1.409304		112.74432

																																57		0.895956		100.347072						1.289635		103.1708

																																58		0.818688		91.693056						1.179003		94.32024

																																59		0.747406		83.709472						1.076871		86.14968

																																60		0.681733		76.354096						0.982712		78.61696

																																61		0.621304		69.586048						0.896015		71.6812

																																62		0.565769		63.366128						0.816288		65.30304

																																63		0.51479		57.65648						0.743057		59.44456

																																64		0.468044		52.420928						0.675869		54.06952

																																65		0.425227		47.625424						0.614292		49.14336

																																66		0.386049		43.237488						0.557917		44.63336

																																67		0.350235		39.22632						0.506357		40.50856

																																68		0.317529		35.563248						0.459245		36.7396

																																69		0.287687		32.220944						0.416239		33.29912

																																70		0.260483		29.174096						0.377015		30.1612

																																71		0.235705		26.39896						0.341272		27.30176

																																72		0.213156		23.873472						0.308729		24.69832

																																73		0.19265		21.5768						0.279123		22.32984

																																74		0.174018		19.490016						0.25221		20.1768

																																75		0.157101		17.595312						0.227764		18.22112

																																76		0.141751		15.876112						0.205574		16.44592

																																77		0.127834		14.317408						0.185447		14.83576

																																78		0.115224		12.905088						0.167204		13.37632

																																79		0.103806		11.626272						0.150679		12.05432

																																80		0.093474		10.469088						0.13572		10.8576

																																81		0.084131		9.422672						0.122188		9.77504

																																82		0.075686		8.476832						0.109953		8.79624

																																83		0.068058		7.622496						0.098898		7.91184

																																84		0.061172		6.851264						0.088915		7.1132

																																85		0.054959		6.155408						0.079904		6.39232

																																86		0.049356		5.527872						0.071777		5.74216

																																87		0.044307		4.962384

																																88		0.039758		4.452896

																																89		0.035662		3.994144

																																90		0.031975		3.5812

																																91		0.028659		3.209808

																																92		0.025678		2.875936

																																93		0.022998		2.575776

																																94		0.020591		2.306192

																																95		0.018429		2.064048

																																96		0.016489		1.846768

																																97		0.014748		1.651776

																																98		0.013187		1.476944

																																99		0.011787		1.320144





		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0



0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0



0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0



Measured (hit strip)

Calculated

Adjacent strip

Intermediate routing line

Time [ns]

Amplitude [arb. units]

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0



Measured

Calculated

Time [ns]

Amplitude [arb. units]

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0




_1051523874.xls
Chart4

		35		0		35		35

		45		120		45		45

		55				55		55

		70				70		70

		75				75		75

		85				85		85

		95				95		95



20 Volt

50 Volt

200 Volt

Local position [µm]

Right charge/Total charge

0.1595744681

0

0.12

0.0796116505

0.2053231939

1

0.1322869955

0.0891089109

0.2967032967

0.2258064516

0.2

0.692

0.7982261641

0.8351449275

0.7985074627

0.8764302059

0.9349593496

0.8546099291

0.9174311927

0.9445585216



General

		Sector #		Strip's range								1		128

		1		1-128								2		256

		2		129-256								3		384

		3		257-384								4		512

		4		385-512								5		640

		5		513-640								6		768

		6		641-768								7		896

		7		769-896								8		1024

		8		897-1024

		Measured strips:

		Sector #:		1		2		3		4		5		6		7		8





Routing line

		

																						Strip #		Est. VFD

																						499		55

																						760		170

																						774		125

																						888		50





Routing line

		10		50		20		10

		20		100		40		20

		30		150		50		40

		40		200		60		50

		50		250		80		60

		60		300		100		80

		80		350		125		100

		100		400		150		125

		150		500		175		150

		200				200		200

		300				300		300



Strip #499

Strip #760

Strip #774

Strip #888

Bias [Volt]

Charge routing line/total charge

0.1402439024

0.1694915254

0.0649350649

0.1036036036

0.0886524823

0.1589958159

0.1363636364

0.0705521472

0.069637883

0.0979381443

0.1446540881

0.0580808081

0.0611246944

0.0445859873

0.1421052632

0.0324189526

0.0412844037

0

0.1553030303

0.0324189526

0

0

0.1184210526

0.0224438903

0

0

0.0692771084

0

0

0

0.0507042254

0

0

0

0.05

0

0

0.025

0

0

0.0243902439

0



Irradiated (4)

		50		50		50		50		50

		100		100		100		100		100

		150		150		150		150		150

		200		200		200		200		200

		250		250		250		250		250

		300		300		300		300		300

		350		350		350		350		350

		400		400		400		400		400

		500		500		500		500		500



Pos. 1

Pos. 2

Pos. 3

Pos. 4

Pos. 5

Bias [V]

Charge routing line/Total charge

0.0740740741

0

0

0

0.1478873239

0.0801886792

0.0867052023

0.1188118812

0.1954022989

0.1422594142

0.1413427562

0.141221374

0.1611721612

0.2078853047

0.0545454545

0.1800486618

0.117816092

0.1380952381

0.0490196078

0.0298804781

0.1109090909

0.0914760915

0.0462427746

0.0218340611

0

0.0587301587

0.0844277674

0.0235081374

0.044

0

0.0406015038

0.0175438596

0

0

0

0

0

0

0

0

0

0

0

0

0



Irradiated (5) 

		Bias 250 V		Strip #		Centre		Distance		20 V		Local coord.		D24		D25		Pulse Left		Pulse Right		Pulse sum		h		ideal				50 V		Pulse Left		Pulse Right		Pulse sum		h		200 V		Pulse Left		Pulse Right		Pulse sum		h				Volt scan		#85		#86		Total		Normalised

				85		31		110				33.5		25		85		128		12		140		0.0857142857		0		0				253		30		283		0.1060070671				373		16		389		0.0411311054				20		36		126		162		0.3884892086

				86		42						34.5		35		75		132		12		144		0.0833333333		110		1				233		24		257		0.093385214				341		25		366		0.0683060109				30		52		240		292		0.7002398082

												35.5		45		65		84		32		116		0.275862069								204		48		252		0.1904761905				325		50		375		0.1333333333				40		48		317		365		0.8752997602

												37		60		50		22		40		62		0.6451612903								36		76		112		0.6785714286				50		136		186		0.7311827957				50		48		371		407		0.9760191847

		#85		Amplitude		#86		Amplitude				37.5		65		45		40		84		124		0.6774193548								60		197		257		0.766536965				60		305		365		0.8356164384				75		36		380		412		0.9880095923

		39		417		28		417				38.5		75		35		28		152		180		0.8444444444								40		272		312		0.8717948718				32		401		433		0.9260969977				100		32		397		425		1.0191846523

		40		325		29		297				39.5		85		25		24		160		184		0.8695652174								44		281		325		0.8646153846				32		405		437		0.9267734554				120		28		413		441		1.0575539568

		41		50		30		60																																												150		28		417		417		1

		42		0		31		0

		43		68		32		32

		44		361		33		272

						34		409

		Bias 250 V		Strip #		Centre		Distance		20 V		Local coord.		D24		D25		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h		ideal				50 V		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h		200 V		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h				Volt scan		#4		Int 1		#5		Int 2		Total		Normalised		Norm Rout		Norm rzatio rout/total

				4		12.5		115				14.5		20		95		204		-28		36				240		0.15		0		0				333				36				369		0.0975609756				449		-64		48				497		0.0965794769				20		12		-24		200		-48		212		0.4265593561

				5		24						15.5		30		85		240		-36		44				284		0.1549295775		115		1				425		-64		72				497		0.1448692153				573		-112		64				637		0.1004709576				30		40				328		-52		368		0.7404426559

												16.5		40		75		212		-32		44				256		0.171875								373		-48		52				425		0.1223529412				525		-88		52				577		0.0901213172				40		24		-16		381		-88		405		0.814889336

												17.5		50		65		116		-8		48				164		0.2926829268								256		-24		104				360		0.2888888889				373		-64		120				493		0.2434077079				50		28		-24		425		-92		453		0.9114688129

		#4		Amplitude		#5		Amplitude				18.5		60		55		16				32				48		0.6666666667								32				72				104		0.6923076923				60				112				172		0.6511627907				75		16				445		-100		461		0.9275653924

		12		0		21		489				19.5		70		45		52				188		-16		240		0.7833333333								68				385		-48		453		0.8498896247				52				509		-96		561		0.9073083779				100		12		-28		457		-124		469		0.9436619718

		13		0		22		341				20.5		80		35		52				253		-16		305		0.8295081967								76				429		-52		505		0.8495049505				36				549		-96		585		0.9384615385				120		16		-20		465		-120		481		0.967806841

		14		132		23		84				21.5		90		25		28				204		-48		232		0.8793103448								36				393		-84		429		0.9160839161				28				501		-112		529		0.9470699433				150		12		-44		485		-132		497		1

		15		437		24		0

		16		517		25		0

						26		272

		Bias 250 V		Strip #		Centre		Distance		20 V		Local coord.		D24		D25		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h		ideal				50 V		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h		200 V		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h

				5		24		110				26.5		25		85		197				36				233		0.1545064378		0		0				328				36				364		0.0989010989				445				32				477		0.0670859539

				6		35						27.5		35		75		152				28				180		0.1555555556		110		1				305				36				341		0.1055718475				449				36				485		0.0742268041

												28.5		45		65		116				36				152		0.2368421053								253				60				313		0.1916932907				413				100				513		0.1949317739

												29.5		55		55		44				28				72										60				36				96						72				32				104

												30.5		65		45		28				104				132		0.7878787879								52				212				264		0.803030303				72				345				417		0.8273381295

												31.5		75		35		36				160				196		0.8163265306								32				272				304		0.8947368421				28				405				433		0.935334873

												32.5		85		25		12				164				176		0.9318181818								32				333				365		0.9123287671				72				469				541		0.8669131238

		Bias 250 V		Strip #		Centre		Distance		20 V		Local coord.		D24		D25		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h		ideal				50 Volt		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h		200 Volts		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h				Volt scan		#115		Int 1		#116		Int 2		Total		Normalised		Norm Rout		Norm rzatio rout/total

				115		44		120				47.5		35		85		237				45				282		0.1595744681		0		0				396		-18		54				450		0.12				474		-31		41				515		0.0796116505				10		32		23		132		0		164		0.3326572008				0.1402439024

				116		56						48.5		45		75		209		0		54				263		0.2053231939		120		1				387		-13		59				446		0.1322869955				460		-41		45				505		0.0891089109				20		41		25		241		0		282		0.5720081136				0.0886524823

												49.5		55		65		128		13		54				182		0.2967032967								264				77				341		0.2258064516				360		-23		90				450		0.2				30		45		25		314		0		359		0.7281947262				0.069637883

												51		70		50		41		13		91				132										63		13		182				245						73		0		250				323						40		45		25		364		0		409		0.8296146045				0.0611246944

		#115		Amplitude		#116		Amplitude				51.5		75		45		77		41		173				250		0.692								91		18		360				451		0.7982261641				91		0		461				552		0.8351449275				50		36		18		400		-13		436		0.8843813387				0.0412844037

		42		506		54		483				52.5		85		35		54		30		214				268		0.7985074627								54		23		383				437		0.8764302059				32		-23		460				492		0.9349593496				60		25		0		419		-23		444		0.9006085193				0

		43		410		55		287				53.5		95		25		41		25		241				282		0.8546099291								36		18		400		-13		436		0.9174311927				27				460		-23		487		0.9445585216				80		27		0		442		-23		469		0.9513184584				0

		44		77		56		0																																																								100		27		0		446		-23		473		0.9594320487				0

		45		455		57		0																																																								150		23		0		455		-27		478		0.9695740365				0

		46		488		58		145																																																								200		27				460		-18		487		0.9878296146				0

						59		469																																																								300		23				470		-30		493		1				0





Irr. corr (5)

		Bias 250 V		Strip #		Centre		Distance		100 V		Local coord.		D24		D25		Pulse Left		Pulse Right		Pulse sum		h		ideal				200 V		Pulse Left		Pulse Right		Pulse sum		h		300 V		Pulse Left		Pulse Right		Pulse sum		h				Volt scan		#13		#14		Total		Normalised						Strip #5		Volt scan		Normalised

				13		8.5		110				11		25		85		351		0		351		0		0		0				369		0		369		0				364		0		364		0				20		5		205		210		0.4338842975						10		140		0.2868852459

				14		19.5						12		35		75		387		0		387		0		110		1				414		0		414		0				414		0		414		0				30		5		273		278		0.5743801653						30		285		0.5840163934

												13		45		65		328		27		355		0.076056338								374		15		389		0.0385604113				383		24		407		0.058968059				40		54		323		377		0.7789256198						50		393		0.8053278689

												14		55		55		154		73		227		0.3215859031								164		59		223		0.264573991				173		68		241		0.2821576763				50		45		360		405		0.8367768595						70		434		0.8893442623

		#13		Amplitude		#14		Amplitude				15		65		45		54		223		277		0.8050541516								63		264		327		0.8073394495				82		278		360		0.7722222222				75		41		405		446		0.9214876033						100		454		0.9303278689

		6		364		17		351				16		75		35		36		378		414		0.9130434783								36		424		460		0.9217391304				32		424		456		0.9298245614				100		32		428		460		0.9504132231						150		468

		7		164		18		164				17		85		25		23		414		437		0.9473684211								23		460		483		0.9523809524				20		464		484		0.958677686				120		23		437		460		0.9504132231						200		485		0.993852459

		8		30		19		0																																												150		27		446		473		0.9772727273						300		488		1

		9		0		20		0																																												200		23		455		478		0.9876033058

		10		209		21		196																																												300		20		464		484		1

		11		370		22		392

		Bias 250 V		Strip #		Centre		Distance		50 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				200 V		Pulse Left		Pulse Right		Pulse sum		h		300 V		Pulse Left		Pulse Right		Pulse sum		h				Volt scan		#33		#34		Total		Normalised

				13		4.8		112				8		32		80		31		334		71		405		0.175308642		0		0				427		-17		410		0				434		-17		417		0				10		48		97		145		0.3325688073				30		112		20		31		163

				14		16						9		42		70		34		317		51		368		0.1385869565		112		1				427		31		458		0.0676855895				458		24		482		0.0497925311				20		51		184		235		0.5389908257				50		157		31		41		229

												10		52		60		0		68		34		102		0.3333333333								89		37		126		0.2936507937				99		34		133		0.2556390977				30		54		263		317		0.7270642202				100		291		51		85		427

												11		62		50		0		65		195		260		0.75								61		266		327		0.8134556575				61		260		321		0.8099688474				50		37		345		382		0.876146789				130		372		58		103		533

		#33		Amplitude		#34		Amplitude				12		72		40		0		51		308		359		0.8579387187								34		413		447		0.9239373602				34		430		464		0.9267241379				75		27		389		416		0.9541284404				150		530		50		109		689

		2		445		13		451				13		82		30		0		37		342		379		0.9023746702								27		427		454		0.9405286344				10		447		457		0.9781181619				100		24		400		424		0.9724770642				200		567		44		65		676

		3		191		14		214																																														125		24		417		441		1.0114678899				250		605		31				636

		4		41		15		41																																														150		20		420		440		1.0091743119				300		612		31				643

		5		34		16		34																																														200		20		424		444		1.0183486239

		6		68		17		58																																														300		20		436		456		1.0458715596

		7		413		18		330

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.		D24		D25		#120		Int 1		#121		Int 2		#122		Int 3		Pulse sum		h		ideal				200 V		#120		Int 1		#121		Int 2		#122		Int 3		Pulse sum		h		400 V		#120		Int 1		#121		Int 2		#122		Int 3		Pulse sum		h						Volt scan		#120		Int 1		#121		Int 2		#122		Total		Normalised		Rout/total

				121		40		117				43		30		87		30		24		167		24		48		17		215		0.223255814		0		0				24		20		266		10		34		0		300		0.1133333333				10		0		372		-24		20		0		392		0.0510204082						50		0		0		61		0		24		85		0.2093596059		0

				122		51.7						44		40		77		24		15		140		31		54		117		194		0.2783505155		117		1				27		15		242		27		58		0		300		0.1933333333				0		0		376		-24		31		0		407		0.0761670762						100		20		0		106		0		34		140		0.3448275862		0

												45		50		67		24		20		99		37		65		0		164		0.3963414634								15		0		171		44		75		0		246		0.3048780488				10		0		311		0		75		0		386		0.1943005181						150		27		10		157		24		48		205		0.5049261084		0.0487804878

												47		70		47		0		0		58		41		95		0		153		0.6209150327								0		0		68		48		146		0		214		0.6822429907				0		0		61		17		270		0		331		0.8157099698						200		20		10		253		10		34		287		0.7068965517		0.0348432056

		#121		Amplitude		#122		Amplitude				48		80		37		0		0		65		41		143		10		208		0.6875								0		0		58		41		229		0		287		0.7979094077				0		0		34		0		366		-13		400		0.915						250		10		5		317		0		27		344		0.8472906404		0.0145348837

		38		345		49		366				49		90		27		0		0		51		34		157		0		208		0.7548076923								0		0		44		27		266		0		310		0.8580645161				0		0		27		0		376		-17		403		0.9330024814						300		0		0		349		0		31		380		0.9359605911		0

		39		37		50		201																																																																						350		0		0		362		-15		27		389		0.9581280788		0

		40		30		51		34																																																																						400		0		0		372		-17		34		406		1		0

		41		34		52		24																																																																						500		0		0		383		-20		27		410		1.0098522167		0

		42		195		53		58

		43		362		54		342

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				200 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		400 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h						Volt scan		#109		#110		Total		Normalised

				109		12.4		116				15		26		90		31		178		51		229		0.2227074236		0		0				15		280		24		304		0.0789473684						369		0		369		0						50		65		0		65		0.1747311828

				110		24						16		36		80		24		154		58		212		0.2735849057		116		1				24		263		41		304		0.1348684211						372		0		372		0						100		123		37		160		0.4301075269

												17		46		70		20		123		71		194		0.3659793814								30		215		71		286		0.2482517483						331		41		372		0.1102150538						150		171		51		222		0.5967741935

												19		66		50		0		68		95		163		0.5828220859								0		71		146		217		0.6728110599						58		242		300		0.8066666667						200		287		24		311		0.8360215054

		#109		Amplitude		#110		Amplitude				20		76		40		0		68		146		214		0.6822429907								0		58		242		300		0.8066666667						34		338		372		0.9086021505						250		334		0		334		0.8978494624

		10		308		21		291				21		86		30		0		58		167		225		0.7422222222								0		44		259		303		0.8547854785						0		345		345		1						300		351		0		351		0.9435483871

		11		37		22		208																																																				350		366		0		366		0.9838709677

		12		0		23		31																																																				400		372		0		372		1

		13		0		24		27																																																				500		383		0		383		1.0295698925

		14		225		25		31

		15		321		26		235

						27		285

		Bias 250 V		Strip #		Centre		Distance		100 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				300 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		400 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h						Volt scan		#72		#73		Total		Normalised

				72		29.1		114				31.5		24		90				253		34		287		0.118466899		0		0						355		1		356		0.0028089888						0		0		0		0						25		44		20		64		0.170212766

				73		40.5						32.5		34		80				242		48		290		0.1655172414		114		1						386		1		387		0.0025839793																		50		95		41		136		0.3617021277

												33.5		44		70				150		78		228		0.3421052632										280		41		321		0.1277258567																		75		150		58		208		0.5531914894

												35.5		64		50				54		120		174		0.6896551724										51		222		273		0.8131868132																		100		240		51		291		0.7739361702

		#72		Amplitude		#73		Amplitude				36.5		74		40				68		215		283		0.7597173145										17		376		393		0.9567430025																		125		311		27		338		0.8989361702

		27		249		38		311				37.5		84		30				41		253		294		0.8605442177										1		386		387		0.9974160207																		150		342		10		352		0.9361702128

		28		71		39		106				38		89		25				41		249		290		0.8586206897										20		355		375		0.9466666667																		200		355		10		365		0.9707446809

		28.5		25		40		20																																																				300		376		0		376		1

		29		0		41		31																																																				400		383		0		383		1.0186170213

		30		58		42		154

		31		256		43		334

		Bias 250 V		Strip #		Centre		Distance		100 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				150 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		300 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		200 V		Pulse Left		Pulse Right		Pulse sum		h		Volt scan		#92		#93		Total		Normalised

				92		37.8		116				40		22		94		20		146		41		187		0.2192513369		0		0						259		24		283		0.0848056537						352		1		353		0.0028328612				331		5		336		0.0148809524		50		65		10		75		0.2049180328

				93		49.4						41		32		84		20		140		44		184		0.2391304348		116		1						246		34		280		0.1214285714						369		1		370		0.0027027027				334		5		339		0.0147492625		75		95		10		105		0.2868852459

												42		42		74		24		112		51		163		0.3128834356										208		65		273		0.2380952381						355		1		356		0.0028089888				300		34		334		0.1017964072		100		129		27		156		0.4262295082

												44.5		67		49		0		68		89		157		0.5668789809										82		143		225		0.6355555556						65		256		321		0.7975077882				71		215		286		0.7517482517		125		167		27		194		0.5300546448

		#92		Amplitude		#93		Amplitude				45		72		44				71		103		174		0.591954023										78		198		276		0.7173913043						37		334		371		0.9002695418				54		291		345		0.8434782609		150		236		30		266		0.7267759563

		35		352		47		345				46		82		34				54		123		177		0.6949152542										54		236		290		0.8137931034						1		370		371		0.9973045822				41		328		369		0.8888888889		200		328		0		328		0.8961748634

		36		143		48		68				47		92		24				48		133		181		0.7348066298										48		259		307		0.8436482085						10		359		369		0.972899729				35		331		366		0.9043715847		250		355		0		355		0.9699453552

		37		17		49		0																																																										300		366		0		366		1

		38		17		49.5		0																																																										400		379		0		379		1.0355191257

		39		95		50		0

		40		325		51		116

						52		321

		Bias 250 V		Strip #		Centre		Distance		20 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				50 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		200 V		Pulse Left		Pulse Right		Pulse sum		h								Volt scan		#32		#33		Total		Normalised

				32		43.2		108				45.5		23		85		24		188		30		218		0.1376146789		0		0				24		317		1		318		0.0031446541				400		1		401		0.0024937656								10		89		41		130		0.3147699758

				33		54						46.5		33		75		20		174		44		218		0.2018348624		108		1				20		325		10		335		0.0298507463				410		1		411		0.00243309								20		171		41		212		0.5133171913

												47.5		43		65		24		123		65		188		0.3457446809								20		242		54		296		0.1824324324				342		37		379		0.0976253298								30		232		34		266		0.6440677966

												49		58		50		0		41		58		99		0.5858585859										44		109		153		0.7124183007				51		164		215		0.7627906977								50		321		0		321		0.7772397094

		#32		Amplitude		#33		Amplitude				49.5		63		45				68		116		184		0.6304347826										68		212		280		0.7571428571				65		297		362		0.820441989								75		362		0		362		0.8765133172

		40		393		51		413				50.5		73		35				58		157		215		0.7302325581										44		297		341		0.8709677419				24		389		413		0.9418886199								100		383		0		383		0.9273607748

		41		181		52		291				51		78		30				48		164		212		0.7735849057										41		304		345		0.8811594203				15		393		408		0.9632352941								150		396		0		396		0.9588377724

		42		31		53		51																																																				200		413		0		413		1

		43		24		54		17																																																				300		420		0		420		1.0169491525

		44		80		55		50

		45		359		56		280

						57		403

		Bias 250 V		Strip #		Centre		Distance		50 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				100 V		Pulse Left		Pulse Right		Pulse sum		h		300 V		Pulse Left		Pulse Right		Pulse sum		h										Volt scan		#53		#54		#55		#56		Total		Normalised

				54		39		110				42.5		35		75		24		259		37		296		0.125		0		0				352		1		353		0.0028328612				400		1		401		0.0024937656										10		13		27		41		13		68		0.17

				55		50						43		40		70		24		222		48		270		0.1777777778		110		1				331		1		332		0.0030120482				393		1		394		0.0025380711										25		20		61		109		20		170		0.425

												44		50		60		0		123		58		181		0.320441989								195		44		239		0.1841004184				239		41		280		0.1464285714										50				266		41				307		0.7675

												45.5		65		45		0		51		116		167		0.6946107784								42		178		220		0.8090909091				61		215		276		0.7789855072										75				334		14				348		0.87

		#54		Amplitude		#55		Amplitude				46		70		40				70		201		271		0.741697417								51		308		359		0.8579387187				51		355		406		0.8743842365										100				359		0				359		0.8975

		37		352		47		400				47		80		30				43		260		303		0.8580858086								17		355		372		0.9543010753				1		400		401		0.9975062344										150				372		0				372		0.93

		38		44		48		280																																																				200				383		0				383		0.9575

		39		27		49		41																																																				250				396		0				396		0.99

		40		51		50		20																																																				300				400		0				400		1

		41		266		51		51								512		63		575																																								400				406						406		1.015

		42		390		52		273

						53		410

		Bias 250 V		Strip #		Centre		Distance		50 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				100 V		Pulse Left		Pulse Right		Pulse sum		h		250 V		Pulse Left		Pulse Right		Pulse sum		h										Volt scan		#64		#65		Total		Normalised

				63		1		120				4.5		35		85		37		161		65		226		0.2876106195		0		0				317		1		318		0.0031446541				376		1		377		0.0026525199										25		34		75		109		0.2632850242

				64		13						5.5		45		75		30		137		82		219		0.3744292237		120		1				297		54		351		0.1538461538				376		15		391		0.0383631714										50		55		164		219		0.5289855072

												6		50		70		0		123		78		201		0.3880597015								249		58		307		0.1889250814				325		41		366		0.1120218579										75		37		290		327		0.7898550725

												7.5		65		55		0		38		51		89		0.5730337079								40		106		146		0.7260273973				51		129		180		0.7166666667										100		27		330		357		0.8623188406

		#63		Amplitude		#64		Amplitude				8		70		50				71		103		174		0.591954023								61		242		303		0.798679868				58		300		358		0.8379888268										150		27		359		386		0.9323671498

		-1		352		10		400				9		80		40				75		143		218		0.6559633028								41		325		366		0.8879781421				31		372		403		0.9230769231										200		24		372		396		0.9565217391

		0		44		11		280				10		90		30				51		164		215		0.7627906977								34		334		368		0.9076086957				20		389		409		0.9511002445										250		20		379		399		0.9637681159

		1		27		12		41																																																				300		24		382		406		0.9806763285

		2		51		13		20																																																				350		24		390		414		1

		3		266		14		51

		4		390		15		273





Irr. corr. (6)

		Bias 250 V		Strip #		Centre		Distance		100 V		Local coord.		D24		D25		Pulse Left		Pulse Right		Pulse sum		h		ideal				200 V		Pulse Left		Pulse Right		Pulse sum		h		300 V		Pulse Left		Pulse Right		Pulse sum		h				Volt scan		#13		#14		Total		Normalised						Strip #5		Volt scan		Normalised

				13		8.5		110				11		25		85		351		17		368		0.0461956522		0		0				369		17		386		0.0440414508				364		17		381		0.0446194226				20		5		205		210		0.4338842975						10		140		0.2868852459

				14		19.5						12		35		75		387		24		411		0.0583941606		110		1				414		24		438		0.0547945205				414		24		438		0.0547945205				30		5		273		278		0.5743801653						30		285		0.5840163934

												13		45		65		328		54		382		0.1413612565								374		55		429		0.1282051282				383		48		431		0.1113689095				40		54		323		377		0.7789256198						50		393		0.8053278689

												14		55		55		154		73		227		0.3215859031								164		59		223		0.264573991				173		68		241		0.2821576763				50		45		360		405		0.8367768595						70		434		0.8893442623

		#13		Amplitude		#14		Amplitude				15		65		45		54		223		277		0.8050541516								63		264		327		0.8073394495				82		278		360		0.7722222222				75		41		405		446		0.9214876033						100		454		0.9303278689

		6		364		17		351				16		75		35		36		378		414		0.9130434783								36		424		460		0.9217391304				32		424		456		0.9298245614				100		32		428		460		0.9504132231						150		468

		7		164		18		164				17		85		25		23		414		437		0.9473684211								23		460		483		0.9523809524				20		464		484		0.958677686				120		23		437		460		0.9504132231						200		485		0.993852459

		8		30		19		0																																												150		27		446		473		0.9772727273						300		488		1

		9		0		20		0																																												200		23		455		478		0.9876033058

		10		209		21		196																																												300		20		464		484		1

		11		370		22		392

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.		D24		D25		#120		Int 1		#121		Int 2		#122		Int 3		Pulse sum		h		ideal				200 V		#120		Int 1		#121		Int 2		#122		Int 3		Pulse sum		h		400 V		#120		Int 1		#121		Int 2		#122		Int 3		Pulse sum		h						Volt scan		#120		Int 1		#121		Int 2		#122		Total		Normalised

				121		40		117				43		30		87		30		24		167		24		48		17		215		0.223255814		0		0				24		20		266		10		34		0		300		0.1133333333				10		0		372		-24		20		0		392		0.0510204082						50		0		0		61		0		24		85		0.2093596059

				122		51.7						44		40		77		24		15		140		31		54		117		194		0.2783505155		117		1				27		15		242		27		58		0		300		0.1933333333				0		0		376		-24		31		0		407		0.0761670762						100		20		0		106		0		34		140		0.3448275862

												45		50		67		24		20		99		37		65		0		164		0.3963414634								15		0		171		44		75		0		246		0.3048780488				10		0		311		0		75		0		386		0.1943005181						150		27		10		157		24		48		205		0.5049261084

												47		70		47		0		0		58		41		95		0		153		0.6209150327								0		0		68		48		146		0		214		0.6822429907				0		0		61		17		270		0		331		0.8157099698						200		20		10		253		10		34		287		0.7068965517

		#121		Amplitude		#122		Amplitude				48		80		37		0		0		65		41		143		10		208		0.6875								0		0		58		41		229		0		287		0.7979094077				0		0		34		0		366		-13		400		0.915						250		10		5		317		0		27		344		0.8472906404

		38		345		49		366				49		90		27		0		0		51		34		157		0		208		0.7548076923								0		0		44		27		266		0		310		0.8580645161				0		0		27		0		376		-17		403		0.9330024814						300		0		0		349		0		31		380		0.9359605911

		39		37		50		201																																																																						350		0		0		362		-15		27		389		0.9581280788

		40		30		51		34																																																																						400		0		0		372		-17		34		406		1

		41		34		52		24																																																																						500		0		0		383		-20		27		410		1.0098522167

		42		195		53		58

		43		362		54		342

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				200 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		400 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h						Volt scan		#109		#110		Total		Normalised

				109		12.4		116				15		26		90		31		178		51		229		0.2227074236		0		0				15		280		24		304		0.0789473684						369		15		384		0.0390625						50		65		0		65		0.1747311828

				110		24						16		36		80		24		154		58		212		0.2735849057		116		1				24		263		41		304		0.1348684211						372		24		396		0.0606060606						100		123		37		160		0.4301075269

												17		46		70		20		123		71		194		0.3659793814								30		215		71		286		0.2482517483						331		41		372		0.1102150538						150		171		51		222		0.5967741935

												19		66		50		0		68		95		163		0.5828220859								0		71		146		217		0.6728110599						58		242		300		0.8066666667						200		287		24		311		0.8360215054

		#109		Amplitude		#110		Amplitude				20		76		40		0		68		146		214		0.6822429907								0		58		242		300		0.8066666667						34		338		372		0.9086021505						250		334		0		334		0.8978494624

		10		308		21		291				21		86		30		0		58		167		225		0.7422222222								0		44		259		303		0.8547854785						15		345		360		0.9583333333						300		351		0		351		0.9435483871

		11		37		22		208																																																				350		366		0		366		0.9838709677

		12		0		23		31																																																				400		372		0		372		1

		13		0		24		27																																																				500		383		0		383		1.0295698925

		14		225		25		31

		15		321		26		235

						27		285

		Bias 250 V		Strip #		Centre		Distance		100 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				300 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		400 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h						Volt scan		#72		#73		Total		Normalised

				72		29.1		114				31.5		24		90				253		34		287		0.118466899		0		0						355		14		369		0.0379403794						0		0		0		0						25		44		20		64		0.170212766

				73		40.5						32.5		34		80				242		48		290		0.1655172414		114		1						386		25		411		0.0608272506																		50		95		41		136		0.3617021277

												33.5		44		70				150		78		228		0.3421052632										280		56		336		0.1666666667																		75		150		58		208		0.5531914894

												35.5		64		50				54		120		174		0.6896551724										51		222		273		0.8131868132																		100		240		51		291		0.7739361702

		#72		Amplitude		#73		Amplitude				36.5		74		40				68		215		283		0.7597173145										17		376		393		0.9567430025																		125		311		27		338		0.8989361702

		27		249		38		311				37.5		84		30				41		253		294		0.8605442177										1		386		387		0.9974160207																		150		342		10		352		0.9361702128

		28		71		39		106				38		89		25				41		249		290		0.8586206897										20		355		375		0.9466666667																		200		355		10		365		0.9707446809

		28.5		25		40		20																																																				300		376		0		376		1

		29		0		41		31																																																				400		383		0		383		1.0186170213

		30		58		42		154

		31		256		43		334

		Bias 250 V		Strip #		Centre		Distance		100 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				150 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		300 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		200 V		Pulse Left		Pulse Right		Pulse sum		h		Volt scan		#92		#93		Total		Normalised

				92		37.8		116				40		22		94		20		146		41		187		0.2192513369		0		0						259		24		283		0.0848056537						352		15		367		0.0408719346				331		20		351		0.056980057		50		65		10		75		0.2049180328

				93		49.4						41		32		84		20		140		44		184		0.2391304348		116		1						246		34		280		0.1214285714						369		27		396		0.0681818182				334		29		363		0.0798898072		75		95		10		105		0.2868852459

												42		42		74		24		112		51		163		0.3128834356										208		65		273		0.2380952381						355		36		391		0.0920716113				300		55		355		0.1549295775		100		129		27		156		0.4262295082

												44.5		67		49		0		68		89		157		0.5668789809										82		143		225		0.6355555556						65		256		321		0.7975077882				71		215		286		0.7517482517		125		167		27		194		0.5300546448

		#92		Amplitude		#93		Amplitude				45		72		44				71		103		174		0.591954023										78		198		276		0.7173913043						37		334		371		0.9002695418				54		291		345		0.8434782609		150		236		30		266		0.7267759563

		35		352		47		345				46		82		34				54		123		177		0.6949152542										54		236		290		0.8137931034						1		370		371		0.9973045822				41		328		369		0.8888888889		200		328		0		328		0.8961748634

		36		143		48		68				47		92		24				48		133		181		0.7348066298										48		259		307		0.8436482085						10		359		369		0.972899729				35		331		366		0.9043715847		250		355		0		355		0.9699453552

		37		17		49		0																																																										300		366		0		366		1

		38		17		49.5		0																																																										400		379		0		379		1.0355191257

		39		95		50		0

		40		325		51		116

						52		321

		Bias 250 V		Strip #		Centre		Distance		20 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				50 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		200 V		Pulse Left		Pulse Right		Pulse sum		h								Volt scan		#32		#33		Total		Normalised

				32		43.2		108				45.5		23		85		24		188		30		218		0.1376146789		0		0				24		317		14		331		0.0422960725				400		15		415		0.0361445783								10		89		41		130		0.3147699758

				33		54						46.5		33		75		20		174		44		218		0.2018348624		108		1				20		325		30		355		0.0845070423				410		25		435		0.0574712644								20		171		41		212		0.5133171913

												47.5		43		65		24		123		65		188		0.3457446809								20		242		74		316		0.2341772152				342		37		379		0.0976253298								30		232		34		266		0.6440677966

												49		58		50		0		41		58		99		0.5858585859										44		109		153		0.7124183007				51		164		215		0.7627906977								50		321		0		321		0.7772397094

		#32		Amplitude		#33		Amplitude				49.5		63		45				68		116		184		0.6304347826										68		212		280		0.7571428571				65		297		362		0.820441989								75		362		0		362		0.8765133172

		40		393		51		413				50.5		73		35				58		157		215		0.7302325581										44		297		341		0.8709677419				24		389		413		0.9418886199								100		383		0		383		0.9273607748

		41		181		52		291				51		78		30				48		164		212		0.7735849057										41		304		345		0.8811594203				15		393		408		0.9632352941								150		396		0		396		0.9588377724

		42		31		53		51																																																				200		413		0		413		1

		43		24		54		17																																																				300		420		0		420		1.0169491525

		44		80		55		50

		45		359		56		280

						57		403

		Bias 250 V		Strip #		Centre		Distance		50 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				100 V		Pulse Left		Pulse Right		Pulse sum		h		300 V		Pulse Left		Pulse Right		Pulse sum		h										Volt scan		#53		#54		#55		#56		Total		Normalised

				54		39		110				42.5		35		75		24		259		37		296		0.125		0		0				352		15		367		0.0408719346				400		17		417		0.0407673861										10		13		27		41		13		68		0.17

				55		50						43		40		70		24		222		48		270		0.1777777778		110		1				331		25		356		0.0702247191				393		29		422		0.0687203791										25		20		61		109		20		170		0.425

												44		50		60		0		123		58		181		0.320441989								195		55		250		0.22				239		61		300		0.2033333333										50				266		41				307		0.7675

												45.5		65		45		0		51		116		167		0.6946107784								42		178		220		0.8090909091				61		215		276		0.7789855072										75				334		14				348		0.87

		#54		Amplitude		#55		Amplitude				46		70		40				70		201		271		0.741697417								51		308		359		0.8579387187				51		355		406		0.8743842365										100				359		0				359		0.8975

		37		352		47		400				47		80		30				43		260		303		0.8580858086								17		355		372		0.9543010753				1		400		401		0.9975062344										150				372		0				372		0.93

		38		44		48		280																																																				200				383		0				383		0.9575

		39		27		49		41																																																				250				396		0				396		0.99

		40		51		50		20																																																				300				400		0				400		1

		41		266		51		51								512		63		575																																								400				406						406		1.015

		42		390		52		273

						53		410

		Bias 250 V		Strip #		Centre		Distance		50 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				100 V		Pulse Left		Pulse Right		Pulse sum		h		250 V		Pulse Left		Pulse Right		Pulse sum		h										Volt scan		#64		#65		Total		Normalised

				63		1		120				4.5		35		85		37		161		65		226		0.2876106195		0		0				317		15		332		0.0451807229				376		15		391		0.0383631714										25		34		75		109		0.2632850242

				64		13						5.5		45		75		30		137		82		219		0.3744292237		120		1				297		50		347		0.144092219				376		39		415		0.0939759036										50		55		164		219		0.5289855072

												6		50		70		0		123		78		201		0.3880597015								249		54		303		0.1782178218				325		61		386		0.1580310881										75		37		290		327		0.7898550725

												7.5		65		55		0		38		51		89		0.5730337079								40		106		146		0.7260273973				51		129		180		0.7166666667										100		27		330		357		0.8623188406

		#63		Amplitude		#64		Amplitude				8		70		50				71		103		174		0.591954023								61		242		303		0.798679868				58		300		358		0.8379888268										150		27		359		386		0.9323671498

		-1		352		10		400				9		80		40				75		143		218		0.6559633028								41		325		366		0.8879781421				31		372		403		0.9230769231										200		24		372		396		0.9565217391

		0		44		11		280				10		90		30				51		164		215		0.7627906977								34		334		368		0.9076086957				20		389		409		0.9511002445										250		20		379		399		0.9637681159

		1		27		12		41																																																				300		24		382		406		0.9806763285

		2		51		13		20																																																				350		24		390		414		1

		3		266		14		51

		4		390		15		273





Irr. corr. (6)

		0		1		0

		0				0

		0				0

		0				0

		0				0

		0				0

		0				0

		0				0

		0

		0



0

1

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



Irradiated (6)

		

		Vfd

		Normalised		10		30		50		70		120

		50		0.2016		0.2		0.1500938086		0.1529411765		0.2610294118

		100		0.3248		0.2585365854		0.3114446529		0.3025210084		0.4393382353

		150		0.4832		0.4170731707		0.4671669794		0.4352941176		0.8088235294

		200		0.656		0.6		0.6303939962		0.6268907563		0.9227941176

		250		0.8032		0.8097560976		0.8105065666		0.7613445378		0.9430147059

		300		0.9104		0.856097561		0.8780487805		0.8789915966		0.9411764706

		350		0.928		0.8902439024		0.9099437148		0.9176470588		0.9724264706

		400		0.9696		0.9268292683		0.9230769231		0.9193277311		0.9852941176

		500		1		1		1		1		1

		Strip #		VFD

		10

		30

		50

		70

		120

		Eta scan		#10		#11

								D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		Norm. pulse

								20		90		239		62		301		0.2059800664		0		0				20		90		409		59		468		0.1260683761		0.6688888889

								30		80		350		76		426		0.1784037559		114		1				30		80		582		32		614		0.0521172638		0.9466666667

								40		70		298		104		402		0.2587064677								40		70		520		60		580		0.1034482759		0.8933333333

								50		60		149		83		232		0.3577586207								50		60		270		76		346		0.2196531792		0.5155555556

								60		50		90		152		242		0.6280991736								60		50		100		281		381		0.7375328084		0.5377777778

								70		40		118		291		409		0.7114914425								70		40		80		544		624		0.8717948718		0.9088888889

								80		30		94		357		451		0.7915742794								80		30		55		564		619		0.9111470113		1.0022222222

								90		20		80		277		357		0.7759103641								90		20		76		447		523		0.8546845124		0.7933333333

				#30		#31		200 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		Norm. pulse

										20		90		114		61		175		0.3485714286		0		0				20		90		195		58		253		0.2292490119		0.6730769231

										30		80		168		47		215		0.2186046512		110		1				30		80		309		15		324		0.0462962963		0.8269230769

										40		70		160		75		235		0.3191489362								40		70		328		27		355		0.076056338		0.9038461538

										50		60		95		73		168		0.4345238095								50		60		161		58		219		0.2648401826		0.6461538462

										60		50		39		65		104		0.625								60		50		56		91		147		0.619047619		0.4

										70		40		58		147		205		0.7170731707								70		40		51		303		354		0.8559322034		0.7884615385

										80		30		52		203		255		0.7960784314								80		30		15		372		387		0.9612403101		0.9807692308

										90		20		42		198		240		0.825								90		20		10		367		377		0.9734748011		0.9230769231

				#50		#51		200 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		Norm. pulse

										20		90		253		45		298		0.1510067114		0		0				20		90		429		24		453		0.0529801325		0.903030303

										30		80		225		55		280		0.1964285714		110		1				30		80		423		32		455		0.0703296703		0.8484848485

										40		70		177		86		263		0.3269961977								40		70		385		72		457		0.1575492341		0.796969697

										50		60		0		0		0										50		60		0		0		0				0

										60		50		62		128		190										60		50		69		267		336				0.5757575758

										70		40		83		232		315		0.7365079365								70		40		42		461		503		0.916500994		0.9545454545

										80		30		52		277		329		0.8419452888								80		30		28		461		489		0.9427402863		0.996969697

										90		20		55		270		325		0.8307692308								90		20		24		468		492		0.9512195122		0.9848484848

				#70		#71		200 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		Norm. pulse

										20		95		263		55		318		0.1729559748		0		0				20		95		395		59		454		0.1299559471		0.7066666667

										30		85		374		42		416		0.1009615385		115		1				30		85		547		20		567		0.0352733686		0.9244444444

										40		75		315		76		391		0.1943734015								40		75		550		38		588		0.0646258503		0.8688888889

										50		65		121		55		176		0.3125								50		65		204		58		262		0.2213740458		0.3911111111

										60		55		48		50		98		0.5102040816								60		55		59		83		142		0.5845070423		0.2177777778

										70		45		114		253		367		0.689373297								70		45		66		499		565		0.8831858407		0.8155555556

										80		35		76		333		409		0.8141809291								80		35		38		561		599		0.9365609349		0.9088888889

										90		25		66		381		447		0.8523489933								90		25		34		513		547		0.9378427788		0.9933333333

				#120		#121		200 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		Norm. pulse

										20		100		346		121		467		0.2591006424		0		0				20		100		377		135		512		0.263671875		0.6867647059

										30		90		616		59		675		0.0874074074		115		1				30		90		682		48		730		0.0657534247		0.9926470588

										40		80		616		62		678		0.0914454277								40		80		665		52		717		0.0725244073		0.9970588235

										50		70		308		55		363		0.1515151515								50		70		385		66		451		0.1463414634		0.7117647059

										60		60		59		59		118		0.5								60		60		66		66		132		0.5		0.231372549

										70		50		90		360		450		0.8								70		50		86		450		536		0.8395522388		0.8823529412

										80		40		59		450		509		0.884086444								80		40		42		520		562		0.9252669039		0.9980392157

										90		30		38		468		506		0.9249011858								90		30		28		523		551		0.9491833031		0.9921568627

				Sample of metal strip scan

		#10		#10		Amplitude		Norm. ampl.

		25.5		0		491		0.982

		26		5		376		0.752

		26.5		10		173		0.346

		27.5		20		0		0

		28		25		0		0

		28.5		30		0		0

		29.5		40		108.6		0.2172

		30		45		310		0.62

		30.5		50		472		0.944

		Strip		#90		#91		200 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		Pulse Left		Pulse Right		Pulse sum		h

										38		30		87.5		329		38		367		0.1035422343		0		0				436		14		450		0.0311111111

										39		40		77.5		281		69		350		0.1971428571		117.5		1				433		25		458		0.0545851528

										40		50		67.5		142		83		225		0.3688888889								235		76		311		0.2443729904

										41		60		57.5		52		86		138		0.6231884058								38		136		174		0.7816091954

										42		70		47.5		94		274		368		0.7445652174								48		485		533		0.9099437148

										43		80		37.5		48		385		433		0.8891454965								0		526		526		1

										44		90		27.5		38		402		440		0.9136363636								0		523		523		1

		Strip #		150 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				200 V		Pulse Left		Pulse Right		Pulse sum		h		400 V		Pulse Left		Pulse Right		Pulse sum		h

		100				24		30		85		276		71		347		0.204610951		0		0				405		25		430		0.0581395349				509		24		533		0.0450281426

		101				25		40		75		233		104		337		0.3086053412		115		1				388		74		462		0.1601731602				516		38		554		0.0685920578

						26		50		65		91		57		148		0.3851351351								142		54		196		0.2755102041				219		62		281		0.2206405694

						27		60		55		51		67		118		0.5677966102								64		101		165		0.6121212121				67		148		215		0.688372093

						28		70		45		121		202		323		0.6253869969								111		317		428		0.7406542056				61		476		537		0.886405959

						29		80		35		91		250		341		0.7331378299								71		385		456		0.8442982456				37		496		533		0.9305816135

						30		90		25		74		290		364		0.7967032967								57		425		482		0.8817427386				34		519		553		0.938517179

		New 0 position

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		Ideal				200 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		400 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h

				120		22.2		118				25		28		90		32		0		333		23		50		0		0		383		0.1305483029		0		0				25		250		-250		13		0		396		-13		35		0		0		431		0.0812064965				25		250		-250		10		0		469		-23		32		0		0		501		0.0638722555

				121		34						26		38		80		32		0		314		30		54		0		0		368		0.1467391304		118		1				26		260		-260		23		0		424		-13		36		0		0		460		0.0782608696				26		260		-260		0		0		469		-27		30		0		0		499		0.0601202405

												27		48		70		27		0		259		54		86		0		13		345		0.2492753623								27		270		-270		0		0		387		23		68		0		0		455		0.1494505495				27		270		-270		0		0		492		-23		63		0		0		555		0.1135135135

												28		58		60		0		0		41		0		27		0		0		68		0.3970588235								28		280		-280		0		0		59		0		41		0		0		100		0.41				28		280		-280		0		0		77		0		45		0		0		122		0.368852459

		#121		Ampitude		#121		Amplitude				29		68		50		18		0		68		41		132		0		32		200		0.66								29		290		-290		0		0		59		32		178		0		0		237		0.7510548523				29		290		-290		0		0		73		18		273		0		32		346		0.789017341

		20		483		32		451				30		78		40		18		0		86		68		264		0		27		350		0.7542857143								30		300		-300		0		0		50		10		506		-18		0		556		0.9100719424				30		300		-300		0		0		50		10		506		-18		0		556		0.9100719424

		21		86		33		54				31		88		30		0				63		50		342		0		32		405		0.8444444444								31		310		-310		0		0		41		18		428		-23		18		469		0.9125799574				31		310		-310		0		0		36		0		496		-23		18		532		0.9323308271

		22		45		34		32

		23		23		35		45				Estimated strip width:

		24		154		36		387				35 µm

		25		470





Irradiated (6)

		0		0		0

		0		0		0

		0		0

		0		0

		0		0

		0		0



200 Volts

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #650-651

0

0

0

0

0

0

0

0

0

0

0

0

0

0



Irr. (7)

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D24		D25		Pulse 24		Pulse 25		Pulse sum		h		ideal				400 V		Local coord.		D24		D25		Pulse 24		Pulse 25		Pulse sum		h

				24		22.2		120				24.5		23		97		589		98		687		0.1426491994		0		0				24.5		23		97		841		0		841		0

				25		34.2						25.5		33		87		663		135		798		0.1691729323		120		1				25.5		33		87		892		0		892		0

												26.5		43		77		565		140		705		0.1985815603								26.5		43		77		841		61		902		0.0676274945

												27.5		53		67		425		233		658		0.3541033435								27.5		53		67		715		332		1047		0.3170964661

		#24		Amplitude		#25		Amplitude				28		58		62		388		318		706		0.4504249292								28		58		62		607		514		1121		0.4585191793

		20.5		715		32		738				28.5		63		57		322		388		710		0.5464788732								28.5		63		57		402		691		1093		0.6322049405

		21		579		32.5		663				29.5		73		47		196		520		716		0.7262569832								29.5		73		47		135		888		1023		0.8680351906

		21.5		462		33		486				30.5		83		37		201		645		846		0.7624113475								30.5		83		37		140		906		1046		0.8661567878

		22		374		33.5		402				31.5		93		27		140		551		691		0.7973950796								31.5		93		27		112		850		962		0.8835758836

		22.5		340		34		336				32		98		22		112		490		602		0.8139534884								32		98		22		98		771		869		0.8872266974

		23		416		34.5		327

		23.5		551		35		378

		24		631		35.5		462

		24.5		757		36		603

						36.5		705

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D39		D40		Pulse 39		Pulse 40		Pulse sum		h		ideal				400 V		Local coord.		D39		D40		Pulse 39		Pulse 40		Pulse sum		h

				39		38.5		120				41		25		95		537		98		635		0.1543307087		0		0				41		25		95		818		0		818		0

				40		50.5						42		35		85		598		159		757		0.2100396301		120		1				42		35		85		850		0		850		0

												43		45		75		495		159		654		0.2431192661								43		45		75		780		60		840		0.0714285714

												44		55		65		378		290		668		0.4341317365								44		55		65		663		397		1060		0.3745283019

		#39		Amplitude		#40		Amplitude				45		65		55		252		411		663		0.6199095023								45		65		55		360		673		1033		0.651500484

		37.5		446		49.5		474				46		75		45		168		547		715		0.765034965								46		75		45		126		892		1018		0.8762278978

		38.5		265		50.5		339				47		85		35		173		659		832		0.7920673077								47		85		35		103		897		1000		0.897

		39		274		51		367				48		95		25		135		603		738		0.8170731707								48		95		25		89		836		925		0.9037837838

		39.5		395		51.5		442				49		105		15		84		406		490		0.8285714286								49		105		15		84		682		766		0.8903394256

		40.5		553		52.5		679				50		115		5		70		276		346		0.7976878613								50		115		5		65		462		527		0.8766603416

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D64		D65		Pulse 64		Pulse 65		Pulse sum		h		ideal				400 V		Local coord.		D64		D65		Pulse 64		Pulse 65		Pulse sum		h

				64		38		118				39.5		15		103		509		84		593		0.1416526138		0		0				39.5		15		103		761		0		761		0

				65		49.8						40.5		25		93		738		135		873		0.1546391753		120		1				40.5		25		93		836		0		836		0

												41.5		35		83		715		135		850		0.1588235294								41.5		35		83		888		0		888		0

												42.5		45		73		593		206		799		0.2578222778								42.5		45		73		803		177		980		0.5581632653

		#64		Amplitude		#65		Amplitude				43.5		55		63		472		383		855		0.4479532164								43.5		55		63		654		547		1201		0.6378018318

		37		458		48.5		537				44.5		65		53		313		530		843		0.6287069988								44.5		65		53		318		766		1084		0.7066420664

		38		322		49.5		322				45.5		75		43		219		696		915		0.7606557377								45.5		75		43		126		902		1028		0.8774319066

		38.5		472		50		332				46.5		85		33		224		748		972		0.7695473251								46.5		85		33		131		916		1047		0.8748806113

		39		579		50.5		411				47.5		95		23		135		589		724		0.8135359116								47.5		95		23		98		813		911		0.8924259056

		40		813		51.5		705				48		100		18		121		514		635		0.8094488189								48		100		18		107		733		840		0.8726190476

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D85		D86		Pulse 85		Pulse 86		Pulse sum		h		ideal				400 V		Local coord.		D85		D86		Pulse 85		Pulse 86		Pulse sum		h		h-1

				85		46.5		120				47		5		115		472		89		561		0.8413547237		0		0				47		5		115		551		65		616		0.1055194805		0.8944805195

				86		58.5						48		15		105		705		89		794		0.8879093199		120		1				48		15		105		813		51		864		0.0590277778		0.9409722222

												49		25		95		864		117		981		0.880733945								49		25		95		920		0		920		0		1

												50		35		85		874		187		1061		0.8237511781								50		35		85		911		70		981		0.0713557594		0.9286442406

		#85		Amplitude		#86		Amplitude				51		45		75		799		201		1000		0.799								51		45		75		897		107		1004		0.1065737052		0.8934262948

		45		654		57		663				52		55		65		645		486		1131		0.5702917772								52		55		65		780		589		1369		0.4302410519		0.5697589481

		46		462		58		504				53		65		55		430		705		1135		0.3788546256								53		65		55		453		794		1247		0.6367281476		0.3632718524

		46.5		486		58.5		477				54		75		45		248		813		1061		0.2337417531								54		75		45		126		874		1000		0.874		0.126

		47		598		59		598				55		85		35		266		860		1126		0.2362344583								55		85		35		131		883		1014		0.8708086785		0.1291913215

		48		775		60		813				56		95		25		149		771		920		0.1619565217								56		95		25		107		845		952		0.887605042		0.112394958

												57		105		15		112		654		766		0.1462140992								57		105		15		93		705		798		0.8834586466		0.1165413534

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D85		D86		Pulse 85		Pulse 86		Pulse sum		h		ideal				Local coord.		D85		D86		Pulse 85		Pulse 86		Pulse sum		h

				120		25.5		120				27.5		20		100		472		89		561		0.1586452763		0		0		27.5		20		100		845		210		1055		0.1990521327

				121		37.5						28.5		30		90		705		89		794		0.1120906801		120		1		28.5		30		90		892		173		1065		0.1624413146

												29.5		40		80		864		117		981		0.119266055						29.5		40		80		916		177		1093		0.1619396157

												30.5		50		70		874		187		1061		0.1762488219						30.5		50		70		850		570		1420		0.4014084507

		#120		Amplitude		#121		Amplitude				31.5		60		60		799		201		1000		0.201						31.5		60		60		640		827		1467		0.5637355147

		24.5		719		36		794				32.5		70		50		645		486		1131		0.4297082228						32.5		70		50		187		900		1087		0.8279668813

		25.5		369		37		519				33.5		80		40		430		705		1135		0.6211453744						33.5		80		40		112		920		1032		0.8914728682

		26		561		37.5		481				34.5		90		30		248		813		1061		0.7662582469						34.5		90		30		177		911		1088		0.8373161765

		26.5		794		38		757				35.5		100		20		266		860		1126		0.7637655417						35.5		100		20		154		855		1009		0.8473736373

		27.5		902		39		888				36.5		110		10		635		771		1406		0.5483641536						36.5		110		10		168		673		841		0.8002378121

				Strip numbers																																																														Normalised

		Bias		24		25		total		39		40		total		64		65		total		84		85		86		87		total		total		64		65		total		99		100		total		73		74		total		120		121		total										1		2		3		4		5		6		7

		50		173		56		229		32		140		172		79		187		266		51		191		149		42		433		340		139		354		493		163		189		352		200		88		288		453		173		626										0.257751938		0.2470978441		0.2458423717		0.3912698413		0.2693190513		0.24		0.5424610052

		100		257		61		318		70		257		327		159		378		537		70		330		257		56		713		587		232		604		836		316		373		689		421		201		622		719		383		1102										0.5203488372		0.4262023217		0.424439624		0.6634920635		0.5271614384		0.5183333333		0.9549393414

		150		402		93		495		117		411		528		210		532		742		100		514		402		75		1091		916		378		796		1174		426		516		942		593		294		887		934		229		1163										0.7189922481		0.6666666667		0.6623282719		0.9317460317		0.7207345065		0.7391666667		1.0077989601

		200		589		98		687		131		589		720		219		719		938		75		659		467		47		1248		1126		378		889		1267		479		612		1091		779		255		1034		953		223		1176										0.9089147287		0.7744610282		0.8141720897		1.0055555556		0.8347360367		0.8616666667		1.0190641248

		250		748		0		748		112		743		855		191		818		1009		60		743		519		32		1354		1262		308		941		1249		506		699		1205		950		245		1195		948		238		1186										0.9777131783		0.8606965174		0.9125090383		0.9912698413		0.921958684		0.9958333333		1.027729636

		300		775		0		775		98		813		911		159		892		1051		51		771		551				1373		1322		250		994		1244		516		742		1258		1000		167		1167		948		215		1163										1.0184108527		0.9137645108		0.9558929863		0.9873015873		0.9625095639		0.9725		1.0077989601

		350		803		0		803		89		841		930		145		888		1033		37		743		547				1327		1290		221		1017		1238		512		742		1254		1053		167		1220		939		206		1145										1.0009689922		0.9071310116		0.9327548807		0.9825396825		0.9594491201		1.0166666667		0.9922010399

		400		841		0		841		89		892		981		140		888		1028		32		743		542				1317		1285		221		1029		1250		516		745		1261		1063		176		1239		950		238		1188										0.996124031		0.8988391376		0.9291395517		0.9920634921		0.9648048967		1.0325		1.0294627383

		500		860		0		860		84		850		934		154		878		1032		47		780		603				1430		1383		220		1040		1260		522		785		1307		1063		137		1200		944		210		1154										1		1		1		1		1		1		1

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D64		D65		Pulse 64		Pulse 65		Pulse sum		h		ideal				Local coord.		D64		D65		Pulse 64		Pulse 65		Pulse sum		h

				64		41		120				43		20		100		901		198		1099		0.1801637853		0		0		43		20		100		994		157		1151		0.1364031277

				65		53						44		30		90		930		343		1273		0.2694422624		120		1		44		30		90		1000		190		1190		0.1596638655

												45		40		80		901		337		1238		0.2722132472						45		40		80		970		180		1150		0.1565217391

												46		50		70		773		529		1302		0.4062980031						46		50		70		901		575		1476		0.3895663957

		#64		Amplitude		#65		Amplitude				47		60		60		616		755		1371		0.5506929249						47		60		60		762		883		1645		0.5367781155

		39		889		51		906				48		70		50		424		860		1284		0.6697819315						48		70		50		256		947		1203		0.78719867

		40		703		52		726				49		80		40		420		959		1379		0.6954314721						49		80		40		186		988		1174		0.8415672913

		40.5		453		52.5		465				50		90		30		325		912		1237		0.7372675829						50		90		30		192		994		1186		0.8381112985

		41		395		53		424				51		100		20		227		831		1058		0.7854442344						51		100		20		180		924		1104		0.8369565217

		42		837		54		813

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D99		D100		Pulse 99		Pulse 100		Pulse sum		h		ideal				Local coord.		D99		D100		Pulse 99		Pulse 100		Pulse sum		h

				99		4		120				6		20		100		872		86		958		0.0897703549		0		0		6		20		100		908		0		908		0

				100		16						7		30		90		902		140		1042		0.1343570058		120		1		7		30		90		942		23		965		0.0238341969

												8		40		80		855		133		988		0.1346153846						8		40		80		918		43		961		0.0447450572

												9		50		70		722		100		822		0.1216545012						9		50		70		815		403		1218		0.3308702791

		#99		Amplitude		#100		Amplitude				10		60		60		532		652		1184		0.5506756757						10		60		60		549		745		1294		0.5757341577

		2		832		14		772				11		70		50		270		785		1055		0.7440758294						11		70		50		130		892		1022		0.8727984344

		3		691		15		562				12		80		40		226		888		1114		0.7971274686						12		80		40		86		945		1031		0.916585839

		3.5		452		15.5		393				13		90		30		206		878		1084		0.8099630996						13		90		30		93		905		998		0.9068136273

		4		393		16		432				14		100		20		180		749		929		0.8062432723						14		100		20		165		815		980		0.8316326531

		5		729		17		749

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D73		D74		Pulse 73		Pulse 74		Pulse sum		h		ideal				Local coord.		D73		D74		Pulse 73		Pulse 74		Pulse sum		h

				73		5.5		120				6		5		115		384		384		768		0.5		0		0		6		5		115		503		503		1006		0.5

				74		17.5						7		15		105		648		113		761		0.1484888305		120		1		7		15		105		761		25		786		0.0318066158

												8		25		95		799		138		937		0.1472785486						8		25		95		899		22		921		0.0238870793

												9		35		85		818		157		975		0.161025641						9		35		85		950		16		966		0.016563147

		#73		Amplitude		#74		Amplitude				10		45		75		657		223		880		0.2534090909						10		45		75		872		111		983		0.1129196338

		3.5		767		15.5		755				11		55		65		555		456		1011		0.4510385757						11		55		65		761		531		1292		0.4109907121

		4.5		569		16.5		549				12		65		55		353		603		956		0.6307531381						12		65		55		317		797		1114		0.7154398564

		5		368		17		362				13		75		45		270		837		1107		0.756097561						13		75		45		108		1093		1201		0.9100749376

		5.5		299		17.5		396				14		85		35		309		936		1245		0.7518072289						14		85		35		108		1112		1220		0.9114754098

		6.5		613		18		679				15		95		25		230		916		1146		0.7993019197						15		95		25		83		1044		1127		0.92635315

		Strip #		10		11		Total		30		31		Total		50		51		Total		70		71		Total		90		91		Total		110		111		Total		Normalised		10		30		50		70		90		110

		50		67		15		82		38		8		46		36		15		51		50		10		60		74		18		92		616		180		796		50		0.1876430206		0.1916666667		0.2015810277		0.1754385965		0.2105263158		0.6683459278

		100		119		37		156		66		11		77		60		27		87		79		26		105		126		33		159		831		331		1162		100		0.356979405		0.3208333333		0.3438735178		0.3070175439		0.3638443936		0.9756507137

		150		158		43		201		86		23		109		85		27		112		116		34		150		208		54		262		906		285		1191		150		0.4599542334		0.4541666667		0.442687747		0.4385964912		0.5995423341		1

		200		262		34		296		138		18		156		136		27		163		186		30		216		324		0		324		936		198		1134		200		0.6773455378		0.65		0.6442687747		0.6315789474		0.7414187643		0.9521410579

		250		353		0		353		186		0		186		186		0		186		255		0		255		371		0		371		941		157		1098		250		0.8077803204		0.775		0.7351778656		0.7456140351		0.8489702517		0.9219143577

		300		398		0		398		213		0		213		215		0		215		282		0		282		391		0		391		941		168		1109		300		0.9107551487		0.8875		0.8498023715		0.8245614035		0.8947368421		0.9311502939

		350		429		0		429		231		0		231		225		0		225		295		0		295		417		0		417		953		128		1081		350		0.9816933638		0.9625		0.8893280632		0.8625730994		0.9542334096		0.9076406381

		400		429		0		429		234		0		234		245		0		245		312		0		312		429		0		429		970		163		1133		400		0.9816933638		0.975		0.9683794466		0.9122807018		0.9816933638		0.9513014274

		500		437		0		437		240		0		240		253		0		253		342		0		342		437		0		437		965		157		1122		500		1		1		1		1		1		0.9420654912

		Norm. factor						409.2						220.8						224.8						297.2						409						1108.6

																																																																																																		Routing/Total

																																																																														Strip 120-121				Pos. 39						Strip 120-121				Pos. 41.5

		Strip #		10		11		Total		30		31		Total		50		51		Total		70		71		Total		90		91		Total		110		111		Total		120		int 1		121		int 2		Total						Normalised		10		30		50		70		90		110		120										120		int 1		121		int 2				120		int 1		121		int 2				Rout. 1		Tot.1		Rou. 2		Tot. 2		Rout. 3		Tot. 3		Ratio 1		Ratio 2		Ratio 3

		50		41		85		126		24		58		82		0		80		80		15		76		91														38		21		104		-10		142						50		0.2016		0.2		0.1500938086		0.1529411765		0		0		0.2610294118								50		52		10		24		-10				28		20		70		-10				21		142		10		86		20		118		0.1478873239		0.1162790698		0.1694915254

		100		63		140		203		22		84		106		31		135		166		38		142		180														62		34		177		-21		239						100		0.3248		0.2585365854		0.3114446529		0.3025210084		0		0		0.4393382353								100		97		24		48		-17				66		38		135		-10				34		239		24		169		38		239		0.1422594142		0.1420118343		0.1589958159

		150		92		210		302		38		133		171		52		197		249		48		211		259														55		24		385		-31		440						150		0.4832		0.4170731707		0.4671669794		0.4352941176		0		0		0.8088235294								150		222		17		52		-17				66		38		284		-20				24		440		17		291		38		388		0.0545454545		0.058419244		0.0979381443

		200		81		329		410		39		207		246		45		291		336		48		325		373														48		15		454		-24		502						200		0.656		0.6		0.6303939962		0.6268907563		0		0		0.9227941176								200		287		0		55		0				55		21		395		-30				15		502		0		342		21		471		0.0298804781		0		0.0445859873

		250		59		443		502		32		300		332		34		398		432		24		429		453														45		0		468		-34		513						250		0.8032		0.8097560976		0.8105065666		0.7613445378		0		0		0.9430147059								250		308		-24		55		0				42		0		436		-45				0		513		-24		339		0		478		0		-0.0707964602		0

		300		59		510		569		30		321		351		35		433		468		28		495		523														34		-10		478		-34		512						300		0.9104		0.856097561		0.8780487805		0.8789915966		0		0		0.9411764706								300		308		-17		62		0				55		0		454		-42				-10		512		-17		353		0		509		-0.01953125		-0.0481586402		0

		350		50		530		580		23		342		365		31		454		485		30		516		546														34		-17		495		-34		529						350		0.928		0.8902439024		0.9099437148		0.9176470588		0		0		0.9724264706								350		315		-25		62		0				48		0		478		-45				-17		529		-25		352		0		526		-0.0321361059		-0.0710227273		0

		400		45		561		606		10		370		380		24		468		492		34		513		547														34		-17		502		-34		536						400		0.9696		0.9268292683		0.9230769231		0.9193277311		0		0		0.9852941176								400		315		-28		55		0				42		0		485		-38				-17		536		-28		342		0		527		-0.0317164179		-0.081871345		0

		500		45		580		625		10		400		410		10		523		533		34		561		595						1						1		34		-17		510		-34		544						500		1		1		1		1		1		1		1								500		340		-31		55		0				52		0		520		-38				-17		544		-31		364		0		572		-0.03125		-0.0851648352		0

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal														50		0.1529411765

				10		24		110				26		20		90		239		62		301		0.2059800664		0		0				26		20		90		409		59		468		0.1260683761		0		0												100		0.3025210084

				11		35						27		30		80		350		76		426		0.1784037559		110		1				27		30		80		582		0		582		0		110		1												150		0.4352941176

												28		40		70		298		104		402		0.2587064677								28		40		70		520		52		572		0.0909090909																200		0.6168907563

												29		50		60		149		83		232		0.3577586207								29		50		60		270		76		346		0.2196531792																250		0.7513445378

		#10		Amplitude		#11		Amplitude				30		60		50		90		152		242		0.6280991736								30		60		50		100		281		381		0.7375328084																300		0.8789915966

		25.5		491		37		343				31		70		40		118		291		409		0.7114914425								31		70		40		80		544		624		0.8717948718																350		0.9276470588

		26		376		38		0				32		80		30		94		357		451		0.7915742794								32		80		30		55		564		619		0.9111470113																400		0.9793277311

		26.5		173		39		0				33		90		20		80		277		357		0.7759103641								33		90		20		76		447		523		0.8546845124																500		1.03

		27.5		0		40		0

		28		0		41		406						25		0.1354679803																						25		0

		28.5		0										35		0.2190721649																						35		0

		29.5		108.6										45		0.3144329897																						45		0

		30		310										48		0.3333333333																						48		0.1697247706

		30.5		472										65		0.6071428571																						65		0.7439759036

														75		0.7055702918																						75		0.8892794376

														85		0.7814726841																						85		1

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h

				30		22		110				24		20		90		114		61		175		0.3485714286		0		0				24		20		90		195		58		253		0.2292490119

				31		33						25		30		80		168		47		215		0.2186046512		110		1				25		30		80		309		0		309		0

												26		40		70		160		75		235		0.3191489362								26		40		70		328		0		328		0

												27		50		60		95		73		168		0.4345238095								27		50		60		161		58		219		0.2648401826

		#30		Amplitude		#31		Amplitude				28		60		50		39		65		104		0.625								28		60		50		56		91		147		0.619047619

		18.5		210		31		280				29		70		40		58		147		205		0.7170731707								29		70		40		51		303		354		0.8559322034

		19.5		163		32		67				30		80		30		52		203		255		0.7960784314								30		80		30		5		372		377		0.9867374005

		20.5		91		33		47				31		90		20		42		198		240		0.825								31		90		20		10		367		377		0.9734748011

		21.5		37		34		49

		22.5		39		35		212

		23.5		137

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h

				50		49		110				51		20		90		253		45		298		0.1510067114		0		0				51		20		90		429		0		429		0

				51		60						52		30		80		225		55		280		0.1964285714		110		1				52		30		80		423		0		423		0

												53		40		70		177		86		263		0.3269961977								53		40		70		385		52		437		0.118993135

												54		50		60		0		0		0		0								54		50		60		0		0		0		0

		#50		Amplitude		#51		Amplitude				55		60		50		62		128		190		0.6736842105								55		60		50		69		267		336		0.7946428571

		46.5		320		57.5		385				56		70		40		83		232		315		0.7365079365								56		70		40		42		461		503		0.916500994

		47.5		42		58.5		50				57		80		30		52		277		329		0.8419452888								57		80		30		28		461		489		0.9427402863

		48.5		0		59.5		0				58		90		20		55		270		325		0.8307692308								58		90		20		24		468		492		0.9512195122

		49.5		0		60.5		30

		50.5		229		61.5		104						20										0.1510067114										20										0

						62.5		385						30										0.1964285714										30										0

														40										0.3269961977										40										0.118993135

														60										0.6736842105										60										0.7946428571

														70										0.7365079365										70										0.916500994

														80										0.8419452888										80										0.9427402863

														90										0.8307692308										90										0.9512195122

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h

				70		38		115				40		20		95		263		55		318		0.1729559748		0		0				40		20		95		395		59		454		0.1299559471

				71		49.5						41		30		85		374		42		416		0.1009615385		110		1				41		30		85		547		0		547		0

												42		40		75		315		76		391		0.1943734015								42		40		75		550		0		550		0

												43		50		65		121		55		176		0.3125								43		50		65		204		42		246		0.1707317073

		#70		Amplitude		#71		Amplitude				44		60		55		48		50		98		0.5102040816								44		60		55		59		83		142		0.5845070423

		36		429		47.5		190				45		70		45		114		253		367		0.689373297								45		70		45		66		499		565		0.8831858407

		37		52		48.5		31				46		80		35		76		333		409		0.8141809291								46		80		35		38		561		599		0.9365609349

		38		0		49.5		0				47		90		25		66		381		447		0.8523489933								47		90		25		34		513		547		0.9378427788

		39		38		50.5		76

		40		412		51.5		423

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h

				120		34		120				36		20		100		346		121		467		0.2591006424		0		0				36		20		100		377		135		512		0.263671875

				121		46						37		30		90		616		59		675		0.0874074074		110		1				37		30		90		682		48		730		0.0657534247

												38		40		80		616		62		678		0.0914454277								38		40		80		665		52		717		0.0725244073

												39		50		70		308		55		363		0.1515151515								39		50		70		385		66		451		0.1463414634

		#120		Amplitude		#121		Amplitude				40		60		60		59		59		118		0.5								40		60		60		66		66		132		0.5

		32.5		391		44		513				41		70		50		90		360		450		0.8								41		70		50		86		450		536		0.8395522388

		33.5		76		45		86				42		80		40		59		450		509		0.884086444								42		80		40		42		520		562		0.9252669039

		34.5		59		46		69				43		90		30		38		468		506		0.9249011858								43		90		30		28		523		551		0.9491833031

		35.5		142		47		104

		36.5		606		48		475

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h

				90		35		117.5				38		158		-38		329		38		367		0.1035422343		0		0				38		158		-38		436		0		436		0

				91		46.75						39		168		-48		281		69		350		0.1971428571		117.5		1				39		168		-48		433		0		433		0

												40		178		-58		142		83		225		0.3688888889								40		178		-58		235		76		311		0.2443729904

												41		188		-68		52		86		138		0.6231884058								41		188		-68		38		136		174		0.7816091954

		#70		Ampitude		#71		Amplitude				42		198		-78		94		274		368		0.7445652174								42		198		-78		48		485		533		0.9099437148

												43		208		-88		48		385		433		0.8891454965								43		208		-88		0		526		526		1

												44		218		-98		38		402		440		0.9136363636								44		218		-98		0		523		523		1

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h

				90		35		117.5				38		30		87.5		329		38		367		0.1035422343		0		0				38		30		87.5		436		0		436		0

				91		46.75						39		40		77.5		281		69		350		0.1971428571		117.5		1				39		40		77.5		433		0		433		0

												40		50		67.5		142		83		225		0.3688888889								40		50		67.5		235		76		311		0.2443729904

												41		60		57.5		52		86		138		0.6231884058								41		60		57.5		38		136		174		0.7816091954

		#90		Ampitude		#91		Amplitude				42		70		47.5		94		274		368		0.7445652174								42		70		47.5		48		485		533		0.9099437148

		33		346		45		263				43		80		37.5		48		385		433		0.8891454965								43		80		37.5		0		526		526		1

		33.5		160		45.5		94				44		90		27.5		38		402		440		0.9136363636								44		90		27.5		0		523		523		1

		34		55		46		42

		34.5		10		46.5		28

		35		10		47		24

		35.5		15		47.5		59

		36		59		48		138

		36.5		184		49		523

		37		364

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				200 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		400 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h

				100		21		115				24		30		85		276		71		347		0.204610951		0		0				24		30		85		405		0		405		0				24		30		85		509		0		509		0

				101		32.5						25		40		75		233		104		337		0.3086053412		115		1				25		40		75		388		74		462		0.1601731602				25		40		75		516		0		516		0

												26		50		65		91		57		148		0.3851351351								26		50		65		142		54		196		0.2755102041				26		50		65		219		54		273		0.1978021978

												27		60		55		51		67		118		0.5677966102								27		60		55		64		101		165		0.6121212121				27		60		55		67		148		215		0.688372093

		#100		Ampitude		#101		Amplitude				28		70		45		121		202		323		0.6253869969								28		70		45		111		317		428		0.7406542056				28		70		45		61		476		537		0.886405959

		18.5		408		31		196				29		80		35		91		250		341		0.7331378299								29		80		35		71		385		456		0.8442982456				29		80		35		37		496		533		0.9305816135

		19.5		108		32		50				30		90		25		74		290		364		0.7967032967								30		90		25		57		425		482		0.8817427386				30		90		25		34		519		553		0.938517179

		20.5		40		32.5		30

		21.5		35		33		37

		22.5		105		33.5		50

		23.5		445		34		101

						35		452

																12		23		34		-10		-18		-23		-27		-27		-27

																																				New												Other position

		Strip #		70		71		Total		90		91		Total		99		100		101		102		Total		Total		Normalised		70		90		100		120		Int 2		121		Int 3		122		Total		119		120		Int 2		121		Total

		50		31		78		109		31		83		114		13		30		101		13		157		131				0.2060491493		0.2054054054		0.2364620939		45		27		100		25		32		145		27		91		18		41		132

		100		53		125		178		45		142		187		20		67		182		33		302		249				0.3364839319		0.3369369369		0.4494584838		68		41		178		10		30		246		30		168		35		68		236

		150		58		180		238		66		232		298		23		74		290		45		432		364				0.449905482		0.5369369369		0.6570397112		63		50		342		0		30		405		35		314		35		54		368

		200		73		290		363		48		374		422		17		57		425		15		514		482				0.6862003781		0.7603603604		0.8700361011		50		27		446		-10		30		496		27		405		0		41		446

		250		51		388		439		31		478		509		0		51		472		5		528		523				0.8298676749		0.9171171171		0.9440433213		41		15		490		-18		23		531		15		433		-18		32		465

		300		38		462		500		17		501		518		0		40		500		0		540		540				0.9451795841		0.9333333333		0.9747292419		36		0		501		-27		18		537		10		446		-20		41		487

		350		33		485		518		20		535		555		0		34		513		0		547		547				0.9792060491		1		0.9873646209		32		0		510		-23		18		542		10		460		-20		36		496

		400		31		498		529		20		535		555		0		34		520		0		554		554				1		1		1		36		0		519		-23		18		555		10		474		-23		36		510

		500		30		540		570		0		578		578		0		34		540		0		574		574				1.0775047259		1.0414414414		1.036101083		32		0		533		-23		18		565		10		483		-23		36		519

		Futher Measurements as a function of the r-position

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		Ideal				200 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		400 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h

				120		19.8		61				21		12		49		47.12		28.88		171.76		28.88		80.56		28.88		41.8		252.32		0.3192771084		0		0				21		12		49		57		36.48		262.2		47.12		117.04		31.16		44.08		379.24		0.3086172345				21		12		49		28.88		0		428.64		-31.16		119.32		0		31.16		547.96		0.2177531207

				121		25.9						22		22		39		44		27		140		27		68		10		31		208		0.3269230769		61		1				22		22		39		62		38		215		51		106		27		31		321		0.3302180685				22		22		39		48		0		431		-17		126		0		10		557		0.2262118492

												23		32		29		0		0		24		0		24		0		0		48		0.5								23		32		29		0		0		34		0		34		0		0		68		0.5				23		32		29		0		0		58		0		65		0		0		123		0.5284552846

												24		42		19		34		15		105		41		212		24		48		317		0.6687697161								24		42		19		51		27		157		85		335		34		62		492		0.6808943089				24		42		19		31		0		130		21		619		-24		34		749		0.826435247

		#121		Ampitude		#121		Amplitude				25		52		9		38		17		89		31		205		12		41		294		0.6972789116								25		52		9		51		23		128		57		341		15		44		469		0.7270788913				25		52		9		51		0		131		10		560		-30		27		691		0.8104196816

		19		398		25		351

		19.5		58		25.5		104				Estimated strip width:								Routing line		#120		#121

		20		72		26		47				16 µm								25.6		447		85		0.9933333333		0.1888888889		532		0.7093333333

		20.5		212		26.5		81												26		242		68		0.5377777778		0.1511111111		310		0.4133333333

		21		489		27		368												26.2		103		31		0.2288888889		0.0688888889		134		0.1786666667

																				26.4		65		31		0.1444444444		0.0688888889		96		0.128

																				26.6		58		31		0.1288888889		0.0688888889		89		0.1186666667

																				26.8		42		40		0.0933333333		0.0888888889		82		0.1093333333

																				27		42		55		0.0933333333		0.1222222222		97		0.1293333333

																				27.2		54		154		0.12		0.3422222222		208		0.2773333333

																				27.4		71		248		0.1577777778		0.5511111111		319		0.4253333333

																				27.6		81		310		0.18		0.6888888889		391		0.5213333333

																				28		92		448		0.2044444444		0.9955555556		540		0.72

		Futher Measurements as a function of the r-position								Far end

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		Ideal				200 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		400 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h

				120		23		78				25		20		58		40		0		184		23		61		0		15		245		0.2489795918		0		0				25		20		58		33		0		255		38		76		0		18		331		0.2296072508				25		20		58		54		0		523		-10		54		0		0		577		0.0935875217

				121		30.8						26		30		48		31		0		89		24		51		0		24		140		0.3642857143		78		1				26		30		48		31		0		116		31		65		0		24		181		0.3591160221				26		30		48		31		0		263		0		78		0		0		341		0.2287390029

												27		40		38		0		0		0		0		0		0		0		0		0								27		40		38		0		0		0		0		0		0		0		0		0				27		40		38		0		0		0		0		0		0		0		0		0

												28		50		28		20		0		68		41		157		0		31		225		0.6977777778								28		50		28		0		0		99		61		222		0		34		321		0.691588785				28		50		28		0		0		78		15		492		-31		24		570		0.8631578947

		#121		Ampitude		#121		Amplitude				29		60		18		0		0		61		27		184		0		31		245		0.7510204082								29		60		18		0		0		78		48		276		0		37		354		0.7796610169				29		60		18		0		0		44		0		540		-31		13		584		0.9246575342

		21		728		29		755

		22		230		30		225				Estimated strip width:

		22.5		134		30.5		101				20 µm

		23		107		31		96

		23.5		150		31.5		161

		24		557		32		551

		25		760

										1 cm plus

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		Ideal				200 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		400 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h

				120		22.7		95				25		23		72		44		0		222		34		68		0		17		290		0.2344827586		0		0				25		23		72		41		0		366		31		68		0		24		434		0.1566820276				25		23		72		27		0		557		-24		48		0		0		605		0.079338843

				121		32.2						26		33		62		41		0		208		51		103		0		24		311		0.3311897106		95		1				26		33		62		31		0		311		68		112		0		34		423		0.2647754137				26		33		62		17		0		543		-20		78		0		0		621		0.1256038647

												27		43		52		0		0		0		0		0		0		0		0		0								27		43		52		0		0		58		0		27		0		0		85		0.3176470588				27		43		52		0		0		103		0		44		0		0		147		0.2993197279

												28		53		42		0		0		44		31		78		0		0		122		0.6393442623								28		53		42		0		0		58		24		120		0		0		178		0.6741573034				28		53		42		0		0		61		0		236		0		0		297		0.7946127946

		#121		Ampitude		#121		Amplitude				29		63		32		24		0		82		51		195		0		17		277		0.7039711191								29		63		32		27		0		112		85		328		0		34		440		0.7454545455				29		63		32		0		0		65		0		574		-37		15		639		0.8982785603

		21		464		30		523				30		73		22		0		0		71		44		242		0		31		313		0.7731629393								30		73		22		0		0		78		58		383		0		37		461		0.830802603				30		73		22		0		0		34		0		588		-40		13		622		0.9453376206

		22		58		31		171				Estimated strip width:

		22.5		37		32		41				25 µm

		23		51		32.5		51

		23.5		58		33		65

		24		178		34		499

		25		496

										1 cm plus

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		Ideal				200 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		400 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h

				120		22.7		108				25		23		85		34		0		254		29		45		0		0		299		0.1505016722		0		0				25		23		85		22		0		388		0		34		0		0		422		0.0805687204				25		23		85		11		0		474		-29		26		0		0		500		0.052

				121		33.5						26		33		75		26		0		228		41		63		0		10		291		0.2164948454		108		1				26		33		75		22		0		374		0		40		0		0		414		0.0966183575				26		33		75		0		0		474		-25		30		0		0		504		0.0595238095

												27		43		65		34		0		190		78		101		0		26		291		0.3470790378								27		43		65		26		0		317		37		82		0		12		399		0.2055137845				27		43		65		0		0		456		-22		71		0		0		527		0.1347248577

												29		63		45		12		0		85		60		157		0		29		242		0.6487603306								29		63		45		0		0		93		67		269		0		34		362		0.7430939227				29		63		45		0		0		71		18		422		-22		18		493		0.8559837728

		#121		Ampitude		#121		Amplitude				30		73		35		0		0		63		56		209		0		0		272		0.7683823529								30		73		35		0		0		48		34		366		-18		18		414		0.884057971				30		73		35		0		0		26		0		508		-26		0		534		0.9513108614

		20		470		31		508				31		83		25		0		0		50		37		247		0		26		297		0.8316498316								31		83		25		0		0		34		34		490		-30		0		524		0.9351145038				31		83		25		0		0		10		0		490		-30		0		500		0.98

		21		300		32		247

		22		40		33		41

		23		0		33.5		29				Estimated strip width:

		23.5		0		34		41				30 µm

		24		85		35		134

		25		430		36		500

		New 0 position

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		Ideal				200 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		400 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h

				120		22.2		118				25		28		90		32		0		333		23		50		0		0		383		0.1305483029		0		0				25		28		90		13		0		396		-13		35		0		0		431		0.0812064965				25		28		90		10		0		469		-23		32		0		0		501		0.0638722555

				121		34						26		38		80		32		0		314		30		54		0		0		368		0.1467391304		118		1				26		38		80		23		0		424		-13		36		0		0		460		0.0782608696				26		38		80		0		0		469		-27		30		0		0		499		0.0601202405

												27		48		70		27		0		259		54		86		0		13		345		0.2492753623								27		48		70		0		0		387		23		68		0		0		455		0.1494505495				27		48		70		0		0		492		-23		63		0		0		555		0.1135135135

												28		58		60		0		0		41		0		27		0		0		68		0.3970588235								28		58		60		0		0		59		0		41		0		0		100		0.41				28		58		60		0		0		77		0		45		0		0		122		0.368852459

		#121		Ampitude		#121		Amplitude				29		68		50		18		0		68		41		132		0		32		200		0.66								29		68		50		0		0		59		32		178		0		0		237		0.7510548523				29		68		50		0		0		73		18		273		0		32		346		0.789017341

		20		483		32		451				30		78		40		18		0		86		68		264		0		27		350		0.7542857143								30		78		40		0		0		50		10		506		-18		0		556		0.9100719424				30		78		40		0		0		50		10		506		-18		0		556		0.9100719424

		21		86		33		54				31		88		30		0				63		50		342		0		32		405		0.8444444444								31		88		30		0		0		41		18		428		-23		18		469		0.9125799574				31		88		30		0		0		36		0		496		-23		18		532		0.9323308271

		22		45		34		32

		23		23		35		45				Estimated strip width:

		24		154		36		387				35 µm

		25		470



Irradiated section n. 6



Irr. (7)

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0



Strp #99

Strip #100

Strip #101

Strip #102

Bias [V]

Collected charge [Arb. unit]

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



Non irr. (2)

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0



0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



Various final Pic.

		0

		0

		0

		0

		0

		0

		0

		0

		0



Strip #690

Bias [V]

Collected charge (arb. unit)

0

0

0

0

0

0

0

0

0



Final pic. eta

		Bias 250 V		Strip #		Centre		Distance		50 V		Local coord.		D24		D25		Pulse Left		Int		Pulse Right		Pulse sum		h		ideal				100 V		Pulse Left		Int		Pulse Right		Pulse sum		h		300 V		Pulse Left		Int		Pulse Right		Pulse sum		h				Volt scan		#6		Int.		#7		Total		Normalised				Volt scan		#59		#60		#61		Total		Normalised				Volt scan		#114		Int.		#115		Int.		#116		Total		Normalised		Rout/total		Volt #6		#6		Volt #115		#115

				6		37		115				40		30		85		104		18		40		144		0.2777777778		0		0				246				45		291		0.1546391753				333		-23		27		360		0.075				20		23		5		54		77		0.2086720867				20		32		141		54		227		0.576142132				10		63		4		159		23		32		222		0.5536159601				20		0.0649350649		10		0.1036036036

				7		48.5						41		40		75		86		32		54		140		0.3857142857		115		1				214		36		63		277		0.2274368231				323		-23		36		359		0.1002785515				40		32		18		100		132		0.3577235772				40		41		264		54		359		0.9111675127				20		80				246		23		36		326		0.812967581				40		0.1363636364		20		0.0705521472

												42		50		65		45		9		32		77		0.4155844156								128		36		63		191		0.3298429319				209		0		68		277		0.2454873646				50		36		23		123		159						50		36		287		50		373		0.9467005076				40		82				314		23		41		396		0.9875311721				50		0.1446540881		40		0.0580808081

												43.5		65		50		36		18		54		90		0.6								50		36		118		168		0.7023809524				63		13		246		309		0.7961165049				60		45		27		145		190		0.5149051491				60		36		298		40		374		0.9492385787				50		73				328		13		32		401		1				60		0.1421052632		50		0.0324189526

		#6		Amplitude		#7		Amplitude				44		70		45		45		27		77		122		0.631147541								50		36		195		245		0.7959183673				41		9		305		346		0.8815028902				80		59		41		205		264		0.7154471545				80		30		328		27		385		0.9771573604				60		68				333		13		32		401		1				80		0.1553030303		60		0.0324189526

		34.5		305		46.5		296				45		80		35		45		23		104		149		0.6979865772								45		41		241		286		0.8426573427				27		9		342		369		0.9268292683				100		45		36		259		304		0.8238482385				100		27		337		24		388		0.9847715736				80		59				342		9		32		401		1				100		0.1184210526		80		0.0224438903

		35.5		137		47.5		54				46		90		25		9		0		50		59		0.8474576271								45		36		255		300		0.85				27		4		337		364		0.9258241758				125		36		23		296		332		0.8997289973				150		24		355		21		400		1.0152284264				100		46				351				18		397		0.9900249377				125		0.0692771084		100		0

		36.5		27		48.5		0																																																		150		32		18		323		355		0.9620596206				200		23		360		20		403		1.0228426396				125		45				355				27		400		0.9975062344				150		0.0507042254		125		0

		37.5		0		49.5		36																																																		175		32		18		328		360		0.9756097561				300		20		374		0		394		1				150		45				355				27		400		0.9975062344				175		0.05		150		0

		38.5		100		50.5		232																																																		200		23		9		337		360		0.9756097561																		200		45				355				18		400		0.9975062344				200		0.025		200		0

		39.5		305		51.5		333																																																		300		23		9		346		369		1																		300		41				360				18		401		1				300		0.0243902439		300		0

		40.5		319





Final pic. eta

		0		0		0		0

		0		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0



50 Volt

100 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #774-775

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



Neff vs position

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0



0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



Eta comparison

		Bias 250 V		Strip #		Centre		Distance		25 V		Local coord.		D24		D25		Pulse Left		Pulse Right		Pulse sum		h		ideal				50 V		Pulse Left		Pulse Right		Pulse sum		h		150 V		Pulse Left		Pulse Right		Pulse sum		h								Volt scan		#60		#61		Total		Normalised

				60		43.2		113				46		28		85		212		1		213		0.0046948357		0		0				311		1		312		0.0032051282				410		1		411		0.00243309						3.1622776602		10		95		0		95		0.2467532468

				61		54.5						47		38		75		143		20		163		0.1226993865		113		1				222		1		223		0.0044843049				294		1		295		0.0033898305						5		25		191		0		191		0.4961038961

												48		48		65		68		34		102		0.3333333333								123		58		181		0.320441989				171		68		239		0.2845188285						7.0710678119		50		283		0		283		0.7350649351

												49		58		55		37		109		146		0.7465753425								37		161		198		0.8131313131				37		212		249		0.8514056225						8.6602540378		75		321		0		321		0.8337662338

		#60		Amplitude		#61		Amplitude				50		68		45		31		174		205		0.8487804878								34		259		293		0.8839590444				50		334		384		0.8697916667						10		100		352		0		352		0.9142857143

		41		308		52		386				51		78		35		24		181		205		0.8829268293								24		263		287		0.9163763066				20		345		365		0.9452054795						12.2474487139		150		372		0		372		0.9662337662

		42		171		53		253																																														14.1421356237		200		372		0		372		0.9662337662

		43		20		54		116																																														17.3205080757		300		385		0		385		1

		44		49		55		24

		45		209		56		123

		46		345		57		280

						58		389

		Bias 250 V		Strip #		Centre		Distance		20 V		Local coord.		D24		D25		#115		Int 1		#116		Int 2		#117		Pulse sum		h		ideal				50 V		#115		Int 1		#116		Int 2		#117		Pulse sum		h		200 V		#115		Int 1		#116		Int 2		#117		Pulse sum		h				Volt scan		#115		#116		Int		#117		Total		Normalised

				115		21		114				24		30		84		198		-17		27						225		0.12		0		0				317		-17		31						348		0.0890804598				403		-30		24						427		0.056206089		3.1622776602		10				116						116		0.2829268293

				116		32.4						25		40		74		178		-13		27						205		0.1317073171		114		1				311		-20		41						352		0.1164772727				396		-27		27						423		0.0638297872		5		25		31		208		-5		20		228		0.556097561

												26		50		64		126		-13		37						163		0.226993865								242		-17		61						303		0.201320132				334		-24		68						402		0.1691542289		7.0710678119		50		31		308		-7		20		328		0.8

												28		70		44		34				137				17		171		0.8011695906								48				236				24		284		0.8309859155				54		-5		317		-13		24		371		0.8544474394		8.6602540378		75		24		345		-17		20		365		0.8902439024

		#115		Amplitude		#116		Amplitude				29		80		34		24				181				17		205		0.8829268293								31				311		-10		20		342		0.9093567251				27				400		-17		17		427		0.9367681499		10		100		27		366		-20		17		383		0.9341463415

		18		400		30		389				29.5		85		29		27				195						222		0.8783783784								34				314		-15		20		348		0.9022988506				24				389		-24		17		413		0.9418886199		11.1803398875		125		24		380		-17		13		393		0.9585365854

		19		270		31		89																																																												12.2474487139		150		24		385		-20		13		398		0.9707317073

		20		34		32		28																																																												14.1421356237		200		24		389		-20		13		402		0.9804878049

		21		30		33		30																																																												17.3205080757		300		24		393		-20		17		410		1

		22		38		34		126

		23		308		35		389

		24		400





Strip 120 

		47		400		-30		380

		48		280		-20		260

		49		41		-10		21

		50		20		0		0

		51		51		10		31

		52		273		20		253

		53		410		30		390

		Beam Profile

		Coordinate		Front		Back

		0						10

		10		1.00E+13		1.05E+13		20		1.00E+13		1.05E+13

		20		4.50E+13		4.55E+13		30		4.50E+13		4.55E+13

		25		3.00E+14		2.52E+14		35		3.00E+14		2.52E+14

		30		4.10E+14		4.40E+14		40		4.10E+14		4.40E+14

		35		4.30E+14		4.60E+14		45		4.30E+14		4.60E+14

		40		3.15E+14		3.80E+14		50		3.15E+14		3.80E+14

		45		1.09E+14		2.70E+14		55		1.09E+14		2.70E+14

		55		1.20E+13		2.70E+13		65		1.20E+13		2.70E+13

		65		7.00E+11		1.20E+12		75		7.00E+11		1.20E+12





Strip 120 

		0

		0

		0

		0

		0

		0

		0



Local coord. [µm]

Amplitude [arb. Units]

Strip scan #10

0

0

0

0

0

0

0



Inner stri #623 

		55		0		55		55

		50		1		50		50

		45		2		45		45

		40		3		40		40

		35		4		35		35

		30		5		30		30

		25		6		25		25

		20		7		20		20

		15		8		15		15

		10		9		10		10

		5		10		5		5

		0		11		0		0

				12

				13

				14

				15

				16

				17

				18

				19

				20

				21

				22

				23

				24

				25

				26

				27

				28

				29

				30

				31

				32

				33

				34

				35

				36

				37

				38

				39

				40

				41

				42

				43

				44

				45

				46

				47

				48

				49

				50

				51

				52

				53

				54

				55

				56

				57

				58

				59

				60

				61

				62

				63

				64

				65

				66

				67

				68



Measured (hit strip)

Calculated

Adjacent strip

Intermediate routing line

Time [ns]

Amplitude [arb. units]

68

10

0

0

150

34.5396

16

0

245

54.05968

34

0

369

80.39936

54

0

560

114.09384

123

32

688

155.13512

154

40

826

202.94192

188

51

792

256.42064

199

74

615

314.09432

188

108

421

374.26344

176

131

199

435.16424

85

68

0

495.10184

0

0

552.54736

606.19912

655.01224

698.20408

735.24416

765.8304

789.86272

807.41192

818.68832

824.01216

823.78664

818.47312

808.57016

794.59512

777.0692

756.50528

733.3992

708.22128

681.41152

653.37656

624.48752

595.07864

565.44744

535.85544

506.53048

477.66728

449.43032

421.95584

395.35408

369.71192

345.0956

321.5524

299.11304

277.79416

257.59968

238.52336

220.54992

203.6564

187.81424

172.98976

159.14552

146.24152

134.23568

123.08456

112.74432

103.1708

94.32024

86.14968

78.61696

71.6812

65.30304

59.44456

54.06952

49.14336

44.63336

40.50856

36.7396



Pulse shape

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0



Front Al foils

Back Al foils

Position [mm]

Measured fluence [p cm-2]

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		50		50		50		50

		100		100		100		100

		150		150		150		150

		200		200		200		200

		250		250		250		250

		300		300		300		300

		350		350		350		350

		400		400		400		400

		500		500		500		500



Strip #739

Strip #740

Strip #741

Strip #742

Bias [V]

Collected charge [Arb. unit]

13

30

101

13

20

67

182

33

23

74

290

45

17

57

425

15

0

51

472

5

0

40

500

0

0

34

513

0

0

34

520

0

0

34

540

0



		50

		100

		150

		200

		250

		300

		350

		400

		500



Strip #690

Bias [V]

Collected charge (arb. unit)

0.1529411765

0.3025210084

0.4352941176

0.6168907563

0.7513445378

0.8789915966

0.9276470588

0.9793277311

1.03



		20

		30

		40

		50

		75

		100

		120

		150

		200

		300



Strip #526

Bias [Volt]

Normalised CCE

0.4393305439

0.5815899582

0.7887029289

0.8577405858

0.9330543933

0.9623430962

0.9707112971

0.989539749

1

1.0125523013



		

						760

																																																												28		0.1305483029		0.0812064965		0.0638722555				0		0

																																																												38		0.1467391304		0.0782608696		0.0601202405				118		1

																																																												48		0.2492753623		0.1494505495		0.1135135135

																																																												68		0.66		0.7510548523		0.789017341

																																																												78		0.7542857143		0.9100719424		0.9100719424

																																																												88		0.8444444444		0.9125799574		0.9323308271





		30		30		0

		40		40		117.5

		50		50

		60		60

		70		70

		80		80

		90		90



200 Volt

400 Volt

Ideal resolution

Local position [µm]

Right charge/Total charge

Scan across strips #740-741

0.1035422343

0.0311111111

0

0.1971428571

0.0545851528

1

0.3688888889

0.2443729904

0.6231884058

0.7816091954

0.7445652174

0.9099437148

0.8891454965

1

0.9136363636

1



		30		30		0

		40		40		115

		50		50

		60		60

		70		70

		80		80

		90		90



200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #710-711

0.1009615385

0.0352733686

0

0.1943734015

0.0646258503

1

0.3125

0.2213740458

0.5102040816

0.5845070423

0.689373297

0.8831858407

0.8141809291

0.9365609349

0.8523489933

0.9378427788



		30		30		0

		40		40		115

		50		50

		60		60

		70		70

		80		80

		90		90



200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #760-761

0.0874074074

0.0657534247

0

0.0914454277

0.0725244073

1

0.1515151515

0.1463414634

0.5

0.5

0.8

0.8395522388

0.884086444

0.9252669039

0.9249011858

0.9491833031



		0		30		30		30

		115		40		40		40

				50		50		50

				60		60		60

				70		70		70

				80		80		80

				90		90		90



150 Volt

200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #740-741

0

0.204610951

0.0581395349

0.0450281426

1

0.3086053412

0.1601731602

0.0685920578

0.3851351351

0.2755102041

0.2206405694

0.5677966102

0.6121212121

0.688372093

0.6253869969

0.7406542056

0.886405959

0.7331378299

0.8442982456

0.9305816135

0.7967032967

0.8817427386

0.938517179



		0		30		30

		114		40		40

				50		50

				60		60

				70		70

				80		80

				90		90



200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #670-671

0

0.2186046512

0.0462962963

1

0.3191489362

0.076056338

0.4345238095

0.2648401826

0.625

0.619047619

0.7170731707

0.8559322034

0.7960784314

0.9612403101

0.825

0.9734748011



		0		20		20

		114		30		30

				40		40

				50		50

				60		60

				70		70

				80		80

				90		90



200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #690-691

0

0.1510067114

0.0529801325

1

0.1964285714

0.0703296703

0.3269961977

0.1575492341

0.7365079365

0.916500994

0.8419452888

0.9427402863

0.8307692308

0.9512195122



		25		25		25		0

		35		35		35		110

		45		45		45

		55		55		55

		65		65		65

		75		75		75

		85		85		85



100 Volt

200 Volt

300 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #525-526

0.0461956522

0.0440414508

0.0446194226

0

0.0583941606

0.0547945205

0.0547945205

1

0.1413612565

0.1282051282

0.1113689095

0.3215859031

0.264573991

0.2821576763

0.8050541516

0.8073394495

0.7722222222

0.9130434783

0.9217391304

0.9298245614

0.9473684211

0.9523809524

0.958677686



		0		30		30		30

		117		40		40		40

				50		50		50

				70		70		70

				80		80		80

				90		90		90



150 Volt

200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #634-635

0

0.223255814

0.1133333333

0.0510204082

1

0.2783505155

0.1933333333

0.0761670762

0.3963414634

0.3048780488

0.1943005181

0.6209150327

0.6822429907

0.8157099698

0.6875

0.7979094077

0.915

0.7548076923

0.8580645161

0.9330024814



		0		24		24

		114		34		34

				44		44

				64		64

				74		74

				84		84

				89		89



100 Volt

300 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #584-585

0

0.118466899

0.0379403794

1

0.1655172414

0.0608272506

0.3421052632

0.1666666667

0.6896551724

0.8131868132

0.7597173145

0.9567430025

0.8605442177

0.9974160207

0.8586206897

0.9466666667



		0		22		22		22		22

		116		32		32		32		32

				42		42		42		42

				67		67		67		67

				72		72		72		72

				82		82		82		82

				92		92		92		92



100 Volt

150 Volt

200 Volt

300 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #604-605

0

0.2192513369

0.0848056537

0.0408719346

0.056980057

1

0.2391304348

0.1214285714

0.0681818182

0.0798898072

0.3128834356

0.2380952381

0.0920716113

0.1549295775

0.5668789809

0.6355555556

0.7975077882

0.7517482517

0.591954023

0.7173913043

0.9002695418

0.8434782609

0.6949152542

0.8137931034

0.9973045822

0.8888888889

0.7348066298

0.8436482085

0.972899729

0.9043715847



		0		23		23		23

		108		33		33		33

				43		43		43

				58		58		58

				63		63		63

				73		73		73

				78		78		78



20 Volt

50 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #544-545

0

0.1376146789

0.0422960725

0.0361445783

1

0.2018348624

0.0845070423

0.0574712644

0.3457446809

0.2341772152

0.0976253298

0.5858585859

0.7124183007

0.7627906977

0.6304347826

0.7571428571

0.820441989

0.7302325581

0.8709677419

0.9418886199

0.7735849057

0.8811594203

0.9632352941



		0		35		35		35

		110		40		40		40

				50		50		50

				65		65		65

				70		70		70

				80		80		80



50 Volt

100 Volt

300 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #566-567

0

0.125

0.0408719346

0.0407673861

1

0.1777777778

0.0702247191

0.0687203791

0.320441989

0.22

0.2033333333

0.6946107784

0.8090909091

0.7789855072

0.741697417

0.8579387187

0.8743842365

0.8580858086

0.9543010753

0.9975062344



		0		35		35		35

		120		45		45		45

				50		50		50

				65		65		65

				70		70		70

				80		80		80

				90		90		90



50 Volt

100 Volt

250 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #575-576

0

0.2876106195

0.0451807229

0.0383631714

1

0.3744292237

0.144092219

0.0939759036

0.3880597015

0.1782178218

0.1580310881

0.5730337079

0.7260273973

0.7166666667

0.591954023

0.798679868

0.8379888268

0.6559633028

0.8879781421

0.9230769231

0.7627906977

0.9076086957

0.9511002445



		0		28		28		28

		113		38		38		38

				48		48		48

				58		58		58

				68		68		68

				78		78		78



25 Volt

50 Volt

150 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #188-189

0

0.0046948357

0.0032051282

0.00243309

1

0.1226993865

0.0044843049

0.0033898305

0.3333333333

0.320441989

0.2845188285

0.7465753425

0.8131313131

0.8514056225

0.8487804878

0.8839590444

0.8697916667

0.8829268293

0.9163763066

0.9452054795



		26		26		0		26

		36		36		114		36

		46		46				46

		66		66				66

		76		76				76

		86		86				86



100 Volt

300 Volt

=

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #621-622

0.2227074236

0.0789473684

0

0.0390625

0.2735849057

0.1348684211

1

0.0606060606

0.3659793814

0.2482517483

0.1102150538

0.5828220859

0.6728110599

0.8066666667

0.6822429907

0.8066666667

0.9086021505

0.7422222222

0.8547854785

0.9583333333



		25		25		25		0

		35		35		35		110

		45		45		45

		60		60		60

		65		65		65

		75		75		75

		85		85		85



20 Volt

50 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #469-470

0.0857142857

0.1060070671

0.0411311054

0

0.0833333333

0.093385214

0.0683060109

1

0.275862069

0.1904761905

0.1333333333

0.6451612903

0.6785714286

0.7311827957

0.6774193548

0.766536965

0.8356164384

0.8444444444

0.8717948718

0.9260969977

0.8695652174

0.8646153846

0.9267734554



		30		30		0

		40		40		114

		50		50

		60		60

		70		70

		80		80



200 Volts

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #650-651

0.1784037559

0.0521172638

0

0.2587064677

0.1034482759

1

0.3577586207

0.2196531792

0.6280991736

0.7375328084

0.7114914425

0.8717948718

0.7915742794

0.9111470113



		0		30		30		30

		114		40		40		40

				50		50		50

				70		70		70

				80		80		80

				85		85		85



20 Volt

50 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #244-245

0

0.12

0.0890804598

0.056206089

1

0.1317073171

0.1164772727

0.0638297872

0.226993865

0.201320132

0.1691542289

0.8011695906

0.8309859155

0.8544474394

0.8829268293

0.9093567251

0.9367681499

0.8783783784

0.9022988506

0.9418886199



		30		30		0		30

		40		40		114		40

		50		50				50

		70		60				60

		80		70				70

		85		80				80

								90



#245 - 200 Volt

#650 - 400 Volt

#760 - 400 Volt

Local position [µm]

Right charge/Total charge

0.056206089

0.0521172638

0

0.0657534247

0.0638297872

0.1034482759

1

0.0725244073

0.1691542289

0.2196531792

0.1463414634

0.8544474394

0.7375328084

0.5

0.9367681499

0.8717948718

0.8395522388

0.9418886199

0.9111470113

0.9252669039

0.9491833031



		20		20		20		0

		30		30		30		115

		40		40		40

		50		50		50

		60		60		60

		70		70		70

		80		80		80

		90		90		90



20 Volt

50 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #388-389

0.15

0.0975609756

0.0965794769

0

0.1549295775

0.1448692153

0.1004709576

1

0.171875

0.1223529412

0.0901213172

0.2926829268

0.2888888889

0.2434077079

0.6666666667

0.6923076923

0.6511627907

0.7833333333

0.8498896247

0.9073083779

0.8295081967

0.8495049505

0.9384615385

0.8793103448

0.9160839161

0.9470699433



		35		0		35		35

		45		120		45		45

		55				55		55

		70				70		70

		75				75		75

		85				85		85

		95				95		95



20 Volt

50 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #490-491

0.1595744681

0

0.12

0.0796116505

0.2053231939

1

0.1322869955

0.0891089109

0.2967032967

0.2258064516

0.2

0.692

0.7982261641

0.8351449275

0.7985074627

0.8764302059

0.9349593496

0.8546099291

0.9174311927

0.9445585216



		0		28		28		28

		118		38		38		38

				48		48		48

				58		58		58

				68		68		68

				78		78		78

				88		88		88



150 Volt

200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #760-761

0

0.1305483029

0.0812064965

0.0638722555

1

0.1467391304

0.0782608696

0.0601202405

0.2492753623

0.1494505495

0.1135135135

0.3970588235

0.41

0.368852459

0.66

0.7510548523

0.789017341

0.7542857143

0.9100719424

0.9100719424

0.8444444444

0.9125799574

0.9323308271



		30		30		0		0

		40		40		118		0

		50		50				0

		70		70				0

		80		80				0

		85		90				0



#244 -245 (@ 200 Volt)

#634 - 635 (@ 400 Volt)

#760 - 761 (@ 400 Volt)

Local position [µm]

Right charge/Total charge

0.056206089

0.0510204082

0

0

0.0638297872

0.0761670762

1

0

0.1691542289

0.1943005181

0

0.8544474394

0.8157099698

0

0.9367681499

0.915

0

0.9418886199

0.9330024814

0



		30		30		30		0

		40		40		40		115

		50		50		50

		65		65		65

		70		70		70

		80		80		80

		90		90		90



50 Volt

100 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #774-775

0.2777777778

0.1546391753

0.075

0

0.3857142857

0.2274368231

0.1002785515

1

0.4155844156

0.3298429319

0.2454873646

0.6

0.7023809524

0.7961165049

0.631147541

0.7959183673

0.8815028902

0.6979865772

0.8426573427

0.9268292683

0.8474576271

0.85

0.9258241758



		0		0		0		0

		0		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0



150 Volt

200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		Bias		#650		#651		Pulse sum		Normalised		#670		#671		Pulse sum		Normalised		#690		#691		Pulse sum		Normalised		#710		#711		Pulse sum		Normalised		#730		#731		Pulse sum		Normalised		#740		#741		Pulse sum		Normalised		#760		#761		Pulse sum		Normalised

		[Volt]		[mV]		[mV]		[mv]				[mV]		[mV]		[mv]				[mV]		[mV]		[mv]				[mV]		[mV]		[mv]				[mV]		[mV]		[mv]				[mV]		[mV]		[mv]				[mV]		[mV]		[mv]

		50		41		85		126		0.2016		24		58		82		0.2		0		80		80		0.1500938086		31		78		109		0.1912280702		31		83		114		0.1972318339		30		101		131		0.2205387205		45		100		145		0.2566371681				104		104

		100		63		140		203		0.3248		22		84		106		0.2585365854		31		135		166		0.3114446529		53		125		178		0.3122807018		45		142		187		0.3235294118		67		182		249		0.4191919192		68		178		246		0.4353982301				177		177

		150		92		210		302		0.4832		38		133		171		0.4170731707		52		197		249		0.4671669794		58		180		238		0.4175438596		66		232		298		0.5155709343		74		290		364		0.6127946128		63		342		405		0.7168141593				385		385

		200		81		329		410		0.656		39		207		246		0.6		45		291		336		0.6303939962		73		290		363		0.6368421053		48		374		422		0.7301038062		57		425		482		0.8114478114		50		446		496		0.8778761062				454		454

		250		59		443		502		0.8032		32		300		332		0.8097560976		34		398		432		0.8105065666		51		388		439		0.7701754386		31		478		509		0.8806228374		51		472		523		0.8804713805		41		490		531		0.9398230088				468		468

		300		59		510		569		0.9104		30		321		351		0.856097561		35		433		468		0.8780487805		38		462		500		0.8771929825		17		501		518		0.8961937716		40		500		540		0.9090909091		36		501		537		0.9504424779				478		478

		350		50		530		580		0.928		23		342		365		0.8902439024		31		454		485		0.9099437148		33		485		518		0.9087719298		20		535		555		0.9602076125		34		513		547		0.9208754209		32		510		542		0.9592920354				495		495

		400		45		561		606		0.9696		10		370		380		0.9268292683		24		468		492		0.9230769231		31		498		529		0.9280701754		20		535		555		0.9602076125		34		520		554		0.9326599327		36		519		555		0.982300885				502		502

		500		45		580		625		1		10		400		410		1		10		523		533		1		30		540		570		1		0		578		578		1		34		560		594		1		32		533		565		1				510		510

																						Neff map		Vfd

																						10

																						30

																						50

																						70

																						90

																						100

																						120

																																												634

																																		72

		Bias		#526		#527		Pulse sum		Normalised		Bias		#545		#546		Pulse sum		Normalised		Bias		#567		#568		Pulse sum		Normalised		Bias		#577		#578		Pulse sum		Normalised		Bias		#585		#586		Pulse sum		Normalised		Bias		#605		#606		Pulse sum		Normalised		Bias		#622		#623		Pulse sum		Normalised		Bias		#634		#635		Pulse sum		Normalised

		[Volt]		[mV]		[mV]		[mv]				[Volt]		[mV]		[mV]		[mv]				[Volt]		[mV]		[mV]		[mv]				[Volt]		[mV]		[mV]		[mv]				[Volt]		[mV]		[mV]		[mv]				[Volt]		[mV]		[mV]		[mv]				[Volt]		[mV]		[mV]		[mv]				[Volt]		[mV]		[mV]		[mv]

		20		5		205		210		0.4393305439		10		89		41		130		0.313253012		10		27		41		68		0.17		25		34		75		109		0.2632850242		25		44		20		64		0.1671018277		50		65		10		75		0.1978891821		50		65		0		65		0.1697127937		50		61		24		85		0.2073170732

		30		5		273		278		0.5815899582		20		171		41		212		0.5108433735		25		61		109		170		0.425		50		55		164		219		0.5289855072		50		95		41		136		0.3550913838		75		95		10		105		0.2770448549		100		123		37		160		0.4177545692		100		106		34		140		0.3414634146

		40		54		323		377		0.7887029289		30		232		34		266		0.6409638554		50		266		41		307		0.7675		75		37		290		327		0.7898550725		75		150		58		208		0.5430809399		100		129		27		156		0.4116094987		150		171		51		222		0.5796344648		150		157		48		205		0.5

		50		45		365		410		0.8577405858		50		321		0		321		0.7734939759		75		334		14		348		0.87		100		27		330		357		0.8623188406		100		240		51		291		0.7597911227		125		167		27		194		0.5118733509		200		287		24		311		0.8120104439		200		253		34		287		0.7

		75		41		405		446		0.9330543933		75		362		0		362		0.8722891566		100		359		0		359		0.8975		150		27		359		386		0.9323671498		125		311		27		338		0.8825065274		150		236		30		266		0.7018469657		250		334		0		334		0.8720626632		250		317		27		344		0.8390243902

		100		32		428		460		0.9623430962		100		383		0		383		0.9228915663		150		372		0		372		0.93		200		24		372		396		0.9565217391		150		342		10		352		0.9190600522		200		328		0		328		0.8654353562		300		351		0		351		0.9164490862		300		349		31		380		0.9268292683

		120		23		441		464		0.9707112971		150		396		0		396		0.9542168675		200		383		0		383		0.9575		250		20		379		399		0.9637681159		200		355		10		365		0.953002611		250		355		0		355		0.9366754617		350		366		0		366		0.955613577		350		362		27		389		0.9487804878

		150		27		446		473		0.989539749		200		410		0		410		0.9879518072		250		396		0		396		0.99		300		24		382		406		0.9806763285		300		376		0		376		0.9817232376		300		366		0		366		0.9656992084		400		372		0		372		0.9712793734		400		372		34		406		0.9902439024

		200		23		455		478		1		300		415		0		415		1		300		400		0		400		1		350		24		390		414		1		400		383		0		383		1		400		379		0		379		1		500		383		0		383		1		500		383		27		410		1

		300		20		464		484		1.0125523013

		Strip #		VFD		Error

		188		80		0

		244		75		0

		390		60		0

		470		55		0

		498		55		0

		526		53		8

		545		55		0

		568		62		0

		578		92		0						0.0004882813		0.1806640625		0.0451660156

		585		128		0

		605		200		0

		622		225		0

		634		270		0

		650		285		0

		670		297		0

		690		300		20

		710		285		0						512		640

		730		250		0

		740		220		0

		760		170		0

		774		125		0

		829		60		0

		888		47		0





		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0



Strip #10

Strip #30

Strip #50

Strip #70

Strip #90

Strip #100

Strip #120

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0



Strip #526

Strip #545

Strip #578

Strip #585

Strip #605

Strip #622

Strip #634

Bias [Volt]

Normalised CCE

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		NaN		NaN

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		8		8

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		20		20

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0



Strip Number

Vfd [Volt]

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0



Strip #545

Strip #585

Strip #634

Bias [Volt]

Normalised CCE

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0



Strip #526

Strip #578

Strip #605

Bias [Volt]

Normalised CCE

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0

		0

		0

		0

		0

		0

		0

		0

		0



Strip #634

Bias [Volt]

Normalised CCE

0

0

0

0

0

0

0

0

0



		0

		0

		0

		0

		0

		0

		0

		0

		0

		0



Strip #526

Bias [Volt]

Normalised CCE

0

0

0

0

0

0

0

0

0

0



		Strip:		#10								Strip:		#30								Strip:		#50								Strip:		#70								Strip:		#90								Strip:		#100		#101						Strip:		#120

				#11										#31										#51										#71										#91										#121										#121

		D Left		h 200 V		ideal				h 400 V		D Left		h 200 V		ideal				h 400 V		D Left		h 200 V		ideal				h 400 V		D Left		h 200 V		ideal				h 400 V		D Left		h 200 V		ideal				h 400 V		D Left		h 200 V		ideal				h 400 V		D Left		h 200 V		ideal				h 400 V

		20		0.2059800664		0		0		0.1260683761		20		0.3485714286		0		0		0.2292490119		20		0.1510067114		0		0		0		20		0.1729559748		0		0		0.1299559471		30		0.1035422343		0		0		0		30		0.204610951		0		0		0		20		0.2591006424		0		0		0.263671875

		30		0.1784037559		110		1		0		30		0.2186046512		110		1		0		30		0.1964285714		110		1		0		30		0.1009615385		115		1		0		40		0.1971428571		117.5		1		0		40		0.3086053412		115		1		0		30		0.0874074074		115		1		0.0657534247

		40		0.2587064677						0.0909090909		40		0.3191489362						0		40		0.3269961977						0.118993135		40		0.1943734015						0		50		0.3688888889						0.2443729904		50		0.3851351351						0.1978021978		40		0.0914454277						0.0725244073

		50		0.3577586207						0.2196531792		50		0.4345238095						0.2648401826		60		0.6736842105						0.7946428571		50		0.3125						0.1707317073		60		0.6231884058						0.7816091954		60		0.5677966102						0.688372093		50		0.1515151515						0.1463414634

		60		0.6280991736						0.7375328084		60		0.625						0.619047619		70		0.7365079365						0.916500994		60		0.5102040816						0.5845070423		70		0.7445652174						0.9099437148		70		0.6253869969						0.886405959		60		0.5						0.5

		70		0.7114914425						0.8717948718		70		0.7170731707						0.8559322034		80		0.8419452888						0.9427402863		70		0.689373297						0.8831858407		80		0.8891454965						1		80		0.7331378299						0.9305816135		70		0.8						0.8395522388

		80		0.7915742794						0.9111470113		80		0.7960784314						0.9867374005		90		0.8307692308						0.9512195122		80		0.8141809291						0.9365609349		90		0.9136363636						1		90		0.7967032967						0.938517179		80		0.884086444						0.9252669039

		90		0.7759103641						0.8546845124		90		0.825						0.9734748011												90		0.8523489933						0.9378427788																						90		0.9249011858						0.9491833031

		Residuals		#10-#11								Residuals		#30-#31								Residuals		#50-#51								Residuals		#50-#51								Residuals		#70-#71								Residuals		#90-#91								Residuals		#100-#101

		True position		Est. position		Est. position		Residuals		Residuals		True position		Est. position		Est. position		Residuals		Residuals		True position		Est. position		Est. position		Residuals		Residuals		True position		Est. position		Est. position		Residuals		Residuals		True position		Est. position		Est. position		Residuals		Residuals		True position		Est. position		Est. position		Residuals		Residuals		True position		Est. position		Est. position		Residuals

				200 V		400 V		200 V		400 V				200 V		400 V		200 V		400 V				200 V		400 V		200 V		400 V				200 V		400 V		200 V		400 V				200 V		400 V		200 V		400 V				200 V		400 V		200 V		400 V				200 V		400 V		200 V		400 V

		20		22.657807309		38.3428571429		2.657807309		18.3428571429		20		38.3428571429		25.2173913043		18.3428571429		5.2173913043		20		16.610738255		0		-3.389261745		-20		20		19.8899371069		14.9449339207		-0.1100628931		-5.0550660793		30		12.1662125341		0		-17.8337874659		-30		30		23.530259366		0		-6.469740634		-30		20		29.7965738758		30.322265625		9.7965738758		10.322265625

		30		19.6244131455		24.0465116279		-10.3755868545		-5.9534883721		30		24.0465116279		0		-5.9534883721		-30		30		21.6071428571		0		-8.3928571429		-30		30		11.6105769231		0		-18.3894230769		-30		40		23.1642857143		0		-16.8357142857		-40		40		35.4896142433		0		-4.5103857567		-40		30		10.0518518519		7.5616438356		-19.9481481481		-22.4383561644

		40		28.4577114428		35.1063829787		-11.5422885572		-4.8936170213		40		35.1063829787		0		-4.8936170213		-40		40		35.969581749		13.0892448513		-4.030418251		-26.9107551487		40		22.3529411765		0		-17.6470588235		-40		50		43.3444444444		28.7138263666		-6.6555555556		-21.2861736334		50		44.2905405405		22.7472527473		-5.7094594595		-27.2527472527		40		10.5162241888		8.340306834		-29.4837758112		-31.659693166

		50		39.3534482759		47.7976190476		-10.6465517241		-2.2023809524		50		47.7976190476		29.1324200913		-2.2023809524		-20.8675799087		60		74.1052631579		87.4107142857		14.1052631579		27.4107142857		50		35.9375		19.6341463415		-14.0625		-30.3658536585		60		73.2246376812		91.8390804598		13.2246376812		31.8390804598		60		65.2966101695		79.1627906977		5.2966101695		19.1627906977		50		17.4242424242		16.8292682927		-32.5757575758		-33.1707317073

		60		69.0909090909		68.75		9.0909090909		8.75		60		68.75		68.0952380952		8.75		8.0952380952		70		81.0158730159		100.8151093439		11.0158730159		30.8151093439		60		58.6734693878		67.2183098592		-1.3265306122		7.2183098592		70		87.4864130435		106.9183864916		17.4864130435		36.9183864916		70		71.919504644		101.9366852886		1.919504644		31.9366852886		60		57.5		57.5		-2.5		-2.5

		70		78.2640586797		78.8780487805		8.2640586797		8.8780487805		70		78.8780487805		94.1525423729		8.8780487805		24.1525423729		80		92.6139817629		103.7014314928		12.6139817629		23.7014314928		70		79.2779291553		101.5663716814		9.2779291553		31.5663716814		80		104.474595843		117.5		24.474595843		37.5		80		84.3108504399		107.0168855535		4.3108504399		27.0168855535		70		92		96.5485074627		22		26.5485074627

		80		87.0731707317		87.568627451		7.0731707317		7.568627451		80		87.568627451		108.5411140584		7.568627451		28.5411140584		90		91.3846153846		104.6341463415		1.3846153846		14.6341463415		80		93.630806846		107.7045075125		13.630806846		27.7045075125		90		107.3522727273		117.5		17.3522727273		27.5		90		91.6208791209		107.9294755877		1.6208791209		17.9294755877		80		101.6699410609		106.4056939502		21.6699410609		26.4056939502

		90		85.350140056		90.75		-4.649859944		0.75		90		90.75		107.0822281167		0.75		17.0822281167												90		98.0201342282		107.8519195612		8.0201342282		17.8519195612																						90		106.3636363636		109.1560798548		16.3636363636		19.1560798548





		Far end														End + 1 cm														End + 2 cm														End + 3 cm														End + 3.5 cm

		Strip width		Local coord.		h 150 V						h 200 V		h 400 V		Strip width		Local coord.		h 150 V						h 200 V		h 400 V		Strip width		Local coord.		h 150 V						h 200 V		h 400 V		Strip width		Local coord.		h 150 V						h 200 V		h 400 V		Strip width		Local coord.		h 200 V						h 400 V				Local coord.		h 150 V		h 200 V		h 400 V

		16 µm		12		0.3192771084		0		0		0.3086172345		0.2177531207		25 µm		20		0.2489795918		0		0		0.2296072508		0.0935875217		25 µm		23		0.2344827586		0		0		0.1566820276		0.079338843		30 µm		23		0.1505016722		0		0		0.0805687204		0.052		35 µm		20		0.2591006424		0		0		0.263671875				28		0.1305483029		0.0812064965		0.0638722555		0		0

				22		0.3269230769		61		1		0.3302180685		0.2262118492				30		0.3642857143		78		1		0.3591160221		0.2287390029				33		0.3311897106		95		1		0.2647754137		0.1256038647				33		0.2164948454		108		1		0.0966183575		0.0595238095				30		0.0874074074		115		1		0.0657534247				38		0.1467391304		0.0782608696		0.0601202405		118		1

				32		0.5						0.5		0.5284552846				40		0.6977777778						0.691588785		0.8631578947				43								0.3176470588		0.2993197279				43		0.3470790378						0.2055137845		0.1347248577				40		0.0914454277						0.0725244073				48		0.2492753623		0.1494505495		0.1135135135

				42		0.6687697161						0.6808943089		0.826435247				50		0.7510204082						0.7796610169		0.9246575342				53		0.6393442623						0.6741573034		0.7946127946				63		0.6487603306						0.7430939227		0.8559837728				50		0.1515151515						0.1463414634				58		0.3970588235		0.41		0.368852459

				52		0.6972789116						0.7270788913		0.8104196816				60														63		0.7039711191						0.7454545455		0.8982785603				73		0.7683823529						0.884057971		0.9513108614				60		0.5						0.5				68		0.66		0.7510548523		0.789017341

																																73		0.7731629393						0.830802603		0.9453376206				83		0.8316498316						0.9351145038		0.98				70		0.8						0.8395522388				78		0.7542857143		0.9100719424		0.9100719424

																																																												80		0.884086444						0.9252669039				88		0.8444444444		0.9125799574		0.9323308271

																																																												90		0.9249011858						0.9491833031

				Pos. inner end (1)														Pos.(2)=(1)+1 cm														Pos.(3)=(2)+1 cm														Pos.(4)=(3)+1 cm														Pos.(5)=(4)+0.5 cm

		Bias		#119		Int 1		#120		Int 2		#121		Int 3		#122		#119		Int 1		#120		Int 2		#121		Int 3		#122		#119		Int 1		#120		Int 2		#121		Int 3		#122		#119		Int 1		#120		Int 2		#121		Int 3		#122		#119		Int 1		#120		Int 2		#121		Int 3		#122

		[Volt]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]

		50		0		0		30		10		115		10		20						20		0		68						0		0		31		0		99		0		0		0		0		0		0		70		0		0						38		21		104		-10

		100		28		0		61		17		179		15		33						44		15		129						20		0		48		24		171		0		31						52		34		145		0		29						62		34		177		-21

		150		30		0		88		40		239		27		44						78		37		184						0		0		71		44		242		0		31						63		58		250		0		29						55		24		385		-31

		200		37		0		115		74		357		37		54						68		41		280						0		0		78		58		383		0		37						37		20		388		-5		20						48		15		454		-24

		250		34		0		101		61		530		51		20						71		44		410						0		0		44		24		509		-24		10						26		10		448		-20		10						45		0		468		-34

		300		23		0		81		37		600		-23		30						58		45		475						0		0		37		13		533		-30		20						22		22		490		-24		10						34		0		478		-34

		350		34		0		84		27		641		-27		24						51		10		519						0		0		30		0		567		-30		15						20		0		512		-24		0						34		0		495		-34

		400		23		0		64		0		644		-34		23						51		0		530						0		0		41		0		577		-37		15						20		0		527		-24		0						34		0		502		-34

		500		10		0		77		0		680		-30		10						48		0		547						0		0		34		0		588		-40		13						10		0		530		-24		0						34		0		510		-34

																																																																		-10

																																																																		-17

																																																																		-17

				Total										Total										Intermediate strip/total charge																																										-17

		Bias		Pos.(1)		Pos.(2)		Pos.(3)		Pos.(4)		Pos.(5)		normalised

		[Volt]												Pos.(1)		Pos.(2)		Pos.(3)		Pos.(4)		Pos.(5)		Pos.(1)		Pos.(2)		Pos.(3)		Pos.(4)		Pos.(5)

		50		135		88		99		70		142		0.2023988006		0.1514629948		0.1672297297		0.1328273245		0.2649253731		0.0740740741		0		0		0		0.1478873239

		100		212		173		202		174		239		0.3178410795		0.2977624785		0.3412162162		0.330170778		0.4458955224		0.0801886792		0.0867052023		0.1188118812		0.1954022989		0.1422594142

		150		283		262		273		279		440		0.4242878561		0.4509466437		0.4611486486		0.5294117647		0.8208955224		0.1413427562		0.141221374		0.1611721612		0.2078853047		0.0545454545

		200		411		348		420		408		502		0.616191904		0.5989672978		0.7094594595		0.7741935484		0.9365671642		0.1800486618		0.117816092		0.1380952381		0.0490196078		0.0298804781

		250		550		481		519		458		513		0.8245877061		0.8278829604		0.8766891892		0.8690702087		0.9570895522		0.1109090909		0.0914760915		0.0462427746		0.0218340611		0

		300		630		533		553		500		512		0.9445277361		0.917383821		0.9341216216		0.9487666034		0.9552238806		0.0587301587		0.0844277674		0.0235081374		0.044		0

		350		665		570		582		512		529		0.9970014993		0.9810671256		0.9831081081		0.9715370019		0.9869402985		0.0406015038		0.0175438596		0		0		0

		400		667		581		592		527		536		1		1		1		1		1		0		0		0		0		0

		500		690		595		601		530		544		1.0344827586		1.0240963855		1.0152027027		1.0056925996		1.0149253731		0		0		0		0		0





		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0



Pos. 1

Pos. 2

Pos. 3

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0



Bias [V]

Charge routing line/Total charge

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0		0		0

		0		0		0		0

				0		0		0

				0		0		0



150 Volt

200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #760-761

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0		0		0

		0		0		0		0

				0		0		0

				0		0		0

				0		0		0

				0		0		0



Strip #120 of sector n. 6

Local position [µm]

Right charge/Total charge

Scan across strips #760-761

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

150 Volt

200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #760-761

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0		0		0

		0		0		0		0

				0		0		0

				0		0		0

				0		0		0

				0		0		0



150 Volt

200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #760-761

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0		0		0

		0		0		0		0

				0		0		0

				0		0		0

				0		0		0

				0		0		0

				0		0		0



150 Volt

200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #760-761

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



				Strip #		Centre		Distance																				Strip #		Centre		Distance		50 V		Local coord.		DL		DR		Pulse Left		Pulse Right		Pulse sum		h		ideal				100 V		Pulse Left		Pulse Right		Pulse sum		h		150 V		Pulse Left		Pulse Right		Pulse sum		h

				6		37		115																				112		40.9		54				42.5		16		38		89		59		148		0.3986486486		0		0				178		109		287		0.3797909408				191		73		264		0.2765151515

				7		48.5																						113		46.3						42.75		18.5		35.5		125		89		214		0.4158878505		54		1				200		150		350		0.4285714286				225		91		316		0.2879746835

																																				43		21		33		129		104		233		0.4463519313								212		175		387		0.4521963824				221		118		339		0.3480825959

																																				43.25		23.5		30.5		95		95		190		0.5								168		168		336		0.5				168		168		336		0.5

		# 112		Amplitude																						# 113		Amplitude								43.5		26		28		104		114		218		0.5229357798								171		193		364		0.5302197802				148		182		330		0.5515151515

		38.6		294		0.2		0																		44.5		193								43.75		28.5		25.5		86		114		200		0.57								139		200		339		0.5899705015				118		212		330		0.6424242424

		38.8		294		0.2		-11																		44.75		180								44		31		23		77		116		193		0.6010362694								139		223		362		0.6160220994				104		228		332		0.686746988

		39		283		0.2		-17																		45		145								44.25		33.5		20.5		70		116		186		0.623655914								104		205		309		0.6634304207				66		214		280		0.7642857143

		39.2		266		0.2		-32																		45.25		116								44.5		36		18		66		114		180		0.6333333333								103		203		306		0.6633986928				52		193		245		0.787755102

		39.4		234		0.2		-36																		45.5		70

		39.6		198		0.2		-50																		45.75		59

		39.8		148		0.2		-50																		46		32

		40		98		0.2		-25																		46.25		20

		40.2		73		0.2		-30																		46.5		23																										0.9074074074		121.2244897959

		40.4		43		0.2		-16																		46.75		42

		40.6		27		0.2		-2																		47		82

		40.8		25		0.2		-2		Gaussian fit par				Fit				Normalised								47.25		100

		41		23		0.2		2		A		51		39		0.0000000044		41		2		0.04		0.0000000001		47.5		150

		41.2		25		0.2		7		B		41.92		39.2		0.0000000951		41.2		7		0.14		0.0000000019		47.75		172

		41.4		32		0.2		27		C		0.429		39.4		0.0000016399		41.4		27		0.54		0.0000000328		48		193

		41.6		59		0.2		37						39.6		0.0000227487		41.6		37		0.74		0.000000455

		41.8		96		0.2		50				51		39.8		0.0002539185		41.8		50		1		0.0000050784

		42		146		0.2		50				41.938		40		0.0022805605		42		50		1		0.0000456112

		42.2		196		0.2		38				0.43643		40.2		0.0164815472		42.2		38		0.76		0.0003296309

		42.4		234		0.2		28						40.4		0.0958436953		42.4		28		0.56		0.0019168739

		42.6		262		0.2		18						40.6		0.4484750729		42.6		18		0.36		0.0089695015

		42.8		280		0.2		11						40.8		1.6885823954		42.8		11		0.22		0.0337716479

		43		291		0.2		3						41		5.1158216329		43		3		0.06		0.1023164327

		43.2		294										41.2		12.4714721089								0.2494294422

														41.4		24.4640994978								0.48928199

														41.6		38.6144575058								0.7722891501

														41.8		49.0433163761								0.9808663275

		42.2		216		196								42		50.120905813								1.0024181163

		42.4		234		234								42.2		41.2161271536								0.8243225431

		42.6		266		262								42.4		27.272480504								0.5454496101

		42.8		278		280								42.6		14.5208248704								0.2904164974

		43		291		291								42.8		6.221099165								0.1244219833

		43.2		294		294								43		2.1446288772								0.0428925775

														43.2		0.5949032803								0.0118980656

														43.4		0.1327852289								0.0026557046

														43.6		0.0238485708								0.0004769714

														43.8		0.0034465465								0.0000689309

														44		0.0004007884								0.0000080158

														44.2		0.0000375021								0.00000075

														44.4		0.0000028236								0.0000000565

														44.6		0.0000001711								0.0000000034

																												Strip #		Centre		Distance		50 V		Local coord.		DL		DR		Pulse Left		Pulse Right		Pulse sum		h		ideal				100 V		Pulse Left		Pulse Right		Pulse sum		h		150 V		Pulse Left		Pulse Right		Pulse sum		h

																												113		46.3		54				48		17		37		129		104		233		0.4463519313		0		0				198		157		355		0.4422535211				200		114		314		0.3630573248

																												114		51.7						48.3		20		34		128		107		235		0.4553191489		54		1				200		168		368		0.4565217391				203		137		340		0.4029411765

		#114		Amplitude																																48.5		22		32		128		114		242		0.4710743802								207		193		400		0.4825				198		148		346		0.4277456647

		50.3		203																																48.8		25		29		128		139		267		0.5205992509								225		205		430		0.476744186				180		198		378		0.5238095238

		50.5		150																								Amplitude								49		27		27		116		139		255		0.5450980392								187		234		421		0.5558194774				145		205		350		0.5857142857

		50.8		109																								193								49.3		30		24		109		157		266		0.5902255639								175		250		425		0.5882352941				120		237		357		0.6638655462

		51		70																								180								49.5		32		22		98		148		246		0.6016260163								148		248		396		0.6262626263				98		253		351		0.7207977208

		51.3		29																								145								49.8		35		19		91		150		241		0.622406639								125		235		360		0.6527777778				84		253		337		0.7507418398

		51.5		29																								116								50		37		17		77		134		211		0.63507109								111		234		345		0.6782608696				63		234		297		0.7878787879

		51.8		36																								70

		52		38

		52.5		89

		53		193

		53.5		216





		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0



0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0



0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0		0		0

		0		0		0		0

		0				0		0

		0				0		0

		0				0		0

		0				0		0

		0				0		0

		0				0		0

		0				0		0



Local position [µm]

Right charge/Total charge

Scan across strips #623-624

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0		0		0

		0		0		0		0

		0				0		0

		0				0		0

		0				0		0

		0				0		0

		0				0		0

		0				0		0

		0				0		0



Local position [µm]

Right charge/Total charge

Scan across strips #624-625

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		Time delay		Corrected time		Bias [V]		#120		Int 1		#121		Int 2																		0		0.08185		9.1672		112				0.261052		10		80

		70		55		250		0		0		68		0				0		0		0		610								1		0.168384		18.859008						0.431745		34.5396

		75		50				16		0		150		0				3		0.0512794593		31.2804701969										2		0.312367		34.985104						0.675746		54.05968

		80		45				34		0		245		-25				6		0.2672435413		163.0185601936										3		0.52869		59.21328						1.004992		80.39936

		85		40				54		0		369		-41				9		0.5875634723		358.4137180924										4		0.825982		92.509984						1.426173		114.09384

		90		35				123		32		560		0				12		0.9072872169		553.4452023										5		1.20452		134.90624						1.939189		155.13512

		95		30				154		40		688		0				15		1.1543795498		704.1715253543										6		1.656436		185.520832						2.536774		202.94192

		100		25				188		51		826		-28				18		1.299469696		792.6765145638										7		2.16761		242.77232						3.205258		256.42064

		105		20				199		74		792		0				21		1.3442508459		819.9930160187										8		2.720225		304.6652						3.926179		314.09432

		110		15				188		108		615		-5				24		1.3071636214		797.3698090352										9		3.295125		369.054						4.678293		374.26344

		115		10				176		131		421		79				27		1.2124429531		739.5902013697										10		3.873637		433.847344						5.439553		435.16424

		120		5				85		68		199		34				30		1.0834467691		660.9025291351										11		4.438771		497.142352						6.188773		495.10184

		125		0				0		0		0		0				33		0.9394191906		573.0457062512										12		4.97592		557.30304						6.906842		552.54736

																		36		0.7945091514		484.6505823432										13		5.473185		612.99672						7.577489		606.19912

																		39		0.6580501859		401.410613397										14		5.92143		663.20016						8.187653		655.01224

																		42		0.5354104702		326.6003867976										15		6.31416		707.18592						8.727551		698.20408

																		45		0.4289931162		261.6858008585										16		6.647297		744.497264						9.190552		735.24416

																		48		0.339164421		206.8902967894										17		6.91889		774.91568						9.57288		765.8304

																		51		0.2650152693		161.6593142647										18		7.128793		798.424816						9.873284		789.86272

																		54		0.2049346724		125.0101501754										19		7.278362		815.176544						10.092649		807.41192

																		57		0.1570118833		95.7772488293										20		7.370132		825.454784						10.233604		818.68832

																		60		0.1192986421		72.7721716988										21		7.407557		829.646384						10.300152		824.01216

																		63		0.0899657472		54.8791057793										22		7.394742		828.211104						10.297333		823.78664

																		66		0.0673846758		41.1046522082										23		7.336235		821.65832						10.230914		818.47312

																		69		0.050159177		30.597097963										24		7.236837		810.525744						10.107127		808.57016

																		72		0.0371256796		22.6466645667										25		7.101445		795.36184						9.932439		794.59512

																		75		0.0273359711		16.67494238										26		6.934925		776.7116						9.713365		777.0692

																																27		6.742013		755.105456						9.456316		756.50528

																																28		6.527242		731.051104						9.16749		733.3992

																																29		6.294873		705.025776						8.852766		708.22128

																																30		6.048868		677.473216						8.517644		681.41152

																																31		5.792859		648.800208						8.167207		653.37656

																																32		5.530137		619.375344						7.806094		624.48752

																																33		5.263647		589.528464						7.438483		595.07864

																																34		4.995998		559.551776						7.068093		565.44744

																																35		4.729472		529.700864						6.698193		535.85544

																																36		4.466033		500.195696						6.331631		506.53048

																																37		4.207353		471.223536						5.970841		477.66728

																																38		3.954834		442.941408						5.617879		449.43032

																																39		3.709625		415.478						5.274448		421.95584

																																40		3.472645		388.93624						4.941926		395.35408

																																41		3.244611		363.396432						4.621399		369.71192

																																42		3.026052		338.917824						4.313695		345.0956

																																43		2.817337		315.541744						4.019405		321.5524

																																44		2.618692		293.293504						3.738913		299.11304

																																45		2.43022		272.18464						3.472427		277.79416

																																46		2.251916		252.214592						3.219996		257.59968

																																47		2.083687		233.372944						2.981542		238.52336

																																48		1.925365		215.64088						2.756874		220.54992

																																49		1.776718		198.992416						2.545705		203.6564

																																50		1.637465		183.39608						2.347678		187.81424

																																51		1.507286		168.816032						2.162372		172.98976

																																52		1.38583		155.21296						1.989319		159.14552

																																53		1.272725		142.5452						1.828019		146.24152

																																54		1.167583		130.769296						1.677946		134.23568

																																55		1.070007		119.840784						1.538557		123.08456

																																56		0.979598		109.714976						1.409304		112.74432

																																57		0.895956		100.347072						1.289635		103.1708

																																58		0.818688		91.693056						1.179003		94.32024

																																59		0.747406		83.709472						1.076871		86.14968

																																60		0.681733		76.354096						0.982712		78.61696

																																61		0.621304		69.586048						0.896015		71.6812

																																62		0.565769		63.366128						0.816288		65.30304

																																63		0.51479		57.65648						0.743057		59.44456

																																64		0.468044		52.420928						0.675869		54.06952

																																65		0.425227		47.625424						0.614292		49.14336

																																66		0.386049		43.237488						0.557917		44.63336

																																67		0.350235		39.22632						0.506357		40.50856

																																68		0.317529		35.563248						0.459245		36.7396

																																69		0.287687		32.220944						0.416239		33.29912

																																70		0.260483		29.174096						0.377015		30.1612

																																71		0.235705		26.39896						0.341272		27.30176

																																72		0.213156		23.873472						0.308729		24.69832

																																73		0.19265		21.5768						0.279123		22.32984

																																74		0.174018		19.490016						0.25221		20.1768

																																75		0.157101		17.595312						0.227764		18.22112

																																76		0.141751		15.876112						0.205574		16.44592

																																77		0.127834		14.317408						0.185447		14.83576

																																78		0.115224		12.905088						0.167204		13.37632

																																79		0.103806		11.626272						0.150679		12.05432

																																80		0.093474		10.469088						0.13572		10.8576

																																81		0.084131		9.422672						0.122188		9.77504

																																82		0.075686		8.476832						0.109953		8.79624

																																83		0.068058		7.622496						0.098898		7.91184

																																84		0.061172		6.851264						0.088915		7.1132

																																85		0.054959		6.155408						0.079904		6.39232

																																86		0.049356		5.527872						0.071777		5.74216

																																87		0.044307		4.962384

																																88		0.039758		4.452896

																																89		0.035662		3.994144

																																90		0.031975		3.5812

																																91		0.028659		3.209808

																																92		0.025678		2.875936

																																93		0.022998		2.575776

																																94		0.020591		2.306192

																																95		0.018429		2.064048

																																96		0.016489		1.846768

																																97		0.014748		1.651776

																																98		0.013187		1.476944

																																99		0.011787		1.320144





		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0



0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0



0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0



Measured (hit strip)

Calculated

Adjacent strip

Intermediate routing line

Time [ns]

Amplitude [arb. units]

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0



Measured

Calculated

Time [ns]

Amplitude [arb. units]

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0




_1045985374.xls
Chart3

		0		20		20		20

		78		30		30		30

				40		40		40

				50		50		50



150 Volt

200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

0

0.2489795918

0.2296072508

0.0935875217

1

0.3642857143

0.3591160221

0.2287390029

0.6977777778

0.691588785

0.8631578947

0.7510204082

0.7796610169

0.9246575342



General

		Sector #		Strip's range								1		128

		1		1-128								2		256

		2		129-256								3		384

		3		257-384								4		512

		4		385-512								5		640

		5		513-640								6		768

		6		641-768								7		896

		7		769-896								8		1024

		8		897-1024

		Measured strips:

		Sector #:		1		2		3		4		5		6		7		8





Sheet1

				Bias 200 V		Step posit.		Delta #85		Delta #86		Left Height		Right Height		Sum (L+R)		Eta		Integral		Predicted position		Residuals		Ideal eta

								[µm]		[µm]																0		0

		Strip #85 position		40.3		41		7		115		558		104		662		0.1570996979				18.8519637462		11.8519637462		120		1

		Strip #86 position		52.5		42		17		105		608		154		762		0.2020997375				24.2519685039		7.2519685039

						43		27		95		625		116		741		0.1565452092				18.7854251012		-8.2145748988

						44		37		85		608		227		835		0.2718562874				32.622754491		-4.377245509

						45		47		75		608		446		1054		0.4231499051				50.7779886148		3.7779886148

						46		57		65		568		548		1116		0.4910394265				58.9247311828		1.9247311828

						47		67		55		507		572		1079		0.5301204819				63.6144578313		-3.3855421687

						48		77		45		357		580		937		0.6189967983				74.2796157951		-2.7203842049

						49		87		35		170		570		740		0.7702702703				92.4324324324		5.4324324324

						50		97		25		187		608		795		0.7647798742				91.7735849057		-5.2264150943

						51		107		15		174		600		774		0.7751937984				93.023255814		-13.976744186

																								7.5058591589

																						7.5058591589

																						6

				Bias 200 V		Step posit.		Delta #85		Delta #86		Left Height		Right Height		Sum (L+R)		Eta		Integral						Ideal eta

								[µm]		[µm]																0		0

		Strip #85 position		41.7		43		13		105		755		170		925		0.1837837838								120		1

		Strip #86 position		53.5		44		23		95		778		178		956		0.1861924686

						45		33		85		770		244		1014		0.2406311637

						46		43		75		770		585		1355		0.4317343173

						47		53		65		711		689		1400		0.4921428571

						48		63		55		607		741		1348		0.5497032641

						49		73		45		452		741		1193		0.6211232188

						50		83		35		178		726		904		0.8030973451

						51		93		25		118		711		829		0.8576598311

						52		103		15		104		681		785		0.8675159236

						53		113		5		89		704		793		0.8877679697





Irradiated (4)

		Bias 250 V		Strip #		Centre		Distance		20 V		Local coord.		D24		D25		Pulse Left		Pulse Right		Pulse sum		h		ideal				50 V		Pulse Left		Pulse Right		Pulse sum		h		200 V		Pulse Left		Pulse Right		Pulse sum		h				Volt scan		#85		#86		Total		Normalised

				85		31		110				33.5		25		85		128		12		140		0.0857142857		0		0				253		30		283		0.1060070671				373		16		389		0.0411311054				20		36		126		162		0.3884892086

				86		42						34.5		35		75		132		12		144		0.0833333333		110		1				233		24		257		0.093385214				341		25		366		0.0683060109				30		52		240		292		0.7002398082

												35.5		45		65		84		32		116		0.275862069								204		48		252		0.1904761905				325		50		375		0.1333333333				40		48		317		365		0.8752997602

												37		60		50		22		40		62		0.6451612903								36		76		112		0.6785714286				50		136		186		0.7311827957				50		48		371		407		0.9760191847

		#85		Amplitude		#86		Amplitude				37.5		65		45		40		84		124		0.6774193548								60		197		257		0.766536965				60		305		365		0.8356164384				75		36		380		412		0.9880095923

		39		417		28		417				38.5		75		35		28		152		180		0.8444444444								40		272		312		0.8717948718				32		401		433		0.9260969977				100		32		397		425		1.0191846523

		40		325		29		297				39.5		85		25		24		160		184		0.8695652174								44		281		325		0.8646153846				32		405		437		0.9267734554				120		28		413		441		1.0575539568

		41		50		30		60																																												150		28		417		417		1

		42		0		31		0

		43		68		32		32

		44		361		33		272

						34		409

		Bias 250 V		Strip #		Centre		Distance		20 V		Local coord.		D24		D25		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h		ideal				50 V		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h		200 V		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h				Volt scan		#4		Int 1		#5		Int 2		Total		Normalised

				4		12.5		115				14.5		20		95		204		-28		36				240		0.15		0		0				333				36				369		0.0975609756				449		-64		48				497		0.0965794769				20		12		-24		200		-48		212		0.4265593561

				5		24						15.5		30		85		240		-36		44				284		0.1549295775		115		1				425		-64		72				497		0.1448692153				573		-112		64				637		0.1004709576				30		40				328		-52		368		0.7404426559

												16.5		40		75		212		-32		44				256		0.171875								373		-48		52				425		0.1223529412				525		-88		52				577		0.0901213172				40		24		-16		381		-88		405		0.814889336

												17.5		50		65		116		-8		48				164		0.2926829268								256		-24		104				360		0.2888888889				373		-64		120				493		0.2434077079				50		28		-24		425		-92		453		0.9114688129

		#4		Amplitude		#5		Amplitude				18.5		60		55		16				32				48		0.6666666667								32				72				104		0.6923076923				60				112				172		0.6511627907				75		16				445		-100		461		0.9275653924

		12		0		21		489				19.5		70		45		52				188		-16		240		0.7833333333								68				385		-48		453		0.8498896247				52				509		-96		561		0.9073083779				100		12		-28		457		-124		469		0.9436619718

		13		0		22		341				20.5		80		35		52				253		-16		305		0.8295081967								76				429		-52		505		0.8495049505				36				549		-96		585		0.9384615385				120		16		-20		465		-120		481		0.967806841

		14		132		23		84				21.5		90		25		28				204		-48		232		0.8793103448								36				393		-84		429		0.9160839161				28				501		-112		529		0.9470699433				150		12		-44		485		-132		497		1

		15		437		24		0

		16		517		25		0

						26		272

		Bias 250 V		Strip #		Centre		Distance		20 V		Local coord.		D24		D25		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h		ideal				50 V		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h		200 V		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h

				5		24		110				26.5		25		85		197				36				233		0.1545064378		0		0				328				36				364		0.0989010989				445				32				477		0.0670859539

				6		35						27.5		35		75		152				28				180		0.1555555556		110		1				305				36				341		0.1055718475				449				36				485		0.0742268041

												28.5		45		65		116				36				152		0.2368421053								253				60				313		0.1916932907				413				100				513		0.1949317739

												29.5		55		55		44				28				72										60				36				96						72				32				104

												30.5		65		45		28				104				132		0.7878787879								52				212				264		0.803030303				72				345				417		0.8273381295

												31.5		75		35		36				160				196		0.8163265306								32				272				304		0.8947368421				28				405				433		0.935334873

												32.5		85		25		12				164				176		0.9318181818								32				333				365		0.9123287671				72				469				541		0.8669131238

		Bias 250 V		Strip #		Centre		Distance		20 V		Local coord.		D24		D25		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h		ideal				50 Volt		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h		200 Volts		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h				Volt scan		#115		Int 1		#116		Int 2		Total		Normalised

				115		44		120				47.5		35		85		237				45				282		0.1595744681		0		0				396		-18		54				450		0.12				474		-31		41				515		0.0796116505				10		32		23		132		0		164		0.3326572008

				116		56						48.5		45		75		209		0		54				263		0.2053231939		120		1				387		-13		59				446		0.1322869955				460		-41		45				505		0.0891089109				20		41		25		241		0		282		0.5720081136

												49.5		55		65		128		13		54				182		0.2967032967								264				77				341		0.2258064516				360		-23		90				450		0.2				30		45		25		314		0		359		0.7281947262

												51		70		50		41		13		91				132										63		13		182				245						73		0		250				323		0.72				40		45		25		364		0		409		0.8296146045

		#115		Amplitude		#116		Amplitude				51.5		75		45		77		41		173				250		0.692								91		18		360				451		0.7982261641				91		0		461				552		0.8351449275				50		36		18		400		-13		436		0.8843813387

		42		506		54		483				52.5		85		35		54		30		214				268		0.7985074627								54		23		383				437		0.8764302059				32		-23		460				492		0.9349593496				60		25		0		419		-23		444		0.9006085193

		43		410		55		287				53.5		95		25		41		25		241				282		0.8546099291								36		18		400		-13		436		0.9174311927				27				460		-23		487		0.9445585216				80		27		0		442		-23		469		0.9513184584

		44		77		56		0																																																								100		27		0		446		-23		473		0.9594320487

		45		455		57		0																																																								150		23		0		455		-27		478		0.9695740365

		46		488		58		145																																																								200		27				460		-18		487		0.9878296146

						59		469																																																								300		23				470		-30		493		1





Irradiated (4)

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

				0

				0

				0



0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



Irradiated (5) 

		0		0		0		0

		0		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0



20 Volt

50 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #388-389

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



Irr. corr (5)

		0		0		0		0

		0		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0



0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



Irr. corr. (6)

		Bias 250 V		Strip #		Centre		Distance		100 V		Local coord.		D24		D25		Pulse Left		Pulse Right		Pulse sum		h		ideal				200 V		Pulse Left		Pulse Right		Pulse sum		h		300 V		Pulse Left		Pulse Right		Pulse sum		h				Volt scan		#13		#14		Total		Normalised						Strip #5		Volt scan		Normalised

				13		8.5		110				11		25		85		351		0		351		0		0		0				369		0		369		0				364		0		364		0				20		5		205		210		0.4338842975						10		140		0.2868852459

				14		19.5						12		35		75		387		0		387		0		110		1				414		0		414		0				414		0		414		0				30		5		273		278		0.5743801653						30		285		0.5840163934

												13		45		65		328		27		355		0.076056338								374		15		389		0.0385604113				383		24		407		0.058968059				40		54		323		377		0.7789256198						50		393		0.8053278689

												14		55		55		154		73		227		0.3215859031								164		59		223		0.264573991				173		68		241		0.2821576763				50		45		360		405		0.8367768595						70		434		0.8893442623

		#13		Amplitude		#14		Amplitude				15		65		45		54		223		277		0.8050541516								63		264		327		0.8073394495				82		278		360		0.7722222222				75		41		405		446		0.9214876033						100		454		0.9303278689

		6		364		17		351				16		75		35		36		378		414		0.9130434783								36		424		460		0.9217391304				32		424		456		0.9298245614				100		32		428		460		0.9504132231						150		468

		7		164		18		164				17		85		25		23		414		437		0.9473684211								23		460		483		0.9523809524				20		464		484		0.958677686				120		23		437		460		0.9504132231						200		485		0.993852459

		8		30		19		0																																												150		27		446		473		0.9772727273						300		488		1

		9		0		20		0																																												200		23		455		478		0.9876033058

		10		209		21		196																																												300		20		464		484		1

		11		370		22		392

		Bias 250 V		Strip #		Centre		Distance		50 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				200 V		Pulse Left		Pulse Right		Pulse sum		h		300 V		Pulse Left		Pulse Right		Pulse sum		h				Volt scan		#33		#34		Total		Normalised

				13		4.8		112				8		32		80		31		334		71		405		0.175308642		0		0				427		-17		410		0				434		-17		417		0				10		48		97		145		0.3325688073				30		112		20		31		163

				14		16						9		42		70		34		317		51		368		0.1385869565		112		1				427		31		458		0.0676855895				458		24		482		0.0497925311				20		51		184		235		0.5389908257				50		157		31		41		229

												10		52		60		0		68		34		102		0.3333333333								89		37		126		0.2936507937				99		34		133		0.2556390977				30		54		263		317		0.7270642202				100		291		51		85		427

												11		62		50		0		65		195		260		0.75								61		266		327		0.8134556575				61		260		321		0.8099688474				50		37		345		382		0.876146789				130		372		58		103		533

		#33		Amplitude		#34		Amplitude				12		72		40		0		51		308		359		0.8579387187								34		413		447		0.9239373602				34		430		464		0.9267241379				75		27		389		416		0.9541284404				150		530		50		109		689

		2		445		13		451				13		82		30		0		37		342		379		0.9023746702								27		427		454		0.9405286344				10		447		457		0.9781181619				100		24		400		424		0.9724770642				200		567		44		65		676

		3		191		14		214																																														125		24		417		441		1.0114678899				250		605		31				636

		4		41		15		41																																														150		20		420		440		1.0091743119				300		612		31				643

		5		34		16		34																																														200		20		424		444		1.0183486239

		6		68		17		58																																														300		20		436		456		1.0458715596

		7		413		18		330

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.		D24		D25		#120		Int 1		#121		Int 2		#122		Int 3		Pulse sum		h		ideal				200 V		#120		Int 1		#121		Int 2		#122		Int 3		Pulse sum		h		400 V		#120		Int 1		#121		Int 2		#122		Int 3		Pulse sum		h						Volt scan		#120		Int 1		#121		Int 2		#122		Total		Normalised

				121		40		117				43		30		87		30		24		167		24		48		17		215		0.223255814		0		0				24		20		266		10		34		0		300		0.1133333333				10		0		372		-24		20		0		392		0.0510204082						50		0		0		61		0		24		85		0.2093596059

				122		51.7						44		40		77		24		15		140		31		54		117		194		0.2783505155		117		1				27		15		242		27		58		0		300		0.1933333333				0		0		376		-24		31		0		407		0.0761670762						100		20		0		106		0		34		140		0.3448275862

												45		50		67		24		20		99		37		65		0		164		0.3963414634								15		0		171		44		75		0		246		0.3048780488				10		0		311		0		75		0		386		0.1943005181						150		27		10		157		24		48		205		0.5049261084

												47		70		47		0		0		58		41		95		0		153		0.6209150327								0		0		68		48		146		0		214		0.6822429907				0		0		61		17		270		0		331		0.8157099698						200		20		10		253		10		34		287		0.7068965517

		#121		Amplitude		#122		Amplitude				48		80		37		0		0		65		41		143		10		208		0.6875								0		0		58		41		229		0		287		0.7979094077				0		0		34		0		366		-13		400		0.915						250		10		5		317		0		27		344		0.8472906404

		38		345		49		366				49		90		27		0		0		51		34		157		0		208		0.7548076923								0		0		44		27		266		0		310		0.8580645161				0		0		27		0		376		-17		403		0.9330024814						300		0		0		349		0		31		380		0.9359605911

		39		37		50		201																																																																						350		0		0		362		-15		27		389		0.9581280788

		40		30		51		34																																																																						400		0		0		372		-17		34		406		1

		41		34		52		24																																																																						500		0		0		383		-20		27		410		1.0098522167

		42		195		53		58

		43		362		54		342

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				200 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		400 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h						Volt scan		#109		#110		Total		Normalised

				109		12.4		116				15		26		90		31		178		51		229		0.2227074236		0		0				15		280		24		304		0.0789473684						369		0		369		0						50		65		0		65		0.1747311828

				110		24						16		36		80		24		154		58		212		0.2735849057		116		1				24		263		41		304		0.1348684211						372		0		372		0						100		123		37		160		0.4301075269

												17		46		70		20		123		71		194		0.3659793814								30		215		71		286		0.2482517483						331		41		372		0.1102150538						150		171		51		222		0.5967741935

												19		66		50		0		68		95		163		0.5828220859								0		71		146		217		0.6728110599						58		242		300		0.8066666667						200		287		24		311		0.8360215054

		#109		Amplitude		#110		Amplitude				20		76		40		0		68		146		214		0.6822429907								0		58		242		300		0.8066666667						34		338		372		0.9086021505						250		334		0		334		0.8978494624

		10		308		21		291				21		86		30		0		58		167		225		0.7422222222								0		44		259		303		0.8547854785						0		345		345		1						300		351		0		351		0.9435483871

		11		37		22		208																																																				350		366		0		366		0.9838709677

		12		0		23		31																																																				400		372		0		372		1

		13		0		24		27																																																				500		383		0		383		1.0295698925

		14		225		25		31

		15		321		26		235

						27		285

		Bias 250 V		Strip #		Centre		Distance		100 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				300 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		400 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h						Volt scan		#72		#73		Total		Normalised

				72		29.1		114				31.5		24		90				253		34		287		0.118466899		0		0						355		1		356		0.0028089888						0		0		0		0						25		44		20		64		0.170212766

				73		40.5						32.5		34		80				242		48		290		0.1655172414		114		1						386		1		387		0.0025839793																		50		95		41		136		0.3617021277

												33.5		44		70				150		78		228		0.3421052632										280		41		321		0.1277258567																		75		150		58		208		0.5531914894

												35.5		64		50				54		120		174		0.6896551724										51		222		273		0.8131868132																		100		240		51		291		0.7739361702

		#72		Amplitude		#73		Amplitude				36.5		74		40				68		215		283		0.7597173145										17		376		393		0.9567430025																		125		311		27		338		0.8989361702

		27		249		38		311				37.5		84		30				41		253		294		0.8605442177										1		386		387		0.9974160207																		150		342		10		352		0.9361702128

		28		71		39		106				38		89		25				41		249		290		0.8586206897										20		355		375		0.9466666667																		200		355		10		365		0.9707446809

		28.5		25		40		20																																																				300		376		0		376		1

		29		0		41		31																																																				400		383		0		383		1.0186170213

		30		58		42		154

		31		256		43		334

		Bias 250 V		Strip #		Centre		Distance		100 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				150 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		300 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		200 V		Pulse Left		Pulse Right		Pulse sum		h		Volt scan		#92		#93		Total		Normalised

				92		37.8		116				40		22		94		20		146		41		187		0.2192513369		0		0						259		24		283		0.0848056537						352		1		353		0.0028328612				331		5		336		0.0148809524		50		65		10		75		0.2049180328

				93		49.4						41		32		84		20		140		44		184		0.2391304348		116		1						246		34		280		0.1214285714						369		1		370		0.0027027027				334		5		339		0.0147492625		75		95		10		105		0.2868852459

												42		42		74		24		112		51		163		0.3128834356										208		65		273		0.2380952381						355		1		356		0.0028089888				300		34		334		0.1017964072		100		129		27		156		0.4262295082

												44.5		67		49		0		68		89		157		0.5668789809										82		143		225		0.6355555556						65		256		321		0.7975077882				71		215		286		0.7517482517		125		167		27		194		0.5300546448

		#92		Amplitude		#93		Amplitude				45		72		44				71		103		174		0.591954023										78		198		276		0.7173913043						37		334		371		0.9002695418				54		291		345		0.8434782609		150		236		30		266		0.7267759563

		35		352		47		345				46		82		34				54		123		177		0.6949152542										54		236		290		0.8137931034						1		370		371		0.9973045822				41		328		369		0.8888888889		200		328		0		328		0.8961748634

		36		143		48		68				47		92		24				48		133		181		0.7348066298										48		259		307		0.8436482085						10		359		369		0.972899729				35		331		366		0.9043715847		250		355		0		355		0.9699453552

		37		17		49		0																																																										300		366		0		366		1

		38		17		49.5		0																																																										400		379		0		379		1.0355191257

		39		95		50		0

		40		325		51		116

						52		321

		Bias 250 V		Strip #		Centre		Distance		20 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				50 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		200 V		Pulse Left		Pulse Right		Pulse sum		h								Volt scan		#32		#33		Total		Normalised

				32		43.2		108				45.5		23		85		24		188		30		218		0.1376146789		0		0				24		317		1		318		0.0031446541				400		1		401		0.0024937656								10		89		41		130		0.3147699758

				33		54						46.5		33		75		20		174		44		218		0.2018348624		108		1				20		325		10		335		0.0298507463				410		1		411		0.00243309								20		171		41		212		0.5133171913

												47.5		43		65		24		123		65		188		0.3457446809								20		242		54		296		0.1824324324				342		37		379		0.0976253298								30		232		34		266		0.6440677966

												49		58		50		0		41		58		99		0.5858585859										44		109		153		0.7124183007				51		164		215		0.7627906977								50		321		0		321		0.7772397094

		#32		Amplitude		#33		Amplitude				49.5		63		45				68		116		184		0.6304347826										68		212		280		0.7571428571				65		297		362		0.820441989								75		362		0		362		0.8765133172

		40		393		51		413				50.5		73		35				58		157		215		0.7302325581										44		297		341		0.8709677419				24		389		413		0.9418886199								100		383		0		383		0.9273607748

		41		181		52		291				51		78		30				48		164		212		0.7735849057										41		304		345		0.8811594203				15		393		408		0.9632352941								150		396		0		396		0.9588377724

		42		31		53		51																																																				200		413		0		413		1

		43		24		54		17																																																				300		420		0		420		1.0169491525

		44		80		55		50

		45		359		56		280

						57		403

		Bias 250 V		Strip #		Centre		Distance		50 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				100 V		Pulse Left		Pulse Right		Pulse sum		h		300 V		Pulse Left		Pulse Right		Pulse sum		h										Volt scan		#53		#54		#55		#56		Total		Normalised

				54		39		110				42.5		35		75		24		259		37		296		0.125		0		0				352		1		353		0.0028328612				400		1		401		0.0024937656										10		13		27		41		13		68		0.17

				55		50						43		40		70		24		222		48		270		0.1777777778		110		1				331		1		332		0.0030120482				393		1		394		0.0025380711										25		20		61		109		20		170		0.425

												44		50		60		0		123		58		181		0.320441989								195		44		239		0.1841004184				239		41		280		0.1464285714										50				266		41				307		0.7675

												45.5		65		45		0		51		116		167		0.6946107784								42		178		220		0.8090909091				61		215		276		0.7789855072										75				334		14				348		0.87

		#54		Amplitude		#55		Amplitude				46		70		40				70		201		271		0.741697417								51		308		359		0.8579387187				51		355		406		0.8743842365										100				359		0				359		0.8975

		37		352		47		400				47		80		30				43		260		303		0.8580858086								17		355		372		0.9543010753				1		400		401		0.9975062344										150				372		0				372		0.93

		38		44		48		280																																																				200				383		0				383		0.9575

		39		27		49		41																																																				250				396		0				396		0.99

		40		51		50		20																																																				300				400		0				400		1

		41		266		51		51								512		63		575																																								400				406						406		1.015

		42		390		52		273

						53		410

		Bias 250 V		Strip #		Centre		Distance		50 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				100 V		Pulse Left		Pulse Right		Pulse sum		h		250 V		Pulse Left		Pulse Right		Pulse sum		h										Volt scan		#64		#65		Total		Normalised

				63		1		120				4.5		35		85		37		161		65		226		0.2876106195		0		0				317		1		318		0.0031446541				376		1		377		0.0026525199										25		34		75		109		0.2632850242

				64		13						5.5		45		75		30		137		82		219		0.3744292237		120		1				297		54		351		0.1538461538				376		15		391		0.0383631714										50		55		164		219		0.5289855072

												6		50		70		0		123		78		201		0.3880597015								249		58		307		0.1889250814				325		41		366		0.1120218579										75		37		290		327		0.7898550725

												7.5		65		55		0		38		51		89		0.5730337079								40		106		146		0.7260273973				51		129		180		0.7166666667										100		27		330		357		0.8623188406

		#63		Amplitude		#64		Amplitude				8		70		50				71		103		174		0.591954023								61		242		303		0.798679868				58		300		358		0.8379888268										150		27		359		386		0.9323671498

		-1		352		10		400				9		80		40				75		143		218		0.6559633028								41		325		366		0.8879781421				31		372		403		0.9230769231										200		24		372		396		0.9565217391

		0		44		11		280				10		90		30				51		164		215		0.7627906977								34		334		368		0.9076086957				20		389		409		0.9511002445										250		20		379		399		0.9637681159

		1		27		12		41																																																				300		24		382		406		0.9806763285

		2		51		13		20																																																				350		24		390		414		1

		3		266		14		51

		4		390		15		273





Irradiated (6)

		Bias 250 V		Strip #		Centre		Distance		100 V		Local coord.		D24		D25		Pulse Left		Pulse Right		Pulse sum		h		ideal				200 V		Pulse Left		Pulse Right		Pulse sum		h		300 V		Pulse Left		Pulse Right		Pulse sum		h				Volt scan		#13		#14		Total		Normalised						Strip #5		Volt scan		Normalised

				13		8.5		110				11		25		85		351		17		368		0.0461956522		0		0				369		17		386		0.0440414508				364		17		381		0.0446194226				20		5		205		210		0.4338842975						10		140		0.2868852459

				14		19.5						12		35		75		387		24		411		0.0583941606		110		1				414		24		438		0.0547945205				414		24		438		0.0547945205				30		5		273		278		0.5743801653						30		285		0.5840163934

												13		45		65		328		54		382		0.1413612565								374		55		429		0.1282051282				383		48		431		0.1113689095				40		54		323		377		0.7789256198						50		393		0.8053278689

												14		55		55		154		73		227		0.3215859031								164		59		223		0.264573991				173		68		241		0.2821576763				50		45		360		405		0.8367768595						70		434		0.8893442623

		#13		Amplitude		#14		Amplitude				15		65		45		54		223		277		0.8050541516								63		264		327		0.8073394495				82		278		360		0.7722222222				75		41		405		446		0.9214876033						100		454		0.9303278689

		6		364		17		351				16		75		35		36		378		414		0.9130434783								36		424		460		0.9217391304				32		424		456		0.9298245614				100		32		428		460		0.9504132231						150		468

		7		164		18		164				17		85		25		23		414		437		0.9473684211								23		460		483		0.9523809524				20		464		484		0.958677686				120		23		437		460		0.9504132231						200		485		0.993852459

		8		30		19		0																																												150		27		446		473		0.9772727273						300		488		1

		9		0		20		0																																												200		23		455		478		0.9876033058

		10		209		21		196																																												300		20		464		484		1

		11		370		22		392

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.		D24		D25		#120		Int 1		#121		Int 2		#122		Int 3		Pulse sum		h		ideal				200 V		#120		Int 1		#121		Int 2		#122		Int 3		Pulse sum		h		400 V		#120		Int 1		#121		Int 2		#122		Int 3		Pulse sum		h						Volt scan		#120		Int 1		#121		Int 2		#122		Total		Normalised

				121		40		117				43		30		87		30		24		167		24		48		17		215		0.223255814		0		0				24		20		266		10		34		0		300		0.1133333333				10		0		372		-24		20		0		392		0.0510204082						50		0		0		61		0		24		85		0.2093596059

				122		51.7						44		40		77		24		15		140		31		54		117		194		0.2783505155		117		1				27		15		242		27		58		0		300		0.1933333333				0		0		376		-24		31		0		407		0.0761670762						100		20		0		106		0		34		140		0.3448275862

												45		50		67		24		20		99		37		65		0		164		0.3963414634								15		0		171		44		75		0		246		0.3048780488				10		0		311		0		75		0		386		0.1943005181						150		27		10		157		24		48		205		0.5049261084

												47		70		47		0		0		58		41		95		0		153		0.6209150327								0		0		68		48		146		0		214		0.6822429907				0		0		61		17		270		0		331		0.8157099698						200		20		10		253		10		34		287		0.7068965517

		#121		Amplitude		#122		Amplitude				48		80		37		0		0		65		41		143		10		208		0.6875								0		0		58		41		229		0		287		0.7979094077				0		0		34		0		366		-13		400		0.915						250		10		5		317		0		27		344		0.8472906404

		38		345		49		366				49		90		27		0		0		51		34		157		0		208		0.7548076923								0		0		44		27		266		0		310		0.8580645161				0		0		27		0		376		-17		403		0.9330024814						300		0		0		349		0		31		380		0.9359605911

		39		37		50		201																																																																						350		0		0		362		-15		27		389		0.9581280788

		40		30		51		34																																																																						400		0		0		372		-17		34		406		1

		41		34		52		24																																																																						500		0		0		383		-20		27		410		1.0098522167

		42		195		53		58

		43		362		54		342

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				200 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		400 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h						Volt scan		#109		#110		Total		Normalised

				109		12.4		116				15		26		90		31		178		51		229		0.2227074236		0		0				15		280		24		304		0.0789473684						369		15		384		0.0390625						50		65		0		65		0.1747311828

				110		24						16		36		80		24		154		58		212		0.2735849057		116		1				24		263		41		304		0.1348684211						372		24		396		0.0606060606						100		123		37		160		0.4301075269

												17		46		70		20		123		71		194		0.3659793814								30		215		71		286		0.2482517483						331		41		372		0.1102150538						150		171		51		222		0.5967741935

												19		66		50		0		68		95		163		0.5828220859								0		71		146		217		0.6728110599						58		242		300		0.8066666667						200		287		24		311		0.8360215054

		#109		Amplitude		#110		Amplitude				20		76		40		0		68		146		214		0.6822429907								0		58		242		300		0.8066666667						34		338		372		0.9086021505						250		334		0		334		0.8978494624

		10		308		21		291				21		86		30		0		58		167		225		0.7422222222								0		44		259		303		0.8547854785						15		345		360		0.9583333333						300		351		0		351		0.9435483871

		11		37		22		208																																																				350		366		0		366		0.9838709677

		12		0		23		31																																																				400		372		0		372		1

		13		0		24		27																																																				500		383		0		383		1.0295698925

		14		225		25		31

		15		321		26		235

						27		285

		Bias 250 V		Strip #		Centre		Distance		100 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				300 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		400 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h						Volt scan		#72		#73		Total		Normalised

				72		29.1		114				31.5		24		90				253		34		287		0.118466899		0		0						355		14		369		0.0379403794						0		0		0		0						25		44		20		64		0.170212766

				73		40.5						32.5		34		80				242		48		290		0.1655172414		114		1						386		25		411		0.0608272506																		50		95		41		136		0.3617021277

												33.5		44		70				150		78		228		0.3421052632										280		56		336		0.1666666667																		75		150		58		208		0.5531914894

												35.5		64		50				54		120		174		0.6896551724										51		222		273		0.8131868132																		100		240		51		291		0.7739361702

		#72		Amplitude		#73		Amplitude				36.5		74		40				68		215		283		0.7597173145										17		376		393		0.9567430025																		125		311		27		338		0.8989361702

		27		249		38		311				37.5		84		30				41		253		294		0.8605442177										1		386		387		0.9974160207																		150		342		10		352		0.9361702128

		28		71		39		106				38		89		25				41		249		290		0.8586206897										20		355		375		0.9466666667																		200		355		10		365		0.9707446809

		28.5		25		40		20																																																				300		376		0		376		1

		29		0		41		31																																																				400		383		0		383		1.0186170213

		30		58		42		154

		31		256		43		334

		Bias 250 V		Strip #		Centre		Distance		100 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				150 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		300 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		200 V		Pulse Left		Pulse Right		Pulse sum		h		Volt scan		#92		#93		Total		Normalised

				92		37.8		116				40		22		94		20		146		41		187		0.2192513369		0		0						259		24		283		0.0848056537						352		15		367		0.0408719346				331		20		351		0.056980057		50		65		10		75		0.2049180328

				93		49.4						41		32		84		20		140		44		184		0.2391304348		116		1						246		34		280		0.1214285714						369		27		396		0.0681818182				334		29		363		0.0798898072		75		95		10		105		0.2868852459

												42		42		74		24		112		51		163		0.3128834356										208		65		273		0.2380952381						355		36		391		0.0920716113				300		55		355		0.1549295775		100		129		27		156		0.4262295082

												44.5		67		49		0		68		89		157		0.5668789809										82		143		225		0.6355555556						65		256		321		0.7975077882				71		215		286		0.7517482517		125		167		27		194		0.5300546448

		#92		Amplitude		#93		Amplitude				45		72		44				71		103		174		0.591954023										78		198		276		0.7173913043						37		334		371		0.9002695418				54		291		345		0.8434782609		150		236		30		266		0.7267759563

		35		352		47		345				46		82		34				54		123		177		0.6949152542										54		236		290		0.8137931034						1		370		371		0.9973045822				41		328		369		0.8888888889		200		328		0		328		0.8961748634

		36		143		48		68				47		92		24				48		133		181		0.7348066298										48		259		307		0.8436482085						10		359		369		0.972899729				35		331		366		0.9043715847		250		355		0		355		0.9699453552

		37		17		49		0																																																										300		366		0		366		1

		38		17		49.5		0																																																										400		379		0		379		1.0355191257

		39		95		50		0

		40		325		51		116

						52		321

		Bias 250 V		Strip #		Centre		Distance		20 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				50 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		200 V		Pulse Left		Pulse Right		Pulse sum		h								Volt scan		#32		#33		Total		Normalised

				32		43.2		108				45.5		23		85		24		188		30		218		0.1376146789		0		0				24		317		14		331		0.0422960725				400		15		415		0.0361445783								10		89		41		130		0.3147699758

				33		54						46.5		33		75		20		174		44		218		0.2018348624		108		1				20		325		30		355		0.0845070423				410		25		435		0.0574712644								20		171		41		212		0.5133171913

												47.5		43		65		24		123		65		188		0.3457446809								20		242		74		316		0.2341772152				342		37		379		0.0976253298								30		232		34		266		0.6440677966

												49		58		50		0		41		58		99		0.5858585859										44		109		153		0.7124183007				51		164		215		0.7627906977								50		321		0		321		0.7772397094

		#32		Amplitude		#33		Amplitude				49.5		63		45				68		116		184		0.6304347826										68		212		280		0.7571428571				65		297		362		0.820441989								75		362		0		362		0.8765133172

		40		393		51		413				50.5		73		35				58		157		215		0.7302325581										44		297		341		0.8709677419				24		389		413		0.9418886199								100		383		0		383		0.9273607748

		41		181		52		291				51		78		30				48		164		212		0.7735849057										41		304		345		0.8811594203				15		393		408		0.9632352941								150		396		0		396		0.9588377724

		42		31		53		51																																																				200		413		0		413		1

		43		24		54		17																																																				300		420		0		420		1.0169491525

		44		80		55		50

		45		359		56		280

						57		403

		Bias 250 V		Strip #		Centre		Distance		50 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				100 V		Pulse Left		Pulse Right		Pulse sum		h		300 V		Pulse Left		Pulse Right		Pulse sum		h										Volt scan		#53		#54		#55		#56		Total		Normalised

				54		39		110				42.5		35		75		24		259		37		296		0.125		0		0				352		15		367		0.0408719346				400		17		417		0.0407673861										10		13		27		41		13		68		0.17

				55		50						43		40		70		24		222		48		270		0.1777777778		110		1				331		25		356		0.0702247191				393		29		422		0.0687203791										25		20		61		109		20		170		0.425

												44		50		60		0		123		58		181		0.320441989								195		55		250		0.22				239		61		300		0.2033333333										50				266		41				307		0.7675

												45.5		65		45		0		51		116		167		0.6946107784								42		178		220		0.8090909091				61		215		276		0.7789855072										75				334		14				348		0.87

		#54		Amplitude		#55		Amplitude				46		70		40				70		201		271		0.741697417								51		308		359		0.8579387187				51		355		406		0.8743842365										100				359		0				359		0.8975

		37		352		47		400				47		80		30				43		260		303		0.8580858086								17		355		372		0.9543010753				1		400		401		0.9975062344										150				372		0				372		0.93

		38		44		48		280																																																				200				383		0				383		0.9575

		39		27		49		41																																																				250				396		0				396		0.99

		40		51		50		20																																																				300				400		0				400		1

		41		266		51		51								512		63		575																																								400				406						406		1.015

		42		390		52		273

						53		410

		Bias 250 V		Strip #		Centre		Distance		50 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				100 V		Pulse Left		Pulse Right		Pulse sum		h		250 V		Pulse Left		Pulse Right		Pulse sum		h										Volt scan		#64		#65		Total		Normalised

				63		1		120				4.5		35		85		37		161		65		226		0.2876106195		0		0				317		15		332		0.0451807229				376		15		391		0.0383631714										25		34		75		109		0.2632850242

				64		13						5.5		45		75		30		137		82		219		0.3744292237		120		1				297		50		347		0.144092219				376		39		415		0.0939759036										50		55		164		219		0.5289855072

												6		50		70		0		123		78		201		0.3880597015								249		54		303		0.1782178218				325		61		386		0.1580310881										75		37		290		327		0.7898550725

												7.5		65		55		0		38		51		89		0.5730337079								40		106		146		0.7260273973				51		129		180		0.7166666667										100		27		330		357		0.8623188406

		#63		Amplitude		#64		Amplitude				8		70		50				71		103		174		0.591954023								61		242		303		0.798679868				58		300		358		0.8379888268										150		27		359		386		0.9323671498

		-1		352		10		400				9		80		40				75		143		218		0.6559633028								41		325		366		0.8879781421				31		372		403		0.9230769231										200		24		372		396		0.9565217391

		0		44		11		280				10		90		30				51		164		215		0.7627906977								34		334		368		0.9076086957				20		389		409		0.9511002445										250		20		379		399		0.9637681159

		1		27		12		41																																																				300		24		382		406		0.9806763285

		2		51		13		20																																																				350		24		390		414		1

		3		266		14		51

		4		390		15		273





Irradiated (6)

		0		1		0

		0				0

		0				0

		0				0

		0				0

		0				0

		0				0

		0				0

		0

		0



0

1

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



Irr. (7)

		

		Vfd

		Normalised		10		30		50		70		120

		50		0.2016		0.2		0.1500938086		0.1529411765		0.2610294118

		100		0.3248		0.2585365854		0.3114446529		0.3025210084		0.4393382353

		150		0.4832		0.4170731707		0.4671669794		0.4352941176		0.8088235294

		200		0.656		0.6		0.6303939962		0.6268907563		0.9227941176

		250		0.8032		0.8097560976		0.8105065666		0.7613445378		0.9430147059

		300		0.9104		0.856097561		0.8780487805		0.8789915966		0.9411764706

		350		0.928		0.8902439024		0.9099437148		0.9176470588		0.9724264706

		400		0.9696		0.9268292683		0.9230769231		0.9193277311		0.9852941176

		500		1		1		1		1		1

		Strip #		VFD

		10

		30

		50

		70

		120

		Eta scan		#10		#11

								D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		Norm. pulse

								20		90		239		62		301		0.2059800664		0		0				20		90		409		59		468		0.1260683761		0.6688888889

								30		80		350		76		426		0.1784037559		110		1				30		80		582		32		614		0.0521172638		0.9466666667

								40		70		298		104		402		0.2587064677								40		70		520		60		580		0.1034482759		0.8933333333

								50		60		149		83		232		0.3577586207								50		60		270		76		346		0.2196531792		0.5155555556

								60		50		90		152		242		0.6280991736								60		50		100		281		381		0.7375328084		0.5377777778

								70		40		118		291		409		0.7114914425								70		40		80		544		624		0.8717948718		0.9088888889

								80		30		94		357		451		0.7915742794								80		30		55		564		619		0.9111470113		1.0022222222

								90		20		80		277		357		0.7759103641								90		20		76		447		523		0.8546845124		0.7933333333

				#30		#31		200 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		Norm. pulse

										20		90		114		61		175		0.3485714286		0		0				20		90		195		58		253		0.2292490119		0.6730769231

										30		80		168		47		215		0.2186046512		110		1				30		80		309		15		324		0.0462962963		0.8269230769

										40		70		160		75		235		0.3191489362								40		70		328		27		355		0.076056338		0.9038461538

										50		60		95		73		168		0.4345238095								50		60		161		58		219		0.2648401826		0.6461538462

										60		50		39		65		104		0.625								60		50		56		91		147		0.619047619		0.4

										70		40		58		147		205		0.7170731707								70		40		51		303		354		0.8559322034		0.7884615385

										80		30		52		203		255		0.7960784314								80		30		15		372		387		0.9612403101		0.9807692308

										90		20		42		198		240		0.825								90		20		10		367		377		0.9734748011		0.9230769231

				#50		#51		200 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		Norm. pulse

										20		90		253		45		298		0.1510067114		0		0				20		90		429		24		453		0.0529801325		0.903030303

										30		80		225		55		280		0.1964285714		110		1				30		80		423		32		455		0.0703296703		0.8484848485

										40		70		177		86		263		0.3269961977								40		70		385		72		457		0.1575492341		0.796969697

										50		60		0		0		0										50		60		0		0		0		0		0

										60		50		62		128		190		0.6736842105								60		50		69		267		336		0.7946428571		0.5757575758

										70		40		83		232		315		0.7365079365								70		40		42		461		503		0.916500994		0.9545454545

										80		30		52		277		329		0.8419452888								80		30		28		461		489		0.9427402863		0.996969697

										90		20		55		270		325		0.8307692308								90		20		24		468		492		0.9512195122		0.9848484848

				#70		#71		200 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		Norm. pulse

										20		95		263		55		318		0.1729559748		0		0				20		95		395		59		454		0.1299559471		0.7066666667

										30		85		374		42		416		0.1009615385		115		1				30		85		547		20		567		0.0352733686		0.9244444444

										40		75		315		76		391		0.1943734015								40		75		550		38		588		0.0646258503		0.8688888889

										50		65		121		55		176		0.3125								50		65		204		58		262		0.2213740458		0.3911111111

										60		55		48		50		98		0.5102040816								60		55		59		83		142		0.5845070423		0.2177777778

										70		45		114		253		367		0.689373297								70		45		66		499		565		0.8831858407		0.8155555556

										80		35		76		333		409		0.8141809291								80		35		38		561		599		0.9365609349		0.9088888889

										90		25		66		381		447		0.8523489933								90		25		34		513		547		0.9378427788		0.9933333333

				#120		#121		200 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		Norm. pulse

										20		100		346		121		467		0.2591006424		0		0				20		100		377		135		512		0.263671875		0.6867647059

										30		90		616		59		675		0.0874074074		115		1				30		90		682		48		730		0.0657534247		0.9926470588

										40		80		616		62		678		0.0914454277								40		80		665		52		717		0.0725244073		0.9970588235

										50		70		308		55		363		0.1515151515								50		70		385		66		451		0.1463414634		0.7117647059

										60		60		59		59		118		0.5								60		60		66		66		132		0.5		0.231372549

										70		50		90		360		450		0.8								70		50		86		450		536		0.8395522388		0.8823529412

										80		40		59		450		509		0.884086444								80		40		42		520		562		0.9252669039		0.9980392157

										90		30		38		468		506		0.9249011858								90		30		28		523		551		0.9491833031		0.9921568627

				Sample of metal strip scan

		#10		#10		Amplitude		Norm. ampl.

		25.5		0		491		0.982

		26		5		376		0.752

		26.5		10		173		0.346

		27.5		20		0		0

		28		25		0		0

		28.5		30		0		0

		29.5		40		108.6		0.2172

		30		45		310		0.62

		30.5		50		472		0.944

		Strip		#90		#91		200 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		Pulse Left		Pulse Right		Pulse sum		h

										38		30		87.5		329		38		367		0.1035422343		0		0				436		14		450		0.0311111111

										39		40		77.5		281		69		350		0.1971428571		117.5		1				433		25		458		0.0545851528

										40		50		67.5		142		83		225		0.3688888889								235		76		311		0.2443729904

										41		60		57.5		52		86		138		0.6231884058								38		136		174		0.7816091954

										42		70		47.5		94		274		368		0.7445652174								48		485		533		0.9099437148

										43		80		37.5		48		385		433		0.8891454965								0		526		526		1

										44		90		27.5		38		402		440		0.9136363636								0		523		523		1

		Strip #		150 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				200 V		Pulse Left		Pulse Right		Pulse sum		h		400 V		Pulse Left		Pulse Right		Pulse sum		h

		100				24		30		85		276		71		347		0.204610951		0		0				405		25		430		0.0581395349				509		24		533		0.0450281426

		101				25		40		75		233		104		337		0.3086053412		115		1				388		74		462		0.1601731602				516		38		554		0.0685920578

						26		50		65		91		57		148		0.3851351351								142		54		196		0.2755102041				219		62		281		0.2206405694

						27		60		55		51		67		118		0.5677966102								64		101		165		0.6121212121				67		148		215		0.688372093

						28		70		45		121		202		323		0.6253869969								111		317		428		0.7406542056				61		476		537		0.886405959

						29		80		35		91		250		341		0.7331378299								71		385		456		0.8442982456				37		496		533		0.9305816135

						30		90		25		74		290		364		0.7967032967								57		425		482		0.8817427386				34		519		553		0.938517179

		New 0 position

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		Ideal				200 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		400 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h

				120		22.2		118				25		28		90		32		0		333		23		50		0		0		383		0.1305483029		0		0				25		250		-250		13		0		396		-13		35		0		0		431		0.0812064965				25		250		-250		10		0		469		-23		32		0		0		501		0.0638722555

				121		34						26		38		80		32		0		314		30		54		0		0		368		0.1467391304		118		1				26		260		-260		23		0		424		-13		36		0		0		460		0.0782608696				26		260		-260		0		0		469		-27		30		0		0		499		0.0601202405

												27		48		70		27		0		259		54		86		0		13		345		0.2492753623								27		270		-270		0		0		387		23		68		0		0		455		0.1494505495				27		270		-270		0		0		492		-23		63		0		0		555		0.1135135135

												28		58		60		0		0		41		0		27		0		0		68		0.3970588235								28		280		-280		0		0		59		0		41		0		0		100		0.41				28		280		-280		0		0		77		0		45		0		0		122		0.368852459

		#121		Ampitude		#121		Amplitude				29		68		50		18		0		68		41		132		0		32		200		0.66								29		290		-290		0		0		59		32		178		0		0		237		0.7510548523				29		290		-290		0		0		73		18		273		0		32		346		0.789017341

		20		483		32		451				30		78		40		18		0		86		68		264		0		27		350		0.7542857143								30		300		-300		0		0		50		10		506		-18		0		556		0.9100719424				30		300		-300		0		0		50		10		506		-18		0		556		0.9100719424

		21		86		33		54				31		88		30		0				63		50		342		0		32		405		0.8444444444								31		310		-310		0		0		41		18		428		-23		18		469		0.9125799574				31		310		-310		0		0		36		0		496		-23		18		532		0.9323308271

		22		45		34		32

		23		23		35		45				Estimated strip width:

		24		154		36		387				35 µm

		25		470





Irr. (7)

		0		0		0

		0		0		0

		0		0

		0		0

		0		0

		0		0

		0		0



200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #760-761

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



Non irr. (2)

		0		0		0		0

		0		0		0		0

				0		0		0

				0		0		0

				0		0		0

				0		0		0

				0		0		0



Local position [µm]

Right charge/Total charge

Scan across strips #760-761

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



Various final Pic.

		0		0		0

		0		0		0

		0		0

		0		0

		0		0

		0		0



200 Volts

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #650-651

0

0

0

0

0

0

0

0

0

0

0

0

0

0



Final pic. eta

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D24		D25		Pulse 24		Pulse 25		Pulse sum		h		ideal				400 V		Local coord.		D24		D25		Pulse 24		Pulse 25		Pulse sum		h

				24		22.2		120				24.5		23		97		589		98		687		0.1426491994		0		0				24.5		23		97		841		0		841		0

				25		34.2						25.5		33		87		663		135		798		0.1691729323		120		1				25.5		33		87		892		0		892		0

												26.5		43		77		565		140		705		0.1985815603								26.5		43		77		841		61		902		0.0676274945

												27.5		53		67		425		233		658		0.3541033435								27.5		53		67		715		332		1047		0.3170964661

		#24		Amplitude		#25		Amplitude				28		58		62		388		318		706		0.4504249292								28		58		62		607		514		1121		0.4585191793

		20.5		715		32		738				28.5		63		57		322		388		710		0.5464788732								28.5		63		57		402		691		1093		0.6322049405

		21		579		32.5		663				29.5		73		47		196		520		716		0.7262569832								29.5		73		47		135		888		1023		0.8680351906

		21.5		462		33		486				30.5		83		37		201		645		846		0.7624113475								30.5		83		37		140		906		1046		0.8661567878

		22		374		33.5		402				31.5		93		27		140		551		691		0.7973950796								31.5		93		27		112		850		962		0.8835758836

		22.5		340		34		336				32		98		22		112		490		602		0.8139534884								32		98		22		98		771		869		0.8872266974

		23		416		34.5		327

		23.5		551		35		378

		24		631		35.5		462

		24.5		757		36		603

						36.5		705

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D39		D40		Pulse 39		Pulse 40		Pulse sum		h		ideal				400 V		Local coord.		D39		D40		Pulse 39		Pulse 40		Pulse sum		h

				39		38.5		120				41		25		95		537		98		635		0.1543307087		0		0				41		25		95		818		0		818		0

				40		50.5						42		35		85		598		159		757		0.2100396301		120		1				42		35		85		850		0		850		0

												43		45		75		495		159		654		0.2431192661								43		45		75		780		60		840		0.0714285714

												44		55		65		378		290		668		0.4341317365								44		55		65		663		397		1060		0.3745283019

		#39		Amplitude		#40		Amplitude				45		65		55		252		411		663		0.6199095023								45		65		55		360		673		1033		0.651500484

		37.5		446		49.5		474				46		75		45		168		547		715		0.765034965								46		75		45		126		892		1018		0.8762278978

		38.5		265		50.5		339				47		85		35		173		659		832		0.7920673077								47		85		35		103		897		1000		0.897

		39		274		51		367				48		95		25		135		603		738		0.8170731707								48		95		25		89		836		925		0.9037837838

		39.5		395		51.5		442				49		105		15		84		406		490		0.8285714286								49		105		15		84		682		766		0.8903394256

		40.5		553		52.5		679				50		115		5		70		276		346		0.7976878613								50		115		5		65		462		527		0.8766603416

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D64		D65		Pulse 64		Pulse 65		Pulse sum		h		ideal				400 V		Local coord.		D64		D65		Pulse 64		Pulse 65		Pulse sum		h

				64		38		118				39.5		15		103		509		84		593		0.1416526138		0		0				39.5		15		103		761		0		761		0

				65		49.8						40.5		25		93		738		135		873		0.1546391753		120		1				40.5		25		93		836		0		836		0

												41.5		35		83		715		135		850		0.1588235294								41.5		35		83		888		0		888		0

												42.5		45		73		593		206		799		0.2578222778								42.5		45		73		803		177		980		0.5581632653

		#64		Amplitude		#65		Amplitude				43.5		55		63		472		383		855		0.4479532164								43.5		55		63		654		547		1201		0.6378018318

		37		458		48.5		537				44.5		65		53		313		530		843		0.6287069988								44.5		65		53		318		766		1084		0.7066420664

		38		322		49.5		322				45.5		75		43		219		696		915		0.7606557377								45.5		75		43		126		902		1028		0.8774319066

		38.5		472		50		332				46.5		85		33		224		748		972		0.7695473251								46.5		85		33		131		916		1047		0.8748806113

		39		579		50.5		411				47.5		95		23		135		589		724		0.8135359116								47.5		95		23		98		813		911		0.8924259056

		40		813		51.5		705				48		100		18		121		514		635		0.8094488189								48		100		18		107		733		840		0.8726190476

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D85		D86		Pulse 85		Pulse 86		Pulse sum		h		ideal				400 V		Local coord.		D85		D86		Pulse 85		Pulse 86		Pulse sum		h		h-1

				85		46.5		120				47		5		115		472		89		561		0.8413547237		0		0				47		5		115		551		65		616		0.1055194805		0.8944805195

				86		58.5						48		15		105		705		89		794		0.8879093199		120		1				48		15		105		813		51		864		0.0590277778		0.9409722222

												49		25		95		864		117		981		0.880733945								49		25		95		920		0		920		0		1

												50		35		85		874		187		1061		0.8237511781								50		35		85		911		70		981		0.0713557594		0.9286442406

		#85		Amplitude		#86		Amplitude				51		45		75		799		201		1000		0.799								51		45		75		897		107		1004		0.1065737052		0.8934262948

		45		654		57		663				52		55		65		645		486		1131		0.5702917772								52		55		65		780		589		1369		0.4302410519		0.5697589481

		46		462		58		504				53		65		55		430		705		1135		0.3788546256								53		65		55		453		794		1247		0.6367281476		0.3632718524

		46.5		486		58.5		477				54		75		45		248		813		1061		0.2337417531								54		75		45		126		874		1000		0.874		0.126

		47		598		59		598				55		85		35		266		860		1126		0.2362344583								55		85		35		131		883		1014		0.8708086785		0.1291913215

		48		775		60		813				56		95		25		149		771		920		0.1619565217								56		95		25		107		845		952		0.887605042		0.112394958

												57		105		15		112		654		766		0.1462140992								57		105		15		93		705		798		0.8834586466		0.1165413534

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D85		D86		Pulse 85		Pulse 86		Pulse sum		h		ideal				Local coord.		D85		D86		Pulse 85		Pulse 86		Pulse sum		h

				120		25.5		120				27.5		20		100		472		89		561		0.1586452763		0		0		27.5		20		100		845		210		1055		0.1990521327

				121		37.5						28.5		30		90		705		89		794		0.1120906801		120		1		28.5		30		90		892		173		1065		0.1624413146

												29.5		40		80		864		117		981		0.119266055						29.5		40		80		916		177		1093		0.1619396157

												30.5		50		70		874		187		1061		0.1762488219						30.5		50		70		850		570		1420		0.4014084507

		#120		Amplitude		#121		Amplitude				31.5		60		60		799		201		1000		0.201						31.5		60		60		640		827		1467		0.5637355147

		24.5		719		36		794				32.5		70		50		645		486		1131		0.4297082228						32.5		70		50		187		900		1087		0.8279668813

		25.5		369		37		519				33.5		80		40		430		705		1135		0.6211453744						33.5		80		40		112		920		1032		0.8914728682

		26		561		37.5		481				34.5		90		30		248		813		1061		0.7662582469						34.5		90		30		177		911		1088		0.8373161765

		26.5		794		38		757				35.5		100		20		266		860		1126		0.7637655417						35.5		100		20		154		855		1009		0.8473736373

		27.5		902		39		888				36.5		110		10		635		771		1406		0.5483641536						36.5		110		10		168		673		841		0.8002378121

				Strip numbers																																																														Normalised

		Bias		24		25		total		39		40		total		64		65		total		84		85		86		87		total		total		64		65		total		99		100		total		73		74		total		120		121		total										1		2		3		4		5		6		7

		50		173		56		229		32		140		172		79		187		266		51		191		149		42		433		340		139		354		493		163		189		352		200		88		288		453		173		626										0.257751938		0.2470978441		0.2458423717		0.3912698413		0.2693190513		0.24		0.5424610052

		100		257		61		318		70		257		327		159		378		537		70		330		257		56		713		587		232		604		836		316		373		689		421		201		622		719		383		1102										0.5203488372		0.4262023217		0.424439624		0.6634920635		0.5271614384		0.5183333333		0.9549393414

		150		402		93		495		117		411		528		210		532		742		100		514		402		75		1091		916		378		796		1174		426		516		942		593		294		887		934		229		1163										0.7189922481		0.6666666667		0.6623282719		0.9317460317		0.7207345065		0.7391666667		1.0077989601

		200		589		98		687		131		589		720		219		719		938		75		659		467		47		1248		1126		378		889		1267		479		612		1091		779		255		1034		953		223		1176										0.9089147287		0.7744610282		0.8141720897		1.0055555556		0.8347360367		0.8616666667		1.0190641248

		250		748		0		748		112		743		855		191		818		1009		60		743		519		32		1354		1262		308		941		1249		506		699		1205		950		245		1195		948		238		1186										0.9777131783		0.8606965174		0.9125090383		0.9912698413		0.921958684		0.9958333333		1.027729636

		300		775		0		775		98		813		911		159		892		1051		51		771		551				1373		1322		250		994		1244		516		742		1258		1000		167		1167		948		215		1163										1.0184108527		0.9137645108		0.9558929863		0.9873015873		0.9625095639		0.9725		1.0077989601

		350		803		0		803		89		841		930		145		888		1033		37		743		547				1327		1290		221		1017		1238		512		742		1254		1053		167		1220		939		206		1145										1.0009689922		0.9071310116		0.9327548807		0.9825396825		0.9594491201		1.0166666667		0.9922010399

		400		841		0		841		89		892		981		140		888		1028		32		743		542				1317		1285		221		1029		1250		516		745		1261		1063		176		1239		950		238		1188										0.996124031		0.8988391376		0.9291395517		0.9920634921		0.9648048967		1.0325		1.0294627383

		500		860		0		860		84		850		934		154		878		1032		47		780		603				1430		1383		220		1040		1260		522		785		1307		1063		137		1200		944		210		1154										1		1		1		1		1		1		1

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D64		D65		Pulse 64		Pulse 65		Pulse sum		h		ideal				Local coord.		D64		D65		Pulse 64		Pulse 65		Pulse sum		h

				64		41		120				43		20		100		901		198		1099		0.1801637853		0		0		43		20		100		994		157		1151		0.1364031277

				65		53						44		30		90		930		343		1273		0.2694422624		120		1		44		30		90		1000		190		1190		0.1596638655

												45		40		80		901		337		1238		0.2722132472						45		40		80		970		180		1150		0.1565217391

												46		50		70		773		529		1302		0.4062980031						46		50		70		901		575		1476		0.3895663957

		#64		Amplitude		#65		Amplitude				47		60		60		616		755		1371		0.5506929249						47		60		60		762		883		1645		0.5367781155

		39		889		51		906				48		70		50		424		860		1284		0.6697819315						48		70		50		256		947		1203		0.78719867

		40		703		52		726				49		80		40		420		959		1379		0.6954314721						49		80		40		186		988		1174		0.8415672913

		40.5		453		52.5		465				50		90		30		325		912		1237		0.7372675829						50		90		30		192		994		1186		0.8381112985

		41		395		53		424				51		100		20		227		831		1058		0.7854442344						51		100		20		180		924		1104		0.8369565217

		42		837		54		813

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D99		D100		Pulse 99		Pulse 100		Pulse sum		h		ideal				Local coord.		D99		D100		Pulse 99		Pulse 100		Pulse sum		h

				99		4		120				6		20		100		872		86		958		0.0897703549		0		0		6		20		100		908		0		908		0

				100		16						7		30		90		902		140		1042		0.1343570058		120		1		7		30		90		942		23		965		0.0238341969

												8		40		80		855		133		988		0.1346153846						8		40		80		918		43		961		0.0447450572

												9		50		70		722		100		822		0.1216545012						9		50		70		815		403		1218		0.3308702791

		#99		Amplitude		#100		Amplitude				10		60		60		532		652		1184		0.5506756757						10		60		60		549		745		1294		0.5757341577

		2		832		14		772				11		70		50		270		785		1055		0.7440758294						11		70		50		130		892		1022		0.8727984344

		3		691		15		562				12		80		40		226		888		1114		0.7971274686						12		80		40		86		945		1031		0.916585839

		3.5		452		15.5		393				13		90		30		206		878		1084		0.8099630996						13		90		30		93		905		998		0.9068136273

		4		393		16		432				14		100		20		180		749		929		0.8062432723						14		100		20		165		815		980		0.8316326531

		5		729		17		749

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D73		D74		Pulse 73		Pulse 74		Pulse sum		h		ideal				Local coord.		D73		D74		Pulse 73		Pulse 74		Pulse sum		h

				73		5.5		120				6		5		115		384		384		768		0.5		0		0		6		5		115		503		503		1006		0.5

				74		17.5						7		15		105		648		113		761		0.1484888305		120		1		7		15		105		761		25		786		0.0318066158

												8		25		95		799		138		937		0.1472785486						8		25		95		899		22		921		0.0238870793

												9		35		85		818		157		975		0.161025641						9		35		85		950		16		966		0.016563147

		#73		Amplitude		#74		Amplitude				10		45		75		657		223		880		0.2534090909						10		45		75		872		111		983		0.1129196338

		3.5		767		15.5		755				11		55		65		555		456		1011		0.4510385757						11		55		65		761		531		1292		0.4109907121

		4.5		569		16.5		549				12		65		55		353		603		956		0.6307531381						12		65		55		317		797		1114		0.7154398564

		5		368		17		362				13		75		45		270		837		1107		0.756097561						13		75		45		108		1093		1201		0.9100749376

		5.5		299		17.5		396				14		85		35		309		936		1245		0.7518072289						14		85		35		108		1112		1220		0.9114754098

		6.5		613		18		679				15		95		25		230		916		1146		0.7993019197						15		95		25		83		1044		1127		0.92635315

		Strip #		10		11		Total		30		31		Total		50		51		Total		70		71		Total		90		91		Total		110		111		Total		Normalised		10		30		50		70		90		110

		50		67		15		82		38		8		46		36		15		51		50		10		60		74		18		92		616		180		796		50		0.1876430206		0.1916666667		0.2015810277		0.1754385965		0.2105263158		0.6683459278

		100		119		37		156		66		11		77		60		27		87		79		26		105		126		33		159		831		331		1162		100		0.356979405		0.3208333333		0.3438735178		0.3070175439		0.3638443936		0.9756507137

		150		158		43		201		86		23		109		85		27		112		116		34		150		208		54		262		906		285		1191		150		0.4599542334		0.4541666667		0.442687747		0.4385964912		0.5995423341		1

		200		262		34		296		138		18		156		136		27		163		186		30		216		324		0		324		936		198		1134		200		0.6773455378		0.65		0.6442687747		0.6315789474		0.7414187643		0.9521410579

		250		353		0		353		186		0		186		186		0		186		255		0		255		371		0		371		941		157		1098		250		0.8077803204		0.775		0.7351778656		0.7456140351		0.8489702517		0.9219143577

		300		398		0		398		213		0		213		215		0		215		282		0		282		391		0		391		941		168		1109		300		0.9107551487		0.8875		0.8498023715		0.8245614035		0.8947368421		0.9311502939

		350		429		0		429		231		0		231		225		0		225		295		0		295		417		0		417		953		128		1081		350		0.9816933638		0.9625		0.8893280632		0.8625730994		0.9542334096		0.9076406381

		400		429		0		429		234		0		234		245		0		245		312		0		312		429		0		429		970		163		1133		400		0.9816933638		0.975		0.9683794466		0.9122807018		0.9816933638		0.9513014274

		500		437		0		437		240		0		240		253		0		253		342		0		342		437		0		437		965		157		1122		500		1		1		1		1		1		0.9420654912

		Norm. factor						409.2						220.8						224.8						297.2						409						1108.6

																																																																																																		Routing/Total

																																																																														Strip 120-121				Pos. 39						Strip 120-121				Pos. 41.5

		Strip #		10		11		Total		30		31		Total		50		51		Total		70		71		Total		90		91		Total		110		111		Total		120		int 1		121		int 2		Total						Normalised		10		30		50		70		90		110		120										120		int 1		121		int 2				120		int 1		121		int 2				Rout. 1		Tot.1		Rou. 2		Tot. 2		Rout. 3		Tot. 3		Ratio 1		Ratio 2		Ratio 3

		50		41		85		126		24		58		82		0		80		80		15		76		91														38		21		104		-10		142						50		0.2016		0.2		0.1500938086		0.1529411765		0		0		0.2610294118								50		52		10		24		-10				28		20		70		-10				21		142		10		86		20		118		0.1478873239		0.1162790698		0.1694915254

		100		63		140		203		22		84		106		31		135		166		38		142		180														62		34		177		-21		239						100		0.3248		0.2585365854		0.3114446529		0.3025210084		0		0		0.4393382353								100		97		24		48		-17				66		38		135		-10				34		239		24		169		38		239		0.1422594142		0.1420118343		0.1589958159

		150		92		210		302		38		133		171		52		197		249		48		211		259														55		24		385		-31		440						150		0.4832		0.4170731707		0.4671669794		0.4352941176		0		0		0.8088235294								150		222		17		52		-17				66		38		284		-20				24		440		17		291		38		388		0.0545454545		0.058419244		0.0979381443

		200		81		329		410		39		207		246		45		291		336		48		325		373														48		15		454		-24		502						200		0.656		0.6		0.6303939962		0.6268907563		0		0		0.9227941176								200		287		0		55		0				55		21		395		-30				15		502		0		342		21		471		0.0298804781		0		0.0445859873

		250		59		443		502		32		300		332		34		398		432		24		429		453														45		0		468		-34		513						250		0.8032		0.8097560976		0.8105065666		0.7613445378		0		0		0.9430147059								250		308		-24		55		0				42		0		436		-45				0		513		-24		339		0		478		0		-0.0707964602		0

		300		59		510		569		30		321		351		35		433		468		28		495		523														34		-10		478		-34		512						300		0.9104		0.856097561		0.8780487805		0.8789915966		0		0		0.9411764706								300		308		-17		62		0				55		0		454		-42				-10		512		-17		353		0		509		-0.01953125		-0.0481586402		0

		350		50		530		580		23		342		365		31		454		485		30		516		546														34		-17		495		-34		529						350		0.928		0.8902439024		0.9099437148		0.9176470588		0		0		0.9724264706								350		315		-25		62		0				48		0		478		-45				-17		529		-25		352		0		526		-0.0321361059		-0.0710227273		0

		400		45		561		606		10		370		380		24		468		492		34		513		547														34		-17		502		-34		536						400		0.9696		0.9268292683		0.9230769231		0.9193277311		0		0		0.9852941176								400		315		-28		55		0				42		0		485		-38				-17		536		-28		342		0		527		-0.0317164179		-0.081871345		0

		500		45		580		625		10		400		410		10		523		533		34		561		595						1						1		34		-17		510		-34		544						500		1		1		1		1		1		1		1								500		340		-31		55		0				52		0		520		-38				-17		544		-31		364		0		572		-0.03125		-0.0851648352		0

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal

				10		24		110				26		20		90		239		62		301		0.2059800664		0		0				26		20		90		409		59		468		0.1260683761		0		0

				11		35						27		30		80		350		76		426		0.1784037559		110		1				27		30		80		582		0		582		0		110		1

												28		40		70		298		104		402		0.2587064677								28		40		70		520		52		572		0.0909090909

												29		50		60		149		83		232		0.3577586207								29		50		60		270		76		346		0.2196531792

		#10		Amplitude		#11		Amplitude				30		60		50		90		152		242		0.6280991736								30		60		50		100		281		381		0.7375328084

		25.5		491		37		343				31		70		40		118		291		409		0.7114914425								31		70		40		80		544		624		0.8717948718

		26		376		38		0				32		80		30		94		357		451		0.7915742794								32		80		30		55		564		619		0.9111470113

		26.5		173		39		0				33		90		20		80		277		357		0.7759103641								33		90		20		76		447		523		0.8546845124

		27.5		0		40		0

		28		0		41		406						25		0.1354679803																						25		0

		28.5		0										35		0.2190721649																						35		0

		29.5		108.6										45		0.3144329897																						45		0

		30		310										48		0.3333333333																						48		0.1697247706

		30.5		472										65		0.6071428571																						65		0.7439759036

														75		0.7055702918																						75		0.8892794376

														85		0.7814726841																						85		1

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h

				30		22		110				24		20		90		114		61		175		0.3485714286		0		0				24		20		90		195		58		253		0.2292490119

				31		33						25		30		80		168		47		215		0.2186046512		110		1				25		30		80		309		0		309		0

												26		40		70		160		75		235		0.3191489362								26		40		70		328		0		328		0

												27		50		60		95		73		168		0.4345238095								27		50		60		161		58		219		0.2648401826

		#30		Amplitude		#31		Amplitude				28		60		50		39		65		104		0.625								28		60		50		56		91		147		0.619047619

		18.5		210		31		280				29		70		40		58		147		205		0.7170731707								29		70		40		51		303		354		0.8559322034

		19.5		163		32		67				30		80		30		52		203		255		0.7960784314								30		80		30		5		372		377		0.9867374005

		20.5		91		33		47				31		90		20		42		198		240		0.825								31		90		20		10		367		377		0.9734748011

		21.5		37		34		49

		22.5		39		35		212

		23.5		137

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h

				50		49		110				51		20		90		253		45		298		0.1510067114		0		0				51		20		90		429		0		429		0

				51		60						52		30		80		225		55		280		0.1964285714		110		1				52		30		80		423		0		423		0

												53		40		70		177		86		263		0.3269961977								53		40		70		385		52		437		0.118993135

												54		50		60		0		0		0		0								54		50		60		0		0		0		0

		#50		Amplitude		#51		Amplitude				55		60		50		62		128		190		0.6736842105								55		60		50		69		267		336		0.7946428571

		46.5		320		57.5		385				56		70		40		83		232		315		0.7365079365								56		70		40		42		461		503		0.916500994

		47.5		42		58.5		50				57		80		30		52		277		329		0.8419452888								57		80		30		28		461		489		0.9427402863

		48.5		0		59.5		0				58		90		20		55		270		325		0.8307692308								58		90		20		24		468		492		0.9512195122

		49.5		0		60.5		30

		50.5		229		61.5		104						20										0.1510067114										20										0

						62.5		385						30										0.1964285714										30										0

														40										0.3269961977										40										0.118993135

														60										0.6736842105										60										0.7946428571

														70										0.7365079365										70										0.916500994

														80										0.8419452888										80										0.9427402863

														90										0.8307692308										90										0.9512195122

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h

				70		38		115				40		20		95		263		55		318		0.1729559748		0		0				40		20		95		395		59		454		0.1299559471

				71		49.5						41		30		85		374		42		416		0.1009615385		110		1				41		30		85		547		0		547		0

												42		40		75		315		76		391		0.1943734015								42		40		75		550		0		550		0

												43		50		65		121		55		176		0.3125								43		50		65		204		42		246		0.1707317073

		#70		Amplitude		#71		Amplitude				44		60		55		48		50		98		0.5102040816								44		60		55		59		83		142		0.5845070423

		36		429		47.5		190				45		70		45		114		253		367		0.689373297								45		70		45		66		499		565		0.8831858407

		37		52		48.5		31				46		80		35		76		333		409		0.8141809291								46		80		35		38		561		599		0.9365609349

		38		0		49.5		0				47		90		25		66		381		447		0.8523489933								47		90		25		34		513		547		0.9378427788

		39		38		50.5		76

		40		412		51.5		423

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h

				120		34		120				36		20		100		346		121		467		0.2591006424		0		0				36		20		100		377		135		512		0.263671875

				121		46						37		30		90		616		59		675		0.0874074074		110		1				37		30		90		682		48		730		0.0657534247

												38		40		80		616		62		678		0.0914454277								38		40		80		665		52		717		0.0725244073

												39		50		70		308		55		363		0.1515151515								39		50		70		385		66		451		0.1463414634

		#120		Amplitude		#121		Amplitude				40		60		60		59		59		118		0.5								40		60		60		66		66		132		0.5

		32.5		391		44		513				41		70		50		90		360		450		0.8								41		70		50		86		450		536		0.8395522388

		33.5		76		45		86				42		80		40		59		450		509		0.884086444								42		80		40		42		520		562		0.9252669039

		34.5		59		46		69				43		90		30		38		468		506		0.9249011858								43		90		30		28		523		551		0.9491833031

		35.5		142		47		104

		36.5		606		48		475

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h

				90		35		117.5				38		158		-38		329		38		367		0.1035422343		0		0				38		158		-38		436		0		436		0

				91		46.75						39		168		-48		281		69		350		0.1971428571		117.5		1				39		168		-48		433		0		433		0

												40		178		-58		142		83		225		0.3688888889								40		178		-58		235		76		311		0.2443729904

												41		188		-68		52		86		138		0.6231884058								41		188		-68		38		136		174		0.7816091954

		#70		Ampitude		#71		Amplitude				42		198		-78		94		274		368		0.7445652174								42		198		-78		48		485		533		0.9099437148

												43		208		-88		48		385		433		0.8891454965								43		208		-88		0		526		526		1

												44		218		-98		38		402		440		0.9136363636								44		218		-98		0		523		523		1

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h

				90		35		117.5				38		30		87.5		329		38		367		0.1035422343		0		0				38		30		87.5		436		0		436		0

				91		46.75						39		40		77.5		281		69		350		0.1971428571		117.5		1				39		40		77.5		433		0		433		0

												40		50		67.5		142		83		225		0.3688888889								40		50		67.5		235		76		311		0.2443729904

												41		60		57.5		52		86		138		0.6231884058								41		60		57.5		38		136		174		0.7816091954

		#90		Ampitude		#91		Amplitude				42		70		47.5		94		274		368		0.7445652174								42		70		47.5		48		485		533		0.9099437148

		33		346		45		263				43		80		37.5		48		385		433		0.8891454965								43		80		37.5		0		526		526		1

		33.5		160		45.5		94				44		90		27.5		38		402		440		0.9136363636								44		90		27.5		0		523		523		1

		34		55		46		42

		34.5		10		46.5		28

		35		10		47		24

		35.5		15		47.5		59

		36		59		48		138

		36.5		184		49		523

		37		364

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				200 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		400 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h

				100		21		115				24		30		85		276		71		347		0.204610951		0		0				24		30		85		405		0		405		0				24		30		85		509		0		509		0

				101		32.5						25		40		75		233		104		337		0.3086053412		115		1				25		40		75		388		74		462		0.1601731602				25		40		75		516		0		516		0

												26		50		65		91		57		148		0.3851351351								26		50		65		142		54		196		0.2755102041				26		50		65		219		54		273		0.1978021978

												27		60		55		51		67		118		0.5677966102								27		60		55		64		101		165		0.6121212121				27		60		55		67		148		215		0.688372093

		#100		Ampitude		#101		Amplitude				28		70		45		121		202		323		0.6253869969								28		70		45		111		317		428		0.7406542056				28		70		45		61		476		537		0.886405959

		18.5		408		31		196				29		80		35		91		250		341		0.7331378299								29		80		35		71		385		456		0.8442982456				29		80		35		37		496		533		0.9305816135

		19.5		108		32		50				30		90		25		74		290		364		0.7967032967								30		90		25		57		425		482		0.8817427386				30		90		25		34		519		553		0.938517179

		20.5		40		32.5		30

		21.5		35		33		37

		22.5		105		33.5		50

		23.5		445		34		101

						35		452

																																				New												Other position

		Strip #		70		71		Total		90		91		Total		99		100		101		102		Total		Total		Normalised		70		90		100		120		Int 2		121		Int 3		122		Total		119		120		Int 2		121		Total

		50		31		78		109		31		83		114		13		30		101		12		156		131				0.2060491493		0.2054054054		0.2364620939		45		27		100		25		32		145		27		91		18		41		132

		100		53		125		178		45		142		187		20		67		182		23		292		249				0.3364839319		0.3369369369		0.4494584838		68		41		178		10		30		246		30		168		35		68		236

		150		58		180		238		66		232		298		23		74		290		34		421		364				0.449905482		0.5369369369		0.6570397112		63		50		342		0		30		405		35		314		35		54		368

		200		73		290		363		48		374		422		17		57		425		-10		489		482				0.6862003781		0.7603603604		0.8700361011		50		27		446		-10		30		496		27		405		0		41		446

		250		51		388		439		31		478		509		0		51		472		-18		505		523				0.8298676749		0.9171171171		0.9440433213		41		15		490		-18		23		531		15		433		-18		32		465

		300		38		462		500		17		501		518		0		40		500		-23		517		540				0.9451795841		0.9333333333		0.9747292419		36		0		501		-27		18		537		10		446		-20		41		487

		350		33		485		518		20		535		555		0		34		513		-27		520		547				0.9792060491		1		0.9873646209		32		0		510		-23		18		542		10		460		-20		36		496

		400		31		498		529		20		535		555		0		34		520		-27		527		554				1		1		1		36		0		519		-23		18		555		10		474		-23		36		510

		500		30		540		570		0		578		578		0		34		560		-27		567		594				1.0775047259		1.0414414414		1.0722021661		32		0		533		-23		18		565		10		483		-23		36		519

		Futher Measurements as a function of the r-position

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		Ideal				200 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		400 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h

				120		19.8		61				21		12		49		47.12		28.88		171.76		28.88		80.56		28.88		41.8		252.32		0.3192771084		0		0				21		12		49		57		36.48		262.2		47.12		117.04		31.16		44.08		379.24		0.3086172345				21		12		49		28.88		0		428.64		-31.16		119.32		0		31.16		547.96		0.2177531207

				121		25.9						22		22		39		44		27		140		27		68		10		31		208		0.3269230769		61		1				22		22		39		62		38		215		51		106		27		31		321		0.3302180685				22		22		39		48		0		431		-17		126		0		10		557		0.2262118492

												23		32		29		0		0		24		0		24		0		0		48		0.5								23		32		29		0		0		34		0		34		0		0		68		0.5				23		32		29		0		0		58		0		65		0		0		123		0.5284552846

												24		42		19		34		15		105		41		212		24		48		317		0.6687697161								24		42		19		51		27		157		85		335		34		62		492		0.6808943089				24		42		19		31		0		130		21		619		-24		34		749		0.826435247

		#121		Ampitude		#121		Amplitude				25		52		9		38		17		89		31		205		12		41		294		0.6972789116								25		52		9		51		23		128		57		341		15		44		469		0.7270788913				25		52		9		51		0		131		10		560		-30		27		691		0.8104196816

		19		398		25		351

		19.5		58		25.5		104				Estimated strip width:								Routing line		#120		#121

		20		72		26		47				16 µm								25.6		447		85		0.9933333333		0.1888888889		532		0.7093333333

		20.5		212		26.5		81												26		242		68		0.5377777778		0.1511111111		310		0.4133333333

		21		489		27		368												26.2		103		31		0.2288888889		0.0688888889		134		0.1786666667

																				26.4		65		31		0.1444444444		0.0688888889		96		0.128

																				26.6		58		31		0.1288888889		0.0688888889		89		0.1186666667

																				26.8		42		40		0.0933333333		0.0888888889		82		0.1093333333

																				27		42		55		0.0933333333		0.1222222222		97		0.1293333333

																				27.2		54		154		0.12		0.3422222222		208		0.2773333333

																				27.4		71		248		0.1577777778		0.5511111111		319		0.4253333333

																				27.6		81		310		0.18		0.6888888889		391		0.5213333333

																				28		92		448		0.2044444444		0.9955555556		540		0.72

		Futher Measurements as a function of the r-position								Far end

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		Ideal				200 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		400 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h

				120		23		78				25		20		58		40		0		184		23		61		0		15		245		0.2489795918		0		0				25		20		58		33		0		255		38		76		0		18		331		0.2296072508				25		20		58		54		0		523		-10		54		0		0		577		0.0935875217

				121		30.8						26		30		48		31		0		89		24		51		0		24		140		0.3642857143		78		1				26		30		48		31		0		116		31		65		0		24		181		0.3591160221				26		30		48		31		0		263		0		78		0		0		341		0.2287390029

												27		40		38		0		0		0		0		0		0		0		0		0								27		40		38		0		0		0		0		0		0		0		0		0				27		40		38		0		0		0		0		0		0		0		0		0

												28		50		28		20		0		68		41		157		0		31		225		0.6977777778								28		50		28		0		0		99		61		222		0		34		321		0.691588785				28		50		28		0		0		78		15		492		-31		24		570		0.8631578947

		#121		Ampitude		#121		Amplitude				29		60		18		0		0		61		27		184		0		31		245		0.7510204082								29		60		18		0		0		78		48		276		0		37		354		0.7796610169				29		60		18		0		0		44		0		540		-31		13		584		0.9246575342

		21		728		29		755

		22		230		30		225				Estimated strip width:

		22.5		134		30.5		101				20 µm

		23		107		31		96

		23.5		150		31.5		161

		24		557		32		551

		25		760

										1 cm plus

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		Ideal				200 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		400 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h

				120		22.7		95				25		23		72		44		0		222		34		68		0		17		290		0.2344827586		0		0				25		23		72		41		0		366		31		68		0		24		434		0.1566820276				25		23		72		27		0		557		-24		48		0		0		605		0.079338843

				121		32.2						26		33		62		41		0		208		51		103		0		24		311		0.3311897106		95		1				26		33		62		31		0		311		68		112		0		34		423		0.2647754137				26		33		62		17		0		543		-20		78		0		0		621		0.1256038647

												27		43		52		0		0		0		0		0		0		0		0		0								27		43		52		0		0		58		0		27		0		0		85		0.3176470588				27		43		52		0		0		103		0		44		0		0		147		0.2993197279

												28		53		42		0		0		44		31		78		0		0		122		0.6393442623								28		53		42		0		0		58		24		120		0		0		178		0.6741573034				28		53		42		0		0		61		0		236		0		0		297		0.7946127946

		#121		Ampitude		#121		Amplitude				29		63		32		24		0		82		51		195		0		17		277		0.7039711191								29		63		32		27		0		112		85		328		0		34		440		0.7454545455				29		63		32		0		0		65		0		574		-37		15		639		0.8982785603

		21		464		30		523				30		73		22		0		0		71		44		242		0		31		313		0.7731629393								30		73		22		0		0		78		58		383		0		37		461		0.830802603				30		73		22		0		0		34		0		588		-40		13		622		0.9453376206

		22		58		31		171				Estimated strip width:

		22.5		37		32		41				25 µm

		23		51		32.5		51

		23.5		58		33		65

		24		178		34		499

		25		496

										1 cm plus

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		Ideal				200 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		400 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h

				120		22.7		108				25		23		85		34		0		254		29		45		0		0		299		0.1505016722		0		0				25		23		85		22		0		388		0		34		0		0		422		0.0805687204				25		23		85		11		0		474		-29		26		0		0		500		0.052

				121		33.5						26		33		75		26		0		228		41		63		0		10		291		0.2164948454		108		1				26		33		75		22		0		374		0		40		0		0		414		0.0966183575				26		33		75		0		0		474		-25		30		0		0		504		0.0595238095

												27		43		65		34		0		190		78		101		0		26		291		0.3470790378								27		43		65		26		0		317		37		82		0		12		399		0.2055137845				27		43		65		0		0		456		-22		71		0		0		527		0.1347248577

												29		63		45		12		0		85		60		157		0		29		242		0.6487603306								29		63		45		0		0		93		67		269		0		34		362		0.7430939227				29		63		45		0		0		71		18		422		-22		18		493		0.8559837728

		#121		Ampitude		#121		Amplitude				30		73		35		0		0		63		56		209		0		0		272		0.7683823529								30		73		35		0		0		48		34		366		-18		18		414		0.884057971				30		73		35		0		0		26		0		508		-26		0		534		0.9513108614

		20		470		31		508				31		83		25		0		0		50		37		247		0		26		297		0.8316498316								31		83		25		0		0		34		34		490		-30		0		524		0.9351145038				31		83		25		0		0		10		0		490		-30		0		500		0.98

		21		300		32		247

		22		40		33		41

		23		0		33.5		29				Estimated strip width:

		23.5		0		34		41				30 µm

		24		85		35		134

		25		430		36		500

		New 0 position

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		Ideal				200 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		400 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h

				120		22.2		118				25		28		90		32		0		333		23		50		0		0		383		0.1305483029		0		0				25		28		90		13		0		396		-13		35		0		0		431		0.0812064965				25		28		90		10		0		469		-23		32		0		0		501		0.0638722555

				121		34						26		38		80		32		0		314		30		54		0		0		368		0.1467391304		118		1				26		38		80		23		0		424		-13		36		0		0		460		0.0782608696				26		38		80		0		0		469		-27		30		0		0		499		0.0601202405

												27		48		70		27		0		259		54		86		0		13		345		0.2492753623								27		48		70		0		0		387		23		68		0		0		455		0.1494505495				27		48		70		0		0		492		-23		63		0		0		555		0.1135135135

												28		58		60		0		0		41		0		27		0		0		68		0.3970588235								28		58		60		0		0		59		0		41		0		0		100		0.41				28		58		60		0		0		77		0		45		0		0		122		0.368852459

		#121		Ampitude		#121		Amplitude				29		68		50		18		0		68		41		132		0		32		200		0.66								29		68		50		0		0		59		32		178		0		0		237		0.7510548523				29		68		50		0		0		73		18		273		0		32		346		0.789017341

		20		483		32		451				30		78		40		18		0		86		68		264		0		27		350		0.7542857143								30		78		40		0		0		50		10		506		-18		0		556		0.9100719424				30		78		40		0		0		50		10		506		-18		0		556		0.9100719424

		21		86		33		54				31		88		30		0				63		50		342		0		32		405		0.8444444444								31		88		30		0		0		41		18		428		-23		18		469		0.9125799574				31		88		30		0		0		36		0		496		-23		18		532		0.9323308271

		22		45		34		32

		23		23		35		45				Estimated strip width:

		24		154		36		387				35 µm

		25		470



Irradiated section n. 6



Final pic. eta

		1		1		1		1



Left strip

Routing #1

Right strip

Routing #2

Bias [Volt]

Signal [mV]

CCE vs bias

1

1

1

1



Neff vs position

		1		1		1		1



Strip 120

Rout. #1

Strip 121

Rout. #2

Bias [Volt]

Signal [mV]

CCE vs bias

1

1

1

1



Eta comparison

		1		1		1		1



Strip 120

Rout. #1

Strip 121

Rout. #2

Bias [Volt]

Signal [mV]

CCE vs bias

1

1

1

1



Strip 120 

		1		1		1



Position 1

Position 2

Position 3

Bias [Volt]

Ratio

Routing line/total charge

1

1

1



Pulse shape

		0		0		0		0

		115		0		0		0

				0		0		0

				0		0		0

				0		0		0

				0		0		0

				0		0		0



150 Volt

200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #740-741

0

0

0

0

1

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		Bias 250 V		Strip #		Centre		Distance		50 V		Local coord.		D24		D25		Pulse Left		Int		Pulse Right		Pulse sum		h		ideal				100 V		Pulse Left		Int		Pulse Right		Pulse sum		h		300 V		Pulse Left		Int		Pulse Right		Pulse sum		h				Volt scan		#6		Int.		#7		Total		Normalised				Volt scan		#59		#60		#61		Total		Normalised				Volt scan		#114		Int.		#115		Int.		#116		Total		Normalised

				6		37		115				40		30		85		104		18		40		144		0.2777777778		0		0				246				45		291		0.1546391753				333		-23		27		360		0.075				20		23		5		54		77		0.2086720867				20		32		141		54		227		0.576142132				10		63		4		159		23		32		222		0.5536159601

				7		48.5						41		40		75		86		32		54		140		0.3857142857		115		1				214		36		63		277		0.2274368231				323		-23		36		359		0.1002785515				40		32		18		100		132		0.3577235772				40		41		264		54		359		0.9111675127				20		80				246		23		36		326		0.812967581

												42		50		65		45		9		32		77		0.4155844156								128		36		63		191		0.3298429319				209		0		68		277		0.2454873646				50		36		23		123		159						50		36		287		50		373		0.9467005076				40		82				314		23		41		396		0.9875311721

												43.5		65		50		36		18		54		90		0.6								50		36		118		168		0.7023809524				63		13		246		309		0.7961165049				60		45		27		145		190		0.5149051491				60		36		298		40		374		0.9492385787				50		73				328		13		32		401		1

		#6		Amplitude		#7		Amplitude				44		70		45		45		27		77		122		0.631147541								50		36		195		245		0.7959183673				41		9		305		346		0.8815028902				80		59		41		205		264		0.7154471545				80		30		328		27		385		0.9771573604				60		68				333		13		32		401		1

		34.5		305		46.5		296				45		80		35		45		23		104		149		0.6979865772								45		41		241		286		0.8426573427				27		9		342		369		0.9268292683				100		45		36		259		304		0.8238482385				100		27		337		24		388		0.9847715736				80		59				342		9		32		401		1

		35.5		137		47.5		54				46		90		25		9		0		50		59		0.8474576271								45		36		255		300		0.85				27		4		337		364		0.9258241758				125		36		23		296		332		0.8997289973				150		24		355		21		400		1.0152284264				100		46				351				18		397		0.9900249377

		36.5		27		48.5		0																																																		150		32		18		323		355		0.9620596206				200		23		360		20		403		1.0228426396				125		45				355				27		400		0.9975062344

		37.5		0		49.5		36																																																		175		32		18		328		360		0.9756097561				300		20		374		0		394		1				150		45				355				27		400		0.9975062344

		38.5		100		50.5		232																																																		200		23		9		337		360		0.9756097561																		200		45				355				18		400		0.9975062344

		39.5		305		51.5		333																																																		300		23		9		346		369		1																		300		41				360				18		401		1

		40.5		319





		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0				0

		0				0



0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0		0		0

		0		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0



50 Volt

100 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #774-775

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		Bias 250 V		Strip #		Centre		Distance		25 V		Local coord.		D24		D25		Pulse Left		Pulse Right		Pulse sum		h		ideal				50 V		Pulse Left		Pulse Right		Pulse sum		h		150 V		Pulse Left		Pulse Right		Pulse sum		h								Volt scan		#60		#61		Total		Normalised

				60		43.2		113				46		28		85		212		1		213		0.0046948357		0		0				311		1		312		0.0032051282				410		1		411		0.00243309						3.1622776602		10		95		0		95		0.2467532468

				61		54.5						47		38		75		143		20		163		0.1226993865		113		1				222		1		223		0.0044843049				294		1		295		0.0033898305						5		25		191		0		191		0.4961038961

												48		48		65		68		34		102		0.3333333333								123		58		181		0.320441989				171		68		239		0.2845188285						7.0710678119		50		283		0		283		0.7350649351

												49		58		55		37		109		146		0.7465753425								37		161		198		0.8131313131				37		212		249		0.8514056225						8.6602540378		75		321		0		321		0.8337662338

		#60		Amplitude		#61		Amplitude				50		68		45		31		174		205		0.8487804878								34		259		293		0.8839590444				50		334		384		0.8697916667						10		100		352		0		352		0.9142857143

		41		308		52		386				51		78		35		24		181		205		0.8829268293								24		263		287		0.9163763066				20		345		365		0.9452054795						12.2474487139		150		372		0		372		0.9662337662

		42		171		53		253																																														14.1421356237		200		372		0		372		0.9662337662

		43		20		54		116																																														17.3205080757		300		385		0		385		1

		44		49		55		24

		45		209		56		123

		46		345		57		280

						58		389

		Bias 250 V		Strip #		Centre		Distance		20 V		Local coord.		D24		D25		#115		Int 1		#116		Int 2		#117		Pulse sum		h		ideal				50 V		#115		Int 1		#116		Int 2		#117		Pulse sum		h		200 V		#115		Int 1		#116		Int 2		#117		Pulse sum		h				Volt scan		#115		#116		Int		#117		Total		Normalised

				115		21		114				24		30		84		198		-17		27						225		0.12		0		0				317		-17		31						348		0.0890804598				403		-30		24						427		0.056206089		3.1622776602		10				116						116		0.2829268293

				116		32.4						25		40		74		178		-13		27						205		0.1317073171		114		1				311		-20		41						352		0.1164772727				396		-27		27						423		0.0638297872		5		25		31		208		-5		20		228		0.556097561

												26		50		64		126		-13		37						163		0.226993865								242		-17		61						303		0.201320132				334		-24		68						402		0.1691542289		7.0710678119		50		31		308		-7		20		328		0.8

												28		70		44		34				137				17		171		0.8011695906								48				236				24		284		0.8309859155				54		-5		317		-13		24		371		0.8544474394		8.6602540378		75		24		345		-17		20		365		0.8902439024

		#115		Amplitude		#116		Amplitude				29		80		34		24				181				17		205		0.8829268293								31				311		-10		20		342		0.9093567251				27				400		-17		17		427		0.9367681499		10		100		27		366		-20		17		383		0.9341463415

		18		400		30		389				29.5		85		29		27				195						222		0.8783783784								34				314		-15		20		348		0.9022988506				24				389		-24		17		413		0.9418886199		11.1803398875		125		24		380		-17		13		393		0.9585365854

		19		270		31		89																																																												12.2474487139		150		24		385		-20		13		398		0.9707317073

		20		34		32		28																																																												14.1421356237		200		24		389		-20		13		402		0.9804878049

		21		30		33		30																																																												17.3205080757		300		24		393		-20		17		410		1

		22		38		34		126

		23		308		35		389

		24		400





		0		0		0		0

		0		0		0		0

				0		0		0

				0		0		0

				0		0		0

				0		0		0



25 Volt

50 Volt

150 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #188-189

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0		0		0

		0		0		0		0

				0		0		0

				0		0		0

				0		0		0

				0		0		0



20 Volt

50 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #244-245

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0



#115

#60

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		47		400		-30		380

		48		280		-20		260

		49		41		-10		21

		50		20		0		0

		51		51		10		31

		52		273		20		253

		53		410		30		390

		Beam Profile

		Coordinate		Front		Back

		0						10

		10		1.00E+13		1.05E+13		20		1.00E+13		1.05E+13

		20		4.50E+13		4.55E+13		30		4.50E+13		4.55E+13

		25		3.00E+14		2.52E+14		35		3.00E+14		2.52E+14

		30		4.10E+14		4.40E+14		40		4.10E+14		4.40E+14

		35		4.30E+14		4.60E+14		45		4.30E+14		4.60E+14

		40		3.15E+14		3.80E+14		50		3.15E+14		3.80E+14

		45		1.09E+14		2.70E+14		55		1.09E+14		2.70E+14

		55		1.20E+13		2.70E+13		65		1.20E+13		2.70E+13

		65		7.00E+11		1.20E+12		75		7.00E+11		1.20E+12





		0

		0

		0

		0

		0

		0

		0



Local coord. [µm]

Amplitude [arb. Units]

Strip scan #10

0

0

0

0

0

0

0



		55		0		55		55

		50		1		50		50

		45		2		45		45

		40		3		40		40

		35		4		35		35

		30		5		30		30

		25		6		25		25

		20		7		20		20

		15		8		15		15

		10		9		10		10

		5		10		5		5

		0		11		0		0

				12

				13

				14

				15

				16

				17

				18

				19

				20

				21

				22

				23

				24

				25

				26

				27

				28

				29

				30

				31

				32

				33

				34

				35

				36

				37

				38

				39

				40

				41

				42

				43

				44

				45

				46

				47

				48

				49

				50

				51

				52

				53

				54

				55

				56

				57

				58

				59

				60

				61

				62

				63

				64

				65

				66

				67

				68



Measured (hit strip)

Calculated

Adjacent strip

Intermediate routing line

Time [ns]

Amplitude [arb. units]

68

10

0

0

150

34.5396

16

0

245

54.05968

34

0

369

80.39936

54

0

560

114.09384

123

32

688

155.13512

154

40

826

202.94192

188

51

792

256.42064

199

74

615

314.09432

188

108

421

374.26344

176

131

199

435.16424

85

68

0

495.10184

0

0

552.54736

606.19912

655.01224

698.20408

735.24416

765.8304

789.86272

807.41192

818.68832

824.01216

823.78664

818.47312

808.57016

794.59512

777.0692

756.50528

733.3992

708.22128

681.41152

653.37656

624.48752

595.07864

565.44744

535.85544

506.53048

477.66728

449.43032

421.95584

395.35408

369.71192

345.0956

321.5524

299.11304

277.79416

257.59968

238.52336

220.54992

203.6564

187.81424

172.98976

159.14552

146.24152

134.23568

123.08456

112.74432

103.1708

94.32024

86.14968

78.61696

71.6812

65.30304

59.44456

54.06952

49.14336

44.63336

40.50856

36.7396



		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0



Front Al foils

Back Al foils

Position [mm]

Measured fluence [p cm-2]

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		

						760





		30		30		0

		40		40		117.5

		50		50

		60		60

		70		70

		80		80

		90		90



200 Volt

400 Volt

Ideal resolution

Local position [µm]

Right charge/Total charge

Scan across strips #740-741

0.1035422343

0.0311111111

0

0.1971428571

0.0545851528

1

0.3688888889

0.2443729904

0.6231884058

0.7816091954

0.7445652174

0.9099437148

0.8891454965

1

0.9136363636

1



		30		30		0

		40		40		115

		50		50

		60		60

		70		70

		80		80

		90		90



200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #710-711

0.1009615385

0.0352733686

0

0.1943734015

0.0646258503

1

0.3125

0.2213740458

0.5102040816

0.5845070423

0.689373297

0.8831858407

0.8141809291

0.9365609349

0.8523489933

0.9378427788



		30		30		0

		40		40		115

		50		50

		60		60

		70		70

		80		80

		90		90



200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #760-761

0.0874074074

0.0657534247

0

0.0914454277

0.0725244073

1

0.1515151515

0.1463414634

0.5

0.5

0.8

0.8395522388

0.884086444

0.9252669039

0.9249011858

0.9491833031



		0		30		30		30

		115		40		40		40

				50		50		50

				60		60		60

				70		70		70

				80		80		80

				90		90		90



150 Volt

200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #740-741

0

0.204610951

0.0581395349

0.0450281426

1

0.3086053412

0.1601731602

0.0685920578

0.3851351351

0.2755102041

0.2206405694

0.5677966102

0.6121212121

0.688372093

0.6253869969

0.7406542056

0.886405959

0.7331378299

0.8442982456

0.9305816135

0.7967032967

0.8817427386

0.938517179



		0		30		30

		110		40		40

				50		50

				60		60

				70		70

				80		80

				90		90



200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #670-671

0

0.2186046512

0.0462962963

1

0.3191489362

0.076056338

0.4345238095

0.2648401826

0.625

0.619047619

0.7170731707

0.8559322034

0.7960784314

0.9612403101

0.825

0.9734748011



		0		20		20

		110		30		30

				40		40

				50		50

				60		60

				70		70

				80		80

				90		90



200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #690-691

0

0.1510067114

0.0529801325

1

0.1964285714

0.0703296703

0.3269961977

0.1575492341

0

0.6736842105

0.7946428571

0.7365079365

0.916500994

0.8419452888

0.9427402863

0.8307692308

0.9512195122



		25		25		25		0

		35		35		35		110

		45		45		45

		55		55		55

		65		65		65

		75		75		75

		85		85		85



100 Volt

200 Volt

300 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #525-526

0.0461956522

0.0440414508

0.0446194226

0

0.0583941606

0.0547945205

0.0547945205

1

0.1413612565

0.1282051282

0.1113689095

0.3215859031

0.264573991

0.2821576763

0.8050541516

0.8073394495

0.7722222222

0.9130434783

0.9217391304

0.9298245614

0.9473684211

0.9523809524

0.958677686



		0		30		30		30

		117		40		40		40

				50		50		50

				70		70		70

				80		80		80

				90		90		90



150 Volt

200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #634-635

0

0.223255814

0.1133333333

0.0510204082

1

0.2783505155

0.1933333333

0.0761670762

0.3963414634

0.3048780488

0.1943005181

0.6209150327

0.6822429907

0.8157099698

0.6875

0.7979094077

0.915

0.7548076923

0.8580645161

0.9330024814



		0		24		24

		114		34		34

				44		44

				64		64

				74		74

				84		84

				89		89



100 Volt

300 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #584-585

0

0.118466899

0.0379403794

1

0.1655172414

0.0608272506

0.3421052632

0.1666666667

0.6896551724

0.8131868132

0.7597173145

0.9567430025

0.8605442177

0.9974160207

0.8586206897

0.9466666667



		0		22		22		22		22

		116		32		32		32		32

				42		42		42		42

				67		67		67		67

				72		72		72		72

				82		82		82		82

				92		92		92		92



100 Volt

150 Volt

200 Volt

300 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #604-605

0

0.2192513369

0.0848056537

0.0408719346

0.056980057

1

0.2391304348

0.1214285714

0.0681818182

0.0798898072

0.3128834356

0.2380952381

0.0920716113

0.1549295775

0.5668789809

0.6355555556

0.7975077882

0.7517482517

0.591954023

0.7173913043

0.9002695418

0.8434782609

0.6949152542

0.8137931034

0.9973045822

0.8888888889

0.7348066298

0.8436482085

0.972899729

0.9043715847



		0		23		23		23

		108		33		33		33

				43		43		43

				58		58		58

				63		63		63

				73		73		73

				78		78		78



20 Volt

50 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #544-545

0

0.1376146789

0.0422960725

0.0361445783

1

0.2018348624

0.0845070423

0.0574712644

0.3457446809

0.2341772152

0.0976253298

0.5858585859

0.7124183007

0.7627906977

0.6304347826

0.7571428571

0.820441989

0.7302325581

0.8709677419

0.9418886199

0.7735849057

0.8811594203

0.9632352941



		0		35		35		35

		110		40		40		40

				50		50		50

				65		65		65

				70		70		70

				80		80		80



50 Volt

100 Volt

300 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #566-567

0

0.125

0.0408719346

0.0407673861

1

0.1777777778

0.0702247191

0.0687203791

0.320441989

0.22

0.2033333333

0.6946107784

0.8090909091

0.7789855072

0.741697417

0.8579387187

0.8743842365

0.8580858086

0.9543010753

0.9975062344



		0		35		35		35

		120		45		45		45

				50		50		50

				65		65		65

				70		70		70

				80		80		80

				90		90		90



50 Volt

100 Volt

250 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #575-576

0

0.2876106195

0.0451807229

0.0383631714

1

0.3744292237

0.144092219

0.0939759036

0.3880597015

0.1782178218

0.1580310881

0.5730337079

0.7260273973

0.7166666667

0.591954023

0.798679868

0.8379888268

0.6559633028

0.8879781421

0.9230769231

0.7627906977

0.9076086957

0.9511002445



		0		28		28		28

		113		38		38		38

				48		48		48

				58		58		58

				68		68		68

				78		78		78



25 Volt

50 Volt

150 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #188-189

0

0.0046948357

0.0032051282

0.00243309

1

0.1226993865

0.0044843049

0.0033898305

0.3333333333

0.320441989

0.2845188285

0.7465753425

0.8131313131

0.8514056225

0.8487804878

0.8839590444

0.8697916667

0.8829268293

0.9163763066

0.9452054795



		26		26		0		26

		36		36		114		36

		46		46				46

		66		66				66

		76		76				76

		86		86				86



100 Volt

300 Volt

=

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #621-622

0.2227074236

0.0789473684

0

0.0390625

0.2735849057

0.1348684211

1

0.0606060606

0.3659793814

0.2482517483

0.1102150538

0.5828220859

0.6728110599

0.8066666667

0.6822429907

0.8066666667

0.9086021505

0.7422222222

0.8547854785

0.9583333333



		25		25		25		0

		35		35		35		110

		45		45		45

		60		60		60

		65		65		65

		75		75		75

		85		85		85



20 Volt

50 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #469-470

0.0857142857

0.1060070671

0.0411311054

0

0.0833333333

0.093385214

0.0683060109

1

0.275862069

0.1904761905

0.1333333333

0.6451612903

0.6785714286

0.7311827957

0.6774193548

0.766536965

0.8356164384

0.8444444444

0.8717948718

0.9260969977

0.8695652174

0.8646153846

0.9267734554



		30		30		0

		40		40		110

		50		50

		60		60

		70		70

		80		80



200 Volts

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #650-651

0.1784037559

0.0521172638

0

0.2587064677

0.1034482759

1

0.3577586207

0.2196531792

0.6280991736

0.7375328084

0.7114914425

0.8717948718

0.7915742794

0.9111470113



		0		30		30		30

		114		40		40		40

				50		50		50

				70		70		70

				80		80		80

				85		85		85



20 Volt

50 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #244-245

0

0.12

0.0890804598

0.056206089

1

0.1317073171

0.1164772727

0.0638297872

0.226993865

0.201320132

0.1691542289

0.8011695906

0.8309859155

0.8544474394

0.8829268293

0.9093567251

0.9367681499

0.8783783784

0.9022988506

0.9418886199



		30		30		0		30

		40		40		114		40

		50		50				50

		70		60				60

		80		70				70

		85		80				80

								90



#245 - 200 Volt

#650 - 400 Volt

#760 - 400 Volt

Local position [µm]

Right charge/Total charge

0.056206089

0.0521172638

0

0.0657534247

0.0638297872

0.1034482759

1

0.0725244073

0.1691542289

0.2196531792

0.1463414634

0.8544474394

0.7375328084

0.5

0.9367681499

0.8717948718

0.8395522388

0.9418886199

0.9111470113

0.9252669039

0.9491833031



		20		20		20		0

		30		30		30		115

		40		40		40

		50		50		50

		60		60		60

		70		70		70

		80		80		80

		90		90		90



20 Volt

50 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #388-389

0.15

0.0975609756

0.0965794769

0

0.1549295775

0.1448692153

0.1004709576

1

0.171875

0.1223529412

0.0901213172

0.2926829268

0.2888888889

0.2434077079

0.6666666667

0.6923076923

0.6511627907

0.7833333333

0.8498896247

0.9073083779

0.8295081967

0.8495049505

0.9384615385

0.8793103448

0.9160839161

0.9470699433



		35		0		35		35

		45		120		45		45

		55				55		55

		70				70		70

		75				75		75

		85				85		85

		95				95		95



20 Volt

50 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #490-491

0.1595744681

0

0.12

0.0796116505

0.2053231939

1

0.1322869955

0.0891089109

0.2967032967

0.2258064516

0.2

0.72

0.692

0.7982261641

0.8351449275

0.7985074627

0.8764302059

0.9349593496

0.8546099291

0.9174311927

0.9445585216



		0		28		28		28

		118		38		38		38

				48		48		48

				58		58		58

				68		68		68

				78		78		78

				88		88		88



150 Volt

200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #760-761

0

0.1305483029

0.0812064965

0.0638722555

1

0.1467391304

0.0782608696

0.0601202405

0.2492753623

0.1494505495

0.1135135135

0.3970588235

0.41

0.368852459

0.66

0.7510548523

0.789017341

0.7542857143

0.9100719424

0.9100719424

0.8444444444

0.9125799574

0.9323308271



		30		30		28		0

		40		40		38		118

		50		50		48

		70		70		58

		80		80		68

		85		90		78

						88



#244 -245 (@ 200 Volt)

#534 - 535 (@ 400 Volt)

#760 - 761 (@ 400 Volt)

Local position [µm]

Right charge/Total charge

0.056206089

0.0510204082

0.0638722555

0

0.0638297872

0.0761670762

0.0601202405

1

0.1691542289

0.1943005181

0.1135135135

0.8544474394

0.8157099698

0.368852459

0.9367681499

0.915

0.789017341

0.9418886199

0.9330024814

0.9100719424

0.9323308271



		30		30		30		0

		40		40		40		115

		50		50		50

		65		65		65

		70		70		70

		80		80		80

		90		90		90



50 Volt

100 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #774-775

0.2777777778

0.1546391753

0.075

0

0.3857142857

0.2274368231

0.1002785515

1

0.4155844156

0.3298429319

0.2454873646

0.6

0.7023809524

0.7961165049

0.631147541

0.7959183673

0.8815028902

0.6979865772

0.8426573427

0.9268292683

0.8474576271

0.85

0.9258241758



		Bias		#650		#651		Pulse sum		Normalised		#670		#671		Pulse sum		Normalised		#690		#691		Pulse sum		Normalised		#710		#711		Pulse sum		Normalised		#730		#731		Pulse sum		Normalised		#740		#741		Pulse sum		Normalised		#760		#761		Pulse sum		Normalised

		[Volt]		[mV]		[mV]		[mv]				[mV]		[mV]		[mv]				[mV]		[mV]		[mv]				[mV]		[mV]		[mv]				[mV]		[mV]		[mv]				[mV]		[mV]		[mv]				[mV]		[mV]		[mv]

		50		41		85		126		0.2016		24		58		82		0.2		0		80		80		0.1500938086		31		78		109		0.1912280702		31		83		114		0.1972318339		30		101		131		0.2205387205		45		100		145		0.2566371681				104		104

		100		63		140		203		0.3248		22		84		106		0.2585365854		31		135		166		0.3114446529		53		125		178		0.3122807018		45		142		187		0.3235294118		67		182		249		0.4191919192		68		178		246		0.4353982301				177		177

		150		92		210		302		0.4832		38		133		171		0.4170731707		52		197		249		0.4671669794		58		180		238		0.4175438596		66		232		298		0.5155709343		74		290		364		0.6127946128		63		342		405		0.7168141593				385		385

		200		81		329		410		0.656		39		207		246		0.6		45		291		336		0.6303939962		73		290		363		0.6368421053		48		374		422		0.7301038062		57		425		482		0.8114478114		50		446		496		0.8778761062				454		454

		250		59		443		502		0.8032		32		300		332		0.8097560976		34		398		432		0.8105065666		51		388		439		0.7701754386		31		478		509		0.8806228374		51		472		523		0.8804713805		41		490		531		0.9398230088				468		468

		300		59		510		569		0.9104		30		321		351		0.856097561		35		433		468		0.8780487805		38		462		500		0.8771929825		17		501		518		0.8961937716		40		500		540		0.9090909091		36		501		537		0.9504424779				478		478

		350		50		530		580		0.928		23		342		365		0.8902439024		31		454		485		0.9099437148		33		485		518		0.9087719298		20		535		555		0.9602076125		34		513		547		0.9208754209		32		510		542		0.9592920354				495		495

		400		45		561		606		0.9696		10		370		380		0.9268292683		24		468		492		0.9230769231		31		498		529		0.9280701754		20		535		555		0.9602076125		34		520		554		0.9326599327		36		519		555		0.982300885				502		502

		500		45		580		625		1		10		400		410		1		10		523		533		1		30		540		570		1		0		578		578		1		34		560		594		1		32		533		565		1				510		510

																						Neff map		Vfd

																						10

																						30

																						50

																						70

																						90

																						100

																						120

																																												634

																																		72

		Bias		#526		#527		Pulse sum		Normalised		Bias		#545		#546		Pulse sum		Normalised		Bias		#567		#568		Pulse sum		Normalised		Bias		#577		#578		Pulse sum		Normalised		Bias		#585		#586		Pulse sum		Normalised		Bias		#605		#606		Pulse sum		Normalised		Bias		#622		#623		Pulse sum		Normalised		Bias		#634		#635		Pulse sum		Normalised

		[Volt]		[mV]		[mV]		[mv]				[Volt]		[mV]		[mV]		[mv]				[Volt]		[mV]		[mV]		[mv]				[Volt]		[mV]		[mV]		[mv]				[Volt]		[mV]		[mV]		[mv]				[Volt]		[mV]		[mV]		[mv]				[Volt]		[mV]		[mV]		[mv]				[Volt]		[mV]		[mV]		[mv]

		20		5		205		210		0.4393305439		10		89		41		130		0.313253012		10		27		41		68		0.17		25		34		75		109		0.2632850242		25		44		20		64		0.1671018277		50		65		10		75		0.1978891821		50		65		0		65		0.1697127937		50		61		24		85		0.2073170732

		30		5		273		278		0.5815899582		20		171		41		212		0.5108433735		25		61		109		170		0.425		50		55		164		219		0.5289855072		50		95		41		136		0.3550913838		75		95		10		105		0.2770448549		100		123		37		160		0.4177545692		100		106		34		140		0.3414634146

		40		54		323		377		0.7887029289		30		232		34		266		0.6409638554		50		266		41		307		0.7675		75		37		290		327		0.7898550725		75		150		58		208		0.5430809399		100		129		27		156		0.4116094987		150		171		51		222		0.5796344648		150		157		48		205		0.5

		50		45		365		410		0.8577405858		50		321		0		321		0.7734939759		75		334		14		348		0.87		100		27		330		357		0.8623188406		100		240		51		291		0.7597911227		125		167		27		194		0.5118733509		200		287		24		311		0.8120104439		200		253		34		287		0.7

		75		41		405		446		0.9330543933		75		362		0		362		0.8722891566		100		359		0		359		0.8975		150		27		359		386		0.9323671498		125		311		27		338		0.8825065274		150		236		30		266		0.7018469657		250		334		0		334		0.8720626632		250		317		27		344		0.8390243902

		100		32		428		460		0.9623430962		100		383		0		383		0.9228915663		150		372		0		372		0.93		200		24		372		396		0.9565217391		150		342		10		352		0.9190600522		200		328		0		328		0.8654353562		300		351		0		351		0.9164490862		300		349		31		380		0.9268292683

		120		23		441		464		0.9707112971		150		396		0		396		0.9542168675		200		383		0		383		0.9575		250		20		379		399		0.9637681159		200		355		10		365		0.953002611		250		355		0		355		0.9366754617		350		366		0		366		0.955613577		350		362		27		389		0.9487804878

		150		27		446		473		0.989539749		200		410		0		410		0.9879518072		250		396		0		396		0.99		300		24		382		406		0.9806763285		300		376		0		376		0.9817232376		300		366		0		366		0.9656992084		400		372		0		372		0.9712793734		400		372		34		406		0.9902439024

		200		23		455		478		1		300		415		0		415		1		300		400		0		400		1		350		24		390		414		1		400		383		0		383		1		400		379		0		379		1		500		383		0		383		1		500		383		27		410		1

		300		20		464		484		1.0125523013

		Strip #		VFD

		188		80

		244		75

		390		60

		470		55

		498		55

		526		53

		545		55

		568		62

		578		92								0.0004882813		0.1806640625		0.0451660156

		585		128

		605		200

		622		225

		634		270

		650		285

		670		297

		690		300

		710		285								768		640

		730		250

		740		220

		760		170

		774		125

		829		60

		888		47





		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0



Strip #10

Strip #30

Strip #50

Strip #70

Strip #90

Strip #100

Strip #120

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0



Strip #526

Strip #545

Strip #578

Strip #585

Strip #605

Strip #622

Strip #634

Bias [Volt]

Normalised CCE

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0



Strip Number

Vfd [Volt]

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0



Strip #545

Strip #585

Strip #634

Bias [Volt]

Normalised CCE

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0



Strip #526

Strip #578

Strip #605

Bias [Volt]

Normalised CCE

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		Strip:		#10								Strip:		#30								Strip:		#50								Strip:		#70								Strip:		#90								Strip:		#100		#101						Strip:		#120

				#11										#31										#51										#71										#91										#121										#121

		D Left		h 200 V		ideal				h 400 V		D Left		h 200 V		ideal				h 400 V		D Left		h 200 V		ideal				h 400 V		D Left		h 200 V		ideal				h 400 V		D Left		h 200 V		ideal				h 400 V		D Left		h 200 V		ideal				h 400 V		D Left		h 200 V		ideal				h 400 V

		20		0.2059800664		0		0		0.1260683761		20		0.3485714286		0		0		0.2292490119		20		0.1510067114		0		0		0		20		0.1729559748		0		0		0.1299559471		30		0.1035422343		0		0		0		30		0.204610951		0		0		0		20		0.2591006424		0		0		0.263671875

		30		0.1784037559		110		1		0		30		0.2186046512		110		1		0		30		0.1964285714		110		1		0		30		0.1009615385		115		1		0		40		0.1971428571		117.5		1		0		40		0.3086053412		115		1		0		30		0.0874074074		115		1		0.0657534247

		40		0.2587064677						0.0909090909		40		0.3191489362						0		40		0.3269961977						0.118993135		40		0.1943734015						0		50		0.3688888889						0.2443729904		50		0.3851351351						0.1978021978		40		0.0914454277						0.0725244073

		50		0.3577586207						0.2196531792		50		0.4345238095						0.2648401826		60		0.6736842105						0.7946428571		50		0.3125						0.1707317073		60		0.6231884058						0.7816091954		60		0.5677966102						0.688372093		50		0.1515151515						0.1463414634

		60		0.6280991736						0.7375328084		60		0.625						0.619047619		70		0.7365079365						0.916500994		60		0.5102040816						0.5845070423		70		0.7445652174						0.9099437148		70		0.6253869969						0.886405959		60		0.5						0.5

		70		0.7114914425						0.8717948718		70		0.7170731707						0.8559322034		80		0.8419452888						0.9427402863		70		0.689373297						0.8831858407		80		0.8891454965						1		80		0.7331378299						0.9305816135		70		0.8						0.8395522388

		80		0.7915742794						0.9111470113		80		0.7960784314						0.9867374005		90		0.8307692308						0.9512195122		80		0.8141809291						0.9365609349		90		0.9136363636						1		90		0.7967032967						0.938517179		80		0.884086444						0.9252669039

		90		0.7759103641						0.8546845124		90		0.825						0.9734748011												90		0.8523489933						0.9378427788																						90		0.9249011858						0.9491833031

		Residuals		#10-#11								Residuals		#30-#31								Residuals		#50-#51								Residuals		#50-#51								Residuals		#70-#71								Residuals		#90-#91								Residuals		#100-#101

		True position		Est. position		Est. position		Residuals		Residuals		True position		Est. position		Est. position		Residuals		Residuals		True position		Est. position		Est. position		Residuals		Residuals		True position		Est. position		Est. position		Residuals		Residuals		True position		Est. position		Est. position		Residuals		Residuals		True position		Est. position		Est. position		Residuals		Residuals		True position		Est. position		Est. position		Residuals

				200 V		400 V		200 V		400 V				200 V		400 V		200 V		400 V				200 V		400 V		200 V		400 V				200 V		400 V		200 V		400 V				200 V		400 V		200 V		400 V				200 V		400 V		200 V		400 V				200 V		400 V		200 V		400 V

		20		22.657807309		38.3428571429		2.657807309		18.3428571429		20		38.3428571429		25.2173913043		18.3428571429		5.2173913043		20		16.610738255		0		-3.389261745		-20		20		19.8899371069		14.9449339207		-0.1100628931		-5.0550660793		30		12.1662125341		0		-17.8337874659		-30		30		23.530259366		0		-6.469740634		-30		20		29.7965738758		30.322265625		9.7965738758		10.322265625

		30		19.6244131455		24.0465116279		-10.3755868545		-5.9534883721		30		24.0465116279		0		-5.9534883721		-30		30		21.6071428571		0		-8.3928571429		-30		30		11.6105769231		0		-18.3894230769		-30		40		23.1642857143		0		-16.8357142857		-40		40		35.4896142433		0		-4.5103857567		-40		30		10.0518518519		7.5616438356		-19.9481481481		-22.4383561644

		40		28.4577114428		35.1063829787		-11.5422885572		-4.8936170213		40		35.1063829787		0		-4.8936170213		-40		40		35.969581749		13.0892448513		-4.030418251		-26.9107551487		40		22.3529411765		0		-17.6470588235		-40		50		43.3444444444		28.7138263666		-6.6555555556		-21.2861736334		50		44.2905405405		22.7472527473		-5.7094594595		-27.2527472527		40		10.5162241888		8.340306834		-29.4837758112		-31.659693166

		50		39.3534482759		47.7976190476		-10.6465517241		-2.2023809524		50		47.7976190476		29.1324200913		-2.2023809524		-20.8675799087		60		74.1052631579		87.4107142857		14.1052631579		27.4107142857		50		35.9375		19.6341463415		-14.0625		-30.3658536585		60		73.2246376812		91.8390804598		13.2246376812		31.8390804598		60		65.2966101695		79.1627906977		5.2966101695		19.1627906977		50		17.4242424242		16.8292682927		-32.5757575758		-33.1707317073

		60		69.0909090909		68.75		9.0909090909		8.75		60		68.75		68.0952380952		8.75		8.0952380952		70		81.0158730159		100.8151093439		11.0158730159		30.8151093439		60		58.6734693878		67.2183098592		-1.3265306122		7.2183098592		70		87.4864130435		106.9183864916		17.4864130435		36.9183864916		70		71.919504644		101.9366852886		1.919504644		31.9366852886		60		57.5		57.5		-2.5		-2.5

		70		78.2640586797		78.8780487805		8.2640586797		8.8780487805		70		78.8780487805		94.1525423729		8.8780487805		24.1525423729		80		92.6139817629		103.7014314928		12.6139817629		23.7014314928		70		79.2779291553		101.5663716814		9.2779291553		31.5663716814		80		104.474595843		117.5		24.474595843		37.5		80		84.3108504399		107.0168855535		4.3108504399		27.0168855535		70		92		96.5485074627		22		26.5485074627

		80		87.0731707317		87.568627451		7.0731707317		7.568627451		80		87.568627451		108.5411140584		7.568627451		28.5411140584		90		91.3846153846		104.6341463415		1.3846153846		14.6341463415		80		93.630806846		107.7045075125		13.630806846		27.7045075125		90		107.3522727273		117.5		17.3522727273		27.5		90		91.6208791209		107.9294755877		1.6208791209		17.9294755877		80		101.6699410609		106.4056939502		21.6699410609		26.4056939502

		90		85.350140056		90.75		-4.649859944		0.75		90		90.75		107.0822281167		0.75		17.0822281167												90		98.0201342282		107.8519195612		8.0201342282		17.8519195612																						90		106.3636363636		109.1560798548		16.3636363636		19.1560798548





		Far end														End + 1 cm														End + 2 cm														End + 3 cm														End + 3.5 cm

		Strip width		Local coord.		h 150 V						h 200 V		h 400 V		Strip width		Local coord.		h 150 V						h 200 V		h 400 V		Strip width		Local coord.		h 150 V						h 200 V		h 400 V		Strip width		Local coord.		h 150 V						h 200 V		h 400 V		Strip width		Local coord.		h 200 V						h 400 V				Local coord.		h 150 V		h 200 V		h 400 V

		16 µm		12		0.3192771084		0		0		0.3086172345		0.2177531207		25 µm		20		0.2489795918		0		0		0.2296072508		0.0935875217		25 µm		23		0.2344827586		0		0		0.1566820276		0.079338843		30 µm		23		0.1505016722		0		0		0.0805687204		0.052		35 µm		20		0.2591006424		0		0		0.263671875				28		0.1305483029		0.0812064965		0.0638722555		0		0

				22		0.3269230769		61		1		0.3302180685		0.2262118492				30		0.3642857143		78		1		0.3591160221		0.2287390029				33		0.3311897106		95		1		0.2647754137		0.1256038647				33		0.2164948454		108		1		0.0966183575		0.0595238095				30		0.0874074074		115		1		0.0657534247				38		0.1467391304		0.0782608696		0.0601202405		118		1

				32		0.5						0.5		0.5284552846				40		0.6977777778						0.691588785		0.8631578947				43								0.3176470588		0.2993197279				43		0.3470790378						0.2055137845		0.1347248577				40		0.0914454277						0.0725244073				48		0.2492753623		0.1494505495		0.1135135135

				42		0.6687697161						0.6808943089		0.826435247				50		0.7510204082						0.7796610169		0.9246575342				53		0.6393442623						0.6741573034		0.7946127946				63		0.6487603306						0.7430939227		0.8559837728				50		0.1515151515						0.1463414634				58		0.3970588235		0.41		0.368852459

				52		0.6972789116						0.7270788913		0.8104196816				60														63		0.7039711191						0.7454545455		0.8982785603				73		0.7683823529						0.884057971		0.9513108614				60		0.5						0.5				68		0.66		0.7510548523		0.789017341

																																73		0.7731629393						0.830802603		0.9453376206				83		0.8316498316						0.9351145038		0.98				70		0.8						0.8395522388				78		0.7542857143		0.9100719424		0.9100719424

																																																												80		0.884086444						0.9252669039				88		0.8444444444		0.9125799574		0.9323308271

																																																												90		0.9249011858						0.9491833031

				Pos. far end (1)														Pos.(2)=(1)+1 cm														Pos.(3)=(2)+1 cm														Pos.(4)=(3)+1 cm														Pos.(5)=(4)+0.5 cm

		Bias		#119		Int 1		#120		Int 2		#121		Int 3		#122		#119		Int 1		#120		Int 2		#121		Int 3		#122		#119		Int 1		#120		Int 2		#121		Int 3		#122		#119		Int 1		#120		Int 2		#121		Int 3		#122		#119		Int 1		#120		Int 2		#121		Int 3		#122

		[Volt]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]

		50		0		0		30		10		115		10		20						20		0		68						0		0		31		0		99		0		0		0		0		0		0		70		0		0						38		21		104		-10

		100		28		0		61		17		179		15		33						44		15		129						20		0		48		24		171		0		31						52		34		145		0		29						62		34		177		-21

		150		30		0		88		40		239		27		44						78		37		184						0		0		71		44		242		0		31						63		58		250		0		29						55		24		385		-31

		200		37		0		115		74		357		37		54						68		41		280						0		0		78		58		383		0		37						37		20		388		-5		20						48		15		454		-24

		250		34		0		101		61		530		51		20						71		44		410						0		0		44		24		509		-24		10						26		10		448		-20		10						45		0		468		-34

		300		23		0		81		37		600		-23		30						58		45		475						0		0		37		13		533		-30		20						22		22		490		-24		10						34		-10		478		-34

		350		34		0		84		27		641		-27		24						51		10		519						0		0		30		0		567		-30		15						20		0		512		-24		0						34		-17		495		-34

		400		23		0		64		0		644		-34		23						51		0		530						0		0		41		0		577		-37		15						20		0		527		-24		0						34		-17		502		-34

		500		10		0		77		0		680		-30		10						48		0		547						0		0		34		0		588		-40		13						10		0		530		-24		0						34		-17		510		-34

				Total										Total										Intermediate strip/total charge

		Bias		Pos.(1)		Pos.(2)		Pos.(3)		Pos.(4)		Pos.(5)		normalised

		[Volt]												Pos.(1)		Pos.(2)		Pos.(3)		Pos.(4)		Pos.(5)		Pos.(1)		Pos.(2)		Pos.(3)		Pos.(4)		Pos.(5)

		50		135		88		99		70		142		0.2023988006		0.1514629948		0.1672297297		0.1328273245		0.2649253731		0.0740740741		0		0		0		0.1478873239

		100		212		173		202		174		239		0.3178410795		0.2977624785		0.3412162162		0.330170778		0.4458955224		0.0801886792		0.0867052023		0.1188118812		0.1954022989		0.1422594142

		150		283		262		273		279		440		0.4242878561		0.4509466437		0.4611486486		0.5294117647		0.8208955224		0.1413427562		0.141221374		0.1611721612		0.2078853047		0.0545454545

		200		411		348		420		408		502		0.616191904		0.5989672978		0.7094594595		0.7741935484		0.9365671642		0.1800486618		0.117816092		0.1380952381		0.0490196078		0.0298804781

		250		550		481		519		458		513		0.8245877061		0.8278829604		0.8766891892		0.8690702087		0.9570895522		0.1109090909		0.0914760915		0.0462427746		0.0218340611		0

		300		630		533		553		500		512		0.9445277361		0.917383821		0.9341216216		0.9487666034		0.9552238806		0.0587301587		0.0844277674		0.0235081374		0.044		-0.01953125

		350		665		570		582		512		529		0.9970014993		0.9810671256		0.9831081081		0.9715370019		0.9869402985		0.0406015038		0.0175438596		0		0		-0.0321361059

		400		667		581		592		527		536		1		1		1		1		1		0		0		0		0		-0.0317164179

		500		690		595		601		530		544		1.0344827586		1.0240963855		1.0152027027		1.0056925996		1.0149253731		0		0		0		0		-0.03125





		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0



Pos. 1

Pos. 2

Pos. 3

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0



0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0



0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0		0		0

		0		0		0		0

				0		0		0

				0		0		0



150 Volt

200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #760-761

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0		0		0

		0		0		0		0

				0		0		0

				0		0		0

				0		0		0

				0		0		0



Strip #120 of sector n. 6

Local position [µm]

Right charge/Total charge

Scan across strips #760-761

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

150 Volt

200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #760-761

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0		0		0

		0		0		0		0

				0		0		0

				0		0		0

				0		0		0

				0		0		0



150 Volt

200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #760-761

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0		0		0

		0		0		0		0

				0		0		0

				0		0		0

				0		0		0

				0		0		0

				0		0		0



150 Volt

200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #760-761

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		Time delay		Corrected time		Bias [V]		#120		Int 1		#121		Int 2																		0		0.08185		9.1672		112				0.261052		10		80

		70		55		250		0		0		68		0				0		0		0		610								1		0.168384		18.859008						0.431745		34.5396

		75		50				16		0		150		0				3		0.0512794593		31.2804701969										2		0.312367		34.985104						0.675746		54.05968

		80		45				34		0		245		-25				6		0.2672435413		163.0185601936										3		0.52869		59.21328						1.004992		80.39936

		85		40				54		0		369		-41				9		0.5875634723		358.4137180924										4		0.825982		92.509984						1.426173		114.09384

		90		35				123		32		560		0				12		0.9072872169		553.4452023										5		1.20452		134.90624						1.939189		155.13512

		95		30				154		40		688		0				15		1.1543795498		704.1715253543										6		1.656436		185.520832						2.536774		202.94192

		100		25				188		51		826		-28				18		1.299469696		792.6765145638										7		2.16761		242.77232						3.205258		256.42064

		105		20				199		74		792		0				21		1.3442508459		819.9930160187										8		2.720225		304.6652						3.926179		314.09432

		110		15				188		108		615		-5				24		1.3071636214		797.3698090352										9		3.295125		369.054						4.678293		374.26344

		115		10				176		131		421		79				27		1.2124429531		739.5902013697										10		3.873637		433.847344						5.439553		435.16424

		120		5				85		68		199		34				30		1.0834467691		660.9025291351										11		4.438771		497.142352						6.188773		495.10184

		125		0				0		0		0		0				33		0.9394191906		573.0457062512										12		4.97592		557.30304						6.906842		552.54736

																		36		0.7945091514		484.6505823432										13		5.473185		612.99672						7.577489		606.19912

																		39		0.6580501859		401.410613397										14		5.92143		663.20016						8.187653		655.01224

																		42		0.5354104702		326.6003867976										15		6.31416		707.18592						8.727551		698.20408

																		45		0.4289931162		261.6858008585										16		6.647297		744.497264						9.190552		735.24416

																		48		0.339164421		206.8902967894										17		6.91889		774.91568						9.57288		765.8304

																		51		0.2650152693		161.6593142647										18		7.128793		798.424816						9.873284		789.86272

																		54		0.2049346724		125.0101501754										19		7.278362		815.176544						10.092649		807.41192

																		57		0.1570118833		95.7772488293										20		7.370132		825.454784						10.233604		818.68832

																		60		0.1192986421		72.7721716988										21		7.407557		829.646384						10.300152		824.01216

																		63		0.0899657472		54.8791057793										22		7.394742		828.211104						10.297333		823.78664

																		66		0.0673846758		41.1046522082										23		7.336235		821.65832						10.230914		818.47312

																		69		0.050159177		30.597097963										24		7.236837		810.525744						10.107127		808.57016

																		72		0.0371256796		22.6466645667										25		7.101445		795.36184						9.932439		794.59512

																		75		0.0273359711		16.67494238										26		6.934925		776.7116						9.713365		777.0692

																																27		6.742013		755.105456						9.456316		756.50528

																																28		6.527242		731.051104						9.16749		733.3992

																																29		6.294873		705.025776						8.852766		708.22128

																																30		6.048868		677.473216						8.517644		681.41152

																																31		5.792859		648.800208						8.167207		653.37656

																																32		5.530137		619.375344						7.806094		624.48752

																																33		5.263647		589.528464						7.438483		595.07864

																																34		4.995998		559.551776						7.068093		565.44744

																																35		4.729472		529.700864						6.698193		535.85544

																																36		4.466033		500.195696						6.331631		506.53048

																																37		4.207353		471.223536						5.970841		477.66728

																																38		3.954834		442.941408						5.617879		449.43032

																																39		3.709625		415.478						5.274448		421.95584

																																40		3.472645		388.93624						4.941926		395.35408

																																41		3.244611		363.396432						4.621399		369.71192

																																42		3.026052		338.917824						4.313695		345.0956

																																43		2.817337		315.541744						4.019405		321.5524

																																44		2.618692		293.293504						3.738913		299.11304

																																45		2.43022		272.18464						3.472427		277.79416

																																46		2.251916		252.214592						3.219996		257.59968

																																47		2.083687		233.372944						2.981542		238.52336

																																48		1.925365		215.64088						2.756874		220.54992

																																49		1.776718		198.992416						2.545705		203.6564

																																50		1.637465		183.39608						2.347678		187.81424

																																51		1.507286		168.816032						2.162372		172.98976

																																52		1.38583		155.21296						1.989319		159.14552

																																53		1.272725		142.5452						1.828019		146.24152

																																54		1.167583		130.769296						1.677946		134.23568

																																55		1.070007		119.840784						1.538557		123.08456

																																56		0.979598		109.714976						1.409304		112.74432

																																57		0.895956		100.347072						1.289635		103.1708

																																58		0.818688		91.693056						1.179003		94.32024

																																59		0.747406		83.709472						1.076871		86.14968

																																60		0.681733		76.354096						0.982712		78.61696

																																61		0.621304		69.586048						0.896015		71.6812

																																62		0.565769		63.366128						0.816288		65.30304

																																63		0.51479		57.65648						0.743057		59.44456

																																64		0.468044		52.420928						0.675869		54.06952

																																65		0.425227		47.625424						0.614292		49.14336

																																66		0.386049		43.237488						0.557917		44.63336

																																67		0.350235		39.22632						0.506357		40.50856

																																68		0.317529		35.563248						0.459245		36.7396

																																69		0.287687		32.220944						0.416239		33.29912

																																70		0.260483		29.174096						0.377015		30.1612

																																71		0.235705		26.39896						0.341272		27.30176

																																72		0.213156		23.873472						0.308729		24.69832

																																73		0.19265		21.5768						0.279123		22.32984

																																74		0.174018		19.490016						0.25221		20.1768

																																75		0.157101		17.595312						0.227764		18.22112

																																76		0.141751		15.876112						0.205574		16.44592

																																77		0.127834		14.317408						0.185447		14.83576

																																78		0.115224		12.905088						0.167204		13.37632

																																79		0.103806		11.626272						0.150679		12.05432

																																80		0.093474		10.469088						0.13572		10.8576

																																81		0.084131		9.422672						0.122188		9.77504

																																82		0.075686		8.476832						0.109953		8.79624

																																83		0.068058		7.622496						0.098898		7.91184

																																84		0.061172		6.851264						0.088915		7.1132

																																85		0.054959		6.155408						0.079904		6.39232

																																86		0.049356		5.527872						0.071777		5.74216

																																87		0.044307		4.962384

																																88		0.039758		4.452896

																																89		0.035662		3.994144

																																90		0.031975		3.5812

																																91		0.028659		3.209808

																																92		0.025678		2.875936

																																93		0.022998		2.575776

																																94		0.020591		2.306192

																																95		0.018429		2.064048

																																96		0.016489		1.846768

																																97		0.014748		1.651776

																																98		0.013187		1.476944

																																99		0.011787		1.320144





		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0



0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0



0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0



Measured (hit strip)

Calculated

Adjacent strip

Intermediate routing line

Time [ns]

Amplitude [arb. units]

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0



Measured

Calculated

Time [ns]

Amplitude [arb. units]

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0




_1045985828.xls
Chart5

		50		50		50

		100		100		100

		150		150		150

		200		200		200

		250		250		250

		300		300		300

		350		350		350

		400		400		400

		500		500		500



Pos. 1

Pos. 2

Pos. 3

0.2023988006

0.1328273245

0.2649253731

0.3178410795

0.330170778

0.4458955224

0.4242878561

0.5294117647

0.8208955224

0.616191904

0.7741935484

0.9365671642

0.8245877061

0.8690702087

0.9570895522

0.9445277361

0.9487666034

0.9552238806

0.9970014993

0.9715370019

0.9869402985

1

1

1

1.0344827586

1.0056925996

1.0149253731



General

		Sector #		Strip's range								1		128

		1		1-128								2		256

		2		129-256								3		384

		3		257-384								4		512

		4		385-512								5		640

		5		513-640								6		768

		6		641-768								7		896

		7		769-896								8		1024

		8		897-1024

		Measured strips:

		Sector #:		1		2		3		4		5		6		7		8





Sheet1

				Bias 200 V		Step posit.		Delta #85		Delta #86		Left Height		Right Height		Sum (L+R)		Eta		Integral		Predicted position		Residuals		Ideal eta

								[µm]		[µm]																0		0

		Strip #85 position		40.3		41		7		115		558		104		662		0.1570996979				18.8519637462		11.8519637462		120		1

		Strip #86 position		52.5		42		17		105		608		154		762		0.2020997375				24.2519685039		7.2519685039

						43		27		95		625		116		741		0.1565452092				18.7854251012		-8.2145748988

						44		37		85		608		227		835		0.2718562874				32.622754491		-4.377245509

						45		47		75		608		446		1054		0.4231499051				50.7779886148		3.7779886148

						46		57		65		568		548		1116		0.4910394265				58.9247311828		1.9247311828

						47		67		55		507		572		1079		0.5301204819				63.6144578313		-3.3855421687

						48		77		45		357		580		937		0.6189967983				74.2796157951		-2.7203842049

						49		87		35		170		570		740		0.7702702703				92.4324324324		5.4324324324

						50		97		25		187		608		795		0.7647798742				91.7735849057		-5.2264150943

						51		107		15		174		600		774		0.7751937984				93.023255814		-13.976744186

																								7.5058591589

																						7.5058591589

																						6

				Bias 200 V		Step posit.		Delta #85		Delta #86		Left Height		Right Height		Sum (L+R)		Eta		Integral						Ideal eta

								[µm]		[µm]																0		0

		Strip #85 position		41.7		43		13		105		755		170		925		0.1837837838								120		1

		Strip #86 position		53.5		44		23		95		778		178		956		0.1861924686

						45		33		85		770		244		1014		0.2406311637

						46		43		75		770		585		1355		0.4317343173

						47		53		65		711		689		1400		0.4921428571

						48		63		55		607		741		1348		0.5497032641

						49		73		45		452		741		1193		0.6211232188

						50		83		35		178		726		904		0.8030973451

						51		93		25		118		711		829		0.8576598311

						52		103		15		104		681		785		0.8675159236

						53		113		5		89		704		793		0.8877679697





Irradiated (4)

		Bias 250 V		Strip #		Centre		Distance		20 V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h		ideal				50 V		Pulse Left		Pulse Right		Pulse sum		h		200 V		Pulse Left		Pulse Right		Pulse sum		h				Volt scan		#85		#86		Total		Normalised

				85		31		110				33.5		25		85		128		12		140		0.0857142857		0		0				253		30		283		0.1060070671				373		16		389		0.0411311054				20		36		126		162		0.3884892086

				86		42						34.5		35		75		132		12		144		0.0833333333		110		1				233		24		257		0.093385214				341		25		366		0.0683060109				30		52		240		292		0.7002398082

												35.5		45		65		84		32		116		0.275862069								204		48		252		0.1904761905				325		50		375		0.1333333333				40		48		317		365		0.8752997602

												37		60		50		22		40		62		0.6451612903								36		76		112		0.6785714286				50		136		186		0.7311827957				50		48		371		407		0.9760191847

		#85		Amplitude		#86		Amplitude				37.5		65		45		40		84		124		0.6774193548								60		197		257		0.766536965				60		305		365		0.8356164384				75		36		380		412		0.9880095923

		39		417		28		417				38.5		75		35		28		152		180		0.8444444444								40		272		312		0.8717948718				32		401		433		0.9260969977				100		32		397		425		1.0191846523

		40		325		29		297				39.5		85		25		24		160		184		0.8695652174								44		281		325		0.8646153846				32		405		437		0.9267734554				120		28		413		441		1.0575539568

		41		50		30		60																																												150		28		417		417		1

		42		0		31		0

		43		68		32		32

		44		361		33		272

						34		409

		Bias 250 V		Strip #		Centre		Distance		20 V		Local coord.						Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h		ideal				50 V		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h		200 V		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h				Volt scan		#4		Int 1		#5		Int 2		Total		Normalised

				4		12.5		115				14.5		20		95		204		-28		36				240		0.15		0		0				333				36				369		0.0975609756				449		-64		48				497		0.0965794769				20		12		-24		200		-48		212		0.4265593561

				5		24						15.5		30		85		240		-36		44				284		0.1549295775		115		1				425		-64		72				497		0.1448692153				573		-112		64				637		0.1004709576				30		40				328		-52		368		0.7404426559

												16.5		40		75		212		-32		44				256		0.171875								373		-48		52				425		0.1223529412				525		-88		52				577		0.0901213172				40		24		-16		381		-88		405		0.814889336

												17.5		50		65		116		-8		48				164		0.2926829268								256		-24		104				360		0.2888888889				373		-64		120				493		0.2434077079				50		28		-24		425		-92		453		0.9114688129

		#4		Amplitude		#5		Amplitude				18.5		60		55		16				32				48		0.6666666667								32				72				104		0.6923076923				60				112				172		0.6511627907				75		16				445		-100		461		0.9275653924

		12		0		21		489				19.5		70		45		52				188		-16		240		0.7833333333								68				385		-48		453		0.8498896247				52				509		-96		561		0.9073083779				100		12		-28		457		-124		469		0.9436619718

		13		0		22		341				20.5		80		35		52				253		-16		305		0.8295081967								76				429		-52		505		0.8495049505				36				549		-96		585		0.9384615385				120		16		-20		465		-120		481		0.967806841

		14		132		23		84				21.5		90		25		28				204		-48		232		0.8793103448								36				393		-84		429		0.9160839161				28				501		-112		529		0.9470699433				150		12		-44		485		-132		497		1

		15		437		24		0

		16		517		25		0

						26		272

		Bias 250 V		Strip #		Centre		Distance		20 V		Local coord.						Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h		ideal				50 V		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h		200 V		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h

				5		24		110				26.5		25		85		197				36				233		0.1545064378		0		0				328				36				364		0.0989010989				445				32				477		0.0670859539

				6		35						27.5		35		75		152				28				180		0.1555555556		110		1				305				36				341		0.1055718475				449				36				485		0.0742268041

												28.5		45		65		116				36				152		0.2368421053								253				60				313		0.1916932907				413				100				513		0.1949317739

												29.5		55		55		44				28				72										60				36				96						72				32				104

												30.5		65		45		28				104				132		0.7878787879								52				212				264		0.803030303				72				345				417		0.8273381295

												31.5		75		35		36				160				196		0.8163265306								32				272				304		0.8947368421				28				405				433		0.935334873

												32.5		85		25		12				164				176		0.9318181818								32				333				365		0.9123287671				72				469				541		0.8669131238

		Bias 250 V		Strip #		Centre		Distance		20 V		Local coord.						Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h		ideal				50 Volt		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h		200 Volts		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h				Volt scan		#115		Int 1		#116		Int 2		Total		Normalised

				115		44		120				47.5		35		85		237				45				282		0.1595744681		0		0				396		-18		54				450		0.12				474		-31		41				515		0.0796116505				10		32		23		132		0		164		0.3326572008

				116		56						48.5		45		75		209		0		54				263		0.2053231939		120		1				387		-13		59				446		0.1322869955				460		-41		45				505		0.0891089109				20		41		25		241		0		282		0.5720081136

												49.5		55		65		128		13		54				182		0.2967032967								264				77				341		0.2258064516				360		-23		90				450		0.2				30		45		25		314		0		359		0.7281947262

												51		70		50		41		13		91				132										63		13		182				245						73		0		250				323		0.72				40		45		25		364		0		409		0.8296146045

		#115		Amplitude		#116		Amplitude				51.5		75		45		77		41		173				250		0.692								91		18		360				451		0.7982261641				91		0		461				552		0.8351449275				50		36		18		400		-13		436		0.8843813387

		42		506		54		483				52.5		85		35		54		30		214				268		0.7985074627								54		23		383				437		0.8764302059				32		-23		460				492		0.9349593496				60		25		0		419		-23		444		0.9006085193

		43		410		55		287				53.5		95		25		41		25		241				282		0.8546099291								36		18		400		-13		436		0.9174311927				27				460		-23		487		0.9445585216				80		27		0		442		-23		469		0.9513184584

		44		77		56		0																																																								100		27		0		446		-23		473		0.9594320487

		45		455		57		0																																																								150		23		0		455		-27		478		0.9695740365

		46		488		58		145																																																								200		27				460		-18		487		0.9878296146

						59		469																																																								300		23				470		-30		493		1





Irradiated (4)

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

				0

				0

				0



0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



Irradiated (5) 

		0		0		0		0

		0		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0



20 Volt

50 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #388-389

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



Irr. corr (5)

		0		0		0		0

		0		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0



0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



Irr. corr. (6)

		Bias 250 V		Strip #		Centre		Distance		100 V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h		ideal				200 V		Pulse Left		Pulse Right		Pulse sum		h		300 V		Pulse Left		Pulse Right		Pulse sum		h				Volt scan		#13		#14		Total		Normalised						Strip #5		Volt scan		Normalised

				13		8.5		110				11		25		85		351		0		351		0		0		0				369		0		369		0				364		0		364		0				20		5		205		210		0.4338842975						10		140		0.2868852459

				14		19.5						12		35		75		387		0		387		0		110		1				414		0		414		0				414		0		414		0				30		5		273		278		0.5743801653						30		285		0.5840163934

												13		45		65		328		27		355		0.076056338								374		15		389		0.0385604113				383		24		407		0.058968059				40		54		323		377		0.7789256198						50		393		0.8053278689

												14		55		55		154		73		227		0.3215859031								164		59		223		0.264573991				173		68		241		0.2821576763				50		45		360		405		0.8367768595						70		434		0.8893442623

		#13		Amplitude		#14		Amplitude				15		65		45		54		223		277		0.8050541516								63		264		327		0.8073394495				82		278		360		0.7722222222				75		41		405		446		0.9214876033						100		454		0.9303278689

		6		364		17		351				16		75		35		36		378		414		0.9130434783								36		424		460		0.9217391304				32		424		456		0.9298245614				100		32		428		460		0.9504132231						150		468

		7		164		18		164				17		85		25		23		414		437		0.9473684211								23		460		483		0.9523809524				20		464		484		0.958677686				120		23		437		460		0.9504132231						200		485		0.993852459

		8		30		19		0																																												150		27		446		473		0.9772727273						300		488		1

		9		0		20		0																																												200		23		455		478		0.9876033058

		10		209		21		196																																												300		20		464		484		1

		11		370		22		392

		Bias 250 V		Strip #		Centre		Distance		50 V		Local coord.						(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				200 V		Pulse Left		Pulse Right		Pulse sum		h		300 V		Pulse Left		Pulse Right		Pulse sum		h				Volt scan		#33		#34		Total		Normalised

				13		4.8		112				8		32		80		31		334		71		405		0.175308642		0		0				427		-17		410		0				434		-17		417		0				10		48		97		145		0.3325688073				30		112		20		31		163

				14		16						9		42		70		34		317		51		368		0.1385869565		112		1				427		31		458		0.0676855895				458		24		482		0.0497925311				20		51		184		235		0.5389908257				50		157		31		41		229

												10		52		60		0		68		34		102		0.3333333333								89		37		126		0.2936507937				99		34		133		0.2556390977				30		54		263		317		0.7270642202				100		291		51		85		427

												11		62		50		0		65		195		260		0.75								61		266		327		0.8134556575				61		260		321		0.8099688474				50		37		345		382		0.876146789				130		372		58		103		533

		#33		Amplitude		#34		Amplitude				12		72		40		0		51		308		359		0.8579387187								34		413		447		0.9239373602				34		430		464		0.9267241379				75		27		389		416		0.9541284404				150		530		50		109		689

		2		445		13		451				13		82		30		0		37		342		379		0.9023746702								27		427		454		0.9405286344				10		447		457		0.9781181619				100		24		400		424		0.9724770642				200		567		44		65		676

		3		191		14		214																																														125		24		417		441		1.0114678899				250		605		31				636

		4		41		15		41																																														150		20		420		440		1.0091743119				300		612		31				643

		5		34		16		34																																														200		20		424		444		1.0183486239

		6		68		17		58																																														300		20		436		456		1.0458715596

		7		413		18		330

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.						#120		Int 1		#121		Int 2		#122		Int 3		Pulse sum		h		ideal				200 V		#120		Int 1		#121		Int 2		#122		Int 3		Pulse sum		h		400 V		#120		Int 1		#121		Int 2		#122		Int 3		Pulse sum		h						Volt scan		#120		Int 1		#121		Int 2		#122		Total		Normalised

				121		40		117				43		30		87		30		24		167		24		48		17		215		0.223255814		0		0				24		20		266		10		34		0		300		0.1133333333				10		0		372		-24		20		0		392		0.0510204082						50		0		0		61		0		24		85		0.2093596059

				122		51.7						44		40		77		24		15		140		31		54		117		194		0.2783505155		117		1				27		15		242		27		58		0		300		0.1933333333				0		0		376		-24		31		0		407		0.0761670762						100		20		0		106		0		34		140		0.3448275862

												45		50		67		24		20		99		37		65		0		164		0.3963414634								15		0		171		44		75		0		246		0.3048780488				10		0		311		0		75		0		386		0.1943005181						150		27		10		157		24		48		205		0.5049261084

												47		70		47		0		0		58		41		95		0		153		0.6209150327								0		0		68		48		146		0		214		0.6822429907				0		0		61		17		270		0		331		0.8157099698						200		20		10		253		10		34		287		0.7068965517

		#121		Amplitude		#122		Amplitude				48		80		37		0		0		65		41		143		10		208		0.6875								0		0		58		41		229		0		287		0.7979094077				0		0		34		0		366		-13		400		0.915						250		10		5		317		0		27		344		0.8472906404

		38		345		49		366				49		90		27		0		0		51		34		157		0		208		0.7548076923								0		0		44		27		266		0		310		0.8580645161				0		0		27		0		376		-17		403		0.9330024814						300		0		0		349		0		31		380		0.9359605911

		39		37		50		201																																																																						350		0		0		362		-15		27		389		0.9581280788

		40		30		51		34																																																																						400		0		0		372		-17		34		406		1

		41		34		52		24																																																																						500		0		0		383		-20		27		410		1.0098522167

		42		195		53		58

		43		362		54		342

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.						(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				200 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		400 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h						Volt scan		#109		#110		Total		Normalised

				109		12.4		116				15		26		90		31		178		51		229		0.2227074236		0		0				15		280		24		304		0.0789473684						369		0		369		0						50		65		0		65		0.1747311828

				110		24						16		36		80		24		154		58		212		0.2735849057		116		1				24		263		41		304		0.1348684211						372		0		372		0						100		123		37		160		0.4301075269

												17		46		70		20		123		71		194		0.3659793814								30		215		71		286		0.2482517483						331		41		372		0.1102150538						150		171		51		222		0.5967741935

												19		66		50		0		68		95		163		0.5828220859								0		71		146		217		0.6728110599						58		242		300		0.8066666667						200		287		24		311		0.8360215054

		#109		Amplitude		#110		Amplitude				20		76		40		0		68		146		214		0.6822429907								0		58		242		300		0.8066666667						34		338		372		0.9086021505						250		334		0		334		0.8978494624

		10		308		21		291				21		86		30		0		58		167		225		0.7422222222								0		44		259		303		0.8547854785						0		345		345		1						300		351		0		351		0.9435483871

		11		37		22		208																																																				350		366		0		366		0.9838709677

		12		0		23		31																																																				400		372		0		372		1

		13		0		24		27																																																				500		383		0		383		1.0295698925

		14		225		25		31

		15		321		26		235

						27		285

		Bias 250 V		Strip #		Centre		Distance		100 V		Local coord.						(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				300 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		400 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h						Volt scan		#72		#73		Total		Normalised

				72		29.1		114				31.5		24		90				253		34		287		0.118466899		0		0						355		1		356		0.0028089888						0		0		0		0						25		44		20		64		0.170212766

				73		40.5						32.5		34		80				242		48		290		0.1655172414		114		1						386		1		387		0.0025839793																		50		95		41		136		0.3617021277

												33.5		44		70				150		78		228		0.3421052632										280		41		321		0.1277258567																		75		150		58		208		0.5531914894

												35.5		64		50				54		120		174		0.6896551724										51		222		273		0.8131868132																		100		240		51		291		0.7739361702

		#72		Amplitude		#73		Amplitude				36.5		74		40				68		215		283		0.7597173145										17		376		393		0.9567430025																		125		311		27		338		0.8989361702

		27		249		38		311				37.5		84		30				41		253		294		0.8605442177										1		386		387		0.9974160207																		150		342		10		352		0.9361702128

		28		71		39		106				38		89		25				41		249		290		0.8586206897										20		355		375		0.9466666667																		200		355		10		365		0.9707446809

		28.5		25		40		20																																																				300		376		0		376		1

		29		0		41		31																																																				400		383		0		383		1.0186170213

		30		58		42		154

		31		256		43		334

		Bias 250 V		Strip #		Centre		Distance		100 V		Local coord.						(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				150 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		300 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		200 V		Pulse Left		Pulse Right		Pulse sum		h		Volt scan		#92		#93		Total		Normalised

				92		37.8		116				40		22		94		20		146		41		187		0.2192513369		0		0						259		24		283		0.0848056537						352		1		353		0.0028328612				331		5		336		0.0148809524		50		65		10		75		0.2049180328

				93		49.4						41		32		84		20		140		44		184		0.2391304348		116		1						246		34		280		0.1214285714						369		1		370		0.0027027027				334		5		339		0.0147492625		75		95		10		105		0.2868852459

												42		42		74		24		112		51		163		0.3128834356										208		65		273		0.2380952381						355		1		356		0.0028089888				300		34		334		0.1017964072		100		129		27		156		0.4262295082

												44.5		67		49		0		68		89		157		0.5668789809										82		143		225		0.6355555556						65		256		321		0.7975077882				71		215		286		0.7517482517		125		167		27		194		0.5300546448

		#92		Amplitude		#93		Amplitude				45		72		44				71		103		174		0.591954023										78		198		276		0.7173913043						37		334		371		0.9002695418				54		291		345		0.8434782609		150		236		30		266		0.7267759563

		35		352		47		345				46		82		34				54		123		177		0.6949152542										54		236		290		0.8137931034						1		370		371		0.9973045822				41		328		369		0.8888888889		200		328		0		328		0.8961748634

		36		143		48		68				47		92		24				48		133		181		0.7348066298										48		259		307		0.8436482085						10		359		369		0.972899729				35		331		366		0.9043715847		250		355		0		355		0.9699453552

		37		17		49		0																																																										300		366		0		366		1

		38		17		49.5		0																																																										400		379		0		379		1.0355191257

		39		95		50		0

		40		325		51		116

						52		321

		Bias 250 V		Strip #		Centre		Distance		20 V		Local coord.						(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				50 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		200 V		Pulse Left		Pulse Right		Pulse sum		h								Volt scan		#32		#33		Total		Normalised

				32		43.2		108				45.5		23		85		24		188		30		218		0.1376146789		0		0				24		317		1		318		0.0031446541				400		1		401		0.0024937656								10		89		41		130		0.3147699758

				33		54						46.5		33		75		20		174		44		218		0.2018348624		108		1				20		325		10		335		0.0298507463				410		1		411		0.00243309								20		171		41		212		0.5133171913

												47.5		43		65		24		123		65		188		0.3457446809								20		242		54		296		0.1824324324				342		37		379		0.0976253298								30		232		34		266		0.6440677966

												49		58		50		0		41		58		99		0.5858585859										44		109		153		0.7124183007				51		164		215		0.7627906977								50		321		0		321		0.7772397094

		#32		Amplitude		#33		Amplitude				49.5		63		45				68		116		184		0.6304347826										68		212		280		0.7571428571				65		297		362		0.820441989								75		362		0		362		0.8765133172

		40		393		51		413				50.5		73		35				58		157		215		0.7302325581										44		297		341		0.8709677419				24		389		413		0.9418886199								100		383		0		383		0.9273607748

		41		181		52		291				51		78		30				48		164		212		0.7735849057										41		304		345		0.8811594203				15		393		408		0.9632352941								150		396		0		396		0.9588377724

		42		31		53		51																																																				200		413		0		413		1

		43		24		54		17																																																				300		420		0		420		1.0169491525

		44		80		55		50

		45		359		56		280

						57		403

		Bias 250 V		Strip #		Centre		Distance		50 V		Local coord.						(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				100 V		Pulse Left		Pulse Right		Pulse sum		h		300 V		Pulse Left		Pulse Right		Pulse sum		h										Volt scan		#53		#54		#55		#56		Total		Normalised

				54		39		110				42.5		35		75		24		259		37		296		0.125		0		0				352		1		353		0.0028328612				400		1		401		0.0024937656										10		13		27		41		13		68		0.17

				55		50						43		40		70		24		222		48		270		0.1777777778		110		1				331		1		332		0.0030120482				393		1		394		0.0025380711										25		20		61		109		20		170		0.425

												44		50		60		0		123		58		181		0.320441989								195		44		239		0.1841004184				239		41		280		0.1464285714										50				266		41				307		0.7675

												45.5		65		45		0		51		116		167		0.6946107784								42		178		220		0.8090909091				61		215		276		0.7789855072										75				334		14				348		0.87

		#54		Amplitude		#55		Amplitude				46		70		40				70		201		271		0.741697417								51		308		359		0.8579387187				51		355		406		0.8743842365										100				359		0				359		0.8975

		37		352		47		400				47		80		30				43		260		303		0.8580858086								17		355		372		0.9543010753				1		400		401		0.9975062344										150				372		0				372		0.93

		38		44		48		280																																																				200				383		0				383		0.9575

		39		27		49		41																																																				250				396		0				396		0.99

		40		51		50		20																																																				300				400		0				400		1

		41		266		51		51								512		63		575																																								400				406						406		1.015

		42		390		52		273

						53		410

		Bias 250 V		Strip #		Centre		Distance		50 V		Local coord.						(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				100 V		Pulse Left		Pulse Right		Pulse sum		h		250 V		Pulse Left		Pulse Right		Pulse sum		h										Volt scan		#64		#65		Total		Normalised

				63		1		120				4.5		35		85		37		161		65		226		0.2876106195		0		0				317		1		318		0.0031446541				376		1		377		0.0026525199										25		34		75		109		0.2632850242

				64		13						5.5		45		75		30		137		82		219		0.3744292237		120		1				297		54		351		0.1538461538				376		15		391		0.0383631714										50		55		164		219		0.5289855072

												6		50		70		0		123		78		201		0.3880597015								249		58		307		0.1889250814				325		41		366		0.1120218579										75		37		290		327		0.7898550725

												7.5		65		55		0		38		51		89		0.5730337079								40		106		146		0.7260273973				51		129		180		0.7166666667										100		27		330		357		0.8623188406

		#63		Amplitude		#64		Amplitude				8		70		50				71		103		174		0.591954023								61		242		303		0.798679868				58		300		358		0.8379888268										150		27		359		386		0.9323671498

		-1		352		10		400				9		80		40				75		143		218		0.6559633028								41		325		366		0.8879781421				31		372		403		0.9230769231										200		24		372		396		0.9565217391

		0		44		11		280				10		90		30				51		164		215		0.7627906977								34		334		368		0.9076086957				20		389		409		0.9511002445										250		20		379		399		0.9637681159

		1		27		12		41																																																				300		24		382		406		0.9806763285

		2		51		13		20																																																				350		24		390		414		1

		3		266		14		51

		4		390		15		273





Irradiated (6)

		Bias 250 V		Strip #		Centre		Distance		100 V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h		ideal				200 V		Pulse Left		Pulse Right		Pulse sum		h		300 V		Pulse Left		Pulse Right		Pulse sum		h				Volt scan		#13		#14		Total		Normalised						Strip #5		Volt scan		Normalised

				13		8.5		110				11		25		85		351		17		368		0.0461956522		0		0				369		17		386		0.0440414508				364		17		381		0.0446194226				20		5		205		210		0.4338842975						10		140		0.2868852459

				14		19.5						12		35		75		387		24		411		0.0583941606		110		1				414		24		438		0.0547945205				414		24		438		0.0547945205				30		5		273		278		0.5743801653						30		285		0.5840163934

												13		45		65		328		54		382		0.1413612565								374		55		429		0.1282051282				383		48		431		0.1113689095				40		54		323		377		0.7789256198						50		393		0.8053278689

												14		55		55		154		73		227		0.3215859031								164		59		223		0.264573991				173		68		241		0.2821576763				50		45		360		405		0.8367768595						70		434		0.8893442623

		#13		Amplitude		#14		Amplitude				15		65		45		54		223		277		0.8050541516								63		264		327		0.8073394495				82		278		360		0.7722222222				75		41		405		446		0.9214876033						100		454		0.9303278689

		6		364		17		351				16		75		35		36		378		414		0.9130434783								36		424		460		0.9217391304				32		424		456		0.9298245614				100		32		428		460		0.9504132231						150		468

		7		164		18		164				17		85		25		23		414		437		0.9473684211								23		460		483		0.9523809524				20		464		484		0.958677686				120		23		437		460		0.9504132231						200		485		0.993852459

		8		30		19		0																																												150		27		446		473		0.9772727273						300		488		1

		9		0		20		0																																												200		23		455		478		0.9876033058

		10		209		21		196																																												300		20		464		484		1

		11		370		22		392

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.						#120		Int 1		#121		Int 2		#122		Int 3		Pulse sum		h		ideal				200 V		#120		Int 1		#121		Int 2		#122		Int 3		Pulse sum		h		400 V		#120		Int 1		#121		Int 2		#122		Int 3		Pulse sum		h						Volt scan		#120		Int 1		#121		Int 2		#122		Total		Normalised

				121		40		117				43		30		87		30		24		167		24		48		17		215		0.223255814		0		0				24		20		266		10		34		0		300		0.1133333333				10		0		372		-24		20		0		392		0.0510204082						50		0		0		61		0		24		85		0.2093596059

				122		51.7						44		40		77		24		15		140		31		54		117		194		0.2783505155		117		1				27		15		242		27		58		0		300		0.1933333333				0		0		376		-24		31		0		407		0.0761670762						100		20		0		106		0		34		140		0.3448275862

												45		50		67		24		20		99		37		65		0		164		0.3963414634								15		0		171		44		75		0		246		0.3048780488				10		0		311		0		75		0		386		0.1943005181						150		27		10		157		24		48		205		0.5049261084

												47		70		47		0		0		58		41		95		0		153		0.6209150327								0		0		68		48		146		0		214		0.6822429907				0		0		61		17		270		0		331		0.8157099698						200		20		10		253		10		34		287		0.7068965517

		#121		Amplitude		#122		Amplitude				48		80		37		0		0		65		41		143		10		208		0.6875								0		0		58		41		229		0		287		0.7979094077				0		0		34		0		366		-13		400		0.915						250		10		5		317		0		27		344		0.8472906404

		38		345		49		366				49		90		27		0		0		51		34		157		0		208		0.7548076923								0		0		44		27		266		0		310		0.8580645161				0		0		27		0		376		-17		403		0.9330024814						300		0		0		349		0		31		380		0.9359605911

		39		37		50		201																																																																						350		0		0		362		-15		27		389		0.9581280788

		40		30		51		34																																																																						400		0		0		372		-17		34		406		1

		41		34		52		24																																																																						500		0		0		383		-20		27		410		1.0098522167

		42		195		53		58

		43		362		54		342

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.						(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				200 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		400 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h						Volt scan		#109		#110		Total		Normalised

				109		12.4		116				15		26		90		31		178		51		229		0.2227074236		0		0				15		280		24		304		0.0789473684						369		15		384		0.0390625						50		65		0		65		0.1747311828

				110		24						16		36		80		24		154		58		212		0.2735849057		116		1				24		263		41		304		0.1348684211						372		24		396		0.0606060606						100		123		37		160		0.4301075269

												17		46		70		20		123		71		194		0.3659793814								30		215		71		286		0.2482517483						331		41		372		0.1102150538						150		171		51		222		0.5967741935

												19		66		50		0		68		95		163		0.5828220859								0		71		146		217		0.6728110599						58		242		300		0.8066666667						200		287		24		311		0.8360215054

		#109		Amplitude		#110		Amplitude				20		76		40		0		68		146		214		0.6822429907								0		58		242		300		0.8066666667						34		338		372		0.9086021505						250		334		0		334		0.8978494624

		10		308		21		291				21		86		30		0		58		167		225		0.7422222222								0		44		259		303		0.8547854785						15		345		360		0.9583333333						300		351		0		351		0.9435483871

		11		37		22		208																																																				350		366		0		366		0.9838709677

		12		0		23		31																																																				400		372		0		372		1

		13		0		24		27																																																				500		383		0		383		1.0295698925

		14		225		25		31

		15		321		26		235

						27		285

		Bias 250 V		Strip #		Centre		Distance		100 V		Local coord.						(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				300 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		400 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h						Volt scan		#72		#73		Total		Normalised

				72		29.1		114				31.5		24		90				253		34		287		0.118466899		0		0						355		14		369		0.0379403794						0		0		0		0						25		44		20		64		0.170212766

				73		40.5						32.5		34		80				242		48		290		0.1655172414		114		1						386		25		411		0.0608272506																		50		95		41		136		0.3617021277

												33.5		44		70				150		78		228		0.3421052632										280		56		336		0.1666666667																		75		150		58		208		0.5531914894

												35.5		64		50				54		120		174		0.6896551724										51		222		273		0.8131868132																		100		240		51		291		0.7739361702

		#72		Amplitude		#73		Amplitude				36.5		74		40				68		215		283		0.7597173145										17		376		393		0.9567430025																		125		311		27		338		0.8989361702

		27		249		38		311				37.5		84		30				41		253		294		0.8605442177										1		386		387		0.9974160207																		150		342		10		352		0.9361702128

		28		71		39		106				38		89		25				41		249		290		0.8586206897										20		355		375		0.9466666667																		200		355		10		365		0.9707446809

		28.5		25		40		20																																																				300		376		0		376		1

		29		0		41		31																																																				400		383		0		383		1.0186170213

		30		58		42		154

		31		256		43		334

		Bias 250 V		Strip #		Centre		Distance		100 V		Local coord.						(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				150 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		300 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		200 V		Pulse Left		Pulse Right		Pulse sum		h		Volt scan		#92		#93		Total		Normalised

				92		37.8		116				40		22		94		20		146		41		187		0.2192513369		0		0						259		24		283		0.0848056537						352		15		367		0.0408719346				331		20		351		0.056980057		50		65		10		75		0.2049180328

				93		49.4						41		32		84		20		140		44		184		0.2391304348		116		1						246		34		280		0.1214285714						369		27		396		0.0681818182				334		29		363		0.0798898072		75		95		10		105		0.2868852459

												42		42		74		24		112		51		163		0.3128834356										208		65		273		0.2380952381						355		36		391		0.0920716113				300		55		355		0.1549295775		100		129		27		156		0.4262295082

												44.5		67		49		0		68		89		157		0.5668789809										82		143		225		0.6355555556						65		256		321		0.7975077882				71		215		286		0.7517482517		125		167		27		194		0.5300546448

		#92		Amplitude		#93		Amplitude				45		72		44				71		103		174		0.591954023										78		198		276		0.7173913043						37		334		371		0.9002695418				54		291		345		0.8434782609		150		236		30		266		0.7267759563

		35		352		47		345				46		82		34				54		123		177		0.6949152542										54		236		290		0.8137931034						1		370		371		0.9973045822				41		328		369		0.8888888889		200		328		0		328		0.8961748634

		36		143		48		68				47		92		24				48		133		181		0.7348066298										48		259		307		0.8436482085						10		359		369		0.972899729				35		331		366		0.9043715847		250		355		0		355		0.9699453552

		37		17		49		0																																																										300		366		0		366		1

		38		17		49.5		0																																																										400		379		0		379		1.0355191257

		39		95		50		0

		40		325		51		116

						52		321

		Bias 250 V		Strip #		Centre		Distance		20 V		Local coord.						(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				50 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		200 V		Pulse Left		Pulse Right		Pulse sum		h								Volt scan		#32		#33		Total		Normalised

				32		43.2		108				45.5		23		85		24		188		30		218		0.1376146789		0		0				24		317		14		331		0.0422960725				400		15		415		0.0361445783								10		89		41		130		0.3147699758

				33		54						46.5		33		75		20		174		44		218		0.2018348624		108		1				20		325		30		355		0.0845070423				410		25		435		0.0574712644								20		171		41		212		0.5133171913

												47.5		43		65		24		123		65		188		0.3457446809								20		242		74		316		0.2341772152				342		37		379		0.0976253298								30		232		34		266		0.6440677966

												49		58		50		0		41		58		99		0.5858585859										44		109		153		0.7124183007				51		164		215		0.7627906977								50		321		0		321		0.7772397094

		#32		Amplitude		#33		Amplitude				49.5		63		45				68		116		184		0.6304347826										68		212		280		0.7571428571				65		297		362		0.820441989								75		362		0		362		0.8765133172

		40		393		51		413				50.5		73		35				58		157		215		0.7302325581										44		297		341		0.8709677419				24		389		413		0.9418886199								100		383		0		383		0.9273607748

		41		181		52		291				51		78		30				48		164		212		0.7735849057										41		304		345		0.8811594203				15		393		408		0.9632352941								150		396		0		396		0.9588377724

		42		31		53		51																																																				200		413		0		413		1

		43		24		54		17																																																				300		420		0		420		1.0169491525

		44		80		55		50

		45		359		56		280

						57		403

		Bias 250 V		Strip #		Centre		Distance		50 V		Local coord.						(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				100 V		Pulse Left		Pulse Right		Pulse sum		h		300 V		Pulse Left		Pulse Right		Pulse sum		h										Volt scan		#53		#54		#55		#56		Total		Normalised

				54		39		110				42.5		35		75		24		259		37		296		0.125		0		0				352		15		367		0.0408719346				400		17		417		0.0407673861										10		13		27		41		13		68		0.17

				55		50						43		40		70		24		222		48		270		0.1777777778		110		1				331		25		356		0.0702247191				393		29		422		0.0687203791										25		20		61		109		20		170		0.425

												44		50		60		0		123		58		181		0.320441989								195		55		250		0.22				239		61		300		0.2033333333										50				266		41				307		0.7675

												45.5		65		45		0		51		116		167		0.6946107784								42		178		220		0.8090909091				61		215		276		0.7789855072										75				334		14				348		0.87

		#54		Amplitude		#55		Amplitude				46		70		40				70		201		271		0.741697417								51		308		359		0.8579387187				51		355		406		0.8743842365										100				359		0				359		0.8975

		37		352		47		400				47		80		30				43		260		303		0.8580858086								17		355		372		0.9543010753				1		400		401		0.9975062344										150				372		0				372		0.93

		38		44		48		280																																																				200				383		0				383		0.9575

		39		27		49		41																																																				250				396		0				396		0.99

		40		51		50		20																																																				300				400		0				400		1

		41		266		51		51								512		63		575																																								400				406						406		1.015

		42		390		52		273

						53		410

		Bias 250 V		Strip #		Centre		Distance		50 V		Local coord.						(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				100 V		Pulse Left		Pulse Right		Pulse sum		h		250 V		Pulse Left		Pulse Right		Pulse sum		h										Volt scan		#64		#65		Total		Normalised

				63		1		120				4.5		35		85		37		161		65		226		0.2876106195		0		0				317		15		332		0.0451807229				376		15		391		0.0383631714										25		34		75		109		0.2632850242

				64		13						5.5		45		75		30		137		82		219		0.3744292237		120		1				297		50		347		0.144092219				376		39		415		0.0939759036										50		55		164		219		0.5289855072

												6		50		70		0		123		78		201		0.3880597015								249		54		303		0.1782178218				325		61		386		0.1580310881										75		37		290		327		0.7898550725

												7.5		65		55		0		38		51		89		0.5730337079								40		106		146		0.7260273973				51		129		180		0.7166666667										100		27		330		357		0.8623188406

		#63		Amplitude		#64		Amplitude				8		70		50				71		103		174		0.591954023								61		242		303		0.798679868				58		300		358		0.8379888268										150		27		359		386		0.9323671498

		-1		352		10		400				9		80		40				75		143		218		0.6559633028								41		325		366		0.8879781421				31		372		403		0.9230769231										200		24		372		396		0.9565217391

		0		44		11		280				10		90		30				51		164		215		0.7627906977								34		334		368		0.9076086957				20		389		409		0.9511002445										250		20		379		399		0.9637681159

		1		27		12		41																																																				300		24		382		406		0.9806763285

		2		51		13		20																																																				350		24		390		414		1

		3		266		14		51

		4		390		15		273





Irradiated (6)

		0		1		0

		0				0

		0				0

		0				0

		0				0

		0				0

		0				0

		0				0

		0

		0



0

1

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



Irr. (7)

		

		Vfd

		Normalised		10		30		50		70		120

		50		0.2016		0.2		0.1500938086		0.1529411765		0.2610294118

		100		0.3248		0.2585365854		0.3114446529		0.3025210084		0.4393382353

		150		0.4832		0.4170731707		0.4671669794		0.4352941176		0.8088235294

		200		0.656		0.6		0.6303939962		0.6268907563		0.9227941176

		250		0.8032		0.8097560976		0.8105065666		0.7613445378		0.9430147059

		300		0.9104		0.856097561		0.8780487805		0.8789915966		0.9411764706

		350		0.928		0.8902439024		0.9099437148		0.9176470588		0.9724264706

		400		0.9696		0.9268292683		0.9230769231		0.9193277311		0.9852941176

		500		1		1		1		1		1

		Strip #		VFD

		10

		30

		50

		70

		120

		Eta scan		#10		#11

								D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		Norm. pulse

								20		90		239		62		301		0.2059800664		0		0				20		90		409		59		468		0.1260683761		0.6688888889

								30		80		350		76		426		0.1784037559		110		1				30		80		582		32		614		0.0521172638		0.9466666667

								40		70		298		104		402		0.2587064677								40		70		520		60		580		0.1034482759		0.8933333333

								50		60		149		83		232		0.3577586207								50		60		270		76		346		0.2196531792		0.5155555556

								60		50		90		152		242		0.6280991736								60		50		100		281		381		0.7375328084		0.5377777778

								70		40		118		291		409		0.7114914425								70		40		80		544		624		0.8717948718		0.9088888889

								80		30		94		357		451		0.7915742794								80		30		55		564		619		0.9111470113		1.0022222222

								90		20		80		277		357		0.7759103641								90		20		76		447		523		0.8546845124		0.7933333333

				#30		#31		200 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		Norm. pulse

										20		90		114		61		175		0.3485714286		0		0				20		90		195		58		253		0.2292490119		0.6730769231

										30		80		168		47		215		0.2186046512		110		1				30		80		309		15		324		0.0462962963		0.8269230769

										40		70		160		75		235		0.3191489362								40		70		328		27		355		0.076056338		0.9038461538

										50		60		95		73		168		0.4345238095								50		60		161		58		219		0.2648401826		0.6461538462

										60		50		39		65		104		0.625								60		50		56		91		147		0.619047619		0.4

										70		40		58		147		205		0.7170731707								70		40		51		303		354		0.8559322034		0.7884615385

										80		30		52		203		255		0.7960784314								80		30		15		372		387		0.9612403101		0.9807692308

										90		20		42		198		240		0.825								90		20		10		367		377		0.9734748011		0.9230769231

				#50		#51		200 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		Norm. pulse

										20		90		253		45		298		0.1510067114		0		0				20		90		429		24		453		0.0529801325		0.903030303

										30		80		225		55		280		0.1964285714		110		1				30		80		423		32		455		0.0703296703		0.8484848485

										40		70		177		86		263		0.3269961977								40		70		385		72		457		0.1575492341		0.796969697

										50		60		0		0		0										50		60		0		0		0		0		0

										60		50		62		128		190		0.6736842105								60		50		69		267		336		0.7946428571		0.5757575758

										70		40		83		232		315		0.7365079365								70		40		42		461		503		0.916500994		0.9545454545

										80		30		52		277		329		0.8419452888								80		30		28		461		489		0.9427402863		0.996969697

										90		20		55		270		325		0.8307692308								90		20		24		468		492		0.9512195122		0.9848484848

				#70		#71		200 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		Norm. pulse

										20		95		263		55		318		0.1729559748		0		0				20		95		395		59		454		0.1299559471		0.7066666667

										30		85		374		42		416		0.1009615385		115		1				30		85		547		20		567		0.0352733686		0.9244444444

										40		75		315		76		391		0.1943734015								40		75		550		38		588		0.0646258503		0.8688888889

										50		65		121		55		176		0.3125								50		65		204		58		262		0.2213740458		0.3911111111

										60		55		48		50		98		0.5102040816								60		55		59		83		142		0.5845070423		0.2177777778

										70		45		114		253		367		0.689373297								70		45		66		499		565		0.8831858407		0.8155555556

										80		35		76		333		409		0.8141809291								80		35		38		561		599		0.9365609349		0.9088888889

										90		25		66		381		447		0.8523489933								90		25		34		513		547		0.9378427788		0.9933333333

				#120		#121		200 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		Norm. pulse

										20		100		346		121		467		0.2591006424		0		0				20		100		377		135		512		0.263671875		0.6867647059

										30		90		616		59		675		0.0874074074		115		1				30		90		682		48		730		0.0657534247		0.9926470588

										40		80		616		62		678		0.0914454277								40		80		665		52		717		0.0725244073		0.9970588235

										50		70		308		55		363		0.1515151515								50		70		385		66		451		0.1463414634		0.7117647059

										60		60		59		59		118		0.5								60		60		66		66		132		0.5		0.231372549

										70		50		90		360		450		0.8								70		50		86		450		536		0.8395522388		0.8823529412

										80		40		59		450		509		0.884086444								80		40		42		520		562		0.9252669039		0.9980392157

										90		30		38		468		506		0.9249011858								90		30		28		523		551		0.9491833031		0.9921568627

				Sample of metal strip scan

		#10		#10		Amplitude		Norm. ampl.

		25.5		0		491		0.982

		26		5		376		0.752

		26.5		10		173		0.346

		27.5		20		0		0

		28		25		0		0

		28.5		30		0		0

		29.5		40		108.6		0.2172

		30		45		310		0.62

		30.5		50		472		0.944

		Strip		#90		#91		200 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		Pulse Left		Pulse Right		Pulse sum		h

										38		30		87.5		329		38		367		0.1035422343		0		0				436		14		450		0.0311111111

										39		40		77.5		281		69		350		0.1971428571		117.5		1				433		25		458		0.0545851528

										40		50		67.5		142		83		225		0.3688888889								235		76		311		0.2443729904

										41		60		57.5		52		86		138		0.6231884058								38		136		174		0.7816091954

										42		70		47.5		94		274		368		0.7445652174								48		485		533		0.9099437148

										43		80		37.5		48		385		433		0.8891454965								0		526		526		1

										44		90		27.5		38		402		440		0.9136363636								0		523		523		1

		Strip #		150 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				200 V		Pulse Left		Pulse Right		Pulse sum		h		400 V		Pulse Left		Pulse Right		Pulse sum		h

		100				24		30		85		276		71		347		0.204610951		0		0				405		25		430		0.0581395349				509		24		533		0.0450281426

		101				25		40		75		233		104		337		0.3086053412		115		1				388		74		462		0.1601731602				516		38		554		0.0685920578

						26		50		65		91		57		148		0.3851351351								142		54		196		0.2755102041				219		62		281		0.2206405694

						27		60		55		51		67		118		0.5677966102								64		101		165		0.6121212121				67		148		215		0.688372093

						28		70		45		121		202		323		0.6253869969								111		317		428		0.7406542056				61		476		537		0.886405959

						29		80		35		91		250		341		0.7331378299								71		385		456		0.8442982456				37		496		533		0.9305816135

						30		90		25		74		290		364		0.7967032967								57		425		482		0.8817427386				34		519		553		0.938517179

		New 0 position

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.						#119		Int 1		#120				#121		Int 3		#122		Sum		h		Ideal				200 V		Local coord.						#119		Int 1		#120				#121		Int 3		#122		Sum		h		400 V		Local coord.						#119		Int 1		#120				#121		Int 3		#122		Sum		h

				120		22.2		118				25		28		90		32		0		333		23		50		0		0		383		0.1305483029		0		0				25		250		-250		13		0		396		-13		35		0		0		431		0.0812064965				25		250		-250		10		0		469		-23		32		0		0		501		0.0638722555

				121		34						26		38		80		32		0		314		30		54		0		0		368		0.1467391304		118		1				26		260		-260		23		0		424		-13		36		0		0		460		0.0782608696				26		260		-260		0		0		469		-27		30		0		0		499		0.0601202405

												27		48		70		27		0		259		54		86		0		13		345		0.2492753623								27		270		-270		0		0		387		23		68		0		0		455		0.1494505495				27		270		-270		0		0		492		-23		63		0		0		555		0.1135135135

												28		58		60		0		0		41		0		27		0		0		68		0.3970588235								28		280		-280		0		0		59		0		41		0		0		100		0.41				28		280		-280		0		0		77		0		45		0		0		122		0.368852459

		#121		Ampitude		#121		Amplitude				29		68		50		18		0		68		41		132		0		32		200		0.66								29		290		-290		0		0		59		32		178		0		0		237		0.7510548523				29		290		-290		0		0		73		18		273		0		32		346		0.789017341

		20		483		32		451				30		78		40		18		0		86		68		264		0		27		350		0.7542857143								30		300		-300		0		0		50		10		506		-18		0		556		0.9100719424				30		300		-300		0		0		50		10		506		-18		0		556		0.9100719424

		21		86		33		54				31		88		30		0				63		50		342		0		32		405		0.8444444444								31		310		-310		0		0		41		18		428		-23		18		469		0.9125799574				31		310		-310		0		0		36		0		496		-23		18		532		0.9323308271

		22		45		34		32

		23		23		35		45				Estimated strip width:

		24		154		36		387				35 µm

		25		470





Irr. (7)

		



200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #760-761



Non irr. (2)

		



Local position [µm]

Right charge/Total charge

Scan across strips #760-761



Various final Pic.

		



200 Volts

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #650-651



Final pic. eta

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.						Pulse 24		Pulse 25		Pulse sum		h		ideal				400 V		Local coord.						Pulse 24		Pulse 25		Pulse sum		h

				24		22.2		120				24.5		23		97		589		98		687		0.1426491994		0		0				24.5		23		97		841		0		841		0

				25		34.2						25.5		33		87		663		135		798		0.1691729323		120		1				25.5		33		87		892		0		892		0

												26.5		43		77		565		140		705		0.1985815603								26.5		43		77		841		61		902		0.0676274945

												27.5		53		67		425		233		658		0.3541033435								27.5		53		67		715		332		1047		0.3170964661

		#24		Amplitude		#25		Amplitude				28		58		62		388		318		706		0.4504249292								28		58		62		607		514		1121		0.4585191793

		20.5		715		32		738				28.5		63		57		322		388		710		0.5464788732								28.5		63		57		402		691		1093		0.6322049405

		21		579		32.5		663				29.5		73		47		196		520		716		0.7262569832								29.5		73		47		135		888		1023		0.8680351906

		21.5		462		33		486				30.5		83		37		201		645		846		0.7624113475								30.5		83		37		140		906		1046		0.8661567878

		22		374		33.5		402				31.5		93		27		140		551		691		0.7973950796								31.5		93		27		112		850		962		0.8835758836

		22.5		340		34		336				32		98		22		112		490		602		0.8139534884								32		98		22		98		771		869		0.8872266974

		23		416		34.5		327

		23.5		551		35		378

		24		631		35.5		462

		24.5		757		36		603

						36.5		705

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D39		D40		Pulse 39		Pulse 40		Pulse sum		h		ideal				400 V		Local coord.		D39		D40		Pulse 39		Pulse 40		Pulse sum		h

				39		38.5		120				41		25		95		537		98		635		0.1543307087		0		0				41		25		95		818		0		818		0

				40		50.5						42		35		85		598		159		757		0.2100396301		120		1				42		35		85		850		0		850		0

												43		45		75		495		159		654		0.2431192661								43		45		75		780		60		840		0.0714285714

												44		55		65		378		290		668		0.4341317365								44		55		65		663		397		1060		0.3745283019

		#39		Amplitude		#40		Amplitude				45		65		55		252		411		663		0.6199095023								45		65		55		360		673		1033		0.651500484

		37.5		446		49.5		474				46		75		45		168		547		715		0.765034965								46		75		45		126		892		1018		0.8762278978

		38.5		265		50.5		339				47		85		35		173		659		832		0.7920673077								47		85		35		103		897		1000		0.897

		39		274		51		367				48		95		25		135		603		738		0.8170731707								48		95		25		89		836		925		0.9037837838

		39.5		395		51.5		442				49		105		15		84		406		490		0.8285714286								49		105		15		84		682		766		0.8903394256

		40.5		553		52.5		679				50		115		5		70		276		346		0.7976878613								50		115		5		65		462		527		0.8766603416

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D64		D65		Pulse 64		Pulse 65		Pulse sum		h		ideal				400 V		Local coord.		D64		D65		Pulse 64		Pulse 65		Pulse sum		h

				64		38		118				39.5		15		103		509		84		593		0.1416526138		0		0				39.5		15		103		761		0		761		0

				65		49.8						40.5		25		93		738		135		873		0.1546391753		120		1				40.5		25		93		836		0		836		0

												41.5		35		83		715		135		850		0.1588235294								41.5		35		83		888		0		888		0

												42.5		45		73		593		206		799		0.2578222778								42.5		45		73		803		177		980		0.5581632653

		#64		Amplitude		#65		Amplitude				43.5		55		63		472		383		855		0.4479532164								43.5		55		63		654		547		1201		0.6378018318

		37		458		48.5		537				44.5		65		53		313		530		843		0.6287069988								44.5		65		53		318		766		1084		0.7066420664

		38		322		49.5		322				45.5		75		43		219		696		915		0.7606557377								45.5		75		43		126		902		1028		0.8774319066

		38.5		472		50		332				46.5		85		33		224		748		972		0.7695473251								46.5		85		33		131		916		1047		0.8748806113

		39		579		50.5		411				47.5		95		23		135		589		724		0.8135359116								47.5		95		23		98		813		911		0.8924259056

		40		813		51.5		705				48		100		18		121		514		635		0.8094488189								48		100		18		107		733		840		0.8726190476

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D85		D86		Pulse 85		Pulse 86		Pulse sum		h		ideal				400 V		Local coord.		D85		D86		Pulse 85		Pulse 86		Pulse sum		h		h-1

				85		46.5		120				47		5		115		472		89		561		0.8413547237		0		0				47		5		115		551		65		616		0.1055194805		0.8944805195

				86		58.5						48		15		105		705		89		794		0.8879093199		120		1				48		15		105		813		51		864		0.0590277778		0.9409722222

												49		25		95		864		117		981		0.880733945								49		25		95		920		0		920		0		1

												50		35		85		874		187		1061		0.8237511781								50		35		85		911		70		981		0.0713557594		0.9286442406

		#85		Amplitude		#86		Amplitude				51		45		75		799		201		1000		0.799								51		45		75		897		107		1004		0.1065737052		0.8934262948

		45		654		57		663				52		55		65		645		486		1131		0.5702917772								52		55		65		780		589		1369		0.4302410519		0.5697589481

		46		462		58		504				53		65		55		430		705		1135		0.3788546256								53		65		55		453		794		1247		0.6367281476		0.3632718524

		46.5		486		58.5		477				54		75		45		248		813		1061		0.2337417531								54		75		45		126		874		1000		0.874		0.126

		47		598		59		598				55		85		35		266		860		1126		0.2362344583								55		85		35		131		883		1014		0.8708086785		0.1291913215

		48		775		60		813				56		95		25		149		771		920		0.1619565217								56		95		25		107		845		952		0.887605042		0.112394958

												57		105		15		112		654		766		0.1462140992								57		105		15		93		705		798		0.8834586466		0.1165413534

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D85		D86		Pulse 85		Pulse 86		Pulse sum		h		ideal				Local coord.		D85		D86		Pulse 85		Pulse 86		Pulse sum		h

				120		25.5		120				27.5		20		100		472		89		561		0.1586452763		0		0		27.5		20		100		845		210		1055		0.1990521327

				121		37.5						28.5		30		90		705		89		794		0.1120906801		120		1		28.5		30		90		892		173		1065		0.1624413146

												29.5		40		80		864		117		981		0.119266055						29.5		40		80		916		177		1093		0.1619396157

												30.5		50		70		874		187		1061		0.1762488219						30.5		50		70		850		570		1420		0.4014084507

		#120		Amplitude		#121		Amplitude				31.5		60		60		799		201		1000		0.201						31.5		60		60		640		827		1467		0.5637355147

		24.5		719		36		794				32.5		70		50		645		486		1131		0.4297082228						32.5		70		50		187		900		1087		0.8279668813

		25.5		369		37		519				33.5		80		40		430		705		1135		0.6211453744						33.5		80		40		112		920		1032		0.8914728682

		26		561		37.5		481				34.5		90		30		248		813		1061		0.7662582469						34.5		90		30		177		911		1088		0.8373161765

		26.5		794		38		757				35.5		100		20		266		860		1126		0.7637655417						35.5		100		20		154		855		1009		0.8473736373

		27.5		902		39		888				36.5		110		10		635		771		1406		0.5483641536						36.5		110		10		168		673		841		0.8002378121

				Strip numbers																																																														Normalised

		Bias		24		25		total		39		40		total		64		65		total		84		85		86		87		total		total		64		65		total		99		100		total		73		74		total		120		121		total										1		2		3		4		5		6		7

		50		173		56		229		32		140		172		79		187		266		51		191		149		42		433		340		139		354		493		163		189		352		200		88		288		453		173		626										0.257751938		0.2470978441		0.2458423717		0.3912698413		0.2693190513		0.24		0.5424610052

		100		257		61		318		70		257		327		159		378		537		70		330		257		56		713		587		232		604		836		316		373		689		421		201		622		719		383		1102										0.5203488372		0.4262023217		0.424439624		0.6634920635		0.5271614384		0.5183333333		0.9549393414

		150		402		93		495		117		411		528		210		532		742		100		514		402		75		1091		916		378		796		1174		426		516		942		593		294		887		934		229		1163										0.7189922481		0.6666666667		0.6623282719		0.9317460317		0.7207345065		0.7391666667		1.0077989601

		200		589		98		687		131		589		720		219		719		938		75		659		467		47		1248		1126		378		889		1267		479		612		1091		779		255		1034		953		223		1176										0.9089147287		0.7744610282		0.8141720897		1.0055555556		0.8347360367		0.8616666667		1.0190641248

		250		748		0		748		112		743		855		191		818		1009		60		743		519		32		1354		1262		308		941		1249		506		699		1205		950		245		1195		948		238		1186										0.9777131783		0.8606965174		0.9125090383		0.9912698413		0.921958684		0.9958333333		1.027729636

		300		775		0		775		98		813		911		159		892		1051		51		771		551				1373		1322		250		994		1244		516		742		1258		1000		167		1167		948		215		1163										1.0184108527		0.9137645108		0.9558929863		0.9873015873		0.9625095639		0.9725		1.0077989601

		350		803		0		803		89		841		930		145		888		1033		37		743		547				1327		1290		221		1017		1238		512		742		1254		1053		167		1220		939		206		1145										1.0009689922		0.9071310116		0.9327548807		0.9825396825		0.9594491201		1.0166666667		0.9922010399

		400		841		0		841		89		892		981		140		888		1028		32		743		542				1317		1285		221		1029		1250		516		745		1261		1063		176		1239		950		238		1188										0.996124031		0.8988391376		0.9291395517		0.9920634921		0.9648048967		1.0325		1.0294627383

		500		860		0		860		84		850		934		154		878		1032		47		780		603				1430		1383		220		1040		1260		522		785		1307		1063		137		1200		944		210		1154										1		1		1		1		1		1		1

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D64		D65		Pulse 64		Pulse 65		Pulse sum		h		ideal				Local coord.		D64		D65		Pulse 64		Pulse 65		Pulse sum		h

				64		41		120				43		20		100		901		198		1099		0.1801637853		0		0		43		20		100		994		157		1151		0.1364031277

				65		53						44		30		90		930		343		1273		0.2694422624		120		1		44		30		90		1000		190		1190		0.1596638655

												45		40		80		901		337		1238		0.2722132472						45		40		80		970		180		1150		0.1565217391

												46		50		70		773		529		1302		0.4062980031						46		50		70		901		575		1476		0.3895663957

		#64		Amplitude		#65		Amplitude				47		60		60		616		755		1371		0.5506929249						47		60		60		762		883		1645		0.5367781155

		39		889		51		906				48		70		50		424		860		1284		0.6697819315						48		70		50		256		947		1203		0.78719867

		40		703		52		726				49		80		40		420		959		1379		0.6954314721						49		80		40		186		988		1174		0.8415672913

		40.5		453		52.5		465				50		90		30		325		912		1237		0.7372675829						50		90		30		192		994		1186		0.8381112985

		41		395		53		424				51		100		20		227		831		1058		0.7854442344						51		100		20		180		924		1104		0.8369565217

		42		837		54		813

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D99		D100		Pulse 99		Pulse 100		Pulse sum		h		ideal				Local coord.		D99		D100		Pulse 99		Pulse 100		Pulse sum		h

				99		4		120				6		20		100		872		86		958		0.0897703549		0		0		6		20		100		908		0		908		0

				100		16						7		30		90		902		140		1042		0.1343570058		120		1		7		30		90		942		23		965		0.0238341969

												8		40		80		855		133		988		0.1346153846						8		40		80		918		43		961		0.0447450572

												9		50		70		722		100		822		0.1216545012						9		50		70		815		403		1218		0.3308702791

		#99		Amplitude		#100		Amplitude				10		60		60		532		652		1184		0.5506756757						10		60		60		549		745		1294		0.5757341577

		2		832		14		772				11		70		50		270		785		1055		0.7440758294						11		70		50		130		892		1022		0.8727984344

		3		691		15		562				12		80		40		226		888		1114		0.7971274686						12		80		40		86		945		1031		0.916585839

		3.5		452		15.5		393				13		90		30		206		878		1084		0.8099630996						13		90		30		93		905		998		0.9068136273

		4		393		16		432				14		100		20		180		749		929		0.8062432723						14		100		20		165		815		980		0.8316326531

		5		729		17		749

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D73		D74		Pulse 73		Pulse 74		Pulse sum		h		ideal				Local coord.		D73		D74		Pulse 73		Pulse 74		Pulse sum		h

				73		5.5		120				6		5		115		384		384		768		0.5		0		0		6		5		115		503		503		1006		0.5

				74		17.5						7		15		105		648		113		761		0.1484888305		120		1		7		15		105		761		25		786		0.0318066158

												8		25		95		799		138		937		0.1472785486						8		25		95		899		22		921		0.0238870793

												9		35		85		818		157		975		0.161025641						9		35		85		950		16		966		0.016563147

		#73		Amplitude		#74		Amplitude				10		45		75		657		223		880		0.2534090909						10		45		75		872		111		983		0.1129196338

		3.5		767		15.5		755				11		55		65		555		456		1011		0.4510385757						11		55		65		761		531		1292		0.4109907121

		4.5		569		16.5		549				12		65		55		353		603		956		0.6307531381						12		65		55		317		797		1114		0.7154398564

		5		368		17		362				13		75		45		270		837		1107		0.756097561						13		75		45		108		1093		1201		0.9100749376

		5.5		299		17.5		396				14		85		35		309		936		1245		0.7518072289						14		85		35		108		1112		1220		0.9114754098

		6.5		613		18		679				15		95		25		230		916		1146		0.7993019197						15		95		25		83		1044		1127		0.92635315

		Strip #		10		11		Total		30		31		Total		50		51		Total		70		71		Total		90		91		Total		110		111		Total		Normalised		10		30		50		70		90		110

		50		67		15		82		38		8		46		36		15		51		50		10		60		74		18		92		616		180		796		50		0.1876430206		0.1916666667		0.2015810277		0.1754385965		0.2105263158		0.6683459278

		100		119		37		156		66		11		77		60		27		87		79		26		105		126		33		159		831		331		1162		100		0.356979405		0.3208333333		0.3438735178		0.3070175439		0.3638443936		0.9756507137

		150		158		43		201		86		23		109		85		27		112		116		34		150		208		54		262		906		285		1191		150		0.4599542334		0.4541666667		0.442687747		0.4385964912		0.5995423341		1

		200		262		34		296		138		18		156		136		27		163		186		30		216		324		0		324		936		198		1134		200		0.6773455378		0.65		0.6442687747		0.6315789474		0.7414187643		0.9521410579

		250		353		0		353		186		0		186		186		0		186		255		0		255		371		0		371		941		157		1098		250		0.8077803204		0.775		0.7351778656		0.7456140351		0.8489702517		0.9219143577

		300		398		0		398		213		0		213		215		0		215		282		0		282		391		0		391		941		168		1109		300		0.9107551487		0.8875		0.8498023715		0.8245614035		0.8947368421		0.9311502939

		350		429		0		429		231		0		231		225		0		225		295		0		295		417		0		417		953		128		1081		350		0.9816933638		0.9625		0.8893280632		0.8625730994		0.9542334096		0.9076406381

		400		429		0		429		234		0		234		245		0		245		312		0		312		429		0		429		970		163		1133		400		0.9816933638		0.975		0.9683794466		0.9122807018		0.9816933638		0.9513014274

		500		437		0		437		240		0		240		253		0		253		342		0		342		437		0		437		965		157		1122		500		1		1		1		1		1		0.9420654912

		Norm. factor						409.2						220.8						224.8						297.2						409						1108.6

																																																																																																		Routing/Total

																																																																														Strip 120-121				Pos. 39						Strip 120-121				Pos. 41.5

		Strip #		10		11		Total		30		31		Total		50		51		Total		70		71		Total		90		91		Total		110		111		Total		120		int 1		121		int 2		Total						Normalised		10		30		50		70		90		110		120										120		int 1		121		int 2				120		int 1		121		int 2				Rout. 1		Tot.1		Rou. 2		Tot. 2		Rout. 3		Tot. 3		Ratio 1		Ratio 2		Ratio 3

		50		41		85		126		24		58		82		0		80		80		15		76		91														38		21		104		-10		142						50		0.2016		0.2		0.1500938086		0.1529411765		0		0		0.2610294118								50		52		10		24		-10				28		20		70		-10				21		142		10		86		20		118		0.1478873239		0.1162790698		0.1694915254

		100		63		140		203		22		84		106		31		135		166		38		142		180														62		34		177		-21		239						100		0.3248		0.2585365854		0.3114446529		0.3025210084		0		0		0.4393382353								100		97		24		48		-17				66		38		135		-10				34		239		24		169		38		239		0.1422594142		0.1420118343		0.1589958159

		150		92		210		302		38		133		171		52		197		249		48		211		259														55		24		385		-31		440						150		0.4832		0.4170731707		0.4671669794		0.4352941176		0		0		0.8088235294								150		222		17		52		-17				66		38		284		-20				24		440		17		291		38		388		0.0545454545		0.058419244		0.0979381443

		200		81		329		410		39		207		246		45		291		336		48		325		373														48		15		454		-24		502						200		0.656		0.6		0.6303939962		0.6268907563		0		0		0.9227941176								200		287		0		55		0				55		21		395		-30				15		502		0		342		21		471		0.0298804781		0		0.0445859873

		250		59		443		502		32		300		332		34		398		432		24		429		453														45		0		468		-34		513						250		0.8032		0.8097560976		0.8105065666		0.7613445378		0		0		0.9430147059								250		308		-24		55		0				42		0		436		-45				0		513		-24		339		0		478		0		-0.0707964602		0

		300		59		510		569		30		321		351		35		433		468		28		495		523														34		-10		478		-34		512						300		0.9104		0.856097561		0.8780487805		0.8789915966		0		0		0.9411764706								300		308		-17		62		0				55		0		454		-42				-10		512		-17		353		0		509		-0.01953125		-0.0481586402		0

		350		50		530		580		23		342		365		31		454		485		30		516		546														34		-17		495		-34		529						350		0.928		0.8902439024		0.9099437148		0.9176470588		0		0		0.9724264706								350		315		-25		62		0				48		0		478		-45				-17		529		-25		352		0		526		-0.0321361059		-0.0710227273		0

		400		45		561		606		10		370		380		24		468		492		34		513		547														34		-17		502		-34		536						400		0.9696		0.9268292683		0.9230769231		0.9193277311		0		0		0.9852941176								400		315		-28		55		0				42		0		485		-38				-17		536		-28		342		0		527		-0.0317164179		-0.081871345		0

		500		45		580		625		10		400		410		10		523		533		34		561		595						1						1		34		-17		510		-34		544						500		1		1		1		1		1		1		1								500		340		-31		55		0				52		0		520		-38				-17		544		-31		364		0		572		-0.03125		-0.0851648352		0

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h		ideal

				10		24		110				26		20		90		239		62		301		0.2059800664		0		0				26		20		90		409		59		468		0.1260683761		0		0

				11		35						27		30		80		350		76		426		0.1784037559		110		1				27		30		80		582		0		582		0		110		1

												28		40		70		298		104		402		0.2587064677								28		40		70		520		52		572		0.0909090909

												29		50		60		149		83		232		0.3577586207								29		50		60		270		76		346		0.2196531792

		#10		Amplitude		#11		Amplitude				30		60		50		90		152		242		0.6280991736								30		60		50		100		281		381		0.7375328084

		25.5		491		37		343				31		70		40		118		291		409		0.7114914425								31		70		40		80		544		624		0.8717948718

		26		376		38		0				32		80		30		94		357		451		0.7915742794								32		80		30		55		564		619		0.9111470113

		26.5		173		39		0				33		90		20		80		277		357		0.7759103641								33		90		20		76		447		523		0.8546845124

		27.5		0		40		0

		28		0		41		406						25		0.1354679803																						25		0

		28.5		0										35		0.2190721649																						35		0

		29.5		108.6										45		0.3144329897																						45		0

		30		310										48		0.3333333333																						48		0.1697247706

		30.5		472										65		0.6071428571																						65		0.7439759036

														75		0.7055702918																						75		0.8892794376

														85		0.7814726841																						85		1

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h		ideal				400V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h

				30		22		110				24		20		90		114		61		175		0.3485714286		0		0				24		20		90		195		58		253		0.2292490119

				31		33						25		30		80		168		47		215		0.2186046512		110		1				25		30		80		309		0		309		0

												26		40		70		160		75		235		0.3191489362								26		40		70		328		0		328		0

												27		50		60		95		73		168		0.4345238095								27		50		60		161		58		219		0.2648401826

		#30		Amplitude		#31		Amplitude				28		60		50		39		65		104		0.625								28		60		50		56		91		147		0.619047619

		18.5		210		31		280				29		70		40		58		147		205		0.7170731707								29		70		40		51		303		354		0.8559322034

		19.5		163		32		67				30		80		30		52		203		255		0.7960784314								30		80		30		5		372		377		0.9867374005

		20.5		91		33		47				31		90		20		42		198		240		0.825								31		90		20		10		367		377		0.9734748011

		21.5		37		34		49

		22.5		39		35		212

		23.5		137

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h

				50		49		110				51		20		90		253		45		298		0.1510067114		0		0				51		20		90		429		0		429		0

				51		60						52		30		80		225		55		280		0.1964285714		110		1				52		30		80		423		0		423		0

												53		40		70		177		86		263		0.3269961977								53		40		70		385		52		437		0.118993135

												54		50		60		0		0		0		0								54		50		60		0		0		0		0

		#50		Amplitude		#51		Amplitude				55		60		50		62		128		190		0.6736842105								55		60		50		69		267		336		0.7946428571

		46.5		320		57.5		385				56		70		40		83		232		315		0.7365079365								56		70		40		42		461		503		0.916500994

		47.5		42		58.5		50				57		80		30		52		277		329		0.8419452888								57		80		30		28		461		489		0.9427402863

		48.5		0		59.5		0				58		90		20		55		270		325		0.8307692308								58		90		20		24		468		492		0.9512195122

		49.5		0		60.5		30

		50.5		229		61.5		104						20										0.1510067114										20										0

						62.5		385						30										0.1964285714										30										0

														40										0.3269961977										40										0.118993135

														60										0.6736842105										60										0.7946428571

														70										0.7365079365										70										0.916500994

														80										0.8419452888										80										0.9427402863

														90										0.8307692308										90										0.9512195122

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h

				70		38		115				40		20		95		263		55		318		0.1729559748		0		0				40		20		95		395		59		454		0.1299559471

				71		49.5						41		30		85		374		42		416		0.1009615385		110		1				41		30		85		547		0		547		0

												42		40		75		315		76		391		0.1943734015								42		40		75		550		0		550		0

												43		50		65		121		55		176		0.3125								43		50		65		204		42		246		0.1707317073

		#70		Amplitude		#71		Amplitude				44		60		55		48		50		98		0.5102040816								44		60		55		59		83		142		0.5845070423

		36		429		47.5		190				45		70		45		114		253		367		0.689373297								45		70		45		66		499		565		0.8831858407

		37		52		48.5		31				46		80		35		76		333		409		0.8141809291								46		80		35		38		561		599		0.9365609349

		38		0		49.5		0				47		90		25		66		381		447		0.8523489933								47		90		25		34		513		547		0.9378427788

		39		38		50.5		76

		40		412		51.5		423

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h

				120		34		120				36		20		100		346		121		467		0.2591006424		0		0				36		20		100		377		135		512		0.263671875

				121		46						37		30		90		616		59		675		0.0874074074		110		1				37		30		90		682		48		730		0.0657534247

												38		40		80		616		62		678		0.0914454277								38		40		80		665		52		717		0.0725244073

												39		50		70		308		55		363		0.1515151515								39		50		70		385		66		451		0.1463414634

		#120		Amplitude		#121		Amplitude				40		60		60		59		59		118		0.5								40		60		60		66		66		132		0.5

		32.5		391		44		513				41		70		50		90		360		450		0.8								41		70		50		86		450		536		0.8395522388

		33.5		76		45		86				42		80		40		59		450		509		0.884086444								42		80		40		42		520		562		0.9252669039

		34.5		59		46		69				43		90		30		38		468		506		0.9249011858								43		90		30		28		523		551		0.9491833031

		35.5		142		47		104

		36.5		606		48		475

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h

				90		35		117.5				38		158		-38		329		38		367		0.1035422343		0		0				38		158		-38		436		0		436		0

				91		46.75						39		168		-48		281		69		350		0.1971428571		117.5		1				39		168		-48		433		0		433		0

												40		178		-58		142		83		225		0.3688888889								40		178		-58		235		76		311		0.2443729904

												41		188		-68		52		86		138		0.6231884058								41		188		-68		38		136		174		0.7816091954

		#70		Ampitude		#71		Amplitude				42		198		-78		94		274		368		0.7445652174								42		198		-78		48		485		533		0.9099437148

												43		208		-88		48		385		433		0.8891454965								43		208		-88		0		526		526		1

												44		218		-98		38		402		440		0.9136363636								44		218		-98		0		523		523		1

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h

				90		35		117.5				38		30		87.5		329		38		367		0.1035422343		0		0				38		30		87.5		436		0		436		0

				91		46.75						39		40		77.5		281		69		350		0.1971428571		117.5		1				39		40		77.5		433		0		433		0

												40		50		67.5		142		83		225		0.3688888889								40		50		67.5		235		76		311		0.2443729904

												41		60		57.5		52		86		138		0.6231884058								41		60		57.5		38		136		174		0.7816091954

		#90		Ampitude		#91		Amplitude				42		70		47.5		94		274		368		0.7445652174								42		70		47.5		48		485		533		0.9099437148

		33		346		45		263				43		80		37.5		48		385		433		0.8891454965								43		80		37.5		0		526		526		1

		33.5		160		45.5		94				44		90		27.5		38		402		440		0.9136363636								44		90		27.5		0		523		523		1

		34		55		46		42

		34.5		10		46.5		28

		35		10		47		24

		35.5		15		47.5		59

		36		59		48		138

		36.5		184		49		523

		37		364

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h		ideal				200 V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h		400 V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h

				100		21		115				24		30		85		276		71		347		0.204610951		0		0				24		30		85		405		0		405		0				24		30		85		509		0		509		0

				101		32.5						25		40		75		233		104		337		0.3086053412		115		1				25		40		75		388		74		462		0.1601731602				25		40		75		516		0		516		0

												26		50		65		91		57		148		0.3851351351								26		50		65		142		54		196		0.2755102041				26		50		65		219		54		273		0.1978021978

												27		60		55		51		67		118		0.5677966102								27		60		55		64		101		165		0.6121212121				27		60		55		67		148		215		0.688372093

		#100		Ampitude		#101		Amplitude				28		70		45		121		202		323		0.6253869969								28		70		45		111		317		428		0.7406542056				28		70		45		61		476		537		0.886405959

		18.5		408		31		196				29		80		35		91		250		341		0.7331378299								29		80		35		71		385		456		0.8442982456				29		80		35		37		496		533		0.9305816135

		19.5		108		32		50				30		90		25		74		290		364		0.7967032967								30		90		25		57		425		482		0.8817427386				30		90		25		34		519		553		0.938517179

		20.5		40		32.5		30

		21.5		35		33		37

		22.5		105		33.5		50

		23.5		445		34		101

						35		452

																																				New												Other position

		Strip #		70		71		Total		90		91		Total		99		100		101		102		Total		Total		Normalised		70		90		100		120		Int 2		121		Int 3		122		Total		119		120		Int 2		121		Total

		50		31		78		109		31		83		114		13		30		101		12		156		131				0.2060491493		0.2054054054		0.2364620939		45		27		100		25		32		145		27		91		18		41		132

		100		53		125		178		45		142		187		20		67		182		23		292		249				0.3364839319		0.3369369369		0.4494584838		68		41		178		10		30		246		30		168		35		68		236

		150		58		180		238		66		232		298		23		74		290		34		421		364				0.449905482		0.5369369369		0.6570397112		63		50		342		0		30		405		35		314		35		54		368

		200		73		290		363		48		374		422		17		57		425		-10		489		482				0.6862003781		0.7603603604		0.8700361011		50		27		446		-10		30		496		27		405		0		41		446

		250		51		388		439		31		478		509		0		51		472		-18		505		523				0.8298676749		0.9171171171		0.9440433213		41		15		490		-18		23		531		15		433		-18		32		465

		300		38		462		500		17		501		518		0		40		500		-23		517		540				0.9451795841		0.9333333333		0.9747292419		36		0		501		-27		18		537		10		446		-20		41		487

		350		33		485		518		20		535		555		0		34		513		-27		520		547				0.9792060491		1		0.9873646209		32		0		510		-23		18		542		10		460		-20		36		496

		400		31		498		529		20		535		555		0		34		520		-27		527		554				1		1		1		36		0		519		-23		18		555		10		474		-23		36		510

		500		30		540		570		0		578		578		0		34		560		-27		567		594				1.0775047259		1.0414414414		1.0722021661		32		0		533		-23		18		565		10		483		-23		36		519

		Futher Measurements as a function of the r-position

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.						#119		Int 1		#120				#121		Int 3		#122		Sum		h		Ideal				200 V		Local coord.						#119		Int 1		#120				#121		Int 3		#122		Sum		h		400 V		Local coord.						#119		Int 1		#120				#121		Int 3		#122		Sum		h

				120		19.8		61				21		12		49		47.12		28.88		171.76		28.88		80.56		28.88		41.8		252.32		0.3192771084		0		0				21		12		49		57		36.48		262.2		47.12		117.04		31.16		44.08		379.24		0.3086172345				21		12		49		28.88		0		428.64		-31.16		119.32		0		31.16		547.96		0.2177531207

				121		25.9						22		22		39		44		27		140		27		68		10		31		208		0.3269230769		61		1				22		22		39		62		38		215		51		106		27		31		321		0.3302180685				22		22		39		48		0		431		-17		126		0		10		557		0.2262118492

												23		32		29		0		0		24		0		24		0		0		48		0.5								23		32		29		0		0		34		0		34		0		0		68		0.5				23		32		29		0		0		58		0		65		0		0		123		0.5284552846

												24		42		19		34		15		105		41		212		24		48		317		0.6687697161								24		42		19		51		27		157		85		335		34		62		492		0.6808943089				24		42		19		31		0		130		21		619		-24		34		749		0.826435247

		#121		Ampitude		#121		Amplitude				25		52		9		38		17		89		31		205		12		41		294		0.6972789116								25		52		9		51		23		128		57		341		15		44		469		0.7270788913				25		52		9		51		0		131		10		560		-30		27		691		0.8104196816

		19		398		25		351

		19.5		58		25.5		104				Estimated strip width:								Routing line		#120		#121

		20		72		26		47				16 µm								25.6		447		85		0.9933333333		0.1888888889		532		0.7093333333

		20.5		212		26.5		81												26		242		68		0.5377777778		0.1511111111		310		0.4133333333

		21		489		27		368												26.2		103		31		0.2288888889		0.0688888889		134		0.1786666667

																				26.4		65		31		0.1444444444		0.0688888889		96		0.128

																				26.6		58		31		0.1288888889		0.0688888889		89		0.1186666667

																				26.8		42		40		0.0933333333		0.0888888889		82		0.1093333333

																				27		42		55		0.0933333333		0.1222222222		97		0.1293333333

																				27.2		54		154		0.12		0.3422222222		208		0.2773333333

																				27.4		71		248		0.1577777778		0.5511111111		319		0.4253333333

																				27.6		81		310		0.18		0.6888888889		391		0.5213333333

																				28		92		448		0.2044444444		0.9955555556		540		0.72

		Futher Measurements as a function of the r-position								Far end

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.						#119		Int 1		#120				#121		Int 3		#122		Sum		h		Ideal				200 V		Local coord.						#119		Int 1		#120				#121		Int 3		#122		Sum		h		400 V		Local coord.						#119		Int 1		#120				#121		Int 3		#122		Sum		h

				120		23		78				25		20		58		40		0		184		23		61		0		15		245		0.2489795918		0		0				25		20		58		33		0		255		38		76		0		18		331		0.2296072508				25		20		58		54		0		523		-10		54		0		0		577		0.0935875217

				121		30.8						26		30		48		31		0		89		24		51		0		24		140		0.3642857143		78		1				26		30		48		31		0		116		31		65		0		24		181		0.3591160221				26		30		48		31		0		263		0		78		0		0		341		0.2287390029

												27		40		38		0		0		0		0		0		0		0		0		0								27		40		38		0		0		0		0		0		0		0		0		0				27		40		38		0		0		0		0		0		0		0		0		0

												28		50		28		20		0		68		41		157		0		31		225		0.6977777778								28		50		28		0		0		99		61		222		0		34		321		0.691588785				28		50		28		0		0		78		15		492		-31		24		570		0.8631578947

		#121		Ampitude		#121		Amplitude				29		60		18		0		0		61		27		184		0		31		245		0.7510204082								29		60		18		0		0		78		48		276		0		37		354		0.7796610169				29		60		18		0		0		44		0		540		-31		13		584		0.9246575342

		21		728		29		755

		22		230		30		225				Estimated strip width:

		22.5		134		30.5		101				20 µm

		23		107		31		96

		23.5		150		31.5		161

		24		557		32		551

		25		760

										1 cm plus

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.						#119		Int 1		#120				#121		Int 3		#122		Sum		h		Ideal				200 V		Local coord.						#119		Int 1		#120				#121		Int 3		#122		Sum		h		400 V		Local coord.						#119		Int 1		#120				#121		Int 3		#122		Sum		h

				120		22.7		95				25		23		72		44		0		222		34		68		0		17		290		0.2344827586		0		0				25		23		72		41		0		366		31		68		0		24		434		0.1566820276				25		23		72		27		0		557		-24		48		0		0		605		0.079338843

				121		32.2						26		33		62		41		0		208		51		103		0		24		311		0.3311897106		95		1				26		33		62		31		0		311		68		112		0		34		423		0.2647754137				26		33		62		17		0		543		-20		78		0		0		621		0.1256038647

												27		43		52		0		0		0		0		0		0		0		0		0								27		43		52		0		0		58		0		27		0		0		85		0.3176470588				27		43		52		0		0		103		0		44		0		0		147		0.2993197279

												28		53		42		0		0		44		31		78		0		0		122		0.6393442623								28		53		42		0		0		58		24		120		0		0		178		0.6741573034				28		53		42		0		0		61		0		236		0		0		297		0.7946127946

		#121		Ampitude		#121		Amplitude				29		63		32		24		0		82		51		195		0		17		277		0.7039711191								29		63		32		27		0		112		85		328		0		34		440		0.7454545455				29		63		32		0		0		65		0		574		-37		15		639		0.8982785603

		21		464		30		523				30		73		22		0		0		71		44		242		0		31		313		0.7731629393								30		73		22		0		0		78		58		383		0		37		461		0.830802603				30		73		22		0		0		34		0		588		-40		13		622		0.9453376206

		22		58		31		171				Estimated strip width:

		22.5		37		32		41				25 µm

		23		51		32.5		51

		23.5		58		33		65

		24		178		34		499

		25		496

										1 cm plus

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.						#119		Int 1		#120				#121		Int 3		#122		Sum		h		Ideal				200 V		Local coord.						#119		Int 1		#120				#121		Int 3		#122		Sum		h		400 V		Local coord.						#119		Int 1		#120				#121		Int 3		#122		Sum		h

				120		22.7		108				25		23		85		34		0		254		29		45		0		0		299		0.1505016722		0		0				25		23		85		22		0		388		0		34		0		0		422		0.0805687204				25		23		85		11		0		474		-29		26		0		0		500		0.052

				121		33.5						26		33		75		26		0		228		41		63		0		10		291		0.2164948454		108		1				26		33		75		22		0		374		0		40		0		0		414		0.0966183575				26		33		75		0		0		474		-25		30		0		0		504		0.0595238095

												27		43		65		34		0		190		78		101		0		26		291		0.3470790378								27		43		65		26		0		317		37		82		0		12		399		0.2055137845				27		43		65		0		0		456		-22		71		0		0		527		0.1347248577

												29		63		45		12		0		85		60		157		0		29		242		0.6487603306								29		63		45		0		0		93		67		269		0		34		362		0.7430939227				29		63		45		0		0		71		18		422		-22		18		493		0.8559837728

		#121		Ampitude		#121		Amplitude				30		73		35		0		0		63		56		209		0		0		272		0.7683823529								30		73		35		0		0		48		34		366		-18		18		414		0.884057971				30		73		35		0		0		26		0		508		-26		0		534		0.9513108614

		20		470		31		508				31		83		25		0		0		50		37		247		0		26		297		0.8316498316								31		83		25		0		0		34		34		490		-30		0		524		0.9351145038				31		83		25		0		0		10		0		490		-30		0		500		0.98

		21		300		32		247

		22		40		33		41

		23		0		33.5		29				Estimated strip width:

		23.5		0		34		41				30 µm

		24		85		35		134

		25		430		36		500

		New 0 position

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.						#119		Int 1		#120				#121		Int 3		#122		Sum		h		Ideal				200 V		Local coord.						#119		Int 1		#120				#121		Int 3		#122		Sum		h		400 V		Local coord.						#119		Int 1		#120				#121		Int 3		#122		Sum		h

				120		22.2		118				25		28		90		32		0		333		23		50		0		0		383		0.1305483029		0		0				25		28		90		13		0		396		-13		35		0		0		431		0.0812064965				25		28		90		10		0		469		-23		32		0		0		501		0.0638722555

				121		34						26		38		80		32		0		314		30		54		0		0		368		0.1467391304		118		1				26		38		80		23		0		424		-13		36		0		0		460		0.0782608696				26		38		80		0		0		469		-27		30		0		0		499		0.0601202405

												27		48		70		27		0		259		54		86		0		13		345		0.2492753623								27		48		70		0		0		387		23		68		0		0		455		0.1494505495				27		48		70		0		0		492		-23		63		0		0		555		0.1135135135

												28		58		60		0		0		41		0		27		0		0		68		0.3970588235								28		58		60		0		0		59		0		41		0		0		100		0.41				28		58		60		0		0		77		0		45		0		0		122		0.368852459

		#121		Ampitude		#121		Amplitude				29		68		50		18		0		68		41		132		0		32		200		0.66								29		68		50		0		0		59		32		178		0		0		237		0.7510548523				29		68		50		0		0		73		18		273		0		32		346		0.789017341

		20		483		32		451				30		78		40		18		0		86		68		264		0		27		350		0.7542857143								30		78		40		0		0		50		10		506		-18		0		556		0.9100719424				30		78		40		0		0		50		10		506		-18		0		556		0.9100719424

		21		86		33		54				31		88		30		0				63		50		342		0		32		405		0.8444444444								31		88		30		0		0		41		18		428		-23		18		469		0.9125799574				31		88		30		0		0		36		0		496		-23		18		532		0.9323308271

		22		45		34		32

		23		23		35		45				Estimated strip width:

		24		154		36		387				35 µm

		25		470



Irradiated section n. 6



Final pic. eta

		1		1		1		1



Left strip

Routing #1

Right strip

Routing #2

Bias [Volt]

Signal [mV]

CCE vs bias

1

1

1

1



Neff vs position

		1		1		1		1



Strip 120

Rout. #1

Strip 121

Rout. #2

Bias [Volt]

Signal [mV]

CCE vs bias

1

1

1

1



Eta comparison

		1		1		1		1



Strip 120

Rout. #1

Strip 121

Rout. #2

Bias [Volt]

Signal [mV]

CCE vs bias

1

1

1

1



Strip 120 

		1		1		1



Position 1

Position 2

Position 3

Bias [Volt]

Ratio

Routing line/total charge

1

1

1



Pulse shape

		0

		115



150 Volt

200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #740-741

0

1



		Bias 250 V		Strip #		Centre		Distance		50 V		Local coord.						Pulse Left		Int		Pulse Right		Pulse sum		h		ideal				100 V		Pulse Left		Int		Pulse Right		Pulse sum		h		300 V		Pulse Left		Int		Pulse Right		Pulse sum		h				Volt scan		#6		Int.		#7		Total		Normalised				Volt scan		#59		#60		#61		Total		Normalised				Volt scan		#114		Int.		#115		Int.		#116		Total		Normalised

				6		37		115				40		30		85		104		18		40		144		0.2777777778		0		0				246				45		291		0.1546391753				333		-23		27		360		0.075				20		23		5		54		77		0.2086720867				20		32		141		54		227		0.576142132				10		63		4		159		23		32		222		0.5536159601

				7		48.5						41		40		75		86		32		54		140		0.3857142857		115		1				214		36		63		277		0.2274368231				323		-23		36		359		0.1002785515				40		32		18		100		132		0.3577235772				40		41		264		54		359		0.9111675127				20		80				246		23		36		326		0.812967581

												42		50		65		45		9		32		77		0.4155844156								128		36		63		191		0.3298429319				209		0		68		277		0.2454873646				50		36		23		123		159						50		36		287		50		373		0.9467005076				40		82				314		23		41		396		0.9875311721

												43.5		65		50		36		18		54		90		0.6								50		36		118		168		0.7023809524				63		13		246		309		0.7961165049				60		45		27		145		190		0.5149051491				60		36		298		40		374		0.9492385787				50		73				328		13		32		401		1

		#6		Amplitude		#7		Amplitude				44		70		45		45		27		77		122		0.631147541								50		36		195		245		0.7959183673				41		9		305		346		0.8815028902				80		59		41		205		264		0.7154471545				80		30		328		27		385		0.9771573604				60		68				333		13		32		401		1

		34.5		305		46.5		296				45		80		35		45		23		104		149		0.6979865772								45		41		241		286		0.8426573427				27		9		342		369		0.9268292683				100		45		36		259		304		0.8238482385				100		27		337		24		388		0.9847715736				80		59				342		9		32		401		1

		35.5		137		47.5		54				46		90		25		9		0		50		59		0.8474576271								45		36		255		300		0.85				27		4		337		364		0.9258241758				125		36		23		296		332		0.8997289973				150		24		355		21		400		1.0152284264				100		46				351				18		397		0.9900249377

		36.5		27		48.5		0																																																		150		32		18		323		355		0.9620596206				200		23		360		20		403		1.0228426396				125		45				355				27		400		0.9975062344

		37.5		0		49.5		36																																																		175		32		18		328		360		0.9756097561				300		20		374		0		394		1				150		45				355				27		400		0.9975062344

		38.5		100		50.5		232																																																		200		23		9		337		360		0.9756097561																		200		45				355				18		400		0.9975062344

		39.5		305		51.5		333																																																		300		23		9		346		369		1																		300		41				360				18		401		1

		40.5		319





		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0				0

		0				0



0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0		0		0

		0		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0



50 Volt

100 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #774-775

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		Bias 250 V		Strip #		Centre		Distance		25 V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h		ideal				50 V		Pulse Left		Pulse Right		Pulse sum		h		150 V		Pulse Left		Pulse Right		Pulse sum		h								Volt scan		#60		#61		Total		Normalised

				60		43.2		113				46		28		85		212		1		213		0.0046948357		0		0				311		1		312		0.0032051282				410		1		411		0.00243309						3.1622776602		10		95		0		95		0.2467532468

				61		54.5						47		38		75		143		20		163		0.1226993865		113		1				222		1		223		0.0044843049				294		1		295		0.0033898305						5		25		191		0		191		0.4961038961

												48		48		65		68		34		102		0.3333333333								123		58		181		0.320441989				171		68		239		0.2845188285						7.0710678119		50		283		0		283		0.7350649351

												49		58		55		37		109		146		0.7465753425								37		161		198		0.8131313131				37		212		249		0.8514056225						8.6602540378		75		321		0		321		0.8337662338

		#60		Amplitude		#61		Amplitude				50		68		45		31		174		205		0.8487804878								34		259		293		0.8839590444				50		334		384		0.8697916667						10		100		352		0		352		0.9142857143

		41		308		52		386				51		78		35		24		181		205		0.8829268293								24		263		287		0.9163763066				20		345		365		0.9452054795						12.2474487139		150		372		0		372		0.9662337662

		42		171		53		253																																														14.1421356237		200		372		0		372		0.9662337662

		43		20		54		116																																														17.3205080757		300		385		0		385		1

		44		49		55		24

		45		209		56		123

		46		345		57		280

						58		389

		Bias 250 V		Strip #		Centre		Distance		20 V		Local coord.						#115		Int 1		#116		Int 2		#117		Pulse sum		h		ideal				50 V		#115		Int 1		#116		Int 2		#117		Pulse sum		h		200 V		#115		Int 1		#116		Int 2		#117		Pulse sum		h				Volt scan		#115		#116		Int		#117		Total		Normalised

				115		21		114				24		30		84		198		-17		27						225		0.12		0		0				317		-17		31						348		0.0890804598				403		-30		24						427		0.056206089		3.1622776602		10				116						116		0.2829268293

				116		32.4						25		40		74		178		-13		27						205		0.1317073171		114		1				311		-20		41						352		0.1164772727				396		-27		27						423		0.0638297872		5		25		31		208		-5		20		228		0.556097561

												26		50		64		126		-13		37						163		0.226993865								242		-17		61						303		0.201320132				334		-24		68						402		0.1691542289		7.0710678119		50		31		308		-7		20		328		0.8

												28		70		44		34				137				17		171		0.8011695906								48				236				24		284		0.8309859155				54		-5		317		-13		24		371		0.8544474394		8.6602540378		75		24		345		-17		20		365		0.8902439024

		#115		Amplitude		#116		Amplitude				29		80		34		24				181				17		205		0.8829268293								31				311		-10		20		342		0.9093567251				27				400		-17		17		427		0.9367681499		10		100		27		366		-20		17		383		0.9341463415

		18		400		30		389				29.5		85		29		27				195						222		0.8783783784								34				314		-15		20		348		0.9022988506				24				389		-24		17		413		0.9418886199		11.1803398875		125		24		380		-17		13		393		0.9585365854

		19		270		31		89																																																												12.2474487139		150		24		385		-20		13		398		0.9707317073

		20		34		32		28																																																												14.1421356237		200		24		389		-20		13		402		0.9804878049

		21		30		33		30																																																												17.3205080757		300		24		393		-20		17		410		1

		22		38		34		126

		23		308		35		389

		24		400





		0		0		0		0

		0		0		0		0

				0		0		0

				0		0		0

				0		0		0

				0		0		0



25 Volt

50 Volt

150 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #188-189

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0		0		0

		0		0		0		0

				0		0		0

				0		0		0

				0		0		0

				0		0		0



20 Volt

50 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #244-245

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0



#115

#60

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		47		400		-30		380

		48		280		-20		260

		49		41		-10		21

		50		20		0		0

		51		51		10		31

		52		273		20		253

		53		410		30		390

		Beam Profile

		Coordinate		Front		Back

		0						10

		10		1.00E+13		1.05E+13		20		1.00E+13		1.05E+13

		20		4.50E+13		4.55E+13		30		4.50E+13		4.55E+13

		25		3.00E+14		2.52E+14		35		3.00E+14		2.52E+14

		30		4.10E+14		4.40E+14		40		4.10E+14		4.40E+14

		35		4.30E+14		4.60E+14		45		4.30E+14		4.60E+14

		40		3.15E+14		3.80E+14		50		3.15E+14		3.80E+14

		45		1.09E+14		2.70E+14		55		1.09E+14		2.70E+14

		55		1.20E+13		2.70E+13		65		1.20E+13		2.70E+13

		65		7.00E+11		1.20E+12		75		7.00E+11		1.20E+12





		0

		0

		0

		0

		0

		0

		0



Local coord. [µm]

Amplitude [arb. Units]

Strip scan #10

0

0

0

0

0

0

0



		55		0		55		55

		50		1		50		50

		45		2		45		45

		40		3		40		40

		35		4		35		35

		30		5		30		30

		25		6		25		25

		20		7		20		20

		15		8		15		15

		10		9		10		10

		5		10		5		5

		0		11		0		0

				12

				13

				14

				15

				16

				17

				18

				19

				20

				21

				22

				23

				24

				25

				26

				27

				28

				29

				30

				31

				32

				33

				34

				35

				36

				37

				38

				39

				40

				41

				42

				43

				44

				45

				46

				47

				48

				49

				50

				51

				52

				53

				54

				55

				56

				57

				58

				59

				60

				61

				62

				63

				64

				65

				66

				67

				68



Measured (hit strip)

Calculated

Adjacent strip

Intermediate routing line

Time [ns]

Amplitude [arb. units]

68

10

0

0

150

34.5396

16

0

245

54.05968

34

0

369

80.39936

54

0

560

114.09384

123

32

688

155.13512

154

40

826

202.94192

188

51

792

256.42064

199

74

615

314.09432

188

108

421

374.26344

176

131

199

435.16424

85

68

0

495.10184

0

0

552.54736

606.19912

655.01224

698.20408

735.24416

765.8304

789.86272

807.41192

818.68832

824.01216

823.78664

818.47312

808.57016

794.59512

777.0692

756.50528

733.3992

708.22128

681.41152

653.37656

624.48752

595.07864

565.44744

535.85544

506.53048

477.66728

449.43032

421.95584

395.35408

369.71192

345.0956

321.5524

299.11304

277.79416

257.59968

238.52336

220.54992

203.6564

187.81424

172.98976

159.14552

146.24152

134.23568

123.08456

112.74432

103.1708

94.32024

86.14968

78.61696

71.6812

65.30304

59.44456

54.06952

49.14336

44.63336

40.50856

36.7396



		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0



Front Al foils

Back Al foils

Position [mm]

Measured fluence [p cm-2]

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		

						760





		30		30		0

		40		40		117.5

		50		50

		60		60

		70		70

		80		80

		90		90



200 Volt

400 Volt

Ideal resolution

Local position [µm]

Right charge/Total charge

Scan across strips #740-741

0.1035422343

0.0311111111

0

0.1971428571

0.0545851528

1

0.3688888889

0.2443729904

0.6231884058

0.7816091954

0.7445652174

0.9099437148

0.8891454965

1

0.9136363636

1



		30		30		0

		40		40		115

		50		50

		60		60

		70		70

		80		80

		90		90



200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #710-711

0.1009615385

0.0352733686

0

0.1943734015

0.0646258503

1

0.3125

0.2213740458

0.5102040816

0.5845070423

0.689373297

0.8831858407

0.8141809291

0.9365609349

0.8523489933

0.9378427788



		30		30		0

		40		40		115

		50		50

		60		60

		70		70

		80		80

		90		90



200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #760-761

0.0874074074

0.0657534247

0

0.0914454277

0.0725244073

1

0.1515151515

0.1463414634

0.5

0.5

0.8

0.8395522388

0.884086444

0.9252669039

0.9249011858

0.9491833031



		0		30		30		30

		115		40		40		40

				50		50		50

				60		60		60

				70		70		70

				80		80		80

				90		90		90



150 Volt

200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #740-741

0

0.204610951

0.0581395349

0.0450281426

1

0.3086053412

0.1601731602

0.0685920578

0.3851351351

0.2755102041

0.2206405694

0.5677966102

0.6121212121

0.688372093

0.6253869969

0.7406542056

0.886405959

0.7331378299

0.8442982456

0.9305816135

0.7967032967

0.8817427386

0.938517179



		0		30		30

		110		40		40

				50		50

				60		60

				70		70

				80		80

				90		90



200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #670-671

0

0.2186046512

0.0462962963

1

0.3191489362

0.076056338

0.4345238095

0.2648401826

0.625

0.619047619

0.7170731707

0.8559322034

0.7960784314

0.9612403101

0.825

0.9734748011



		0		20		20

		110		30		30

				40		40

				50		50

				60		60

				70		70

				80		80

				90		90



200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #690-691

0

0.1510067114

0.0529801325

1

0.1964285714

0.0703296703

0.3269961977

0.1575492341

0

0.6736842105

0.7946428571

0.7365079365

0.916500994

0.8419452888

0.9427402863

0.8307692308

0.9512195122



		25		25		25		0

		35		35		35		110

		45		45		45

		55		55		55

		65		65		65

		75		75		75

		85		85		85



100 Volt

200 Volt

300 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #525-526

0.0461956522

0.0440414508

0.0446194226

0

0.0583941606

0.0547945205

0.0547945205

1

0.1413612565

0.1282051282

0.1113689095

0.3215859031

0.264573991

0.2821576763

0.8050541516

0.8073394495

0.7722222222

0.9130434783

0.9217391304

0.9298245614

0.9473684211

0.9523809524

0.958677686



		0		30		30		30

		117		40		40		40

				50		50		50

				70		70		70

				80		80		80

				90		90		90



150 Volt

200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #634-635

0

0.223255814

0.1133333333

0.0510204082

1

0.2783505155

0.1933333333

0.0761670762

0.3963414634

0.3048780488

0.1943005181

0.6209150327

0.6822429907

0.8157099698

0.6875

0.7979094077

0.915

0.7548076923

0.8580645161

0.9330024814



		0		24		24

		114		34		34

				44		44

				64		64

				74		74

				84		84

				89		89



100 Volt

300 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #584-585

0

0.118466899

0.0379403794

1

0.1655172414

0.0608272506

0.3421052632

0.1666666667

0.6896551724

0.8131868132

0.7597173145

0.9567430025

0.8605442177

0.9974160207

0.8586206897

0.9466666667



		0		22		22		22		22

		116		32		32		32		32

				42		42		42		42

				67		67		67		67

				72		72		72		72

				82		82		82		82

				92		92		92		92



100 Volt

150 Volt

200 Volt

300 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #604-605

0

0.2192513369

0.0848056537

0.0408719346

0.056980057

1

0.2391304348

0.1214285714

0.0681818182

0.0798898072

0.3128834356

0.2380952381

0.0920716113

0.1549295775

0.5668789809

0.6355555556

0.7975077882

0.7517482517

0.591954023

0.7173913043

0.9002695418

0.8434782609

0.6949152542

0.8137931034

0.9973045822

0.8888888889

0.7348066298

0.8436482085

0.972899729

0.9043715847



		0		23		23		23

		108		33		33		33

				43		43		43

				58		58		58

				63		63		63

				73		73		73

				78		78		78



20 Volt

50 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #544-545

0

0.1376146789

0.0422960725

0.0361445783

1

0.2018348624

0.0845070423

0.0574712644

0.3457446809

0.2341772152

0.0976253298

0.5858585859

0.7124183007

0.7627906977

0.6304347826

0.7571428571

0.820441989

0.7302325581

0.8709677419

0.9418886199

0.7735849057

0.8811594203

0.9632352941



		0		35		35		35

		110		40		40		40

				50		50		50

				65		65		65

				70		70		70

				80		80		80



50 Volt

100 Volt

300 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #566-567

0

0.125

0.0408719346

0.0407673861

1

0.1777777778

0.0702247191

0.0687203791

0.320441989

0.22

0.2033333333

0.6946107784

0.8090909091

0.7789855072

0.741697417

0.8579387187

0.8743842365

0.8580858086

0.9543010753

0.9975062344



		0		35		35		35

		120		45		45		45

				50		50		50

				65		65		65

				70		70		70

				80		80		80

				90		90		90



50 Volt

100 Volt

250 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #575-576

0

0.2876106195

0.0451807229

0.0383631714

1

0.3744292237

0.144092219

0.0939759036

0.3880597015

0.1782178218

0.1580310881

0.5730337079

0.7260273973

0.7166666667

0.591954023

0.798679868

0.8379888268

0.6559633028

0.8879781421

0.9230769231

0.7627906977

0.9076086957

0.9511002445



		0		28		28		28

		113		38		38		38

				48		48		48

				58		58		58

				68		68		68

				78		78		78



25 Volt

50 Volt

150 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #188-189

0

0.0046948357

0.0032051282

0.00243309

1

0.1226993865

0.0044843049

0.0033898305

0.3333333333

0.320441989

0.2845188285

0.7465753425

0.8131313131

0.8514056225

0.8487804878

0.8839590444

0.8697916667

0.8829268293

0.9163763066

0.9452054795



		26		26		0		26

		36		36		114		36

		46		46				46

		66		66				66

		76		76				76

		86		86				86



100 Volt

300 Volt

=

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #621-622

0.2227074236

0.0789473684

0

0.0390625

0.2735849057

0.1348684211

1

0.0606060606

0.3659793814

0.2482517483

0.1102150538

0.5828220859

0.6728110599

0.8066666667

0.6822429907

0.8066666667

0.9086021505

0.7422222222

0.8547854785

0.9583333333



		25		25		25		0

		35		35		35		110

		45		45		45

		60		60		60

		65		65		65

		75		75		75

		85		85		85



20 Volt

50 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #469-470

0.0857142857

0.1060070671

0.0411311054

0

0.0833333333

0.093385214

0.0683060109

1

0.275862069

0.1904761905

0.1333333333

0.6451612903

0.6785714286

0.7311827957

0.6774193548

0.766536965

0.8356164384

0.8444444444

0.8717948718

0.9260969977

0.8695652174

0.8646153846

0.9267734554



		30		30		0

		40		40		110

		50		50

		60		60

		70		70

		80		80



200 Volts

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #650-651

0.1784037559

0.0521172638

0

0.2587064677

0.1034482759

1

0.3577586207

0.2196531792

0.6280991736

0.7375328084

0.7114914425

0.8717948718

0.7915742794

0.9111470113



		0		30		30		30

		114		40		40		40

				50		50		50

				70		70		70

				80		80		80

				85		85		85



20 Volt

50 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #244-245

0

0.12

0.0890804598

0.056206089

1

0.1317073171

0.1164772727

0.0638297872

0.226993865

0.201320132

0.1691542289

0.8011695906

0.8309859155

0.8544474394

0.8829268293

0.9093567251

0.9367681499

0.8783783784

0.9022988506

0.9418886199



		30		30		0		30

		40		40		114		40

		50		50				50

		70		60				60

		80		70				70

		85		80				80

								90



#245 - 200 Volt

#650 - 400 Volt

#760 - 400 Volt

Local position [µm]

Right charge/Total charge

0.056206089

0.0521172638

0

0.0657534247

0.0638297872

0.1034482759

1

0.0725244073

0.1691542289

0.2196531792

0.1463414634

0.8544474394

0.7375328084

0.5

0.9367681499

0.8717948718

0.8395522388

0.9418886199

0.9111470113

0.9252669039

0.9491833031



		20		20		20		0

		30		30		30		115

		40		40		40

		50		50		50

		60		60		60

		70		70		70

		80		80		80

		90		90		90



20 Volt

50 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #388-389

0.15

0.0975609756

0.0965794769

0

0.1549295775

0.1448692153

0.1004709576

1

0.171875

0.1223529412

0.0901213172

0.2926829268

0.2888888889

0.2434077079

0.6666666667

0.6923076923

0.6511627907

0.7833333333

0.8498896247

0.9073083779

0.8295081967

0.8495049505

0.9384615385

0.8793103448

0.9160839161

0.9470699433



		35		0		35		35

		45		120		45		45

		55				55		55

		70				70		70

		75				75		75

		85				85		85

		95				95		95



20 Volt

50 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #490-491

0.1595744681

0

0.12

0.0796116505

0.2053231939

1

0.1322869955

0.0891089109

0.2967032967

0.2258064516

0.2

0.72

0.692

0.7982261641

0.8351449275

0.7985074627

0.8764302059

0.9349593496

0.8546099291

0.9174311927

0.9445585216



		0		28		28		28

		118		38		38		38

				48		48		48

				58		58		58

				68		68		68

				78		78		78

				88		88		88



150 Volt

200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #760-761

0

0.1305483029

0.0812064965

0.0638722555

1

0.1467391304

0.0782608696

0.0601202405

0.2492753623

0.1494505495

0.1135135135

0.3970588235

0.41

0.368852459

0.66

0.7510548523

0.789017341

0.7542857143

0.9100719424

0.9100719424

0.8444444444

0.9125799574

0.9323308271



		30		30		28		0

		40		40		38		118

		50		50		48

		70		70		58

		80		80		68

		85		90		78

						88



#244 -245 (@ 200 Volt)

#534 - 535 (@ 400 Volt)

#760 - 761 (@ 400 Volt)

Local position [µm]

Right charge/Total charge

0.056206089

0.0510204082

0.0638722555

0

0.0638297872

0.0761670762

0.0601202405

1

0.1691542289

0.1943005181

0.1135135135

0.8544474394

0.8157099698

0.368852459

0.9367681499

0.915

0.789017341

0.9418886199

0.9330024814

0.9100719424

0.9323308271



		30		30		30		0

		40		40		40		115

		50		50		50

		65		65		65

		70		70		70

		80		80		80

		90		90		90



50 Volt

100 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #774-775

0.2777777778

0.1546391753

0.075

0

0.3857142857

0.2274368231

0.1002785515

1

0.4155844156

0.3298429319

0.2454873646

0.6

0.7023809524

0.7961165049

0.631147541

0.7959183673

0.8815028902

0.6979865772

0.8426573427

0.9268292683

0.8474576271

0.85

0.9258241758



		Bias		#650		#651		Pulse sum		Normalised		#670		#671		Pulse sum		Normalised		#690		#691		Pulse sum		Normalised		#710		#711		Pulse sum		Normalised		#730		#731		Pulse sum		Normalised		#740		#741		Pulse sum		Normalised		#760		#761		Pulse sum		Normalised

		[Volt]		[mV]		[mV]		[mv]				[mV]		[mV]		[mv]				[mV]		[mV]		[mv]				[mV]		[mV]		[mv]				[mV]		[mV]		[mv]				[mV]		[mV]		[mv]				[mV]		[mV]		[mv]

		50		41		85		126		0.2016		24		58		82		0.2		0		80		80		0.1500938086		31		78		109		0.1912280702		31		83		114		0.1972318339		30		101		131		0.2205387205		45		100		145		0.2566371681				104		104

		100		63		140		203		0.3248		22		84		106		0.2585365854		31		135		166		0.3114446529		53		125		178		0.3122807018		45		142		187		0.3235294118		67		182		249		0.4191919192		68		178		246		0.4353982301				177		177

		150		92		210		302		0.4832		38		133		171		0.4170731707		52		197		249		0.4671669794		58		180		238		0.4175438596		66		232		298		0.5155709343		74		290		364		0.6127946128		63		342		405		0.7168141593				385		385

		200		81		329		410		0.656		39		207		246		0.6		45		291		336		0.6303939962		73		290		363		0.6368421053		48		374		422		0.7301038062		57		425		482		0.8114478114		50		446		496		0.8778761062				454		454

		250		59		443		502		0.8032		32		300		332		0.8097560976		34		398		432		0.8105065666		51		388		439		0.7701754386		31		478		509		0.8806228374		51		472		523		0.8804713805		41		490		531		0.9398230088				468		468

		300		59		510		569		0.9104		30		321		351		0.856097561		35		433		468		0.8780487805		38		462		500		0.8771929825		17		501		518		0.8961937716		40		500		540		0.9090909091		36		501		537		0.9504424779				478		478

		350		50		530		580		0.928		23		342		365		0.8902439024		31		454		485		0.9099437148		33		485		518		0.9087719298		20		535		555		0.9602076125		34		513		547		0.9208754209		32		510		542		0.9592920354				495		495

		400		45		561		606		0.9696		10		370		380		0.9268292683		24		468		492		0.9230769231		31		498		529		0.9280701754		20		535		555		0.9602076125		34		520		554		0.9326599327		36		519		555		0.982300885				502		502

		500		45		580		625		1		10		400		410		1		10		523		533		1		30		540		570		1		0		578		578		1		34		560		594		1		32		533		565		1				510		510

																						Neff map		Vfd

																						10

																						30

																						50

																						70

																						90

																						100

																						120

																																												634

																																		72

		Bias		#526		#527		Pulse sum		Normalised		Bias		#545		#546		Pulse sum		Normalised		Bias		#567		#568		Pulse sum		Normalised		Bias		#577		#578		Pulse sum		Normalised		Bias		#585		#586		Pulse sum		Normalised		Bias		#605		#606		Pulse sum		Normalised		Bias		#622		#623		Pulse sum		Normalised		Bias		#634		#635		Pulse sum		Normalised

		[Volt]		[mV]		[mV]		[mv]				[Volt]		[mV]		[mV]		[mv]				[Volt]		[mV]		[mV]		[mv]				[Volt]		[mV]		[mV]		[mv]				[Volt]		[mV]		[mV]		[mv]				[Volt]		[mV]		[mV]		[mv]				[Volt]		[mV]		[mV]		[mv]				[Volt]		[mV]		[mV]		[mv]

		20		5		205		210		0.4393305439		10		89		41		130		0.313253012		10		27		41		68		0.17		25		34		75		109		0.2632850242		25		44		20		64		0.1671018277		50		65		10		75		0.1978891821		50		65		0		65		0.1697127937		50		61		24		85		0.2073170732

		30		5		273		278		0.5815899582		20		171		41		212		0.5108433735		25		61		109		170		0.425		50		55		164		219		0.5289855072		50		95		41		136		0.3550913838		75		95		10		105		0.2770448549		100		123		37		160		0.4177545692		100		106		34		140		0.3414634146

		40		54		323		377		0.7887029289		30		232		34		266		0.6409638554		50		266		41		307		0.7675		75		37		290		327		0.7898550725		75		150		58		208		0.5430809399		100		129		27		156		0.4116094987		150		171		51		222		0.5796344648		150		157		48		205		0.5

		50		45		365		410		0.8577405858		50		321		0		321		0.7734939759		75		334		14		348		0.87		100		27		330		357		0.8623188406		100		240		51		291		0.7597911227		125		167		27		194		0.5118733509		200		287		24		311		0.8120104439		200		253		34		287		0.7

		75		41		405		446		0.9330543933		75		362		0		362		0.8722891566		100		359		0		359		0.8975		150		27		359		386		0.9323671498		125		311		27		338		0.8825065274		150		236		30		266		0.7018469657		250		334		0		334		0.8720626632		250		317		27		344		0.8390243902

		100		32		428		460		0.9623430962		100		383		0		383		0.9228915663		150		372		0		372		0.93		200		24		372		396		0.9565217391		150		342		10		352		0.9190600522		200		328		0		328		0.8654353562		300		351		0		351		0.9164490862		300		349		31		380		0.9268292683

		120		23		441		464		0.9707112971		150		396		0		396		0.9542168675		200		383		0		383		0.9575		250		20		379		399		0.9637681159		200		355		10		365		0.953002611		250		355		0		355		0.9366754617		350		366		0		366		0.955613577		350		362		27		389		0.9487804878

		150		27		446		473		0.989539749		200		410		0		410		0.9879518072		250		396		0		396		0.99		300		24		382		406		0.9806763285		300		376		0		376		0.9817232376		300		366		0		366		0.9656992084		400		372		0		372		0.9712793734		400		372		34		406		0.9902439024

		200		23		455		478		1		300		415		0		415		1		300		400		0		400		1		350		24		390		414		1		400		383		0		383		1		400		379		0		379		1		500		383		0		383		1		500		383		27		410		1

		300		20		464		484		1.0125523013

		Strip #		VFD

		188		80

		244		75

		390		60

		470		55

		498		55

		526		53

		545		55

		568		62

		578		92								0.0004882813		0.1806640625		0.0451660156

		585		128

		605		200

		622		225

		634		270

		650		285

		670		297

		690		300

		710		285								768		640

		730		250

		740		220

		760		170

		774		125

		829		60

		888		47





		



Strip #10

Strip #30

Strip #50

Strip #70

Strip #90

Strip #100

Strip #120



		



Strip #526

Strip #545

Strip #578

Strip #585

Strip #605

Strip #622

Strip #634

Bias [Volt]

Normalised CCE



		



Strip Number

Vfd [Volt]



		



Strip #545

Strip #585

Strip #634

Bias [Volt]

Normalised CCE



		



Strip #526

Strip #578

Strip #605

Bias [Volt]

Normalised CCE



		Strip:		#10								Strip:		#30								Strip:		#50								Strip:		#70								Strip:		#90								Strip:		#100		#101						Strip:		#120

				#11										#31										#51										#71										#91										#121										#121

						ideal										ideal										ideal										ideal										ideal										ideal										ideal

		20		0.2059800664		0		0		0.1260683761		20		0.3485714286		0		0		0.2292490119		20		0.1510067114		0		0		0		20		0.1729559748		0		0		0.1299559471		30		0.1035422343		0		0		0		30		0.204610951		0		0		0		20		0.2591006424		0		0		0.263671875

		30		0.1784037559		110		1		0		30		0.2186046512		110		1		0		30		0.1964285714		110		1		0		30		0.1009615385		115		1		0		40		0.1971428571		117.5		1		0		40		0.3086053412		115		1		0		30		0.0874074074		115		1		0.0657534247

		40		0.2587064677						0.0909090909		40		0.3191489362						0		40		0.3269961977						0.118993135		40		0.1943734015						0		50		0.3688888889						0.2443729904		50		0.3851351351						0.1978021978		40		0.0914454277						0.0725244073

		50		0.3577586207						0.2196531792		50		0.4345238095						0.2648401826		60		0.6736842105						0.7946428571		50		0.3125						0.1707317073		60		0.6231884058						0.7816091954		60		0.5677966102						0.688372093		50		0.1515151515						0.1463414634

		60		0.6280991736						0.7375328084		60		0.625						0.619047619		70		0.7365079365						0.916500994		60		0.5102040816						0.5845070423		70		0.7445652174						0.9099437148		70		0.6253869969						0.886405959		60		0.5						0.5

		70		0.7114914425						0.8717948718		70		0.7170731707						0.8559322034		80		0.8419452888						0.9427402863		70		0.689373297						0.8831858407		80		0.8891454965						1		80		0.7331378299						0.9305816135		70		0.8						0.8395522388

		80		0.7915742794						0.9111470113		80		0.7960784314						0.9867374005		90		0.8307692308						0.9512195122		80		0.8141809291						0.9365609349		90		0.9136363636						1		90		0.7967032967						0.938517179		80		0.884086444						0.9252669039

		90		0.7759103641						0.8546845124		90		0.825						0.9734748011												90		0.8523489933						0.9378427788																						90		0.9249011858						0.9491833031

		Residuals		#10-#11								Residuals		#30-#31								Residuals		#50-#51								Residuals		#50-#51								Residuals		#70-#71								Residuals		#90-#91								Residuals		#100-#101

		True position		Est. position		Est. position		Residuals		Residuals		True position		Est. position		Est. position		Residuals		Residuals		True position		Est. position		Est. position		Residuals		Residuals		True position		Est. position		Est. position		Residuals		Residuals		True position		Est. position		Est. position		Residuals		Residuals		True position		Est. position		Est. position		Residuals		Residuals		True position		Est. position		Est. position		Residuals

				200 V		400 V		200 V		400 V				200 V		400 V		200 V		400 V				200 V		400 V		200 V		400 V				200 V		400 V		200 V		400 V				200 V		400 V		200 V		400 V				200 V		400 V		200 V		400 V				200 V		400 V		200 V		400 V

		20		22.657807309		38.3428571429		2.657807309		18.3428571429		20		38.3428571429		25.2173913043		18.3428571429		5.2173913043		20		16.610738255		0		-3.389261745		-20		20		19.8899371069		14.9449339207		-0.1100628931		-5.0550660793		30		12.1662125341		0		-17.8337874659		-30		30		23.530259366		0		-6.469740634		-30		20		29.7965738758		30.322265625		9.7965738758		10.322265625

		30		19.6244131455		24.0465116279		-10.3755868545		-5.9534883721		30		24.0465116279		0		-5.9534883721		-30		30		21.6071428571		0		-8.3928571429		-30		30		11.6105769231		0		-18.3894230769		-30		40		23.1642857143		0		-16.8357142857		-40		40		35.4896142433		0		-4.5103857567		-40		30		10.0518518519		7.5616438356		-19.9481481481		-22.4383561644

		40		28.4577114428		35.1063829787		-11.5422885572		-4.8936170213		40		35.1063829787		0		-4.8936170213		-40		40		35.969581749		13.0892448513		-4.030418251		-26.9107551487		40		22.3529411765		0		-17.6470588235		-40		50		43.3444444444		28.7138263666		-6.6555555556		-21.2861736334		50		44.2905405405		22.7472527473		-5.7094594595		-27.2527472527		40		10.5162241888		8.340306834		-29.4837758112		-31.659693166

		50		39.3534482759		47.7976190476		-10.6465517241		-2.2023809524		50		47.7976190476		29.1324200913		-2.2023809524		-20.8675799087		60		74.1052631579		87.4107142857		14.1052631579		27.4107142857		50		35.9375		19.6341463415		-14.0625		-30.3658536585		60		73.2246376812		91.8390804598		13.2246376812		31.8390804598		60		65.2966101695		79.1627906977		5.2966101695		19.1627906977		50		17.4242424242		16.8292682927		-32.5757575758		-33.1707317073

		60		69.0909090909		68.75		9.0909090909		8.75		60		68.75		68.0952380952		8.75		8.0952380952		70		81.0158730159		100.8151093439		11.0158730159		30.8151093439		60		58.6734693878		67.2183098592		-1.3265306122		7.2183098592		70		87.4864130435		106.9183864916		17.4864130435		36.9183864916		70		71.919504644		101.9366852886		1.919504644		31.9366852886		60		57.5		57.5		-2.5		-2.5

		70		78.2640586797		78.8780487805		8.2640586797		8.8780487805		70		78.8780487805		94.1525423729		8.8780487805		24.1525423729		80		92.6139817629		103.7014314928		12.6139817629		23.7014314928		70		79.2779291553		101.5663716814		9.2779291553		31.5663716814		80		104.474595843		117.5		24.474595843		37.5		80		84.3108504399		107.0168855535		4.3108504399		27.0168855535		70		92		96.5485074627		22		26.5485074627

		80		87.0731707317		87.568627451		7.0731707317		7.568627451		80		87.568627451		108.5411140584		7.568627451		28.5411140584		90		91.3846153846		104.6341463415		1.3846153846		14.6341463415		80		93.630806846		107.7045075125		13.630806846		27.7045075125		90		107.3522727273		117.5		17.3522727273		27.5		90		91.6208791209		107.9294755877		1.6208791209		17.9294755877		80		101.6699410609		106.4056939502		21.6699410609		26.4056939502

		90		85.350140056		90.75		-4.649859944		0.75		90		90.75		107.0822281167		0.75		17.0822281167												90		98.0201342282		107.8519195612		8.0201342282		17.8519195612																						90		106.3636363636		109.1560798548		16.3636363636		19.1560798548





		Far end														End + 1 cm														End + 2 cm														End + 3 cm														End + 3.5 cm

		Strip width		Local coord.												Strip width		Local coord.												Strip width		Local coord.												Strip width		Local coord.												Strip width		Local coord.												Local coord.

		16 µm		12		0.3192771084		0		0		0.3086172345		0.2177531207		25 µm		20		0.2489795918		0		0		0.2296072508		0.0935875217		25 µm		23		0.2344827586		0		0		0.1566820276		0.079338843		30 µm		23		0.1505016722		0		0		0.0805687204		0.052		35 µm		20		0.2591006424		0		0		0.263671875				28		0.1305483029		0.0812064965		0.0638722555		0		0

				22		0.3269230769		61		1		0.3302180685		0.2262118492				30		0.3642857143		78		1		0.3591160221		0.2287390029				33		0.3311897106		95		1		0.2647754137		0.1256038647				33		0.2164948454		108		1		0.0966183575		0.0595238095				30		0.0874074074		115		1		0.0657534247				38		0.1467391304		0.0782608696		0.0601202405		118		1

				32		0.5						0.5		0.5284552846				40		0.6977777778						0.691588785		0.8631578947				43								0.3176470588		0.2993197279				43		0.3470790378						0.2055137845		0.1347248577				40		0.0914454277						0.0725244073				48		0.2492753623		0.1494505495		0.1135135135

				42		0.6687697161						0.6808943089		0.826435247				50		0.7510204082						0.7796610169		0.9246575342				53		0.6393442623						0.6741573034		0.7946127946				63		0.6487603306						0.7430939227		0.8559837728				50		0.1515151515						0.1463414634				58		0.3970588235		0.41		0.368852459

				52		0.6972789116						0.7270788913		0.8104196816				60														63		0.7039711191						0.7454545455		0.8982785603				73		0.7683823529						0.884057971		0.9513108614				60		0.5						0.5				68		0.66		0.7510548523		0.789017341

																																73		0.7731629393						0.830802603		0.9453376206				83		0.8316498316						0.9351145038		0.98				70		0.8						0.8395522388				78		0.7542857143		0.9100719424		0.9100719424

																																																												80		0.884086444						0.9252669039				88		0.8444444444		0.9125799574		0.9323308271

																																																												90		0.9249011858						0.9491833031

				Pos. far end (1)														Pos.(2)=(1)+1 cm														Pos.(3)=(2)+1 cm														Pos.(4)=(3)+1 cm														Pos.(5)=(4)+0.5 cm

		Bias		#119		Int 1		#120				#121		Int 3		#122		#119		Int 1		#120				#121		Int 3		#122		#119		Int 1		#120				#121		Int 3		#122		#119		Int 1		#120				#121		Int 3		#122		#119		Int 1		#120				#121		Int 3		#122

		[Volt]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]

		50		0		0		30		10		115		10		20						20		0		68						0		0		31		0		99		0		0		0		0		0		0		70		0		0						38		21		104		-10

		100		28		0		61		17		179		15		33						44		15		129						20		0		48		24		171		0		31						52		34		145		0		29						62		34		177		-21

		150		30		0		88		40		239		27		44						78		37		184						0		0		71		44		242		0		31						63		58		250		0		29						55		24		385		-31

		200		37		0		115		74		357		37		54						68		41		280						0		0		78		58		383		0		37						37		20		388		-5		20						48		15		454		-24

		250		34		0		101		61		530		51		20						71		44		410						0		0		44		24		509		-24		10						26		10		448		-20		10						45		0		468		-34

		300		23		0		81		37		600		-23		30						58		45		475						0		0		37		13		533		-30		20						22		22		490		-24		10						34		-10		478		-34

		350		34		0		84		27		641		-27		24						51		10		519						0		0		30		0		567		-30		15						20		0		512		-24		0						34		-17		495		-34

		400		23		0		64		0		644		-34		23						51		0		530						0		0		41		0		577		-37		15						20		0		527		-24		0						34		-17		502		-34

		500		10		0		77		0		680		-30		10						48		0		547						0		0		34		0		588		-40		13						10		0		530		-24		0						34		-17		510		-34

				Total										Total										Intermediate strip/total charge

		Bias		Pos.(1)		Pos.(2)		Pos.(3)		Pos.(4)		Pos.(5)		normalised

		[Volt]												Pos.(1)		Pos.(2)		Pos.(3)		Pos.(4)		Pos.(5)		Pos.(1)		Pos.(2)		Pos.(3)		Pos.(4)		Pos.(5)

		50		135		88		99		70		142		0.2023988006		0.1514629948		0.1672297297		0.1328273245		0.2649253731		0.0740740741		0		0		0		0.1478873239

		100		212		173		202		174		239		0.3178410795		0.2977624785		0.3412162162		0.330170778		0.4458955224		0.0801886792		0.0867052023		0.1188118812		0.1954022989		0.1422594142

		150		283		262		273		279		440		0.4242878561		0.4509466437		0.4611486486		0.5294117647		0.8208955224		0.1413427562		0.141221374		0.1611721612		0.2078853047		0.0545454545

		200		411		348		420		408		502		0.616191904		0.5989672978		0.7094594595		0.7741935484		0.9365671642		0.1800486618		0.117816092		0.1380952381		0.0490196078		0.0298804781

		250		550		481		519		458		513		0.8245877061		0.8278829604		0.8766891892		0.8690702087		0.9570895522		0.1109090909		0.0914760915		0.0462427746		0.0218340611		0

		300		630		533		553		500		512		0.9445277361		0.917383821		0.9341216216		0.9487666034		0.9552238806		0.0587301587		0.0844277674		0.0235081374		0.044		-0.01953125

		350		665		570		582		512		529		0.9970014993		0.9810671256		0.9831081081		0.9715370019		0.9869402985		0.0406015038		0.0175438596		0		0		-0.0321361059

		400		667		581		592		527		536		1		1		1		1		1		0		0		0		0		-0.0317164179

		500		690		595		601		530		544		1.0344827586		1.0240963855		1.0152027027		1.0056925996		1.0149253731		0		0		0		0		-0.03125





		



Pos. 1

Pos. 2

Pos. 3



		





		





		



150 Volt

200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #760-761



		



Strip #120 of sector n. 6

Local position [µm]

Right charge/Total charge

Scan across strips #760-761

150 Volt

200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #760-761



		



150 Volt

200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #760-761



		



150 Volt

200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #760-761



		Time delay		Corrected time		Bias [V]		#120		Int 1		#121		Int 2																		0		0.08185		9.1672		112				0.261052		10		80

		70		55		250		0		0		68		0				0		0		0		610								1		0.168384		18.859008						0.431745		34.5396

		75		50				16		0		150		0				3		0.0512794593		31.2804701969										2		0.312367		34.985104						0.675746		54.05968

		80		45				34		0		245		-25				6		0.2672435413		163.0185601936										3		0.52869		59.21328						1.004992		80.39936

		85		40				54		0		369		-41				9		0.5875634723		358.4137180924										4		0.825982		92.509984						1.426173		114.09384

		90		35				123		32		560		0				12		0.9072872169		553.4452023										5		1.20452		134.90624						1.939189		155.13512

		95		30				154		40		688		0				15		1.1543795498		704.1715253543										6		1.656436		185.520832						2.536774		202.94192

		100		25				188		51		826		-28				18		1.299469696		792.6765145638										7		2.16761		242.77232						3.205258		256.42064

		105		20				199		74		792		0				21		1.3442508459		819.9930160187										8		2.720225		304.6652						3.926179		314.09432

		110		15				188		108		615		-5				24		1.3071636214		797.3698090352										9		3.295125		369.054						4.678293		374.26344

		115		10				176		131		421		79				27		1.2124429531		739.5902013697										10		3.873637		433.847344						5.439553		435.16424

		120		5				85		68		199		34				30		1.0834467691		660.9025291351										11		4.438771		497.142352						6.188773		495.10184

		125		0				0		0		0		0				33		0.9394191906		573.0457062512										12		4.97592		557.30304						6.906842		552.54736

																		36		0.7945091514		484.6505823432										13		5.473185		612.99672						7.577489		606.19912

																		39		0.6580501859		401.410613397										14		5.92143		663.20016						8.187653		655.01224

																		42		0.5354104702		326.6003867976										15		6.31416		707.18592						8.727551		698.20408

																		45		0.4289931162		261.6858008585										16		6.647297		744.497264						9.190552		735.24416

																		48		0.339164421		206.8902967894										17		6.91889		774.91568						9.57288		765.8304

																		51		0.2650152693		161.6593142647										18		7.128793		798.424816						9.873284		789.86272

																		54		0.2049346724		125.0101501754										19		7.278362		815.176544						10.092649		807.41192

																		57		0.1570118833		95.7772488293										20		7.370132		825.454784						10.233604		818.68832

																		60		0.1192986421		72.7721716988										21		7.407557		829.646384						10.300152		824.01216

																		63		0.0899657472		54.8791057793										22		7.394742		828.211104						10.297333		823.78664

																		66		0.0673846758		41.1046522082										23		7.336235		821.65832						10.230914		818.47312

																		69		0.050159177		30.597097963										24		7.236837		810.525744						10.107127		808.57016

																		72		0.0371256796		22.6466645667										25		7.101445		795.36184						9.932439		794.59512

																		75		0.0273359711		16.67494238										26		6.934925		776.7116						9.713365		777.0692

																																27		6.742013		755.105456						9.456316		756.50528

																																28		6.527242		731.051104						9.16749		733.3992

																																29		6.294873		705.025776						8.852766		708.22128

																																30		6.048868		677.473216						8.517644		681.41152

																																31		5.792859		648.800208						8.167207		653.37656

																																32		5.530137		619.375344						7.806094		624.48752

																																33		5.263647		589.528464						7.438483		595.07864

																																34		4.995998		559.551776						7.068093		565.44744

																																35		4.729472		529.700864						6.698193		535.85544

																																36		4.466033		500.195696						6.331631		506.53048

																																37		4.207353		471.223536						5.970841		477.66728

																																38		3.954834		442.941408						5.617879		449.43032

																																39		3.709625		415.478						5.274448		421.95584

																																40		3.472645		388.93624						4.941926		395.35408

																																41		3.244611		363.396432						4.621399		369.71192

																																42		3.026052		338.917824						4.313695		345.0956

																																43		2.817337		315.541744						4.019405		321.5524

																																44		2.618692		293.293504						3.738913		299.11304

																																45		2.43022		272.18464						3.472427		277.79416

																																46		2.251916		252.214592						3.219996		257.59968

																																47		2.083687		233.372944						2.981542		238.52336

																																48		1.925365		215.64088						2.756874		220.54992

																																49		1.776718		198.992416						2.545705		203.6564

																																50		1.637465		183.39608						2.347678		187.81424

																																51		1.507286		168.816032						2.162372		172.98976

																																52		1.38583		155.21296						1.989319		159.14552

																																53		1.272725		142.5452						1.828019		146.24152

																																54		1.167583		130.769296						1.677946		134.23568

																																55		1.070007		119.840784						1.538557		123.08456

																																56		0.979598		109.714976						1.409304		112.74432

																																57		0.895956		100.347072						1.289635		103.1708

																																58		0.818688		91.693056						1.179003		94.32024

																																59		0.747406		83.709472						1.076871		86.14968

																																60		0.681733		76.354096						0.982712		78.61696

																																61		0.621304		69.586048						0.896015		71.6812

																																62		0.565769		63.366128						0.816288		65.30304

																																63		0.51479		57.65648						0.743057		59.44456

																																64		0.468044		52.420928						0.675869		54.06952

																																65		0.425227		47.625424						0.614292		49.14336

																																66		0.386049		43.237488						0.557917		44.63336

																																67		0.350235		39.22632						0.506357		40.50856

																																68		0.317529		35.563248						0.459245		36.7396

																																69		0.287687		32.220944						0.416239		33.29912

																																70		0.260483		29.174096						0.377015		30.1612

																																71		0.235705		26.39896						0.341272		27.30176

																																72		0.213156		23.873472						0.308729		24.69832

																																73		0.19265		21.5768						0.279123		22.32984

																																74		0.174018		19.490016						0.25221		20.1768

																																75		0.157101		17.595312						0.227764		18.22112

																																76		0.141751		15.876112						0.205574		16.44592

																																77		0.127834		14.317408						0.185447		14.83576

																																78		0.115224		12.905088						0.167204		13.37632

																																79		0.103806		11.626272						0.150679		12.05432

																																80		0.093474		10.469088						0.13572		10.8576

																																81		0.084131		9.422672						0.122188		9.77504

																																82		0.075686		8.476832						0.109953		8.79624

																																83		0.068058		7.622496						0.098898		7.91184

																																84		0.061172		6.851264						0.088915		7.1132

																																85		0.054959		6.155408						0.079904		6.39232

																																86		0.049356		5.527872						0.071777		5.74216

																																87		0.044307		4.962384

																																88		0.039758		4.452896

																																89		0.035662		3.994144

																																90		0.031975		3.5812

																																91		0.028659		3.209808

																																92		0.025678		2.875936

																																93		0.022998		2.575776

																																94		0.020591		2.306192

																																95		0.018429		2.064048

																																96		0.016489		1.846768

																																97		0.014748		1.651776

																																98		0.013187		1.476944

																																99		0.011787		1.320144





		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0



0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0



0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0



Measured (hit strip)

Calculated

Adjacent strip

Intermediate routing line

Time [ns]

Amplitude [arb. units]

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0



Measured

Calculated

Time [ns]

Amplitude [arb. units]

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0




_1046073157.xls
Chart11

		50		50		50		50

		100		100		100		100

		150		150		150		150

		200		200		200		200

		250		250		250		250

		300		300		300		300

		350		350		350		350

		400		400		400		400

		500		500		500		500



Strip #739

Strip #740

Strip #741

Strip #742

Bias [V]

Collected charge [Arb. unit]

13

30

101

13

20

67

182

33

23

74

290

45

17

57

425

15

0

51

472

5

0

40

500

0

0

34

513

0

0

34

520

0

0

34

540

0



General

		Sector #		Strip's range								1		128

		1		1-128								2		256

		2		129-256								3		384

		3		257-384								4		512

		4		385-512								5		640

		5		513-640								6		768

		6		641-768								7		896

		7		769-896								8		1024

		8		897-1024

		Measured strips:

		Sector #:		1		2		3		4		5		6		7		8





Routing line

		

																						Strip #		Est. VFD

																						499		55

																						760		170

																						774		125

																						888		50





Routing line

		10		50		20		10

		20		100		40		20

		30		150		50		40

		40		200		60		50

		50		250		80		60

		60		300		100		80

		80		350		125		100

		100		400		150		125

		150		500		175		150

		200				200		200

		300				300		300



Strip #499

Strip #760

Strip #774

Strip #888

Bias [Volt]

Charge routing line/total charge

0.1402439024

0.1694915254

0.0649350649

0.1036036036

0.0886524823

0.1589958159

0.1363636364

0.0705521472

0.069637883

0.0979381443

0.1446540881

0.0580808081

0.0611246944

0.0445859873

0.1421052632

0.0324189526

0.0412844037

0

0.1553030303

0.0324189526

0

0

0.1184210526

0.0224438903

0

0

0.0692771084

0

0

0

0.0507042254

0

0

0

0.05

0

0

0.025

0

0

0.0243902439

0



Irradiated (4)

		Bias 250 V		Strip #		Centre		Distance		20 V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h		ideal				50 V		Pulse Left		Pulse Right		Pulse sum		h		200 V		Pulse Left		Pulse Right		Pulse sum		h				Volt scan		#85		#86		Total		Normalised

				85		31		110				33.5		25		85		128		12		140		0.0857142857		0		0				253		30		283		0.1060070671				373		16		389		0.0411311054				20		36		126		162		0.3884892086

				86		42						34.5		35		75		132		12		144		0.0833333333		110		1				233		24		257		0.093385214				341		25		366		0.0683060109				30		52		240		292		0.7002398082

												35.5		45		65		84		32		116		0.275862069								204		48		252		0.1904761905				325		50		375		0.1333333333				40		48		317		365		0.8752997602

												37		60		50		22		40		62		0.6451612903								36		76		112		0.6785714286				50		136		186		0.7311827957				50		48		371		407		0.9760191847

		#85		Amplitude		#86		Amplitude				37.5		65		45		40		84		124		0.6774193548								60		197		257		0.766536965				60		305		365		0.8356164384				75		36		380		412		0.9880095923

		39		417		28		417				38.5		75		35		28		152		180		0.8444444444								40		272		312		0.8717948718				32		401		433		0.9260969977				100		32		397		425		1.0191846523

		40		325		29		297				39.5		85		25		24		160		184		0.8695652174								44		281		325		0.8646153846				32		405		437		0.9267734554				120		28		413		441		1.0575539568

		41		50		30		60																																												150		28		417		417		1

		42		0		31		0

		43		68		32		32

		44		361		33		272

						34		409

		Bias 250 V		Strip #		Centre		Distance		20 V		Local coord.						Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h		ideal				50 V		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h		200 V		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h				Volt scan		#4		Int 1		#5		Int 2		Total		Normalised		Norm Rout		Norm rzatio rout/total

				4		12.5		115				14.5		20		95		204		-28		36				240		0.15		0		0				333				36				369		0.0975609756				449		-64		48				497		0.0965794769				20		12		-24		200		-48		212		0.4265593561

				5		24						15.5		30		85		240		-36		44				284		0.1549295775		115		1				425		-64		72				497		0.1448692153				573		-112		64				637		0.1004709576				30		40				328		-52		368		0.7404426559

												16.5		40		75		212		-32		44				256		0.171875								373		-48		52				425		0.1223529412				525		-88		52				577		0.0901213172				40		24		-16		381		-88		405		0.814889336

												17.5		50		65		116		-8		48				164		0.2926829268								256		-24		104				360		0.2888888889				373		-64		120				493		0.2434077079				50		28		-24		425		-92		453		0.9114688129

		#4		Amplitude		#5		Amplitude				18.5		60		55		16				32				48		0.6666666667								32				72				104		0.6923076923				60				112				172		0.6511627907				75		16				445		-100		461		0.9275653924

		12		0		21		489				19.5		70		45		52				188		-16		240		0.7833333333								68				385		-48		453		0.8498896247				52				509		-96		561		0.9073083779				100		12		-28		457		-124		469		0.9436619718

		13		0		22		341				20.5		80		35		52				253		-16		305		0.8295081967								76				429		-52		505		0.8495049505				36				549		-96		585		0.9384615385				120		16		-20		465		-120		481		0.967806841

		14		132		23		84				21.5		90		25		28				204		-48		232		0.8793103448								36				393		-84		429		0.9160839161				28				501		-112		529		0.9470699433				150		12		-44		485		-132		497		1

		15		437		24		0

		16		517		25		0

						26		272

		Bias 250 V		Strip #		Centre		Distance		20 V		Local coord.						Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h		ideal				50 V		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h		200 V		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h

				5		24		110				26.5		25		85		197				36				233		0.1545064378		0		0				328				36				364		0.0989010989				445				32				477		0.0670859539

				6		35						27.5		35		75		152				28				180		0.1555555556		110		1				305				36				341		0.1055718475				449				36				485		0.0742268041

												28.5		45		65		116				36				152		0.2368421053								253				60				313		0.1916932907				413				100				513		0.1949317739

												29.5		55		55		44				28				72										60				36				96						72				32				104

												30.5		65		45		28				104				132		0.7878787879								52				212				264		0.803030303				72				345				417		0.8273381295

												31.5		75		35		36				160				196		0.8163265306								32				272				304		0.8947368421				28				405				433		0.935334873

												32.5		85		25		12				164				176		0.9318181818								32				333				365		0.9123287671				72				469				541		0.8669131238

		Bias 250 V		Strip #		Centre		Distance		20 V		Local coord.						Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h		ideal				50 Volt		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h		200 Volts		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h				Volt scan		#115		Int 1		#116		Int 2		Total		Normalised		Norm Rout		Norm rzatio rout/total

				115		44		120				47.5		35		85		237				45				282		0.1595744681		0		0				396		-18		54				450		0.12				474		-31		41				515		0.0796116505				10		32		23		132		0		164		0.3326572008				0.1402439024

				116		56						48.5		45		75		209		0		54				263		0.2053231939		120		1				387		-13		59				446		0.1322869955				460		-41		45				505		0.0891089109				20		41		25		241		0		282		0.5720081136				0.0886524823

												49.5		55		65		128		13		54				182		0.2967032967								264				77				341		0.2258064516				360		-23		90				450		0.2				30		45		25		314		0		359		0.7281947262				0.069637883

												51		70		50		41		13		91				132										63		13		182				245						73		0		250				323		0.72				40		45		25		364		0		409		0.8296146045				0.0611246944

		#115		Amplitude		#116		Amplitude				51.5		75		45		77		41		173				250		0.692								91		18		360				451		0.7982261641				91		0		461				552		0.8351449275				50		36		18		400		-13		436		0.8843813387				0.0412844037

		42		506		54		483				52.5		85		35		54		30		214				268		0.7985074627								54		23		383				437		0.8764302059				32		-23		460				492		0.9349593496				60		25		0		419		-23		444		0.9006085193				0

		43		410		55		287				53.5		95		25		41		25		241				282		0.8546099291								36		18		400		-13		436		0.9174311927				27				460		-23		487		0.9445585216				80		27		0		442		-23		469		0.9513184584				0

		44		77		56		0																																																								100		27		0		446		-23		473		0.9594320487				0

		45		455		57		0																																																								150		23		0		455		-27		478		0.9695740365				0

		46		488		58		145																																																								200		27				460		-18		487		0.9878296146				0

						59		469																																																								300		23				470		-30		493		1				0





Irradiated (5) 

		Bias 250 V		Strip #		Centre		Distance		100 V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h		ideal				200 V		Pulse Left		Pulse Right		Pulse sum		h		300 V		Pulse Left		Pulse Right		Pulse sum		h				Volt scan		#13		#14		Total		Normalised						Strip #5		Volt scan		Normalised

				13		8.5		110				11		25		85		351		0		351		0		0		0				369		0		369		0				364		0		364		0				20		5		205		210		0.4338842975						10		140		0.2868852459

				14		19.5						12		35		75		387		0		387		0		110		1				414		0		414		0				414		0		414		0				30		5		273		278		0.5743801653						30		285		0.5840163934

												13		45		65		328		27		355		0.076056338								374		15		389		0.0385604113				383		24		407		0.058968059				40		54		323		377		0.7789256198						50		393		0.8053278689

												14		55		55		154		73		227		0.3215859031								164		59		223		0.264573991				173		68		241		0.2821576763				50		45		360		405		0.8367768595						70		434		0.8893442623

		#13		Amplitude		#14		Amplitude				15		65		45		54		223		277		0.8050541516								63		264		327		0.8073394495				82		278		360		0.7722222222				75		41		405		446		0.9214876033						100		454		0.9303278689

		6		364		17		351				16		75		35		36		378		414		0.9130434783								36		424		460		0.9217391304				32		424		456		0.9298245614				100		32		428		460		0.9504132231						150		468

		7		164		18		164				17		85		25		23		414		437		0.9473684211								23		460		483		0.9523809524				20		464		484		0.958677686				120		23		437		460		0.9504132231						200		485		0.993852459

		8		30		19		0																																												150		27		446		473		0.9772727273						300		488		1

		9		0		20		0																																												200		23		455		478		0.9876033058

		10		209		21		196																																												300		20		464		484		1

		11		370		22		392

		Bias 250 V		Strip #		Centre		Distance		50 V		Local coord.						(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				200 V		Pulse Left		Pulse Right		Pulse sum		h		300 V		Pulse Left		Pulse Right		Pulse sum		h				Volt scan		#33		#34		Total		Normalised

				13		4.8		112				8		32		80		31		334		71		405		0.175308642		0		0				427		-17		410		0				434		-17		417		0				10		48		97		145		0.3325688073				30		112		20		31		163

				14		16						9		42		70		34		317		51		368		0.1385869565		112		1				427		31		458		0.0676855895				458		24		482		0.0497925311				20		51		184		235		0.5389908257				50		157		31		41		229

												10		52		60		0		68		34		102		0.3333333333								89		37		126		0.2936507937				99		34		133		0.2556390977				30		54		263		317		0.7270642202				100		291		51		85		427

												11		62		50		0		65		195		260		0.75								61		266		327		0.8134556575				61		260		321		0.8099688474				50		37		345		382		0.876146789				130		372		58		103		533

		#33		Amplitude		#34		Amplitude				12		72		40		0		51		308		359		0.8579387187								34		413		447		0.9239373602				34		430		464		0.9267241379				75		27		389		416		0.9541284404				150		530		50		109		689

		2		445		13		451				13		82		30		0		37		342		379		0.9023746702								27		427		454		0.9405286344				10		447		457		0.9781181619				100		24		400		424		0.9724770642				200		567		44		65		676

		3		191		14		214																																														125		24		417		441		1.0114678899				250		605		31				636

		4		41		15		41																																														150		20		420		440		1.0091743119				300		612		31				643

		5		34		16		34																																														200		20		424		444		1.0183486239

		6		68		17		58																																														300		20		436		456		1.0458715596

		7		413		18		330

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.						#120		Int 1		#121		Int 2		#122		Int 3		Pulse sum		h		ideal				200 V		#120		Int 1		#121		Int 2		#122		Int 3		Pulse sum		h		400 V		#120		Int 1		#121		Int 2		#122		Int 3		Pulse sum		h						Volt scan		#120		Int 1		#121		Int 2		#122		Total		Normalised		Rout/total

				121		40		117				43		30		87		30		24		167		24		48		17		215		0.223255814		0		0				24		20		266		10		34		0		300		0.1133333333				10		0		372		-24		20		0		392		0.0510204082						50		0		0		61		0		24		85		0.2093596059		0

				122		51.7						44		40		77		24		15		140		31		54		117		194		0.2783505155		117		1				27		15		242		27		58		0		300		0.1933333333				0		0		376		-24		31		0		407		0.0761670762						100		20		0		106		0		34		140		0.3448275862		0

												45		50		67		24		20		99		37		65		0		164		0.3963414634								15		0		171		44		75		0		246		0.3048780488				10		0		311		0		75		0		386		0.1943005181						150		27		10		157		24		48		205		0.5049261084		0.0487804878

												47		70		47		0		0		58		41		95		0		153		0.6209150327								0		0		68		48		146		0		214		0.6822429907				0		0		61		17		270		0		331		0.8157099698						200		20		10		253		10		34		287		0.7068965517		0.0348432056

		#121		Amplitude		#122		Amplitude				48		80		37		0		0		65		41		143		10		208		0.6875								0		0		58		41		229		0		287		0.7979094077				0		0		34		0		366		-13		400		0.915						250		10		5		317		0		27		344		0.8472906404		0.0145348837

		38		345		49		366				49		90		27		0		0		51		34		157		0		208		0.7548076923								0		0		44		27		266		0		310		0.8580645161				0		0		27		0		376		-17		403		0.9330024814						300		0		0		349		0		31		380		0.9359605911		0

		39		37		50		201																																																																						350		0		0		362		-15		27		389		0.9581280788		0

		40		30		51		34																																																																						400		0		0		372		-17		34		406		1		0

		41		34		52		24																																																																						500		0		0		383		-20		27		410		1.0098522167		0

		42		195		53		58

		43		362		54		342

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.						(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				200 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		400 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h						Volt scan		#109		#110		Total		Normalised

				109		12.4		116				15		26		90		31		178		51		229		0.2227074236		0		0				15		280		24		304		0.0789473684						369		0		369		0						50		65		0		65		0.1747311828

				110		24						16		36		80		24		154		58		212		0.2735849057		116		1				24		263		41		304		0.1348684211						372		0		372		0						100		123		37		160		0.4301075269

												17		46		70		20		123		71		194		0.3659793814								30		215		71		286		0.2482517483						331		41		372		0.1102150538						150		171		51		222		0.5967741935

												19		66		50		0		68		95		163		0.5828220859								0		71		146		217		0.6728110599						58		242		300		0.8066666667						200		287		24		311		0.8360215054

		#109		Amplitude		#110		Amplitude				20		76		40		0		68		146		214		0.6822429907								0		58		242		300		0.8066666667						34		338		372		0.9086021505						250		334		0		334		0.8978494624

		10		308		21		291				21		86		30		0		58		167		225		0.7422222222								0		44		259		303		0.8547854785						0		345		345		1						300		351		0		351		0.9435483871

		11		37		22		208																																																				350		366		0		366		0.9838709677

		12		0		23		31																																																				400		372		0		372		1

		13		0		24		27																																																				500		383		0		383		1.0295698925

		14		225		25		31

		15		321		26		235

						27		285

		Bias 250 V		Strip #		Centre		Distance		100 V		Local coord.						(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				300 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		400 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h						Volt scan		#72		#73		Total		Normalised

				72		29.1		114				31.5		24		90				253		34		287		0.118466899		0		0						355		1		356		0.0028089888						0		0		0		0						25		44		20		64		0.170212766

				73		40.5						32.5		34		80				242		48		290		0.1655172414		114		1						386		1		387		0.0025839793																		50		95		41		136		0.3617021277

												33.5		44		70				150		78		228		0.3421052632										280		41		321		0.1277258567																		75		150		58		208		0.5531914894

												35.5		64		50				54		120		174		0.6896551724										51		222		273		0.8131868132																		100		240		51		291		0.7739361702

		#72		Amplitude		#73		Amplitude				36.5		74		40				68		215		283		0.7597173145										17		376		393		0.9567430025																		125		311		27		338		0.8989361702

		27		249		38		311				37.5		84		30				41		253		294		0.8605442177										1		386		387		0.9974160207																		150		342		10		352		0.9361702128

		28		71		39		106				38		89		25				41		249		290		0.8586206897										20		355		375		0.9466666667																		200		355		10		365		0.9707446809

		28.5		25		40		20																																																				300		376		0		376		1

		29		0		41		31																																																				400		383		0		383		1.0186170213

		30		58		42		154

		31		256		43		334

		Bias 250 V		Strip #		Centre		Distance		100 V		Local coord.						(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				150 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		300 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		200 V		Pulse Left		Pulse Right		Pulse sum		h		Volt scan		#92		#93		Total		Normalised

				92		37.8		116				40		22		94		20		146		41		187		0.2192513369		0		0						259		24		283		0.0848056537						352		1		353		0.0028328612				331		5		336		0.0148809524		50		65		10		75		0.2049180328

				93		49.4						41		32		84		20		140		44		184		0.2391304348		116		1						246		34		280		0.1214285714						369		1		370		0.0027027027				334		5		339		0.0147492625		75		95		10		105		0.2868852459

												42		42		74		24		112		51		163		0.3128834356										208		65		273		0.2380952381						355		1		356		0.0028089888				300		34		334		0.1017964072		100		129		27		156		0.4262295082

												44.5		67		49		0		68		89		157		0.5668789809										82		143		225		0.6355555556						65		256		321		0.7975077882				71		215		286		0.7517482517		125		167		27		194		0.5300546448

		#92		Amplitude		#93		Amplitude				45		72		44				71		103		174		0.591954023										78		198		276		0.7173913043						37		334		371		0.9002695418				54		291		345		0.8434782609		150		236		30		266		0.7267759563

		35		352		47		345				46		82		34				54		123		177		0.6949152542										54		236		290		0.8137931034						1		370		371		0.9973045822				41		328		369		0.8888888889		200		328		0		328		0.8961748634

		36		143		48		68				47		92		24				48		133		181		0.7348066298										48		259		307		0.8436482085						10		359		369		0.972899729				35		331		366		0.9043715847		250		355		0		355		0.9699453552

		37		17		49		0																																																										300		366		0		366		1

		38		17		49.5		0																																																										400		379		0		379		1.0355191257

		39		95		50		0

		40		325		51		116

						52		321

		Bias 250 V		Strip #		Centre		Distance		20 V		Local coord.						(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				50 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		200 V		Pulse Left		Pulse Right		Pulse sum		h								Volt scan		#32		#33		Total		Normalised

				32		43.2		108				45.5		23		85		24		188		30		218		0.1376146789		0		0				24		317		1		318		0.0031446541				400		1		401		0.0024937656								10		89		41		130		0.3147699758

				33		54						46.5		33		75		20		174		44		218		0.2018348624		108		1				20		325		10		335		0.0298507463				410		1		411		0.00243309								20		171		41		212		0.5133171913

												47.5		43		65		24		123		65		188		0.3457446809								20		242		54		296		0.1824324324				342		37		379		0.0976253298								30		232		34		266		0.6440677966

												49		58		50		0		41		58		99		0.5858585859										44		109		153		0.7124183007				51		164		215		0.7627906977								50		321		0		321		0.7772397094

		#32		Amplitude		#33		Amplitude				49.5		63		45				68		116		184		0.6304347826										68		212		280		0.7571428571				65		297		362		0.820441989								75		362		0		362		0.8765133172

		40		393		51		413				50.5		73		35				58		157		215		0.7302325581										44		297		341		0.8709677419				24		389		413		0.9418886199								100		383		0		383		0.9273607748

		41		181		52		291				51		78		30				48		164		212		0.7735849057										41		304		345		0.8811594203				15		393		408		0.9632352941								150		396		0		396		0.9588377724

		42		31		53		51																																																				200		413		0		413		1

		43		24		54		17																																																				300		420		0		420		1.0169491525

		44		80		55		50

		45		359		56		280

						57		403

		Bias 250 V		Strip #		Centre		Distance		50 V		Local coord.						(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				100 V		Pulse Left		Pulse Right		Pulse sum		h		300 V		Pulse Left		Pulse Right		Pulse sum		h										Volt scan		#53		#54		#55		#56		Total		Normalised

				54		39		110				42.5		35		75		24		259		37		296		0.125		0		0				352		1		353		0.0028328612				400		1		401		0.0024937656										10		13		27		41		13		68		0.17

				55		50						43		40		70		24		222		48		270		0.1777777778		110		1				331		1		332		0.0030120482				393		1		394		0.0025380711										25		20		61		109		20		170		0.425

												44		50		60		0		123		58		181		0.320441989								195		44		239		0.1841004184				239		41		280		0.1464285714										50				266		41				307		0.7675

												45.5		65		45		0		51		116		167		0.6946107784								42		178		220		0.8090909091				61		215		276		0.7789855072										75				334		14				348		0.87

		#54		Amplitude		#55		Amplitude				46		70		40				70		201		271		0.741697417								51		308		359		0.8579387187				51		355		406		0.8743842365										100				359		0				359		0.8975

		37		352		47		400				47		80		30				43		260		303		0.8580858086								17		355		372		0.9543010753				1		400		401		0.9975062344										150				372		0				372		0.93

		38		44		48		280																																																				200				383		0				383		0.9575

		39		27		49		41																																																				250				396		0				396		0.99

		40		51		50		20																																																				300				400		0				400		1

		41		266		51		51								512		63		575																																								400				406						406		1.015

		42		390		52		273

						53		410

		Bias 250 V		Strip #		Centre		Distance		50 V		Local coord.						(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				100 V		Pulse Left		Pulse Right		Pulse sum		h		250 V		Pulse Left		Pulse Right		Pulse sum		h										Volt scan		#64		#65		Total		Normalised

				63		1		120				4.5		35		85		37		161		65		226		0.2876106195		0		0				317		1		318		0.0031446541				376		1		377		0.0026525199										25		34		75		109		0.2632850242

				64		13						5.5		45		75		30		137		82		219		0.3744292237		120		1				297		54		351		0.1538461538				376		15		391		0.0383631714										50		55		164		219		0.5289855072

												6		50		70		0		123		78		201		0.3880597015								249		58		307		0.1889250814				325		41		366		0.1120218579										75		37		290		327		0.7898550725

												7.5		65		55		0		38		51		89		0.5730337079								40		106		146		0.7260273973				51		129		180		0.7166666667										100		27		330		357		0.8623188406

		#63		Amplitude		#64		Amplitude				8		70		50				71		103		174		0.591954023								61		242		303		0.798679868				58		300		358		0.8379888268										150		27		359		386		0.9323671498

		-1		352		10		400				9		80		40				75		143		218		0.6559633028								41		325		366		0.8879781421				31		372		403		0.9230769231										200		24		372		396		0.9565217391

		0		44		11		280				10		90		30				51		164		215		0.7627906977								34		334		368		0.9076086957				20		389		409		0.9511002445										250		20		379		399		0.9637681159

		1		27		12		41																																																				300		24		382		406		0.9806763285

		2		51		13		20																																																				350		24		390		414		1

		3		266		14		51

		4		390		15		273





Irradiated (5) 

		





Irr. corr (5)

		Bias 250 V		Strip #		Centre		Distance		100 V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h		ideal				200 V		Pulse Left		Pulse Right		Pulse sum		h		300 V		Pulse Left		Pulse Right		Pulse sum		h				Volt scan		#13		#14		Total		Normalised						Strip #5		Volt scan		Normalised

				13		8.5		110				11		25		85		351		17		368		0.0461956522		0		0				369		17		386		0.0440414508				364		17		381		0.0446194226				20		5		205		210		0.4338842975						10		140		0.2868852459

				14		19.5						12		35		75		387		24		411		0.0583941606		110		1				414		24		438		0.0547945205				414		24		438		0.0547945205				30		5		273		278		0.5743801653						30		285		0.5840163934

												13		45		65		328		54		382		0.1413612565								374		55		429		0.1282051282				383		48		431		0.1113689095				40		54		323		377		0.7789256198						50		393		0.8053278689

												14		55		55		154		73		227		0.3215859031								164		59		223		0.264573991				173		68		241		0.2821576763				50		45		360		405		0.8367768595						70		434		0.8893442623

		#13		Amplitude		#14		Amplitude				15		65		45		54		223		277		0.8050541516								63		264		327		0.8073394495				82		278		360		0.7722222222				75		41		405		446		0.9214876033						100		454		0.9303278689

		6		364		17		351				16		75		35		36		378		414		0.9130434783								36		424		460		0.9217391304				32		424		456		0.9298245614				100		32		428		460		0.9504132231						150		468

		7		164		18		164				17		85		25		23		414		437		0.9473684211								23		460		483		0.9523809524				20		464		484		0.958677686				120		23		437		460		0.9504132231						200		485		0.993852459

		8		30		19		0																																												150		27		446		473		0.9772727273						300		488		1

		9		0		20		0																																												200		23		455		478		0.9876033058

		10		209		21		196																																												300		20		464		484		1

		11		370		22		392

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.						#120		Int 1		#121		Int 2		#122		Int 3		Pulse sum		h		ideal				200 V		#120		Int 1		#121		Int 2		#122		Int 3		Pulse sum		h		400 V		#120		Int 1		#121		Int 2		#122		Int 3		Pulse sum		h						Volt scan		#120		Int 1		#121		Int 2		#122		Total		Normalised

				121		40		117				43		30		87		30		24		167		24		48		17		215		0.223255814		0		0				24		20		266		10		34		0		300		0.1133333333				10		0		372		-24		20		0		392		0.0510204082						50		0		0		61		0		24		85		0.2093596059

				122		51.7						44		40		77		24		15		140		31		54		117		194		0.2783505155		117		1				27		15		242		27		58		0		300		0.1933333333				0		0		376		-24		31		0		407		0.0761670762						100		20		0		106		0		34		140		0.3448275862

												45		50		67		24		20		99		37		65		0		164		0.3963414634								15		0		171		44		75		0		246		0.3048780488				10		0		311		0		75		0		386		0.1943005181						150		27		10		157		24		48		205		0.5049261084

												47		70		47		0		0		58		41		95		0		153		0.6209150327								0		0		68		48		146		0		214		0.6822429907				0		0		61		17		270		0		331		0.8157099698						200		20		10		253		10		34		287		0.7068965517

		#121		Amplitude		#122		Amplitude				48		80		37		0		0		65		41		143		10		208		0.6875								0		0		58		41		229		0		287		0.7979094077				0		0		34		0		366		-13		400		0.915						250		10		5		317		0		27		344		0.8472906404

		38		345		49		366				49		90		27		0		0		51		34		157		0		208		0.7548076923								0		0		44		27		266		0		310		0.8580645161				0		0		27		0		376		-17		403		0.9330024814						300		0		0		349		0		31		380		0.9359605911

		39		37		50		201																																																																						350		0		0		362		-15		27		389		0.9581280788

		40		30		51		34																																																																						400		0		0		372		-17		34		406		1

		41		34		52		24																																																																						500		0		0		383		-20		27		410		1.0098522167

		42		195		53		58

		43		362		54		342

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.						(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				200 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		400 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h						Volt scan		#109		#110		Total		Normalised

				109		12.4		116				15		26		90		31		178		51		229		0.2227074236		0		0				15		280		24		304		0.0789473684						369		15		384		0.0390625						50		65		0		65		0.1747311828

				110		24						16		36		80		24		154		58		212		0.2735849057		116		1				24		263		41		304		0.1348684211						372		24		396		0.0606060606						100		123		37		160		0.4301075269

												17		46		70		20		123		71		194		0.3659793814								30		215		71		286		0.2482517483						331		41		372		0.1102150538						150		171		51		222		0.5967741935

												19		66		50		0		68		95		163		0.5828220859								0		71		146		217		0.6728110599						58		242		300		0.8066666667						200		287		24		311		0.8360215054

		#109		Amplitude		#110		Amplitude				20		76		40		0		68		146		214		0.6822429907								0		58		242		300		0.8066666667						34		338		372		0.9086021505						250		334		0		334		0.8978494624

		10		308		21		291				21		86		30		0		58		167		225		0.7422222222								0		44		259		303		0.8547854785						15		345		360		0.9583333333						300		351		0		351		0.9435483871

		11		37		22		208																																																				350		366		0		366		0.9838709677

		12		0		23		31																																																				400		372		0		372		1

		13		0		24		27																																																				500		383		0		383		1.0295698925

		14		225		25		31

		15		321		26		235

						27		285

		Bias 250 V		Strip #		Centre		Distance		100 V		Local coord.						(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				300 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		400 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h						Volt scan		#72		#73		Total		Normalised

				72		29.1		114				31.5		24		90				253		34		287		0.118466899		0		0						355		14		369		0.0379403794						0		0		0		0						25		44		20		64		0.170212766

				73		40.5						32.5		34		80				242		48		290		0.1655172414		114		1						386		25		411		0.0608272506																		50		95		41		136		0.3617021277

												33.5		44		70				150		78		228		0.3421052632										280		56		336		0.1666666667																		75		150		58		208		0.5531914894

												35.5		64		50				54		120		174		0.6896551724										51		222		273		0.8131868132																		100		240		51		291		0.7739361702

		#72		Amplitude		#73		Amplitude				36.5		74		40				68		215		283		0.7597173145										17		376		393		0.9567430025																		125		311		27		338		0.8989361702

		27		249		38		311				37.5		84		30				41		253		294		0.8605442177										1		386		387		0.9974160207																		150		342		10		352		0.9361702128

		28		71		39		106				38		89		25				41		249		290		0.8586206897										20		355		375		0.9466666667																		200		355		10		365		0.9707446809

		28.5		25		40		20																																																				300		376		0		376		1

		29		0		41		31																																																				400		383		0		383		1.0186170213

		30		58		42		154

		31		256		43		334

		Bias 250 V		Strip #		Centre		Distance		100 V		Local coord.						(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				150 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		300 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		200 V		Pulse Left		Pulse Right		Pulse sum		h		Volt scan		#92		#93		Total		Normalised

				92		37.8		116				40		22		94		20		146		41		187		0.2192513369		0		0						259		24		283		0.0848056537						352		15		367		0.0408719346				331		20		351		0.056980057		50		65		10		75		0.2049180328

				93		49.4						41		32		84		20		140		44		184		0.2391304348		116		1						246		34		280		0.1214285714						369		27		396		0.0681818182				334		29		363		0.0798898072		75		95		10		105		0.2868852459

												42		42		74		24		112		51		163		0.3128834356										208		65		273		0.2380952381						355		36		391		0.0920716113				300		55		355		0.1549295775		100		129		27		156		0.4262295082

												44.5		67		49		0		68		89		157		0.5668789809										82		143		225		0.6355555556						65		256		321		0.7975077882				71		215		286		0.7517482517		125		167		27		194		0.5300546448

		#92		Amplitude		#93		Amplitude				45		72		44				71		103		174		0.591954023										78		198		276		0.7173913043						37		334		371		0.9002695418				54		291		345		0.8434782609		150		236		30		266		0.7267759563

		35		352		47		345				46		82		34				54		123		177		0.6949152542										54		236		290		0.8137931034						1		370		371		0.9973045822				41		328		369		0.8888888889		200		328		0		328		0.8961748634

		36		143		48		68				47		92		24				48		133		181		0.7348066298										48		259		307		0.8436482085						10		359		369		0.972899729				35		331		366		0.9043715847		250		355		0		355		0.9699453552

		37		17		49		0																																																										300		366		0		366		1

		38		17		49.5		0																																																										400		379		0		379		1.0355191257

		39		95		50		0

		40		325		51		116

						52		321

		Bias 250 V		Strip #		Centre		Distance		20 V		Local coord.						(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				50 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		200 V		Pulse Left		Pulse Right		Pulse sum		h								Volt scan		#32		#33		Total		Normalised

				32		43.2		108				45.5		23		85		24		188		30		218		0.1376146789		0		0				24		317		14		331		0.0422960725				400		15		415		0.0361445783								10		89		41		130		0.3147699758

				33		54						46.5		33		75		20		174		44		218		0.2018348624		108		1				20		325		30		355		0.0845070423				410		25		435		0.0574712644								20		171		41		212		0.5133171913

												47.5		43		65		24		123		65		188		0.3457446809								20		242		74		316		0.2341772152				342		37		379		0.0976253298								30		232		34		266		0.6440677966

												49		58		50		0		41		58		99		0.5858585859										44		109		153		0.7124183007				51		164		215		0.7627906977								50		321		0		321		0.7772397094

		#32		Amplitude		#33		Amplitude				49.5		63		45				68		116		184		0.6304347826										68		212		280		0.7571428571				65		297		362		0.820441989								75		362		0		362		0.8765133172

		40		393		51		413				50.5		73		35				58		157		215		0.7302325581										44		297		341		0.8709677419				24		389		413		0.9418886199								100		383		0		383		0.9273607748

		41		181		52		291				51		78		30				48		164		212		0.7735849057										41		304		345		0.8811594203				15		393		408		0.9632352941								150		396		0		396		0.9588377724

		42		31		53		51																																																				200		413		0		413		1

		43		24		54		17																																																				300		420		0		420		1.0169491525

		44		80		55		50

		45		359		56		280

						57		403

		Bias 250 V		Strip #		Centre		Distance		50 V		Local coord.						(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				100 V		Pulse Left		Pulse Right		Pulse sum		h		300 V		Pulse Left		Pulse Right		Pulse sum		h										Volt scan		#53		#54		#55		#56		Total		Normalised

				54		39		110				42.5		35		75		24		259		37		296		0.125		0		0				352		15		367		0.0408719346				400		17		417		0.0407673861										10		13		27		41		13		68		0.17

				55		50						43		40		70		24		222		48		270		0.1777777778		110		1				331		25		356		0.0702247191				393		29		422		0.0687203791										25		20		61		109		20		170		0.425

												44		50		60		0		123		58		181		0.320441989								195		55		250		0.22				239		61		300		0.2033333333										50				266		41				307		0.7675

												45.5		65		45		0		51		116		167		0.6946107784								42		178		220		0.8090909091				61		215		276		0.7789855072										75				334		14				348		0.87

		#54		Amplitude		#55		Amplitude				46		70		40				70		201		271		0.741697417								51		308		359		0.8579387187				51		355		406		0.8743842365										100				359		0				359		0.8975

		37		352		47		400				47		80		30				43		260		303		0.8580858086								17		355		372		0.9543010753				1		400		401		0.9975062344										150				372		0				372		0.93

		38		44		48		280																																																				200				383		0				383		0.9575

		39		27		49		41																																																				250				396		0				396		0.99

		40		51		50		20																																																				300				400		0				400		1

		41		266		51		51								512		63		575																																								400				406						406		1.015

		42		390		52		273

						53		410

		Bias 250 V		Strip #		Centre		Distance		50 V		Local coord.						(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				100 V		Pulse Left		Pulse Right		Pulse sum		h		250 V		Pulse Left		Pulse Right		Pulse sum		h										Volt scan		#64		#65		Total		Normalised

				63		1		120				4.5		35		85		37		161		65		226		0.2876106195		0		0				317		15		332		0.0451807229				376		15		391		0.0383631714										25		34		75		109		0.2632850242

				64		13						5.5		45		75		30		137		82		219		0.3744292237		120		1				297		50		347		0.144092219				376		39		415		0.0939759036										50		55		164		219		0.5289855072

												6		50		70		0		123		78		201		0.3880597015								249		54		303		0.1782178218				325		61		386		0.1580310881										75		37		290		327		0.7898550725

												7.5		65		55		0		38		51		89		0.5730337079								40		106		146		0.7260273973				51		129		180		0.7166666667										100		27		330		357		0.8623188406

		#63		Amplitude		#64		Amplitude				8		70		50				71		103		174		0.591954023								61		242		303		0.798679868				58		300		358		0.8379888268										150		27		359		386		0.9323671498

		-1		352		10		400				9		80		40				75		143		218		0.6559633028								41		325		366		0.8879781421				31		372		403		0.9230769231										200		24		372		396		0.9565217391

		0		44		11		280				10		90		30				51		164		215		0.7627906977								34		334		368		0.9076086957				20		389		409		0.9511002445										250		20		379		399		0.9637681159

		1		27		12		41																																																				300		24		382		406		0.9806763285

		2		51		13		20																																																				350		24		390		414		1

		3		266		14		51

		4		390		15		273





Irr. corr (5)

		0		1		0

		0				0

		0				0

		0				0

		0				0

		0				0

		0				0

		0				0

		0

		0



0

1

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



Irr. corr. (6)

		

		Vfd

		Normalised		10		30		50		70		120

		50		0.2016		0.2		0.1500938086		0.1529411765		0.2610294118

		100		0.3248		0.2585365854		0.3114446529		0.3025210084		0.4393382353

		150		0.4832		0.4170731707		0.4671669794		0.4352941176		0.8088235294

		200		0.656		0.6		0.6303939962		0.6268907563		0.9227941176

		250		0.8032		0.8097560976		0.8105065666		0.7613445378		0.9430147059

		300		0.9104		0.856097561		0.8780487805		0.8789915966		0.9411764706

		350		0.928		0.8902439024		0.9099437148		0.9176470588		0.9724264706

		400		0.9696		0.9268292683		0.9230769231		0.9193277311		0.9852941176

		500		1		1		1		1		1

		Strip #		VFD

		10

		30

		50

		70

		120

		Eta scan		#10		#11

								D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		Norm. pulse

								20		90		239		62		301		0.2059800664		0		0				20		90		409		59		468		0.1260683761		0.6688888889

								30		80		350		76		426		0.1784037559		110		1				30		80		582		32		614		0.0521172638		0.9466666667

								40		70		298		104		402		0.2587064677								40		70		520		60		580		0.1034482759		0.8933333333

								50		60		149		83		232		0.3577586207								50		60		270		76		346		0.2196531792		0.5155555556

								60		50		90		152		242		0.6280991736								60		50		100		281		381		0.7375328084		0.5377777778

								70		40		118		291		409		0.7114914425								70		40		80		544		624		0.8717948718		0.9088888889

								80		30		94		357		451		0.7915742794								80		30		55		564		619		0.9111470113		1.0022222222

								90		20		80		277		357		0.7759103641								90		20		76		447		523		0.8546845124		0.7933333333

				#30		#31		200 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		Norm. pulse

										20		90		114		61		175		0.3485714286		0		0				20		90		195		58		253		0.2292490119		0.6730769231

										30		80		168		47		215		0.2186046512		110		1				30		80		309		15		324		0.0462962963		0.8269230769

										40		70		160		75		235		0.3191489362								40		70		328		27		355		0.076056338		0.9038461538

										50		60		95		73		168		0.4345238095								50		60		161		58		219		0.2648401826		0.6461538462

										60		50		39		65		104		0.625								60		50		56		91		147		0.619047619		0.4

										70		40		58		147		205		0.7170731707								70		40		51		303		354		0.8559322034		0.7884615385

										80		30		52		203		255		0.7960784314								80		30		15		372		387		0.9612403101		0.9807692308

										90		20		42		198		240		0.825								90		20		10		367		377		0.9734748011		0.9230769231

				#50		#51		200 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		Norm. pulse

										20		90		253		45		298		0.1510067114		0		0				20		90		429		24		453		0.0529801325		0.903030303

										30		80		225		55		280		0.1964285714		110		1				30		80		423		32		455		0.0703296703		0.8484848485

										40		70		177		86		263		0.3269961977								40		70		385		72		457		0.1575492341		0.796969697

										50		60		0		0		0										50		60		0		0		0		0		0

										60		50		62		128		190		0.6736842105								60		50		69		267		336		0.7946428571		0.5757575758

										70		40		83		232		315		0.7365079365								70		40		42		461		503		0.916500994		0.9545454545

										80		30		52		277		329		0.8419452888								80		30		28		461		489		0.9427402863		0.996969697

										90		20		55		270		325		0.8307692308								90		20		24		468		492		0.9512195122		0.9848484848

				#70		#71		200 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		Norm. pulse

										20		95		263		55		318		0.1729559748		0		0				20		95		395		59		454		0.1299559471		0.7066666667

										30		85		374		42		416		0.1009615385		115		1				30		85		547		20		567		0.0352733686		0.9244444444

										40		75		315		76		391		0.1943734015								40		75		550		38		588		0.0646258503		0.8688888889

										50		65		121		55		176		0.3125								50		65		204		58		262		0.2213740458		0.3911111111

										60		55		48		50		98		0.5102040816								60		55		59		83		142		0.5845070423		0.2177777778

										70		45		114		253		367		0.689373297								70		45		66		499		565		0.8831858407		0.8155555556

										80		35		76		333		409		0.8141809291								80		35		38		561		599		0.9365609349		0.9088888889

										90		25		66		381		447		0.8523489933								90		25		34		513		547		0.9378427788		0.9933333333

				#120		#121		200 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		Norm. pulse

										20		100		346		121		467		0.2591006424		0		0				20		100		377		135		512		0.263671875		0.6867647059

										30		90		616		59		675		0.0874074074		115		1				30		90		682		48		730		0.0657534247		0.9926470588

										40		80		616		62		678		0.0914454277								40		80		665		52		717		0.0725244073		0.9970588235

										50		70		308		55		363		0.1515151515								50		70		385		66		451		0.1463414634		0.7117647059

										60		60		59		59		118		0.5								60		60		66		66		132		0.5		0.231372549

										70		50		90		360		450		0.8								70		50		86		450		536		0.8395522388		0.8823529412

										80		40		59		450		509		0.884086444								80		40		42		520		562		0.9252669039		0.9980392157

										90		30		38		468		506		0.9249011858								90		30		28		523		551		0.9491833031		0.9921568627

				Sample of metal strip scan

		#10		#10		Amplitude		Norm. ampl.

		25.5		0		491		0.982

		26		5		376		0.752

		26.5		10		173		0.346

		27.5		20		0		0

		28		25		0		0

		28.5		30		0		0

		29.5		40		108.6		0.2172

		30		45		310		0.62

		30.5		50		472		0.944

		Strip		#90		#91		200 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		Pulse Left		Pulse Right		Pulse sum		h

										38		30		87.5		329		38		367		0.1035422343		0		0				436		14		450		0.0311111111

										39		40		77.5		281		69		350		0.1971428571		117.5		1				433		25		458		0.0545851528

										40		50		67.5		142		83		225		0.3688888889								235		76		311		0.2443729904

										41		60		57.5		52		86		138		0.6231884058								38		136		174		0.7816091954

										42		70		47.5		94		274		368		0.7445652174								48		485		533		0.9099437148

										43		80		37.5		48		385		433		0.8891454965								0		526		526		1

										44		90		27.5		38		402		440		0.9136363636								0		523		523		1

		Strip #		150 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				200 V		Pulse Left		Pulse Right		Pulse sum		h		400 V		Pulse Left		Pulse Right		Pulse sum		h

		100				24		30		85		276		71		347		0.204610951		0		0				405		25		430		0.0581395349				509		24		533		0.0450281426

		101				25		40		75		233		104		337		0.3086053412		115		1				388		74		462		0.1601731602				516		38		554		0.0685920578

						26		50		65		91		57		148		0.3851351351								142		54		196		0.2755102041				219		62		281		0.2206405694

						27		60		55		51		67		118		0.5677966102								64		101		165		0.6121212121				67		148		215		0.688372093

						28		70		45		121		202		323		0.6253869969								111		317		428		0.7406542056				61		476		537		0.886405959

						29		80		35		91		250		341		0.7331378299								71		385		456		0.8442982456				37		496		533		0.9305816135

						30		90		25		74		290		364		0.7967032967								57		425		482		0.8817427386				34		519		553		0.938517179

		New 0 position

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.						#119		Int 1		#120				#121		Int 3		#122		Sum		h		Ideal				200 V		Local coord.						#119		Int 1		#120				#121		Int 3		#122		Sum		h		400 V		Local coord.						#119		Int 1		#120				#121		Int 3		#122		Sum		h

				120		22.2		118				25		28		90		32		0		333		23		50		0		0		383		0.1305483029		0		0				25		250		-250		13		0		396		-13		35		0		0		431		0.0812064965				25		250		-250		10		0		469		-23		32		0		0		501		0.0638722555

				121		34						26		38		80		32		0		314		30		54		0		0		368		0.1467391304		118		1				26		260		-260		23		0		424		-13		36		0		0		460		0.0782608696				26		260		-260		0		0		469		-27		30		0		0		499		0.0601202405

												27		48		70		27		0		259		54		86		0		13		345		0.2492753623								27		270		-270		0		0		387		23		68		0		0		455		0.1494505495				27		270		-270		0		0		492		-23		63		0		0		555		0.1135135135

												28		58		60		0		0		41		0		27		0		0		68		0.3970588235								28		280		-280		0		0		59		0		41		0		0		100		0.41				28		280		-280		0		0		77		0		45		0		0		122		0.368852459

		#121		Ampitude		#121		Amplitude				29		68		50		18		0		68		41		132		0		32		200		0.66								29		290		-290		0		0		59		32		178		0		0		237		0.7510548523				29		290		-290		0		0		73		18		273		0		32		346		0.789017341

		20		483		32		451				30		78		40		18		0		86		68		264		0		27		350		0.7542857143								30		300		-300		0		0		50		10		506		-18		0		556		0.9100719424				30		300		-300		0		0		50		10		506		-18		0		556		0.9100719424

		21		86		33		54				31		88		30		0				63		50		342		0		32		405		0.8444444444								31		310		-310		0		0		41		18		428		-23		18		469		0.9125799574				31		310		-310		0		0		36		0		496		-23		18		532		0.9323308271

		22		45		34		32

		23		23		35		45				Estimated strip width:

		24		154		36		387				35 µm

		25		470





Irr. corr. (6)

		



200 Volts

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #650-651



Irradiated (6)

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.						Pulse 24		Pulse 25		Pulse sum		h		ideal				400 V		Local coord.						Pulse 24		Pulse 25		Pulse sum		h

				24		22.2		120				24.5		23		97		589		98		687		0.1426491994		0		0				24.5		23		97		841		0		841		0

				25		34.2						25.5		33		87		663		135		798		0.1691729323		120		1				25.5		33		87		892		0		892		0

												26.5		43		77		565		140		705		0.1985815603								26.5		43		77		841		61		902		0.0676274945

												27.5		53		67		425		233		658		0.3541033435								27.5		53		67		715		332		1047		0.3170964661

		#24		Amplitude		#25		Amplitude				28		58		62		388		318		706		0.4504249292								28		58		62		607		514		1121		0.4585191793

		20.5		715		32		738				28.5		63		57		322		388		710		0.5464788732								28.5		63		57		402		691		1093		0.6322049405

		21		579		32.5		663				29.5		73		47		196		520		716		0.7262569832								29.5		73		47		135		888		1023		0.8680351906

		21.5		462		33		486				30.5		83		37		201		645		846		0.7624113475								30.5		83		37		140		906		1046		0.8661567878

		22		374		33.5		402				31.5		93		27		140		551		691		0.7973950796								31.5		93		27		112		850		962		0.8835758836

		22.5		340		34		336				32		98		22		112		490		602		0.8139534884								32		98		22		98		771		869		0.8872266974

		23		416		34.5		327

		23.5		551		35		378

		24		631		35.5		462

		24.5		757		36		603

						36.5		705

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D39		D40		Pulse 39		Pulse 40		Pulse sum		h		ideal				400 V		Local coord.		D39		D40		Pulse 39		Pulse 40		Pulse sum		h

				39		38.5		120				41		25		95		537		98		635		0.1543307087		0		0				41		25		95		818		0		818		0

				40		50.5						42		35		85		598		159		757		0.2100396301		120		1				42		35		85		850		0		850		0

												43		45		75		495		159		654		0.2431192661								43		45		75		780		60		840		0.0714285714

												44		55		65		378		290		668		0.4341317365								44		55		65		663		397		1060		0.3745283019

		#39		Amplitude		#40		Amplitude				45		65		55		252		411		663		0.6199095023								45		65		55		360		673		1033		0.651500484

		37.5		446		49.5		474				46		75		45		168		547		715		0.765034965								46		75		45		126		892		1018		0.8762278978

		38.5		265		50.5		339				47		85		35		173		659		832		0.7920673077								47		85		35		103		897		1000		0.897

		39		274		51		367				48		95		25		135		603		738		0.8170731707								48		95		25		89		836		925		0.9037837838

		39.5		395		51.5		442				49		105		15		84		406		490		0.8285714286								49		105		15		84		682		766		0.8903394256

		40.5		553		52.5		679				50		115		5		70		276		346		0.7976878613								50		115		5		65		462		527		0.8766603416

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D64		D65		Pulse 64		Pulse 65		Pulse sum		h		ideal				400 V		Local coord.		D64		D65		Pulse 64		Pulse 65		Pulse sum		h

				64		38		118				39.5		15		103		509		84		593		0.1416526138		0		0				39.5		15		103		761		0		761		0

				65		49.8						40.5		25		93		738		135		873		0.1546391753		120		1				40.5		25		93		836		0		836		0

												41.5		35		83		715		135		850		0.1588235294								41.5		35		83		888		0		888		0

												42.5		45		73		593		206		799		0.2578222778								42.5		45		73		803		177		980		0.5581632653

		#64		Amplitude		#65		Amplitude				43.5		55		63		472		383		855		0.4479532164								43.5		55		63		654		547		1201		0.6378018318

		37		458		48.5		537				44.5		65		53		313		530		843		0.6287069988								44.5		65		53		318		766		1084		0.7066420664

		38		322		49.5		322				45.5		75		43		219		696		915		0.7606557377								45.5		75		43		126		902		1028		0.8774319066

		38.5		472		50		332				46.5		85		33		224		748		972		0.7695473251								46.5		85		33		131		916		1047		0.8748806113

		39		579		50.5		411				47.5		95		23		135		589		724		0.8135359116								47.5		95		23		98		813		911		0.8924259056

		40		813		51.5		705				48		100		18		121		514		635		0.8094488189								48		100		18		107		733		840		0.8726190476

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D85		D86		Pulse 85		Pulse 86		Pulse sum		h		ideal				400 V		Local coord.		D85		D86		Pulse 85		Pulse 86		Pulse sum		h		h-1

				85		46.5		120				47		5		115		472		89		561		0.8413547237		0		0				47		5		115		551		65		616		0.1055194805		0.8944805195

				86		58.5						48		15		105		705		89		794		0.8879093199		120		1				48		15		105		813		51		864		0.0590277778		0.9409722222

												49		25		95		864		117		981		0.880733945								49		25		95		920		0		920		0		1

												50		35		85		874		187		1061		0.8237511781								50		35		85		911		70		981		0.0713557594		0.9286442406

		#85		Amplitude		#86		Amplitude				51		45		75		799		201		1000		0.799								51		45		75		897		107		1004		0.1065737052		0.8934262948

		45		654		57		663				52		55		65		645		486		1131		0.5702917772								52		55		65		780		589		1369		0.4302410519		0.5697589481

		46		462		58		504				53		65		55		430		705		1135		0.3788546256								53		65		55		453		794		1247		0.6367281476		0.3632718524

		46.5		486		58.5		477				54		75		45		248		813		1061		0.2337417531								54		75		45		126		874		1000		0.874		0.126

		47		598		59		598				55		85		35		266		860		1126		0.2362344583								55		85		35		131		883		1014		0.8708086785		0.1291913215

		48		775		60		813				56		95		25		149		771		920		0.1619565217								56		95		25		107		845		952		0.887605042		0.112394958

												57		105		15		112		654		766		0.1462140992								57		105		15		93		705		798		0.8834586466		0.1165413534

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D85		D86		Pulse 85		Pulse 86		Pulse sum		h		ideal				Local coord.		D85		D86		Pulse 85		Pulse 86		Pulse sum		h

				120		25.5		120				27.5		20		100		472		89		561		0.1586452763		0		0		27.5		20		100		845		210		1055		0.1990521327

				121		37.5						28.5		30		90		705		89		794		0.1120906801		120		1		28.5		30		90		892		173		1065		0.1624413146

												29.5		40		80		864		117		981		0.119266055						29.5		40		80		916		177		1093		0.1619396157

												30.5		50		70		874		187		1061		0.1762488219						30.5		50		70		850		570		1420		0.4014084507

		#120		Amplitude		#121		Amplitude				31.5		60		60		799		201		1000		0.201						31.5		60		60		640		827		1467		0.5637355147

		24.5		719		36		794				32.5		70		50		645		486		1131		0.4297082228						32.5		70		50		187		900		1087		0.8279668813

		25.5		369		37		519				33.5		80		40		430		705		1135		0.6211453744						33.5		80		40		112		920		1032		0.8914728682

		26		561		37.5		481				34.5		90		30		248		813		1061		0.7662582469						34.5		90		30		177		911		1088		0.8373161765

		26.5		794		38		757				35.5		100		20		266		860		1126		0.7637655417						35.5		100		20		154		855		1009		0.8473736373

		27.5		902		39		888				36.5		110		10		635		771		1406		0.5483641536						36.5		110		10		168		673		841		0.8002378121

				Strip numbers																																																														Normalised

		Bias		24		25		total		39		40		total		64		65		total		84		85		86		87		total		total		64		65		total		99		100		total		73		74		total		120		121		total										1		2		3		4		5		6		7

		50		173		56		229		32		140		172		79		187		266		51		191		149		42		433		340		139		354		493		163		189		352		200		88		288		453		173		626										0.257751938		0.2470978441		0.2458423717		0.3912698413		0.2693190513		0.24		0.5424610052

		100		257		61		318		70		257		327		159		378		537		70		330		257		56		713		587		232		604		836		316		373		689		421		201		622		719		383		1102										0.5203488372		0.4262023217		0.424439624		0.6634920635		0.5271614384		0.5183333333		0.9549393414

		150		402		93		495		117		411		528		210		532		742		100		514		402		75		1091		916		378		796		1174		426		516		942		593		294		887		934		229		1163										0.7189922481		0.6666666667		0.6623282719		0.9317460317		0.7207345065		0.7391666667		1.0077989601

		200		589		98		687		131		589		720		219		719		938		75		659		467		47		1248		1126		378		889		1267		479		612		1091		779		255		1034		953		223		1176										0.9089147287		0.7744610282		0.8141720897		1.0055555556		0.8347360367		0.8616666667		1.0190641248

		250		748		0		748		112		743		855		191		818		1009		60		743		519		32		1354		1262		308		941		1249		506		699		1205		950		245		1195		948		238		1186										0.9777131783		0.8606965174		0.9125090383		0.9912698413		0.921958684		0.9958333333		1.027729636

		300		775		0		775		98		813		911		159		892		1051		51		771		551				1373		1322		250		994		1244		516		742		1258		1000		167		1167		948		215		1163										1.0184108527		0.9137645108		0.9558929863		0.9873015873		0.9625095639		0.9725		1.0077989601

		350		803		0		803		89		841		930		145		888		1033		37		743		547				1327		1290		221		1017		1238		512		742		1254		1053		167		1220		939		206		1145										1.0009689922		0.9071310116		0.9327548807		0.9825396825		0.9594491201		1.0166666667		0.9922010399

		400		841		0		841		89		892		981		140		888		1028		32		743		542				1317		1285		221		1029		1250		516		745		1261		1063		176		1239		950		238		1188										0.996124031		0.8988391376		0.9291395517		0.9920634921		0.9648048967		1.0325		1.0294627383

		500		860		0		860		84		850		934		154		878		1032		47		780		603				1430		1383		220		1040		1260		522		785		1307		1063		137		1200		944		210		1154										1		1		1		1		1		1		1

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D64		D65		Pulse 64		Pulse 65		Pulse sum		h		ideal				Local coord.		D64		D65		Pulse 64		Pulse 65		Pulse sum		h

				64		41		120				43		20		100		901		198		1099		0.1801637853		0		0		43		20		100		994		157		1151		0.1364031277

				65		53						44		30		90		930		343		1273		0.2694422624		120		1		44		30		90		1000		190		1190		0.1596638655

												45		40		80		901		337		1238		0.2722132472						45		40		80		970		180		1150		0.1565217391

												46		50		70		773		529		1302		0.4062980031						46		50		70		901		575		1476		0.3895663957

		#64		Amplitude		#65		Amplitude				47		60		60		616		755		1371		0.5506929249						47		60		60		762		883		1645		0.5367781155

		39		889		51		906				48		70		50		424		860		1284		0.6697819315						48		70		50		256		947		1203		0.78719867

		40		703		52		726				49		80		40		420		959		1379		0.6954314721						49		80		40		186		988		1174		0.8415672913

		40.5		453		52.5		465				50		90		30		325		912		1237		0.7372675829						50		90		30		192		994		1186		0.8381112985

		41		395		53		424				51		100		20		227		831		1058		0.7854442344						51		100		20		180		924		1104		0.8369565217

		42		837		54		813

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D99		D100		Pulse 99		Pulse 100		Pulse sum		h		ideal				Local coord.		D99		D100		Pulse 99		Pulse 100		Pulse sum		h

				99		4		120				6		20		100		872		86		958		0.0897703549		0		0		6		20		100		908		0		908		0

				100		16						7		30		90		902		140		1042		0.1343570058		120		1		7		30		90		942		23		965		0.0238341969

												8		40		80		855		133		988		0.1346153846						8		40		80		918		43		961		0.0447450572

												9		50		70		722		100		822		0.1216545012						9		50		70		815		403		1218		0.3308702791

		#99		Amplitude		#100		Amplitude				10		60		60		532		652		1184		0.5506756757						10		60		60		549		745		1294		0.5757341577

		2		832		14		772				11		70		50		270		785		1055		0.7440758294						11		70		50		130		892		1022		0.8727984344

		3		691		15		562				12		80		40		226		888		1114		0.7971274686						12		80		40		86		945		1031		0.916585839

		3.5		452		15.5		393				13		90		30		206		878		1084		0.8099630996						13		90		30		93		905		998		0.9068136273

		4		393		16		432				14		100		20		180		749		929		0.8062432723						14		100		20		165		815		980		0.8316326531

		5		729		17		749

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D73		D74		Pulse 73		Pulse 74		Pulse sum		h		ideal				Local coord.		D73		D74		Pulse 73		Pulse 74		Pulse sum		h

				73		5.5		120				6		5		115		384		384		768		0.5		0		0		6		5		115		503		503		1006		0.5

				74		17.5						7		15		105		648		113		761		0.1484888305		120		1		7		15		105		761		25		786		0.0318066158

												8		25		95		799		138		937		0.1472785486						8		25		95		899		22		921		0.0238870793

												9		35		85		818		157		975		0.161025641						9		35		85		950		16		966		0.016563147

		#73		Amplitude		#74		Amplitude				10		45		75		657		223		880		0.2534090909						10		45		75		872		111		983		0.1129196338

		3.5		767		15.5		755				11		55		65		555		456		1011		0.4510385757						11		55		65		761		531		1292		0.4109907121

		4.5		569		16.5		549				12		65		55		353		603		956		0.6307531381						12		65		55		317		797		1114		0.7154398564

		5		368		17		362				13		75		45		270		837		1107		0.756097561						13		75		45		108		1093		1201		0.9100749376

		5.5		299		17.5		396				14		85		35		309		936		1245		0.7518072289						14		85		35		108		1112		1220		0.9114754098

		6.5		613		18		679				15		95		25		230		916		1146		0.7993019197						15		95		25		83		1044		1127		0.92635315

		Strip #		10		11		Total		30		31		Total		50		51		Total		70		71		Total		90		91		Total		110		111		Total		Normalised		10		30		50		70		90		110

		50		67		15		82		38		8		46		36		15		51		50		10		60		74		18		92		616		180		796		50		0.1876430206		0.1916666667		0.2015810277		0.1754385965		0.2105263158		0.6683459278

		100		119		37		156		66		11		77		60		27		87		79		26		105		126		33		159		831		331		1162		100		0.356979405		0.3208333333		0.3438735178		0.3070175439		0.3638443936		0.9756507137

		150		158		43		201		86		23		109		85		27		112		116		34		150		208		54		262		906		285		1191		150		0.4599542334		0.4541666667		0.442687747		0.4385964912		0.5995423341		1

		200		262		34		296		138		18		156		136		27		163		186		30		216		324		0		324		936		198		1134		200		0.6773455378		0.65		0.6442687747		0.6315789474		0.7414187643		0.9521410579

		250		353		0		353		186		0		186		186		0		186		255		0		255		371		0		371		941		157		1098		250		0.8077803204		0.775		0.7351778656		0.7456140351		0.8489702517		0.9219143577

		300		398		0		398		213		0		213		215		0		215		282		0		282		391		0		391		941		168		1109		300		0.9107551487		0.8875		0.8498023715		0.8245614035		0.8947368421		0.9311502939

		350		429		0		429		231		0		231		225		0		225		295		0		295		417		0		417		953		128		1081		350		0.9816933638		0.9625		0.8893280632		0.8625730994		0.9542334096		0.9076406381

		400		429		0		429		234		0		234		245		0		245		312		0		312		429		0		429		970		163		1133		400		0.9816933638		0.975		0.9683794466		0.9122807018		0.9816933638		0.9513014274

		500		437		0		437		240		0		240		253		0		253		342		0		342		437		0		437		965		157		1122		500		1		1		1		1		1		0.9420654912

		Norm. factor						409.2						220.8						224.8						297.2						409						1108.6

																																																																																																		Routing/Total

																																																																														Strip 120-121				Pos. 39						Strip 120-121				Pos. 41.5

		Strip #		10		11		Total		30		31		Total		50		51		Total		70		71		Total		90		91		Total		110		111		Total		120		int 1		121		int 2		Total						Normalised		10		30		50		70		90		110		120										120		int 1		121		int 2				120		int 1		121		int 2				Rout. 1		Tot.1		Rou. 2		Tot. 2		Rout. 3		Tot. 3		Ratio 1		Ratio 2		Ratio 3

		50		41		85		126		24		58		82		0		80		80		15		76		91														38		21		104		-10		142						50		0.2016		0.2		0.1500938086		0.1529411765		0		0		0.2610294118								50		52		10		24		-10				28		20		70		-10				21		142		10		86		20		118		0.1478873239		0.1162790698		0.1694915254

		100		63		140		203		22		84		106		31		135		166		38		142		180														62		34		177		-21		239						100		0.3248		0.2585365854		0.3114446529		0.3025210084		0		0		0.4393382353								100		97		24		48		-17				66		38		135		-10				34		239		24		169		38		239		0.1422594142		0.1420118343		0.1589958159

		150		92		210		302		38		133		171		52		197		249		48		211		259														55		24		385		-31		440						150		0.4832		0.4170731707		0.4671669794		0.4352941176		0		0		0.8088235294								150		222		17		52		-17				66		38		284		-20				24		440		17		291		38		388		0.0545454545		0.058419244		0.0979381443

		200		81		329		410		39		207		246		45		291		336		48		325		373														48		15		454		-24		502						200		0.656		0.6		0.6303939962		0.6268907563		0		0		0.9227941176								200		287		0		55		0				55		21		395		-30				15		502		0		342		21		471		0.0298804781		0		0.0445859873

		250		59		443		502		32		300		332		34		398		432		24		429		453														45		0		468		-34		513						250		0.8032		0.8097560976		0.8105065666		0.7613445378		0		0		0.9430147059								250		308		-24		55		0				42		0		436		-45				0		513		-24		339		0		478		0		-0.0707964602		0

		300		59		510		569		30		321		351		35		433		468		28		495		523														34		-10		478		-34		512						300		0.9104		0.856097561		0.8780487805		0.8789915966		0		0		0.9411764706								300		308		-17		62		0				55		0		454		-42				-10		512		-17		353		0		509		-0.01953125		-0.0481586402		0

		350		50		530		580		23		342		365		31		454		485		30		516		546														34		-17		495		-34		529						350		0.928		0.8902439024		0.9099437148		0.9176470588		0		0		0.9724264706								350		315		-25		62		0				48		0		478		-45				-17		529		-25		352		0		526		-0.0321361059		-0.0710227273		0

		400		45		561		606		10		370		380		24		468		492		34		513		547														34		-17		502		-34		536						400		0.9696		0.9268292683		0.9230769231		0.9193277311		0		0		0.9852941176								400		315		-28		55		0				42		0		485		-38				-17		536		-28		342		0		527		-0.0317164179		-0.081871345		0

		500		45		580		625		10		400		410		10		523		533		34		561		595						1						1		34		-17		510		-34		544						500		1		1		1		1		1		1		1								500		340		-31		55		0				52		0		520		-38				-17		544		-31		364		0		572		-0.03125		-0.0851648352		0

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h		ideal

				10		24		110				26		20		90		239		62		301		0.2059800664		0		0				26		20		90		409		59		468		0.1260683761		0		0

				11		35						27		30		80		350		76		426		0.1784037559		110		1				27		30		80		582		0		582		0		110		1

												28		40		70		298		104		402		0.2587064677								28		40		70		520		52		572		0.0909090909

												29		50		60		149		83		232		0.3577586207								29		50		60		270		76		346		0.2196531792

		#10		Amplitude		#11		Amplitude				30		60		50		90		152		242		0.6280991736								30		60		50		100		281		381		0.7375328084

		25.5		491		37		343				31		70		40		118		291		409		0.7114914425								31		70		40		80		544		624		0.8717948718

		26		376		38		0				32		80		30		94		357		451		0.7915742794								32		80		30		55		564		619		0.9111470113

		26.5		173		39		0				33		90		20		80		277		357		0.7759103641								33		90		20		76		447		523		0.8546845124

		27.5		0		40		0

		28		0		41		406						25		0.1354679803																						25		0

		28.5		0										35		0.2190721649																						35		0

		29.5		108.6										45		0.3144329897																						45		0

		30		310										48		0.3333333333																						48		0.1697247706

		30.5		472										65		0.6071428571																						65		0.7439759036

														75		0.7055702918																						75		0.8892794376

														85		0.7814726841																						85		1

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h		ideal				400V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h

				30		22		110				24		20		90		114		61		175		0.3485714286		0		0				24		20		90		195		58		253		0.2292490119

				31		33						25		30		80		168		47		215		0.2186046512		110		1				25		30		80		309		0		309		0

												26		40		70		160		75		235		0.3191489362								26		40		70		328		0		328		0

												27		50		60		95		73		168		0.4345238095								27		50		60		161		58		219		0.2648401826

		#30		Amplitude		#31		Amplitude				28		60		50		39		65		104		0.625								28		60		50		56		91		147		0.619047619

		18.5		210		31		280				29		70		40		58		147		205		0.7170731707								29		70		40		51		303		354		0.8559322034

		19.5		163		32		67				30		80		30		52		203		255		0.7960784314								30		80		30		5		372		377		0.9867374005

		20.5		91		33		47				31		90		20		42		198		240		0.825								31		90		20		10		367		377		0.9734748011

		21.5		37		34		49

		22.5		39		35		212

		23.5		137

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h

				50		49		110				51		20		90		253		45		298		0.1510067114		0		0				51		20		90		429		0		429		0

				51		60						52		30		80		225		55		280		0.1964285714		110		1				52		30		80		423		0		423		0

												53		40		70		177		86		263		0.3269961977								53		40		70		385		52		437		0.118993135

												54		50		60		0		0		0		0								54		50		60		0		0		0		0

		#50		Amplitude		#51		Amplitude				55		60		50		62		128		190		0.6736842105								55		60		50		69		267		336		0.7946428571

		46.5		320		57.5		385				56		70		40		83		232		315		0.7365079365								56		70		40		42		461		503		0.916500994

		47.5		42		58.5		50				57		80		30		52		277		329		0.8419452888								57		80		30		28		461		489		0.9427402863

		48.5		0		59.5		0				58		90		20		55		270		325		0.8307692308								58		90		20		24		468		492		0.9512195122

		49.5		0		60.5		30

		50.5		229		61.5		104						20										0.1510067114										20										0

						62.5		385						30										0.1964285714										30										0

														40										0.3269961977										40										0.118993135

														60										0.6736842105										60										0.7946428571

														70										0.7365079365										70										0.916500994

														80										0.8419452888										80										0.9427402863

														90										0.8307692308										90										0.9512195122

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h

				70		38		115				40		20		95		263		55		318		0.1729559748		0		0				40		20		95		395		59		454		0.1299559471

				71		49.5						41		30		85		374		42		416		0.1009615385		110		1				41		30		85		547		0		547		0

												42		40		75		315		76		391		0.1943734015								42		40		75		550		0		550		0

												43		50		65		121		55		176		0.3125								43		50		65		204		42		246		0.1707317073

		#70		Amplitude		#71		Amplitude				44		60		55		48		50		98		0.5102040816								44		60		55		59		83		142		0.5845070423

		36		429		47.5		190				45		70		45		114		253		367		0.689373297								45		70		45		66		499		565		0.8831858407

		37		52		48.5		31				46		80		35		76		333		409		0.8141809291								46		80		35		38		561		599		0.9365609349

		38		0		49.5		0				47		90		25		66		381		447		0.8523489933								47		90		25		34		513		547		0.9378427788

		39		38		50.5		76

		40		412		51.5		423

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h

				120		34		120				36		20		100		346		121		467		0.2591006424		0		0				36		20		100		377		135		512		0.263671875

				121		46						37		30		90		616		59		675		0.0874074074		110		1				37		30		90		682		48		730		0.0657534247

												38		40		80		616		62		678		0.0914454277								38		40		80		665		52		717		0.0725244073

												39		50		70		308		55		363		0.1515151515								39		50		70		385		66		451		0.1463414634

		#120		Amplitude		#121		Amplitude				40		60		60		59		59		118		0.5								40		60		60		66		66		132		0.5

		32.5		391		44		513				41		70		50		90		360		450		0.8								41		70		50		86		450		536		0.8395522388

		33.5		76		45		86				42		80		40		59		450		509		0.884086444								42		80		40		42		520		562		0.9252669039

		34.5		59		46		69				43		90		30		38		468		506		0.9249011858								43		90		30		28		523		551		0.9491833031

		35.5		142		47		104

		36.5		606		48		475

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h

				90		35		117.5				38		158		-38		329		38		367		0.1035422343		0		0				38		158		-38		436		0		436		0

				91		46.75						39		168		-48		281		69		350		0.1971428571		117.5		1				39		168		-48		433		0		433		0

												40		178		-58		142		83		225		0.3688888889								40		178		-58		235		76		311		0.2443729904

												41		188		-68		52		86		138		0.6231884058								41		188		-68		38		136		174		0.7816091954

		#70		Ampitude		#71		Amplitude				42		198		-78		94		274		368		0.7445652174								42		198		-78		48		485		533		0.9099437148

												43		208		-88		48		385		433		0.8891454965								43		208		-88		0		526		526		1

												44		218		-98		38		402		440		0.9136363636								44		218		-98		0		523		523		1

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h

				90		35		117.5				38		30		87.5		329		38		367		0.1035422343		0		0				38		30		87.5		436		0		436		0

				91		46.75						39		40		77.5		281		69		350		0.1971428571		117.5		1				39		40		77.5		433		0		433		0

												40		50		67.5		142		83		225		0.3688888889								40		50		67.5		235		76		311		0.2443729904

												41		60		57.5		52		86		138		0.6231884058								41		60		57.5		38		136		174		0.7816091954

		#90		Ampitude		#91		Amplitude				42		70		47.5		94		274		368		0.7445652174								42		70		47.5		48		485		533		0.9099437148

		33		346		45		263				43		80		37.5		48		385		433		0.8891454965								43		80		37.5		0		526		526		1

		33.5		160		45.5		94				44		90		27.5		38		402		440		0.9136363636								44		90		27.5		0		523		523		1

		34		55		46		42

		34.5		10		46.5		28

		35		10		47		24

		35.5		15		47.5		59

		36		59		48		138

		36.5		184		49		523

		37		364

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h		ideal				200 V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h		400 V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h

				100		21		115				24		30		85		276		71		347		0.204610951		0		0				24		30		85		405		0		405		0				24		30		85		509		0		509		0

				101		32.5						25		40		75		233		104		337		0.3086053412		115		1				25		40		75		388		74		462		0.1601731602				25		40		75		516		0		516		0

												26		50		65		91		57		148		0.3851351351								26		50		65		142		54		196		0.2755102041				26		50		65		219		54		273		0.1978021978

												27		60		55		51		67		118		0.5677966102								27		60		55		64		101		165		0.6121212121				27		60		55		67		148		215		0.688372093

		#100		Ampitude		#101		Amplitude				28		70		45		121		202		323		0.6253869969								28		70		45		111		317		428		0.7406542056				28		70		45		61		476		537		0.886405959

		18.5		408		31		196				29		80		35		91		250		341		0.7331378299								29		80		35		71		385		456		0.8442982456				29		80		35		37		496		533		0.9305816135

		19.5		108		32		50				30		90		25		74		290		364		0.7967032967								30		90		25		57		425		482		0.8817427386				30		90		25		34		519		553		0.938517179

		20.5		40		32.5		30

		21.5		35		33		37

		22.5		105		33.5		50

		23.5		445		34		101

						35		452

																12		23		34		-10		-18		-23		-27		-27		-27

																																				New												Other position

		Strip #		70		71		Total		90		91		Total		99		100		101		102		Total		Total		Normalised		70		90		100		120		Int 2		121		Int 3		122		Total		119		120		Int 2		121		Total

		50		31		78		109		31		83		114		13		30		101		13		157		131				0.2060491493		0.2054054054		0.2364620939		45		27		100		25		32		145		27		91		18		41		132

		100		53		125		178		45		142		187		20		67		182		33		302		249				0.3364839319		0.3369369369		0.4494584838		68		41		178		10		30		246		30		168		35		68		236

		150		58		180		238		66		232		298		23		74		290		45		432		364				0.449905482		0.5369369369		0.6570397112		63		50		342		0		30		405		35		314		35		54		368

		200		73		290		363		48		374		422		17		57		425		15		514		482				0.6862003781		0.7603603604		0.8700361011		50		27		446		-10		30		496		27		405		0		41		446

		250		51		388		439		31		478		509		0		51		472		5		528		523				0.8298676749		0.9171171171		0.9440433213		41		15		490		-18		23		531		15		433		-18		32		465

		300		38		462		500		17		501		518		0		40		500		0		540		540				0.9451795841		0.9333333333		0.9747292419		36		0		501		-27		18		537		10		446		-20		41		487

		350		33		485		518		20		535		555		0		34		513		0		547		547				0.9792060491		1		0.9873646209		32		0		510		-23		18		542		10		460		-20		36		496

		400		31		498		529		20		535		555		0		34		520		0		554		554				1		1		1		36		0		519		-23		18		555		10		474		-23		36		510

		500		30		540		570		0		578		578		0		34		540		0		574		574				1.0775047259		1.0414414414		1.036101083		32		0		533		-23		18		565		10		483		-23		36		519

		Futher Measurements as a function of the r-position

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.						#119		Int 1		#120				#121		Int 3		#122		Sum		h		Ideal				200 V		Local coord.						#119		Int 1		#120				#121		Int 3		#122		Sum		h		400 V		Local coord.						#119		Int 1		#120				#121		Int 3		#122		Sum		h

				120		19.8		61				21		12		49		47.12		28.88		171.76		28.88		80.56		28.88		41.8		252.32		0.3192771084		0		0				21		12		49		57		36.48		262.2		47.12		117.04		31.16		44.08		379.24		0.3086172345				21		12		49		28.88		0		428.64		-31.16		119.32		0		31.16		547.96		0.2177531207

				121		25.9						22		22		39		44		27		140		27		68		10		31		208		0.3269230769		61		1				22		22		39		62		38		215		51		106		27		31		321		0.3302180685				22		22		39		48		0		431		-17		126		0		10		557		0.2262118492

												23		32		29		0		0		24		0		24		0		0		48		0.5								23		32		29		0		0		34		0		34		0		0		68		0.5				23		32		29		0		0		58		0		65		0		0		123		0.5284552846

												24		42		19		34		15		105		41		212		24		48		317		0.6687697161								24		42		19		51		27		157		85		335		34		62		492		0.6808943089				24		42		19		31		0		130		21		619		-24		34		749		0.826435247

		#121		Ampitude		#121		Amplitude				25		52		9		38		17		89		31		205		12		41		294		0.6972789116								25		52		9		51		23		128		57		341		15		44		469		0.7270788913				25		52		9		51		0		131		10		560		-30		27		691		0.8104196816

		19		398		25		351

		19.5		58		25.5		104				Estimated strip width:								Routing line		#120		#121

		20		72		26		47				16 µm								25.6		447		85		0.9933333333		0.1888888889		532		0.7093333333

		20.5		212		26.5		81												26		242		68		0.5377777778		0.1511111111		310		0.4133333333

		21		489		27		368												26.2		103		31		0.2288888889		0.0688888889		134		0.1786666667

																				26.4		65		31		0.1444444444		0.0688888889		96		0.128

																				26.6		58		31		0.1288888889		0.0688888889		89		0.1186666667

																				26.8		42		40		0.0933333333		0.0888888889		82		0.1093333333

																				27		42		55		0.0933333333		0.1222222222		97		0.1293333333

																				27.2		54		154		0.12		0.3422222222		208		0.2773333333

																				27.4		71		248		0.1577777778		0.5511111111		319		0.4253333333

																				27.6		81		310		0.18		0.6888888889		391		0.5213333333

																				28		92		448		0.2044444444		0.9955555556		540		0.72

		Futher Measurements as a function of the r-position								Far end

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.						#119		Int 1		#120				#121		Int 3		#122		Sum		h		Ideal				200 V		Local coord.						#119		Int 1		#120				#121		Int 3		#122		Sum		h		400 V		Local coord.						#119		Int 1		#120				#121		Int 3		#122		Sum		h

				120		23		78				25		20		58		40		0		184		23		61		0		15		245		0.2489795918		0		0				25		20		58		33		0		255		38		76		0		18		331		0.2296072508				25		20		58		54		0		523		-10		54		0		0		577		0.0935875217

				121		30.8						26		30		48		31		0		89		24		51		0		24		140		0.3642857143		78		1				26		30		48		31		0		116		31		65		0		24		181		0.3591160221				26		30		48		31		0		263		0		78		0		0		341		0.2287390029

												27		40		38		0		0		0		0		0		0		0		0		0								27		40		38		0		0		0		0		0		0		0		0		0				27		40		38		0		0		0		0		0		0		0		0		0

												28		50		28		20		0		68		41		157		0		31		225		0.6977777778								28		50		28		0		0		99		61		222		0		34		321		0.691588785				28		50		28		0		0		78		15		492		-31		24		570		0.8631578947

		#121		Ampitude		#121		Amplitude				29		60		18		0		0		61		27		184		0		31		245		0.7510204082								29		60		18		0		0		78		48		276		0		37		354		0.7796610169				29		60		18		0		0		44		0		540		-31		13		584		0.9246575342

		21		728		29		755

		22		230		30		225				Estimated strip width:

		22.5		134		30.5		101				20 µm

		23		107		31		96

		23.5		150		31.5		161

		24		557		32		551

		25		760

										1 cm plus

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.						#119		Int 1		#120				#121		Int 3		#122		Sum		h		Ideal				200 V		Local coord.						#119		Int 1		#120				#121		Int 3		#122		Sum		h		400 V		Local coord.						#119		Int 1		#120				#121		Int 3		#122		Sum		h

				120		22.7		95				25		23		72		44		0		222		34		68		0		17		290		0.2344827586		0		0				25		23		72		41		0		366		31		68		0		24		434		0.1566820276				25		23		72		27		0		557		-24		48		0		0		605		0.079338843

				121		32.2						26		33		62		41		0		208		51		103		0		24		311		0.3311897106		95		1				26		33		62		31		0		311		68		112		0		34		423		0.2647754137				26		33		62		17		0		543		-20		78		0		0		621		0.1256038647

												27		43		52		0		0		0		0		0		0		0		0		0								27		43		52		0		0		58		0		27		0		0		85		0.3176470588				27		43		52		0		0		103		0		44		0		0		147		0.2993197279

												28		53		42		0		0		44		31		78		0		0		122		0.6393442623								28		53		42		0		0		58		24		120		0		0		178		0.6741573034				28		53		42		0		0		61		0		236		0		0		297		0.7946127946

		#121		Ampitude		#121		Amplitude				29		63		32		24		0		82		51		195		0		17		277		0.7039711191								29		63		32		27		0		112		85		328		0		34		440		0.7454545455				29		63		32		0		0		65		0		574		-37		15		639		0.8982785603

		21		464		30		523				30		73		22		0		0		71		44		242		0		31		313		0.7731629393								30		73		22		0		0		78		58		383		0		37		461		0.830802603				30		73		22		0		0		34		0		588		-40		13		622		0.9453376206

		22		58		31		171				Estimated strip width:

		22.5		37		32		41				25 µm

		23		51		32.5		51

		23.5		58		33		65

		24		178		34		499

		25		496

										1 cm plus

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.						#119		Int 1		#120				#121		Int 3		#122		Sum		h		Ideal				200 V		Local coord.						#119		Int 1		#120				#121		Int 3		#122		Sum		h		400 V		Local coord.						#119		Int 1		#120				#121		Int 3		#122		Sum		h

				120		22.7		108				25		23		85		34		0		254		29		45		0		0		299		0.1505016722		0		0				25		23		85		22		0		388		0		34		0		0		422		0.0805687204				25		23		85		11		0		474		-29		26		0		0		500		0.052

				121		33.5						26		33		75		26		0		228		41		63		0		10		291		0.2164948454		108		1				26		33		75		22		0		374		0		40		0		0		414		0.0966183575				26		33		75		0		0		474		-25		30		0		0		504		0.0595238095

												27		43		65		34		0		190		78		101		0		26		291		0.3470790378								27		43		65		26		0		317		37		82		0		12		399		0.2055137845				27		43		65		0		0		456		-22		71		0		0		527		0.1347248577

												29		63		45		12		0		85		60		157		0		29		242		0.6487603306								29		63		45		0		0		93		67		269		0		34		362		0.7430939227				29		63		45		0		0		71		18		422		-22		18		493		0.8559837728

		#121		Ampitude		#121		Amplitude				30		73		35		0		0		63		56		209		0		0		272		0.7683823529								30		73		35		0		0		48		34		366		-18		18		414		0.884057971				30		73		35		0		0		26		0		508		-26		0		534		0.9513108614

		20		470		31		508				31		83		25		0		0		50		37		247		0		26		297		0.8316498316								31		83		25		0		0		34		34		490		-30		0		524		0.9351145038				31		83		25		0		0		10		0		490		-30		0		500		0.98

		21		300		32		247

		22		40		33		41

		23		0		33.5		29				Estimated strip width:

		23.5		0		34		41				30 µm

		24		85		35		134

		25		430		36		500

		New 0 position

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.						#119		Int 1		#120				#121		Int 3		#122		Sum		h		Ideal				200 V		Local coord.						#119		Int 1		#120				#121		Int 3		#122		Sum		h		400 V		Local coord.						#119		Int 1		#120				#121		Int 3		#122		Sum		h

				120		22.2		118				25		28		90		32		0		333		23		50		0		0		383		0.1305483029		0		0				25		28		90		13		0		396		-13		35		0		0		431		0.0812064965				25		28		90		10		0		469		-23		32		0		0		501		0.0638722555

				121		34						26		38		80		32		0		314		30		54		0		0		368		0.1467391304		118		1				26		38		80		23		0		424		-13		36		0		0		460		0.0782608696				26		38		80		0		0		469		-27		30		0		0		499		0.0601202405

												27		48		70		27		0		259		54		86		0		13		345		0.2492753623								27		48		70		0		0		387		23		68		0		0		455		0.1494505495				27		48		70		0		0		492		-23		63		0		0		555		0.1135135135

												28		58		60		0		0		41		0		27		0		0		68		0.3970588235								28		58		60		0		0		59		0		41		0		0		100		0.41				28		58		60		0		0		77		0		45		0		0		122		0.368852459

		#121		Ampitude		#121		Amplitude				29		68		50		18		0		68		41		132		0		32		200		0.66								29		68		50		0		0		59		32		178		0		0		237		0.7510548523				29		68		50		0		0		73		18		273		0		32		346		0.789017341

		20		483		32		451				30		78		40		18		0		86		68		264		0		27		350		0.7542857143								30		78		40		0		0		50		10		506		-18		0		556		0.9100719424				30		78		40		0		0		50		10		506		-18		0		556		0.9100719424

		21		86		33		54				31		88		30		0				63		50		342		0		32		405		0.8444444444								31		88		30		0		0		41		18		428		-23		18		469		0.9125799574				31		88		30		0		0		36		0		496		-23		18		532		0.9323308271

		22		45		34		32

		23		23		35		45				Estimated strip width:

		24		154		36		387				35 µm

		25		470



Irradiated section n. 6



Irradiated (6)

		



Strp #99

Strip #100

Strip #101

Strip #102

Bias [V]

Collected charge [Arb. unit]



Irr. (7)

		





Non irr. (2)

		Bias 250 V		Strip #		Centre		Distance		50 V		Local coord.						Pulse Left		Int		Pulse Right		Pulse sum		h		ideal				100 V		Pulse Left		Int		Pulse Right		Pulse sum		h		300 V		Pulse Left		Int		Pulse Right		Pulse sum		h				Volt scan		#6		Int.		#7		Total		Normalised				Volt scan		#59		#60		#61		Total		Normalised				Volt scan		#114		Int.		#115		Int.		#116		Total		Normalised		Rout/total		Volt #6		#6		Volt #115		#115

				6		37		115				40		30		85		104		18		40		144		0.2777777778		0		0				246				45		291		0.1546391753				333		-23		27		360		0.075				20		23		5		54		77		0.2086720867				20		32		141		54		227		0.576142132				10		63		4		159		23		32		222		0.5536159601				20		0.0649350649		10		0.1036036036

				7		48.5						41		40		75		86		32		54		140		0.3857142857		115		1				214		36		63		277		0.2274368231				323		-23		36		359		0.1002785515				40		32		18		100		132		0.3577235772				40		41		264		54		359		0.9111675127				20		80				246		23		36		326		0.812967581				40		0.1363636364		20		0.0705521472

												42		50		65		45		9		32		77		0.4155844156								128		36		63		191		0.3298429319				209		0		68		277		0.2454873646				50		36		23		123		159						50		36		287		50		373		0.9467005076				40		82				314		23		41		396		0.9875311721				50		0.1446540881		40		0.0580808081

												43.5		65		50		36		18		54		90		0.6								50		36		118		168		0.7023809524				63		13		246		309		0.7961165049				60		45		27		145		190		0.5149051491				60		36		298		40		374		0.9492385787				50		73				328		13		32		401		1				60		0.1421052632		50		0.0324189526

		#6		Amplitude		#7		Amplitude				44		70		45		45		27		77		122		0.631147541								50		36		195		245		0.7959183673				41		9		305		346		0.8815028902				80		59		41		205		264		0.7154471545				80		30		328		27		385		0.9771573604				60		68				333		13		32		401		1				80		0.1553030303		60		0.0324189526

		34.5		305		46.5		296				45		80		35		45		23		104		149		0.6979865772								45		41		241		286		0.8426573427				27		9		342		369		0.9268292683				100		45		36		259		304		0.8238482385				100		27		337		24		388		0.9847715736				80		59				342		9		32		401		1				100		0.1184210526		80		0.0224438903

		35.5		137		47.5		54				46		90		25		9		0		50		59		0.8474576271								45		36		255		300		0.85				27		4		337		364		0.9258241758				125		36		23		296		332		0.8997289973				150		24		355		21		400		1.0152284264				100		46				351				18		397		0.9900249377				125		0.0692771084		100		0

		36.5		27		48.5		0																																																		150		32		18		323		355		0.9620596206				200		23		360		20		403		1.0228426396				125		45				355				27		400		0.9975062344				150		0.0507042254		125		0

		37.5		0		49.5		36																																																		175		32		18		328		360		0.9756097561				300		20		374		0		394		1				150		45				355				27		400		0.9975062344				175		0.05		150		0

		38.5		100		50.5		232																																																		200		23		9		337		360		0.9756097561																		200		45				355				18		400		0.9975062344				200		0.025		200		0

		39.5		305		51.5		333																																																		300		23		9		346		369		1																		300		41				360				18		401		1				300		0.0243902439		300		0

		40.5		319





Non irr. (2)

		



50 Volt

100 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #774-775



Various final Pic.

		





Final pic. eta

		Bias 250 V		Strip #		Centre		Distance		25 V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h		ideal				50 V		Pulse Left		Pulse Right		Pulse sum		h		150 V		Pulse Left		Pulse Right		Pulse sum		h								Volt scan		#60		#61		Total		Normalised

				60		43.2		113				46		28		85		212		1		213		0.0046948357		0		0				311		1		312		0.0032051282				410		1		411		0.00243309						3.1622776602		10		95		0		95		0.2467532468

				61		54.5						47		38		75		143		20		163		0.1226993865		113		1				222		1		223		0.0044843049				294		1		295		0.0033898305						5		25		191		0		191		0.4961038961

												48		48		65		68		34		102		0.3333333333								123		58		181		0.320441989				171		68		239		0.2845188285						7.0710678119		50		283		0		283		0.7350649351

												49		58		55		37		109		146		0.7465753425								37		161		198		0.8131313131				37		212		249		0.8514056225						8.6602540378		75		321		0		321		0.8337662338

		#60		Amplitude		#61		Amplitude				50		68		45		31		174		205		0.8487804878								34		259		293		0.8839590444				50		334		384		0.8697916667						10		100		352		0		352		0.9142857143

		41		308		52		386				51		78		35		24		181		205		0.8829268293								24		263		287		0.9163763066				20		345		365		0.9452054795						12.2474487139		150		372		0		372		0.9662337662

		42		171		53		253																																														14.1421356237		200		372		0		372		0.9662337662

		43		20		54		116																																														17.3205080757		300		385		0		385		1

		44		49		55		24

		45		209		56		123

		46		345		57		280

						58		389

		Bias 250 V		Strip #		Centre		Distance		20 V		Local coord.						#115		Int 1		#116		Int 2		#117		Pulse sum		h		ideal				50 V		#115		Int 1		#116		Int 2		#117		Pulse sum		h		200 V		#115		Int 1		#116		Int 2		#117		Pulse sum		h				Volt scan		#115		#116		Int		#117		Total		Normalised

				115		21		114				24		30		84		198		-17		27						225		0.12		0		0				317		-17		31						348		0.0890804598				403		-30		24						427		0.056206089		3.1622776602		10				116						116		0.2829268293

				116		32.4						25		40		74		178		-13		27						205		0.1317073171		114		1				311		-20		41						352		0.1164772727				396		-27		27						423		0.0638297872		5		25		31		208		-5		20		228		0.556097561

												26		50		64		126		-13		37						163		0.226993865								242		-17		61						303		0.201320132				334		-24		68						402		0.1691542289		7.0710678119		50		31		308		-7		20		328		0.8

												28		70		44		34				137				17		171		0.8011695906								48				236				24		284		0.8309859155				54		-5		317		-13		24		371		0.8544474394		8.6602540378		75		24		345		-17		20		365		0.8902439024

		#115		Amplitude		#116		Amplitude				29		80		34		24				181				17		205		0.8829268293								31				311		-10		20		342		0.9093567251				27				400		-17		17		427		0.9367681499		10		100		27		366		-20		17		383		0.9341463415

		18		400		30		389				29.5		85		29		27				195						222		0.8783783784								34				314		-15		20		348		0.9022988506				24				389		-24		17		413		0.9418886199		11.1803398875		125		24		380		-17		13		393		0.9585365854

		19		270		31		89																																																												12.2474487139		150		24		385		-20		13		398		0.9707317073

		20		34		32		28																																																												14.1421356237		200		24		389		-20		13		402		0.9804878049

		21		30		33		30																																																												17.3205080757		300		24		393		-20		17		410		1

		22		38		34		126

		23		308		35		389

		24		400





Neff vs position

		47		400		-30		380

		48		280		-20		260

		49		41		-10		21

		50		20		0		0

		51		51		10		31

		52		273		20		253

		53		410		30		390

		Beam Profile

		Coordinate		Front		Back

		0						10

		10		1.00E+13		1.05E+13		20		1.00E+13		1.05E+13

		20		4.50E+13		4.55E+13		30		4.50E+13		4.55E+13

		25		3.00E+14		2.52E+14		35		3.00E+14		2.52E+14

		30		4.10E+14		4.40E+14		40		4.10E+14		4.40E+14

		35		4.30E+14		4.60E+14		45		4.30E+14		4.60E+14

		40		3.15E+14		3.80E+14		50		3.15E+14		3.80E+14

		45		1.09E+14		2.70E+14		55		1.09E+14		2.70E+14

		55		1.20E+13		2.70E+13		65		1.20E+13		2.70E+13

		65		7.00E+11		1.20E+12		75		7.00E+11		1.20E+12





Neff vs position

		



Local coord. [µm]

Amplitude [arb. Units]

Strip scan #10



Eta comparison

		55		0		55		55

		50		1		50		50

		45		2		45		45

		40		3		40		40

		35		4		35		35

		30		5		30		30

		25		6		25		25

		20		7		20		20

		15		8		15		15

		10		9		10		10

		5		10		5		5

		0		11		0		0

				12

				13

				14

				15

				16

				17

				18

				19

				20

				21

				22

				23

				24

				25

				26

				27

				28

				29

				30

				31

				32

				33

				34

				35

				36

				37

				38

				39

				40

				41

				42

				43

				44

				45

				46

				47

				48

				49

				50

				51

				52

				53

				54

				55

				56

				57

				58

				59

				60

				61

				62

				63

				64

				65

				66

				67

				68



Measured (hit strip)

Calculated

Adjacent strip

Intermediate routing line

Time [ns]

Amplitude [arb. units]

68

10

0

0

150

34.5396

16

0

245

54.05968

34

0

369

80.39936

54

0

560

114.09384

123

32

688

155.13512

154

40

826

202.94192

188

51

792

256.42064

199

74

615

314.09432

188

108

421

374.26344

176

131

199

435.16424

85

68

0

495.10184

0

0

552.54736

606.19912

655.01224

698.20408

735.24416

765.8304

789.86272

807.41192

818.68832

824.01216

823.78664

818.47312

808.57016

794.59512

777.0692

756.50528

733.3992

708.22128

681.41152

653.37656

624.48752

595.07864

565.44744

535.85544

506.53048

477.66728

449.43032

421.95584

395.35408

369.71192

345.0956

321.5524

299.11304

277.79416

257.59968

238.52336

220.54992

203.6564

187.81424

172.98976

159.14552

146.24152

134.23568

123.08456

112.74432

103.1708

94.32024

86.14968

78.61696

71.6812

65.30304

59.44456

54.06952

49.14336

44.63336

40.50856

36.7396



Strip 120 

		



Front Al foils

Back Al foils

Position [mm]

Measured fluence [p cm-2]



Pulse shape

		50		50		50		50

		100		100		100		100

		150		150		150		150

		200		200		200		200

		250		250		250		250

		300		300		300		300

		350		350		350		350

		400		400		400		400

		500		500		500		500



Strip #739

Strip #740

Strip #741

Strip #742

Bias [V]

Collected charge [Arb. unit]

13

30

101

13

20

67

182

33

23

74

290

45

17

57

425

15

0

51

472

5

0

40

500

0

0

34

513

0

0

34

520

0

0

34

540

0



		

						760





		30		30		0

		40		40		117.5

		50		50

		60		60

		70		70

		80		80

		90		90



200 Volt

400 Volt

Ideal resolution

Local position [µm]

Right charge/Total charge

Scan across strips #740-741

0.1035422343

0.0311111111

0

0.1971428571

0.0545851528

1

0.3688888889

0.2443729904

0.6231884058

0.7816091954

0.7445652174

0.9099437148

0.8891454965

1

0.9136363636

1



		30		30		0

		40		40		115

		50		50

		60		60

		70		70

		80		80

		90		90



200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #710-711

0.1009615385

0.0352733686

0

0.1943734015

0.0646258503

1

0.3125

0.2213740458

0.5102040816

0.5845070423

0.689373297

0.8831858407

0.8141809291

0.9365609349

0.8523489933

0.9378427788



		30		30		0

		40		40		115

		50		50

		60		60

		70		70

		80		80

		90		90



200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #760-761

0.0874074074

0.0657534247

0

0.0914454277

0.0725244073

1

0.1515151515

0.1463414634

0.5

0.5

0.8

0.8395522388

0.884086444

0.9252669039

0.9249011858

0.9491833031



		0		30		30		30

		115		40		40		40

				50		50		50

				60		60		60

				70		70		70

				80		80		80

				90		90		90



150 Volt

200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #740-741

0

0.204610951

0.0581395349

0.0450281426

1

0.3086053412

0.1601731602

0.0685920578

0.3851351351

0.2755102041

0.2206405694

0.5677966102

0.6121212121

0.688372093

0.6253869969

0.7406542056

0.886405959

0.7331378299

0.8442982456

0.9305816135

0.7967032967

0.8817427386

0.938517179



		0		30		30

		110		40		40

				50		50

				60		60

				70		70

				80		80

				90		90



200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #670-671

0

0.2186046512

0.0462962963

1

0.3191489362

0.076056338

0.4345238095

0.2648401826

0.625

0.619047619

0.7170731707

0.8559322034

0.7960784314

0.9612403101

0.825

0.9734748011



		0		20		20

		110		30		30

				40		40

				50		50

				60		60

				70		70

				80		80

				90		90



200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #690-691

0

0.1510067114

0.0529801325

1

0.1964285714

0.0703296703

0.3269961977

0.1575492341

0

0.6736842105

0.7946428571

0.7365079365

0.916500994

0.8419452888

0.9427402863

0.8307692308

0.9512195122



		25		25		25		0

		35		35		35		110

		45		45		45

		55		55		55

		65		65		65

		75		75		75

		85		85		85



100 Volt

200 Volt

300 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #525-526

0.0461956522

0.0440414508

0.0446194226

0

0.0583941606

0.0547945205

0.0547945205

1

0.1413612565

0.1282051282

0.1113689095

0.3215859031

0.264573991

0.2821576763

0.8050541516

0.8073394495

0.7722222222

0.9130434783

0.9217391304

0.9298245614

0.9473684211

0.9523809524

0.958677686



		0		30		30		30

		117		40		40		40

				50		50		50

				70		70		70

				80		80		80

				90		90		90



150 Volt

200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #634-635

0

0.223255814

0.1133333333

0.0510204082

1

0.2783505155

0.1933333333

0.0761670762

0.3963414634

0.3048780488

0.1943005181

0.6209150327

0.6822429907

0.8157099698

0.6875

0.7979094077

0.915

0.7548076923

0.8580645161

0.9330024814



		0		24		24

		114		34		34

				44		44

				64		64

				74		74

				84		84

				89		89



100 Volt

300 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #584-585

0

0.118466899

0.0379403794

1

0.1655172414

0.0608272506

0.3421052632

0.1666666667

0.6896551724

0.8131868132

0.7597173145

0.9567430025

0.8605442177

0.9974160207

0.8586206897

0.9466666667



		0		22		22		22		22

		116		32		32		32		32

				42		42		42		42

				67		67		67		67

				72		72		72		72

				82		82		82		82

				92		92		92		92



100 Volt

150 Volt

200 Volt

300 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #604-605

0

0.2192513369

0.0848056537

0.0408719346

0.056980057

1

0.2391304348

0.1214285714

0.0681818182

0.0798898072

0.3128834356

0.2380952381

0.0920716113

0.1549295775

0.5668789809

0.6355555556

0.7975077882

0.7517482517

0.591954023

0.7173913043

0.9002695418

0.8434782609

0.6949152542

0.8137931034

0.9973045822

0.8888888889

0.7348066298

0.8436482085

0.972899729

0.9043715847



		0		23		23		23

		108		33		33		33

				43		43		43

				58		58		58

				63		63		63

				73		73		73

				78		78		78



20 Volt

50 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #544-545

0

0.1376146789

0.0422960725

0.0361445783

1

0.2018348624

0.0845070423

0.0574712644

0.3457446809

0.2341772152

0.0976253298

0.5858585859

0.7124183007

0.7627906977

0.6304347826

0.7571428571

0.820441989

0.7302325581

0.8709677419

0.9418886199

0.7735849057

0.8811594203

0.9632352941



		0		35		35		35

		110		40		40		40

				50		50		50

				65		65		65

				70		70		70

				80		80		80



50 Volt

100 Volt

300 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #566-567

0

0.125

0.0408719346

0.0407673861

1

0.1777777778

0.0702247191

0.0687203791

0.320441989

0.22

0.2033333333

0.6946107784

0.8090909091

0.7789855072

0.741697417

0.8579387187

0.8743842365

0.8580858086

0.9543010753

0.9975062344



		0		35		35		35

		120		45		45		45

				50		50		50

				65		65		65

				70		70		70

				80		80		80

				90		90		90



50 Volt

100 Volt

250 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #575-576

0

0.2876106195

0.0451807229

0.0383631714

1

0.3744292237

0.144092219

0.0939759036

0.3880597015

0.1782178218

0.1580310881

0.5730337079

0.7260273973

0.7166666667

0.591954023

0.798679868

0.8379888268

0.6559633028

0.8879781421

0.9230769231

0.7627906977

0.9076086957

0.9511002445



		0		28		28		28

		113		38		38		38

				48		48		48

				58		58		58

				68		68		68

				78		78		78



25 Volt

50 Volt

150 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #188-189

0

0.0046948357

0.0032051282

0.00243309

1

0.1226993865

0.0044843049

0.0033898305

0.3333333333

0.320441989

0.2845188285

0.7465753425

0.8131313131

0.8514056225

0.8487804878

0.8839590444

0.8697916667

0.8829268293

0.9163763066

0.9452054795



		26		26		0		26

		36		36		114		36

		46		46				46

		66		66				66

		76		76				76

		86		86				86



100 Volt

300 Volt

=

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #621-622

0.2227074236

0.0789473684

0

0.0390625

0.2735849057

0.1348684211

1

0.0606060606

0.3659793814

0.2482517483

0.1102150538

0.5828220859

0.6728110599

0.8066666667

0.6822429907

0.8066666667

0.9086021505

0.7422222222

0.8547854785

0.9583333333



		25		25		25		0

		35		35		35		110

		45		45		45

		60		60		60

		65		65		65

		75		75		75

		85		85		85



20 Volt

50 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #469-470

0.0857142857

0.1060070671

0.0411311054

0

0.0833333333

0.093385214

0.0683060109

1

0.275862069

0.1904761905

0.1333333333

0.6451612903

0.6785714286

0.7311827957

0.6774193548

0.766536965

0.8356164384

0.8444444444

0.8717948718

0.9260969977

0.8695652174

0.8646153846

0.9267734554



		30		30		0

		40		40		110

		50		50

		60		60

		70		70

		80		80



200 Volts

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #650-651

0.1784037559

0.0521172638

0

0.2587064677

0.1034482759

1

0.3577586207

0.2196531792

0.6280991736

0.7375328084

0.7114914425

0.8717948718

0.7915742794

0.9111470113



		0		30		30		30

		114		40		40		40

				50		50		50

				70		70		70

				80		80		80

				85		85		85



20 Volt

50 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #244-245

0

0.12

0.0890804598

0.056206089

1

0.1317073171

0.1164772727

0.0638297872

0.226993865

0.201320132

0.1691542289

0.8011695906

0.8309859155

0.8544474394

0.8829268293

0.9093567251

0.9367681499

0.8783783784

0.9022988506

0.9418886199



		30		30		0		30

		40		40		114		40

		50		50				50

		70		60				60

		80		70				70

		85		80				80

								90



#245 - 200 Volt

#650 - 400 Volt

#760 - 400 Volt

Local position [µm]

Right charge/Total charge

0.056206089

0.0521172638

0

0.0657534247

0.0638297872

0.1034482759

1

0.0725244073

0.1691542289

0.2196531792

0.1463414634

0.8544474394

0.7375328084

0.5

0.9367681499

0.8717948718

0.8395522388

0.9418886199

0.9111470113

0.9252669039

0.9491833031



		20		20		20		0

		30		30		30		115

		40		40		40

		50		50		50

		60		60		60

		70		70		70

		80		80		80

		90		90		90



20 Volt

50 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #388-389

0.15

0.0975609756

0.0965794769

0

0.1549295775

0.1448692153

0.1004709576

1

0.171875

0.1223529412

0.0901213172

0.2926829268

0.2888888889

0.2434077079

0.6666666667

0.6923076923

0.6511627907

0.7833333333

0.8498896247

0.9073083779

0.8295081967

0.8495049505

0.9384615385

0.8793103448

0.9160839161

0.9470699433



		35		0		35		35

		45		120		45		45

		55				55		55

		70				70		70

		75				75		75

		85				85		85

		95				95		95



20 Volt

50 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #490-491

0.1595744681

0

0.12

0.0796116505

0.2053231939

1

0.1322869955

0.0891089109

0.2967032967

0.2258064516

0.2

0.72

0.692

0.7982261641

0.8351449275

0.7985074627

0.8764302059

0.9349593496

0.8546099291

0.9174311927

0.9445585216



		0		28		28		28

		118		38		38		38

				48		48		48

				58		58		58

				68		68		68

				78		78		78

				88		88		88



150 Volt

200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #760-761

0

0.1305483029

0.0812064965

0.0638722555

1

0.1467391304

0.0782608696

0.0601202405

0.2492753623

0.1494505495

0.1135135135

0.3970588235

0.41

0.368852459

0.66

0.7510548523

0.789017341

0.7542857143

0.9100719424

0.9100719424

0.8444444444

0.9125799574

0.9323308271



		30		30		28		0

		40		40		38		118

		50		50		48

		70		70		58

		80		80		68

		85		90		78

						88



#244 -245 (@ 200 Volt)

#534 - 535 (@ 400 Volt)

#760 - 761 (@ 400 Volt)

Local position [µm]

Right charge/Total charge

0.056206089

0.0510204082

0.0638722555

0

0.0638297872

0.0761670762

0.0601202405

1

0.1691542289

0.1943005181

0.1135135135

0.8544474394

0.8157099698

0.368852459

0.9367681499

0.915

0.789017341

0.9418886199

0.9330024814

0.9100719424

0.9323308271



		30		30		30		0

		40		40		40		115

		50		50		50

		65		65		65

		70		70		70

		80		80		80

		90		90		90



50 Volt

100 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #774-775

0.2777777778

0.1546391753

0.075

0

0.3857142857

0.2274368231

0.1002785515

1

0.4155844156

0.3298429319

0.2454873646

0.6

0.7023809524

0.7961165049

0.631147541

0.7959183673

0.8815028902

0.6979865772

0.8426573427

0.9268292683

0.8474576271

0.85

0.9258241758



		Bias		#650		#651		Pulse sum		Normalised		#670		#671		Pulse sum		Normalised		#690		#691		Pulse sum		Normalised		#710		#711		Pulse sum		Normalised		#730		#731		Pulse sum		Normalised		#740		#741		Pulse sum		Normalised		#760		#761		Pulse sum		Normalised

		[Volt]		[mV]		[mV]		[mv]				[mV]		[mV]		[mv]				[mV]		[mV]		[mv]				[mV]		[mV]		[mv]				[mV]		[mV]		[mv]				[mV]		[mV]		[mv]				[mV]		[mV]		[mv]

		50		41		85		126		0.2016		24		58		82		0.2		0		80		80		0.1500938086		31		78		109		0.1912280702		31		83		114		0.1972318339		30		101		131		0.2205387205		45		100		145		0.2566371681				104		104

		100		63		140		203		0.3248		22		84		106		0.2585365854		31		135		166		0.3114446529		53		125		178		0.3122807018		45		142		187		0.3235294118		67		182		249		0.4191919192		68		178		246		0.4353982301				177		177

		150		92		210		302		0.4832		38		133		171		0.4170731707		52		197		249		0.4671669794		58		180		238		0.4175438596		66		232		298		0.5155709343		74		290		364		0.6127946128		63		342		405		0.7168141593				385		385

		200		81		329		410		0.656		39		207		246		0.6		45		291		336		0.6303939962		73		290		363		0.6368421053		48		374		422		0.7301038062		57		425		482		0.8114478114		50		446		496		0.8778761062				454		454

		250		59		443		502		0.8032		32		300		332		0.8097560976		34		398		432		0.8105065666		51		388		439		0.7701754386		31		478		509		0.8806228374		51		472		523		0.8804713805		41		490		531		0.9398230088				468		468

		300		59		510		569		0.9104		30		321		351		0.856097561		35		433		468		0.8780487805		38		462		500		0.8771929825		17		501		518		0.8961937716		40		500		540		0.9090909091		36		501		537		0.9504424779				478		478

		350		50		530		580		0.928		23		342		365		0.8902439024		31		454		485		0.9099437148		33		485		518		0.9087719298		20		535		555		0.9602076125		34		513		547		0.9208754209		32		510		542		0.9592920354				495		495

		400		45		561		606		0.9696		10		370		380		0.9268292683		24		468		492		0.9230769231		31		498		529		0.9280701754		20		535		555		0.9602076125		34		520		554		0.9326599327		36		519		555		0.982300885				502		502

		500		45		580		625		1		10		400		410		1		10		523		533		1		30		540		570		1		0		578		578		1		34		560		594		1		32		533		565		1				510		510

																						Neff map		Vfd

																						10

																						30

																						50

																						70

																						90

																						100

																						120

																																												634

																																		72

		Bias		#526		#527		Pulse sum		Normalised		Bias		#545		#546		Pulse sum		Normalised		Bias		#567		#568		Pulse sum		Normalised		Bias		#577		#578		Pulse sum		Normalised		Bias		#585		#586		Pulse sum		Normalised		Bias		#605		#606		Pulse sum		Normalised		Bias		#622		#623		Pulse sum		Normalised		Bias		#634		#635		Pulse sum		Normalised

		[Volt]		[mV]		[mV]		[mv]				[Volt]		[mV]		[mV]		[mv]				[Volt]		[mV]		[mV]		[mv]				[Volt]		[mV]		[mV]		[mv]				[Volt]		[mV]		[mV]		[mv]				[Volt]		[mV]		[mV]		[mv]				[Volt]		[mV]		[mV]		[mv]				[Volt]		[mV]		[mV]		[mv]

		20		5		205		210		0.4393305439		10		89		41		130		0.313253012		10		27		41		68		0.17		25		34		75		109		0.2632850242		25		44		20		64		0.1671018277		50		65		10		75		0.1978891821		50		65		0		65		0.1697127937		50		61		24		85		0.2073170732

		30		5		273		278		0.5815899582		20		171		41		212		0.5108433735		25		61		109		170		0.425		50		55		164		219		0.5289855072		50		95		41		136		0.3550913838		75		95		10		105		0.2770448549		100		123		37		160		0.4177545692		100		106		34		140		0.3414634146

		40		54		323		377		0.7887029289		30		232		34		266		0.6409638554		50		266		41		307		0.7675		75		37		290		327		0.7898550725		75		150		58		208		0.5430809399		100		129		27		156		0.4116094987		150		171		51		222		0.5796344648		150		157		48		205		0.5

		50		45		365		410		0.8577405858		50		321		0		321		0.7734939759		75		334		14		348		0.87		100		27		330		357		0.8623188406		100		240		51		291		0.7597911227		125		167		27		194		0.5118733509		200		287		24		311		0.8120104439		200		253		34		287		0.7

		75		41		405		446		0.9330543933		75		362		0		362		0.8722891566		100		359		0		359		0.8975		150		27		359		386		0.9323671498		125		311		27		338		0.8825065274		150		236		30		266		0.7018469657		250		334		0		334		0.8720626632		250		317		27		344		0.8390243902

		100		32		428		460		0.9623430962		100		383		0		383		0.9228915663		150		372		0		372		0.93		200		24		372		396		0.9565217391		150		342		10		352		0.9190600522		200		328		0		328		0.8654353562		300		351		0		351		0.9164490862		300		349		31		380		0.9268292683

		120		23		441		464		0.9707112971		150		396		0		396		0.9542168675		200		383		0		383		0.9575		250		20		379		399		0.9637681159		200		355		10		365		0.953002611		250		355		0		355		0.9366754617		350		366		0		366		0.955613577		350		362		27		389		0.9487804878

		150		27		446		473		0.989539749		200		410		0		410		0.9879518072		250		396		0		396		0.99		300		24		382		406		0.9806763285		300		376		0		376		0.9817232376		300		366		0		366		0.9656992084		400		372		0		372		0.9712793734		400		372		34		406		0.9902439024

		200		23		455		478		1		300		415		0		415		1		300		400		0		400		1		350		24		390		414		1		400		383		0		383		1		400		379		0		379		1		500		383		0		383		1		500		383		27		410		1

		300		20		464		484		1.0125523013

		Strip #		VFD

		188		80

		244		75

		390		60

		470		55

		498		55

		526		53

		545		55

		568		62

		578		92								0.0004882813		0.1806640625		0.0451660156

		585		128

		605		200

		622		225

		634		270

		650		285

		670		297

		690		300

		710		285								768		640

		730		250

		740		220

		760		170

		774		125

		829		60

		888		47





		



Strip #10

Strip #30

Strip #50

Strip #70

Strip #90

Strip #100

Strip #120



		



Strip #526

Strip #545

Strip #578

Strip #585

Strip #605

Strip #622

Strip #634

Bias [Volt]

Normalised CCE



		



Strip Number

Vfd [Volt]



		



Strip #545

Strip #585

Strip #634

Bias [Volt]

Normalised CCE



		



Strip #526

Strip #578

Strip #605

Bias [Volt]

Normalised CCE



		Strip:		#10								Strip:		#30								Strip:		#50								Strip:		#70								Strip:		#90								Strip:		#100		#101						Strip:		#120

				#11										#31										#51										#71										#91										#121										#121

						ideal										ideal										ideal										ideal										ideal										ideal										ideal

		20		0.2059800664		0		0		0.1260683761		20		0.3485714286		0		0		0.2292490119		20		0.1510067114		0		0		0		20		0.1729559748		0		0		0.1299559471		30		0.1035422343		0		0		0		30		0.204610951		0		0		0		20		0.2591006424		0		0		0.263671875

		30		0.1784037559		110		1		0		30		0.2186046512		110		1		0		30		0.1964285714		110		1		0		30		0.1009615385		115		1		0		40		0.1971428571		117.5		1		0		40		0.3086053412		115		1		0		30		0.0874074074		115		1		0.0657534247

		40		0.2587064677						0.0909090909		40		0.3191489362						0		40		0.3269961977						0.118993135		40		0.1943734015						0		50		0.3688888889						0.2443729904		50		0.3851351351						0.1978021978		40		0.0914454277						0.0725244073

		50		0.3577586207						0.2196531792		50		0.4345238095						0.2648401826		60		0.6736842105						0.7946428571		50		0.3125						0.1707317073		60		0.6231884058						0.7816091954		60		0.5677966102						0.688372093		50		0.1515151515						0.1463414634

		60		0.6280991736						0.7375328084		60		0.625						0.619047619		70		0.7365079365						0.916500994		60		0.5102040816						0.5845070423		70		0.7445652174						0.9099437148		70		0.6253869969						0.886405959		60		0.5						0.5

		70		0.7114914425						0.8717948718		70		0.7170731707						0.8559322034		80		0.8419452888						0.9427402863		70		0.689373297						0.8831858407		80		0.8891454965						1		80		0.7331378299						0.9305816135		70		0.8						0.8395522388

		80		0.7915742794						0.9111470113		80		0.7960784314						0.9867374005		90		0.8307692308						0.9512195122		80		0.8141809291						0.9365609349		90		0.9136363636						1		90		0.7967032967						0.938517179		80		0.884086444						0.9252669039

		90		0.7759103641						0.8546845124		90		0.825						0.9734748011												90		0.8523489933						0.9378427788																						90		0.9249011858						0.9491833031

		Residuals		#10-#11								Residuals		#30-#31								Residuals		#50-#51								Residuals		#50-#51								Residuals		#70-#71								Residuals		#90-#91								Residuals		#100-#101

		True position		Est. position		Est. position		Residuals		Residuals		True position		Est. position		Est. position		Residuals		Residuals		True position		Est. position		Est. position		Residuals		Residuals		True position		Est. position		Est. position		Residuals		Residuals		True position		Est. position		Est. position		Residuals		Residuals		True position		Est. position		Est. position		Residuals		Residuals		True position		Est. position		Est. position		Residuals

				200 V		400 V		200 V		400 V				200 V		400 V		200 V		400 V				200 V		400 V		200 V		400 V				200 V		400 V		200 V		400 V				200 V		400 V		200 V		400 V				200 V		400 V		200 V		400 V				200 V		400 V		200 V		400 V

		20		22.657807309		38.3428571429		2.657807309		18.3428571429		20		38.3428571429		25.2173913043		18.3428571429		5.2173913043		20		16.610738255		0		-3.389261745		-20		20		19.8899371069		14.9449339207		-0.1100628931		-5.0550660793		30		12.1662125341		0		-17.8337874659		-30		30		23.530259366		0		-6.469740634		-30		20		29.7965738758		30.322265625		9.7965738758		10.322265625

		30		19.6244131455		24.0465116279		-10.3755868545		-5.9534883721		30		24.0465116279		0		-5.9534883721		-30		30		21.6071428571		0		-8.3928571429		-30		30		11.6105769231		0		-18.3894230769		-30		40		23.1642857143		0		-16.8357142857		-40		40		35.4896142433		0		-4.5103857567		-40		30		10.0518518519		7.5616438356		-19.9481481481		-22.4383561644

		40		28.4577114428		35.1063829787		-11.5422885572		-4.8936170213		40		35.1063829787		0		-4.8936170213		-40		40		35.969581749		13.0892448513		-4.030418251		-26.9107551487		40		22.3529411765		0		-17.6470588235		-40		50		43.3444444444		28.7138263666		-6.6555555556		-21.2861736334		50		44.2905405405		22.7472527473		-5.7094594595		-27.2527472527		40		10.5162241888		8.340306834		-29.4837758112		-31.659693166

		50		39.3534482759		47.7976190476		-10.6465517241		-2.2023809524		50		47.7976190476		29.1324200913		-2.2023809524		-20.8675799087		60		74.1052631579		87.4107142857		14.1052631579		27.4107142857		50		35.9375		19.6341463415		-14.0625		-30.3658536585		60		73.2246376812		91.8390804598		13.2246376812		31.8390804598		60		65.2966101695		79.1627906977		5.2966101695		19.1627906977		50		17.4242424242		16.8292682927		-32.5757575758		-33.1707317073

		60		69.0909090909		68.75		9.0909090909		8.75		60		68.75		68.0952380952		8.75		8.0952380952		70		81.0158730159		100.8151093439		11.0158730159		30.8151093439		60		58.6734693878		67.2183098592		-1.3265306122		7.2183098592		70		87.4864130435		106.9183864916		17.4864130435		36.9183864916		70		71.919504644		101.9366852886		1.919504644		31.9366852886		60		57.5		57.5		-2.5		-2.5

		70		78.2640586797		78.8780487805		8.2640586797		8.8780487805		70		78.8780487805		94.1525423729		8.8780487805		24.1525423729		80		92.6139817629		103.7014314928		12.6139817629		23.7014314928		70		79.2779291553		101.5663716814		9.2779291553		31.5663716814		80		104.474595843		117.5		24.474595843		37.5		80		84.3108504399		107.0168855535		4.3108504399		27.0168855535		70		92		96.5485074627		22		26.5485074627

		80		87.0731707317		87.568627451		7.0731707317		7.568627451		80		87.568627451		108.5411140584		7.568627451		28.5411140584		90		91.3846153846		104.6341463415		1.3846153846		14.6341463415		80		93.630806846		107.7045075125		13.630806846		27.7045075125		90		107.3522727273		117.5		17.3522727273		27.5		90		91.6208791209		107.9294755877		1.6208791209		17.9294755877		80		101.6699410609		106.4056939502		21.6699410609		26.4056939502

		90		85.350140056		90.75		-4.649859944		0.75		90		90.75		107.0822281167		0.75		17.0822281167												90		98.0201342282		107.8519195612		8.0201342282		17.8519195612																						90		106.3636363636		109.1560798548		16.3636363636		19.1560798548





		Far end														End + 1 cm														End + 2 cm														End + 3 cm														End + 3.5 cm

		Strip width		Local coord.												Strip width		Local coord.												Strip width		Local coord.												Strip width		Local coord.												Strip width		Local coord.												Local coord.

		16 µm		12		0.3192771084		0		0		0.3086172345		0.2177531207		25 µm		20		0.2489795918		0		0		0.2296072508		0.0935875217		25 µm		23		0.2344827586		0		0		0.1566820276		0.079338843		30 µm		23		0.1505016722		0		0		0.0805687204		0.052		35 µm		20		0.2591006424		0		0		0.263671875				28		0.1305483029		0.0812064965		0.0638722555		0		0

				22		0.3269230769		61		1		0.3302180685		0.2262118492				30		0.3642857143		78		1		0.3591160221		0.2287390029				33		0.3311897106		95		1		0.2647754137		0.1256038647				33		0.2164948454		108		1		0.0966183575		0.0595238095				30		0.0874074074		115		1		0.0657534247				38		0.1467391304		0.0782608696		0.0601202405		118		1

				32		0.5						0.5		0.5284552846				40		0.6977777778						0.691588785		0.8631578947				43								0.3176470588		0.2993197279				43		0.3470790378						0.2055137845		0.1347248577				40		0.0914454277						0.0725244073				48		0.2492753623		0.1494505495		0.1135135135

				42		0.6687697161						0.6808943089		0.826435247				50		0.7510204082						0.7796610169		0.9246575342				53		0.6393442623						0.6741573034		0.7946127946				63		0.6487603306						0.7430939227		0.8559837728				50		0.1515151515						0.1463414634				58		0.3970588235		0.41		0.368852459

				52		0.6972789116						0.7270788913		0.8104196816				60														63		0.7039711191						0.7454545455		0.8982785603				73		0.7683823529						0.884057971		0.9513108614				60		0.5						0.5				68		0.66		0.7510548523		0.789017341

																																73		0.7731629393						0.830802603		0.9453376206				83		0.8316498316						0.9351145038		0.98				70		0.8						0.8395522388				78		0.7542857143		0.9100719424		0.9100719424

																																																												80		0.884086444						0.9252669039				88		0.8444444444		0.9125799574		0.9323308271

																																																												90		0.9249011858						0.9491833031

				Pos. far end (1)														Pos.(2)=(1)+1 cm														Pos.(3)=(2)+1 cm														Pos.(4)=(3)+1 cm														Pos.(5)=(4)+0.5 cm

		Bias		#119		Int 1		#120				#121		Int 3		#122		#119		Int 1		#120				#121		Int 3		#122		#119		Int 1		#120				#121		Int 3		#122		#119		Int 1		#120				#121		Int 3		#122		#119		Int 1		#120				#121		Int 3		#122

		[Volt]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]

		50		0		0		30		10		115		10		20						20		0		68						0		0		31		0		99		0		0		0		0		0		0		70		0		0						38		21		104		-10

		100		28		0		61		17		179		15		33						44		15		129						20		0		48		24		171		0		31						52		34		145		0		29						62		34		177		-21

		150		30		0		88		40		239		27		44						78		37		184						0		0		71		44		242		0		31						63		58		250		0		29						55		24		385		-31

		200		37		0		115		74		357		37		54						68		41		280						0		0		78		58		383		0		37						37		20		388		-5		20						48		15		454		-24

		250		34		0		101		61		530		51		20						71		44		410						0		0		44		24		509		-24		10						26		10		448		-20		10						45		0		468		-34

		300		23		0		81		37		600		-23		30						58		45		475						0		0		37		13		533		-30		20						22		22		490		-24		10						34		-10		478		-34

		350		34		0		84		27		641		-27		24						51		10		519						0		0		30		0		567		-30		15						20		0		512		-24		0						34		-17		495		-34

		400		23		0		64		0		644		-34		23						51		0		530						0		0		41		0		577		-37		15						20		0		527		-24		0						34		-17		502		-34

		500		10		0		77		0		680		-30		10						48		0		547						0		0		34		0		588		-40		13						10		0		530		-24		0						34		-17		510		-34

				Total										Total										Intermediate strip/total charge

		Bias		Pos.(1)		Pos.(2)		Pos.(3)		Pos.(4)		Pos.(5)		normalised

		[Volt]												Pos.(1)		Pos.(2)		Pos.(3)		Pos.(4)		Pos.(5)		Pos.(1)		Pos.(2)		Pos.(3)		Pos.(4)		Pos.(5)

		50		135		88		99		70		142		0.2023988006		0.1514629948		0.1672297297		0.1328273245		0.2649253731		0.0740740741		0		0		0		0.1478873239

		100		212		173		202		174		239		0.3178410795		0.2977624785		0.3412162162		0.330170778		0.4458955224		0.0801886792		0.0867052023		0.1188118812		0.1954022989		0.1422594142

		150		283		262		273		279		440		0.4242878561		0.4509466437		0.4611486486		0.5294117647		0.8208955224		0.1413427562		0.141221374		0.1611721612		0.2078853047		0.0545454545

		200		411		348		420		408		502		0.616191904		0.5989672978		0.7094594595		0.7741935484		0.9365671642		0.1800486618		0.117816092		0.1380952381		0.0490196078		0.0298804781

		250		550		481		519		458		513		0.8245877061		0.8278829604		0.8766891892		0.8690702087		0.9570895522		0.1109090909		0.0914760915		0.0462427746		0.0218340611		0

		300		630		533		553		500		512		0.9445277361		0.917383821		0.9341216216		0.9487666034		0.9552238806		0.0587301587		0.0844277674		0.0235081374		0.044		-0.01953125

		350		665		570		582		512		529		0.9970014993		0.9810671256		0.9831081081		0.9715370019		0.9869402985		0.0406015038		0.0175438596		0		0		-0.0321361059

		400		667		581		592		527		536		1		1		1		1		1		0		0		0		0		-0.0317164179

		500		690		595		601		530		544		1.0344827586		1.0240963855		1.0152027027		1.0056925996		1.0149253731		0		0		0		0		-0.03125





		



Pos. 1

Pos. 2

Pos. 3



		





		





		



150 Volt

200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #760-761



		



Strip #120 of sector n. 6

Local position [µm]

Right charge/Total charge

Scan across strips #760-761

150 Volt

200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #760-761



		



150 Volt

200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #760-761



		



150 Volt

200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #760-761



		Time delay		Corrected time		Bias [V]		#120		Int 1		#121		Int 2																		0		0.08185		9.1672		112				0.261052		10		80

		70		55		250		0		0		68		0				0		0		0		610								1		0.168384		18.859008						0.431745		34.5396

		75		50				16		0		150		0				3		0.0512794593		31.2804701969										2		0.312367		34.985104						0.675746		54.05968

		80		45				34		0		245		-25				6		0.2672435413		163.0185601936										3		0.52869		59.21328						1.004992		80.39936

		85		40				54		0		369		-41				9		0.5875634723		358.4137180924										4		0.825982		92.509984						1.426173		114.09384

		90		35				123		32		560		0				12		0.9072872169		553.4452023										5		1.20452		134.90624						1.939189		155.13512

		95		30				154		40		688		0				15		1.1543795498		704.1715253543										6		1.656436		185.520832						2.536774		202.94192

		100		25				188		51		826		-28				18		1.299469696		792.6765145638										7		2.16761		242.77232						3.205258		256.42064

		105		20				199		74		792		0				21		1.3442508459		819.9930160187										8		2.720225		304.6652						3.926179		314.09432

		110		15				188		108		615		-5				24		1.3071636214		797.3698090352										9		3.295125		369.054						4.678293		374.26344

		115		10				176		131		421		79				27		1.2124429531		739.5902013697										10		3.873637		433.847344						5.439553		435.16424

		120		5				85		68		199		34				30		1.0834467691		660.9025291351										11		4.438771		497.142352						6.188773		495.10184

		125		0				0		0		0		0				33		0.9394191906		573.0457062512										12		4.97592		557.30304						6.906842		552.54736

																		36		0.7945091514		484.6505823432										13		5.473185		612.99672						7.577489		606.19912

																		39		0.6580501859		401.410613397										14		5.92143		663.20016						8.187653		655.01224

																		42		0.5354104702		326.6003867976										15		6.31416		707.18592						8.727551		698.20408

																		45		0.4289931162		261.6858008585										16		6.647297		744.497264						9.190552		735.24416

																		48		0.339164421		206.8902967894										17		6.91889		774.91568						9.57288		765.8304

																		51		0.2650152693		161.6593142647										18		7.128793		798.424816						9.873284		789.86272

																		54		0.2049346724		125.0101501754										19		7.278362		815.176544						10.092649		807.41192

																		57		0.1570118833		95.7772488293										20		7.370132		825.454784						10.233604		818.68832

																		60		0.1192986421		72.7721716988										21		7.407557		829.646384						10.300152		824.01216

																		63		0.0899657472		54.8791057793										22		7.394742		828.211104						10.297333		823.78664

																		66		0.0673846758		41.1046522082										23		7.336235		821.65832						10.230914		818.47312

																		69		0.050159177		30.597097963										24		7.236837		810.525744						10.107127		808.57016

																		72		0.0371256796		22.6466645667										25		7.101445		795.36184						9.932439		794.59512

																		75		0.0273359711		16.67494238										26		6.934925		776.7116						9.713365		777.0692

																																27		6.742013		755.105456						9.456316		756.50528

																																28		6.527242		731.051104						9.16749		733.3992

																																29		6.294873		705.025776						8.852766		708.22128

																																30		6.048868		677.473216						8.517644		681.41152

																																31		5.792859		648.800208						8.167207		653.37656

																																32		5.530137		619.375344						7.806094		624.48752

																																33		5.263647		589.528464						7.438483		595.07864

																																34		4.995998		559.551776						7.068093		565.44744

																																35		4.729472		529.700864						6.698193		535.85544

																																36		4.466033		500.195696						6.331631		506.53048

																																37		4.207353		471.223536						5.970841		477.66728

																																38		3.954834		442.941408						5.617879		449.43032

																																39		3.709625		415.478						5.274448		421.95584

																																40		3.472645		388.93624						4.941926		395.35408

																																41		3.244611		363.396432						4.621399		369.71192

																																42		3.026052		338.917824						4.313695		345.0956

																																43		2.817337		315.541744						4.019405		321.5524

																																44		2.618692		293.293504						3.738913		299.11304

																																45		2.43022		272.18464						3.472427		277.79416

																																46		2.251916		252.214592						3.219996		257.59968

																																47		2.083687		233.372944						2.981542		238.52336

																																48		1.925365		215.64088						2.756874		220.54992

																																49		1.776718		198.992416						2.545705		203.6564

																																50		1.637465		183.39608						2.347678		187.81424

																																51		1.507286		168.816032						2.162372		172.98976

																																52		1.38583		155.21296						1.989319		159.14552

																																53		1.272725		142.5452						1.828019		146.24152

																																54		1.167583		130.769296						1.677946		134.23568

																																55		1.070007		119.840784						1.538557		123.08456

																																56		0.979598		109.714976						1.409304		112.74432

																																57		0.895956		100.347072						1.289635		103.1708

																																58		0.818688		91.693056						1.179003		94.32024

																																59		0.747406		83.709472						1.076871		86.14968

																																60		0.681733		76.354096						0.982712		78.61696

																																61		0.621304		69.586048						0.896015		71.6812

																																62		0.565769		63.366128						0.816288		65.30304

																																63		0.51479		57.65648						0.743057		59.44456

																																64		0.468044		52.420928						0.675869		54.06952

																																65		0.425227		47.625424						0.614292		49.14336

																																66		0.386049		43.237488						0.557917		44.63336

																																67		0.350235		39.22632						0.506357		40.50856

																																68		0.317529		35.563248						0.459245		36.7396

																																69		0.287687		32.220944						0.416239		33.29912

																																70		0.260483		29.174096						0.377015		30.1612

																																71		0.235705		26.39896						0.341272		27.30176

																																72		0.213156		23.873472						0.308729		24.69832

																																73		0.19265		21.5768						0.279123		22.32984

																																74		0.174018		19.490016						0.25221		20.1768

																																75		0.157101		17.595312						0.227764		18.22112

																																76		0.141751		15.876112						0.205574		16.44592

																																77		0.127834		14.317408						0.185447		14.83576

																																78		0.115224		12.905088						0.167204		13.37632

																																79		0.103806		11.626272						0.150679		12.05432

																																80		0.093474		10.469088						0.13572		10.8576

																																81		0.084131		9.422672						0.122188		9.77504

																																82		0.075686		8.476832						0.109953		8.79624

																																83		0.068058		7.622496						0.098898		7.91184

																																84		0.061172		6.851264						0.088915		7.1132

																																85		0.054959		6.155408						0.079904		6.39232

																																86		0.049356		5.527872						0.071777		5.74216

																																87		0.044307		4.962384

																																88		0.039758		4.452896

																																89		0.035662		3.994144

																																90		0.031975		3.5812

																																91		0.028659		3.209808

																																92		0.025678		2.875936

																																93		0.022998		2.575776

																																94		0.020591		2.306192

																																95		0.018429		2.064048

																																96		0.016489		1.846768

																																97		0.014748		1.651776

																																98		0.013187		1.476944

																																99		0.011787		1.320144





		





		





		



Measured (hit strip)

Calculated

Adjacent strip

Intermediate routing line

Time [ns]

Amplitude [arb. units]



		



Measured

Calculated

Time [ns]

Amplitude [arb. units]




_1050744570.xls
Chart13

		0		30

		115		40

				50

				60

				70

				80

				90



400 Volt

Local position [µm]

Right charge/Total charge

0

0

1

0

0.1978021978

0.688372093

0.886405959

0.9305816135

0.938517179



General

		Sector #		Strip's range								1		128

		1		1-128								2		256

		2		129-256								3		384

		3		257-384								4		512

		4		385-512								5		640

		5		513-640								6		768

		6		641-768								7		896

		7		769-896								8		1024

		8		897-1024

		Measured strips:

		Sector #:		1		2		3		4		5		6		7		8





Sheet1

				Bias 200 V		Step posit.		Delta #85		Delta #86		Left Height		Right Height		Sum (L+R)		Eta		Integral		Predicted position		Residuals		Ideal eta

								[µm]		[µm]																0		0

		Strip #85 position		40.3		41		7		115		558		104		662		0.1570996979				18.8519637462		11.8519637462		120		1

		Strip #86 position		52.5		42		17		105		608		154		762		0.2020997375				24.2519685039		7.2519685039

						43		27		95		625		116		741		0.1565452092				18.7854251012		-8.2145748988

						44		37		85		608		227		835		0.2718562874				32.622754491		-4.377245509

						45		47		75		608		446		1054		0.4231499051				50.7779886148		3.7779886148

						46		57		65		568		548		1116		0.4910394265				58.9247311828		1.9247311828

						47		67		55		507		572		1079		0.5301204819				63.6144578313		-3.3855421687

						48		77		45		357		580		937		0.6189967983				74.2796157951		-2.7203842049

						49		87		35		170		570		740		0.7702702703				92.4324324324		5.4324324324

						50		97		25		187		608		795		0.7647798742				91.7735849057		-5.2264150943

						51		107		15		174		600		774		0.7751937984				93.023255814		-13.976744186

																								7.5058591589

																						7.5058591589

																						6

				Bias 200 V		Step posit.		Delta #85		Delta #86		Left Height		Right Height		Sum (L+R)		Eta		Integral						Ideal eta

								[µm]		[µm]																0		0

		Strip #85 position		41.7		43		13		105		755		170		925		0.1837837838								120		1

		Strip #86 position		53.5		44		23		95		778		178		956		0.1861924686

						45		33		85		770		244		1014		0.2406311637

						46		43		75		770		585		1355		0.4317343173

						47		53		65		711		689		1400		0.4921428571

						48		63		55		607		741		1348		0.5497032641

						49		73		45		452		741		1193		0.6211232188

						50		83		35		178		726		904		0.8030973451

						51		93		25		118		711		829		0.8576598311

						52		103		15		104		681		785		0.8675159236

						53		113		5		89		704		793		0.8877679697





Irradiated (4)

		Bias 250 V		Strip #		Centre		Distance		20 V		Local coord.		D24		D25		Pulse Left		Pulse Right		Pulse sum		h		ideal				50 V		Pulse Left		Pulse Right		Pulse sum		h		200 V		Pulse Left		Pulse Right		Pulse sum		h				Volt scan		#85		#86		Total		Normalised

				85		31		110				33.5		25		85		128		12		140		0.0857142857		0		0				253		30		283		0.1060070671				373		16		389		0.0411311054				20		36		126		162		0.3884892086

				86		42						34.5		35		75		132		12		144		0.0833333333		110		1				233		24		257		0.093385214				341		25		366		0.0683060109				30		52		240		292		0.7002398082

												35.5		45		65		84		32		116		0.275862069								204		48		252		0.1904761905				325		50		375		0.1333333333				40		48		317		365		0.8752997602

												37		60		50		22		40		62		0.6451612903								36		76		112		0.6785714286				50		136		186		0.7311827957				50		48		371		407		0.9760191847

		#85		Amplitude		#86		Amplitude				37.5		65		45		40		84		124		0.6774193548								60		197		257		0.766536965				60		305		365		0.8356164384				75		36		380		412		0.9880095923

		39		417		28		417				38.5		75		35		28		152		180		0.8444444444								40		272		312		0.8717948718				32		401		433		0.9260969977				100		32		397		425		1.0191846523

		40		325		29		297				39.5		85		25		24		160		184		0.8695652174								44		281		325		0.8646153846				32		405		437		0.9267734554				120		28		413		441		1.0575539568

		41		50		30		60																																												150		28		417		417		1

		42		0		31		0

		43		68		32		32

		44		361		33		272

						34		409

		Bias 250 V		Strip #		Centre		Distance		20 V		Local coord.		D24		D25		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h		ideal				50 V		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h		200 V		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h				Volt scan		#4		Int 1		#5		Int 2		Total		Normalised

				4		12.5		115				14.5		20		95		204		-28		36				240		0.15		0		0				333				36				369		0.0975609756				449		-64		48				497		0.0965794769				20		12		-24		200		-48		212		0.4265593561

				5		24						15.5		30		85		240		-36		44				284		0.1549295775		115		1				425		-64		72				497		0.1448692153				573		-112		64				637		0.1004709576				30		40				328		-52		368		0.7404426559

												16.5		40		75		212		-32		44				256		0.171875								373		-48		52				425		0.1223529412				525		-88		52				577		0.0901213172				40		24		-16		381		-88		405		0.814889336

												17.5		50		65		116		-8		48				164		0.2926829268								256		-24		104				360		0.2888888889				373		-64		120				493		0.2434077079				50		28		-24		425		-92		453		0.9114688129

		#4		Amplitude		#5		Amplitude				18.5		60		55		16				32				48		0.6666666667								32				72				104		0.6923076923				60				112				172		0.6511627907				75		16				445		-100		461		0.9275653924

		12		0		21		489				19.5		70		45		52				188		-16		240		0.7833333333								68				385		-48		453		0.8498896247				52				509		-96		561		0.9073083779				100		12		-28		457		-124		469		0.9436619718

		13		0		22		341				20.5		80		35		52				253		-16		305		0.8295081967								76				429		-52		505		0.8495049505				36				549		-96		585		0.9384615385				120		16		-20		465		-120		481		0.967806841

		14		132		23		84				21.5		90		25		28				204		-48		232		0.8793103448								36				393		-84		429		0.9160839161				28				501		-112		529		0.9470699433				150		12		-44		485		-132		497		1

		15		437		24		0

		16		517		25		0

						26		272

		Bias 250 V		Strip #		Centre		Distance		20 V		Local coord.		D24		D25		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h		ideal				50 V		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h		200 V		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h

				5		24		110				26.5		25		85		197				36				233		0.1545064378		0		0				328				36				364		0.0989010989				445				32				477		0.0670859539

				6		35						27.5		35		75		152				28				180		0.1555555556		110		1				305				36				341		0.1055718475				449				36				485		0.0742268041

												28.5		45		65		116				36				152		0.2368421053								253				60				313		0.1916932907				413				100				513		0.1949317739

												29.5		55		55		44				28				72										60				36				96						72				32				104

												30.5		65		45		28				104				132		0.7878787879								52				212				264		0.803030303				72				345				417		0.8273381295

												31.5		75		35		36				160				196		0.8163265306								32				272				304		0.8947368421				28				405				433		0.935334873

												32.5		85		25		12				164				176		0.9318181818								32				333				365		0.9123287671				72				469				541		0.8669131238

		Bias 250 V		Strip #		Centre		Distance		20 V		Local coord.		D24		D25		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h		ideal				50 Volt		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h		200 Volts		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h				Volt scan		#115		Int 1		#116		Int 2		Total		Normalised

				115		44		120				47.5		35		85		237				45				282		0.1595744681		0		0				396		-18		54				450		0.12				474		-31		41				515		0.0796116505				10		32		23		132		0		164		0.3326572008

				116		56						48.5		45		75		209		0		54				263		0.2053231939		120		1				387		-13		59				446		0.1322869955				460		-41		45				505		0.0891089109				20		41		25		241		0		282		0.5720081136

												49.5		55		65		128		13		54				182		0.2967032967								264				77				341		0.2258064516				360		-23		90				450		0.2				30		45		25		314		0		359		0.7281947262

												51		70		50		41		13		91				132										63		13		182				245						73		0		250				323		0.72				40		45		25		364		0		409		0.8296146045

		#115		Amplitude		#116		Amplitude				51.5		75		45		77		41		173				250		0.692								91		18		360				451		0.7982261641				91		0		461				552		0.8351449275				50		36		18		400		-13		436		0.8843813387

		42		506		54		483				52.5		85		35		54		30		214				268		0.7985074627								54		23		383				437		0.8764302059				32		-23		460				492		0.9349593496				60		25		0		419		-23		444		0.9006085193

		43		410		55		287				53.5		95		25		41		25		241				282		0.8546099291								36		18		400		-13		436		0.9174311927				27				460		-23		487		0.9445585216				80		27		0		442		-23		469		0.9513184584

		44		77		56		0																																																								100		27		0		446		-23		473		0.9594320487

		45		455		57		0																																																								150		23		0		455		-27		478		0.9695740365

		46		488		58		145																																																								200		27				460		-18		487		0.9878296146

						59		469																																																								300		23				470		-30		493		1





Irradiated (4)

		20		10

		30		20

		40		30

		50		40

		75		50

		100		60

		120		80

		150		100

				150

				200

				300



0.4265593561

0.3326572008

0.7404426559

0.5720081136

0.814889336

0.7281947262

0.9114688129

0.8296146045

0.9275653924

0.8843813387

0.9436619718

0.9006085193

0.967806841

0.9513184584

1

0.9594320487

0.9695740365

0.9878296146

1



Irradiated (5) 

		20		20		20		0

		30		30		30		115

		40		40		40

		50		50		50

		60		60		60

		70		70		70

		80		80		80

		90		90		90



20 Volt

50 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #388-389

0.15

0.0975609756

0.0965794769

0

0.1549295775

0.1448692153

0.1004709576

1

0.171875

0.1223529412

0.0901213172

0.2926829268

0.2888888889

0.2434077079

0.6666666667

0.6923076923

0.6511627907

0.7833333333

0.8498896247

0.9073083779

0.8295081967

0.8495049505

0.9384615385

0.8793103448

0.9160839161

0.9470699433



Irr. corr (5)

		25		25		25		0

		35		35		35		110

		45		45		45

		55		55		55

		65		65		65

		75		75		75

		85		85		85



0.1545064378

0.0989010989

0.0670859539

0

0.1555555556

0.1055718475

0.0742268041

1

0.2368421053

0.1916932907

0.1949317739

0.7878787879

0.803030303

0.8273381295

0.8163265306

0.8947368421

0.935334873

0.9318181818

0.9123287671

0.8669131238



Irr. corr. (6)

		Bias 250 V		Strip #		Centre		Distance		100 V		Local coord.		D24		D25		Pulse Left		Pulse Right		Pulse sum		h		ideal				200 V		Pulse Left		Pulse Right		Pulse sum		h		300 V		Pulse Left		Pulse Right		Pulse sum		h				Volt scan		#13		#14		Total		Normalised						Strip #5		Volt scan		Normalised

				13		8.5		110				11		25		85		351		0		351		0		0		0				369		0		369		0				364		0		364		0				20		5		205		210		0.4338842975						10		140		0.2868852459

				14		19.5						12		35		75		387		0		387		0		110		1				414		0		414		0				414		0		414		0				30		5		273		278		0.5743801653						30		285		0.5840163934

												13		45		65		328		27		355		0.076056338								374		15		389		0.0385604113				383		24		407		0.058968059				40		54		323		377		0.7789256198						50		393		0.8053278689

												14		55		55		154		73		227		0.3215859031								164		59		223		0.264573991				173		68		241		0.2821576763				50		45		360		405		0.8367768595						70		434		0.8893442623

		#13		Amplitude		#14		Amplitude				15		65		45		54		223		277		0.8050541516								63		264		327		0.8073394495				82		278		360		0.7722222222				75		41		405		446		0.9214876033						100		454		0.9303278689

		6		364		17		351				16		75		35		36		378		414		0.9130434783								36		424		460		0.9217391304				32		424		456		0.9298245614				100		32		428		460		0.9504132231						150		468

		7		164		18		164				17		85		25		23		414		437		0.9473684211								23		460		483		0.9523809524				20		464		484		0.958677686				120		23		437		460		0.9504132231						200		485		0.993852459

		8		30		19		0																																												150		27		446		473		0.9772727273						300		488		1

		9		0		20		0																																												200		23		455		478		0.9876033058

		10		209		21		196																																												300		20		464		484		1

		11		370		22		392

		Bias 250 V		Strip #		Centre		Distance		50 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				200 V		Pulse Left		Pulse Right		Pulse sum		h		300 V		Pulse Left		Pulse Right		Pulse sum		h				Volt scan		#33		#34		Total		Normalised

				13		4.8		112				8		32		80		31		334		71		405		0.175308642		0		0				427		-17		410		0				434		-17		417		0				10		48		97		145		0.3325688073				30		112		20		31		163

				14		16						9		42		70		34		317		51		368		0.1385869565		112		1				427		31		458		0.0676855895				458		24		482		0.0497925311				20		51		184		235		0.5389908257				50		157		31		41		229

												10		52		60		0		68		34		102		0.3333333333								89		37		126		0.2936507937				99		34		133		0.2556390977				30		54		263		317		0.7270642202				100		291		51		85		427

												11		62		50		0		65		195		260		0.75								61		266		327		0.8134556575				61		260		321		0.8099688474				50		37		345		382		0.876146789				130		372		58		103		533

		#33		Amplitude		#34		Amplitude				12		72		40		0		51		308		359		0.8579387187								34		413		447		0.9239373602				34		430		464		0.9267241379				75		27		389		416		0.9541284404				150		530		50		109		689

		2		445		13		451				13		82		30		0		37		342		379		0.9023746702								27		427		454		0.9405286344				10		447		457		0.9781181619				100		24		400		424		0.9724770642				200		567		44		65		676

		3		191		14		214																																														125		24		417		441		1.0114678899				250		605		31				636

		4		41		15		41																																														150		20		420		440		1.0091743119				300		612		31				643

		5		34		16		34																																														200		20		424		444		1.0183486239

		6		68		17		58																																														300		20		436		456		1.0458715596

		7		413		18		330

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.		D24		D25		#120		Int 1		#121		Int 2		#122		Int 3		Pulse sum		h		ideal				200 V		#120		Int 1		#121		Int 2		#122		Int 3		Pulse sum		h		400 V		#120		Int 1		#121		Int 2		#122		Int 3		Pulse sum		h						Volt scan		#120		Int 1		#121		Int 2		#122		Total		Normalised

				121		40		117				43		30		87		30		24		167		24		48		17		215		0.223255814		0		0				24		20		266		10		34		0		300		0.1133333333				10		0		372		-24		20		0		392		0.0510204082						50		0		0		61		0		24		85		0.2093596059

				122		51.7						44		40		77		24		15		140		31		54		117		194		0.2783505155		117		1				27		15		242		27		58		0		300		0.1933333333				0		0		376		-24		31		0		407		0.0761670762						100		20		0		106		0		34		140		0.3448275862

												45		50		67		24		20		99		37		65		0		164		0.3963414634								15		0		171		44		75		0		246		0.3048780488				10		0		311		0		75		0		386		0.1943005181						150		27		10		157		24		48		205		0.5049261084

												47		70		47		0		0		58		41		95		0		153		0.6209150327								0		0		68		48		146		0		214		0.6822429907				0		0		61		17		270		0		331		0.8157099698						200		20		10		253		10		34		287		0.7068965517

		#121		Amplitude		#122		Amplitude				48		80		37		0		0		65		41		143		10		208		0.6875								0		0		58		41		229		0		287		0.7979094077				0		0		34		0		366		-13		400		0.915						250		10		5		317		0		27		344		0.8472906404

		38		345		49		366				49		90		27		0		0		51		34		157		0		208		0.7548076923								0		0		44		27		266		0		310		0.8580645161				0		0		27		0		376		-17		403		0.9330024814						300		0		0		349		0		31		380		0.9359605911

		39		37		50		201																																																																						350		0		0		362		-15		27		389		0.9581280788

		40		30		51		34																																																																						400		0		0		372		-17		34		406		1

		41		34		52		24																																																																						500		0		0		383		-20		27		410		1.0098522167

		42		195		53		58

		43		362		54		342

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				200 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		400 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h						Volt scan		#109		#110		Total		Normalised

				109		12.4		116				15		26		90		31		178		51		229		0.2227074236		0		0				15		280		24		304		0.0789473684						369		0		369		0						50		65		0		65		0.1747311828

				110		24						16		36		80		24		154		58		212		0.2735849057		116		1				24		263		41		304		0.1348684211						372		0		372		0						100		123		37		160		0.4301075269

												17		46		70		20		123		71		194		0.3659793814								30		215		71		286		0.2482517483						331		41		372		0.1102150538						150		171		51		222		0.5967741935

												19		66		50		0		68		95		163		0.5828220859								0		71		146		217		0.6728110599						58		242		300		0.8066666667						200		287		24		311		0.8360215054

		#109		Amplitude		#110		Amplitude				20		76		40		0		68		146		214		0.6822429907								0		58		242		300		0.8066666667						34		338		372		0.9086021505						250		334		0		334		0.8978494624

		10		308		21		291				21		86		30		0		58		167		225		0.7422222222								0		44		259		303		0.8547854785						0		345		345		1						300		351		0		351		0.9435483871

		11		37		22		208																																																				350		366		0		366		0.9838709677

		12		0		23		31																																																				400		372		0		372		1

		13		0		24		27																																																				500		383		0		383		1.0295698925

		14		225		25		31

		15		321		26		235

						27		285

		Bias 250 V		Strip #		Centre		Distance		100 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				300 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		400 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h						Volt scan		#72		#73		Total		Normalised

				72		29.1		114				31.5		24		90				253		34		287		0.118466899		0		0						355		1		356		0.0028089888						0		0		0		0						25		44		20		64		0.170212766

				73		40.5						32.5		34		80				242		48		290		0.1655172414		114		1						386		1		387		0.0025839793																		50		95		41		136		0.3617021277

												33.5		44		70				150		78		228		0.3421052632										280		41		321		0.1277258567																		75		150		58		208		0.5531914894

												35.5		64		50				54		120		174		0.6896551724										51		222		273		0.8131868132																		100		240		51		291		0.7739361702

		#72		Amplitude		#73		Amplitude				36.5		74		40				68		215		283		0.7597173145										17		376		393		0.9567430025																		125		311		27		338		0.8989361702

		27		249		38		311				37.5		84		30				41		253		294		0.8605442177										1		386		387		0.9974160207																		150		342		10		352		0.9361702128

		28		71		39		106				38		89		25				41		249		290		0.8586206897										20		355		375		0.9466666667																		200		355		10		365		0.9707446809

		28.5		25		40		20																																																				300		376		0		376		1

		29		0		41		31																																																				400		383		0		383		1.0186170213

		30		58		42		154

		31		256		43		334

		Bias 250 V		Strip #		Centre		Distance		100 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				150 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		300 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		200 V		Pulse Left		Pulse Right		Pulse sum		h		Volt scan		#92		#93		Total		Normalised

				92		37.8		116				40		22		94		20		146		41		187		0.2192513369		0		0						259		24		283		0.0848056537						352		1		353		0.0028328612				331		5		336		0.0148809524		50		65		10		75		0.2049180328

				93		49.4						41		32		84		20		140		44		184		0.2391304348		116		1						246		34		280		0.1214285714						369		1		370		0.0027027027				334		5		339		0.0147492625		75		95		10		105		0.2868852459

												42		42		74		24		112		51		163		0.3128834356										208		65		273		0.2380952381						355		1		356		0.0028089888				300		34		334		0.1017964072		100		129		27		156		0.4262295082

												44.5		67		49		0		68		89		157		0.5668789809										82		143		225		0.6355555556						65		256		321		0.7975077882				71		215		286		0.7517482517		125		167		27		194		0.5300546448

		#92		Amplitude		#93		Amplitude				45		72		44				71		103		174		0.591954023										78		198		276		0.7173913043						37		334		371		0.9002695418				54		291		345		0.8434782609		150		236		30		266		0.7267759563

		35		352		47		345				46		82		34				54		123		177		0.6949152542										54		236		290		0.8137931034						1		370		371		0.9973045822				41		328		369		0.8888888889		200		328		0		328		0.8961748634

		36		143		48		68				47		92		24				48		133		181		0.7348066298										48		259		307		0.8436482085						10		359		369		0.972899729				35		331		366		0.9043715847		250		355		0		355		0.9699453552

		37		17		49		0																																																										300		366		0		366		1

		38		17		49.5		0																																																										400		379		0		379		1.0355191257

		39		95		50		0

		40		325		51		116

						52		321

		Bias 250 V		Strip #		Centre		Distance		20 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				50 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		200 V		Pulse Left		Pulse Right		Pulse sum		h								Volt scan		#32		#33		Total		Normalised

				32		43.2		108				45.5		23		85		24		188		30		218		0.1376146789		0		0				24		317		1		318		0.0031446541				400		1		401		0.0024937656								10		89		41		130		0.3147699758

				33		54						46.5		33		75		20		174		44		218		0.2018348624		108		1				20		325		10		335		0.0298507463				410		1		411		0.00243309								20		171		41		212		0.5133171913

												47.5		43		65		24		123		65		188		0.3457446809								20		242		54		296		0.1824324324				342		37		379		0.0976253298								30		232		34		266		0.6440677966

												49		58		50		0		41		58		99		0.5858585859										44		109		153		0.7124183007				51		164		215		0.7627906977								50		321		0		321		0.7772397094

		#32		Amplitude		#33		Amplitude				49.5		63		45				68		116		184		0.6304347826										68		212		280		0.7571428571				65		297		362		0.820441989								75		362		0		362		0.8765133172

		40		393		51		413				50.5		73		35				58		157		215		0.7302325581										44		297		341		0.8709677419				24		389		413		0.9418886199								100		383		0		383		0.9273607748

		41		181		52		291				51		78		30				48		164		212		0.7735849057										41		304		345		0.8811594203				15		393		408		0.9632352941								150		396		0		396		0.9588377724

		42		31		53		51																																																				200		413		0		413		1

		43		24		54		17																																																				300		420		0		420		1.0169491525

		44		80		55		50

		45		359		56		280

						57		403

		Bias 250 V		Strip #		Centre		Distance		50 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				100 V		Pulse Left		Pulse Right		Pulse sum		h		300 V		Pulse Left		Pulse Right		Pulse sum		h										Volt scan		#53		#54		#55		#56		Total		Normalised

				54		39		110				42.5		35		75		24		259		37		296		0.125		0		0				352		1		353		0.0028328612				400		1		401		0.0024937656										10		13		27		41		13		68		0.17

				55		50						43		40		70		24		222		48		270		0.1777777778		110		1				331		1		332		0.0030120482				393		1		394		0.0025380711										25		20		61		109		20		170		0.425

												44		50		60		0		123		58		181		0.320441989								195		44		239		0.1841004184				239		41		280		0.1464285714										50				266		41				307		0.7675

												45.5		65		45		0		51		116		167		0.6946107784								42		178		220		0.8090909091				61		215		276		0.7789855072										75				334		14				348		0.87

		#54		Amplitude		#55		Amplitude				46		70		40				70		201		271		0.741697417								51		308		359		0.8579387187				51		355		406		0.8743842365										100				359		0				359		0.8975

		37		352		47		400				47		80		30				43		260		303		0.8580858086								17		355		372		0.9543010753				1		400		401		0.9975062344										150				372		0				372		0.93

		38		44		48		280																																																				200				383		0				383		0.9575

		39		27		49		41																																																				250				396		0				396		0.99

		40		51		50		20																																																				300				400		0				400		1

		41		266		51		51								512		63		575																																								400				406						406		1.015

		42		390		52		273

						53		410

		Bias 250 V		Strip #		Centre		Distance		50 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				100 V		Pulse Left		Pulse Right		Pulse sum		h		250 V		Pulse Left		Pulse Right		Pulse sum		h										Volt scan		#64		#65		Total		Normalised

				63		1		120				4.5		35		85		37		161		65		226		0.2876106195		0		0				317		1		318		0.0031446541				376		1		377		0.0026525199										25		34		75		109		0.2632850242

				64		13						5.5		45		75		30		137		82		219		0.3744292237		120		1				297		54		351		0.1538461538				376		15		391		0.0383631714										50		55		164		219		0.5289855072

												6		50		70		0		123		78		201		0.3880597015								249		58		307		0.1889250814				325		41		366		0.1120218579										75		37		290		327		0.7898550725

												7.5		65		55		0		38		51		89		0.5730337079								40		106		146		0.7260273973				51		129		180		0.7166666667										100		27		330		357		0.8623188406

		#63		Amplitude		#64		Amplitude				8		70		50				71		103		174		0.591954023								61		242		303		0.798679868				58		300		358		0.8379888268										150		27		359		386		0.9323671498

		-1		352		10		400				9		80		40				75		143		218		0.6559633028								41		325		366		0.8879781421				31		372		403		0.9230769231										200		24		372		396		0.9565217391

		0		44		11		280				10		90		30				51		164		215		0.7627906977								34		334		368		0.9076086957				20		389		409		0.9511002445										250		20		379		399		0.9637681159

		1		27		12		41																																																				300		24		382		406		0.9806763285

		2		51		13		20																																																				350		24		390		414		1

		3		266		14		51

		4		390		15		273





Irradiated (6)

		Bias 250 V		Strip #		Centre		Distance		100 V		Local coord.		D24		D25		Pulse Left		Pulse Right		Pulse sum		h		ideal				200 V		Pulse Left		Pulse Right		Pulse sum		h		300 V		Pulse Left		Pulse Right		Pulse sum		h				Volt scan		#13		#14		Total		Normalised						Strip #5		Volt scan		Normalised

				13		8.5		110				11		25		85		351		17		368		0.0461956522		0		0				369		17		386		0.0440414508				364		17		381		0.0446194226				20		5		205		210		0.4338842975						10		140		0.2868852459

				14		19.5						12		35		75		387		24		411		0.0583941606		110		1				414		24		438		0.0547945205				414		24		438		0.0547945205				30		5		273		278		0.5743801653						30		285		0.5840163934

												13		45		65		328		54		382		0.1413612565								374		55		429		0.1282051282				383		48		431		0.1113689095				40		54		323		377		0.7789256198						50		393		0.8053278689

												14		55		55		154		73		227		0.3215859031								164		59		223		0.264573991				173		68		241		0.2821576763				50		45		360		405		0.8367768595						70		434		0.8893442623

		#13		Amplitude		#14		Amplitude				15		65		45		54		223		277		0.8050541516								63		264		327		0.8073394495				82		278		360		0.7722222222				75		41		405		446		0.9214876033						100		454		0.9303278689

		6		364		17		351				16		75		35		36		378		414		0.9130434783								36		424		460		0.9217391304				32		424		456		0.9298245614				100		32		428		460		0.9504132231						150		468

		7		164		18		164				17		85		25		23		414		437		0.9473684211								23		460		483		0.9523809524				20		464		484		0.958677686				120		23		437		460		0.9504132231						200		485		0.993852459

		8		30		19		0																																												150		27		446		473		0.9772727273						300		488		1

		9		0		20		0																																												200		23		455		478		0.9876033058

		10		209		21		196																																												300		20		464		484		1

		11		370		22		392

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.		D24		D25		#120		Int 1		#121		Int 2		#122		Int 3		Pulse sum		h		ideal				200 V		#120		Int 1		#121		Int 2		#122		Int 3		Pulse sum		h		400 V		#120		Int 1		#121		Int 2		#122		Int 3		Pulse sum		h						Volt scan		#120		Int 1		#121		Int 2		#122		Total		Normalised

				121		40		117				43		30		87		30		24		167		24		48		17		215		0.223255814		0		0				24		20		266		10		34		0		300		0.1133333333				10		0		372		-24		20		0		392		0.0510204082						50		0		0		61		0		24		85		0.2093596059

				122		51.7						44		40		77		24		15		140		31		54		117		194		0.2783505155		117		1				27		15		242		27		58		0		300		0.1933333333				0		0		376		-24		31		0		407		0.0761670762						100		20		0		106		0		34		140		0.3448275862

												45		50		67		24		20		99		37		65		0		164		0.3963414634								15		0		171		44		75		0		246		0.3048780488				10		0		311		0		75		0		386		0.1943005181						150		27		10		157		24		48		205		0.5049261084

												47		70		47		0		0		58		41		95		0		153		0.6209150327								0		0		68		48		146		0		214		0.6822429907				0		0		61		17		270		0		331		0.8157099698						200		20		10		253		10		34		287		0.7068965517

		#121		Amplitude		#122		Amplitude				48		80		37		0		0		65		41		143		10		208		0.6875								0		0		58		41		229		0		287		0.7979094077				0		0		34		0		366		-13		400		0.915						250		10		5		317		0		27		344		0.8472906404

		38		345		49		366				49		90		27		0		0		51		34		157		0		208		0.7548076923								0		0		44		27		266		0		310		0.8580645161				0		0		27		0		376		-17		403		0.9330024814						300		0		0		349		0		31		380		0.9359605911

		39		37		50		201																																																																						350		0		0		362		-15		27		389		0.9581280788

		40		30		51		34																																																																						400		0		0		372		-17		34		406		1

		41		34		52		24																																																																						500		0		0		383		-20		27		410		1.0098522167

		42		195		53		58

		43		362		54		342

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				200 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		400 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h						Volt scan		#109		#110		Total		Normalised

				109		12.4		116				15		26		90		31		178		51		229		0.2227074236		0		0				15		280		24		304		0.0789473684						369		15		384		0.0390625						50		65		0		65		0.1747311828

				110		24						16		36		80		24		154		58		212		0.2735849057		116		1				24		263		41		304		0.1348684211						372		24		396		0.0606060606						100		123		37		160		0.4301075269

												17		46		70		20		123		71		194		0.3659793814								30		215		71		286		0.2482517483						331		41		372		0.1102150538						150		171		51		222		0.5967741935

												19		66		50		0		68		95		163		0.5828220859								0		71		146		217		0.6728110599						58		242		300		0.8066666667						200		287		24		311		0.8360215054

		#109		Amplitude		#110		Amplitude				20		76		40		0		68		146		214		0.6822429907								0		58		242		300		0.8066666667						34		338		372		0.9086021505						250		334		0		334		0.8978494624

		10		308		21		291				21		86		30		0		58		167		225		0.7422222222								0		44		259		303		0.8547854785						15		345		360		0.9583333333						300		351		0		351		0.9435483871

		11		37		22		208																																																				350		366		0		366		0.9838709677

		12		0		23		31																																																				400		372		0		372		1

		13		0		24		27																																																				500		383		0		383		1.0295698925

		14		225		25		31

		15		321		26		235

						27		285

		Bias 250 V		Strip #		Centre		Distance		100 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				300 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		400 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h						Volt scan		#72		#73		Total		Normalised

				72		29.1		114				31.5		24		90				253		34		287		0.118466899		0		0						355		14		369		0.0379403794						0		0		0		0						25		44		20		64		0.170212766

				73		40.5						32.5		34		80				242		48		290		0.1655172414		114		1						386		25		411		0.0608272506																		50		95		41		136		0.3617021277

												33.5		44		70				150		78		228		0.3421052632										280		56		336		0.1666666667																		75		150		58		208		0.5531914894

												35.5		64		50				54		120		174		0.6896551724										51		222		273		0.8131868132																		100		240		51		291		0.7739361702

		#72		Amplitude		#73		Amplitude				36.5		74		40				68		215		283		0.7597173145										17		376		393		0.9567430025																		125		311		27		338		0.8989361702

		27		249		38		311				37.5		84		30				41		253		294		0.8605442177										1		386		387		0.9974160207																		150		342		10		352		0.9361702128

		28		71		39		106				38		89		25				41		249		290		0.8586206897										20		355		375		0.9466666667																		200		355		10		365		0.9707446809

		28.5		25		40		20																																																				300		376		0		376		1

		29		0		41		31																																																				400		383		0		383		1.0186170213

		30		58		42		154

		31		256		43		334

		Bias 250 V		Strip #		Centre		Distance		100 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				150 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		300 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		200 V		Pulse Left		Pulse Right		Pulse sum		h		Volt scan		#92		#93		Total		Normalised

				92		37.8		116				40		22		94		20		146		41		187		0.2192513369		0		0						259		24		283		0.0848056537						352		15		367		0.0408719346				331		20		351		0.056980057		50		65		10		75		0.2049180328

				93		49.4						41		32		84		20		140		44		184		0.2391304348		116		1						246		34		280		0.1214285714						369		27		396		0.0681818182				334		29		363		0.0798898072		75		95		10		105		0.2868852459

												42		42		74		24		112		51		163		0.3128834356										208		65		273		0.2380952381						355		36		391		0.0920716113				300		55		355		0.1549295775		100		129		27		156		0.4262295082

												44.5		67		49		0		68		89		157		0.5668789809										82		143		225		0.6355555556						65		256		321		0.7975077882				71		215		286		0.7517482517		125		167		27		194		0.5300546448

		#92		Amplitude		#93		Amplitude				45		72		44				71		103		174		0.591954023										78		198		276		0.7173913043						37		334		371		0.9002695418				54		291		345		0.8434782609		150		236		30		266		0.7267759563

		35		352		47		345				46		82		34				54		123		177		0.6949152542										54		236		290		0.8137931034						1		370		371		0.9973045822				41		328		369		0.8888888889		200		328		0		328		0.8961748634

		36		143		48		68				47		92		24				48		133		181		0.7348066298										48		259		307		0.8436482085						10		359		369		0.972899729				35		331		366		0.9043715847		250		355		0		355		0.9699453552

		37		17		49		0																																																										300		366		0		366		1

		38		17		49.5		0																																																										400		379		0		379		1.0355191257

		39		95		50		0

		40		325		51		116

						52		321

		Bias 250 V		Strip #		Centre		Distance		20 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				50 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		200 V		Pulse Left		Pulse Right		Pulse sum		h								Volt scan		#32		#33		Total		Normalised

				32		43.2		108				45.5		23		85		24		188		30		218		0.1376146789		0		0				24		317		14		331		0.0422960725				400		15		415		0.0361445783								10		89		41		130		0.3147699758

				33		54						46.5		33		75		20		174		44		218		0.2018348624		108		1				20		325		30		355		0.0845070423				410		25		435		0.0574712644								20		171		41		212		0.5133171913

												47.5		43		65		24		123		65		188		0.3457446809								20		242		74		316		0.2341772152				342		37		379		0.0976253298								30		232		34		266		0.6440677966

												49		58		50		0		41		58		99		0.5858585859										44		109		153		0.7124183007				51		164		215		0.7627906977								50		321		0		321		0.7772397094

		#32		Amplitude		#33		Amplitude				49.5		63		45				68		116		184		0.6304347826										68		212		280		0.7571428571				65		297		362		0.820441989								75		362		0		362		0.8765133172

		40		393		51		413				50.5		73		35				58		157		215		0.7302325581										44		297		341		0.8709677419				24		389		413		0.9418886199								100		383		0		383		0.9273607748

		41		181		52		291				51		78		30				48		164		212		0.7735849057										41		304		345		0.8811594203				15		393		408		0.9632352941								150		396		0		396		0.9588377724

		42		31		53		51																																																				200		413		0		413		1

		43		24		54		17																																																				300		420		0		420		1.0169491525

		44		80		55		50

		45		359		56		280

						57		403

		Bias 250 V		Strip #		Centre		Distance		50 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				100 V		Pulse Left		Pulse Right		Pulse sum		h		300 V		Pulse Left		Pulse Right		Pulse sum		h										Volt scan		#53		#54		#55		#56		Total		Normalised

				54		39		110				42.5		35		75		24		259		37		296		0.125		0		0				352		15		367		0.0408719346				400		17		417		0.0407673861										10		13		27		41		13		68		0.17

				55		50						43		40		70		24		222		48		270		0.1777777778		110		1				331		25		356		0.0702247191				393		29		422		0.0687203791										25		20		61		109		20		170		0.425

												44		50		60		0		123		58		181		0.320441989								195		55		250		0.22				239		61		300		0.2033333333										50				266		41				307		0.7675

												45.5		65		45		0		51		116		167		0.6946107784								42		178		220		0.8090909091				61		215		276		0.7789855072										75				334		14				348		0.87

		#54		Amplitude		#55		Amplitude				46		70		40				70		201		271		0.741697417								51		308		359		0.8579387187				51		355		406		0.8743842365										100				359		0				359		0.8975

		37		352		47		400				47		80		30				43		260		303		0.8580858086								17		355		372		0.9543010753				1		400		401		0.9975062344										150				372		0				372		0.93

		38		44		48		280																																																				200				383		0				383		0.9575

		39		27		49		41																																																				250				396		0				396		0.99

		40		51		50		20																																																				300				400		0				400		1

		41		266		51		51								512		63		575																																								400				406						406		1.015

		42		390		52		273

						53		410

		Bias 250 V		Strip #		Centre		Distance		50 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				100 V		Pulse Left		Pulse Right		Pulse sum		h		250 V		Pulse Left		Pulse Right		Pulse sum		h										Volt scan		#64		#65		Total		Normalised

				63		1		120				4.5		35		85		37		161		65		226		0.2876106195		0		0				317		15		332		0.0451807229				376		15		391		0.0383631714										25		34		75		109		0.2632850242

				64		13						5.5		45		75		30		137		82		219		0.3744292237		120		1				297		50		347		0.144092219				376		39		415		0.0939759036										50		55		164		219		0.5289855072

												6		50		70		0		123		78		201		0.3880597015								249		54		303		0.1782178218				325		61		386		0.1580310881										75		37		290		327		0.7898550725

												7.5		65		55		0		38		51		89		0.5730337079								40		106		146		0.7260273973				51		129		180		0.7166666667										100		27		330		357		0.8623188406

		#63		Amplitude		#64		Amplitude				8		70		50				71		103		174		0.591954023								61		242		303		0.798679868				58		300		358		0.8379888268										150		27		359		386		0.9323671498

		-1		352		10		400				9		80		40				75		143		218		0.6559633028								41		325		366		0.8879781421				31		372		403		0.9230769231										200		24		372		396		0.9565217391

		0		44		11		280				10		90		30				51		164		215		0.7627906977								34		334		368		0.9076086957				20		389		409		0.9511002445										250		20		379		399		0.9637681159

		1		27		12		41																																																				300		24		382		406		0.9806763285

		2		51		13		20																																																				350		24		390		414		1

		3		266		14		51

		4		390		15		273





Irradiated (6)

		20		10		10

		30		20		30

		40		30		50

		50		50		70

		75		75		100

		100		100		150

		120		125		200

		150		150		300

		200		200

		300		300



0.4338842975

0.3325688073

0.2868852459

0.5743801653

0.5389908257

0.5840163934

0.7789256198

0.7270642202

0.8053278689

0.8367768595

0.876146789

0.8893442623

0.9214876033

0.9541284404

0.9303278689

0.9504132231

0.9724770642

0

0.9504132231

1.0114678899

0.993852459

0.9772727273

1.0091743119

1

0.9876033058

1.0183486239

1

1.0458715596



Irr. (7)

		

		Vfd

		Normalised		10		30		50		70		120

		50		0.2016		0.2		0.1500938086		0.1529411765		0.2610294118

		100		0.3248		0.2585365854		0.3114446529		0.3025210084		0.4393382353

		150		0.4832		0.4170731707		0.4671669794		0.4352941176		0.8088235294

		200		0.656		0.6		0.6303939962		0.6268907563		0.9227941176

		250		0.8032		0.8097560976		0.8105065666		0.7613445378		0.9430147059

		300		0.9104		0.856097561		0.8780487805		0.8789915966		0.9411764706

		350		0.928		0.8902439024		0.9099437148		0.9176470588		0.9724264706

		400		0.9696		0.9268292683		0.9230769231		0.9193277311		0.9852941176

		500		1		1		1		1		1

		Strip #		VFD

		10

		30

		50

		70

		120

		Eta scan		#10		#11

								D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		Norm. pulse

								20		90		239		62		301		0.2059800664		0		0				20		90		409		59		468		0.1260683761		0.6688888889

								30		80		350		76		426		0.1784037559		110		1				30		80		582		32		614		0.0521172638		0.9466666667

								40		70		298		104		402		0.2587064677								40		70		520		60		580		0.1034482759		0.8933333333

								50		60		149		83		232		0.3577586207								50		60		270		76		346		0.2196531792		0.5155555556

								60		50		90		152		242		0.6280991736								60		50		100		281		381		0.7375328084		0.5377777778

								70		40		118		291		409		0.7114914425								70		40		80		544		624		0.8717948718		0.9088888889

								80		30		94		357		451		0.7915742794								80		30		55		564		619		0.9111470113		1.0022222222

								90		20		80		277		357		0.7759103641								90		20		76		447		523		0.8546845124		0.7933333333

				#30		#31		200 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		Norm. pulse

										20		90		114		61		175		0.3485714286		0		0				20		90		195		58		253		0.2292490119		0.6730769231

										30		80		168		47		215		0.2186046512		110		1				30		80		309		15		324		0.0462962963		0.8269230769

										40		70		160		75		235		0.3191489362								40		70		328		27		355		0.076056338		0.9038461538

										50		60		95		73		168		0.4345238095								50		60		161		58		219		0.2648401826		0.6461538462

										60		50		39		65		104		0.625								60		50		56		91		147		0.619047619		0.4

										70		40		58		147		205		0.7170731707								70		40		51		303		354		0.8559322034		0.7884615385

										80		30		52		203		255		0.7960784314								80		30		15		372		387		0.9612403101		0.9807692308

										90		20		42		198		240		0.825								90		20		10		367		377		0.9734748011		0.9230769231

				#50		#51		200 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		Norm. pulse

										20		90		253		45		298		0.1510067114		0		0				20		90		429		24		453		0.0529801325		0.903030303

										30		80		225		55		280		0.1964285714		110		1				30		80		423		32		455		0.0703296703		0.8484848485

										40		70		177		86		263		0.3269961977								40		70		385		72		457		0.1575492341		0.796969697

										50		60		0		0		0										50		60		0		0		0		0		0

										60		50		62		128		190		0.6736842105								60		50		69		267		336		0.7946428571		0.5757575758

										70		40		83		232		315		0.7365079365								70		40		42		461		503		0.916500994		0.9545454545

										80		30		52		277		329		0.8419452888								80		30		28		461		489		0.9427402863		0.996969697

										90		20		55		270		325		0.8307692308								90		20		24		468		492		0.9512195122		0.9848484848

				#70		#71		200 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		Norm. pulse

										20		95		263		55		318		0.1729559748		0		0				20		95		395		59		454		0.1299559471		0.7066666667

										30		85		374		42		416		0.1009615385		115		1				30		85		547		20		567		0.0352733686		0.9244444444

										40		75		315		76		391		0.1943734015								40		75		550		38		588		0.0646258503		0.8688888889

										50		65		121		55		176		0.3125								50		65		204		58		262		0.2213740458		0.3911111111

										60		55		48		50		98		0.5102040816								60		55		59		83		142		0.5845070423		0.2177777778

										70		45		114		253		367		0.689373297								70		45		66		499		565		0.8831858407		0.8155555556

										80		35		76		333		409		0.8141809291								80		35		38		561		599		0.9365609349		0.9088888889

										90		25		66		381		447		0.8523489933								90		25		34		513		547		0.9378427788		0.9933333333

				#120		#121		200 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		Norm. pulse

										20		100		346		121		467		0.2591006424		0		0				20		100		377		135		512		0.263671875		0.6867647059

										30		90		616		59		675		0.0874074074		115		1				30		90		682		48		730		0.0657534247		0.9926470588

										40		80		616		62		678		0.0914454277								40		80		665		52		717		0.0725244073		0.9970588235

										50		70		308		55		363		0.1515151515								50		70		385		66		451		0.1463414634		0.7117647059

										60		60		59		59		118		0.5								60		60		66		66		132		0.5		0.231372549

										70		50		90		360		450		0.8								70		50		86		450		536		0.8395522388		0.8823529412

										80		40		59		450		509		0.884086444								80		40		42		520		562		0.9252669039		0.9980392157

										90		30		38		468		506		0.9249011858								90		30		28		523		551		0.9491833031		0.9921568627

				Sample of metal strip scan

		#10		#10		Amplitude		Norm. ampl.

		25.5		0		491		0.982

		26		5		376		0.752

		26.5		10		173		0.346

		27.5		20		0		0

		28		25		0		0

		28.5		30		0		0

		29.5		40		108.6		0.2172

		30		45		310		0.62

		30.5		50		472		0.944

		Strip		#90		#91		200 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		Pulse Left		Pulse Right		Pulse sum		h

										38		30		87.5		329		38		367		0.1035422343		0		0				436		14		450		0.0311111111

										39		40		77.5		281		69		350		0.1971428571		117.5		1				433		25		458		0.0545851528

										40		50		67.5		142		83		225		0.3688888889								235		76		311		0.2443729904

										41		60		57.5		52		86		138		0.6231884058								38		136		174		0.7816091954

										42		70		47.5		94		274		368		0.7445652174								48		485		533		0.9099437148

										43		80		37.5		48		385		433		0.8891454965								0		526		526		1

										44		90		27.5		38		402		440		0.9136363636								0		523		523		1

		Strip #		150 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				200 V		Pulse Left		Pulse Right		Pulse sum		h		400 V		Pulse Left		Pulse Right		Pulse sum		h

		100				24		30		85		276		71		347		0.204610951		0		0				405		25		430		0.0581395349				509		24		533		0.0450281426

		101				25		40		75		233		104		337		0.3086053412		115		1				388		74		462		0.1601731602				516		38		554		0.0685920578

						26		50		65		91		57		148		0.3851351351								142		54		196		0.2755102041				219		62		281		0.2206405694

						27		60		55		51		67		118		0.5677966102								64		101		165		0.6121212121				67		148		215		0.688372093

						28		70		45		121		202		323		0.6253869969								111		317		428		0.7406542056				61		476		537		0.886405959

						29		80		35		91		250		341		0.7331378299								71		385		456		0.8442982456				37		496		533		0.9305816135

						30		90		25		74		290		364		0.7967032967								57		425		482		0.8817427386				34		519		553		0.938517179

		New 0 position

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		Ideal				200 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		400 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h

				120		22.2		118				25		28		90		32		0		333		23		50		0		0		383		0.1305483029		0		0				25		250		-250		13		0		396		-13		35		0		0		431		0.0812064965				25		250		-250		10		0		469		-23		32		0		0		501		0.0638722555

				121		34						26		38		80		32		0		314		30		54		0		0		368		0.1467391304		118		1				26		260		-260		23		0		424		-13		36		0		0		460		0.0782608696				26		260		-260		0		0		469		-27		30		0		0		499		0.0601202405

												27		48		70		27		0		259		54		86		0		13		345		0.2492753623								27		270		-270		0		0		387		23		68		0		0		455		0.1494505495				27		270		-270		0		0		492		-23		63		0		0		555		0.1135135135

												28		58		60		0		0		41		0		27		0		0		68		0.3970588235								28		280		-280		0		0		59		0		41		0		0		100		0.41				28		280		-280		0		0		77		0		45		0		0		122		0.368852459

		#121		Ampitude		#121		Amplitude				29		68		50		18		0		68		41		132		0		32		200		0.66								29		290		-290		0		0		59		32		178		0		0		237		0.7510548523				29		290		-290		0		0		73		18		273		0		32		346		0.789017341

		20		483		32		451				30		78		40		18		0		86		68		264		0		27		350		0.7542857143								30		300		-300		0		0		50		10		506		-18		0		556		0.9100719424				30		300		-300		0		0		50		10		506		-18		0		556		0.9100719424

		21		86		33		54				31		88		30		0				63		50		342		0		32		405		0.8444444444								31		310		-310		0		0		41		18		428		-23		18		469		0.9125799574				31		310		-310		0		0		36		0		496		-23		18		532		0.9323308271

		22		45		34		32

		23		23		35		45				Estimated strip width:

		24		154		36		387				35 µm

		25		470





Irr. (7)

		30		30		0

		40		40		115

		50		50

		60		60

		70		70

		80		80

		90		90



200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #760-761

0.0874074074

0.0657534247

0

0.0914454277

0.0725244073

1

0.1515151515

0.1463414634

0.5

0.5

0.8

0.8395522388

0.884086444

0.9252669039

0.9249011858

0.9491833031



Non irr. (2)

		0		28		28		28

		118		38		38		38

				48		48		48

				58		58		58

				68		68		68

				78		78		78

				88		88		88



Local position [µm]

Right charge/Total charge

Scan across strips #760-761

0

0.1305483029

0.0812064965

0.0638722555

1

0.1467391304

0.0782608696

0.0601202405

0.2492753623

0.1494505495

0.1135135135

0.3970588235

0.41

0.368852459

0.66

0.7510548523

0.789017341

0.7542857143

0.9100719424

0.9100719424

0.8444444444

0.9125799574

0.9323308271



Various final Pic.

		30		30		0

		40		40		110

		50		50

		60		60

		70		70

		80		80



200 Volts

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #650-651

0.1784037559

0.0521172638

0

0.2587064677

0.1034482759

1

0.3577586207

0.2196531792

0.6280991736

0.7375328084

0.7114914425

0.8717948718

0.7915742794

0.9111470113



Final pic. eta

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D24		D25		Pulse 24		Pulse 25		Pulse sum		h		ideal				400 V		Local coord.		D24		D25		Pulse 24		Pulse 25		Pulse sum		h

				24		22.2		120				24.5		23		97		589		98		687		0.1426491994		0		0				24.5		23		97		841		0		841		0

				25		34.2						25.5		33		87		663		135		798		0.1691729323		120		1				25.5		33		87		892		0		892		0

												26.5		43		77		565		140		705		0.1985815603								26.5		43		77		841		61		902		0.0676274945

												27.5		53		67		425		233		658		0.3541033435								27.5		53		67		715		332		1047		0.3170964661

		#24		Amplitude		#25		Amplitude				28		58		62		388		318		706		0.4504249292								28		58		62		607		514		1121		0.4585191793

		20.5		715		32		738				28.5		63		57		322		388		710		0.5464788732								28.5		63		57		402		691		1093		0.6322049405

		21		579		32.5		663				29.5		73		47		196		520		716		0.7262569832								29.5		73		47		135		888		1023		0.8680351906

		21.5		462		33		486				30.5		83		37		201		645		846		0.7624113475								30.5		83		37		140		906		1046		0.8661567878

		22		374		33.5		402				31.5		93		27		140		551		691		0.7973950796								31.5		93		27		112		850		962		0.8835758836

		22.5		340		34		336				32		98		22		112		490		602		0.8139534884								32		98		22		98		771		869		0.8872266974

		23		416		34.5		327

		23.5		551		35		378

		24		631		35.5		462

		24.5		757		36		603

						36.5		705

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D39		D40		Pulse 39		Pulse 40		Pulse sum		h		ideal				400 V		Local coord.		D39		D40		Pulse 39		Pulse 40		Pulse sum		h

				39		38.5		120				41		25		95		537		98		635		0.1543307087		0		0				41		25		95		818		0		818		0

				40		50.5						42		35		85		598		159		757		0.2100396301		120		1				42		35		85		850		0		850		0

												43		45		75		495		159		654		0.2431192661								43		45		75		780		60		840		0.0714285714

												44		55		65		378		290		668		0.4341317365								44		55		65		663		397		1060		0.3745283019

		#39		Amplitude		#40		Amplitude				45		65		55		252		411		663		0.6199095023								45		65		55		360		673		1033		0.651500484

		37.5		446		49.5		474				46		75		45		168		547		715		0.765034965								46		75		45		126		892		1018		0.8762278978

		38.5		265		50.5		339				47		85		35		173		659		832		0.7920673077								47		85		35		103		897		1000		0.897

		39		274		51		367				48		95		25		135		603		738		0.8170731707								48		95		25		89		836		925		0.9037837838

		39.5		395		51.5		442				49		105		15		84		406		490		0.8285714286								49		105		15		84		682		766		0.8903394256

		40.5		553		52.5		679				50		115		5		70		276		346		0.7976878613								50		115		5		65		462		527		0.8766603416

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D64		D65		Pulse 64		Pulse 65		Pulse sum		h		ideal				400 V		Local coord.		D64		D65		Pulse 64		Pulse 65		Pulse sum		h

				64		38		118				39.5		15		103		509		84		593		0.1416526138		0		0				39.5		15		103		761		0		761		0

				65		49.8						40.5		25		93		738		135		873		0.1546391753		120		1				40.5		25		93		836		0		836		0

												41.5		35		83		715		135		850		0.1588235294								41.5		35		83		888		0		888		0

												42.5		45		73		593		206		799		0.2578222778								42.5		45		73		803		177		980		0.5581632653

		#64		Amplitude		#65		Amplitude				43.5		55		63		472		383		855		0.4479532164								43.5		55		63		654		547		1201		0.6378018318

		37		458		48.5		537				44.5		65		53		313		530		843		0.6287069988								44.5		65		53		318		766		1084		0.7066420664

		38		322		49.5		322				45.5		75		43		219		696		915		0.7606557377								45.5		75		43		126		902		1028		0.8774319066

		38.5		472		50		332				46.5		85		33		224		748		972		0.7695473251								46.5		85		33		131		916		1047		0.8748806113

		39		579		50.5		411				47.5		95		23		135		589		724		0.8135359116								47.5		95		23		98		813		911		0.8924259056

		40		813		51.5		705				48		100		18		121		514		635		0.8094488189								48		100		18		107		733		840		0.8726190476

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D85		D86		Pulse 85		Pulse 86		Pulse sum		h		ideal				400 V		Local coord.		D85		D86		Pulse 85		Pulse 86		Pulse sum		h		h-1

				85		46.5		120				47		5		115		472		89		561		0.8413547237		0		0				47		5		115		551		65		616		0.1055194805		0.8944805195

				86		58.5						48		15		105		705		89		794		0.8879093199		120		1				48		15		105		813		51		864		0.0590277778		0.9409722222

												49		25		95		864		117		981		0.880733945								49		25		95		920		0		920		0		1

												50		35		85		874		187		1061		0.8237511781								50		35		85		911		70		981		0.0713557594		0.9286442406

		#85		Amplitude		#86		Amplitude				51		45		75		799		201		1000		0.799								51		45		75		897		107		1004		0.1065737052		0.8934262948

		45		654		57		663				52		55		65		645		486		1131		0.5702917772								52		55		65		780		589		1369		0.4302410519		0.5697589481

		46		462		58		504				53		65		55		430		705		1135		0.3788546256								53		65		55		453		794		1247		0.6367281476		0.3632718524

		46.5		486		58.5		477				54		75		45		248		813		1061		0.2337417531								54		75		45		126		874		1000		0.874		0.126

		47		598		59		598				55		85		35		266		860		1126		0.2362344583								55		85		35		131		883		1014		0.8708086785		0.1291913215

		48		775		60		813				56		95		25		149		771		920		0.1619565217								56		95		25		107		845		952		0.887605042		0.112394958

												57		105		15		112		654		766		0.1462140992								57		105		15		93		705		798		0.8834586466		0.1165413534

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D85		D86		Pulse 85		Pulse 86		Pulse sum		h		ideal				Local coord.		D85		D86		Pulse 85		Pulse 86		Pulse sum		h

				120		25.5		120				27.5		20		100		472		89		561		0.1586452763		0		0		27.5		20		100		845		210		1055		0.1990521327

				121		37.5						28.5		30		90		705		89		794		0.1120906801		120		1		28.5		30		90		892		173		1065		0.1624413146

												29.5		40		80		864		117		981		0.119266055						29.5		40		80		916		177		1093		0.1619396157

												30.5		50		70		874		187		1061		0.1762488219						30.5		50		70		850		570		1420		0.4014084507

		#120		Amplitude		#121		Amplitude				31.5		60		60		799		201		1000		0.201						31.5		60		60		640		827		1467		0.5637355147

		24.5		719		36		794				32.5		70		50		645		486		1131		0.4297082228						32.5		70		50		187		900		1087		0.8279668813

		25.5		369		37		519				33.5		80		40		430		705		1135		0.6211453744						33.5		80		40		112		920		1032		0.8914728682

		26		561		37.5		481				34.5		90		30		248		813		1061		0.7662582469						34.5		90		30		177		911		1088		0.8373161765

		26.5		794		38		757				35.5		100		20		266		860		1126		0.7637655417						35.5		100		20		154		855		1009		0.8473736373

		27.5		902		39		888				36.5		110		10		635		771		1406		0.5483641536						36.5		110		10		168		673		841		0.8002378121

				Strip numbers																																																														Normalised

		Bias		24		25		total		39		40		total		64		65		total		84		85		86		87		total		total		64		65		total		99		100		total		73		74		total		120		121		total										1		2		3		4		5		6		7

		50		173		56		229		32		140		172		79		187		266		51		191		149		42		433		340		139		354		493		163		189		352		200		88		288		453		173		626										0.257751938		0.2470978441		0.2458423717		0.3912698413		0.2693190513		0.24		0.5424610052

		100		257		61		318		70		257		327		159		378		537		70		330		257		56		713		587		232		604		836		316		373		689		421		201		622		719		383		1102										0.5203488372		0.4262023217		0.424439624		0.6634920635		0.5271614384		0.5183333333		0.9549393414

		150		402		93		495		117		411		528		210		532		742		100		514		402		75		1091		916		378		796		1174		426		516		942		593		294		887		934		229		1163										0.7189922481		0.6666666667		0.6623282719		0.9317460317		0.7207345065		0.7391666667		1.0077989601

		200		589		98		687		131		589		720		219		719		938		75		659		467		47		1248		1126		378		889		1267		479		612		1091		779		255		1034		953		223		1176										0.9089147287		0.7744610282		0.8141720897		1.0055555556		0.8347360367		0.8616666667		1.0190641248

		250		748		0		748		112		743		855		191		818		1009		60		743		519		32		1354		1262		308		941		1249		506		699		1205		950		245		1195		948		238		1186										0.9777131783		0.8606965174		0.9125090383		0.9912698413		0.921958684		0.9958333333		1.027729636

		300		775		0		775		98		813		911		159		892		1051		51		771		551				1373		1322		250		994		1244		516		742		1258		1000		167		1167		948		215		1163										1.0184108527		0.9137645108		0.9558929863		0.9873015873		0.9625095639		0.9725		1.0077989601

		350		803		0		803		89		841		930		145		888		1033		37		743		547				1327		1290		221		1017		1238		512		742		1254		1053		167		1220		939		206		1145										1.0009689922		0.9071310116		0.9327548807		0.9825396825		0.9594491201		1.0166666667		0.9922010399

		400		841		0		841		89		892		981		140		888		1028		32		743		542				1317		1285		221		1029		1250		516		745		1261		1063		176		1239		950		238		1188										0.996124031		0.8988391376		0.9291395517		0.9920634921		0.9648048967		1.0325		1.0294627383

		500		860		0		860		84		850		934		154		878		1032		47		780		603				1430		1383		220		1040		1260		522		785		1307		1063		137		1200		944		210		1154										1		1		1		1		1		1		1

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D64		D65		Pulse 64		Pulse 65		Pulse sum		h		ideal				Local coord.		D64		D65		Pulse 64		Pulse 65		Pulse sum		h

				64		41		120				43		20		100		901		198		1099		0.1801637853		0		0		43		20		100		994		157		1151		0.1364031277

				65		53						44		30		90		930		343		1273		0.2694422624		120		1		44		30		90		1000		190		1190		0.1596638655

												45		40		80		901		337		1238		0.2722132472						45		40		80		970		180		1150		0.1565217391

												46		50		70		773		529		1302		0.4062980031						46		50		70		901		575		1476		0.3895663957

		#64		Amplitude		#65		Amplitude				47		60		60		616		755		1371		0.5506929249						47		60		60		762		883		1645		0.5367781155

		39		889		51		906				48		70		50		424		860		1284		0.6697819315						48		70		50		256		947		1203		0.78719867

		40		703		52		726				49		80		40		420		959		1379		0.6954314721						49		80		40		186		988		1174		0.8415672913

		40.5		453		52.5		465				50		90		30		325		912		1237		0.7372675829						50		90		30		192		994		1186		0.8381112985

		41		395		53		424				51		100		20		227		831		1058		0.7854442344						51		100		20		180		924		1104		0.8369565217

		42		837		54		813

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D99		D100		Pulse 99		Pulse 100		Pulse sum		h		ideal				Local coord.		D99		D100		Pulse 99		Pulse 100		Pulse sum		h

				99		4		120				6		20		100		872		86		958		0.0897703549		0		0		6		20		100		908		0		908		0

				100		16						7		30		90		902		140		1042		0.1343570058		120		1		7		30		90		942		23		965		0.0238341969

												8		40		80		855		133		988		0.1346153846						8		40		80		918		43		961		0.0447450572

												9		50		70		722		100		822		0.1216545012						9		50		70		815		403		1218		0.3308702791

		#99		Amplitude		#100		Amplitude				10		60		60		532		652		1184		0.5506756757						10		60		60		549		745		1294		0.5757341577

		2		832		14		772				11		70		50		270		785		1055		0.7440758294						11		70		50		130		892		1022		0.8727984344

		3		691		15		562				12		80		40		226		888		1114		0.7971274686						12		80		40		86		945		1031		0.916585839

		3.5		452		15.5		393				13		90		30		206		878		1084		0.8099630996						13		90		30		93		905		998		0.9068136273

		4		393		16		432				14		100		20		180		749		929		0.8062432723						14		100		20		165		815		980		0.8316326531

		5		729		17		749

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D73		D74		Pulse 73		Pulse 74		Pulse sum		h		ideal				Local coord.		D73		D74		Pulse 73		Pulse 74		Pulse sum		h

				73		5.5		120				6		5		115		384		384		768		0.5		0		0		6		5		115		503		503		1006		0.5

				74		17.5						7		15		105		648		113		761		0.1484888305		120		1		7		15		105		761		25		786		0.0318066158

												8		25		95		799		138		937		0.1472785486						8		25		95		899		22		921		0.0238870793

												9		35		85		818		157		975		0.161025641						9		35		85		950		16		966		0.016563147

		#73		Amplitude		#74		Amplitude				10		45		75		657		223		880		0.2534090909						10		45		75		872		111		983		0.1129196338

		3.5		767		15.5		755				11		55		65		555		456		1011		0.4510385757						11		55		65		761		531		1292		0.4109907121

		4.5		569		16.5		549				12		65		55		353		603		956		0.6307531381						12		65		55		317		797		1114		0.7154398564

		5		368		17		362				13		75		45		270		837		1107		0.756097561						13		75		45		108		1093		1201		0.9100749376

		5.5		299		17.5		396				14		85		35		309		936		1245		0.7518072289						14		85		35		108		1112		1220		0.9114754098

		6.5		613		18		679				15		95		25		230		916		1146		0.7993019197						15		95		25		83		1044		1127		0.92635315

		Strip #		10		11		Total		30		31		Total		50		51		Total		70		71		Total		90		91		Total		110		111		Total		Normalised		10		30		50		70		90		110

		50		67		15		82		38		8		46		36		15		51		50		10		60		74		18		92		616		180		796		50		0.1876430206		0.1916666667		0.2015810277		0.1754385965		0.2105263158		0.6683459278

		100		119		37		156		66		11		77		60		27		87		79		26		105		126		33		159		831		331		1162		100		0.356979405		0.3208333333		0.3438735178		0.3070175439		0.3638443936		0.9756507137

		150		158		43		201		86		23		109		85		27		112		116		34		150		208		54		262		906		285		1191		150		0.4599542334		0.4541666667		0.442687747		0.4385964912		0.5995423341		1

		200		262		34		296		138		18		156		136		27		163		186		30		216		324		0		324		936		198		1134		200		0.6773455378		0.65		0.6442687747		0.6315789474		0.7414187643		0.9521410579

		250		353		0		353		186		0		186		186		0		186		255		0		255		371		0		371		941		157		1098		250		0.8077803204		0.775		0.7351778656		0.7456140351		0.8489702517		0.9219143577

		300		398		0		398		213		0		213		215		0		215		282		0		282		391		0		391		941		168		1109		300		0.9107551487		0.8875		0.8498023715		0.8245614035		0.8947368421		0.9311502939

		350		429		0		429		231		0		231		225		0		225		295		0		295		417		0		417		953		128		1081		350		0.9816933638		0.9625		0.8893280632		0.8625730994		0.9542334096		0.9076406381

		400		429		0		429		234		0		234		245		0		245		312		0		312		429		0		429		970		163		1133		400		0.9816933638		0.975		0.9683794466		0.9122807018		0.9816933638		0.9513014274

		500		437		0		437		240		0		240		253		0		253		342		0		342		437		0		437		965		157		1122		500		1		1		1		1		1		0.9420654912

		Norm. factor						409.2						220.8						224.8						297.2						409						1108.6

																																																																																																		Routing/Total

																																																																														Strip 120-121				Pos. 39						Strip 120-121				Pos. 41.5

		Strip #		10		11		Total		30		31		Total		50		51		Total		70		71		Total		90		91		Total		110		111		Total		120		int 1		121		int 2		Total						Normalised		10		30		50		70		90		110		120										120		int 1		121		int 2				120		int 1		121		int 2				Rout. 1		Tot.1		Rou. 2		Tot. 2		Rout. 3		Tot. 3		Ratio 1		Ratio 2		Ratio 3

		50		41		85		126		24		58		82		0		80		80		15		76		91														38		21		104		-10		142						50		0.2016		0.2		0.1500938086		0.1529411765		0		0		0.2610294118								50		52		10		24		-10				28		20		70		-10				21		142		10		86		20		118		0.1478873239		0.1162790698		0.1694915254

		100		63		140		203		22		84		106		31		135		166		38		142		180														62		34		177		-21		239						100		0.3248		0.2585365854		0.3114446529		0.3025210084		0		0		0.4393382353								100		97		24		48		-17				66		38		135		-10				34		239		24		169		38		239		0.1422594142		0.1420118343		0.1589958159

		150		92		210		302		38		133		171		52		197		249		48		211		259														55		24		385		-31		440						150		0.4832		0.4170731707		0.4671669794		0.4352941176		0		0		0.8088235294								150		222		17		52		-17				66		38		284		-20				24		440		17		291		38		388		0.0545454545		0.058419244		0.0979381443

		200		81		329		410		39		207		246		45		291		336		48		325		373														48		15		454		-24		502						200		0.656		0.6		0.6303939962		0.6268907563		0		0		0.9227941176								200		287		0		55		0				55		21		395		-30				15		502		0		342		21		471		0.0298804781		0		0.0445859873

		250		59		443		502		32		300		332		34		398		432		24		429		453														45		0		468		-34		513						250		0.8032		0.8097560976		0.8105065666		0.7613445378		0		0		0.9430147059								250		308		-24		55		0				42		0		436		-45				0		513		-24		339		0		478		0		-0.0707964602		0

		300		59		510		569		30		321		351		35		433		468		28		495		523														34		-10		478		-34		512						300		0.9104		0.856097561		0.8780487805		0.8789915966		0		0		0.9411764706								300		308		-17		62		0				55		0		454		-42				-10		512		-17		353		0		509		-0.01953125		-0.0481586402		0

		350		50		530		580		23		342		365		31		454		485		30		516		546														34		-17		495		-34		529						350		0.928		0.8902439024		0.9099437148		0.9176470588		0		0		0.9724264706								350		315		-25		62		0				48		0		478		-45				-17		529		-25		352		0		526		-0.0321361059		-0.0710227273		0

		400		45		561		606		10		370		380		24		468		492		34		513		547														34		-17		502		-34		536						400		0.9696		0.9268292683		0.9230769231		0.9193277311		0		0		0.9852941176								400		315		-28		55		0				42		0		485		-38				-17		536		-28		342		0		527		-0.0317164179		-0.081871345		0

		500		45		580		625		10		400		410		10		523		533		34		561		595						1						1		34		-17		510		-34		544						500		1		1		1		1		1		1		1								500		340		-31		55		0				52		0		520		-38				-17		544		-31		364		0		572		-0.03125		-0.0851648352		0

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal

				10		24		110				26		20		90		239		62		301		0.2059800664		0		0				26		20		90		409		59		468		0.1260683761		0		0

				11		35						27		30		80		350		76		426		0.1784037559		110		1				27		30		80		582		0		582		0		110		1

												28		40		70		298		104		402		0.2587064677								28		40		70		520		52		572		0.0909090909

												29		50		60		149		83		232		0.3577586207								29		50		60		270		76		346		0.2196531792

		#10		Amplitude		#11		Amplitude				30		60		50		90		152		242		0.6280991736								30		60		50		100		281		381		0.7375328084

		25.5		491		37		343				31		70		40		118		291		409		0.7114914425								31		70		40		80		544		624		0.8717948718

		26		376		38		0				32		80		30		94		357		451		0.7915742794								32		80		30		55		564		619		0.9111470113

		26.5		173		39		0				33		90		20		80		277		357		0.7759103641								33		90		20		76		447		523		0.8546845124

		27.5		0		40		0

		28		0		41		406						25		0.1354679803																						25		0

		28.5		0										35		0.2190721649																						35		0

		29.5		108.6										45		0.3144329897																						45		0

		30		310										48		0.3333333333																						48		0.1697247706

		30.5		472										65		0.6071428571																						65		0.7439759036

														75		0.7055702918																						75		0.8892794376

														85		0.7814726841																						85		1

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h

				30		22		110				24		20		90		114		61		175		0.3485714286		0		0				24		20		90		195		58		253		0.2292490119

				31		33						25		30		80		168		47		215		0.2186046512		110		1				25		30		80		309		0		309		0

												26		40		70		160		75		235		0.3191489362								26		40		70		328		0		328		0

												27		50		60		95		73		168		0.4345238095								27		50		60		161		58		219		0.2648401826

		#30		Amplitude		#31		Amplitude				28		60		50		39		65		104		0.625								28		60		50		56		91		147		0.619047619

		18.5		210		31		280				29		70		40		58		147		205		0.7170731707								29		70		40		51		303		354		0.8559322034

		19.5		163		32		67				30		80		30		52		203		255		0.7960784314								30		80		30		5		372		377		0.9867374005

		20.5		91		33		47				31		90		20		42		198		240		0.825								31		90		20		10		367		377		0.9734748011

		21.5		37		34		49

		22.5		39		35		212

		23.5		137

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h

				50		49		110				51		20		90		253		45		298		0.1510067114		0		0				51		20		90		429		0		429		0

				51		60						52		30		80		225		55		280		0.1964285714		110		1				52		30		80		423		0		423		0

												53		40		70		177		86		263		0.3269961977								53		40		70		385		52		437		0.118993135

												54		50		60		0		0		0		0								54		50		60		0		0		0		0

		#50		Amplitude		#51		Amplitude				55		60		50		62		128		190		0.6736842105								55		60		50		69		267		336		0.7946428571

		46.5		320		57.5		385				56		70		40		83		232		315		0.7365079365								56		70		40		42		461		503		0.916500994

		47.5		42		58.5		50				57		80		30		52		277		329		0.8419452888								57		80		30		28		461		489		0.9427402863

		48.5		0		59.5		0				58		90		20		55		270		325		0.8307692308								58		90		20		24		468		492		0.9512195122

		49.5		0		60.5		30

		50.5		229		61.5		104						20										0.1510067114										20										0

						62.5		385						30										0.1964285714										30										0

														40										0.3269961977										40										0.118993135

														60										0.6736842105										60										0.7946428571

														70										0.7365079365										70										0.916500994

														80										0.8419452888										80										0.9427402863

														90										0.8307692308										90										0.9512195122

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h

				70		38		115				40		20		95		263		55		318		0.1729559748		0		0				40		20		95		395		59		454		0.1299559471

				71		49.5						41		30		85		374		42		416		0.1009615385		110		1				41		30		85		547		0		547		0

												42		40		75		315		76		391		0.1943734015								42		40		75		550		0		550		0

												43		50		65		121		55		176		0.3125								43		50		65		204		42		246		0.1707317073

		#70		Amplitude		#71		Amplitude				44		60		55		48		50		98		0.5102040816								44		60		55		59		83		142		0.5845070423

		36		429		47.5		190				45		70		45		114		253		367		0.689373297								45		70		45		66		499		565		0.8831858407

		37		52		48.5		31				46		80		35		76		333		409		0.8141809291								46		80		35		38		561		599		0.9365609349

		38		0		49.5		0				47		90		25		66		381		447		0.8523489933								47		90		25		34		513		547		0.9378427788

		39		38		50.5		76

		40		412		51.5		423

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h

				120		34		120				36		20		100		346		121		467		0.2591006424		0		0				36		20		100		377		135		512		0.263671875

				121		46						37		30		90		616		59		675		0.0874074074		110		1				37		30		90		682		48		730		0.0657534247

												38		40		80		616		62		678		0.0914454277								38		40		80		665		52		717		0.0725244073

												39		50		70		308		55		363		0.1515151515								39		50		70		385		66		451		0.1463414634

		#120		Amplitude		#121		Amplitude				40		60		60		59		59		118		0.5								40		60		60		66		66		132		0.5

		32.5		391		44		513				41		70		50		90		360		450		0.8								41		70		50		86		450		536		0.8395522388

		33.5		76		45		86				42		80		40		59		450		509		0.884086444								42		80		40		42		520		562		0.9252669039

		34.5		59		46		69				43		90		30		38		468		506		0.9249011858								43		90		30		28		523		551		0.9491833031

		35.5		142		47		104

		36.5		606		48		475

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h

				90		35		117.5				38		158		-38		329		38		367		0.1035422343		0		0				38		158		-38		436		0		436		0

				91		46.75						39		168		-48		281		69		350		0.1971428571		117.5		1				39		168		-48		433		0		433		0

												40		178		-58		142		83		225		0.3688888889								40		178		-58		235		76		311		0.2443729904

												41		188		-68		52		86		138		0.6231884058								41		188		-68		38		136		174		0.7816091954

		#70		Ampitude		#71		Amplitude				42		198		-78		94		274		368		0.7445652174								42		198		-78		48		485		533		0.9099437148

												43		208		-88		48		385		433		0.8891454965								43		208		-88		0		526		526		1

												44		218		-98		38		402		440		0.9136363636								44		218		-98		0		523		523		1

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h

				90		35		117.5				38		30		87.5		329		38		367		0.1035422343		0		0				38		30		87.5		436		0		436		0

				91		46.75						39		40		77.5		281		69		350		0.1971428571		117.5		1				39		40		77.5		433		0		433		0

												40		50		67.5		142		83		225		0.3688888889								40		50		67.5		235		76		311		0.2443729904

												41		60		57.5		52		86		138		0.6231884058								41		60		57.5		38		136		174		0.7816091954

		#90		Ampitude		#91		Amplitude				42		70		47.5		94		274		368		0.7445652174								42		70		47.5		48		485		533		0.9099437148

		33		346		45		263				43		80		37.5		48		385		433		0.8891454965								43		80		37.5		0		526		526		1

		33.5		160		45.5		94				44		90		27.5		38		402		440		0.9136363636								44		90		27.5		0		523		523		1

		34		55		46		42

		34.5		10		46.5		28

		35		10		47		24

		35.5		15		47.5		59

		36		59		48		138

		36.5		184		49		523

		37		364

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				200 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		400 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h

				100		21		115				24		30		85		276		71		347		0.204610951		0		0				24		30		85		405		0		405		0				24		30		85		509		0		509		0

				101		32.5						25		40		75		233		104		337		0.3086053412		115		1				25		40		75		388		74		462		0.1601731602				25		40		75		516		0		516		0

												26		50		65		91		57		148		0.3851351351								26		50		65		142		54		196		0.2755102041				26		50		65		219		54		273		0.1978021978

												27		60		55		51		67		118		0.5677966102								27		60		55		64		101		165		0.6121212121				27		60		55		67		148		215		0.688372093

		#100		Ampitude		#101		Amplitude				28		70		45		121		202		323		0.6253869969								28		70		45		111		317		428		0.7406542056				28		70		45		61		476		537		0.886405959

		18.5		408		31		196				29		80		35		91		250		341		0.7331378299								29		80		35		71		385		456		0.8442982456				29		80		35		37		496		533		0.9305816135

		19.5		108		32		50				30		90		25		74		290		364		0.7967032967								30		90		25		57		425		482		0.8817427386				30		90		25		34		519		553		0.938517179

		20.5		40		32.5		30

		21.5		35		33		37

		22.5		105		33.5		50

		23.5		445		34		101

						35		452

																																				New												Other position

		Strip #		70		71		Total		90		91		Total		99		100		101		102		Total		Total		Normalised		70		90		100		120		Int 2		121		Int 3		122		Total		119		120		Int 2		121		Total

		50		31		78		109		31		83		114		13		30		101		12		156		131				0.2060491493		0.2054054054		0.2364620939		45		27		100		25		32		145		27		91		18		41		132

		100		53		125		178		45		142		187		20		67		182		23		292		249				0.3364839319		0.3369369369		0.4494584838		68		41		178		10		30		246		30		168		35		68		236

		150		58		180		238		66		232		298		23		74		290		34		421		364				0.449905482		0.5369369369		0.6570397112		63		50		342		0		30		405		35		314		35		54		368

		200		73		290		363		48		374		422		17		57		425		-10		489		482				0.6862003781		0.7603603604		0.8700361011		50		27		446		-10		30		496		27		405		0		41		446

		250		51		388		439		31		478		509		0		51		472		-18		505		523				0.8298676749		0.9171171171		0.9440433213		41		15		490		-18		23		531		15		433		-18		32		465

		300		38		462		500		17		501		518		0		40		500		-23		517		540				0.9451795841		0.9333333333		0.9747292419		36		0		501		-27		18		537		10		446		-20		41		487

		350		33		485		518		20		535		555		0		34		513		-27		520		547				0.9792060491		1		0.9873646209		32		0		510		-23		18		542		10		460		-20		36		496

		400		31		498		529		20		535		555		0		34		520		-27		527		554				1		1		1		36		0		519		-23		18		555		10		474		-23		36		510

		500		30		540		570		0		578		578		0		34		560		-27		567		594				1.0775047259		1.0414414414		1.0722021661		32		0		533		-23		18		565		10		483		-23		36		519

		Futher Measurements as a function of the r-position

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		Ideal				200 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		400 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h

				120		19.8		61				21		12		49		47.12		28.88		171.76		28.88		80.56		28.88		41.8		252.32		0.3192771084		0		0				21		12		49		57		36.48		262.2		47.12		117.04		31.16		44.08		379.24		0.3086172345				21		12		49		28.88		0		428.64		-31.16		119.32		0		31.16		547.96		0.2177531207

				121		25.9						22		22		39		44		27		140		27		68		10		31		208		0.3269230769		61		1				22		22		39		62		38		215		51		106		27		31		321		0.3302180685				22		22		39		48		0		431		-17		126		0		10		557		0.2262118492

												23		32		29		0		0		24		0		24		0		0		48		0.5								23		32		29		0		0		34		0		34		0		0		68		0.5				23		32		29		0		0		58		0		65		0		0		123		0.5284552846

												24		42		19		34		15		105		41		212		24		48		317		0.6687697161								24		42		19		51		27		157		85		335		34		62		492		0.6808943089				24		42		19		31		0		130		21		619		-24		34		749		0.826435247

		#121		Ampitude		#121		Amplitude				25		52		9		38		17		89		31		205		12		41		294		0.6972789116								25		52		9		51		23		128		57		341		15		44		469		0.7270788913				25		52		9		51		0		131		10		560		-30		27		691		0.8104196816

		19		398		25		351

		19.5		58		25.5		104				Estimated strip width:								Routing line		#120		#121

		20		72		26		47				16 µm								25.6		447		85		0.9933333333		0.1888888889		532		0.7093333333

		20.5		212		26.5		81												26		242		68		0.5377777778		0.1511111111		310		0.4133333333

		21		489		27		368												26.2		103		31		0.2288888889		0.0688888889		134		0.1786666667

																				26.4		65		31		0.1444444444		0.0688888889		96		0.128

																				26.6		58		31		0.1288888889		0.0688888889		89		0.1186666667

																				26.8		42		40		0.0933333333		0.0888888889		82		0.1093333333

																				27		42		55		0.0933333333		0.1222222222		97		0.1293333333

																				27.2		54		154		0.12		0.3422222222		208		0.2773333333

																				27.4		71		248		0.1577777778		0.5511111111		319		0.4253333333

																				27.6		81		310		0.18		0.6888888889		391		0.5213333333

																				28		92		448		0.2044444444		0.9955555556		540		0.72

		Futher Measurements as a function of the r-position								Far end

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		Ideal				200 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		400 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h

				120		23		78				25		20		58		40		0		184		23		61		0		15		245		0.2489795918		0		0				25		20		58		33		0		255		38		76		0		18		331		0.2296072508				25		20		58		54		0		523		-10		54		0		0		577		0.0935875217

				121		30.8						26		30		48		31		0		89		24		51		0		24		140		0.3642857143		78		1				26		30		48		31		0		116		31		65		0		24		181		0.3591160221				26		30		48		31		0		263		0		78		0		0		341		0.2287390029

												27		40		38		0		0		0		0		0		0		0		0		0								27		40		38		0		0		0		0		0		0		0		0		0				27		40		38		0		0		0		0		0		0		0		0		0

												28		50		28		20		0		68		41		157		0		31		225		0.6977777778								28		50		28		0		0		99		61		222		0		34		321		0.691588785				28		50		28		0		0		78		15		492		-31		24		570		0.8631578947

		#121		Ampitude		#121		Amplitude				29		60		18		0		0		61		27		184		0		31		245		0.7510204082								29		60		18		0		0		78		48		276		0		37		354		0.7796610169				29		60		18		0		0		44		0		540		-31		13		584		0.9246575342

		21		728		29		755

		22		230		30		225				Estimated strip width:

		22.5		134		30.5		101				20 µm

		23		107		31		96

		23.5		150		31.5		161

		24		557		32		551

		25		760

										1 cm plus

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		Ideal				200 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		400 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h

				120		22.7		95				25		23		72		44		0		222		34		68		0		17		290		0.2344827586		0		0				25		23		72		41		0		366		31		68		0		24		434		0.1566820276				25		23		72		27		0		557		-24		48		0		0		605		0.079338843

				121		32.2						26		33		62		41		0		208		51		103		0		24		311		0.3311897106		95		1				26		33		62		31		0		311		68		112		0		34		423		0.2647754137				26		33		62		17		0		543		-20		78		0		0		621		0.1256038647

												27		43		52		0		0		0		0		0		0		0		0		0								27		43		52		0		0		58		0		27		0		0		85		0.3176470588				27		43		52		0		0		103		0		44		0		0		147		0.2993197279

												28		53		42		0		0		44		31		78		0		0		122		0.6393442623								28		53		42		0		0		58		24		120		0		0		178		0.6741573034				28		53		42		0		0		61		0		236		0		0		297		0.7946127946

		#121		Ampitude		#121		Amplitude				29		63		32		24		0		82		51		195		0		17		277		0.7039711191								29		63		32		27		0		112		85		328		0		34		440		0.7454545455				29		63		32		0		0		65		0		574		-37		15		639		0.8982785603

		21		464		30		523				30		73		22		0		0		71		44		242		0		31		313		0.7731629393								30		73		22		0		0		78		58		383		0		37		461		0.830802603				30		73		22		0		0		34		0		588		-40		13		622		0.9453376206

		22		58		31		171				Estimated strip width:

		22.5		37		32		41				25 µm

		23		51		32.5		51

		23.5		58		33		65

		24		178		34		499

		25		496

										1 cm plus

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		Ideal				200 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		400 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h

				120		22.7		108				25		23		85		34		0		254		29		45		0		0		299		0.1505016722		0		0				25		23		85		22		0		388		0		34		0		0		422		0.0805687204				25		23		85		11		0		474		-29		26		0		0		500		0.052

				121		33.5						26		33		75		26		0		228		41		63		0		10		291		0.2164948454		108		1				26		33		75		22		0		374		0		40		0		0		414		0.0966183575				26		33		75		0		0		474		-25		30		0		0		504		0.0595238095

												27		43		65		34		0		190		78		101		0		26		291		0.3470790378								27		43		65		26		0		317		37		82		0		12		399		0.2055137845				27		43		65		0		0		456		-22		71		0		0		527		0.1347248577

												29		63		45		12		0		85		60		157		0		29		242		0.6487603306								29		63		45		0		0		93		67		269		0		34		362		0.7430939227				29		63		45		0		0		71		18		422		-22		18		493		0.8559837728

		#121		Ampitude		#121		Amplitude				30		73		35		0		0		63		56		209		0		0		272		0.7683823529								30		73		35		0		0		48		34		366		-18		18		414		0.884057971				30		73		35		0		0		26		0		508		-26		0		534		0.9513108614

		20		470		31		508				31		83		25		0		0		50		37		247		0		26		297		0.8316498316								31		83		25		0		0		34		34		490		-30		0		524		0.9351145038				31		83		25		0		0		10		0		490		-30		0		500		0.98

		21		300		32		247

		22		40		33		41

		23		0		33.5		29				Estimated strip width:

		23.5		0		34		41				30 µm

		24		85		35		134

		25		430		36		500

		New 0 position

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		Ideal				200 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		400 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h

				120		22.2		118				25		28		90		32		0		333		23		50		0		0		383		0.1305483029		0		0				25		28		90		13		0		396		-13		35		0		0		431		0.0812064965				25		28		90		10		0		469		-23		32		0		0		501		0.0638722555

				121		34						26		38		80		32		0		314		30		54		0		0		368		0.1467391304		118		1				26		38		80		23		0		424		-13		36		0		0		460		0.0782608696				26		38		80		0		0		469		-27		30		0		0		499		0.0601202405

												27		48		70		27		0		259		54		86		0		13		345		0.2492753623								27		48		70		0		0		387		23		68		0		0		455		0.1494505495				27		48		70		0		0		492		-23		63		0		0		555		0.1135135135

												28		58		60		0		0		41		0		27		0		0		68		0.3970588235								28		58		60		0		0		59		0		41		0		0		100		0.41				28		58		60		0		0		77		0		45		0		0		122		0.368852459

		#121		Ampitude		#121		Amplitude				29		68		50		18		0		68		41		132		0		32		200		0.66								29		68		50		0		0		59		32		178		0		0		237		0.7510548523				29		68		50		0		0		73		18		273		0		32		346		0.789017341

		20		483		32		451				30		78		40		18		0		86		68		264		0		27		350		0.7542857143								30		78		40		0		0		50		10		506		-18		0		556		0.9100719424				30		78		40		0		0		50		10		506		-18		0		556		0.9100719424

		21		86		33		54				31		88		30		0				63		50		342		0		32		405		0.8444444444								31		88		30		0		0		41		18		428		-23		18		469		0.9125799574				31		88		30		0		0		36		0		496		-23		18		532		0.9323308271

		22		45		34		32

		23		23		35		45				Estimated strip width:

		24		154		36		387				35 µm

		25		470



Irradiated section n. 6



Final pic. eta

		1		1		1		1



Left strip

Routing #1

Right strip

Routing #2

Bias [Volt]

Signal [mV]

CCE vs bias

1

1

1

1



Neff vs position

		1		1		1		1



Strip 120

Rout. #1

Strip 121

Rout. #2

Bias [Volt]

Signal [mV]

CCE vs bias

1

1

1

1



Eta comparison

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0



Strip 120

Rout. #1

Strip 121

Rout. #2

Bias [Volt]

Signal [mV]

CCE vs bias

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



Strip 120 

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0



Position 1

Position 2

Position 3

Bias [Volt]

Ratio

Routing line/total charge

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



Pulse shape

		0		0		0		0

		0		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0



0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0



0

0

0

0

0

0

0

0

0

0

0



		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0



0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		30		30		30

		115		40		40		40

				50		50		50

				60		60		60

				70		70		70

				80		80		80

				90		90		90



150 Volt

200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #740-741

0

0.204610951

0

0

1

0.3086053412

0.1601731602

0

0.3851351351

0.2755102041

0.1978021978

0.5677966102

0.6121212121

0.688372093

0.6253869969

0.7406542056

0.886405959

0.7331378299

0.8442982456

0.9305816135

0.7967032967

0.8817427386

0.938517179



		Bias 250 V		Strip #		Centre		Distance		50 V		Local coord.		D24		D25		Pulse Left		Int		Pulse Right		Pulse sum		h		ideal				100 V		Pulse Left		Int		Pulse Right		Pulse sum		h		300 V		Pulse Left		Int		Pulse Right		Pulse sum		h				Volt scan		#6		Int.		#7		Total		Normalised				Volt scan		#59		#60		#61		Total		Normalised				Volt scan		#114		Int.		#115		Int.		#116		Total		Normalised

				6		37		115				40		30		85		104		18		40		144		0.2777777778		0		0				246				45		291		0.1546391753				333		-23		27		360		0.075				20		23		5		54		77		0.2086720867				20		32		141		54		227		0.576142132				10		63		4		159		23		32		222		0.5536159601

				7		48.5						41		40		75		86		32		54		140		0.3857142857		115		1				214		36		63		277		0.2274368231				323		-23		36		359		0.1002785515				40		32		18		100		132		0.3577235772				40		41		264		54		359		0.9111675127				20		80				246		23		36		326		0.812967581

												42		50		65		45		9		32		77		0.4155844156								128		36		63		191		0.3298429319				209		0		68		277		0.2454873646				50		36		23		123		159						50		36		287		50		373		0.9467005076				40		82				314		23		41		396		0.9875311721

												43.5		65		50		36		18		54		90		0.6								50		36		118		168		0.7023809524				63		13		246		309		0.7961165049				60		45		27		145		190		0.5149051491				60		36		298		40		374		0.9492385787				50		73				328		13		32		401		1

		#6		Amplitude		#7		Amplitude				44		70		45		45		27		77		122		0.631147541								50		36		195		245		0.7959183673				41		9		305		346		0.8815028902				80		59		41		205		264		0.7154471545				80		30		328		27		385		0.9771573604				60		68				333		13		32		401		1

		34.5		305		46.5		296				45		80		35		45		23		104		149		0.6979865772								45		41		241		286		0.8426573427				27		9		342		369		0.9268292683				100		45		36		259		304		0.8238482385				100		27		337		24		388		0.9847715736				80		59				342		9		32		401		1

		35.5		137		47.5		54				46		90		25		9		0		50		59		0.8474576271								45		36		255		300		0.85				27		4		337		364		0.9258241758				125		36		23		296		332		0.8997289973				150		24		355		21		400		1.0152284264				100		46				351				18		397		0.9900249377

		36.5		27		48.5		0																																																		150		32		18		323		355		0.9620596206				200		23		360		20		403		1.0228426396				125		45				355				27		400		0.9975062344

		37.5		0		49.5		36																																																		175		32		18		328		360		0.9756097561				300		20		374		0		394		1				150		45				355				27		400		0.9975062344

		38.5		100		50.5		232																																																		200		23		9		337		360		0.9756097561																		200		45				355				18		400		0.9975062344

		39.5		305		51.5		333																																																		300		23		9		346		369		1																		300		41				360				18		401		1

		40.5		319





		20		20		10

		40		40		20

		50		50		40

		60		60		50

		80		80		60

		100		100		80

		125		150		100

		150		200		125

		175		300		150

		200				200

		300				300



0.2086720867

0.576142132

0.5536159601

0.3577235772

0.9111675127

0.812967581

0.9467005076

0.9875311721

0.5149051491

0.9492385787

1

0.7154471545

0.9771573604

1

0.8238482385

0.9847715736

1

0.8997289973

1.0152284264

0.9900249377

0.9620596206

1.0228426396

0.9975062344

0.9756097561

1

0.9975062344

0.9756097561

0.9975062344

1

1



		30		30		30		0

		40		40		40		115

		50		50		50

		65		65		65

		70		70		70

		80		80		80

		90		90		90



50 Volt

100 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #774-775

0.2777777778

0.1546391753

0.075

0

0.3857142857

0.2274368231

0.1002785515

1

0.4155844156

0.3298429319

0.2454873646

0.6

0.7023809524

0.7961165049

0.631147541

0.7959183673

0.8815028902

0.6979865772

0.8426573427

0.9268292683

0.8474576271

0.85

0.9258241758



		Bias 250 V		Strip #		Centre		Distance		25 V		Local coord.		D24		D25		Pulse Left		Pulse Right		Pulse sum		h		ideal				50 V		Pulse Left		Pulse Right		Pulse sum		h		150 V		Pulse Left		Pulse Right		Pulse sum		h								Volt scan		#60		#61		Total		Normalised

				60		43.2		113				46		28		85		212		1		213		0.0046948357		0		0				311		1		312		0.0032051282				410		1		411		0.00243309						3.1622776602		10		95		0		95		0.2467532468

				61		54.5						47		38		75		143		20		163		0.1226993865		113		1				222		1		223		0.0044843049				294		1		295		0.0033898305						5		25		191		0		191		0.4961038961

												48		48		65		68		34		102		0.3333333333								123		58		181		0.320441989				171		68		239		0.2845188285						7.0710678119		50		283		0		283		0.7350649351

												49		58		55		37		109		146		0.7465753425								37		161		198		0.8131313131				37		212		249		0.8514056225						8.6602540378		75		321		0		321		0.8337662338

		#60		Amplitude		#61		Amplitude				50		68		45		31		174		205		0.8487804878								34		259		293		0.8839590444				50		334		384		0.8697916667						10		100		352		0		352		0.9142857143

		41		308		52		386				51		78		35		24		181		205		0.8829268293								24		263		287		0.9163763066				20		345		365		0.9452054795						12.2474487139		150		372		0		372		0.9662337662

		42		171		53		253																																														14.1421356237		200		372		0		372		0.9662337662

		43		20		54		116																																														17.3205080757		300		385		0		385		1

		44		49		55		24

		45		209		56		123

		46		345		57		280

						58		389

		Bias 250 V		Strip #		Centre		Distance		20 V		Local coord.		D24		D25		#115		Int 1		#116		Int 2		#117		Pulse sum		h		ideal				50 V		#115		Int 1		#116		Int 2		#117		Pulse sum		h		200 V		#115		Int 1		#116		Int 2		#117		Pulse sum		h				Volt scan		#115		#116		Int		#117		Total		Normalised

				115		21		114				24		30		84		198		-17		27						225		0.12		0		0				317		-17		31						348		0.0890804598				403		-30		24						427		0.056206089		3.1622776602		10				116						116		0.2829268293

				116		32.4						25		40		74		178		-13		27						205		0.1317073171		114		1				311		-20		41						352		0.1164772727				396		-27		27						423		0.0638297872		5		25		31		208		-5		20		228		0.556097561

												26		50		64		126		-13		37						163		0.226993865								242		-17		61						303		0.201320132				334		-24		68						402		0.1691542289		7.0710678119		50		31		308		-7		20		328		0.8

												28		70		44		34				137				17		171		0.8011695906								48				236				24		284		0.8309859155				54		-5		317		-13		24		371		0.8544474394		8.6602540378		75		24		345		-17		20		365		0.8902439024

		#115		Amplitude		#116		Amplitude				29		80		34		24				181				17		205		0.8829268293								31				311		-10		20		342		0.9093567251				27				400		-17		17		427		0.9367681499		10		100		27		366		-20		17		383		0.9341463415

		18		400		30		389				29.5		85		29		27				195						222		0.8783783784								34				314		-15		20		348		0.9022988506				24				389		-24		17		413		0.9418886199		11.1803398875		125		24		380		-17		13		393		0.9585365854

		19		270		31		89																																																												12.2474487139		150		24		385		-20		13		398		0.9707317073

		20		34		32		28																																																												14.1421356237		200		24		389		-20		13		402		0.9804878049

		21		30		33		30																																																												17.3205080757		300		24		393		-20		17		410		1

		22		38		34		126

		23		308		35		389

		24		400





		0		28		28		28

		113		38		38		38

				48		48		48

				58		58		58

				68		68		68

				78		78		78



25 Volt

50 Volt

150 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #188-189

0

0.0046948357

0.0032051282

0.00243309

1

0.1226993865

0.0044843049

0.0033898305

0.3333333333

0.320441989

0.2845188285

0.7465753425

0.8131313131

0.8514056225

0.8487804878

0.8839590444

0.8697916667

0.8829268293

0.9163763066

0.9452054795



		0		30		30		30

		114		40		40		40

				50		50		50

				70		70		70

				80		80		80

				85		85		85



20 Volt

50 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #244-245

0

0.12

0.0890804598

0.056206089

1

0.1317073171

0.1164772727

0.0638297872

0.226993865

0.201320132

0.1691542289

0.8011695906

0.8309859155

0.8544474394

0.8829268293

0.9093567251

0.9367681499

0.8783783784

0.9022988506

0.9418886199



		10		10

		25		25

		50		50

		75		75

		100		100

		125		150

		150		200

		200		300

		300



#115

#60

0.2829268293

0.2467532468

0.556097561

0.4961038961

0.8

0.7350649351

0.8902439024

0.8337662338

0.9341463415

0.9142857143

0.9585365854

0.9662337662

0.9707317073

0.9662337662

0.9804878049

1

1



		47		400		-30		380

		48		280		-20		260

		49		41		-10		21

		50		20		0		0

		51		51		10		31

		52		273		20		253

		53		410		30		390

		Beam Profile

		Coordinate		Front		Back

		0						10

		10		1.00E+13		1.05E+13		20		1.00E+13		1.05E+13

		20		4.50E+13		4.55E+13		30		4.50E+13		4.55E+13

		25		3.00E+14		2.52E+14		35		3.00E+14		2.52E+14

		30		4.10E+14		4.40E+14		40		4.10E+14		4.40E+14

		35		4.30E+14		4.60E+14		45		4.30E+14		4.60E+14

		40		3.15E+14		3.80E+14		50		3.15E+14		3.80E+14

		45		1.09E+14		2.70E+14		55		1.09E+14		2.70E+14

		55		1.20E+13		2.70E+13		65		1.20E+13		2.70E+13

		65		7.00E+11		1.20E+12		75		7.00E+11		1.20E+12





		-30

		-20

		-10

		0

		10

		20

		30



Local coord. [µm]

Amplitude [arb. Units]

Strip scan #10

380

260

21

0

31

253

390



		55		0		55		55

		50		1		50		50

		45		2		45		45

		40		3		40		40

		35		4		35		35

		30		5		30		30

		25		6		25		25

		20		7		20		20

		15		8		15		15

		10		9		10		10

		5		10		5		5

		0		11		0		0

				12

				13

				14

				15

				16

				17

				18

				19

				20

				21

				22

				23

				24

				25

				26

				27

				28

				29

				30

				31

				32

				33

				34

				35

				36

				37

				38

				39

				40

				41

				42

				43

				44

				45

				46

				47

				48

				49

				50

				51

				52

				53

				54

				55

				56

				57

				58

				59

				60

				61

				62

				63

				64

				65

				66

				67

				68



Measured (hit strip)

Calculated

Adjacent strip

Intermediate routing line

Time [ns]

Amplitude [arb. units]

68

10

0

0

150

34.5396

16

0

245

54.05968

34

0

369

80.39936

54

0

560

114.09384

123

32

688

155.13512

154

40

826

202.94192

188

51

792

256.42064

199

74

615

314.09432

188

108

421

374.26344

176

131

199

435.16424

85

68

0

495.10184

0

0

552.54736

606.19912

655.01224

698.20408

735.24416

765.8304

789.86272

807.41192

818.68832

824.01216

823.78664

818.47312

808.57016

794.59512

777.0692

756.50528

733.3992

708.22128

681.41152

653.37656

624.48752

595.07864

565.44744

535.85544

506.53048

477.66728

449.43032

421.95584

395.35408

369.71192

345.0956

321.5524

299.11304

277.79416

257.59968

238.52336

220.54992

203.6564

187.81424

172.98976

159.14552

146.24152

134.23568

123.08456

112.74432

103.1708

94.32024

86.14968

78.61696

71.6812

65.30304

59.44456

54.06952

49.14336

44.63336

40.50856

36.7396



		0		0

		10		10

		20		20

		25		25

		30		30

		35		35

		40		40

		45		45

		55		55

		65		65



Front Al foils

Back Al foils

Position [mm]

Measured fluence [p cm-2]

10000000000000

10500000000000

45000000000000

45500000000000

300000000000000

252000000000000

410000000000000

440000000000000

430000000000000

460000000000000

315000000000000

380000000000000

109000000000000

270000000000000

12000000000000

27000000000000

700000000000

1200000000000



		

						760





		30		30		0

		40		40		117.5

		50		50

		60		60

		70		70

		80		80

		90		90



200 Volt

400 Volt

Ideal resolution

Local position [µm]

Right charge/Total charge

Scan across strips #740-741

0.1035422343

0.0311111111

0

0.1971428571

0.0545851528

1

0.3688888889

0.2443729904

0.6231884058

0.7816091954

0.7445652174

0.9099437148

0.8891454965

1

0.9136363636

1



		30		30		0

		40		40		115

		50		50

		60		60

		70		70

		80		80

		90		90



200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #710-711

0.1009615385

0.0352733686

0

0.1943734015

0.0646258503

1

0.3125

0.2213740458

0.5102040816

0.5845070423

0.689373297

0.8831858407

0.8141809291

0.9365609349

0.8523489933

0.9378427788



		30		30		0

		40		40		115

		50		50

		60		60

		70		70

		80		80

		90		90



200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #760-761

0.0874074074

0.0657534247

0

0.0914454277

0.0725244073

1

0.1515151515

0.1463414634

0.5

0.5

0.8

0.8395522388

0.884086444

0.9252669039

0.9249011858

0.9491833031



		0		30		30		30

		115		40		40		40

				50		50		50

				60		60		60

				70		70		70

				80		80		80

				90		90		90



150 Volt

200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #740-741

0

0.204610951

0.0581395349

0.0450281426

1

0.3086053412

0.1601731602

0.0685920578

0.3851351351

0.2755102041

0.2206405694

0.5677966102

0.6121212121

0.688372093

0.6253869969

0.7406542056

0.886405959

0.7331378299

0.8442982456

0.9305816135

0.7967032967

0.8817427386

0.938517179



		0		30		30

		110		40		40

				50		50

				60		60

				70		70

				80		80

				90		90



200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #670-671

0

0.2186046512

0.0462962963

1

0.3191489362

0.076056338

0.4345238095

0.2648401826

0.625

0.619047619

0.7170731707

0.8559322034

0.7960784314

0.9612403101

0.825

0.9734748011



		0		20		20

		110		30		30

				40		40

				50		50

				60		60

				70		70

				80		80

				90		90



200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #690-691

0

0.1510067114

0.0529801325

1

0.1964285714

0.0703296703

0.3269961977

0.1575492341

0

0.6736842105

0.7946428571

0.7365079365

0.916500994

0.8419452888

0.9427402863

0.8307692308

0.9512195122



		25		25		25		0

		35		35		35		110

		45		45		45

		55		55		55

		65		65		65

		75		75		75

		85		85		85



100 Volt

200 Volt

300 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #525-526

0.0461956522

0.0440414508

0.0446194226

0

0.0583941606

0.0547945205

0.0547945205

1

0.1413612565

0.1282051282

0.1113689095

0.3215859031

0.264573991

0.2821576763

0.8050541516

0.8073394495

0.7722222222

0.9130434783

0.9217391304

0.9298245614

0.9473684211

0.9523809524

0.958677686



		0		30		30		30

		117		40		40		40

				50		50		50

				70		70		70

				80		80		80

				90		90		90



150 Volt

200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #634-635

0

0.223255814

0.1133333333

0.0510204082

1

0.2783505155

0.1933333333

0.0761670762

0.3963414634

0.3048780488

0.1943005181

0.6209150327

0.6822429907

0.8157099698

0.6875

0.7979094077

0.915

0.7548076923

0.8580645161

0.9330024814



		0		24		24

		114		34		34

				44		44

				64		64

				74		74

				84		84

				89		89



100 Volt

300 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #584-585

0

0.118466899

0.0379403794

1

0.1655172414

0.0608272506

0.3421052632

0.1666666667

0.6896551724

0.8131868132

0.7597173145

0.9567430025

0.8605442177

0.9974160207

0.8586206897

0.9466666667



		0		22		22		22		22

		116		32		32		32		32

				42		42		42		42

				67		67		67		67

				72		72		72		72

				82		82		82		82

				92		92		92		92



100 Volt

150 Volt

200 Volt

300 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #604-605

0

0.2192513369

0.0848056537

0.0408719346

0.056980057

1

0.2391304348

0.1214285714

0.0681818182

0.0798898072

0.3128834356

0.2380952381

0.0920716113

0.1549295775

0.5668789809

0.6355555556

0.7975077882

0.7517482517

0.591954023

0.7173913043

0.9002695418

0.8434782609

0.6949152542

0.8137931034

0.9973045822

0.8888888889

0.7348066298

0.8436482085

0.972899729

0.9043715847



		0		23		23		23

		108		33		33		33

				43		43		43

				58		58		58

				63		63		63

				73		73		73

				78		78		78



20 Volt

50 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #544-545

0

0.1376146789

0.0422960725

0.0361445783

1

0.2018348624

0.0845070423

0.0574712644

0.3457446809

0.2341772152

0.0976253298

0.5858585859

0.7124183007

0.7627906977

0.6304347826

0.7571428571

0.820441989

0.7302325581

0.8709677419

0.9418886199

0.7735849057

0.8811594203

0.9632352941



		0		35		35		35

		110		40		40		40

				50		50		50

				65		65		65

				70		70		70

				80		80		80



50 Volt

100 Volt

300 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #566-567

0

0.125

0.0408719346

0.0407673861

1

0.1777777778

0.0702247191

0.0687203791

0.320441989

0.22

0.2033333333

0.6946107784

0.8090909091

0.7789855072

0.741697417

0.8579387187

0.8743842365

0.8580858086

0.9543010753

0.9975062344



		0		35		35		35

		120		45		45		45

				50		50		50

				65		65		65

				70		70		70

				80		80		80

				90		90		90



50 Volt

100 Volt

250 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #575-576

0

0.2876106195

0.0451807229

0.0383631714

1

0.3744292237

0.144092219

0.0939759036

0.3880597015

0.1782178218

0.1580310881

0.5730337079

0.7260273973

0.7166666667

0.591954023

0.798679868

0.8379888268

0.6559633028

0.8879781421

0.9230769231

0.7627906977

0.9076086957

0.9511002445



		0		28		28		28

		113		38		38		38

				48		48		48

				58		58		58

				68		68		68

				78		78		78



25 Volt

50 Volt

150 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #188-189

0

0.0046948357

0.0032051282

0.00243309

1

0.1226993865

0.0044843049

0.0033898305

0.3333333333

0.320441989

0.2845188285

0.7465753425

0.8131313131

0.8514056225

0.8487804878

0.8839590444

0.8697916667

0.8829268293

0.9163763066

0.9452054795



		26		26		0		26

		36		36		114		36

		46		46				46

		66		66				66

		76		76				76

		86		86				86



100 Volt

300 Volt

=

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #621-622

0.2227074236

0.0789473684

0

0.0390625

0.2735849057

0.1348684211

1

0.0606060606

0.3659793814

0.2482517483

0.1102150538

0.5828220859

0.6728110599

0.8066666667

0.6822429907

0.8066666667

0.9086021505

0.7422222222

0.8547854785

0.9583333333



		25		25		25		0

		35		35		35		110

		45		45		45

		60		60		60

		65		65		65

		75		75		75

		85		85		85



20 Volt

50 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #469-470

0.0857142857

0.1060070671

0.0411311054

0

0.0833333333

0.093385214

0.0683060109

1

0.275862069

0.1904761905

0.1333333333

0.6451612903

0.6785714286

0.7311827957

0.6774193548

0.766536965

0.8356164384

0.8444444444

0.8717948718

0.9260969977

0.8695652174

0.8646153846

0.9267734554



		30		30		0

		40		40		110

		50		50

		60		60

		70		70

		80		80



200 Volts

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #650-651

0.1784037559

0.0521172638

0

0.2587064677

0.1034482759

1

0.3577586207

0.2196531792

0.6280991736

0.7375328084

0.7114914425

0.8717948718

0.7915742794

0.9111470113



		0		30		30		30

		114		40		40		40

				50		50		50

				70		70		70

				80		80		80

				85		85		85



20 Volt

50 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #244-245

0

0.12

0.0890804598

0.056206089

1

0.1317073171

0.1164772727

0.0638297872

0.226993865

0.201320132

0.1691542289

0.8011695906

0.8309859155

0.8544474394

0.8829268293

0.9093567251

0.9367681499

0.8783783784

0.9022988506

0.9418886199



		30		30		0		30

		40		40		114		40

		50		50				50

		70		60				60

		80		70				70

		85		80				80

								90



#245 - 200 Volt

#650 - 400 Volt

#760 - 400 Volt

Local position [µm]

Right charge/Total charge

0.056206089

0.0521172638

0

0.0657534247

0.0638297872

0.1034482759

1

0.0725244073

0.1691542289

0.2196531792

0.1463414634

0.8544474394

0.7375328084

0.5

0.9367681499

0.8717948718

0.8395522388

0.9418886199

0.9111470113

0.9252669039

0.9491833031



		20		20		20		0

		30		30		30		115

		40		40		40

		50		50		50

		60		60		60

		70		70		70

		80		80		80

		90		90		90



20 Volt

50 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #388-389

0.15

0.0975609756

0.0965794769

0

0.1549295775

0.1448692153

0.1004709576

1

0.171875

0.1223529412

0.0901213172

0.2926829268

0.2888888889

0.2434077079

0.6666666667

0.6923076923

0.6511627907

0.7833333333

0.8498896247

0.9073083779

0.8295081967

0.8495049505

0.9384615385

0.8793103448

0.9160839161

0.9470699433



		35		0		35		35

		45		120		45		45

		55				55		55

		70				70		70

		75				75		75

		85				85		85

		95				95		95



Local position [µm]

Right charge/Total charge

Scan across strip #490-491

0.1595744681

0

0.12

0.0796116505

0.2053231939

1

0.1322869955

0.0891089109

0.2967032967

0.2258064516

0.2

0.72

0.692

0.7982261641

0.8351449275

0.7985074627

0.8764302059

0.9349593496

0.8546099291

0.9174311927

0.9445585216



		0		28		28		28

		118		38		38		38

				48		48		48

				58		58		58

				68		68		68

				78		78		78

				88		88		88



150 Volt

200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #760-761

0

0.1305483029

0.0812064965

0.0638722555

1

0.1467391304

0.0782608696

0.0601202405

0.2492753623

0.1494505495

0.1135135135

0.3970588235

0.41

0.368852459

0.66

0.7510548523

0.789017341

0.7542857143

0.9100719424

0.9100719424

0.8444444444

0.9125799574

0.9323308271



		30		30		28		0

		40		40		38		118

		50		50		48

		70		70		58

		80		80		68

		85		90		78

						88



#245 - 200 Volt

#534 - 400 Volt

#760 - 400 Volt

Local position [µm]

Right charge/Total charge

0.056206089

0.0510204082

0.0638722555

0

0.0638297872

0.0761670762

0.0601202405

1

0.1691542289

0.1943005181

0.1135135135

0.8544474394

0.8157099698

0.368852459

0.9367681499

0.915

0.789017341

0.9418886199

0.9330024814

0.9100719424

0.9323308271



		30		30		30		0

		40		40		40		115

		50		50		50

		65		65		65

		70		70		70

		80		80		80

		90		90		90



50 Volt

100 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #774-775

0.2777777778

0.1546391753

0.075

0

0.3857142857

0.2274368231

0.1002785515

1

0.4155844156

0.3298429319

0.2454873646

0.6

0.7023809524

0.7961165049

0.631147541

0.7959183673

0.8815028902

0.6979865772

0.8426573427

0.9268292683

0.8474576271

0.85

0.9258241758



		Bias		#650		#651		Pulse sum		Normalised		#670		#671		Pulse sum		Normalised		#690		#691		Pulse sum		Normalised		#710		#711		Pulse sum		Normalised		#730		#731		Pulse sum		Normalised		#740		#741		Pulse sum		Normalised		#760		#761		Pulse sum		Normalised

		[Volt]		[mV]		[mV]		[mv]				[mV]		[mV]		[mv]				[mV]		[mV]		[mv]				[mV]		[mV]		[mv]				[mV]		[mV]		[mv]				[mV]		[mV]		[mv]				[mV]		[mV]		[mv]

		50		41		85		126		0.2016		24		58		82		0.2		0		80		80		0.1500938086		31		78		109		0.1912280702		31		83		114		0.1972318339		30		101		131		0.2205387205		45		100		145		0.2566371681				104		104

		100		63		140		203		0.3248		22		84		106		0.2585365854		31		135		166		0.3114446529		53		125		178		0.3122807018		45		142		187		0.3235294118		67		182		249		0.4191919192		68		178		246		0.4353982301				177		177

		150		92		210		302		0.4832		38		133		171		0.4170731707		52		197		249		0.4671669794		58		180		238		0.4175438596		66		232		298		0.5155709343		74		290		364		0.6127946128		63		342		405		0.7168141593				385		385

		200		81		329		410		0.656		39		207		246		0.6		45		291		336		0.6303939962		73		290		363		0.6368421053		48		374		422		0.7301038062		57		425		482		0.8114478114		50		446		496		0.8778761062				454		454

		250		59		443		502		0.8032		32		300		332		0.8097560976		34		398		432		0.8105065666		51		388		439		0.7701754386		31		478		509		0.8806228374		51		472		523		0.8804713805		41		490		531		0.9398230088				468		468

		300		59		510		569		0.9104		30		321		351		0.856097561		35		433		468		0.8780487805		38		462		500		0.8771929825		17		501		518		0.8961937716		40		500		540		0.9090909091		36		501		537		0.9504424779				478		478

		350		50		530		580		0.928		23		342		365		0.8902439024		31		454		485		0.9099437148		33		485		518		0.9087719298		20		535		555		0.9602076125		34		513		547		0.9208754209		32		510		542		0.9592920354				495		495

		400		45		561		606		0.9696		10		370		380		0.9268292683		24		468		492		0.9230769231		31		498		529		0.9280701754		20		535		555		0.9602076125		34		520		554		0.9326599327		36		519		555		0.982300885				502		502

		500		45		580		625		1		10		400		410		1		10		523		533		1		30		540		570		1		0		578		578		1		34		560		594		1		32		533		565		1				510		510

																						Neff map		Vfd

																						10

																						30

																						50

																						70

																						90

																						100

																						120

																																												634

																																		72

		Bias		#526		#527		Pulse sum		Normalised		Bias		#545		#546		Pulse sum		Normalised		Bias		#567		#568		Pulse sum		Normalised		Bias		#577		#578		Pulse sum		Normalised		Bias		#585		#586		Pulse sum		Normalised		Bias		#605		#606		Pulse sum		Normalised		Bias		#622		#623		Pulse sum		Normalised		Bias		#634		#635		Pulse sum		Normalised

		[Volt]		[mV]		[mV]		[mv]				[Volt]		[mV]		[mV]		[mv]				[Volt]		[mV]		[mV]		[mv]				[Volt]		[mV]		[mV]		[mv]				[Volt]		[mV]		[mV]		[mv]				[Volt]		[mV]		[mV]		[mv]				[Volt]		[mV]		[mV]		[mv]				[Volt]		[mV]		[mV]		[mv]

		20		5		205		210		0.4393305439		10		89		41		130		0.3095238095		10		27		41		68		0.17		25		34		75		109		0.2632850242		25		44		20		64		0.1671018277		50		65		10		75		0.1978891821		50		65		0		65		0.1697127937		50		61		24		85		0.2073170732

		30		5		273		278		0.5815899582		20		171		41		212		0.5047619048		25		61		109		170		0.425		50		55		164		219		0.5289855072		50		95		41		136		0.3550913838		75		95		10		105		0.2770448549		100		123		37		160		0.4177545692		100		106		34		140		0.3414634146

		40		54		323		377		0.7887029289		30		232		34		266		0.6333333333		50		266		41		307		0.7675		75		37		290		327		0.7898550725		75		150		58		208		0.5430809399		100		129		27		156		0.4116094987		150		171		51		222		0.5796344648		150		157		48		205		0.5

		50		45		360		405		0.8472803347		50		321		0		321		0.7642857143		75		334		14		348		0.87		100		27		330		357		0.8623188406		100		240		51		291		0.7597911227		125		167		27		194		0.5118733509		200		287		24		311		0.8120104439		200		253		34		287		0.7

		75		41		405		446		0.9330543933		75		362		0		362		0.8619047619		100		359		0		359		0.8975		150		27		359		386		0.9323671498		125		311		27		338		0.8825065274		150		236		30		266		0.7018469657		250		334		0		334		0.8720626632		250		317		27		344		0.8390243902

		100		32		428		460		0.9623430962		100		383		0		383		0.9119047619		150		372		0		372		0.93		200		24		372		396		0.9565217391		150		342		10		352		0.9190600522		200		328		0		328		0.8654353562		300		351		0		351		0.9164490862		300		349		31		380		0.9268292683

		120		23		437		460		0.9623430962		150		396		0		396		0.9428571429		200		383		0		383		0.9575		250		20		379		399		0.9637681159		200		355		10		365		0.953002611		250		355		0		355		0.9366754617		350		366		0		366		0.955613577		350		362		27		389		0.9487804878

		150		27		446		473		0.989539749		200		413		0		413		0.9833333333		250		396		0		396		0.99		300		24		382		406		0.9806763285		300		376		0		376		0.9817232376		300		366		0		366		0.9656992084		400		372		0		372		0.9712793734		400		372		34		406		0.9902439024

		200		23		455		478		1		300		420		0		420		1		300		400		0		400		1		350		24		390		414		1		400		383		0		383		1		400		379		0		379		1		500		383		0		383		1		500		383		27		410		1

		300		20		464		484		1.0125523013

		Strip #		VFD

		188		80

		244		75

		390		60

		470		55

		498		55

		526		53

		545		54

		568		62

		578		92								0.0004882813		0.1806640625		0.0451660156

		585		128

		605		200

		622		225

		634		270

		650		285

		670		297

		690		300

		710		285								768		640

		730		250

		740		220

		760		170

		774		125

		829		60

		888		47





		50		50		50		50		50		50		50

		100		100		100		100		100		100		100

		150		150		150		150		150		150		150

		200		200		200		200		200		200		200

		250		250		250		250		250		250		250

		300		300		300		300		300		300		300

		350		350		350		350		350		350		350

		400		400		400		400		400		400		400

		500		500		500		500		500		500		500



Strip #10

Strip #30

Strip #50

Strip #70

Strip #90

Strip #100

Strip #120

0.2016

0.2

0.1500938086

0.1912280702

0.1972318339

0.2205387205

0.2566371681

0.3248

0.2585365854

0.3114446529

0.3122807018

0.3235294118

0.4191919192

0.4353982301

0.4832

0.4170731707

0.4671669794

0.4175438596

0.5155709343

0.6127946128

0.7168141593

0.656

0.6

0.6303939962

0.6368421053

0.7301038062

0.8114478114

0.8778761062

0.8032

0.8097560976

0.8105065666

0.7701754386

0.8806228374

0.8804713805

0.9398230088

0.9104

0.856097561

0.8780487805

0.8771929825

0.8961937716

0.9090909091

0.9504424779

0.928

0.8902439024

0.9099437148

0.9087719298

0.9602076125

0.9208754209

0.9592920354

0.9696

0.9268292683

0.9230769231

0.9280701754

0.9602076125

0.9326599327

0.982300885

1

1

1

1

1

1

1



		20		10		25		25		50		50		50

		30		20		50		50		75		100		100

		40		30		75		75		100		150		150

		50		50		100		100		125		200		200

		75		75		150		125		150		250		250

		100		100		200		150		200		300		300

		120		150		250		200		250		350		350

		150		200		300		300		300		400		400

		200		300		350		400		400		500		500

		300



Strip #526

Strip #545

Strip #578

Strip #585

Strip #605

Strip #622

Strip #634

Bias [Volt]

Normalised CCE

0.4393305439

0.3095238095

0.2632850242

0.1671018277

0.1978891821

0.1697127937

0.2073170732

0.5815899582

0.5047619048

0.5289855072

0.3550913838

0.2770448549

0.4177545692

0.3414634146

0.7887029289

0.6333333333

0.7898550725

0.5430809399

0.4116094987

0.5796344648

0.5

0.8472803347

0.7642857143

0.8623188406

0.7597911227

0.5118733509

0.8120104439

0.7

0.9330543933

0.8619047619

0.9323671498

0.8825065274

0.7018469657

0.8720626632

0.8390243902

0.9623430962

0.9119047619

0.9565217391

0.9190600522

0.8654353562

0.9164490862

0.9268292683

0.9623430962

0.9428571429

0.9637681159

0.953002611

0.9366754617

0.955613577

0.9487804878

0.989539749

0.9833333333

0.9806763285

0.9817232376

0.9656992084

0.9712793734

0.9902439024

1

1

1

1

1

1

1

1.0125523013



		

		188

		244

		390

		470

		498

		526

		545

		568

		578

		585

		605

		622

		634

		650

		670

		690

		710

		730

		740

		760

		774

		829

		888



Strip Number

Vfd [Volt]

80

75

60

55

55

53

54

62

92

128

200

225

270

285

297

300

285

250

220

170

125

60

47



		10		25		50

		20		50		100

		30		75		150

		50		100		200

		75		125		250

		100		150		300

		150		200		350

		200		300		400

		300		400		500



Strip #545

Strip #585

Strip #634

Bias [Volt]

Normalised CCE

0.3095238095

0.1671018277

0.2073170732

0.5047619048

0.3550913838

0.3414634146

0.6333333333

0.5430809399

0.5

0.7642857143

0.7597911227

0.7

0.8619047619

0.8825065274

0.8390243902

0.9119047619

0.9190600522

0.9268292683

0.9428571429

0.953002611

0.9487804878

0.9833333333

0.9817232376

0.9902439024

1

1

1



		20		25		50

		30		50		75

		40		75		100

		50		100		125

		75		150		150

		100		200		200

		120		250		250

		150		300		300

		200		350		400

		300



Strip #526

Strip #578

Strip #605

Bias [Volt]

Normalised CCE

0.4393305439

0.2632850242

0.1978891821

0.5815899582

0.5289855072

0.2770448549

0.7887029289

0.7898550725

0.4116094987

0.8472803347

0.8623188406

0.5118733509

0.9330543933

0.9323671498

0.7018469657

0.9623430962

0.9565217391

0.8654353562

0.9623430962

0.9637681159

0.9366754617

0.989539749

0.9806763285

0.9656992084

1

1

1

1.0125523013



		Strip:		#10								Strip:		#30								Strip:		#50								Strip:		#70								Strip:		#90								Strip:		#100		#101						Strip:		#120

				#11										#31										#51										#71										#91										#121										#121

		D Left		h 200 V		ideal				h 400 V		D Left		h 200 V		ideal				h 400 V		D Left		h 200 V		ideal				h 400 V		D Left		h 200 V		ideal				h 400 V		D Left		h 200 V		ideal				h 400 V		D Left		h 200 V		ideal				h 400 V		D Left		h 200 V		ideal				h 400 V

		20		0.2059800664		0		0		0.1260683761		20		0.3485714286		0		0		0.2292490119		20		0.1510067114		0		0		0		20		0.1729559748		0		0		0.1299559471		30		0.1035422343		0		0		0		30		0.204610951		0		0		0		20		0.2591006424		0		0		0.263671875

		30		0.1784037559		110		1		0		30		0.2186046512		110		1		0		30		0.1964285714		110		1		0		30		0.1009615385		115		1		0		40		0.1971428571		117.5		1		0		40		0.3086053412		115		1		0		30		0.0874074074		115		1		0.0657534247

		40		0.2587064677						0.0909090909		40		0.3191489362						0		40		0.3269961977						0.118993135		40		0.1943734015						0		50		0.3688888889						0.2443729904		50		0.3851351351						0.1978021978		40		0.0914454277						0.0725244073

		50		0.3577586207						0.2196531792		50		0.4345238095						0.2648401826		60		0.6736842105						0.7946428571		50		0.3125						0.1707317073		60		0.6231884058						0.7816091954		60		0.5677966102						0.688372093		50		0.1515151515						0.1463414634

		60		0.6280991736						0.7375328084		60		0.625						0.619047619		70		0.7365079365						0.916500994		60		0.5102040816						0.5845070423		70		0.7445652174						0.9099437148		70		0.6253869969						0.886405959		60		0.5						0.5

		70		0.7114914425						0.8717948718		70		0.7170731707						0.8559322034		80		0.8419452888						0.9427402863		70		0.689373297						0.8831858407		80		0.8891454965						1		80		0.7331378299						0.9305816135		70		0.8						0.8395522388

		80		0.7915742794						0.9111470113		80		0.7960784314						0.9867374005		90		0.8307692308						0.9512195122		80		0.8141809291						0.9365609349		90		0.9136363636						1		90		0.7967032967						0.938517179		80		0.884086444						0.9252669039

		90		0.7759103641						0.8546845124		90		0.825						0.9734748011												90		0.8523489933						0.9378427788																						90		0.9249011858						0.9491833031

		Residuals		#10-#11								Residuals		#30-#31								Residuals		#50-#51								Residuals		#50-#51								Residuals		#70-#71								Residuals		#90-#91								Residuals		#100-#101

		True position		Est. position		Est. position		Residuals		Residuals		True position		Est. position		Est. position		Residuals		Residuals		True position		Est. position		Est. position		Residuals		Residuals		True position		Est. position		Est. position		Residuals		Residuals		True position		Est. position		Est. position		Residuals		Residuals		True position		Est. position		Est. position		Residuals		Residuals		True position		Est. position		Est. position		Residuals

				200 V		400 V		200 V		400 V				200 V		400 V		200 V		400 V				200 V		400 V		200 V		400 V				200 V		400 V		200 V		400 V				200 V		400 V		200 V		400 V				200 V		400 V		200 V		400 V				200 V		400 V		200 V		400 V

		20		22.657807309		38.3428571429		2.657807309		18.3428571429		20		38.3428571429		25.2173913043		18.3428571429		5.2173913043		20		16.610738255		0		-3.389261745		-20		20		19.8899371069		14.9449339207		-0.1100628931		-5.0550660793		30		12.1662125341		0		-17.8337874659		-30		30		23.530259366		0		-6.469740634		-30		20		29.7965738758		30.322265625		9.7965738758		10.322265625

		30		19.6244131455		24.0465116279		-10.3755868545		-5.9534883721		30		24.0465116279		0		-5.9534883721		-30		30		21.6071428571		0		-8.3928571429		-30		30		11.6105769231		0		-18.3894230769		-30		40		23.1642857143		0		-16.8357142857		-40		40		35.4896142433		0		-4.5103857567		-40		30		10.0518518519		7.5616438356		-19.9481481481		-22.4383561644

		40		28.4577114428		35.1063829787		-11.5422885572		-4.8936170213		40		35.1063829787		0		-4.8936170213		-40		40		35.969581749		13.0892448513		-4.030418251		-26.9107551487		40		22.3529411765		0		-17.6470588235		-40		50		43.3444444444		28.7138263666		-6.6555555556		-21.2861736334		50		44.2905405405		22.7472527473		-5.7094594595		-27.2527472527		40		10.5162241888		8.340306834		-29.4837758112		-31.659693166

		50		39.3534482759		47.7976190476		-10.6465517241		-2.2023809524		50		47.7976190476		29.1324200913		-2.2023809524		-20.8675799087		60		74.1052631579		87.4107142857		14.1052631579		27.4107142857		50		35.9375		19.6341463415		-14.0625		-30.3658536585		60		73.2246376812		91.8390804598		13.2246376812		31.8390804598		60		65.2966101695		79.1627906977		5.2966101695		19.1627906977		50		17.4242424242		16.8292682927		-32.5757575758		-33.1707317073

		60		69.0909090909		68.75		9.0909090909		8.75		60		68.75		68.0952380952		8.75		8.0952380952		70		81.0158730159		100.8151093439		11.0158730159		30.8151093439		60		58.6734693878		67.2183098592		-1.3265306122		7.2183098592		70		87.4864130435		106.9183864916		17.4864130435		36.9183864916		70		71.919504644		101.9366852886		1.919504644		31.9366852886		60		57.5		57.5		-2.5		-2.5

		70		78.2640586797		78.8780487805		8.2640586797		8.8780487805		70		78.8780487805		94.1525423729		8.8780487805		24.1525423729		80		92.6139817629		103.7014314928		12.6139817629		23.7014314928		70		79.2779291553		101.5663716814		9.2779291553		31.5663716814		80		104.474595843		117.5		24.474595843		37.5		80		84.3108504399		107.0168855535		4.3108504399		27.0168855535		70		92		96.5485074627		22		26.5485074627

		80		87.0731707317		87.568627451		7.0731707317		7.568627451		80		87.568627451		108.5411140584		7.568627451		28.5411140584		90		91.3846153846		104.6341463415		1.3846153846		14.6341463415		80		93.630806846		107.7045075125		13.630806846		27.7045075125		90		107.3522727273		117.5		17.3522727273		27.5		90		91.6208791209		107.9294755877		1.6208791209		17.9294755877		80		101.6699410609		106.4056939502		21.6699410609		26.4056939502

		90		85.350140056		90.75		-4.649859944		0.75		90		90.75		107.0822281167		0.75		17.0822281167												90		98.0201342282		107.8519195612		8.0201342282		17.8519195612																						90		106.3636363636		109.1560798548		16.3636363636		19.1560798548





		Far end														End + 1 cm														End + 2 cm														End + 3 cm														End + 3.5 cm

		Strip width		Local coord.		h 150 V						h 200 V		h 400 V		Strip width		Local coord.		h 150 V						h 200 V		h 400 V		Strip width		Local coord.		h 150 V						h 200 V		h 400 V		Strip width		Local coord.		h 150 V						h 200 V		h 400 V		Strip width		Local coord.		h 200 V						h 400 V

		16 µm		21		0.3192771084		0		0		0.3086172345		0.2177531207		25 µm		25		0.2489795918		0		0		0.2296072508		0.0935875217		25 µm		25		0.2344827586		0		0		0.1566820276		0.079338843		30 µm		25		0.1505016722		0		0		0.0805687204		0.052		35 µm		20		0.2591006424		0		0		0.263671875

				22		0.3269230769		61		1		0.3302180685		0.2262118492				26		0.3642857143		78		1		0.3591160221		0.2287390029				26		0.3311897106		95		1		0.2647754137		0.1256038647				26		0.2164948454		108		1		0.0966183575		0.0595238095				30		0.0874074074		115		1		0.0657534247

				23		0.5						0.5		0.5284552846				28		0.6977777778						0.691588785		0.8631578947				27								0.3176470588		0.2993197279				27		0.3470790378						0.2055137845		0.1347248577				40		0.0914454277						0.0725244073

				24		0.6687697161						0.6808943089		0.826435247				29		0.7510204082						0.7796610169		0.9246575342				28		0.6393442623						0.6741573034		0.7946127946				29		0.6487603306						0.7430939227		0.8559837728				50		0.1515151515						0.1463414634

				25		0.6972789116						0.7270788913		0.8104196816																		29		0.7039711191						0.7454545455		0.8982785603				30		0.7683823529						0.884057971		0.9513108614				60		0.5						0.5

																																30		0.7731629393						0.830802603		0.9453376206				31		0.8316498316						0.9351145038		0.98				70		0.8						0.8395522388

																																																												80		0.884086444						0.9252669039

																																																												90		0.9249011858						0.9491833031

				Pos. far end (1)														Pos.(2)=(1)+1 cm														Pos.(3)=(2)+1 cm														Pos.(4)=(3)+1 cm														Pos.(5)=(4)+0.5 cm

		Bias		#119		Int 1		#120		Int 2		#121		Int 3		#122		#119		Int 1		#120		Int 2		#121		Int 3		#122		#119		Int 1		#120		Int 2		#121		Int 3		#122		#119		Int 1		#120		Int 2		#121		Int 3		#122		#119		Int 1		#120		Int 2		#121		Int 3		#122

		[Volt]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]

		50		0		0		30		10		115		10		20						20		0		68						0		0		31		0		99		0		0		0		0		0		0		70		0		0						38		21		104		-10

		100		28		0		61		17		179		15		33						44		15		129						20		0		48		24		171		0		31						52		34		145		0		29						62		34		177		-21

		150		30		0		88		40		239		27		44						78		37		184						0		0		71		44		242		0		31						63		58		250		0		29						55		24		385		-31

		200		37		0		115		74		357		37		54						68		41		280						0		0		78		58		383		0		37						37		20		388		-5		20						48		15		454		-24

		250		34		0		101		61		530		51		20						71		44		410						0		0		44		24		509		-24		10						26		10		448		-20		10						45		0		468		-34

		300		23		0		81		37		600		-23		30						58		45		475						0		0		37		13		533		-30		20						22		22		490		-24		10						34		-10		478		-34

		350		34		0		84		27		641		-27		24						51		10		519						0		0		30		0		567		-30		15						20		0		512		-24		0						34		-17		495		-34

		400		23		0		64		0		644		-34		23						51		0		530						0		0		41		0		577		-37		15						20		0		527		-24		0						34		-17		502		-34

		500		10		0		77		0		680		-30		10						48		0		547						0		0		34		0		588		-40		13						10		0		530		-24		0						34		-17		510		-34

				Total										Total										Intermediate strip/total charge

		Bias		Pos.(1)		Pos.(2)		Pos.(3)		Pos.(4)		Pos.(5)		normalised

		[Volt]												Pos.(1)		Pos.(2)		Pos.(3)		Pos.(4)		Pos.(5)		Pos.(1)		Pos.(2)		Pos.(3)		Pos.(4)		Pos.(5)

		50		135		88		99		70		142		0.2023988006		0.1514629948		0.1672297297		0.1328273245		0.2649253731		0.0740740741		0		0		0		0.1478873239

		100		212		173		202		174		239		0.3178410795		0.2977624785		0.3412162162		0.330170778		0.4458955224		0.0801886792		0.0867052023		0.1188118812		0.1954022989		0.1422594142

		150		283		262		273		279		440		0.4242878561		0.4509466437		0.4611486486		0.5294117647		0.8208955224		0.1413427562		0.141221374		0.1611721612		0.2078853047		0.0545454545

		200		411		348		420		408		502		0.616191904		0.5989672978		0.7094594595		0.7741935484		0.9365671642		0.1800486618		0.117816092		0.1380952381		0.0490196078		0.0298804781

		250		550		481		519		458		513		0.8245877061		0.8278829604		0.8766891892		0.8690702087		0.9570895522		0.1109090909		0.0914760915		0.0462427746		0.0218340611		0

		300		630		533		553		500		512		0.9445277361		0.917383821		0.9341216216		0.9487666034		0.9552238806		0.0587301587		0.0844277674		0.0235081374		0.044		-0.01953125

		350		665		570		582		512		529		0.9970014993		0.9810671256		0.9831081081		0.9715370019		0.9869402985		0.0406015038		0.0175438596		0		0		-0.0321361059

		400		667		581		592		527		536		1		1		1		1		1		0		0		0		0		-0.0317164179

		500		690		595		601		530		544		1.0344827586		1.0240963855		1.0152027027		1.0056925996		1.0149253731		0		0		0		0		-0.03125





		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0



0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		50		50		50		50		50

		100		100		100		100		100

		150		150		150		150		150

		200		200		200		200		200

		250		250		250		250		250

		300		300		300		300		300

		350		350		350		350		350

		400		400		400		400		400

		500		500		500		500		500



0.0740740741

0

0

0

0.1478873239

0.0801886792

0.0867052023

0.1188118812

0.1954022989

0.1422594142

0.1413427562

0.141221374

0.1611721612

0.2078853047

0.0545454545

0.1800486618

0.117816092

0.1380952381

0.0490196078

0.0298804781

0.1109090909

0.0914760915

0.0462427746

0.0218340611

0

0.0587301587

0.0844277674

0.0235081374

0.044

-0.01953125

0.0406015038

0.0175438596

0

0

-0.0321361059

0

0

0

0

-0.0317164179

0

0

0

0

-0.03125



		50		50		50		50		50

		100		100		100		100		100

		150		150		150		150		150

		200		200		200		200		200

		250		250		250		250		250

		300		300		300		300		300

		350		350		350		350		350

		400		400		400		400		400

		500		500		500		500		500



0.2023988006

0.1514629948

0.1672297297

0.1328273245

0.2649253731

0.3178410795

0.2977624785

0.3412162162

0.330170778

0.4458955224

0.4242878561

0.4509466437

0.4611486486

0.5294117647

0.8208955224

0.616191904

0.5989672978

0.7094594595

0.7741935484

0.9365671642

0.8245877061

0.8278829604

0.8766891892

0.8690702087

0.9570895522

0.9445277361

0.917383821

0.9341216216

0.9487666034

0.9552238806

0.9970014993

0.9810671256

0.9831081081

0.9715370019

0.9869402985

1

1

1

1

1

1.0344827586

1.0240963855

1.0152027027

1.0056925996

1.0149253731



		Time delay		Corrected time		Bias [V]		#120		Int 1		#121		Int 2																		0		0.08185		9.1672		112				0.261052		10		80

		70		55		250		0		0		68		0				0		0		0		610								1		0.168384		18.859008						0.431745		34.5396

		75		50				16		0		150		0				3		0.0512794593		31.2804701969										2		0.312367		34.985104						0.675746		54.05968

		80		45				34		0		245		-25				6		0.2672435413		163.0185601936										3		0.52869		59.21328						1.004992		80.39936

		85		40				54		0		369		-41				9		0.5875634723		358.4137180924										4		0.825982		92.509984						1.426173		114.09384

		90		35				123		32		560		0				12		0.9072872169		553.4452023										5		1.20452		134.90624						1.939189		155.13512

		95		30				154		40		688		0				15		1.1543795498		704.1715253543										6		1.656436		185.520832						2.536774		202.94192

		100		25				188		51		826		-28				18		1.299469696		792.6765145638										7		2.16761		242.77232						3.205258		256.42064

		105		20				199		74		792		0				21		1.3442508459		819.9930160187										8		2.720225		304.6652						3.926179		314.09432

		110		15				188		108		615		-5				24		1.3071636214		797.3698090352										9		3.295125		369.054						4.678293		374.26344

		115		10				176		131		421		79				27		1.2124429531		739.5902013697										10		3.873637		433.847344						5.439553		435.16424

		120		5				85		68		199		34				30		1.0834467691		660.9025291351										11		4.438771		497.142352						6.188773		495.10184

		125		0				0		0		0		0				33		0.9394191906		573.0457062512										12		4.97592		557.30304						6.906842		552.54736

																		36		0.7945091514		484.6505823432										13		5.473185		612.99672						7.577489		606.19912

																		39		0.6580501859		401.410613397										14		5.92143		663.20016						8.187653		655.01224

																		42		0.5354104702		326.6003867976										15		6.31416		707.18592						8.727551		698.20408

																		45		0.4289931162		261.6858008585										16		6.647297		744.497264						9.190552		735.24416

																		48		0.339164421		206.8902967894										17		6.91889		774.91568						9.57288		765.8304

																		51		0.2650152693		161.6593142647										18		7.128793		798.424816						9.873284		789.86272

																		54		0.2049346724		125.0101501754										19		7.278362		815.176544						10.092649		807.41192

																		57		0.1570118833		95.7772488293										20		7.370132		825.454784						10.233604		818.68832

																		60		0.1192986421		72.7721716988										21		7.407557		829.646384						10.300152		824.01216

																		63		0.0899657472		54.8791057793										22		7.394742		828.211104						10.297333		823.78664

																		66		0.0673846758		41.1046522082										23		7.336235		821.65832						10.230914		818.47312

																		69		0.050159177		30.597097963										24		7.236837		810.525744						10.107127		808.57016

																		72		0.0371256796		22.6466645667										25		7.101445		795.36184						9.932439		794.59512

																		75		0.0273359711		16.67494238										26		6.934925		776.7116						9.713365		777.0692

																																27		6.742013		755.105456						9.456316		756.50528

																																28		6.527242		731.051104						9.16749		733.3992

																																29		6.294873		705.025776						8.852766		708.22128

																																30		6.048868		677.473216						8.517644		681.41152

																																31		5.792859		648.800208						8.167207		653.37656

																																32		5.530137		619.375344						7.806094		624.48752

																																33		5.263647		589.528464						7.438483		595.07864

																																34		4.995998		559.551776						7.068093		565.44744

																																35		4.729472		529.700864						6.698193		535.85544

																																36		4.466033		500.195696						6.331631		506.53048

																																37		4.207353		471.223536						5.970841		477.66728

																																38		3.954834		442.941408						5.617879		449.43032

																																39		3.709625		415.478						5.274448		421.95584

																																40		3.472645		388.93624						4.941926		395.35408

																																41		3.244611		363.396432						4.621399		369.71192

																																42		3.026052		338.917824						4.313695		345.0956

																																43		2.817337		315.541744						4.019405		321.5524

																																44		2.618692		293.293504						3.738913		299.11304

																																45		2.43022		272.18464						3.472427		277.79416

																																46		2.251916		252.214592						3.219996		257.59968

																																47		2.083687		233.372944						2.981542		238.52336

																																48		1.925365		215.64088						2.756874		220.54992

																																49		1.776718		198.992416						2.545705		203.6564

																																50		1.637465		183.39608						2.347678		187.81424

																																51		1.507286		168.816032						2.162372		172.98976

																																52		1.38583		155.21296						1.989319		159.14552

																																53		1.272725		142.5452						1.828019		146.24152

																																54		1.167583		130.769296						1.677946		134.23568

																																55		1.070007		119.840784						1.538557		123.08456

																																56		0.979598		109.714976						1.409304		112.74432

																																57		0.895956		100.347072						1.289635		103.1708

																																58		0.818688		91.693056						1.179003		94.32024

																																59		0.747406		83.709472						1.076871		86.14968

																																60		0.681733		76.354096						0.982712		78.61696

																																61		0.621304		69.586048						0.896015		71.6812

																																62		0.565769		63.366128						0.816288		65.30304

																																63		0.51479		57.65648						0.743057		59.44456

																																64		0.468044		52.420928						0.675869		54.06952

																																65		0.425227		47.625424						0.614292		49.14336

																																66		0.386049		43.237488						0.557917		44.63336

																																67		0.350235		39.22632						0.506357		40.50856

																																68		0.317529		35.563248						0.459245		36.7396

																																69		0.287687		32.220944						0.416239		33.29912

																																70		0.260483		29.174096						0.377015		30.1612

																																71		0.235705		26.39896						0.341272		27.30176

																																72		0.213156		23.873472						0.308729		24.69832

																																73		0.19265		21.5768						0.279123		22.32984

																																74		0.174018		19.490016						0.25221		20.1768

																																75		0.157101		17.595312						0.227764		18.22112

																																76		0.141751		15.876112						0.205574		16.44592

																																77		0.127834		14.317408						0.185447		14.83576

																																78		0.115224		12.905088						0.167204		13.37632

																																79		0.103806		11.626272						0.150679		12.05432

																																80		0.093474		10.469088						0.13572		10.8576

																																81		0.084131		9.422672						0.122188		9.77504

																																82		0.075686		8.476832						0.109953		8.79624

																																83		0.068058		7.622496						0.098898		7.91184

																																84		0.061172		6.851264						0.088915		7.1132

																																85		0.054959		6.155408						0.079904		6.39232

																																86		0.049356		5.527872						0.071777		5.74216

																																87		0.044307		4.962384

																																88		0.039758		4.452896

																																89		0.035662		3.994144

																																90		0.031975		3.5812

																																91		0.028659		3.209808

																																92		0.025678		2.875936

																																93		0.022998		2.575776

																																94		0.020591		2.306192

																																95		0.018429		2.064048

																																96		0.016489		1.846768

																																97		0.014748		1.651776

																																98		0.013187		1.476944

																																99		0.011787		1.320144





		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0



0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0



0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0



Measured (hit strip)

Calculated

Adjacent strip

Intermediate routing line

Time [ns]

Amplitude [arb. units]

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0



Measured

Calculated

Time [ns]

Amplitude [arb. units]

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0




_1046256849.xls
Chart1

		50		50		50		50		50

		100		100		100		100		100

		150		150		150		150		150

		200		200		200		200		200

		250		250		250		250		250

		300		300		300		300		300

		350		350		350		350		350

		400		400		400		400		400

		500		500		500		500		500



Pos. 1

Pos. 2

Pos. 3

Pos. 4

Pos. 5

Bias [V]

Charge routing line/Total charge

0.0740740741

0

0

0

0.1478873239

0.0801886792

0.0867052023

0.1188118812

0.1954022989

0.1422594142

0.1413427562

0.141221374

0.1611721612

0.2078853047

0.0545454545

0.1800486618

0.117816092

0.1380952381

0.0490196078

0.0298804781

0.1109090909

0.0914760915

0.0462427746

0.0218340611

0

0.0587301587

0.0844277674

0.0235081374

0.044

0

0.0406015038

0.0175438596

0

0

0

0

0

0

0

0

0

0

0

0

0



General

		Sector #		Strip's range								1		128

		1		1-128								2		256

		2		129-256								3		384

		3		257-384								4		512

		4		385-512								5		640

		5		513-640								6		768

		6		641-768								7		896

		7		769-896								8		1024

		8		897-1024

		Measured strips:

		Sector #:		1		2		3		4		5		6		7		8





Routing line

		

																						Strip #		Est. VFD

																						499		55

																						760		170

																						774		125

																						888		50





Routing line

		10		50		20		10

		20		100		40		20

		30		150		50		40

		40		200		60		50

		50		250		80		60

		60		300		100		80

		80		350		125		100

		100		400		150		125

		150		500		175		150

		200				200		200

		300				300		300



Strip #499

Strip #760

Strip #774

Strip #888

Bias [Volt]

Charge routing line/total charge

0.1402439024

0.1694915254

0.0649350649

0.1036036036

0.0886524823

0.1589958159

0.1363636364

0.0705521472

0.069637883

0.0979381443

0.1446540881

0.0580808081

0.0611246944

0.0445859873

0.1421052632

0.0324189526

0.0412844037

0

0.1553030303

0.0324189526

0

0

0.1184210526

0.0224438903

0

0

0.0692771084

0

0

0

0.0507042254

0

0

0

0.05

0

0

0.025

0

0

0.0243902439

0



Irradiated (4)

		50		50		50		50		50

		100		100		100		100		100

		150		150		150		150		150

		200		200		200		200		200

		250		250		250		250		250

		300		300		300		300		300

		350		350		350		350		350

		400		400		400		400		400

		500		500		500		500		500



Pos. 1

Pos. 2

Pos. 3

Pos. 4

Pos. 5

Bias [V]

Charge routing line/Total charge

0.0740740741

0

0

0

0.1478873239

0.0801886792

0.0867052023

0.1188118812

0.1954022989

0.1422594142

0.1413427562

0.141221374

0.1611721612

0.2078853047

0.0545454545

0.1800486618

0.117816092

0.1380952381

0.0490196078

0.0298804781

0.1109090909

0.0914760915

0.0462427746

0.0218340611

0

0.0587301587

0.0844277674

0.0235081374

0.044

0

0.0406015038

0.0175438596

0

0

0

0

0

0

0

0

0

0

0

0

0



Irradiated (5) 

		Bias 250 V		Strip #		Centre		Distance		20 V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h		ideal				50 V		Pulse Left		Pulse Right		Pulse sum		h		200 V		Pulse Left		Pulse Right		Pulse sum		h				Volt scan		#85		#86		Total		Normalised

				85		31		110				33.5		25		85		128		12		140		0.0857142857		0		0				253		30		283		0.1060070671				373		16		389		0.0411311054				20		36		126		162		0.3884892086

				86		42						34.5		35		75		132		12		144		0.0833333333		110		1				233		24		257		0.093385214				341		25		366		0.0683060109				30		52		240		292		0.7002398082

												35.5		45		65		84		32		116		0.275862069								204		48		252		0.1904761905				325		50		375		0.1333333333				40		48		317		365		0.8752997602

												37		60		50		22		40		62		0.6451612903								36		76		112		0.6785714286				50		136		186		0.7311827957				50		48		371		407		0.9760191847

		#85		Amplitude		#86		Amplitude				37.5		65		45		40		84		124		0.6774193548								60		197		257		0.766536965				60		305		365		0.8356164384				75		36		380		412		0.9880095923

		39		417		28		417				38.5		75		35		28		152		180		0.8444444444								40		272		312		0.8717948718				32		401		433		0.9260969977				100		32		397		425		1.0191846523

		40		325		29		297				39.5		85		25		24		160		184		0.8695652174								44		281		325		0.8646153846				32		405		437		0.9267734554				120		28		413		441		1.0575539568

		41		50		30		60																																												150		28		417		417		1

		42		0		31		0

		43		68		32		32

		44		361		33		272

						34		409

		Bias 250 V		Strip #		Centre		Distance		20 V		Local coord.						Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h		ideal				50 V		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h		200 V		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h				Volt scan		#4		Int 1		#5		Int 2		Total		Normalised		Norm Rout		Norm rzatio rout/total

				4		12.5		115				14.5		20		95		204		-28		36				240		0.15		0		0				333				36				369		0.0975609756				449		-64		48				497		0.0965794769				20		12		-24		200		-48		212		0.4265593561

				5		24						15.5		30		85		240		-36		44				284		0.1549295775		115		1				425		-64		72				497		0.1448692153				573		-112		64				637		0.1004709576				30		40				328		-52		368		0.7404426559

												16.5		40		75		212		-32		44				256		0.171875								373		-48		52				425		0.1223529412				525		-88		52				577		0.0901213172				40		24		-16		381		-88		405		0.814889336

												17.5		50		65		116		-8		48				164		0.2926829268								256		-24		104				360		0.2888888889				373		-64		120				493		0.2434077079				50		28		-24		425		-92		453		0.9114688129

		#4		Amplitude		#5		Amplitude				18.5		60		55		16				32				48		0.6666666667								32				72				104		0.6923076923				60				112				172		0.6511627907				75		16				445		-100		461		0.9275653924

		12		0		21		489				19.5		70		45		52				188		-16		240		0.7833333333								68				385		-48		453		0.8498896247				52				509		-96		561		0.9073083779				100		12		-28		457		-124		469		0.9436619718

		13		0		22		341				20.5		80		35		52				253		-16		305		0.8295081967								76				429		-52		505		0.8495049505				36				549		-96		585		0.9384615385				120		16		-20		465		-120		481		0.967806841

		14		132		23		84				21.5		90		25		28				204		-48		232		0.8793103448								36				393		-84		429		0.9160839161				28				501		-112		529		0.9470699433				150		12		-44		485		-132		497		1

		15		437		24		0

		16		517		25		0

						26		272

		Bias 250 V		Strip #		Centre		Distance		20 V		Local coord.						Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h		ideal				50 V		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h		200 V		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h

				5		24		110				26.5		25		85		197				36				233		0.1545064378		0		0				328				36				364		0.0989010989				445				32				477		0.0670859539

				6		35						27.5		35		75		152				28				180		0.1555555556		110		1				305				36				341		0.1055718475				449				36				485		0.0742268041

												28.5		45		65		116				36				152		0.2368421053								253				60				313		0.1916932907				413				100				513		0.1949317739

												29.5		55		55		44				28				72										60				36				96						72				32				104

												30.5		65		45		28				104				132		0.7878787879								52				212				264		0.803030303				72				345				417		0.8273381295

												31.5		75		35		36				160				196		0.8163265306								32				272				304		0.8947368421				28				405				433		0.935334873

												32.5		85		25		12				164				176		0.9318181818								32				333				365		0.9123287671				72				469				541		0.8669131238

		Bias 250 V		Strip #		Centre		Distance		20 V		Local coord.						Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h		ideal				50 Volt		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h		200 Volts		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h				Volt scan		#115		Int 1		#116		Int 2		Total		Normalised		Norm Rout		Norm rzatio rout/total

				115		44		120				47.5		35		85		237				45				282		0.1595744681		0		0				396		-18		54				450		0.12				474		-31		41				515		0.0796116505				10		32		23		132		0		164		0.3326572008				0.1402439024

				116		56						48.5		45		75		209		0		54				263		0.2053231939		120		1				387		-13		59				446		0.1322869955				460		-41		45				505		0.0891089109				20		41		25		241		0		282		0.5720081136				0.0886524823

												49.5		55		65		128		13		54				182		0.2967032967								264				77				341		0.2258064516				360		-23		90				450		0.2				30		45		25		314		0		359		0.7281947262				0.069637883

												51		70		50		41		13		91				132										63		13		182				245						73		0		250				323		0.72				40		45		25		364		0		409		0.8296146045				0.0611246944

		#115		Amplitude		#116		Amplitude				51.5		75		45		77		41		173				250		0.692								91		18		360				451		0.7982261641				91		0		461				552		0.8351449275				50		36		18		400		-13		436		0.8843813387				0.0412844037

		42		506		54		483				52.5		85		35		54		30		214				268		0.7985074627								54		23		383				437		0.8764302059				32		-23		460				492		0.9349593496				60		25		0		419		-23		444		0.9006085193				0

		43		410		55		287				53.5		95		25		41		25		241				282		0.8546099291								36		18		400		-13		436		0.9174311927				27				460		-23		487		0.9445585216				80		27		0		442		-23		469		0.9513184584				0

		44		77		56		0																																																								100		27		0		446		-23		473		0.9594320487				0

		45		455		57		0																																																								150		23		0		455		-27		478		0.9695740365				0

		46		488		58		145																																																								200		27				460		-18		487		0.9878296146				0

						59		469																																																								300		23				470		-30		493		1				0





Irr. corr (5)

		Bias 250 V		Strip #		Centre		Distance		100 V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h		ideal				200 V		Pulse Left		Pulse Right		Pulse sum		h		300 V		Pulse Left		Pulse Right		Pulse sum		h				Volt scan		#13		#14		Total		Normalised						Strip #5		Volt scan		Normalised

				13		8.5		110				11		25		85		351		0		351		0		0		0				369		0		369		0				364		0		364		0				20		5		205		210		0.4338842975						10		140		0.2868852459

				14		19.5						12		35		75		387		0		387		0		110		1				414		0		414		0				414		0		414		0				30		5		273		278		0.5743801653						30		285		0.5840163934

												13		45		65		328		27		355		0.076056338								374		15		389		0.0385604113				383		24		407		0.058968059				40		54		323		377		0.7789256198						50		393		0.8053278689

												14		55		55		154		73		227		0.3215859031								164		59		223		0.264573991				173		68		241		0.2821576763				50		45		360		405		0.8367768595						70		434		0.8893442623

		#13		Amplitude		#14		Amplitude				15		65		45		54		223		277		0.8050541516								63		264		327		0.8073394495				82		278		360		0.7722222222				75		41		405		446		0.9214876033						100		454		0.9303278689

		6		364		17		351				16		75		35		36		378		414		0.9130434783								36		424		460		0.9217391304				32		424		456		0.9298245614				100		32		428		460		0.9504132231						150		468

		7		164		18		164				17		85		25		23		414		437		0.9473684211								23		460		483		0.9523809524				20		464		484		0.958677686				120		23		437		460		0.9504132231						200		485		0.993852459

		8		30		19		0																																												150		27		446		473		0.9772727273						300		488		1

		9		0		20		0																																												200		23		455		478		0.9876033058

		10		209		21		196																																												300		20		464		484		1

		11		370		22		392

		Bias 250 V		Strip #		Centre		Distance		50 V		Local coord.						(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				200 V		Pulse Left		Pulse Right		Pulse sum		h		300 V		Pulse Left		Pulse Right		Pulse sum		h				Volt scan		#33		#34		Total		Normalised

				13		4.8		112				8		32		80		31		334		71		405		0.175308642		0		0				427		-17		410		0				434		-17		417		0				10		48		97		145		0.3325688073				30		112		20		31		163

				14		16						9		42		70		34		317		51		368		0.1385869565		112		1				427		31		458		0.0676855895				458		24		482		0.0497925311				20		51		184		235		0.5389908257				50		157		31		41		229

												10		52		60		0		68		34		102		0.3333333333								89		37		126		0.2936507937				99		34		133		0.2556390977				30		54		263		317		0.7270642202				100		291		51		85		427

												11		62		50		0		65		195		260		0.75								61		266		327		0.8134556575				61		260		321		0.8099688474				50		37		345		382		0.876146789				130		372		58		103		533

		#33		Amplitude		#34		Amplitude				12		72		40		0		51		308		359		0.8579387187								34		413		447		0.9239373602				34		430		464		0.9267241379				75		27		389		416		0.9541284404				150		530		50		109		689

		2		445		13		451				13		82		30		0		37		342		379		0.9023746702								27		427		454		0.9405286344				10		447		457		0.9781181619				100		24		400		424		0.9724770642				200		567		44		65		676

		3		191		14		214																																														125		24		417		441		1.0114678899				250		605		31				636

		4		41		15		41																																														150		20		420		440		1.0091743119				300		612		31				643

		5		34		16		34																																														200		20		424		444		1.0183486239

		6		68		17		58																																														300		20		436		456		1.0458715596

		7		413		18		330

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.						#120		Int 1		#121		Int 2		#122		Int 3		Pulse sum		h		ideal				200 V		#120		Int 1		#121		Int 2		#122		Int 3		Pulse sum		h		400 V		#120		Int 1		#121		Int 2		#122		Int 3		Pulse sum		h						Volt scan		#120		Int 1		#121		Int 2		#122		Total		Normalised		Rout/total

				121		40		117				43		30		87		30		24		167		24		48		17		215		0.223255814		0		0				24		20		266		10		34		0		300		0.1133333333				10		0		372		-24		20		0		392		0.0510204082						50		0		0		61		0		24		85		0.2093596059		0

				122		51.7						44		40		77		24		15		140		31		54		117		194		0.2783505155		117		1				27		15		242		27		58		0		300		0.1933333333				0		0		376		-24		31		0		407		0.0761670762						100		20		0		106		0		34		140		0.3448275862		0

												45		50		67		24		20		99		37		65		0		164		0.3963414634								15		0		171		44		75		0		246		0.3048780488				10		0		311		0		75		0		386		0.1943005181						150		27		10		157		24		48		205		0.5049261084		0.0487804878

												47		70		47		0		0		58		41		95		0		153		0.6209150327								0		0		68		48		146		0		214		0.6822429907				0		0		61		17		270		0		331		0.8157099698						200		20		10		253		10		34		287		0.7068965517		0.0348432056

		#121		Amplitude		#122		Amplitude				48		80		37		0		0		65		41		143		10		208		0.6875								0		0		58		41		229		0		287		0.7979094077				0		0		34		0		366		-13		400		0.915						250		10		5		317		0		27		344		0.8472906404		0.0145348837

		38		345		49		366				49		90		27		0		0		51		34		157		0		208		0.7548076923								0		0		44		27		266		0		310		0.8580645161				0		0		27		0		376		-17		403		0.9330024814						300		0		0		349		0		31		380		0.9359605911		0

		39		37		50		201																																																																						350		0		0		362		-15		27		389		0.9581280788		0

		40		30		51		34																																																																						400		0		0		372		-17		34		406		1		0

		41		34		52		24																																																																						500		0		0		383		-20		27		410		1.0098522167		0

		42		195		53		58

		43		362		54		342

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.						(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				200 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		400 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h						Volt scan		#109		#110		Total		Normalised

				109		12.4		116				15		26		90		31		178		51		229		0.2227074236		0		0				15		280		24		304		0.0789473684						369		0		369		0						50		65		0		65		0.1747311828

				110		24						16		36		80		24		154		58		212		0.2735849057		116		1				24		263		41		304		0.1348684211						372		0		372		0						100		123		37		160		0.4301075269

												17		46		70		20		123		71		194		0.3659793814								30		215		71		286		0.2482517483						331		41		372		0.1102150538						150		171		51		222		0.5967741935

												19		66		50		0		68		95		163		0.5828220859								0		71		146		217		0.6728110599						58		242		300		0.8066666667						200		287		24		311		0.8360215054

		#109		Amplitude		#110		Amplitude				20		76		40		0		68		146		214		0.6822429907								0		58		242		300		0.8066666667						34		338		372		0.9086021505						250		334		0		334		0.8978494624

		10		308		21		291				21		86		30		0		58		167		225		0.7422222222								0		44		259		303		0.8547854785						0		345		345		1						300		351		0		351		0.9435483871

		11		37		22		208																																																				350		366		0		366		0.9838709677

		12		0		23		31																																																				400		372		0		372		1

		13		0		24		27																																																				500		383		0		383		1.0295698925

		14		225		25		31

		15		321		26		235

						27		285

		Bias 250 V		Strip #		Centre		Distance		100 V		Local coord.						(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				300 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		400 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h						Volt scan		#72		#73		Total		Normalised

				72		29.1		114				31.5		24		90				253		34		287		0.118466899		0		0						355		1		356		0.0028089888						0		0		0		0						25		44		20		64		0.170212766

				73		40.5						32.5		34		80				242		48		290		0.1655172414		114		1						386		1		387		0.0025839793																		50		95		41		136		0.3617021277

												33.5		44		70				150		78		228		0.3421052632										280		41		321		0.1277258567																		75		150		58		208		0.5531914894

												35.5		64		50				54		120		174		0.6896551724										51		222		273		0.8131868132																		100		240		51		291		0.7739361702

		#72		Amplitude		#73		Amplitude				36.5		74		40				68		215		283		0.7597173145										17		376		393		0.9567430025																		125		311		27		338		0.8989361702

		27		249		38		311				37.5		84		30				41		253		294		0.8605442177										1		386		387		0.9974160207																		150		342		10		352		0.9361702128

		28		71		39		106				38		89		25				41		249		290		0.8586206897										20		355		375		0.9466666667																		200		355		10		365		0.9707446809

		28.5		25		40		20																																																				300		376		0		376		1

		29		0		41		31																																																				400		383		0		383		1.0186170213

		30		58		42		154

		31		256		43		334

		Bias 250 V		Strip #		Centre		Distance		100 V		Local coord.						(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				150 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		300 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		200 V		Pulse Left		Pulse Right		Pulse sum		h		Volt scan		#92		#93		Total		Normalised

				92		37.8		116				40		22		94		20		146		41		187		0.2192513369		0		0						259		24		283		0.0848056537						352		1		353		0.0028328612				331		5		336		0.0148809524		50		65		10		75		0.2049180328

				93		49.4						41		32		84		20		140		44		184		0.2391304348		116		1						246		34		280		0.1214285714						369		1		370		0.0027027027				334		5		339		0.0147492625		75		95		10		105		0.2868852459

												42		42		74		24		112		51		163		0.3128834356										208		65		273		0.2380952381						355		1		356		0.0028089888				300		34		334		0.1017964072		100		129		27		156		0.4262295082

												44.5		67		49		0		68		89		157		0.5668789809										82		143		225		0.6355555556						65		256		321		0.7975077882				71		215		286		0.7517482517		125		167		27		194		0.5300546448

		#92		Amplitude		#93		Amplitude				45		72		44				71		103		174		0.591954023										78		198		276		0.7173913043						37		334		371		0.9002695418				54		291		345		0.8434782609		150		236		30		266		0.7267759563

		35		352		47		345				46		82		34				54		123		177		0.6949152542										54		236		290		0.8137931034						1		370		371		0.9973045822				41		328		369		0.8888888889		200		328		0		328		0.8961748634

		36		143		48		68				47		92		24				48		133		181		0.7348066298										48		259		307		0.8436482085						10		359		369		0.972899729				35		331		366		0.9043715847		250		355		0		355		0.9699453552

		37		17		49		0																																																										300		366		0		366		1

		38		17		49.5		0																																																										400		379		0		379		1.0355191257

		39		95		50		0

		40		325		51		116

						52		321

		Bias 250 V		Strip #		Centre		Distance		20 V		Local coord.						(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				50 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		200 V		Pulse Left		Pulse Right		Pulse sum		h								Volt scan		#32		#33		Total		Normalised

				32		43.2		108				45.5		23		85		24		188		30		218		0.1376146789		0		0				24		317		1		318		0.0031446541				400		1		401		0.0024937656								10		89		41		130		0.3147699758

				33		54						46.5		33		75		20		174		44		218		0.2018348624		108		1				20		325		10		335		0.0298507463				410		1		411		0.00243309								20		171		41		212		0.5133171913

												47.5		43		65		24		123		65		188		0.3457446809								20		242		54		296		0.1824324324				342		37		379		0.0976253298								30		232		34		266		0.6440677966

												49		58		50		0		41		58		99		0.5858585859										44		109		153		0.7124183007				51		164		215		0.7627906977								50		321		0		321		0.7772397094

		#32		Amplitude		#33		Amplitude				49.5		63		45				68		116		184		0.6304347826										68		212		280		0.7571428571				65		297		362		0.820441989								75		362		0		362		0.8765133172

		40		393		51		413				50.5		73		35				58		157		215		0.7302325581										44		297		341		0.8709677419				24		389		413		0.9418886199								100		383		0		383		0.9273607748

		41		181		52		291				51		78		30				48		164		212		0.7735849057										41		304		345		0.8811594203				15		393		408		0.9632352941								150		396		0		396		0.9588377724

		42		31		53		51																																																				200		413		0		413		1

		43		24		54		17																																																				300		420		0		420		1.0169491525

		44		80		55		50

		45		359		56		280

						57		403

		Bias 250 V		Strip #		Centre		Distance		50 V		Local coord.						(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				100 V		Pulse Left		Pulse Right		Pulse sum		h		300 V		Pulse Left		Pulse Right		Pulse sum		h										Volt scan		#53		#54		#55		#56		Total		Normalised

				54		39		110				42.5		35		75		24		259		37		296		0.125		0		0				352		1		353		0.0028328612				400		1		401		0.0024937656										10		13		27		41		13		68		0.17

				55		50						43		40		70		24		222		48		270		0.1777777778		110		1				331		1		332		0.0030120482				393		1		394		0.0025380711										25		20		61		109		20		170		0.425

												44		50		60		0		123		58		181		0.320441989								195		44		239		0.1841004184				239		41		280		0.1464285714										50				266		41				307		0.7675

												45.5		65		45		0		51		116		167		0.6946107784								42		178		220		0.8090909091				61		215		276		0.7789855072										75				334		14				348		0.87

		#54		Amplitude		#55		Amplitude				46		70		40				70		201		271		0.741697417								51		308		359		0.8579387187				51		355		406		0.8743842365										100				359		0				359		0.8975

		37		352		47		400				47		80		30				43		260		303		0.8580858086								17		355		372		0.9543010753				1		400		401		0.9975062344										150				372		0				372		0.93

		38		44		48		280																																																				200				383		0				383		0.9575

		39		27		49		41																																																				250				396		0				396		0.99

		40		51		50		20																																																				300				400		0				400		1

		41		266		51		51								512		63		575																																								400				406						406		1.015

		42		390		52		273

						53		410

		Bias 250 V		Strip #		Centre		Distance		50 V		Local coord.						(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				100 V		Pulse Left		Pulse Right		Pulse sum		h		250 V		Pulse Left		Pulse Right		Pulse sum		h										Volt scan		#64		#65		Total		Normalised

				63		1		120				4.5		35		85		37		161		65		226		0.2876106195		0		0				317		1		318		0.0031446541				376		1		377		0.0026525199										25		34		75		109		0.2632850242

				64		13						5.5		45		75		30		137		82		219		0.3744292237		120		1				297		54		351		0.1538461538				376		15		391		0.0383631714										50		55		164		219		0.5289855072

												6		50		70		0		123		78		201		0.3880597015								249		58		307		0.1889250814				325		41		366		0.1120218579										75		37		290		327		0.7898550725

												7.5		65		55		0		38		51		89		0.5730337079								40		106		146		0.7260273973				51		129		180		0.7166666667										100		27		330		357		0.8623188406

		#63		Amplitude		#64		Amplitude				8		70		50				71		103		174		0.591954023								61		242		303		0.798679868				58		300		358		0.8379888268										150		27		359		386		0.9323671498

		-1		352		10		400				9		80		40				75		143		218		0.6559633028								41		325		366		0.8879781421				31		372		403		0.9230769231										200		24		372		396		0.9565217391

		0		44		11		280				10		90		30				51		164		215		0.7627906977								34		334		368		0.9076086957				20		389		409		0.9511002445										250		20		379		399		0.9637681159

		1		27		12		41																																																				300		24		382		406		0.9806763285

		2		51		13		20																																																				350		24		390		414		1

		3		266		14		51

		4		390		15		273





Irr. corr. (6)

		Bias 250 V		Strip #		Centre		Distance		100 V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h		ideal				200 V		Pulse Left		Pulse Right		Pulse sum		h		300 V		Pulse Left		Pulse Right		Pulse sum		h				Volt scan		#13		#14		Total		Normalised						Strip #5		Volt scan		Normalised

				13		8.5		110				11		25		85		351		17		368		0.0461956522		0		0				369		17		386		0.0440414508				364		17		381		0.0446194226				20		5		205		210		0.4338842975						10		140		0.2868852459

				14		19.5						12		35		75		387		24		411		0.0583941606		110		1				414		24		438		0.0547945205				414		24		438		0.0547945205				30		5		273		278		0.5743801653						30		285		0.5840163934

												13		45		65		328		54		382		0.1413612565								374		55		429		0.1282051282				383		48		431		0.1113689095				40		54		323		377		0.7789256198						50		393		0.8053278689

												14		55		55		154		73		227		0.3215859031								164		59		223		0.264573991				173		68		241		0.2821576763				50		45		360		405		0.8367768595						70		434		0.8893442623

		#13		Amplitude		#14		Amplitude				15		65		45		54		223		277		0.8050541516								63		264		327		0.8073394495				82		278		360		0.7722222222				75		41		405		446		0.9214876033						100		454		0.9303278689

		6		364		17		351				16		75		35		36		378		414		0.9130434783								36		424		460		0.9217391304				32		424		456		0.9298245614				100		32		428		460		0.9504132231						150		468

		7		164		18		164				17		85		25		23		414		437		0.9473684211								23		460		483		0.9523809524				20		464		484		0.958677686				120		23		437		460		0.9504132231						200		485		0.993852459

		8		30		19		0																																												150		27		446		473		0.9772727273						300		488		1

		9		0		20		0																																												200		23		455		478		0.9876033058

		10		209		21		196																																												300		20		464		484		1

		11		370		22		392

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.						#120		Int 1		#121		Int 2		#122		Int 3		Pulse sum		h		ideal				200 V		#120		Int 1		#121		Int 2		#122		Int 3		Pulse sum		h		400 V		#120		Int 1		#121		Int 2		#122		Int 3		Pulse sum		h						Volt scan		#120		Int 1		#121		Int 2		#122		Total		Normalised

				121		40		117				43		30		87		30		24		167		24		48		17		215		0.223255814		0		0				24		20		266		10		34		0		300		0.1133333333				10		0		372		-24		20		0		392		0.0510204082						50		0		0		61		0		24		85		0.2093596059

				122		51.7						44		40		77		24		15		140		31		54		117		194		0.2783505155		117		1				27		15		242		27		58		0		300		0.1933333333				0		0		376		-24		31		0		407		0.0761670762						100		20		0		106		0		34		140		0.3448275862

												45		50		67		24		20		99		37		65		0		164		0.3963414634								15		0		171		44		75		0		246		0.3048780488				10		0		311		0		75		0		386		0.1943005181						150		27		10		157		24		48		205		0.5049261084

												47		70		47		0		0		58		41		95		0		153		0.6209150327								0		0		68		48		146		0		214		0.6822429907				0		0		61		17		270		0		331		0.8157099698						200		20		10		253		10		34		287		0.7068965517

		#121		Amplitude		#122		Amplitude				48		80		37		0		0		65		41		143		10		208		0.6875								0		0		58		41		229		0		287		0.7979094077				0		0		34		0		366		-13		400		0.915						250		10		5		317		0		27		344		0.8472906404

		38		345		49		366				49		90		27		0		0		51		34		157		0		208		0.7548076923								0		0		44		27		266		0		310		0.8580645161				0		0		27		0		376		-17		403		0.9330024814						300		0		0		349		0		31		380		0.9359605911

		39		37		50		201																																																																						350		0		0		362		-15		27		389		0.9581280788

		40		30		51		34																																																																						400		0		0		372		-17		34		406		1

		41		34		52		24																																																																						500		0		0		383		-20		27		410		1.0098522167

		42		195		53		58

		43		362		54		342

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.						(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				200 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		400 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h						Volt scan		#109		#110		Total		Normalised

				109		12.4		116				15		26		90		31		178		51		229		0.2227074236		0		0				15		280		24		304		0.0789473684						369		15		384		0.0390625						50		65		0		65		0.1747311828

				110		24						16		36		80		24		154		58		212		0.2735849057		116		1				24		263		41		304		0.1348684211						372		24		396		0.0606060606						100		123		37		160		0.4301075269

												17		46		70		20		123		71		194		0.3659793814								30		215		71		286		0.2482517483						331		41		372		0.1102150538						150		171		51		222		0.5967741935

												19		66		50		0		68		95		163		0.5828220859								0		71		146		217		0.6728110599						58		242		300		0.8066666667						200		287		24		311		0.8360215054

		#109		Amplitude		#110		Amplitude				20		76		40		0		68		146		214		0.6822429907								0		58		242		300		0.8066666667						34		338		372		0.9086021505						250		334		0		334		0.8978494624

		10		308		21		291				21		86		30		0		58		167		225		0.7422222222								0		44		259		303		0.8547854785						15		345		360		0.9583333333						300		351		0		351		0.9435483871

		11		37		22		208																																																				350		366		0		366		0.9838709677

		12		0		23		31																																																				400		372		0		372		1

		13		0		24		27																																																				500		383		0		383		1.0295698925

		14		225		25		31

		15		321		26		235

						27		285

		Bias 250 V		Strip #		Centre		Distance		100 V		Local coord.						(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				300 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		400 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h						Volt scan		#72		#73		Total		Normalised

				72		29.1		114				31.5		24		90				253		34		287		0.118466899		0		0						355		14		369		0.0379403794						0		0		0		0						25		44		20		64		0.170212766

				73		40.5						32.5		34		80				242		48		290		0.1655172414		114		1						386		25		411		0.0608272506																		50		95		41		136		0.3617021277

												33.5		44		70				150		78		228		0.3421052632										280		56		336		0.1666666667																		75		150		58		208		0.5531914894

												35.5		64		50				54		120		174		0.6896551724										51		222		273		0.8131868132																		100		240		51		291		0.7739361702

		#72		Amplitude		#73		Amplitude				36.5		74		40				68		215		283		0.7597173145										17		376		393		0.9567430025																		125		311		27		338		0.8989361702

		27		249		38		311				37.5		84		30				41		253		294		0.8605442177										1		386		387		0.9974160207																		150		342		10		352		0.9361702128

		28		71		39		106				38		89		25				41		249		290		0.8586206897										20		355		375		0.9466666667																		200		355		10		365		0.9707446809

		28.5		25		40		20																																																				300		376		0		376		1

		29		0		41		31																																																				400		383		0		383		1.0186170213

		30		58		42		154

		31		256		43		334

		Bias 250 V		Strip #		Centre		Distance		100 V		Local coord.						(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				150 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		300 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		200 V		Pulse Left		Pulse Right		Pulse sum		h		Volt scan		#92		#93		Total		Normalised

				92		37.8		116				40		22		94		20		146		41		187		0.2192513369		0		0						259		24		283		0.0848056537						352		15		367		0.0408719346				331		20		351		0.056980057		50		65		10		75		0.2049180328

				93		49.4						41		32		84		20		140		44		184		0.2391304348		116		1						246		34		280		0.1214285714						369		27		396		0.0681818182				334		29		363		0.0798898072		75		95		10		105		0.2868852459

												42		42		74		24		112		51		163		0.3128834356										208		65		273		0.2380952381						355		36		391		0.0920716113				300		55		355		0.1549295775		100		129		27		156		0.4262295082

												44.5		67		49		0		68		89		157		0.5668789809										82		143		225		0.6355555556						65		256		321		0.7975077882				71		215		286		0.7517482517		125		167		27		194		0.5300546448

		#92		Amplitude		#93		Amplitude				45		72		44				71		103		174		0.591954023										78		198		276		0.7173913043						37		334		371		0.9002695418				54		291		345		0.8434782609		150		236		30		266		0.7267759563

		35		352		47		345				46		82		34				54		123		177		0.6949152542										54		236		290		0.8137931034						1		370		371		0.9973045822				41		328		369		0.8888888889		200		328		0		328		0.8961748634

		36		143		48		68				47		92		24				48		133		181		0.7348066298										48		259		307		0.8436482085						10		359		369		0.972899729				35		331		366		0.9043715847		250		355		0		355		0.9699453552

		37		17		49		0																																																										300		366		0		366		1

		38		17		49.5		0																																																										400		379		0		379		1.0355191257

		39		95		50		0

		40		325		51		116

						52		321

		Bias 250 V		Strip #		Centre		Distance		20 V		Local coord.						(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				50 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		200 V		Pulse Left		Pulse Right		Pulse sum		h								Volt scan		#32		#33		Total		Normalised

				32		43.2		108				45.5		23		85		24		188		30		218		0.1376146789		0		0				24		317		14		331		0.0422960725				400		15		415		0.0361445783								10		89		41		130		0.3147699758

				33		54						46.5		33		75		20		174		44		218		0.2018348624		108		1				20		325		30		355		0.0845070423				410		25		435		0.0574712644								20		171		41		212		0.5133171913

												47.5		43		65		24		123		65		188		0.3457446809								20		242		74		316		0.2341772152				342		37		379		0.0976253298								30		232		34		266		0.6440677966

												49		58		50		0		41		58		99		0.5858585859										44		109		153		0.7124183007				51		164		215		0.7627906977								50		321		0		321		0.7772397094

		#32		Amplitude		#33		Amplitude				49.5		63		45				68		116		184		0.6304347826										68		212		280		0.7571428571				65		297		362		0.820441989								75		362		0		362		0.8765133172

		40		393		51		413				50.5		73		35				58		157		215		0.7302325581										44		297		341		0.8709677419				24		389		413		0.9418886199								100		383		0		383		0.9273607748

		41		181		52		291				51		78		30				48		164		212		0.7735849057										41		304		345		0.8811594203				15		393		408		0.9632352941								150		396		0		396		0.9588377724

		42		31		53		51																																																				200		413		0		413		1

		43		24		54		17																																																				300		420		0		420		1.0169491525

		44		80		55		50

		45		359		56		280

						57		403

		Bias 250 V		Strip #		Centre		Distance		50 V		Local coord.						(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				100 V		Pulse Left		Pulse Right		Pulse sum		h		300 V		Pulse Left		Pulse Right		Pulse sum		h										Volt scan		#53		#54		#55		#56		Total		Normalised

				54		39		110				42.5		35		75		24		259		37		296		0.125		0		0				352		15		367		0.0408719346				400		17		417		0.0407673861										10		13		27		41		13		68		0.17

				55		50						43		40		70		24		222		48		270		0.1777777778		110		1				331		25		356		0.0702247191				393		29		422		0.0687203791										25		20		61		109		20		170		0.425

												44		50		60		0		123		58		181		0.320441989								195		55		250		0.22				239		61		300		0.2033333333										50				266		41				307		0.7675

												45.5		65		45		0		51		116		167		0.6946107784								42		178		220		0.8090909091				61		215		276		0.7789855072										75				334		14				348		0.87

		#54		Amplitude		#55		Amplitude				46		70		40				70		201		271		0.741697417								51		308		359		0.8579387187				51		355		406		0.8743842365										100				359		0				359		0.8975

		37		352		47		400				47		80		30				43		260		303		0.8580858086								17		355		372		0.9543010753				1		400		401		0.9975062344										150				372		0				372		0.93

		38		44		48		280																																																				200				383		0				383		0.9575

		39		27		49		41																																																				250				396		0				396		0.99

		40		51		50		20																																																				300				400		0				400		1

		41		266		51		51								512		63		575																																								400				406						406		1.015

		42		390		52		273

						53		410

		Bias 250 V		Strip #		Centre		Distance		50 V		Local coord.						(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				100 V		Pulse Left		Pulse Right		Pulse sum		h		250 V		Pulse Left		Pulse Right		Pulse sum		h										Volt scan		#64		#65		Total		Normalised

				63		1		120				4.5		35		85		37		161		65		226		0.2876106195		0		0				317		15		332		0.0451807229				376		15		391		0.0383631714										25		34		75		109		0.2632850242

				64		13						5.5		45		75		30		137		82		219		0.3744292237		120		1				297		50		347		0.144092219				376		39		415		0.0939759036										50		55		164		219		0.5289855072

												6		50		70		0		123		78		201		0.3880597015								249		54		303		0.1782178218				325		61		386		0.1580310881										75		37		290		327		0.7898550725

												7.5		65		55		0		38		51		89		0.5730337079								40		106		146		0.7260273973				51		129		180		0.7166666667										100		27		330		357		0.8623188406

		#63		Amplitude		#64		Amplitude				8		70		50				71		103		174		0.591954023								61		242		303		0.798679868				58		300		358		0.8379888268										150		27		359		386		0.9323671498

		-1		352		10		400				9		80		40				75		143		218		0.6559633028								41		325		366		0.8879781421				31		372		403		0.9230769231										200		24		372		396		0.9565217391

		0		44		11		280				10		90		30				51		164		215		0.7627906977								34		334		368		0.9076086957				20		389		409		0.9511002445										250		20		379		399		0.9637681159

		1		27		12		41																																																				300		24		382		406		0.9806763285

		2		51		13		20																																																				350		24		390		414		1

		3		266		14		51

		4		390		15		273





Irr. corr. (6)

		0		1		0

		0				0

		0				0

		0				0

		0				0

		0				0

		0				0

		0				0

		0

		0



0

1

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



Irradiated (6)

		

		Vfd

		Normalised		10		30		50		70		120

		50		0.2016		0.2		0.1500938086		0.1529411765		0.2610294118

		100		0.3248		0.2585365854		0.3114446529		0.3025210084		0.4393382353

		150		0.4832		0.4170731707		0.4671669794		0.4352941176		0.8088235294

		200		0.656		0.6		0.6303939962		0.6268907563		0.9227941176

		250		0.8032		0.8097560976		0.8105065666		0.7613445378		0.9430147059

		300		0.9104		0.856097561		0.8780487805		0.8789915966		0.9411764706

		350		0.928		0.8902439024		0.9099437148		0.9176470588		0.9724264706

		400		0.9696		0.9268292683		0.9230769231		0.9193277311		0.9852941176

		500		1		1		1		1		1

		Strip #		VFD

		10

		30

		50

		70

		120

		Eta scan		#10		#11

								D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		Norm. pulse

								20		90		239		62		301		0.2059800664		0		0				20		90		409		59		468		0.1260683761		0.6688888889

								30		80		350		76		426		0.1784037559		110		1				30		80		582		32		614		0.0521172638		0.9466666667

								40		70		298		104		402		0.2587064677								40		70		520		60		580		0.1034482759		0.8933333333

								50		60		149		83		232		0.3577586207								50		60		270		76		346		0.2196531792		0.5155555556

								60		50		90		152		242		0.6280991736								60		50		100		281		381		0.7375328084		0.5377777778

								70		40		118		291		409		0.7114914425								70		40		80		544		624		0.8717948718		0.9088888889

								80		30		94		357		451		0.7915742794								80		30		55		564		619		0.9111470113		1.0022222222

								90		20		80		277		357		0.7759103641								90		20		76		447		523		0.8546845124		0.7933333333

				#30		#31		200 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		Norm. pulse

										20		90		114		61		175		0.3485714286		0		0				20		90		195		58		253		0.2292490119		0.6730769231

										30		80		168		47		215		0.2186046512		110		1				30		80		309		15		324		0.0462962963		0.8269230769

										40		70		160		75		235		0.3191489362								40		70		328		27		355		0.076056338		0.9038461538

										50		60		95		73		168		0.4345238095								50		60		161		58		219		0.2648401826		0.6461538462

										60		50		39		65		104		0.625								60		50		56		91		147		0.619047619		0.4

										70		40		58		147		205		0.7170731707								70		40		51		303		354		0.8559322034		0.7884615385

										80		30		52		203		255		0.7960784314								80		30		15		372		387		0.9612403101		0.9807692308

										90		20		42		198		240		0.825								90		20		10		367		377		0.9734748011		0.9230769231

				#50		#51		200 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		Norm. pulse

										20		90		253		45		298		0.1510067114		0		0				20		90		429		24		453		0.0529801325		0.903030303

										30		80		225		55		280		0.1964285714		110		1				30		80		423		32		455		0.0703296703		0.8484848485

										40		70		177		86		263		0.3269961977								40		70		385		72		457		0.1575492341		0.796969697

										50		60		0		0		0										50		60		0		0		0		0		0

										60		50		62		128		190		0.6736842105								60		50		69		267		336		0.7946428571		0.5757575758

										70		40		83		232		315		0.7365079365								70		40		42		461		503		0.916500994		0.9545454545

										80		30		52		277		329		0.8419452888								80		30		28		461		489		0.9427402863		0.996969697

										90		20		55		270		325		0.8307692308								90		20		24		468		492		0.9512195122		0.9848484848

				#70		#71		200 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		Norm. pulse

										20		95		263		55		318		0.1729559748		0		0				20		95		395		59		454		0.1299559471		0.7066666667

										30		85		374		42		416		0.1009615385		115		1				30		85		547		20		567		0.0352733686		0.9244444444

										40		75		315		76		391		0.1943734015								40		75		550		38		588		0.0646258503		0.8688888889

										50		65		121		55		176		0.3125								50		65		204		58		262		0.2213740458		0.3911111111

										60		55		48		50		98		0.5102040816								60		55		59		83		142		0.5845070423		0.2177777778

										70		45		114		253		367		0.689373297								70		45		66		499		565		0.8831858407		0.8155555556

										80		35		76		333		409		0.8141809291								80		35		38		561		599		0.9365609349		0.9088888889

										90		25		66		381		447		0.8523489933								90		25		34		513		547		0.9378427788		0.9933333333

				#120		#121		200 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		Norm. pulse

										20		100		346		121		467		0.2591006424		0		0				20		100		377		135		512		0.263671875		0.6867647059

										30		90		616		59		675		0.0874074074		115		1				30		90		682		48		730		0.0657534247		0.9926470588

										40		80		616		62		678		0.0914454277								40		80		665		52		717		0.0725244073		0.9970588235

										50		70		308		55		363		0.1515151515								50		70		385		66		451		0.1463414634		0.7117647059

										60		60		59		59		118		0.5								60		60		66		66		132		0.5		0.231372549

										70		50		90		360		450		0.8								70		50		86		450		536		0.8395522388		0.8823529412

										80		40		59		450		509		0.884086444								80		40		42		520		562		0.9252669039		0.9980392157

										90		30		38		468		506		0.9249011858								90		30		28		523		551		0.9491833031		0.9921568627

				Sample of metal strip scan

		#10		#10		Amplitude		Norm. ampl.

		25.5		0		491		0.982

		26		5		376		0.752

		26.5		10		173		0.346

		27.5		20		0		0

		28		25		0		0

		28.5		30		0		0

		29.5		40		108.6		0.2172

		30		45		310		0.62

		30.5		50		472		0.944

		Strip		#90		#91		200 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		Pulse Left		Pulse Right		Pulse sum		h

										38		30		87.5		329		38		367		0.1035422343		0		0				436		14		450		0.0311111111

										39		40		77.5		281		69		350		0.1971428571		117.5		1				433		25		458		0.0545851528

										40		50		67.5		142		83		225		0.3688888889								235		76		311		0.2443729904

										41		60		57.5		52		86		138		0.6231884058								38		136		174		0.7816091954

										42		70		47.5		94		274		368		0.7445652174								48		485		533		0.9099437148

										43		80		37.5		48		385		433		0.8891454965								0		526		526		1

										44		90		27.5		38		402		440		0.9136363636								0		523		523		1

		Strip #		150 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				200 V		Pulse Left		Pulse Right		Pulse sum		h		400 V		Pulse Left		Pulse Right		Pulse sum		h

		100				24		30		85		276		71		347		0.204610951		0		0				405		25		430		0.0581395349				509		24		533		0.0450281426

		101				25		40		75		233		104		337		0.3086053412		115		1				388		74		462		0.1601731602				516		38		554		0.0685920578

						26		50		65		91		57		148		0.3851351351								142		54		196		0.2755102041				219		62		281		0.2206405694

						27		60		55		51		67		118		0.5677966102								64		101		165		0.6121212121				67		148		215		0.688372093

						28		70		45		121		202		323		0.6253869969								111		317		428		0.7406542056				61		476		537		0.886405959

						29		80		35		91		250		341		0.7331378299								71		385		456		0.8442982456				37		496		533		0.9305816135

						30		90		25		74		290		364		0.7967032967								57		425		482		0.8817427386				34		519		553		0.938517179

		New 0 position

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.						#119		Int 1		#120				#121		Int 3		#122		Sum		h		Ideal				200 V		Local coord.						#119		Int 1		#120				#121		Int 3		#122		Sum		h		400 V		Local coord.						#119		Int 1		#120				#121		Int 3		#122		Sum		h

				120		22.2		118				25		28		90		32		0		333		23		50		0		0		383		0.1305483029		0		0				25		250		-250		13		0		396		-13		35		0		0		431		0.0812064965				25		250		-250		10		0		469		-23		32		0		0		501		0.0638722555

				121		34						26		38		80		32		0		314		30		54		0		0		368		0.1467391304		118		1				26		260		-260		23		0		424		-13		36		0		0		460		0.0782608696				26		260		-260		0		0		469		-27		30		0		0		499		0.0601202405

												27		48		70		27		0		259		54		86		0		13		345		0.2492753623								27		270		-270		0		0		387		23		68		0		0		455		0.1494505495				27		270		-270		0		0		492		-23		63		0		0		555		0.1135135135

												28		58		60		0		0		41		0		27		0		0		68		0.3970588235								28		280		-280		0		0		59		0		41		0		0		100		0.41				28		280		-280		0		0		77		0		45		0		0		122		0.368852459

		#121		Ampitude		#121		Amplitude				29		68		50		18		0		68		41		132		0		32		200		0.66								29		290		-290		0		0		59		32		178		0		0		237		0.7510548523				29		290		-290		0		0		73		18		273		0		32		346		0.789017341

		20		483		32		451				30		78		40		18		0		86		68		264		0		27		350		0.7542857143								30		300		-300		0		0		50		10		506		-18		0		556		0.9100719424				30		300		-300		0		0		50		10		506		-18		0		556		0.9100719424

		21		86		33		54				31		88		30		0				63		50		342		0		32		405		0.8444444444								31		310		-310		0		0		41		18		428		-23		18		469		0.9125799574				31		310		-310		0		0		36		0		496		-23		18		532		0.9323308271

		22		45		34		32

		23		23		35		45				Estimated strip width:

		24		154		36		387				35 µm

		25		470





Irradiated (6)

		0		0		0

		0		0		0

		0		0

		0		0

		0		0

		0		0



200 Volts

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #650-651

0

0

0

0

0

0

0

0

0

0

0

0

0

0



Irr. (7)

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.						Pulse 24		Pulse 25		Pulse sum		h		ideal				400 V		Local coord.						Pulse 24		Pulse 25		Pulse sum		h

				24		22.2		120				24.5		23		97		589		98		687		0.1426491994		0		0				24.5		23		97		841		0		841		0

				25		34.2						25.5		33		87		663		135		798		0.1691729323		120		1				25.5		33		87		892		0		892		0

												26.5		43		77		565		140		705		0.1985815603								26.5		43		77		841		61		902		0.0676274945

												27.5		53		67		425		233		658		0.3541033435								27.5		53		67		715		332		1047		0.3170964661

		#24		Amplitude		#25		Amplitude				28		58		62		388		318		706		0.4504249292								28		58		62		607		514		1121		0.4585191793

		20.5		715		32		738				28.5		63		57		322		388		710		0.5464788732								28.5		63		57		402		691		1093		0.6322049405

		21		579		32.5		663				29.5		73		47		196		520		716		0.7262569832								29.5		73		47		135		888		1023		0.8680351906

		21.5		462		33		486				30.5		83		37		201		645		846		0.7624113475								30.5		83		37		140		906		1046		0.8661567878

		22		374		33.5		402				31.5		93		27		140		551		691		0.7973950796								31.5		93		27		112		850		962		0.8835758836

		22.5		340		34		336				32		98		22		112		490		602		0.8139534884								32		98		22		98		771		869		0.8872266974

		23		416		34.5		327

		23.5		551		35		378

		24		631		35.5		462

		24.5		757		36		603

						36.5		705

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D39		D40		Pulse 39		Pulse 40		Pulse sum		h		ideal				400 V		Local coord.		D39		D40		Pulse 39		Pulse 40		Pulse sum		h

				39		38.5		120				41		25		95		537		98		635		0.1543307087		0		0				41		25		95		818		0		818		0

				40		50.5						42		35		85		598		159		757		0.2100396301		120		1				42		35		85		850		0		850		0

												43		45		75		495		159		654		0.2431192661								43		45		75		780		60		840		0.0714285714

												44		55		65		378		290		668		0.4341317365								44		55		65		663		397		1060		0.3745283019

		#39		Amplitude		#40		Amplitude				45		65		55		252		411		663		0.6199095023								45		65		55		360		673		1033		0.651500484

		37.5		446		49.5		474				46		75		45		168		547		715		0.765034965								46		75		45		126		892		1018		0.8762278978

		38.5		265		50.5		339				47		85		35		173		659		832		0.7920673077								47		85		35		103		897		1000		0.897

		39		274		51		367				48		95		25		135		603		738		0.8170731707								48		95		25		89		836		925		0.9037837838

		39.5		395		51.5		442				49		105		15		84		406		490		0.8285714286								49		105		15		84		682		766		0.8903394256

		40.5		553		52.5		679				50		115		5		70		276		346		0.7976878613								50		115		5		65		462		527		0.8766603416

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D64		D65		Pulse 64		Pulse 65		Pulse sum		h		ideal				400 V		Local coord.		D64		D65		Pulse 64		Pulse 65		Pulse sum		h

				64		38		118				39.5		15		103		509		84		593		0.1416526138		0		0				39.5		15		103		761		0		761		0

				65		49.8						40.5		25		93		738		135		873		0.1546391753		120		1				40.5		25		93		836		0		836		0

												41.5		35		83		715		135		850		0.1588235294								41.5		35		83		888		0		888		0

												42.5		45		73		593		206		799		0.2578222778								42.5		45		73		803		177		980		0.5581632653

		#64		Amplitude		#65		Amplitude				43.5		55		63		472		383		855		0.4479532164								43.5		55		63		654		547		1201		0.6378018318

		37		458		48.5		537				44.5		65		53		313		530		843		0.6287069988								44.5		65		53		318		766		1084		0.7066420664

		38		322		49.5		322				45.5		75		43		219		696		915		0.7606557377								45.5		75		43		126		902		1028		0.8774319066

		38.5		472		50		332				46.5		85		33		224		748		972		0.7695473251								46.5		85		33		131		916		1047		0.8748806113

		39		579		50.5		411				47.5		95		23		135		589		724		0.8135359116								47.5		95		23		98		813		911		0.8924259056

		40		813		51.5		705				48		100		18		121		514		635		0.8094488189								48		100		18		107		733		840		0.8726190476

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D85		D86		Pulse 85		Pulse 86		Pulse sum		h		ideal				400 V		Local coord.		D85		D86		Pulse 85		Pulse 86		Pulse sum		h		h-1

				85		46.5		120				47		5		115		472		89		561		0.8413547237		0		0				47		5		115		551		65		616		0.1055194805		0.8944805195

				86		58.5						48		15		105		705		89		794		0.8879093199		120		1				48		15		105		813		51		864		0.0590277778		0.9409722222

												49		25		95		864		117		981		0.880733945								49		25		95		920		0		920		0		1

												50		35		85		874		187		1061		0.8237511781								50		35		85		911		70		981		0.0713557594		0.9286442406

		#85		Amplitude		#86		Amplitude				51		45		75		799		201		1000		0.799								51		45		75		897		107		1004		0.1065737052		0.8934262948

		45		654		57		663				52		55		65		645		486		1131		0.5702917772								52		55		65		780		589		1369		0.4302410519		0.5697589481

		46		462		58		504				53		65		55		430		705		1135		0.3788546256								53		65		55		453		794		1247		0.6367281476		0.3632718524

		46.5		486		58.5		477				54		75		45		248		813		1061		0.2337417531								54		75		45		126		874		1000		0.874		0.126

		47		598		59		598				55		85		35		266		860		1126		0.2362344583								55		85		35		131		883		1014		0.8708086785		0.1291913215

		48		775		60		813				56		95		25		149		771		920		0.1619565217								56		95		25		107		845		952		0.887605042		0.112394958

												57		105		15		112		654		766		0.1462140992								57		105		15		93		705		798		0.8834586466		0.1165413534

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D85		D86		Pulse 85		Pulse 86		Pulse sum		h		ideal				Local coord.		D85		D86		Pulse 85		Pulse 86		Pulse sum		h

				120		25.5		120				27.5		20		100		472		89		561		0.1586452763		0		0		27.5		20		100		845		210		1055		0.1990521327

				121		37.5						28.5		30		90		705		89		794		0.1120906801		120		1		28.5		30		90		892		173		1065		0.1624413146

												29.5		40		80		864		117		981		0.119266055						29.5		40		80		916		177		1093		0.1619396157

												30.5		50		70		874		187		1061		0.1762488219						30.5		50		70		850		570		1420		0.4014084507

		#120		Amplitude		#121		Amplitude				31.5		60		60		799		201		1000		0.201						31.5		60		60		640		827		1467		0.5637355147

		24.5		719		36		794				32.5		70		50		645		486		1131		0.4297082228						32.5		70		50		187		900		1087		0.8279668813

		25.5		369		37		519				33.5		80		40		430		705		1135		0.6211453744						33.5		80		40		112		920		1032		0.8914728682

		26		561		37.5		481				34.5		90		30		248		813		1061		0.7662582469						34.5		90		30		177		911		1088		0.8373161765

		26.5		794		38		757				35.5		100		20		266		860		1126		0.7637655417						35.5		100		20		154		855		1009		0.8473736373

		27.5		902		39		888				36.5		110		10		635		771		1406		0.5483641536						36.5		110		10		168		673		841		0.8002378121

				Strip numbers																																																														Normalised

		Bias		24		25		total		39		40		total		64		65		total		84		85		86		87		total		total		64		65		total		99		100		total		73		74		total		120		121		total										1		2		3		4		5		6		7

		50		173		56		229		32		140		172		79		187		266		51		191		149		42		433		340		139		354		493		163		189		352		200		88		288		453		173		626										0.257751938		0.2470978441		0.2458423717		0.3912698413		0.2693190513		0.24		0.5424610052

		100		257		61		318		70		257		327		159		378		537		70		330		257		56		713		587		232		604		836		316		373		689		421		201		622		719		383		1102										0.5203488372		0.4262023217		0.424439624		0.6634920635		0.5271614384		0.5183333333		0.9549393414

		150		402		93		495		117		411		528		210		532		742		100		514		402		75		1091		916		378		796		1174		426		516		942		593		294		887		934		229		1163										0.7189922481		0.6666666667		0.6623282719		0.9317460317		0.7207345065		0.7391666667		1.0077989601

		200		589		98		687		131		589		720		219		719		938		75		659		467		47		1248		1126		378		889		1267		479		612		1091		779		255		1034		953		223		1176										0.9089147287		0.7744610282		0.8141720897		1.0055555556		0.8347360367		0.8616666667		1.0190641248

		250		748		0		748		112		743		855		191		818		1009		60		743		519		32		1354		1262		308		941		1249		506		699		1205		950		245		1195		948		238		1186										0.9777131783		0.8606965174		0.9125090383		0.9912698413		0.921958684		0.9958333333		1.027729636

		300		775		0		775		98		813		911		159		892		1051		51		771		551				1373		1322		250		994		1244		516		742		1258		1000		167		1167		948		215		1163										1.0184108527		0.9137645108		0.9558929863		0.9873015873		0.9625095639		0.9725		1.0077989601

		350		803		0		803		89		841		930		145		888		1033		37		743		547				1327		1290		221		1017		1238		512		742		1254		1053		167		1220		939		206		1145										1.0009689922		0.9071310116		0.9327548807		0.9825396825		0.9594491201		1.0166666667		0.9922010399

		400		841		0		841		89		892		981		140		888		1028		32		743		542				1317		1285		221		1029		1250		516		745		1261		1063		176		1239		950		238		1188										0.996124031		0.8988391376		0.9291395517		0.9920634921		0.9648048967		1.0325		1.0294627383

		500		860		0		860		84		850		934		154		878		1032		47		780		603				1430		1383		220		1040		1260		522		785		1307		1063		137		1200		944		210		1154										1		1		1		1		1		1		1

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D64		D65		Pulse 64		Pulse 65		Pulse sum		h		ideal				Local coord.		D64		D65		Pulse 64		Pulse 65		Pulse sum		h

				64		41		120				43		20		100		901		198		1099		0.1801637853		0		0		43		20		100		994		157		1151		0.1364031277

				65		53						44		30		90		930		343		1273		0.2694422624		120		1		44		30		90		1000		190		1190		0.1596638655

												45		40		80		901		337		1238		0.2722132472						45		40		80		970		180		1150		0.1565217391

												46		50		70		773		529		1302		0.4062980031						46		50		70		901		575		1476		0.3895663957

		#64		Amplitude		#65		Amplitude				47		60		60		616		755		1371		0.5506929249						47		60		60		762		883		1645		0.5367781155

		39		889		51		906				48		70		50		424		860		1284		0.6697819315						48		70		50		256		947		1203		0.78719867

		40		703		52		726				49		80		40		420		959		1379		0.6954314721						49		80		40		186		988		1174		0.8415672913

		40.5		453		52.5		465				50		90		30		325		912		1237		0.7372675829						50		90		30		192		994		1186		0.8381112985

		41		395		53		424				51		100		20		227		831		1058		0.7854442344						51		100		20		180		924		1104		0.8369565217

		42		837		54		813

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D99		D100		Pulse 99		Pulse 100		Pulse sum		h		ideal				Local coord.		D99		D100		Pulse 99		Pulse 100		Pulse sum		h

				99		4		120				6		20		100		872		86		958		0.0897703549		0		0		6		20		100		908		0		908		0

				100		16						7		30		90		902		140		1042		0.1343570058		120		1		7		30		90		942		23		965		0.0238341969

												8		40		80		855		133		988		0.1346153846						8		40		80		918		43		961		0.0447450572

												9		50		70		722		100		822		0.1216545012						9		50		70		815		403		1218		0.3308702791

		#99		Amplitude		#100		Amplitude				10		60		60		532		652		1184		0.5506756757						10		60		60		549		745		1294		0.5757341577

		2		832		14		772				11		70		50		270		785		1055		0.7440758294						11		70		50		130		892		1022		0.8727984344

		3		691		15		562				12		80		40		226		888		1114		0.7971274686						12		80		40		86		945		1031		0.916585839

		3.5		452		15.5		393				13		90		30		206		878		1084		0.8099630996						13		90		30		93		905		998		0.9068136273

		4		393		16		432				14		100		20		180		749		929		0.8062432723						14		100		20		165		815		980		0.8316326531

		5		729		17		749

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D73		D74		Pulse 73		Pulse 74		Pulse sum		h		ideal				Local coord.		D73		D74		Pulse 73		Pulse 74		Pulse sum		h

				73		5.5		120				6		5		115		384		384		768		0.5		0		0		6		5		115		503		503		1006		0.5

				74		17.5						7		15		105		648		113		761		0.1484888305		120		1		7		15		105		761		25		786		0.0318066158

												8		25		95		799		138		937		0.1472785486						8		25		95		899		22		921		0.0238870793

												9		35		85		818		157		975		0.161025641						9		35		85		950		16		966		0.016563147

		#73		Amplitude		#74		Amplitude				10		45		75		657		223		880		0.2534090909						10		45		75		872		111		983		0.1129196338

		3.5		767		15.5		755				11		55		65		555		456		1011		0.4510385757						11		55		65		761		531		1292		0.4109907121

		4.5		569		16.5		549				12		65		55		353		603		956		0.6307531381						12		65		55		317		797		1114		0.7154398564

		5		368		17		362				13		75		45		270		837		1107		0.756097561						13		75		45		108		1093		1201		0.9100749376

		5.5		299		17.5		396				14		85		35		309		936		1245		0.7518072289						14		85		35		108		1112		1220		0.9114754098

		6.5		613		18		679				15		95		25		230		916		1146		0.7993019197						15		95		25		83		1044		1127		0.92635315

		Strip #		10		11		Total		30		31		Total		50		51		Total		70		71		Total		90		91		Total		110		111		Total		Normalised		10		30		50		70		90		110

		50		67		15		82		38		8		46		36		15		51		50		10		60		74		18		92		616		180		796		50		0.1876430206		0.1916666667		0.2015810277		0.1754385965		0.2105263158		0.6683459278

		100		119		37		156		66		11		77		60		27		87		79		26		105		126		33		159		831		331		1162		100		0.356979405		0.3208333333		0.3438735178		0.3070175439		0.3638443936		0.9756507137

		150		158		43		201		86		23		109		85		27		112		116		34		150		208		54		262		906		285		1191		150		0.4599542334		0.4541666667		0.442687747		0.4385964912		0.5995423341		1

		200		262		34		296		138		18		156		136		27		163		186		30		216		324		0		324		936		198		1134		200		0.6773455378		0.65		0.6442687747		0.6315789474		0.7414187643		0.9521410579

		250		353		0		353		186		0		186		186		0		186		255		0		255		371		0		371		941		157		1098		250		0.8077803204		0.775		0.7351778656		0.7456140351		0.8489702517		0.9219143577

		300		398		0		398		213		0		213		215		0		215		282		0		282		391		0		391		941		168		1109		300		0.9107551487		0.8875		0.8498023715		0.8245614035		0.8947368421		0.9311502939

		350		429		0		429		231		0		231		225		0		225		295		0		295		417		0		417		953		128		1081		350		0.9816933638		0.9625		0.8893280632		0.8625730994		0.9542334096		0.9076406381

		400		429		0		429		234		0		234		245		0		245		312		0		312		429		0		429		970		163		1133		400		0.9816933638		0.975		0.9683794466		0.9122807018		0.9816933638		0.9513014274

		500		437		0		437		240		0		240		253		0		253		342		0		342		437		0		437		965		157		1122		500		1		1		1		1		1		0.9420654912

		Norm. factor						409.2						220.8						224.8						297.2						409						1108.6

																																																																																																		Routing/Total

																																																																														Strip 120-121				Pos. 39						Strip 120-121				Pos. 41.5

		Strip #		10		11		Total		30		31		Total		50		51		Total		70		71		Total		90		91		Total		110		111		Total		120		int 1		121		int 2		Total						Normalised		10		30		50		70		90		110		120										120		int 1		121		int 2				120		int 1		121		int 2				Rout. 1		Tot.1		Rou. 2		Tot. 2		Rout. 3		Tot. 3		Ratio 1		Ratio 2		Ratio 3

		50		41		85		126		24		58		82		0		80		80		15		76		91														38		21		104		-10		142						50		0.2016		0.2		0.1500938086		0.1529411765		0		0		0.2610294118								50		52		10		24		-10				28		20		70		-10				21		142		10		86		20		118		0.1478873239		0.1162790698		0.1694915254

		100		63		140		203		22		84		106		31		135		166		38		142		180														62		34		177		-21		239						100		0.3248		0.2585365854		0.3114446529		0.3025210084		0		0		0.4393382353								100		97		24		48		-17				66		38		135		-10				34		239		24		169		38		239		0.1422594142		0.1420118343		0.1589958159

		150		92		210		302		38		133		171		52		197		249		48		211		259														55		24		385		-31		440						150		0.4832		0.4170731707		0.4671669794		0.4352941176		0		0		0.8088235294								150		222		17		52		-17				66		38		284		-20				24		440		17		291		38		388		0.0545454545		0.058419244		0.0979381443

		200		81		329		410		39		207		246		45		291		336		48		325		373														48		15		454		-24		502						200		0.656		0.6		0.6303939962		0.6268907563		0		0		0.9227941176								200		287		0		55		0				55		21		395		-30				15		502		0		342		21		471		0.0298804781		0		0.0445859873

		250		59		443		502		32		300		332		34		398		432		24		429		453														45		0		468		-34		513						250		0.8032		0.8097560976		0.8105065666		0.7613445378		0		0		0.9430147059								250		308		-24		55		0				42		0		436		-45				0		513		-24		339		0		478		0		-0.0707964602		0

		300		59		510		569		30		321		351		35		433		468		28		495		523														34		-10		478		-34		512						300		0.9104		0.856097561		0.8780487805		0.8789915966		0		0		0.9411764706								300		308		-17		62		0				55		0		454		-42				-10		512		-17		353		0		509		-0.01953125		-0.0481586402		0

		350		50		530		580		23		342		365		31		454		485		30		516		546														34		-17		495		-34		529						350		0.928		0.8902439024		0.9099437148		0.9176470588		0		0		0.9724264706								350		315		-25		62		0				48		0		478		-45				-17		529		-25		352		0		526		-0.0321361059		-0.0710227273		0

		400		45		561		606		10		370		380		24		468		492		34		513		547														34		-17		502		-34		536						400		0.9696		0.9268292683		0.9230769231		0.9193277311		0		0		0.9852941176								400		315		-28		55		0				42		0		485		-38				-17		536		-28		342		0		527		-0.0317164179		-0.081871345		0

		500		45		580		625		10		400		410		10		523		533		34		561		595						1						1		34		-17		510		-34		544						500		1		1		1		1		1		1		1								500		340		-31		55		0				52		0		520		-38				-17		544		-31		364		0		572		-0.03125		-0.0851648352		0

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h		ideal

				10		24		110				26		20		90		239		62		301		0.2059800664		0		0				26		20		90		409		59		468		0.1260683761		0		0

				11		35						27		30		80		350		76		426		0.1784037559		110		1				27		30		80		582		0		582		0		110		1

												28		40		70		298		104		402		0.2587064677								28		40		70		520		52		572		0.0909090909

												29		50		60		149		83		232		0.3577586207								29		50		60		270		76		346		0.2196531792

		#10		Amplitude		#11		Amplitude				30		60		50		90		152		242		0.6280991736								30		60		50		100		281		381		0.7375328084

		25.5		491		37		343				31		70		40		118		291		409		0.7114914425								31		70		40		80		544		624		0.8717948718

		26		376		38		0				32		80		30		94		357		451		0.7915742794								32		80		30		55		564		619		0.9111470113

		26.5		173		39		0				33		90		20		80		277		357		0.7759103641								33		90		20		76		447		523		0.8546845124

		27.5		0		40		0

		28		0		41		406						25		0.1354679803																						25		0

		28.5		0										35		0.2190721649																						35		0

		29.5		108.6										45		0.3144329897																						45		0

		30		310										48		0.3333333333																						48		0.1697247706

		30.5		472										65		0.6071428571																						65		0.7439759036

														75		0.7055702918																						75		0.8892794376

														85		0.7814726841																						85		1

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h		ideal				400V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h

				30		22		110				24		20		90		114		61		175		0.3485714286		0		0				24		20		90		195		58		253		0.2292490119

				31		33						25		30		80		168		47		215		0.2186046512		110		1				25		30		80		309		0		309		0

												26		40		70		160		75		235		0.3191489362								26		40		70		328		0		328		0

												27		50		60		95		73		168		0.4345238095								27		50		60		161		58		219		0.2648401826

		#30		Amplitude		#31		Amplitude				28		60		50		39		65		104		0.625								28		60		50		56		91		147		0.619047619

		18.5		210		31		280				29		70		40		58		147		205		0.7170731707								29		70		40		51		303		354		0.8559322034

		19.5		163		32		67				30		80		30		52		203		255		0.7960784314								30		80		30		5		372		377		0.9867374005

		20.5		91		33		47				31		90		20		42		198		240		0.825								31		90		20		10		367		377		0.9734748011

		21.5		37		34		49

		22.5		39		35		212

		23.5		137

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h

				50		49		110				51		20		90		253		45		298		0.1510067114		0		0				51		20		90		429		0		429		0

				51		60						52		30		80		225		55		280		0.1964285714		110		1				52		30		80		423		0		423		0

												53		40		70		177		86		263		0.3269961977								53		40		70		385		52		437		0.118993135

												54		50		60		0		0		0		0								54		50		60		0		0		0		0

		#50		Amplitude		#51		Amplitude				55		60		50		62		128		190		0.6736842105								55		60		50		69		267		336		0.7946428571

		46.5		320		57.5		385				56		70		40		83		232		315		0.7365079365								56		70		40		42		461		503		0.916500994

		47.5		42		58.5		50				57		80		30		52		277		329		0.8419452888								57		80		30		28		461		489		0.9427402863

		48.5		0		59.5		0				58		90		20		55		270		325		0.8307692308								58		90		20		24		468		492		0.9512195122

		49.5		0		60.5		30

		50.5		229		61.5		104						20										0.1510067114										20										0

						62.5		385						30										0.1964285714										30										0

														40										0.3269961977										40										0.118993135

														60										0.6736842105										60										0.7946428571

														70										0.7365079365										70										0.916500994

														80										0.8419452888										80										0.9427402863

														90										0.8307692308										90										0.9512195122

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h

				70		38		115				40		20		95		263		55		318		0.1729559748		0		0				40		20		95		395		59		454		0.1299559471

				71		49.5						41		30		85		374		42		416		0.1009615385		110		1				41		30		85		547		0		547		0

												42		40		75		315		76		391		0.1943734015								42		40		75		550		0		550		0

												43		50		65		121		55		176		0.3125								43		50		65		204		42		246		0.1707317073

		#70		Amplitude		#71		Amplitude				44		60		55		48		50		98		0.5102040816								44		60		55		59		83		142		0.5845070423

		36		429		47.5		190				45		70		45		114		253		367		0.689373297								45		70		45		66		499		565		0.8831858407

		37		52		48.5		31				46		80		35		76		333		409		0.8141809291								46		80		35		38		561		599		0.9365609349

		38		0		49.5		0				47		90		25		66		381		447		0.8523489933								47		90		25		34		513		547		0.9378427788

		39		38		50.5		76

		40		412		51.5		423

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h

				120		34		120				36		20		100		346		121		467		0.2591006424		0		0				36		20		100		377		135		512		0.263671875

				121		46						37		30		90		616		59		675		0.0874074074		110		1				37		30		90		682		48		730		0.0657534247

												38		40		80		616		62		678		0.0914454277								38		40		80		665		52		717		0.0725244073

												39		50		70		308		55		363		0.1515151515								39		50		70		385		66		451		0.1463414634

		#120		Amplitude		#121		Amplitude				40		60		60		59		59		118		0.5								40		60		60		66		66		132		0.5

		32.5		391		44		513				41		70		50		90		360		450		0.8								41		70		50		86		450		536		0.8395522388

		33.5		76		45		86				42		80		40		59		450		509		0.884086444								42		80		40		42		520		562		0.9252669039

		34.5		59		46		69				43		90		30		38		468		506		0.9249011858								43		90		30		28		523		551		0.9491833031

		35.5		142		47		104

		36.5		606		48		475

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h

				90		35		117.5				38		158		-38		329		38		367		0.1035422343		0		0				38		158		-38		436		0		436		0

				91		46.75						39		168		-48		281		69		350		0.1971428571		117.5		1				39		168		-48		433		0		433		0

												40		178		-58		142		83		225		0.3688888889								40		178		-58		235		76		311		0.2443729904

												41		188		-68		52		86		138		0.6231884058								41		188		-68		38		136		174		0.7816091954

		#70		Ampitude		#71		Amplitude				42		198		-78		94		274		368		0.7445652174								42		198		-78		48		485		533		0.9099437148

												43		208		-88		48		385		433		0.8891454965								43		208		-88		0		526		526		1

												44		218		-98		38		402		440		0.9136363636								44		218		-98		0		523		523		1

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h

				90		35		117.5				38		30		87.5		329		38		367		0.1035422343		0		0				38		30		87.5		436		0		436		0

				91		46.75						39		40		77.5		281		69		350		0.1971428571		117.5		1				39		40		77.5		433		0		433		0

												40		50		67.5		142		83		225		0.3688888889								40		50		67.5		235		76		311		0.2443729904

												41		60		57.5		52		86		138		0.6231884058								41		60		57.5		38		136		174		0.7816091954

		#90		Ampitude		#91		Amplitude				42		70		47.5		94		274		368		0.7445652174								42		70		47.5		48		485		533		0.9099437148

		33		346		45		263				43		80		37.5		48		385		433		0.8891454965								43		80		37.5		0		526		526		1

		33.5		160		45.5		94				44		90		27.5		38		402		440		0.9136363636								44		90		27.5		0		523		523		1

		34		55		46		42

		34.5		10		46.5		28

		35		10		47		24

		35.5		15		47.5		59

		36		59		48		138

		36.5		184		49		523

		37		364

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h		ideal				200 V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h		400 V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h

				100		21		115				24		30		85		276		71		347		0.204610951		0		0				24		30		85		405		0		405		0				24		30		85		509		0		509		0

				101		32.5						25		40		75		233		104		337		0.3086053412		115		1				25		40		75		388		74		462		0.1601731602				25		40		75		516		0		516		0

												26		50		65		91		57		148		0.3851351351								26		50		65		142		54		196		0.2755102041				26		50		65		219		54		273		0.1978021978

												27		60		55		51		67		118		0.5677966102								27		60		55		64		101		165		0.6121212121				27		60		55		67		148		215		0.688372093

		#100		Ampitude		#101		Amplitude				28		70		45		121		202		323		0.6253869969								28		70		45		111		317		428		0.7406542056				28		70		45		61		476		537		0.886405959

		18.5		408		31		196				29		80		35		91		250		341		0.7331378299								29		80		35		71		385		456		0.8442982456				29		80		35		37		496		533		0.9305816135

		19.5		108		32		50				30		90		25		74		290		364		0.7967032967								30		90		25		57		425		482		0.8817427386				30		90		25		34		519		553		0.938517179

		20.5		40		32.5		30

		21.5		35		33		37

		22.5		105		33.5		50

		23.5		445		34		101

						35		452

																12		23		34		-10		-18		-23		-27		-27		-27

																																				New												Other position

		Strip #		70		71		Total		90		91		Total		99		100		101		102		Total		Total		Normalised		70		90		100		120		Int 2		121		Int 3		122		Total		119		120		Int 2		121		Total

		50		31		78		109		31		83		114		13		30		101		13		157		131				0.2060491493		0.2054054054		0.2364620939		45		27		100		25		32		145		27		91		18		41		132

		100		53		125		178		45		142		187		20		67		182		33		302		249				0.3364839319		0.3369369369		0.4494584838		68		41		178		10		30		246		30		168		35		68		236

		150		58		180		238		66		232		298		23		74		290		45		432		364				0.449905482		0.5369369369		0.6570397112		63		50		342		0		30		405		35		314		35		54		368

		200		73		290		363		48		374		422		17		57		425		15		514		482				0.6862003781		0.7603603604		0.8700361011		50		27		446		-10		30		496		27		405		0		41		446

		250		51		388		439		31		478		509		0		51		472		5		528		523				0.8298676749		0.9171171171		0.9440433213		41		15		490		-18		23		531		15		433		-18		32		465

		300		38		462		500		17		501		518		0		40		500		0		540		540				0.9451795841		0.9333333333		0.9747292419		36		0		501		-27		18		537		10		446		-20		41		487

		350		33		485		518		20		535		555		0		34		513		0		547		547				0.9792060491		1		0.9873646209		32		0		510		-23		18		542		10		460		-20		36		496

		400		31		498		529		20		535		555		0		34		520		0		554		554				1		1		1		36		0		519		-23		18		555		10		474		-23		36		510

		500		30		540		570		0		578		578		0		34		540		0		574		574				1.0775047259		1.0414414414		1.036101083		32		0		533		-23		18		565		10		483		-23		36		519

		Futher Measurements as a function of the r-position

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.						#119		Int 1		#120				#121		Int 3		#122		Sum		h		Ideal				200 V		Local coord.						#119		Int 1		#120				#121		Int 3		#122		Sum		h		400 V		Local coord.						#119		Int 1		#120				#121		Int 3		#122		Sum		h

				120		19.8		61				21		12		49		47.12		28.88		171.76		28.88		80.56		28.88		41.8		252.32		0.3192771084		0		0				21		12		49		57		36.48		262.2		47.12		117.04		31.16		44.08		379.24		0.3086172345				21		12		49		28.88		0		428.64		-31.16		119.32		0		31.16		547.96		0.2177531207

				121		25.9						22		22		39		44		27		140		27		68		10		31		208		0.3269230769		61		1				22		22		39		62		38		215		51		106		27		31		321		0.3302180685				22		22		39		48		0		431		-17		126		0		10		557		0.2262118492

												23		32		29		0		0		24		0		24		0		0		48		0.5								23		32		29		0		0		34		0		34		0		0		68		0.5				23		32		29		0		0		58		0		65		0		0		123		0.5284552846

												24		42		19		34		15		105		41		212		24		48		317		0.6687697161								24		42		19		51		27		157		85		335		34		62		492		0.6808943089				24		42		19		31		0		130		21		619		-24		34		749		0.826435247

		#121		Ampitude		#121		Amplitude				25		52		9		38		17		89		31		205		12		41		294		0.6972789116								25		52		9		51		23		128		57		341		15		44		469		0.7270788913				25		52		9		51		0		131		10		560		-30		27		691		0.8104196816

		19		398		25		351

		19.5		58		25.5		104				Estimated strip width:								Routing line		#120		#121

		20		72		26		47				16 µm								25.6		447		85		0.9933333333		0.1888888889		532		0.7093333333

		20.5		212		26.5		81												26		242		68		0.5377777778		0.1511111111		310		0.4133333333

		21		489		27		368												26.2		103		31		0.2288888889		0.0688888889		134		0.1786666667

																				26.4		65		31		0.1444444444		0.0688888889		96		0.128

																				26.6		58		31		0.1288888889		0.0688888889		89		0.1186666667

																				26.8		42		40		0.0933333333		0.0888888889		82		0.1093333333

																				27		42		55		0.0933333333		0.1222222222		97		0.1293333333

																				27.2		54		154		0.12		0.3422222222		208		0.2773333333

																				27.4		71		248		0.1577777778		0.5511111111		319		0.4253333333

																				27.6		81		310		0.18		0.6888888889		391		0.5213333333

																				28		92		448		0.2044444444		0.9955555556		540		0.72

		Futher Measurements as a function of the r-position								Far end

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.						#119		Int 1		#120				#121		Int 3		#122		Sum		h		Ideal				200 V		Local coord.						#119		Int 1		#120				#121		Int 3		#122		Sum		h		400 V		Local coord.						#119		Int 1		#120				#121		Int 3		#122		Sum		h

				120		23		78				25		20		58		40		0		184		23		61		0		15		245		0.2489795918		0		0				25		20		58		33		0		255		38		76		0		18		331		0.2296072508				25		20		58		54		0		523		-10		54		0		0		577		0.0935875217

				121		30.8						26		30		48		31		0		89		24		51		0		24		140		0.3642857143		78		1				26		30		48		31		0		116		31		65		0		24		181		0.3591160221				26		30		48		31		0		263		0		78		0		0		341		0.2287390029

												27		40		38		0		0		0		0		0		0		0		0		0								27		40		38		0		0		0		0		0		0		0		0		0				27		40		38		0		0		0		0		0		0		0		0		0

												28		50		28		20		0		68		41		157		0		31		225		0.6977777778								28		50		28		0		0		99		61		222		0		34		321		0.691588785				28		50		28		0		0		78		15		492		-31		24		570		0.8631578947

		#121		Ampitude		#121		Amplitude				29		60		18		0		0		61		27		184		0		31		245		0.7510204082								29		60		18		0		0		78		48		276		0		37		354		0.7796610169				29		60		18		0		0		44		0		540		-31		13		584		0.9246575342

		21		728		29		755

		22		230		30		225				Estimated strip width:

		22.5		134		30.5		101				20 µm

		23		107		31		96

		23.5		150		31.5		161

		24		557		32		551

		25		760

										1 cm plus

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.						#119		Int 1		#120				#121		Int 3		#122		Sum		h		Ideal				200 V		Local coord.						#119		Int 1		#120				#121		Int 3		#122		Sum		h		400 V		Local coord.						#119		Int 1		#120				#121		Int 3		#122		Sum		h

				120		22.7		95				25		23		72		44		0		222		34		68		0		17		290		0.2344827586		0		0				25		23		72		41		0		366		31		68		0		24		434		0.1566820276				25		23		72		27		0		557		-24		48		0		0		605		0.079338843

				121		32.2						26		33		62		41		0		208		51		103		0		24		311		0.3311897106		95		1				26		33		62		31		0		311		68		112		0		34		423		0.2647754137				26		33		62		17		0		543		-20		78		0		0		621		0.1256038647

												27		43		52		0		0		0		0		0		0		0		0		0								27		43		52		0		0		58		0		27		0		0		85		0.3176470588				27		43		52		0		0		103		0		44		0		0		147		0.2993197279

												28		53		42		0		0		44		31		78		0		0		122		0.6393442623								28		53		42		0		0		58		24		120		0		0		178		0.6741573034				28		53		42		0		0		61		0		236		0		0		297		0.7946127946

		#121		Ampitude		#121		Amplitude				29		63		32		24		0		82		51		195		0		17		277		0.7039711191								29		63		32		27		0		112		85		328		0		34		440		0.7454545455				29		63		32		0		0		65		0		574		-37		15		639		0.8982785603

		21		464		30		523				30		73		22		0		0		71		44		242		0		31		313		0.7731629393								30		73		22		0		0		78		58		383		0		37		461		0.830802603				30		73		22		0		0		34		0		588		-40		13		622		0.9453376206

		22		58		31		171				Estimated strip width:

		22.5		37		32		41				25 µm

		23		51		32.5		51

		23.5		58		33		65

		24		178		34		499

		25		496

										1 cm plus

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.						#119		Int 1		#120				#121		Int 3		#122		Sum		h		Ideal				200 V		Local coord.						#119		Int 1		#120				#121		Int 3		#122		Sum		h		400 V		Local coord.						#119		Int 1		#120				#121		Int 3		#122		Sum		h

				120		22.7		108				25		23		85		34		0		254		29		45		0		0		299		0.1505016722		0		0				25		23		85		22		0		388		0		34		0		0		422		0.0805687204				25		23		85		11		0		474		-29		26		0		0		500		0.052

				121		33.5						26		33		75		26		0		228		41		63		0		10		291		0.2164948454		108		1				26		33		75		22		0		374		0		40		0		0		414		0.0966183575				26		33		75		0		0		474		-25		30		0		0		504		0.0595238095

												27		43		65		34		0		190		78		101		0		26		291		0.3470790378								27		43		65		26		0		317		37		82		0		12		399		0.2055137845				27		43		65		0		0		456		-22		71		0		0		527		0.1347248577

												29		63		45		12		0		85		60		157		0		29		242		0.6487603306								29		63		45		0		0		93		67		269		0		34		362		0.7430939227				29		63		45		0		0		71		18		422		-22		18		493		0.8559837728

		#121		Ampitude		#121		Amplitude				30		73		35		0		0		63		56		209		0		0		272		0.7683823529								30		73		35		0		0		48		34		366		-18		18		414		0.884057971				30		73		35		0		0		26		0		508		-26		0		534		0.9513108614

		20		470		31		508				31		83		25		0		0		50		37		247		0		26		297		0.8316498316								31		83		25		0		0		34		34		490		-30		0		524		0.9351145038				31		83		25		0		0		10		0		490		-30		0		500		0.98

		21		300		32		247

		22		40		33		41

		23		0		33.5		29				Estimated strip width:

		23.5		0		34		41				30 µm

		24		85		35		134

		25		430		36		500

		New 0 position

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.						#119		Int 1		#120				#121		Int 3		#122		Sum		h		Ideal				200 V		Local coord.						#119		Int 1		#120				#121		Int 3		#122		Sum		h		400 V		Local coord.						#119		Int 1		#120				#121		Int 3		#122		Sum		h

				120		22.2		118				25		28		90		32		0		333		23		50		0		0		383		0.1305483029		0		0				25		28		90		13		0		396		-13		35		0		0		431		0.0812064965				25		28		90		10		0		469		-23		32		0		0		501		0.0638722555

				121		34						26		38		80		32		0		314		30		54		0		0		368		0.1467391304		118		1				26		38		80		23		0		424		-13		36		0		0		460		0.0782608696				26		38		80		0		0		469		-27		30		0		0		499		0.0601202405

												27		48		70		27		0		259		54		86		0		13		345		0.2492753623								27		48		70		0		0		387		23		68		0		0		455		0.1494505495				27		48		70		0		0		492		-23		63		0		0		555		0.1135135135

												28		58		60		0		0		41		0		27		0		0		68		0.3970588235								28		58		60		0		0		59		0		41		0		0		100		0.41				28		58		60		0		0		77		0		45		0		0		122		0.368852459

		#121		Ampitude		#121		Amplitude				29		68		50		18		0		68		41		132		0		32		200		0.66								29		68		50		0		0		59		32		178		0		0		237		0.7510548523				29		68		50		0		0		73		18		273		0		32		346		0.789017341

		20		483		32		451				30		78		40		18		0		86		68		264		0		27		350		0.7542857143								30		78		40		0		0		50		10		506		-18		0		556		0.9100719424				30		78		40		0		0		50		10		506		-18		0		556		0.9100719424

		21		86		33		54				31		88		30		0				63		50		342		0		32		405		0.8444444444								31		88		30		0		0		41		18		428		-23		18		469		0.9125799574				31		88		30		0		0		36		0		496		-23		18		532		0.9323308271

		22		45		34		32

		23		23		35		45				Estimated strip width:

		24		154		36		387				35 µm

		25		470



Irradiated section n. 6



Irr. (7)

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0



Strp #99

Strip #100

Strip #101

Strip #102

Bias [V]

Collected charge [Arb. unit]

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



Non irr. (2)

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0



0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



Various final Pic.

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0



0

0

0

0

0

0

0

0

0

0

0



Final pic. eta

		Bias 250 V		Strip #		Centre		Distance		50 V		Local coord.						Pulse Left		Int		Pulse Right		Pulse sum		h		ideal				100 V		Pulse Left		Int		Pulse Right		Pulse sum		h		300 V		Pulse Left		Int		Pulse Right		Pulse sum		h				Volt scan		#6		Int.		#7		Total		Normalised				Volt scan		#59		#60		#61		Total		Normalised				Volt scan		#114		Int.		#115		Int.		#116		Total		Normalised		Rout/total		Volt #6		#6		Volt #115		#115

				6		37		115				40		30		85		104		18		40		144		0.2777777778		0		0				246				45		291		0.1546391753				333		-23		27		360		0.075				20		23		5		54		77		0.2086720867				20		32		141		54		227		0.576142132				10		63		4		159		23		32		222		0.5536159601				20		0.0649350649		10		0.1036036036

				7		48.5						41		40		75		86		32		54		140		0.3857142857		115		1				214		36		63		277		0.2274368231				323		-23		36		359		0.1002785515				40		32		18		100		132		0.3577235772				40		41		264		54		359		0.9111675127				20		80				246		23		36		326		0.812967581				40		0.1363636364		20		0.0705521472

												42		50		65		45		9		32		77		0.4155844156								128		36		63		191		0.3298429319				209		0		68		277		0.2454873646				50		36		23		123		159						50		36		287		50		373		0.9467005076				40		82				314		23		41		396		0.9875311721				50		0.1446540881		40		0.0580808081

												43.5		65		50		36		18		54		90		0.6								50		36		118		168		0.7023809524				63		13		246		309		0.7961165049				60		45		27		145		190		0.5149051491				60		36		298		40		374		0.9492385787				50		73				328		13		32		401		1				60		0.1421052632		50		0.0324189526

		#6		Amplitude		#7		Amplitude				44		70		45		45		27		77		122		0.631147541								50		36		195		245		0.7959183673				41		9		305		346		0.8815028902				80		59		41		205		264		0.7154471545				80		30		328		27		385		0.9771573604				60		68				333		13		32		401		1				80		0.1553030303		60		0.0324189526

		34.5		305		46.5		296				45		80		35		45		23		104		149		0.6979865772								45		41		241		286		0.8426573427				27		9		342		369		0.9268292683				100		45		36		259		304		0.8238482385				100		27		337		24		388		0.9847715736				80		59				342		9		32		401		1				100		0.1184210526		80		0.0224438903

		35.5		137		47.5		54				46		90		25		9		0		50		59		0.8474576271								45		36		255		300		0.85				27		4		337		364		0.9258241758				125		36		23		296		332		0.8997289973				150		24		355		21		400		1.0152284264				100		46				351				18		397		0.9900249377				125		0.0692771084		100		0

		36.5		27		48.5		0																																																		150		32		18		323		355		0.9620596206				200		23		360		20		403		1.0228426396				125		45				355				27		400		0.9975062344				150		0.0507042254		125		0

		37.5		0		49.5		36																																																		175		32		18		328		360		0.9756097561				300		20		374		0		394		1				150		45				355				27		400		0.9975062344				175		0.05		150		0

		38.5		100		50.5		232																																																		200		23		9		337		360		0.9756097561																		200		45				355				18		400		0.9975062344				200		0.025		200		0

		39.5		305		51.5		333																																																		300		23		9		346		369		1																		300		41				360				18		401		1				300		0.0243902439		300		0

		40.5		319





Final pic. eta

		0		0		0		0

		0		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0



50 Volt

100 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #774-775

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



Neff vs position

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0



0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



Eta comparison

		Bias 250 V		Strip #		Centre		Distance		25 V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h		ideal				50 V		Pulse Left		Pulse Right		Pulse sum		h		150 V		Pulse Left		Pulse Right		Pulse sum		h								Volt scan		#60		#61		Total		Normalised

				60		43.2		113				46		28		85		212		1		213		0.0046948357		0		0				311		1		312		0.0032051282				410		1		411		0.00243309						3.1622776602		10		95		0		95		0.2467532468

				61		54.5						47		38		75		143		20		163		0.1226993865		113		1				222		1		223		0.0044843049				294		1		295		0.0033898305						5		25		191		0		191		0.4961038961

												48		48		65		68		34		102		0.3333333333								123		58		181		0.320441989				171		68		239		0.2845188285						7.0710678119		50		283		0		283		0.7350649351

												49		58		55		37		109		146		0.7465753425								37		161		198		0.8131313131				37		212		249		0.8514056225						8.6602540378		75		321		0		321		0.8337662338

		#60		Amplitude		#61		Amplitude				50		68		45		31		174		205		0.8487804878								34		259		293		0.8839590444				50		334		384		0.8697916667						10		100		352		0		352		0.9142857143

		41		308		52		386				51		78		35		24		181		205		0.8829268293								24		263		287		0.9163763066				20		345		365		0.9452054795						12.2474487139		150		372		0		372		0.9662337662

		42		171		53		253																																														14.1421356237		200		372		0		372		0.9662337662

		43		20		54		116																																														17.3205080757		300		385		0		385		1

		44		49		55		24

		45		209		56		123

		46		345		57		280

						58		389

		Bias 250 V		Strip #		Centre		Distance		20 V		Local coord.						#115		Int 1		#116		Int 2		#117		Pulse sum		h		ideal				50 V		#115		Int 1		#116		Int 2		#117		Pulse sum		h		200 V		#115		Int 1		#116		Int 2		#117		Pulse sum		h				Volt scan		#115		#116		Int		#117		Total		Normalised

				115		21		114				24		30		84		198		-17		27						225		0.12		0		0				317		-17		31						348		0.0890804598				403		-30		24						427		0.056206089		3.1622776602		10				116						116		0.2829268293

				116		32.4						25		40		74		178		-13		27						205		0.1317073171		114		1				311		-20		41						352		0.1164772727				396		-27		27						423		0.0638297872		5		25		31		208		-5		20		228		0.556097561

												26		50		64		126		-13		37						163		0.226993865								242		-17		61						303		0.201320132				334		-24		68						402		0.1691542289		7.0710678119		50		31		308		-7		20		328		0.8

												28		70		44		34				137				17		171		0.8011695906								48				236				24		284		0.8309859155				54		-5		317		-13		24		371		0.8544474394		8.6602540378		75		24		345		-17		20		365		0.8902439024

		#115		Amplitude		#116		Amplitude				29		80		34		24				181				17		205		0.8829268293								31				311		-10		20		342		0.9093567251				27				400		-17		17		427		0.9367681499		10		100		27		366		-20		17		383		0.9341463415

		18		400		30		389				29.5		85		29		27				195						222		0.8783783784								34				314		-15		20		348		0.9022988506				24				389		-24		17		413		0.9418886199		11.1803398875		125		24		380		-17		13		393		0.9585365854

		19		270		31		89																																																												12.2474487139		150		24		385		-20		13		398		0.9707317073

		20		34		32		28																																																												14.1421356237		200		24		389		-20		13		402		0.9804878049

		21		30		33		30																																																												17.3205080757		300		24		393		-20		17		410		1

		22		38		34		126

		23		308		35		389

		24		400





Strip 120 

		47		400		-30		380

		48		280		-20		260

		49		41		-10		21

		50		20		0		0

		51		51		10		31

		52		273		20		253

		53		410		30		390

		Beam Profile

		Coordinate		Front		Back

		0						10

		10		1.00E+13		1.05E+13		20		1.00E+13		1.05E+13

		20		4.50E+13		4.55E+13		30		4.50E+13		4.55E+13

		25		3.00E+14		2.52E+14		35		3.00E+14		2.52E+14

		30		4.10E+14		4.40E+14		40		4.10E+14		4.40E+14

		35		4.30E+14		4.60E+14		45		4.30E+14		4.60E+14

		40		3.15E+14		3.80E+14		50		3.15E+14		3.80E+14

		45		1.09E+14		2.70E+14		55		1.09E+14		2.70E+14

		55		1.20E+13		2.70E+13		65		1.20E+13		2.70E+13

		65		7.00E+11		1.20E+12		75		7.00E+11		1.20E+12





Strip 120 

		0

		0

		0

		0

		0

		0

		0



Local coord. [µm]

Amplitude [arb. Units]

Strip scan #10

0

0

0

0

0

0

0



Pulse shape

		55		0		55		55

		50		1		50		50

		45		2		45		45

		40		3		40		40

		35		4		35		35

		30		5		30		30

		25		6		25		25

		20		7		20		20

		15		8		15		15

		10		9		10		10

		5		10		5		5

		0		11		0		0

				12

				13

				14

				15

				16

				17

				18

				19

				20

				21

				22

				23

				24

				25

				26

				27

				28

				29

				30

				31

				32

				33

				34

				35

				36

				37

				38

				39

				40

				41

				42

				43

				44

				45

				46

				47

				48

				49

				50

				51

				52

				53

				54

				55

				56

				57

				58

				59

				60

				61

				62

				63

				64

				65

				66

				67

				68



Measured (hit strip)

Calculated

Adjacent strip

Intermediate routing line

Time [ns]

Amplitude [arb. units]

68

10

0

0

150

34.5396

16

0

245

54.05968

34

0

369

80.39936

54

0

560

114.09384

123

32

688

155.13512

154

40

826

202.94192

188

51

792

256.42064

199

74

615

314.09432

188

108

421

374.26344

176

131

199

435.16424

85

68

0

495.10184

0

0

552.54736

606.19912

655.01224

698.20408

735.24416

765.8304

789.86272

807.41192

818.68832

824.01216

823.78664

818.47312

808.57016

794.59512

777.0692

756.50528

733.3992

708.22128

681.41152

653.37656

624.48752

595.07864

565.44744

535.85544

506.53048

477.66728

449.43032

421.95584

395.35408

369.71192

345.0956

321.5524

299.11304

277.79416

257.59968

238.52336

220.54992

203.6564

187.81424

172.98976

159.14552

146.24152

134.23568

123.08456

112.74432

103.1708

94.32024

86.14968

78.61696

71.6812

65.30304

59.44456

54.06952

49.14336

44.63336

40.50856

36.7396



		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0



Front Al foils

Back Al foils

Position [mm]

Measured fluence [p cm-2]

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		50		50		50		50

		100		100		100		100

		150		150		150		150

		200		200		200		200

		250		250		250		250

		300		300		300		300

		350		350		350		350

		400		400		400		400

		500		500		500		500



Strip #739

Strip #740

Strip #741

Strip #742

Bias [V]

Collected charge [Arb. unit]

13

30

101

13

20

67

182

33

23

74

290

45

17

57

425

15

0

51

472

5

0

40

500

0

0

34

513

0

0

34

520

0

0

34

540

0



		

						760





		30		30		0

		40		40		117.5

		50		50

		60		60

		70		70

		80		80

		90		90



200 Volt

400 Volt

Ideal resolution

Local position [µm]

Right charge/Total charge

Scan across strips #740-741

0.1035422343

0.0311111111

0

0.1971428571

0.0545851528

1

0.3688888889

0.2443729904

0.6231884058

0.7816091954

0.7445652174

0.9099437148

0.8891454965

1

0.9136363636

1



		30		30		0

		40		40		115

		50		50

		60		60

		70		70

		80		80

		90		90



200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #710-711

0.1009615385

0.0352733686

0

0.1943734015

0.0646258503

1

0.3125

0.2213740458

0.5102040816

0.5845070423

0.689373297

0.8831858407

0.8141809291

0.9365609349

0.8523489933

0.9378427788



		30		30		0

		40		40		115

		50		50

		60		60

		70		70

		80		80

		90		90



200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #760-761

0.0874074074

0.0657534247

0

0.0914454277

0.0725244073

1

0.1515151515

0.1463414634

0.5

0.5

0.8

0.8395522388

0.884086444

0.9252669039

0.9249011858

0.9491833031



		0		30		30		30

		115		40		40		40

				50		50		50

				60		60		60

				70		70		70

				80		80		80

				90		90		90



150 Volt

200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #740-741

0

0.204610951

0.0581395349

0.0450281426

1

0.3086053412

0.1601731602

0.0685920578

0.3851351351

0.2755102041

0.2206405694

0.5677966102

0.6121212121

0.688372093

0.6253869969

0.7406542056

0.886405959

0.7331378299

0.8442982456

0.9305816135

0.7967032967

0.8817427386

0.938517179



		0		30		30

		110		40		40

				50		50

				60		60

				70		70

				80		80

				90		90



200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #670-671

0

0.2186046512

0.0462962963

1

0.3191489362

0.076056338

0.4345238095

0.2648401826

0.625

0.619047619

0.7170731707

0.8559322034

0.7960784314

0.9612403101

0.825

0.9734748011



		0		20		20

		110		30		30

				40		40

				50		50

				60		60

				70		70

				80		80

				90		90



200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #690-691

0

0.1510067114

0.0529801325

1

0.1964285714

0.0703296703

0.3269961977

0.1575492341

0

0.6736842105

0.7946428571

0.7365079365

0.916500994

0.8419452888

0.9427402863

0.8307692308

0.9512195122



		25		25		25		0

		35		35		35		110

		45		45		45

		55		55		55

		65		65		65

		75		75		75

		85		85		85



100 Volt

200 Volt

300 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #525-526

0.0461956522

0.0440414508

0.0446194226

0

0.0583941606

0.0547945205

0.0547945205

1

0.1413612565

0.1282051282

0.1113689095

0.3215859031

0.264573991

0.2821576763

0.8050541516

0.8073394495

0.7722222222

0.9130434783

0.9217391304

0.9298245614

0.9473684211

0.9523809524

0.958677686



		0		30		30		30

		117		40		40		40

				50		50		50

				70		70		70

				80		80		80

				90		90		90



150 Volt

200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #634-635

0

0.223255814

0.1133333333

0.0510204082

1

0.2783505155

0.1933333333

0.0761670762

0.3963414634

0.3048780488

0.1943005181

0.6209150327

0.6822429907

0.8157099698

0.6875

0.7979094077

0.915

0.7548076923

0.8580645161

0.9330024814



		0		24		24

		114		34		34

				44		44

				64		64

				74		74

				84		84

				89		89



100 Volt

300 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #584-585

0

0.118466899

0.0379403794

1

0.1655172414

0.0608272506

0.3421052632

0.1666666667

0.6896551724

0.8131868132

0.7597173145

0.9567430025

0.8605442177

0.9974160207

0.8586206897

0.9466666667



		0		22		22		22		22

		116		32		32		32		32

				42		42		42		42

				67		67		67		67

				72		72		72		72

				82		82		82		82

				92		92		92		92



100 Volt

150 Volt

200 Volt

300 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #604-605

0

0.2192513369

0.0848056537

0.0408719346

0.056980057

1

0.2391304348

0.1214285714

0.0681818182

0.0798898072

0.3128834356

0.2380952381

0.0920716113

0.1549295775

0.5668789809

0.6355555556

0.7975077882

0.7517482517

0.591954023

0.7173913043

0.9002695418

0.8434782609

0.6949152542

0.8137931034

0.9973045822

0.8888888889

0.7348066298

0.8436482085

0.972899729

0.9043715847



		0		23		23		23

		108		33		33		33

				43		43		43

				58		58		58

				63		63		63

				73		73		73

				78		78		78



20 Volt

50 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #544-545

0

0.1376146789

0.0422960725

0.0361445783

1

0.2018348624

0.0845070423

0.0574712644

0.3457446809

0.2341772152

0.0976253298

0.5858585859

0.7124183007

0.7627906977

0.6304347826

0.7571428571

0.820441989

0.7302325581

0.8709677419

0.9418886199

0.7735849057

0.8811594203

0.9632352941



		0		35		35		35

		110		40		40		40

				50		50		50

				65		65		65

				70		70		70

				80		80		80



50 Volt

100 Volt

300 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #566-567

0

0.125

0.0408719346

0.0407673861

1

0.1777777778

0.0702247191

0.0687203791

0.320441989

0.22

0.2033333333

0.6946107784

0.8090909091

0.7789855072

0.741697417

0.8579387187

0.8743842365

0.8580858086

0.9543010753

0.9975062344



		0		35		35		35

		120		45		45		45

				50		50		50

				65		65		65

				70		70		70

				80		80		80

				90		90		90



50 Volt

100 Volt

250 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #575-576

0

0.2876106195

0.0451807229

0.0383631714

1

0.3744292237

0.144092219

0.0939759036

0.3880597015

0.1782178218

0.1580310881

0.5730337079

0.7260273973

0.7166666667

0.591954023

0.798679868

0.8379888268

0.6559633028

0.8879781421

0.9230769231

0.7627906977

0.9076086957

0.9511002445



		0		28		28		28

		113		38		38		38

				48		48		48

				58		58		58

				68		68		68

				78		78		78



25 Volt

50 Volt

150 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #188-189

0

0.0046948357

0.0032051282

0.00243309

1

0.1226993865

0.0044843049

0.0033898305

0.3333333333

0.320441989

0.2845188285

0.7465753425

0.8131313131

0.8514056225

0.8487804878

0.8839590444

0.8697916667

0.8829268293

0.9163763066

0.9452054795



		26		26		0		26

		36		36		114		36

		46		46				46

		66		66				66

		76		76				76

		86		86				86



100 Volt

300 Volt

=

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #621-622

0.2227074236

0.0789473684

0

0.0390625

0.2735849057

0.1348684211

1

0.0606060606

0.3659793814

0.2482517483

0.1102150538

0.5828220859

0.6728110599

0.8066666667

0.6822429907

0.8066666667

0.9086021505

0.7422222222

0.8547854785

0.9583333333



		25		25		25		0

		35		35		35		110

		45		45		45

		60		60		60

		65		65		65

		75		75		75

		85		85		85



20 Volt

50 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #469-470

0.0857142857

0.1060070671

0.0411311054

0

0.0833333333

0.093385214

0.0683060109

1

0.275862069

0.1904761905

0.1333333333

0.6451612903

0.6785714286

0.7311827957

0.6774193548

0.766536965

0.8356164384

0.8444444444

0.8717948718

0.9260969977

0.8695652174

0.8646153846

0.9267734554



		30		30		0

		40		40		110

		50		50

		60		60

		70		70

		80		80



200 Volts

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #650-651

0.1784037559

0.0521172638

0

0.2587064677

0.1034482759

1

0.3577586207

0.2196531792

0.6280991736

0.7375328084

0.7114914425

0.8717948718

0.7915742794

0.9111470113



		0		30		30		30

		114		40		40		40

				50		50		50

				70		70		70

				80		80		80

				85		85		85



20 Volt

50 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #244-245

0

0.12

0.0890804598

0.056206089

1

0.1317073171

0.1164772727

0.0638297872

0.226993865

0.201320132

0.1691542289

0.8011695906

0.8309859155

0.8544474394

0.8829268293

0.9093567251

0.9367681499

0.8783783784

0.9022988506

0.9418886199



		30		30		0		30

		40		40		114		40

		50		50				50

		70		60				60

		80		70				70

		85		80				80

								90



#245 - 200 Volt

#650 - 400 Volt

#760 - 400 Volt

Local position [µm]

Right charge/Total charge

0.056206089

0.0521172638

0

0.0657534247

0.0638297872

0.1034482759

1

0.0725244073

0.1691542289

0.2196531792

0.1463414634

0.8544474394

0.7375328084

0.5

0.9367681499

0.8717948718

0.8395522388

0.9418886199

0.9111470113

0.9252669039

0.9491833031



		20		20		20		0

		30		30		30		115

		40		40		40

		50		50		50

		60		60		60

		70		70		70

		80		80		80

		90		90		90



20 Volt

50 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #388-389

0.15

0.0975609756

0.0965794769

0

0.1549295775

0.1448692153

0.1004709576

1

0.171875

0.1223529412

0.0901213172

0.2926829268

0.2888888889

0.2434077079

0.6666666667

0.6923076923

0.6511627907

0.7833333333

0.8498896247

0.9073083779

0.8295081967

0.8495049505

0.9384615385

0.8793103448

0.9160839161

0.9470699433



		35		0		35		35

		45		120		45		45

		55				55		55

		70				70		70

		75				75		75

		85				85		85

		95				95		95



20 Volt

50 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #490-491

0.1595744681

0

0.12

0.0796116505

0.2053231939

1

0.1322869955

0.0891089109

0.2967032967

0.2258064516

0.2

0.72

0.692

0.7982261641

0.8351449275

0.7985074627

0.8764302059

0.9349593496

0.8546099291

0.9174311927

0.9445585216



		0		28		28		28

		118		38		38		38

				48		48		48

				58		58		58

				68		68		68

				78		78		78

				88		88		88



150 Volt

200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #760-761

0

0.1305483029

0.0812064965

0.0638722555

1

0.1467391304

0.0782608696

0.0601202405

0.2492753623

0.1494505495

0.1135135135

0.3970588235

0.41

0.368852459

0.66

0.7510548523

0.789017341

0.7542857143

0.9100719424

0.9100719424

0.8444444444

0.9125799574

0.9323308271



		30		30		28		0

		40		40		38		118

		50		50		48

		70		70		58

		80		80		68

		85		90		78

						88



#244 -245 (@ 200 Volt)

#534 - 535 (@ 400 Volt)

#760 - 761 (@ 400 Volt)

Local position [µm]

Right charge/Total charge

0.056206089

0.0510204082

0.0638722555

0

0.0638297872

0.0761670762

0.0601202405

1

0.1691542289

0.1943005181

0.1135135135

0.8544474394

0.8157099698

0.368852459

0.9367681499

0.915

0.789017341

0.9418886199

0.9330024814

0.9100719424

0.9323308271



		30		30		30		0

		40		40		40		115

		50		50		50

		65		65		65

		70		70		70

		80		80		80

		90		90		90



50 Volt

100 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #774-775

0.2777777778

0.1546391753

0.075

0

0.3857142857

0.2274368231

0.1002785515

1

0.4155844156

0.3298429319

0.2454873646

0.6

0.7023809524

0.7961165049

0.631147541

0.7959183673

0.8815028902

0.6979865772

0.8426573427

0.9268292683

0.8474576271

0.85

0.9258241758



		Bias		#650		#651		Pulse sum		Normalised		#670		#671		Pulse sum		Normalised		#690		#691		Pulse sum		Normalised		#710		#711		Pulse sum		Normalised		#730		#731		Pulse sum		Normalised		#740		#741		Pulse sum		Normalised		#760		#761		Pulse sum		Normalised

		[Volt]		[mV]		[mV]		[mv]				[mV]		[mV]		[mv]				[mV]		[mV]		[mv]				[mV]		[mV]		[mv]				[mV]		[mV]		[mv]				[mV]		[mV]		[mv]				[mV]		[mV]		[mv]

		50		41		85		126		0.2016		24		58		82		0.2		0		80		80		0.1500938086		31		78		109		0.1912280702		31		83		114		0.1972318339		30		101		131		0.2205387205		45		100		145		0.2566371681				104		104

		100		63		140		203		0.3248		22		84		106		0.2585365854		31		135		166		0.3114446529		53		125		178		0.3122807018		45		142		187		0.3235294118		67		182		249		0.4191919192		68		178		246		0.4353982301				177		177

		150		92		210		302		0.4832		38		133		171		0.4170731707		52		197		249		0.4671669794		58		180		238		0.4175438596		66		232		298		0.5155709343		74		290		364		0.6127946128		63		342		405		0.7168141593				385		385

		200		81		329		410		0.656		39		207		246		0.6		45		291		336		0.6303939962		73		290		363		0.6368421053		48		374		422		0.7301038062		57		425		482		0.8114478114		50		446		496		0.8778761062				454		454

		250		59		443		502		0.8032		32		300		332		0.8097560976		34		398		432		0.8105065666		51		388		439		0.7701754386		31		478		509		0.8806228374		51		472		523		0.8804713805		41		490		531		0.9398230088				468		468

		300		59		510		569		0.9104		30		321		351		0.856097561		35		433		468		0.8780487805		38		462		500		0.8771929825		17		501		518		0.8961937716		40		500		540		0.9090909091		36		501		537		0.9504424779				478		478

		350		50		530		580		0.928		23		342		365		0.8902439024		31		454		485		0.9099437148		33		485		518		0.9087719298		20		535		555		0.9602076125		34		513		547		0.9208754209		32		510		542		0.9592920354				495		495

		400		45		561		606		0.9696		10		370		380		0.9268292683		24		468		492		0.9230769231		31		498		529		0.9280701754		20		535		555		0.9602076125		34		520		554		0.9326599327		36		519		555		0.982300885				502		502

		500		45		580		625		1		10		400		410		1		10		523		533		1		30		540		570		1		0		578		578		1		34		560		594		1		32		533		565		1				510		510

																						Neff map		Vfd

																						10

																						30

																						50

																						70

																						90

																						100

																						120

																																												634

																																		72

		Bias		#526		#527		Pulse sum		Normalised		Bias		#545		#546		Pulse sum		Normalised		Bias		#567		#568		Pulse sum		Normalised		Bias		#577		#578		Pulse sum		Normalised		Bias		#585		#586		Pulse sum		Normalised		Bias		#605		#606		Pulse sum		Normalised		Bias		#622		#623		Pulse sum		Normalised		Bias		#634		#635		Pulse sum		Normalised

		[Volt]		[mV]		[mV]		[mv]				[Volt]		[mV]		[mV]		[mv]				[Volt]		[mV]		[mV]		[mv]				[Volt]		[mV]		[mV]		[mv]				[Volt]		[mV]		[mV]		[mv]				[Volt]		[mV]		[mV]		[mv]				[Volt]		[mV]		[mV]		[mv]				[Volt]		[mV]		[mV]		[mv]

		20		5		205		210		0.4393305439		10		89		41		130		0.313253012		10		27		41		68		0.17		25		34		75		109		0.2632850242		25		44		20		64		0.1671018277		50		65		10		75		0.1978891821		50		65		0		65		0.1697127937		50		61		24		85		0.2073170732

		30		5		273		278		0.5815899582		20		171		41		212		0.5108433735		25		61		109		170		0.425		50		55		164		219		0.5289855072		50		95		41		136		0.3550913838		75		95		10		105		0.2770448549		100		123		37		160		0.4177545692		100		106		34		140		0.3414634146

		40		54		323		377		0.7887029289		30		232		34		266		0.6409638554		50		266		41		307		0.7675		75		37		290		327		0.7898550725		75		150		58		208		0.5430809399		100		129		27		156		0.4116094987		150		171		51		222		0.5796344648		150		157		48		205		0.5

		50		45		365		410		0.8577405858		50		321		0		321		0.7734939759		75		334		14		348		0.87		100		27		330		357		0.8623188406		100		240		51		291		0.7597911227		125		167		27		194		0.5118733509		200		287		24		311		0.8120104439		200		253		34		287		0.7

		75		41		405		446		0.9330543933		75		362		0		362		0.8722891566		100		359		0		359		0.8975		150		27		359		386		0.9323671498		125		311		27		338		0.8825065274		150		236		30		266		0.7018469657		250		334		0		334		0.8720626632		250		317		27		344		0.8390243902

		100		32		428		460		0.9623430962		100		383		0		383		0.9228915663		150		372		0		372		0.93		200		24		372		396		0.9565217391		150		342		10		352		0.9190600522		200		328		0		328		0.8654353562		300		351		0		351		0.9164490862		300		349		31		380		0.9268292683

		120		23		441		464		0.9707112971		150		396		0		396		0.9542168675		200		383		0		383		0.9575		250		20		379		399		0.9637681159		200		355		10		365		0.953002611		250		355		0		355		0.9366754617		350		366		0		366		0.955613577		350		362		27		389		0.9487804878

		150		27		446		473		0.989539749		200		410		0		410		0.9879518072		250		396		0		396		0.99		300		24		382		406		0.9806763285		300		376		0		376		0.9817232376		300		366		0		366		0.9656992084		400		372		0		372		0.9712793734		400		372		34		406		0.9902439024

		200		23		455		478		1		300		415		0		415		1		300		400		0		400		1		350		24		390		414		1		400		383		0		383		1		400		379		0		379		1		500		383		0		383		1		500		383		27		410		1

		300		20		464		484		1.0125523013

		Strip #		VFD

		188		80

		244		75

		390		60

		470		55

		498		55

		526		53

		545		55

		568		62

		578		92								0.0004882813		0.1806640625		0.0451660156

		585		128

		605		200

		622		225

		634		270

		650		285

		670		297

		690		300

		710		285								768		640

		730		250

		740		220

		760		170

		774		125

		829		60

		888		47





		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0



Strip #10

Strip #30

Strip #50

Strip #70

Strip #90

Strip #100

Strip #120

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0



Strip #526

Strip #545

Strip #578

Strip #585

Strip #605

Strip #622

Strip #634

Bias [Volt]

Normalised CCE

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0



Strip Number

Vfd [Volt]

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0



Strip #545

Strip #585

Strip #634

Bias [Volt]

Normalised CCE

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0



Strip #526

Strip #578

Strip #605

Bias [Volt]

Normalised CCE

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		Strip:		#10								Strip:		#30								Strip:		#50								Strip:		#70								Strip:		#90								Strip:		#100		#101						Strip:		#120

				#11										#31										#51										#71										#91										#121										#121

						ideal										ideal										ideal										ideal										ideal										ideal										ideal

		20		0.2059800664		0		0		0.1260683761		20		0.3485714286		0		0		0.2292490119		20		0.1510067114		0		0		0		20		0.1729559748		0		0		0.1299559471		30		0.1035422343		0		0		0		30		0.204610951		0		0		0		20		0.2591006424		0		0		0.263671875

		30		0.1784037559		110		1		0		30		0.2186046512		110		1		0		30		0.1964285714		110		1		0		30		0.1009615385		115		1		0		40		0.1971428571		117.5		1		0		40		0.3086053412		115		1		0		30		0.0874074074		115		1		0.0657534247

		40		0.2587064677						0.0909090909		40		0.3191489362						0		40		0.3269961977						0.118993135		40		0.1943734015						0		50		0.3688888889						0.2443729904		50		0.3851351351						0.1978021978		40		0.0914454277						0.0725244073

		50		0.3577586207						0.2196531792		50		0.4345238095						0.2648401826		60		0.6736842105						0.7946428571		50		0.3125						0.1707317073		60		0.6231884058						0.7816091954		60		0.5677966102						0.688372093		50		0.1515151515						0.1463414634

		60		0.6280991736						0.7375328084		60		0.625						0.619047619		70		0.7365079365						0.916500994		60		0.5102040816						0.5845070423		70		0.7445652174						0.9099437148		70		0.6253869969						0.886405959		60		0.5						0.5

		70		0.7114914425						0.8717948718		70		0.7170731707						0.8559322034		80		0.8419452888						0.9427402863		70		0.689373297						0.8831858407		80		0.8891454965						1		80		0.7331378299						0.9305816135		70		0.8						0.8395522388

		80		0.7915742794						0.9111470113		80		0.7960784314						0.9867374005		90		0.8307692308						0.9512195122		80		0.8141809291						0.9365609349		90		0.9136363636						1		90		0.7967032967						0.938517179		80		0.884086444						0.9252669039

		90		0.7759103641						0.8546845124		90		0.825						0.9734748011												90		0.8523489933						0.9378427788																						90		0.9249011858						0.9491833031

		Residuals		#10-#11								Residuals		#30-#31								Residuals		#50-#51								Residuals		#50-#51								Residuals		#70-#71								Residuals		#90-#91								Residuals		#100-#101

		True position		Est. position		Est. position		Residuals		Residuals		True position		Est. position		Est. position		Residuals		Residuals		True position		Est. position		Est. position		Residuals		Residuals		True position		Est. position		Est. position		Residuals		Residuals		True position		Est. position		Est. position		Residuals		Residuals		True position		Est. position		Est. position		Residuals		Residuals		True position		Est. position		Est. position		Residuals

				200 V		400 V		200 V		400 V				200 V		400 V		200 V		400 V				200 V		400 V		200 V		400 V				200 V		400 V		200 V		400 V				200 V		400 V		200 V		400 V				200 V		400 V		200 V		400 V				200 V		400 V		200 V		400 V

		20		22.657807309		38.3428571429		2.657807309		18.3428571429		20		38.3428571429		25.2173913043		18.3428571429		5.2173913043		20		16.610738255		0		-3.389261745		-20		20		19.8899371069		14.9449339207		-0.1100628931		-5.0550660793		30		12.1662125341		0		-17.8337874659		-30		30		23.530259366		0		-6.469740634		-30		20		29.7965738758		30.322265625		9.7965738758		10.322265625

		30		19.6244131455		24.0465116279		-10.3755868545		-5.9534883721		30		24.0465116279		0		-5.9534883721		-30		30		21.6071428571		0		-8.3928571429		-30		30		11.6105769231		0		-18.3894230769		-30		40		23.1642857143		0		-16.8357142857		-40		40		35.4896142433		0		-4.5103857567		-40		30		10.0518518519		7.5616438356		-19.9481481481		-22.4383561644

		40		28.4577114428		35.1063829787		-11.5422885572		-4.8936170213		40		35.1063829787		0		-4.8936170213		-40		40		35.969581749		13.0892448513		-4.030418251		-26.9107551487		40		22.3529411765		0		-17.6470588235		-40		50		43.3444444444		28.7138263666		-6.6555555556		-21.2861736334		50		44.2905405405		22.7472527473		-5.7094594595		-27.2527472527		40		10.5162241888		8.340306834		-29.4837758112		-31.659693166

		50		39.3534482759		47.7976190476		-10.6465517241		-2.2023809524		50		47.7976190476		29.1324200913		-2.2023809524		-20.8675799087		60		74.1052631579		87.4107142857		14.1052631579		27.4107142857		50		35.9375		19.6341463415		-14.0625		-30.3658536585		60		73.2246376812		91.8390804598		13.2246376812		31.8390804598		60		65.2966101695		79.1627906977		5.2966101695		19.1627906977		50		17.4242424242		16.8292682927		-32.5757575758		-33.1707317073

		60		69.0909090909		68.75		9.0909090909		8.75		60		68.75		68.0952380952		8.75		8.0952380952		70		81.0158730159		100.8151093439		11.0158730159		30.8151093439		60		58.6734693878		67.2183098592		-1.3265306122		7.2183098592		70		87.4864130435		106.9183864916		17.4864130435		36.9183864916		70		71.919504644		101.9366852886		1.919504644		31.9366852886		60		57.5		57.5		-2.5		-2.5

		70		78.2640586797		78.8780487805		8.2640586797		8.8780487805		70		78.8780487805		94.1525423729		8.8780487805		24.1525423729		80		92.6139817629		103.7014314928		12.6139817629		23.7014314928		70		79.2779291553		101.5663716814		9.2779291553		31.5663716814		80		104.474595843		117.5		24.474595843		37.5		80		84.3108504399		107.0168855535		4.3108504399		27.0168855535		70		92		96.5485074627		22		26.5485074627

		80		87.0731707317		87.568627451		7.0731707317		7.568627451		80		87.568627451		108.5411140584		7.568627451		28.5411140584		90		91.3846153846		104.6341463415		1.3846153846		14.6341463415		80		93.630806846		107.7045075125		13.630806846		27.7045075125		90		107.3522727273		117.5		17.3522727273		27.5		90		91.6208791209		107.9294755877		1.6208791209		17.9294755877		80		101.6699410609		106.4056939502		21.6699410609		26.4056939502

		90		85.350140056		90.75		-4.649859944		0.75		90		90.75		107.0822281167		0.75		17.0822281167												90		98.0201342282		107.8519195612		8.0201342282		17.8519195612																						90		106.3636363636		109.1560798548		16.3636363636		19.1560798548





		Far end														End + 1 cm														End + 2 cm														End + 3 cm														End + 3.5 cm

		Strip width		Local coord.												Strip width		Local coord.												Strip width		Local coord.												Strip width		Local coord.												Strip width		Local coord.												Local coord.

		16 µm		12		0.3192771084		0		0		0.3086172345		0.2177531207		25 µm		20		0.2489795918		0		0		0.2296072508		0.0935875217		25 µm		23		0.2344827586		0		0		0.1566820276		0.079338843		30 µm		23		0.1505016722		0		0		0.0805687204		0.052		35 µm		20		0.2591006424		0		0		0.263671875				28		0.1305483029		0.0812064965		0.0638722555		0		0

				22		0.3269230769		61		1		0.3302180685		0.2262118492				30		0.3642857143		78		1		0.3591160221		0.2287390029				33		0.3311897106		95		1		0.2647754137		0.1256038647				33		0.2164948454		108		1		0.0966183575		0.0595238095				30		0.0874074074		115		1		0.0657534247				38		0.1467391304		0.0782608696		0.0601202405		118		1

				32		0.5						0.5		0.5284552846				40		0.6977777778						0.691588785		0.8631578947				43								0.3176470588		0.2993197279				43		0.3470790378						0.2055137845		0.1347248577				40		0.0914454277						0.0725244073				48		0.2492753623		0.1494505495		0.1135135135

				42		0.6687697161						0.6808943089		0.826435247				50		0.7510204082						0.7796610169		0.9246575342				53		0.6393442623						0.6741573034		0.7946127946				63		0.6487603306						0.7430939227		0.8559837728				50		0.1515151515						0.1463414634				58		0.3970588235		0.41		0.368852459

				52		0.6972789116						0.7270788913		0.8104196816				60														63		0.7039711191						0.7454545455		0.8982785603				73		0.7683823529						0.884057971		0.9513108614				60		0.5						0.5				68		0.66		0.7510548523		0.789017341

																																73		0.7731629393						0.830802603		0.9453376206				83		0.8316498316						0.9351145038		0.98				70		0.8						0.8395522388				78		0.7542857143		0.9100719424		0.9100719424

																																																												80		0.884086444						0.9252669039				88		0.8444444444		0.9125799574		0.9323308271

																																																												90		0.9249011858						0.9491833031

				Pos. inner end (1)														Pos.(2)=(1)+1 cm														Pos.(3)=(2)+1 cm														Pos.(4)=(3)+1 cm														Pos.(5)=(4)+0.5 cm

		Bias		#119		Int 1		#120				#121		Int 3		#122		#119		Int 1		#120				#121		Int 3		#122		#119		Int 1		#120				#121		Int 3		#122		#119		Int 1		#120				#121		Int 3		#122		#119		Int 1		#120				#121		Int 3		#122

		[Volt]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]

		50		0		0		30		10		115		10		20						20		0		68						0		0		31		0		99		0		0		0		0		0		0		70		0		0						38		21		104		-10

		100		28		0		61		17		179		15		33						44		15		129						20		0		48		24		171		0		31						52		34		145		0		29						62		34		177		-21

		150		30		0		88		40		239		27		44						78		37		184						0		0		71		44		242		0		31						63		58		250		0		29						55		24		385		-31

		200		37		0		115		74		357		37		54						68		41		280						0		0		78		58		383		0		37						37		20		388		-5		20						48		15		454		-24

		250		34		0		101		61		530		51		20						71		44		410						0		0		44		24		509		-24		10						26		10		448		-20		10						45		0		468		-34

		300		23		0		81		37		600		-23		30						58		45		475						0		0		37		13		533		-30		20						22		22		490		-24		10						34		0		478		-34

		350		34		0		84		27		641		-27		24						51		10		519						0		0		30		0		567		-30		15						20		0		512		-24		0						34		0		495		-34

		400		23		0		64		0		644		-34		23						51		0		530						0		0		41		0		577		-37		15						20		0		527		-24		0						34		0		502		-34

		500		10		0		77		0		680		-30		10						48		0		547						0		0		34		0		588		-40		13						10		0		530		-24		0						34		0		510		-34

																																																																		-10

																																																																		-17

																																																																		-17

				Total										Total										Intermediate strip/total charge																																										-17

		Bias		Pos.(1)		Pos.(2)		Pos.(3)		Pos.(4)		Pos.(5)		normalised

		[Volt]												Pos.(1)		Pos.(2)		Pos.(3)		Pos.(4)		Pos.(5)		Pos.(1)		Pos.(2)		Pos.(3)		Pos.(4)		Pos.(5)

		50		135		88		99		70		142		0.2023988006		0.1514629948		0.1672297297		0.1328273245		0.2649253731		0.0740740741		0		0		0		0.1478873239

		100		212		173		202		174		239		0.3178410795		0.2977624785		0.3412162162		0.330170778		0.4458955224		0.0801886792		0.0867052023		0.1188118812		0.1954022989		0.1422594142

		150		283		262		273		279		440		0.4242878561		0.4509466437		0.4611486486		0.5294117647		0.8208955224		0.1413427562		0.141221374		0.1611721612		0.2078853047		0.0545454545

		200		411		348		420		408		502		0.616191904		0.5989672978		0.7094594595		0.7741935484		0.9365671642		0.1800486618		0.117816092		0.1380952381		0.0490196078		0.0298804781

		250		550		481		519		458		513		0.8245877061		0.8278829604		0.8766891892		0.8690702087		0.9570895522		0.1109090909		0.0914760915		0.0462427746		0.0218340611		0

		300		630		533		553		500		512		0.9445277361		0.917383821		0.9341216216		0.9487666034		0.9552238806		0.0587301587		0.0844277674		0.0235081374		0.044		0

		350		665		570		582		512		529		0.9970014993		0.9810671256		0.9831081081		0.9715370019		0.9869402985		0.0406015038		0.0175438596		0		0		0

		400		667		581		592		527		536		1		1		1		1		1		0		0		0		0		0

		500		690		595		601		530		544		1.0344827586		1.0240963855		1.0152027027		1.0056925996		1.0149253731		0		0		0		0		0





		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0



Pos. 1

Pos. 2

Pos. 3

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0



Bias [V]

Charge routing line/Total charge

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0		0		0

		0		0		0		0

				0		0		0

				0		0		0



150 Volt

200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #760-761

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0		0		0

		0		0		0		0

				0		0		0

				0		0		0

				0		0		0

				0		0		0



Strip #120 of sector n. 6

Local position [µm]

Right charge/Total charge

Scan across strips #760-761

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

150 Volt

200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #760-761

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		



150 Volt

200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #760-761



		0		0		0		0

		0		0		0		0

				0		0		0

				0		0		0

				0		0		0

				0		0		0

				0		0		0



150 Volt

200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #760-761

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		Time delay		Corrected time		Bias [V]		#120		Int 1		#121		Int 2																		0		0.08185		9.1672		112				0.261052		10		80

		70		55		250		0		0		68		0				0		0		0		610								1		0.168384		18.859008						0.431745		34.5396

		75		50				16		0		150		0				3		0.0512794593		31.2804701969										2		0.312367		34.985104						0.675746		54.05968

		80		45				34		0		245		-25				6		0.2672435413		163.0185601936										3		0.52869		59.21328						1.004992		80.39936

		85		40				54		0		369		-41				9		0.5875634723		358.4137180924										4		0.825982		92.509984						1.426173		114.09384

		90		35				123		32		560		0				12		0.9072872169		553.4452023										5		1.20452		134.90624						1.939189		155.13512

		95		30				154		40		688		0				15		1.1543795498		704.1715253543										6		1.656436		185.520832						2.536774		202.94192

		100		25				188		51		826		-28				18		1.299469696		792.6765145638										7		2.16761		242.77232						3.205258		256.42064

		105		20				199		74		792		0				21		1.3442508459		819.9930160187										8		2.720225		304.6652						3.926179		314.09432

		110		15				188		108		615		-5				24		1.3071636214		797.3698090352										9		3.295125		369.054						4.678293		374.26344

		115		10				176		131		421		79				27		1.2124429531		739.5902013697										10		3.873637		433.847344						5.439553		435.16424

		120		5				85		68		199		34				30		1.0834467691		660.9025291351										11		4.438771		497.142352						6.188773		495.10184

		125		0				0		0		0		0				33		0.9394191906		573.0457062512										12		4.97592		557.30304						6.906842		552.54736

																		36		0.7945091514		484.6505823432										13		5.473185		612.99672						7.577489		606.19912

																		39		0.6580501859		401.410613397										14		5.92143		663.20016						8.187653		655.01224

																		42		0.5354104702		326.6003867976										15		6.31416		707.18592						8.727551		698.20408

																		45		0.4289931162		261.6858008585										16		6.647297		744.497264						9.190552		735.24416

																		48		0.339164421		206.8902967894										17		6.91889		774.91568						9.57288		765.8304

																		51		0.2650152693		161.6593142647										18		7.128793		798.424816						9.873284		789.86272

																		54		0.2049346724		125.0101501754										19		7.278362		815.176544						10.092649		807.41192

																		57		0.1570118833		95.7772488293										20		7.370132		825.454784						10.233604		818.68832

																		60		0.1192986421		72.7721716988										21		7.407557		829.646384						10.300152		824.01216

																		63		0.0899657472		54.8791057793										22		7.394742		828.211104						10.297333		823.78664

																		66		0.0673846758		41.1046522082										23		7.336235		821.65832						10.230914		818.47312

																		69		0.050159177		30.597097963										24		7.236837		810.525744						10.107127		808.57016

																		72		0.0371256796		22.6466645667										25		7.101445		795.36184						9.932439		794.59512

																		75		0.0273359711		16.67494238										26		6.934925		776.7116						9.713365		777.0692

																																27		6.742013		755.105456						9.456316		756.50528

																																28		6.527242		731.051104						9.16749		733.3992

																																29		6.294873		705.025776						8.852766		708.22128

																																30		6.048868		677.473216						8.517644		681.41152

																																31		5.792859		648.800208						8.167207		653.37656

																																32		5.530137		619.375344						7.806094		624.48752

																																33		5.263647		589.528464						7.438483		595.07864

																																34		4.995998		559.551776						7.068093		565.44744

																																35		4.729472		529.700864						6.698193		535.85544

																																36		4.466033		500.195696						6.331631		506.53048

																																37		4.207353		471.223536						5.970841		477.66728

																																38		3.954834		442.941408						5.617879		449.43032

																																39		3.709625		415.478						5.274448		421.95584

																																40		3.472645		388.93624						4.941926		395.35408

																																41		3.244611		363.396432						4.621399		369.71192

																																42		3.026052		338.917824						4.313695		345.0956

																																43		2.817337		315.541744						4.019405		321.5524

																																44		2.618692		293.293504						3.738913		299.11304

																																45		2.43022		272.18464						3.472427		277.79416

																																46		2.251916		252.214592						3.219996		257.59968

																																47		2.083687		233.372944						2.981542		238.52336

																																48		1.925365		215.64088						2.756874		220.54992

																																49		1.776718		198.992416						2.545705		203.6564

																																50		1.637465		183.39608						2.347678		187.81424

																																51		1.507286		168.816032						2.162372		172.98976

																																52		1.38583		155.21296						1.989319		159.14552

																																53		1.272725		142.5452						1.828019		146.24152

																																54		1.167583		130.769296						1.677946		134.23568

																																55		1.070007		119.840784						1.538557		123.08456

																																56		0.979598		109.714976						1.409304		112.74432

																																57		0.895956		100.347072						1.289635		103.1708

																																58		0.818688		91.693056						1.179003		94.32024

																																59		0.747406		83.709472						1.076871		86.14968

																																60		0.681733		76.354096						0.982712		78.61696

																																61		0.621304		69.586048						0.896015		71.6812

																																62		0.565769		63.366128						0.816288		65.30304

																																63		0.51479		57.65648						0.743057		59.44456

																																64		0.468044		52.420928						0.675869		54.06952

																																65		0.425227		47.625424						0.614292		49.14336

																																66		0.386049		43.237488						0.557917		44.63336

																																67		0.350235		39.22632						0.506357		40.50856

																																68		0.317529		35.563248						0.459245		36.7396

																																69		0.287687		32.220944						0.416239		33.29912

																																70		0.260483		29.174096						0.377015		30.1612

																																71		0.235705		26.39896						0.341272		27.30176

																																72		0.213156		23.873472						0.308729		24.69832

																																73		0.19265		21.5768						0.279123		22.32984

																																74		0.174018		19.490016						0.25221		20.1768

																																75		0.157101		17.595312						0.227764		18.22112

																																76		0.141751		15.876112						0.205574		16.44592

																																77		0.127834		14.317408						0.185447		14.83576

																																78		0.115224		12.905088						0.167204		13.37632

																																79		0.103806		11.626272						0.150679		12.05432

																																80		0.093474		10.469088						0.13572		10.8576

																																81		0.084131		9.422672						0.122188		9.77504

																																82		0.075686		8.476832						0.109953		8.79624

																																83		0.068058		7.622496						0.098898		7.91184

																																84		0.061172		6.851264						0.088915		7.1132

																																85		0.054959		6.155408						0.079904		6.39232

																																86		0.049356		5.527872						0.071777		5.74216

																																87		0.044307		4.962384

																																88		0.039758		4.452896

																																89		0.035662		3.994144

																																90		0.031975		3.5812

																																91		0.028659		3.209808

																																92		0.025678		2.875936

																																93		0.022998		2.575776

																																94		0.020591		2.306192

																																95		0.018429		2.064048

																																96		0.016489		1.846768

																																97		0.014748		1.651776

																																98		0.013187		1.476944

																																99		0.011787		1.320144





		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0



0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0



0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0



Measured (hit strip)

Calculated

Adjacent strip

Intermediate routing line

Time [ns]

Amplitude [arb. units]

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0



Measured

Calculated

Time [ns]

Amplitude [arb. units]

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0




_1046000064.xls
Chart9

		10		50		20		10

		20		100		40		20

		30		150		50		40

		40		200		60		50

		50		250		80		60

		60		300		100		80

		80		350		125		100

		100		400		150		125

		150		500		175		150

		200				200		200

		300				300		300



Strip #499

Strip #760

Strip #774

Strip #888

Bias [Volt]

Charge routing line/total charge

0.1402439024

0.1694915254

0.0649350649

0.1036036036

0.0886524823

0.1589958159

0.1363636364

0.0705521472

0.069637883

0.0979381443

0.1446540881

0.0580808081

0.0611246944

0.0445859873

0.1421052632

0.0324189526

0.0412844037

0

0.1553030303

0.0324189526

0

0

0.1184210526

0.0224438903

0

0

0.0692771084

0

0

0

0.0507042254

0

0

0

0.05

0

0

0.025

0

0

0.0243902439

0



General

		Sector #		Strip's range								1		128

		1		1-128								2		256

		2		129-256								3		384

		3		257-384								4		512

		4		385-512								5		640

		5		513-640								6		768

		6		641-768								7		896

		7		769-896								8		1024

		8		897-1024

		Measured strips:

		Sector #:		1		2		3		4		5		6		7		8





Routing line

		

																						Strip #		Est. VFD

																						499		55

																						760		170

																						774		125

																						888		50





Routing line

		10		50		20		10

		20		100		40		20

		30		150		50		40

		40		200		60		50

		50		250		80		60

		60		300		100		80

		80		350		125		100

		100		400		150		125

		150		500		175		150

		200				200		200

		300				300		300



Strip #499

Strip #760

Strip #774

Strip #888

Bias [Volt]

Charge routing line/total charge

0.1402439024

0.1694915254

0.0649350649

0.1036036036

0.0886524823

0.1589958159

0.1363636364

0.0705521472

0.069637883

0.0979381443

0.1446540881

0.0580808081

0.0611246944

0.0445859873

0.1421052632

0.0324189526

0.0412844037

0

0.1553030303

0.0324189526

0

0

0.1184210526

0.0224438903

0

0

0.0692771084

0

0

0

0.0507042254

0

0

0

0.05

0

0

0.025

0

0

0.0243902439

0



Irradiated (4)

		Bias 250 V		Strip #		Centre		Distance		20 V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h		ideal				50 V		Pulse Left		Pulse Right		Pulse sum		h		200 V		Pulse Left		Pulse Right		Pulse sum		h				Volt scan		#85		#86		Total		Normalised

				85		31		110				33.5		25		85		128		12		140		0.0857142857		0		0				253		30		283		0.1060070671				373		16		389		0.0411311054				20		36		126		162		0.3884892086

				86		42						34.5		35		75		132		12		144		0.0833333333		110		1				233		24		257		0.093385214				341		25		366		0.0683060109				30		52		240		292		0.7002398082

												35.5		45		65		84		32		116		0.275862069								204		48		252		0.1904761905				325		50		375		0.1333333333				40		48		317		365		0.8752997602

												37		60		50		22		40		62		0.6451612903								36		76		112		0.6785714286				50		136		186		0.7311827957				50		48		371		407		0.9760191847

		#85		Amplitude		#86		Amplitude				37.5		65		45		40		84		124		0.6774193548								60		197		257		0.766536965				60		305		365		0.8356164384				75		36		380		412		0.9880095923

		39		417		28		417				38.5		75		35		28		152		180		0.8444444444								40		272		312		0.8717948718				32		401		433		0.9260969977				100		32		397		425		1.0191846523

		40		325		29		297				39.5		85		25		24		160		184		0.8695652174								44		281		325		0.8646153846				32		405		437		0.9267734554				120		28		413		441		1.0575539568

		41		50		30		60																																												150		28		417		417		1

		42		0		31		0

		43		68		32		32

		44		361		33		272

						34		409

		Bias 250 V		Strip #		Centre		Distance		20 V		Local coord.						Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h		ideal				50 V		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h		200 V		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h				Volt scan		#4		Int 1		#5		Int 2		Total		Normalised		Norm Rout		Norm rzatio rout/total

				4		12.5		115				14.5		20		95		204		-28		36				240		0.15		0		0				333				36				369		0.0975609756				449		-64		48				497		0.0965794769				20		12		-24		200		-48		212		0.4265593561

				5		24						15.5		30		85		240		-36		44				284		0.1549295775		115		1				425		-64		72				497		0.1448692153				573		-112		64				637		0.1004709576				30		40				328		-52		368		0.7404426559

												16.5		40		75		212		-32		44				256		0.171875								373		-48		52				425		0.1223529412				525		-88		52				577		0.0901213172				40		24		-16		381		-88		405		0.814889336

												17.5		50		65		116		-8		48				164		0.2926829268								256		-24		104				360		0.2888888889				373		-64		120				493		0.2434077079				50		28		-24		425		-92		453		0.9114688129

		#4		Amplitude		#5		Amplitude				18.5		60		55		16				32				48		0.6666666667								32				72				104		0.6923076923				60				112				172		0.6511627907				75		16				445		-100		461		0.9275653924

		12		0		21		489				19.5		70		45		52				188		-16		240		0.7833333333								68				385		-48		453		0.8498896247				52				509		-96		561		0.9073083779				100		12		-28		457		-124		469		0.9436619718

		13		0		22		341				20.5		80		35		52				253		-16		305		0.8295081967								76				429		-52		505		0.8495049505				36				549		-96		585		0.9384615385				120		16		-20		465		-120		481		0.967806841

		14		132		23		84				21.5		90		25		28				204		-48		232		0.8793103448								36				393		-84		429		0.9160839161				28				501		-112		529		0.9470699433				150		12		-44		485		-132		497		1

		15		437		24		0

		16		517		25		0

						26		272

		Bias 250 V		Strip #		Centre		Distance		20 V		Local coord.						Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h		ideal				50 V		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h		200 V		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h

				5		24		110				26.5		25		85		197				36				233		0.1545064378		0		0				328				36				364		0.0989010989				445				32				477		0.0670859539

				6		35						27.5		35		75		152				28				180		0.1555555556		110		1				305				36				341		0.1055718475				449				36				485		0.0742268041

												28.5		45		65		116				36				152		0.2368421053								253				60				313		0.1916932907				413				100				513		0.1949317739

												29.5		55		55		44				28				72										60				36				96						72				32				104

												30.5		65		45		28				104				132		0.7878787879								52				212				264		0.803030303				72				345				417		0.8273381295

												31.5		75		35		36				160				196		0.8163265306								32				272				304		0.8947368421				28				405				433		0.935334873

												32.5		85		25		12				164				176		0.9318181818								32				333				365		0.9123287671				72				469				541		0.8669131238

		Bias 250 V		Strip #		Centre		Distance		20 V		Local coord.						Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h		ideal				50 Volt		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h		200 Volts		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h				Volt scan		#115		Int 1		#116		Int 2		Total		Normalised		Norm Rout		Norm rzatio rout/total

				115		44		120				47.5		35		85		237				45				282		0.1595744681		0		0				396		-18		54				450		0.12				474		-31		41				515		0.0796116505				10		32		23		132		0		164		0.3326572008				0.1402439024

				116		56						48.5		45		75		209		0		54				263		0.2053231939		120		1				387		-13		59				446		0.1322869955				460		-41		45				505		0.0891089109				20		41		25		241		0		282		0.5720081136				0.0886524823

												49.5		55		65		128		13		54				182		0.2967032967								264				77				341		0.2258064516				360		-23		90				450		0.2				30		45		25		314		0		359		0.7281947262				0.069637883

												51		70		50		41		13		91				132										63		13		182				245						73		0		250				323		0.72				40		45		25		364		0		409		0.8296146045				0.0611246944

		#115		Amplitude		#116		Amplitude				51.5		75		45		77		41		173				250		0.692								91		18		360				451		0.7982261641				91		0		461				552		0.8351449275				50		36		18		400		-13		436		0.8843813387				0.0412844037

		42		506		54		483				52.5		85		35		54		30		214				268		0.7985074627								54		23		383				437		0.8764302059				32		-23		460				492		0.9349593496				60		25		0		419		-23		444		0.9006085193				0

		43		410		55		287				53.5		95		25		41		25		241				282		0.8546099291								36		18		400		-13		436		0.9174311927				27				460		-23		487		0.9445585216				80		27		0		442		-23		469		0.9513184584				0

		44		77		56		0																																																								100		27		0		446		-23		473		0.9594320487				0

		45		455		57		0																																																								150		23		0		455		-27		478		0.9695740365				0

		46		488		58		145																																																								200		27				460		-18		487		0.9878296146				0

						59		469																																																								300		23				470		-30		493		1				0





Irradiated (5) 

		Bias 250 V		Strip #		Centre		Distance		100 V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h		ideal				200 V		Pulse Left		Pulse Right		Pulse sum		h		300 V		Pulse Left		Pulse Right		Pulse sum		h				Volt scan		#13		#14		Total		Normalised						Strip #5		Volt scan		Normalised

				13		8.5		110				11		25		85		351		0		351		0		0		0				369		0		369		0				364		0		364		0				20		5		205		210		0.4338842975						10		140		0.2868852459

				14		19.5						12		35		75		387		0		387		0		110		1				414		0		414		0				414		0		414		0				30		5		273		278		0.5743801653						30		285		0.5840163934

												13		45		65		328		27		355		0.076056338								374		15		389		0.0385604113				383		24		407		0.058968059				40		54		323		377		0.7789256198						50		393		0.8053278689

												14		55		55		154		73		227		0.3215859031								164		59		223		0.264573991				173		68		241		0.2821576763				50		45		360		405		0.8367768595						70		434		0.8893442623

		#13		Amplitude		#14		Amplitude				15		65		45		54		223		277		0.8050541516								63		264		327		0.8073394495				82		278		360		0.7722222222				75		41		405		446		0.9214876033						100		454		0.9303278689

		6		364		17		351				16		75		35		36		378		414		0.9130434783								36		424		460		0.9217391304				32		424		456		0.9298245614				100		32		428		460		0.9504132231						150		468

		7		164		18		164				17		85		25		23		414		437		0.9473684211								23		460		483		0.9523809524				20		464		484		0.958677686				120		23		437		460		0.9504132231						200		485		0.993852459

		8		30		19		0																																												150		27		446		473		0.9772727273						300		488		1

		9		0		20		0																																												200		23		455		478		0.9876033058

		10		209		21		196																																												300		20		464		484		1

		11		370		22		392

		Bias 250 V		Strip #		Centre		Distance		50 V		Local coord.						(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				200 V		Pulse Left		Pulse Right		Pulse sum		h		300 V		Pulse Left		Pulse Right		Pulse sum		h				Volt scan		#33		#34		Total		Normalised

				13		4.8		112				8		32		80		31		334		71		405		0.175308642		0		0				427		-17		410		0				434		-17		417		0				10		48		97		145		0.3325688073				30		112		20		31		163

				14		16						9		42		70		34		317		51		368		0.1385869565		112		1				427		31		458		0.0676855895				458		24		482		0.0497925311				20		51		184		235		0.5389908257				50		157		31		41		229

												10		52		60		0		68		34		102		0.3333333333								89		37		126		0.2936507937				99		34		133		0.2556390977				30		54		263		317		0.7270642202				100		291		51		85		427

												11		62		50		0		65		195		260		0.75								61		266		327		0.8134556575				61		260		321		0.8099688474				50		37		345		382		0.876146789				130		372		58		103		533

		#33		Amplitude		#34		Amplitude				12		72		40		0		51		308		359		0.8579387187								34		413		447		0.9239373602				34		430		464		0.9267241379				75		27		389		416		0.9541284404				150		530		50		109		689

		2		445		13		451				13		82		30		0		37		342		379		0.9023746702								27		427		454		0.9405286344				10		447		457		0.9781181619				100		24		400		424		0.9724770642				200		567		44		65		676

		3		191		14		214																																														125		24		417		441		1.0114678899				250		605		31				636

		4		41		15		41																																														150		20		420		440		1.0091743119				300		612		31				643

		5		34		16		34																																														200		20		424		444		1.0183486239

		6		68		17		58																																														300		20		436		456		1.0458715596

		7		413		18		330

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.						#120		Int 1		#121		Int 2		#122		Int 3		Pulse sum		h		ideal				200 V		#120		Int 1		#121		Int 2		#122		Int 3		Pulse sum		h		400 V		#120		Int 1		#121		Int 2		#122		Int 3		Pulse sum		h						Volt scan		#120		Int 1		#121		Int 2		#122		Total		Normalised		Rout/total

				121		40		117				43		30		87		30		24		167		24		48		17		215		0.223255814		0		0				24		20		266		10		34		0		300		0.1133333333				10		0		372		-24		20		0		392		0.0510204082						50		0		0		61		0		24		85		0.2093596059		0

				122		51.7						44		40		77		24		15		140		31		54		117		194		0.2783505155		117		1				27		15		242		27		58		0		300		0.1933333333				0		0		376		-24		31		0		407		0.0761670762						100		20		0		106		0		34		140		0.3448275862		0

												45		50		67		24		20		99		37		65		0		164		0.3963414634								15		0		171		44		75		0		246		0.3048780488				10		0		311		0		75		0		386		0.1943005181						150		27		10		157		24		48		205		0.5049261084		0.0487804878

												47		70		47		0		0		58		41		95		0		153		0.6209150327								0		0		68		48		146		0		214		0.6822429907				0		0		61		17		270		0		331		0.8157099698						200		20		10		253		10		34		287		0.7068965517		0.0348432056

		#121		Amplitude		#122		Amplitude				48		80		37		0		0		65		41		143		10		208		0.6875								0		0		58		41		229		0		287		0.7979094077				0		0		34		0		366		-13		400		0.915						250		10		5		317		0		27		344		0.8472906404		0.0145348837

		38		345		49		366				49		90		27		0		0		51		34		157		0		208		0.7548076923								0		0		44		27		266		0		310		0.8580645161				0		0		27		0		376		-17		403		0.9330024814						300		0		0		349		0		31		380		0.9359605911		0

		39		37		50		201																																																																						350		0		0		362		-15		27		389		0.9581280788		0

		40		30		51		34																																																																						400		0		0		372		-17		34		406		1		0

		41		34		52		24																																																																						500		0		0		383		-20		27		410		1.0098522167		0

		42		195		53		58

		43		362		54		342

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.						(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				200 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		400 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h						Volt scan		#109		#110		Total		Normalised

				109		12.4		116				15		26		90		31		178		51		229		0.2227074236		0		0				15		280		24		304		0.0789473684						369		0		369		0						50		65		0		65		0.1747311828

				110		24						16		36		80		24		154		58		212		0.2735849057		116		1				24		263		41		304		0.1348684211						372		0		372		0						100		123		37		160		0.4301075269

												17		46		70		20		123		71		194		0.3659793814								30		215		71		286		0.2482517483						331		41		372		0.1102150538						150		171		51		222		0.5967741935

												19		66		50		0		68		95		163		0.5828220859								0		71		146		217		0.6728110599						58		242		300		0.8066666667						200		287		24		311		0.8360215054

		#109		Amplitude		#110		Amplitude				20		76		40		0		68		146		214		0.6822429907								0		58		242		300		0.8066666667						34		338		372		0.9086021505						250		334		0		334		0.8978494624

		10		308		21		291				21		86		30		0		58		167		225		0.7422222222								0		44		259		303		0.8547854785						0		345		345		1						300		351		0		351		0.9435483871

		11		37		22		208																																																				350		366		0		366		0.9838709677

		12		0		23		31																																																				400		372		0		372		1

		13		0		24		27																																																				500		383		0		383		1.0295698925

		14		225		25		31

		15		321		26		235

						27		285

		Bias 250 V		Strip #		Centre		Distance		100 V		Local coord.						(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				300 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		400 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h						Volt scan		#72		#73		Total		Normalised

				72		29.1		114				31.5		24		90				253		34		287		0.118466899		0		0						355		1		356		0.0028089888						0		0		0		0						25		44		20		64		0.170212766

				73		40.5						32.5		34		80				242		48		290		0.1655172414		114		1						386		1		387		0.0025839793																		50		95		41		136		0.3617021277

												33.5		44		70				150		78		228		0.3421052632										280		41		321		0.1277258567																		75		150		58		208		0.5531914894

												35.5		64		50				54		120		174		0.6896551724										51		222		273		0.8131868132																		100		240		51		291		0.7739361702

		#72		Amplitude		#73		Amplitude				36.5		74		40				68		215		283		0.7597173145										17		376		393		0.9567430025																		125		311		27		338		0.8989361702

		27		249		38		311				37.5		84		30				41		253		294		0.8605442177										1		386		387		0.9974160207																		150		342		10		352		0.9361702128

		28		71		39		106				38		89		25				41		249		290		0.8586206897										20		355		375		0.9466666667																		200		355		10		365		0.9707446809

		28.5		25		40		20																																																				300		376		0		376		1

		29		0		41		31																																																				400		383		0		383		1.0186170213

		30		58		42		154

		31		256		43		334

		Bias 250 V		Strip #		Centre		Distance		100 V		Local coord.						(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				150 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		300 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		200 V		Pulse Left		Pulse Right		Pulse sum		h		Volt scan		#92		#93		Total		Normalised

				92		37.8		116				40		22		94		20		146		41		187		0.2192513369		0		0						259		24		283		0.0848056537						352		1		353		0.0028328612				331		5		336		0.0148809524		50		65		10		75		0.2049180328

				93		49.4						41		32		84		20		140		44		184		0.2391304348		116		1						246		34		280		0.1214285714						369		1		370		0.0027027027				334		5		339		0.0147492625		75		95		10		105		0.2868852459

												42		42		74		24		112		51		163		0.3128834356										208		65		273		0.2380952381						355		1		356		0.0028089888				300		34		334		0.1017964072		100		129		27		156		0.4262295082

												44.5		67		49		0		68		89		157		0.5668789809										82		143		225		0.6355555556						65		256		321		0.7975077882				71		215		286		0.7517482517		125		167		27		194		0.5300546448

		#92		Amplitude		#93		Amplitude				45		72		44				71		103		174		0.591954023										78		198		276		0.7173913043						37		334		371		0.9002695418				54		291		345		0.8434782609		150		236		30		266		0.7267759563

		35		352		47		345				46		82		34				54		123		177		0.6949152542										54		236		290		0.8137931034						1		370		371		0.9973045822				41		328		369		0.8888888889		200		328		0		328		0.8961748634

		36		143		48		68				47		92		24				48		133		181		0.7348066298										48		259		307		0.8436482085						10		359		369		0.972899729				35		331		366		0.9043715847		250		355		0		355		0.9699453552

		37		17		49		0																																																										300		366		0		366		1

		38		17		49.5		0																																																										400		379		0		379		1.0355191257

		39		95		50		0

		40		325		51		116

						52		321

		Bias 250 V		Strip #		Centre		Distance		20 V		Local coord.						(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				50 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		200 V		Pulse Left		Pulse Right		Pulse sum		h								Volt scan		#32		#33		Total		Normalised

				32		43.2		108				45.5		23		85		24		188		30		218		0.1376146789		0		0				24		317		1		318		0.0031446541				400		1		401		0.0024937656								10		89		41		130		0.3147699758

				33		54						46.5		33		75		20		174		44		218		0.2018348624		108		1				20		325		10		335		0.0298507463				410		1		411		0.00243309								20		171		41		212		0.5133171913

												47.5		43		65		24		123		65		188		0.3457446809								20		242		54		296		0.1824324324				342		37		379		0.0976253298								30		232		34		266		0.6440677966

												49		58		50		0		41		58		99		0.5858585859										44		109		153		0.7124183007				51		164		215		0.7627906977								50		321		0		321		0.7772397094

		#32		Amplitude		#33		Amplitude				49.5		63		45				68		116		184		0.6304347826										68		212		280		0.7571428571				65		297		362		0.820441989								75		362		0		362		0.8765133172

		40		393		51		413				50.5		73		35				58		157		215		0.7302325581										44		297		341		0.8709677419				24		389		413		0.9418886199								100		383		0		383		0.9273607748

		41		181		52		291				51		78		30				48		164		212		0.7735849057										41		304		345		0.8811594203				15		393		408		0.9632352941								150		396		0		396		0.9588377724

		42		31		53		51																																																				200		413		0		413		1

		43		24		54		17																																																				300		420		0		420		1.0169491525

		44		80		55		50

		45		359		56		280

						57		403

		Bias 250 V		Strip #		Centre		Distance		50 V		Local coord.						(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				100 V		Pulse Left		Pulse Right		Pulse sum		h		300 V		Pulse Left		Pulse Right		Pulse sum		h										Volt scan		#53		#54		#55		#56		Total		Normalised

				54		39		110				42.5		35		75		24		259		37		296		0.125		0		0				352		1		353		0.0028328612				400		1		401		0.0024937656										10		13		27		41		13		68		0.17

				55		50						43		40		70		24		222		48		270		0.1777777778		110		1				331		1		332		0.0030120482				393		1		394		0.0025380711										25		20		61		109		20		170		0.425

												44		50		60		0		123		58		181		0.320441989								195		44		239		0.1841004184				239		41		280		0.1464285714										50				266		41				307		0.7675

												45.5		65		45		0		51		116		167		0.6946107784								42		178		220		0.8090909091				61		215		276		0.7789855072										75				334		14				348		0.87

		#54		Amplitude		#55		Amplitude				46		70		40				70		201		271		0.741697417								51		308		359		0.8579387187				51		355		406		0.8743842365										100				359		0				359		0.8975

		37		352		47		400				47		80		30				43		260		303		0.8580858086								17		355		372		0.9543010753				1		400		401		0.9975062344										150				372		0				372		0.93

		38		44		48		280																																																				200				383		0				383		0.9575

		39		27		49		41																																																				250				396		0				396		0.99

		40		51		50		20																																																				300				400		0				400		1

		41		266		51		51								512		63		575																																								400				406						406		1.015

		42		390		52		273

						53		410

		Bias 250 V		Strip #		Centre		Distance		50 V		Local coord.						(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				100 V		Pulse Left		Pulse Right		Pulse sum		h		250 V		Pulse Left		Pulse Right		Pulse sum		h										Volt scan		#64		#65		Total		Normalised

				63		1		120				4.5		35		85		37		161		65		226		0.2876106195		0		0				317		1		318		0.0031446541				376		1		377		0.0026525199										25		34		75		109		0.2632850242

				64		13						5.5		45		75		30		137		82		219		0.3744292237		120		1				297		54		351		0.1538461538				376		15		391		0.0383631714										50		55		164		219		0.5289855072

												6		50		70		0		123		78		201		0.3880597015								249		58		307		0.1889250814				325		41		366		0.1120218579										75		37		290		327		0.7898550725

												7.5		65		55		0		38		51		89		0.5730337079								40		106		146		0.7260273973				51		129		180		0.7166666667										100		27		330		357		0.8623188406

		#63		Amplitude		#64		Amplitude				8		70		50				71		103		174		0.591954023								61		242		303		0.798679868				58		300		358		0.8379888268										150		27		359		386		0.9323671498

		-1		352		10		400				9		80		40				75		143		218		0.6559633028								41		325		366		0.8879781421				31		372		403		0.9230769231										200		24		372		396		0.9565217391

		0		44		11		280				10		90		30				51		164		215		0.7627906977								34		334		368		0.9076086957				20		389		409		0.9511002445										250		20		379		399		0.9637681159

		1		27		12		41																																																				300		24		382		406		0.9806763285

		2		51		13		20																																																				350		24		390		414		1

		3		266		14		51

		4		390		15		273





Irr. corr (5)

		Bias 250 V		Strip #		Centre		Distance		100 V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h		ideal				200 V		Pulse Left		Pulse Right		Pulse sum		h		300 V		Pulse Left		Pulse Right		Pulse sum		h				Volt scan		#13		#14		Total		Normalised						Strip #5		Volt scan		Normalised

				13		8.5		110				11		25		85		351		17		368		0.0461956522		0		0				369		17		386		0.0440414508				364		17		381		0.0446194226				20		5		205		210		0.4338842975						10		140		0.2868852459

				14		19.5						12		35		75		387		24		411		0.0583941606		110		1				414		24		438		0.0547945205				414		24		438		0.0547945205				30		5		273		278		0.5743801653						30		285		0.5840163934

												13		45		65		328		54		382		0.1413612565								374		55		429		0.1282051282				383		48		431		0.1113689095				40		54		323		377		0.7789256198						50		393		0.8053278689

												14		55		55		154		73		227		0.3215859031								164		59		223		0.264573991				173		68		241		0.2821576763				50		45		360		405		0.8367768595						70		434		0.8893442623

		#13		Amplitude		#14		Amplitude				15		65		45		54		223		277		0.8050541516								63		264		327		0.8073394495				82		278		360		0.7722222222				75		41		405		446		0.9214876033						100		454		0.9303278689

		6		364		17		351				16		75		35		36		378		414		0.9130434783								36		424		460		0.9217391304				32		424		456		0.9298245614				100		32		428		460		0.9504132231						150		468

		7		164		18		164				17		85		25		23		414		437		0.9473684211								23		460		483		0.9523809524				20		464		484		0.958677686				120		23		437		460		0.9504132231						200		485		0.993852459

		8		30		19		0																																												150		27		446		473		0.9772727273						300		488		1

		9		0		20		0																																												200		23		455		478		0.9876033058

		10		209		21		196																																												300		20		464		484		1

		11		370		22		392

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.						#120		Int 1		#121		Int 2		#122		Int 3		Pulse sum		h		ideal				200 V		#120		Int 1		#121		Int 2		#122		Int 3		Pulse sum		h		400 V		#120		Int 1		#121		Int 2		#122		Int 3		Pulse sum		h						Volt scan		#120		Int 1		#121		Int 2		#122		Total		Normalised

				121		40		117				43		30		87		30		24		167		24		48		17		215		0.223255814		0		0				24		20		266		10		34		0		300		0.1133333333				10		0		372		-24		20		0		392		0.0510204082						50		0		0		61		0		24		85		0.2093596059

				122		51.7						44		40		77		24		15		140		31		54		117		194		0.2783505155		117		1				27		15		242		27		58		0		300		0.1933333333				0		0		376		-24		31		0		407		0.0761670762						100		20		0		106		0		34		140		0.3448275862

												45		50		67		24		20		99		37		65		0		164		0.3963414634								15		0		171		44		75		0		246		0.3048780488				10		0		311		0		75		0		386		0.1943005181						150		27		10		157		24		48		205		0.5049261084

												47		70		47		0		0		58		41		95		0		153		0.6209150327								0		0		68		48		146		0		214		0.6822429907				0		0		61		17		270		0		331		0.8157099698						200		20		10		253		10		34		287		0.7068965517

		#121		Amplitude		#122		Amplitude				48		80		37		0		0		65		41		143		10		208		0.6875								0		0		58		41		229		0		287		0.7979094077				0		0		34		0		366		-13		400		0.915						250		10		5		317		0		27		344		0.8472906404

		38		345		49		366				49		90		27		0		0		51		34		157		0		208		0.7548076923								0		0		44		27		266		0		310		0.8580645161				0		0		27		0		376		-17		403		0.9330024814						300		0		0		349		0		31		380		0.9359605911

		39		37		50		201																																																																						350		0		0		362		-15		27		389		0.9581280788

		40		30		51		34																																																																						400		0		0		372		-17		34		406		1

		41		34		52		24																																																																						500		0		0		383		-20		27		410		1.0098522167

		42		195		53		58

		43		362		54		342

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.						(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				200 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		400 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h						Volt scan		#109		#110		Total		Normalised

				109		12.4		116				15		26		90		31		178		51		229		0.2227074236		0		0				15		280		24		304		0.0789473684						369		15		384		0.0390625						50		65		0		65		0.1747311828

				110		24						16		36		80		24		154		58		212		0.2735849057		116		1				24		263		41		304		0.1348684211						372		24		396		0.0606060606						100		123		37		160		0.4301075269

												17		46		70		20		123		71		194		0.3659793814								30		215		71		286		0.2482517483						331		41		372		0.1102150538						150		171		51		222		0.5967741935

												19		66		50		0		68		95		163		0.5828220859								0		71		146		217		0.6728110599						58		242		300		0.8066666667						200		287		24		311		0.8360215054

		#109		Amplitude		#110		Amplitude				20		76		40		0		68		146		214		0.6822429907								0		58		242		300		0.8066666667						34		338		372		0.9086021505						250		334		0		334		0.8978494624

		10		308		21		291				21		86		30		0		58		167		225		0.7422222222								0		44		259		303		0.8547854785						15		345		360		0.9583333333						300		351		0		351		0.9435483871

		11		37		22		208																																																				350		366		0		366		0.9838709677

		12		0		23		31																																																				400		372		0		372		1

		13		0		24		27																																																				500		383		0		383		1.0295698925

		14		225		25		31

		15		321		26		235

						27		285

		Bias 250 V		Strip #		Centre		Distance		100 V		Local coord.						(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				300 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		400 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h						Volt scan		#72		#73		Total		Normalised

				72		29.1		114				31.5		24		90				253		34		287		0.118466899		0		0						355		14		369		0.0379403794						0		0		0		0						25		44		20		64		0.170212766

				73		40.5						32.5		34		80				242		48		290		0.1655172414		114		1						386		25		411		0.0608272506																		50		95		41		136		0.3617021277

												33.5		44		70				150		78		228		0.3421052632										280		56		336		0.1666666667																		75		150		58		208		0.5531914894

												35.5		64		50				54		120		174		0.6896551724										51		222		273		0.8131868132																		100		240		51		291		0.7739361702

		#72		Amplitude		#73		Amplitude				36.5		74		40				68		215		283		0.7597173145										17		376		393		0.9567430025																		125		311		27		338		0.8989361702

		27		249		38		311				37.5		84		30				41		253		294		0.8605442177										1		386		387		0.9974160207																		150		342		10		352		0.9361702128

		28		71		39		106				38		89		25				41		249		290		0.8586206897										20		355		375		0.9466666667																		200		355		10		365		0.9707446809

		28.5		25		40		20																																																				300		376		0		376		1

		29		0		41		31																																																				400		383		0		383		1.0186170213

		30		58		42		154

		31		256		43		334

		Bias 250 V		Strip #		Centre		Distance		100 V		Local coord.						(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				150 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		300 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		200 V		Pulse Left		Pulse Right		Pulse sum		h		Volt scan		#92		#93		Total		Normalised

				92		37.8		116				40		22		94		20		146		41		187		0.2192513369		0		0						259		24		283		0.0848056537						352		15		367		0.0408719346				331		20		351		0.056980057		50		65		10		75		0.2049180328

				93		49.4						41		32		84		20		140		44		184		0.2391304348		116		1						246		34		280		0.1214285714						369		27		396		0.0681818182				334		29		363		0.0798898072		75		95		10		105		0.2868852459

												42		42		74		24		112		51		163		0.3128834356										208		65		273		0.2380952381						355		36		391		0.0920716113				300		55		355		0.1549295775		100		129		27		156		0.4262295082

												44.5		67		49		0		68		89		157		0.5668789809										82		143		225		0.6355555556						65		256		321		0.7975077882				71		215		286		0.7517482517		125		167		27		194		0.5300546448

		#92		Amplitude		#93		Amplitude				45		72		44				71		103		174		0.591954023										78		198		276		0.7173913043						37		334		371		0.9002695418				54		291		345		0.8434782609		150		236		30		266		0.7267759563

		35		352		47		345				46		82		34				54		123		177		0.6949152542										54		236		290		0.8137931034						1		370		371		0.9973045822				41		328		369		0.8888888889		200		328		0		328		0.8961748634

		36		143		48		68				47		92		24				48		133		181		0.7348066298										48		259		307		0.8436482085						10		359		369		0.972899729				35		331		366		0.9043715847		250		355		0		355		0.9699453552

		37		17		49		0																																																										300		366		0		366		1

		38		17		49.5		0																																																										400		379		0		379		1.0355191257

		39		95		50		0

		40		325		51		116

						52		321

		Bias 250 V		Strip #		Centre		Distance		20 V		Local coord.						(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				50 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		200 V		Pulse Left		Pulse Right		Pulse sum		h								Volt scan		#32		#33		Total		Normalised

				32		43.2		108				45.5		23		85		24		188		30		218		0.1376146789		0		0				24		317		14		331		0.0422960725				400		15		415		0.0361445783								10		89		41		130		0.3147699758

				33		54						46.5		33		75		20		174		44		218		0.2018348624		108		1				20		325		30		355		0.0845070423				410		25		435		0.0574712644								20		171		41		212		0.5133171913

												47.5		43		65		24		123		65		188		0.3457446809								20		242		74		316		0.2341772152				342		37		379		0.0976253298								30		232		34		266		0.6440677966

												49		58		50		0		41		58		99		0.5858585859										44		109		153		0.7124183007				51		164		215		0.7627906977								50		321		0		321		0.7772397094

		#32		Amplitude		#33		Amplitude				49.5		63		45				68		116		184		0.6304347826										68		212		280		0.7571428571				65		297		362		0.820441989								75		362		0		362		0.8765133172

		40		393		51		413				50.5		73		35				58		157		215		0.7302325581										44		297		341		0.8709677419				24		389		413		0.9418886199								100		383		0		383		0.9273607748

		41		181		52		291				51		78		30				48		164		212		0.7735849057										41		304		345		0.8811594203				15		393		408		0.9632352941								150		396		0		396		0.9588377724

		42		31		53		51																																																				200		413		0		413		1

		43		24		54		17																																																				300		420		0		420		1.0169491525

		44		80		55		50

		45		359		56		280

						57		403

		Bias 250 V		Strip #		Centre		Distance		50 V		Local coord.						(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				100 V		Pulse Left		Pulse Right		Pulse sum		h		300 V		Pulse Left		Pulse Right		Pulse sum		h										Volt scan		#53		#54		#55		#56		Total		Normalised

				54		39		110				42.5		35		75		24		259		37		296		0.125		0		0				352		15		367		0.0408719346				400		17		417		0.0407673861										10		13		27		41		13		68		0.17

				55		50						43		40		70		24		222		48		270		0.1777777778		110		1				331		25		356		0.0702247191				393		29		422		0.0687203791										25		20		61		109		20		170		0.425

												44		50		60		0		123		58		181		0.320441989								195		55		250		0.22				239		61		300		0.2033333333										50				266		41				307		0.7675

												45.5		65		45		0		51		116		167		0.6946107784								42		178		220		0.8090909091				61		215		276		0.7789855072										75				334		14				348		0.87

		#54		Amplitude		#55		Amplitude				46		70		40				70		201		271		0.741697417								51		308		359		0.8579387187				51		355		406		0.8743842365										100				359		0				359		0.8975

		37		352		47		400				47		80		30				43		260		303		0.8580858086								17		355		372		0.9543010753				1		400		401		0.9975062344										150				372		0				372		0.93

		38		44		48		280																																																				200				383		0				383		0.9575

		39		27		49		41																																																				250				396		0				396		0.99

		40		51		50		20																																																				300				400		0				400		1

		41		266		51		51								512		63		575																																								400				406						406		1.015

		42		390		52		273

						53		410

		Bias 250 V		Strip #		Centre		Distance		50 V		Local coord.						(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				100 V		Pulse Left		Pulse Right		Pulse sum		h		250 V		Pulse Left		Pulse Right		Pulse sum		h										Volt scan		#64		#65		Total		Normalised

				63		1		120				4.5		35		85		37		161		65		226		0.2876106195		0		0				317		15		332		0.0451807229				376		15		391		0.0383631714										25		34		75		109		0.2632850242

				64		13						5.5		45		75		30		137		82		219		0.3744292237		120		1				297		50		347		0.144092219				376		39		415		0.0939759036										50		55		164		219		0.5289855072

												6		50		70		0		123		78		201		0.3880597015								249		54		303		0.1782178218				325		61		386		0.1580310881										75		37		290		327		0.7898550725

												7.5		65		55		0		38		51		89		0.5730337079								40		106		146		0.7260273973				51		129		180		0.7166666667										100		27		330		357		0.8623188406

		#63		Amplitude		#64		Amplitude				8		70		50				71		103		174		0.591954023								61		242		303		0.798679868				58		300		358		0.8379888268										150		27		359		386		0.9323671498

		-1		352		10		400				9		80		40				75		143		218		0.6559633028								41		325		366		0.8879781421				31		372		403		0.9230769231										200		24		372		396		0.9565217391

		0		44		11		280				10		90		30				51		164		215		0.7627906977								34		334		368		0.9076086957				20		389		409		0.9511002445										250		20		379		399		0.9637681159

		1		27		12		41																																																				300		24		382		406		0.9806763285

		2		51		13		20																																																				350		24		390		414		1

		3		266		14		51

		4		390		15		273





Irr. corr (5)

		0		1		0

		0				0

		0				0

		0				0

		0				0

		0				0

		0				0

		0				0

		0

		0



0

1

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



Irr. corr. (6)

		

		Vfd

		Normalised		10		30		50		70		120

		50		0.2016		0.2		0.1500938086		0.1529411765		0.2610294118

		100		0.3248		0.2585365854		0.3114446529		0.3025210084		0.4393382353

		150		0.4832		0.4170731707		0.4671669794		0.4352941176		0.8088235294

		200		0.656		0.6		0.6303939962		0.6268907563		0.9227941176

		250		0.8032		0.8097560976		0.8105065666		0.7613445378		0.9430147059

		300		0.9104		0.856097561		0.8780487805		0.8789915966		0.9411764706

		350		0.928		0.8902439024		0.9099437148		0.9176470588		0.9724264706

		400		0.9696		0.9268292683		0.9230769231		0.9193277311		0.9852941176

		500		1		1		1		1		1

		Strip #		VFD

		10

		30

		50

		70

		120

		Eta scan		#10		#11

								D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		Norm. pulse

								20		90		239		62		301		0.2059800664		0		0				20		90		409		59		468		0.1260683761		0.6688888889

								30		80		350		76		426		0.1784037559		110		1				30		80		582		32		614		0.0521172638		0.9466666667

								40		70		298		104		402		0.2587064677								40		70		520		60		580		0.1034482759		0.8933333333

								50		60		149		83		232		0.3577586207								50		60		270		76		346		0.2196531792		0.5155555556

								60		50		90		152		242		0.6280991736								60		50		100		281		381		0.7375328084		0.5377777778

								70		40		118		291		409		0.7114914425								70		40		80		544		624		0.8717948718		0.9088888889

								80		30		94		357		451		0.7915742794								80		30		55		564		619		0.9111470113		1.0022222222

								90		20		80		277		357		0.7759103641								90		20		76		447		523		0.8546845124		0.7933333333

				#30		#31		200 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		Norm. pulse

										20		90		114		61		175		0.3485714286		0		0				20		90		195		58		253		0.2292490119		0.6730769231

										30		80		168		47		215		0.2186046512		110		1				30		80		309		15		324		0.0462962963		0.8269230769

										40		70		160		75		235		0.3191489362								40		70		328		27		355		0.076056338		0.9038461538

										50		60		95		73		168		0.4345238095								50		60		161		58		219		0.2648401826		0.6461538462

										60		50		39		65		104		0.625								60		50		56		91		147		0.619047619		0.4

										70		40		58		147		205		0.7170731707								70		40		51		303		354		0.8559322034		0.7884615385

										80		30		52		203		255		0.7960784314								80		30		15		372		387		0.9612403101		0.9807692308

										90		20		42		198		240		0.825								90		20		10		367		377		0.9734748011		0.9230769231

				#50		#51		200 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		Norm. pulse

										20		90		253		45		298		0.1510067114		0		0				20		90		429		24		453		0.0529801325		0.903030303

										30		80		225		55		280		0.1964285714		110		1				30		80		423		32		455		0.0703296703		0.8484848485

										40		70		177		86		263		0.3269961977								40		70		385		72		457		0.1575492341		0.796969697

										50		60		0		0		0										50		60		0		0		0		0		0

										60		50		62		128		190		0.6736842105								60		50		69		267		336		0.7946428571		0.5757575758

										70		40		83		232		315		0.7365079365								70		40		42		461		503		0.916500994		0.9545454545

										80		30		52		277		329		0.8419452888								80		30		28		461		489		0.9427402863		0.996969697

										90		20		55		270		325		0.8307692308								90		20		24		468		492		0.9512195122		0.9848484848

				#70		#71		200 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		Norm. pulse

										20		95		263		55		318		0.1729559748		0		0				20		95		395		59		454		0.1299559471		0.7066666667

										30		85		374		42		416		0.1009615385		115		1				30		85		547		20		567		0.0352733686		0.9244444444

										40		75		315		76		391		0.1943734015								40		75		550		38		588		0.0646258503		0.8688888889

										50		65		121		55		176		0.3125								50		65		204		58		262		0.2213740458		0.3911111111

										60		55		48		50		98		0.5102040816								60		55		59		83		142		0.5845070423		0.2177777778

										70		45		114		253		367		0.689373297								70		45		66		499		565		0.8831858407		0.8155555556

										80		35		76		333		409		0.8141809291								80		35		38		561		599		0.9365609349		0.9088888889

										90		25		66		381		447		0.8523489933								90		25		34		513		547		0.9378427788		0.9933333333

				#120		#121		200 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		Norm. pulse

										20		100		346		121		467		0.2591006424		0		0				20		100		377		135		512		0.263671875		0.6867647059

										30		90		616		59		675		0.0874074074		115		1				30		90		682		48		730		0.0657534247		0.9926470588

										40		80		616		62		678		0.0914454277								40		80		665		52		717		0.0725244073		0.9970588235

										50		70		308		55		363		0.1515151515								50		70		385		66		451		0.1463414634		0.7117647059

										60		60		59		59		118		0.5								60		60		66		66		132		0.5		0.231372549

										70		50		90		360		450		0.8								70		50		86		450		536		0.8395522388		0.8823529412

										80		40		59		450		509		0.884086444								80		40		42		520		562		0.9252669039		0.9980392157

										90		30		38		468		506		0.9249011858								90		30		28		523		551		0.9491833031		0.9921568627

				Sample of metal strip scan

		#10		#10		Amplitude		Norm. ampl.

		25.5		0		491		0.982

		26		5		376		0.752

		26.5		10		173		0.346

		27.5		20		0		0

		28		25		0		0

		28.5		30		0		0

		29.5		40		108.6		0.2172

		30		45		310		0.62

		30.5		50		472		0.944

		Strip		#90		#91		200 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		Pulse Left		Pulse Right		Pulse sum		h

										38		30		87.5		329		38		367		0.1035422343		0		0				436		14		450		0.0311111111

										39		40		77.5		281		69		350		0.1971428571		117.5		1				433		25		458		0.0545851528

										40		50		67.5		142		83		225		0.3688888889								235		76		311		0.2443729904

										41		60		57.5		52		86		138		0.6231884058								38		136		174		0.7816091954

										42		70		47.5		94		274		368		0.7445652174								48		485		533		0.9099437148

										43		80		37.5		48		385		433		0.8891454965								0		526		526		1

										44		90		27.5		38		402		440		0.9136363636								0		523		523		1

		Strip #		150 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				200 V		Pulse Left		Pulse Right		Pulse sum		h		400 V		Pulse Left		Pulse Right		Pulse sum		h

		100				24		30		85		276		71		347		0.204610951		0		0				405		25		430		0.0581395349				509		24		533		0.0450281426

		101				25		40		75		233		104		337		0.3086053412		115		1				388		74		462		0.1601731602				516		38		554		0.0685920578

						26		50		65		91		57		148		0.3851351351								142		54		196		0.2755102041				219		62		281		0.2206405694

						27		60		55		51		67		118		0.5677966102								64		101		165		0.6121212121				67		148		215		0.688372093

						28		70		45		121		202		323		0.6253869969								111		317		428		0.7406542056				61		476		537		0.886405959

						29		80		35		91		250		341		0.7331378299								71		385		456		0.8442982456				37		496		533		0.9305816135

						30		90		25		74		290		364		0.7967032967								57		425		482		0.8817427386				34		519		553		0.938517179

		New 0 position

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.						#119		Int 1		#120				#121		Int 3		#122		Sum		h		Ideal				200 V		Local coord.						#119		Int 1		#120				#121		Int 3		#122		Sum		h		400 V		Local coord.						#119		Int 1		#120				#121		Int 3		#122		Sum		h

				120		22.2		118				25		28		90		32		0		333		23		50		0		0		383		0.1305483029		0		0				25		250		-250		13		0		396		-13		35		0		0		431		0.0812064965				25		250		-250		10		0		469		-23		32		0		0		501		0.0638722555

				121		34						26		38		80		32		0		314		30		54		0		0		368		0.1467391304		118		1				26		260		-260		23		0		424		-13		36		0		0		460		0.0782608696				26		260		-260		0		0		469		-27		30		0		0		499		0.0601202405

												27		48		70		27		0		259		54		86		0		13		345		0.2492753623								27		270		-270		0		0		387		23		68		0		0		455		0.1494505495				27		270		-270		0		0		492		-23		63		0		0		555		0.1135135135

												28		58		60		0		0		41		0		27		0		0		68		0.3970588235								28		280		-280		0		0		59		0		41		0		0		100		0.41				28		280		-280		0		0		77		0		45		0		0		122		0.368852459

		#121		Ampitude		#121		Amplitude				29		68		50		18		0		68		41		132		0		32		200		0.66								29		290		-290		0		0		59		32		178		0		0		237		0.7510548523				29		290		-290		0		0		73		18		273		0		32		346		0.789017341

		20		483		32		451				30		78		40		18		0		86		68		264		0		27		350		0.7542857143								30		300		-300		0		0		50		10		506		-18		0		556		0.9100719424				30		300		-300		0		0		50		10		506		-18		0		556		0.9100719424

		21		86		33		54				31		88		30		0				63		50		342		0		32		405		0.8444444444								31		310		-310		0		0		41		18		428		-23		18		469		0.9125799574				31		310		-310		0		0		36		0		496		-23		18		532		0.9323308271

		22		45		34		32

		23		23		35		45				Estimated strip width:

		24		154		36		387				35 µm

		25		470





Irr. corr. (6)

		



200 Volts

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #650-651



Irradiated (6)

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.						Pulse 24		Pulse 25		Pulse sum		h		ideal				400 V		Local coord.						Pulse 24		Pulse 25		Pulse sum		h

				24		22.2		120				24.5		23		97		589		98		687		0.1426491994		0		0				24.5		23		97		841		0		841		0

				25		34.2						25.5		33		87		663		135		798		0.1691729323		120		1				25.5		33		87		892		0		892		0

												26.5		43		77		565		140		705		0.1985815603								26.5		43		77		841		61		902		0.0676274945

												27.5		53		67		425		233		658		0.3541033435								27.5		53		67		715		332		1047		0.3170964661

		#24		Amplitude		#25		Amplitude				28		58		62		388		318		706		0.4504249292								28		58		62		607		514		1121		0.4585191793

		20.5		715		32		738				28.5		63		57		322		388		710		0.5464788732								28.5		63		57		402		691		1093		0.6322049405

		21		579		32.5		663				29.5		73		47		196		520		716		0.7262569832								29.5		73		47		135		888		1023		0.8680351906

		21.5		462		33		486				30.5		83		37		201		645		846		0.7624113475								30.5		83		37		140		906		1046		0.8661567878

		22		374		33.5		402				31.5		93		27		140		551		691		0.7973950796								31.5		93		27		112		850		962		0.8835758836

		22.5		340		34		336				32		98		22		112		490		602		0.8139534884								32		98		22		98		771		869		0.8872266974

		23		416		34.5		327

		23.5		551		35		378

		24		631		35.5		462

		24.5		757		36		603

						36.5		705

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D39		D40		Pulse 39		Pulse 40		Pulse sum		h		ideal				400 V		Local coord.		D39		D40		Pulse 39		Pulse 40		Pulse sum		h

				39		38.5		120				41		25		95		537		98		635		0.1543307087		0		0				41		25		95		818		0		818		0

				40		50.5						42		35		85		598		159		757		0.2100396301		120		1				42		35		85		850		0		850		0

												43		45		75		495		159		654		0.2431192661								43		45		75		780		60		840		0.0714285714

												44		55		65		378		290		668		0.4341317365								44		55		65		663		397		1060		0.3745283019

		#39		Amplitude		#40		Amplitude				45		65		55		252		411		663		0.6199095023								45		65		55		360		673		1033		0.651500484

		37.5		446		49.5		474				46		75		45		168		547		715		0.765034965								46		75		45		126		892		1018		0.8762278978

		38.5		265		50.5		339				47		85		35		173		659		832		0.7920673077								47		85		35		103		897		1000		0.897

		39		274		51		367				48		95		25		135		603		738		0.8170731707								48		95		25		89		836		925		0.9037837838

		39.5		395		51.5		442				49		105		15		84		406		490		0.8285714286								49		105		15		84		682		766		0.8903394256

		40.5		553		52.5		679				50		115		5		70		276		346		0.7976878613								50		115		5		65		462		527		0.8766603416

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D64		D65		Pulse 64		Pulse 65		Pulse sum		h		ideal				400 V		Local coord.		D64		D65		Pulse 64		Pulse 65		Pulse sum		h

				64		38		118				39.5		15		103		509		84		593		0.1416526138		0		0				39.5		15		103		761		0		761		0

				65		49.8						40.5		25		93		738		135		873		0.1546391753		120		1				40.5		25		93		836		0		836		0

												41.5		35		83		715		135		850		0.1588235294								41.5		35		83		888		0		888		0

												42.5		45		73		593		206		799		0.2578222778								42.5		45		73		803		177		980		0.5581632653

		#64		Amplitude		#65		Amplitude				43.5		55		63		472		383		855		0.4479532164								43.5		55		63		654		547		1201		0.6378018318

		37		458		48.5		537				44.5		65		53		313		530		843		0.6287069988								44.5		65		53		318		766		1084		0.7066420664

		38		322		49.5		322				45.5		75		43		219		696		915		0.7606557377								45.5		75		43		126		902		1028		0.8774319066

		38.5		472		50		332				46.5		85		33		224		748		972		0.7695473251								46.5		85		33		131		916		1047		0.8748806113

		39		579		50.5		411				47.5		95		23		135		589		724		0.8135359116								47.5		95		23		98		813		911		0.8924259056

		40		813		51.5		705				48		100		18		121		514		635		0.8094488189								48		100		18		107		733		840		0.8726190476

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D85		D86		Pulse 85		Pulse 86		Pulse sum		h		ideal				400 V		Local coord.		D85		D86		Pulse 85		Pulse 86		Pulse sum		h		h-1

				85		46.5		120				47		5		115		472		89		561		0.8413547237		0		0				47		5		115		551		65		616		0.1055194805		0.8944805195

				86		58.5						48		15		105		705		89		794		0.8879093199		120		1				48		15		105		813		51		864		0.0590277778		0.9409722222

												49		25		95		864		117		981		0.880733945								49		25		95		920		0		920		0		1

												50		35		85		874		187		1061		0.8237511781								50		35		85		911		70		981		0.0713557594		0.9286442406

		#85		Amplitude		#86		Amplitude				51		45		75		799		201		1000		0.799								51		45		75		897		107		1004		0.1065737052		0.8934262948

		45		654		57		663				52		55		65		645		486		1131		0.5702917772								52		55		65		780		589		1369		0.4302410519		0.5697589481

		46		462		58		504				53		65		55		430		705		1135		0.3788546256								53		65		55		453		794		1247		0.6367281476		0.3632718524

		46.5		486		58.5		477				54		75		45		248		813		1061		0.2337417531								54		75		45		126		874		1000		0.874		0.126

		47		598		59		598				55		85		35		266		860		1126		0.2362344583								55		85		35		131		883		1014		0.8708086785		0.1291913215

		48		775		60		813				56		95		25		149		771		920		0.1619565217								56		95		25		107		845		952		0.887605042		0.112394958

												57		105		15		112		654		766		0.1462140992								57		105		15		93		705		798		0.8834586466		0.1165413534

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D85		D86		Pulse 85		Pulse 86		Pulse sum		h		ideal				Local coord.		D85		D86		Pulse 85		Pulse 86		Pulse sum		h

				120		25.5		120				27.5		20		100		472		89		561		0.1586452763		0		0		27.5		20		100		845		210		1055		0.1990521327

				121		37.5						28.5		30		90		705		89		794		0.1120906801		120		1		28.5		30		90		892		173		1065		0.1624413146

												29.5		40		80		864		117		981		0.119266055						29.5		40		80		916		177		1093		0.1619396157

												30.5		50		70		874		187		1061		0.1762488219						30.5		50		70		850		570		1420		0.4014084507

		#120		Amplitude		#121		Amplitude				31.5		60		60		799		201		1000		0.201						31.5		60		60		640		827		1467		0.5637355147

		24.5		719		36		794				32.5		70		50		645		486		1131		0.4297082228						32.5		70		50		187		900		1087		0.8279668813

		25.5		369		37		519				33.5		80		40		430		705		1135		0.6211453744						33.5		80		40		112		920		1032		0.8914728682

		26		561		37.5		481				34.5		90		30		248		813		1061		0.7662582469						34.5		90		30		177		911		1088		0.8373161765

		26.5		794		38		757				35.5		100		20		266		860		1126		0.7637655417						35.5		100		20		154		855		1009		0.8473736373

		27.5		902		39		888				36.5		110		10		635		771		1406		0.5483641536						36.5		110		10		168		673		841		0.8002378121

				Strip numbers																																																														Normalised

		Bias		24		25		total		39		40		total		64		65		total		84		85		86		87		total		total		64		65		total		99		100		total		73		74		total		120		121		total										1		2		3		4		5		6		7

		50		173		56		229		32		140		172		79		187		266		51		191		149		42		433		340		139		354		493		163		189		352		200		88		288		453		173		626										0.257751938		0.2470978441		0.2458423717		0.3912698413		0.2693190513		0.24		0.5424610052

		100		257		61		318		70		257		327		159		378		537		70		330		257		56		713		587		232		604		836		316		373		689		421		201		622		719		383		1102										0.5203488372		0.4262023217		0.424439624		0.6634920635		0.5271614384		0.5183333333		0.9549393414

		150		402		93		495		117		411		528		210		532		742		100		514		402		75		1091		916		378		796		1174		426		516		942		593		294		887		934		229		1163										0.7189922481		0.6666666667		0.6623282719		0.9317460317		0.7207345065		0.7391666667		1.0077989601

		200		589		98		687		131		589		720		219		719		938		75		659		467		47		1248		1126		378		889		1267		479		612		1091		779		255		1034		953		223		1176										0.9089147287		0.7744610282		0.8141720897		1.0055555556		0.8347360367		0.8616666667		1.0190641248

		250		748		0		748		112		743		855		191		818		1009		60		743		519		32		1354		1262		308		941		1249		506		699		1205		950		245		1195		948		238		1186										0.9777131783		0.8606965174		0.9125090383		0.9912698413		0.921958684		0.9958333333		1.027729636

		300		775		0		775		98		813		911		159		892		1051		51		771		551				1373		1322		250		994		1244		516		742		1258		1000		167		1167		948		215		1163										1.0184108527		0.9137645108		0.9558929863		0.9873015873		0.9625095639		0.9725		1.0077989601

		350		803		0		803		89		841		930		145		888		1033		37		743		547				1327		1290		221		1017		1238		512		742		1254		1053		167		1220		939		206		1145										1.0009689922		0.9071310116		0.9327548807		0.9825396825		0.9594491201		1.0166666667		0.9922010399

		400		841		0		841		89		892		981		140		888		1028		32		743		542				1317		1285		221		1029		1250		516		745		1261		1063		176		1239		950		238		1188										0.996124031		0.8988391376		0.9291395517		0.9920634921		0.9648048967		1.0325		1.0294627383

		500		860		0		860		84		850		934		154		878		1032		47		780		603				1430		1383		220		1040		1260		522		785		1307		1063		137		1200		944		210		1154										1		1		1		1		1		1		1

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D64		D65		Pulse 64		Pulse 65		Pulse sum		h		ideal				Local coord.		D64		D65		Pulse 64		Pulse 65		Pulse sum		h

				64		41		120				43		20		100		901		198		1099		0.1801637853		0		0		43		20		100		994		157		1151		0.1364031277

				65		53						44		30		90		930		343		1273		0.2694422624		120		1		44		30		90		1000		190		1190		0.1596638655

												45		40		80		901		337		1238		0.2722132472						45		40		80		970		180		1150		0.1565217391

												46		50		70		773		529		1302		0.4062980031						46		50		70		901		575		1476		0.3895663957

		#64		Amplitude		#65		Amplitude				47		60		60		616		755		1371		0.5506929249						47		60		60		762		883		1645		0.5367781155

		39		889		51		906				48		70		50		424		860		1284		0.6697819315						48		70		50		256		947		1203		0.78719867

		40		703		52		726				49		80		40		420		959		1379		0.6954314721						49		80		40		186		988		1174		0.8415672913

		40.5		453		52.5		465				50		90		30		325		912		1237		0.7372675829						50		90		30		192		994		1186		0.8381112985

		41		395		53		424				51		100		20		227		831		1058		0.7854442344						51		100		20		180		924		1104		0.8369565217

		42		837		54		813

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D99		D100		Pulse 99		Pulse 100		Pulse sum		h		ideal				Local coord.		D99		D100		Pulse 99		Pulse 100		Pulse sum		h

				99		4		120				6		20		100		872		86		958		0.0897703549		0		0		6		20		100		908		0		908		0

				100		16						7		30		90		902		140		1042		0.1343570058		120		1		7		30		90		942		23		965		0.0238341969

												8		40		80		855		133		988		0.1346153846						8		40		80		918		43		961		0.0447450572

												9		50		70		722		100		822		0.1216545012						9		50		70		815		403		1218		0.3308702791

		#99		Amplitude		#100		Amplitude				10		60		60		532		652		1184		0.5506756757						10		60		60		549		745		1294		0.5757341577

		2		832		14		772				11		70		50		270		785		1055		0.7440758294						11		70		50		130		892		1022		0.8727984344

		3		691		15		562				12		80		40		226		888		1114		0.7971274686						12		80		40		86		945		1031		0.916585839

		3.5		452		15.5		393				13		90		30		206		878		1084		0.8099630996						13		90		30		93		905		998		0.9068136273

		4		393		16		432				14		100		20		180		749		929		0.8062432723						14		100		20		165		815		980		0.8316326531

		5		729		17		749

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D73		D74		Pulse 73		Pulse 74		Pulse sum		h		ideal				Local coord.		D73		D74		Pulse 73		Pulse 74		Pulse sum		h

				73		5.5		120				6		5		115		384		384		768		0.5		0		0		6		5		115		503		503		1006		0.5

				74		17.5						7		15		105		648		113		761		0.1484888305		120		1		7		15		105		761		25		786		0.0318066158

												8		25		95		799		138		937		0.1472785486						8		25		95		899		22		921		0.0238870793

												9		35		85		818		157		975		0.161025641						9		35		85		950		16		966		0.016563147

		#73		Amplitude		#74		Amplitude				10		45		75		657		223		880		0.2534090909						10		45		75		872		111		983		0.1129196338

		3.5		767		15.5		755				11		55		65		555		456		1011		0.4510385757						11		55		65		761		531		1292		0.4109907121

		4.5		569		16.5		549				12		65		55		353		603		956		0.6307531381						12		65		55		317		797		1114		0.7154398564

		5		368		17		362				13		75		45		270		837		1107		0.756097561						13		75		45		108		1093		1201		0.9100749376

		5.5		299		17.5		396				14		85		35		309		936		1245		0.7518072289						14		85		35		108		1112		1220		0.9114754098

		6.5		613		18		679				15		95		25		230		916		1146		0.7993019197						15		95		25		83		1044		1127		0.92635315

		Strip #		10		11		Total		30		31		Total		50		51		Total		70		71		Total		90		91		Total		110		111		Total		Normalised		10		30		50		70		90		110

		50		67		15		82		38		8		46		36		15		51		50		10		60		74		18		92		616		180		796		50		0.1876430206		0.1916666667		0.2015810277		0.1754385965		0.2105263158		0.6683459278

		100		119		37		156		66		11		77		60		27		87		79		26		105		126		33		159		831		331		1162		100		0.356979405		0.3208333333		0.3438735178		0.3070175439		0.3638443936		0.9756507137

		150		158		43		201		86		23		109		85		27		112		116		34		150		208		54		262		906		285		1191		150		0.4599542334		0.4541666667		0.442687747		0.4385964912		0.5995423341		1

		200		262		34		296		138		18		156		136		27		163		186		30		216		324		0		324		936		198		1134		200		0.6773455378		0.65		0.6442687747		0.6315789474		0.7414187643		0.9521410579

		250		353		0		353		186		0		186		186		0		186		255		0		255		371		0		371		941		157		1098		250		0.8077803204		0.775		0.7351778656		0.7456140351		0.8489702517		0.9219143577

		300		398		0		398		213		0		213		215		0		215		282		0		282		391		0		391		941		168		1109		300		0.9107551487		0.8875		0.8498023715		0.8245614035		0.8947368421		0.9311502939

		350		429		0		429		231		0		231		225		0		225		295		0		295		417		0		417		953		128		1081		350		0.9816933638		0.9625		0.8893280632		0.8625730994		0.9542334096		0.9076406381

		400		429		0		429		234		0		234		245		0		245		312		0		312		429		0		429		970		163		1133		400		0.9816933638		0.975		0.9683794466		0.9122807018		0.9816933638		0.9513014274

		500		437		0		437		240		0		240		253		0		253		342		0		342		437		0		437		965		157		1122		500		1		1		1		1		1		0.9420654912

		Norm. factor						409.2						220.8						224.8						297.2						409						1108.6

																																																																																																		Routing/Total

																																																																														Strip 120-121				Pos. 39						Strip 120-121				Pos. 41.5

		Strip #		10		11		Total		30		31		Total		50		51		Total		70		71		Total		90		91		Total		110		111		Total		120		int 1		121		int 2		Total						Normalised		10		30		50		70		90		110		120										120		int 1		121		int 2				120		int 1		121		int 2				Rout. 1		Tot.1		Rou. 2		Tot. 2		Rout. 3		Tot. 3		Ratio 1		Ratio 2		Ratio 3

		50		41		85		126		24		58		82		0		80		80		15		76		91														38		21		104		-10		142						50		0.2016		0.2		0.1500938086		0.1529411765		0		0		0.2610294118								50		52		10		24		-10				28		20		70		-10				21		142		10		86		20		118		0.1478873239		0.1162790698		0.1694915254

		100		63		140		203		22		84		106		31		135		166		38		142		180														62		34		177		-21		239						100		0.3248		0.2585365854		0.3114446529		0.3025210084		0		0		0.4393382353								100		97		24		48		-17				66		38		135		-10				34		239		24		169		38		239		0.1422594142		0.1420118343		0.1589958159

		150		92		210		302		38		133		171		52		197		249		48		211		259														55		24		385		-31		440						150		0.4832		0.4170731707		0.4671669794		0.4352941176		0		0		0.8088235294								150		222		17		52		-17				66		38		284		-20				24		440		17		291		38		388		0.0545454545		0.058419244		0.0979381443

		200		81		329		410		39		207		246		45		291		336		48		325		373														48		15		454		-24		502						200		0.656		0.6		0.6303939962		0.6268907563		0		0		0.9227941176								200		287		0		55		0				55		21		395		-30				15		502		0		342		21		471		0.0298804781		0		0.0445859873

		250		59		443		502		32		300		332		34		398		432		24		429		453														45		0		468		-34		513						250		0.8032		0.8097560976		0.8105065666		0.7613445378		0		0		0.9430147059								250		308		-24		55		0				42		0		436		-45				0		513		-24		339		0		478		0		-0.0707964602		0

		300		59		510		569		30		321		351		35		433		468		28		495		523														34		-10		478		-34		512						300		0.9104		0.856097561		0.8780487805		0.8789915966		0		0		0.9411764706								300		308		-17		62		0				55		0		454		-42				-10		512		-17		353		0		509		-0.01953125		-0.0481586402		0

		350		50		530		580		23		342		365		31		454		485		30		516		546														34		-17		495		-34		529						350		0.928		0.8902439024		0.9099437148		0.9176470588		0		0		0.9724264706								350		315		-25		62		0				48		0		478		-45				-17		529		-25		352		0		526		-0.0321361059		-0.0710227273		0

		400		45		561		606		10		370		380		24		468		492		34		513		547														34		-17		502		-34		536						400		0.9696		0.9268292683		0.9230769231		0.9193277311		0		0		0.9852941176								400		315		-28		55		0				42		0		485		-38				-17		536		-28		342		0		527		-0.0317164179		-0.081871345		0

		500		45		580		625		10		400		410		10		523		533		34		561		595						1						1		34		-17		510		-34		544						500		1		1		1		1		1		1		1								500		340		-31		55		0				52		0		520		-38				-17		544		-31		364		0		572		-0.03125		-0.0851648352		0

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h		ideal

				10		24		110				26		20		90		239		62		301		0.2059800664		0		0				26		20		90		409		59		468		0.1260683761		0		0

				11		35						27		30		80		350		76		426		0.1784037559		110		1				27		30		80		582		0		582		0		110		1

												28		40		70		298		104		402		0.2587064677								28		40		70		520		52		572		0.0909090909

												29		50		60		149		83		232		0.3577586207								29		50		60		270		76		346		0.2196531792

		#10		Amplitude		#11		Amplitude				30		60		50		90		152		242		0.6280991736								30		60		50		100		281		381		0.7375328084

		25.5		491		37		343				31		70		40		118		291		409		0.7114914425								31		70		40		80		544		624		0.8717948718

		26		376		38		0				32		80		30		94		357		451		0.7915742794								32		80		30		55		564		619		0.9111470113

		26.5		173		39		0				33		90		20		80		277		357		0.7759103641								33		90		20		76		447		523		0.8546845124

		27.5		0		40		0

		28		0		41		406						25		0.1354679803																						25		0

		28.5		0										35		0.2190721649																						35		0

		29.5		108.6										45		0.3144329897																						45		0

		30		310										48		0.3333333333																						48		0.1697247706

		30.5		472										65		0.6071428571																						65		0.7439759036

														75		0.7055702918																						75		0.8892794376

														85		0.7814726841																						85		1

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h		ideal				400V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h

				30		22		110				24		20		90		114		61		175		0.3485714286		0		0				24		20		90		195		58		253		0.2292490119

				31		33						25		30		80		168		47		215		0.2186046512		110		1				25		30		80		309		0		309		0

												26		40		70		160		75		235		0.3191489362								26		40		70		328		0		328		0

												27		50		60		95		73		168		0.4345238095								27		50		60		161		58		219		0.2648401826

		#30		Amplitude		#31		Amplitude				28		60		50		39		65		104		0.625								28		60		50		56		91		147		0.619047619

		18.5		210		31		280				29		70		40		58		147		205		0.7170731707								29		70		40		51		303		354		0.8559322034

		19.5		163		32		67				30		80		30		52		203		255		0.7960784314								30		80		30		5		372		377		0.9867374005

		20.5		91		33		47				31		90		20		42		198		240		0.825								31		90		20		10		367		377		0.9734748011

		21.5		37		34		49

		22.5		39		35		212

		23.5		137

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h

				50		49		110				51		20		90		253		45		298		0.1510067114		0		0				51		20		90		429		0		429		0

				51		60						52		30		80		225		55		280		0.1964285714		110		1				52		30		80		423		0		423		0

												53		40		70		177		86		263		0.3269961977								53		40		70		385		52		437		0.118993135

												54		50		60		0		0		0		0								54		50		60		0		0		0		0

		#50		Amplitude		#51		Amplitude				55		60		50		62		128		190		0.6736842105								55		60		50		69		267		336		0.7946428571

		46.5		320		57.5		385				56		70		40		83		232		315		0.7365079365								56		70		40		42		461		503		0.916500994

		47.5		42		58.5		50				57		80		30		52		277		329		0.8419452888								57		80		30		28		461		489		0.9427402863

		48.5		0		59.5		0				58		90		20		55		270		325		0.8307692308								58		90		20		24		468		492		0.9512195122

		49.5		0		60.5		30

		50.5		229		61.5		104						20										0.1510067114										20										0

						62.5		385						30										0.1964285714										30										0

														40										0.3269961977										40										0.118993135

														60										0.6736842105										60										0.7946428571

														70										0.7365079365										70										0.916500994

														80										0.8419452888										80										0.9427402863

														90										0.8307692308										90										0.9512195122

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h

				70		38		115				40		20		95		263		55		318		0.1729559748		0		0				40		20		95		395		59		454		0.1299559471

				71		49.5						41		30		85		374		42		416		0.1009615385		110		1				41		30		85		547		0		547		0

												42		40		75		315		76		391		0.1943734015								42		40		75		550		0		550		0

												43		50		65		121		55		176		0.3125								43		50		65		204		42		246		0.1707317073

		#70		Amplitude		#71		Amplitude				44		60		55		48		50		98		0.5102040816								44		60		55		59		83		142		0.5845070423

		36		429		47.5		190				45		70		45		114		253		367		0.689373297								45		70		45		66		499		565		0.8831858407

		37		52		48.5		31				46		80		35		76		333		409		0.8141809291								46		80		35		38		561		599		0.9365609349

		38		0		49.5		0				47		90		25		66		381		447		0.8523489933								47		90		25		34		513		547		0.9378427788

		39		38		50.5		76

		40		412		51.5		423

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h

				120		34		120				36		20		100		346		121		467		0.2591006424		0		0				36		20		100		377		135		512		0.263671875

				121		46						37		30		90		616		59		675		0.0874074074		110		1				37		30		90		682		48		730		0.0657534247

												38		40		80		616		62		678		0.0914454277								38		40		80		665		52		717		0.0725244073

												39		50		70		308		55		363		0.1515151515								39		50		70		385		66		451		0.1463414634

		#120		Amplitude		#121		Amplitude				40		60		60		59		59		118		0.5								40		60		60		66		66		132		0.5

		32.5		391		44		513				41		70		50		90		360		450		0.8								41		70		50		86		450		536		0.8395522388

		33.5		76		45		86				42		80		40		59		450		509		0.884086444								42		80		40		42		520		562		0.9252669039

		34.5		59		46		69				43		90		30		38		468		506		0.9249011858								43		90		30		28		523		551		0.9491833031

		35.5		142		47		104

		36.5		606		48		475

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h

				90		35		117.5				38		158		-38		329		38		367		0.1035422343		0		0				38		158		-38		436		0		436		0

				91		46.75						39		168		-48		281		69		350		0.1971428571		117.5		1				39		168		-48		433		0		433		0

												40		178		-58		142		83		225		0.3688888889								40		178		-58		235		76		311		0.2443729904

												41		188		-68		52		86		138		0.6231884058								41		188		-68		38		136		174		0.7816091954

		#70		Ampitude		#71		Amplitude				42		198		-78		94		274		368		0.7445652174								42		198		-78		48		485		533		0.9099437148

												43		208		-88		48		385		433		0.8891454965								43		208		-88		0		526		526		1

												44		218		-98		38		402		440		0.9136363636								44		218		-98		0		523		523		1

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h

				90		35		117.5				38		30		87.5		329		38		367		0.1035422343		0		0				38		30		87.5		436		0		436		0

				91		46.75						39		40		77.5		281		69		350		0.1971428571		117.5		1				39		40		77.5		433		0		433		0

												40		50		67.5		142		83		225		0.3688888889								40		50		67.5		235		76		311		0.2443729904

												41		60		57.5		52		86		138		0.6231884058								41		60		57.5		38		136		174		0.7816091954

		#90		Ampitude		#91		Amplitude				42		70		47.5		94		274		368		0.7445652174								42		70		47.5		48		485		533		0.9099437148

		33		346		45		263				43		80		37.5		48		385		433		0.8891454965								43		80		37.5		0		526		526		1

		33.5		160		45.5		94				44		90		27.5		38		402		440		0.9136363636								44		90		27.5		0		523		523		1

		34		55		46		42

		34.5		10		46.5		28

		35		10		47		24

		35.5		15		47.5		59

		36		59		48		138

		36.5		184		49		523

		37		364

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h		ideal				200 V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h		400 V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h

				100		21		115				24		30		85		276		71		347		0.204610951		0		0				24		30		85		405		0		405		0				24		30		85		509		0		509		0

				101		32.5						25		40		75		233		104		337		0.3086053412		115		1				25		40		75		388		74		462		0.1601731602				25		40		75		516		0		516		0

												26		50		65		91		57		148		0.3851351351								26		50		65		142		54		196		0.2755102041				26		50		65		219		54		273		0.1978021978

												27		60		55		51		67		118		0.5677966102								27		60		55		64		101		165		0.6121212121				27		60		55		67		148		215		0.688372093

		#100		Ampitude		#101		Amplitude				28		70		45		121		202		323		0.6253869969								28		70		45		111		317		428		0.7406542056				28		70		45		61		476		537		0.886405959

		18.5		408		31		196				29		80		35		91		250		341		0.7331378299								29		80		35		71		385		456		0.8442982456				29		80		35		37		496		533		0.9305816135

		19.5		108		32		50				30		90		25		74		290		364		0.7967032967								30		90		25		57		425		482		0.8817427386				30		90		25		34		519		553		0.938517179

		20.5		40		32.5		30

		21.5		35		33		37

		22.5		105		33.5		50

		23.5		445		34		101

						35		452

																																				New												Other position

		Strip #		70		71		Total		90		91		Total		99		100		101		102		Total		Total		Normalised		70		90		100		120		Int 2		121		Int 3		122		Total		119		120		Int 2		121		Total

		50		31		78		109		31		83		114		13		30		101		12		156		131				0.2060491493		0.2054054054		0.2364620939		45		27		100		25		32		145		27		91		18		41		132

		100		53		125		178		45		142		187		20		67		182		23		292		249				0.3364839319		0.3369369369		0.4494584838		68		41		178		10		30		246		30		168		35		68		236

		150		58		180		238		66		232		298		23		74		290		34		421		364				0.449905482		0.5369369369		0.6570397112		63		50		342		0		30		405		35		314		35		54		368

		200		73		290		363		48		374		422		17		57		425		-10		489		482				0.6862003781		0.7603603604		0.8700361011		50		27		446		-10		30		496		27		405		0		41		446

		250		51		388		439		31		478		509		0		51		472		-18		505		523				0.8298676749		0.9171171171		0.9440433213		41		15		490		-18		23		531		15		433		-18		32		465

		300		38		462		500		17		501		518		0		40		500		-23		517		540				0.9451795841		0.9333333333		0.9747292419		36		0		501		-27		18		537		10		446		-20		41		487

		350		33		485		518		20		535		555		0		34		513		-27		520		547				0.9792060491		1		0.9873646209		32		0		510		-23		18		542		10		460		-20		36		496

		400		31		498		529		20		535		555		0		34		520		-27		527		554				1		1		1		36		0		519		-23		18		555		10		474		-23		36		510

		500		30		540		570		0		578		578		0		34		560		-27		567		594				1.0775047259		1.0414414414		1.0722021661		32		0		533		-23		18		565		10		483		-23		36		519

		Futher Measurements as a function of the r-position

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.						#119		Int 1		#120				#121		Int 3		#122		Sum		h		Ideal				200 V		Local coord.						#119		Int 1		#120				#121		Int 3		#122		Sum		h		400 V		Local coord.						#119		Int 1		#120				#121		Int 3		#122		Sum		h

				120		19.8		61				21		12		49		47.12		28.88		171.76		28.88		80.56		28.88		41.8		252.32		0.3192771084		0		0				21		12		49		57		36.48		262.2		47.12		117.04		31.16		44.08		379.24		0.3086172345				21		12		49		28.88		0		428.64		-31.16		119.32		0		31.16		547.96		0.2177531207

				121		25.9						22		22		39		44		27		140		27		68		10		31		208		0.3269230769		61		1				22		22		39		62		38		215		51		106		27		31		321		0.3302180685				22		22		39		48		0		431		-17		126		0		10		557		0.2262118492

												23		32		29		0		0		24		0		24		0		0		48		0.5								23		32		29		0		0		34		0		34		0		0		68		0.5				23		32		29		0		0		58		0		65		0		0		123		0.5284552846

												24		42		19		34		15		105		41		212		24		48		317		0.6687697161								24		42		19		51		27		157		85		335		34		62		492		0.6808943089				24		42		19		31		0		130		21		619		-24		34		749		0.826435247

		#121		Ampitude		#121		Amplitude				25		52		9		38		17		89		31		205		12		41		294		0.6972789116								25		52		9		51		23		128		57		341		15		44		469		0.7270788913				25		52		9		51		0		131		10		560		-30		27		691		0.8104196816

		19		398		25		351

		19.5		58		25.5		104				Estimated strip width:								Routing line		#120		#121

		20		72		26		47				16 µm								25.6		447		85		0.9933333333		0.1888888889		532		0.7093333333

		20.5		212		26.5		81												26		242		68		0.5377777778		0.1511111111		310		0.4133333333

		21		489		27		368												26.2		103		31		0.2288888889		0.0688888889		134		0.1786666667

																				26.4		65		31		0.1444444444		0.0688888889		96		0.128

																				26.6		58		31		0.1288888889		0.0688888889		89		0.1186666667

																				26.8		42		40		0.0933333333		0.0888888889		82		0.1093333333

																				27		42		55		0.0933333333		0.1222222222		97		0.1293333333

																				27.2		54		154		0.12		0.3422222222		208		0.2773333333

																				27.4		71		248		0.1577777778		0.5511111111		319		0.4253333333

																				27.6		81		310		0.18		0.6888888889		391		0.5213333333

																				28		92		448		0.2044444444		0.9955555556		540		0.72

		Futher Measurements as a function of the r-position								Far end

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.						#119		Int 1		#120				#121		Int 3		#122		Sum		h		Ideal				200 V		Local coord.						#119		Int 1		#120				#121		Int 3		#122		Sum		h		400 V		Local coord.						#119		Int 1		#120				#121		Int 3		#122		Sum		h

				120		23		78				25		20		58		40		0		184		23		61		0		15		245		0.2489795918		0		0				25		20		58		33		0		255		38		76		0		18		331		0.2296072508				25		20		58		54		0		523		-10		54		0		0		577		0.0935875217

				121		30.8						26		30		48		31		0		89		24		51		0		24		140		0.3642857143		78		1				26		30		48		31		0		116		31		65		0		24		181		0.3591160221				26		30		48		31		0		263		0		78		0		0		341		0.2287390029

												27		40		38		0		0		0		0		0		0		0		0		0								27		40		38		0		0		0		0		0		0		0		0		0				27		40		38		0		0		0		0		0		0		0		0		0

												28		50		28		20		0		68		41		157		0		31		225		0.6977777778								28		50		28		0		0		99		61		222		0		34		321		0.691588785				28		50		28		0		0		78		15		492		-31		24		570		0.8631578947

		#121		Ampitude		#121		Amplitude				29		60		18		0		0		61		27		184		0		31		245		0.7510204082								29		60		18		0		0		78		48		276		0		37		354		0.7796610169				29		60		18		0		0		44		0		540		-31		13		584		0.9246575342

		21		728		29		755

		22		230		30		225				Estimated strip width:

		22.5		134		30.5		101				20 µm

		23		107		31		96

		23.5		150		31.5		161

		24		557		32		551

		25		760

										1 cm plus

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.						#119		Int 1		#120				#121		Int 3		#122		Sum		h		Ideal				200 V		Local coord.						#119		Int 1		#120				#121		Int 3		#122		Sum		h		400 V		Local coord.						#119		Int 1		#120				#121		Int 3		#122		Sum		h

				120		22.7		95				25		23		72		44		0		222		34		68		0		17		290		0.2344827586		0		0				25		23		72		41		0		366		31		68		0		24		434		0.1566820276				25		23		72		27		0		557		-24		48		0		0		605		0.079338843

				121		32.2						26		33		62		41		0		208		51		103		0		24		311		0.3311897106		95		1				26		33		62		31		0		311		68		112		0		34		423		0.2647754137				26		33		62		17		0		543		-20		78		0		0		621		0.1256038647

												27		43		52		0		0		0		0		0		0		0		0		0								27		43		52		0		0		58		0		27		0		0		85		0.3176470588				27		43		52		0		0		103		0		44		0		0		147		0.2993197279

												28		53		42		0		0		44		31		78		0		0		122		0.6393442623								28		53		42		0		0		58		24		120		0		0		178		0.6741573034				28		53		42		0		0		61		0		236		0		0		297		0.7946127946

		#121		Ampitude		#121		Amplitude				29		63		32		24		0		82		51		195		0		17		277		0.7039711191								29		63		32		27		0		112		85		328		0		34		440		0.7454545455				29		63		32		0		0		65		0		574		-37		15		639		0.8982785603

		21		464		30		523				30		73		22		0		0		71		44		242		0		31		313		0.7731629393								30		73		22		0		0		78		58		383		0		37		461		0.830802603				30		73		22		0		0		34		0		588		-40		13		622		0.9453376206

		22		58		31		171				Estimated strip width:

		22.5		37		32		41				25 µm

		23		51		32.5		51

		23.5		58		33		65

		24		178		34		499

		25		496

										1 cm plus

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.						#119		Int 1		#120				#121		Int 3		#122		Sum		h		Ideal				200 V		Local coord.						#119		Int 1		#120				#121		Int 3		#122		Sum		h		400 V		Local coord.						#119		Int 1		#120				#121		Int 3		#122		Sum		h

				120		22.7		108				25		23		85		34		0		254		29		45		0		0		299		0.1505016722		0		0				25		23		85		22		0		388		0		34		0		0		422		0.0805687204				25		23		85		11		0		474		-29		26		0		0		500		0.052

				121		33.5						26		33		75		26		0		228		41		63		0		10		291		0.2164948454		108		1				26		33		75		22		0		374		0		40		0		0		414		0.0966183575				26		33		75		0		0		474		-25		30		0		0		504		0.0595238095

												27		43		65		34		0		190		78		101		0		26		291		0.3470790378								27		43		65		26		0		317		37		82		0		12		399		0.2055137845				27		43		65		0		0		456		-22		71		0		0		527		0.1347248577

												29		63		45		12		0		85		60		157		0		29		242		0.6487603306								29		63		45		0		0		93		67		269		0		34		362		0.7430939227				29		63		45		0		0		71		18		422		-22		18		493		0.8559837728

		#121		Ampitude		#121		Amplitude				30		73		35		0		0		63		56		209		0		0		272		0.7683823529								30		73		35		0		0		48		34		366		-18		18		414		0.884057971				30		73		35		0		0		26		0		508		-26		0		534		0.9513108614

		20		470		31		508				31		83		25		0		0		50		37		247		0		26		297		0.8316498316								31		83		25		0		0		34		34		490		-30		0		524		0.9351145038				31		83		25		0		0		10		0		490		-30		0		500		0.98

		21		300		32		247

		22		40		33		41

		23		0		33.5		29				Estimated strip width:

		23.5		0		34		41				30 µm

		24		85		35		134

		25		430		36		500

		New 0 position

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.						#119		Int 1		#120				#121		Int 3		#122		Sum		h		Ideal				200 V		Local coord.						#119		Int 1		#120				#121		Int 3		#122		Sum		h		400 V		Local coord.						#119		Int 1		#120				#121		Int 3		#122		Sum		h

				120		22.2		118				25		28		90		32		0		333		23		50		0		0		383		0.1305483029		0		0				25		28		90		13		0		396		-13		35		0		0		431		0.0812064965				25		28		90		10		0		469		-23		32		0		0		501		0.0638722555

				121		34						26		38		80		32		0		314		30		54		0		0		368		0.1467391304		118		1				26		38		80		23		0		424		-13		36		0		0		460		0.0782608696				26		38		80		0		0		469		-27		30		0		0		499		0.0601202405

												27		48		70		27		0		259		54		86		0		13		345		0.2492753623								27		48		70		0		0		387		23		68		0		0		455		0.1494505495				27		48		70		0		0		492		-23		63		0		0		555		0.1135135135

												28		58		60		0		0		41		0		27		0		0		68		0.3970588235								28		58		60		0		0		59		0		41		0		0		100		0.41				28		58		60		0		0		77		0		45		0		0		122		0.368852459

		#121		Ampitude		#121		Amplitude				29		68		50		18		0		68		41		132		0		32		200		0.66								29		68		50		0		0		59		32		178		0		0		237		0.7510548523				29		68		50		0		0		73		18		273		0		32		346		0.789017341

		20		483		32		451				30		78		40		18		0		86		68		264		0		27		350		0.7542857143								30		78		40		0		0		50		10		506		-18		0		556		0.9100719424				30		78		40		0		0		50		10		506		-18		0		556		0.9100719424

		21		86		33		54				31		88		30		0				63		50		342		0		32		405		0.8444444444								31		88		30		0		0		41		18		428		-23		18		469		0.9125799574				31		88		30		0		0		36		0		496		-23		18		532		0.9323308271

		22		45		34		32

		23		23		35		45				Estimated strip width:

		24		154		36		387				35 µm

		25		470



Irradiated section n. 6



Irr. (7)

		Bias 250 V		Strip #		Centre		Distance		50 V		Local coord.						Pulse Left		Int		Pulse Right		Pulse sum		h		ideal				100 V		Pulse Left		Int		Pulse Right		Pulse sum		h		300 V		Pulse Left		Int		Pulse Right		Pulse sum		h				Volt scan		#6		Int.		#7		Total		Normalised				Volt scan		#59		#60		#61		Total		Normalised				Volt scan		#114		Int.		#115		Int.		#116		Total		Normalised		Rout/total		Volt #6		#6		Volt #115		#115

				6		37		115				40		30		85		104		18		40		144		0.2777777778		0		0				246				45		291		0.1546391753				333		-23		27		360		0.075				20		23		5		54		77		0.2086720867				20		32		141		54		227		0.576142132				10		63		4		159		23		32		222		0.5536159601				20		0.0649350649		10		0.1036036036

				7		48.5						41		40		75		86		32		54		140		0.3857142857		115		1				214		36		63		277		0.2274368231				323		-23		36		359		0.1002785515				40		32		18		100		132		0.3577235772				40		41		264		54		359		0.9111675127				20		80				246		23		36		326		0.812967581				40		0.1363636364		20		0.0705521472

												42		50		65		45		9		32		77		0.4155844156								128		36		63		191		0.3298429319				209		0		68		277		0.2454873646				50		36		23		123		159						50		36		287		50		373		0.9467005076				40		82				314		23		41		396		0.9875311721				50		0.1446540881		40		0.0580808081

												43.5		65		50		36		18		54		90		0.6								50		36		118		168		0.7023809524				63		13		246		309		0.7961165049				60		45		27		145		190		0.5149051491				60		36		298		40		374		0.9492385787				50		73				328		13		32		401		1				60		0.1421052632		50		0.0324189526

		#6		Amplitude		#7		Amplitude				44		70		45		45		27		77		122		0.631147541								50		36		195		245		0.7959183673				41		9		305		346		0.8815028902				80		59		41		205		264		0.7154471545				80		30		328		27		385		0.9771573604				60		68				333		13		32		401		1				80		0.1553030303		60		0.0324189526

		34.5		305		46.5		296				45		80		35		45		23		104		149		0.6979865772								45		41		241		286		0.8426573427				27		9		342		369		0.9268292683				100		45		36		259		304		0.8238482385				100		27		337		24		388		0.9847715736				80		59				342		9		32		401		1				100		0.1184210526		80		0.0224438903

		35.5		137		47.5		54				46		90		25		9		0		50		59		0.8474576271								45		36		255		300		0.85				27		4		337		364		0.9258241758				125		36		23		296		332		0.8997289973				150		24		355		21		400		1.0152284264				100		46				351				18		397		0.9900249377				125		0.0692771084		100		0

		36.5		27		48.5		0																																																		150		32		18		323		355		0.9620596206				200		23		360		20		403		1.0228426396				125		45				355				27		400		0.9975062344				150		0.0507042254		125		0

		37.5		0		49.5		36																																																		175		32		18		328		360		0.9756097561				300		20		374		0		394		1				150		45				355				27		400		0.9975062344				175		0.05		150		0

		38.5		100		50.5		232																																																		200		23		9		337		360		0.9756097561																		200		45				355				18		400		0.9975062344				200		0.025		200		0

		39.5		305		51.5		333																																																		300		23		9		346		369		1																		300		41				360				18		401		1				300		0.0243902439		300		0

		40.5		319





Irr. (7)

		30		30		30		0

		40		40		40		115

		50		50		50

		65		65		65

		70		70		70

		80		80		80

		90		90		90



50 Volt

100 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #774-775

0.2777777778

0.1546391753

0.075

0

0.3857142857

0.2274368231

0.1002785515

1

0.4155844156

0.3298429319

0.2454873646

0.6

0.7023809524

0.7961165049

0.631147541

0.7959183673

0.8815028902

0.6979865772

0.8426573427

0.9268292683

0.8474576271

0.85

0.9258241758



Non irr. (2)

		Bias 250 V		Strip #		Centre		Distance		25 V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h		ideal				50 V		Pulse Left		Pulse Right		Pulse sum		h		150 V		Pulse Left		Pulse Right		Pulse sum		h								Volt scan		#60		#61		Total		Normalised

				60		43.2		113				46		28		85		212		1		213		0.0046948357		0		0				311		1		312		0.0032051282				410		1		411		0.00243309						3.1622776602		10		95		0		95		0.2467532468

				61		54.5						47		38		75		143		20		163		0.1226993865		113		1				222		1		223		0.0044843049				294		1		295		0.0033898305						5		25		191		0		191		0.4961038961

												48		48		65		68		34		102		0.3333333333								123		58		181		0.320441989				171		68		239		0.2845188285						7.0710678119		50		283		0		283		0.7350649351

												49		58		55		37		109		146		0.7465753425								37		161		198		0.8131313131				37		212		249		0.8514056225						8.6602540378		75		321		0		321		0.8337662338

		#60		Amplitude		#61		Amplitude				50		68		45		31		174		205		0.8487804878								34		259		293		0.8839590444				50		334		384		0.8697916667						10		100		352		0		352		0.9142857143

		41		308		52		386				51		78		35		24		181		205		0.8829268293								24		263		287		0.9163763066				20		345		365		0.9452054795						12.2474487139		150		372		0		372		0.9662337662

		42		171		53		253																																														14.1421356237		200		372		0		372		0.9662337662

		43		20		54		116																																														17.3205080757		300		385		0		385		1

		44		49		55		24

		45		209		56		123

		46		345		57		280

						58		389

		Bias 250 V		Strip #		Centre		Distance		20 V		Local coord.						#115		Int 1		#116		Int 2		#117		Pulse sum		h		ideal				50 V		#115		Int 1		#116		Int 2		#117		Pulse sum		h		200 V		#115		Int 1		#116		Int 2		#117		Pulse sum		h				Volt scan		#115		#116		Int		#117		Total		Normalised

				115		21		114				24		30		84		198		-17		27						225		0.12		0		0				317		-17		31						348		0.0890804598				403		-30		24						427		0.056206089		3.1622776602		10				116						116		0.2829268293

				116		32.4						25		40		74		178		-13		27						205		0.1317073171		114		1				311		-20		41						352		0.1164772727				396		-27		27						423		0.0638297872		5		25		31		208		-5		20		228		0.556097561

												26		50		64		126		-13		37						163		0.226993865								242		-17		61						303		0.201320132				334		-24		68						402		0.1691542289		7.0710678119		50		31		308		-7		20		328		0.8

												28		70		44		34				137				17		171		0.8011695906								48				236				24		284		0.8309859155				54		-5		317		-13		24		371		0.8544474394		8.6602540378		75		24		345		-17		20		365		0.8902439024

		#115		Amplitude		#116		Amplitude				29		80		34		24				181				17		205		0.8829268293								31				311		-10		20		342		0.9093567251				27				400		-17		17		427		0.9367681499		10		100		27		366		-20		17		383		0.9341463415

		18		400		30		389				29.5		85		29		27				195						222		0.8783783784								34				314		-15		20		348		0.9022988506				24				389		-24		17		413		0.9418886199		11.1803398875		125		24		380		-17		13		393		0.9585365854

		19		270		31		89																																																												12.2474487139		150		24		385		-20		13		398		0.9707317073

		20		34		32		28																																																												14.1421356237		200		24		389		-20		13		402		0.9804878049

		21		30		33		30																																																												17.3205080757		300		24		393		-20		17		410		1

		22		38		34		126

		23		308		35		389

		24		400





Various final Pic.

		47		400		-30		380

		48		280		-20		260

		49		41		-10		21

		50		20		0		0

		51		51		10		31

		52		273		20		253

		53		410		30		390

		Beam Profile

		Coordinate		Front		Back

		0						10

		10		1.00E+13		1.05E+13		20		1.00E+13		1.05E+13

		20		4.50E+13		4.55E+13		30		4.50E+13		4.55E+13

		25		3.00E+14		2.52E+14		35		3.00E+14		2.52E+14

		30		4.10E+14		4.40E+14		40		4.10E+14		4.40E+14

		35		4.30E+14		4.60E+14		45		4.30E+14		4.60E+14

		40		3.15E+14		3.80E+14		50		3.15E+14		3.80E+14

		45		1.09E+14		2.70E+14		55		1.09E+14		2.70E+14

		55		1.20E+13		2.70E+13		65		1.20E+13		2.70E+13

		65		7.00E+11		1.20E+12		75		7.00E+11		1.20E+12





Various final Pic.

		



Local coord. [µm]

Amplitude [arb. Units]

Strip scan #10



Final pic. eta

		55		0		55		55

		50		1		50		50

		45		2		45		45

		40		3		40		40

		35		4		35		35

		30		5		30		30

		25		6		25		25

		20		7		20		20

		15		8		15		15

		10		9		10		10

		5		10		5		5

		0		11		0		0

				12

				13

				14

				15

				16

				17

				18

				19

				20

				21

				22

				23

				24

				25

				26

				27

				28

				29

				30

				31

				32

				33

				34

				35

				36

				37

				38

				39

				40

				41

				42

				43

				44

				45

				46

				47

				48

				49

				50

				51

				52

				53

				54

				55

				56

				57

				58

				59

				60

				61

				62

				63

				64

				65

				66

				67

				68



Measured (hit strip)

Calculated

Adjacent strip

Intermediate routing line

Time [ns]

Amplitude [arb. units]

68

10

0

0

150

34.5396

16

0

245

54.05968

34

0

369

80.39936

54

0

560

114.09384

123

32

688

155.13512

154

40

826

202.94192

188

51

792

256.42064

199

74

615

314.09432

188

108

421

374.26344

176

131

199

435.16424

85

68

0

495.10184

0

0

552.54736

606.19912

655.01224

698.20408

735.24416

765.8304

789.86272

807.41192

818.68832

824.01216

823.78664

818.47312

808.57016

794.59512

777.0692

756.50528

733.3992

708.22128

681.41152

653.37656

624.48752

595.07864

565.44744

535.85544

506.53048

477.66728

449.43032

421.95584

395.35408

369.71192

345.0956

321.5524

299.11304

277.79416

257.59968

238.52336

220.54992

203.6564

187.81424

172.98976

159.14552

146.24152

134.23568

123.08456

112.74432

103.1708

94.32024

86.14968

78.61696

71.6812

65.30304

59.44456

54.06952

49.14336

44.63336

40.50856

36.7396



Neff vs position

		



Front Al foils

Back Al foils

Position [mm]

Measured fluence [p cm-2]



Eta comparison

		

						760





Eta comparison

		30		30		0

		40		40		117.5

		50		50

		60		60

		70		70

		80		80

		90		90



200 Volt

400 Volt

Ideal resolution

Local position [µm]

Right charge/Total charge

Scan across strips #740-741

0.1035422343

0.0311111111

0

0.1971428571

0.0545851528

1

0.3688888889

0.2443729904

0.6231884058

0.7816091954

0.7445652174

0.9099437148

0.8891454965

1

0.9136363636

1



Strip 120 

		30		30		0

		40		40		115

		50		50

		60		60

		70		70

		80		80

		90		90



200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #710-711

0.1009615385

0.0352733686

0

0.1943734015

0.0646258503

1

0.3125

0.2213740458

0.5102040816

0.5845070423

0.689373297

0.8831858407

0.8141809291

0.9365609349

0.8523489933

0.9378427788



Pulse shape

		30		30		0

		40		40		115

		50		50

		60		60

		70		70

		80		80

		90		90



200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #760-761

0.0874074074

0.0657534247

0

0.0914454277

0.0725244073

1

0.1515151515

0.1463414634

0.5

0.5

0.8

0.8395522388

0.884086444

0.9252669039

0.9249011858

0.9491833031



		0		30		30		30

		115		40		40		40

				50		50		50

				60		60		60

				70		70		70

				80		80		80

				90		90		90



150 Volt

200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #740-741

0

0.204610951

0.0581395349

0.0450281426

1

0.3086053412

0.1601731602

0.0685920578

0.3851351351

0.2755102041

0.2206405694

0.5677966102

0.6121212121

0.688372093

0.6253869969

0.7406542056

0.886405959

0.7331378299

0.8442982456

0.9305816135

0.7967032967

0.8817427386

0.938517179



		0		30		30

		110		40		40

				50		50

				60		60

				70		70

				80		80

				90		90



200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #670-671

0

0.2186046512

0.0462962963

1

0.3191489362

0.076056338

0.4345238095

0.2648401826

0.625

0.619047619

0.7170731707

0.8559322034

0.7960784314

0.9612403101

0.825

0.9734748011



		0		20		20

		110		30		30

				40		40

				50		50

				60		60

				70		70

				80		80

				90		90



200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #690-691

0

0.1510067114

0.0529801325

1

0.1964285714

0.0703296703

0.3269961977

0.1575492341

0

0.6736842105

0.7946428571

0.7365079365

0.916500994

0.8419452888

0.9427402863

0.8307692308

0.9512195122



		25		25		25		0

		35		35		35		110

		45		45		45

		55		55		55

		65		65		65

		75		75		75

		85		85		85



100 Volt

200 Volt

300 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #525-526

0.0461956522

0.0440414508

0.0446194226

0

0.0583941606

0.0547945205

0.0547945205

1

0.1413612565

0.1282051282

0.1113689095

0.3215859031

0.264573991

0.2821576763

0.8050541516

0.8073394495

0.7722222222

0.9130434783

0.9217391304

0.9298245614

0.9473684211

0.9523809524

0.958677686



		0		30		30		30

		117		40		40		40

				50		50		50

				70		70		70

				80		80		80

				90		90		90



150 Volt

200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #634-635

0

0.223255814

0.1133333333

0.0510204082

1

0.2783505155

0.1933333333

0.0761670762

0.3963414634

0.3048780488

0.1943005181

0.6209150327

0.6822429907

0.8157099698

0.6875

0.7979094077

0.915

0.7548076923

0.8580645161

0.9330024814



		0		24		24

		114		34		34

				44		44

				64		64

				74		74

				84		84

				89		89



100 Volt

300 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #584-585

0

0.118466899

0.0379403794

1

0.1655172414

0.0608272506

0.3421052632

0.1666666667

0.6896551724

0.8131868132

0.7597173145

0.9567430025

0.8605442177

0.9974160207

0.8586206897

0.9466666667



		0		22		22		22		22

		116		32		32		32		32

				42		42		42		42

				67		67		67		67

				72		72		72		72

				82		82		82		82

				92		92		92		92



100 Volt

150 Volt

200 Volt

300 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #604-605

0

0.2192513369

0.0848056537

0.0408719346

0.056980057

1

0.2391304348

0.1214285714

0.0681818182

0.0798898072

0.3128834356

0.2380952381

0.0920716113

0.1549295775

0.5668789809

0.6355555556

0.7975077882

0.7517482517

0.591954023

0.7173913043

0.9002695418

0.8434782609

0.6949152542

0.8137931034

0.9973045822

0.8888888889

0.7348066298

0.8436482085

0.972899729

0.9043715847



		0		23		23		23

		108		33		33		33

				43		43		43

				58		58		58

				63		63		63

				73		73		73

				78		78		78



20 Volt

50 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #544-545

0

0.1376146789

0.0422960725

0.0361445783

1

0.2018348624

0.0845070423

0.0574712644

0.3457446809

0.2341772152

0.0976253298

0.5858585859

0.7124183007

0.7627906977

0.6304347826

0.7571428571

0.820441989

0.7302325581

0.8709677419

0.9418886199

0.7735849057

0.8811594203

0.9632352941



		0		35		35		35

		110		40		40		40

				50		50		50

				65		65		65

				70		70		70

				80		80		80



50 Volt

100 Volt

300 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #566-567

0

0.125

0.0408719346

0.0407673861

1

0.1777777778

0.0702247191

0.0687203791

0.320441989

0.22

0.2033333333

0.6946107784

0.8090909091

0.7789855072

0.741697417

0.8579387187

0.8743842365

0.8580858086

0.9543010753

0.9975062344



		0		35		35		35

		120		45		45		45

				50		50		50

				65		65		65

				70		70		70

				80		80		80

				90		90		90



50 Volt

100 Volt

250 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #575-576

0

0.2876106195

0.0451807229

0.0383631714

1

0.3744292237

0.144092219

0.0939759036

0.3880597015

0.1782178218

0.1580310881

0.5730337079

0.7260273973

0.7166666667

0.591954023

0.798679868

0.8379888268

0.6559633028

0.8879781421

0.9230769231

0.7627906977

0.9076086957

0.9511002445



		0		28		28		28

		113		38		38		38

				48		48		48

				58		58		58

				68		68		68

				78		78		78



25 Volt

50 Volt

150 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #188-189

0

0.0046948357

0.0032051282

0.00243309

1

0.1226993865

0.0044843049

0.0033898305

0.3333333333

0.320441989

0.2845188285

0.7465753425

0.8131313131

0.8514056225

0.8487804878

0.8839590444

0.8697916667

0.8829268293

0.9163763066

0.9452054795



		26		26		0		26

		36		36		114		36

		46		46				46

		66		66				66

		76		76				76

		86		86				86



100 Volt

300 Volt

=

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #621-622

0.2227074236

0.0789473684

0

0.0390625

0.2735849057

0.1348684211

1

0.0606060606

0.3659793814

0.2482517483

0.1102150538

0.5828220859

0.6728110599

0.8066666667

0.6822429907

0.8066666667

0.9086021505

0.7422222222

0.8547854785

0.9583333333



		25		25		25		0

		35		35		35		110

		45		45		45

		60		60		60

		65		65		65

		75		75		75

		85		85		85



20 Volt

50 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #469-470

0.0857142857

0.1060070671

0.0411311054

0

0.0833333333

0.093385214

0.0683060109

1

0.275862069

0.1904761905

0.1333333333

0.6451612903

0.6785714286

0.7311827957

0.6774193548

0.766536965

0.8356164384

0.8444444444

0.8717948718

0.9260969977

0.8695652174

0.8646153846

0.9267734554



		30		30		0

		40		40		110

		50		50

		60		60

		70		70

		80		80



200 Volts

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #650-651

0.1784037559

0.0521172638

0

0.2587064677

0.1034482759

1

0.3577586207

0.2196531792

0.6280991736

0.7375328084

0.7114914425

0.8717948718

0.7915742794

0.9111470113



		0		30		30		30

		114		40		40		40

				50		50		50

				70		70		70

				80		80		80

				85		85		85



20 Volt

50 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #244-245

0

0.12

0.0890804598

0.056206089

1

0.1317073171

0.1164772727

0.0638297872

0.226993865

0.201320132

0.1691542289

0.8011695906

0.8309859155

0.8544474394

0.8829268293

0.9093567251

0.9367681499

0.8783783784

0.9022988506

0.9418886199



		30		30		0		30

		40		40		114		40

		50		50				50

		70		60				60

		80		70				70

		85		80				80

								90



#245 - 200 Volt

#650 - 400 Volt

#760 - 400 Volt

Local position [µm]

Right charge/Total charge

0.056206089

0.0521172638

0

0.0657534247

0.0638297872

0.1034482759

1

0.0725244073

0.1691542289

0.2196531792

0.1463414634

0.8544474394

0.7375328084

0.5

0.9367681499

0.8717948718

0.8395522388

0.9418886199

0.9111470113

0.9252669039

0.9491833031



		20		20		20		0

		30		30		30		115

		40		40		40

		50		50		50

		60		60		60

		70		70		70

		80		80		80

		90		90		90



20 Volt

50 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #388-389

0.15

0.0975609756

0.0965794769

0

0.1549295775

0.1448692153

0.1004709576

1

0.171875

0.1223529412

0.0901213172

0.2926829268

0.2888888889

0.2434077079

0.6666666667

0.6923076923

0.6511627907

0.7833333333

0.8498896247

0.9073083779

0.8295081967

0.8495049505

0.9384615385

0.8793103448

0.9160839161

0.9470699433



		35		0		35		35

		45		120		45		45

		55				55		55

		70				70		70

		75				75		75

		85				85		85

		95				95		95



20 Volt

50 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #490-491

0.1595744681

0

0.12

0.0796116505

0.2053231939

1

0.1322869955

0.0891089109

0.2967032967

0.2258064516

0.2

0.72

0.692

0.7982261641

0.8351449275

0.7985074627

0.8764302059

0.9349593496

0.8546099291

0.9174311927

0.9445585216



		0		28		28		28

		118		38		38		38

				48		48		48

				58		58		58

				68		68		68

				78		78		78

				88		88		88



150 Volt

200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #760-761

0

0.1305483029

0.0812064965

0.0638722555

1

0.1467391304

0.0782608696

0.0601202405

0.2492753623

0.1494505495

0.1135135135

0.3970588235

0.41

0.368852459

0.66

0.7510548523

0.789017341

0.7542857143

0.9100719424

0.9100719424

0.8444444444

0.9125799574

0.9323308271



		30		30		28		0

		40		40		38		118

		50		50		48

		70		70		58

		80		80		68

		85		90		78

						88



#244 -245 (@ 200 Volt)

#534 - 535 (@ 400 Volt)

#760 - 761 (@ 400 Volt)

Local position [µm]

Right charge/Total charge

0.056206089

0.0510204082

0.0638722555

0

0.0638297872

0.0761670762

0.0601202405

1

0.1691542289

0.1943005181

0.1135135135

0.8544474394

0.8157099698

0.368852459

0.9367681499

0.915

0.789017341

0.9418886199

0.9330024814

0.9100719424

0.9323308271



		30		30		30		0

		40		40		40		115

		50		50		50

		65		65		65

		70		70		70

		80		80		80

		90		90		90



50 Volt

100 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #774-775

0.2777777778

0.1546391753

0.075

0

0.3857142857

0.2274368231

0.1002785515

1

0.4155844156

0.3298429319

0.2454873646

0.6

0.7023809524

0.7961165049

0.631147541

0.7959183673

0.8815028902

0.6979865772

0.8426573427

0.9268292683

0.8474576271

0.85

0.9258241758



		Bias		#650		#651		Pulse sum		Normalised		#670		#671		Pulse sum		Normalised		#690		#691		Pulse sum		Normalised		#710		#711		Pulse sum		Normalised		#730		#731		Pulse sum		Normalised		#740		#741		Pulse sum		Normalised		#760		#761		Pulse sum		Normalised

		[Volt]		[mV]		[mV]		[mv]				[mV]		[mV]		[mv]				[mV]		[mV]		[mv]				[mV]		[mV]		[mv]				[mV]		[mV]		[mv]				[mV]		[mV]		[mv]				[mV]		[mV]		[mv]

		50		41		85		126		0.2016		24		58		82		0.2		0		80		80		0.1500938086		31		78		109		0.1912280702		31		83		114		0.1972318339		30		101		131		0.2205387205		45		100		145		0.2566371681				104		104

		100		63		140		203		0.3248		22		84		106		0.2585365854		31		135		166		0.3114446529		53		125		178		0.3122807018		45		142		187		0.3235294118		67		182		249		0.4191919192		68		178		246		0.4353982301				177		177

		150		92		210		302		0.4832		38		133		171		0.4170731707		52		197		249		0.4671669794		58		180		238		0.4175438596		66		232		298		0.5155709343		74		290		364		0.6127946128		63		342		405		0.7168141593				385		385

		200		81		329		410		0.656		39		207		246		0.6		45		291		336		0.6303939962		73		290		363		0.6368421053		48		374		422		0.7301038062		57		425		482		0.8114478114		50		446		496		0.8778761062				454		454

		250		59		443		502		0.8032		32		300		332		0.8097560976		34		398		432		0.8105065666		51		388		439		0.7701754386		31		478		509		0.8806228374		51		472		523		0.8804713805		41		490		531		0.9398230088				468		468

		300		59		510		569		0.9104		30		321		351		0.856097561		35		433		468		0.8780487805		38		462		500		0.8771929825		17		501		518		0.8961937716		40		500		540		0.9090909091		36		501		537		0.9504424779				478		478

		350		50		530		580		0.928		23		342		365		0.8902439024		31		454		485		0.9099437148		33		485		518		0.9087719298		20		535		555		0.9602076125		34		513		547		0.9208754209		32		510		542		0.9592920354				495		495

		400		45		561		606		0.9696		10		370		380		0.9268292683		24		468		492		0.9230769231		31		498		529		0.9280701754		20		535		555		0.9602076125		34		520		554		0.9326599327		36		519		555		0.982300885				502		502

		500		45		580		625		1		10		400		410		1		10		523		533		1		30		540		570		1		0		578		578		1		34		560		594		1		32		533		565		1				510		510

																						Neff map		Vfd

																						10

																						30

																						50

																						70

																						90

																						100

																						120

																																												634

																																		72

		Bias		#526		#527		Pulse sum		Normalised		Bias		#545		#546		Pulse sum		Normalised		Bias		#567		#568		Pulse sum		Normalised		Bias		#577		#578		Pulse sum		Normalised		Bias		#585		#586		Pulse sum		Normalised		Bias		#605		#606		Pulse sum		Normalised		Bias		#622		#623		Pulse sum		Normalised		Bias		#634		#635		Pulse sum		Normalised

		[Volt]		[mV]		[mV]		[mv]				[Volt]		[mV]		[mV]		[mv]				[Volt]		[mV]		[mV]		[mv]				[Volt]		[mV]		[mV]		[mv]				[Volt]		[mV]		[mV]		[mv]				[Volt]		[mV]		[mV]		[mv]				[Volt]		[mV]		[mV]		[mv]				[Volt]		[mV]		[mV]		[mv]

		20		5		205		210		0.4393305439		10		89		41		130		0.313253012		10		27		41		68		0.17		25		34		75		109		0.2632850242		25		44		20		64		0.1671018277		50		65		10		75		0.1978891821		50		65		0		65		0.1697127937		50		61		24		85		0.2073170732

		30		5		273		278		0.5815899582		20		171		41		212		0.5108433735		25		61		109		170		0.425		50		55		164		219		0.5289855072		50		95		41		136		0.3550913838		75		95		10		105		0.2770448549		100		123		37		160		0.4177545692		100		106		34		140		0.3414634146

		40		54		323		377		0.7887029289		30		232		34		266		0.6409638554		50		266		41		307		0.7675		75		37		290		327		0.7898550725		75		150		58		208		0.5430809399		100		129		27		156		0.4116094987		150		171		51		222		0.5796344648		150		157		48		205		0.5

		50		45		365		410		0.8577405858		50		321		0		321		0.7734939759		75		334		14		348		0.87		100		27		330		357		0.8623188406		100		240		51		291		0.7597911227		125		167		27		194		0.5118733509		200		287		24		311		0.8120104439		200		253		34		287		0.7

		75		41		405		446		0.9330543933		75		362		0		362		0.8722891566		100		359		0		359		0.8975		150		27		359		386		0.9323671498		125		311		27		338		0.8825065274		150		236		30		266		0.7018469657		250		334		0		334		0.8720626632		250		317		27		344		0.8390243902

		100		32		428		460		0.9623430962		100		383		0		383		0.9228915663		150		372		0		372		0.93		200		24		372		396		0.9565217391		150		342		10		352		0.9190600522		200		328		0		328		0.8654353562		300		351		0		351		0.9164490862		300		349		31		380		0.9268292683

		120		23		441		464		0.9707112971		150		396		0		396		0.9542168675		200		383		0		383		0.9575		250		20		379		399		0.9637681159		200		355		10		365		0.953002611		250		355		0		355		0.9366754617		350		366		0		366		0.955613577		350		362		27		389		0.9487804878

		150		27		446		473		0.989539749		200		410		0		410		0.9879518072		250		396		0		396		0.99		300		24		382		406		0.9806763285		300		376		0		376		0.9817232376		300		366		0		366		0.9656992084		400		372		0		372		0.9712793734		400		372		34		406		0.9902439024

		200		23		455		478		1		300		415		0		415		1		300		400		0		400		1		350		24		390		414		1		400		383		0		383		1		400		379		0		379		1		500		383		0		383		1		500		383		27		410		1

		300		20		464		484		1.0125523013

		Strip #		VFD

		188		80

		244		75

		390		60

		470		55

		498		55

		526		53

		545		55

		568		62

		578		92								0.0004882813		0.1806640625		0.0451660156

		585		128

		605		200

		622		225

		634		270

		650		285

		670		297

		690		300

		710		285								768		640

		730		250

		740		220

		760		170

		774		125

		829		60

		888		47





		



Strip #10

Strip #30

Strip #50

Strip #70

Strip #90

Strip #100

Strip #120



		



Strip #526

Strip #545

Strip #578

Strip #585

Strip #605

Strip #622

Strip #634

Bias [Volt]

Normalised CCE



		



Strip Number

Vfd [Volt]



		



Strip #545

Strip #585

Strip #634

Bias [Volt]

Normalised CCE



		



Strip #526

Strip #578

Strip #605

Bias [Volt]

Normalised CCE



		Strip:		#10								Strip:		#30								Strip:		#50								Strip:		#70								Strip:		#90								Strip:		#100		#101						Strip:		#120

				#11										#31										#51										#71										#91										#121										#121

						ideal										ideal										ideal										ideal										ideal										ideal										ideal

		20		0.2059800664		0		0		0.1260683761		20		0.3485714286		0		0		0.2292490119		20		0.1510067114		0		0		0		20		0.1729559748		0		0		0.1299559471		30		0.1035422343		0		0		0		30		0.204610951		0		0		0		20		0.2591006424		0		0		0.263671875

		30		0.1784037559		110		1		0		30		0.2186046512		110		1		0		30		0.1964285714		110		1		0		30		0.1009615385		115		1		0		40		0.1971428571		117.5		1		0		40		0.3086053412		115		1		0		30		0.0874074074		115		1		0.0657534247

		40		0.2587064677						0.0909090909		40		0.3191489362						0		40		0.3269961977						0.118993135		40		0.1943734015						0		50		0.3688888889						0.2443729904		50		0.3851351351						0.1978021978		40		0.0914454277						0.0725244073

		50		0.3577586207						0.2196531792		50		0.4345238095						0.2648401826		60		0.6736842105						0.7946428571		50		0.3125						0.1707317073		60		0.6231884058						0.7816091954		60		0.5677966102						0.688372093		50		0.1515151515						0.1463414634

		60		0.6280991736						0.7375328084		60		0.625						0.619047619		70		0.7365079365						0.916500994		60		0.5102040816						0.5845070423		70		0.7445652174						0.9099437148		70		0.6253869969						0.886405959		60		0.5						0.5

		70		0.7114914425						0.8717948718		70		0.7170731707						0.8559322034		80		0.8419452888						0.9427402863		70		0.689373297						0.8831858407		80		0.8891454965						1		80		0.7331378299						0.9305816135		70		0.8						0.8395522388

		80		0.7915742794						0.9111470113		80		0.7960784314						0.9867374005		90		0.8307692308						0.9512195122		80		0.8141809291						0.9365609349		90		0.9136363636						1		90		0.7967032967						0.938517179		80		0.884086444						0.9252669039

		90		0.7759103641						0.8546845124		90		0.825						0.9734748011												90		0.8523489933						0.9378427788																						90		0.9249011858						0.9491833031

		Residuals		#10-#11								Residuals		#30-#31								Residuals		#50-#51								Residuals		#50-#51								Residuals		#70-#71								Residuals		#90-#91								Residuals		#100-#101

		True position		Est. position		Est. position		Residuals		Residuals		True position		Est. position		Est. position		Residuals		Residuals		True position		Est. position		Est. position		Residuals		Residuals		True position		Est. position		Est. position		Residuals		Residuals		True position		Est. position		Est. position		Residuals		Residuals		True position		Est. position		Est. position		Residuals		Residuals		True position		Est. position		Est. position		Residuals

				200 V		400 V		200 V		400 V				200 V		400 V		200 V		400 V				200 V		400 V		200 V		400 V				200 V		400 V		200 V		400 V				200 V		400 V		200 V		400 V				200 V		400 V		200 V		400 V				200 V		400 V		200 V		400 V

		20		22.657807309		38.3428571429		2.657807309		18.3428571429		20		38.3428571429		25.2173913043		18.3428571429		5.2173913043		20		16.610738255		0		-3.389261745		-20		20		19.8899371069		14.9449339207		-0.1100628931		-5.0550660793		30		12.1662125341		0		-17.8337874659		-30		30		23.530259366		0		-6.469740634		-30		20		29.7965738758		30.322265625		9.7965738758		10.322265625

		30		19.6244131455		24.0465116279		-10.3755868545		-5.9534883721		30		24.0465116279		0		-5.9534883721		-30		30		21.6071428571		0		-8.3928571429		-30		30		11.6105769231		0		-18.3894230769		-30		40		23.1642857143		0		-16.8357142857		-40		40		35.4896142433		0		-4.5103857567		-40		30		10.0518518519		7.5616438356		-19.9481481481		-22.4383561644

		40		28.4577114428		35.1063829787		-11.5422885572		-4.8936170213		40		35.1063829787		0		-4.8936170213		-40		40		35.969581749		13.0892448513		-4.030418251		-26.9107551487		40		22.3529411765		0		-17.6470588235		-40		50		43.3444444444		28.7138263666		-6.6555555556		-21.2861736334		50		44.2905405405		22.7472527473		-5.7094594595		-27.2527472527		40		10.5162241888		8.340306834		-29.4837758112		-31.659693166

		50		39.3534482759		47.7976190476		-10.6465517241		-2.2023809524		50		47.7976190476		29.1324200913		-2.2023809524		-20.8675799087		60		74.1052631579		87.4107142857		14.1052631579		27.4107142857		50		35.9375		19.6341463415		-14.0625		-30.3658536585		60		73.2246376812		91.8390804598		13.2246376812		31.8390804598		60		65.2966101695		79.1627906977		5.2966101695		19.1627906977		50		17.4242424242		16.8292682927		-32.5757575758		-33.1707317073

		60		69.0909090909		68.75		9.0909090909		8.75		60		68.75		68.0952380952		8.75		8.0952380952		70		81.0158730159		100.8151093439		11.0158730159		30.8151093439		60		58.6734693878		67.2183098592		-1.3265306122		7.2183098592		70		87.4864130435		106.9183864916		17.4864130435		36.9183864916		70		71.919504644		101.9366852886		1.919504644		31.9366852886		60		57.5		57.5		-2.5		-2.5

		70		78.2640586797		78.8780487805		8.2640586797		8.8780487805		70		78.8780487805		94.1525423729		8.8780487805		24.1525423729		80		92.6139817629		103.7014314928		12.6139817629		23.7014314928		70		79.2779291553		101.5663716814		9.2779291553		31.5663716814		80		104.474595843		117.5		24.474595843		37.5		80		84.3108504399		107.0168855535		4.3108504399		27.0168855535		70		92		96.5485074627		22		26.5485074627

		80		87.0731707317		87.568627451		7.0731707317		7.568627451		80		87.568627451		108.5411140584		7.568627451		28.5411140584		90		91.3846153846		104.6341463415		1.3846153846		14.6341463415		80		93.630806846		107.7045075125		13.630806846		27.7045075125		90		107.3522727273		117.5		17.3522727273		27.5		90		91.6208791209		107.9294755877		1.6208791209		17.9294755877		80		101.6699410609		106.4056939502		21.6699410609		26.4056939502

		90		85.350140056		90.75		-4.649859944		0.75		90		90.75		107.0822281167		0.75		17.0822281167												90		98.0201342282		107.8519195612		8.0201342282		17.8519195612																						90		106.3636363636		109.1560798548		16.3636363636		19.1560798548





		Far end														End + 1 cm														End + 2 cm														End + 3 cm														End + 3.5 cm

		Strip width		Local coord.												Strip width		Local coord.												Strip width		Local coord.												Strip width		Local coord.												Strip width		Local coord.												Local coord.

		16 µm		12		0.3192771084		0		0		0.3086172345		0.2177531207		25 µm		20		0.2489795918		0		0		0.2296072508		0.0935875217		25 µm		23		0.2344827586		0		0		0.1566820276		0.079338843		30 µm		23		0.1505016722		0		0		0.0805687204		0.052		35 µm		20		0.2591006424		0		0		0.263671875				28		0.1305483029		0.0812064965		0.0638722555		0		0

				22		0.3269230769		61		1		0.3302180685		0.2262118492				30		0.3642857143		78		1		0.3591160221		0.2287390029				33		0.3311897106		95		1		0.2647754137		0.1256038647				33		0.2164948454		108		1		0.0966183575		0.0595238095				30		0.0874074074		115		1		0.0657534247				38		0.1467391304		0.0782608696		0.0601202405		118		1

				32		0.5						0.5		0.5284552846				40		0.6977777778						0.691588785		0.8631578947				43								0.3176470588		0.2993197279				43		0.3470790378						0.2055137845		0.1347248577				40		0.0914454277						0.0725244073				48		0.2492753623		0.1494505495		0.1135135135

				42		0.6687697161						0.6808943089		0.826435247				50		0.7510204082						0.7796610169		0.9246575342				53		0.6393442623						0.6741573034		0.7946127946				63		0.6487603306						0.7430939227		0.8559837728				50		0.1515151515						0.1463414634				58		0.3970588235		0.41		0.368852459

				52		0.6972789116						0.7270788913		0.8104196816				60														63		0.7039711191						0.7454545455		0.8982785603				73		0.7683823529						0.884057971		0.9513108614				60		0.5						0.5				68		0.66		0.7510548523		0.789017341

																																73		0.7731629393						0.830802603		0.9453376206				83		0.8316498316						0.9351145038		0.98				70		0.8						0.8395522388				78		0.7542857143		0.9100719424		0.9100719424

																																																												80		0.884086444						0.9252669039				88		0.8444444444		0.9125799574		0.9323308271

																																																												90		0.9249011858						0.9491833031

				Pos. far end (1)														Pos.(2)=(1)+1 cm														Pos.(3)=(2)+1 cm														Pos.(4)=(3)+1 cm														Pos.(5)=(4)+0.5 cm

		Bias		#119		Int 1		#120				#121		Int 3		#122		#119		Int 1		#120				#121		Int 3		#122		#119		Int 1		#120				#121		Int 3		#122		#119		Int 1		#120				#121		Int 3		#122		#119		Int 1		#120				#121		Int 3		#122

		[Volt]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]

		50		0		0		30		10		115		10		20						20		0		68						0		0		31		0		99		0		0		0		0		0		0		70		0		0						38		21		104		-10

		100		28		0		61		17		179		15		33						44		15		129						20		0		48		24		171		0		31						52		34		145		0		29						62		34		177		-21

		150		30		0		88		40		239		27		44						78		37		184						0		0		71		44		242		0		31						63		58		250		0		29						55		24		385		-31

		200		37		0		115		74		357		37		54						68		41		280						0		0		78		58		383		0		37						37		20		388		-5		20						48		15		454		-24

		250		34		0		101		61		530		51		20						71		44		410						0		0		44		24		509		-24		10						26		10		448		-20		10						45		0		468		-34

		300		23		0		81		37		600		-23		30						58		45		475						0		0		37		13		533		-30		20						22		22		490		-24		10						34		-10		478		-34

		350		34		0		84		27		641		-27		24						51		10		519						0		0		30		0		567		-30		15						20		0		512		-24		0						34		-17		495		-34

		400		23		0		64		0		644		-34		23						51		0		530						0		0		41		0		577		-37		15						20		0		527		-24		0						34		-17		502		-34

		500		10		0		77		0		680		-30		10						48		0		547						0		0		34		0		588		-40		13						10		0		530		-24		0						34		-17		510		-34

				Total										Total										Intermediate strip/total charge

		Bias		Pos.(1)		Pos.(2)		Pos.(3)		Pos.(4)		Pos.(5)		normalised

		[Volt]												Pos.(1)		Pos.(2)		Pos.(3)		Pos.(4)		Pos.(5)		Pos.(1)		Pos.(2)		Pos.(3)		Pos.(4)		Pos.(5)

		50		135		88		99		70		142		0.2023988006		0.1514629948		0.1672297297		0.1328273245		0.2649253731		0.0740740741		0		0		0		0.1478873239

		100		212		173		202		174		239		0.3178410795		0.2977624785		0.3412162162		0.330170778		0.4458955224		0.0801886792		0.0867052023		0.1188118812		0.1954022989		0.1422594142

		150		283		262		273		279		440		0.4242878561		0.4509466437		0.4611486486		0.5294117647		0.8208955224		0.1413427562		0.141221374		0.1611721612		0.2078853047		0.0545454545

		200		411		348		420		408		502		0.616191904		0.5989672978		0.7094594595		0.7741935484		0.9365671642		0.1800486618		0.117816092		0.1380952381		0.0490196078		0.0298804781

		250		550		481		519		458		513		0.8245877061		0.8278829604		0.8766891892		0.8690702087		0.9570895522		0.1109090909		0.0914760915		0.0462427746		0.0218340611		0

		300		630		533		553		500		512		0.9445277361		0.917383821		0.9341216216		0.9487666034		0.9552238806		0.0587301587		0.0844277674		0.0235081374		0.044		-0.01953125

		350		665		570		582		512		529		0.9970014993		0.9810671256		0.9831081081		0.9715370019		0.9869402985		0.0406015038		0.0175438596		0		0		-0.0321361059

		400		667		581		592		527		536		1		1		1		1		1		0		0		0		0		-0.0317164179

		500		690		595		601		530		544		1.0344827586		1.0240963855		1.0152027027		1.0056925996		1.0149253731		0		0		0		0		-0.03125





		



Pos. 1

Pos. 2

Pos. 3



		





		





		



150 Volt

200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #760-761



		



Strip #120 of sector n. 6

Local position [µm]

Right charge/Total charge

Scan across strips #760-761

150 Volt

200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #760-761



		



150 Volt

200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #760-761



		



150 Volt

200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #760-761



		Time delay		Corrected time		Bias [V]		#120		Int 1		#121		Int 2																		0		0.08185		9.1672		112				0.261052		10		80

		70		55		250		0		0		68		0				0		0		0		610								1		0.168384		18.859008						0.431745		34.5396

		75		50				16		0		150		0				3		0.0512794593		31.2804701969										2		0.312367		34.985104						0.675746		54.05968

		80		45				34		0		245		-25				6		0.2672435413		163.0185601936										3		0.52869		59.21328						1.004992		80.39936

		85		40				54		0		369		-41				9		0.5875634723		358.4137180924										4		0.825982		92.509984						1.426173		114.09384

		90		35				123		32		560		0				12		0.9072872169		553.4452023										5		1.20452		134.90624						1.939189		155.13512

		95		30				154		40		688		0				15		1.1543795498		704.1715253543										6		1.656436		185.520832						2.536774		202.94192

		100		25				188		51		826		-28				18		1.299469696		792.6765145638										7		2.16761		242.77232						3.205258		256.42064

		105		20				199		74		792		0				21		1.3442508459		819.9930160187										8		2.720225		304.6652						3.926179		314.09432

		110		15				188		108		615		-5				24		1.3071636214		797.3698090352										9		3.295125		369.054						4.678293		374.26344

		115		10				176		131		421		79				27		1.2124429531		739.5902013697										10		3.873637		433.847344						5.439553		435.16424

		120		5				85		68		199		34				30		1.0834467691		660.9025291351										11		4.438771		497.142352						6.188773		495.10184

		125		0				0		0		0		0				33		0.9394191906		573.0457062512										12		4.97592		557.30304						6.906842		552.54736

																		36		0.7945091514		484.6505823432										13		5.473185		612.99672						7.577489		606.19912

																		39		0.6580501859		401.410613397										14		5.92143		663.20016						8.187653		655.01224

																		42		0.5354104702		326.6003867976										15		6.31416		707.18592						8.727551		698.20408

																		45		0.4289931162		261.6858008585										16		6.647297		744.497264						9.190552		735.24416

																		48		0.339164421		206.8902967894										17		6.91889		774.91568						9.57288		765.8304

																		51		0.2650152693		161.6593142647										18		7.128793		798.424816						9.873284		789.86272

																		54		0.2049346724		125.0101501754										19		7.278362		815.176544						10.092649		807.41192

																		57		0.1570118833		95.7772488293										20		7.370132		825.454784						10.233604		818.68832

																		60		0.1192986421		72.7721716988										21		7.407557		829.646384						10.300152		824.01216

																		63		0.0899657472		54.8791057793										22		7.394742		828.211104						10.297333		823.78664

																		66		0.0673846758		41.1046522082										23		7.336235		821.65832						10.230914		818.47312

																		69		0.050159177		30.597097963										24		7.236837		810.525744						10.107127		808.57016

																		72		0.0371256796		22.6466645667										25		7.101445		795.36184						9.932439		794.59512

																		75		0.0273359711		16.67494238										26		6.934925		776.7116						9.713365		777.0692

																																27		6.742013		755.105456						9.456316		756.50528

																																28		6.527242		731.051104						9.16749		733.3992

																																29		6.294873		705.025776						8.852766		708.22128

																																30		6.048868		677.473216						8.517644		681.41152

																																31		5.792859		648.800208						8.167207		653.37656

																																32		5.530137		619.375344						7.806094		624.48752

																																33		5.263647		589.528464						7.438483		595.07864

																																34		4.995998		559.551776						7.068093		565.44744

																																35		4.729472		529.700864						6.698193		535.85544

																																36		4.466033		500.195696						6.331631		506.53048

																																37		4.207353		471.223536						5.970841		477.66728

																																38		3.954834		442.941408						5.617879		449.43032

																																39		3.709625		415.478						5.274448		421.95584

																																40		3.472645		388.93624						4.941926		395.35408

																																41		3.244611		363.396432						4.621399		369.71192

																																42		3.026052		338.917824						4.313695		345.0956

																																43		2.817337		315.541744						4.019405		321.5524

																																44		2.618692		293.293504						3.738913		299.11304

																																45		2.43022		272.18464						3.472427		277.79416

																																46		2.251916		252.214592						3.219996		257.59968

																																47		2.083687		233.372944						2.981542		238.52336

																																48		1.925365		215.64088						2.756874		220.54992

																																49		1.776718		198.992416						2.545705		203.6564

																																50		1.637465		183.39608						2.347678		187.81424

																																51		1.507286		168.816032						2.162372		172.98976

																																52		1.38583		155.21296						1.989319		159.14552

																																53		1.272725		142.5452						1.828019		146.24152

																																54		1.167583		130.769296						1.677946		134.23568

																																55		1.070007		119.840784						1.538557		123.08456

																																56		0.979598		109.714976						1.409304		112.74432

																																57		0.895956		100.347072						1.289635		103.1708

																																58		0.818688		91.693056						1.179003		94.32024

																																59		0.747406		83.709472						1.076871		86.14968

																																60		0.681733		76.354096						0.982712		78.61696

																																61		0.621304		69.586048						0.896015		71.6812

																																62		0.565769		63.366128						0.816288		65.30304

																																63		0.51479		57.65648						0.743057		59.44456

																																64		0.468044		52.420928						0.675869		54.06952

																																65		0.425227		47.625424						0.614292		49.14336

																																66		0.386049		43.237488						0.557917		44.63336

																																67		0.350235		39.22632						0.506357		40.50856

																																68		0.317529		35.563248						0.459245		36.7396

																																69		0.287687		32.220944						0.416239		33.29912

																																70		0.260483		29.174096						0.377015		30.1612

																																71		0.235705		26.39896						0.341272		27.30176

																																72		0.213156		23.873472						0.308729		24.69832

																																73		0.19265		21.5768						0.279123		22.32984

																																74		0.174018		19.490016						0.25221		20.1768

																																75		0.157101		17.595312						0.227764		18.22112

																																76		0.141751		15.876112						0.205574		16.44592

																																77		0.127834		14.317408						0.185447		14.83576

																																78		0.115224		12.905088						0.167204		13.37632

																																79		0.103806		11.626272						0.150679		12.05432

																																80		0.093474		10.469088						0.13572		10.8576

																																81		0.084131		9.422672						0.122188		9.77504

																																82		0.075686		8.476832						0.109953		8.79624

																																83		0.068058		7.622496						0.098898		7.91184

																																84		0.061172		6.851264						0.088915		7.1132

																																85		0.054959		6.155408						0.079904		6.39232

																																86		0.049356		5.527872						0.071777		5.74216

																																87		0.044307		4.962384

																																88		0.039758		4.452896

																																89		0.035662		3.994144

																																90		0.031975		3.5812

																																91		0.028659		3.209808

																																92		0.025678		2.875936

																																93		0.022998		2.575776

																																94		0.020591		2.306192

																																95		0.018429		2.064048

																																96		0.016489		1.846768

																																97		0.014748		1.651776

																																98		0.013187		1.476944

																																99		0.011787		1.320144





		





		





		



Measured (hit strip)

Calculated

Adjacent strip

Intermediate routing line

Time [ns]

Amplitude [arb. units]



		



Measured

Calculated

Time [ns]

Amplitude [arb. units]




_1045985759.xls
Chart4

		0		23		23		23

		95		33		33		33

				43		43		43

				53		53		53

				63		63		63

				73		73		73



150 Volt

200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

0

0.2344827586

0.1566820276

0.079338843

1

0.3311897106

0.2647754137

0.1256038647

0.3176470588

0.2993197279

0.6393442623

0.6741573034

0.7946127946

0.7039711191

0.7454545455

0.8982785603

0.7731629393

0.830802603

0.9453376206



General

		Sector #		Strip's range								1		128

		1		1-128								2		256

		2		129-256								3		384

		3		257-384								4		512

		4		385-512								5		640

		5		513-640								6		768

		6		641-768								7		896

		7		769-896								8		1024

		8		897-1024

		Measured strips:

		Sector #:		1		2		3		4		5		6		7		8





Sheet1

				Bias 200 V		Step posit.		Delta #85		Delta #86		Left Height		Right Height		Sum (L+R)		Eta		Integral		Predicted position		Residuals		Ideal eta

								[µm]		[µm]																0		0

		Strip #85 position		40.3		41		7		115		558		104		662		0.1570996979				18.8519637462		11.8519637462		120		1

		Strip #86 position		52.5		42		17		105		608		154		762		0.2020997375				24.2519685039		7.2519685039

						43		27		95		625		116		741		0.1565452092				18.7854251012		-8.2145748988

						44		37		85		608		227		835		0.2718562874				32.622754491		-4.377245509

						45		47		75		608		446		1054		0.4231499051				50.7779886148		3.7779886148

						46		57		65		568		548		1116		0.4910394265				58.9247311828		1.9247311828

						47		67		55		507		572		1079		0.5301204819				63.6144578313		-3.3855421687

						48		77		45		357		580		937		0.6189967983				74.2796157951		-2.7203842049

						49		87		35		170		570		740		0.7702702703				92.4324324324		5.4324324324

						50		97		25		187		608		795		0.7647798742				91.7735849057		-5.2264150943

						51		107		15		174		600		774		0.7751937984				93.023255814		-13.976744186

																								7.5058591589

																						7.5058591589

																						6

				Bias 200 V		Step posit.		Delta #85		Delta #86		Left Height		Right Height		Sum (L+R)		Eta		Integral						Ideal eta

								[µm]		[µm]																0		0

		Strip #85 position		41.7		43		13		105		755		170		925		0.1837837838								120		1

		Strip #86 position		53.5		44		23		95		778		178		956		0.1861924686

						45		33		85		770		244		1014		0.2406311637

						46		43		75		770		585		1355		0.4317343173

						47		53		65		711		689		1400		0.4921428571

						48		63		55		607		741		1348		0.5497032641

						49		73		45		452		741		1193		0.6211232188

						50		83		35		178		726		904		0.8030973451

						51		93		25		118		711		829		0.8576598311

						52		103		15		104		681		785		0.8675159236

						53		113		5		89		704		793		0.8877679697





Irradiated (4)

		Bias 250 V		Strip #		Centre		Distance		20 V		Local coord.		D24		D25		Pulse Left		Pulse Right		Pulse sum		h		ideal				50 V		Pulse Left		Pulse Right		Pulse sum		h		200 V		Pulse Left		Pulse Right		Pulse sum		h				Volt scan		#85		#86		Total		Normalised

				85		31		110				33.5		25		85		128		12		140		0.0857142857		0		0				253		30		283		0.1060070671				373		16		389		0.0411311054				20		36		126		162		0.3884892086

				86		42						34.5		35		75		132		12		144		0.0833333333		110		1				233		24		257		0.093385214				341		25		366		0.0683060109				30		52		240		292		0.7002398082

												35.5		45		65		84		32		116		0.275862069								204		48		252		0.1904761905				325		50		375		0.1333333333				40		48		317		365		0.8752997602

												37		60		50		22		40		62		0.6451612903								36		76		112		0.6785714286				50		136		186		0.7311827957				50		48		371		407		0.9760191847

		#85		Amplitude		#86		Amplitude				37.5		65		45		40		84		124		0.6774193548								60		197		257		0.766536965				60		305		365		0.8356164384				75		36		380		412		0.9880095923

		39		417		28		417				38.5		75		35		28		152		180		0.8444444444								40		272		312		0.8717948718				32		401		433		0.9260969977				100		32		397		425		1.0191846523

		40		325		29		297				39.5		85		25		24		160		184		0.8695652174								44		281		325		0.8646153846				32		405		437		0.9267734554				120		28		413		441		1.0575539568

		41		50		30		60																																												150		28		417		417		1

		42		0		31		0

		43		68		32		32

		44		361		33		272

						34		409

		Bias 250 V		Strip #		Centre		Distance		20 V		Local coord.		D24		D25		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h		ideal				50 V		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h		200 V		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h				Volt scan		#4		Int 1		#5		Int 2		Total		Normalised

				4		12.5		115				14.5		20		95		204		-28		36				240		0.15		0		0				333				36				369		0.0975609756				449		-64		48				497		0.0965794769				20		12		-24		200		-48		212		0.4265593561

				5		24						15.5		30		85		240		-36		44				284		0.1549295775		115		1				425		-64		72				497		0.1448692153				573		-112		64				637		0.1004709576				30		40				328		-52		368		0.7404426559

												16.5		40		75		212		-32		44				256		0.171875								373		-48		52				425		0.1223529412				525		-88		52				577		0.0901213172				40		24		-16		381		-88		405		0.814889336

												17.5		50		65		116		-8		48				164		0.2926829268								256		-24		104				360		0.2888888889				373		-64		120				493		0.2434077079				50		28		-24		425		-92		453		0.9114688129

		#4		Amplitude		#5		Amplitude				18.5		60		55		16				32				48		0.6666666667								32				72				104		0.6923076923				60				112				172		0.6511627907				75		16				445		-100		461		0.9275653924

		12		0		21		489				19.5		70		45		52				188		-16		240		0.7833333333								68				385		-48		453		0.8498896247				52				509		-96		561		0.9073083779				100		12		-28		457		-124		469		0.9436619718

		13		0		22		341				20.5		80		35		52				253		-16		305		0.8295081967								76				429		-52		505		0.8495049505				36				549		-96		585		0.9384615385				120		16		-20		465		-120		481		0.967806841

		14		132		23		84				21.5		90		25		28				204		-48		232		0.8793103448								36				393		-84		429		0.9160839161				28				501		-112		529		0.9470699433				150		12		-44		485		-132		497		1

		15		437		24		0

		16		517		25		0

						26		272

		Bias 250 V		Strip #		Centre		Distance		20 V		Local coord.		D24		D25		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h		ideal				50 V		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h		200 V		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h

				5		24		110				26.5		25		85		197				36				233		0.1545064378		0		0				328				36				364		0.0989010989				445				32				477		0.0670859539

				6		35						27.5		35		75		152				28				180		0.1555555556		110		1				305				36				341		0.1055718475				449				36				485		0.0742268041

												28.5		45		65		116				36				152		0.2368421053								253				60				313		0.1916932907				413				100				513		0.1949317739

												29.5		55		55		44				28				72										60				36				96						72				32				104

												30.5		65		45		28				104				132		0.7878787879								52				212				264		0.803030303				72				345				417		0.8273381295

												31.5		75		35		36				160				196		0.8163265306								32				272				304		0.8947368421				28				405				433		0.935334873

												32.5		85		25		12				164				176		0.9318181818								32				333				365		0.9123287671				72				469				541		0.8669131238

		Bias 250 V		Strip #		Centre		Distance		20 V		Local coord.		D24		D25		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h		ideal				50 Volt		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h		200 Volts		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h				Volt scan		#115		Int 1		#116		Int 2		Total		Normalised

				115		44		120				47.5		35		85		237				45				282		0.1595744681		0		0				396		-18		54				450		0.12				474		-31		41				515		0.0796116505				10		32		23		132		0		164		0.3326572008

				116		56						48.5		45		75		209		0		54				263		0.2053231939		120		1				387		-13		59				446		0.1322869955				460		-41		45				505		0.0891089109				20		41		25		241		0		282		0.5720081136

												49.5		55		65		128		13		54				182		0.2967032967								264				77				341		0.2258064516				360		-23		90				450		0.2				30		45		25		314		0		359		0.7281947262

												51		70		50		41		13		91				132										63		13		182				245						73		0		250				323		0.72				40		45		25		364		0		409		0.8296146045

		#115		Amplitude		#116		Amplitude				51.5		75		45		77		41		173				250		0.692								91		18		360				451		0.7982261641				91		0		461				552		0.8351449275				50		36		18		400		-13		436		0.8843813387

		42		506		54		483				52.5		85		35		54		30		214				268		0.7985074627								54		23		383				437		0.8764302059				32		-23		460				492		0.9349593496				60		25		0		419		-23		444		0.9006085193

		43		410		55		287				53.5		95		25		41		25		241				282		0.8546099291								36		18		400		-13		436		0.9174311927				27				460		-23		487		0.9445585216				80		27		0		442		-23		469		0.9513184584

		44		77		56		0																																																								100		27		0		446		-23		473		0.9594320487

		45		455		57		0																																																								150		23		0		455		-27		478		0.9695740365

		46		488		58		145																																																								200		27				460		-18		487		0.9878296146

						59		469																																																								300		23				470		-30		493		1





Irradiated (4)

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

				0

				0

				0



0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



Irradiated (5) 

		0		0		0		0

		0		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0



20 Volt

50 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #388-389

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



Irr. corr (5)

		0		0		0		0

		0		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0



0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



Irr. corr. (6)

		Bias 250 V		Strip #		Centre		Distance		100 V		Local coord.		D24		D25		Pulse Left		Pulse Right		Pulse sum		h		ideal				200 V		Pulse Left		Pulse Right		Pulse sum		h		300 V		Pulse Left		Pulse Right		Pulse sum		h				Volt scan		#13		#14		Total		Normalised						Strip #5		Volt scan		Normalised

				13		8.5		110				11		25		85		351		0		351		0		0		0				369		0		369		0				364		0		364		0				20		5		205		210		0.4338842975						10		140		0.2868852459

				14		19.5						12		35		75		387		0		387		0		110		1				414		0		414		0				414		0		414		0				30		5		273		278		0.5743801653						30		285		0.5840163934

												13		45		65		328		27		355		0.076056338								374		15		389		0.0385604113				383		24		407		0.058968059				40		54		323		377		0.7789256198						50		393		0.8053278689

												14		55		55		154		73		227		0.3215859031								164		59		223		0.264573991				173		68		241		0.2821576763				50		45		360		405		0.8367768595						70		434		0.8893442623

		#13		Amplitude		#14		Amplitude				15		65		45		54		223		277		0.8050541516								63		264		327		0.8073394495				82		278		360		0.7722222222				75		41		405		446		0.9214876033						100		454		0.9303278689

		6		364		17		351				16		75		35		36		378		414		0.9130434783								36		424		460		0.9217391304				32		424		456		0.9298245614				100		32		428		460		0.9504132231						150		468

		7		164		18		164				17		85		25		23		414		437		0.9473684211								23		460		483		0.9523809524				20		464		484		0.958677686				120		23		437		460		0.9504132231						200		485		0.993852459

		8		30		19		0																																												150		27		446		473		0.9772727273						300		488		1

		9		0		20		0																																												200		23		455		478		0.9876033058

		10		209		21		196																																												300		20		464		484		1

		11		370		22		392

		Bias 250 V		Strip #		Centre		Distance		50 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				200 V		Pulse Left		Pulse Right		Pulse sum		h		300 V		Pulse Left		Pulse Right		Pulse sum		h				Volt scan		#33		#34		Total		Normalised

				13		4.8		112				8		32		80		31		334		71		405		0.175308642		0		0				427		-17		410		0				434		-17		417		0				10		48		97		145		0.3325688073				30		112		20		31		163

				14		16						9		42		70		34		317		51		368		0.1385869565		112		1				427		31		458		0.0676855895				458		24		482		0.0497925311				20		51		184		235		0.5389908257				50		157		31		41		229

												10		52		60		0		68		34		102		0.3333333333								89		37		126		0.2936507937				99		34		133		0.2556390977				30		54		263		317		0.7270642202				100		291		51		85		427

												11		62		50		0		65		195		260		0.75								61		266		327		0.8134556575				61		260		321		0.8099688474				50		37		345		382		0.876146789				130		372		58		103		533

		#33		Amplitude		#34		Amplitude				12		72		40		0		51		308		359		0.8579387187								34		413		447		0.9239373602				34		430		464		0.9267241379				75		27		389		416		0.9541284404				150		530		50		109		689

		2		445		13		451				13		82		30		0		37		342		379		0.9023746702								27		427		454		0.9405286344				10		447		457		0.9781181619				100		24		400		424		0.9724770642				200		567		44		65		676

		3		191		14		214																																														125		24		417		441		1.0114678899				250		605		31				636

		4		41		15		41																																														150		20		420		440		1.0091743119				300		612		31				643

		5		34		16		34																																														200		20		424		444		1.0183486239

		6		68		17		58																																														300		20		436		456		1.0458715596

		7		413		18		330

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.		D24		D25		#120		Int 1		#121		Int 2		#122		Int 3		Pulse sum		h		ideal				200 V		#120		Int 1		#121		Int 2		#122		Int 3		Pulse sum		h		400 V		#120		Int 1		#121		Int 2		#122		Int 3		Pulse sum		h						Volt scan		#120		Int 1		#121		Int 2		#122		Total		Normalised

				121		40		117				43		30		87		30		24		167		24		48		17		215		0.223255814		0		0				24		20		266		10		34		0		300		0.1133333333				10		0		372		-24		20		0		392		0.0510204082						50		0		0		61		0		24		85		0.2093596059

				122		51.7						44		40		77		24		15		140		31		54		117		194		0.2783505155		117		1				27		15		242		27		58		0		300		0.1933333333				0		0		376		-24		31		0		407		0.0761670762						100		20		0		106		0		34		140		0.3448275862

												45		50		67		24		20		99		37		65		0		164		0.3963414634								15		0		171		44		75		0		246		0.3048780488				10		0		311		0		75		0		386		0.1943005181						150		27		10		157		24		48		205		0.5049261084

												47		70		47		0		0		58		41		95		0		153		0.6209150327								0		0		68		48		146		0		214		0.6822429907				0		0		61		17		270		0		331		0.8157099698						200		20		10		253		10		34		287		0.7068965517

		#121		Amplitude		#122		Amplitude				48		80		37		0		0		65		41		143		10		208		0.6875								0		0		58		41		229		0		287		0.7979094077				0		0		34		0		366		-13		400		0.915						250		10		5		317		0		27		344		0.8472906404

		38		345		49		366				49		90		27		0		0		51		34		157		0		208		0.7548076923								0		0		44		27		266		0		310		0.8580645161				0		0		27		0		376		-17		403		0.9330024814						300		0		0		349		0		31		380		0.9359605911

		39		37		50		201																																																																						350		0		0		362		-15		27		389		0.9581280788

		40		30		51		34																																																																						400		0		0		372		-17		34		406		1

		41		34		52		24																																																																						500		0		0		383		-20		27		410		1.0098522167

		42		195		53		58

		43		362		54		342

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				200 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		400 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h						Volt scan		#109		#110		Total		Normalised

				109		12.4		116				15		26		90		31		178		51		229		0.2227074236		0		0				15		280		24		304		0.0789473684						369		0		369		0						50		65		0		65		0.1747311828

				110		24						16		36		80		24		154		58		212		0.2735849057		116		1				24		263		41		304		0.1348684211						372		0		372		0						100		123		37		160		0.4301075269

												17		46		70		20		123		71		194		0.3659793814								30		215		71		286		0.2482517483						331		41		372		0.1102150538						150		171		51		222		0.5967741935

												19		66		50		0		68		95		163		0.5828220859								0		71		146		217		0.6728110599						58		242		300		0.8066666667						200		287		24		311		0.8360215054

		#109		Amplitude		#110		Amplitude				20		76		40		0		68		146		214		0.6822429907								0		58		242		300		0.8066666667						34		338		372		0.9086021505						250		334		0		334		0.8978494624

		10		308		21		291				21		86		30		0		58		167		225		0.7422222222								0		44		259		303		0.8547854785						0		345		345		1						300		351		0		351		0.9435483871

		11		37		22		208																																																				350		366		0		366		0.9838709677

		12		0		23		31																																																				400		372		0		372		1

		13		0		24		27																																																				500		383		0		383		1.0295698925

		14		225		25		31

		15		321		26		235

						27		285

		Bias 250 V		Strip #		Centre		Distance		100 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				300 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		400 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h						Volt scan		#72		#73		Total		Normalised

				72		29.1		114				31.5		24		90				253		34		287		0.118466899		0		0						355		1		356		0.0028089888						0		0		0		0						25		44		20		64		0.170212766

				73		40.5						32.5		34		80				242		48		290		0.1655172414		114		1						386		1		387		0.0025839793																		50		95		41		136		0.3617021277

												33.5		44		70				150		78		228		0.3421052632										280		41		321		0.1277258567																		75		150		58		208		0.5531914894

												35.5		64		50				54		120		174		0.6896551724										51		222		273		0.8131868132																		100		240		51		291		0.7739361702

		#72		Amplitude		#73		Amplitude				36.5		74		40				68		215		283		0.7597173145										17		376		393		0.9567430025																		125		311		27		338		0.8989361702

		27		249		38		311				37.5		84		30				41		253		294		0.8605442177										1		386		387		0.9974160207																		150		342		10		352		0.9361702128

		28		71		39		106				38		89		25				41		249		290		0.8586206897										20		355		375		0.9466666667																		200		355		10		365		0.9707446809

		28.5		25		40		20																																																				300		376		0		376		1

		29		0		41		31																																																				400		383		0		383		1.0186170213

		30		58		42		154

		31		256		43		334

		Bias 250 V		Strip #		Centre		Distance		100 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				150 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		300 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		200 V		Pulse Left		Pulse Right		Pulse sum		h		Volt scan		#92		#93		Total		Normalised

				92		37.8		116				40		22		94		20		146		41		187		0.2192513369		0		0						259		24		283		0.0848056537						352		1		353		0.0028328612				331		5		336		0.0148809524		50		65		10		75		0.2049180328

				93		49.4						41		32		84		20		140		44		184		0.2391304348		116		1						246		34		280		0.1214285714						369		1		370		0.0027027027				334		5		339		0.0147492625		75		95		10		105		0.2868852459

												42		42		74		24		112		51		163		0.3128834356										208		65		273		0.2380952381						355		1		356		0.0028089888				300		34		334		0.1017964072		100		129		27		156		0.4262295082

												44.5		67		49		0		68		89		157		0.5668789809										82		143		225		0.6355555556						65		256		321		0.7975077882				71		215		286		0.7517482517		125		167		27		194		0.5300546448

		#92		Amplitude		#93		Amplitude				45		72		44				71		103		174		0.591954023										78		198		276		0.7173913043						37		334		371		0.9002695418				54		291		345		0.8434782609		150		236		30		266		0.7267759563

		35		352		47		345				46		82		34				54		123		177		0.6949152542										54		236		290		0.8137931034						1		370		371		0.9973045822				41		328		369		0.8888888889		200		328		0		328		0.8961748634

		36		143		48		68				47		92		24				48		133		181		0.7348066298										48		259		307		0.8436482085						10		359		369		0.972899729				35		331		366		0.9043715847		250		355		0		355		0.9699453552

		37		17		49		0																																																										300		366		0		366		1

		38		17		49.5		0																																																										400		379		0		379		1.0355191257

		39		95		50		0

		40		325		51		116

						52		321

		Bias 250 V		Strip #		Centre		Distance		20 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				50 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		200 V		Pulse Left		Pulse Right		Pulse sum		h								Volt scan		#32		#33		Total		Normalised

				32		43.2		108				45.5		23		85		24		188		30		218		0.1376146789		0		0				24		317		1		318		0.0031446541				400		1		401		0.0024937656								10		89		41		130		0.3147699758

				33		54						46.5		33		75		20		174		44		218		0.2018348624		108		1				20		325		10		335		0.0298507463				410		1		411		0.00243309								20		171		41		212		0.5133171913

												47.5		43		65		24		123		65		188		0.3457446809								20		242		54		296		0.1824324324				342		37		379		0.0976253298								30		232		34		266		0.6440677966

												49		58		50		0		41		58		99		0.5858585859										44		109		153		0.7124183007				51		164		215		0.7627906977								50		321		0		321		0.7772397094

		#32		Amplitude		#33		Amplitude				49.5		63		45				68		116		184		0.6304347826										68		212		280		0.7571428571				65		297		362		0.820441989								75		362		0		362		0.8765133172

		40		393		51		413				50.5		73		35				58		157		215		0.7302325581										44		297		341		0.8709677419				24		389		413		0.9418886199								100		383		0		383		0.9273607748

		41		181		52		291				51		78		30				48		164		212		0.7735849057										41		304		345		0.8811594203				15		393		408		0.9632352941								150		396		0		396		0.9588377724

		42		31		53		51																																																				200		413		0		413		1

		43		24		54		17																																																				300		420		0		420		1.0169491525

		44		80		55		50

		45		359		56		280

						57		403

		Bias 250 V		Strip #		Centre		Distance		50 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				100 V		Pulse Left		Pulse Right		Pulse sum		h		300 V		Pulse Left		Pulse Right		Pulse sum		h										Volt scan		#53		#54		#55		#56		Total		Normalised

				54		39		110				42.5		35		75		24		259		37		296		0.125		0		0				352		1		353		0.0028328612				400		1		401		0.0024937656										10		13		27		41		13		68		0.17

				55		50						43		40		70		24		222		48		270		0.1777777778		110		1				331		1		332		0.0030120482				393		1		394		0.0025380711										25		20		61		109		20		170		0.425

												44		50		60		0		123		58		181		0.320441989								195		44		239		0.1841004184				239		41		280		0.1464285714										50				266		41				307		0.7675

												45.5		65		45		0		51		116		167		0.6946107784								42		178		220		0.8090909091				61		215		276		0.7789855072										75				334		14				348		0.87

		#54		Amplitude		#55		Amplitude				46		70		40				70		201		271		0.741697417								51		308		359		0.8579387187				51		355		406		0.8743842365										100				359		0				359		0.8975

		37		352		47		400				47		80		30				43		260		303		0.8580858086								17		355		372		0.9543010753				1		400		401		0.9975062344										150				372		0				372		0.93

		38		44		48		280																																																				200				383		0				383		0.9575

		39		27		49		41																																																				250				396		0				396		0.99

		40		51		50		20																																																				300				400		0				400		1

		41		266		51		51								512		63		575																																								400				406						406		1.015

		42		390		52		273

						53		410

		Bias 250 V		Strip #		Centre		Distance		50 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				100 V		Pulse Left		Pulse Right		Pulse sum		h		250 V		Pulse Left		Pulse Right		Pulse sum		h										Volt scan		#64		#65		Total		Normalised

				63		1		120				4.5		35		85		37		161		65		226		0.2876106195		0		0				317		1		318		0.0031446541				376		1		377		0.0026525199										25		34		75		109		0.2632850242

				64		13						5.5		45		75		30		137		82		219		0.3744292237		120		1				297		54		351		0.1538461538				376		15		391		0.0383631714										50		55		164		219		0.5289855072

												6		50		70		0		123		78		201		0.3880597015								249		58		307		0.1889250814				325		41		366		0.1120218579										75		37		290		327		0.7898550725

												7.5		65		55		0		38		51		89		0.5730337079								40		106		146		0.7260273973				51		129		180		0.7166666667										100		27		330		357		0.8623188406

		#63		Amplitude		#64		Amplitude				8		70		50				71		103		174		0.591954023								61		242		303		0.798679868				58		300		358		0.8379888268										150		27		359		386		0.9323671498

		-1		352		10		400				9		80		40				75		143		218		0.6559633028								41		325		366		0.8879781421				31		372		403		0.9230769231										200		24		372		396		0.9565217391

		0		44		11		280				10		90		30				51		164		215		0.7627906977								34		334		368		0.9076086957				20		389		409		0.9511002445										250		20		379		399		0.9637681159

		1		27		12		41																																																				300		24		382		406		0.9806763285

		2		51		13		20																																																				350		24		390		414		1

		3		266		14		51

		4		390		15		273





Irradiated (6)

		Bias 250 V		Strip #		Centre		Distance		100 V		Local coord.		D24		D25		Pulse Left		Pulse Right		Pulse sum		h		ideal				200 V		Pulse Left		Pulse Right		Pulse sum		h		300 V		Pulse Left		Pulse Right		Pulse sum		h				Volt scan		#13		#14		Total		Normalised						Strip #5		Volt scan		Normalised

				13		8.5		110				11		25		85		351		17		368		0.0461956522		0		0				369		17		386		0.0440414508				364		17		381		0.0446194226				20		5		205		210		0.4338842975						10		140		0.2868852459

				14		19.5						12		35		75		387		24		411		0.0583941606		110		1				414		24		438		0.0547945205				414		24		438		0.0547945205				30		5		273		278		0.5743801653						30		285		0.5840163934

												13		45		65		328		54		382		0.1413612565								374		55		429		0.1282051282				383		48		431		0.1113689095				40		54		323		377		0.7789256198						50		393		0.8053278689

												14		55		55		154		73		227		0.3215859031								164		59		223		0.264573991				173		68		241		0.2821576763				50		45		360		405		0.8367768595						70		434		0.8893442623

		#13		Amplitude		#14		Amplitude				15		65		45		54		223		277		0.8050541516								63		264		327		0.8073394495				82		278		360		0.7722222222				75		41		405		446		0.9214876033						100		454		0.9303278689

		6		364		17		351				16		75		35		36		378		414		0.9130434783								36		424		460		0.9217391304				32		424		456		0.9298245614				100		32		428		460		0.9504132231						150		468

		7		164		18		164				17		85		25		23		414		437		0.9473684211								23		460		483		0.9523809524				20		464		484		0.958677686				120		23		437		460		0.9504132231						200		485		0.993852459

		8		30		19		0																																												150		27		446		473		0.9772727273						300		488		1

		9		0		20		0																																												200		23		455		478		0.9876033058

		10		209		21		196																																												300		20		464		484		1

		11		370		22		392

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.		D24		D25		#120		Int 1		#121		Int 2		#122		Int 3		Pulse sum		h		ideal				200 V		#120		Int 1		#121		Int 2		#122		Int 3		Pulse sum		h		400 V		#120		Int 1		#121		Int 2		#122		Int 3		Pulse sum		h						Volt scan		#120		Int 1		#121		Int 2		#122		Total		Normalised

				121		40		117				43		30		87		30		24		167		24		48		17		215		0.223255814		0		0				24		20		266		10		34		0		300		0.1133333333				10		0		372		-24		20		0		392		0.0510204082						50		0		0		61		0		24		85		0.2093596059

				122		51.7						44		40		77		24		15		140		31		54		117		194		0.2783505155		117		1				27		15		242		27		58		0		300		0.1933333333				0		0		376		-24		31		0		407		0.0761670762						100		20		0		106		0		34		140		0.3448275862

												45		50		67		24		20		99		37		65		0		164		0.3963414634								15		0		171		44		75		0		246		0.3048780488				10		0		311		0		75		0		386		0.1943005181						150		27		10		157		24		48		205		0.5049261084

												47		70		47		0		0		58		41		95		0		153		0.6209150327								0		0		68		48		146		0		214		0.6822429907				0		0		61		17		270		0		331		0.8157099698						200		20		10		253		10		34		287		0.7068965517

		#121		Amplitude		#122		Amplitude				48		80		37		0		0		65		41		143		10		208		0.6875								0		0		58		41		229		0		287		0.7979094077				0		0		34		0		366		-13		400		0.915						250		10		5		317		0		27		344		0.8472906404

		38		345		49		366				49		90		27		0		0		51		34		157		0		208		0.7548076923								0		0		44		27		266		0		310		0.8580645161				0		0		27		0		376		-17		403		0.9330024814						300		0		0		349		0		31		380		0.9359605911

		39		37		50		201																																																																						350		0		0		362		-15		27		389		0.9581280788

		40		30		51		34																																																																						400		0		0		372		-17		34		406		1

		41		34		52		24																																																																						500		0		0		383		-20		27		410		1.0098522167

		42		195		53		58

		43		362		54		342

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				200 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		400 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h						Volt scan		#109		#110		Total		Normalised

				109		12.4		116				15		26		90		31		178		51		229		0.2227074236		0		0				15		280		24		304		0.0789473684						369		15		384		0.0390625						50		65		0		65		0.1747311828

				110		24						16		36		80		24		154		58		212		0.2735849057		116		1				24		263		41		304		0.1348684211						372		24		396		0.0606060606						100		123		37		160		0.4301075269

												17		46		70		20		123		71		194		0.3659793814								30		215		71		286		0.2482517483						331		41		372		0.1102150538						150		171		51		222		0.5967741935

												19		66		50		0		68		95		163		0.5828220859								0		71		146		217		0.6728110599						58		242		300		0.8066666667						200		287		24		311		0.8360215054

		#109		Amplitude		#110		Amplitude				20		76		40		0		68		146		214		0.6822429907								0		58		242		300		0.8066666667						34		338		372		0.9086021505						250		334		0		334		0.8978494624

		10		308		21		291				21		86		30		0		58		167		225		0.7422222222								0		44		259		303		0.8547854785						15		345		360		0.9583333333						300		351		0		351		0.9435483871

		11		37		22		208																																																				350		366		0		366		0.9838709677

		12		0		23		31																																																				400		372		0		372		1

		13		0		24		27																																																				500		383		0		383		1.0295698925

		14		225		25		31

		15		321		26		235

						27		285

		Bias 250 V		Strip #		Centre		Distance		100 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				300 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		400 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h						Volt scan		#72		#73		Total		Normalised

				72		29.1		114				31.5		24		90				253		34		287		0.118466899		0		0						355		14		369		0.0379403794						0		0		0		0						25		44		20		64		0.170212766

				73		40.5						32.5		34		80				242		48		290		0.1655172414		114		1						386		25		411		0.0608272506																		50		95		41		136		0.3617021277

												33.5		44		70				150		78		228		0.3421052632										280		56		336		0.1666666667																		75		150		58		208		0.5531914894

												35.5		64		50				54		120		174		0.6896551724										51		222		273		0.8131868132																		100		240		51		291		0.7739361702

		#72		Amplitude		#73		Amplitude				36.5		74		40				68		215		283		0.7597173145										17		376		393		0.9567430025																		125		311		27		338		0.8989361702

		27		249		38		311				37.5		84		30				41		253		294		0.8605442177										1		386		387		0.9974160207																		150		342		10		352		0.9361702128

		28		71		39		106				38		89		25				41		249		290		0.8586206897										20		355		375		0.9466666667																		200		355		10		365		0.9707446809

		28.5		25		40		20																																																				300		376		0		376		1

		29		0		41		31																																																				400		383		0		383		1.0186170213

		30		58		42		154

		31		256		43		334

		Bias 250 V		Strip #		Centre		Distance		100 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				150 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		300 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		200 V		Pulse Left		Pulse Right		Pulse sum		h		Volt scan		#92		#93		Total		Normalised

				92		37.8		116				40		22		94		20		146		41		187		0.2192513369		0		0						259		24		283		0.0848056537						352		15		367		0.0408719346				331		20		351		0.056980057		50		65		10		75		0.2049180328

				93		49.4						41		32		84		20		140		44		184		0.2391304348		116		1						246		34		280		0.1214285714						369		27		396		0.0681818182				334		29		363		0.0798898072		75		95		10		105		0.2868852459

												42		42		74		24		112		51		163		0.3128834356										208		65		273		0.2380952381						355		36		391		0.0920716113				300		55		355		0.1549295775		100		129		27		156		0.4262295082

												44.5		67		49		0		68		89		157		0.5668789809										82		143		225		0.6355555556						65		256		321		0.7975077882				71		215		286		0.7517482517		125		167		27		194		0.5300546448

		#92		Amplitude		#93		Amplitude				45		72		44				71		103		174		0.591954023										78		198		276		0.7173913043						37		334		371		0.9002695418				54		291		345		0.8434782609		150		236		30		266		0.7267759563

		35		352		47		345				46		82		34				54		123		177		0.6949152542										54		236		290		0.8137931034						1		370		371		0.9973045822				41		328		369		0.8888888889		200		328		0		328		0.8961748634

		36		143		48		68				47		92		24				48		133		181		0.7348066298										48		259		307		0.8436482085						10		359		369		0.972899729				35		331		366		0.9043715847		250		355		0		355		0.9699453552

		37		17		49		0																																																										300		366		0		366		1

		38		17		49.5		0																																																										400		379		0		379		1.0355191257

		39		95		50		0

		40		325		51		116

						52		321

		Bias 250 V		Strip #		Centre		Distance		20 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				50 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		200 V		Pulse Left		Pulse Right		Pulse sum		h								Volt scan		#32		#33		Total		Normalised

				32		43.2		108				45.5		23		85		24		188		30		218		0.1376146789		0		0				24		317		14		331		0.0422960725				400		15		415		0.0361445783								10		89		41		130		0.3147699758

				33		54						46.5		33		75		20		174		44		218		0.2018348624		108		1				20		325		30		355		0.0845070423				410		25		435		0.0574712644								20		171		41		212		0.5133171913

												47.5		43		65		24		123		65		188		0.3457446809								20		242		74		316		0.2341772152				342		37		379		0.0976253298								30		232		34		266		0.6440677966

												49		58		50		0		41		58		99		0.5858585859										44		109		153		0.7124183007				51		164		215		0.7627906977								50		321		0		321		0.7772397094

		#32		Amplitude		#33		Amplitude				49.5		63		45				68		116		184		0.6304347826										68		212		280		0.7571428571				65		297		362		0.820441989								75		362		0		362		0.8765133172

		40		393		51		413				50.5		73		35				58		157		215		0.7302325581										44		297		341		0.8709677419				24		389		413		0.9418886199								100		383		0		383		0.9273607748

		41		181		52		291				51		78		30				48		164		212		0.7735849057										41		304		345		0.8811594203				15		393		408		0.9632352941								150		396		0		396		0.9588377724

		42		31		53		51																																																				200		413		0		413		1

		43		24		54		17																																																				300		420		0		420		1.0169491525

		44		80		55		50

		45		359		56		280

						57		403

		Bias 250 V		Strip #		Centre		Distance		50 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				100 V		Pulse Left		Pulse Right		Pulse sum		h		300 V		Pulse Left		Pulse Right		Pulse sum		h										Volt scan		#53		#54		#55		#56		Total		Normalised

				54		39		110				42.5		35		75		24		259		37		296		0.125		0		0				352		15		367		0.0408719346				400		17		417		0.0407673861										10		13		27		41		13		68		0.17

				55		50						43		40		70		24		222		48		270		0.1777777778		110		1				331		25		356		0.0702247191				393		29		422		0.0687203791										25		20		61		109		20		170		0.425

												44		50		60		0		123		58		181		0.320441989								195		55		250		0.22				239		61		300		0.2033333333										50				266		41				307		0.7675

												45.5		65		45		0		51		116		167		0.6946107784								42		178		220		0.8090909091				61		215		276		0.7789855072										75				334		14				348		0.87

		#54		Amplitude		#55		Amplitude				46		70		40				70		201		271		0.741697417								51		308		359		0.8579387187				51		355		406		0.8743842365										100				359		0				359		0.8975

		37		352		47		400				47		80		30				43		260		303		0.8580858086								17		355		372		0.9543010753				1		400		401		0.9975062344										150				372		0				372		0.93

		38		44		48		280																																																				200				383		0				383		0.9575

		39		27		49		41																																																				250				396		0				396		0.99

		40		51		50		20																																																				300				400		0				400		1

		41		266		51		51								512		63		575																																								400				406						406		1.015

		42		390		52		273

						53		410

		Bias 250 V		Strip #		Centre		Distance		50 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				100 V		Pulse Left		Pulse Right		Pulse sum		h		250 V		Pulse Left		Pulse Right		Pulse sum		h										Volt scan		#64		#65		Total		Normalised

				63		1		120				4.5		35		85		37		161		65		226		0.2876106195		0		0				317		15		332		0.0451807229				376		15		391		0.0383631714										25		34		75		109		0.2632850242

				64		13						5.5		45		75		30		137		82		219		0.3744292237		120		1				297		50		347		0.144092219				376		39		415		0.0939759036										50		55		164		219		0.5289855072

												6		50		70		0		123		78		201		0.3880597015								249		54		303		0.1782178218				325		61		386		0.1580310881										75		37		290		327		0.7898550725

												7.5		65		55		0		38		51		89		0.5730337079								40		106		146		0.7260273973				51		129		180		0.7166666667										100		27		330		357		0.8623188406

		#63		Amplitude		#64		Amplitude				8		70		50				71		103		174		0.591954023								61		242		303		0.798679868				58		300		358		0.8379888268										150		27		359		386		0.9323671498

		-1		352		10		400				9		80		40				75		143		218		0.6559633028								41		325		366		0.8879781421				31		372		403		0.9230769231										200		24		372		396		0.9565217391

		0		44		11		280				10		90		30				51		164		215		0.7627906977								34		334		368		0.9076086957				20		389		409		0.9511002445										250		20		379		399		0.9637681159

		1		27		12		41																																																				300		24		382		406		0.9806763285

		2		51		13		20																																																				350		24		390		414		1

		3		266		14		51

		4		390		15		273





Irradiated (6)

		0		1		0

		0				0

		0				0

		0				0

		0				0

		0				0

		0				0

		0				0

		0

		0



0

1

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



Irr. (7)

		

		Vfd

		Normalised		10		30		50		70		120

		50		0.2016		0.2		0.1500938086		0.1529411765		0.2610294118

		100		0.3248		0.2585365854		0.3114446529		0.3025210084		0.4393382353

		150		0.4832		0.4170731707		0.4671669794		0.4352941176		0.8088235294

		200		0.656		0.6		0.6303939962		0.6268907563		0.9227941176

		250		0.8032		0.8097560976		0.8105065666		0.7613445378		0.9430147059

		300		0.9104		0.856097561		0.8780487805		0.8789915966		0.9411764706

		350		0.928		0.8902439024		0.9099437148		0.9176470588		0.9724264706

		400		0.9696		0.9268292683		0.9230769231		0.9193277311		0.9852941176

		500		1		1		1		1		1

		Strip #		VFD

		10

		30

		50

		70

		120

		Eta scan		#10		#11

								D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		Norm. pulse

								20		90		239		62		301		0.2059800664		0		0				20		90		409		59		468		0.1260683761		0.6688888889

								30		80		350		76		426		0.1784037559		110		1				30		80		582		32		614		0.0521172638		0.9466666667

								40		70		298		104		402		0.2587064677								40		70		520		60		580		0.1034482759		0.8933333333

								50		60		149		83		232		0.3577586207								50		60		270		76		346		0.2196531792		0.5155555556

								60		50		90		152		242		0.6280991736								60		50		100		281		381		0.7375328084		0.5377777778

								70		40		118		291		409		0.7114914425								70		40		80		544		624		0.8717948718		0.9088888889

								80		30		94		357		451		0.7915742794								80		30		55		564		619		0.9111470113		1.0022222222

								90		20		80		277		357		0.7759103641								90		20		76		447		523		0.8546845124		0.7933333333

				#30		#31		200 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		Norm. pulse

										20		90		114		61		175		0.3485714286		0		0				20		90		195		58		253		0.2292490119		0.6730769231

										30		80		168		47		215		0.2186046512		110		1				30		80		309		15		324		0.0462962963		0.8269230769

										40		70		160		75		235		0.3191489362								40		70		328		27		355		0.076056338		0.9038461538

										50		60		95		73		168		0.4345238095								50		60		161		58		219		0.2648401826		0.6461538462

										60		50		39		65		104		0.625								60		50		56		91		147		0.619047619		0.4

										70		40		58		147		205		0.7170731707								70		40		51		303		354		0.8559322034		0.7884615385

										80		30		52		203		255		0.7960784314								80		30		15		372		387		0.9612403101		0.9807692308

										90		20		42		198		240		0.825								90		20		10		367		377		0.9734748011		0.9230769231

				#50		#51		200 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		Norm. pulse

										20		90		253		45		298		0.1510067114		0		0				20		90		429		24		453		0.0529801325		0.903030303

										30		80		225		55		280		0.1964285714		110		1				30		80		423		32		455		0.0703296703		0.8484848485

										40		70		177		86		263		0.3269961977								40		70		385		72		457		0.1575492341		0.796969697

										50		60		0		0		0										50		60		0		0		0		0		0

										60		50		62		128		190		0.6736842105								60		50		69		267		336		0.7946428571		0.5757575758

										70		40		83		232		315		0.7365079365								70		40		42		461		503		0.916500994		0.9545454545

										80		30		52		277		329		0.8419452888								80		30		28		461		489		0.9427402863		0.996969697

										90		20		55		270		325		0.8307692308								90		20		24		468		492		0.9512195122		0.9848484848

				#70		#71		200 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		Norm. pulse

										20		95		263		55		318		0.1729559748		0		0				20		95		395		59		454		0.1299559471		0.7066666667

										30		85		374		42		416		0.1009615385		115		1				30		85		547		20		567		0.0352733686		0.9244444444

										40		75		315		76		391		0.1943734015								40		75		550		38		588		0.0646258503		0.8688888889

										50		65		121		55		176		0.3125								50		65		204		58		262		0.2213740458		0.3911111111

										60		55		48		50		98		0.5102040816								60		55		59		83		142		0.5845070423		0.2177777778

										70		45		114		253		367		0.689373297								70		45		66		499		565		0.8831858407		0.8155555556

										80		35		76		333		409		0.8141809291								80		35		38		561		599		0.9365609349		0.9088888889

										90		25		66		381		447		0.8523489933								90		25		34		513		547		0.9378427788		0.9933333333

				#120		#121		200 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		Norm. pulse

										20		100		346		121		467		0.2591006424		0		0				20		100		377		135		512		0.263671875		0.6867647059

										30		90		616		59		675		0.0874074074		115		1				30		90		682		48		730		0.0657534247		0.9926470588

										40		80		616		62		678		0.0914454277								40		80		665		52		717		0.0725244073		0.9970588235

										50		70		308		55		363		0.1515151515								50		70		385		66		451		0.1463414634		0.7117647059

										60		60		59		59		118		0.5								60		60		66		66		132		0.5		0.231372549

										70		50		90		360		450		0.8								70		50		86		450		536		0.8395522388		0.8823529412

										80		40		59		450		509		0.884086444								80		40		42		520		562		0.9252669039		0.9980392157

										90		30		38		468		506		0.9249011858								90		30		28		523		551		0.9491833031		0.9921568627

				Sample of metal strip scan

		#10		#10		Amplitude		Norm. ampl.

		25.5		0		491		0.982

		26		5		376		0.752

		26.5		10		173		0.346

		27.5		20		0		0

		28		25		0		0

		28.5		30		0		0

		29.5		40		108.6		0.2172

		30		45		310		0.62

		30.5		50		472		0.944

		Strip		#90		#91		200 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		Pulse Left		Pulse Right		Pulse sum		h

										38		30		87.5		329		38		367		0.1035422343		0		0				436		14		450		0.0311111111

										39		40		77.5		281		69		350		0.1971428571		117.5		1				433		25		458		0.0545851528

										40		50		67.5		142		83		225		0.3688888889								235		76		311		0.2443729904

										41		60		57.5		52		86		138		0.6231884058								38		136		174		0.7816091954

										42		70		47.5		94		274		368		0.7445652174								48		485		533		0.9099437148

										43		80		37.5		48		385		433		0.8891454965								0		526		526		1

										44		90		27.5		38		402		440		0.9136363636								0		523		523		1

		Strip #		150 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				200 V		Pulse Left		Pulse Right		Pulse sum		h		400 V		Pulse Left		Pulse Right		Pulse sum		h

		100				24		30		85		276		71		347		0.204610951		0		0				405		25		430		0.0581395349				509		24		533		0.0450281426

		101				25		40		75		233		104		337		0.3086053412		115		1				388		74		462		0.1601731602				516		38		554		0.0685920578

						26		50		65		91		57		148		0.3851351351								142		54		196		0.2755102041				219		62		281		0.2206405694

						27		60		55		51		67		118		0.5677966102								64		101		165		0.6121212121				67		148		215		0.688372093

						28		70		45		121		202		323		0.6253869969								111		317		428		0.7406542056				61		476		537		0.886405959

						29		80		35		91		250		341		0.7331378299								71		385		456		0.8442982456				37		496		533		0.9305816135

						30		90		25		74		290		364		0.7967032967								57		425		482		0.8817427386				34		519		553		0.938517179

		New 0 position

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		Ideal				200 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		400 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h

				120		22.2		118				25		28		90		32		0		333		23		50		0		0		383		0.1305483029		0		0				25		250		-250		13		0		396		-13		35		0		0		431		0.0812064965				25		250		-250		10		0		469		-23		32		0		0		501		0.0638722555

				121		34						26		38		80		32		0		314		30		54		0		0		368		0.1467391304		118		1				26		260		-260		23		0		424		-13		36		0		0		460		0.0782608696				26		260		-260		0		0		469		-27		30		0		0		499		0.0601202405

												27		48		70		27		0		259		54		86		0		13		345		0.2492753623								27		270		-270		0		0		387		23		68		0		0		455		0.1494505495				27		270		-270		0		0		492		-23		63		0		0		555		0.1135135135

												28		58		60		0		0		41		0		27		0		0		68		0.3970588235								28		280		-280		0		0		59		0		41		0		0		100		0.41				28		280		-280		0		0		77		0		45		0		0		122		0.368852459

		#121		Ampitude		#121		Amplitude				29		68		50		18		0		68		41		132		0		32		200		0.66								29		290		-290		0		0		59		32		178		0		0		237		0.7510548523				29		290		-290		0		0		73		18		273		0		32		346		0.789017341

		20		483		32		451				30		78		40		18		0		86		68		264		0		27		350		0.7542857143								30		300		-300		0		0		50		10		506		-18		0		556		0.9100719424				30		300		-300		0		0		50		10		506		-18		0		556		0.9100719424

		21		86		33		54				31		88		30		0				63		50		342		0		32		405		0.8444444444								31		310		-310		0		0		41		18		428		-23		18		469		0.9125799574				31		310		-310		0		0		36		0		496		-23		18		532		0.9323308271

		22		45		34		32

		23		23		35		45				Estimated strip width:

		24		154		36		387				35 µm

		25		470





Irr. (7)

		0		0		0

		0		0		0

		0		0

		0		0

		0		0

		0		0

		0		0



200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #760-761

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



Non irr. (2)

		0		0		0		0

		0		0		0		0

				0		0		0

				0		0		0

				0		0		0

				0		0		0

				0		0		0



Local position [µm]

Right charge/Total charge

Scan across strips #760-761

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



Various final Pic.

		0		0		0

		0		0		0

		0		0

		0		0

		0		0

		0		0



200 Volts

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #650-651

0

0

0

0

0

0

0

0

0

0

0

0

0

0



Final pic. eta

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D24		D25		Pulse 24		Pulse 25		Pulse sum		h		ideal				400 V		Local coord.		D24		D25		Pulse 24		Pulse 25		Pulse sum		h

				24		22.2		120				24.5		23		97		589		98		687		0.1426491994		0		0				24.5		23		97		841		0		841		0

				25		34.2						25.5		33		87		663		135		798		0.1691729323		120		1				25.5		33		87		892		0		892		0

												26.5		43		77		565		140		705		0.1985815603								26.5		43		77		841		61		902		0.0676274945

												27.5		53		67		425		233		658		0.3541033435								27.5		53		67		715		332		1047		0.3170964661

		#24		Amplitude		#25		Amplitude				28		58		62		388		318		706		0.4504249292								28		58		62		607		514		1121		0.4585191793

		20.5		715		32		738				28.5		63		57		322		388		710		0.5464788732								28.5		63		57		402		691		1093		0.6322049405

		21		579		32.5		663				29.5		73		47		196		520		716		0.7262569832								29.5		73		47		135		888		1023		0.8680351906

		21.5		462		33		486				30.5		83		37		201		645		846		0.7624113475								30.5		83		37		140		906		1046		0.8661567878

		22		374		33.5		402				31.5		93		27		140		551		691		0.7973950796								31.5		93		27		112		850		962		0.8835758836

		22.5		340		34		336				32		98		22		112		490		602		0.8139534884								32		98		22		98		771		869		0.8872266974

		23		416		34.5		327

		23.5		551		35		378

		24		631		35.5		462

		24.5		757		36		603

						36.5		705

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D39		D40		Pulse 39		Pulse 40		Pulse sum		h		ideal				400 V		Local coord.		D39		D40		Pulse 39		Pulse 40		Pulse sum		h

				39		38.5		120				41		25		95		537		98		635		0.1543307087		0		0				41		25		95		818		0		818		0

				40		50.5						42		35		85		598		159		757		0.2100396301		120		1				42		35		85		850		0		850		0

												43		45		75		495		159		654		0.2431192661								43		45		75		780		60		840		0.0714285714

												44		55		65		378		290		668		0.4341317365								44		55		65		663		397		1060		0.3745283019

		#39		Amplitude		#40		Amplitude				45		65		55		252		411		663		0.6199095023								45		65		55		360		673		1033		0.651500484

		37.5		446		49.5		474				46		75		45		168		547		715		0.765034965								46		75		45		126		892		1018		0.8762278978

		38.5		265		50.5		339				47		85		35		173		659		832		0.7920673077								47		85		35		103		897		1000		0.897

		39		274		51		367				48		95		25		135		603		738		0.8170731707								48		95		25		89		836		925		0.9037837838

		39.5		395		51.5		442				49		105		15		84		406		490		0.8285714286								49		105		15		84		682		766		0.8903394256

		40.5		553		52.5		679				50		115		5		70		276		346		0.7976878613								50		115		5		65		462		527		0.8766603416

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D64		D65		Pulse 64		Pulse 65		Pulse sum		h		ideal				400 V		Local coord.		D64		D65		Pulse 64		Pulse 65		Pulse sum		h

				64		38		118				39.5		15		103		509		84		593		0.1416526138		0		0				39.5		15		103		761		0		761		0

				65		49.8						40.5		25		93		738		135		873		0.1546391753		120		1				40.5		25		93		836		0		836		0

												41.5		35		83		715		135		850		0.1588235294								41.5		35		83		888		0		888		0

												42.5		45		73		593		206		799		0.2578222778								42.5		45		73		803		177		980		0.5581632653

		#64		Amplitude		#65		Amplitude				43.5		55		63		472		383		855		0.4479532164								43.5		55		63		654		547		1201		0.6378018318

		37		458		48.5		537				44.5		65		53		313		530		843		0.6287069988								44.5		65		53		318		766		1084		0.7066420664

		38		322		49.5		322				45.5		75		43		219		696		915		0.7606557377								45.5		75		43		126		902		1028		0.8774319066

		38.5		472		50		332				46.5		85		33		224		748		972		0.7695473251								46.5		85		33		131		916		1047		0.8748806113

		39		579		50.5		411				47.5		95		23		135		589		724		0.8135359116								47.5		95		23		98		813		911		0.8924259056

		40		813		51.5		705				48		100		18		121		514		635		0.8094488189								48		100		18		107		733		840		0.8726190476

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D85		D86		Pulse 85		Pulse 86		Pulse sum		h		ideal				400 V		Local coord.		D85		D86		Pulse 85		Pulse 86		Pulse sum		h		h-1

				85		46.5		120				47		5		115		472		89		561		0.8413547237		0		0				47		5		115		551		65		616		0.1055194805		0.8944805195

				86		58.5						48		15		105		705		89		794		0.8879093199		120		1				48		15		105		813		51		864		0.0590277778		0.9409722222

												49		25		95		864		117		981		0.880733945								49		25		95		920		0		920		0		1

												50		35		85		874		187		1061		0.8237511781								50		35		85		911		70		981		0.0713557594		0.9286442406

		#85		Amplitude		#86		Amplitude				51		45		75		799		201		1000		0.799								51		45		75		897		107		1004		0.1065737052		0.8934262948

		45		654		57		663				52		55		65		645		486		1131		0.5702917772								52		55		65		780		589		1369		0.4302410519		0.5697589481

		46		462		58		504				53		65		55		430		705		1135		0.3788546256								53		65		55		453		794		1247		0.6367281476		0.3632718524

		46.5		486		58.5		477				54		75		45		248		813		1061		0.2337417531								54		75		45		126		874		1000		0.874		0.126

		47		598		59		598				55		85		35		266		860		1126		0.2362344583								55		85		35		131		883		1014		0.8708086785		0.1291913215

		48		775		60		813				56		95		25		149		771		920		0.1619565217								56		95		25		107		845		952		0.887605042		0.112394958

												57		105		15		112		654		766		0.1462140992								57		105		15		93		705		798		0.8834586466		0.1165413534

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D85		D86		Pulse 85		Pulse 86		Pulse sum		h		ideal				Local coord.		D85		D86		Pulse 85		Pulse 86		Pulse sum		h

				120		25.5		120				27.5		20		100		472		89		561		0.1586452763		0		0		27.5		20		100		845		210		1055		0.1990521327

				121		37.5						28.5		30		90		705		89		794		0.1120906801		120		1		28.5		30		90		892		173		1065		0.1624413146

												29.5		40		80		864		117		981		0.119266055						29.5		40		80		916		177		1093		0.1619396157

												30.5		50		70		874		187		1061		0.1762488219						30.5		50		70		850		570		1420		0.4014084507

		#120		Amplitude		#121		Amplitude				31.5		60		60		799		201		1000		0.201						31.5		60		60		640		827		1467		0.5637355147

		24.5		719		36		794				32.5		70		50		645		486		1131		0.4297082228						32.5		70		50		187		900		1087		0.8279668813

		25.5		369		37		519				33.5		80		40		430		705		1135		0.6211453744						33.5		80		40		112		920		1032		0.8914728682

		26		561		37.5		481				34.5		90		30		248		813		1061		0.7662582469						34.5		90		30		177		911		1088		0.8373161765

		26.5		794		38		757				35.5		100		20		266		860		1126		0.7637655417						35.5		100		20		154		855		1009		0.8473736373

		27.5		902		39		888				36.5		110		10		635		771		1406		0.5483641536						36.5		110		10		168		673		841		0.8002378121

				Strip numbers																																																														Normalised

		Bias		24		25		total		39		40		total		64		65		total		84		85		86		87		total		total		64		65		total		99		100		total		73		74		total		120		121		total										1		2		3		4		5		6		7

		50		173		56		229		32		140		172		79		187		266		51		191		149		42		433		340		139		354		493		163		189		352		200		88		288		453		173		626										0.257751938		0.2470978441		0.2458423717		0.3912698413		0.2693190513		0.24		0.5424610052

		100		257		61		318		70		257		327		159		378		537		70		330		257		56		713		587		232		604		836		316		373		689		421		201		622		719		383		1102										0.5203488372		0.4262023217		0.424439624		0.6634920635		0.5271614384		0.5183333333		0.9549393414

		150		402		93		495		117		411		528		210		532		742		100		514		402		75		1091		916		378		796		1174		426		516		942		593		294		887		934		229		1163										0.7189922481		0.6666666667		0.6623282719		0.9317460317		0.7207345065		0.7391666667		1.0077989601

		200		589		98		687		131		589		720		219		719		938		75		659		467		47		1248		1126		378		889		1267		479		612		1091		779		255		1034		953		223		1176										0.9089147287		0.7744610282		0.8141720897		1.0055555556		0.8347360367		0.8616666667		1.0190641248

		250		748		0		748		112		743		855		191		818		1009		60		743		519		32		1354		1262		308		941		1249		506		699		1205		950		245		1195		948		238		1186										0.9777131783		0.8606965174		0.9125090383		0.9912698413		0.921958684		0.9958333333		1.027729636

		300		775		0		775		98		813		911		159		892		1051		51		771		551				1373		1322		250		994		1244		516		742		1258		1000		167		1167		948		215		1163										1.0184108527		0.9137645108		0.9558929863		0.9873015873		0.9625095639		0.9725		1.0077989601

		350		803		0		803		89		841		930		145		888		1033		37		743		547				1327		1290		221		1017		1238		512		742		1254		1053		167		1220		939		206		1145										1.0009689922		0.9071310116		0.9327548807		0.9825396825		0.9594491201		1.0166666667		0.9922010399

		400		841		0		841		89		892		981		140		888		1028		32		743		542				1317		1285		221		1029		1250		516		745		1261		1063		176		1239		950		238		1188										0.996124031		0.8988391376		0.9291395517		0.9920634921		0.9648048967		1.0325		1.0294627383

		500		860		0		860		84		850		934		154		878		1032		47		780		603				1430		1383		220		1040		1260		522		785		1307		1063		137		1200		944		210		1154										1		1		1		1		1		1		1

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D64		D65		Pulse 64		Pulse 65		Pulse sum		h		ideal				Local coord.		D64		D65		Pulse 64		Pulse 65		Pulse sum		h

				64		41		120				43		20		100		901		198		1099		0.1801637853		0		0		43		20		100		994		157		1151		0.1364031277

				65		53						44		30		90		930		343		1273		0.2694422624		120		1		44		30		90		1000		190		1190		0.1596638655

												45		40		80		901		337		1238		0.2722132472						45		40		80		970		180		1150		0.1565217391

												46		50		70		773		529		1302		0.4062980031						46		50		70		901		575		1476		0.3895663957

		#64		Amplitude		#65		Amplitude				47		60		60		616		755		1371		0.5506929249						47		60		60		762		883		1645		0.5367781155

		39		889		51		906				48		70		50		424		860		1284		0.6697819315						48		70		50		256		947		1203		0.78719867

		40		703		52		726				49		80		40		420		959		1379		0.6954314721						49		80		40		186		988		1174		0.8415672913

		40.5		453		52.5		465				50		90		30		325		912		1237		0.7372675829						50		90		30		192		994		1186		0.8381112985

		41		395		53		424				51		100		20		227		831		1058		0.7854442344						51		100		20		180		924		1104		0.8369565217

		42		837		54		813

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D99		D100		Pulse 99		Pulse 100		Pulse sum		h		ideal				Local coord.		D99		D100		Pulse 99		Pulse 100		Pulse sum		h

				99		4		120				6		20		100		872		86		958		0.0897703549		0		0		6		20		100		908		0		908		0

				100		16						7		30		90		902		140		1042		0.1343570058		120		1		7		30		90		942		23		965		0.0238341969

												8		40		80		855		133		988		0.1346153846						8		40		80		918		43		961		0.0447450572

												9		50		70		722		100		822		0.1216545012						9		50		70		815		403		1218		0.3308702791

		#99		Amplitude		#100		Amplitude				10		60		60		532		652		1184		0.5506756757						10		60		60		549		745		1294		0.5757341577

		2		832		14		772				11		70		50		270		785		1055		0.7440758294						11		70		50		130		892		1022		0.8727984344

		3		691		15		562				12		80		40		226		888		1114		0.7971274686						12		80		40		86		945		1031		0.916585839

		3.5		452		15.5		393				13		90		30		206		878		1084		0.8099630996						13		90		30		93		905		998		0.9068136273

		4		393		16		432				14		100		20		180		749		929		0.8062432723						14		100		20		165		815		980		0.8316326531

		5		729		17		749

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D73		D74		Pulse 73		Pulse 74		Pulse sum		h		ideal				Local coord.		D73		D74		Pulse 73		Pulse 74		Pulse sum		h

				73		5.5		120				6		5		115		384		384		768		0.5		0		0		6		5		115		503		503		1006		0.5

				74		17.5						7		15		105		648		113		761		0.1484888305		120		1		7		15		105		761		25		786		0.0318066158

												8		25		95		799		138		937		0.1472785486						8		25		95		899		22		921		0.0238870793

												9		35		85		818		157		975		0.161025641						9		35		85		950		16		966		0.016563147

		#73		Amplitude		#74		Amplitude				10		45		75		657		223		880		0.2534090909						10		45		75		872		111		983		0.1129196338

		3.5		767		15.5		755				11		55		65		555		456		1011		0.4510385757						11		55		65		761		531		1292		0.4109907121

		4.5		569		16.5		549				12		65		55		353		603		956		0.6307531381						12		65		55		317		797		1114		0.7154398564

		5		368		17		362				13		75		45		270		837		1107		0.756097561						13		75		45		108		1093		1201		0.9100749376

		5.5		299		17.5		396				14		85		35		309		936		1245		0.7518072289						14		85		35		108		1112		1220		0.9114754098

		6.5		613		18		679				15		95		25		230		916		1146		0.7993019197						15		95		25		83		1044		1127		0.92635315

		Strip #		10		11		Total		30		31		Total		50		51		Total		70		71		Total		90		91		Total		110		111		Total		Normalised		10		30		50		70		90		110

		50		67		15		82		38		8		46		36		15		51		50		10		60		74		18		92		616		180		796		50		0.1876430206		0.1916666667		0.2015810277		0.1754385965		0.2105263158		0.6683459278

		100		119		37		156		66		11		77		60		27		87		79		26		105		126		33		159		831		331		1162		100		0.356979405		0.3208333333		0.3438735178		0.3070175439		0.3638443936		0.9756507137

		150		158		43		201		86		23		109		85		27		112		116		34		150		208		54		262		906		285		1191		150		0.4599542334		0.4541666667		0.442687747		0.4385964912		0.5995423341		1

		200		262		34		296		138		18		156		136		27		163		186		30		216		324		0		324		936		198		1134		200		0.6773455378		0.65		0.6442687747		0.6315789474		0.7414187643		0.9521410579

		250		353		0		353		186		0		186		186		0		186		255		0		255		371		0		371		941		157		1098		250		0.8077803204		0.775		0.7351778656		0.7456140351		0.8489702517		0.9219143577

		300		398		0		398		213		0		213		215		0		215		282		0		282		391		0		391		941		168		1109		300		0.9107551487		0.8875		0.8498023715		0.8245614035		0.8947368421		0.9311502939

		350		429		0		429		231		0		231		225		0		225		295		0		295		417		0		417		953		128		1081		350		0.9816933638		0.9625		0.8893280632		0.8625730994		0.9542334096		0.9076406381

		400		429		0		429		234		0		234		245		0		245		312		0		312		429		0		429		970		163		1133		400		0.9816933638		0.975		0.9683794466		0.9122807018		0.9816933638		0.9513014274

		500		437		0		437		240		0		240		253		0		253		342		0		342		437		0		437		965		157		1122		500		1		1		1		1		1		0.9420654912

		Norm. factor						409.2						220.8						224.8						297.2						409						1108.6

																																																																																																		Routing/Total

																																																																														Strip 120-121				Pos. 39						Strip 120-121				Pos. 41.5

		Strip #		10		11		Total		30		31		Total		50		51		Total		70		71		Total		90		91		Total		110		111		Total		120		int 1		121		int 2		Total						Normalised		10		30		50		70		90		110		120										120		int 1		121		int 2				120		int 1		121		int 2				Rout. 1		Tot.1		Rou. 2		Tot. 2		Rout. 3		Tot. 3		Ratio 1		Ratio 2		Ratio 3

		50		41		85		126		24		58		82		0		80		80		15		76		91														38		21		104		-10		142						50		0.2016		0.2		0.1500938086		0.1529411765		0		0		0.2610294118								50		52		10		24		-10				28		20		70		-10				21		142		10		86		20		118		0.1478873239		0.1162790698		0.1694915254

		100		63		140		203		22		84		106		31		135		166		38		142		180														62		34		177		-21		239						100		0.3248		0.2585365854		0.3114446529		0.3025210084		0		0		0.4393382353								100		97		24		48		-17				66		38		135		-10				34		239		24		169		38		239		0.1422594142		0.1420118343		0.1589958159

		150		92		210		302		38		133		171		52		197		249		48		211		259														55		24		385		-31		440						150		0.4832		0.4170731707		0.4671669794		0.4352941176		0		0		0.8088235294								150		222		17		52		-17				66		38		284		-20				24		440		17		291		38		388		0.0545454545		0.058419244		0.0979381443

		200		81		329		410		39		207		246		45		291		336		48		325		373														48		15		454		-24		502						200		0.656		0.6		0.6303939962		0.6268907563		0		0		0.9227941176								200		287		0		55		0				55		21		395		-30				15		502		0		342		21		471		0.0298804781		0		0.0445859873

		250		59		443		502		32		300		332		34		398		432		24		429		453														45		0		468		-34		513						250		0.8032		0.8097560976		0.8105065666		0.7613445378		0		0		0.9430147059								250		308		-24		55		0				42		0		436		-45				0		513		-24		339		0		478		0		-0.0707964602		0

		300		59		510		569		30		321		351		35		433		468		28		495		523														34		-10		478		-34		512						300		0.9104		0.856097561		0.8780487805		0.8789915966		0		0		0.9411764706								300		308		-17		62		0				55		0		454		-42				-10		512		-17		353		0		509		-0.01953125		-0.0481586402		0

		350		50		530		580		23		342		365		31		454		485		30		516		546														34		-17		495		-34		529						350		0.928		0.8902439024		0.9099437148		0.9176470588		0		0		0.9724264706								350		315		-25		62		0				48		0		478		-45				-17		529		-25		352		0		526		-0.0321361059		-0.0710227273		0

		400		45		561		606		10		370		380		24		468		492		34		513		547														34		-17		502		-34		536						400		0.9696		0.9268292683		0.9230769231		0.9193277311		0		0		0.9852941176								400		315		-28		55		0				42		0		485		-38				-17		536		-28		342		0		527		-0.0317164179		-0.081871345		0

		500		45		580		625		10		400		410		10		523		533		34		561		595						1						1		34		-17		510		-34		544						500		1		1		1		1		1		1		1								500		340		-31		55		0				52		0		520		-38				-17		544		-31		364		0		572		-0.03125		-0.0851648352		0

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal

				10		24		110				26		20		90		239		62		301		0.2059800664		0		0				26		20		90		409		59		468		0.1260683761		0		0

				11		35						27		30		80		350		76		426		0.1784037559		110		1				27		30		80		582		0		582		0		110		1

												28		40		70		298		104		402		0.2587064677								28		40		70		520		52		572		0.0909090909

												29		50		60		149		83		232		0.3577586207								29		50		60		270		76		346		0.2196531792

		#10		Amplitude		#11		Amplitude				30		60		50		90		152		242		0.6280991736								30		60		50		100		281		381		0.7375328084

		25.5		491		37		343				31		70		40		118		291		409		0.7114914425								31		70		40		80		544		624		0.8717948718

		26		376		38		0				32		80		30		94		357		451		0.7915742794								32		80		30		55		564		619		0.9111470113

		26.5		173		39		0				33		90		20		80		277		357		0.7759103641								33		90		20		76		447		523		0.8546845124

		27.5		0		40		0

		28		0		41		406						25		0.1354679803																						25		0

		28.5		0										35		0.2190721649																						35		0

		29.5		108.6										45		0.3144329897																						45		0

		30		310										48		0.3333333333																						48		0.1697247706

		30.5		472										65		0.6071428571																						65		0.7439759036

														75		0.7055702918																						75		0.8892794376

														85		0.7814726841																						85		1

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h

				30		22		110				24		20		90		114		61		175		0.3485714286		0		0				24		20		90		195		58		253		0.2292490119

				31		33						25		30		80		168		47		215		0.2186046512		110		1				25		30		80		309		0		309		0

												26		40		70		160		75		235		0.3191489362								26		40		70		328		0		328		0

												27		50		60		95		73		168		0.4345238095								27		50		60		161		58		219		0.2648401826

		#30		Amplitude		#31		Amplitude				28		60		50		39		65		104		0.625								28		60		50		56		91		147		0.619047619

		18.5		210		31		280				29		70		40		58		147		205		0.7170731707								29		70		40		51		303		354		0.8559322034

		19.5		163		32		67				30		80		30		52		203		255		0.7960784314								30		80		30		5		372		377		0.9867374005

		20.5		91		33		47				31		90		20		42		198		240		0.825								31		90		20		10		367		377		0.9734748011

		21.5		37		34		49

		22.5		39		35		212

		23.5		137

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h

				50		49		110				51		20		90		253		45		298		0.1510067114		0		0				51		20		90		429		0		429		0

				51		60						52		30		80		225		55		280		0.1964285714		110		1				52		30		80		423		0		423		0

												53		40		70		177		86		263		0.3269961977								53		40		70		385		52		437		0.118993135

												54		50		60		0		0		0		0								54		50		60		0		0		0		0

		#50		Amplitude		#51		Amplitude				55		60		50		62		128		190		0.6736842105								55		60		50		69		267		336		0.7946428571

		46.5		320		57.5		385				56		70		40		83		232		315		0.7365079365								56		70		40		42		461		503		0.916500994

		47.5		42		58.5		50				57		80		30		52		277		329		0.8419452888								57		80		30		28		461		489		0.9427402863

		48.5		0		59.5		0				58		90		20		55		270		325		0.8307692308								58		90		20		24		468		492		0.9512195122

		49.5		0		60.5		30

		50.5		229		61.5		104						20										0.1510067114										20										0

						62.5		385						30										0.1964285714										30										0

														40										0.3269961977										40										0.118993135

														60										0.6736842105										60										0.7946428571

														70										0.7365079365										70										0.916500994

														80										0.8419452888										80										0.9427402863

														90										0.8307692308										90										0.9512195122

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h

				70		38		115				40		20		95		263		55		318		0.1729559748		0		0				40		20		95		395		59		454		0.1299559471

				71		49.5						41		30		85		374		42		416		0.1009615385		110		1				41		30		85		547		0		547		0

												42		40		75		315		76		391		0.1943734015								42		40		75		550		0		550		0

												43		50		65		121		55		176		0.3125								43		50		65		204		42		246		0.1707317073

		#70		Amplitude		#71		Amplitude				44		60		55		48		50		98		0.5102040816								44		60		55		59		83		142		0.5845070423

		36		429		47.5		190				45		70		45		114		253		367		0.689373297								45		70		45		66		499		565		0.8831858407

		37		52		48.5		31				46		80		35		76		333		409		0.8141809291								46		80		35		38		561		599		0.9365609349

		38		0		49.5		0				47		90		25		66		381		447		0.8523489933								47		90		25		34		513		547		0.9378427788

		39		38		50.5		76

		40		412		51.5		423

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h

				120		34		120				36		20		100		346		121		467		0.2591006424		0		0				36		20		100		377		135		512		0.263671875

				121		46						37		30		90		616		59		675		0.0874074074		110		1				37		30		90		682		48		730		0.0657534247

												38		40		80		616		62		678		0.0914454277								38		40		80		665		52		717		0.0725244073

												39		50		70		308		55		363		0.1515151515								39		50		70		385		66		451		0.1463414634

		#120		Amplitude		#121		Amplitude				40		60		60		59		59		118		0.5								40		60		60		66		66		132		0.5

		32.5		391		44		513				41		70		50		90		360		450		0.8								41		70		50		86		450		536		0.8395522388

		33.5		76		45		86				42		80		40		59		450		509		0.884086444								42		80		40		42		520		562		0.9252669039

		34.5		59		46		69				43		90		30		38		468		506		0.9249011858								43		90		30		28		523		551		0.9491833031

		35.5		142		47		104

		36.5		606		48		475

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h

				90		35		117.5				38		158		-38		329		38		367		0.1035422343		0		0				38		158		-38		436		0		436		0

				91		46.75						39		168		-48		281		69		350		0.1971428571		117.5		1				39		168		-48		433		0		433		0

												40		178		-58		142		83		225		0.3688888889								40		178		-58		235		76		311		0.2443729904

												41		188		-68		52		86		138		0.6231884058								41		188		-68		38		136		174		0.7816091954

		#70		Ampitude		#71		Amplitude				42		198		-78		94		274		368		0.7445652174								42		198		-78		48		485		533		0.9099437148

												43		208		-88		48		385		433		0.8891454965								43		208		-88		0		526		526		1

												44		218		-98		38		402		440		0.9136363636								44		218		-98		0		523		523		1

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h

				90		35		117.5				38		30		87.5		329		38		367		0.1035422343		0		0				38		30		87.5		436		0		436		0

				91		46.75						39		40		77.5		281		69		350		0.1971428571		117.5		1				39		40		77.5		433		0		433		0

												40		50		67.5		142		83		225		0.3688888889								40		50		67.5		235		76		311		0.2443729904

												41		60		57.5		52		86		138		0.6231884058								41		60		57.5		38		136		174		0.7816091954

		#90		Ampitude		#91		Amplitude				42		70		47.5		94		274		368		0.7445652174								42		70		47.5		48		485		533		0.9099437148

		33		346		45		263				43		80		37.5		48		385		433		0.8891454965								43		80		37.5		0		526		526		1

		33.5		160		45.5		94				44		90		27.5		38		402		440		0.9136363636								44		90		27.5		0		523		523		1

		34		55		46		42

		34.5		10		46.5		28

		35		10		47		24

		35.5		15		47.5		59

		36		59		48		138

		36.5		184		49		523

		37		364

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				200 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		400 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h

				100		21		115				24		30		85		276		71		347		0.204610951		0		0				24		30		85		405		0		405		0				24		30		85		509		0		509		0

				101		32.5						25		40		75		233		104		337		0.3086053412		115		1				25		40		75		388		74		462		0.1601731602				25		40		75		516		0		516		0

												26		50		65		91		57		148		0.3851351351								26		50		65		142		54		196		0.2755102041				26		50		65		219		54		273		0.1978021978

												27		60		55		51		67		118		0.5677966102								27		60		55		64		101		165		0.6121212121				27		60		55		67		148		215		0.688372093

		#100		Ampitude		#101		Amplitude				28		70		45		121		202		323		0.6253869969								28		70		45		111		317		428		0.7406542056				28		70		45		61		476		537		0.886405959

		18.5		408		31		196				29		80		35		91		250		341		0.7331378299								29		80		35		71		385		456		0.8442982456				29		80		35		37		496		533		0.9305816135

		19.5		108		32		50				30		90		25		74		290		364		0.7967032967								30		90		25		57		425		482		0.8817427386				30		90		25		34		519		553		0.938517179

		20.5		40		32.5		30

		21.5		35		33		37

		22.5		105		33.5		50

		23.5		445		34		101

						35		452

																																				New												Other position

		Strip #		70		71		Total		90		91		Total		99		100		101		102		Total		Total		Normalised		70		90		100		120		Int 2		121		Int 3		122		Total		119		120		Int 2		121		Total

		50		31		78		109		31		83		114		13		30		101		12		156		131				0.2060491493		0.2054054054		0.2364620939		45		27		100		25		32		145		27		91		18		41		132

		100		53		125		178		45		142		187		20		67		182		23		292		249				0.3364839319		0.3369369369		0.4494584838		68		41		178		10		30		246		30		168		35		68		236

		150		58		180		238		66		232		298		23		74		290		34		421		364				0.449905482		0.5369369369		0.6570397112		63		50		342		0		30		405		35		314		35		54		368

		200		73		290		363		48		374		422		17		57		425		-10		489		482				0.6862003781		0.7603603604		0.8700361011		50		27		446		-10		30		496		27		405		0		41		446

		250		51		388		439		31		478		509		0		51		472		-18		505		523				0.8298676749		0.9171171171		0.9440433213		41		15		490		-18		23		531		15		433		-18		32		465

		300		38		462		500		17		501		518		0		40		500		-23		517		540				0.9451795841		0.9333333333		0.9747292419		36		0		501		-27		18		537		10		446		-20		41		487

		350		33		485		518		20		535		555		0		34		513		-27		520		547				0.9792060491		1		0.9873646209		32		0		510		-23		18		542		10		460		-20		36		496

		400		31		498		529		20		535		555		0		34		520		-27		527		554				1		1		1		36		0		519		-23		18		555		10		474		-23		36		510

		500		30		540		570		0		578		578		0		34		560		-27		567		594				1.0775047259		1.0414414414		1.0722021661		32		0		533		-23		18		565		10		483		-23		36		519

		Futher Measurements as a function of the r-position

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		Ideal				200 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		400 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h

				120		19.8		61				21		12		49		47.12		28.88		171.76		28.88		80.56		28.88		41.8		252.32		0.3192771084		0		0				21		12		49		57		36.48		262.2		47.12		117.04		31.16		44.08		379.24		0.3086172345				21		12		49		28.88		0		428.64		-31.16		119.32		0		31.16		547.96		0.2177531207

				121		25.9						22		22		39		44		27		140		27		68		10		31		208		0.3269230769		61		1				22		22		39		62		38		215		51		106		27		31		321		0.3302180685				22		22		39		48		0		431		-17		126		0		10		557		0.2262118492

												23		32		29		0		0		24		0		24		0		0		48		0.5								23		32		29		0		0		34		0		34		0		0		68		0.5				23		32		29		0		0		58		0		65		0		0		123		0.5284552846

												24		42		19		34		15		105		41		212		24		48		317		0.6687697161								24		42		19		51		27		157		85		335		34		62		492		0.6808943089				24		42		19		31		0		130		21		619		-24		34		749		0.826435247

		#121		Ampitude		#121		Amplitude				25		52		9		38		17		89		31		205		12		41		294		0.6972789116								25		52		9		51		23		128		57		341		15		44		469		0.7270788913				25		52		9		51		0		131		10		560		-30		27		691		0.8104196816

		19		398		25		351

		19.5		58		25.5		104				Estimated strip width:								Routing line		#120		#121

		20		72		26		47				16 µm								25.6		447		85		0.9933333333		0.1888888889		532		0.7093333333

		20.5		212		26.5		81												26		242		68		0.5377777778		0.1511111111		310		0.4133333333

		21		489		27		368												26.2		103		31		0.2288888889		0.0688888889		134		0.1786666667

																				26.4		65		31		0.1444444444		0.0688888889		96		0.128

																				26.6		58		31		0.1288888889		0.0688888889		89		0.1186666667

																				26.8		42		40		0.0933333333		0.0888888889		82		0.1093333333

																				27		42		55		0.0933333333		0.1222222222		97		0.1293333333

																				27.2		54		154		0.12		0.3422222222		208		0.2773333333

																				27.4		71		248		0.1577777778		0.5511111111		319		0.4253333333

																				27.6		81		310		0.18		0.6888888889		391		0.5213333333

																				28		92		448		0.2044444444		0.9955555556		540		0.72

		Futher Measurements as a function of the r-position								Far end

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		Ideal				200 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		400 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h

				120		23		78				25		20		58		40		0		184		23		61		0		15		245		0.2489795918		0		0				25		20		58		33		0		255		38		76		0		18		331		0.2296072508				25		20		58		54		0		523		-10		54		0		0		577		0.0935875217

				121		30.8						26		30		48		31		0		89		24		51		0		24		140		0.3642857143		78		1				26		30		48		31		0		116		31		65		0		24		181		0.3591160221				26		30		48		31		0		263		0		78		0		0		341		0.2287390029

												27		40		38		0		0		0		0		0		0		0		0		0								27		40		38		0		0		0		0		0		0		0		0		0				27		40		38		0		0		0		0		0		0		0		0		0

												28		50		28		20		0		68		41		157		0		31		225		0.6977777778								28		50		28		0		0		99		61		222		0		34		321		0.691588785				28		50		28		0		0		78		15		492		-31		24		570		0.8631578947

		#121		Ampitude		#121		Amplitude				29		60		18		0		0		61		27		184		0		31		245		0.7510204082								29		60		18		0		0		78		48		276		0		37		354		0.7796610169				29		60		18		0		0		44		0		540		-31		13		584		0.9246575342

		21		728		29		755

		22		230		30		225				Estimated strip width:

		22.5		134		30.5		101				20 µm

		23		107		31		96

		23.5		150		31.5		161

		24		557		32		551

		25		760

										1 cm plus

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		Ideal				200 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		400 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h

				120		22.7		95				25		23		72		44		0		222		34		68		0		17		290		0.2344827586		0		0				25		23		72		41		0		366		31		68		0		24		434		0.1566820276				25		23		72		27		0		557		-24		48		0		0		605		0.079338843

				121		32.2						26		33		62		41		0		208		51		103		0		24		311		0.3311897106		95		1				26		33		62		31		0		311		68		112		0		34		423		0.2647754137				26		33		62		17		0		543		-20		78		0		0		621		0.1256038647

												27		43		52		0		0		0		0		0		0		0		0		0								27		43		52		0		0		58		0		27		0		0		85		0.3176470588				27		43		52		0		0		103		0		44		0		0		147		0.2993197279

												28		53		42		0		0		44		31		78		0		0		122		0.6393442623								28		53		42		0		0		58		24		120		0		0		178		0.6741573034				28		53		42		0		0		61		0		236		0		0		297		0.7946127946

		#121		Ampitude		#121		Amplitude				29		63		32		24		0		82		51		195		0		17		277		0.7039711191								29		63		32		27		0		112		85		328		0		34		440		0.7454545455				29		63		32		0		0		65		0		574		-37		15		639		0.8982785603

		21		464		30		523				30		73		22		0		0		71		44		242		0		31		313		0.7731629393								30		73		22		0		0		78		58		383		0		37		461		0.830802603				30		73		22		0		0		34		0		588		-40		13		622		0.9453376206

		22		58		31		171				Estimated strip width:

		22.5		37		32		41				25 µm

		23		51		32.5		51

		23.5		58		33		65

		24		178		34		499

		25		496

										1 cm plus

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		Ideal				200 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		400 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h

				120		22.7		108				25		23		85		34		0		254		29		45		0		0		299		0.1505016722		0		0				25		23		85		22		0		388		0		34		0		0		422		0.0805687204				25		23		85		11		0		474		-29		26		0		0		500		0.052

				121		33.5						26		33		75		26		0		228		41		63		0		10		291		0.2164948454		108		1				26		33		75		22		0		374		0		40		0		0		414		0.0966183575				26		33		75		0		0		474		-25		30		0		0		504		0.0595238095

												27		43		65		34		0		190		78		101		0		26		291		0.3470790378								27		43		65		26		0		317		37		82		0		12		399		0.2055137845				27		43		65		0		0		456		-22		71		0		0		527		0.1347248577

												29		63		45		12		0		85		60		157		0		29		242		0.6487603306								29		63		45		0		0		93		67		269		0		34		362		0.7430939227				29		63		45		0		0		71		18		422		-22		18		493		0.8559837728

		#121		Ampitude		#121		Amplitude				30		73		35		0		0		63		56		209		0		0		272		0.7683823529								30		73		35		0		0		48		34		366		-18		18		414		0.884057971				30		73		35		0		0		26		0		508		-26		0		534		0.9513108614

		20		470		31		508				31		83		25		0		0		50		37		247		0		26		297		0.8316498316								31		83		25		0		0		34		34		490		-30		0		524		0.9351145038				31		83		25		0		0		10		0		490		-30		0		500		0.98

		21		300		32		247

		22		40		33		41

		23		0		33.5		29				Estimated strip width:

		23.5		0		34		41				30 µm

		24		85		35		134

		25		430		36		500

		New 0 position

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		Ideal				200 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		400 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h

				120		22.2		118				25		28		90		32		0		333		23		50		0		0		383		0.1305483029		0		0				25		28		90		13		0		396		-13		35		0		0		431		0.0812064965				25		28		90		10		0		469		-23		32		0		0		501		0.0638722555

				121		34						26		38		80		32		0		314		30		54		0		0		368		0.1467391304		118		1				26		38		80		23		0		424		-13		36		0		0		460		0.0782608696				26		38		80		0		0		469		-27		30		0		0		499		0.0601202405

												27		48		70		27		0		259		54		86		0		13		345		0.2492753623								27		48		70		0		0		387		23		68		0		0		455		0.1494505495				27		48		70		0		0		492		-23		63		0		0		555		0.1135135135

												28		58		60		0		0		41		0		27		0		0		68		0.3970588235								28		58		60		0		0		59		0		41		0		0		100		0.41				28		58		60		0		0		77		0		45		0		0		122		0.368852459

		#121		Ampitude		#121		Amplitude				29		68		50		18		0		68		41		132		0		32		200		0.66								29		68		50		0		0		59		32		178		0		0		237		0.7510548523				29		68		50		0		0		73		18		273		0		32		346		0.789017341

		20		483		32		451				30		78		40		18		0		86		68		264		0		27		350		0.7542857143								30		78		40		0		0		50		10		506		-18		0		556		0.9100719424				30		78		40		0		0		50		10		506		-18		0		556		0.9100719424

		21		86		33		54				31		88		30		0				63		50		342		0		32		405		0.8444444444								31		88		30		0		0		41		18		428		-23		18		469		0.9125799574				31		88		30		0		0		36		0		496		-23		18		532		0.9323308271

		22		45		34		32

		23		23		35		45				Estimated strip width:

		24		154		36		387				35 µm

		25		470



Irradiated section n. 6



Final pic. eta

		1		1		1		1



Left strip

Routing #1

Right strip

Routing #2

Bias [Volt]

Signal [mV]

CCE vs bias

1

1

1

1



Neff vs position

		1		1		1		1



Strip 120

Rout. #1

Strip 121

Rout. #2

Bias [Volt]

Signal [mV]

CCE vs bias

1

1

1

1



Eta comparison

		1		1		1		1



Strip 120

Rout. #1

Strip 121

Rout. #2

Bias [Volt]

Signal [mV]

CCE vs bias

1

1

1

1



Strip 120 

		1		1		1



Position 1

Position 2

Position 3

Bias [Volt]

Ratio

Routing line/total charge

1

1

1



Pulse shape

		0		0		0		0

		115		0		0		0

				0		0		0

				0		0		0

				0		0		0

				0		0		0

				0		0		0



150 Volt

200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #740-741

0

0

0

0

1

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		Bias 250 V		Strip #		Centre		Distance		50 V		Local coord.		D24		D25		Pulse Left		Int		Pulse Right		Pulse sum		h		ideal				100 V		Pulse Left		Int		Pulse Right		Pulse sum		h		300 V		Pulse Left		Int		Pulse Right		Pulse sum		h				Volt scan		#6		Int.		#7		Total		Normalised				Volt scan		#59		#60		#61		Total		Normalised				Volt scan		#114		Int.		#115		Int.		#116		Total		Normalised

				6		37		115				40		30		85		104		18		40		144		0.2777777778		0		0				246				45		291		0.1546391753				333		-23		27		360		0.075				20		23		5		54		77		0.2086720867				20		32		141		54		227		0.576142132				10		63		4		159		23		32		222		0.5536159601

				7		48.5						41		40		75		86		32		54		140		0.3857142857		115		1				214		36		63		277		0.2274368231				323		-23		36		359		0.1002785515				40		32		18		100		132		0.3577235772				40		41		264		54		359		0.9111675127				20		80				246		23		36		326		0.812967581

												42		50		65		45		9		32		77		0.4155844156								128		36		63		191		0.3298429319				209		0		68		277		0.2454873646				50		36		23		123		159						50		36		287		50		373		0.9467005076				40		82				314		23		41		396		0.9875311721

												43.5		65		50		36		18		54		90		0.6								50		36		118		168		0.7023809524				63		13		246		309		0.7961165049				60		45		27		145		190		0.5149051491				60		36		298		40		374		0.9492385787				50		73				328		13		32		401		1

		#6		Amplitude		#7		Amplitude				44		70		45		45		27		77		122		0.631147541								50		36		195		245		0.7959183673				41		9		305		346		0.8815028902				80		59		41		205		264		0.7154471545				80		30		328		27		385		0.9771573604				60		68				333		13		32		401		1

		34.5		305		46.5		296				45		80		35		45		23		104		149		0.6979865772								45		41		241		286		0.8426573427				27		9		342		369		0.9268292683				100		45		36		259		304		0.8238482385				100		27		337		24		388		0.9847715736				80		59				342		9		32		401		1

		35.5		137		47.5		54				46		90		25		9		0		50		59		0.8474576271								45		36		255		300		0.85				27		4		337		364		0.9258241758				125		36		23		296		332		0.8997289973				150		24		355		21		400		1.0152284264				100		46				351				18		397		0.9900249377

		36.5		27		48.5		0																																																		150		32		18		323		355		0.9620596206				200		23		360		20		403		1.0228426396				125		45				355				27		400		0.9975062344

		37.5		0		49.5		36																																																		175		32		18		328		360		0.9756097561				300		20		374		0		394		1				150		45				355				27		400		0.9975062344

		38.5		100		50.5		232																																																		200		23		9		337		360		0.9756097561																		200		45				355				18		400		0.9975062344

		39.5		305		51.5		333																																																		300		23		9		346		369		1																		300		41				360				18		401		1

		40.5		319





		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0				0

		0				0



0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0		0		0

		0		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0



50 Volt

100 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #774-775

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		Bias 250 V		Strip #		Centre		Distance		25 V		Local coord.		D24		D25		Pulse Left		Pulse Right		Pulse sum		h		ideal				50 V		Pulse Left		Pulse Right		Pulse sum		h		150 V		Pulse Left		Pulse Right		Pulse sum		h								Volt scan		#60		#61		Total		Normalised

				60		43.2		113				46		28		85		212		1		213		0.0046948357		0		0				311		1		312		0.0032051282				410		1		411		0.00243309						3.1622776602		10		95		0		95		0.2467532468

				61		54.5						47		38		75		143		20		163		0.1226993865		113		1				222		1		223		0.0044843049				294		1		295		0.0033898305						5		25		191		0		191		0.4961038961

												48		48		65		68		34		102		0.3333333333								123		58		181		0.320441989				171		68		239		0.2845188285						7.0710678119		50		283		0		283		0.7350649351

												49		58		55		37		109		146		0.7465753425								37		161		198		0.8131313131				37		212		249		0.8514056225						8.6602540378		75		321		0		321		0.8337662338

		#60		Amplitude		#61		Amplitude				50		68		45		31		174		205		0.8487804878								34		259		293		0.8839590444				50		334		384		0.8697916667						10		100		352		0		352		0.9142857143

		41		308		52		386				51		78		35		24		181		205		0.8829268293								24		263		287		0.9163763066				20		345		365		0.9452054795						12.2474487139		150		372		0		372		0.9662337662

		42		171		53		253																																														14.1421356237		200		372		0		372		0.9662337662

		43		20		54		116																																														17.3205080757		300		385		0		385		1

		44		49		55		24

		45		209		56		123

		46		345		57		280

						58		389

		Bias 250 V		Strip #		Centre		Distance		20 V		Local coord.		D24		D25		#115		Int 1		#116		Int 2		#117		Pulse sum		h		ideal				50 V		#115		Int 1		#116		Int 2		#117		Pulse sum		h		200 V		#115		Int 1		#116		Int 2		#117		Pulse sum		h				Volt scan		#115		#116		Int		#117		Total		Normalised

				115		21		114				24		30		84		198		-17		27						225		0.12		0		0				317		-17		31						348		0.0890804598				403		-30		24						427		0.056206089		3.1622776602		10				116						116		0.2829268293

				116		32.4						25		40		74		178		-13		27						205		0.1317073171		114		1				311		-20		41						352		0.1164772727				396		-27		27						423		0.0638297872		5		25		31		208		-5		20		228		0.556097561

												26		50		64		126		-13		37						163		0.226993865								242		-17		61						303		0.201320132				334		-24		68						402		0.1691542289		7.0710678119		50		31		308		-7		20		328		0.8

												28		70		44		34				137				17		171		0.8011695906								48				236				24		284		0.8309859155				54		-5		317		-13		24		371		0.8544474394		8.6602540378		75		24		345		-17		20		365		0.8902439024

		#115		Amplitude		#116		Amplitude				29		80		34		24				181				17		205		0.8829268293								31				311		-10		20		342		0.9093567251				27				400		-17		17		427		0.9367681499		10		100		27		366		-20		17		383		0.9341463415

		18		400		30		389				29.5		85		29		27				195						222		0.8783783784								34				314		-15		20		348		0.9022988506				24				389		-24		17		413		0.9418886199		11.1803398875		125		24		380		-17		13		393		0.9585365854

		19		270		31		89																																																												12.2474487139		150		24		385		-20		13		398		0.9707317073

		20		34		32		28																																																												14.1421356237		200		24		389		-20		13		402		0.9804878049

		21		30		33		30																																																												17.3205080757		300		24		393		-20		17		410		1

		22		38		34		126

		23		308		35		389

		24		400





		0		0		0		0

		0		0		0		0

				0		0		0

				0		0		0

				0		0		0

				0		0		0



25 Volt

50 Volt

150 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #188-189

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0		0		0

		0		0		0		0

				0		0		0

				0		0		0

				0		0		0

				0		0		0



20 Volt

50 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #244-245

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0



#115

#60

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		47		400		-30		380

		48		280		-20		260

		49		41		-10		21

		50		20		0		0

		51		51		10		31

		52		273		20		253

		53		410		30		390

		Beam Profile

		Coordinate		Front		Back

		0						10

		10		1.00E+13		1.05E+13		20		1.00E+13		1.05E+13

		20		4.50E+13		4.55E+13		30		4.50E+13		4.55E+13

		25		3.00E+14		2.52E+14		35		3.00E+14		2.52E+14

		30		4.10E+14		4.40E+14		40		4.10E+14		4.40E+14

		35		4.30E+14		4.60E+14		45		4.30E+14		4.60E+14

		40		3.15E+14		3.80E+14		50		3.15E+14		3.80E+14

		45		1.09E+14		2.70E+14		55		1.09E+14		2.70E+14

		55		1.20E+13		2.70E+13		65		1.20E+13		2.70E+13

		65		7.00E+11		1.20E+12		75		7.00E+11		1.20E+12





		0

		0

		0

		0

		0

		0

		0



Local coord. [µm]

Amplitude [arb. Units]

Strip scan #10

0

0

0

0

0

0

0



		55		0		55		55

		50		1		50		50

		45		2		45		45

		40		3		40		40

		35		4		35		35

		30		5		30		30

		25		6		25		25

		20		7		20		20

		15		8		15		15

		10		9		10		10

		5		10		5		5

		0		11		0		0

				12

				13

				14

				15

				16

				17

				18

				19

				20

				21

				22

				23

				24

				25

				26

				27

				28

				29

				30

				31

				32

				33

				34

				35

				36

				37

				38

				39

				40

				41

				42

				43

				44

				45

				46

				47

				48

				49

				50

				51

				52

				53

				54

				55

				56

				57

				58

				59

				60

				61

				62

				63

				64

				65

				66

				67

				68



Measured (hit strip)

Calculated

Adjacent strip

Intermediate routing line

Time [ns]

Amplitude [arb. units]

68

10

0

0

150

34.5396

16

0

245

54.05968

34

0

369

80.39936

54

0

560

114.09384

123

32

688

155.13512

154

40

826

202.94192

188

51

792

256.42064

199

74

615

314.09432

188

108

421

374.26344

176

131

199

435.16424

85

68

0

495.10184

0

0

552.54736

606.19912

655.01224

698.20408

735.24416

765.8304

789.86272

807.41192

818.68832

824.01216

823.78664

818.47312

808.57016

794.59512

777.0692

756.50528

733.3992

708.22128

681.41152

653.37656

624.48752

595.07864

565.44744

535.85544

506.53048

477.66728

449.43032

421.95584

395.35408

369.71192

345.0956

321.5524

299.11304

277.79416

257.59968

238.52336

220.54992

203.6564

187.81424

172.98976

159.14552

146.24152

134.23568

123.08456

112.74432

103.1708

94.32024

86.14968

78.61696

71.6812

65.30304

59.44456

54.06952

49.14336

44.63336

40.50856

36.7396



		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0



Front Al foils

Back Al foils

Position [mm]

Measured fluence [p cm-2]

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		

						760





		30		30		0

		40		40		117.5

		50		50

		60		60

		70		70

		80		80

		90		90



200 Volt

400 Volt

Ideal resolution

Local position [µm]

Right charge/Total charge

Scan across strips #740-741

0.1035422343

0.0311111111

0

0.1971428571

0.0545851528

1

0.3688888889

0.2443729904

0.6231884058

0.7816091954

0.7445652174

0.9099437148

0.8891454965

1

0.9136363636

1



		30		30		0

		40		40		115

		50		50

		60		60

		70		70

		80		80

		90		90



200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #710-711

0.1009615385

0.0352733686

0

0.1943734015

0.0646258503

1

0.3125

0.2213740458

0.5102040816

0.5845070423

0.689373297

0.8831858407

0.8141809291

0.9365609349

0.8523489933

0.9378427788



		30		30		0

		40		40		115

		50		50

		60		60

		70		70

		80		80

		90		90



200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #760-761

0.0874074074

0.0657534247

0

0.0914454277

0.0725244073

1

0.1515151515

0.1463414634

0.5

0.5

0.8

0.8395522388

0.884086444

0.9252669039

0.9249011858

0.9491833031



		0		30		30		30

		115		40		40		40

				50		50		50

				60		60		60

				70		70		70

				80		80		80

				90		90		90



150 Volt

200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #740-741

0

0.204610951

0.0581395349

0.0450281426

1

0.3086053412

0.1601731602

0.0685920578

0.3851351351

0.2755102041

0.2206405694

0.5677966102

0.6121212121

0.688372093

0.6253869969

0.7406542056

0.886405959

0.7331378299

0.8442982456

0.9305816135

0.7967032967

0.8817427386

0.938517179



		0		30		30

		110		40		40

				50		50

				60		60

				70		70

				80		80

				90		90



200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #670-671

0

0.2186046512

0.0462962963

1

0.3191489362

0.076056338

0.4345238095

0.2648401826

0.625

0.619047619

0.7170731707

0.8559322034

0.7960784314

0.9612403101

0.825

0.9734748011



		0		20		20

		110		30		30

				40		40

				50		50

				60		60

				70		70

				80		80

				90		90



200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #690-691

0

0.1510067114

0.0529801325

1

0.1964285714

0.0703296703

0.3269961977

0.1575492341

0

0.6736842105

0.7946428571

0.7365079365

0.916500994

0.8419452888

0.9427402863

0.8307692308

0.9512195122



		25		25		25		0

		35		35		35		110

		45		45		45

		55		55		55

		65		65		65

		75		75		75

		85		85		85



100 Volt

200 Volt

300 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #525-526

0.0461956522

0.0440414508

0.0446194226

0

0.0583941606

0.0547945205

0.0547945205

1

0.1413612565

0.1282051282

0.1113689095

0.3215859031

0.264573991

0.2821576763

0.8050541516

0.8073394495

0.7722222222

0.9130434783

0.9217391304

0.9298245614

0.9473684211

0.9523809524

0.958677686



		0		30		30		30

		117		40		40		40

				50		50		50

				70		70		70

				80		80		80

				90		90		90



150 Volt

200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #634-635

0

0.223255814

0.1133333333

0.0510204082

1

0.2783505155

0.1933333333

0.0761670762

0.3963414634

0.3048780488

0.1943005181

0.6209150327

0.6822429907

0.8157099698

0.6875

0.7979094077

0.915

0.7548076923

0.8580645161

0.9330024814



		0		24		24

		114		34		34

				44		44

				64		64

				74		74

				84		84

				89		89



100 Volt

300 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #584-585

0

0.118466899

0.0379403794

1

0.1655172414

0.0608272506

0.3421052632

0.1666666667

0.6896551724

0.8131868132

0.7597173145

0.9567430025

0.8605442177

0.9974160207

0.8586206897

0.9466666667



		0		22		22		22		22

		116		32		32		32		32

				42		42		42		42

				67		67		67		67

				72		72		72		72

				82		82		82		82

				92		92		92		92



100 Volt

150 Volt

200 Volt

300 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #604-605

0

0.2192513369

0.0848056537

0.0408719346

0.056980057

1

0.2391304348

0.1214285714

0.0681818182

0.0798898072

0.3128834356

0.2380952381

0.0920716113

0.1549295775

0.5668789809

0.6355555556

0.7975077882

0.7517482517

0.591954023

0.7173913043

0.9002695418

0.8434782609

0.6949152542

0.8137931034

0.9973045822

0.8888888889

0.7348066298

0.8436482085

0.972899729

0.9043715847



		0		23		23		23

		108		33		33		33

				43		43		43

				58		58		58

				63		63		63

				73		73		73

				78		78		78



20 Volt

50 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #544-545

0

0.1376146789

0.0422960725

0.0361445783

1

0.2018348624

0.0845070423

0.0574712644

0.3457446809

0.2341772152

0.0976253298

0.5858585859

0.7124183007

0.7627906977

0.6304347826

0.7571428571

0.820441989

0.7302325581

0.8709677419

0.9418886199

0.7735849057

0.8811594203

0.9632352941



		0		35		35		35

		110		40		40		40

				50		50		50

				65		65		65

				70		70		70

				80		80		80



50 Volt

100 Volt

300 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #566-567

0

0.125

0.0408719346

0.0407673861

1

0.1777777778

0.0702247191

0.0687203791

0.320441989

0.22

0.2033333333

0.6946107784

0.8090909091

0.7789855072

0.741697417

0.8579387187

0.8743842365

0.8580858086

0.9543010753

0.9975062344



		0		35		35		35

		120		45		45		45

				50		50		50

				65		65		65

				70		70		70

				80		80		80

				90		90		90



50 Volt

100 Volt

250 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #575-576

0

0.2876106195

0.0451807229

0.0383631714

1

0.3744292237

0.144092219

0.0939759036

0.3880597015

0.1782178218

0.1580310881

0.5730337079

0.7260273973

0.7166666667

0.591954023

0.798679868

0.8379888268

0.6559633028

0.8879781421

0.9230769231

0.7627906977

0.9076086957

0.9511002445



		0		28		28		28

		113		38		38		38

				48		48		48

				58		58		58

				68		68		68

				78		78		78



25 Volt

50 Volt

150 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #188-189

0

0.0046948357

0.0032051282

0.00243309

1

0.1226993865

0.0044843049

0.0033898305

0.3333333333

0.320441989

0.2845188285

0.7465753425

0.8131313131

0.8514056225

0.8487804878

0.8839590444

0.8697916667

0.8829268293

0.9163763066

0.9452054795



		26		26		0		26

		36		36		114		36

		46		46				46

		66		66				66

		76		76				76

		86		86				86



100 Volt

300 Volt

=

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #621-622

0.2227074236

0.0789473684

0

0.0390625

0.2735849057

0.1348684211

1

0.0606060606

0.3659793814

0.2482517483

0.1102150538

0.5828220859

0.6728110599

0.8066666667

0.6822429907

0.8066666667

0.9086021505

0.7422222222

0.8547854785

0.9583333333



		25		25		25		0

		35		35		35		110

		45		45		45

		60		60		60

		65		65		65

		75		75		75

		85		85		85



20 Volt

50 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #469-470

0.0857142857

0.1060070671

0.0411311054

0

0.0833333333

0.093385214

0.0683060109

1

0.275862069

0.1904761905

0.1333333333

0.6451612903

0.6785714286

0.7311827957

0.6774193548

0.766536965

0.8356164384

0.8444444444

0.8717948718

0.9260969977

0.8695652174

0.8646153846

0.9267734554



		30		30		0

		40		40		110

		50		50

		60		60

		70		70

		80		80



200 Volts

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #650-651

0.1784037559

0.0521172638

0

0.2587064677

0.1034482759

1

0.3577586207

0.2196531792

0.6280991736

0.7375328084

0.7114914425

0.8717948718

0.7915742794

0.9111470113



		0		30		30		30

		114		40		40		40

				50		50		50

				70		70		70

				80		80		80

				85		85		85



20 Volt

50 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #244-245

0

0.12

0.0890804598

0.056206089

1

0.1317073171

0.1164772727

0.0638297872

0.226993865

0.201320132

0.1691542289

0.8011695906

0.8309859155

0.8544474394

0.8829268293

0.9093567251

0.9367681499

0.8783783784

0.9022988506

0.9418886199



		30		30		0		30

		40		40		114		40

		50		50				50

		70		60				60

		80		70				70

		85		80				80

								90



#245 - 200 Volt

#650 - 400 Volt

#760 - 400 Volt

Local position [µm]

Right charge/Total charge

0.056206089

0.0521172638

0

0.0657534247

0.0638297872

0.1034482759

1

0.0725244073

0.1691542289

0.2196531792

0.1463414634

0.8544474394

0.7375328084

0.5

0.9367681499

0.8717948718

0.8395522388

0.9418886199

0.9111470113

0.9252669039

0.9491833031



		20		20		20		0

		30		30		30		115

		40		40		40

		50		50		50

		60		60		60

		70		70		70

		80		80		80

		90		90		90



20 Volt

50 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #388-389

0.15

0.0975609756

0.0965794769

0

0.1549295775

0.1448692153

0.1004709576

1

0.171875

0.1223529412

0.0901213172

0.2926829268

0.2888888889

0.2434077079

0.6666666667

0.6923076923

0.6511627907

0.7833333333

0.8498896247

0.9073083779

0.8295081967

0.8495049505

0.9384615385

0.8793103448

0.9160839161

0.9470699433



		35		0		35		35

		45		120		45		45

		55				55		55

		70				70		70

		75				75		75

		85				85		85

		95				95		95



20 Volt

50 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #490-491

0.1595744681

0

0.12

0.0796116505

0.2053231939

1

0.1322869955

0.0891089109

0.2967032967

0.2258064516

0.2

0.72

0.692

0.7982261641

0.8351449275

0.7985074627

0.8764302059

0.9349593496

0.8546099291

0.9174311927

0.9445585216



		0		28		28		28

		118		38		38		38

				48		48		48

				58		58		58

				68		68		68

				78		78		78

				88		88		88



150 Volt

200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #760-761

0

0.1305483029

0.0812064965

0.0638722555

1

0.1467391304

0.0782608696

0.0601202405

0.2492753623

0.1494505495

0.1135135135

0.3970588235

0.41

0.368852459

0.66

0.7510548523

0.789017341

0.7542857143

0.9100719424

0.9100719424

0.8444444444

0.9125799574

0.9323308271



		30		30		28		0

		40		40		38		118

		50		50		48

		70		70		58

		80		80		68

		85		90		78

						88



#244 -245 (@ 200 Volt)

#534 - 535 (@ 400 Volt)

#760 - 761 (@ 400 Volt)

Local position [µm]

Right charge/Total charge

0.056206089

0.0510204082

0.0638722555

0

0.0638297872

0.0761670762

0.0601202405

1

0.1691542289

0.1943005181

0.1135135135

0.8544474394

0.8157099698

0.368852459

0.9367681499

0.915

0.789017341

0.9418886199

0.9330024814

0.9100719424

0.9323308271



		30		30		30		0

		40		40		40		115

		50		50		50

		65		65		65

		70		70		70

		80		80		80

		90		90		90



50 Volt

100 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #774-775

0.2777777778

0.1546391753

0.075

0

0.3857142857

0.2274368231

0.1002785515

1

0.4155844156

0.3298429319

0.2454873646

0.6

0.7023809524

0.7961165049

0.631147541

0.7959183673

0.8815028902

0.6979865772

0.8426573427

0.9268292683

0.8474576271

0.85

0.9258241758



		Bias		#650		#651		Pulse sum		Normalised		#670		#671		Pulse sum		Normalised		#690		#691		Pulse sum		Normalised		#710		#711		Pulse sum		Normalised		#730		#731		Pulse sum		Normalised		#740		#741		Pulse sum		Normalised		#760		#761		Pulse sum		Normalised

		[Volt]		[mV]		[mV]		[mv]				[mV]		[mV]		[mv]				[mV]		[mV]		[mv]				[mV]		[mV]		[mv]				[mV]		[mV]		[mv]				[mV]		[mV]		[mv]				[mV]		[mV]		[mv]

		50		41		85		126		0.2016		24		58		82		0.2		0		80		80		0.1500938086		31		78		109		0.1912280702		31		83		114		0.1972318339		30		101		131		0.2205387205		45		100		145		0.2566371681				104		104

		100		63		140		203		0.3248		22		84		106		0.2585365854		31		135		166		0.3114446529		53		125		178		0.3122807018		45		142		187		0.3235294118		67		182		249		0.4191919192		68		178		246		0.4353982301				177		177

		150		92		210		302		0.4832		38		133		171		0.4170731707		52		197		249		0.4671669794		58		180		238		0.4175438596		66		232		298		0.5155709343		74		290		364		0.6127946128		63		342		405		0.7168141593				385		385

		200		81		329		410		0.656		39		207		246		0.6		45		291		336		0.6303939962		73		290		363		0.6368421053		48		374		422		0.7301038062		57		425		482		0.8114478114		50		446		496		0.8778761062				454		454

		250		59		443		502		0.8032		32		300		332		0.8097560976		34		398		432		0.8105065666		51		388		439		0.7701754386		31		478		509		0.8806228374		51		472		523		0.8804713805		41		490		531		0.9398230088				468		468

		300		59		510		569		0.9104		30		321		351		0.856097561		35		433		468		0.8780487805		38		462		500		0.8771929825		17		501		518		0.8961937716		40		500		540		0.9090909091		36		501		537		0.9504424779				478		478

		350		50		530		580		0.928		23		342		365		0.8902439024		31		454		485		0.9099437148		33		485		518		0.9087719298		20		535		555		0.9602076125		34		513		547		0.9208754209		32		510		542		0.9592920354				495		495

		400		45		561		606		0.9696		10		370		380		0.9268292683		24		468		492		0.9230769231		31		498		529		0.9280701754		20		535		555		0.9602076125		34		520		554		0.9326599327		36		519		555		0.982300885				502		502

		500		45		580		625		1		10		400		410		1		10		523		533		1		30		540		570		1		0		578		578		1		34		560		594		1		32		533		565		1				510		510

																						Neff map		Vfd

																						10

																						30

																						50

																						70

																						90

																						100

																						120

																																												634

																																		72

		Bias		#526		#527		Pulse sum		Normalised		Bias		#545		#546		Pulse sum		Normalised		Bias		#567		#568		Pulse sum		Normalised		Bias		#577		#578		Pulse sum		Normalised		Bias		#585		#586		Pulse sum		Normalised		Bias		#605		#606		Pulse sum		Normalised		Bias		#622		#623		Pulse sum		Normalised		Bias		#634		#635		Pulse sum		Normalised

		[Volt]		[mV]		[mV]		[mv]				[Volt]		[mV]		[mV]		[mv]				[Volt]		[mV]		[mV]		[mv]				[Volt]		[mV]		[mV]		[mv]				[Volt]		[mV]		[mV]		[mv]				[Volt]		[mV]		[mV]		[mv]				[Volt]		[mV]		[mV]		[mv]				[Volt]		[mV]		[mV]		[mv]

		20		5		205		210		0.4393305439		10		89		41		130		0.313253012		10		27		41		68		0.17		25		34		75		109		0.2632850242		25		44		20		64		0.1671018277		50		65		10		75		0.1978891821		50		65		0		65		0.1697127937		50		61		24		85		0.2073170732

		30		5		273		278		0.5815899582		20		171		41		212		0.5108433735		25		61		109		170		0.425		50		55		164		219		0.5289855072		50		95		41		136		0.3550913838		75		95		10		105		0.2770448549		100		123		37		160		0.4177545692		100		106		34		140		0.3414634146

		40		54		323		377		0.7887029289		30		232		34		266		0.6409638554		50		266		41		307		0.7675		75		37		290		327		0.7898550725		75		150		58		208		0.5430809399		100		129		27		156		0.4116094987		150		171		51		222		0.5796344648		150		157		48		205		0.5

		50		45		365		410		0.8577405858		50		321		0		321		0.7734939759		75		334		14		348		0.87		100		27		330		357		0.8623188406		100		240		51		291		0.7597911227		125		167		27		194		0.5118733509		200		287		24		311		0.8120104439		200		253		34		287		0.7

		75		41		405		446		0.9330543933		75		362		0		362		0.8722891566		100		359		0		359		0.8975		150		27		359		386		0.9323671498		125		311		27		338		0.8825065274		150		236		30		266		0.7018469657		250		334		0		334		0.8720626632		250		317		27		344		0.8390243902

		100		32		428		460		0.9623430962		100		383		0		383		0.9228915663		150		372		0		372		0.93		200		24		372		396		0.9565217391		150		342		10		352		0.9190600522		200		328		0		328		0.8654353562		300		351		0		351		0.9164490862		300		349		31		380		0.9268292683

		120		23		441		464		0.9707112971		150		396		0		396		0.9542168675		200		383		0		383		0.9575		250		20		379		399		0.9637681159		200		355		10		365		0.953002611		250		355		0		355		0.9366754617		350		366		0		366		0.955613577		350		362		27		389		0.9487804878

		150		27		446		473		0.989539749		200		410		0		410		0.9879518072		250		396		0		396		0.99		300		24		382		406		0.9806763285		300		376		0		376		0.9817232376		300		366		0		366		0.9656992084		400		372		0		372		0.9712793734		400		372		34		406		0.9902439024

		200		23		455		478		1		300		415		0		415		1		300		400		0		400		1		350		24		390		414		1		400		383		0		383		1		400		379		0		379		1		500		383		0		383		1		500		383		27		410		1

		300		20		464		484		1.0125523013

		Strip #		VFD

		188		80

		244		75

		390		60

		470		55

		498		55

		526		53

		545		55

		568		62

		578		92								0.0004882813		0.1806640625		0.0451660156

		585		128

		605		200

		622		225

		634		270

		650		285

		670		297

		690		300

		710		285								768		640

		730		250

		740		220

		760		170

		774		125

		829		60

		888		47





		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0



Strip #10

Strip #30

Strip #50

Strip #70

Strip #90

Strip #100

Strip #120

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0



Strip #526

Strip #545

Strip #578

Strip #585

Strip #605

Strip #622

Strip #634

Bias [Volt]

Normalised CCE

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0



Strip Number

Vfd [Volt]

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0



Strip #545

Strip #585

Strip #634

Bias [Volt]

Normalised CCE

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0



Strip #526

Strip #578

Strip #605

Bias [Volt]

Normalised CCE

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		Strip:		#10								Strip:		#30								Strip:		#50								Strip:		#70								Strip:		#90								Strip:		#100		#101						Strip:		#120

				#11										#31										#51										#71										#91										#121										#121

		D Left		h 200 V		ideal				h 400 V		D Left		h 200 V		ideal				h 400 V		D Left		h 200 V		ideal				h 400 V		D Left		h 200 V		ideal				h 400 V		D Left		h 200 V		ideal				h 400 V		D Left		h 200 V		ideal				h 400 V		D Left		h 200 V		ideal				h 400 V

		20		0.2059800664		0		0		0.1260683761		20		0.3485714286		0		0		0.2292490119		20		0.1510067114		0		0		0		20		0.1729559748		0		0		0.1299559471		30		0.1035422343		0		0		0		30		0.204610951		0		0		0		20		0.2591006424		0		0		0.263671875

		30		0.1784037559		110		1		0		30		0.2186046512		110		1		0		30		0.1964285714		110		1		0		30		0.1009615385		115		1		0		40		0.1971428571		117.5		1		0		40		0.3086053412		115		1		0		30		0.0874074074		115		1		0.0657534247

		40		0.2587064677						0.0909090909		40		0.3191489362						0		40		0.3269961977						0.118993135		40		0.1943734015						0		50		0.3688888889						0.2443729904		50		0.3851351351						0.1978021978		40		0.0914454277						0.0725244073

		50		0.3577586207						0.2196531792		50		0.4345238095						0.2648401826		60		0.6736842105						0.7946428571		50		0.3125						0.1707317073		60		0.6231884058						0.7816091954		60		0.5677966102						0.688372093		50		0.1515151515						0.1463414634

		60		0.6280991736						0.7375328084		60		0.625						0.619047619		70		0.7365079365						0.916500994		60		0.5102040816						0.5845070423		70		0.7445652174						0.9099437148		70		0.6253869969						0.886405959		60		0.5						0.5

		70		0.7114914425						0.8717948718		70		0.7170731707						0.8559322034		80		0.8419452888						0.9427402863		70		0.689373297						0.8831858407		80		0.8891454965						1		80		0.7331378299						0.9305816135		70		0.8						0.8395522388

		80		0.7915742794						0.9111470113		80		0.7960784314						0.9867374005		90		0.8307692308						0.9512195122		80		0.8141809291						0.9365609349		90		0.9136363636						1		90		0.7967032967						0.938517179		80		0.884086444						0.9252669039

		90		0.7759103641						0.8546845124		90		0.825						0.9734748011												90		0.8523489933						0.9378427788																						90		0.9249011858						0.9491833031

		Residuals		#10-#11								Residuals		#30-#31								Residuals		#50-#51								Residuals		#50-#51								Residuals		#70-#71								Residuals		#90-#91								Residuals		#100-#101

		True position		Est. position		Est. position		Residuals		Residuals		True position		Est. position		Est. position		Residuals		Residuals		True position		Est. position		Est. position		Residuals		Residuals		True position		Est. position		Est. position		Residuals		Residuals		True position		Est. position		Est. position		Residuals		Residuals		True position		Est. position		Est. position		Residuals		Residuals		True position		Est. position		Est. position		Residuals

				200 V		400 V		200 V		400 V				200 V		400 V		200 V		400 V				200 V		400 V		200 V		400 V				200 V		400 V		200 V		400 V				200 V		400 V		200 V		400 V				200 V		400 V		200 V		400 V				200 V		400 V		200 V		400 V

		20		22.657807309		38.3428571429		2.657807309		18.3428571429		20		38.3428571429		25.2173913043		18.3428571429		5.2173913043		20		16.610738255		0		-3.389261745		-20		20		19.8899371069		14.9449339207		-0.1100628931		-5.0550660793		30		12.1662125341		0		-17.8337874659		-30		30		23.530259366		0		-6.469740634		-30		20		29.7965738758		30.322265625		9.7965738758		10.322265625

		30		19.6244131455		24.0465116279		-10.3755868545		-5.9534883721		30		24.0465116279		0		-5.9534883721		-30		30		21.6071428571		0		-8.3928571429		-30		30		11.6105769231		0		-18.3894230769		-30		40		23.1642857143		0		-16.8357142857		-40		40		35.4896142433		0		-4.5103857567		-40		30		10.0518518519		7.5616438356		-19.9481481481		-22.4383561644

		40		28.4577114428		35.1063829787		-11.5422885572		-4.8936170213		40		35.1063829787		0		-4.8936170213		-40		40		35.969581749		13.0892448513		-4.030418251		-26.9107551487		40		22.3529411765		0		-17.6470588235		-40		50		43.3444444444		28.7138263666		-6.6555555556		-21.2861736334		50		44.2905405405		22.7472527473		-5.7094594595		-27.2527472527		40		10.5162241888		8.340306834		-29.4837758112		-31.659693166

		50		39.3534482759		47.7976190476		-10.6465517241		-2.2023809524		50		47.7976190476		29.1324200913		-2.2023809524		-20.8675799087		60		74.1052631579		87.4107142857		14.1052631579		27.4107142857		50		35.9375		19.6341463415		-14.0625		-30.3658536585		60		73.2246376812		91.8390804598		13.2246376812		31.8390804598		60		65.2966101695		79.1627906977		5.2966101695		19.1627906977		50		17.4242424242		16.8292682927		-32.5757575758		-33.1707317073

		60		69.0909090909		68.75		9.0909090909		8.75		60		68.75		68.0952380952		8.75		8.0952380952		70		81.0158730159		100.8151093439		11.0158730159		30.8151093439		60		58.6734693878		67.2183098592		-1.3265306122		7.2183098592		70		87.4864130435		106.9183864916		17.4864130435		36.9183864916		70		71.919504644		101.9366852886		1.919504644		31.9366852886		60		57.5		57.5		-2.5		-2.5

		70		78.2640586797		78.8780487805		8.2640586797		8.8780487805		70		78.8780487805		94.1525423729		8.8780487805		24.1525423729		80		92.6139817629		103.7014314928		12.6139817629		23.7014314928		70		79.2779291553		101.5663716814		9.2779291553		31.5663716814		80		104.474595843		117.5		24.474595843		37.5		80		84.3108504399		107.0168855535		4.3108504399		27.0168855535		70		92		96.5485074627		22		26.5485074627

		80		87.0731707317		87.568627451		7.0731707317		7.568627451		80		87.568627451		108.5411140584		7.568627451		28.5411140584		90		91.3846153846		104.6341463415		1.3846153846		14.6341463415		80		93.630806846		107.7045075125		13.630806846		27.7045075125		90		107.3522727273		117.5		17.3522727273		27.5		90		91.6208791209		107.9294755877		1.6208791209		17.9294755877		80		101.6699410609		106.4056939502		21.6699410609		26.4056939502

		90		85.350140056		90.75		-4.649859944		0.75		90		90.75		107.0822281167		0.75		17.0822281167												90		98.0201342282		107.8519195612		8.0201342282		17.8519195612																						90		106.3636363636		109.1560798548		16.3636363636		19.1560798548





		Far end														End + 1 cm														End + 2 cm														End + 3 cm														End + 3.5 cm

		Strip width		Local coord.		h 150 V						h 200 V		h 400 V		Strip width		Local coord.		h 150 V						h 200 V		h 400 V		Strip width		Local coord.		h 150 V						h 200 V		h 400 V		Strip width		Local coord.		h 150 V						h 200 V		h 400 V		Strip width		Local coord.		h 200 V						h 400 V				Local coord.		h 150 V		h 200 V		h 400 V

		16 µm		12		0.3192771084		0		0		0.3086172345		0.2177531207		25 µm		20		0.2489795918		0		0		0.2296072508		0.0935875217		25 µm		23		0.2344827586		0		0		0.1566820276		0.079338843		30 µm		23		0.1505016722		0		0		0.0805687204		0.052		35 µm		20		0.2591006424		0		0		0.263671875				28		0.1305483029		0.0812064965		0.0638722555		0		0

				22		0.3269230769		61		1		0.3302180685		0.2262118492				30		0.3642857143		78		1		0.3591160221		0.2287390029				33		0.3311897106		95		1		0.2647754137		0.1256038647				33		0.2164948454		108		1		0.0966183575		0.0595238095				30		0.0874074074		115		1		0.0657534247				38		0.1467391304		0.0782608696		0.0601202405		118		1

				32		0.5						0.5		0.5284552846				40		0.6977777778						0.691588785		0.8631578947				43								0.3176470588		0.2993197279				43		0.3470790378						0.2055137845		0.1347248577				40		0.0914454277						0.0725244073				48		0.2492753623		0.1494505495		0.1135135135

				42		0.6687697161						0.6808943089		0.826435247				50		0.7510204082						0.7796610169		0.9246575342				53		0.6393442623						0.6741573034		0.7946127946				63		0.6487603306						0.7430939227		0.8559837728				50		0.1515151515						0.1463414634				58		0.3970588235		0.41		0.368852459

				52		0.6972789116						0.7270788913		0.8104196816				60														63		0.7039711191						0.7454545455		0.8982785603				73		0.7683823529						0.884057971		0.9513108614				60		0.5						0.5				68		0.66		0.7510548523		0.789017341

																																73		0.7731629393						0.830802603		0.9453376206				83		0.8316498316						0.9351145038		0.98				70		0.8						0.8395522388				78		0.7542857143		0.9100719424		0.9100719424

																																																												80		0.884086444						0.9252669039				88		0.8444444444		0.9125799574		0.9323308271

																																																												90		0.9249011858						0.9491833031

				Pos. far end (1)														Pos.(2)=(1)+1 cm														Pos.(3)=(2)+1 cm														Pos.(4)=(3)+1 cm														Pos.(5)=(4)+0.5 cm

		Bias		#119		Int 1		#120		Int 2		#121		Int 3		#122		#119		Int 1		#120		Int 2		#121		Int 3		#122		#119		Int 1		#120		Int 2		#121		Int 3		#122		#119		Int 1		#120		Int 2		#121		Int 3		#122		#119		Int 1		#120		Int 2		#121		Int 3		#122

		[Volt]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]

		50		0		0		30		10		115		10		20						20		0		68						0		0		31		0		99		0		0		0		0		0		0		70		0		0						38		21		104		-10

		100		28		0		61		17		179		15		33						44		15		129						20		0		48		24		171		0		31						52		34		145		0		29						62		34		177		-21

		150		30		0		88		40		239		27		44						78		37		184						0		0		71		44		242		0		31						63		58		250		0		29						55		24		385		-31

		200		37		0		115		74		357		37		54						68		41		280						0		0		78		58		383		0		37						37		20		388		-5		20						48		15		454		-24

		250		34		0		101		61		530		51		20						71		44		410						0		0		44		24		509		-24		10						26		10		448		-20		10						45		0		468		-34

		300		23		0		81		37		600		-23		30						58		45		475						0		0		37		13		533		-30		20						22		22		490		-24		10						34		-10		478		-34

		350		34		0		84		27		641		-27		24						51		10		519						0		0		30		0		567		-30		15						20		0		512		-24		0						34		-17		495		-34

		400		23		0		64		0		644		-34		23						51		0		530						0		0		41		0		577		-37		15						20		0		527		-24		0						34		-17		502		-34

		500		10		0		77		0		680		-30		10						48		0		547						0		0		34		0		588		-40		13						10		0		530		-24		0						34		-17		510		-34

				Total										Total										Intermediate strip/total charge

		Bias		Pos.(1)		Pos.(2)		Pos.(3)		Pos.(4)		Pos.(5)		normalised

		[Volt]												Pos.(1)		Pos.(2)		Pos.(3)		Pos.(4)		Pos.(5)		Pos.(1)		Pos.(2)		Pos.(3)		Pos.(4)		Pos.(5)

		50		135		88		99		70		142		0.2023988006		0.1514629948		0.1672297297		0.1328273245		0.2649253731		0.0740740741		0		0		0		0.1478873239

		100		212		173		202		174		239		0.3178410795		0.2977624785		0.3412162162		0.330170778		0.4458955224		0.0801886792		0.0867052023		0.1188118812		0.1954022989		0.1422594142

		150		283		262		273		279		440		0.4242878561		0.4509466437		0.4611486486		0.5294117647		0.8208955224		0.1413427562		0.141221374		0.1611721612		0.2078853047		0.0545454545

		200		411		348		420		408		502		0.616191904		0.5989672978		0.7094594595		0.7741935484		0.9365671642		0.1800486618		0.117816092		0.1380952381		0.0490196078		0.0298804781

		250		550		481		519		458		513		0.8245877061		0.8278829604		0.8766891892		0.8690702087		0.9570895522		0.1109090909		0.0914760915		0.0462427746		0.0218340611		0

		300		630		533		553		500		512		0.9445277361		0.917383821		0.9341216216		0.9487666034		0.9552238806		0.0587301587		0.0844277674		0.0235081374		0.044		-0.01953125

		350		665		570		582		512		529		0.9970014993		0.9810671256		0.9831081081		0.9715370019		0.9869402985		0.0406015038		0.0175438596		0		0		-0.0321361059

		400		667		581		592		527		536		1		1		1		1		1		0		0		0		0		-0.0317164179

		500		690		595		601		530		544		1.0344827586		1.0240963855		1.0152027027		1.0056925996		1.0149253731		0		0		0		0		-0.03125





		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0



Pos. 1

Pos. 2

Pos. 3

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0



0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0



0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0		0		0

		0		0		0		0

				0		0		0

				0		0		0



150 Volt

200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #760-761

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0		0		0

		0		0		0		0

				0		0		0

				0		0		0

				0		0		0

				0		0		0



Strip #120 of sector n. 6

Local position [µm]

Right charge/Total charge

Scan across strips #760-761

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

150 Volt

200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #760-761

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0		0		0

		0		0		0		0

				0		0		0

				0		0		0

				0		0		0

				0		0		0



150 Volt

200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #760-761

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0		0		0

		0		0		0		0

				0		0		0

				0		0		0

				0		0		0

				0		0		0

				0		0		0



150 Volt

200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #760-761

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		Time delay		Corrected time		Bias [V]		#120		Int 1		#121		Int 2																		0		0.08185		9.1672		112				0.261052		10		80

		70		55		250		0		0		68		0				0		0		0		610								1		0.168384		18.859008						0.431745		34.5396

		75		50				16		0		150		0				3		0.0512794593		31.2804701969										2		0.312367		34.985104						0.675746		54.05968

		80		45				34		0		245		-25				6		0.2672435413		163.0185601936										3		0.52869		59.21328						1.004992		80.39936

		85		40				54		0		369		-41				9		0.5875634723		358.4137180924										4		0.825982		92.509984						1.426173		114.09384

		90		35				123		32		560		0				12		0.9072872169		553.4452023										5		1.20452		134.90624						1.939189		155.13512

		95		30				154		40		688		0				15		1.1543795498		704.1715253543										6		1.656436		185.520832						2.536774		202.94192

		100		25				188		51		826		-28				18		1.299469696		792.6765145638										7		2.16761		242.77232						3.205258		256.42064

		105		20				199		74		792		0				21		1.3442508459		819.9930160187										8		2.720225		304.6652						3.926179		314.09432

		110		15				188		108		615		-5				24		1.3071636214		797.3698090352										9		3.295125		369.054						4.678293		374.26344

		115		10				176		131		421		79				27		1.2124429531		739.5902013697										10		3.873637		433.847344						5.439553		435.16424

		120		5				85		68		199		34				30		1.0834467691		660.9025291351										11		4.438771		497.142352						6.188773		495.10184

		125		0				0		0		0		0				33		0.9394191906		573.0457062512										12		4.97592		557.30304						6.906842		552.54736

																		36		0.7945091514		484.6505823432										13		5.473185		612.99672						7.577489		606.19912

																		39		0.6580501859		401.410613397										14		5.92143		663.20016						8.187653		655.01224

																		42		0.5354104702		326.6003867976										15		6.31416		707.18592						8.727551		698.20408

																		45		0.4289931162		261.6858008585										16		6.647297		744.497264						9.190552		735.24416

																		48		0.339164421		206.8902967894										17		6.91889		774.91568						9.57288		765.8304

																		51		0.2650152693		161.6593142647										18		7.128793		798.424816						9.873284		789.86272

																		54		0.2049346724		125.0101501754										19		7.278362		815.176544						10.092649		807.41192

																		57		0.1570118833		95.7772488293										20		7.370132		825.454784						10.233604		818.68832

																		60		0.1192986421		72.7721716988										21		7.407557		829.646384						10.300152		824.01216

																		63		0.0899657472		54.8791057793										22		7.394742		828.211104						10.297333		823.78664

																		66		0.0673846758		41.1046522082										23		7.336235		821.65832						10.230914		818.47312

																		69		0.050159177		30.597097963										24		7.236837		810.525744						10.107127		808.57016

																		72		0.0371256796		22.6466645667										25		7.101445		795.36184						9.932439		794.59512

																		75		0.0273359711		16.67494238										26		6.934925		776.7116						9.713365		777.0692

																																27		6.742013		755.105456						9.456316		756.50528

																																28		6.527242		731.051104						9.16749		733.3992

																																29		6.294873		705.025776						8.852766		708.22128

																																30		6.048868		677.473216						8.517644		681.41152

																																31		5.792859		648.800208						8.167207		653.37656

																																32		5.530137		619.375344						7.806094		624.48752

																																33		5.263647		589.528464						7.438483		595.07864

																																34		4.995998		559.551776						7.068093		565.44744

																																35		4.729472		529.700864						6.698193		535.85544

																																36		4.466033		500.195696						6.331631		506.53048

																																37		4.207353		471.223536						5.970841		477.66728

																																38		3.954834		442.941408						5.617879		449.43032

																																39		3.709625		415.478						5.274448		421.95584

																																40		3.472645		388.93624						4.941926		395.35408

																																41		3.244611		363.396432						4.621399		369.71192

																																42		3.026052		338.917824						4.313695		345.0956

																																43		2.817337		315.541744						4.019405		321.5524

																																44		2.618692		293.293504						3.738913		299.11304

																																45		2.43022		272.18464						3.472427		277.79416

																																46		2.251916		252.214592						3.219996		257.59968

																																47		2.083687		233.372944						2.981542		238.52336

																																48		1.925365		215.64088						2.756874		220.54992

																																49		1.776718		198.992416						2.545705		203.6564

																																50		1.637465		183.39608						2.347678		187.81424

																																51		1.507286		168.816032						2.162372		172.98976

																																52		1.38583		155.21296						1.989319		159.14552

																																53		1.272725		142.5452						1.828019		146.24152

																																54		1.167583		130.769296						1.677946		134.23568

																																55		1.070007		119.840784						1.538557		123.08456

																																56		0.979598		109.714976						1.409304		112.74432

																																57		0.895956		100.347072						1.289635		103.1708

																																58		0.818688		91.693056						1.179003		94.32024

																																59		0.747406		83.709472						1.076871		86.14968

																																60		0.681733		76.354096						0.982712		78.61696

																																61		0.621304		69.586048						0.896015		71.6812

																																62		0.565769		63.366128						0.816288		65.30304

																																63		0.51479		57.65648						0.743057		59.44456

																																64		0.468044		52.420928						0.675869		54.06952

																																65		0.425227		47.625424						0.614292		49.14336

																																66		0.386049		43.237488						0.557917		44.63336

																																67		0.350235		39.22632						0.506357		40.50856

																																68		0.317529		35.563248						0.459245		36.7396

																																69		0.287687		32.220944						0.416239		33.29912

																																70		0.260483		29.174096						0.377015		30.1612

																																71		0.235705		26.39896						0.341272		27.30176

																																72		0.213156		23.873472						0.308729		24.69832

																																73		0.19265		21.5768						0.279123		22.32984

																																74		0.174018		19.490016						0.25221		20.1768

																																75		0.157101		17.595312						0.227764		18.22112

																																76		0.141751		15.876112						0.205574		16.44592

																																77		0.127834		14.317408						0.185447		14.83576

																																78		0.115224		12.905088						0.167204		13.37632

																																79		0.103806		11.626272						0.150679		12.05432

																																80		0.093474		10.469088						0.13572		10.8576

																																81		0.084131		9.422672						0.122188		9.77504

																																82		0.075686		8.476832						0.109953		8.79624

																																83		0.068058		7.622496						0.098898		7.91184

																																84		0.061172		6.851264						0.088915		7.1132

																																85		0.054959		6.155408						0.079904		6.39232

																																86		0.049356		5.527872						0.071777		5.74216

																																87		0.044307		4.962384

																																88		0.039758		4.452896

																																89		0.035662		3.994144

																																90		0.031975		3.5812

																																91		0.028659		3.209808

																																92		0.025678		2.875936

																																93		0.022998		2.575776

																																94		0.020591		2.306192

																																95		0.018429		2.064048

																																96		0.016489		1.846768

																																97		0.014748		1.651776

																																98		0.013187		1.476944

																																99		0.011787		1.320144





		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0



0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0



0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0



Measured (hit strip)

Calculated

Adjacent strip

Intermediate routing line

Time [ns]

Amplitude [arb. units]

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0



Measured

Calculated

Time [ns]

Amplitude [arb. units]

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0




_1045926653.unknown

_1045983159.xls
Chart2

		20		25		50

		30		50		75

		40		75		100

		50		100		125

		75		150		150

		100		200		200

		120		250		250

		150		300		300

		200		350		400

		300



Strip #526

Strip #578

Strip #605

Bias [Volt]

Normalised CCE

0.4393305439

0.2632850242

0.1978891821

0.5815899582

0.5289855072

0.2770448549

0.7887029289

0.7898550725

0.4116094987

0.8577405858

0.8623188406

0.5118733509

0.9330543933

0.9323671498

0.7018469657

0.9623430962

0.9565217391

0.8654353562

0.9707112971

0.9637681159

0.9366754617

0.989539749

0.9806763285

0.9656992084

1

1

1

1.0125523013



General

		Sector #		Strip's range								1		128

		1		1-128								2		256

		2		129-256								3		384

		3		257-384								4		512

		4		385-512								5		640

		5		513-640								6		768

		6		641-768								7		896

		7		769-896								8		1024

		8		897-1024

		Measured strips:

		Sector #:		1		2		3		4		5		6		7		8





Sheet1

				Bias 200 V		Step posit.		Delta #85		Delta #86		Left Height		Right Height		Sum (L+R)		Eta		Integral		Predicted position		Residuals		Ideal eta

								[µm]		[µm]																0		0

		Strip #85 position		40.3		41		7		115		558		104		662		0.1570996979				18.8519637462		11.8519637462		120		1

		Strip #86 position		52.5		42		17		105		608		154		762		0.2020997375				24.2519685039		7.2519685039

						43		27		95		625		116		741		0.1565452092				18.7854251012		-8.2145748988

						44		37		85		608		227		835		0.2718562874				32.622754491		-4.377245509

						45		47		75		608		446		1054		0.4231499051				50.7779886148		3.7779886148

						46		57		65		568		548		1116		0.4910394265				58.9247311828		1.9247311828

						47		67		55		507		572		1079		0.5301204819				63.6144578313		-3.3855421687

						48		77		45		357		580		937		0.6189967983				74.2796157951		-2.7203842049

						49		87		35		170		570		740		0.7702702703				92.4324324324		5.4324324324

						50		97		25		187		608		795		0.7647798742				91.7735849057		-5.2264150943

						51		107		15		174		600		774		0.7751937984				93.023255814		-13.976744186

																								7.5058591589

																						7.5058591589

																						6

				Bias 200 V		Step posit.		Delta #85		Delta #86		Left Height		Right Height		Sum (L+R)		Eta		Integral						Ideal eta

								[µm]		[µm]																0		0

		Strip #85 position		41.7		43		13		105		755		170		925		0.1837837838								120		1

		Strip #86 position		53.5		44		23		95		778		178		956		0.1861924686

						45		33		85		770		244		1014		0.2406311637

						46		43		75		770		585		1355		0.4317343173

						47		53		65		711		689		1400		0.4921428571

						48		63		55		607		741		1348		0.5497032641

						49		73		45		452		741		1193		0.6211232188

						50		83		35		178		726		904		0.8030973451

						51		93		25		118		711		829		0.8576598311

						52		103		15		104		681		785		0.8675159236

						53		113		5		89		704		793		0.8877679697





Irradiated (4)

		Bias 250 V		Strip #		Centre		Distance		20 V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h		ideal				50 V		Pulse Left		Pulse Right		Pulse sum		h		200 V		Pulse Left		Pulse Right		Pulse sum		h				Volt scan		#85		#86		Total		Normalised

				85		31		110				33.5		25		85		128		12		140		0.0857142857		0		0				253		30		283		0.1060070671				373		16		389		0.0411311054				20		36		126		162		0.3884892086

				86		42						34.5		35		75		132		12		144		0.0833333333		110		1				233		24		257		0.093385214				341		25		366		0.0683060109				30		52		240		292		0.7002398082

												35.5		45		65		84		32		116		0.275862069								204		48		252		0.1904761905				325		50		375		0.1333333333				40		48		317		365		0.8752997602

												37		60		50		22		40		62		0.6451612903								36		76		112		0.6785714286				50		136		186		0.7311827957				50		48		371		407		0.9760191847

		#85		Amplitude		#86		Amplitude				37.5		65		45		40		84		124		0.6774193548								60		197		257		0.766536965				60		305		365		0.8356164384				75		36		380		412		0.9880095923

		39		417		28		417				38.5		75		35		28		152		180		0.8444444444								40		272		312		0.8717948718				32		401		433		0.9260969977				100		32		397		425		1.0191846523

		40		325		29		297				39.5		85		25		24		160		184		0.8695652174								44		281		325		0.8646153846				32		405		437		0.9267734554				120		28		413		441		1.0575539568

		41		50		30		60																																												150		28		417		417		1

		42		0		31		0

		43		68		32		32

		44		361		33		272

						34		409

		Bias 250 V		Strip #		Centre		Distance		20 V		Local coord.						Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h		ideal				50 V		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h		200 V		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h				Volt scan		#4		Int 1		#5		Int 2		Total		Normalised

				4		12.5		115				14.5		20		95		204		-28		36				240		0.15		0		0				333				36				369		0.0975609756				449		-64		48				497		0.0965794769				20		12		-24		200		-48		212		0.4265593561

				5		24						15.5		30		85		240		-36		44				284		0.1549295775		115		1				425		-64		72				497		0.1448692153				573		-112		64				637		0.1004709576				30		40				328		-52		368		0.7404426559

												16.5		40		75		212		-32		44				256		0.171875								373		-48		52				425		0.1223529412				525		-88		52				577		0.0901213172				40		24		-16		381		-88		405		0.814889336

												17.5		50		65		116		-8		48				164		0.2926829268								256		-24		104				360		0.2888888889				373		-64		120				493		0.2434077079				50		28		-24		425		-92		453		0.9114688129

		#4		Amplitude		#5		Amplitude				18.5		60		55		16				32				48		0.6666666667								32				72				104		0.6923076923				60				112				172		0.6511627907				75		16				445		-100		461		0.9275653924

		12		0		21		489				19.5		70		45		52				188		-16		240		0.7833333333								68				385		-48		453		0.8498896247				52				509		-96		561		0.9073083779				100		12		-28		457		-124		469		0.9436619718

		13		0		22		341				20.5		80		35		52				253		-16		305		0.8295081967								76				429		-52		505		0.8495049505				36				549		-96		585		0.9384615385				120		16		-20		465		-120		481		0.967806841

		14		132		23		84				21.5		90		25		28				204		-48		232		0.8793103448								36				393		-84		429		0.9160839161				28				501		-112		529		0.9470699433				150		12		-44		485		-132		497		1

		15		437		24		0

		16		517		25		0

						26		272

		Bias 250 V		Strip #		Centre		Distance		20 V		Local coord.						Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h		ideal				50 V		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h		200 V		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h

				5		24		110				26.5		25		85		197				36				233		0.1545064378		0		0				328				36				364		0.0989010989				445				32				477		0.0670859539

				6		35						27.5		35		75		152				28				180		0.1555555556		110		1				305				36				341		0.1055718475				449				36				485		0.0742268041

												28.5		45		65		116				36				152		0.2368421053								253				60				313		0.1916932907				413				100				513		0.1949317739

												29.5		55		55		44				28				72										60				36				96						72				32				104

												30.5		65		45		28				104				132		0.7878787879								52				212				264		0.803030303				72				345				417		0.8273381295

												31.5		75		35		36				160				196		0.8163265306								32				272				304		0.8947368421				28				405				433		0.935334873

												32.5		85		25		12				164				176		0.9318181818								32				333				365		0.9123287671				72				469				541		0.8669131238

		Bias 250 V		Strip #		Centre		Distance		20 V		Local coord.						Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h		ideal				50 Volt		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h		200 Volts		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h				Volt scan		#115		Int 1		#116		Int 2		Total		Normalised

				115		44		120				47.5		35		85		237				45				282		0.1595744681		0		0				396		-18		54				450		0.12				474		-31		41				515		0.0796116505				10		32		23		132		0		164		0.3326572008

				116		56						48.5		45		75		209		0		54				263		0.2053231939		120		1				387		-13		59				446		0.1322869955				460		-41		45				505		0.0891089109				20		41		25		241		0		282		0.5720081136

												49.5		55		65		128		13		54				182		0.2967032967								264				77				341		0.2258064516				360		-23		90				450		0.2				30		45		25		314		0		359		0.7281947262

												51		70		50		41		13		91				132										63		13		182				245						73		0		250				323		0.72				40		45		25		364		0		409		0.8296146045

		#115		Amplitude		#116		Amplitude				51.5		75		45		77		41		173				250		0.692								91		18		360				451		0.7982261641				91		0		461				552		0.8351449275				50		36		18		400		-13		436		0.8843813387

		42		506		54		483				52.5		85		35		54		30		214				268		0.7985074627								54		23		383				437		0.8764302059				32		-23		460				492		0.9349593496				60		25		0		419		-23		444		0.9006085193

		43		410		55		287				53.5		95		25		41		25		241				282		0.8546099291								36		18		400		-13		436		0.9174311927				27				460		-23		487		0.9445585216				80		27		0		442		-23		469		0.9513184584

		44		77		56		0																																																								100		27		0		446		-23		473		0.9594320487

		45		455		57		0																																																								150		23		0		455		-27		478		0.9695740365

		46		488		58		145																																																								200		27				460		-18		487		0.9878296146

						59		469																																																								300		23				470		-30		493		1





Irradiated (4)

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

				0

				0

				0



0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



Irradiated (5) 

		0		0		0		0

		0		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0



20 Volt

50 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #388-389

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



Irr. corr (5)

		0		0		0		0

		0		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0



0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



Irr. corr. (6)

		Bias 250 V		Strip #		Centre		Distance		100 V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h		ideal				200 V		Pulse Left		Pulse Right		Pulse sum		h		300 V		Pulse Left		Pulse Right		Pulse sum		h				Volt scan		#13		#14		Total		Normalised						Strip #5		Volt scan		Normalised

				13		8.5		110				11		25		85		351		0		351		0		0		0				369		0		369		0				364		0		364		0				20		5		205		210		0.4338842975						10		140		0.2868852459

				14		19.5						12		35		75		387		0		387		0		110		1				414		0		414		0				414		0		414		0				30		5		273		278		0.5743801653						30		285		0.5840163934

												13		45		65		328		27		355		0.076056338								374		15		389		0.0385604113				383		24		407		0.058968059				40		54		323		377		0.7789256198						50		393		0.8053278689

												14		55		55		154		73		227		0.3215859031								164		59		223		0.264573991				173		68		241		0.2821576763				50		45		360		405		0.8367768595						70		434		0.8893442623

		#13		Amplitude		#14		Amplitude				15		65		45		54		223		277		0.8050541516								63		264		327		0.8073394495				82		278		360		0.7722222222				75		41		405		446		0.9214876033						100		454		0.9303278689

		6		364		17		351				16		75		35		36		378		414		0.9130434783								36		424		460		0.9217391304				32		424		456		0.9298245614				100		32		428		460		0.9504132231						150		468

		7		164		18		164				17		85		25		23		414		437		0.9473684211								23		460		483		0.9523809524				20		464		484		0.958677686				120		23		437		460		0.9504132231						200		485		0.993852459

		8		30		19		0																																												150		27		446		473		0.9772727273						300		488		1

		9		0		20		0																																												200		23		455		478		0.9876033058

		10		209		21		196																																												300		20		464		484		1

		11		370		22		392

		Bias 250 V		Strip #		Centre		Distance		50 V		Local coord.						(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				200 V		Pulse Left		Pulse Right		Pulse sum		h		300 V		Pulse Left		Pulse Right		Pulse sum		h				Volt scan		#33		#34		Total		Normalised

				13		4.8		112				8		32		80		31		334		71		405		0.175308642		0		0				427		-17		410		0				434		-17		417		0				10		48		97		145		0.3325688073				30		112		20		31		163

				14		16						9		42		70		34		317		51		368		0.1385869565		112		1				427		31		458		0.0676855895				458		24		482		0.0497925311				20		51		184		235		0.5389908257				50		157		31		41		229

												10		52		60		0		68		34		102		0.3333333333								89		37		126		0.2936507937				99		34		133		0.2556390977				30		54		263		317		0.7270642202				100		291		51		85		427

												11		62		50		0		65		195		260		0.75								61		266		327		0.8134556575				61		260		321		0.8099688474				50		37		345		382		0.876146789				130		372		58		103		533

		#33		Amplitude		#34		Amplitude				12		72		40		0		51		308		359		0.8579387187								34		413		447		0.9239373602				34		430		464		0.9267241379				75		27		389		416		0.9541284404				150		530		50		109		689

		2		445		13		451				13		82		30		0		37		342		379		0.9023746702								27		427		454		0.9405286344				10		447		457		0.9781181619				100		24		400		424		0.9724770642				200		567		44		65		676

		3		191		14		214																																														125		24		417		441		1.0114678899				250		605		31				636

		4		41		15		41																																														150		20		420		440		1.0091743119				300		612		31				643

		5		34		16		34																																														200		20		424		444		1.0183486239

		6		68		17		58																																														300		20		436		456		1.0458715596

		7		413		18		330

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.						#120		Int 1		#121		Int 2		#122		Int 3		Pulse sum		h		ideal				200 V		#120		Int 1		#121		Int 2		#122		Int 3		Pulse sum		h		400 V		#120		Int 1		#121		Int 2		#122		Int 3		Pulse sum		h						Volt scan		#120		Int 1		#121		Int 2		#122		Total		Normalised

				121		40		117				43		30		87		30		24		167		24		48		17		215		0.223255814		0		0				24		20		266		10		34		0		300		0.1133333333				10		0		372		-24		20		0		392		0.0510204082						50		0		0		61		0		24		85		0.2093596059

				122		51.7						44		40		77		24		15		140		31		54		117		194		0.2783505155		117		1				27		15		242		27		58		0		300		0.1933333333				0		0		376		-24		31		0		407		0.0761670762						100		20		0		106		0		34		140		0.3448275862

												45		50		67		24		20		99		37		65		0		164		0.3963414634								15		0		171		44		75		0		246		0.3048780488				10		0		311		0		75		0		386		0.1943005181						150		27		10		157		24		48		205		0.5049261084

												47		70		47		0		0		58		41		95		0		153		0.6209150327								0		0		68		48		146		0		214		0.6822429907				0		0		61		17		270		0		331		0.8157099698						200		20		10		253		10		34		287		0.7068965517

		#121		Amplitude		#122		Amplitude				48		80		37		0		0		65		41		143		10		208		0.6875								0		0		58		41		229		0		287		0.7979094077				0		0		34		0		366		-13		400		0.915						250		10		5		317		0		27		344		0.8472906404

		38		345		49		366				49		90		27		0		0		51		34		157		0		208		0.7548076923								0		0		44		27		266		0		310		0.8580645161				0		0		27		0		376		-17		403		0.9330024814						300		0		0		349		0		31		380		0.9359605911

		39		37		50		201																																																																						350		0		0		362		-15		27		389		0.9581280788

		40		30		51		34																																																																						400		0		0		372		-17		34		406		1

		41		34		52		24																																																																						500		0		0		383		-20		27		410		1.0098522167

		42		195		53		58

		43		362		54		342

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.						(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				200 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		400 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h						Volt scan		#109		#110		Total		Normalised

				109		12.4		116				15		26		90		31		178		51		229		0.2227074236		0		0				15		280		24		304		0.0789473684						369		0		369		0						50		65		0		65		0.1747311828

				110		24						16		36		80		24		154		58		212		0.2735849057		116		1				24		263		41		304		0.1348684211						372		0		372		0						100		123		37		160		0.4301075269

												17		46		70		20		123		71		194		0.3659793814								30		215		71		286		0.2482517483						331		41		372		0.1102150538						150		171		51		222		0.5967741935

												19		66		50		0		68		95		163		0.5828220859								0		71		146		217		0.6728110599						58		242		300		0.8066666667						200		287		24		311		0.8360215054

		#109		Amplitude		#110		Amplitude				20		76		40		0		68		146		214		0.6822429907								0		58		242		300		0.8066666667						34		338		372		0.9086021505						250		334		0		334		0.8978494624

		10		308		21		291				21		86		30		0		58		167		225		0.7422222222								0		44		259		303		0.8547854785						0		345		345		1						300		351		0		351		0.9435483871

		11		37		22		208																																																				350		366		0		366		0.9838709677

		12		0		23		31																																																				400		372		0		372		1

		13		0		24		27																																																				500		383		0		383		1.0295698925

		14		225		25		31

		15		321		26		235

						27		285

		Bias 250 V		Strip #		Centre		Distance		100 V		Local coord.						(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				300 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		400 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h						Volt scan		#72		#73		Total		Normalised

				72		29.1		114				31.5		24		90				253		34		287		0.118466899		0		0						355		1		356		0.0028089888						0		0		0		0						25		44		20		64		0.170212766

				73		40.5						32.5		34		80				242		48		290		0.1655172414		114		1						386		1		387		0.0025839793																		50		95		41		136		0.3617021277

												33.5		44		70				150		78		228		0.3421052632										280		41		321		0.1277258567																		75		150		58		208		0.5531914894

												35.5		64		50				54		120		174		0.6896551724										51		222		273		0.8131868132																		100		240		51		291		0.7739361702

		#72		Amplitude		#73		Amplitude				36.5		74		40				68		215		283		0.7597173145										17		376		393		0.9567430025																		125		311		27		338		0.8989361702

		27		249		38		311				37.5		84		30				41		253		294		0.8605442177										1		386		387		0.9974160207																		150		342		10		352		0.9361702128

		28		71		39		106				38		89		25				41		249		290		0.8586206897										20		355		375		0.9466666667																		200		355		10		365		0.9707446809

		28.5		25		40		20																																																				300		376		0		376		1

		29		0		41		31																																																				400		383		0		383		1.0186170213

		30		58		42		154

		31		256		43		334

		Bias 250 V		Strip #		Centre		Distance		100 V		Local coord.						(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				150 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		300 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		200 V		Pulse Left		Pulse Right		Pulse sum		h		Volt scan		#92		#93		Total		Normalised

				92		37.8		116				40		22		94		20		146		41		187		0.2192513369		0		0						259		24		283		0.0848056537						352		1		353		0.0028328612				331		5		336		0.0148809524		50		65		10		75		0.2049180328

				93		49.4						41		32		84		20		140		44		184		0.2391304348		116		1						246		34		280		0.1214285714						369		1		370		0.0027027027				334		5		339		0.0147492625		75		95		10		105		0.2868852459

												42		42		74		24		112		51		163		0.3128834356										208		65		273		0.2380952381						355		1		356		0.0028089888				300		34		334		0.1017964072		100		129		27		156		0.4262295082

												44.5		67		49		0		68		89		157		0.5668789809										82		143		225		0.6355555556						65		256		321		0.7975077882				71		215		286		0.7517482517		125		167		27		194		0.5300546448

		#92		Amplitude		#93		Amplitude				45		72		44				71		103		174		0.591954023										78		198		276		0.7173913043						37		334		371		0.9002695418				54		291		345		0.8434782609		150		236		30		266		0.7267759563

		35		352		47		345				46		82		34				54		123		177		0.6949152542										54		236		290		0.8137931034						1		370		371		0.9973045822				41		328		369		0.8888888889		200		328		0		328		0.8961748634

		36		143		48		68				47		92		24				48		133		181		0.7348066298										48		259		307		0.8436482085						10		359		369		0.972899729				35		331		366		0.9043715847		250		355		0		355		0.9699453552

		37		17		49		0																																																										300		366		0		366		1

		38		17		49.5		0																																																										400		379		0		379		1.0355191257

		39		95		50		0

		40		325		51		116

						52		321

		Bias 250 V		Strip #		Centre		Distance		20 V		Local coord.						(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				50 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		200 V		Pulse Left		Pulse Right		Pulse sum		h								Volt scan		#32		#33		Total		Normalised

				32		43.2		108				45.5		23		85		24		188		30		218		0.1376146789		0		0				24		317		1		318		0.0031446541				400		1		401		0.0024937656								10		89		41		130		0.3147699758

				33		54						46.5		33		75		20		174		44		218		0.2018348624		108		1				20		325		10		335		0.0298507463				410		1		411		0.00243309								20		171		41		212		0.5133171913

												47.5		43		65		24		123		65		188		0.3457446809								20		242		54		296		0.1824324324				342		37		379		0.0976253298								30		232		34		266		0.6440677966

												49		58		50		0		41		58		99		0.5858585859										44		109		153		0.7124183007				51		164		215		0.7627906977								50		321		0		321		0.7772397094

		#32		Amplitude		#33		Amplitude				49.5		63		45				68		116		184		0.6304347826										68		212		280		0.7571428571				65		297		362		0.820441989								75		362		0		362		0.8765133172

		40		393		51		413				50.5		73		35				58		157		215		0.7302325581										44		297		341		0.8709677419				24		389		413		0.9418886199								100		383		0		383		0.9273607748

		41		181		52		291				51		78		30				48		164		212		0.7735849057										41		304		345		0.8811594203				15		393		408		0.9632352941								150		396		0		396		0.9588377724

		42		31		53		51																																																				200		413		0		413		1

		43		24		54		17																																																				300		420		0		420		1.0169491525

		44		80		55		50

		45		359		56		280

						57		403

		Bias 250 V		Strip #		Centre		Distance		50 V		Local coord.						(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				100 V		Pulse Left		Pulse Right		Pulse sum		h		300 V		Pulse Left		Pulse Right		Pulse sum		h										Volt scan		#53		#54		#55		#56		Total		Normalised

				54		39		110				42.5		35		75		24		259		37		296		0.125		0		0				352		1		353		0.0028328612				400		1		401		0.0024937656										10		13		27		41		13		68		0.17

				55		50						43		40		70		24		222		48		270		0.1777777778		110		1				331		1		332		0.0030120482				393		1		394		0.0025380711										25		20		61		109		20		170		0.425

												44		50		60		0		123		58		181		0.320441989								195		44		239		0.1841004184				239		41		280		0.1464285714										50				266		41				307		0.7675

												45.5		65		45		0		51		116		167		0.6946107784								42		178		220		0.8090909091				61		215		276		0.7789855072										75				334		14				348		0.87

		#54		Amplitude		#55		Amplitude				46		70		40				70		201		271		0.741697417								51		308		359		0.8579387187				51		355		406		0.8743842365										100				359		0				359		0.8975

		37		352		47		400				47		80		30				43		260		303		0.8580858086								17		355		372		0.9543010753				1		400		401		0.9975062344										150				372		0				372		0.93

		38		44		48		280																																																				200				383		0				383		0.9575

		39		27		49		41																																																				250				396		0				396		0.99

		40		51		50		20																																																				300				400		0				400		1

		41		266		51		51								512		63		575																																								400				406						406		1.015

		42		390		52		273

						53		410

		Bias 250 V		Strip #		Centre		Distance		50 V		Local coord.						(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				100 V		Pulse Left		Pulse Right		Pulse sum		h		250 V		Pulse Left		Pulse Right		Pulse sum		h										Volt scan		#64		#65		Total		Normalised

				63		1		120				4.5		35		85		37		161		65		226		0.2876106195		0		0				317		1		318		0.0031446541				376		1		377		0.0026525199										25		34		75		109		0.2632850242

				64		13						5.5		45		75		30		137		82		219		0.3744292237		120		1				297		54		351		0.1538461538				376		15		391		0.0383631714										50		55		164		219		0.5289855072

												6		50		70		0		123		78		201		0.3880597015								249		58		307		0.1889250814				325		41		366		0.1120218579										75		37		290		327		0.7898550725

												7.5		65		55		0		38		51		89		0.5730337079								40		106		146		0.7260273973				51		129		180		0.7166666667										100		27		330		357		0.8623188406

		#63		Amplitude		#64		Amplitude				8		70		50				71		103		174		0.591954023								61		242		303		0.798679868				58		300		358		0.8379888268										150		27		359		386		0.9323671498

		-1		352		10		400				9		80		40				75		143		218		0.6559633028								41		325		366		0.8879781421				31		372		403		0.9230769231										200		24		372		396		0.9565217391

		0		44		11		280				10		90		30				51		164		215		0.7627906977								34		334		368		0.9076086957				20		389		409		0.9511002445										250		20		379		399		0.9637681159

		1		27		12		41																																																				300		24		382		406		0.9806763285

		2		51		13		20																																																				350		24		390		414		1

		3		266		14		51

		4		390		15		273





Irradiated (6)

		Bias 250 V		Strip #		Centre		Distance		100 V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h		ideal				200 V		Pulse Left		Pulse Right		Pulse sum		h		300 V		Pulse Left		Pulse Right		Pulse sum		h				Volt scan		#13		#14		Total		Normalised						Strip #5		Volt scan		Normalised

				13		8.5		110				11		25		85		351		17		368		0.0461956522		0		0				369		17		386		0.0440414508				364		17		381		0.0446194226				20		5		205		210		0.4338842975						10		140		0.2868852459

				14		19.5						12		35		75		387		24		411		0.0583941606		110		1				414		24		438		0.0547945205				414		24		438		0.0547945205				30		5		273		278		0.5743801653						30		285		0.5840163934

												13		45		65		328		54		382		0.1413612565								374		55		429		0.1282051282				383		48		431		0.1113689095				40		54		323		377		0.7789256198						50		393		0.8053278689

												14		55		55		154		73		227		0.3215859031								164		59		223		0.264573991				173		68		241		0.2821576763				50		45		360		405		0.8367768595						70		434		0.8893442623

		#13		Amplitude		#14		Amplitude				15		65		45		54		223		277		0.8050541516								63		264		327		0.8073394495				82		278		360		0.7722222222				75		41		405		446		0.9214876033						100		454		0.9303278689

		6		364		17		351				16		75		35		36		378		414		0.9130434783								36		424		460		0.9217391304				32		424		456		0.9298245614				100		32		428		460		0.9504132231						150		468

		7		164		18		164				17		85		25		23		414		437		0.9473684211								23		460		483		0.9523809524				20		464		484		0.958677686				120		23		437		460		0.9504132231						200		485		0.993852459

		8		30		19		0																																												150		27		446		473		0.9772727273						300		488		1

		9		0		20		0																																												200		23		455		478		0.9876033058

		10		209		21		196																																												300		20		464		484		1

		11		370		22		392

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.						#120		Int 1		#121		Int 2		#122		Int 3		Pulse sum		h		ideal				200 V		#120		Int 1		#121		Int 2		#122		Int 3		Pulse sum		h		400 V		#120		Int 1		#121		Int 2		#122		Int 3		Pulse sum		h						Volt scan		#120		Int 1		#121		Int 2		#122		Total		Normalised

				121		40		117				43		30		87		30		24		167		24		48		17		215		0.223255814		0		0				24		20		266		10		34		0		300		0.1133333333				10		0		372		-24		20		0		392		0.0510204082						50		0		0		61		0		24		85		0.2093596059

				122		51.7						44		40		77		24		15		140		31		54		117		194		0.2783505155		117		1				27		15		242		27		58		0		300		0.1933333333				0		0		376		-24		31		0		407		0.0761670762						100		20		0		106		0		34		140		0.3448275862

												45		50		67		24		20		99		37		65		0		164		0.3963414634								15		0		171		44		75		0		246		0.3048780488				10		0		311		0		75		0		386		0.1943005181						150		27		10		157		24		48		205		0.5049261084

												47		70		47		0		0		58		41		95		0		153		0.6209150327								0		0		68		48		146		0		214		0.6822429907				0		0		61		17		270		0		331		0.8157099698						200		20		10		253		10		34		287		0.7068965517

		#121		Amplitude		#122		Amplitude				48		80		37		0		0		65		41		143		10		208		0.6875								0		0		58		41		229		0		287		0.7979094077				0		0		34		0		366		-13		400		0.915						250		10		5		317		0		27		344		0.8472906404

		38		345		49		366				49		90		27		0		0		51		34		157		0		208		0.7548076923								0		0		44		27		266		0		310		0.8580645161				0		0		27		0		376		-17		403		0.9330024814						300		0		0		349		0		31		380		0.9359605911

		39		37		50		201																																																																						350		0		0		362		-15		27		389		0.9581280788

		40		30		51		34																																																																						400		0		0		372		-17		34		406		1

		41		34		52		24																																																																						500		0		0		383		-20		27		410		1.0098522167

		42		195		53		58

		43		362		54		342

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.						(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				200 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		400 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h						Volt scan		#109		#110		Total		Normalised

				109		12.4		116				15		26		90		31		178		51		229		0.2227074236		0		0				15		280		24		304		0.0789473684						369		15		384		0.0390625						50		65		0		65		0.1747311828

				110		24						16		36		80		24		154		58		212		0.2735849057		116		1				24		263		41		304		0.1348684211						372		24		396		0.0606060606						100		123		37		160		0.4301075269

												17		46		70		20		123		71		194		0.3659793814								30		215		71		286		0.2482517483						331		41		372		0.1102150538						150		171		51		222		0.5967741935

												19		66		50		0		68		95		163		0.5828220859								0		71		146		217		0.6728110599						58		242		300		0.8066666667						200		287		24		311		0.8360215054

		#109		Amplitude		#110		Amplitude				20		76		40		0		68		146		214		0.6822429907								0		58		242		300		0.8066666667						34		338		372		0.9086021505						250		334		0		334		0.8978494624

		10		308		21		291				21		86		30		0		58		167		225		0.7422222222								0		44		259		303		0.8547854785						15		345		360		0.9583333333						300		351		0		351		0.9435483871

		11		37		22		208																																																				350		366		0		366		0.9838709677

		12		0		23		31																																																				400		372		0		372		1

		13		0		24		27																																																				500		383		0		383		1.0295698925

		14		225		25		31

		15		321		26		235

						27		285

		Bias 250 V		Strip #		Centre		Distance		100 V		Local coord.						(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				300 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		400 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h						Volt scan		#72		#73		Total		Normalised

				72		29.1		114				31.5		24		90				253		34		287		0.118466899		0		0						355		14		369		0.0379403794						0		0		0		0						25		44		20		64		0.170212766

				73		40.5						32.5		34		80				242		48		290		0.1655172414		114		1						386		25		411		0.0608272506																		50		95		41		136		0.3617021277

												33.5		44		70				150		78		228		0.3421052632										280		56		336		0.1666666667																		75		150		58		208		0.5531914894

												35.5		64		50				54		120		174		0.6896551724										51		222		273		0.8131868132																		100		240		51		291		0.7739361702

		#72		Amplitude		#73		Amplitude				36.5		74		40				68		215		283		0.7597173145										17		376		393		0.9567430025																		125		311		27		338		0.8989361702

		27		249		38		311				37.5		84		30				41		253		294		0.8605442177										1		386		387		0.9974160207																		150		342		10		352		0.9361702128

		28		71		39		106				38		89		25				41		249		290		0.8586206897										20		355		375		0.9466666667																		200		355		10		365		0.9707446809

		28.5		25		40		20																																																				300		376		0		376		1

		29		0		41		31																																																				400		383		0		383		1.0186170213

		30		58		42		154

		31		256		43		334

		Bias 250 V		Strip #		Centre		Distance		100 V		Local coord.						(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				150 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		300 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		200 V		Pulse Left		Pulse Right		Pulse sum		h		Volt scan		#92		#93		Total		Normalised

				92		37.8		116				40		22		94		20		146		41		187		0.2192513369		0		0						259		24		283		0.0848056537						352		15		367		0.0408719346				331		20		351		0.056980057		50		65		10		75		0.2049180328

				93		49.4						41		32		84		20		140		44		184		0.2391304348		116		1						246		34		280		0.1214285714						369		27		396		0.0681818182				334		29		363		0.0798898072		75		95		10		105		0.2868852459

												42		42		74		24		112		51		163		0.3128834356										208		65		273		0.2380952381						355		36		391		0.0920716113				300		55		355		0.1549295775		100		129		27		156		0.4262295082

												44.5		67		49		0		68		89		157		0.5668789809										82		143		225		0.6355555556						65		256		321		0.7975077882				71		215		286		0.7517482517		125		167		27		194		0.5300546448

		#92		Amplitude		#93		Amplitude				45		72		44				71		103		174		0.591954023										78		198		276		0.7173913043						37		334		371		0.9002695418				54		291		345		0.8434782609		150		236		30		266		0.7267759563

		35		352		47		345				46		82		34				54		123		177		0.6949152542										54		236		290		0.8137931034						1		370		371		0.9973045822				41		328		369		0.8888888889		200		328		0		328		0.8961748634

		36		143		48		68				47		92		24				48		133		181		0.7348066298										48		259		307		0.8436482085						10		359		369		0.972899729				35		331		366		0.9043715847		250		355		0		355		0.9699453552

		37		17		49		0																																																										300		366		0		366		1

		38		17		49.5		0																																																										400		379		0		379		1.0355191257

		39		95		50		0

		40		325		51		116

						52		321

		Bias 250 V		Strip #		Centre		Distance		20 V		Local coord.						(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				50 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		200 V		Pulse Left		Pulse Right		Pulse sum		h								Volt scan		#32		#33		Total		Normalised

				32		43.2		108				45.5		23		85		24		188		30		218		0.1376146789		0		0				24		317		14		331		0.0422960725				400		15		415		0.0361445783								10		89		41		130		0.3147699758

				33		54						46.5		33		75		20		174		44		218		0.2018348624		108		1				20		325		30		355		0.0845070423				410		25		435		0.0574712644								20		171		41		212		0.5133171913

												47.5		43		65		24		123		65		188		0.3457446809								20		242		74		316		0.2341772152				342		37		379		0.0976253298								30		232		34		266		0.6440677966

												49		58		50		0		41		58		99		0.5858585859										44		109		153		0.7124183007				51		164		215		0.7627906977								50		321		0		321		0.7772397094

		#32		Amplitude		#33		Amplitude				49.5		63		45				68		116		184		0.6304347826										68		212		280		0.7571428571				65		297		362		0.820441989								75		362		0		362		0.8765133172

		40		393		51		413				50.5		73		35				58		157		215		0.7302325581										44		297		341		0.8709677419				24		389		413		0.9418886199								100		383		0		383		0.9273607748

		41		181		52		291				51		78		30				48		164		212		0.7735849057										41		304		345		0.8811594203				15		393		408		0.9632352941								150		396		0		396		0.9588377724

		42		31		53		51																																																				200		413		0		413		1

		43		24		54		17																																																				300		420		0		420		1.0169491525

		44		80		55		50

		45		359		56		280

						57		403

		Bias 250 V		Strip #		Centre		Distance		50 V		Local coord.						(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				100 V		Pulse Left		Pulse Right		Pulse sum		h		300 V		Pulse Left		Pulse Right		Pulse sum		h										Volt scan		#53		#54		#55		#56		Total		Normalised

				54		39		110				42.5		35		75		24		259		37		296		0.125		0		0				352		15		367		0.0408719346				400		17		417		0.0407673861										10		13		27		41		13		68		0.17

				55		50						43		40		70		24		222		48		270		0.1777777778		110		1				331		25		356		0.0702247191				393		29		422		0.0687203791										25		20		61		109		20		170		0.425

												44		50		60		0		123		58		181		0.320441989								195		55		250		0.22				239		61		300		0.2033333333										50				266		41				307		0.7675

												45.5		65		45		0		51		116		167		0.6946107784								42		178		220		0.8090909091				61		215		276		0.7789855072										75				334		14				348		0.87

		#54		Amplitude		#55		Amplitude				46		70		40				70		201		271		0.741697417								51		308		359		0.8579387187				51		355		406		0.8743842365										100				359		0				359		0.8975

		37		352		47		400				47		80		30				43		260		303		0.8580858086								17		355		372		0.9543010753				1		400		401		0.9975062344										150				372		0				372		0.93

		38		44		48		280																																																				200				383		0				383		0.9575

		39		27		49		41																																																				250				396		0				396		0.99

		40		51		50		20																																																				300				400		0				400		1

		41		266		51		51								512		63		575																																								400				406						406		1.015

		42		390		52		273

						53		410

		Bias 250 V		Strip #		Centre		Distance		50 V		Local coord.						(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				100 V		Pulse Left		Pulse Right		Pulse sum		h		250 V		Pulse Left		Pulse Right		Pulse sum		h										Volt scan		#64		#65		Total		Normalised

				63		1		120				4.5		35		85		37		161		65		226		0.2876106195		0		0				317		15		332		0.0451807229				376		15		391		0.0383631714										25		34		75		109		0.2632850242

				64		13						5.5		45		75		30		137		82		219		0.3744292237		120		1				297		50		347		0.144092219				376		39		415		0.0939759036										50		55		164		219		0.5289855072

												6		50		70		0		123		78		201		0.3880597015								249		54		303		0.1782178218				325		61		386		0.1580310881										75		37		290		327		0.7898550725

												7.5		65		55		0		38		51		89		0.5730337079								40		106		146		0.7260273973				51		129		180		0.7166666667										100		27		330		357		0.8623188406

		#63		Amplitude		#64		Amplitude				8		70		50				71		103		174		0.591954023								61		242		303		0.798679868				58		300		358		0.8379888268										150		27		359		386		0.9323671498

		-1		352		10		400				9		80		40				75		143		218		0.6559633028								41		325		366		0.8879781421				31		372		403		0.9230769231										200		24		372		396		0.9565217391

		0		44		11		280				10		90		30				51		164		215		0.7627906977								34		334		368		0.9076086957				20		389		409		0.9511002445										250		20		379		399		0.9637681159

		1		27		12		41																																																				300		24		382		406		0.9806763285

		2		51		13		20																																																				350		24		390		414		1

		3		266		14		51

		4		390		15		273





Irradiated (6)

		0		1		0

		0				0

		0				0

		0				0

		0				0

		0				0

		0				0

		0				0

		0

		0



0

1

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



Irr. (7)

		

		Vfd

		Normalised		10		30		50		70		120

		50		0.2016		0.2		0.1500938086		0.1529411765		0.2610294118

		100		0.3248		0.2585365854		0.3114446529		0.3025210084		0.4393382353

		150		0.4832		0.4170731707		0.4671669794		0.4352941176		0.8088235294

		200		0.656		0.6		0.6303939962		0.6268907563		0.9227941176

		250		0.8032		0.8097560976		0.8105065666		0.7613445378		0.9430147059

		300		0.9104		0.856097561		0.8780487805		0.8789915966		0.9411764706

		350		0.928		0.8902439024		0.9099437148		0.9176470588		0.9724264706

		400		0.9696		0.9268292683		0.9230769231		0.9193277311		0.9852941176

		500		1		1		1		1		1

		Strip #		VFD

		10

		30

		50

		70

		120

		Eta scan		#10		#11

								D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		Norm. pulse

								20		90		239		62		301		0.2059800664		0		0				20		90		409		59		468		0.1260683761		0.6688888889

								30		80		350		76		426		0.1784037559		110		1				30		80		582		32		614		0.0521172638		0.9466666667

								40		70		298		104		402		0.2587064677								40		70		520		60		580		0.1034482759		0.8933333333

								50		60		149		83		232		0.3577586207								50		60		270		76		346		0.2196531792		0.5155555556

								60		50		90		152		242		0.6280991736								60		50		100		281		381		0.7375328084		0.5377777778

								70		40		118		291		409		0.7114914425								70		40		80		544		624		0.8717948718		0.9088888889

								80		30		94		357		451		0.7915742794								80		30		55		564		619		0.9111470113		1.0022222222

								90		20		80		277		357		0.7759103641								90		20		76		447		523		0.8546845124		0.7933333333

				#30		#31		200 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		Norm. pulse

										20		90		114		61		175		0.3485714286		0		0				20		90		195		58		253		0.2292490119		0.6730769231

										30		80		168		47		215		0.2186046512		110		1				30		80		309		15		324		0.0462962963		0.8269230769

										40		70		160		75		235		0.3191489362								40		70		328		27		355		0.076056338		0.9038461538

										50		60		95		73		168		0.4345238095								50		60		161		58		219		0.2648401826		0.6461538462

										60		50		39		65		104		0.625								60		50		56		91		147		0.619047619		0.4

										70		40		58		147		205		0.7170731707								70		40		51		303		354		0.8559322034		0.7884615385

										80		30		52		203		255		0.7960784314								80		30		15		372		387		0.9612403101		0.9807692308

										90		20		42		198		240		0.825								90		20		10		367		377		0.9734748011		0.9230769231

				#50		#51		200 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		Norm. pulse

										20		90		253		45		298		0.1510067114		0		0				20		90		429		24		453		0.0529801325		0.903030303

										30		80		225		55		280		0.1964285714		110		1				30		80		423		32		455		0.0703296703		0.8484848485

										40		70		177		86		263		0.3269961977								40		70		385		72		457		0.1575492341		0.796969697

										50		60		0		0		0										50		60		0		0		0		0		0

										60		50		62		128		190		0.6736842105								60		50		69		267		336		0.7946428571		0.5757575758

										70		40		83		232		315		0.7365079365								70		40		42		461		503		0.916500994		0.9545454545

										80		30		52		277		329		0.8419452888								80		30		28		461		489		0.9427402863		0.996969697

										90		20		55		270		325		0.8307692308								90		20		24		468		492		0.9512195122		0.9848484848

				#70		#71		200 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		Norm. pulse

										20		95		263		55		318		0.1729559748		0		0				20		95		395		59		454		0.1299559471		0.7066666667

										30		85		374		42		416		0.1009615385		115		1				30		85		547		20		567		0.0352733686		0.9244444444

										40		75		315		76		391		0.1943734015								40		75		550		38		588		0.0646258503		0.8688888889

										50		65		121		55		176		0.3125								50		65		204		58		262		0.2213740458		0.3911111111

										60		55		48		50		98		0.5102040816								60		55		59		83		142		0.5845070423		0.2177777778

										70		45		114		253		367		0.689373297								70		45		66		499		565		0.8831858407		0.8155555556

										80		35		76		333		409		0.8141809291								80		35		38		561		599		0.9365609349		0.9088888889

										90		25		66		381		447		0.8523489933								90		25		34		513		547		0.9378427788		0.9933333333

				#120		#121		200 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		Norm. pulse

										20		100		346		121		467		0.2591006424		0		0				20		100		377		135		512		0.263671875		0.6867647059

										30		90		616		59		675		0.0874074074		115		1				30		90		682		48		730		0.0657534247		0.9926470588

										40		80		616		62		678		0.0914454277								40		80		665		52		717		0.0725244073		0.9970588235

										50		70		308		55		363		0.1515151515								50		70		385		66		451		0.1463414634		0.7117647059

										60		60		59		59		118		0.5								60		60		66		66		132		0.5		0.231372549

										70		50		90		360		450		0.8								70		50		86		450		536		0.8395522388		0.8823529412

										80		40		59		450		509		0.884086444								80		40		42		520		562		0.9252669039		0.9980392157

										90		30		38		468		506		0.9249011858								90		30		28		523		551		0.9491833031		0.9921568627

				Sample of metal strip scan

		#10		#10		Amplitude		Norm. ampl.

		25.5		0		491		0.982

		26		5		376		0.752

		26.5		10		173		0.346

		27.5		20		0		0

		28		25		0		0

		28.5		30		0		0

		29.5		40		108.6		0.2172

		30		45		310		0.62

		30.5		50		472		0.944

		Strip		#90		#91		200 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		Pulse Left		Pulse Right		Pulse sum		h

										38		30		87.5		329		38		367		0.1035422343		0		0				436		14		450		0.0311111111

										39		40		77.5		281		69		350		0.1971428571		117.5		1				433		25		458		0.0545851528

										40		50		67.5		142		83		225		0.3688888889								235		76		311		0.2443729904

										41		60		57.5		52		86		138		0.6231884058								38		136		174		0.7816091954

										42		70		47.5		94		274		368		0.7445652174								48		485		533		0.9099437148

										43		80		37.5		48		385		433		0.8891454965								0		526		526		1

										44		90		27.5		38		402		440		0.9136363636								0		523		523		1

		Strip #		150 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				200 V		Pulse Left		Pulse Right		Pulse sum		h		400 V		Pulse Left		Pulse Right		Pulse sum		h

		100				24		30		85		276		71		347		0.204610951		0		0				405		25		430		0.0581395349				509		24		533		0.0450281426

		101				25		40		75		233		104		337		0.3086053412		115		1				388		74		462		0.1601731602				516		38		554		0.0685920578

						26		50		65		91		57		148		0.3851351351								142		54		196		0.2755102041				219		62		281		0.2206405694

						27		60		55		51		67		118		0.5677966102								64		101		165		0.6121212121				67		148		215		0.688372093

						28		70		45		121		202		323		0.6253869969								111		317		428		0.7406542056				61		476		537		0.886405959

						29		80		35		91		250		341		0.7331378299								71		385		456		0.8442982456				37		496		533		0.9305816135

						30		90		25		74		290		364		0.7967032967								57		425		482		0.8817427386				34		519		553		0.938517179

		New 0 position

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.						#119		Int 1		#120				#121		Int 3		#122		Sum		h		Ideal				200 V		Local coord.						#119		Int 1		#120				#121		Int 3		#122		Sum		h		400 V		Local coord.						#119		Int 1		#120				#121		Int 3		#122		Sum		h

				120		22.2		118				25		28		90		32		0		333		23		50		0		0		383		0.1305483029		0		0				25		250		-250		13		0		396		-13		35		0		0		431		0.0812064965				25		250		-250		10		0		469		-23		32		0		0		501		0.0638722555

				121		34						26		38		80		32		0		314		30		54		0		0		368		0.1467391304		118		1				26		260		-260		23		0		424		-13		36		0		0		460		0.0782608696				26		260		-260		0		0		469		-27		30		0		0		499		0.0601202405

												27		48		70		27		0		259		54		86		0		13		345		0.2492753623								27		270		-270		0		0		387		23		68		0		0		455		0.1494505495				27		270		-270		0		0		492		-23		63		0		0		555		0.1135135135

												28		58		60		0		0		41		0		27		0		0		68		0.3970588235								28		280		-280		0		0		59		0		41		0		0		100		0.41				28		280		-280		0		0		77		0		45		0		0		122		0.368852459

		#121		Ampitude		#121		Amplitude				29		68		50		18		0		68		41		132		0		32		200		0.66								29		290		-290		0		0		59		32		178		0		0		237		0.7510548523				29		290		-290		0		0		73		18		273		0		32		346		0.789017341

		20		483		32		451				30		78		40		18		0		86		68		264		0		27		350		0.7542857143								30		300		-300		0		0		50		10		506		-18		0		556		0.9100719424				30		300		-300		0		0		50		10		506		-18		0		556		0.9100719424

		21		86		33		54				31		88		30		0				63		50		342		0		32		405		0.8444444444								31		310		-310		0		0		41		18		428		-23		18		469		0.9125799574				31		310		-310		0		0		36		0		496		-23		18		532		0.9323308271

		22		45		34		32

		23		23		35		45				Estimated strip width:

		24		154		36		387				35 µm

		25		470





Irr. (7)

		0		0		0

		0		0		0

		0		0

		0		0

		0		0

		0		0

		0		0



200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #760-761

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



Non irr. (2)

		0		0		0		0

		0		0		0		0

				0		0		0

				0		0		0

				0		0		0

				0		0		0

				0		0		0



Local position [µm]

Right charge/Total charge

Scan across strips #760-761

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



Various final Pic.

		0		0		0

		0		0		0

		0		0

		0		0

		0		0

		0		0



200 Volts

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #650-651

0

0

0

0

0

0

0

0

0

0

0

0

0

0



Final pic. eta

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.						Pulse 24		Pulse 25		Pulse sum		h		ideal				400 V		Local coord.						Pulse 24		Pulse 25		Pulse sum		h

				24		22.2		120				24.5		23		97		589		98		687		0.1426491994		0		0				24.5		23		97		841		0		841		0

				25		34.2						25.5		33		87		663		135		798		0.1691729323		120		1				25.5		33		87		892		0		892		0

												26.5		43		77		565		140		705		0.1985815603								26.5		43		77		841		61		902		0.0676274945

												27.5		53		67		425		233		658		0.3541033435								27.5		53		67		715		332		1047		0.3170964661

		#24		Amplitude		#25		Amplitude				28		58		62		388		318		706		0.4504249292								28		58		62		607		514		1121		0.4585191793

		20.5		715		32		738				28.5		63		57		322		388		710		0.5464788732								28.5		63		57		402		691		1093		0.6322049405

		21		579		32.5		663				29.5		73		47		196		520		716		0.7262569832								29.5		73		47		135		888		1023		0.8680351906

		21.5		462		33		486				30.5		83		37		201		645		846		0.7624113475								30.5		83		37		140		906		1046		0.8661567878

		22		374		33.5		402				31.5		93		27		140		551		691		0.7973950796								31.5		93		27		112		850		962		0.8835758836

		22.5		340		34		336				32		98		22		112		490		602		0.8139534884								32		98		22		98		771		869		0.8872266974

		23		416		34.5		327

		23.5		551		35		378

		24		631		35.5		462

		24.5		757		36		603

						36.5		705

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D39		D40		Pulse 39		Pulse 40		Pulse sum		h		ideal				400 V		Local coord.		D39		D40		Pulse 39		Pulse 40		Pulse sum		h

				39		38.5		120				41		25		95		537		98		635		0.1543307087		0		0				41		25		95		818		0		818		0

				40		50.5						42		35		85		598		159		757		0.2100396301		120		1				42		35		85		850		0		850		0

												43		45		75		495		159		654		0.2431192661								43		45		75		780		60		840		0.0714285714

												44		55		65		378		290		668		0.4341317365								44		55		65		663		397		1060		0.3745283019

		#39		Amplitude		#40		Amplitude				45		65		55		252		411		663		0.6199095023								45		65		55		360		673		1033		0.651500484

		37.5		446		49.5		474				46		75		45		168		547		715		0.765034965								46		75		45		126		892		1018		0.8762278978

		38.5		265		50.5		339				47		85		35		173		659		832		0.7920673077								47		85		35		103		897		1000		0.897

		39		274		51		367				48		95		25		135		603		738		0.8170731707								48		95		25		89		836		925		0.9037837838

		39.5		395		51.5		442				49		105		15		84		406		490		0.8285714286								49		105		15		84		682		766		0.8903394256

		40.5		553		52.5		679				50		115		5		70		276		346		0.7976878613								50		115		5		65		462		527		0.8766603416

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D64		D65		Pulse 64		Pulse 65		Pulse sum		h		ideal				400 V		Local coord.		D64		D65		Pulse 64		Pulse 65		Pulse sum		h

				64		38		118				39.5		15		103		509		84		593		0.1416526138		0		0				39.5		15		103		761		0		761		0

				65		49.8						40.5		25		93		738		135		873		0.1546391753		120		1				40.5		25		93		836		0		836		0

												41.5		35		83		715		135		850		0.1588235294								41.5		35		83		888		0		888		0

												42.5		45		73		593		206		799		0.2578222778								42.5		45		73		803		177		980		0.5581632653

		#64		Amplitude		#65		Amplitude				43.5		55		63		472		383		855		0.4479532164								43.5		55		63		654		547		1201		0.6378018318

		37		458		48.5		537				44.5		65		53		313		530		843		0.6287069988								44.5		65		53		318		766		1084		0.7066420664

		38		322		49.5		322				45.5		75		43		219		696		915		0.7606557377								45.5		75		43		126		902		1028		0.8774319066

		38.5		472		50		332				46.5		85		33		224		748		972		0.7695473251								46.5		85		33		131		916		1047		0.8748806113

		39		579		50.5		411				47.5		95		23		135		589		724		0.8135359116								47.5		95		23		98		813		911		0.8924259056

		40		813		51.5		705				48		100		18		121		514		635		0.8094488189								48		100		18		107		733		840		0.8726190476

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D85		D86		Pulse 85		Pulse 86		Pulse sum		h		ideal				400 V		Local coord.		D85		D86		Pulse 85		Pulse 86		Pulse sum		h		h-1

				85		46.5		120				47		5		115		472		89		561		0.8413547237		0		0				47		5		115		551		65		616		0.1055194805		0.8944805195

				86		58.5						48		15		105		705		89		794		0.8879093199		120		1				48		15		105		813		51		864		0.0590277778		0.9409722222

												49		25		95		864		117		981		0.880733945								49		25		95		920		0		920		0		1

												50		35		85		874		187		1061		0.8237511781								50		35		85		911		70		981		0.0713557594		0.9286442406

		#85		Amplitude		#86		Amplitude				51		45		75		799		201		1000		0.799								51		45		75		897		107		1004		0.1065737052		0.8934262948

		45		654		57		663				52		55		65		645		486		1131		0.5702917772								52		55		65		780		589		1369		0.4302410519		0.5697589481

		46		462		58		504				53		65		55		430		705		1135		0.3788546256								53		65		55		453		794		1247		0.6367281476		0.3632718524

		46.5		486		58.5		477				54		75		45		248		813		1061		0.2337417531								54		75		45		126		874		1000		0.874		0.126

		47		598		59		598				55		85		35		266		860		1126		0.2362344583								55		85		35		131		883		1014		0.8708086785		0.1291913215

		48		775		60		813				56		95		25		149		771		920		0.1619565217								56		95		25		107		845		952		0.887605042		0.112394958

												57		105		15		112		654		766		0.1462140992								57		105		15		93		705		798		0.8834586466		0.1165413534

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D85		D86		Pulse 85		Pulse 86		Pulse sum		h		ideal				Local coord.		D85		D86		Pulse 85		Pulse 86		Pulse sum		h

				120		25.5		120				27.5		20		100		472		89		561		0.1586452763		0		0		27.5		20		100		845		210		1055		0.1990521327

				121		37.5						28.5		30		90		705		89		794		0.1120906801		120		1		28.5		30		90		892		173		1065		0.1624413146

												29.5		40		80		864		117		981		0.119266055						29.5		40		80		916		177		1093		0.1619396157

												30.5		50		70		874		187		1061		0.1762488219						30.5		50		70		850		570		1420		0.4014084507

		#120		Amplitude		#121		Amplitude				31.5		60		60		799		201		1000		0.201						31.5		60		60		640		827		1467		0.5637355147

		24.5		719		36		794				32.5		70		50		645		486		1131		0.4297082228						32.5		70		50		187		900		1087		0.8279668813

		25.5		369		37		519				33.5		80		40		430		705		1135		0.6211453744						33.5		80		40		112		920		1032		0.8914728682

		26		561		37.5		481				34.5		90		30		248		813		1061		0.7662582469						34.5		90		30		177		911		1088		0.8373161765

		26.5		794		38		757				35.5		100		20		266		860		1126		0.7637655417						35.5		100		20		154		855		1009		0.8473736373

		27.5		902		39		888				36.5		110		10		635		771		1406		0.5483641536						36.5		110		10		168		673		841		0.8002378121

				Strip numbers																																																														Normalised

		Bias		24		25		total		39		40		total		64		65		total		84		85		86		87		total		total		64		65		total		99		100		total		73		74		total		120		121		total										1		2		3		4		5		6		7

		50		173		56		229		32		140		172		79		187		266		51		191		149		42		433		340		139		354		493		163		189		352		200		88		288		453		173		626										0.257751938		0.2470978441		0.2458423717		0.3912698413		0.2693190513		0.24		0.5424610052

		100		257		61		318		70		257		327		159		378		537		70		330		257		56		713		587		232		604		836		316		373		689		421		201		622		719		383		1102										0.5203488372		0.4262023217		0.424439624		0.6634920635		0.5271614384		0.5183333333		0.9549393414

		150		402		93		495		117		411		528		210		532		742		100		514		402		75		1091		916		378		796		1174		426		516		942		593		294		887		934		229		1163										0.7189922481		0.6666666667		0.6623282719		0.9317460317		0.7207345065		0.7391666667		1.0077989601

		200		589		98		687		131		589		720		219		719		938		75		659		467		47		1248		1126		378		889		1267		479		612		1091		779		255		1034		953		223		1176										0.9089147287		0.7744610282		0.8141720897		1.0055555556		0.8347360367		0.8616666667		1.0190641248

		250		748		0		748		112		743		855		191		818		1009		60		743		519		32		1354		1262		308		941		1249		506		699		1205		950		245		1195		948		238		1186										0.9777131783		0.8606965174		0.9125090383		0.9912698413		0.921958684		0.9958333333		1.027729636

		300		775		0		775		98		813		911		159		892		1051		51		771		551				1373		1322		250		994		1244		516		742		1258		1000		167		1167		948		215		1163										1.0184108527		0.9137645108		0.9558929863		0.9873015873		0.9625095639		0.9725		1.0077989601

		350		803		0		803		89		841		930		145		888		1033		37		743		547				1327		1290		221		1017		1238		512		742		1254		1053		167		1220		939		206		1145										1.0009689922		0.9071310116		0.9327548807		0.9825396825		0.9594491201		1.0166666667		0.9922010399

		400		841		0		841		89		892		981		140		888		1028		32		743		542				1317		1285		221		1029		1250		516		745		1261		1063		176		1239		950		238		1188										0.996124031		0.8988391376		0.9291395517		0.9920634921		0.9648048967		1.0325		1.0294627383

		500		860		0		860		84		850		934		154		878		1032		47		780		603				1430		1383		220		1040		1260		522		785		1307		1063		137		1200		944		210		1154										1		1		1		1		1		1		1

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D64		D65		Pulse 64		Pulse 65		Pulse sum		h		ideal				Local coord.		D64		D65		Pulse 64		Pulse 65		Pulse sum		h

				64		41		120				43		20		100		901		198		1099		0.1801637853		0		0		43		20		100		994		157		1151		0.1364031277

				65		53						44		30		90		930		343		1273		0.2694422624		120		1		44		30		90		1000		190		1190		0.1596638655

												45		40		80		901		337		1238		0.2722132472						45		40		80		970		180		1150		0.1565217391

												46		50		70		773		529		1302		0.4062980031						46		50		70		901		575		1476		0.3895663957

		#64		Amplitude		#65		Amplitude				47		60		60		616		755		1371		0.5506929249						47		60		60		762		883		1645		0.5367781155

		39		889		51		906				48		70		50		424		860		1284		0.6697819315						48		70		50		256		947		1203		0.78719867

		40		703		52		726				49		80		40		420		959		1379		0.6954314721						49		80		40		186		988		1174		0.8415672913

		40.5		453		52.5		465				50		90		30		325		912		1237		0.7372675829						50		90		30		192		994		1186		0.8381112985

		41		395		53		424				51		100		20		227		831		1058		0.7854442344						51		100		20		180		924		1104		0.8369565217

		42		837		54		813

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D99		D100		Pulse 99		Pulse 100		Pulse sum		h		ideal				Local coord.		D99		D100		Pulse 99		Pulse 100		Pulse sum		h

				99		4		120				6		20		100		872		86		958		0.0897703549		0		0		6		20		100		908		0		908		0

				100		16						7		30		90		902		140		1042		0.1343570058		120		1		7		30		90		942		23		965		0.0238341969

												8		40		80		855		133		988		0.1346153846						8		40		80		918		43		961		0.0447450572

												9		50		70		722		100		822		0.1216545012						9		50		70		815		403		1218		0.3308702791

		#99		Amplitude		#100		Amplitude				10		60		60		532		652		1184		0.5506756757						10		60		60		549		745		1294		0.5757341577

		2		832		14		772				11		70		50		270		785		1055		0.7440758294						11		70		50		130		892		1022		0.8727984344

		3		691		15		562				12		80		40		226		888		1114		0.7971274686						12		80		40		86		945		1031		0.916585839

		3.5		452		15.5		393				13		90		30		206		878		1084		0.8099630996						13		90		30		93		905		998		0.9068136273

		4		393		16		432				14		100		20		180		749		929		0.8062432723						14		100		20		165		815		980		0.8316326531

		5		729		17		749

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D73		D74		Pulse 73		Pulse 74		Pulse sum		h		ideal				Local coord.		D73		D74		Pulse 73		Pulse 74		Pulse sum		h

				73		5.5		120				6		5		115		384		384		768		0.5		0		0		6		5		115		503		503		1006		0.5

				74		17.5						7		15		105		648		113		761		0.1484888305		120		1		7		15		105		761		25		786		0.0318066158

												8		25		95		799		138		937		0.1472785486						8		25		95		899		22		921		0.0238870793

												9		35		85		818		157		975		0.161025641						9		35		85		950		16		966		0.016563147

		#73		Amplitude		#74		Amplitude				10		45		75		657		223		880		0.2534090909						10		45		75		872		111		983		0.1129196338

		3.5		767		15.5		755				11		55		65		555		456		1011		0.4510385757						11		55		65		761		531		1292		0.4109907121

		4.5		569		16.5		549				12		65		55		353		603		956		0.6307531381						12		65		55		317		797		1114		0.7154398564

		5		368		17		362				13		75		45		270		837		1107		0.756097561						13		75		45		108		1093		1201		0.9100749376

		5.5		299		17.5		396				14		85		35		309		936		1245		0.7518072289						14		85		35		108		1112		1220		0.9114754098

		6.5		613		18		679				15		95		25		230		916		1146		0.7993019197						15		95		25		83		1044		1127		0.92635315

		Strip #		10		11		Total		30		31		Total		50		51		Total		70		71		Total		90		91		Total		110		111		Total		Normalised		10		30		50		70		90		110

		50		67		15		82		38		8		46		36		15		51		50		10		60		74		18		92		616		180		796		50		0.1876430206		0.1916666667		0.2015810277		0.1754385965		0.2105263158		0.6683459278

		100		119		37		156		66		11		77		60		27		87		79		26		105		126		33		159		831		331		1162		100		0.356979405		0.3208333333		0.3438735178		0.3070175439		0.3638443936		0.9756507137

		150		158		43		201		86		23		109		85		27		112		116		34		150		208		54		262		906		285		1191		150		0.4599542334		0.4541666667		0.442687747		0.4385964912		0.5995423341		1

		200		262		34		296		138		18		156		136		27		163		186		30		216		324		0		324		936		198		1134		200		0.6773455378		0.65		0.6442687747		0.6315789474		0.7414187643		0.9521410579

		250		353		0		353		186		0		186		186		0		186		255		0		255		371		0		371		941		157		1098		250		0.8077803204		0.775		0.7351778656		0.7456140351		0.8489702517		0.9219143577

		300		398		0		398		213		0		213		215		0		215		282		0		282		391		0		391		941		168		1109		300		0.9107551487		0.8875		0.8498023715		0.8245614035		0.8947368421		0.9311502939

		350		429		0		429		231		0		231		225		0		225		295		0		295		417		0		417		953		128		1081		350		0.9816933638		0.9625		0.8893280632		0.8625730994		0.9542334096		0.9076406381

		400		429		0		429		234		0		234		245		0		245		312		0		312		429		0		429		970		163		1133		400		0.9816933638		0.975		0.9683794466		0.9122807018		0.9816933638		0.9513014274

		500		437		0		437		240		0		240		253		0		253		342		0		342		437		0		437		965		157		1122		500		1		1		1		1		1		0.9420654912

		Norm. factor						409.2						220.8						224.8						297.2						409						1108.6

																																																																																																		Routing/Total

																																																																														Strip 120-121				Pos. 39						Strip 120-121				Pos. 41.5

		Strip #		10		11		Total		30		31		Total		50		51		Total		70		71		Total		90		91		Total		110		111		Total		120		int 1		121		int 2		Total						Normalised		10		30		50		70		90		110		120										120		int 1		121		int 2				120		int 1		121		int 2				Rout. 1		Tot.1		Rou. 2		Tot. 2		Rout. 3		Tot. 3		Ratio 1		Ratio 2		Ratio 3

		50		41		85		126		24		58		82		0		80		80		15		76		91														38		21		104		-10		142						50		0.2016		0.2		0.1500938086		0.1529411765		0		0		0.2610294118								50		52		10		24		-10				28		20		70		-10				21		142		10		86		20		118		0.1478873239		0.1162790698		0.1694915254

		100		63		140		203		22		84		106		31		135		166		38		142		180														62		34		177		-21		239						100		0.3248		0.2585365854		0.3114446529		0.3025210084		0		0		0.4393382353								100		97		24		48		-17				66		38		135		-10				34		239		24		169		38		239		0.1422594142		0.1420118343		0.1589958159

		150		92		210		302		38		133		171		52		197		249		48		211		259														55		24		385		-31		440						150		0.4832		0.4170731707		0.4671669794		0.4352941176		0		0		0.8088235294								150		222		17		52		-17				66		38		284		-20				24		440		17		291		38		388		0.0545454545		0.058419244		0.0979381443

		200		81		329		410		39		207		246		45		291		336		48		325		373														48		15		454		-24		502						200		0.656		0.6		0.6303939962		0.6268907563		0		0		0.9227941176								200		287		0		55		0				55		21		395		-30				15		502		0		342		21		471		0.0298804781		0		0.0445859873

		250		59		443		502		32		300		332		34		398		432		24		429		453														45		0		468		-34		513						250		0.8032		0.8097560976		0.8105065666		0.7613445378		0		0		0.9430147059								250		308		-24		55		0				42		0		436		-45				0		513		-24		339		0		478		0		-0.0707964602		0

		300		59		510		569		30		321		351		35		433		468		28		495		523														34		-10		478		-34		512						300		0.9104		0.856097561		0.8780487805		0.8789915966		0		0		0.9411764706								300		308		-17		62		0				55		0		454		-42				-10		512		-17		353		0		509		-0.01953125		-0.0481586402		0

		350		50		530		580		23		342		365		31		454		485		30		516		546														34		-17		495		-34		529						350		0.928		0.8902439024		0.9099437148		0.9176470588		0		0		0.9724264706								350		315		-25		62		0				48		0		478		-45				-17		529		-25		352		0		526		-0.0321361059		-0.0710227273		0

		400		45		561		606		10		370		380		24		468		492		34		513		547														34		-17		502		-34		536						400		0.9696		0.9268292683		0.9230769231		0.9193277311		0		0		0.9852941176								400		315		-28		55		0				42		0		485		-38				-17		536		-28		342		0		527		-0.0317164179		-0.081871345		0

		500		45		580		625		10		400		410		10		523		533		34		561		595						1						1		34		-17		510		-34		544						500		1		1		1		1		1		1		1								500		340		-31		55		0				52		0		520		-38				-17		544		-31		364		0		572		-0.03125		-0.0851648352		0

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h		ideal

				10		24		110				26		20		90		239		62		301		0.2059800664		0		0				26		20		90		409		59		468		0.1260683761		0		0

				11		35						27		30		80		350		76		426		0.1784037559		110		1				27		30		80		582		0		582		0		110		1

												28		40		70		298		104		402		0.2587064677								28		40		70		520		52		572		0.0909090909

												29		50		60		149		83		232		0.3577586207								29		50		60		270		76		346		0.2196531792

		#10		Amplitude		#11		Amplitude				30		60		50		90		152		242		0.6280991736								30		60		50		100		281		381		0.7375328084

		25.5		491		37		343				31		70		40		118		291		409		0.7114914425								31		70		40		80		544		624		0.8717948718

		26		376		38		0				32		80		30		94		357		451		0.7915742794								32		80		30		55		564		619		0.9111470113

		26.5		173		39		0				33		90		20		80		277		357		0.7759103641								33		90		20		76		447		523		0.8546845124

		27.5		0		40		0

		28		0		41		406						25		0.1354679803																						25		0

		28.5		0										35		0.2190721649																						35		0

		29.5		108.6										45		0.3144329897																						45		0

		30		310										48		0.3333333333																						48		0.1697247706

		30.5		472										65		0.6071428571																						65		0.7439759036

														75		0.7055702918																						75		0.8892794376

														85		0.7814726841																						85		1

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h		ideal				400V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h

				30		22		110				24		20		90		114		61		175		0.3485714286		0		0				24		20		90		195		58		253		0.2292490119

				31		33						25		30		80		168		47		215		0.2186046512		110		1				25		30		80		309		0		309		0

												26		40		70		160		75		235		0.3191489362								26		40		70		328		0		328		0

												27		50		60		95		73		168		0.4345238095								27		50		60		161		58		219		0.2648401826

		#30		Amplitude		#31		Amplitude				28		60		50		39		65		104		0.625								28		60		50		56		91		147		0.619047619

		18.5		210		31		280				29		70		40		58		147		205		0.7170731707								29		70		40		51		303		354		0.8559322034

		19.5		163		32		67				30		80		30		52		203		255		0.7960784314								30		80		30		5		372		377		0.9867374005

		20.5		91		33		47				31		90		20		42		198		240		0.825								31		90		20		10		367		377		0.9734748011

		21.5		37		34		49

		22.5		39		35		212

		23.5		137

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h

				50		49		110				51		20		90		253		45		298		0.1510067114		0		0				51		20		90		429		0		429		0

				51		60						52		30		80		225		55		280		0.1964285714		110		1				52		30		80		423		0		423		0

												53		40		70		177		86		263		0.3269961977								53		40		70		385		52		437		0.118993135

												54		50		60		0		0		0		0								54		50		60		0		0		0		0

		#50		Amplitude		#51		Amplitude				55		60		50		62		128		190		0.6736842105								55		60		50		69		267		336		0.7946428571

		46.5		320		57.5		385				56		70		40		83		232		315		0.7365079365								56		70		40		42		461		503		0.916500994

		47.5		42		58.5		50				57		80		30		52		277		329		0.8419452888								57		80		30		28		461		489		0.9427402863

		48.5		0		59.5		0				58		90		20		55		270		325		0.8307692308								58		90		20		24		468		492		0.9512195122

		49.5		0		60.5		30

		50.5		229		61.5		104						20										0.1510067114										20										0

						62.5		385						30										0.1964285714										30										0

														40										0.3269961977										40										0.118993135

														60										0.6736842105										60										0.7946428571

														70										0.7365079365										70										0.916500994

														80										0.8419452888										80										0.9427402863

														90										0.8307692308										90										0.9512195122

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h

				70		38		115				40		20		95		263		55		318		0.1729559748		0		0				40		20		95		395		59		454		0.1299559471

				71		49.5						41		30		85		374		42		416		0.1009615385		110		1				41		30		85		547		0		547		0

												42		40		75		315		76		391		0.1943734015								42		40		75		550		0		550		0

												43		50		65		121		55		176		0.3125								43		50		65		204		42		246		0.1707317073

		#70		Amplitude		#71		Amplitude				44		60		55		48		50		98		0.5102040816								44		60		55		59		83		142		0.5845070423

		36		429		47.5		190				45		70		45		114		253		367		0.689373297								45		70		45		66		499		565		0.8831858407

		37		52		48.5		31				46		80		35		76		333		409		0.8141809291								46		80		35		38		561		599		0.9365609349

		38		0		49.5		0				47		90		25		66		381		447		0.8523489933								47		90		25		34		513		547		0.9378427788

		39		38		50.5		76

		40		412		51.5		423

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h

				120		34		120				36		20		100		346		121		467		0.2591006424		0		0				36		20		100		377		135		512		0.263671875

				121		46						37		30		90		616		59		675		0.0874074074		110		1				37		30		90		682		48		730		0.0657534247

												38		40		80		616		62		678		0.0914454277								38		40		80		665		52		717		0.0725244073

												39		50		70		308		55		363		0.1515151515								39		50		70		385		66		451		0.1463414634

		#120		Amplitude		#121		Amplitude				40		60		60		59		59		118		0.5								40		60		60		66		66		132		0.5

		32.5		391		44		513				41		70		50		90		360		450		0.8								41		70		50		86		450		536		0.8395522388

		33.5		76		45		86				42		80		40		59		450		509		0.884086444								42		80		40		42		520		562		0.9252669039

		34.5		59		46		69				43		90		30		38		468		506		0.9249011858								43		90		30		28		523		551		0.9491833031

		35.5		142		47		104

		36.5		606		48		475

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h

				90		35		117.5				38		158		-38		329		38		367		0.1035422343		0		0				38		158		-38		436		0		436		0

				91		46.75						39		168		-48		281		69		350		0.1971428571		117.5		1				39		168		-48		433		0		433		0

												40		178		-58		142		83		225		0.3688888889								40		178		-58		235		76		311		0.2443729904

												41		188		-68		52		86		138		0.6231884058								41		188		-68		38		136		174		0.7816091954

		#70		Ampitude		#71		Amplitude				42		198		-78		94		274		368		0.7445652174								42		198		-78		48		485		533		0.9099437148

												43		208		-88		48		385		433		0.8891454965								43		208		-88		0		526		526		1

												44		218		-98		38		402		440		0.9136363636								44		218		-98		0		523		523		1

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h

				90		35		117.5				38		30		87.5		329		38		367		0.1035422343		0		0				38		30		87.5		436		0		436		0

				91		46.75						39		40		77.5		281		69		350		0.1971428571		117.5		1				39		40		77.5		433		0		433		0

												40		50		67.5		142		83		225		0.3688888889								40		50		67.5		235		76		311		0.2443729904

												41		60		57.5		52		86		138		0.6231884058								41		60		57.5		38		136		174		0.7816091954

		#90		Ampitude		#91		Amplitude				42		70		47.5		94		274		368		0.7445652174								42		70		47.5		48		485		533		0.9099437148

		33		346		45		263				43		80		37.5		48		385		433		0.8891454965								43		80		37.5		0		526		526		1

		33.5		160		45.5		94				44		90		27.5		38		402		440		0.9136363636								44		90		27.5		0		523		523		1

		34		55		46		42

		34.5		10		46.5		28

		35		10		47		24

		35.5		15		47.5		59

		36		59		48		138

		36.5		184		49		523

		37		364

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h		ideal				200 V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h		400 V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h

				100		21		115				24		30		85		276		71		347		0.204610951		0		0				24		30		85		405		0		405		0				24		30		85		509		0		509		0

				101		32.5						25		40		75		233		104		337		0.3086053412		115		1				25		40		75		388		74		462		0.1601731602				25		40		75		516		0		516		0

												26		50		65		91		57		148		0.3851351351								26		50		65		142		54		196		0.2755102041				26		50		65		219		54		273		0.1978021978

												27		60		55		51		67		118		0.5677966102								27		60		55		64		101		165		0.6121212121				27		60		55		67		148		215		0.688372093

		#100		Ampitude		#101		Amplitude				28		70		45		121		202		323		0.6253869969								28		70		45		111		317		428		0.7406542056				28		70		45		61		476		537		0.886405959

		18.5		408		31		196				29		80		35		91		250		341		0.7331378299								29		80		35		71		385		456		0.8442982456				29		80		35		37		496		533		0.9305816135

		19.5		108		32		50				30		90		25		74		290		364		0.7967032967								30		90		25		57		425		482		0.8817427386				30		90		25		34		519		553		0.938517179

		20.5		40		32.5		30

		21.5		35		33		37

		22.5		105		33.5		50

		23.5		445		34		101

						35		452

																																				New												Other position

		Strip #		70		71		Total		90		91		Total		99		100		101		102		Total		Total		Normalised		70		90		100		120		Int 2		121		Int 3		122		Total		119		120		Int 2		121		Total

		50		31		78		109		31		83		114		13		30		101		12		156		131				0.2060491493		0.2054054054		0.2364620939		45		27		100		25		32		145		27		91		18		41		132

		100		53		125		178		45		142		187		20		67		182		23		292		249				0.3364839319		0.3369369369		0.4494584838		68		41		178		10		30		246		30		168		35		68		236

		150		58		180		238		66		232		298		23		74		290		34		421		364				0.449905482		0.5369369369		0.6570397112		63		50		342		0		30		405		35		314		35		54		368

		200		73		290		363		48		374		422		17		57		425		-10		489		482				0.6862003781		0.7603603604		0.8700361011		50		27		446		-10		30		496		27		405		0		41		446

		250		51		388		439		31		478		509		0		51		472		-18		505		523				0.8298676749		0.9171171171		0.9440433213		41		15		490		-18		23		531		15		433		-18		32		465

		300		38		462		500		17		501		518		0		40		500		-23		517		540				0.9451795841		0.9333333333		0.9747292419		36		0		501		-27		18		537		10		446		-20		41		487

		350		33		485		518		20		535		555		0		34		513		-27		520		547				0.9792060491		1		0.9873646209		32		0		510		-23		18		542		10		460		-20		36		496

		400		31		498		529		20		535		555		0		34		520		-27		527		554				1		1		1		36		0		519		-23		18		555		10		474		-23		36		510

		500		30		540		570		0		578		578		0		34		560		-27		567		594				1.0775047259		1.0414414414		1.0722021661		32		0		533		-23		18		565		10		483		-23		36		519

		Futher Measurements as a function of the r-position

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.						#119		Int 1		#120				#121		Int 3		#122		Sum		h		Ideal				200 V		Local coord.						#119		Int 1		#120				#121		Int 3		#122		Sum		h		400 V		Local coord.						#119		Int 1		#120				#121		Int 3		#122		Sum		h

				120		19.8		61				21		12		49		47.12		28.88		171.76		28.88		80.56		28.88		41.8		252.32		0.3192771084		0		0				21		12		49		57		36.48		262.2		47.12		117.04		31.16		44.08		379.24		0.3086172345				21		12		49		28.88		0		428.64		-31.16		119.32		0		31.16		547.96		0.2177531207

				121		25.9						22		22		39		44		27		140		27		68		10		31		208		0.3269230769		61		1				22		22		39		62		38		215		51		106		27		31		321		0.3302180685				22		22		39		48		0		431		-17		126		0		10		557		0.2262118492

												23		32		29		0		0		24		0		24		0		0		48		0.5								23		32		29		0		0		34		0		34		0		0		68		0.5				23		32		29		0		0		58		0		65		0		0		123		0.5284552846

												24		42		19		34		15		105		41		212		24		48		317		0.6687697161								24		42		19		51		27		157		85		335		34		62		492		0.6808943089				24		42		19		31		0		130		21		619		-24		34		749		0.826435247

		#121		Ampitude		#121		Amplitude				25		52		9		38		17		89		31		205		12		41		294		0.6972789116								25		52		9		51		23		128		57		341		15		44		469		0.7270788913				25		52		9		51		0		131		10		560		-30		27		691		0.8104196816

		19		398		25		351

		19.5		58		25.5		104				Estimated strip width:								Routing line		#120		#121

		20		72		26		47				16 µm								25.6		447		85		0.9933333333		0.1888888889		532		0.7093333333

		20.5		212		26.5		81												26		242		68		0.5377777778		0.1511111111		310		0.4133333333

		21		489		27		368												26.2		103		31		0.2288888889		0.0688888889		134		0.1786666667

																				26.4		65		31		0.1444444444		0.0688888889		96		0.128

																				26.6		58		31		0.1288888889		0.0688888889		89		0.1186666667

																				26.8		42		40		0.0933333333		0.0888888889		82		0.1093333333

																				27		42		55		0.0933333333		0.1222222222		97		0.1293333333

																				27.2		54		154		0.12		0.3422222222		208		0.2773333333

																				27.4		71		248		0.1577777778		0.5511111111		319		0.4253333333

																				27.6		81		310		0.18		0.6888888889		391		0.5213333333

																				28		92		448		0.2044444444		0.9955555556		540		0.72

		Futher Measurements as a function of the r-position								Far end

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.						#119		Int 1		#120				#121		Int 3		#122		Sum		h		Ideal				200 V		Local coord.						#119		Int 1		#120				#121		Int 3		#122		Sum		h		400 V		Local coord.						#119		Int 1		#120				#121		Int 3		#122		Sum		h

				120		23		78				25		20		58		40		0		184		23		61		0		15		245		0.2489795918		0		0				25		20		58		33		0		255		38		76		0		18		331		0.2296072508				25		20		58		54		0		523		-10		54		0		0		577		0.0935875217

				121		30.8						26		30		48		31		0		89		24		51		0		24		140		0.3642857143		78		1				26		30		48		31		0		116		31		65		0		24		181		0.3591160221				26		30		48		31		0		263		0		78		0		0		341		0.2287390029

												27		40		38		0		0		0		0		0		0		0		0		0								27		40		38		0		0		0		0		0		0		0		0		0				27		40		38		0		0		0		0		0		0		0		0		0

												28		50		28		20		0		68		41		157		0		31		225		0.6977777778								28		50		28		0		0		99		61		222		0		34		321		0.691588785				28		50		28		0		0		78		15		492		-31		24		570		0.8631578947

		#121		Ampitude		#121		Amplitude				29		60		18		0		0		61		27		184		0		31		245		0.7510204082								29		60		18		0		0		78		48		276		0		37		354		0.7796610169				29		60		18		0		0		44		0		540		-31		13		584		0.9246575342

		21		728		29		755

		22		230		30		225				Estimated strip width:

		22.5		134		30.5		101				20 µm

		23		107		31		96

		23.5		150		31.5		161

		24		557		32		551

		25		760

										1 cm plus

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.						#119		Int 1		#120				#121		Int 3		#122		Sum		h		Ideal				200 V		Local coord.						#119		Int 1		#120				#121		Int 3		#122		Sum		h		400 V		Local coord.						#119		Int 1		#120				#121		Int 3		#122		Sum		h

				120		22.7		95				25		23		72		44		0		222		34		68		0		17		290		0.2344827586		0		0				25		23		72		41		0		366		31		68		0		24		434		0.1566820276				25		23		72		27		0		557		-24		48		0		0		605		0.079338843

				121		32.2						26		33		62		41		0		208		51		103		0		24		311		0.3311897106		95		1				26		33		62		31		0		311		68		112		0		34		423		0.2647754137				26		33		62		17		0		543		-20		78		0		0		621		0.1256038647

												27		43		52		0		0		0		0		0		0		0		0		0								27		43		52		0		0		58		0		27		0		0		85		0.3176470588				27		43		52		0		0		103		0		44		0		0		147		0.2993197279

												28		53		42		0		0		44		31		78		0		0		122		0.6393442623								28		53		42		0		0		58		24		120		0		0		178		0.6741573034				28		53		42		0		0		61		0		236		0		0		297		0.7946127946

		#121		Ampitude		#121		Amplitude				29		63		32		24		0		82		51		195		0		17		277		0.7039711191								29		63		32		27		0		112		85		328		0		34		440		0.7454545455				29		63		32		0		0		65		0		574		-37		15		639		0.8982785603

		21		464		30		523				30		73		22		0		0		71		44		242		0		31		313		0.7731629393								30		73		22		0		0		78		58		383		0		37		461		0.830802603				30		73		22		0		0		34		0		588		-40		13		622		0.9453376206

		22		58		31		171				Estimated strip width:

		22.5		37		32		41				25 µm

		23		51		32.5		51

		23.5		58		33		65

		24		178		34		499

		25		496

										1 cm plus

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.						#119		Int 1		#120				#121		Int 3		#122		Sum		h		Ideal				200 V		Local coord.						#119		Int 1		#120				#121		Int 3		#122		Sum		h		400 V		Local coord.						#119		Int 1		#120				#121		Int 3		#122		Sum		h

				120		22.7		108				25		23		85		34		0		254		29		45		0		0		299		0.1505016722		0		0				25		23		85		22		0		388		0		34		0		0		422		0.0805687204				25		23		85		11		0		474		-29		26		0		0		500		0.052

				121		33.5						26		33		75		26		0		228		41		63		0		10		291		0.2164948454		108		1				26		33		75		22		0		374		0		40		0		0		414		0.0966183575				26		33		75		0		0		474		-25		30		0		0		504		0.0595238095

												27		43		65		34		0		190		78		101		0		26		291		0.3470790378								27		43		65		26		0		317		37		82		0		12		399		0.2055137845				27		43		65		0		0		456		-22		71		0		0		527		0.1347248577

												29		63		45		12		0		85		60		157		0		29		242		0.6487603306								29		63		45		0		0		93		67		269		0		34		362		0.7430939227				29		63		45		0		0		71		18		422		-22		18		493		0.8559837728

		#121		Ampitude		#121		Amplitude				30		73		35		0		0		63		56		209		0		0		272		0.7683823529								30		73		35		0		0		48		34		366		-18		18		414		0.884057971				30		73		35		0		0		26		0		508		-26		0		534		0.9513108614

		20		470		31		508				31		83		25		0		0		50		37		247		0		26		297		0.8316498316								31		83		25		0		0		34		34		490		-30		0		524		0.9351145038				31		83		25		0		0		10		0		490		-30		0		500		0.98

		21		300		32		247

		22		40		33		41

		23		0		33.5		29				Estimated strip width:

		23.5		0		34		41				30 µm

		24		85		35		134

		25		430		36		500

		New 0 position

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.						#119		Int 1		#120				#121		Int 3		#122		Sum		h		Ideal				200 V		Local coord.						#119		Int 1		#120				#121		Int 3		#122		Sum		h		400 V		Local coord.						#119		Int 1		#120				#121		Int 3		#122		Sum		h

				120		22.2		118				25		28		90		32		0		333		23		50		0		0		383		0.1305483029		0		0				25		28		90		13		0		396		-13		35		0		0		431		0.0812064965				25		28		90		10		0		469		-23		32		0		0		501		0.0638722555

				121		34						26		38		80		32		0		314		30		54		0		0		368		0.1467391304		118		1				26		38		80		23		0		424		-13		36		0		0		460		0.0782608696				26		38		80		0		0		469		-27		30		0		0		499		0.0601202405

												27		48		70		27		0		259		54		86		0		13		345		0.2492753623								27		48		70		0		0		387		23		68		0		0		455		0.1494505495				27		48		70		0		0		492		-23		63		0		0		555		0.1135135135

												28		58		60		0		0		41		0		27		0		0		68		0.3970588235								28		58		60		0		0		59		0		41		0		0		100		0.41				28		58		60		0		0		77		0		45		0		0		122		0.368852459

		#121		Ampitude		#121		Amplitude				29		68		50		18		0		68		41		132		0		32		200		0.66								29		68		50		0		0		59		32		178		0		0		237		0.7510548523				29		68		50		0		0		73		18		273		0		32		346		0.789017341

		20		483		32		451				30		78		40		18		0		86		68		264		0		27		350		0.7542857143								30		78		40		0		0		50		10		506		-18		0		556		0.9100719424				30		78		40		0		0		50		10		506		-18		0		556		0.9100719424

		21		86		33		54				31		88		30		0				63		50		342		0		32		405		0.8444444444								31		88		30		0		0		41		18		428		-23		18		469		0.9125799574				31		88		30		0		0		36		0		496		-23		18		532		0.9323308271

		22		45		34		32

		23		23		35		45				Estimated strip width:

		24		154		36		387				35 µm

		25		470



Irradiated section n. 6



Final pic. eta

		1		1		1		1



Left strip

Routing #1

Right strip

Routing #2

Bias [Volt]

Signal [mV]

CCE vs bias

1

1

1

1



Neff vs position

		1		1		1		1



Strip 120

Rout. #1

Strip 121

Rout. #2

Bias [Volt]

Signal [mV]

CCE vs bias

1

1

1

1



Eta comparison

		1		1		1		1



Strip 120

Rout. #1

Strip 121

Rout. #2

Bias [Volt]

Signal [mV]

CCE vs bias

1

1

1

1



Strip 120 

		1		1		1



Position 1

Position 2

Position 3

Bias [Volt]

Ratio

Routing line/total charge

1

1

1



Pulse shape

		1		1		1		1



1

1

1

1



		1



1



		1		1



1

1



		0		0		0		0

		115		0		0		0

				0		0		0

				0		0		0

				0		0		0

				0		0		0

				0		0		0



150 Volt

200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #740-741

0

0

0

0

1

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		Bias 250 V		Strip #		Centre		Distance		50 V		Local coord.						Pulse Left		Int		Pulse Right		Pulse sum		h		ideal				100 V		Pulse Left		Int		Pulse Right		Pulse sum		h		300 V		Pulse Left		Int		Pulse Right		Pulse sum		h				Volt scan		#6		Int.		#7		Total		Normalised				Volt scan		#59		#60		#61		Total		Normalised				Volt scan		#114		Int.		#115		Int.		#116		Total		Normalised

				6		37		115				40		30		85		104		18		40		144		0.2777777778		0		0				246				45		291		0.1546391753				333		-23		27		360		0.075				20		23		5		54		77		0.2086720867				20		32		141		54		227		0.576142132				10		63		4		159		23		32		222		0.5536159601

				7		48.5						41		40		75		86		32		54		140		0.3857142857		115		1				214		36		63		277		0.2274368231				323		-23		36		359		0.1002785515				40		32		18		100		132		0.3577235772				40		41		264		54		359		0.9111675127				20		80				246		23		36		326		0.812967581

												42		50		65		45		9		32		77		0.4155844156								128		36		63		191		0.3298429319				209		0		68		277		0.2454873646				50		36		23		123		159						50		36		287		50		373		0.9467005076				40		82				314		23		41		396		0.9875311721

												43.5		65		50		36		18		54		90		0.6								50		36		118		168		0.7023809524				63		13		246		309		0.7961165049				60		45		27		145		190		0.5149051491				60		36		298		40		374		0.9492385787				50		73				328		13		32		401		1

		#6		Amplitude		#7		Amplitude				44		70		45		45		27		77		122		0.631147541								50		36		195		245		0.7959183673				41		9		305		346		0.8815028902				80		59		41		205		264		0.7154471545				80		30		328		27		385		0.9771573604				60		68				333		13		32		401		1

		34.5		305		46.5		296				45		80		35		45		23		104		149		0.6979865772								45		41		241		286		0.8426573427				27		9		342		369		0.9268292683				100		45		36		259		304		0.8238482385				100		27		337		24		388		0.9847715736				80		59				342		9		32		401		1

		35.5		137		47.5		54				46		90		25		9		0		50		59		0.8474576271								45		36		255		300		0.85				27		4		337		364		0.9258241758				125		36		23		296		332		0.8997289973				150		24		355		21		400		1.0152284264				100		46				351				18		397		0.9900249377

		36.5		27		48.5		0																																																		150		32		18		323		355		0.9620596206				200		23		360		20		403		1.0228426396				125		45				355				27		400		0.9975062344

		37.5		0		49.5		36																																																		175		32		18		328		360		0.9756097561				300		20		374		0		394		1				150		45				355				27		400		0.9975062344

		38.5		100		50.5		232																																																		200		23		9		337		360		0.9756097561																		200		45				355				18		400		0.9975062344

		39.5		305		51.5		333																																																		300		23		9		346		369		1																		300		41				360				18		401		1

		40.5		319





		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0				0

		0				0



0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0		0		0

		0		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0



50 Volt

100 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #774-775

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		Bias 250 V		Strip #		Centre		Distance		25 V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h		ideal				50 V		Pulse Left		Pulse Right		Pulse sum		h		150 V		Pulse Left		Pulse Right		Pulse sum		h								Volt scan		#60		#61		Total		Normalised

				60		43.2		113				46		28		85		212		1		213		0.0046948357		0		0				311		1		312		0.0032051282				410		1		411		0.00243309						3.1622776602		10		95		0		95		0.2467532468

				61		54.5						47		38		75		143		20		163		0.1226993865		113		1				222		1		223		0.0044843049				294		1		295		0.0033898305						5		25		191		0		191		0.4961038961

												48		48		65		68		34		102		0.3333333333								123		58		181		0.320441989				171		68		239		0.2845188285						7.0710678119		50		283		0		283		0.7350649351

												49		58		55		37		109		146		0.7465753425								37		161		198		0.8131313131				37		212		249		0.8514056225						8.6602540378		75		321		0		321		0.8337662338

		#60		Amplitude		#61		Amplitude				50		68		45		31		174		205		0.8487804878								34		259		293		0.8839590444				50		334		384		0.8697916667						10		100		352		0		352		0.9142857143

		41		308		52		386				51		78		35		24		181		205		0.8829268293								24		263		287		0.9163763066				20		345		365		0.9452054795						12.2474487139		150		372		0		372		0.9662337662

		42		171		53		253																																														14.1421356237		200		372		0		372		0.9662337662

		43		20		54		116																																														17.3205080757		300		385		0		385		1

		44		49		55		24

		45		209		56		123

		46		345		57		280

						58		389

		Bias 250 V		Strip #		Centre		Distance		20 V		Local coord.						#115		Int 1		#116		Int 2		#117		Pulse sum		h		ideal				50 V		#115		Int 1		#116		Int 2		#117		Pulse sum		h		200 V		#115		Int 1		#116		Int 2		#117		Pulse sum		h				Volt scan		#115		#116		Int		#117		Total		Normalised

				115		21		114				24		30		84		198		-17		27						225		0.12		0		0				317		-17		31						348		0.0890804598				403		-30		24						427		0.056206089		3.1622776602		10				116						116		0.2829268293

				116		32.4						25		40		74		178		-13		27						205		0.1317073171		114		1				311		-20		41						352		0.1164772727				396		-27		27						423		0.0638297872		5		25		31		208		-5		20		228		0.556097561

												26		50		64		126		-13		37						163		0.226993865								242		-17		61						303		0.201320132				334		-24		68						402		0.1691542289		7.0710678119		50		31		308		-7		20		328		0.8

												28		70		44		34				137				17		171		0.8011695906								48				236				24		284		0.8309859155				54		-5		317		-13		24		371		0.8544474394		8.6602540378		75		24		345		-17		20		365		0.8902439024

		#115		Amplitude		#116		Amplitude				29		80		34		24				181				17		205		0.8829268293								31				311		-10		20		342		0.9093567251				27				400		-17		17		427		0.9367681499		10		100		27		366		-20		17		383		0.9341463415

		18		400		30		389				29.5		85		29		27				195						222		0.8783783784								34				314		-15		20		348		0.9022988506				24				389		-24		17		413		0.9418886199		11.1803398875		125		24		380		-17		13		393		0.9585365854

		19		270		31		89																																																												12.2474487139		150		24		385		-20		13		398		0.9707317073

		20		34		32		28																																																												14.1421356237		200		24		389		-20		13		402		0.9804878049

		21		30		33		30																																																												17.3205080757		300		24		393		-20		17		410		1

		22		38		34		126

		23		308		35		389

		24		400





		0		0		0		0

		0		0		0		0

				0		0		0

				0		0		0

				0		0		0

				0		0		0



25 Volt

50 Volt

150 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #188-189

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0		0		0

		0		0		0		0

				0		0		0

				0		0		0

				0		0		0

				0		0		0



20 Volt

50 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #244-245

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0



#115

#60

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		47		400		-30		380

		48		280		-20		260

		49		41		-10		21

		50		20		0		0

		51		51		10		31

		52		273		20		253

		53		410		30		390

		Beam Profile

		Coordinate		Front		Back

		0						10

		10		1.00E+13		1.05E+13		20		1.00E+13		1.05E+13

		20		4.50E+13		4.55E+13		30		4.50E+13		4.55E+13

		25		3.00E+14		2.52E+14		35		3.00E+14		2.52E+14

		30		4.10E+14		4.40E+14		40		4.10E+14		4.40E+14

		35		4.30E+14		4.60E+14		45		4.30E+14		4.60E+14

		40		3.15E+14		3.80E+14		50		3.15E+14		3.80E+14

		45		1.09E+14		2.70E+14		55		1.09E+14		2.70E+14

		55		1.20E+13		2.70E+13		65		1.20E+13		2.70E+13

		65		7.00E+11		1.20E+12		75		7.00E+11		1.20E+12





		0

		0

		0

		0

		0

		0

		0



Local coord. [µm]

Amplitude [arb. Units]

Strip scan #10

0

0

0

0

0

0

0



		55		0		55		55

		50		1		50		50

		45		2		45		45

		40		3		40		40

		35		4		35		35

		30		5		30		30

		25		6		25		25

		20		7		20		20

		15		8		15		15

		10		9		10		10

		5		10		5		5

		0		11		0		0

				12

				13

				14

				15

				16

				17

				18

				19

				20

				21

				22

				23

				24

				25

				26

				27

				28

				29

				30

				31

				32

				33

				34

				35

				36

				37

				38

				39

				40

				41

				42

				43

				44

				45

				46

				47

				48

				49

				50

				51

				52

				53

				54

				55

				56

				57

				58

				59

				60

				61

				62

				63

				64

				65

				66

				67

				68



Measured (hit strip)

Calculated

Adjacent strip

Intermediate routing line

Time [ns]

Amplitude [arb. units]

68

10

0

0

150

34.5396

16

0

245

54.05968

34

0

369

80.39936

54

0

560

114.09384

123

32

688

155.13512

154

40

826

202.94192

188

51

792

256.42064

199

74

615

314.09432

188

108

421

374.26344

176

131

199

435.16424

85

68

0

495.10184

0

0

552.54736

606.19912

655.01224

698.20408

735.24416

765.8304

789.86272

807.41192

818.68832

824.01216

823.78664

818.47312

808.57016

794.59512

777.0692

756.50528

733.3992

708.22128

681.41152

653.37656

624.48752

595.07864

565.44744

535.85544

506.53048

477.66728

449.43032

421.95584

395.35408

369.71192

345.0956

321.5524

299.11304

277.79416

257.59968

238.52336

220.54992

203.6564

187.81424

172.98976

159.14552

146.24152

134.23568

123.08456

112.74432

103.1708

94.32024

86.14968

78.61696

71.6812

65.30304

59.44456

54.06952

49.14336

44.63336

40.50856

36.7396



		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0



Front Al foils

Back Al foils

Position [mm]

Measured fluence [p cm-2]

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		

						760





		30		30		0

		40		40		117.5

		50		50

		60		60

		70		70

		80		80

		90		90



200 Volt

400 Volt

Ideal resolution

Local position [µm]

Right charge/Total charge

Scan across strips #740-741

0.1035422343

0.0311111111

0

0.1971428571

0.0545851528

1

0.3688888889

0.2443729904

0.6231884058

0.7816091954

0.7445652174

0.9099437148

0.8891454965

1

0.9136363636

1



		30		30		0

		40		40		115

		50		50

		60		60

		70		70

		80		80

		90		90



200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #710-711

0.1009615385

0.0352733686

0

0.1943734015

0.0646258503

1

0.3125

0.2213740458

0.5102040816

0.5845070423

0.689373297

0.8831858407

0.8141809291

0.9365609349

0.8523489933

0.9378427788



		30		30		0

		40		40		115

		50		50

		60		60

		70		70

		80		80

		90		90



200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #760-761

0.0874074074

0.0657534247

0

0.0914454277

0.0725244073

1

0.1515151515

0.1463414634

0.5

0.5

0.8

0.8395522388

0.884086444

0.9252669039

0.9249011858

0.9491833031



		0		30		30		30

		115		40		40		40

				50		50		50

				60		60		60

				70		70		70

				80		80		80

				90		90		90



150 Volt

200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #740-741

0

0.204610951

0.0581395349

0.0450281426

1

0.3086053412

0.1601731602

0.0685920578

0.3851351351

0.2755102041

0.2206405694

0.5677966102

0.6121212121

0.688372093

0.6253869969

0.7406542056

0.886405959

0.7331378299

0.8442982456

0.9305816135

0.7967032967

0.8817427386

0.938517179



		0		30		30

		110		40		40

				50		50

				60		60

				70		70

				80		80

				90		90



200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #670-671

0

0.2186046512

0.0462962963

1

0.3191489362

0.076056338

0.4345238095

0.2648401826

0.625

0.619047619

0.7170731707

0.8559322034

0.7960784314

0.9612403101

0.825

0.9734748011



		0		20		20

		110		30		30

				40		40

				50		50

				60		60

				70		70

				80		80

				90		90



200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #690-691

0

0.1510067114

0.0529801325

1

0.1964285714

0.0703296703

0.3269961977

0.1575492341

0

0.6736842105

0.7946428571

0.7365079365

0.916500994

0.8419452888

0.9427402863

0.8307692308

0.9512195122



		25		25		25		0

		35		35		35		110

		45		45		45

		55		55		55

		65		65		65

		75		75		75

		85		85		85



100 Volt

200 Volt

300 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #525-526

0.0461956522

0.0440414508

0.0446194226

0

0.0583941606

0.0547945205

0.0547945205

1

0.1413612565

0.1282051282

0.1113689095

0.3215859031

0.264573991

0.2821576763

0.8050541516

0.8073394495

0.7722222222

0.9130434783

0.9217391304

0.9298245614

0.9473684211

0.9523809524

0.958677686



		0		30		30		30

		117		40		40		40

				50		50		50

				70		70		70

				80		80		80

				90		90		90



150 Volt

200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #634-635

0

0.223255814

0.1133333333

0.0510204082

1

0.2783505155

0.1933333333

0.0761670762

0.3963414634

0.3048780488

0.1943005181

0.6209150327

0.6822429907

0.8157099698

0.6875

0.7979094077

0.915

0.7548076923

0.8580645161

0.9330024814



		0		24		24

		114		34		34

				44		44

				64		64

				74		74

				84		84

				89		89



100 Volt

300 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #584-585

0

0.118466899

0.0379403794

1

0.1655172414

0.0608272506

0.3421052632

0.1666666667

0.6896551724

0.8131868132

0.7597173145

0.9567430025

0.8605442177

0.9974160207

0.8586206897

0.9466666667



		0		22		22		22		22

		116		32		32		32		32

				42		42		42		42

				67		67		67		67

				72		72		72		72

				82		82		82		82

				92		92		92		92



100 Volt

150 Volt

200 Volt

300 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #604-605

0

0.2192513369

0.0848056537

0.0408719346

0.056980057

1

0.2391304348

0.1214285714

0.0681818182

0.0798898072

0.3128834356

0.2380952381

0.0920716113

0.1549295775

0.5668789809

0.6355555556

0.7975077882

0.7517482517

0.591954023

0.7173913043

0.9002695418

0.8434782609

0.6949152542

0.8137931034

0.9973045822

0.8888888889

0.7348066298

0.8436482085

0.972899729

0.9043715847



		0		23		23		23

		108		33		33		33

				43		43		43

				58		58		58

				63		63		63

				73		73		73

				78		78		78



20 Volt

50 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #544-545

0

0.1376146789

0.0422960725

0.0361445783

1

0.2018348624

0.0845070423

0.0574712644

0.3457446809

0.2341772152

0.0976253298

0.5858585859

0.7124183007

0.7627906977

0.6304347826

0.7571428571

0.820441989

0.7302325581

0.8709677419

0.9418886199

0.7735849057

0.8811594203

0.9632352941



		0		35		35		35

		110		40		40		40

				50		50		50

				65		65		65

				70		70		70

				80		80		80



50 Volt

100 Volt

300 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #566-567

0

0.125

0.0408719346

0.0407673861

1

0.1777777778

0.0702247191

0.0687203791

0.320441989

0.22

0.2033333333

0.6946107784

0.8090909091

0.7789855072

0.741697417

0.8579387187

0.8743842365

0.8580858086

0.9543010753

0.9975062344



		0		35		35		35

		120		45		45		45

				50		50		50

				65		65		65

				70		70		70

				80		80		80

				90		90		90



50 Volt

100 Volt

250 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #575-576

0

0.2876106195

0.0451807229

0.0383631714

1

0.3744292237

0.144092219

0.0939759036

0.3880597015

0.1782178218

0.1580310881

0.5730337079

0.7260273973

0.7166666667

0.591954023

0.798679868

0.8379888268

0.6559633028

0.8879781421

0.9230769231

0.7627906977

0.9076086957

0.9511002445



		0		28		28		28

		113		38		38		38

				48		48		48

				58		58		58

				68		68		68

				78		78		78



25 Volt

50 Volt

150 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #188-189

0

0.0046948357

0.0032051282

0.00243309

1

0.1226993865

0.0044843049

0.0033898305

0.3333333333

0.320441989

0.2845188285

0.7465753425

0.8131313131

0.8514056225

0.8487804878

0.8839590444

0.8697916667

0.8829268293

0.9163763066

0.9452054795



		26		26		0		26

		36		36		114		36

		46		46				46

		66		66				66

		76		76				76

		86		86				86



100 Volt

300 Volt

=

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #621-622

0.2227074236

0.0789473684

0

0.0390625

0.2735849057

0.1348684211

1

0.0606060606

0.3659793814

0.2482517483

0.1102150538

0.5828220859

0.6728110599

0.8066666667

0.6822429907

0.8066666667

0.9086021505

0.7422222222

0.8547854785

0.9583333333



		25		25		25		0

		35		35		35		110

		45		45		45

		60		60		60

		65		65		65

		75		75		75

		85		85		85



20 Volt

50 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #469-470

0.0857142857

0.1060070671

0.0411311054

0

0.0833333333

0.093385214

0.0683060109

1

0.275862069

0.1904761905

0.1333333333

0.6451612903

0.6785714286

0.7311827957

0.6774193548

0.766536965

0.8356164384

0.8444444444

0.8717948718

0.9260969977

0.8695652174

0.8646153846

0.9267734554



		30		30		0

		40		40		110

		50		50

		60		60

		70		70

		80		80



200 Volts

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #650-651

0.1784037559

0.0521172638

0

0.2587064677

0.1034482759

1

0.3577586207

0.2196531792

0.6280991736

0.7375328084

0.7114914425

0.8717948718

0.7915742794

0.9111470113



		0		30		30		30

		114		40		40		40

				50		50		50

				70		70		70

				80		80		80

				85		85		85



20 Volt

50 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #244-245

0

0.12

0.0890804598

0.056206089

1

0.1317073171

0.1164772727

0.0638297872

0.226993865

0.201320132

0.1691542289

0.8011695906

0.8309859155

0.8544474394

0.8829268293

0.9093567251

0.9367681499

0.8783783784

0.9022988506

0.9418886199



		30		30		0		30

		40		40		114		40

		50		50				50

		70		60				60

		80		70				70

		85		80				80

								90



#245 - 200 Volt

#650 - 400 Volt

#760 - 400 Volt

Local position [µm]

Right charge/Total charge

0.056206089

0.0521172638

0

0.0657534247

0.0638297872

0.1034482759

1

0.0725244073

0.1691542289

0.2196531792

0.1463414634

0.8544474394

0.7375328084

0.5

0.9367681499

0.8717948718

0.8395522388

0.9418886199

0.9111470113

0.9252669039

0.9491833031



		20		20		20		0

		30		30		30		115

		40		40		40

		50		50		50

		60		60		60

		70		70		70

		80		80		80

		90		90		90



20 Volt

50 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #388-389

0.15

0.0975609756

0.0965794769

0

0.1549295775

0.1448692153

0.1004709576

1

0.171875

0.1223529412

0.0901213172

0.2926829268

0.2888888889

0.2434077079

0.6666666667

0.6923076923

0.6511627907

0.7833333333

0.8498896247

0.9073083779

0.8295081967

0.8495049505

0.9384615385

0.8793103448

0.9160839161

0.9470699433



		35		0		35		35

		45		120		45		45

		55				55		55

		70				70		70

		75				75		75

		85				85		85

		95				95		95



20 Volt

50 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #490-491

0.1595744681

0

0.12

0.0796116505

0.2053231939

1

0.1322869955

0.0891089109

0.2967032967

0.2258064516

0.2

0.72

0.692

0.7982261641

0.8351449275

0.7985074627

0.8764302059

0.9349593496

0.8546099291

0.9174311927

0.9445585216



		0		28		28		28

		118		38		38		38

				48		48		48

				58		58		58

				68		68		68

				78		78		78

				88		88		88



150 Volt

200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #760-761

0

0.1305483029

0.0812064965

0.0638722555

1

0.1467391304

0.0782608696

0.0601202405

0.2492753623

0.1494505495

0.1135135135

0.3970588235

0.41

0.368852459

0.66

0.7510548523

0.789017341

0.7542857143

0.9100719424

0.9100719424

0.8444444444

0.9125799574

0.9323308271



		30		30		28		0

		40		40		38		118

		50		50		48

		70		70		58

		80		80		68

		85		90		78

						88



#244 -245 (@ 200 Volt)

#534 - 535 (@ 400 Volt)

#760 - 761 (@ 400 Volt)

Local position [µm]

Right charge/Total charge

0.056206089

0.0510204082

0.0638722555

0

0.0638297872

0.0761670762

0.0601202405

1

0.1691542289

0.1943005181

0.1135135135

0.8544474394

0.8157099698

0.368852459

0.9367681499

0.915

0.789017341

0.9418886199

0.9330024814

0.9100719424

0.9323308271



		30		30		30		0

		40		40		40		115

		50		50		50

		65		65		65

		70		70		70

		80		80		80

		90		90		90



50 Volt

100 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #774-775

0.2777777778

0.1546391753

0.075

0

0.3857142857

0.2274368231

0.1002785515

1

0.4155844156

0.3298429319

0.2454873646

0.6

0.7023809524

0.7961165049

0.631147541

0.7959183673

0.8815028902

0.6979865772

0.8426573427

0.9268292683

0.8474576271

0.85

0.9258241758



		Bias		#650		#651		Pulse sum		Normalised		#670		#671		Pulse sum		Normalised		#690		#691		Pulse sum		Normalised		#710		#711		Pulse sum		Normalised		#730		#731		Pulse sum		Normalised		#740		#741		Pulse sum		Normalised		#760		#761		Pulse sum		Normalised

		[Volt]		[mV]		[mV]		[mv]				[mV]		[mV]		[mv]				[mV]		[mV]		[mv]				[mV]		[mV]		[mv]				[mV]		[mV]		[mv]				[mV]		[mV]		[mv]				[mV]		[mV]		[mv]

		50		41		85		126		0.2016		24		58		82		0.2		0		80		80		0.1500938086		31		78		109		0.1912280702		31		83		114		0.1972318339		30		101		131		0.2205387205		45		100		145		0.2566371681				104		104

		100		63		140		203		0.3248		22		84		106		0.2585365854		31		135		166		0.3114446529		53		125		178		0.3122807018		45		142		187		0.3235294118		67		182		249		0.4191919192		68		178		246		0.4353982301				177		177

		150		92		210		302		0.4832		38		133		171		0.4170731707		52		197		249		0.4671669794		58		180		238		0.4175438596		66		232		298		0.5155709343		74		290		364		0.6127946128		63		342		405		0.7168141593				385		385

		200		81		329		410		0.656		39		207		246		0.6		45		291		336		0.6303939962		73		290		363		0.6368421053		48		374		422		0.7301038062		57		425		482		0.8114478114		50		446		496		0.8778761062				454		454

		250		59		443		502		0.8032		32		300		332		0.8097560976		34		398		432		0.8105065666		51		388		439		0.7701754386		31		478		509		0.8806228374		51		472		523		0.8804713805		41		490		531		0.9398230088				468		468

		300		59		510		569		0.9104		30		321		351		0.856097561		35		433		468		0.8780487805		38		462		500		0.8771929825		17		501		518		0.8961937716		40		500		540		0.9090909091		36		501		537		0.9504424779				478		478

		350		50		530		580		0.928		23		342		365		0.8902439024		31		454		485		0.9099437148		33		485		518		0.9087719298		20		535		555		0.9602076125		34		513		547		0.9208754209		32		510		542		0.9592920354				495		495

		400		45		561		606		0.9696		10		370		380		0.9268292683		24		468		492		0.9230769231		31		498		529		0.9280701754		20		535		555		0.9602076125		34		520		554		0.9326599327		36		519		555		0.982300885				502		502

		500		45		580		625		1		10		400		410		1		10		523		533		1		30		540		570		1		0		578		578		1		34		560		594		1		32		533		565		1				510		510

																						Neff map		Vfd

																						10

																						30

																						50

																						70

																						90

																						100

																						120

																																												634

																																		72

		Bias		#526		#527		Pulse sum		Normalised		Bias		#545		#546		Pulse sum		Normalised		Bias		#567		#568		Pulse sum		Normalised		Bias		#577		#578		Pulse sum		Normalised		Bias		#585		#586		Pulse sum		Normalised		Bias		#605		#606		Pulse sum		Normalised		Bias		#622		#623		Pulse sum		Normalised		Bias		#634		#635		Pulse sum		Normalised

		[Volt]		[mV]		[mV]		[mv]				[Volt]		[mV]		[mV]		[mv]				[Volt]		[mV]		[mV]		[mv]				[Volt]		[mV]		[mV]		[mv]				[Volt]		[mV]		[mV]		[mv]				[Volt]		[mV]		[mV]		[mv]				[Volt]		[mV]		[mV]		[mv]				[Volt]		[mV]		[mV]		[mv]

		20		5		205		210		0.4393305439		10		89		41		130		0.313253012		10		27		41		68		0.17		25		34		75		109		0.2632850242		25		44		20		64		0.1671018277		50		65		10		75		0.1978891821		50		65		0		65		0.1697127937		50		61		24		85		0.2073170732

		30		5		273		278		0.5815899582		20		171		41		212		0.5108433735		25		61		109		170		0.425		50		55		164		219		0.5289855072		50		95		41		136		0.3550913838		75		95		10		105		0.2770448549		100		123		37		160		0.4177545692		100		106		34		140		0.3414634146

		40		54		323		377		0.7887029289		30		232		34		266		0.6409638554		50		266		41		307		0.7675		75		37		290		327		0.7898550725		75		150		58		208		0.5430809399		100		129		27		156		0.4116094987		150		171		51		222		0.5796344648		150		157		48		205		0.5

		50		45		365		410		0.8577405858		50		321		0		321		0.7734939759		75		334		14		348		0.87		100		27		330		357		0.8623188406		100		240		51		291		0.7597911227		125		167		27		194		0.5118733509		200		287		24		311		0.8120104439		200		253		34		287		0.7

		75		41		405		446		0.9330543933		75		362		0		362		0.8722891566		100		359		0		359		0.8975		150		27		359		386		0.9323671498		125		311		27		338		0.8825065274		150		236		30		266		0.7018469657		250		334		0		334		0.8720626632		250		317		27		344		0.8390243902

		100		32		428		460		0.9623430962		100		383		0		383		0.9228915663		150		372		0		372		0.93		200		24		372		396		0.9565217391		150		342		10		352		0.9190600522		200		328		0		328		0.8654353562		300		351		0		351		0.9164490862		300		349		31		380		0.9268292683

		120		23		441		464		0.9707112971		150		396		0		396		0.9542168675		200		383		0		383		0.9575		250		20		379		399		0.9637681159		200		355		10		365		0.953002611		250		355		0		355		0.9366754617		350		366		0		366		0.955613577		350		362		27		389		0.9487804878

		150		27		446		473		0.989539749		200		410		0		410		0.9879518072		250		396		0		396		0.99		300		24		382		406		0.9806763285		300		376		0		376		0.9817232376		300		366		0		366		0.9656992084		400		372		0		372		0.9712793734		400		372		34		406		0.9902439024

		200		23		455		478		1		300		415		0		415		1		300		400		0		400		1		350		24		390		414		1		400		383		0		383		1		400		379		0		379		1		500		383		0		383		1		500		383		27		410		1

		300		20		464		484		1.0125523013

		Strip #		VFD

		188		80

		244		75

		390		60

		470		55

		498		55

		526		53

		545		55

		568		62

		578		92								0.0004882813		0.1806640625		0.0451660156

		585		128

		605		200

		622		225

		634		270

		650		285

		670		297

		690		300

		710		285								768		640

		730		250

		740		220

		760		170

		774		125

		829		60

		888		47





		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0



Strip #10

Strip #30

Strip #50

Strip #70

Strip #90

Strip #100

Strip #120

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		



Strip #526

Strip #545

Strip #578

Strip #585

Strip #605

Strip #622

Strip #634

Bias [Volt]

Normalised CCE



		



Strip Number

Vfd [Volt]



		



Strip #545

Strip #585

Strip #634

Bias [Volt]

Normalised CCE



		



Strip #526

Strip #578

Strip #605

Bias [Volt]

Normalised CCE



		Strip:		#10								Strip:		#30								Strip:		#50								Strip:		#70								Strip:		#90								Strip:		#100		#101						Strip:		#120

				#11										#31										#51										#71										#91										#121										#121

						ideal										ideal										ideal										ideal										ideal										ideal										ideal

		20		0.2059800664		0		0		0.1260683761		20		0.3485714286		0		0		0.2292490119		20		0.1510067114		0		0		0		20		0.1729559748		0		0		0.1299559471		30		0.1035422343		0		0		0		30		0.204610951		0		0		0		20		0.2591006424		0		0		0.263671875

		30		0.1784037559		110		1		0		30		0.2186046512		110		1		0		30		0.1964285714		110		1		0		30		0.1009615385		115		1		0		40		0.1971428571		117.5		1		0		40		0.3086053412		115		1		0		30		0.0874074074		115		1		0.0657534247

		40		0.2587064677						0.0909090909		40		0.3191489362						0		40		0.3269961977						0.118993135		40		0.1943734015						0		50		0.3688888889						0.2443729904		50		0.3851351351						0.1978021978		40		0.0914454277						0.0725244073

		50		0.3577586207						0.2196531792		50		0.4345238095						0.2648401826		60		0.6736842105						0.7946428571		50		0.3125						0.1707317073		60		0.6231884058						0.7816091954		60		0.5677966102						0.688372093		50		0.1515151515						0.1463414634

		60		0.6280991736						0.7375328084		60		0.625						0.619047619		70		0.7365079365						0.916500994		60		0.5102040816						0.5845070423		70		0.7445652174						0.9099437148		70		0.6253869969						0.886405959		60		0.5						0.5

		70		0.7114914425						0.8717948718		70		0.7170731707						0.8559322034		80		0.8419452888						0.9427402863		70		0.689373297						0.8831858407		80		0.8891454965						1		80		0.7331378299						0.9305816135		70		0.8						0.8395522388

		80		0.7915742794						0.9111470113		80		0.7960784314						0.9867374005		90		0.8307692308						0.9512195122		80		0.8141809291						0.9365609349		90		0.9136363636						1		90		0.7967032967						0.938517179		80		0.884086444						0.9252669039

		90		0.7759103641						0.8546845124		90		0.825						0.9734748011												90		0.8523489933						0.9378427788																						90		0.9249011858						0.9491833031

		Residuals		#10-#11								Residuals		#30-#31								Residuals		#50-#51								Residuals		#50-#51								Residuals		#70-#71								Residuals		#90-#91								Residuals		#100-#101

		True position		Est. position		Est. position		Residuals		Residuals		True position		Est. position		Est. position		Residuals		Residuals		True position		Est. position		Est. position		Residuals		Residuals		True position		Est. position		Est. position		Residuals		Residuals		True position		Est. position		Est. position		Residuals		Residuals		True position		Est. position		Est. position		Residuals		Residuals		True position		Est. position		Est. position		Residuals

				200 V		400 V		200 V		400 V				200 V		400 V		200 V		400 V				200 V		400 V		200 V		400 V				200 V		400 V		200 V		400 V				200 V		400 V		200 V		400 V				200 V		400 V		200 V		400 V				200 V		400 V		200 V		400 V

		20		22.657807309		38.3428571429		2.657807309		18.3428571429		20		38.3428571429		25.2173913043		18.3428571429		5.2173913043		20		16.610738255		0		-3.389261745		-20		20		19.8899371069		14.9449339207		-0.1100628931		-5.0550660793		30		12.1662125341		0		-17.8337874659		-30		30		23.530259366		0		-6.469740634		-30		20		29.7965738758		30.322265625		9.7965738758		10.322265625

		30		19.6244131455		24.0465116279		-10.3755868545		-5.9534883721		30		24.0465116279		0		-5.9534883721		-30		30		21.6071428571		0		-8.3928571429		-30		30		11.6105769231		0		-18.3894230769		-30		40		23.1642857143		0		-16.8357142857		-40		40		35.4896142433		0		-4.5103857567		-40		30		10.0518518519		7.5616438356		-19.9481481481		-22.4383561644

		40		28.4577114428		35.1063829787		-11.5422885572		-4.8936170213		40		35.1063829787		0		-4.8936170213		-40		40		35.969581749		13.0892448513		-4.030418251		-26.9107551487		40		22.3529411765		0		-17.6470588235		-40		50		43.3444444444		28.7138263666		-6.6555555556		-21.2861736334		50		44.2905405405		22.7472527473		-5.7094594595		-27.2527472527		40		10.5162241888		8.340306834		-29.4837758112		-31.659693166

		50		39.3534482759		47.7976190476		-10.6465517241		-2.2023809524		50		47.7976190476		29.1324200913		-2.2023809524		-20.8675799087		60		74.1052631579		87.4107142857		14.1052631579		27.4107142857		50		35.9375		19.6341463415		-14.0625		-30.3658536585		60		73.2246376812		91.8390804598		13.2246376812		31.8390804598		60		65.2966101695		79.1627906977		5.2966101695		19.1627906977		50		17.4242424242		16.8292682927		-32.5757575758		-33.1707317073

		60		69.0909090909		68.75		9.0909090909		8.75		60		68.75		68.0952380952		8.75		8.0952380952		70		81.0158730159		100.8151093439		11.0158730159		30.8151093439		60		58.6734693878		67.2183098592		-1.3265306122		7.2183098592		70		87.4864130435		106.9183864916		17.4864130435		36.9183864916		70		71.919504644		101.9366852886		1.919504644		31.9366852886		60		57.5		57.5		-2.5		-2.5

		70		78.2640586797		78.8780487805		8.2640586797		8.8780487805		70		78.8780487805		94.1525423729		8.8780487805		24.1525423729		80		92.6139817629		103.7014314928		12.6139817629		23.7014314928		70		79.2779291553		101.5663716814		9.2779291553		31.5663716814		80		104.474595843		117.5		24.474595843		37.5		80		84.3108504399		107.0168855535		4.3108504399		27.0168855535		70		92		96.5485074627		22		26.5485074627

		80		87.0731707317		87.568627451		7.0731707317		7.568627451		80		87.568627451		108.5411140584		7.568627451		28.5411140584		90		91.3846153846		104.6341463415		1.3846153846		14.6341463415		80		93.630806846		107.7045075125		13.630806846		27.7045075125		90		107.3522727273		117.5		17.3522727273		27.5		90		91.6208791209		107.9294755877		1.6208791209		17.9294755877		80		101.6699410609		106.4056939502		21.6699410609		26.4056939502

		90		85.350140056		90.75		-4.649859944		0.75		90		90.75		107.0822281167		0.75		17.0822281167												90		98.0201342282		107.8519195612		8.0201342282		17.8519195612																						90		106.3636363636		109.1560798548		16.3636363636		19.1560798548





		Far end														End + 1 cm														End + 2 cm														End + 3 cm														End + 3.5 cm

		Strip width		Local coord.												Strip width		Local coord.												Strip width		Local coord.												Strip width		Local coord.												Strip width		Local coord.

		16 µm		21		0.3192771084		0		0		0.3086172345		0.2177531207		25 µm		25		0.2489795918		0		0		0.2296072508		0.0935875217		25 µm		25		0.2344827586		0		0		0.1566820276		0.079338843		30 µm		25		0.1505016722		0		0		0.0805687204		0.052		35 µm		20		0.2591006424		0		0		0.263671875

				22		0.3269230769		61		1		0.3302180685		0.2262118492				26		0.3642857143		78		1		0.3591160221		0.2287390029				26		0.3311897106		95		1		0.2647754137		0.1256038647				26		0.2164948454		108		1		0.0966183575		0.0595238095				30		0.0874074074		115		1		0.0657534247

				23		0.5						0.5		0.5284552846				28		0.6977777778						0.691588785		0.8631578947				27								0.3176470588		0.2993197279				27		0.3470790378						0.2055137845		0.1347248577				40		0.0914454277						0.0725244073

				24		0.6687697161						0.6808943089		0.826435247				29		0.7510204082						0.7796610169		0.9246575342				28		0.6393442623						0.6741573034		0.7946127946				29		0.6487603306						0.7430939227		0.8559837728				50		0.1515151515						0.1463414634

				25		0.6972789116						0.7270788913		0.8104196816																		29		0.7039711191						0.7454545455		0.8982785603				30		0.7683823529						0.884057971		0.9513108614				60		0.5						0.5

																																30		0.7731629393						0.830802603		0.9453376206				31		0.8316498316						0.9351145038		0.98				70		0.8						0.8395522388

																																																												80		0.884086444						0.9252669039

																																																												90		0.9249011858						0.9491833031

				Pos. far end (1)														Pos.(2)=(1)+1 cm														Pos.(3)=(2)+1 cm														Pos.(4)=(3)+1 cm														Pos.(5)=(4)+0.5 cm

		Bias		#119		Int 1		#120				#121		Int 3		#122		#119		Int 1		#120				#121		Int 3		#122		#119		Int 1		#120				#121		Int 3		#122		#119		Int 1		#120				#121		Int 3		#122		#119		Int 1		#120				#121		Int 3		#122

		[Volt]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]

		50		0		0		30		10		115		10		20						20		0		68						0		0		31		0		99		0		0		0		0		0		0		70		0		0						38		21		104		-10

		100		28		0		61		17		179		15		33						44		15		129						20		0		48		24		171		0		31						52		34		145		0		29						62		34		177		-21

		150		30		0		88		40		239		27		44						78		37		184						0		0		71		44		242		0		31						63		58		250		0		29						55		24		385		-31

		200		37		0		115		74		357		37		54						68		41		280						0		0		78		58		383		0		37						37		20		388		-5		20						48		15		454		-24

		250		34		0		101		61		530		51		20						71		44		410						0		0		44		24		509		-24		10						26		10		448		-20		10						45		0		468		-34

		300		23		0		81		37		600		-23		30						58		45		475						0		0		37		13		533		-30		20						22		22		490		-24		10						34		-10		478		-34

		350		34		0		84		27		641		-27		24						51		10		519						0		0		30		0		567		-30		15						20		0		512		-24		0						34		-17		495		-34

		400		23		0		64		0		644		-34		23						51		0		530						0		0		41		0		577		-37		15						20		0		527		-24		0						34		-17		502		-34

		500		10		0		77		0		680		-30		10						48		0		547						0		0		34		0		588		-40		13						10		0		530		-24		0						34		-17		510		-34

				Total										Total										Intermediate strip/total charge

		Bias		Pos.(1)		Pos.(2)		Pos.(3)		Pos.(4)		Pos.(5)		normalised

		[Volt]												Pos.(1)		Pos.(2)		Pos.(3)		Pos.(4)		Pos.(5)		Pos.(1)		Pos.(2)		Pos.(3)		Pos.(4)		Pos.(5)

		50		135		88		99		70		142		0.2023988006		0.1514629948		0.1672297297		0.1328273245		0.2649253731		0.0740740741		0		0		0		0.1478873239

		100		212		173		202		174		239		0.3178410795		0.2977624785		0.3412162162		0.330170778		0.4458955224		0.0801886792		0.0867052023		0.1188118812		0.1954022989		0.1422594142

		150		283		262		273		279		440		0.4242878561		0.4509466437		0.4611486486		0.5294117647		0.8208955224		0.1413427562		0.141221374		0.1611721612		0.2078853047		0.0545454545

		200		411		348		420		408		502		0.616191904		0.5989672978		0.7094594595		0.7741935484		0.9365671642		0.1800486618		0.117816092		0.1380952381		0.0490196078		0.0298804781

		250		550		481		519		458		513		0.8245877061		0.8278829604		0.8766891892		0.8690702087		0.9570895522		0.1109090909		0.0914760915		0.0462427746		0.0218340611		0

		300		630		533		553		500		512		0.9445277361		0.917383821		0.9341216216		0.9487666034		0.9552238806		0.0587301587		0.0844277674		0.0235081374		0.044		-0.01953125

		350		665		570		582		512		529		0.9970014993		0.9810671256		0.9831081081		0.9715370019		0.9869402985		0.0406015038		0.0175438596		0		0		-0.0321361059

		400		667		581		592		527		536		1		1		1		1		1		0		0		0		0		-0.0317164179

		500		690		595		601		530		544		1.0344827586		1.0240963855		1.0152027027		1.0056925996		1.0149253731		0		0		0		0		-0.03125





		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0



0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0



0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0



0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		Time delay		Corrected time		Bias [V]		#120		Int 1		#121		Int 2																		0		0.08185		9.1672		112				0.261052		10		80

		70		55		250		0		0		68		0				0		0		0		610								1		0.168384		18.859008						0.431745		34.5396

		75		50				16		0		150		0				3		0.0512794593		31.2804701969										2		0.312367		34.985104						0.675746		54.05968

		80		45				34		0		245		-25				6		0.2672435413		163.0185601936										3		0.52869		59.21328						1.004992		80.39936

		85		40				54		0		369		-41				9		0.5875634723		358.4137180924										4		0.825982		92.509984						1.426173		114.09384

		90		35				123		32		560		0				12		0.9072872169		553.4452023										5		1.20452		134.90624						1.939189		155.13512

		95		30				154		40		688		0				15		1.1543795498		704.1715253543										6		1.656436		185.520832						2.536774		202.94192

		100		25				188		51		826		-28				18		1.299469696		792.6765145638										7		2.16761		242.77232						3.205258		256.42064

		105		20				199		74		792		0				21		1.3442508459		819.9930160187										8		2.720225		304.6652						3.926179		314.09432

		110		15				188		108		615		-5				24		1.3071636214		797.3698090352										9		3.295125		369.054						4.678293		374.26344

		115		10				176		131		421		79				27		1.2124429531		739.5902013697										10		3.873637		433.847344						5.439553		435.16424

		120		5				85		68		199		34				30		1.0834467691		660.9025291351										11		4.438771		497.142352						6.188773		495.10184

		125		0				0		0		0		0				33		0.9394191906		573.0457062512										12		4.97592		557.30304						6.906842		552.54736

																		36		0.7945091514		484.6505823432										13		5.473185		612.99672						7.577489		606.19912

																		39		0.6580501859		401.410613397										14		5.92143		663.20016						8.187653		655.01224

																		42		0.5354104702		326.6003867976										15		6.31416		707.18592						8.727551		698.20408

																		45		0.4289931162		261.6858008585										16		6.647297		744.497264						9.190552		735.24416

																		48		0.339164421		206.8902967894										17		6.91889		774.91568						9.57288		765.8304

																		51		0.2650152693		161.6593142647										18		7.128793		798.424816						9.873284		789.86272

																		54		0.2049346724		125.0101501754										19		7.278362		815.176544						10.092649		807.41192

																		57		0.1570118833		95.7772488293										20		7.370132		825.454784						10.233604		818.68832

																		60		0.1192986421		72.7721716988										21		7.407557		829.646384						10.300152		824.01216

																		63		0.0899657472		54.8791057793										22		7.394742		828.211104						10.297333		823.78664

																		66		0.0673846758		41.1046522082										23		7.336235		821.65832						10.230914		818.47312

																		69		0.050159177		30.597097963										24		7.236837		810.525744						10.107127		808.57016

																		72		0.0371256796		22.6466645667										25		7.101445		795.36184						9.932439		794.59512

																		75		0.0273359711		16.67494238										26		6.934925		776.7116						9.713365		777.0692

																																27		6.742013		755.105456						9.456316		756.50528

																																28		6.527242		731.051104						9.16749		733.3992

																																29		6.294873		705.025776						8.852766		708.22128

																																30		6.048868		677.473216						8.517644		681.41152

																																31		5.792859		648.800208						8.167207		653.37656

																																32		5.530137		619.375344						7.806094		624.48752

																																33		5.263647		589.528464						7.438483		595.07864

																																34		4.995998		559.551776						7.068093		565.44744

																																35		4.729472		529.700864						6.698193		535.85544

																																36		4.466033		500.195696						6.331631		506.53048

																																37		4.207353		471.223536						5.970841		477.66728

																																38		3.954834		442.941408						5.617879		449.43032

																																39		3.709625		415.478						5.274448		421.95584

																																40		3.472645		388.93624						4.941926		395.35408

																																41		3.244611		363.396432						4.621399		369.71192

																																42		3.026052		338.917824						4.313695		345.0956

																																43		2.817337		315.541744						4.019405		321.5524

																																44		2.618692		293.293504						3.738913		299.11304

																																45		2.43022		272.18464						3.472427		277.79416

																																46		2.251916		252.214592						3.219996		257.59968

																																47		2.083687		233.372944						2.981542		238.52336

																																48		1.925365		215.64088						2.756874		220.54992

																																49		1.776718		198.992416						2.545705		203.6564

																																50		1.637465		183.39608						2.347678		187.81424

																																51		1.507286		168.816032						2.162372		172.98976

																																52		1.38583		155.21296						1.989319		159.14552

																																53		1.272725		142.5452						1.828019		146.24152

																																54		1.167583		130.769296						1.677946		134.23568

																																55		1.070007		119.840784						1.538557		123.08456

																																56		0.979598		109.714976						1.409304		112.74432

																																57		0.895956		100.347072						1.289635		103.1708

																																58		0.818688		91.693056						1.179003		94.32024

																																59		0.747406		83.709472						1.076871		86.14968

																																60		0.681733		76.354096						0.982712		78.61696

																																61		0.621304		69.586048						0.896015		71.6812

																																62		0.565769		63.366128						0.816288		65.30304

																																63		0.51479		57.65648						0.743057		59.44456

																																64		0.468044		52.420928						0.675869		54.06952

																																65		0.425227		47.625424						0.614292		49.14336

																																66		0.386049		43.237488						0.557917		44.63336

																																67		0.350235		39.22632						0.506357		40.50856

																																68		0.317529		35.563248						0.459245		36.7396

																																69		0.287687		32.220944						0.416239		33.29912

																																70		0.260483		29.174096						0.377015		30.1612

																																71		0.235705		26.39896						0.341272		27.30176

																																72		0.213156		23.873472						0.308729		24.69832

																																73		0.19265		21.5768						0.279123		22.32984

																																74		0.174018		19.490016						0.25221		20.1768

																																75		0.157101		17.595312						0.227764		18.22112

																																76		0.141751		15.876112						0.205574		16.44592

																																77		0.127834		14.317408						0.185447		14.83576

																																78		0.115224		12.905088						0.167204		13.37632

																																79		0.103806		11.626272						0.150679		12.05432

																																80		0.093474		10.469088						0.13572		10.8576

																																81		0.084131		9.422672						0.122188		9.77504

																																82		0.075686		8.476832						0.109953		8.79624

																																83		0.068058		7.622496						0.098898		7.91184

																																84		0.061172		6.851264						0.088915		7.1132

																																85		0.054959		6.155408						0.079904		6.39232

																																86		0.049356		5.527872						0.071777		5.74216

																																87		0.044307		4.962384

																																88		0.039758		4.452896

																																89		0.035662		3.994144

																																90		0.031975		3.5812

																																91		0.028659		3.209808

																																92		0.025678		2.875936

																																93		0.022998		2.575776

																																94		0.020591		2.306192

																																95		0.018429		2.064048

																																96		0.016489		1.846768

																																97		0.014748		1.651776

																																98		0.013187		1.476944

																																99		0.011787		1.320144





		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0



0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0



0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0



Measured (hit strip)

Calculated

Adjacent strip

Intermediate routing line

Time [ns]

Amplitude [arb. units]

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0



Measured

Calculated

Time [ns]

Amplitude [arb. units]

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0




_1045916510.xls
Chart7

		55		0		55		55

		50		1		50		50

		45		2		45		45

		40		3		40		40

		35		4		35		35

		30		5		30		30

		25		6		25		25

		20		7		20		20

		15		8		15		15

		10		9		10		10

		5		10		5		5

		0		11		0		0

				12

				13

				14

				15

				16

				17

				18

				19

				20

				21

				22

				23

				24

				25

				26

				27

				28

				29

				30

				31

				32

				33

				34

				35

				36

				37

				38

				39

				40

				41

				42

				43

				44

				45

				46

				47

				48

				49

				50

				51

				52

				53

				54

				55

				56

				57

				58

				59

				60

				61

				62

				63

				64

				65

				66

				67

				68



Measured (hit strip)

Calculated

Adjacent strip

Intermediate routing line

Time [ns]

Amplitude [arb. units]

68

10

0

0

150

34.5396

16

0

245

54.05968

34

0

369

80.39936

54

0

560

114.09384

123

32

688

155.13512

154

40

826

202.94192

188

51

792

256.42064

199

74

615

314.09432

188

108

421

374.26344

176

131

199

435.16424

85

68

0

495.10184

0

0

552.54736

606.19912

655.01224

698.20408

735.24416

765.8304

789.86272

807.41192

818.68832

824.01216

823.78664

818.47312

808.57016

794.59512

777.0692

756.50528

733.3992

708.22128

681.41152

653.37656

624.48752

595.07864

565.44744

535.85544

506.53048

477.66728

449.43032

421.95584

395.35408

369.71192

345.0956

321.5524

299.11304

277.79416

257.59968

238.52336

220.54992

203.6564

187.81424

172.98976

159.14552

146.24152

134.23568

123.08456

112.74432

103.1708

94.32024

86.14968

78.61696

71.6812

65.30304

59.44456

54.06952

49.14336

44.63336

40.50856

36.7396



General

		Sector #		Strip's range								1		128

		1		1-128								2		256

		2		129-256								3		384

		3		257-384								4		512

		4		385-512								5		640

		5		513-640								6		768

		6		641-768								7		896

		7		769-896								8		1024

		8		897-1024

		Measured strips:

		Sector #:		1		2		3		4		5		6		7		8





Sheet1

				Bias 200 V		Step posit.		Delta #85		Delta #86		Left Height		Right Height		Sum (L+R)		Eta		Integral		Predicted position		Residuals		Ideal eta

								[µm]		[µm]																0		0

		Strip #85 position		40.3		41		7		115		558		104		662		0.1570996979				18.8519637462		11.8519637462		120		1

		Strip #86 position		52.5		42		17		105		608		154		762		0.2020997375				24.2519685039		7.2519685039

						43		27		95		625		116		741		0.1565452092				18.7854251012		-8.2145748988

						44		37		85		608		227		835		0.2718562874				32.622754491		-4.377245509

						45		47		75		608		446		1054		0.4231499051				50.7779886148		3.7779886148

						46		57		65		568		548		1116		0.4910394265				58.9247311828		1.9247311828

						47		67		55		507		572		1079		0.5301204819				63.6144578313		-3.3855421687

						48		77		45		357		580		937		0.6189967983				74.2796157951		-2.7203842049

						49		87		35		170		570		740		0.7702702703				92.4324324324		5.4324324324

						50		97		25		187		608		795		0.7647798742				91.7735849057		-5.2264150943

						51		107		15		174		600		774		0.7751937984				93.023255814		-13.976744186

																								7.5058591589

																						7.5058591589

																						6

				Bias 200 V		Step posit.		Delta #85		Delta #86		Left Height		Right Height		Sum (L+R)		Eta		Integral						Ideal eta

								[µm]		[µm]																0		0

		Strip #85 position		41.7		43		13		105		755		170		925		0.1837837838								120		1

		Strip #86 position		53.5		44		23		95		778		178		956		0.1861924686

						45		33		85		770		244		1014		0.2406311637

						46		43		75		770		585		1355		0.4317343173

						47		53		65		711		689		1400		0.4921428571

						48		63		55		607		741		1348		0.5497032641

						49		73		45		452		741		1193		0.6211232188

						50		83		35		178		726		904		0.8030973451

						51		93		25		118		711		829		0.8576598311

						52		103		15		104		681		785		0.8675159236

						53		113		5		89		704		793		0.8877679697





Irradiated (4)

		Bias 250 V		Strip #		Centre		Distance		20 V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h		ideal				50 V		Pulse Left		Pulse Right		Pulse sum		h		200 V		Pulse Left		Pulse Right		Pulse sum		h				Volt scan		#85		#86		Total		Normalised

				85		31		110				33.5		25		85		128		12		140		0.0857142857		0		0				253		30		283		0.1060070671				373		16		389		0.0411311054				20		36		126		162		0.3884892086

				86		42						34.5		35		75		132		12		144		0.0833333333		110		1				233		24		257		0.093385214				341		25		366		0.0683060109				30		52		240		292		0.7002398082

												35.5		45		65		84		32		116		0.275862069								204		48		252		0.1904761905				325		50		375		0.1333333333				40		48		317		365		0.8752997602

												37		60		50		22		40		62		0.6451612903								36		76		112		0.6785714286				50		136		186		0.7311827957				50		48		371		407		0.9760191847

		#85		Amplitude		#86		Amplitude				37.5		65		45		40		84		124		0.6774193548								60		197		257		0.766536965				60		305		365		0.8356164384				75		36		380		412		0.9880095923

		39		417		28		417				38.5		75		35		28		152		180		0.8444444444								40		272		312		0.8717948718				32		401		433		0.9260969977				100		32		397		425		1.0191846523

		40		325		29		297				39.5		85		25		24		160		184		0.8695652174								44		281		325		0.8646153846				32		405		437		0.9267734554				120		28		413		441		1.0575539568

		41		50		30		60																																												150		28		417		417		1

		42		0		31		0

		43		68		32		32

		44		361		33		272

						34		409

		Bias 250 V		Strip #		Centre		Distance		20 V		Local coord.						Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h		ideal				50 V		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h		200 V		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h				Volt scan		#4		Int 1		#5		Int 2		Total		Normalised

				4		12.5		115				14.5		20		95		204		-28		36				240		0.15		0		0				333				36				369		0.0975609756				449		-64		48				497		0.0965794769				20		12		-24		200		-48		212		0.4265593561

				5		24						15.5		30		85		240		-36		44				284		0.1549295775		115		1				425		-64		72				497		0.1448692153				573		-112		64				637		0.1004709576				30		40				328		-52		368		0.7404426559

												16.5		40		75		212		-32		44				256		0.171875								373		-48		52				425		0.1223529412				525		-88		52				577		0.0901213172				40		24		-16		381		-88		405		0.814889336

												17.5		50		65		116		-8		48				164		0.2926829268								256		-24		104				360		0.2888888889				373		-64		120				493		0.2434077079				50		28		-24		425		-92		453		0.9114688129

		#4		Amplitude		#5		Amplitude				18.5		60		55		16				32				48		0.6666666667								32				72				104		0.6923076923				60				112				172		0.6511627907				75		16				445		-100		461		0.9275653924

		12		0		21		489				19.5		70		45		52				188		-16		240		0.7833333333								68				385		-48		453		0.8498896247				52				509		-96		561		0.9073083779				100		12		-28		457		-124		469		0.9436619718

		13		0		22		341				20.5		80		35		52				253		-16		305		0.8295081967								76				429		-52		505		0.8495049505				36				549		-96		585		0.9384615385				120		16		-20		465		-120		481		0.967806841

		14		132		23		84				21.5		90		25		28				204		-48		232		0.8793103448								36				393		-84		429		0.9160839161				28				501		-112		529		0.9470699433				150		12		-44		485		-132		497		1

		15		437		24		0

		16		517		25		0

						26		272

		Bias 250 V		Strip #		Centre		Distance		20 V		Local coord.						Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h		ideal				50 V		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h		200 V		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h

				5		24		110				26.5		25		85		197				36				233		0.1545064378		0		0				328				36				364		0.0989010989				445				32				477		0.0670859539

				6		35						27.5		35		75		152				28				180		0.1555555556		110		1				305				36				341		0.1055718475				449				36				485		0.0742268041

												28.5		45		65		116				36				152		0.2368421053								253				60				313		0.1916932907				413				100				513		0.1949317739

												29.5		55		55		44				28				72										60				36				96						72				32				104

												30.5		65		45		28				104				132		0.7878787879								52				212				264		0.803030303				72				345				417		0.8273381295

												31.5		75		35		36				160				196		0.8163265306								32				272				304		0.8947368421				28				405				433		0.935334873

												32.5		85		25		12				164				176		0.9318181818								32				333				365		0.9123287671				72				469				541		0.8669131238

		Bias 250 V		Strip #		Centre		Distance		20 V		Local coord.						Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h		ideal				50 Volt		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h		200 Volts		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h				Volt scan		#115		Int 1		#116		Int 2		Total		Normalised

				115		44		120				47.5		35		85		237				45				282		0.1595744681		0		0				396		-18		54				450		0.12				474		-31		41				515		0.0796116505				10		32		23		132		0		164		0.3326572008

				116		56						48.5		45		75		209		0		54				263		0.2053231939		120		1				387		-13		59				446		0.1322869955				460		-41		45				505		0.0891089109				20		41		25		241		0		282		0.5720081136

												49.5		55		65		128		13		54				182		0.2967032967								264				77				341		0.2258064516				360		-23		90				450		0.2				30		45		25		314		0		359		0.7281947262

												51		70		50		41		13		91				132										63		13		182				245						73		0		250				323		0.72				40		45		25		364		0		409		0.8296146045

		#115		Amplitude		#116		Amplitude				51.5		75		45		77		41		173				250		0.692								91		18		360				451		0.7982261641				91		0		461				552		0.8351449275				50		36		18		400		-13		436		0.8843813387

		42		506		54		483				52.5		85		35		54		30		214				268		0.7985074627								54		23		383				437		0.8764302059				32		-23		460				492		0.9349593496				60		25		0		419		-23		444		0.9006085193

		43		410		55		287				53.5		95		25		41		25		241				282		0.8546099291								36		18		400		-13		436		0.9174311927				27				460		-23		487		0.9445585216				80		27		0		442		-23		469		0.9513184584

		44		77		56		0																																																								100		27		0		446		-23		473		0.9594320487

		45		455		57		0																																																								150		23		0		455		-27		478		0.9695740365

		46		488		58		145																																																								200		27				460		-18		487		0.9878296146

						59		469																																																								300		23				470		-30		493		1





Irradiated (4)

		20		10

		30		20

		40		30

		50		40

		75		50

		100		60

		120		80

		150		100

				150

				200

				300



0.4265593561

0.3326572008

0.7404426559

0.5720081136

0.814889336

0.7281947262

0.9114688129

0.8296146045

0.9275653924

0.8843813387

0.9436619718

0.9006085193

0.967806841

0.9513184584

1

0.9594320487

0.9695740365

0.9878296146

1



Irradiated (5) 

		20		20		20		0

		30		30		30		115

		40		40		40

		50		50		50

		60		60		60

		70		70		70

		80		80		80

		90		90		90



20 Volt

50 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #388-389

0.15

0.0975609756

0.0965794769

0

0.1549295775

0.1448692153

0.1004709576

1

0.171875

0.1223529412

0.0901213172

0.2926829268

0.2888888889

0.2434077079

0.6666666667

0.6923076923

0.6511627907

0.7833333333

0.8498896247

0.9073083779

0.8295081967

0.8495049505

0.9384615385

0.8793103448

0.9160839161

0.9470699433



Irr. corr (5)

		25		25		25		0

		35		35		35		110

		45		45		45

		55		55		55

		65		65		65

		75		75		75

		85		85		85



0.1545064378

0.0989010989

0.0670859539

0

0.1555555556

0.1055718475

0.0742268041

1

0.2368421053

0.1916932907

0.1949317739

0.7878787879

0.803030303

0.8273381295

0.8163265306

0.8947368421

0.935334873

0.9318181818

0.9123287671

0.8669131238



Irr. corr. (6)

		Bias 250 V		Strip #		Centre		Distance		100 V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h		ideal				200 V		Pulse Left		Pulse Right		Pulse sum		h		300 V		Pulse Left		Pulse Right		Pulse sum		h				Volt scan		#13		#14		Total		Normalised						Strip #5		Volt scan		Normalised

				13		8.5		110				11		25		85		351		0		351		0		0		0				369		0		369		0				364		0		364		0				20		5		205		210		0.4338842975						10		140		0.2868852459

				14		19.5						12		35		75		387		0		387		0		110		1				414		0		414		0				414		0		414		0				30		5		273		278		0.5743801653						30		285		0.5840163934

												13		45		65		328		27		355		0.076056338								374		15		389		0.0385604113				383		24		407		0.058968059				40		54		323		377		0.7789256198						50		393		0.8053278689

												14		55		55		154		73		227		0.3215859031								164		59		223		0.264573991				173		68		241		0.2821576763				50		45		360		405		0.8367768595						70		434		0.8893442623

		#13		Amplitude		#14		Amplitude				15		65		45		54		223		277		0.8050541516								63		264		327		0.8073394495				82		278		360		0.7722222222				75		41		405		446		0.9214876033						100		454		0.9303278689

		6		364		17		351				16		75		35		36		378		414		0.9130434783								36		424		460		0.9217391304				32		424		456		0.9298245614				100		32		428		460		0.9504132231						150		468

		7		164		18		164				17		85		25		23		414		437		0.9473684211								23		460		483		0.9523809524				20		464		484		0.958677686				120		23		437		460		0.9504132231						200		485		0.993852459

		8		30		19		0																																												150		27		446		473		0.9772727273						300		488		1

		9		0		20		0																																												200		23		455		478		0.9876033058

		10		209		21		196																																												300		20		464		484		1

		11		370		22		392

		Bias 250 V		Strip #		Centre		Distance		50 V		Local coord.						(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				200 V		Pulse Left		Pulse Right		Pulse sum		h		300 V		Pulse Left		Pulse Right		Pulse sum		h				Volt scan		#33		#34		Total		Normalised

				13		4.8		112				8		32		80		31		334		71		405		0.175308642		0		0				427		-17		410		0				434		-17		417		0				10		48		97		145		0.3325688073				30		112		20		31		163

				14		16						9		42		70		34		317		51		368		0.1385869565		112		1				427		31		458		0.0676855895				458		24		482		0.0497925311				20		51		184		235		0.5389908257				50		157		31		41		229

												10		52		60		0		68		34		102		0.3333333333								89		37		126		0.2936507937				99		34		133		0.2556390977				30		54		263		317		0.7270642202				100		291		51		85		427

												11		62		50		0		65		195		260		0.75								61		266		327		0.8134556575				61		260		321		0.8099688474				50		37		345		382		0.876146789				130		372		58		103		533

		#33		Amplitude		#34		Amplitude				12		72		40		0		51		308		359		0.8579387187								34		413		447		0.9239373602				34		430		464		0.9267241379				75		27		389		416		0.9541284404				150		530		50		109		689

		2		445		13		451				13		82		30		0		37		342		379		0.9023746702								27		427		454		0.9405286344				10		447		457		0.9781181619				100		24		400		424		0.9724770642				200		567		44		65		676

		3		191		14		214																																														125		24		417		441		1.0114678899				250		605		31				636

		4		41		15		41																																														150		20		420		440		1.0091743119				300		612		31				643

		5		34		16		34																																														200		20		424		444		1.0183486239

		6		68		17		58																																														300		20		436		456		1.0458715596

		7		413		18		330

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.						#120		Int 1		#121		Int 2		#122		Int 3		Pulse sum		h		ideal				200 V		#120		Int 1		#121		Int 2		#122		Int 3		Pulse sum		h		400 V		#120		Int 1		#121		Int 2		#122		Int 3		Pulse sum		h						Volt scan		#120		Int 1		#121		Int 2		#122		Total		Normalised

				121		40		117				43		30		87		30		24		167		24		48		17		215		0.223255814		0		0				24		20		266		10		34		0		300		0.1133333333				10		0		372		-24		20		0		392		0.0510204082						50		0		0		61		0		24		85		0.2093596059

				122		51.7						44		40		77		24		15		140		31		54		117		194		0.2783505155		117		1				27		15		242		27		58		0		300		0.1933333333				0		0		376		-24		31		0		407		0.0761670762						100		20		0		106		0		34		140		0.3448275862

												45		50		67		24		20		99		37		65		0		164		0.3963414634								15		0		171		44		75		0		246		0.3048780488				10		0		311		0		75		0		386		0.1943005181						150		27		10		157		24		48		205		0.5049261084

												47		70		47		0		0		58		41		95		0		153		0.6209150327								0		0		68		48		146		0		214		0.6822429907				0		0		61		17		270		0		331		0.8157099698						200		20		10		253		10		34		287		0.7068965517

		#121		Amplitude		#122		Amplitude				48		80		37		0		0		65		41		143		10		208		0.6875								0		0		58		41		229		0		287		0.7979094077				0		0		34		0		366		-13		400		0.915						250		10		5		317		0		27		344		0.8472906404

		38		345		49		366				49		90		27		0		0		51		34		157		0		208		0.7548076923								0		0		44		27		266		0		310		0.8580645161				0		0		27		0		376		-17		403		0.9330024814						300		0		0		349		0		31		380		0.9359605911

		39		37		50		201																																																																						350		0		0		362		-15		27		389		0.9581280788

		40		30		51		34																																																																						400		0		0		372		-17		34		406		1

		41		34		52		24																																																																						500		0		0		383		-20		27		410		1.0098522167

		42		195		53		58

		43		362		54		342

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.						(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				200 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		400 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h						Volt scan		#109		#110		Total		Normalised

				109		12.4		116				15		26		90		31		178		51		229		0.2227074236		0		0				15		280		24		304		0.0789473684						369		0		369		0						50		65		0		65		0.1747311828

				110		24						16		36		80		24		154		58		212		0.2735849057		116		1				24		263		41		304		0.1348684211						372		0		372		0						100		123		37		160		0.4301075269

												17		46		70		20		123		71		194		0.3659793814								30		215		71		286		0.2482517483						331		41		372		0.1102150538						150		171		51		222		0.5967741935

												19		66		50		0		68		95		163		0.5828220859								0		71		146		217		0.6728110599						58		242		300		0.8066666667						200		287		24		311		0.8360215054

		#109		Amplitude		#110		Amplitude				20		76		40		0		68		146		214		0.6822429907								0		58		242		300		0.8066666667						34		338		372		0.9086021505						250		334		0		334		0.8978494624

		10		308		21		291				21		86		30		0		58		167		225		0.7422222222								0		44		259		303		0.8547854785						0		345		345		1						300		351		0		351		0.9435483871

		11		37		22		208																																																				350		366		0		366		0.9838709677

		12		0		23		31																																																				400		372		0		372		1

		13		0		24		27																																																				500		383		0		383		1.0295698925

		14		225		25		31

		15		321		26		235

						27		285

		Bias 250 V		Strip #		Centre		Distance		100 V		Local coord.						(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				300 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		400 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h						Volt scan		#72		#73		Total		Normalised

				72		29.1		114				31.5		24		90				253		34		287		0.118466899		0		0						355		1		356		0.0028089888						0		0		0		0						25		44		20		64		0.170212766

				73		40.5						32.5		34		80				242		48		290		0.1655172414		114		1						386		1		387		0.0025839793																		50		95		41		136		0.3617021277

												33.5		44		70				150		78		228		0.3421052632										280		41		321		0.1277258567																		75		150		58		208		0.5531914894

												35.5		64		50				54		120		174		0.6896551724										51		222		273		0.8131868132																		100		240		51		291		0.7739361702

		#72		Amplitude		#73		Amplitude				36.5		74		40				68		215		283		0.7597173145										17		376		393		0.9567430025																		125		311		27		338		0.8989361702

		27		249		38		311				37.5		84		30				41		253		294		0.8605442177										1		386		387		0.9974160207																		150		342		10		352		0.9361702128

		28		71		39		106				38		89		25				41		249		290		0.8586206897										20		355		375		0.9466666667																		200		355		10		365		0.9707446809

		28.5		25		40		20																																																				300		376		0		376		1

		29		0		41		31																																																				400		383		0		383		1.0186170213

		30		58		42		154

		31		256		43		334

		Bias 250 V		Strip #		Centre		Distance		100 V		Local coord.						(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				150 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		300 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		200 V		Pulse Left		Pulse Right		Pulse sum		h		Volt scan		#92		#93		Total		Normalised

				92		37.8		116				40		22		94		20		146		41		187		0.2192513369		0		0						259		24		283		0.0848056537						352		1		353		0.0028328612				331		5		336		0.0148809524		50		65		10		75		0.2049180328

				93		49.4						41		32		84		20		140		44		184		0.2391304348		116		1						246		34		280		0.1214285714						369		1		370		0.0027027027				334		5		339		0.0147492625		75		95		10		105		0.2868852459

												42		42		74		24		112		51		163		0.3128834356										208		65		273		0.2380952381						355		1		356		0.0028089888				300		34		334		0.1017964072		100		129		27		156		0.4262295082

												44.5		67		49		0		68		89		157		0.5668789809										82		143		225		0.6355555556						65		256		321		0.7975077882				71		215		286		0.7517482517		125		167		27		194		0.5300546448

		#92		Amplitude		#93		Amplitude				45		72		44				71		103		174		0.591954023										78		198		276		0.7173913043						37		334		371		0.9002695418				54		291		345		0.8434782609		150		236		30		266		0.7267759563

		35		352		47		345				46		82		34				54		123		177		0.6949152542										54		236		290		0.8137931034						1		370		371		0.9973045822				41		328		369		0.8888888889		200		328		0		328		0.8961748634

		36		143		48		68				47		92		24				48		133		181		0.7348066298										48		259		307		0.8436482085						10		359		369		0.972899729				35		331		366		0.9043715847		250		355		0		355		0.9699453552

		37		17		49		0																																																										300		366		0		366		1

		38		17		49.5		0																																																										400		379		0		379		1.0355191257

		39		95		50		0

		40		325		51		116

						52		321

		Bias 250 V		Strip #		Centre		Distance		20 V		Local coord.						(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				50 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		200 V		Pulse Left		Pulse Right		Pulse sum		h								Volt scan		#32		#33		Total		Normalised

				32		43.2		108				45.5		23		85		24		188		30		218		0.1376146789		0		0				24		317		1		318		0.0031446541				400		1		401		0.0024937656								10		89		41		130		0.3147699758

				33		54						46.5		33		75		20		174		44		218		0.2018348624		108		1				20		325		10		335		0.0298507463				410		1		411		0.00243309								20		171		41		212		0.5133171913

												47.5		43		65		24		123		65		188		0.3457446809								20		242		54		296		0.1824324324				342		37		379		0.0976253298								30		232		34		266		0.6440677966

												49		58		50		0		41		58		99		0.5858585859										44		109		153		0.7124183007				51		164		215		0.7627906977								50		321		0		321		0.7772397094

		#32		Amplitude		#33		Amplitude				49.5		63		45				68		116		184		0.6304347826										68		212		280		0.7571428571				65		297		362		0.820441989								75		362		0		362		0.8765133172

		40		393		51		413				50.5		73		35				58		157		215		0.7302325581										44		297		341		0.8709677419				24		389		413		0.9418886199								100		383		0		383		0.9273607748

		41		181		52		291				51		78		30				48		164		212		0.7735849057										41		304		345		0.8811594203				15		393		408		0.9632352941								150		396		0		396		0.9588377724

		42		31		53		51																																																				200		413		0		413		1

		43		24		54		17																																																				300		420		0		420		1.0169491525

		44		80		55		50

		45		359		56		280

						57		403

		Bias 250 V		Strip #		Centre		Distance		50 V		Local coord.						(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				100 V		Pulse Left		Pulse Right		Pulse sum		h		300 V		Pulse Left		Pulse Right		Pulse sum		h										Volt scan		#53		#54		#55		#56		Total		Normalised

				54		39		110				42.5		35		75		24		259		37		296		0.125		0		0				352		1		353		0.0028328612				400		1		401		0.0024937656										10		13		27		41		13		68		0.17

				55		50						43		40		70		24		222		48		270		0.1777777778		110		1				331		1		332		0.0030120482				393		1		394		0.0025380711										25		20		61		109		20		170		0.425

												44		50		60		0		123		58		181		0.320441989								195		44		239		0.1841004184				239		41		280		0.1464285714										50				266		41				307		0.7675

												45.5		65		45		0		51		116		167		0.6946107784								42		178		220		0.8090909091				61		215		276		0.7789855072										75				334		14				348		0.87

		#54		Amplitude		#55		Amplitude				46		70		40				70		201		271		0.741697417								51		308		359		0.8579387187				51		355		406		0.8743842365										100				359		0				359		0.8975

		37		352		47		400				47		80		30				43		260		303		0.8580858086								17		355		372		0.9543010753				1		400		401		0.9975062344										150				372		0				372		0.93

		38		44		48		280																																																				200				383		0				383		0.9575

		39		27		49		41																																																				250				396		0				396		0.99

		40		51		50		20																																																				300				400		0				400		1

		41		266		51		51								512		63		575																																								400				406						406		1.015

		42		390		52		273

						53		410

		Bias 250 V		Strip #		Centre		Distance		50 V		Local coord.						(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				100 V		Pulse Left		Pulse Right		Pulse sum		h		250 V		Pulse Left		Pulse Right		Pulse sum		h										Volt scan		#64		#65		Total		Normalised

				63		1		120				4.5		35		85		37		161		65		226		0.2876106195		0		0				317		1		318		0.0031446541				376		1		377		0.0026525199										25		34		75		109		0.2632850242

				64		13						5.5		45		75		30		137		82		219		0.3744292237		120		1				297		54		351		0.1538461538				376		15		391		0.0383631714										50		55		164		219		0.5289855072

												6		50		70		0		123		78		201		0.3880597015								249		58		307		0.1889250814				325		41		366		0.1120218579										75		37		290		327		0.7898550725

												7.5		65		55		0		38		51		89		0.5730337079								40		106		146		0.7260273973				51		129		180		0.7166666667										100		27		330		357		0.8623188406

		#63		Amplitude		#64		Amplitude				8		70		50				71		103		174		0.591954023								61		242		303		0.798679868				58		300		358		0.8379888268										150		27		359		386		0.9323671498

		-1		352		10		400				9		80		40				75		143		218		0.6559633028								41		325		366		0.8879781421				31		372		403		0.9230769231										200		24		372		396		0.9565217391

		0		44		11		280				10		90		30				51		164		215		0.7627906977								34		334		368		0.9076086957				20		389		409		0.9511002445										250		20		379		399		0.9637681159

		1		27		12		41																																																				300		24		382		406		0.9806763285

		2		51		13		20																																																				350		24		390		414		1

		3		266		14		51

		4		390		15		273





Irradiated (6)

		Bias 250 V		Strip #		Centre		Distance		100 V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h		ideal				200 V		Pulse Left		Pulse Right		Pulse sum		h		300 V		Pulse Left		Pulse Right		Pulse sum		h				Volt scan		#13		#14		Total		Normalised						Strip #5		Volt scan		Normalised

				13		8.5		110				11		25		85		351		17		368		0.0461956522		0		0				369		17		386		0.0440414508				364		17		381		0.0446194226				20		5		205		210		0.4338842975						10		140		0.2868852459

				14		19.5						12		35		75		387		24		411		0.0583941606		110		1				414		24		438		0.0547945205				414		24		438		0.0547945205				30		5		273		278		0.5743801653						30		285		0.5840163934

												13		45		65		328		54		382		0.1413612565								374		55		429		0.1282051282				383		48		431		0.1113689095				40		54		323		377		0.7789256198						50		393		0.8053278689

												14		55		55		154		73		227		0.3215859031								164		59		223		0.264573991				173		68		241		0.2821576763				50		45		360		405		0.8367768595						70		434		0.8893442623

		#13		Amplitude		#14		Amplitude				15		65		45		54		223		277		0.8050541516								63		264		327		0.8073394495				82		278		360		0.7722222222				75		41		405		446		0.9214876033						100		454		0.9303278689

		6		364		17		351				16		75		35		36		378		414		0.9130434783								36		424		460		0.9217391304				32		424		456		0.9298245614				100		32		428		460		0.9504132231						150		468

		7		164		18		164				17		85		25		23		414		437		0.9473684211								23		460		483		0.9523809524				20		464		484		0.958677686				120		23		437		460		0.9504132231						200		485		0.993852459

		8		30		19		0																																												150		27		446		473		0.9772727273						300		488		1

		9		0		20		0																																												200		23		455		478		0.9876033058

		10		209		21		196																																												300		20		464		484		1

		11		370		22		392

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.						#120		Int 1		#121		Int 2		#122		Int 3		Pulse sum		h		ideal				200 V		#120		Int 1		#121		Int 2		#122		Int 3		Pulse sum		h		400 V		#120		Int 1		#121		Int 2		#122		Int 3		Pulse sum		h						Volt scan		#120		Int 1		#121		Int 2		#122		Total		Normalised

				121		40		117				43		30		87		30		24		167		24		48		17		215		0.223255814		0		0				24		20		266		10		34		0		300		0.1133333333				10		0		372		-24		20		0		392		0.0510204082						50		0		0		61		0		24		85		0.2093596059

				122		51.7						44		40		77		24		15		140		31		54		117		194		0.2783505155		117		1				27		15		242		27		58		0		300		0.1933333333				0		0		376		-24		31		0		407		0.0761670762						100		20		0		106		0		34		140		0.3448275862

												45		50		67		24		20		99		37		65		0		164		0.3963414634								15		0		171		44		75		0		246		0.3048780488				10		0		311		0		75		0		386		0.1943005181						150		27		10		157		24		48		205		0.5049261084

												47		70		47		0		0		58		41		95		0		153		0.6209150327								0		0		68		48		146		0		214		0.6822429907				0		0		61		17		270		0		331		0.8157099698						200		20		10		253		10		34		287		0.7068965517

		#121		Amplitude		#122		Amplitude				48		80		37		0		0		65		41		143		10		208		0.6875								0		0		58		41		229		0		287		0.7979094077				0		0		34		0		366		-13		400		0.915						250		10		5		317		0		27		344		0.8472906404

		38		345		49		366				49		90		27		0		0		51		34		157		0		208		0.7548076923								0		0		44		27		266		0		310		0.8580645161				0		0		27		0		376		-17		403		0.9330024814						300		0		0		349		0		31		380		0.9359605911

		39		37		50		201																																																																						350		0		0		362		-15		27		389		0.9581280788

		40		30		51		34																																																																						400		0		0		372		-17		34		406		1

		41		34		52		24																																																																						500		0		0		383		-20		27		410		1.0098522167

		42		195		53		58

		43		362		54		342

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.						(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				200 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		400 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h						Volt scan		#109		#110		Total		Normalised

				109		12.4		116				15		26		90		31		178		51		229		0.2227074236		0		0				15		280		24		304		0.0789473684						369		15		384		0.0390625						50		65		0		65		0.1747311828

				110		24						16		36		80		24		154		58		212		0.2735849057		116		1				24		263		41		304		0.1348684211						372		24		396		0.0606060606						100		123		37		160		0.4301075269

												17		46		70		20		123		71		194		0.3659793814								30		215		71		286		0.2482517483						331		41		372		0.1102150538						150		171		51		222		0.5967741935

												19		66		50		0		68		95		163		0.5828220859								0		71		146		217		0.6728110599						58		242		300		0.8066666667						200		287		24		311		0.8360215054

		#109		Amplitude		#110		Amplitude				20		76		40		0		68		146		214		0.6822429907								0		58		242		300		0.8066666667						34		338		372		0.9086021505						250		334		0		334		0.8978494624

		10		308		21		291				21		86		30		0		58		167		225		0.7422222222								0		44		259		303		0.8547854785						15		345		360		0.9583333333						300		351		0		351		0.9435483871

		11		37		22		208																																																				350		366		0		366		0.9838709677

		12		0		23		31																																																				400		372		0		372		1

		13		0		24		27																																																				500		383		0		383		1.0295698925

		14		225		25		31

		15		321		26		235

						27		285

		Bias 250 V		Strip #		Centre		Distance		100 V		Local coord.						(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				300 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		400 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h						Volt scan		#72		#73		Total		Normalised

				72		29.1		114				31.5		24		90				253		34		287		0.118466899		0		0						355		14		369		0.0379403794						0		0		0		0						25		44		20		64		0.170212766

				73		40.5						32.5		34		80				242		48		290		0.1655172414		114		1						386		25		411		0.0608272506																		50		95		41		136		0.3617021277

												33.5		44		70				150		78		228		0.3421052632										280		56		336		0.1666666667																		75		150		58		208		0.5531914894

												35.5		64		50				54		120		174		0.6896551724										51		222		273		0.8131868132																		100		240		51		291		0.7739361702

		#72		Amplitude		#73		Amplitude				36.5		74		40				68		215		283		0.7597173145										17		376		393		0.9567430025																		125		311		27		338		0.8989361702

		27		249		38		311				37.5		84		30				41		253		294		0.8605442177										1		386		387		0.9974160207																		150		342		10		352		0.9361702128

		28		71		39		106				38		89		25				41		249		290		0.8586206897										20		355		375		0.9466666667																		200		355		10		365		0.9707446809

		28.5		25		40		20																																																				300		376		0		376		1

		29		0		41		31																																																				400		383		0		383		1.0186170213

		30		58		42		154

		31		256		43		334

		Bias 250 V		Strip #		Centre		Distance		100 V		Local coord.						(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				150 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		300 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		200 V		Pulse Left		Pulse Right		Pulse sum		h		Volt scan		#92		#93		Total		Normalised

				92		37.8		116				40		22		94		20		146		41		187		0.2192513369		0		0						259		24		283		0.0848056537						352		15		367		0.0408719346				331		20		351		0.056980057		50		65		10		75		0.2049180328

				93		49.4						41		32		84		20		140		44		184		0.2391304348		116		1						246		34		280		0.1214285714						369		27		396		0.0681818182				334		29		363		0.0798898072		75		95		10		105		0.2868852459

												42		42		74		24		112		51		163		0.3128834356										208		65		273		0.2380952381						355		36		391		0.0920716113				300		55		355		0.1549295775		100		129		27		156		0.4262295082

												44.5		67		49		0		68		89		157		0.5668789809										82		143		225		0.6355555556						65		256		321		0.7975077882				71		215		286		0.7517482517		125		167		27		194		0.5300546448

		#92		Amplitude		#93		Amplitude				45		72		44				71		103		174		0.591954023										78		198		276		0.7173913043						37		334		371		0.9002695418				54		291		345		0.8434782609		150		236		30		266		0.7267759563

		35		352		47		345				46		82		34				54		123		177		0.6949152542										54		236		290		0.8137931034						1		370		371		0.9973045822				41		328		369		0.8888888889		200		328		0		328		0.8961748634

		36		143		48		68				47		92		24				48		133		181		0.7348066298										48		259		307		0.8436482085						10		359		369		0.972899729				35		331		366		0.9043715847		250		355		0		355		0.9699453552

		37		17		49		0																																																										300		366		0		366		1

		38		17		49.5		0																																																										400		379		0		379		1.0355191257

		39		95		50		0

		40		325		51		116

						52		321

		Bias 250 V		Strip #		Centre		Distance		20 V		Local coord.						(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				50 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		200 V		Pulse Left		Pulse Right		Pulse sum		h								Volt scan		#32		#33		Total		Normalised

				32		43.2		108				45.5		23		85		24		188		30		218		0.1376146789		0		0				24		317		14		331		0.0422960725				400		15		415		0.0361445783								10		89		41		130		0.3147699758

				33		54						46.5		33		75		20		174		44		218		0.2018348624		108		1				20		325		30		355		0.0845070423				410		25		435		0.0574712644								20		171		41		212		0.5133171913

												47.5		43		65		24		123		65		188		0.3457446809								20		242		74		316		0.2341772152				342		37		379		0.0976253298								30		232		34		266		0.6440677966

												49		58		50		0		41		58		99		0.5858585859										44		109		153		0.7124183007				51		164		215		0.7627906977								50		321		0		321		0.7772397094

		#32		Amplitude		#33		Amplitude				49.5		63		45				68		116		184		0.6304347826										68		212		280		0.7571428571				65		297		362		0.820441989								75		362		0		362		0.8765133172

		40		393		51		413				50.5		73		35				58		157		215		0.7302325581										44		297		341		0.8709677419				24		389		413		0.9418886199								100		383		0		383		0.9273607748

		41		181		52		291				51		78		30				48		164		212		0.7735849057										41		304		345		0.8811594203				15		393		408		0.9632352941								150		396		0		396		0.9588377724

		42		31		53		51																																																				200		413		0		413		1

		43		24		54		17																																																				300		420		0		420		1.0169491525

		44		80		55		50

		45		359		56		280

						57		403

		Bias 250 V		Strip #		Centre		Distance		50 V		Local coord.						(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				100 V		Pulse Left		Pulse Right		Pulse sum		h		300 V		Pulse Left		Pulse Right		Pulse sum		h										Volt scan		#53		#54		#55		#56		Total		Normalised

				54		39		110				42.5		35		75		24		259		37		296		0.125		0		0				352		15		367		0.0408719346				400		17		417		0.0407673861										10		13		27		41		13		68		0.17

				55		50						43		40		70		24		222		48		270		0.1777777778		110		1				331		25		356		0.0702247191				393		29		422		0.0687203791										25		20		61		109		20		170		0.425

												44		50		60		0		123		58		181		0.320441989								195		55		250		0.22				239		61		300		0.2033333333										50				266		41				307		0.7675

												45.5		65		45		0		51		116		167		0.6946107784								42		178		220		0.8090909091				61		215		276		0.7789855072										75				334		14				348		0.87

		#54		Amplitude		#55		Amplitude				46		70		40				70		201		271		0.741697417								51		308		359		0.8579387187				51		355		406		0.8743842365										100				359		0				359		0.8975

		37		352		47		400				47		80		30				43		260		303		0.8580858086								17		355		372		0.9543010753				1		400		401		0.9975062344										150				372		0				372		0.93

		38		44		48		280																																																				200				383		0				383		0.9575

		39		27		49		41																																																				250				396		0				396		0.99

		40		51		50		20																																																				300				400		0				400		1

		41		266		51		51								512		63		575																																								400				406						406		1.015

		42		390		52		273

						53		410

		Bias 250 V		Strip #		Centre		Distance		50 V		Local coord.						(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				100 V		Pulse Left		Pulse Right		Pulse sum		h		250 V		Pulse Left		Pulse Right		Pulse sum		h										Volt scan		#64		#65		Total		Normalised

				63		1		120				4.5		35		85		37		161		65		226		0.2876106195		0		0				317		15		332		0.0451807229				376		15		391		0.0383631714										25		34		75		109		0.2632850242

				64		13						5.5		45		75		30		137		82		219		0.3744292237		120		1				297		50		347		0.144092219				376		39		415		0.0939759036										50		55		164		219		0.5289855072

												6		50		70		0		123		78		201		0.3880597015								249		54		303		0.1782178218				325		61		386		0.1580310881										75		37		290		327		0.7898550725

												7.5		65		55		0		38		51		89		0.5730337079								40		106		146		0.7260273973				51		129		180		0.7166666667										100		27		330		357		0.8623188406

		#63		Amplitude		#64		Amplitude				8		70		50				71		103		174		0.591954023								61		242		303		0.798679868				58		300		358		0.8379888268										150		27		359		386		0.9323671498

		-1		352		10		400				9		80		40				75		143		218		0.6559633028								41		325		366		0.8879781421				31		372		403		0.9230769231										200		24		372		396		0.9565217391

		0		44		11		280				10		90		30				51		164		215		0.7627906977								34		334		368		0.9076086957				20		389		409		0.9511002445										250		20		379		399		0.9637681159

		1		27		12		41																																																				300		24		382		406		0.9806763285

		2		51		13		20																																																				350		24		390		414		1

		3		266		14		51

		4		390		15		273





Irradiated (6)

		20		10		10

		30		20		30

		40		30		50

		50		50		70

		75		75		100

		100		100		150

		120		125		200

		150		150		300

		200		200

		300		300



0.4338842975

0.3325688073

0.2868852459

0.5743801653

0.5389908257

0.5840163934

0.7789256198

0.7270642202

0.8053278689

0.8367768595

0.876146789

0.8893442623

0.9214876033

0.9541284404

0.9303278689

0.9504132231

0.9724770642

0

0.9504132231

1.0114678899

0.993852459

0.9772727273

1.0091743119

1

0.9876033058

1.0183486239

1

1.0458715596



Irr. (7)

		

		Vfd

		Normalised		10		30		50		70		120

		50		0.2016		0.2		0.1500938086		0.1529411765		0.2610294118

		100		0.3248		0.2585365854		0.3114446529		0.3025210084		0.4393382353

		150		0.4832		0.4170731707		0.4671669794		0.4352941176		0.8088235294

		200		0.656		0.6		0.6303939962		0.6268907563		0.9227941176

		250		0.8032		0.8097560976		0.8105065666		0.7613445378		0.9430147059

		300		0.9104		0.856097561		0.8780487805		0.8789915966		0.9411764706

		350		0.928		0.8902439024		0.9099437148		0.9176470588		0.9724264706

		400		0.9696		0.9268292683		0.9230769231		0.9193277311		0.9852941176

		500		1		1		1		1		1

		Strip #		VFD

		10

		30

		50

		70

		120

		Eta scan		#10		#11

								D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		Norm. pulse

								20		90		239		62		301		0.2059800664		0		0				20		90		409		59		468		0.1260683761		0.6688888889

								30		80		350		76		426		0.1784037559		110		1				30		80		582		32		614		0.0521172638		0.9466666667

								40		70		298		104		402		0.2587064677								40		70		520		60		580		0.1034482759		0.8933333333

								50		60		149		83		232		0.3577586207								50		60		270		76		346		0.2196531792		0.5155555556

								60		50		90		152		242		0.6280991736								60		50		100		281		381		0.7375328084		0.5377777778

								70		40		118		291		409		0.7114914425								70		40		80		544		624		0.8717948718		0.9088888889

								80		30		94		357		451		0.7915742794								80		30		55		564		619		0.9111470113		1.0022222222

								90		20		80		277		357		0.7759103641								90		20		76		447		523		0.8546845124		0.7933333333

				#30		#31		200 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		Norm. pulse

										20		90		114		61		175		0.3485714286		0		0				20		90		195		58		253		0.2292490119		0.6730769231

										30		80		168		47		215		0.2186046512		110		1				30		80		309		15		324		0.0462962963		0.8269230769

										40		70		160		75		235		0.3191489362								40		70		328		27		355		0.076056338		0.9038461538

										50		60		95		73		168		0.4345238095								50		60		161		58		219		0.2648401826		0.6461538462

										60		50		39		65		104		0.625								60		50		56		91		147		0.619047619		0.4

										70		40		58		147		205		0.7170731707								70		40		51		303		354		0.8559322034		0.7884615385

										80		30		52		203		255		0.7960784314								80		30		15		372		387		0.9612403101		0.9807692308

										90		20		42		198		240		0.825								90		20		10		367		377		0.9734748011		0.9230769231

				#50		#51		200 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		Norm. pulse

										20		90		253		45		298		0.1510067114		0		0				20		90		429		24		453		0.0529801325		0.903030303

										30		80		225		55		280		0.1964285714		110		1				30		80		423		32		455		0.0703296703		0.8484848485

										40		70		177		86		263		0.3269961977								40		70		385		72		457		0.1575492341		0.796969697

										50		60		0		0		0										50		60		0		0		0		0		0

										60		50		62		128		190		0.6736842105								60		50		69		267		336		0.7946428571		0.5757575758

										70		40		83		232		315		0.7365079365								70		40		42		461		503		0.916500994		0.9545454545

										80		30		52		277		329		0.8419452888								80		30		28		461		489		0.9427402863		0.996969697

										90		20		55		270		325		0.8307692308								90		20		24		468		492		0.9512195122		0.9848484848

				#70		#71		200 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		Norm. pulse

										20		95		263		55		318		0.1729559748		0		0				20		95		395		59		454		0.1299559471		0.7066666667

										30		85		374		42		416		0.1009615385		115		1				30		85		547		20		567		0.0352733686		0.9244444444

										40		75		315		76		391		0.1943734015								40		75		550		38		588		0.0646258503		0.8688888889

										50		65		121		55		176		0.3125								50		65		204		58		262		0.2213740458		0.3911111111

										60		55		48		50		98		0.5102040816								60		55		59		83		142		0.5845070423		0.2177777778

										70		45		114		253		367		0.689373297								70		45		66		499		565		0.8831858407		0.8155555556

										80		35		76		333		409		0.8141809291								80		35		38		561		599		0.9365609349		0.9088888889

										90		25		66		381		447		0.8523489933								90		25		34		513		547		0.9378427788		0.9933333333

				#120		#121		200 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		Norm. pulse

										20		100		346		121		467		0.2591006424		0		0				20		100		377		135		512		0.263671875		0.6867647059

										30		90		616		59		675		0.0874074074		115		1				30		90		682		48		730		0.0657534247		0.9926470588

										40		80		616		62		678		0.0914454277								40		80		665		52		717		0.0725244073		0.9970588235

										50		70		308		55		363		0.1515151515								50		70		385		66		451		0.1463414634		0.7117647059

										60		60		59		59		118		0.5								60		60		66		66		132		0.5		0.231372549

										70		50		90		360		450		0.8								70		50		86		450		536		0.8395522388		0.8823529412

										80		40		59		450		509		0.884086444								80		40		42		520		562		0.9252669039		0.9980392157

										90		30		38		468		506		0.9249011858								90		30		28		523		551		0.9491833031		0.9921568627

				Sample of metal strip scan

		#10		#10		Amplitude		Norm. ampl.

		25.5		0		491		0.982

		26		5		376		0.752

		26.5		10		173		0.346

		27.5		20		0		0

		28		25		0		0

		28.5		30		0		0

		29.5		40		108.6		0.2172

		30		45		310		0.62

		30.5		50		472		0.944

		Strip		#90		#91		200 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		Pulse Left		Pulse Right		Pulse sum		h

										38		30		87.5		329		38		367		0.1035422343		0		0				436		14		450		0.0311111111

										39		40		77.5		281		69		350		0.1971428571		117.5		1				433		25		458		0.0545851528

										40		50		67.5		142		83		225		0.3688888889								235		76		311		0.2443729904

										41		60		57.5		52		86		138		0.6231884058								38		136		174		0.7816091954

										42		70		47.5		94		274		368		0.7445652174								48		485		533		0.9099437148

										43		80		37.5		48		385		433		0.8891454965								0		526		526		1

										44		90		27.5		38		402		440		0.9136363636								0		523		523		1

		Strip #		150 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				200 V		Pulse Left		Pulse Right		Pulse sum		h		400 V		Pulse Left		Pulse Right		Pulse sum		h

		100				24		30		85		276		71		347		0.204610951		0		0				405		25		430		0.0581395349				509		24		533		0.0450281426

		101				25		40		75		233		104		337		0.3086053412		115		1				388		74		462		0.1601731602				516		38		554		0.0685920578

						26		50		65		91		57		148		0.3851351351								142		54		196		0.2755102041				219		62		281		0.2206405694

						27		60		55		51		67		118		0.5677966102								64		101		165		0.6121212121				67		148		215		0.688372093

						28		70		45		121		202		323		0.6253869969								111		317		428		0.7406542056				61		476		537		0.886405959

						29		80		35		91		250		341		0.7331378299								71		385		456		0.8442982456				37		496		533		0.9305816135

						30		90		25		74		290		364		0.7967032967								57		425		482		0.8817427386				34		519		553		0.938517179

		New 0 position

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.						#119		Int 1		#120				#121		Int 3		#122		Sum		h		Ideal				200 V		Local coord.						#119		Int 1		#120				#121		Int 3		#122		Sum		h		400 V		Local coord.						#119		Int 1		#120				#121		Int 3		#122		Sum		h

				120		22.2		118				25		28		90		32		0		333		23		50		0		0		383		0.1305483029		0		0				25		250		-250		13		0		396		-13		35		0		0		431		0.0812064965				25		250		-250		10		0		469		-23		32		0		0		501		0.0638722555

				121		34						26		38		80		32		0		314		30		54		0		0		368		0.1467391304		118		1				26		260		-260		23		0		424		-13		36		0		0		460		0.0782608696				26		260		-260		0		0		469		-27		30		0		0		499		0.0601202405

												27		48		70		27		0		259		54		86		0		13		345		0.2492753623								27		270		-270		0		0		387		23		68		0		0		455		0.1494505495				27		270		-270		0		0		492		-23		63		0		0		555		0.1135135135

												28		58		60		0		0		41		0		27		0		0		68		0.3970588235								28		280		-280		0		0		59		0		41		0		0		100		0.41				28		280		-280		0		0		77		0		45		0		0		122		0.368852459

		#121		Ampitude		#121		Amplitude				29		68		50		18		0		68		41		132		0		32		200		0.66								29		290		-290		0		0		59		32		178		0		0		237		0.7510548523				29		290		-290		0		0		73		18		273		0		32		346		0.789017341

		20		483		32		451				30		78		40		18		0		86		68		264		0		27		350		0.7542857143								30		300		-300		0		0		50		10		506		-18		0		556		0.9100719424				30		300		-300		0		0		50		10		506		-18		0		556		0.9100719424

		21		86		33		54				31		88		30		0				63		50		342		0		32		405		0.8444444444								31		310		-310		0		0		41		18		428		-23		18		469		0.9125799574				31		310		-310		0		0		36		0		496		-23		18		532		0.9323308271

		22		45		34		32

		23		23		35		45				Estimated strip width:

		24		154		36		387				35 µm

		25		470





Irr. (7)

		30		30		0

		40		40		115

		50		50

		60		60

		70		70

		80		80

		90		90



200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #760-761

0.0874074074

0.0657534247

0

0.0914454277

0.0725244073

1

0.1515151515

0.1463414634

0.5

0.5

0.8

0.8395522388

0.884086444

0.9252669039

0.9249011858

0.9491833031



Non irr. (2)

		0		28		28		28

		118		38		38		38

				48		48		48

				58		58		58

				68		68		68

				78		78		78

				88		88		88



Local position [µm]

Right charge/Total charge

Scan across strips #760-761

0

0.1305483029

0.0812064965

0.0638722555

1

0.1467391304

0.0782608696

0.0601202405

0.2492753623

0.1494505495

0.1135135135

0.3970588235

0.41

0.368852459

0.66

0.7510548523

0.789017341

0.7542857143

0.9100719424

0.9100719424

0.8444444444

0.9125799574

0.9323308271



Various final Pic.

		30		30		0

		40		40		110

		50		50

		60		60

		70		70

		80		80



200 Volts

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #650-651

0.1784037559

0.0521172638

0

0.2587064677

0.1034482759

1

0.3577586207

0.2196531792

0.6280991736

0.7375328084

0.7114914425

0.8717948718

0.7915742794

0.9111470113



Final pic. eta

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.						Pulse 24		Pulse 25		Pulse sum		h		ideal				400 V		Local coord.						Pulse 24		Pulse 25		Pulse sum		h

				24		22.2		120				24.5		23		97		589		98		687		0.1426491994		0		0				24.5		23		97		841		0		841		0

				25		34.2						25.5		33		87		663		135		798		0.1691729323		120		1				25.5		33		87		892		0		892		0

												26.5		43		77		565		140		705		0.1985815603								26.5		43		77		841		61		902		0.0676274945

												27.5		53		67		425		233		658		0.3541033435								27.5		53		67		715		332		1047		0.3170964661

		#24		Amplitude		#25		Amplitude				28		58		62		388		318		706		0.4504249292								28		58		62		607		514		1121		0.4585191793

		20.5		715		32		738				28.5		63		57		322		388		710		0.5464788732								28.5		63		57		402		691		1093		0.6322049405

		21		579		32.5		663				29.5		73		47		196		520		716		0.7262569832								29.5		73		47		135		888		1023		0.8680351906

		21.5		462		33		486				30.5		83		37		201		645		846		0.7624113475								30.5		83		37		140		906		1046		0.8661567878

		22		374		33.5		402				31.5		93		27		140		551		691		0.7973950796								31.5		93		27		112		850		962		0.8835758836

		22.5		340		34		336				32		98		22		112		490		602		0.8139534884								32		98		22		98		771		869		0.8872266974

		23		416		34.5		327

		23.5		551		35		378

		24		631		35.5		462

		24.5		757		36		603

						36.5		705

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D39		D40		Pulse 39		Pulse 40		Pulse sum		h		ideal				400 V		Local coord.		D39		D40		Pulse 39		Pulse 40		Pulse sum		h

				39		38.5		120				41		25		95		537		98		635		0.1543307087		0		0				41		25		95		818		0		818		0

				40		50.5						42		35		85		598		159		757		0.2100396301		120		1				42		35		85		850		0		850		0

												43		45		75		495		159		654		0.2431192661								43		45		75		780		60		840		0.0714285714

												44		55		65		378		290		668		0.4341317365								44		55		65		663		397		1060		0.3745283019

		#39		Amplitude		#40		Amplitude				45		65		55		252		411		663		0.6199095023								45		65		55		360		673		1033		0.651500484

		37.5		446		49.5		474				46		75		45		168		547		715		0.765034965								46		75		45		126		892		1018		0.8762278978

		38.5		265		50.5		339				47		85		35		173		659		832		0.7920673077								47		85		35		103		897		1000		0.897

		39		274		51		367				48		95		25		135		603		738		0.8170731707								48		95		25		89		836		925		0.9037837838

		39.5		395		51.5		442				49		105		15		84		406		490		0.8285714286								49		105		15		84		682		766		0.8903394256

		40.5		553		52.5		679				50		115		5		70		276		346		0.7976878613								50		115		5		65		462		527		0.8766603416

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D64		D65		Pulse 64		Pulse 65		Pulse sum		h		ideal				400 V		Local coord.		D64		D65		Pulse 64		Pulse 65		Pulse sum		h

				64		38		118				39.5		15		103		509		84		593		0.1416526138		0		0				39.5		15		103		761		0		761		0

				65		49.8						40.5		25		93		738		135		873		0.1546391753		120		1				40.5		25		93		836		0		836		0

												41.5		35		83		715		135		850		0.1588235294								41.5		35		83		888		0		888		0

												42.5		45		73		593		206		799		0.2578222778								42.5		45		73		803		177		980		0.5581632653

		#64		Amplitude		#65		Amplitude				43.5		55		63		472		383		855		0.4479532164								43.5		55		63		654		547		1201		0.6378018318

		37		458		48.5		537				44.5		65		53		313		530		843		0.6287069988								44.5		65		53		318		766		1084		0.7066420664

		38		322		49.5		322				45.5		75		43		219		696		915		0.7606557377								45.5		75		43		126		902		1028		0.8774319066

		38.5		472		50		332				46.5		85		33		224		748		972		0.7695473251								46.5		85		33		131		916		1047		0.8748806113

		39		579		50.5		411				47.5		95		23		135		589		724		0.8135359116								47.5		95		23		98		813		911		0.8924259056

		40		813		51.5		705				48		100		18		121		514		635		0.8094488189								48		100		18		107		733		840		0.8726190476

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D85		D86		Pulse 85		Pulse 86		Pulse sum		h		ideal				400 V		Local coord.		D85		D86		Pulse 85		Pulse 86		Pulse sum		h		h-1

				85		46.5		120				47		5		115		472		89		561		0.8413547237		0		0				47		5		115		551		65		616		0.1055194805		0.8944805195

				86		58.5						48		15		105		705		89		794		0.8879093199		120		1				48		15		105		813		51		864		0.0590277778		0.9409722222

												49		25		95		864		117		981		0.880733945								49		25		95		920		0		920		0		1

												50		35		85		874		187		1061		0.8237511781								50		35		85		911		70		981		0.0713557594		0.9286442406

		#85		Amplitude		#86		Amplitude				51		45		75		799		201		1000		0.799								51		45		75		897		107		1004		0.1065737052		0.8934262948

		45		654		57		663				52		55		65		645		486		1131		0.5702917772								52		55		65		780		589		1369		0.4302410519		0.5697589481

		46		462		58		504				53		65		55		430		705		1135		0.3788546256								53		65		55		453		794		1247		0.6367281476		0.3632718524

		46.5		486		58.5		477				54		75		45		248		813		1061		0.2337417531								54		75		45		126		874		1000		0.874		0.126

		47		598		59		598				55		85		35		266		860		1126		0.2362344583								55		85		35		131		883		1014		0.8708086785		0.1291913215

		48		775		60		813				56		95		25		149		771		920		0.1619565217								56		95		25		107		845		952		0.887605042		0.112394958

												57		105		15		112		654		766		0.1462140992								57		105		15		93		705		798		0.8834586466		0.1165413534

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D85		D86		Pulse 85		Pulse 86		Pulse sum		h		ideal				Local coord.		D85		D86		Pulse 85		Pulse 86		Pulse sum		h

				120		25.5		120				27.5		20		100		472		89		561		0.1586452763		0		0		27.5		20		100		845		210		1055		0.1990521327

				121		37.5						28.5		30		90		705		89		794		0.1120906801		120		1		28.5		30		90		892		173		1065		0.1624413146

												29.5		40		80		864		117		981		0.119266055						29.5		40		80		916		177		1093		0.1619396157

												30.5		50		70		874		187		1061		0.1762488219						30.5		50		70		850		570		1420		0.4014084507

		#120		Amplitude		#121		Amplitude				31.5		60		60		799		201		1000		0.201						31.5		60		60		640		827		1467		0.5637355147

		24.5		719		36		794				32.5		70		50		645		486		1131		0.4297082228						32.5		70		50		187		900		1087		0.8279668813

		25.5		369		37		519				33.5		80		40		430		705		1135		0.6211453744						33.5		80		40		112		920		1032		0.8914728682

		26		561		37.5		481				34.5		90		30		248		813		1061		0.7662582469						34.5		90		30		177		911		1088		0.8373161765

		26.5		794		38		757				35.5		100		20		266		860		1126		0.7637655417						35.5		100		20		154		855		1009		0.8473736373

		27.5		902		39		888				36.5		110		10		635		771		1406		0.5483641536						36.5		110		10		168		673		841		0.8002378121

				Strip numbers																																																														Normalised

		Bias		24		25		total		39		40		total		64		65		total		84		85		86		87		total		total		64		65		total		99		100		total		73		74		total		120		121		total										1		2		3		4		5		6		7

		50		173		56		229		32		140		172		79		187		266		51		191		149		42		433		340		139		354		493		163		189		352		200		88		288		453		173		626										0.257751938		0.2470978441		0.2458423717		0.3912698413		0.2693190513		0.24		0.5424610052

		100		257		61		318		70		257		327		159		378		537		70		330		257		56		713		587		232		604		836		316		373		689		421		201		622		719		383		1102										0.5203488372		0.4262023217		0.424439624		0.6634920635		0.5271614384		0.5183333333		0.9549393414

		150		402		93		495		117		411		528		210		532		742		100		514		402		75		1091		916		378		796		1174		426		516		942		593		294		887		934		229		1163										0.7189922481		0.6666666667		0.6623282719		0.9317460317		0.7207345065		0.7391666667		1.0077989601

		200		589		98		687		131		589		720		219		719		938		75		659		467		47		1248		1126		378		889		1267		479		612		1091		779		255		1034		953		223		1176										0.9089147287		0.7744610282		0.8141720897		1.0055555556		0.8347360367		0.8616666667		1.0190641248

		250		748		0		748		112		743		855		191		818		1009		60		743		519		32		1354		1262		308		941		1249		506		699		1205		950		245		1195		948		238		1186										0.9777131783		0.8606965174		0.9125090383		0.9912698413		0.921958684		0.9958333333		1.027729636

		300		775		0		775		98		813		911		159		892		1051		51		771		551				1373		1322		250		994		1244		516		742		1258		1000		167		1167		948		215		1163										1.0184108527		0.9137645108		0.9558929863		0.9873015873		0.9625095639		0.9725		1.0077989601

		350		803		0		803		89		841		930		145		888		1033		37		743		547				1327		1290		221		1017		1238		512		742		1254		1053		167		1220		939		206		1145										1.0009689922		0.9071310116		0.9327548807		0.9825396825		0.9594491201		1.0166666667		0.9922010399

		400		841		0		841		89		892		981		140		888		1028		32		743		542				1317		1285		221		1029		1250		516		745		1261		1063		176		1239		950		238		1188										0.996124031		0.8988391376		0.9291395517		0.9920634921		0.9648048967		1.0325		1.0294627383

		500		860		0		860		84		850		934		154		878		1032		47		780		603				1430		1383		220		1040		1260		522		785		1307		1063		137		1200		944		210		1154										1		1		1		1		1		1		1

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D64		D65		Pulse 64		Pulse 65		Pulse sum		h		ideal				Local coord.		D64		D65		Pulse 64		Pulse 65		Pulse sum		h

				64		41		120				43		20		100		901		198		1099		0.1801637853		0		0		43		20		100		994		157		1151		0.1364031277

				65		53						44		30		90		930		343		1273		0.2694422624		120		1		44		30		90		1000		190		1190		0.1596638655

												45		40		80		901		337		1238		0.2722132472						45		40		80		970		180		1150		0.1565217391

												46		50		70		773		529		1302		0.4062980031						46		50		70		901		575		1476		0.3895663957

		#64		Amplitude		#65		Amplitude				47		60		60		616		755		1371		0.5506929249						47		60		60		762		883		1645		0.5367781155

		39		889		51		906				48		70		50		424		860		1284		0.6697819315						48		70		50		256		947		1203		0.78719867

		40		703		52		726				49		80		40		420		959		1379		0.6954314721						49		80		40		186		988		1174		0.8415672913

		40.5		453		52.5		465				50		90		30		325		912		1237		0.7372675829						50		90		30		192		994		1186		0.8381112985

		41		395		53		424				51		100		20		227		831		1058		0.7854442344						51		100		20		180		924		1104		0.8369565217

		42		837		54		813

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D99		D100		Pulse 99		Pulse 100		Pulse sum		h		ideal				Local coord.		D99		D100		Pulse 99		Pulse 100		Pulse sum		h

				99		4		120				6		20		100		872		86		958		0.0897703549		0		0		6		20		100		908		0		908		0

				100		16						7		30		90		902		140		1042		0.1343570058		120		1		7		30		90		942		23		965		0.0238341969

												8		40		80		855		133		988		0.1346153846						8		40		80		918		43		961		0.0447450572

												9		50		70		722		100		822		0.1216545012						9		50		70		815		403		1218		0.3308702791

		#99		Amplitude		#100		Amplitude				10		60		60		532		652		1184		0.5506756757						10		60		60		549		745		1294		0.5757341577

		2		832		14		772				11		70		50		270		785		1055		0.7440758294						11		70		50		130		892		1022		0.8727984344

		3		691		15		562				12		80		40		226		888		1114		0.7971274686						12		80		40		86		945		1031		0.916585839

		3.5		452		15.5		393				13		90		30		206		878		1084		0.8099630996						13		90		30		93		905		998		0.9068136273

		4		393		16		432				14		100		20		180		749		929		0.8062432723						14		100		20		165		815		980		0.8316326531

		5		729		17		749

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D73		D74		Pulse 73		Pulse 74		Pulse sum		h		ideal				Local coord.		D73		D74		Pulse 73		Pulse 74		Pulse sum		h

				73		5.5		120				6		5		115		384		384		768		0.5		0		0		6		5		115		503		503		1006		0.5

				74		17.5						7		15		105		648		113		761		0.1484888305		120		1		7		15		105		761		25		786		0.0318066158

												8		25		95		799		138		937		0.1472785486						8		25		95		899		22		921		0.0238870793

												9		35		85		818		157		975		0.161025641						9		35		85		950		16		966		0.016563147

		#73		Amplitude		#74		Amplitude				10		45		75		657		223		880		0.2534090909						10		45		75		872		111		983		0.1129196338

		3.5		767		15.5		755				11		55		65		555		456		1011		0.4510385757						11		55		65		761		531		1292		0.4109907121

		4.5		569		16.5		549				12		65		55		353		603		956		0.6307531381						12		65		55		317		797		1114		0.7154398564

		5		368		17		362				13		75		45		270		837		1107		0.756097561						13		75		45		108		1093		1201		0.9100749376

		5.5		299		17.5		396				14		85		35		309		936		1245		0.7518072289						14		85		35		108		1112		1220		0.9114754098

		6.5		613		18		679				15		95		25		230		916		1146		0.7993019197						15		95		25		83		1044		1127		0.92635315

		Strip #		10		11		Total		30		31		Total		50		51		Total		70		71		Total		90		91		Total		110		111		Total		Normalised		10		30		50		70		90		110

		50		67		15		82		38		8		46		36		15		51		50		10		60		74		18		92		616		180		796		50		0.1876430206		0.1916666667		0.2015810277		0.1754385965		0.2105263158		0.6683459278

		100		119		37		156		66		11		77		60		27		87		79		26		105		126		33		159		831		331		1162		100		0.356979405		0.3208333333		0.3438735178		0.3070175439		0.3638443936		0.9756507137

		150		158		43		201		86		23		109		85		27		112		116		34		150		208		54		262		906		285		1191		150		0.4599542334		0.4541666667		0.442687747		0.4385964912		0.5995423341		1

		200		262		34		296		138		18		156		136		27		163		186		30		216		324		0		324		936		198		1134		200		0.6773455378		0.65		0.6442687747		0.6315789474		0.7414187643		0.9521410579

		250		353		0		353		186		0		186		186		0		186		255		0		255		371		0		371		941		157		1098		250		0.8077803204		0.775		0.7351778656		0.7456140351		0.8489702517		0.9219143577

		300		398		0		398		213		0		213		215		0		215		282		0		282		391		0		391		941		168		1109		300		0.9107551487		0.8875		0.8498023715		0.8245614035		0.8947368421		0.9311502939

		350		429		0		429		231		0		231		225		0		225		295		0		295		417		0		417		953		128		1081		350		0.9816933638		0.9625		0.8893280632		0.8625730994		0.9542334096		0.9076406381

		400		429		0		429		234		0		234		245		0		245		312		0		312		429		0		429		970		163		1133		400		0.9816933638		0.975		0.9683794466		0.9122807018		0.9816933638		0.9513014274

		500		437		0		437		240		0		240		253		0		253		342		0		342		437		0		437		965		157		1122		500		1		1		1		1		1		0.9420654912

		Norm. factor						409.2						220.8						224.8						297.2						409						1108.6

																																																																																																		Routing/Total

																																																																														Strip 120-121				Pos. 39						Strip 120-121				Pos. 41.5

		Strip #		10		11		Total		30		31		Total		50		51		Total		70		71		Total		90		91		Total		110		111		Total		120		int 1		121		int 2		Total						Normalised		10		30		50		70		90		110		120										120		int 1		121		int 2				120		int 1		121		int 2				Rout. 1		Tot.1		Rou. 2		Tot. 2		Rout. 3		Tot. 3		Ratio 1		Ratio 2		Ratio 3

		50		41		85		126		24		58		82		0		80		80		15		76		91														38		21		104		-10		142						50		0.2016		0.2		0.1500938086		0.1529411765		0		0		0.2610294118								50		52		10		24		-10				28		20		70		-10				21		142		10		86		20		118		0.1478873239		0.1162790698		0.1694915254

		100		63		140		203		22		84		106		31		135		166		38		142		180														62		34		177		-21		239						100		0.3248		0.2585365854		0.3114446529		0.3025210084		0		0		0.4393382353								100		97		24		48		-17				66		38		135		-10				34		239		24		169		38		239		0.1422594142		0.1420118343		0.1589958159

		150		92		210		302		38		133		171		52		197		249		48		211		259														55		24		385		-31		440						150		0.4832		0.4170731707		0.4671669794		0.4352941176		0		0		0.8088235294								150		222		17		52		-17				66		38		284		-20				24		440		17		291		38		388		0.0545454545		0.058419244		0.0979381443

		200		81		329		410		39		207		246		45		291		336		48		325		373														48		15		454		-24		502						200		0.656		0.6		0.6303939962		0.6268907563		0		0		0.9227941176								200		287		0		55		0				55		21		395		-30				15		502		0		342		21		471		0.0298804781		0		0.0445859873

		250		59		443		502		32		300		332		34		398		432		24		429		453														45		0		468		-34		513						250		0.8032		0.8097560976		0.8105065666		0.7613445378		0		0		0.9430147059								250		308		-24		55		0				42		0		436		-45				0		513		-24		339		0		478		0		-0.0707964602		0

		300		59		510		569		30		321		351		35		433		468		28		495		523														34		-10		478		-34		512						300		0.9104		0.856097561		0.8780487805		0.8789915966		0		0		0.9411764706								300		308		-17		62		0				55		0		454		-42				-10		512		-17		353		0		509		-0.01953125		-0.0481586402		0

		350		50		530		580		23		342		365		31		454		485		30		516		546														34		-17		495		-34		529						350		0.928		0.8902439024		0.9099437148		0.9176470588		0		0		0.9724264706								350		315		-25		62		0				48		0		478		-45				-17		529		-25		352		0		526		-0.0321361059		-0.0710227273		0

		400		45		561		606		10		370		380		24		468		492		34		513		547														34		-17		502		-34		536						400		0.9696		0.9268292683		0.9230769231		0.9193277311		0		0		0.9852941176								400		315		-28		55		0				42		0		485		-38				-17		536		-28		342		0		527		-0.0317164179		-0.081871345		0

		500		45		580		625		10		400		410		10		523		533		34		561		595						1						1		34		-17		510		-34		544						500		1		1		1		1		1		1		1								500		340		-31		55		0				52		0		520		-38				-17		544		-31		364		0		572		-0.03125		-0.0851648352		0

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h		ideal

				10		24		110				26		20		90		239		62		301		0.2059800664		0		0				26		20		90		409		59		468		0.1260683761		0		0

				11		35						27		30		80		350		76		426		0.1784037559		110		1				27		30		80		582		0		582		0		110		1

												28		40		70		298		104		402		0.2587064677								28		40		70		520		52		572		0.0909090909

												29		50		60		149		83		232		0.3577586207								29		50		60		270		76		346		0.2196531792

		#10		Amplitude		#11		Amplitude				30		60		50		90		152		242		0.6280991736								30		60		50		100		281		381		0.7375328084

		25.5		491		37		343				31		70		40		118		291		409		0.7114914425								31		70		40		80		544		624		0.8717948718

		26		376		38		0				32		80		30		94		357		451		0.7915742794								32		80		30		55		564		619		0.9111470113

		26.5		173		39		0				33		90		20		80		277		357		0.7759103641								33		90		20		76		447		523		0.8546845124

		27.5		0		40		0

		28		0		41		406						25		0.1354679803																						25		0

		28.5		0										35		0.2190721649																						35		0

		29.5		108.6										45		0.3144329897																						45		0

		30		310										48		0.3333333333																						48		0.1697247706

		30.5		472										65		0.6071428571																						65		0.7439759036

														75		0.7055702918																						75		0.8892794376

														85		0.7814726841																						85		1

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h		ideal				400V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h

				30		22		110				24		20		90		114		61		175		0.3485714286		0		0				24		20		90		195		58		253		0.2292490119

				31		33						25		30		80		168		47		215		0.2186046512		110		1				25		30		80		309		0		309		0

												26		40		70		160		75		235		0.3191489362								26		40		70		328		0		328		0

												27		50		60		95		73		168		0.4345238095								27		50		60		161		58		219		0.2648401826

		#30		Amplitude		#31		Amplitude				28		60		50		39		65		104		0.625								28		60		50		56		91		147		0.619047619

		18.5		210		31		280				29		70		40		58		147		205		0.7170731707								29		70		40		51		303		354		0.8559322034

		19.5		163		32		67				30		80		30		52		203		255		0.7960784314								30		80		30		5		372		377		0.9867374005

		20.5		91		33		47				31		90		20		42		198		240		0.825								31		90		20		10		367		377		0.9734748011

		21.5		37		34		49

		22.5		39		35		212

		23.5		137

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h

				50		49		110				51		20		90		253		45		298		0.1510067114		0		0				51		20		90		429		0		429		0

				51		60						52		30		80		225		55		280		0.1964285714		110		1				52		30		80		423		0		423		0

												53		40		70		177		86		263		0.3269961977								53		40		70		385		52		437		0.118993135

												54		50		60		0		0		0		0								54		50		60		0		0		0		0

		#50		Amplitude		#51		Amplitude				55		60		50		62		128		190		0.6736842105								55		60		50		69		267		336		0.7946428571

		46.5		320		57.5		385				56		70		40		83		232		315		0.7365079365								56		70		40		42		461		503		0.916500994

		47.5		42		58.5		50				57		80		30		52		277		329		0.8419452888								57		80		30		28		461		489		0.9427402863

		48.5		0		59.5		0				58		90		20		55		270		325		0.8307692308								58		90		20		24		468		492		0.9512195122

		49.5		0		60.5		30

		50.5		229		61.5		104						20										0.1510067114										20										0

						62.5		385						30										0.1964285714										30										0

														40										0.3269961977										40										0.118993135

														60										0.6736842105										60										0.7946428571

														70										0.7365079365										70										0.916500994

														80										0.8419452888										80										0.9427402863

														90										0.8307692308										90										0.9512195122

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h

				70		38		115				40		20		95		263		55		318		0.1729559748		0		0				40		20		95		395		59		454		0.1299559471

				71		49.5						41		30		85		374		42		416		0.1009615385		110		1				41		30		85		547		0		547		0

												42		40		75		315		76		391		0.1943734015								42		40		75		550		0		550		0

												43		50		65		121		55		176		0.3125								43		50		65		204		42		246		0.1707317073

		#70		Amplitude		#71		Amplitude				44		60		55		48		50		98		0.5102040816								44		60		55		59		83		142		0.5845070423

		36		429		47.5		190				45		70		45		114		253		367		0.689373297								45		70		45		66		499		565		0.8831858407

		37		52		48.5		31				46		80		35		76		333		409		0.8141809291								46		80		35		38		561		599		0.9365609349

		38		0		49.5		0				47		90		25		66		381		447		0.8523489933								47		90		25		34		513		547		0.9378427788

		39		38		50.5		76

		40		412		51.5		423

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h

				120		34		120				36		20		100		346		121		467		0.2591006424		0		0				36		20		100		377		135		512		0.263671875

				121		46						37		30		90		616		59		675		0.0874074074		110		1				37		30		90		682		48		730		0.0657534247

												38		40		80		616		62		678		0.0914454277								38		40		80		665		52		717		0.0725244073

												39		50		70		308		55		363		0.1515151515								39		50		70		385		66		451		0.1463414634

		#120		Amplitude		#121		Amplitude				40		60		60		59		59		118		0.5								40		60		60		66		66		132		0.5

		32.5		391		44		513				41		70		50		90		360		450		0.8								41		70		50		86		450		536		0.8395522388

		33.5		76		45		86				42		80		40		59		450		509		0.884086444								42		80		40		42		520		562		0.9252669039

		34.5		59		46		69				43		90		30		38		468		506		0.9249011858								43		90		30		28		523		551		0.9491833031

		35.5		142		47		104

		36.5		606		48		475

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h

				90		35		117.5				38		158		-38		329		38		367		0.1035422343		0		0				38		158		-38		436		0		436		0

				91		46.75						39		168		-48		281		69		350		0.1971428571		117.5		1				39		168		-48		433		0		433		0

												40		178		-58		142		83		225		0.3688888889								40		178		-58		235		76		311		0.2443729904

												41		188		-68		52		86		138		0.6231884058								41		188		-68		38		136		174		0.7816091954

		#70		Ampitude		#71		Amplitude				42		198		-78		94		274		368		0.7445652174								42		198		-78		48		485		533		0.9099437148

												43		208		-88		48		385		433		0.8891454965								43		208		-88		0		526		526		1

												44		218		-98		38		402		440		0.9136363636								44		218		-98		0		523		523		1

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h

				90		35		117.5				38		30		87.5		329		38		367		0.1035422343		0		0				38		30		87.5		436		0		436		0

				91		46.75						39		40		77.5		281		69		350		0.1971428571		117.5		1				39		40		77.5		433		0		433		0

												40		50		67.5		142		83		225		0.3688888889								40		50		67.5		235		76		311		0.2443729904

												41		60		57.5		52		86		138		0.6231884058								41		60		57.5		38		136		174		0.7816091954

		#90		Ampitude		#91		Amplitude				42		70		47.5		94		274		368		0.7445652174								42		70		47.5		48		485		533		0.9099437148

		33		346		45		263				43		80		37.5		48		385		433		0.8891454965								43		80		37.5		0		526		526		1

		33.5		160		45.5		94				44		90		27.5		38		402		440		0.9136363636								44		90		27.5		0		523		523		1

		34		55		46		42

		34.5		10		46.5		28

		35		10		47		24

		35.5		15		47.5		59

		36		59		48		138

		36.5		184		49		523

		37		364

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h		ideal				200 V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h		400 V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h

				100		21		115				24		30		85		276		71		347		0.204610951		0		0				24		30		85		405		0		405		0				24		30		85		509		0		509		0

				101		32.5						25		40		75		233		104		337		0.3086053412		115		1				25		40		75		388		74		462		0.1601731602				25		40		75		516		0		516		0

												26		50		65		91		57		148		0.3851351351								26		50		65		142		54		196		0.2755102041				26		50		65		219		54		273		0.1978021978

												27		60		55		51		67		118		0.5677966102								27		60		55		64		101		165		0.6121212121				27		60		55		67		148		215		0.688372093

		#100		Ampitude		#101		Amplitude				28		70		45		121		202		323		0.6253869969								28		70		45		111		317		428		0.7406542056				28		70		45		61		476		537		0.886405959

		18.5		408		31		196				29		80		35		91		250		341		0.7331378299								29		80		35		71		385		456		0.8442982456				29		80		35		37		496		533		0.9305816135

		19.5		108		32		50				30		90		25		74		290		364		0.7967032967								30		90		25		57		425		482		0.8817427386				30		90		25		34		519		553		0.938517179

		20.5		40		32.5		30

		21.5		35		33		37

		22.5		105		33.5		50

		23.5		445		34		101

						35		452

																																				New												Other position

		Strip #		70		71		Total		90		91		Total		99		100		101		102		Total		Total		Normalised		70		90		100		120		Int 2		121		Int 3		122		Total		119		120		Int 2		121		Total

		50		31		78		109		31		83		114		13		30		101		12		156		131				0.2060491493		0.2054054054		0.2364620939		45		27		100		25		32		145		27		91		18		41		132

		100		53		125		178		45		142		187		20		67		182		23		292		249				0.3364839319		0.3369369369		0.4494584838		68		41		178		10		30		246		30		168		35		68		236

		150		58		180		238		66		232		298		23		74		290		34		421		364				0.449905482		0.5369369369		0.6570397112		63		50		342		0		30		405		35		314		35		54		368

		200		73		290		363		48		374		422		17		57		425		-10		489		482				0.6862003781		0.7603603604		0.8700361011		50		27		446		-10		30		496		27		405		0		41		446

		250		51		388		439		31		478		509		0		51		472		-18		505		523				0.8298676749		0.9171171171		0.9440433213		41		15		490		-18		23		531		15		433		-18		32		465

		300		38		462		500		17		501		518		0		40		500		-23		517		540				0.9451795841		0.9333333333		0.9747292419		36		0		501		-27		18		537		10		446		-20		41		487

		350		33		485		518		20		535		555		0		34		513		-27		520		547				0.9792060491		1		0.9873646209		32		0		510		-23		18		542		10		460		-20		36		496

		400		31		498		529		20		535		555		0		34		520		-27		527		554				1		1		1		36		0		519		-23		18		555		10		474		-23		36		510

		500		30		540		570		0		578		578		0		34		560		-27		567		594				1.0775047259		1.0414414414		1.0722021661		32		0		533		-23		18		565		10		483		-23		36		519

		Futher Measurements as a function of the r-position

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.						#119		Int 1		#120				#121		Int 3		#122		Sum		h		Ideal				200 V		Local coord.						#119		Int 1		#120				#121		Int 3		#122		Sum		h		400 V		Local coord.						#119		Int 1		#120				#121		Int 3		#122		Sum		h

				120		19.8		61				21		12		49		47.12		28.88		171.76		28.88		80.56		28.88		41.8		252.32		0.3192771084		0		0				21		12		49		57		36.48		262.2		47.12		117.04		31.16		44.08		379.24		0.3086172345				21		12		49		28.88		0		428.64		-31.16		119.32		0		31.16		547.96		0.2177531207

				121		25.9						22		22		39		44		27		140		27		68		10		31		208		0.3269230769		61		1				22		22		39		62		38		215		51		106		27		31		321		0.3302180685				22		22		39		48		0		431		-17		126		0		10		557		0.2262118492

												23		32		29		0		0		24		0		24		0		0		48		0.5								23		32		29		0		0		34		0		34		0		0		68		0.5				23		32		29		0		0		58		0		65		0		0		123		0.5284552846

												24		42		19		34		15		105		41		212		24		48		317		0.6687697161								24		42		19		51		27		157		85		335		34		62		492		0.6808943089				24		42		19		31		0		130		21		619		-24		34		749		0.826435247

		#121		Ampitude		#121		Amplitude				25		52		9		38		17		89		31		205		12		41		294		0.6972789116								25		52		9		51		23		128		57		341		15		44		469		0.7270788913				25		52		9		51		0		131		10		560		-30		27		691		0.8104196816

		19		398		25		351

		19.5		58		25.5		104				Estimated strip width:								Routing line		#120		#121

		20		72		26		47				16 µm								25.6		447		85		0.9933333333		0.1888888889		532		0.7093333333

		20.5		212		26.5		81												26		242		68		0.5377777778		0.1511111111		310		0.4133333333

		21		489		27		368												26.2		103		31		0.2288888889		0.0688888889		134		0.1786666667

																				26.4		65		31		0.1444444444		0.0688888889		96		0.128

																				26.6		58		31		0.1288888889		0.0688888889		89		0.1186666667

																				26.8		42		40		0.0933333333		0.0888888889		82		0.1093333333

																				27		42		55		0.0933333333		0.1222222222		97		0.1293333333

																				27.2		54		154		0.12		0.3422222222		208		0.2773333333

																				27.4		71		248		0.1577777778		0.5511111111		319		0.4253333333

																				27.6		81		310		0.18		0.6888888889		391		0.5213333333

																				28		92		448		0.2044444444		0.9955555556		540		0.72

		Futher Measurements as a function of the r-position								Far end

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.						#119		Int 1		#120				#121		Int 3		#122		Sum		h		Ideal				200 V		Local coord.						#119		Int 1		#120				#121		Int 3		#122		Sum		h		400 V		Local coord.						#119		Int 1		#120				#121		Int 3		#122		Sum		h

				120		23		78				25		20		58		40		0		184		23		61		0		15		245		0.2489795918		0		0				25		20		58		33		0		255		38		76		0		18		331		0.2296072508				25		20		58		54		0		523		-10		54		0		0		577		0.0935875217

				121		30.8						26		30		48		31		0		89		24		51		0		24		140		0.3642857143		78		1				26		30		48		31		0		116		31		65		0		24		181		0.3591160221				26		30		48		31		0		263		0		78		0		0		341		0.2287390029

												27		40		38		0		0		0		0		0		0		0		0		0								27		40		38		0		0		0		0		0		0		0		0		0				27		40		38		0		0		0		0		0		0		0		0		0

												28		50		28		20		0		68		41		157		0		31		225		0.6977777778								28		50		28		0		0		99		61		222		0		34		321		0.691588785				28		50		28		0		0		78		15		492		-31		24		570		0.8631578947

		#121		Ampitude		#121		Amplitude				29		60		18		0		0		61		27		184		0		31		245		0.7510204082								29		60		18		0		0		78		48		276		0		37		354		0.7796610169				29		60		18		0		0		44		0		540		-31		13		584		0.9246575342

		21		728		29		755

		22		230		30		225				Estimated strip width:

		22.5		134		30.5		101				20 µm

		23		107		31		96

		23.5		150		31.5		161

		24		557		32		551

		25		760

										1 cm plus

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.						#119		Int 1		#120				#121		Int 3		#122		Sum		h		Ideal				200 V		Local coord.						#119		Int 1		#120				#121		Int 3		#122		Sum		h		400 V		Local coord.						#119		Int 1		#120				#121		Int 3		#122		Sum		h

				120		22.7		95				25		23		72		44		0		222		34		68		0		17		290		0.2344827586		0		0				25		23		72		41		0		366		31		68		0		24		434		0.1566820276				25		23		72		27		0		557		-24		48		0		0		605		0.079338843

				121		32.2						26		33		62		41		0		208		51		103		0		24		311		0.3311897106		95		1				26		33		62		31		0		311		68		112		0		34		423		0.2647754137				26		33		62		17		0		543		-20		78		0		0		621		0.1256038647

												27		43		52		0		0		0		0		0		0		0		0		0								27		43		52		0		0		58		0		27		0		0		85		0.3176470588				27		43		52		0		0		103		0		44		0		0		147		0.2993197279

												28		53		42		0		0		44		31		78		0		0		122		0.6393442623								28		53		42		0		0		58		24		120		0		0		178		0.6741573034				28		53		42		0		0		61		0		236		0		0		297		0.7946127946

		#121		Ampitude		#121		Amplitude				29		63		32		24		0		82		51		195		0		17		277		0.7039711191								29		63		32		27		0		112		85		328		0		34		440		0.7454545455				29		63		32		0		0		65		0		574		-37		15		639		0.8982785603

		21		464		30		523				30		73		22		0		0		71		44		242		0		31		313		0.7731629393								30		73		22		0		0		78		58		383		0		37		461		0.830802603				30		73		22		0		0		34		0		588		-40		13		622		0.9453376206

		22		58		31		171				Estimated strip width:

		22.5		37		32		41				25 µm

		23		51		32.5		51

		23.5		58		33		65

		24		178		34		499

		25		496

										1 cm plus

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.						#119		Int 1		#120				#121		Int 3		#122		Sum		h		Ideal				200 V		Local coord.						#119		Int 1		#120				#121		Int 3		#122		Sum		h		400 V		Local coord.						#119		Int 1		#120				#121		Int 3		#122		Sum		h

				120		22.7		108				25		23		85		34		0		254		29		45		0		0		299		0.1505016722		0		0				25		23		85		22		0		388		0		34		0		0		422		0.0805687204				25		23		85		11		0		474		-29		26		0		0		500		0.052

				121		33.5						26		33		75		26		0		228		41		63		0		10		291		0.2164948454		108		1				26		33		75		22		0		374		0		40		0		0		414		0.0966183575				26		33		75		0		0		474		-25		30		0		0		504		0.0595238095

												27		43		65		34		0		190		78		101		0		26		291		0.3470790378								27		43		65		26		0		317		37		82		0		12		399		0.2055137845				27		43		65		0		0		456		-22		71		0		0		527		0.1347248577

												29		63		45		12		0		85		60		157		0		29		242		0.6487603306								29		63		45		0		0		93		67		269		0		34		362		0.7430939227				29		63		45		0		0		71		18		422		-22		18		493		0.8559837728

		#121		Ampitude		#121		Amplitude				30		73		35		0		0		63		56		209		0		0		272		0.7683823529								30		73		35		0		0		48		34		366		-18		18		414		0.884057971				30		73		35		0		0		26		0		508		-26		0		534		0.9513108614

		20		470		31		508				31		83		25		0		0		50		37		247		0		26		297		0.8316498316								31		83		25		0		0		34		34		490		-30		0		524		0.9351145038				31		83		25		0		0		10		0		490		-30		0		500		0.98

		21		300		32		247

		22		40		33		41

		23		0		33.5		29				Estimated strip width:

		23.5		0		34		41				30 µm

		24		85		35		134

		25		430		36		500

		New 0 position

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.						#119		Int 1		#120				#121		Int 3		#122		Sum		h		Ideal				200 V		Local coord.						#119		Int 1		#120				#121		Int 3		#122		Sum		h		400 V		Local coord.						#119		Int 1		#120				#121		Int 3		#122		Sum		h

				120		22.2		118				25		28		90		32		0		333		23		50		0		0		383		0.1305483029		0		0				25		28		90		13		0		396		-13		35		0		0		431		0.0812064965				25		28		90		10		0		469		-23		32		0		0		501		0.0638722555

				121		34						26		38		80		32		0		314		30		54		0		0		368		0.1467391304		118		1				26		38		80		23		0		424		-13		36		0		0		460		0.0782608696				26		38		80		0		0		469		-27		30		0		0		499		0.0601202405

												27		48		70		27		0		259		54		86		0		13		345		0.2492753623								27		48		70		0		0		387		23		68		0		0		455		0.1494505495				27		48		70		0		0		492		-23		63		0		0		555		0.1135135135

												28		58		60		0		0		41		0		27		0		0		68		0.3970588235								28		58		60		0		0		59		0		41		0		0		100		0.41				28		58		60		0		0		77		0		45		0		0		122		0.368852459

		#121		Ampitude		#121		Amplitude				29		68		50		18		0		68		41		132		0		32		200		0.66								29		68		50		0		0		59		32		178		0		0		237		0.7510548523				29		68		50		0		0		73		18		273		0		32		346		0.789017341

		20		483		32		451				30		78		40		18		0		86		68		264		0		27		350		0.7542857143								30		78		40		0		0		50		10		506		-18		0		556		0.9100719424				30		78		40		0		0		50		10		506		-18		0		556		0.9100719424

		21		86		33		54				31		88		30		0				63		50		342		0		32		405		0.8444444444								31		88		30		0		0		41		18		428		-23		18		469		0.9125799574				31		88		30		0		0		36		0		496		-23		18		532		0.9323308271

		22		45		34		32

		23		23		35		45				Estimated strip width:

		24		154		36		387				35 µm

		25		470



Irradiated section n. 6



Final pic. eta

		50		50		50		50

		100		100		100		100

		150		150		150		150

		200		200		200		200

		250		250		250		250

		300		300		300		300

		350		350		350		350

		400		400		400		400

		500		500		500		500



Left strip

Routing #1

Right strip

Routing #2

Bias [Volt]

Signal [mV]

CCE vs bias

38

21

104

-10

62

34

177

-21

55

24

385

-31

48

15

454

-24

45

0

468

-34

34

-10

478

-34

34

-17

495

-34

34

-17

502

-34

34

-17

510

-34



Neff vs position

		50		50		50		50

		100		100		100		100

		150		150		150		150

		200		200		200		200

		250		250		250		250

		300		300		300		300

		350		350		350		350

		400		400		400		400

		500		500		500		500



Strip 120

Rout. #1

Strip 121

Rout. #2

Bias [Volt]

Signal [mV]

CCE vs bias

52

10

24

-10

97

24

48

-17

222

17

52

-17

287

0

55

0

308

-24

55

0

308

-17

62

0

315

-25

62

0

315

-28

55

0

340

-31

55

0



Eta comparison

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0



Strip 120

Rout. #1

Strip 121

Rout. #2

Bias [Volt]

Signal [mV]

CCE vs bias

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



Strip 120 

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0



Position 1

Position 2

Position 3

Bias [Volt]

Ratio

Routing line/total charge

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



Pulse shape

		0		0		0		0

		0		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0



0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0



0

0

0

0

0

0

0

0

0

0

0



		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0



0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		Bias 250 V		Strip #		Centre		Distance		50 V		Local coord.						Pulse Left		Int		Pulse Right		Pulse sum		h		ideal				100 V		Pulse Left		Int		Pulse Right		Pulse sum		h		300 V		Pulse Left		Int		Pulse Right		Pulse sum		h				Volt scan		#6		Int.		#7		Total		Normalised				Volt scan		#59		#60		#61		Total		Normalised				Volt scan		#114		Int.		#115		Int.		#116		Total		Normalised

				6		37		115				40		30		85		104		18		40		144		0.2777777778		0		0				246				45		291		0.1546391753				333		-23		27		360		0.075				20		23		5		54		77		0.2086720867				20		32		141		54		227		0.576142132				10		63		4		159		23		32		222		0.5536159601

				7		48.5						41		40		75		86		32		54		140		0.3857142857		115		1				214		36		63		277		0.2274368231				323		-23		36		359		0.1002785515				40		32		18		100		132		0.3577235772				40		41		264		54		359		0.9111675127				20		80				246		23		36		326		0.812967581

												42		50		65		45		9		32		77		0.4155844156								128		36		63		191		0.3298429319				209		0		68		277		0.2454873646				50		36		23		123		159						50		36		287		50		373		0.9467005076				40		82				314		23		41		396		0.9875311721

												43.5		65		50		36		18		54		90		0.6								50		36		118		168		0.7023809524				63		13		246		309		0.7961165049				60		45		27		145		190		0.5149051491				60		36		298		40		374		0.9492385787				50		73				328		13		32		401		1

		#6		Amplitude		#7		Amplitude				44		70		45		45		27		77		122		0.631147541								50		36		195		245		0.7959183673				41		9		305		346		0.8815028902				80		59		41		205		264		0.7154471545				80		30		328		27		385		0.9771573604				60		68				333		13		32		401		1

		34.5		305		46.5		296				45		80		35		45		23		104		149		0.6979865772								45		41		241		286		0.8426573427				27		9		342		369		0.9268292683				100		45		36		259		304		0.8238482385				100		27		337		24		388		0.9847715736				80		59				342		9		32		401		1

		35.5		137		47.5		54				46		90		25		9		0		50		59		0.8474576271								45		36		255		300		0.85				27		4		337		364		0.9258241758				125		36		23		296		332		0.8997289973				150		24		355		21		400		1.0152284264				100		46				351				18		397		0.9900249377

		36.5		27		48.5		0																																																		150		32		18		323		355		0.9620596206				200		23		360		20		403		1.0228426396				125		45				355				27		400		0.9975062344

		37.5		0		49.5		36																																																		175		32		18		328		360		0.9756097561				300		20		374		0		394		1				150		45				355				27		400		0.9975062344

		38.5		100		50.5		232																																																		200		23		9		337		360		0.9756097561																		200		45				355				18		400		0.9975062344

		39.5		305		51.5		333																																																		300		23		9		346		369		1																		300		41				360				18		401		1

		40.5		319





		20		20		10

		40		40		20

		50		50		40

		60		60		50

		80		80		60

		100		100		80

		125		150		100

		150		200		125

		175		300		150

		200				200

		300				300



0.2086720867

0.576142132

0.5536159601

0.3577235772

0.9111675127

0.812967581

0.9467005076

0.9875311721

0.5149051491

0.9492385787

1

0.7154471545

0.9771573604

1

0.8238482385

0.9847715736

1

0.8997289973

1.0152284264

0.9900249377

0.9620596206

1.0228426396

0.9975062344

0.9756097561

1

0.9975062344

0.9756097561

0.9975062344

1

1



		30		30		30		0

		40		40		40		115

		50		50		50

		65		65		65

		70		70		70

		80		80		80

		90		90		90



50 Volt

100 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #774-775

0.2777777778

0.1546391753

0.075

0

0.3857142857

0.2274368231

0.1002785515

1

0.4155844156

0.3298429319

0.2454873646

0.6

0.7023809524

0.7961165049

0.631147541

0.7959183673

0.8815028902

0.6979865772

0.8426573427

0.9268292683

0.8474576271

0.85

0.9258241758



		Bias 250 V		Strip #		Centre		Distance		25 V		Local coord.						Pulse Left		Pulse Right		Pulse sum		h		ideal				50 V		Pulse Left		Pulse Right		Pulse sum		h		150 V		Pulse Left		Pulse Right		Pulse sum		h								Volt scan		#60		#61		Total		Normalised

				60		43.2		113				46		28		85		212		1		213		0.0046948357		0		0				311		1		312		0.0032051282				410		1		411		0.00243309						3.1622776602		10		95		0		95		0.2467532468

				61		54.5						47		38		75		143		20		163		0.1226993865		113		1				222		1		223		0.0044843049				294		1		295		0.0033898305						5		25		191		0		191		0.4961038961

												48		48		65		68		34		102		0.3333333333								123		58		181		0.320441989				171		68		239		0.2845188285						7.0710678119		50		283		0		283		0.7350649351

												49		58		55		37		109		146		0.7465753425								37		161		198		0.8131313131				37		212		249		0.8514056225						8.6602540378		75		321		0		321		0.8337662338

		#60		Amplitude		#61		Amplitude				50		68		45		31		174		205		0.8487804878								34		259		293		0.8839590444				50		334		384		0.8697916667						10		100		352		0		352		0.9142857143

		41		308		52		386				51		78		35		24		181		205		0.8829268293								24		263		287		0.9163763066				20		345		365		0.9452054795						12.2474487139		150		372		0		372		0.9662337662

		42		171		53		253																																														14.1421356237		200		372		0		372		0.9662337662

		43		20		54		116																																														17.3205080757		300		385		0		385		1

		44		49		55		24

		45		209		56		123

		46		345		57		280

						58		389

		Bias 250 V		Strip #		Centre		Distance		20 V		Local coord.						#115		Int 1		#116		Int 2		#117		Pulse sum		h		ideal				50 V		#115		Int 1		#116		Int 2		#117		Pulse sum		h		200 V		#115		Int 1		#116		Int 2		#117		Pulse sum		h				Volt scan		#115		#116		Int		#117		Total		Normalised

				115		21		114				24		30		84		198		-17		27						225		0.12		0		0				317		-17		31						348		0.0890804598				403		-30		24						427		0.056206089		3.1622776602		10				116						116		0.2829268293

				116		32.4						25		40		74		178		-13		27						205		0.1317073171		114		1				311		-20		41						352		0.1164772727				396		-27		27						423		0.0638297872		5		25		31		208		-5		20		228		0.556097561

												26		50		64		126		-13		37						163		0.226993865								242		-17		61						303		0.201320132				334		-24		68						402		0.1691542289		7.0710678119		50		31		308		-7		20		328		0.8

												28		70		44		34				137				17		171		0.8011695906								48				236				24		284		0.8309859155				54		-5		317		-13		24		371		0.8544474394		8.6602540378		75		24		345		-17		20		365		0.8902439024

		#115		Amplitude		#116		Amplitude				29		80		34		24				181				17		205		0.8829268293								31				311		-10		20		342		0.9093567251				27				400		-17		17		427		0.9367681499		10		100		27		366		-20		17		383		0.9341463415

		18		400		30		389				29.5		85		29		27				195						222		0.8783783784								34				314		-15		20		348		0.9022988506				24				389		-24		17		413		0.9418886199		11.1803398875		125		24		380		-17		13		393		0.9585365854

		19		270		31		89																																																												12.2474487139		150		24		385		-20		13		398		0.9707317073

		20		34		32		28																																																												14.1421356237		200		24		389		-20		13		402		0.9804878049

		21		30		33		30																																																												17.3205080757		300		24		393		-20		17		410		1

		22		38		34		126

		23		308		35		389

		24		400





		0		28		28		28

		113		38		38		38

				48		48		48

				58		58		58

				68		68		68

				78		78		78



25 Volt

50 Volt

150 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #188-189

0

0.0046948357

0.0032051282

0.00243309

1

0.1226993865

0.0044843049

0.0033898305

0.3333333333

0.320441989

0.2845188285

0.7465753425

0.8131313131

0.8514056225

0.8487804878

0.8839590444

0.8697916667

0.8829268293

0.9163763066

0.9452054795



		0		30		30		30

		114		40		40		40

				50		50		50

				70		70		70

				80		80		80

				85		85		85



20 Volt

50 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #244-245

0

0.12

0.0890804598

0.056206089

1

0.1317073171

0.1164772727

0.0638297872

0.226993865

0.201320132

0.1691542289

0.8011695906

0.8309859155

0.8544474394

0.8829268293

0.9093567251

0.9367681499

0.8783783784

0.9022988506

0.9418886199



		10		10

		25		25

		50		50

		75		75

		100		100

		125		150

		150		200

		200		300

		300



#115

#60

0.2829268293

0.2467532468

0.556097561

0.4961038961

0.8

0.7350649351

0.8902439024

0.8337662338

0.9341463415

0.9142857143

0.9585365854

0.9662337662

0.9707317073

0.9662337662

0.9804878049

1

1



		47		400		-30		380

		48		280		-20		260

		49		41		-10		21

		50		20		0		0

		51		51		10		31

		52		273		20		253

		53		410		30		390

		Beam Profile

		Coordinate		Front		Back

		0						10

		10		1.00E+13		1.05E+13		20		1.00E+13		1.05E+13

		20		4.50E+13		4.55E+13		30		4.50E+13		4.55E+13

		25		3.00E+14		2.52E+14		35		3.00E+14		2.52E+14

		30		4.10E+14		4.40E+14		40		4.10E+14		4.40E+14

		35		4.30E+14		4.60E+14		45		4.30E+14		4.60E+14

		40		3.15E+14		3.80E+14		50		3.15E+14		3.80E+14

		45		1.09E+14		2.70E+14		55		1.09E+14		2.70E+14

		55		1.20E+13		2.70E+13		65		1.20E+13		2.70E+13

		65		7.00E+11		1.20E+12		75		7.00E+11		1.20E+12





		-30

		-20

		-10

		0

		10

		20

		30



Local coord. [µm]

Amplitude [arb. Units]

Strip scan #10

380

260

21

0

31

253

390



		55		0		55		55

		50		1		50		50

		45		2		45		45

		40		3		40		40

		35		4		35		35

		30		5		30		30

		25		6		25		25

		20		7		20		20

		15		8		15		15

		10		9		10		10

		5		10		5		5

		0		11		0		0

				12

				13

				14

				15

				16

				17

				18

				19

				20

				21

				22

				23

				24

				25

				26

				27

				28

				29

				30

				31

				32

				33

				34

				35

				36

				37

				38

				39

				40

				41

				42

				43

				44

				45

				46

				47

				48

				49

				50

				51

				52

				53

				54

				55

				56

				57

				58

				59

				60

				61

				62

				63

				64

				65

				66

				67

				68



Measured (hit strip)

Calculated

Adjacent strip

Intermediate routing line

Time [ns]

Amplitude [arb. units]

68

10

0

0

150

34.5396

16

0

245

54.05968

34

0

369

80.39936

54

0

560

114.09384

123

32

688

155.13512

154

40

826

202.94192

188

51

792

256.42064

199

74

615

314.09432

188

108

421

374.26344

176

131

199

435.16424

85

68

0

495.10184

0

0

552.54736

606.19912

655.01224

698.20408

735.24416

765.8304

789.86272

807.41192

818.68832

824.01216

823.78664

818.47312

808.57016

794.59512

777.0692

756.50528

733.3992

708.22128

681.41152

653.37656

624.48752

595.07864

565.44744

535.85544

506.53048

477.66728

449.43032

421.95584

395.35408

369.71192

345.0956

321.5524

299.11304

277.79416

257.59968

238.52336

220.54992

203.6564

187.81424

172.98976

159.14552

146.24152

134.23568

123.08456

112.74432

103.1708

94.32024

86.14968

78.61696

71.6812

65.30304

59.44456

54.06952

49.14336

44.63336

40.50856

36.7396



		0		0

		10		10

		20		20

		25		25

		30		30

		35		35

		40		40

		45		45

		55		55

		65		65



Front Al foils

Back Al foils

Position [mm]

Measured fluence [p cm-2]

10000000000000

10500000000000

45000000000000

45500000000000

300000000000000

252000000000000

410000000000000

440000000000000

430000000000000

460000000000000

315000000000000

380000000000000

109000000000000

270000000000000

12000000000000

27000000000000

700000000000

1200000000000



		

						760





		30		30		0

		40		40		117.5

		50		50

		60		60

		70		70

		80		80

		90		90



200 Volt

400 Volt

Ideal resolution

Local position [µm]

Right charge/Total charge

Scan across strips #740-741

0.1035422343

0.0311111111

0

0.1971428571

0.0545851528

1

0.3688888889

0.2443729904

0.6231884058

0.7816091954

0.7445652174

0.9099437148

0.8891454965

1

0.9136363636

1



		30		30		0

		40		40		115

		50		50

		60		60

		70		70

		80		80

		90		90



200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #710-711

0.1009615385

0.0352733686

0

0.1943734015

0.0646258503

1

0.3125

0.2213740458

0.5102040816

0.5845070423

0.689373297

0.8831858407

0.8141809291

0.9365609349

0.8523489933

0.9378427788



		30		30		0

		40		40		115

		50		50

		60		60

		70		70

		80		80

		90		90



200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #760-761

0.0874074074

0.0657534247

0

0.0914454277

0.0725244073

1

0.1515151515

0.1463414634

0.5

0.5

0.8

0.8395522388

0.884086444

0.9252669039

0.9249011858

0.9491833031



		0		30		30		30

		115		40		40		40

				50		50		50

				60		60		60

				70		70		70

				80		80		80

				90		90		90



150 Volt

200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #740-741

0

0.204610951

0.0581395349

0.0450281426

1

0.3086053412

0.1601731602

0.0685920578

0.3851351351

0.2755102041

0.2206405694

0.5677966102

0.6121212121

0.688372093

0.6253869969

0.7406542056

0.886405959

0.7331378299

0.8442982456

0.9305816135

0.7967032967

0.8817427386

0.938517179



		0		30		30

		110		40		40

				50		50

				60		60

				70		70

				80		80

				90		90



200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #670-671

0

0.2186046512

0.0462962963

1

0.3191489362

0.076056338

0.4345238095

0.2648401826

0.625

0.619047619

0.7170731707

0.8559322034

0.7960784314

0.9612403101

0.825

0.9734748011



		0		20		20

		110		30		30

				40		40

				50		50

				60		60

				70		70

				80		80

				90		90



200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #690-691

0

0.1510067114

0.0529801325

1

0.1964285714

0.0703296703

0.3269961977

0.1575492341

0

0.6736842105

0.7946428571

0.7365079365

0.916500994

0.8419452888

0.9427402863

0.8307692308

0.9512195122



		25		25		25		0

		35		35		35		110

		45		45		45

		55		55		55

		65		65		65

		75		75		75

		85		85		85



100 Volt

200 Volt

300 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #525-526

0.0461956522

0.0440414508

0.0446194226

0

0.0583941606

0.0547945205

0.0547945205

1

0.1413612565

0.1282051282

0.1113689095

0.3215859031

0.264573991

0.2821576763

0.8050541516

0.8073394495

0.7722222222

0.9130434783

0.9217391304

0.9298245614

0.9473684211

0.9523809524

0.958677686



		0		30		30		30

		117		40		40		40

				50		50		50

				70		70		70

				80		80		80

				90		90		90



150 Volt

200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #634-635

0

0.223255814

0.1133333333

0.0510204082

1

0.2783505155

0.1933333333

0.0761670762

0.3963414634

0.3048780488

0.1943005181

0.6209150327

0.6822429907

0.8157099698

0.6875

0.7979094077

0.915

0.7548076923

0.8580645161

0.9330024814



		0		24		24

		114		34		34

				44		44

				64		64

				74		74

				84		84

				89		89



100 Volt

300 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #584-585

0

0.118466899

0.0379403794

1

0.1655172414

0.0608272506

0.3421052632

0.1666666667

0.6896551724

0.8131868132

0.7597173145

0.9567430025

0.8605442177

0.9974160207

0.8586206897

0.9466666667



		0		22		22		22		22

		116		32		32		32		32

				42		42		42		42

				67		67		67		67

				72		72		72		72

				82		82		82		82

				92		92		92		92



100 Volt

150 Volt

200 Volt

300 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #604-605

0

0.2192513369

0.0848056537

0.0408719346

0.056980057

1

0.2391304348

0.1214285714

0.0681818182

0.0798898072

0.3128834356

0.2380952381

0.0920716113

0.1549295775

0.5668789809

0.6355555556

0.7975077882

0.7517482517

0.591954023

0.7173913043

0.9002695418

0.8434782609

0.6949152542

0.8137931034

0.9973045822

0.8888888889

0.7348066298

0.8436482085

0.972899729

0.9043715847



		0		23		23		23

		108		33		33		33

				43		43		43

				58		58		58

				63		63		63

				73		73		73

				78		78		78



20 Volt

50 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #544-545

0

0.1376146789

0.0422960725

0.0361445783

1

0.2018348624

0.0845070423

0.0574712644

0.3457446809

0.2341772152

0.0976253298

0.5858585859

0.7124183007

0.7627906977

0.6304347826

0.7571428571

0.820441989

0.7302325581

0.8709677419

0.9418886199

0.7735849057

0.8811594203

0.9632352941



		0		35		35		35

		110		40		40		40

				50		50		50

				65		65		65

				70		70		70

				80		80		80



50 Volt

100 Volt

300 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #566-567

0

0.125

0.0408719346

0.0407673861

1

0.1777777778

0.0702247191

0.0687203791

0.320441989

0.22

0.2033333333

0.6946107784

0.8090909091

0.7789855072

0.741697417

0.8579387187

0.8743842365

0.8580858086

0.9543010753

0.9975062344



		0		35		35		35

		120		45		45		45

				50		50		50

				65		65		65

				70		70		70

				80		80		80

				90		90		90



50 Volt

100 Volt

250 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #575-576

0

0.2876106195

0.0451807229

0.0383631714

1

0.3744292237

0.144092219

0.0939759036

0.3880597015

0.1782178218

0.1580310881

0.5730337079

0.7260273973

0.7166666667

0.591954023

0.798679868

0.8379888268

0.6559633028

0.8879781421

0.9230769231

0.7627906977

0.9076086957

0.9511002445



		0		28		28		28

		113		38		38		38

				48		48		48

				58		58		58

				68		68		68

				78		78		78



25 Volt

50 Volt

150 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #188-189

0

0.0046948357

0.0032051282

0.00243309

1

0.1226993865

0.0044843049

0.0033898305

0.3333333333

0.320441989

0.2845188285

0.7465753425

0.8131313131

0.8514056225

0.8487804878

0.8839590444

0.8697916667

0.8829268293

0.9163763066

0.9452054795



		26		26		0		26

		36		36		114		36

		46		46				46

		66		66				66

		76		76				76

		86		86				86



100 Volt

300 Volt

=

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #621-622

0.2227074236

0.0789473684

0

0.0390625

0.2735849057

0.1348684211

1

0.0606060606

0.3659793814

0.2482517483

0.1102150538

0.5828220859

0.6728110599

0.8066666667

0.6822429907

0.8066666667

0.9086021505

0.7422222222

0.8547854785

0.9583333333



		25		25		25		0

		35		35		35		110

		45		45		45

		60		60		60

		65		65		65

		75		75		75

		85		85		85



20 Volt

50 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #469-470

0.0857142857

0.1060070671

0.0411311054

0

0.0833333333

0.093385214

0.0683060109

1

0.275862069

0.1904761905

0.1333333333

0.6451612903

0.6785714286

0.7311827957

0.6774193548

0.766536965

0.8356164384

0.8444444444

0.8717948718

0.9260969977

0.8695652174

0.8646153846

0.9267734554



		30		30		0

		40		40		110

		50		50

		60		60

		70		70

		80		80



200 Volts

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #650-651

0.1784037559

0.0521172638

0

0.2587064677

0.1034482759

1

0.3577586207

0.2196531792

0.6280991736

0.7375328084

0.7114914425

0.8717948718

0.7915742794

0.9111470113



		0		30		30		30

		114		40		40		40

				50		50		50

				70		70		70

				80		80		80

				85		85		85



20 Volt

50 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #244-245

0

0.12

0.0890804598

0.056206089

1

0.1317073171

0.1164772727

0.0638297872

0.226993865

0.201320132

0.1691542289

0.8011695906

0.8309859155

0.8544474394

0.8829268293

0.9093567251

0.9367681499

0.8783783784

0.9022988506

0.9418886199



		30		30		0		30

		40		40		114		40

		50		50				50

		70		60				60

		80		70				70

		85		80				80

								90



#245 - 200 Volt

#650 - 400 Volt

#760 - 400 Volt

Local position [µm]

Right charge/Total charge

0.056206089

0.0521172638

0

0.0657534247

0.0638297872

0.1034482759

1

0.0725244073

0.1691542289

0.2196531792

0.1463414634

0.8544474394

0.7375328084

0.5

0.9367681499

0.8717948718

0.8395522388

0.9418886199

0.9111470113

0.9252669039

0.9491833031



		20		20		20		0

		30		30		30		115

		40		40		40

		50		50		50

		60		60		60

		70		70		70

		80		80		80

		90		90		90



20 Volt

50 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #388-389

0.15

0.0975609756

0.0965794769

0

0.1549295775

0.1448692153

0.1004709576

1

0.171875

0.1223529412

0.0901213172

0.2926829268

0.2888888889

0.2434077079

0.6666666667

0.6923076923

0.6511627907

0.7833333333

0.8498896247

0.9073083779

0.8295081967

0.8495049505

0.9384615385

0.8793103448

0.9160839161

0.9470699433



		35		0		35		35

		45		120		45		45

		55				55		55

		70				70		70

		75				75		75

		85				85		85

		95				95		95



Local position [µm]

Right charge/Total charge

Scan across strip #490-491

0.1595744681

0

0.12

0.0796116505

0.2053231939

1

0.1322869955

0.0891089109

0.2967032967

0.2258064516

0.2

0.72

0.692

0.7982261641

0.8351449275

0.7985074627

0.8764302059

0.9349593496

0.8546099291

0.9174311927

0.9445585216



		0		28		28		28

		118		38		38		38

				48		48		48

				58		58		58

				68		68		68

				78		78		78

				88		88		88



150 Volt

200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #760-761

0

0.1305483029

0.0812064965

0.0638722555

1

0.1467391304

0.0782608696

0.0601202405

0.2492753623

0.1494505495

0.1135135135

0.3970588235

0.41

0.368852459

0.66

0.7510548523

0.789017341

0.7542857143

0.9100719424

0.9100719424

0.8444444444

0.9125799574

0.9323308271



		30		30		28		0

		40		40		38		118

		50		50		48

		70		70		58

		80		80		68

		85		90		78

						88



#245 - 200 Volt

#534 - 400 Volt

#760 - 400 Volt

Local position [µm]

Right charge/Total charge

0.056206089

0.0510204082

0.0638722555

0

0.0638297872

0.0761670762

0.0601202405

1

0.1691542289

0.1943005181

0.1135135135

0.8544474394

0.8157099698

0.368852459

0.9367681499

0.915

0.789017341

0.9418886199

0.9330024814

0.9100719424

0.9323308271



		30		30		30		0

		40		40		40		115

		50		50		50

		65		65		65

		70		70		70

		80		80		80

		90		90		90



50 Volt

100 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #774-775

0.2777777778

0.1546391753

0.075

0

0.3857142857

0.2274368231

0.1002785515

1

0.4155844156

0.3298429319

0.2454873646

0.6

0.7023809524

0.7961165049

0.631147541

0.7959183673

0.8815028902

0.6979865772

0.8426573427

0.9268292683

0.8474576271

0.85

0.9258241758



		Bias		#650		#651		Pulse sum		Normalised		#670		#671		Pulse sum		Normalised		#690		#691		Pulse sum		Normalised		#710		#711		Pulse sum		Normalised		#730		#731		Pulse sum		Normalised		#740		#741		Pulse sum		Normalised		#760		#761		Pulse sum		Normalised

		[Volt]		[mV]		[mV]		[mv]				[mV]		[mV]		[mv]				[mV]		[mV]		[mv]				[mV]		[mV]		[mv]				[mV]		[mV]		[mv]				[mV]		[mV]		[mv]				[mV]		[mV]		[mv]

		50		41		85		126		0.2016		24		58		82		0.2		0		80		80		0.1500938086		31		78		109		0.1912280702		31		83		114		0.1972318339		30		101		131		0.2205387205		45		100		145		0.2566371681				104		104

		100		63		140		203		0.3248		22		84		106		0.2585365854		31		135		166		0.3114446529		53		125		178		0.3122807018		45		142		187		0.3235294118		67		182		249		0.4191919192		68		178		246		0.4353982301				177		177

		150		92		210		302		0.4832		38		133		171		0.4170731707		52		197		249		0.4671669794		58		180		238		0.4175438596		66		232		298		0.5155709343		74		290		364		0.6127946128		63		342		405		0.7168141593				385		385

		200		81		329		410		0.656		39		207		246		0.6		45		291		336		0.6303939962		73		290		363		0.6368421053		48		374		422		0.7301038062		57		425		482		0.8114478114		50		446		496		0.8778761062				454		454

		250		59		443		502		0.8032		32		300		332		0.8097560976		34		398		432		0.8105065666		51		388		439		0.7701754386		31		478		509		0.8806228374		51		472		523		0.8804713805		41		490		531		0.9398230088				468		468

		300		59		510		569		0.9104		30		321		351		0.856097561		35		433		468		0.8780487805		38		462		500		0.8771929825		17		501		518		0.8961937716		40		500		540		0.9090909091		36		501		537		0.9504424779				478		478

		350		50		530		580		0.928		23		342		365		0.8902439024		31		454		485		0.9099437148		33		485		518		0.9087719298		20		535		555		0.9602076125		34		513		547		0.9208754209		32		510		542		0.9592920354				495		495

		400		45		561		606		0.9696		10		370		380		0.9268292683		24		468		492		0.9230769231		31		498		529		0.9280701754		20		535		555		0.9602076125		34		520		554		0.9326599327		36		519		555		0.982300885				502		502

		500		45		580		625		1		10		400		410		1		10		523		533		1		30		540		570		1		0		578		578		1		34		560		594		1		32		533		565		1				510		510

																						Neff map		Vfd

																						10

																						30

																						50

																						70

																						90

																						100

																						120

																																												634

																																		72

		Bias		#526		#527		Pulse sum		Normalised		Bias		#545		#546		Pulse sum		Normalised		Bias		#567		#568		Pulse sum		Normalised		Bias		#577		#578		Pulse sum		Normalised		Bias		#585		#586		Pulse sum		Normalised		Bias		#605		#606		Pulse sum		Normalised		Bias		#622		#623		Pulse sum		Normalised		Bias		#634		#635		Pulse sum		Normalised

		[Volt]		[mV]		[mV]		[mv]				[Volt]		[mV]		[mV]		[mv]				[Volt]		[mV]		[mV]		[mv]				[Volt]		[mV]		[mV]		[mv]				[Volt]		[mV]		[mV]		[mv]				[Volt]		[mV]		[mV]		[mv]				[Volt]		[mV]		[mV]		[mv]				[Volt]		[mV]		[mV]		[mv]

		20		5		205		210		0.4393305439		10		89		41		130		0.3095238095		10		27		41		68		0.17		25		34		75		109		0.2632850242		25		44		20		64		0.1671018277		50		65		10		75		0.1978891821		50		65		0		65		0.1697127937		50		61		24		85		0.2073170732

		30		5		273		278		0.5815899582		20		171		41		212		0.5047619048		25		61		109		170		0.425		50		55		164		219		0.5289855072		50		95		41		136		0.3550913838		75		95		10		105		0.2770448549		100		123		37		160		0.4177545692		100		106		34		140		0.3414634146

		40		54		323		377		0.7887029289		30		232		34		266		0.6333333333		50		266		41		307		0.7675		75		37		290		327		0.7898550725		75		150		58		208		0.5430809399		100		129		27		156		0.4116094987		150		171		51		222		0.5796344648		150		157		48		205		0.5

		50		45		360		405		0.8472803347		50		321		0		321		0.7642857143		75		334		14		348		0.87		100		27		330		357		0.8623188406		100		240		51		291		0.7597911227		125		167		27		194		0.5118733509		200		287		24		311		0.8120104439		200		253		34		287		0.7

		75		41		405		446		0.9330543933		75		362		0		362		0.8619047619		100		359		0		359		0.8975		150		27		359		386		0.9323671498		125		311		27		338		0.8825065274		150		236		30		266		0.7018469657		250		334		0		334		0.8720626632		250		317		27		344		0.8390243902

		100		32		428		460		0.9623430962		100		383		0		383		0.9119047619		150		372		0		372		0.93		200		24		372		396		0.9565217391		150		342		10		352		0.9190600522		200		328		0		328		0.8654353562		300		351		0		351		0.9164490862		300		349		31		380		0.9268292683

		120		23		437		460		0.9623430962		150		396		0		396		0.9428571429		200		383		0		383		0.9575		250		20		379		399		0.9637681159		200		355		10		365		0.953002611		250		355		0		355		0.9366754617		350		366		0		366		0.955613577		350		362		27		389		0.9487804878

		150		27		446		473		0.989539749		200		413		0		413		0.9833333333		250		396		0		396		0.99		300		24		382		406		0.9806763285		300		376		0		376		0.9817232376		300		366		0		366		0.9656992084		400		372		0		372		0.9712793734		400		372		34		406		0.9902439024

		200		23		455		478		1		300		420		0		420		1		300		400		0		400		1		350		24		390		414		1		400		383		0		383		1		400		379		0		379		1		500		383		0		383		1		500		383		27		410		1

		300		20		464		484		1.0125523013

		Strip #		VFD

		188		80

		244		75

		390		60

		470		55

		498		55

		526		53

		545		54

		568		62

		578		92								0.0004882813		0.1806640625		0.0451660156

		585		128

		605		200

		622		225

		634		270

		650		285

		670		297

		690		300

		710		285								768		640

		730		250

		740		220

		760		170

		774		125

		829		60

		888		47





		50		50		50		50		50		50		50

		100		100		100		100		100		100		100

		150		150		150		150		150		150		150

		200		200		200		200		200		200		200

		250		250		250		250		250		250		250

		300		300		300		300		300		300		300

		350		350		350		350		350		350		350

		400		400		400		400		400		400		400

		500		500		500		500		500		500		500



Strip #10

Strip #30

Strip #50

Strip #70

Strip #90

Strip #100

Strip #120

0.2016

0.2

0.1500938086

0.1912280702

0.1972318339

0.2205387205

0.2566371681

0.3248

0.2585365854

0.3114446529

0.3122807018

0.3235294118

0.4191919192

0.4353982301

0.4832

0.4170731707

0.4671669794

0.4175438596

0.5155709343

0.6127946128

0.7168141593

0.656

0.6

0.6303939962

0.6368421053

0.7301038062

0.8114478114

0.8778761062

0.8032

0.8097560976

0.8105065666

0.7701754386

0.8806228374

0.8804713805

0.9398230088

0.9104

0.856097561

0.8780487805

0.8771929825

0.8961937716

0.9090909091

0.9504424779

0.928

0.8902439024

0.9099437148

0.9087719298

0.9602076125

0.9208754209

0.9592920354

0.9696

0.9268292683

0.9230769231

0.9280701754

0.9602076125

0.9326599327

0.982300885

1

1

1

1

1

1

1



		20		10		25		25		50		50		50

		30		20		50		50		75		100		100

		40		30		75		75		100		150		150

		50		50		100		100		125		200		200

		75		75		150		125		150		250		250

		100		100		200		150		200		300		300

		120		150		250		200		250		350		350

		150		200		300		300		300		400		400

		200		300		350		400		400		500		500

		300



Strip #526

Strip #545

Strip #578

Strip #585

Strip #605

Strip #622

Strip #634

Bias [Volt]

Normalised CCE

0.4393305439

0.3095238095

0.2632850242

0.1671018277

0.1978891821

0.1697127937

0.2073170732

0.5815899582

0.5047619048

0.5289855072

0.3550913838

0.2770448549

0.4177545692

0.3414634146

0.7887029289

0.6333333333

0.7898550725

0.5430809399

0.4116094987

0.5796344648

0.5

0.8472803347

0.7642857143

0.8623188406

0.7597911227

0.5118733509

0.8120104439

0.7

0.9330543933

0.8619047619

0.9323671498

0.8825065274

0.7018469657

0.8720626632

0.8390243902

0.9623430962

0.9119047619

0.9565217391

0.9190600522

0.8654353562

0.9164490862

0.9268292683

0.9623430962

0.9428571429

0.9637681159

0.953002611

0.9366754617

0.955613577

0.9487804878

0.989539749

0.9833333333

0.9806763285

0.9817232376

0.9656992084

0.9712793734

0.9902439024

1

1

1

1

1

1

1

1.0125523013



		

		188

		244

		390

		470

		498

		526

		545

		568

		578

		585

		605

		622

		634

		650

		670

		690

		710

		730

		740

		760

		774

		829

		888



Strip Number

Vfd [Volt]

80

75

60

55

55

53

54

62

92

128

200

225

270

285

297

300

285

250

220

170

125

60

47



		10		25		50

		20		50		100

		30		75		150

		50		100		200

		75		125		250

		100		150		300

		150		200		350

		200		300		400

		300		400		500



Strip #545

Strip #585

Strip #634

Bias [Volt]

Normalised CCE

0.3095238095

0.1671018277

0.2073170732

0.5047619048

0.3550913838

0.3414634146

0.6333333333

0.5430809399

0.5

0.7642857143

0.7597911227

0.7

0.8619047619

0.8825065274

0.8390243902

0.9119047619

0.9190600522

0.9268292683

0.9428571429

0.953002611

0.9487804878

0.9833333333

0.9817232376

0.9902439024

1

1

1



		20		25		50

		30		50		75

		40		75		100

		50		100		125

		75		150		150

		100		200		200

		120		250		250

		150		300		300

		200		350		400

		300



Strip #526

Strip #578

Strip #605

Bias [Volt]

Normalised CCE

0.4393305439

0.2632850242

0.1978891821

0.5815899582

0.5289855072

0.2770448549

0.7887029289

0.7898550725

0.4116094987

0.8472803347

0.8623188406

0.5118733509

0.9330543933

0.9323671498

0.7018469657

0.9623430962

0.9565217391

0.8654353562

0.9623430962

0.9637681159

0.9366754617

0.989539749

0.9806763285

0.9656992084

1

1

1

1.0125523013



		Strip:		#10								Strip:		#30								Strip:		#50								Strip:		#70								Strip:		#90								Strip:		#100		#101						Strip:		#120

				#11										#31										#51										#71										#91										#121										#121

						ideal										ideal										ideal										ideal										ideal										ideal										ideal

		20		0.2059800664		0		0		0.1260683761		20		0.3485714286		0		0		0.2292490119		20		0.1510067114		0		0		0		20		0.1729559748		0		0		0.1299559471		30		0.1035422343		0		0		0		30		0.204610951		0		0		0		20		0.2591006424		0		0		0.263671875

		30		0.1784037559		110		1		0		30		0.2186046512		110		1		0		30		0.1964285714		110		1		0		30		0.1009615385		115		1		0		40		0.1971428571		117.5		1		0		40		0.3086053412		115		1		0		30		0.0874074074		115		1		0.0657534247

		40		0.2587064677						0.0909090909		40		0.3191489362						0		40		0.3269961977						0.118993135		40		0.1943734015						0		50		0.3688888889						0.2443729904		50		0.3851351351						0.1978021978		40		0.0914454277						0.0725244073

		50		0.3577586207						0.2196531792		50		0.4345238095						0.2648401826		60		0.6736842105						0.7946428571		50		0.3125						0.1707317073		60		0.6231884058						0.7816091954		60		0.5677966102						0.688372093		50		0.1515151515						0.1463414634

		60		0.6280991736						0.7375328084		60		0.625						0.619047619		70		0.7365079365						0.916500994		60		0.5102040816						0.5845070423		70		0.7445652174						0.9099437148		70		0.6253869969						0.886405959		60		0.5						0.5

		70		0.7114914425						0.8717948718		70		0.7170731707						0.8559322034		80		0.8419452888						0.9427402863		70		0.689373297						0.8831858407		80		0.8891454965						1		80		0.7331378299						0.9305816135		70		0.8						0.8395522388

		80		0.7915742794						0.9111470113		80		0.7960784314						0.9867374005		90		0.8307692308						0.9512195122		80		0.8141809291						0.9365609349		90		0.9136363636						1		90		0.7967032967						0.938517179		80		0.884086444						0.9252669039

		90		0.7759103641						0.8546845124		90		0.825						0.9734748011												90		0.8523489933						0.9378427788																						90		0.9249011858						0.9491833031

		Residuals		#10-#11								Residuals		#30-#31								Residuals		#50-#51								Residuals		#50-#51								Residuals		#70-#71								Residuals		#90-#91								Residuals		#100-#101

		True position		Est. position		Est. position		Residuals		Residuals		True position		Est. position		Est. position		Residuals		Residuals		True position		Est. position		Est. position		Residuals		Residuals		True position		Est. position		Est. position		Residuals		Residuals		True position		Est. position		Est. position		Residuals		Residuals		True position		Est. position		Est. position		Residuals		Residuals		True position		Est. position		Est. position		Residuals

				200 V		400 V		200 V		400 V				200 V		400 V		200 V		400 V				200 V		400 V		200 V		400 V				200 V		400 V		200 V		400 V				200 V		400 V		200 V		400 V				200 V		400 V		200 V		400 V				200 V		400 V		200 V		400 V

		20		22.657807309		38.3428571429		2.657807309		18.3428571429		20		38.3428571429		25.2173913043		18.3428571429		5.2173913043		20		16.610738255		0		-3.389261745		-20		20		19.8899371069		14.9449339207		-0.1100628931		-5.0550660793		30		12.1662125341		0		-17.8337874659		-30		30		23.530259366		0		-6.469740634		-30		20		29.7965738758		30.322265625		9.7965738758		10.322265625

		30		19.6244131455		24.0465116279		-10.3755868545		-5.9534883721		30		24.0465116279		0		-5.9534883721		-30		30		21.6071428571		0		-8.3928571429		-30		30		11.6105769231		0		-18.3894230769		-30		40		23.1642857143		0		-16.8357142857		-40		40		35.4896142433		0		-4.5103857567		-40		30		10.0518518519		7.5616438356		-19.9481481481		-22.4383561644

		40		28.4577114428		35.1063829787		-11.5422885572		-4.8936170213		40		35.1063829787		0		-4.8936170213		-40		40		35.969581749		13.0892448513		-4.030418251		-26.9107551487		40		22.3529411765		0		-17.6470588235		-40		50		43.3444444444		28.7138263666		-6.6555555556		-21.2861736334		50		44.2905405405		22.7472527473		-5.7094594595		-27.2527472527		40		10.5162241888		8.340306834		-29.4837758112		-31.659693166

		50		39.3534482759		47.7976190476		-10.6465517241		-2.2023809524		50		47.7976190476		29.1324200913		-2.2023809524		-20.8675799087		60		74.1052631579		87.4107142857		14.1052631579		27.4107142857		50		35.9375		19.6341463415		-14.0625		-30.3658536585		60		73.2246376812		91.8390804598		13.2246376812		31.8390804598		60		65.2966101695		79.1627906977		5.2966101695		19.1627906977		50		17.4242424242		16.8292682927		-32.5757575758		-33.1707317073

		60		69.0909090909		68.75		9.0909090909		8.75		60		68.75		68.0952380952		8.75		8.0952380952		70		81.0158730159		100.8151093439		11.0158730159		30.8151093439		60		58.6734693878		67.2183098592		-1.3265306122		7.2183098592		70		87.4864130435		106.9183864916		17.4864130435		36.9183864916		70		71.919504644		101.9366852886		1.919504644		31.9366852886		60		57.5		57.5		-2.5		-2.5

		70		78.2640586797		78.8780487805		8.2640586797		8.8780487805		70		78.8780487805		94.1525423729		8.8780487805		24.1525423729		80		92.6139817629		103.7014314928		12.6139817629		23.7014314928		70		79.2779291553		101.5663716814		9.2779291553		31.5663716814		80		104.474595843		117.5		24.474595843		37.5		80		84.3108504399		107.0168855535		4.3108504399		27.0168855535		70		92		96.5485074627		22		26.5485074627

		80		87.0731707317		87.568627451		7.0731707317		7.568627451		80		87.568627451		108.5411140584		7.568627451		28.5411140584		90		91.3846153846		104.6341463415		1.3846153846		14.6341463415		80		93.630806846		107.7045075125		13.630806846		27.7045075125		90		107.3522727273		117.5		17.3522727273		27.5		90		91.6208791209		107.9294755877		1.6208791209		17.9294755877		80		101.6699410609		106.4056939502		21.6699410609		26.4056939502

		90		85.350140056		90.75		-4.649859944		0.75		90		90.75		107.0822281167		0.75		17.0822281167												90		98.0201342282		107.8519195612		8.0201342282		17.8519195612																						90		106.3636363636		109.1560798548		16.3636363636		19.1560798548





		Far end														End + 1 cm														End + 2 cm														End + 3 cm														End + 3.5 cm

		Strip width		Local coord.												Strip width		Local coord.												Strip width		Local coord.												Strip width		Local coord.												Strip width		Local coord.

		16 µm		21		0.3192771084		0		0		0.3086172345		0.2177531207		25 µm		25		0.2489795918		0		0		0.2296072508		0.0935875217		25 µm		25		0.2344827586		0		0		0.1566820276		0.079338843		30 µm		25		0.1505016722		0		0		0.0805687204		0.052		35 µm		20		0.2591006424		0		0		0.263671875

				22		0.3269230769		61		1		0.3302180685		0.2262118492				26		0.3642857143		78		1		0.3591160221		0.2287390029				26		0.3311897106		95		1		0.2647754137		0.1256038647				26		0.2164948454		108		1		0.0966183575		0.0595238095				30		0.0874074074		115		1		0.0657534247

				23		0.5						0.5		0.5284552846				28		0.6977777778						0.691588785		0.8631578947				27								0.3176470588		0.2993197279				27		0.3470790378						0.2055137845		0.1347248577				40		0.0914454277						0.0725244073

				24		0.6687697161						0.6808943089		0.826435247				29		0.7510204082						0.7796610169		0.9246575342				28		0.6393442623						0.6741573034		0.7946127946				29		0.6487603306						0.7430939227		0.8559837728				50		0.1515151515						0.1463414634

				25		0.6972789116						0.7270788913		0.8104196816																		29		0.7039711191						0.7454545455		0.8982785603				30		0.7683823529						0.884057971		0.9513108614				60		0.5						0.5

																																30		0.7731629393						0.830802603		0.9453376206				31		0.8316498316						0.9351145038		0.98				70		0.8						0.8395522388

																																																												80		0.884086444						0.9252669039

																																																												90		0.9249011858						0.9491833031

				Pos. far end (1)														Pos.(2)=(1)+1 cm														Pos.(3)=(2)+1 cm														Pos.(4)=(3)+1 cm														Pos.(5)=(4)+0.5 cm

		Bias		#119		Int 1		#120				#121		Int 3		#122		#119		Int 1		#120				#121		Int 3		#122		#119		Int 1		#120				#121		Int 3		#122		#119		Int 1		#120				#121		Int 3		#122		#119		Int 1		#120				#121		Int 3		#122

		[Volt]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]

		50		0		0		30		10		115		10		20						20		0		68						0		0		31		0		99		0		0		0		0		0		0		70		0		0						38		21		104		-10

		100		28		0		61		17		179		15		33						44		15		129						20		0		48		24		171		0		31						52		34		145		0		29						62		34		177		-21

		150		30		0		88		40		239		27		44						78		37		184						0		0		71		44		242		0		31						63		58		250		0		29						55		24		385		-31

		200		37		0		115		74		357		37		54						68		41		280						0		0		78		58		383		0		37						37		20		388		-5		20						48		15		454		-24

		250		34		0		101		61		530		51		20						71		44		410						0		0		44		24		509		-24		10						26		10		448		-20		10						45		0		468		-34

		300		23		0		81		37		600		-23		30						58		45		475						0		0		37		13		533		-30		20						22		22		490		-24		10						34		-10		478		-34

		350		34		0		84		27		641		-27		24						51		10		519						0		0		30		0		567		-30		15						20		0		512		-24		0						34		-17		495		-34

		400		23		0		64		0		644		-34		23						51		0		530						0		0		41		0		577		-37		15						20		0		527		-24		0						34		-17		502		-34

		500		10		0		77		0		680		-30		10						48		0		547						0		0		34		0		588		-40		13						10		0		530		-24		0						34		-17		510		-34

				Total										Total										Intermediate strip/total charge

		Bias		Pos.(1)		Pos.(2)		Pos.(3)		Pos.(4)		Pos.(5)		normalised

		[Volt]												Pos.(1)		Pos.(2)		Pos.(3)		Pos.(4)		Pos.(5)		Pos.(1)		Pos.(2)		Pos.(3)		Pos.(4)		Pos.(5)

		50		135		88		99		70		142		0.2023988006		0.1514629948		0.1672297297		0.1328273245		0.2649253731		0.0740740741		0		0		0		0.1478873239

		100		212		173		202		174		239		0.3178410795		0.2977624785		0.3412162162		0.330170778		0.4458955224		0.0801886792		0.0867052023		0.1188118812		0.1954022989		0.1422594142

		150		283		262		273		279		440		0.4242878561		0.4509466437		0.4611486486		0.5294117647		0.8208955224		0.1413427562		0.141221374		0.1611721612		0.2078853047		0.0545454545

		200		411		348		420		408		502		0.616191904		0.5989672978		0.7094594595		0.7741935484		0.9365671642		0.1800486618		0.117816092		0.1380952381		0.0490196078		0.0298804781

		250		550		481		519		458		513		0.8245877061		0.8278829604		0.8766891892		0.8690702087		0.9570895522		0.1109090909		0.0914760915		0.0462427746		0.0218340611		0

		300		630		533		553		500		512		0.9445277361		0.917383821		0.9341216216		0.9487666034		0.9552238806		0.0587301587		0.0844277674		0.0235081374		0.044		-0.01953125

		350		665		570		582		512		529		0.9970014993		0.9810671256		0.9831081081		0.9715370019		0.9869402985		0.0406015038		0.0175438596		0		0		-0.0321361059

		400		667		581		592		527		536		1		1		1		1		1		0		0		0		0		-0.0317164179

		500		690		595		601		530		544		1.0344827586		1.0240963855		1.0152027027		1.0056925996		1.0149253731		0		0		0		0		-0.03125





		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0



0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		50		50		50		50		50

		100		100		100		100		100

		150		150		150		150		150

		200		200		200		200		200

		250		250		250		250		250

		300		300		300		300		300

		350		350		350		350		350

		400		400		400		400		400

		500		500		500		500		500



0.0740740741

0

0

0

0.1478873239

0.0801886792

0.0867052023

0.1188118812

0.1954022989

0.1422594142

0.1413427562

0.141221374

0.1611721612

0.2078853047

0.0545454545

0.1800486618

0.117816092

0.1380952381

0.0490196078

0.0298804781

0.1109090909

0.0914760915

0.0462427746

0.0218340611

0

0.0587301587

0.0844277674

0.0235081374

0.044

-0.01953125

0.0406015038

0.0175438596

0

0

-0.0321361059

0

0

0

0

-0.0317164179

0

0

0

0

-0.03125



		50		50		50		50		50

		100		100		100		100		100

		150		150		150		150		150

		200		200		200		200		200

		250		250		250		250		250

		300		300		300		300		300

		350		350		350		350		350

		400		400		400		400		400

		500		500		500		500		500



0.2023988006

0.1514629948

0.1672297297

0.1328273245

0.2649253731

0.3178410795

0.2977624785

0.3412162162

0.330170778

0.4458955224

0.4242878561

0.4509466437

0.4611486486

0.5294117647

0.8208955224

0.616191904

0.5989672978

0.7094594595

0.7741935484

0.9365671642

0.8245877061

0.8278829604

0.8766891892

0.8690702087

0.9570895522

0.9445277361

0.917383821

0.9341216216

0.9487666034

0.9552238806

0.9970014993

0.9810671256

0.9831081081

0.9715370019

0.9869402985

1

1

1

1

1

1.0344827586

1.0240963855

1.0152027027

1.0056925996

1.0149253731



		Time delay		Corrected time		Bias [V]		#120		Int 1		#121		Int 2																		0		0.08185		9.1672		112				0.261052		10		80

		70		55		250		0		0		68		0				0		0		0		610								1		0.168384		18.859008						0.431745		34.5396

		75		50				16		0		150		0				3		0.0512794593		31.2804701969										2		0.312367		34.985104						0.675746		54.05968

		80		45				34		0		245		-25				6		0.2672435413		163.0185601936										3		0.52869		59.21328						1.004992		80.39936

		85		40				54		0		369		-41				9		0.5875634723		358.4137180924										4		0.825982		92.509984						1.426173		114.09384

		90		35				123		32		560		0				12		0.9072872169		553.4452023										5		1.20452		134.90624						1.939189		155.13512

		95		30				154		40		688		0				15		1.1543795498		704.1715253543										6		1.656436		185.520832						2.536774		202.94192

		100		25				188		51		826		-28				18		1.299469696		792.6765145638										7		2.16761		242.77232						3.205258		256.42064

		105		20				199		74		792		0				21		1.3442508459		819.9930160187										8		2.720225		304.6652						3.926179		314.09432

		110		15				188		108		615		-5				24		1.3071636214		797.3698090352										9		3.295125		369.054						4.678293		374.26344

		115		10				176		131		421		79				27		1.2124429531		739.5902013697										10		3.873637		433.847344						5.439553		435.16424

		120		5				85		68		199		34				30		1.0834467691		660.9025291351										11		4.438771		497.142352						6.188773		495.10184

		125		0				0		0		0		0				33		0.9394191906		573.0457062512										12		4.97592		557.30304						6.906842		552.54736

																		36		0.7945091514		484.6505823432										13		5.473185		612.99672						7.577489		606.19912

																		39		0.6580501859		401.410613397										14		5.92143		663.20016						8.187653		655.01224

																		42		0.5354104702		326.6003867976										15		6.31416		707.18592						8.727551		698.20408

																		45		0.4289931162		261.6858008585										16		6.647297		744.497264						9.190552		735.24416

																		48		0.339164421		206.8902967894										17		6.91889		774.91568						9.57288		765.8304

																		51		0.2650152693		161.6593142647										18		7.128793		798.424816						9.873284		789.86272

																		54		0.2049346724		125.0101501754										19		7.278362		815.176544						10.092649		807.41192

																		57		0.1570118833		95.7772488293										20		7.370132		825.454784						10.233604		818.68832

																		60		0.1192986421		72.7721716988										21		7.407557		829.646384						10.300152		824.01216

																		63		0.0899657472		54.8791057793										22		7.394742		828.211104						10.297333		823.78664

																		66		0.0673846758		41.1046522082										23		7.336235		821.65832						10.230914		818.47312

																		69		0.050159177		30.597097963										24		7.236837		810.525744						10.107127		808.57016

																		72		0.0371256796		22.6466645667										25		7.101445		795.36184						9.932439		794.59512

																		75		0.0273359711		16.67494238										26		6.934925		776.7116						9.713365		777.0692

																																27		6.742013		755.105456						9.456316		756.50528

																																28		6.527242		731.051104						9.16749		733.3992

																																29		6.294873		705.025776						8.852766		708.22128

																																30		6.048868		677.473216						8.517644		681.41152

																																31		5.792859		648.800208						8.167207		653.37656

																																32		5.530137		619.375344						7.806094		624.48752

																																33		5.263647		589.528464						7.438483		595.07864

																																34		4.995998		559.551776						7.068093		565.44744

																																35		4.729472		529.700864						6.698193		535.85544

																																36		4.466033		500.195696						6.331631		506.53048

																																37		4.207353		471.223536						5.970841		477.66728

																																38		3.954834		442.941408						5.617879		449.43032

																																39		3.709625		415.478						5.274448		421.95584

																																40		3.472645		388.93624						4.941926		395.35408

																																41		3.244611		363.396432						4.621399		369.71192

																																42		3.026052		338.917824						4.313695		345.0956

																																43		2.817337		315.541744						4.019405		321.5524

																																44		2.618692		293.293504						3.738913		299.11304

																																45		2.43022		272.18464						3.472427		277.79416

																																46		2.251916		252.214592						3.219996		257.59968

																																47		2.083687		233.372944						2.981542		238.52336

																																48		1.925365		215.64088						2.756874		220.54992

																																49		1.776718		198.992416						2.545705		203.6564

																																50		1.637465		183.39608						2.347678		187.81424

																																51		1.507286		168.816032						2.162372		172.98976

																																52		1.38583		155.21296						1.989319		159.14552

																																53		1.272725		142.5452						1.828019		146.24152

																																54		1.167583		130.769296						1.677946		134.23568

																																55		1.070007		119.840784						1.538557		123.08456

																																56		0.979598		109.714976						1.409304		112.74432

																																57		0.895956		100.347072						1.289635		103.1708

																																58		0.818688		91.693056						1.179003		94.32024

																																59		0.747406		83.709472						1.076871		86.14968

																																60		0.681733		76.354096						0.982712		78.61696

																																61		0.621304		69.586048						0.896015		71.6812

																																62		0.565769		63.366128						0.816288		65.30304

																																63		0.51479		57.65648						0.743057		59.44456

																																64		0.468044		52.420928						0.675869		54.06952

																																65		0.425227		47.625424						0.614292		49.14336

																																66		0.386049		43.237488						0.557917		44.63336

																																67		0.350235		39.22632						0.506357		40.50856

																																68		0.317529		35.563248						0.459245		36.7396

																																69		0.287687		32.220944						0.416239		33.29912

																																70		0.260483		29.174096						0.377015		30.1612

																																71		0.235705		26.39896						0.341272		27.30176

																																72		0.213156		23.873472						0.308729		24.69832

																																73		0.19265		21.5768						0.279123		22.32984

																																74		0.174018		19.490016						0.25221		20.1768

																																75		0.157101		17.595312						0.227764		18.22112

																																76		0.141751		15.876112						0.205574		16.44592

																																77		0.127834		14.317408						0.185447		14.83576

																																78		0.115224		12.905088						0.167204		13.37632

																																79		0.103806		11.626272						0.150679		12.05432

																																80		0.093474		10.469088						0.13572		10.8576

																																81		0.084131		9.422672						0.122188		9.77504

																																82		0.075686		8.476832						0.109953		8.79624

																																83		0.068058		7.622496						0.098898		7.91184

																																84		0.061172		6.851264						0.088915		7.1132

																																85		0.054959		6.155408						0.079904		6.39232

																																86		0.049356		5.527872						0.071777		5.74216

																																87		0.044307		4.962384

																																88		0.039758		4.452896

																																89		0.035662		3.994144

																																90		0.031975		3.5812

																																91		0.028659		3.209808

																																92		0.025678		2.875936

																																93		0.022998		2.575776

																																94		0.020591		2.306192

																																95		0.018429		2.064048

																																96		0.016489		1.846768

																																97		0.014748		1.651776

																																98		0.013187		1.476944

																																99		0.011787		1.320144





		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0



0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0



0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0



Measured (hit strip)

Calculated

Adjacent strip

Intermediate routing line

Time [ns]

Amplitude [arb. units]

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0



Measured

Calculated

Time [ns]

Amplitude [arb. units]

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0




_1045921559.xls
Chart16

		0		30		30		30

		117		40		40		40

				50		50		50

				70		70		70

				80		80		80

				90		90		90



150 Volt

200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

0

0.223255814

0.1133333333

0.0510204082

1

0.2783505155

0.1933333333

0.0761670762

0.3963414634

0.3048780488

0.1943005181

0.6209150327

0.6822429907

0.8157099698

0.6875

0.7979094077

0.915

0.7548076923

0.8580645161

0.9330024814



General

		Sector #		Strip's range								1		128

		1		1-128								2		256

		2		129-256								3		384

		3		257-384								4		512

		4		385-512								5		640

		5		513-640								6		768

		6		641-768								7		896

		7		769-896								8		1024

		8		897-1024

		Measured strips:

		Sector #:		1		2		3		4		5		6		7		8





Sheet1

				Bias 200 V		Step posit.		Delta #85		Delta #86		Left Height		Right Height		Sum (L+R)		Eta		Integral		Predicted position		Residuals		Ideal eta

								[µm]		[µm]																0		0

		Strip #85 position		40.3		41		7		115		558		104		662		0.1570996979				18.8519637462		11.8519637462		120		1

		Strip #86 position		52.5		42		17		105		608		154		762		0.2020997375				24.2519685039		7.2519685039

						43		27		95		625		116		741		0.1565452092				18.7854251012		-8.2145748988

						44		37		85		608		227		835		0.2718562874				32.622754491		-4.377245509

						45		47		75		608		446		1054		0.4231499051				50.7779886148		3.7779886148

						46		57		65		568		548		1116		0.4910394265				58.9247311828		1.9247311828

						47		67		55		507		572		1079		0.5301204819				63.6144578313		-3.3855421687

						48		77		45		357		580		937		0.6189967983				74.2796157951		-2.7203842049

						49		87		35		170		570		740		0.7702702703				92.4324324324		5.4324324324

						50		97		25		187		608		795		0.7647798742				91.7735849057		-5.2264150943

						51		107		15		174		600		774		0.7751937984				93.023255814		-13.976744186

																								7.5058591589

																						7.5058591589

																						6

				Bias 200 V		Step posit.		Delta #85		Delta #86		Left Height		Right Height		Sum (L+R)		Eta		Integral						Ideal eta

								[µm]		[µm]																0		0

		Strip #85 position		41.7		43		13		105		755		170		925		0.1837837838								120		1

		Strip #86 position		53.5		44		23		95		778		178		956		0.1861924686

						45		33		85		770		244		1014		0.2406311637

						46		43		75		770		585		1355		0.4317343173

						47		53		65		711		689		1400		0.4921428571

						48		63		55		607		741		1348		0.5497032641

						49		73		45		452		741		1193		0.6211232188

						50		83		35		178		726		904		0.8030973451

						51		93		25		118		711		829		0.8576598311

						52		103		15		104		681		785		0.8675159236

						53		113		5		89		704		793		0.8877679697





Irradiated (4)

		Bias 250 V		Strip #		Centre		Distance		20 V		Local coord.		D24		D25		Pulse Left		Pulse Right		Pulse sum		h		ideal				50 V		Pulse Left		Pulse Right		Pulse sum		h		200 V		Pulse Left		Pulse Right		Pulse sum		h				Volt scan		#85		#86		Total		Normalised

				85		31		110				33.5		25		85		128		12		140		0.0857142857		0		0				253		30		283		0.1060070671				373		16		389		0.0411311054				20		36		126		162		0.3884892086

				86		42						34.5		35		75		132		12		144		0.0833333333		110		1				233		24		257		0.093385214				341		25		366		0.0683060109				30		52		240		292		0.7002398082

												35.5		45		65		84		32		116		0.275862069								204		48		252		0.1904761905				325		50		375		0.1333333333				40		48		317		365		0.8752997602

												37		60		50		22		40		62		0.6451612903								36		76		112		0.6785714286				50		136		186		0.7311827957				50		48		371		407		0.9760191847

		#85		Amplitude		#86		Amplitude				37.5		65		45		40		84		124		0.6774193548								60		197		257		0.766536965				60		305		365		0.8356164384				75		36		380		412		0.9880095923

		39		417		28		417				38.5		75		35		28		152		180		0.8444444444								40		272		312		0.8717948718				32		401		433		0.9260969977				100		32		397		425		1.0191846523

		40		325		29		297				39.5		85		25		24		160		184		0.8695652174								44		281		325		0.8646153846				32		405		437		0.9267734554				120		28		413		441		1.0575539568

		41		50		30		60																																												150		28		417		417		1

		42		0		31		0

		43		68		32		32

		44		361		33		272

						34		409

		Bias 250 V		Strip #		Centre		Distance		20 V		Local coord.		D24		D25		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h		ideal				50 V		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h		200 V		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h				Volt scan		#4		Int 1		#5		Int 2		Total		Normalised

				4		12.5		115				14.5		20		95		204		-28		36				240		0.15		0		0				333				36				369		0.0975609756				449		-64		48				497		0.0965794769				20		12		-24		200		-48		212		0.4265593561

				5		24						15.5		30		85		240		-36		44				284		0.1549295775		115		1				425		-64		72				497		0.1448692153				573		-112		64				637		0.1004709576				30		40				328		-52		368		0.7404426559

												16.5		40		75		212		-32		44				256		0.171875								373		-48		52				425		0.1223529412				525		-88		52				577		0.0901213172				40		24		-16		381		-88		405		0.814889336

												17.5		50		65		116		-8		48				164		0.2926829268								256		-24		104				360		0.2888888889				373		-64		120				493		0.2434077079				50		28		-24		425		-92		453		0.9114688129

		#4		Amplitude		#5		Amplitude				18.5		60		55		16				32				48		0.6666666667								32				72				104		0.6923076923				60				112				172		0.6511627907				75		16				445		-100		461		0.9275653924

		12		0		21		489				19.5		70		45		52				188		-16		240		0.7833333333								68				385		-48		453		0.8498896247				52				509		-96		561		0.9073083779				100		12		-28		457		-124		469		0.9436619718

		13		0		22		341				20.5		80		35		52				253		-16		305		0.8295081967								76				429		-52		505		0.8495049505				36				549		-96		585		0.9384615385				120		16		-20		465		-120		481		0.967806841

		14		132		23		84				21.5		90		25		28				204		-48		232		0.8793103448								36				393		-84		429		0.9160839161				28				501		-112		529		0.9470699433				150		12		-44		485		-132		497		1

		15		437		24		0

		16		517		25		0

						26		272

		Bias 250 V		Strip #		Centre		Distance		20 V		Local coord.		D24		D25		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h		ideal				50 V		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h		200 V		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h

				5		24		110				26.5		25		85		197				36				233		0.1545064378		0		0				328				36				364		0.0989010989				445				32				477		0.0670859539

				6		35						27.5		35		75		152				28				180		0.1555555556		110		1				305				36				341		0.1055718475				449				36				485		0.0742268041

												28.5		45		65		116				36				152		0.2368421053								253				60				313		0.1916932907				413				100				513		0.1949317739

												29.5		55		55		44				28				72										60				36				96						72				32				104

												30.5		65		45		28				104				132		0.7878787879								52				212				264		0.803030303				72				345				417		0.8273381295

												31.5		75		35		36				160				196		0.8163265306								32				272				304		0.8947368421				28				405				433		0.935334873

												32.5		85		25		12				164				176		0.9318181818								32				333				365		0.9123287671				72				469				541		0.8669131238

		Bias 250 V		Strip #		Centre		Distance		20 V		Local coord.		D24		D25		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h		ideal				50 Volt		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h		200 Volts		Pulse Left		Int 1		Pulse Right		Int 2		Pulse sum		h				Volt scan		#115		Int 1		#116		Int 2		Total		Normalised

				115		44		120				47.5		35		85		237				45				282		0.1595744681		0		0				396		-18		54				450		0.12				474		-31		41				515		0.0796116505				10		32		23		132		0		164		0.3326572008

				116		56						48.5		45		75		209		0		54				263		0.2053231939		120		1				387		-13		59				446		0.1322869955				460		-41		45				505		0.0891089109				20		41		25		241		0		282		0.5720081136

												49.5		55		65		128		13		54				182		0.2967032967								264				77				341		0.2258064516				360		-23		90				450		0.2				30		45		25		314		0		359		0.7281947262

												51		70		50		41		13		91				132										63		13		182				245						73		0		250				323		0.72				40		45		25		364		0		409		0.8296146045

		#115		Amplitude		#116		Amplitude				51.5		75		45		77		41		173				250		0.692								91		18		360				451		0.7982261641				91		0		461				552		0.8351449275				50		36		18		400		-13		436		0.8843813387

		42		506		54		483				52.5		85		35		54		30		214				268		0.7985074627								54		23		383				437		0.8764302059				32		-23		460				492		0.9349593496				60		25		0		419		-23		444		0.9006085193

		43		410		55		287				53.5		95		25		41		25		241				282		0.8546099291								36		18		400		-13		436		0.9174311927				27				460		-23		487		0.9445585216				80		27		0		442		-23		469		0.9513184584

		44		77		56		0																																																								100		27		0		446		-23		473		0.9594320487

		45		455		57		0																																																								150		23		0		455		-27		478		0.9695740365

		46		488		58		145																																																								200		27				460		-18		487		0.9878296146

						59		469																																																								300		23				470		-30		493		1





Irradiated (4)

		20		10

		30		20

		40		30

		50		40

		75		50

		100		60

		120		80

		150		100

				150

				200

				300



0.4265593561

0.3326572008

0.7404426559

0.5720081136

0.814889336

0.7281947262

0.9114688129

0.8296146045

0.9275653924

0.8843813387

0.9436619718

0.9006085193

0.967806841

0.9513184584

1

0.9594320487

0.9695740365

0.9878296146

1



Irradiated (5) 

		20		20		20		0

		30		30		30		115

		40		40		40

		50		50		50

		60		60		60

		70		70		70

		80		80		80

		90		90		90



20 Volt

50 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #388-389

0.15

0.0975609756

0.0965794769

0

0.1549295775

0.1448692153

0.1004709576

1

0.171875

0.1223529412

0.0901213172

0.2926829268

0.2888888889

0.2434077079

0.6666666667

0.6923076923

0.6511627907

0.7833333333

0.8498896247

0.9073083779

0.8295081967

0.8495049505

0.9384615385

0.8793103448

0.9160839161

0.9470699433



Irr. corr (5)

		25		25		25		0

		35		35		35		110

		45		45		45

		55		55		55

		65		65		65

		75		75		75

		85		85		85



0.1545064378

0.0989010989

0.0670859539

0

0.1555555556

0.1055718475

0.0742268041

1

0.2368421053

0.1916932907

0.1949317739

0.7878787879

0.803030303

0.8273381295

0.8163265306

0.8947368421

0.935334873

0.9318181818

0.9123287671

0.8669131238



Irr. corr. (6)

		Bias 250 V		Strip #		Centre		Distance		100 V		Local coord.		D24		D25		Pulse Left		Pulse Right		Pulse sum		h		ideal				200 V		Pulse Left		Pulse Right		Pulse sum		h		300 V		Pulse Left		Pulse Right		Pulse sum		h				Volt scan		#13		#14		Total		Normalised						Strip #5		Volt scan		Normalised

				13		8.5		110				11		25		85		351		0		351		0		0		0				369		0		369		0				364		0		364		0				20		5		205		210		0.4338842975						10		140		0.2868852459

				14		19.5						12		35		75		387		0		387		0		110		1				414		0		414		0				414		0		414		0				30		5		273		278		0.5743801653						30		285		0.5840163934

												13		45		65		328		27		355		0.076056338								374		15		389		0.0385604113				383		24		407		0.058968059				40		54		323		377		0.7789256198						50		393		0.8053278689

												14		55		55		154		73		227		0.3215859031								164		59		223		0.264573991				173		68		241		0.2821576763				50		45		360		405		0.8367768595						70		434		0.8893442623

		#13		Amplitude		#14		Amplitude				15		65		45		54		223		277		0.8050541516								63		264		327		0.8073394495				82		278		360		0.7722222222				75		41		405		446		0.9214876033						100		454		0.9303278689

		6		364		17		351				16		75		35		36		378		414		0.9130434783								36		424		460		0.9217391304				32		424		456		0.9298245614				100		32		428		460		0.9504132231						150		468

		7		164		18		164				17		85		25		23		414		437		0.9473684211								23		460		483		0.9523809524				20		464		484		0.958677686				120		23		437		460		0.9504132231						200		485		0.993852459

		8		30		19		0																																												150		27		446		473		0.9772727273						300		488		1

		9		0		20		0																																												200		23		455		478		0.9876033058

		10		209		21		196																																												300		20		464		484		1

		11		370		22		392

		Bias 250 V		Strip #		Centre		Distance		50 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				200 V		Pulse Left		Pulse Right		Pulse sum		h		300 V		Pulse Left		Pulse Right		Pulse sum		h				Volt scan		#33		#34		Total		Normalised

				13		4.8		112				8		32		80		31		334		71		405		0.175308642		0		0				427		-17		410		0				434		-17		417		0				10		48		97		145		0.3325688073				30		112		20		31		163

				14		16						9		42		70		34		317		51		368		0.1385869565		112		1				427		31		458		0.0676855895				458		24		482		0.0497925311				20		51		184		235		0.5389908257				50		157		31		41		229

												10		52		60		0		68		34		102		0.3333333333								89		37		126		0.2936507937				99		34		133		0.2556390977				30		54		263		317		0.7270642202				100		291		51		85		427

												11		62		50		0		65		195		260		0.75								61		266		327		0.8134556575				61		260		321		0.8099688474				50		37		345		382		0.876146789				130		372		58		103		533

		#33		Amplitude		#34		Amplitude				12		72		40		0		51		308		359		0.8579387187								34		413		447		0.9239373602				34		430		464		0.9267241379				75		27		389		416		0.9541284404				150		530		50		109		689

		2		445		13		451				13		82		30		0		37		342		379		0.9023746702								27		427		454		0.9405286344				10		447		457		0.9781181619				100		24		400		424		0.9724770642				200		567		44		65		676

		3		191		14		214																																														125		24		417		441		1.0114678899				250		605		31				636

		4		41		15		41																																														150		20		420		440		1.0091743119				300		612		31				643

		5		34		16		34																																														200		20		424		444		1.0183486239

		6		68		17		58																																														300		20		436		456		1.0458715596

		7		413		18		330

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.		D24		D25		#120		Int 1		#121		Int 2		#122		Int 3		Pulse sum		h		ideal				200 V		#120		Int 1		#121		Int 2		#122		Int 3		Pulse sum		h		400 V		#120		Int 1		#121		Int 2		#122		Int 3		Pulse sum		h						Volt scan		#120		Int 1		#121		Int 2		#122		Total		Normalised

				121		40		117				43		30		87		30		24		167		24		48		17		215		0.223255814		0		0				24		20		266		10		34		0		300		0.1133333333				10		0		372		-24		20		0		392		0.0510204082						50		0		0		61		0		24		85		0.2093596059

				122		51.7						44		40		77		24		15		140		31		54		117		194		0.2783505155		117		1				27		15		242		27		58		0		300		0.1933333333				0		0		376		-24		31		0		407		0.0761670762						100		20		0		106		0		34		140		0.3448275862

												45		50		67		24		20		99		37		65		0		164		0.3963414634								15		0		171		44		75		0		246		0.3048780488				10		0		311		0		75		0		386		0.1943005181						150		27		10		157		24		48		205		0.5049261084

												47		70		47		0		0		58		41		95		0		153		0.6209150327								0		0		68		48		146		0		214		0.6822429907				0		0		61		17		270		0		331		0.8157099698						200		20		10		253		10		34		287		0.7068965517

		#121		Amplitude		#122		Amplitude				48		80		37		0		0		65		41		143		10		208		0.6875								0		0		58		41		229		0		287		0.7979094077				0		0		34		0		366		-13		400		0.915						250		10		5		317		0		27		344		0.8472906404

		38		345		49		366				49		90		27		0		0		51		34		157		0		208		0.7548076923								0		0		44		27		266		0		310		0.8580645161				0		0		27		0		376		-17		403		0.9330024814						300		0		0		349		0		31		380		0.9359605911

		39		37		50		201																																																																						350		0		0		362		-15		27		389		0.9581280788

		40		30		51		34																																																																						400		0		0		372		-17		34		406		1

		41		34		52		24																																																																						500		0		0		383		-20		27		410		1.0098522167

		42		195		53		58

		43		362		54		342

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				200 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		400 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h						Volt scan		#109		#110		Total		Normalised

				109		12.4		116				15		26		90		31		178		51		229		0.2227074236		0		0				15		280		24		304		0.0789473684						369		0		369		0						50		65		0		65		0.1747311828

				110		24						16		36		80		24		154		58		212		0.2735849057		116		1				24		263		41		304		0.1348684211						372		0		372		0						100		123		37		160		0.4301075269

												17		46		70		20		123		71		194		0.3659793814								30		215		71		286		0.2482517483						331		41		372		0.1102150538						150		171		51		222		0.5967741935

												19		66		50		0		68		95		163		0.5828220859								0		71		146		217		0.6728110599						58		242		300		0.8066666667						200		287		24		311		0.8360215054

		#109		Amplitude		#110		Amplitude				20		76		40		0		68		146		214		0.6822429907								0		58		242		300		0.8066666667						34		338		372		0.9086021505						250		334		0		334		0.8978494624

		10		308		21		291				21		86		30		0		58		167		225		0.7422222222								0		44		259		303		0.8547854785						0		345		345		1						300		351		0		351		0.9435483871

		11		37		22		208																																																				350		366		0		366		0.9838709677

		12		0		23		31																																																				400		372		0		372		1

		13		0		24		27																																																				500		383		0		383		1.0295698925

		14		225		25		31

		15		321		26		235

						27		285

		Bias 250 V		Strip #		Centre		Distance		100 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				300 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		400 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h						Volt scan		#72		#73		Total		Normalised

				72		29.1		114				31.5		24		90				253		34		287		0.118466899		0		0						355		1		356		0.0028089888						0		0		0		0						25		44		20		64		0.170212766

				73		40.5						32.5		34		80				242		48		290		0.1655172414		114		1						386		1		387		0.0025839793																		50		95		41		136		0.3617021277

												33.5		44		70				150		78		228		0.3421052632										280		41		321		0.1277258567																		75		150		58		208		0.5531914894

												35.5		64		50				54		120		174		0.6896551724										51		222		273		0.8131868132																		100		240		51		291		0.7739361702

		#72		Amplitude		#73		Amplitude				36.5		74		40				68		215		283		0.7597173145										17		376		393		0.9567430025																		125		311		27		338		0.8989361702

		27		249		38		311				37.5		84		30				41		253		294		0.8605442177										1		386		387		0.9974160207																		150		342		10		352		0.9361702128

		28		71		39		106				38		89		25				41		249		290		0.8586206897										20		355		375		0.9466666667																		200		355		10		365		0.9707446809

		28.5		25		40		20																																																				300		376		0		376		1

		29		0		41		31																																																				400		383		0		383		1.0186170213

		30		58		42		154

		31		256		43		334

		Bias 250 V		Strip #		Centre		Distance		100 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				150 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		300 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		200 V		Pulse Left		Pulse Right		Pulse sum		h		Volt scan		#92		#93		Total		Normalised

				92		37.8		116				40		22		94		20		146		41		187		0.2192513369		0		0						259		24		283		0.0848056537						352		1		353		0.0028328612				331		5		336		0.0148809524		50		65		10		75		0.2049180328

				93		49.4						41		32		84		20		140		44		184		0.2391304348		116		1						246		34		280		0.1214285714						369		1		370		0.0027027027				334		5		339		0.0147492625		75		95		10		105		0.2868852459

												42		42		74		24		112		51		163		0.3128834356										208		65		273		0.2380952381						355		1		356		0.0028089888				300		34		334		0.1017964072		100		129		27		156		0.4262295082

												44.5		67		49		0		68		89		157		0.5668789809										82		143		225		0.6355555556						65		256		321		0.7975077882				71		215		286		0.7517482517		125		167		27		194		0.5300546448

		#92		Amplitude		#93		Amplitude				45		72		44				71		103		174		0.591954023										78		198		276		0.7173913043						37		334		371		0.9002695418				54		291		345		0.8434782609		150		236		30		266		0.7267759563

		35		352		47		345				46		82		34				54		123		177		0.6949152542										54		236		290		0.8137931034						1		370		371		0.9973045822				41		328		369		0.8888888889		200		328		0		328		0.8961748634

		36		143		48		68				47		92		24				48		133		181		0.7348066298										48		259		307		0.8436482085						10		359		369		0.972899729				35		331		366		0.9043715847		250		355		0		355		0.9699453552

		37		17		49		0																																																										300		366		0		366		1

		38		17		49.5		0																																																										400		379		0		379		1.0355191257

		39		95		50		0

		40		325		51		116

						52		321

		Bias 250 V		Strip #		Centre		Distance		20 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				50 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		200 V		Pulse Left		Pulse Right		Pulse sum		h								Volt scan		#32		#33		Total		Normalised

				32		43.2		108				45.5		23		85		24		188		30		218		0.1376146789		0		0				24		317		1		318		0.0031446541				400		1		401		0.0024937656								10		89		41		130		0.3147699758

				33		54						46.5		33		75		20		174		44		218		0.2018348624		108		1				20		325		10		335		0.0298507463				410		1		411		0.00243309								20		171		41		212		0.5133171913

												47.5		43		65		24		123		65		188		0.3457446809								20		242		54		296		0.1824324324				342		37		379		0.0976253298								30		232		34		266		0.6440677966

												49		58		50		0		41		58		99		0.5858585859										44		109		153		0.7124183007				51		164		215		0.7627906977								50		321		0		321		0.7772397094

		#32		Amplitude		#33		Amplitude				49.5		63		45				68		116		184		0.6304347826										68		212		280		0.7571428571				65		297		362		0.820441989								75		362		0		362		0.8765133172

		40		393		51		413				50.5		73		35				58		157		215		0.7302325581										44		297		341		0.8709677419				24		389		413		0.9418886199								100		383		0		383		0.9273607748

		41		181		52		291				51		78		30				48		164		212		0.7735849057										41		304		345		0.8811594203				15		393		408		0.9632352941								150		396		0		396		0.9588377724

		42		31		53		51																																																				200		413		0		413		1

		43		24		54		17																																																				300		420		0		420		1.0169491525

		44		80		55		50

		45		359		56		280

						57		403

		Bias 250 V		Strip #		Centre		Distance		50 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				100 V		Pulse Left		Pulse Right		Pulse sum		h		300 V		Pulse Left		Pulse Right		Pulse sum		h										Volt scan		#53		#54		#55		#56		Total		Normalised

				54		39		110				42.5		35		75		24		259		37		296		0.125		0		0				352		1		353		0.0028328612				400		1		401		0.0024937656										10		13		27		41		13		68		0.17

				55		50						43		40		70		24		222		48		270		0.1777777778		110		1				331		1		332		0.0030120482				393		1		394		0.0025380711										25		20		61		109		20		170		0.425

												44		50		60		0		123		58		181		0.320441989								195		44		239		0.1841004184				239		41		280		0.1464285714										50				266		41				307		0.7675

												45.5		65		45		0		51		116		167		0.6946107784								42		178		220		0.8090909091				61		215		276		0.7789855072										75				334		14				348		0.87

		#54		Amplitude		#55		Amplitude				46		70		40				70		201		271		0.741697417								51		308		359		0.8579387187				51		355		406		0.8743842365										100				359		0				359		0.8975

		37		352		47		400				47		80		30				43		260		303		0.8580858086								17		355		372		0.9543010753				1		400		401		0.9975062344										150				372		0				372		0.93

		38		44		48		280																																																				200				383		0				383		0.9575

		39		27		49		41																																																				250				396		0				396		0.99

		40		51		50		20																																																				300				400		0				400		1

		41		266		51		51								512		63		575																																								400				406						406		1.015

		42		390		52		273

						53		410

		Bias 250 V		Strip #		Centre		Distance		50 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				100 V		Pulse Left		Pulse Right		Pulse sum		h		250 V		Pulse Left		Pulse Right		Pulse sum		h										Volt scan		#64		#65		Total		Normalised

				63		1		120				4.5		35		85		37		161		65		226		0.2876106195		0		0				317		1		318		0.0031446541				376		1		377		0.0026525199										25		34		75		109		0.2632850242

				64		13						5.5		45		75		30		137		82		219		0.3744292237		120		1				297		54		351		0.1538461538				376		15		391		0.0383631714										50		55		164		219		0.5289855072

												6		50		70		0		123		78		201		0.3880597015								249		58		307		0.1889250814				325		41		366		0.1120218579										75		37		290		327		0.7898550725

												7.5		65		55		0		38		51		89		0.5730337079								40		106		146		0.7260273973				51		129		180		0.7166666667										100		27		330		357		0.8623188406

		#63		Amplitude		#64		Amplitude				8		70		50				71		103		174		0.591954023								61		242		303		0.798679868				58		300		358		0.8379888268										150		27		359		386		0.9323671498

		-1		352		10		400				9		80		40				75		143		218		0.6559633028								41		325		366		0.8879781421				31		372		403		0.9230769231										200		24		372		396		0.9565217391

		0		44		11		280				10		90		30				51		164		215		0.7627906977								34		334		368		0.9076086957				20		389		409		0.9511002445										250		20		379		399		0.9637681159

		1		27		12		41																																																				300		24		382		406		0.9806763285

		2		51		13		20																																																				350		24		390		414		1

		3		266		14		51

		4		390		15		273





Irradiated (6)

		Bias 250 V		Strip #		Centre		Distance		100 V		Local coord.		D24		D25		Pulse Left		Pulse Right		Pulse sum		h		ideal				200 V		Pulse Left		Pulse Right		Pulse sum		h		300 V		Pulse Left		Pulse Right		Pulse sum		h				Volt scan		#13		#14		Total		Normalised						Strip #5		Volt scan		Normalised

				13		8.5		110				11		25		85		351		17		368		0.0461956522		0		0				369		17		386		0.0440414508				364		17		381		0.0446194226				20		5		205		210		0.4338842975						10		140		0.2868852459

				14		19.5						12		35		75		387		24		411		0.0583941606		110		1				414		24		438		0.0547945205				414		24		438		0.0547945205				30		5		273		278		0.5743801653						30		285		0.5840163934

												13		45		65		328		54		382		0.1413612565								374		55		429		0.1282051282				383		48		431		0.1113689095				40		54		323		377		0.7789256198						50		393		0.8053278689

												14		55		55		154		73		227		0.3215859031								164		59		223		0.264573991				173		68		241		0.2821576763				50		45		360		405		0.8367768595						70		434		0.8893442623

		#13		Amplitude		#14		Amplitude				15		65		45		54		223		277		0.8050541516								63		264		327		0.8073394495				82		278		360		0.7722222222				75		41		405		446		0.9214876033						100		454		0.9303278689

		6		364		17		351				16		75		35		36		378		414		0.9130434783								36		424		460		0.9217391304				32		424		456		0.9298245614				100		32		428		460		0.9504132231						150		468

		7		164		18		164				17		85		25		23		414		437		0.9473684211								23		460		483		0.9523809524				20		464		484		0.958677686				120		23		437		460		0.9504132231						200		485		0.993852459

		8		30		19		0																																												150		27		446		473		0.9772727273						300		488		1

		9		0		20		0																																												200		23		455		478		0.9876033058

		10		209		21		196																																												300		20		464		484		1

		11		370		22		392

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.		D24		D25		#120		Int 1		#121		Int 2		#122		Int 3		Pulse sum		h		ideal				200 V		#120		Int 1		#121		Int 2		#122		Int 3		Pulse sum		h		400 V		#120		Int 1		#121		Int 2		#122		Int 3		Pulse sum		h						Volt scan		#120		Int 1		#121		Int 2		#122		Total		Normalised

				121		40		117				43		30		87		30		24		167		24		48		17		215		0.223255814		0		0				24		20		266		10		34		0		300		0.1133333333				10		0		372		-24		20		0		392		0.0510204082						50		0		0		61		0		24		85		0.2093596059

				122		51.7						44		40		77		24		15		140		31		54		117		194		0.2783505155		117		1				27		15		242		27		58		0		300		0.1933333333				0		0		376		-24		31		0		407		0.0761670762						100		20		0		106		0		34		140		0.3448275862

												45		50		67		24		20		99		37		65		0		164		0.3963414634								15		0		171		44		75		0		246		0.3048780488				10		0		311		0		75		0		386		0.1943005181						150		27		10		157		24		48		205		0.5049261084

												47		70		47		0		0		58		41		95		0		153		0.6209150327								0		0		68		48		146		0		214		0.6822429907				0		0		61		17		270		0		331		0.8157099698						200		20		10		253		10		34		287		0.7068965517

		#121		Amplitude		#122		Amplitude				48		80		37		0		0		65		41		143		10		208		0.6875								0		0		58		41		229		0		287		0.7979094077				0		0		34		0		366		-13		400		0.915						250		10		5		317		0		27		344		0.8472906404

		38		345		49		366				49		90		27		0		0		51		34		157		0		208		0.7548076923								0		0		44		27		266		0		310		0.8580645161				0		0		27		0		376		-17		403		0.9330024814						300		0		0		349		0		31		380		0.9359605911

		39		37		50		201																																																																						350		0		0		362		-15		27		389		0.9581280788

		40		30		51		34																																																																						400		0		0		372		-17		34		406		1

		41		34		52		24																																																																						500		0		0		383		-20		27		410		1.0098522167

		42		195		53		58

		43		362		54		342

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				200 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		400 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h						Volt scan		#109		#110		Total		Normalised

				109		12.4		116				15		26		90		31		178		51		229		0.2227074236		0		0				15		280		24		304		0.0789473684						369		15		384		0.0390625						50		65		0		65		0.1747311828

				110		24						16		36		80		24		154		58		212		0.2735849057		116		1				24		263		41		304		0.1348684211						372		24		396		0.0606060606						100		123		37		160		0.4301075269

												17		46		70		20		123		71		194		0.3659793814								30		215		71		286		0.2482517483						331		41		372		0.1102150538						150		171		51		222		0.5967741935

												19		66		50		0		68		95		163		0.5828220859								0		71		146		217		0.6728110599						58		242		300		0.8066666667						200		287		24		311		0.8360215054

		#109		Amplitude		#110		Amplitude				20		76		40		0		68		146		214		0.6822429907								0		58		242		300		0.8066666667						34		338		372		0.9086021505						250		334		0		334		0.8978494624

		10		308		21		291				21		86		30		0		58		167		225		0.7422222222								0		44		259		303		0.8547854785						15		345		360		0.9583333333						300		351		0		351		0.9435483871

		11		37		22		208																																																				350		366		0		366		0.9838709677

		12		0		23		31																																																				400		372		0		372		1

		13		0		24		27																																																				500		383		0		383		1.0295698925

		14		225		25		31

		15		321		26		235

						27		285

		Bias 250 V		Strip #		Centre		Distance		100 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				300 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		400 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h						Volt scan		#72		#73		Total		Normalised

				72		29.1		114				31.5		24		90				253		34		287		0.118466899		0		0						355		14		369		0.0379403794						0		0		0		0						25		44		20		64		0.170212766

				73		40.5						32.5		34		80				242		48		290		0.1655172414		114		1						386		25		411		0.0608272506																		50		95		41		136		0.3617021277

												33.5		44		70				150		78		228		0.3421052632										280		56		336		0.1666666667																		75		150		58		208		0.5531914894

												35.5		64		50				54		120		174		0.6896551724										51		222		273		0.8131868132																		100		240		51		291		0.7739361702

		#72		Amplitude		#73		Amplitude				36.5		74		40				68		215		283		0.7597173145										17		376		393		0.9567430025																		125		311		27		338		0.8989361702

		27		249		38		311				37.5		84		30				41		253		294		0.8605442177										1		386		387		0.9974160207																		150		342		10		352		0.9361702128

		28		71		39		106				38		89		25				41		249		290		0.8586206897										20		355		375		0.9466666667																		200		355		10		365		0.9707446809

		28.5		25		40		20																																																				300		376		0		376		1

		29		0		41		31																																																				400		383		0		383		1.0186170213

		30		58		42		154

		31		256		43		334

		Bias 250 V		Strip #		Centre		Distance		100 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				150 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		300 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		200 V		Pulse Left		Pulse Right		Pulse sum		h		Volt scan		#92		#93		Total		Normalised

				92		37.8		116				40		22		94		20		146		41		187		0.2192513369		0		0						259		24		283		0.0848056537						352		15		367		0.0408719346				331		20		351		0.056980057		50		65		10		75		0.2049180328

				93		49.4						41		32		84		20		140		44		184		0.2391304348		116		1						246		34		280		0.1214285714						369		27		396		0.0681818182				334		29		363		0.0798898072		75		95		10		105		0.2868852459

												42		42		74		24		112		51		163		0.3128834356										208		65		273		0.2380952381						355		36		391		0.0920716113				300		55		355		0.1549295775		100		129		27		156		0.4262295082

												44.5		67		49		0		68		89		157		0.5668789809										82		143		225		0.6355555556						65		256		321		0.7975077882				71		215		286		0.7517482517		125		167		27		194		0.5300546448

		#92		Amplitude		#93		Amplitude				45		72		44				71		103		174		0.591954023										78		198		276		0.7173913043						37		334		371		0.9002695418				54		291		345		0.8434782609		150		236		30		266		0.7267759563

		35		352		47		345				46		82		34				54		123		177		0.6949152542										54		236		290		0.8137931034						1		370		371		0.9973045822				41		328		369		0.8888888889		200		328		0		328		0.8961748634

		36		143		48		68				47		92		24				48		133		181		0.7348066298										48		259		307		0.8436482085						10		359		369		0.972899729				35		331		366		0.9043715847		250		355		0		355		0.9699453552

		37		17		49		0																																																										300		366		0		366		1

		38		17		49.5		0																																																										400		379		0		379		1.0355191257

		39		95		50		0

		40		325		51		116

						52		321

		Bias 250 V		Strip #		Centre		Distance		20 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				50 V		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		200 V		Pulse Left		Pulse Right		Pulse sum		h								Volt scan		#32		#33		Total		Normalised

				32		43.2		108				45.5		23		85		24		188		30		218		0.1376146789		0		0				24		317		14		331		0.0422960725				400		15		415		0.0361445783								10		89		41		130		0.3147699758

				33		54						46.5		33		75		20		174		44		218		0.2018348624		108		1				20		325		30		355		0.0845070423				410		25		435		0.0574712644								20		171		41		212		0.5133171913

												47.5		43		65		24		123		65		188		0.3457446809								20		242		74		316		0.2341772152				342		37		379		0.0976253298								30		232		34		266		0.6440677966

												49		58		50		0		41		58		99		0.5858585859										44		109		153		0.7124183007				51		164		215		0.7627906977								50		321		0		321		0.7772397094

		#32		Amplitude		#33		Amplitude				49.5		63		45				68		116		184		0.6304347826										68		212		280		0.7571428571				65		297		362		0.820441989								75		362		0		362		0.8765133172

		40		393		51		413				50.5		73		35				58		157		215		0.7302325581										44		297		341		0.8709677419				24		389		413		0.9418886199								100		383		0		383		0.9273607748

		41		181		52		291				51		78		30				48		164		212		0.7735849057										41		304		345		0.8811594203				15		393		408		0.9632352941								150		396		0		396		0.9588377724

		42		31		53		51																																																				200		413		0		413		1

		43		24		54		17																																																				300		420		0		420		1.0169491525

		44		80		55		50

		45		359		56		280

						57		403

		Bias 250 V		Strip #		Centre		Distance		50 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				100 V		Pulse Left		Pulse Right		Pulse sum		h		300 V		Pulse Left		Pulse Right		Pulse sum		h										Volt scan		#53		#54		#55		#56		Total		Normalised

				54		39		110				42.5		35		75		24		259		37		296		0.125		0		0				352		15		367		0.0408719346				400		17		417		0.0407673861										10		13		27		41		13		68		0.17

				55		50						43		40		70		24		222		48		270		0.1777777778		110		1				331		25		356		0.0702247191				393		29		422		0.0687203791										25		20		61		109		20		170		0.425

												44		50		60		0		123		58		181		0.320441989								195		55		250		0.22				239		61		300		0.2033333333										50				266		41				307		0.7675

												45.5		65		45		0		51		116		167		0.6946107784								42		178		220		0.8090909091				61		215		276		0.7789855072										75				334		14				348		0.87

		#54		Amplitude		#55		Amplitude				46		70		40				70		201		271		0.741697417								51		308		359		0.8579387187				51		355		406		0.8743842365										100				359		0				359		0.8975

		37		352		47		400				47		80		30				43		260		303		0.8580858086								17		355		372		0.9543010753				1		400		401		0.9975062344										150				372		0				372		0.93

		38		44		48		280																																																				200				383		0				383		0.9575

		39		27		49		41																																																				250				396		0				396		0.99

		40		51		50		20																																																				300				400		0				400		1

		41		266		51		51								512		63		575																																								400				406						406		1.015

		42		390		52		273

						53		410

		Bias 250 V		Strip #		Centre		Distance		50 V		Local coord.		D24		D25		(Pulse Left)-1		Pulse Left		Pulse Right		Pulse sum		h		ideal				100 V		Pulse Left		Pulse Right		Pulse sum		h		250 V		Pulse Left		Pulse Right		Pulse sum		h										Volt scan		#64		#65		Total		Normalised

				63		1		120				4.5		35		85		37		161		65		226		0.2876106195		0		0				317		15		332		0.0451807229				376		15		391		0.0383631714										25		34		75		109		0.2632850242

				64		13						5.5		45		75		30		137		82		219		0.3744292237		120		1				297		50		347		0.144092219				376		39		415		0.0939759036										50		55		164		219		0.5289855072

												6		50		70		0		123		78		201		0.3880597015								249		54		303		0.1782178218				325		61		386		0.1580310881										75		37		290		327		0.7898550725

												7.5		65		55		0		38		51		89		0.5730337079								40		106		146		0.7260273973				51		129		180		0.7166666667										100		27		330		357		0.8623188406

		#63		Amplitude		#64		Amplitude				8		70		50				71		103		174		0.591954023								61		242		303		0.798679868				58		300		358		0.8379888268										150		27		359		386		0.9323671498

		-1		352		10		400				9		80		40				75		143		218		0.6559633028								41		325		366		0.8879781421				31		372		403		0.9230769231										200		24		372		396		0.9565217391

		0		44		11		280				10		90		30				51		164		215		0.7627906977								34		334		368		0.9076086957				20		389		409		0.9511002445										250		20		379		399		0.9637681159

		1		27		12		41																																																				300		24		382		406		0.9806763285

		2		51		13		20																																																				350		24		390		414		1

		3		266		14		51

		4		390		15		273





Irradiated (6)

		20		10		10

		30		20		30

		40		30		50

		50		50		70

		75		75		100

		100		100		150

		120		125		200

		150		150		300

		200		200

		300		300



0.4338842975

0.3325688073

0.2868852459

0.5743801653

0.5389908257

0.5840163934

0.7789256198

0.7270642202

0.8053278689

0.8367768595

0.876146789

0.8893442623

0.9214876033

0.9541284404

0.9303278689

0.9504132231

0.9724770642

0

0.9504132231

1.0114678899

0.993852459

0.9772727273

1.0091743119

1

0.9876033058

1.0183486239

1

1.0458715596



Irr. (7)

		

		Vfd

		Normalised		10		30		50		70		120

		50		0.2016		0.2		0.1500938086		0.1529411765		0.2610294118

		100		0.3248		0.2585365854		0.3114446529		0.3025210084		0.4393382353

		150		0.4832		0.4170731707		0.4671669794		0.4352941176		0.8088235294

		200		0.656		0.6		0.6303939962		0.6268907563		0.9227941176

		250		0.8032		0.8097560976		0.8105065666		0.7613445378		0.9430147059

		300		0.9104		0.856097561		0.8780487805		0.8789915966		0.9411764706

		350		0.928		0.8902439024		0.9099437148		0.9176470588		0.9724264706

		400		0.9696		0.9268292683		0.9230769231		0.9193277311		0.9852941176

		500		1		1		1		1		1

		Strip #		VFD

		10

		30

		50

		70

		120

		Eta scan		#10		#11

								D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		Norm. pulse

								20		90		239		62		301		0.2059800664		0		0				20		90		409		59		468		0.1260683761		0.6688888889

								30		80		350		76		426		0.1784037559		110		1				30		80		582		32		614		0.0521172638		0.9466666667

								40		70		298		104		402		0.2587064677								40		70		520		60		580		0.1034482759		0.8933333333

								50		60		149		83		232		0.3577586207								50		60		270		76		346		0.2196531792		0.5155555556

								60		50		90		152		242		0.6280991736								60		50		100		281		381		0.7375328084		0.5377777778

								70		40		118		291		409		0.7114914425								70		40		80		544		624		0.8717948718		0.9088888889

								80		30		94		357		451		0.7915742794								80		30		55		564		619		0.9111470113		1.0022222222

								90		20		80		277		357		0.7759103641								90		20		76		447		523		0.8546845124		0.7933333333

				#30		#31		200 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		Norm. pulse

										20		90		114		61		175		0.3485714286		0		0				20		90		195		58		253		0.2292490119		0.6730769231

										30		80		168		47		215		0.2186046512		110		1				30		80		309		15		324		0.0462962963		0.8269230769

										40		70		160		75		235		0.3191489362								40		70		328		27		355		0.076056338		0.9038461538

										50		60		95		73		168		0.4345238095								50		60		161		58		219		0.2648401826		0.6461538462

										60		50		39		65		104		0.625								60		50		56		91		147		0.619047619		0.4

										70		40		58		147		205		0.7170731707								70		40		51		303		354		0.8559322034		0.7884615385

										80		30		52		203		255		0.7960784314								80		30		15		372		387		0.9612403101		0.9807692308

										90		20		42		198		240		0.825								90		20		10		367		377		0.9734748011		0.9230769231

				#50		#51		200 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		Norm. pulse

										20		90		253		45		298		0.1510067114		0		0				20		90		429		24		453		0.0529801325		0.903030303

										30		80		225		55		280		0.1964285714		110		1				30		80		423		32		455		0.0703296703		0.8484848485

										40		70		177		86		263		0.3269961977								40		70		385		72		457		0.1575492341		0.796969697

										50		60		0		0		0										50		60		0		0		0		0		0

										60		50		62		128		190		0.6736842105								60		50		69		267		336		0.7946428571		0.5757575758

										70		40		83		232		315		0.7365079365								70		40		42		461		503		0.916500994		0.9545454545

										80		30		52		277		329		0.8419452888								80		30		28		461		489		0.9427402863		0.996969697

										90		20		55		270		325		0.8307692308								90		20		24		468		492		0.9512195122		0.9848484848

				#70		#71		200 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		Norm. pulse

										20		95		263		55		318		0.1729559748		0		0				20		95		395		59		454		0.1299559471		0.7066666667

										30		85		374		42		416		0.1009615385		115		1				30		85		547		20		567		0.0352733686		0.9244444444

										40		75		315		76		391		0.1943734015								40		75		550		38		588		0.0646258503		0.8688888889

										50		65		121		55		176		0.3125								50		65		204		58		262		0.2213740458		0.3911111111

										60		55		48		50		98		0.5102040816								60		55		59		83		142		0.5845070423		0.2177777778

										70		45		114		253		367		0.689373297								70		45		66		499		565		0.8831858407		0.8155555556

										80		35		76		333		409		0.8141809291								80		35		38		561		599		0.9365609349		0.9088888889

										90		25		66		381		447		0.8523489933								90		25		34		513		547		0.9378427788		0.9933333333

				#120		#121		200 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		Norm. pulse

										20		100		346		121		467		0.2591006424		0		0				20		100		377		135		512		0.263671875		0.6867647059

										30		90		616		59		675		0.0874074074		115		1				30		90		682		48		730		0.0657534247		0.9926470588

										40		80		616		62		678		0.0914454277								40		80		665		52		717		0.0725244073		0.9970588235

										50		70		308		55		363		0.1515151515								50		70		385		66		451		0.1463414634		0.7117647059

										60		60		59		59		118		0.5								60		60		66		66		132		0.5		0.231372549

										70		50		90		360		450		0.8								70		50		86		450		536		0.8395522388		0.8823529412

										80		40		59		450		509		0.884086444								80		40		42		520		562		0.9252669039		0.9980392157

										90		30		38		468		506		0.9249011858								90		30		28		523		551		0.9491833031		0.9921568627

				Sample of metal strip scan

		#10		#10		Amplitude		Norm. ampl.

		25.5		0		491		0.982

		26		5		376		0.752

		26.5		10		173		0.346

		27.5		20		0		0

		28		25		0		0

		28.5		30		0		0

		29.5		40		108.6		0.2172

		30		45		310		0.62

		30.5		50		472		0.944

		Strip		#90		#91		200 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		Pulse Left		Pulse Right		Pulse sum		h

										38		30		87.5		329		38		367		0.1035422343		0		0				436		14		450		0.0311111111

										39		40		77.5		281		69		350		0.1971428571		117.5		1				433		25		458		0.0545851528

										40		50		67.5		142		83		225		0.3688888889								235		76		311		0.2443729904

										41		60		57.5		52		86		138		0.6231884058								38		136		174		0.7816091954

										42		70		47.5		94		274		368		0.7445652174								48		485		533		0.9099437148

										43		80		37.5		48		385		433		0.8891454965								0		526		526		1

										44		90		27.5		38		402		440		0.9136363636								0		523		523		1

		Strip #		150 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				200 V		Pulse Left		Pulse Right		Pulse sum		h		400 V		Pulse Left		Pulse Right		Pulse sum		h

		100				24		30		85		276		71		347		0.204610951		0		0				405		25		430		0.0581395349				509		24		533		0.0450281426

		101				25		40		75		233		104		337		0.3086053412		115		1				388		74		462		0.1601731602				516		38		554		0.0685920578

						26		50		65		91		57		148		0.3851351351								142		54		196		0.2755102041				219		62		281		0.2206405694

						27		60		55		51		67		118		0.5677966102								64		101		165		0.6121212121				67		148		215		0.688372093

						28		70		45		121		202		323		0.6253869969								111		317		428		0.7406542056				61		476		537		0.886405959

						29		80		35		91		250		341		0.7331378299								71		385		456		0.8442982456				37		496		533		0.9305816135

						30		90		25		74		290		364		0.7967032967								57		425		482		0.8817427386				34		519		553		0.938517179

		New 0 position

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		Ideal				200 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		400 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h

				120		22.2		118				25		28		90		32		0		333		23		50		0		0		383		0.1305483029		0		0				25		250		-250		13		0		396		-13		35		0		0		431		0.0812064965				25		250		-250		10		0		469		-23		32		0		0		501		0.0638722555

				121		34						26		38		80		32		0		314		30		54		0		0		368		0.1467391304		118		1				26		260		-260		23		0		424		-13		36		0		0		460		0.0782608696				26		260		-260		0		0		469		-27		30		0		0		499		0.0601202405

												27		48		70		27		0		259		54		86		0		13		345		0.2492753623								27		270		-270		0		0		387		23		68		0		0		455		0.1494505495				27		270		-270		0		0		492		-23		63		0		0		555		0.1135135135

												28		58		60		0		0		41		0		27		0		0		68		0.3970588235								28		280		-280		0		0		59		0		41		0		0		100		0.41				28		280		-280		0		0		77		0		45		0		0		122		0.368852459

		#121		Ampitude		#121		Amplitude				29		68		50		18		0		68		41		132		0		32		200		0.66								29		290		-290		0		0		59		32		178		0		0		237		0.7510548523				29		290		-290		0		0		73		18		273		0		32		346		0.789017341

		20		483		32		451				30		78		40		18		0		86		68		264		0		27		350		0.7542857143								30		300		-300		0		0		50		10		506		-18		0		556		0.9100719424				30		300		-300		0		0		50		10		506		-18		0		556		0.9100719424

		21		86		33		54				31		88		30		0				63		50		342		0		32		405		0.8444444444								31		310		-310		0		0		41		18		428		-23		18		469		0.9125799574				31		310		-310		0		0		36		0		496		-23		18		532		0.9323308271

		22		45		34		32

		23		23		35		45				Estimated strip width:

		24		154		36		387				35 µm

		25		470





Irr. (7)

		30		30		0

		40		40		115

		50		50

		60		60

		70		70

		80		80

		90		90



200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #760-761

0.0874074074

0.0657534247

0

0.0914454277

0.0725244073

1

0.1515151515

0.1463414634

0.5

0.5

0.8

0.8395522388

0.884086444

0.9252669039

0.9249011858

0.9491833031



Non irr. (2)

		0		28		28		28

		118		38		38		38

				48		48		48

				58		58		58

				68		68		68

				78		78		78

				88		88		88



Local position [µm]

Right charge/Total charge

Scan across strips #760-761

0

0.1305483029

0.0812064965

0.0638722555

1

0.1467391304

0.0782608696

0.0601202405

0.2492753623

0.1494505495

0.1135135135

0.3970588235

0.41

0.368852459

0.66

0.7510548523

0.789017341

0.7542857143

0.9100719424

0.9100719424

0.8444444444

0.9125799574

0.9323308271



Various final Pic.

		30		30		0

		40		40		110

		50		50

		60		60

		70		70

		80		80



200 Volts

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #650-651

0.1784037559

0.0521172638

0

0.2587064677

0.1034482759

1

0.3577586207

0.2196531792

0.6280991736

0.7375328084

0.7114914425

0.8717948718

0.7915742794

0.9111470113



Final pic. eta

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D24		D25		Pulse 24		Pulse 25		Pulse sum		h		ideal				400 V		Local coord.		D24		D25		Pulse 24		Pulse 25		Pulse sum		h

				24		22.2		120				24.5		23		97		589		98		687		0.1426491994		0		0				24.5		23		97		841		0		841		0

				25		34.2						25.5		33		87		663		135		798		0.1691729323		120		1				25.5		33		87		892		0		892		0

												26.5		43		77		565		140		705		0.1985815603								26.5		43		77		841		61		902		0.0676274945

												27.5		53		67		425		233		658		0.3541033435								27.5		53		67		715		332		1047		0.3170964661

		#24		Amplitude		#25		Amplitude				28		58		62		388		318		706		0.4504249292								28		58		62		607		514		1121		0.4585191793

		20.5		715		32		738				28.5		63		57		322		388		710		0.5464788732								28.5		63		57		402		691		1093		0.6322049405

		21		579		32.5		663				29.5		73		47		196		520		716		0.7262569832								29.5		73		47		135		888		1023		0.8680351906

		21.5		462		33		486				30.5		83		37		201		645		846		0.7624113475								30.5		83		37		140		906		1046		0.8661567878

		22		374		33.5		402				31.5		93		27		140		551		691		0.7973950796								31.5		93		27		112		850		962		0.8835758836

		22.5		340		34		336				32		98		22		112		490		602		0.8139534884								32		98		22		98		771		869		0.8872266974

		23		416		34.5		327

		23.5		551		35		378

		24		631		35.5		462

		24.5		757		36		603

						36.5		705

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D39		D40		Pulse 39		Pulse 40		Pulse sum		h		ideal				400 V		Local coord.		D39		D40		Pulse 39		Pulse 40		Pulse sum		h

				39		38.5		120				41		25		95		537		98		635		0.1543307087		0		0				41		25		95		818		0		818		0

				40		50.5						42		35		85		598		159		757		0.2100396301		120		1				42		35		85		850		0		850		0

												43		45		75		495		159		654		0.2431192661								43		45		75		780		60		840		0.0714285714

												44		55		65		378		290		668		0.4341317365								44		55		65		663		397		1060		0.3745283019

		#39		Amplitude		#40		Amplitude				45		65		55		252		411		663		0.6199095023								45		65		55		360		673		1033		0.651500484

		37.5		446		49.5		474				46		75		45		168		547		715		0.765034965								46		75		45		126		892		1018		0.8762278978

		38.5		265		50.5		339				47		85		35		173		659		832		0.7920673077								47		85		35		103		897		1000		0.897

		39		274		51		367				48		95		25		135		603		738		0.8170731707								48		95		25		89		836		925		0.9037837838

		39.5		395		51.5		442				49		105		15		84		406		490		0.8285714286								49		105		15		84		682		766		0.8903394256

		40.5		553		52.5		679				50		115		5		70		276		346		0.7976878613								50		115		5		65		462		527		0.8766603416

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D64		D65		Pulse 64		Pulse 65		Pulse sum		h		ideal				400 V		Local coord.		D64		D65		Pulse 64		Pulse 65		Pulse sum		h

				64		38		118				39.5		15		103		509		84		593		0.1416526138		0		0				39.5		15		103		761		0		761		0

				65		49.8						40.5		25		93		738		135		873		0.1546391753		120		1				40.5		25		93		836		0		836		0

												41.5		35		83		715		135		850		0.1588235294								41.5		35		83		888		0		888		0

												42.5		45		73		593		206		799		0.2578222778								42.5		45		73		803		177		980		0.5581632653

		#64		Amplitude		#65		Amplitude				43.5		55		63		472		383		855		0.4479532164								43.5		55		63		654		547		1201		0.6378018318

		37		458		48.5		537				44.5		65		53		313		530		843		0.6287069988								44.5		65		53		318		766		1084		0.7066420664

		38		322		49.5		322				45.5		75		43		219		696		915		0.7606557377								45.5		75		43		126		902		1028		0.8774319066

		38.5		472		50		332				46.5		85		33		224		748		972		0.7695473251								46.5		85		33		131		916		1047		0.8748806113

		39		579		50.5		411				47.5		95		23		135		589		724		0.8135359116								47.5		95		23		98		813		911		0.8924259056

		40		813		51.5		705				48		100		18		121		514		635		0.8094488189								48		100		18		107		733		840		0.8726190476

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D85		D86		Pulse 85		Pulse 86		Pulse sum		h		ideal				400 V		Local coord.		D85		D86		Pulse 85		Pulse 86		Pulse sum		h		h-1

				85		46.5		120				47		5		115		472		89		561		0.8413547237		0		0				47		5		115		551		65		616		0.1055194805		0.8944805195

				86		58.5						48		15		105		705		89		794		0.8879093199		120		1				48		15		105		813		51		864		0.0590277778		0.9409722222

												49		25		95		864		117		981		0.880733945								49		25		95		920		0		920		0		1

												50		35		85		874		187		1061		0.8237511781								50		35		85		911		70		981		0.0713557594		0.9286442406

		#85		Amplitude		#86		Amplitude				51		45		75		799		201		1000		0.799								51		45		75		897		107		1004		0.1065737052		0.8934262948

		45		654		57		663				52		55		65		645		486		1131		0.5702917772								52		55		65		780		589		1369		0.4302410519		0.5697589481

		46		462		58		504				53		65		55		430		705		1135		0.3788546256								53		65		55		453		794		1247		0.6367281476		0.3632718524

		46.5		486		58.5		477				54		75		45		248		813		1061		0.2337417531								54		75		45		126		874		1000		0.874		0.126

		47		598		59		598				55		85		35		266		860		1126		0.2362344583								55		85		35		131		883		1014		0.8708086785		0.1291913215

		48		775		60		813				56		95		25		149		771		920		0.1619565217								56		95		25		107		845		952		0.887605042		0.112394958

												57		105		15		112		654		766		0.1462140992								57		105		15		93		705		798		0.8834586466		0.1165413534

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D85		D86		Pulse 85		Pulse 86		Pulse sum		h		ideal				Local coord.		D85		D86		Pulse 85		Pulse 86		Pulse sum		h

				120		25.5		120				27.5		20		100		472		89		561		0.1586452763		0		0		27.5		20		100		845		210		1055		0.1990521327

				121		37.5						28.5		30		90		705		89		794		0.1120906801		120		1		28.5		30		90		892		173		1065		0.1624413146

												29.5		40		80		864		117		981		0.119266055						29.5		40		80		916		177		1093		0.1619396157

												30.5		50		70		874		187		1061		0.1762488219						30.5		50		70		850		570		1420		0.4014084507

		#120		Amplitude		#121		Amplitude				31.5		60		60		799		201		1000		0.201						31.5		60		60		640		827		1467		0.5637355147

		24.5		719		36		794				32.5		70		50		645		486		1131		0.4297082228						32.5		70		50		187		900		1087		0.8279668813

		25.5		369		37		519				33.5		80		40		430		705		1135		0.6211453744						33.5		80		40		112		920		1032		0.8914728682

		26		561		37.5		481				34.5		90		30		248		813		1061		0.7662582469						34.5		90		30		177		911		1088		0.8373161765

		26.5		794		38		757				35.5		100		20		266		860		1126		0.7637655417						35.5		100		20		154		855		1009		0.8473736373

		27.5		902		39		888				36.5		110		10		635		771		1406		0.5483641536						36.5		110		10		168		673		841		0.8002378121

				Strip numbers																																																														Normalised

		Bias		24		25		total		39		40		total		64		65		total		84		85		86		87		total		total		64		65		total		99		100		total		73		74		total		120		121		total										1		2		3		4		5		6		7

		50		173		56		229		32		140		172		79		187		266		51		191		149		42		433		340		139		354		493		163		189		352		200		88		288		453		173		626										0.257751938		0.2470978441		0.2458423717		0.3912698413		0.2693190513		0.24		0.5424610052

		100		257		61		318		70		257		327		159		378		537		70		330		257		56		713		587		232		604		836		316		373		689		421		201		622		719		383		1102										0.5203488372		0.4262023217		0.424439624		0.6634920635		0.5271614384		0.5183333333		0.9549393414

		150		402		93		495		117		411		528		210		532		742		100		514		402		75		1091		916		378		796		1174		426		516		942		593		294		887		934		229		1163										0.7189922481		0.6666666667		0.6623282719		0.9317460317		0.7207345065		0.7391666667		1.0077989601

		200		589		98		687		131		589		720		219		719		938		75		659		467		47		1248		1126		378		889		1267		479		612		1091		779		255		1034		953		223		1176										0.9089147287		0.7744610282		0.8141720897		1.0055555556		0.8347360367		0.8616666667		1.0190641248

		250		748		0		748		112		743		855		191		818		1009		60		743		519		32		1354		1262		308		941		1249		506		699		1205		950		245		1195		948		238		1186										0.9777131783		0.8606965174		0.9125090383		0.9912698413		0.921958684		0.9958333333		1.027729636

		300		775		0		775		98		813		911		159		892		1051		51		771		551				1373		1322		250		994		1244		516		742		1258		1000		167		1167		948		215		1163										1.0184108527		0.9137645108		0.9558929863		0.9873015873		0.9625095639		0.9725		1.0077989601

		350		803		0		803		89		841		930		145		888		1033		37		743		547				1327		1290		221		1017		1238		512		742		1254		1053		167		1220		939		206		1145										1.0009689922		0.9071310116		0.9327548807		0.9825396825		0.9594491201		1.0166666667		0.9922010399

		400		841		0		841		89		892		981		140		888		1028		32		743		542				1317		1285		221		1029		1250		516		745		1261		1063		176		1239		950		238		1188										0.996124031		0.8988391376		0.9291395517		0.9920634921		0.9648048967		1.0325		1.0294627383

		500		860		0		860		84		850		934		154		878		1032		47		780		603				1430		1383		220		1040		1260		522		785		1307		1063		137		1200		944		210		1154										1		1		1		1		1		1		1

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D64		D65		Pulse 64		Pulse 65		Pulse sum		h		ideal				Local coord.		D64		D65		Pulse 64		Pulse 65		Pulse sum		h

				64		41		120				43		20		100		901		198		1099		0.1801637853		0		0		43		20		100		994		157		1151		0.1364031277

				65		53						44		30		90		930		343		1273		0.2694422624		120		1		44		30		90		1000		190		1190		0.1596638655

												45		40		80		901		337		1238		0.2722132472						45		40		80		970		180		1150		0.1565217391

												46		50		70		773		529		1302		0.4062980031						46		50		70		901		575		1476		0.3895663957

		#64		Amplitude		#65		Amplitude				47		60		60		616		755		1371		0.5506929249						47		60		60		762		883		1645		0.5367781155

		39		889		51		906				48		70		50		424		860		1284		0.6697819315						48		70		50		256		947		1203		0.78719867

		40		703		52		726				49		80		40		420		959		1379		0.6954314721						49		80		40		186		988		1174		0.8415672913

		40.5		453		52.5		465				50		90		30		325		912		1237		0.7372675829						50		90		30		192		994		1186		0.8381112985

		41		395		53		424				51		100		20		227		831		1058		0.7854442344						51		100		20		180		924		1104		0.8369565217

		42		837		54		813

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D99		D100		Pulse 99		Pulse 100		Pulse sum		h		ideal				Local coord.		D99		D100		Pulse 99		Pulse 100		Pulse sum		h

				99		4		120				6		20		100		872		86		958		0.0897703549		0		0		6		20		100		908		0		908		0

				100		16						7		30		90		902		140		1042		0.1343570058		120		1		7		30		90		942		23		965		0.0238341969

												8		40		80		855		133		988		0.1346153846						8		40		80		918		43		961		0.0447450572

												9		50		70		722		100		822		0.1216545012						9		50		70		815		403		1218		0.3308702791

		#99		Amplitude		#100		Amplitude				10		60		60		532		652		1184		0.5506756757						10		60		60		549		745		1294		0.5757341577

		2		832		14		772				11		70		50		270		785		1055		0.7440758294						11		70		50		130		892		1022		0.8727984344

		3		691		15		562				12		80		40		226		888		1114		0.7971274686						12		80		40		86		945		1031		0.916585839

		3.5		452		15.5		393				13		90		30		206		878		1084		0.8099630996						13		90		30		93		905		998		0.9068136273

		4		393		16		432				14		100		20		180		749		929		0.8062432723						14		100		20		165		815		980		0.8316326531

		5		729		17		749

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D73		D74		Pulse 73		Pulse 74		Pulse sum		h		ideal				Local coord.		D73		D74		Pulse 73		Pulse 74		Pulse sum		h

				73		5.5		120				6		5		115		384		384		768		0.5		0		0		6		5		115		503		503		1006		0.5

				74		17.5						7		15		105		648		113		761		0.1484888305		120		1		7		15		105		761		25		786		0.0318066158

												8		25		95		799		138		937		0.1472785486						8		25		95		899		22		921		0.0238870793

												9		35		85		818		157		975		0.161025641						9		35		85		950		16		966		0.016563147

		#73		Amplitude		#74		Amplitude				10		45		75		657		223		880		0.2534090909						10		45		75		872		111		983		0.1129196338

		3.5		767		15.5		755				11		55		65		555		456		1011		0.4510385757						11		55		65		761		531		1292		0.4109907121

		4.5		569		16.5		549				12		65		55		353		603		956		0.6307531381						12		65		55		317		797		1114		0.7154398564

		5		368		17		362				13		75		45		270		837		1107		0.756097561						13		75		45		108		1093		1201		0.9100749376

		5.5		299		17.5		396				14		85		35		309		936		1245		0.7518072289						14		85		35		108		1112		1220		0.9114754098

		6.5		613		18		679				15		95		25		230		916		1146		0.7993019197						15		95		25		83		1044		1127		0.92635315

		Strip #		10		11		Total		30		31		Total		50		51		Total		70		71		Total		90		91		Total		110		111		Total		Normalised		10		30		50		70		90		110

		50		67		15		82		38		8		46		36		15		51		50		10		60		74		18		92		616		180		796		50		0.1876430206		0.1916666667		0.2015810277		0.1754385965		0.2105263158		0.6683459278

		100		119		37		156		66		11		77		60		27		87		79		26		105		126		33		159		831		331		1162		100		0.356979405		0.3208333333		0.3438735178		0.3070175439		0.3638443936		0.9756507137

		150		158		43		201		86		23		109		85		27		112		116		34		150		208		54		262		906		285		1191		150		0.4599542334		0.4541666667		0.442687747		0.4385964912		0.5995423341		1

		200		262		34		296		138		18		156		136		27		163		186		30		216		324		0		324		936		198		1134		200		0.6773455378		0.65		0.6442687747		0.6315789474		0.7414187643		0.9521410579

		250		353		0		353		186		0		186		186		0		186		255		0		255		371		0		371		941		157		1098		250		0.8077803204		0.775		0.7351778656		0.7456140351		0.8489702517		0.9219143577

		300		398		0		398		213		0		213		215		0		215		282		0		282		391		0		391		941		168		1109		300		0.9107551487		0.8875		0.8498023715		0.8245614035		0.8947368421		0.9311502939

		350		429		0		429		231		0		231		225		0		225		295		0		295		417		0		417		953		128		1081		350		0.9816933638		0.9625		0.8893280632		0.8625730994		0.9542334096		0.9076406381

		400		429		0		429		234		0		234		245		0		245		312		0		312		429		0		429		970		163		1133		400		0.9816933638		0.975		0.9683794466		0.9122807018		0.9816933638		0.9513014274

		500		437		0		437		240		0		240		253		0		253		342		0		342		437		0		437		965		157		1122		500		1		1		1		1		1		0.9420654912

		Norm. factor						409.2						220.8						224.8						297.2						409						1108.6

																																																																																																		Routing/Total

																																																																														Strip 120-121				Pos. 39						Strip 120-121				Pos. 41.5

		Strip #		10		11		Total		30		31		Total		50		51		Total		70		71		Total		90		91		Total		110		111		Total		120		int 1		121		int 2		Total						Normalised		10		30		50		70		90		110		120										120		int 1		121		int 2				120		int 1		121		int 2				Rout. 1		Tot.1		Rou. 2		Tot. 2		Rout. 3		Tot. 3		Ratio 1		Ratio 2		Ratio 3

		50		41		85		126		24		58		82		0		80		80		15		76		91														38		21		104		-10		142						50		0.2016		0.2		0.1500938086		0.1529411765		0		0		0.2610294118								50		52		10		24		-10				28		20		70		-10				21		142		10		86		20		118		0.1478873239		0.1162790698		0.1694915254

		100		63		140		203		22		84		106		31		135		166		38		142		180														62		34		177		-21		239						100		0.3248		0.2585365854		0.3114446529		0.3025210084		0		0		0.4393382353								100		97		24		48		-17				66		38		135		-10				34		239		24		169		38		239		0.1422594142		0.1420118343		0.1589958159

		150		92		210		302		38		133		171		52		197		249		48		211		259														55		24		385		-31		440						150		0.4832		0.4170731707		0.4671669794		0.4352941176		0		0		0.8088235294								150		222		17		52		-17				66		38		284		-20				24		440		17		291		38		388		0.0545454545		0.058419244		0.0979381443

		200		81		329		410		39		207		246		45		291		336		48		325		373														48		15		454		-24		502						200		0.656		0.6		0.6303939962		0.6268907563		0		0		0.9227941176								200		287		0		55		0				55		21		395		-30				15		502		0		342		21		471		0.0298804781		0		0.0445859873

		250		59		443		502		32		300		332		34		398		432		24		429		453														45		0		468		-34		513						250		0.8032		0.8097560976		0.8105065666		0.7613445378		0		0		0.9430147059								250		308		-24		55		0				42		0		436		-45				0		513		-24		339		0		478		0		-0.0707964602		0

		300		59		510		569		30		321		351		35		433		468		28		495		523														34		-10		478		-34		512						300		0.9104		0.856097561		0.8780487805		0.8789915966		0		0		0.9411764706								300		308		-17		62		0				55		0		454		-42				-10		512		-17		353		0		509		-0.01953125		-0.0481586402		0

		350		50		530		580		23		342		365		31		454		485		30		516		546														34		-17		495		-34		529						350		0.928		0.8902439024		0.9099437148		0.9176470588		0		0		0.9724264706								350		315		-25		62		0				48		0		478		-45				-17		529		-25		352		0		526		-0.0321361059		-0.0710227273		0

		400		45		561		606		10		370		380		24		468		492		34		513		547														34		-17		502		-34		536						400		0.9696		0.9268292683		0.9230769231		0.9193277311		0		0		0.9852941176								400		315		-28		55		0				42		0		485		-38				-17		536		-28		342		0		527		-0.0317164179		-0.081871345		0

		500		45		580		625		10		400		410		10		523		533		34		561		595						1						1		34		-17		510		-34		544						500		1		1		1		1		1		1		1								500		340		-31		55		0				52		0		520		-38				-17		544		-31		364		0		572		-0.03125		-0.0851648352		0

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal

				10		24		110				26		20		90		239		62		301		0.2059800664		0		0				26		20		90		409		59		468		0.1260683761		0		0

				11		35						27		30		80		350		76		426		0.1784037559		110		1				27		30		80		582		0		582		0		110		1

												28		40		70		298		104		402		0.2587064677								28		40		70		520		52		572		0.0909090909

												29		50		60		149		83		232		0.3577586207								29		50		60		270		76		346		0.2196531792

		#10		Amplitude		#11		Amplitude				30		60		50		90		152		242		0.6280991736								30		60		50		100		281		381		0.7375328084

		25.5		491		37		343				31		70		40		118		291		409		0.7114914425								31		70		40		80		544		624		0.8717948718

		26		376		38		0				32		80		30		94		357		451		0.7915742794								32		80		30		55		564		619		0.9111470113

		26.5		173		39		0				33		90		20		80		277		357		0.7759103641								33		90		20		76		447		523		0.8546845124

		27.5		0		40		0

		28		0		41		406						25		0.1354679803																						25		0

		28.5		0										35		0.2190721649																						35		0

		29.5		108.6										45		0.3144329897																						45		0

		30		310										48		0.3333333333																						48		0.1697247706

		30.5		472										65		0.6071428571																						65		0.7439759036

														75		0.7055702918																						75		0.8892794376

														85		0.7814726841																						85		1

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h

				30		22		110				24		20		90		114		61		175		0.3485714286		0		0				24		20		90		195		58		253		0.2292490119

				31		33						25		30		80		168		47		215		0.2186046512		110		1				25		30		80		309		0		309		0

												26		40		70		160		75		235		0.3191489362								26		40		70		328		0		328		0

												27		50		60		95		73		168		0.4345238095								27		50		60		161		58		219		0.2648401826

		#30		Amplitude		#31		Amplitude				28		60		50		39		65		104		0.625								28		60		50		56		91		147		0.619047619

		18.5		210		31		280				29		70		40		58		147		205		0.7170731707								29		70		40		51		303		354		0.8559322034

		19.5		163		32		67				30		80		30		52		203		255		0.7960784314								30		80		30		5		372		377		0.9867374005

		20.5		91		33		47				31		90		20		42		198		240		0.825								31		90		20		10		367		377		0.9734748011

		21.5		37		34		49

		22.5		39		35		212

		23.5		137

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h

				50		49		110				51		20		90		253		45		298		0.1510067114		0		0				51		20		90		429		0		429		0

				51		60						52		30		80		225		55		280		0.1964285714		110		1				52		30		80		423		0		423		0

												53		40		70		177		86		263		0.3269961977								53		40		70		385		52		437		0.118993135

												54		50		60		0		0		0		0								54		50		60		0		0		0		0

		#50		Amplitude		#51		Amplitude				55		60		50		62		128		190		0.6736842105								55		60		50		69		267		336		0.7946428571

		46.5		320		57.5		385				56		70		40		83		232		315		0.7365079365								56		70		40		42		461		503		0.916500994

		47.5		42		58.5		50				57		80		30		52		277		329		0.8419452888								57		80		30		28		461		489		0.9427402863

		48.5		0		59.5		0				58		90		20		55		270		325		0.8307692308								58		90		20		24		468		492		0.9512195122

		49.5		0		60.5		30

		50.5		229		61.5		104						20										0.1510067114										20										0

						62.5		385						30										0.1964285714										30										0

														40										0.3269961977										40										0.118993135

														60										0.6736842105										60										0.7946428571

														70										0.7365079365										70										0.916500994

														80										0.8419452888										80										0.9427402863

														90										0.8307692308										90										0.9512195122

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h

				70		38		115				40		20		95		263		55		318		0.1729559748		0		0				40		20		95		395		59		454		0.1299559471

				71		49.5						41		30		85		374		42		416		0.1009615385		110		1				41		30		85		547		0		547		0

												42		40		75		315		76		391		0.1943734015								42		40		75		550		0		550		0

												43		50		65		121		55		176		0.3125								43		50		65		204		42		246		0.1707317073

		#70		Amplitude		#71		Amplitude				44		60		55		48		50		98		0.5102040816								44		60		55		59		83		142		0.5845070423

		36		429		47.5		190				45		70		45		114		253		367		0.689373297								45		70		45		66		499		565		0.8831858407

		37		52		48.5		31				46		80		35		76		333		409		0.8141809291								46		80		35		38		561		599		0.9365609349

		38		0		49.5		0				47		90		25		66		381		447		0.8523489933								47		90		25		34		513		547		0.9378427788

		39		38		50.5		76

		40		412		51.5		423

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h

				120		34		120				36		20		100		346		121		467		0.2591006424		0		0				36		20		100		377		135		512		0.263671875

				121		46						37		30		90		616		59		675		0.0874074074		110		1				37		30		90		682		48		730		0.0657534247

												38		40		80		616		62		678		0.0914454277								38		40		80		665		52		717		0.0725244073

												39		50		70		308		55		363		0.1515151515								39		50		70		385		66		451		0.1463414634

		#120		Amplitude		#121		Amplitude				40		60		60		59		59		118		0.5								40		60		60		66		66		132		0.5

		32.5		391		44		513				41		70		50		90		360		450		0.8								41		70		50		86		450		536		0.8395522388

		33.5		76		45		86				42		80		40		59		450		509		0.884086444								42		80		40		42		520		562		0.9252669039

		34.5		59		46		69				43		90		30		38		468		506		0.9249011858								43		90		30		28		523		551		0.9491833031

		35.5		142		47		104

		36.5		606		48		475

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h

				90		35		117.5				38		158		-38		329		38		367		0.1035422343		0		0				38		158		-38		436		0		436		0

				91		46.75						39		168		-48		281		69		350		0.1971428571		117.5		1				39		168		-48		433		0		433		0

												40		178		-58		142		83		225		0.3688888889								40		178		-58		235		76		311		0.2443729904

												41		188		-68		52		86		138		0.6231884058								41		188		-68		38		136		174		0.7816091954

		#70		Ampitude		#71		Amplitude				42		198		-78		94		274		368		0.7445652174								42		198		-78		48		485		533		0.9099437148

												43		208		-88		48		385		433		0.8891454965								43		208		-88		0		526		526		1

												44		218		-98		38		402		440		0.9136363636								44		218		-98		0		523		523		1

		Bias 250 V		Strip #		Centre		Distance		200 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				400 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h

				90		35		117.5				38		30		87.5		329		38		367		0.1035422343		0		0				38		30		87.5		436		0		436		0

				91		46.75						39		40		77.5		281		69		350		0.1971428571		117.5		1				39		40		77.5		433		0		433		0

												40		50		67.5		142		83		225		0.3688888889								40		50		67.5		235		76		311		0.2443729904

												41		60		57.5		52		86		138		0.6231884058								41		60		57.5		38		136		174		0.7816091954

		#90		Ampitude		#91		Amplitude				42		70		47.5		94		274		368		0.7445652174								42		70		47.5		48		485		533		0.9099437148

		33		346		45		263				43		80		37.5		48		385		433		0.8891454965								43		80		37.5		0		526		526		1

		33.5		160		45.5		94				44		90		27.5		38		402		440		0.9136363636								44		90		27.5		0		523		523		1

		34		55		46		42

		34.5		10		46.5		28

		35		10		47		24

		35.5		15		47.5		59

		36		59		48		138

		36.5		184		49		523

		37		364

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		ideal				200 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h		400 V		Local coord.		D Left		D Right		Pulse Left		Pulse Right		Pulse sum		h

				100		21		115				24		30		85		276		71		347		0.204610951		0		0				24		30		85		405		0		405		0				24		30		85		509		0		509		0

				101		32.5						25		40		75		233		104		337		0.3086053412		115		1				25		40		75		388		74		462		0.1601731602				25		40		75		516		0		516		0

												26		50		65		91		57		148		0.3851351351								26		50		65		142		54		196		0.2755102041				26		50		65		219		54		273		0.1978021978

												27		60		55		51		67		118		0.5677966102								27		60		55		64		101		165		0.6121212121				27		60		55		67		148		215		0.688372093

		#100		Ampitude		#101		Amplitude				28		70		45		121		202		323		0.6253869969								28		70		45		111		317		428		0.7406542056				28		70		45		61		476		537		0.886405959

		18.5		408		31		196				29		80		35		91		250		341		0.7331378299								29		80		35		71		385		456		0.8442982456				29		80		35		37		496		533		0.9305816135

		19.5		108		32		50				30		90		25		74		290		364		0.7967032967								30		90		25		57		425		482		0.8817427386				30		90		25		34		519		553		0.938517179

		20.5		40		32.5		30

		21.5		35		33		37

		22.5		105		33.5		50

		23.5		445		34		101

						35		452

																																				New												Other position

		Strip #		70		71		Total		90		91		Total		99		100		101		102		Total		Total		Normalised		70		90		100		120		Int 2		121		Int 3		122		Total		119		120		Int 2		121		Total

		50		31		78		109		31		83		114		13		30		101		12		156		131				0.2060491493		0.2054054054		0.2364620939		45		27		100		25		32		145		27		91		18		41		132

		100		53		125		178		45		142		187		20		67		182		23		292		249				0.3364839319		0.3369369369		0.4494584838		68		41		178		10		30		246		30		168		35		68		236

		150		58		180		238		66		232		298		23		74		290		34		421		364				0.449905482		0.5369369369		0.6570397112		63		50		342		0		30		405		35		314		35		54		368

		200		73		290		363		48		374		422		17		57		425		-10		489		482				0.6862003781		0.7603603604		0.8700361011		50		27		446		-10		30		496		27		405		0		41		446

		250		51		388		439		31		478		509		0		51		472		-18		505		523				0.8298676749		0.9171171171		0.9440433213		41		15		490		-18		23		531		15		433		-18		32		465

		300		38		462		500		17		501		518		0		40		500		-23		517		540				0.9451795841		0.9333333333		0.9747292419		36		0		501		-27		18		537		10		446		-20		41		487

		350		33		485		518		20		535		555		0		34		513		-27		520		547				0.9792060491		1		0.9873646209		32		0		510		-23		18		542		10		460		-20		36		496

		400		31		498		529		20		535		555		0		34		520		-27		527		554				1		1		1		36		0		519		-23		18		555		10		474		-23		36		510

		500		30		540		570		0		578		578		0		34		560		-27		567		594				1.0775047259		1.0414414414		1.0722021661		32		0		533		-23		18		565		10		483		-23		36		519

		Futher Measurements as a function of the r-position

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		Ideal				200 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		400 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h

				120		19.8		61				21		12		49		47.12		28.88		171.76		28.88		80.56		28.88		41.8		252.32		0.3192771084		0		0				21		12		49		57		36.48		262.2		47.12		117.04		31.16		44.08		379.24		0.3086172345				21		12		49		28.88		0		428.64		-31.16		119.32		0		31.16		547.96		0.2177531207

				121		25.9						22		22		39		44		27		140		27		68		10		31		208		0.3269230769		61		1				22		22		39		62		38		215		51		106		27		31		321		0.3302180685				22		22		39		48		0		431		-17		126		0		10		557		0.2262118492

												23		32		29		0		0		24		0		24		0		0		48		0.5								23		32		29		0		0		34		0		34		0		0		68		0.5				23		32		29		0		0		58		0		65		0		0		123		0.5284552846

												24		42		19		34		15		105		41		212		24		48		317		0.6687697161								24		42		19		51		27		157		85		335		34		62		492		0.6808943089				24		42		19		31		0		130		21		619		-24		34		749		0.826435247

		#121		Ampitude		#121		Amplitude				25		52		9		38		17		89		31		205		12		41		294		0.6972789116								25		52		9		51		23		128		57		341		15		44		469		0.7270788913				25		52		9		51		0		131		10		560		-30		27		691		0.8104196816

		19		398		25		351

		19.5		58		25.5		104				Estimated strip width:								Routing line		#120		#121

		20		72		26		47				16 µm								25.6		447		85		0.9933333333		0.1888888889		532		0.7093333333

		20.5		212		26.5		81												26		242		68		0.5377777778		0.1511111111		310		0.4133333333

		21		489		27		368												26.2		103		31		0.2288888889		0.0688888889		134		0.1786666667

																				26.4		65		31		0.1444444444		0.0688888889		96		0.128

																				26.6		58		31		0.1288888889		0.0688888889		89		0.1186666667

																				26.8		42		40		0.0933333333		0.0888888889		82		0.1093333333

																				27		42		55		0.0933333333		0.1222222222		97		0.1293333333

																				27.2		54		154		0.12		0.3422222222		208		0.2773333333

																				27.4		71		248		0.1577777778		0.5511111111		319		0.4253333333

																				27.6		81		310		0.18		0.6888888889		391		0.5213333333

																				28		92		448		0.2044444444		0.9955555556		540		0.72

		Futher Measurements as a function of the r-position								Far end

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		Ideal				200 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		400 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h

				120		23		78				25		20		58		40		0		184		23		61		0		15		245		0.2489795918		0		0				25		20		58		33		0		255		38		76		0		18		331		0.2296072508				25		20		58		54		0		523		-10		54		0		0		577		0.0935875217

				121		30.8						26		30		48		31		0		89		24		51		0		24		140		0.3642857143		78		1				26		30		48		31		0		116		31		65		0		24		181		0.3591160221				26		30		48		31		0		263		0		78		0		0		341		0.2287390029

												27		40		38		0		0		0		0		0		0		0		0		0								27		40		38		0		0		0		0		0		0		0		0		0				27		40		38		0		0		0		0		0		0		0		0		0

												28		50		28		20		0		68		41		157		0		31		225		0.6977777778								28		50		28		0		0		99		61		222		0		34		321		0.691588785				28		50		28		0		0		78		15		492		-31		24		570		0.8631578947

		#121		Ampitude		#121		Amplitude				29		60		18		0		0		61		27		184		0		31		245		0.7510204082								29		60		18		0		0		78		48		276		0		37		354		0.7796610169				29		60		18		0		0		44		0		540		-31		13		584		0.9246575342

		21		728		29		755

		22		230		30		225				Estimated strip width:

		22.5		134		30.5		101				20 µm

		23		107		31		96

		23.5		150		31.5		161

		24		557		32		551

		25		760

										1 cm plus

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		Ideal				200 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		400 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h

				120		22.7		95				25		23		72		44		0		222		34		68		0		17		290		0.2344827586		0		0				25		23		72		41		0		366		31		68		0		24		434		0.1566820276				25		23		72		27		0		557		-24		48		0		0		605		0.079338843

				121		32.2						26		33		62		41		0		208		51		103		0		24		311		0.3311897106		95		1				26		33		62		31		0		311		68		112		0		34		423		0.2647754137				26		33		62		17		0		543		-20		78		0		0		621		0.1256038647

												27		43		52		0		0		0		0		0		0		0		0		0								27		43		52		0		0		58		0		27		0		0		85		0.3176470588				27		43		52		0		0		103		0		44		0		0		147		0.2993197279

												28		53		42		0		0		44		31		78		0		0		122		0.6393442623								28		53		42		0		0		58		24		120		0		0		178		0.6741573034				28		53		42		0		0		61		0		236		0		0		297		0.7946127946

		#121		Ampitude		#121		Amplitude				29		63		32		24		0		82		51		195		0		17		277		0.7039711191								29		63		32		27		0		112		85		328		0		34		440		0.7454545455				29		63		32		0		0		65		0		574		-37		15		639		0.8982785603

		21		464		30		523				30		73		22		0		0		71		44		242		0		31		313		0.7731629393								30		73		22		0		0		78		58		383		0		37		461		0.830802603				30		73		22		0		0		34		0		588		-40		13		622		0.9453376206

		22		58		31		171				Estimated strip width:

		22.5		37		32		41				25 µm

		23		51		32.5		51

		23.5		58		33		65

		24		178		34		499

		25		496

										1 cm plus

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		Ideal				200 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		400 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h

				120		22.7		108				25		23		85		34		0		254		29		45		0		0		299		0.1505016722		0		0				25		23		85		22		0		388		0		34		0		0		422		0.0805687204				25		23		85		11		0		474		-29		26		0		0		500		0.052

				121		33.5						26		33		75		26		0		228		41		63		0		10		291		0.2164948454		108		1				26		33		75		22		0		374		0		40		0		0		414		0.0966183575				26		33		75		0		0		474		-25		30		0		0		504		0.0595238095

												27		43		65		34		0		190		78		101		0		26		291		0.3470790378								27		43		65		26		0		317		37		82		0		12		399		0.2055137845				27		43		65		0		0		456		-22		71		0		0		527		0.1347248577

												29		63		45		12		0		85		60		157		0		29		242		0.6487603306								29		63		45		0		0		93		67		269		0		34		362		0.7430939227				29		63		45		0		0		71		18		422		-22		18		493		0.8559837728

		#121		Ampitude		#121		Amplitude				30		73		35		0		0		63		56		209		0		0		272		0.7683823529								30		73		35		0		0		48		34		366		-18		18		414		0.884057971				30		73		35		0		0		26		0		508		-26		0		534		0.9513108614

		20		470		31		508				31		83		25		0		0		50		37		247		0		26		297		0.8316498316								31		83		25		0		0		34		34		490		-30		0		524		0.9351145038				31		83		25		0		0		10		0		490		-30		0		500		0.98

		21		300		32		247

		22		40		33		41

		23		0		33.5		29				Estimated strip width:

		23.5		0		34		41				30 µm

		24		85		35		134

		25		430		36		500

		New 0 position

		Bias 250 V		Strip #		Centre		Distance		150 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		Ideal				200 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h		400 V		Local coord.		D Left		D Right		#119		Int 1		#120		Int 2		#121		Int 3		#122		Sum		h

				120		22.2		118				25		28		90		32		0		333		23		50		0		0		383		0.1305483029		0		0				25		28		90		13		0		396		-13		35		0		0		431		0.0812064965				25		28		90		10		0		469		-23		32		0		0		501		0.0638722555

				121		34						26		38		80		32		0		314		30		54		0		0		368		0.1467391304		118		1				26		38		80		23		0		424		-13		36		0		0		460		0.0782608696				26		38		80		0		0		469		-27		30		0		0		499		0.0601202405

												27		48		70		27		0		259		54		86		0		13		345		0.2492753623								27		48		70		0		0		387		23		68		0		0		455		0.1494505495				27		48		70		0		0		492		-23		63		0		0		555		0.1135135135

												28		58		60		0		0		41		0		27		0		0		68		0.3970588235								28		58		60		0		0		59		0		41		0		0		100		0.41				28		58		60		0		0		77		0		45		0		0		122		0.368852459

		#121		Ampitude		#121		Amplitude				29		68		50		18		0		68		41		132		0		32		200		0.66								29		68		50		0		0		59		32		178		0		0		237		0.7510548523				29		68		50		0		0		73		18		273		0		32		346		0.789017341

		20		483		32		451				30		78		40		18		0		86		68		264		0		27		350		0.7542857143								30		78		40		0		0		50		10		506		-18		0		556		0.9100719424				30		78		40		0		0		50		10		506		-18		0		556		0.9100719424

		21		86		33		54				31		88		30		0				63		50		342		0		32		405		0.8444444444								31		88		30		0		0		41		18		428		-23		18		469		0.9125799574				31		88		30		0		0		36		0		496		-23		18		532		0.9323308271

		22		45		34		32

		23		23		35		45				Estimated strip width:

		24		154		36		387				35 µm

		25		470



Irradiated section n. 6



Final pic. eta

		1		1		1		1



Left strip

Routing #1

Right strip

Routing #2

Bias [Volt]

Signal [mV]

CCE vs bias

1

1

1

1



Neff vs position

		1		1		1		1



Strip 120

Rout. #1

Strip 121

Rout. #2

Bias [Volt]

Signal [mV]

CCE vs bias

1

1

1

1



Eta comparison

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0



Strip 120

Rout. #1

Strip 121

Rout. #2

Bias [Volt]

Signal [mV]

CCE vs bias

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



Strip 120 

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0



Position 1

Position 2

Position 3

Bias [Volt]

Ratio

Routing line/total charge

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



Pulse shape

		0		0		0		0

		0		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0



0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0



0

0

0

0

0

0

0

0

0

0

0



		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0



0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		30		30		30

		115		40		40		40

				50		50		50

				60		60		60

				70		70		70

				80		80		80

				90		90		90



150 Volt

200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #740-741

0

0.204610951

0

0

1

0.3086053412

0.1601731602

0

0.3851351351

0.2755102041

0.1978021978

0.5677966102

0.6121212121

0.688372093

0.6253869969

0.7406542056

0.886405959

0.7331378299

0.8442982456

0.9305816135

0.7967032967

0.8817427386

0.938517179



		Bias 250 V		Strip #		Centre		Distance		50 V		Local coord.		D24		D25		Pulse Left		Int		Pulse Right		Pulse sum		h		ideal				100 V		Pulse Left		Int		Pulse Right		Pulse sum		h		300 V		Pulse Left		Int		Pulse Right		Pulse sum		h				Volt scan		#6		Int.		#7		Total		Normalised				Volt scan		#59		#60		#61		Total		Normalised				Volt scan		#114		Int.		#115		Int.		#116		Total		Normalised

				6		37		115				40		30		85		104		18		40		144		0.2777777778		0		0				246				45		291		0.1546391753				333		-23		27		360		0.075				20		23		5		54		77		0.2086720867				20		32		141		54		227		0.576142132				10		63		4		159		23		32		222		0.5536159601

				7		48.5						41		40		75		86		32		54		140		0.3857142857		115		1				214		36		63		277		0.2274368231				323		-23		36		359		0.1002785515				40		32		18		100		132		0.3577235772				40		41		264		54		359		0.9111675127				20		80				246		23		36		326		0.812967581

												42		50		65		45		9		32		77		0.4155844156								128		36		63		191		0.3298429319				209		0		68		277		0.2454873646				50		36		23		123		159						50		36		287		50		373		0.9467005076				40		82				314		23		41		396		0.9875311721

												43.5		65		50		36		18		54		90		0.6								50		36		118		168		0.7023809524				63		13		246		309		0.7961165049				60		45		27		145		190		0.5149051491				60		36		298		40		374		0.9492385787				50		73				328		13		32		401		1

		#6		Amplitude		#7		Amplitude				44		70		45		45		27		77		122		0.631147541								50		36		195		245		0.7959183673				41		9		305		346		0.8815028902				80		59		41		205		264		0.7154471545				80		30		328		27		385		0.9771573604				60		68				333		13		32		401		1

		34.5		305		46.5		296				45		80		35		45		23		104		149		0.6979865772								45		41		241		286		0.8426573427				27		9		342		369		0.9268292683				100		45		36		259		304		0.8238482385				100		27		337		24		388		0.9847715736				80		59				342		9		32		401		1

		35.5		137		47.5		54				46		90		25		9		0		50		59		0.8474576271								45		36		255		300		0.85				27		4		337		364		0.9258241758				125		36		23		296		332		0.8997289973				150		24		355		21		400		1.0152284264				100		46				351				18		397		0.9900249377

		36.5		27		48.5		0																																																		150		32		18		323		355		0.9620596206				200		23		360		20		403		1.0228426396				125		45				355				27		400		0.9975062344

		37.5		0		49.5		36																																																		175		32		18		328		360		0.9756097561				300		20		374		0		394		1				150		45				355				27		400		0.9975062344

		38.5		100		50.5		232																																																		200		23		9		337		360		0.9756097561																		200		45				355				18		400		0.9975062344

		39.5		305		51.5		333																																																		300		23		9		346		369		1																		300		41				360				18		401		1

		40.5		319





		20		20		10

		40		40		20

		50		50		40

		60		60		50

		80		80		60

		100		100		80

		125		150		100

		150		200		125

		175		300		150

		200				200

		300				300



0.2086720867

0.576142132

0.5536159601

0.3577235772

0.9111675127

0.812967581

0.9467005076

0.9875311721

0.5149051491

0.9492385787

1

0.7154471545

0.9771573604

1

0.8238482385

0.9847715736

1

0.8997289973

1.0152284264

0.9900249377

0.9620596206

1.0228426396

0.9975062344

0.9756097561

1

0.9975062344

0.9756097561

0.9975062344

1

1



		30		30		30		0

		40		40		40		115

		50		50		50

		65		65		65

		70		70		70

		80		80		80

		90		90		90



50 Volt

100 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #774-775

0.2777777778

0.1546391753

0.075

0

0.3857142857

0.2274368231

0.1002785515

1

0.4155844156

0.3298429319

0.2454873646

0.6

0.7023809524

0.7961165049

0.631147541

0.7959183673

0.8815028902

0.6979865772

0.8426573427

0.9268292683

0.8474576271

0.85

0.9258241758



		Bias 250 V		Strip #		Centre		Distance		25 V		Local coord.		D24		D25		Pulse Left		Pulse Right		Pulse sum		h		ideal				50 V		Pulse Left		Pulse Right		Pulse sum		h		150 V		Pulse Left		Pulse Right		Pulse sum		h								Volt scan		#60		#61		Total		Normalised

				60		43.2		113				46		28		85		212		1		213		0.0046948357		0		0				311		1		312		0.0032051282				410		1		411		0.00243309						3.1622776602		10		95		0		95		0.2467532468

				61		54.5						47		38		75		143		20		163		0.1226993865		113		1				222		1		223		0.0044843049				294		1		295		0.0033898305						5		25		191		0		191		0.4961038961

												48		48		65		68		34		102		0.3333333333								123		58		181		0.320441989				171		68		239		0.2845188285						7.0710678119		50		283		0		283		0.7350649351

												49		58		55		37		109		146		0.7465753425								37		161		198		0.8131313131				37		212		249		0.8514056225						8.6602540378		75		321		0		321		0.8337662338

		#60		Amplitude		#61		Amplitude				50		68		45		31		174		205		0.8487804878								34		259		293		0.8839590444				50		334		384		0.8697916667						10		100		352		0		352		0.9142857143

		41		308		52		386				51		78		35		24		181		205		0.8829268293								24		263		287		0.9163763066				20		345		365		0.9452054795						12.2474487139		150		372		0		372		0.9662337662

		42		171		53		253																																														14.1421356237		200		372		0		372		0.9662337662

		43		20		54		116																																														17.3205080757		300		385		0		385		1

		44		49		55		24

		45		209		56		123

		46		345		57		280

						58		389

		Bias 250 V		Strip #		Centre		Distance		20 V		Local coord.		D24		D25		#115		Int 1		#116		Int 2		#117		Pulse sum		h		ideal				50 V		#115		Int 1		#116		Int 2		#117		Pulse sum		h		200 V		#115		Int 1		#116		Int 2		#117		Pulse sum		h				Volt scan		#115		#116		Int		#117		Total		Normalised

				115		21		114				24		30		84		198		-17		27						225		0.12		0		0				317		-17		31						348		0.0890804598				403		-30		24						427		0.056206089		3.1622776602		10				116						116		0.2829268293

				116		32.4						25		40		74		178		-13		27						205		0.1317073171		114		1				311		-20		41						352		0.1164772727				396		-27		27						423		0.0638297872		5		25		31		208		-5		20		228		0.556097561

												26		50		64		126		-13		37						163		0.226993865								242		-17		61						303		0.201320132				334		-24		68						402		0.1691542289		7.0710678119		50		31		308		-7		20		328		0.8

												28		70		44		34				137				17		171		0.8011695906								48				236				24		284		0.8309859155				54		-5		317		-13		24		371		0.8544474394		8.6602540378		75		24		345		-17		20		365		0.8902439024

		#115		Amplitude		#116		Amplitude				29		80		34		24				181				17		205		0.8829268293								31				311		-10		20		342		0.9093567251				27				400		-17		17		427		0.9367681499		10		100		27		366		-20		17		383		0.9341463415

		18		400		30		389				29.5		85		29		27				195						222		0.8783783784								34				314		-15		20		348		0.9022988506				24				389		-24		17		413		0.9418886199		11.1803398875		125		24		380		-17		13		393		0.9585365854

		19		270		31		89																																																												12.2474487139		150		24		385		-20		13		398		0.9707317073

		20		34		32		28																																																												14.1421356237		200		24		389		-20		13		402		0.9804878049

		21		30		33		30																																																												17.3205080757		300		24		393		-20		17		410		1

		22		38		34		126

		23		308		35		389

		24		400





		0		28		28		28

		113		38		38		38

				48		48		48

				58		58		58

				68		68		68

				78		78		78



25 Volt

50 Volt

150 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #188-189

0

0.0046948357

0.0032051282

0.00243309

1

0.1226993865

0.0044843049

0.0033898305

0.3333333333

0.320441989

0.2845188285

0.7465753425

0.8131313131

0.8514056225

0.8487804878

0.8839590444

0.8697916667

0.8829268293

0.9163763066

0.9452054795



		0		30		30		30

		114		40		40		40

				50		50		50

				70		70		70

				80		80		80

				85		85		85



20 Volt

50 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #244-245

0

0.12

0.0890804598

0.056206089

1

0.1317073171

0.1164772727

0.0638297872

0.226993865

0.201320132

0.1691542289

0.8011695906

0.8309859155

0.8544474394

0.8829268293

0.9093567251

0.9367681499

0.8783783784

0.9022988506

0.9418886199



		10		10

		25		25

		50		50

		75		75

		100		100

		125		150

		150		200

		200		300

		300



#115

#60

0.2829268293

0.2467532468

0.556097561

0.4961038961

0.8

0.7350649351

0.8902439024

0.8337662338

0.9341463415

0.9142857143

0.9585365854

0.9662337662

0.9707317073

0.9662337662

0.9804878049

1

1



		47		400		-30		380

		48		280		-20		260

		49		41		-10		21

		50		20		0		0

		51		51		10		31

		52		273		20		253

		53		410		30		390

		Beam Profile

		Coordinate		Front		Back

		0						10

		10		1.00E+13		1.05E+13		20		1.00E+13		1.05E+13

		20		4.50E+13		4.55E+13		30		4.50E+13		4.55E+13

		25		3.00E+14		2.52E+14		35		3.00E+14		2.52E+14

		30		4.10E+14		4.40E+14		40		4.10E+14		4.40E+14

		35		4.30E+14		4.60E+14		45		4.30E+14		4.60E+14

		40		3.15E+14		3.80E+14		50		3.15E+14		3.80E+14

		45		1.09E+14		2.70E+14		55		1.09E+14		2.70E+14

		55		1.20E+13		2.70E+13		65		1.20E+13		2.70E+13

		65		7.00E+11		1.20E+12		75		7.00E+11		1.20E+12





		-30

		-20

		-10

		0

		10

		20

		30



Local coord. [µm]

Amplitude [arb. Units]

Strip scan #10

380

260

21

0

31

253

390



		55		0		55		55

		50		1		50		50

		45		2		45		45

		40		3		40		40

		35		4		35		35

		30		5		30		30

		25		6		25		25

		20		7		20		20

		15		8		15		15

		10		9		10		10

		5		10		5		5

		0		11		0		0

				12

				13

				14

				15

				16

				17

				18

				19

				20

				21

				22

				23

				24

				25

				26

				27

				28

				29

				30

				31

				32

				33

				34

				35

				36

				37

				38

				39

				40

				41

				42

				43

				44

				45

				46

				47

				48

				49

				50

				51

				52

				53

				54

				55

				56

				57

				58

				59

				60

				61

				62

				63

				64

				65

				66

				67

				68



Measured (hit strip)

Calculated

Adjacent strip

Intermediate routing line

Time [ns]

Amplitude [arb. units]

68

10

0

0

150

34.5396

16

0

245

54.05968

34

0

369

80.39936

54

0

560

114.09384

123

32

688

155.13512

154

40

826

202.94192

188

51

792

256.42064

199

74

615

314.09432

188

108

421

374.26344

176

131

199

435.16424

85

68

0

495.10184

0

0

552.54736

606.19912

655.01224

698.20408

735.24416

765.8304

789.86272

807.41192

818.68832

824.01216

823.78664

818.47312

808.57016

794.59512

777.0692

756.50528

733.3992

708.22128

681.41152

653.37656

624.48752

595.07864

565.44744

535.85544

506.53048

477.66728

449.43032

421.95584

395.35408

369.71192

345.0956

321.5524

299.11304

277.79416

257.59968

238.52336

220.54992

203.6564

187.81424

172.98976

159.14552

146.24152

134.23568

123.08456

112.74432

103.1708

94.32024

86.14968

78.61696

71.6812

65.30304

59.44456

54.06952

49.14336

44.63336

40.50856

36.7396



		0		0

		10		10

		20		20

		25		25

		30		30

		35		35

		40		40

		45		45

		55		55

		65		65



Front Al foils

Back Al foils

Position [mm]

Measured fluence [p cm-2]

10000000000000

10500000000000

45000000000000

45500000000000

300000000000000

252000000000000

410000000000000

440000000000000

430000000000000

460000000000000

315000000000000

380000000000000

109000000000000

270000000000000

12000000000000

27000000000000

700000000000

1200000000000



		

						760





		30		30		0

		40		40		117.5

		50		50

		60		60

		70		70

		80		80

		90		90



200 Volt

400 Volt

Ideal resolution

Local position [µm]

Right charge/Total charge

Scan across strips #740-741

0.1035422343

0.0311111111

0

0.1971428571

0.0545851528

1

0.3688888889

0.2443729904

0.6231884058

0.7816091954

0.7445652174

0.9099437148

0.8891454965

1

0.9136363636

1



		30		30		0

		40		40		115

		50		50

		60		60

		70		70

		80		80

		90		90



200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #710-711

0.1009615385

0.0352733686

0

0.1943734015

0.0646258503

1

0.3125

0.2213740458

0.5102040816

0.5845070423

0.689373297

0.8831858407

0.8141809291

0.9365609349

0.8523489933

0.9378427788



		30		30		0

		40		40		115

		50		50

		60		60

		70		70

		80		80

		90		90



200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #760-761

0.0874074074

0.0657534247

0

0.0914454277

0.0725244073

1

0.1515151515

0.1463414634

0.5

0.5

0.8

0.8395522388

0.884086444

0.9252669039

0.9249011858

0.9491833031



		0		30		30		30

		115		40		40		40

				50		50		50

				60		60		60

				70		70		70

				80		80		80

				90		90		90



150 Volt

200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #740-741

0

0.204610951

0.0581395349

0.0450281426

1

0.3086053412

0.1601731602

0.0685920578

0.3851351351

0.2755102041

0.2206405694

0.5677966102

0.6121212121

0.688372093

0.6253869969

0.7406542056

0.886405959

0.7331378299

0.8442982456

0.9305816135

0.7967032967

0.8817427386

0.938517179



		0		30		30

		110		40		40

				50		50

				60		60

				70		70

				80		80

				90		90



200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #670-671

0

0.2186046512

0.0462962963

1

0.3191489362

0.076056338

0.4345238095

0.2648401826

0.625

0.619047619

0.7170731707

0.8559322034

0.7960784314

0.9612403101

0.825

0.9734748011



		0		20		20

		110		30		30

				40		40

				50		50

				60		60

				70		70

				80		80

				90		90



200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #690-691

0

0.1510067114

0.0529801325

1

0.1964285714

0.0703296703

0.3269961977

0.1575492341

0

0.6736842105

0.7946428571

0.7365079365

0.916500994

0.8419452888

0.9427402863

0.8307692308

0.9512195122



		25		25		25		0

		35		35		35		110

		45		45		45

		55		55		55

		65		65		65

		75		75		75

		85		85		85



100 Volt

200 Volt

300 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #525-526

0.0461956522

0.0440414508

0.0446194226

0

0.0583941606

0.0547945205

0.0547945205

1

0.1413612565

0.1282051282

0.1113689095

0.3215859031

0.264573991

0.2821576763

0.8050541516

0.8073394495

0.7722222222

0.9130434783

0.9217391304

0.9298245614

0.9473684211

0.9523809524

0.958677686



		0		30		30		30

		117		40		40		40

				50		50		50

				70		70		70

				80		80		80

				90		90		90



150 Volt

200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #634-635

0

0.223255814

0.1133333333

0.0510204082

1

0.2783505155

0.1933333333

0.0761670762

0.3963414634

0.3048780488

0.1943005181

0.6209150327

0.6822429907

0.8157099698

0.6875

0.7979094077

0.915

0.7548076923

0.8580645161

0.9330024814



		0		24		24

		114		34		34

				44		44

				64		64

				74		74

				84		84

				89		89



100 Volt

300 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #584-585

0

0.118466899

0.0379403794

1

0.1655172414

0.0608272506

0.3421052632

0.1666666667

0.6896551724

0.8131868132

0.7597173145

0.9567430025

0.8605442177

0.9974160207

0.8586206897

0.9466666667



		0		22		22		22		22

		116		32		32		32		32

				42		42		42		42

				67		67		67		67

				72		72		72		72

				82		82		82		82

				92		92		92		92



100 Volt

150 Volt

200 Volt

300 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #604-605

0

0.2192513369

0.0848056537

0.0408719346

0.056980057

1

0.2391304348

0.1214285714

0.0681818182

0.0798898072

0.3128834356

0.2380952381

0.0920716113

0.1549295775

0.5668789809

0.6355555556

0.7975077882

0.7517482517

0.591954023

0.7173913043

0.9002695418

0.8434782609

0.6949152542

0.8137931034

0.9973045822

0.8888888889

0.7348066298

0.8436482085

0.972899729

0.9043715847



		0		23		23		23

		108		33		33		33

				43		43		43

				58		58		58

				63		63		63

				73		73		73

				78		78		78



20 Volt

50 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #544-545

0

0.1376146789

0.0422960725

0.0361445783

1

0.2018348624

0.0845070423

0.0574712644

0.3457446809

0.2341772152

0.0976253298

0.5858585859

0.7124183007

0.7627906977

0.6304347826

0.7571428571

0.820441989

0.7302325581

0.8709677419

0.9418886199

0.7735849057

0.8811594203

0.9632352941



		0		35		35		35

		110		40		40		40

				50		50		50

				65		65		65

				70		70		70

				80		80		80



50 Volt

100 Volt

300 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #566-567

0

0.125

0.0408719346

0.0407673861

1

0.1777777778

0.0702247191

0.0687203791

0.320441989

0.22

0.2033333333

0.6946107784

0.8090909091

0.7789855072

0.741697417

0.8579387187

0.8743842365

0.8580858086

0.9543010753

0.9975062344



		0		35		35		35

		120		45		45		45

				50		50		50

				65		65		65

				70		70		70

				80		80		80

				90		90		90



50 Volt

100 Volt

250 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #575-576

0

0.2876106195

0.0451807229

0.0383631714

1

0.3744292237

0.144092219

0.0939759036

0.3880597015

0.1782178218

0.1580310881

0.5730337079

0.7260273973

0.7166666667

0.591954023

0.798679868

0.8379888268

0.6559633028

0.8879781421

0.9230769231

0.7627906977

0.9076086957

0.9511002445



		0		28		28		28

		113		38		38		38

				48		48		48

				58		58		58

				68		68		68

				78		78		78



25 Volt

50 Volt

150 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #188-189

0

0.0046948357

0.0032051282

0.00243309

1

0.1226993865

0.0044843049

0.0033898305

0.3333333333

0.320441989

0.2845188285

0.7465753425

0.8131313131

0.8514056225

0.8487804878

0.8839590444

0.8697916667

0.8829268293

0.9163763066

0.9452054795



		26		26		0		26

		36		36		114		36

		46		46				46

		66		66				66

		76		76				76

		86		86				86



100 Volt

300 Volt

=

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #621-622

0.2227074236

0.0789473684

0

0.0390625

0.2735849057

0.1348684211

1

0.0606060606

0.3659793814

0.2482517483

0.1102150538

0.5828220859

0.6728110599

0.8066666667

0.6822429907

0.8066666667

0.9086021505

0.7422222222

0.8547854785

0.9583333333



		25		25		25		0

		35		35		35		110

		45		45		45

		60		60		60

		65		65		65

		75		75		75

		85		85		85



20 Volt

50 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #469-470

0.0857142857

0.1060070671

0.0411311054

0

0.0833333333

0.093385214

0.0683060109

1

0.275862069

0.1904761905

0.1333333333

0.6451612903

0.6785714286

0.7311827957

0.6774193548

0.766536965

0.8356164384

0.8444444444

0.8717948718

0.9260969977

0.8695652174

0.8646153846

0.9267734554



		30		30		0

		40		40		110

		50		50

		60		60

		70		70

		80		80



200 Volts

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #650-651

0.1784037559

0.0521172638

0

0.2587064677

0.1034482759

1

0.3577586207

0.2196531792

0.6280991736

0.7375328084

0.7114914425

0.8717948718

0.7915742794

0.9111470113



		0		30		30		30

		114		40		40		40

				50		50		50

				70		70		70

				80		80		80

				85		85		85



20 Volt

50 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #244-245

0

0.12

0.0890804598

0.056206089

1

0.1317073171

0.1164772727

0.0638297872

0.226993865

0.201320132

0.1691542289

0.8011695906

0.8309859155

0.8544474394

0.8829268293

0.9093567251

0.9367681499

0.8783783784

0.9022988506

0.9418886199



		30		30		0		30

		40		40		114		40

		50		50				50

		70		60				60

		80		70				70

		85		80				80

								90



#245 - 200 Volt

#650 - 400 Volt

#760 - 400 Volt

Local position [µm]

Right charge/Total charge

0.056206089

0.0521172638

0

0.0657534247

0.0638297872

0.1034482759

1

0.0725244073

0.1691542289

0.2196531792

0.1463414634

0.8544474394

0.7375328084

0.5

0.9367681499

0.8717948718

0.8395522388

0.9418886199

0.9111470113

0.9252669039

0.9491833031



		20		20		20		0

		30		30		30		115

		40		40		40

		50		50		50

		60		60		60

		70		70		70

		80		80		80

		90		90		90



20 Volt

50 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #388-389

0.15

0.0975609756

0.0965794769

0

0.1549295775

0.1448692153

0.1004709576

1

0.171875

0.1223529412

0.0901213172

0.2926829268

0.2888888889

0.2434077079

0.6666666667

0.6923076923

0.6511627907

0.7833333333

0.8498896247

0.9073083779

0.8295081967

0.8495049505

0.9384615385

0.8793103448

0.9160839161

0.9470699433



		35		0		35		35

		45		120		45		45

		55				55		55

		70				70		70

		75				75		75

		85				85		85

		95				95		95



20 Volt

50 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strip #490-491

0.1595744681

0

0.12

0.0796116505

0.2053231939

1

0.1322869955

0.0891089109

0.2967032967

0.2258064516

0.2

0.72

0.692

0.7982261641

0.8351449275

0.7985074627

0.8764302059

0.9349593496

0.8546099291

0.9174311927

0.9445585216



		0		28		28		28

		118		38		38		38

				48		48		48

				58		58		58

				68		68		68

				78		78		78

				88		88		88



150 Volt

200 Volt

400 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #760-761

0

0.1305483029

0.0812064965

0.0638722555

1

0.1467391304

0.0782608696

0.0601202405

0.2492753623

0.1494505495

0.1135135135

0.3970588235

0.41

0.368852459

0.66

0.7510548523

0.789017341

0.7542857143

0.9100719424

0.9100719424

0.8444444444

0.9125799574

0.9323308271



		30		30		28		0

		40		40		38		118

		50		50		48

		70		70		58

		80		80		68

		85		90		78

						88



#245 - 200 Volt

#534 - 400 Volt

#760 - 400 Volt

Local position [µm]

Right charge/Total charge

0.056206089

0.0510204082

0.0638722555

0

0.0638297872

0.0761670762

0.0601202405

1

0.1691542289

0.1943005181

0.1135135135

0.8544474394

0.8157099698

0.368852459

0.9367681499

0.915

0.789017341

0.9418886199

0.9330024814

0.9100719424

0.9323308271



		30		30		30		0

		40		40		40		115

		50		50		50

		65		65		65

		70		70		70

		80		80		80

		90		90		90



50 Volt

100 Volt

200 Volt

Local position [µm]

Right charge/Total charge

Scan across strips #774-775

0.2777777778

0.1546391753

0.075

0

0.3857142857

0.2274368231

0.1002785515

1

0.4155844156

0.3298429319

0.2454873646

0.6

0.7023809524

0.7961165049

0.631147541

0.7959183673

0.8815028902

0.6979865772

0.8426573427

0.9268292683

0.8474576271

0.85

0.9258241758



		Bias		#650		#651		Pulse sum		Normalised		#670		#671		Pulse sum		Normalised		#690		#691		Pulse sum		Normalised		#710		#711		Pulse sum		Normalised		#730		#731		Pulse sum		Normalised		#740		#741		Pulse sum		Normalised		#760		#761		Pulse sum		Normalised

		[Volt]		[mV]		[mV]		[mv]				[mV]		[mV]		[mv]				[mV]		[mV]		[mv]				[mV]		[mV]		[mv]				[mV]		[mV]		[mv]				[mV]		[mV]		[mv]				[mV]		[mV]		[mv]

		50		41		85		126		0.2016		24		58		82		0.2		0		80		80		0.1500938086		31		78		109		0.1912280702		31		83		114		0.1972318339		30		101		131		0.2205387205		45		100		145		0.2566371681				104		104

		100		63		140		203		0.3248		22		84		106		0.2585365854		31		135		166		0.3114446529		53		125		178		0.3122807018		45		142		187		0.3235294118		67		182		249		0.4191919192		68		178		246		0.4353982301				177		177

		150		92		210		302		0.4832		38		133		171		0.4170731707		52		197		249		0.4671669794		58		180		238		0.4175438596		66		232		298		0.5155709343		74		290		364		0.6127946128		63		342		405		0.7168141593				385		385

		200		81		329		410		0.656		39		207		246		0.6		45		291		336		0.6303939962		73		290		363		0.6368421053		48		374		422		0.7301038062		57		425		482		0.8114478114		50		446		496		0.8778761062				454		454

		250		59		443		502		0.8032		32		300		332		0.8097560976		34		398		432		0.8105065666		51		388		439		0.7701754386		31		478		509		0.8806228374		51		472		523		0.8804713805		41		490		531		0.9398230088				468		468

		300		59		510		569		0.9104		30		321		351		0.856097561		35		433		468		0.8780487805		38		462		500		0.8771929825		17		501		518		0.8961937716		40		500		540		0.9090909091		36		501		537		0.9504424779				478		478

		350		50		530		580		0.928		23		342		365		0.8902439024		31		454		485		0.9099437148		33		485		518		0.9087719298		20		535		555		0.9602076125		34		513		547		0.9208754209		32		510		542		0.9592920354				495		495

		400		45		561		606		0.9696		10		370		380		0.9268292683		24		468		492		0.9230769231		31		498		529		0.9280701754		20		535		555		0.9602076125		34		520		554		0.9326599327		36		519		555		0.982300885				502		502

		500		45		580		625		1		10		400		410		1		10		523		533		1		30		540		570		1		0		578		578		1		34		560		594		1		32		533		565		1				510		510

																						Neff map		Vfd

																						10

																						30

																						50

																						70

																						90

																						100

																						120

																																												634

																																		72

		Bias		#526		#527		Pulse sum		Normalised		Bias		#545		#546		Pulse sum		Normalised		Bias		#567		#568		Pulse sum		Normalised		Bias		#577		#578		Pulse sum		Normalised		Bias		#585		#586		Pulse sum		Normalised		Bias		#605		#606		Pulse sum		Normalised		Bias		#622		#623		Pulse sum		Normalised		Bias		#634		#635		Pulse sum		Normalised

		[Volt]		[mV]		[mV]		[mv]				[Volt]		[mV]		[mV]		[mv]				[Volt]		[mV]		[mV]		[mv]				[Volt]		[mV]		[mV]		[mv]				[Volt]		[mV]		[mV]		[mv]				[Volt]		[mV]		[mV]		[mv]				[Volt]		[mV]		[mV]		[mv]				[Volt]		[mV]		[mV]		[mv]

		20		5		205		210		0.4393305439		10		89		41		130		0.3095238095		10		27		41		68		0.17		25		34		75		109		0.2632850242		25		44		20		64		0.1671018277		50		65		10		75		0.1978891821		50		65		0		65		0.1697127937		50		61		24		85		0.2073170732

		30		5		273		278		0.5815899582		20		171		41		212		0.5047619048		25		61		109		170		0.425		50		55		164		219		0.5289855072		50		95		41		136		0.3550913838		75		95		10		105		0.2770448549		100		123		37		160		0.4177545692		100		106		34		140		0.3414634146

		40		54		323		377		0.7887029289		30		232		34		266		0.6333333333		50		266		41		307		0.7675		75		37		290		327		0.7898550725		75		150		58		208		0.5430809399		100		129		27		156		0.4116094987		150		171		51		222		0.5796344648		150		157		48		205		0.5

		50		45		360		405		0.8472803347		50		321		0		321		0.7642857143		75		334		14		348		0.87		100		27		330		357		0.8623188406		100		240		51		291		0.7597911227		125		167		27		194		0.5118733509		200		287		24		311		0.8120104439		200		253		34		287		0.7

		75		41		405		446		0.9330543933		75		362		0		362		0.8619047619		100		359		0		359		0.8975		150		27		359		386		0.9323671498		125		311		27		338		0.8825065274		150		236		30		266		0.7018469657		250		334		0		334		0.8720626632		250		317		27		344		0.8390243902

		100		32		428		460		0.9623430962		100		383		0		383		0.9119047619		150		372		0		372		0.93		200		24		372		396		0.9565217391		150		342		10		352		0.9190600522		200		328		0		328		0.8654353562		300		351		0		351		0.9164490862		300		349		31		380		0.9268292683

		120		23		437		460		0.9623430962		150		396		0		396		0.9428571429		200		383		0		383		0.9575		250		20		379		399		0.9637681159		200		355		10		365		0.953002611		250		355		0		355		0.9366754617		350		366		0		366		0.955613577		350		362		27		389		0.9487804878

		150		27		446		473		0.989539749		200		413		0		413		0.9833333333		250		396		0		396		0.99		300		24		382		406		0.9806763285		300		376		0		376		0.9817232376		300		366		0		366		0.9656992084		400		372		0		372		0.9712793734		400		372		34		406		0.9902439024

		200		23		455		478		1		300		420		0		420		1		300		400		0		400		1		350		24		390		414		1		400		383		0		383		1		400		379		0		379		1		500		383		0		383		1		500		383		27		410		1

		300		20		464		484		1.0125523013

		Strip #		VFD

		188		80

		244		75

		390		60

		470		55

		498		55

		526		53

		545		54

		568		62

		578		92								0.0004882813		0.1806640625		0.0451660156

		585		128

		605		200

		622		225

		634		270

		650		285

		670		297

		690		300

		710		285								768		640

		730		250

		740		220

		760		170

		774		125

		829		60

		888		47





		50		50		50		50		50		50		50

		100		100		100		100		100		100		100

		150		150		150		150		150		150		150

		200		200		200		200		200		200		200

		250		250		250		250		250		250		250

		300		300		300		300		300		300		300

		350		350		350		350		350		350		350

		400		400		400		400		400		400		400

		500		500		500		500		500		500		500



Strip #10

Strip #30

Strip #50

Strip #70

Strip #90

Strip #100

Strip #120

0.2016

0.2

0.1500938086

0.1912280702

0.1972318339

0.2205387205

0.2566371681

0.3248

0.2585365854

0.3114446529

0.3122807018

0.3235294118

0.4191919192

0.4353982301

0.4832

0.4170731707

0.4671669794

0.4175438596

0.5155709343

0.6127946128

0.7168141593

0.656

0.6

0.6303939962

0.6368421053

0.7301038062

0.8114478114

0.8778761062

0.8032

0.8097560976

0.8105065666

0.7701754386

0.8806228374

0.8804713805

0.9398230088

0.9104

0.856097561

0.8780487805

0.8771929825

0.8961937716

0.9090909091

0.9504424779

0.928

0.8902439024

0.9099437148

0.9087719298

0.9602076125

0.9208754209

0.9592920354

0.9696

0.9268292683

0.9230769231

0.9280701754

0.9602076125

0.9326599327

0.982300885

1

1

1

1

1

1

1



		20		10		25		25		50		50		50

		30		20		50		50		75		100		100

		40		30		75		75		100		150		150

		50		50		100		100		125		200		200

		75		75		150		125		150		250		250

		100		100		200		150		200		300		300

		120		150		250		200		250		350		350

		150		200		300		300		300		400		400

		200		300		350		400		400		500		500

		300



Strip #526

Strip #545

Strip #578

Strip #585

Strip #605

Strip #622

Strip #634

Bias [Volt]

Normalised CCE

0.4393305439

0.3095238095

0.2632850242

0.1671018277

0.1978891821

0.1697127937

0.2073170732

0.5815899582

0.5047619048

0.5289855072

0.3550913838

0.2770448549

0.4177545692

0.3414634146

0.7887029289

0.6333333333

0.7898550725

0.5430809399

0.4116094987

0.5796344648

0.5

0.8472803347

0.7642857143

0.8623188406

0.7597911227

0.5118733509

0.8120104439

0.7

0.9330543933

0.8619047619

0.9323671498

0.8825065274

0.7018469657

0.8720626632

0.8390243902

0.9623430962

0.9119047619

0.9565217391

0.9190600522

0.8654353562

0.9164490862

0.9268292683

0.9623430962

0.9428571429

0.9637681159

0.953002611

0.9366754617

0.955613577

0.9487804878

0.989539749

0.9833333333

0.9806763285

0.9817232376

0.9656992084

0.9712793734

0.9902439024

1

1

1

1

1

1

1

1.0125523013



		

		188

		244

		390

		470

		498

		526

		545

		568

		578

		585

		605

		622

		634

		650

		670

		690

		710

		730

		740

		760

		774

		829

		888



Strip Number

Vfd [Volt]

80

75

60

55

55

53

54

62

92

128

200

225

270

285

297

300

285

250

220

170

125

60

47



		10		25		50

		20		50		100

		30		75		150

		50		100		200

		75		125		250

		100		150		300

		150		200		350

		200		300		400

		300		400		500



Strip #545

Strip #585

Strip #634

Bias [Volt]

Normalised CCE

0.3095238095

0.1671018277

0.2073170732

0.5047619048

0.3550913838

0.3414634146

0.6333333333

0.5430809399

0.5

0.7642857143

0.7597911227

0.7

0.8619047619

0.8825065274

0.8390243902

0.9119047619

0.9190600522

0.9268292683

0.9428571429

0.953002611

0.9487804878

0.9833333333

0.9817232376

0.9902439024

1

1

1



		20		25		50

		30		50		75

		40		75		100

		50		100		125

		75		150		150

		100		200		200

		120		250		250

		150		300		300

		200		350		400

		300



Strip #526

Strip #578

Strip #605

Bias [Volt]

Normalised CCE

0.4393305439

0.2632850242

0.1978891821

0.5815899582

0.5289855072

0.2770448549

0.7887029289

0.7898550725

0.4116094987

0.8472803347

0.8623188406

0.5118733509

0.9330543933

0.9323671498

0.7018469657

0.9623430962

0.9565217391

0.8654353562

0.9623430962

0.9637681159

0.9366754617

0.989539749

0.9806763285

0.9656992084

1

1

1

1.0125523013



		Strip:		#10								Strip:		#30								Strip:		#50								Strip:		#70								Strip:		#90								Strip:		#100		#101						Strip:		#120

				#11										#31										#51										#71										#91										#121										#121

		D Left		h 200 V		ideal				h 400 V		D Left		h 200 V		ideal				h 400 V		D Left		h 200 V		ideal				h 400 V		D Left		h 200 V		ideal				h 400 V		D Left		h 200 V		ideal				h 400 V		D Left		h 200 V		ideal				h 400 V		D Left		h 200 V		ideal				h 400 V

		20		0.2059800664		0		0		0.1260683761		20		0.3485714286		0		0		0.2292490119		20		0.1510067114		0		0		0		20		0.1729559748		0		0		0.1299559471		30		0.1035422343		0		0		0		30		0.204610951		0		0		0		20		0.2591006424		0		0		0.263671875

		30		0.1784037559		110		1		0		30		0.2186046512		110		1		0		30		0.1964285714		110		1		0		30		0.1009615385		115		1		0		40		0.1971428571		117.5		1		0		40		0.3086053412		115		1		0		30		0.0874074074		115		1		0.0657534247

		40		0.2587064677						0.0909090909		40		0.3191489362						0		40		0.3269961977						0.118993135		40		0.1943734015						0		50		0.3688888889						0.2443729904		50		0.3851351351						0.1978021978		40		0.0914454277						0.0725244073

		50		0.3577586207						0.2196531792		50		0.4345238095						0.2648401826		60		0.6736842105						0.7946428571		50		0.3125						0.1707317073		60		0.6231884058						0.7816091954		60		0.5677966102						0.688372093		50		0.1515151515						0.1463414634

		60		0.6280991736						0.7375328084		60		0.625						0.619047619		70		0.7365079365						0.916500994		60		0.5102040816						0.5845070423		70		0.7445652174						0.9099437148		70		0.6253869969						0.886405959		60		0.5						0.5

		70		0.7114914425						0.8717948718		70		0.7170731707						0.8559322034		80		0.8419452888						0.9427402863		70		0.689373297						0.8831858407		80		0.8891454965						1		80		0.7331378299						0.9305816135		70		0.8						0.8395522388

		80		0.7915742794						0.9111470113		80		0.7960784314						0.9867374005		90		0.8307692308						0.9512195122		80		0.8141809291						0.9365609349		90		0.9136363636						1		90		0.7967032967						0.938517179		80		0.884086444						0.9252669039

		90		0.7759103641						0.8546845124		90		0.825						0.9734748011												90		0.8523489933						0.9378427788																						90		0.9249011858						0.9491833031

		Residuals		#10-#11								Residuals		#30-#31								Residuals		#50-#51								Residuals		#50-#51								Residuals		#70-#71								Residuals		#90-#91								Residuals		#100-#101

		True position		Est. position		Est. position		Residuals		Residuals		True position		Est. position		Est. position		Residuals		Residuals		True position		Est. position		Est. position		Residuals		Residuals		True position		Est. position		Est. position		Residuals		Residuals		True position		Est. position		Est. position		Residuals		Residuals		True position		Est. position		Est. position		Residuals		Residuals		True position		Est. position		Est. position		Residuals

				200 V		400 V		200 V		400 V				200 V		400 V		200 V		400 V				200 V		400 V		200 V		400 V				200 V		400 V		200 V		400 V				200 V		400 V		200 V		400 V				200 V		400 V		200 V		400 V				200 V		400 V		200 V		400 V

		20		22.657807309		38.3428571429		2.657807309		18.3428571429		20		38.3428571429		25.2173913043		18.3428571429		5.2173913043		20		16.610738255		0		-3.389261745		-20		20		19.8899371069		14.9449339207		-0.1100628931		-5.0550660793		30		12.1662125341		0		-17.8337874659		-30		30		23.530259366		0		-6.469740634		-30		20		29.7965738758		30.322265625		9.7965738758		10.322265625

		30		19.6244131455		24.0465116279		-10.3755868545		-5.9534883721		30		24.0465116279		0		-5.9534883721		-30		30		21.6071428571		0		-8.3928571429		-30		30		11.6105769231		0		-18.3894230769		-30		40		23.1642857143		0		-16.8357142857		-40		40		35.4896142433		0		-4.5103857567		-40		30		10.0518518519		7.5616438356		-19.9481481481		-22.4383561644

		40		28.4577114428		35.1063829787		-11.5422885572		-4.8936170213		40		35.1063829787		0		-4.8936170213		-40		40		35.969581749		13.0892448513		-4.030418251		-26.9107551487		40		22.3529411765		0		-17.6470588235		-40		50		43.3444444444		28.7138263666		-6.6555555556		-21.2861736334		50		44.2905405405		22.7472527473		-5.7094594595		-27.2527472527		40		10.5162241888		8.340306834		-29.4837758112		-31.659693166

		50		39.3534482759		47.7976190476		-10.6465517241		-2.2023809524		50		47.7976190476		29.1324200913		-2.2023809524		-20.8675799087		60		74.1052631579		87.4107142857		14.1052631579		27.4107142857		50		35.9375		19.6341463415		-14.0625		-30.3658536585		60		73.2246376812		91.8390804598		13.2246376812		31.8390804598		60		65.2966101695		79.1627906977		5.2966101695		19.1627906977		50		17.4242424242		16.8292682927		-32.5757575758		-33.1707317073

		60		69.0909090909		68.75		9.0909090909		8.75		60		68.75		68.0952380952		8.75		8.0952380952		70		81.0158730159		100.8151093439		11.0158730159		30.8151093439		60		58.6734693878		67.2183098592		-1.3265306122		7.2183098592		70		87.4864130435		106.9183864916		17.4864130435		36.9183864916		70		71.919504644		101.9366852886		1.919504644		31.9366852886		60		57.5		57.5		-2.5		-2.5

		70		78.2640586797		78.8780487805		8.2640586797		8.8780487805		70		78.8780487805		94.1525423729		8.8780487805		24.1525423729		80		92.6139817629		103.7014314928		12.6139817629		23.7014314928		70		79.2779291553		101.5663716814		9.2779291553		31.5663716814		80		104.474595843		117.5		24.474595843		37.5		80		84.3108504399		107.0168855535		4.3108504399		27.0168855535		70		92		96.5485074627		22		26.5485074627

		80		87.0731707317		87.568627451		7.0731707317		7.568627451		80		87.568627451		108.5411140584		7.568627451		28.5411140584		90		91.3846153846		104.6341463415		1.3846153846		14.6341463415		80		93.630806846		107.7045075125		13.630806846		27.7045075125		90		107.3522727273		117.5		17.3522727273		27.5		90		91.6208791209		107.9294755877		1.6208791209		17.9294755877		80		101.6699410609		106.4056939502		21.6699410609		26.4056939502

		90		85.350140056		90.75		-4.649859944		0.75		90		90.75		107.0822281167		0.75		17.0822281167												90		98.0201342282		107.8519195612		8.0201342282		17.8519195612																						90		106.3636363636		109.1560798548		16.3636363636		19.1560798548





		Far end														End + 1 cm														End + 2 cm														End + 3 cm														End + 3.5 cm

		Strip width		Local coord.		h 150 V						h 200 V		h 400 V		Strip width		Local coord.		h 150 V						h 200 V		h 400 V		Strip width		Local coord.		h 150 V						h 200 V		h 400 V		Strip width		Local coord.		h 150 V						h 200 V		h 400 V		Strip width		Local coord.		h 200 V						h 400 V

		16 µm		21		0.3192771084		0		0		0.3086172345		0.2177531207		25 µm		25		0.2489795918		0		0		0.2296072508		0.0935875217		25 µm		25		0.2344827586		0		0		0.1566820276		0.079338843		30 µm		25		0.1505016722		0		0		0.0805687204		0.052		35 µm		20		0.2591006424		0		0		0.263671875

				22		0.3269230769		61		1		0.3302180685		0.2262118492				26		0.3642857143		78		1		0.3591160221		0.2287390029				26		0.3311897106		95		1		0.2647754137		0.1256038647				26		0.2164948454		108		1		0.0966183575		0.0595238095				30		0.0874074074		115		1		0.0657534247

				23		0.5						0.5		0.5284552846				28		0.6977777778						0.691588785		0.8631578947				27								0.3176470588		0.2993197279				27		0.3470790378						0.2055137845		0.1347248577				40		0.0914454277						0.0725244073

				24		0.6687697161						0.6808943089		0.826435247				29		0.7510204082						0.7796610169		0.9246575342				28		0.6393442623						0.6741573034		0.7946127946				29		0.6487603306						0.7430939227		0.8559837728				50		0.1515151515						0.1463414634

				25		0.6972789116						0.7270788913		0.8104196816																		29		0.7039711191						0.7454545455		0.8982785603				30		0.7683823529						0.884057971		0.9513108614				60		0.5						0.5

																																30		0.7731629393						0.830802603		0.9453376206				31		0.8316498316						0.9351145038		0.98				70		0.8						0.8395522388

																																																												80		0.884086444						0.9252669039

																																																												90		0.9249011858						0.9491833031

				Pos. far end (1)														Pos.(2)=(1)+1 cm														Pos.(3)=(2)+1 cm														Pos.(4)=(3)+1 cm														Pos.(5)=(4)+0.5 cm

		Bias		#119		Int 1		#120		Int 2		#121		Int 3		#122		#119		Int 1		#120		Int 2		#121		Int 3		#122		#119		Int 1		#120		Int 2		#121		Int 3		#122		#119		Int 1		#120		Int 2		#121		Int 3		#122		#119		Int 1		#120		Int 2		#121		Int 3		#122

		[Volt]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]		[mV]

		50		0		0		30		10		115		10		20						20		0		68						0		0		31		0		99		0		0		0		0		0		0		70		0		0						38		21		104		-10

		100		28		0		61		17		179		15		33						44		15		129						20		0		48		24		171		0		31						52		34		145		0		29						62		34		177		-21

		150		30		0		88		40		239		27		44						78		37		184						0		0		71		44		242		0		31						63		58		250		0		29						55		24		385		-31

		200		37		0		115		74		357		37		54						68		41		280						0		0		78		58		383		0		37						37		20		388		-5		20						48		15		454		-24

		250		34		0		101		61		530		51		20						71		44		410						0		0		44		24		509		-24		10						26		10		448		-20		10						45		0		468		-34

		300		23		0		81		37		600		-23		30						58		45		475						0		0		37		13		533		-30		20						22		22		490		-24		10						34		-10		478		-34

		350		34		0		84		27		641		-27		24						51		10		519						0		0		30		0		567		-30		15						20		0		512		-24		0						34		-17		495		-34

		400		23		0		64		0		644		-34		23						51		0		530						0		0		41		0		577		-37		15						20		0		527		-24		0						34		-17		502		-34

		500		10		0		77		0		680		-30		10						48		0		547						0		0		34		0		588		-40		13						10		0		530		-24		0						34		-17		510		-34

				Total										Total										Intermediate strip/total charge

		Bias		Pos.(1)		Pos.(2)		Pos.(3)		Pos.(4)		Pos.(5)		normalised

		[Volt]												Pos.(1)		Pos.(2)		Pos.(3)		Pos.(4)		Pos.(5)		Pos.(1)		Pos.(2)		Pos.(3)		Pos.(4)		Pos.(5)

		50		135		88		99		70		142		0.2023988006		0.1514629948		0.1672297297		0.1328273245		0.2649253731		0.0740740741		0		0		0		0.1478873239

		100		212		173		202		174		239		0.3178410795		0.2977624785		0.3412162162		0.330170778		0.4458955224		0.0801886792		0.0867052023		0.1188118812		0.1954022989		0.1422594142

		150		283		262		273		279		440		0.4242878561		0.4509466437		0.4611486486		0.5294117647		0.8208955224		0.1413427562		0.141221374		0.1611721612		0.2078853047		0.0545454545

		200		411		348		420		408		502		0.616191904		0.5989672978		0.7094594595		0.7741935484		0.9365671642		0.1800486618		0.117816092		0.1380952381		0.0490196078		0.0298804781

		250		550		481		519		458		513		0.8245877061		0.8278829604		0.8766891892		0.8690702087		0.9570895522		0.1109090909		0.0914760915		0.0462427746		0.0218340611		0

		300		630		533		553		500		512		0.9445277361		0.917383821		0.9341216216		0.9487666034		0.9552238806		0.0587301587		0.0844277674		0.0235081374		0.044		-0.01953125

		350		665		570		582		512		529		0.9970014993		0.9810671256		0.9831081081		0.9715370019		0.9869402985		0.0406015038		0.0175438596		0		0		-0.0321361059

		400		667		581		592		527		536		1		1		1		1		1		0		0		0		0		-0.0317164179

		500		690		595		601		530		544		1.0344827586		1.0240963855		1.0152027027		1.0056925996		1.0149253731		0		0		0		0		-0.03125





		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0



0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		50		50		50		50		50

		100		100		100		100		100

		150		150		150		150		150

		200		200		200		200		200

		250		250		250		250		250

		300		300		300		300		300

		350		350		350		350		350

		400		400		400		400		400

		500		500		500		500		500



0.0740740741

0

0

0

0.1478873239

0.0801886792

0.0867052023

0.1188118812

0.1954022989

0.1422594142

0.1413427562

0.141221374

0.1611721612

0.2078853047

0.0545454545

0.1800486618

0.117816092

0.1380952381

0.0490196078

0.0298804781

0.1109090909

0.0914760915

0.0462427746

0.0218340611

0

0.0587301587

0.0844277674

0.0235081374

0.044

-0.01953125

0.0406015038

0.0175438596

0

0

-0.0321361059

0

0

0

0

-0.0317164179

0

0

0

0

-0.03125



		50		50		50		50		50

		100		100		100		100		100

		150		150		150		150		150

		200		200		200		200		200

		250		250		250		250		250

		300		300		300		300		300

		350		350		350		350		350

		400		400		400		400		400

		500		500		500		500		500



0.2023988006

0.1514629948

0.1672297297

0.1328273245

0.2649253731

0.3178410795

0.2977624785

0.3412162162

0.330170778

0.4458955224

0.4242878561

0.4509466437

0.4611486486

0.5294117647

0.8208955224

0.616191904

0.5989672978

0.7094594595

0.7741935484

0.9365671642

0.8245877061

0.8278829604

0.8766891892

0.8690702087

0.9570895522

0.9445277361

0.917383821

0.9341216216

0.9487666034

0.9552238806

0.9970014993

0.9810671256

0.9831081081

0.9715370019

0.9869402985

1

1

1

1

1

1.0344827586

1.0240963855

1.0152027027

1.0056925996

1.0149253731



		Time delay		Corrected time		Bias [V]		#120		Int 1		#121		Int 2																		0		0.08185		9.1672		112				0.261052		10		80

		70		55		250		0		0		68		0				0		0		0		610								1		0.168384		18.859008						0.431745		34.5396

		75		50				16		0		150		0				3		0.0512794593		31.2804701969										2		0.312367		34.985104						0.675746		54.05968

		80		45				34		0		245		-25				6		0.2672435413		163.0185601936										3		0.52869		59.21328						1.004992		80.39936

		85		40				54		0		369		-41				9		0.5875634723		358.4137180924										4		0.825982		92.509984						1.426173		114.09384

		90		35				123		32		560		0				12		0.9072872169		553.4452023										5		1.20452		134.90624						1.939189		155.13512

		95		30				154		40		688		0				15		1.1543795498		704.1715253543										6		1.656436		185.520832						2.536774		202.94192

		100		25				188		51		826		-28				18		1.299469696		792.6765145638										7		2.16761		242.77232						3.205258		256.42064

		105		20				199		74		792		0				21		1.3442508459		819.9930160187										8		2.720225		304.6652						3.926179		314.09432

		110		15				188		108		615		-5				24		1.3071636214		797.3698090352										9		3.295125		369.054						4.678293		374.26344

		115		10				176		131		421		79				27		1.2124429531		739.5902013697										10		3.873637		433.847344						5.439553		435.16424

		120		5				85		68		199		34				30		1.0834467691		660.9025291351										11		4.438771		497.142352						6.188773		495.10184

		125		0				0		0		0		0				33		0.9394191906		573.0457062512										12		4.97592		557.30304						6.906842		552.54736

																		36		0.7945091514		484.6505823432										13		5.473185		612.99672						7.577489		606.19912

																		39		0.6580501859		401.410613397										14		5.92143		663.20016						8.187653		655.01224

																		42		0.5354104702		326.6003867976										15		6.31416		707.18592						8.727551		698.20408

																		45		0.4289931162		261.6858008585										16		6.647297		744.497264						9.190552		735.24416

																		48		0.339164421		206.8902967894										17		6.91889		774.91568						9.57288		765.8304

																		51		0.2650152693		161.6593142647										18		7.128793		798.424816						9.873284		789.86272

																		54		0.2049346724		125.0101501754										19		7.278362		815.176544						10.092649		807.41192

																		57		0.1570118833		95.7772488293										20		7.370132		825.454784						10.233604		818.68832

																		60		0.1192986421		72.7721716988										21		7.407557		829.646384						10.300152		824.01216

																		63		0.0899657472		54.8791057793										22		7.394742		828.211104						10.297333		823.78664

																		66		0.0673846758		41.1046522082										23		7.336235		821.65832						10.230914		818.47312

																		69		0.050159177		30.597097963										24		7.236837		810.525744						10.107127		808.57016

																		72		0.0371256796		22.6466645667										25		7.101445		795.36184						9.932439		794.59512

																		75		0.0273359711		16.67494238										26		6.934925		776.7116						9.713365		777.0692

																																27		6.742013		755.105456						9.456316		756.50528

																																28		6.527242		731.051104						9.16749		733.3992

																																29		6.294873		705.025776						8.852766		708.22128

																																30		6.048868		677.473216						8.517644		681.41152

																																31		5.792859		648.800208						8.167207		653.37656

																																32		5.530137		619.375344						7.806094		624.48752

																																33		5.263647		589.528464						7.438483		595.07864

																																34		4.995998		559.551776						7.068093		565.44744

																																35		4.729472		529.700864						6.698193		535.85544

																																36		4.466033		500.195696						6.331631		506.53048

																																37		4.207353		471.223536						5.970841		477.66728

																																38		3.954834		442.941408						5.617879		449.43032

																																39		3.709625		415.478						5.274448		421.95584

																																40		3.472645		388.93624						4.941926		395.35408

																																41		3.244611		363.396432						4.621399		369.71192

																																42		3.026052		338.917824						4.313695		345.0956

																																43		2.817337		315.541744						4.019405		321.5524

																																44		2.618692		293.293504						3.738913		299.11304

																																45		2.43022		272.18464						3.472427		277.79416

																																46		2.251916		252.214592						3.219996		257.59968

																																47		2.083687		233.372944						2.981542		238.52336

																																48		1.925365		215.64088						2.756874		220.54992

																																49		1.776718		198.992416						2.545705		203.6564

																																50		1.637465		183.39608						2.347678		187.81424

																																51		1.507286		168.816032						2.162372		172.98976

																																52		1.38583		155.21296						1.989319		159.14552

																																53		1.272725		142.5452						1.828019		146.24152

																																54		1.167583		130.769296						1.677946		134.23568

																																55		1.070007		119.840784						1.538557		123.08456

																																56		0.979598		109.714976						1.409304		112.74432

																																57		0.895956		100.347072						1.289635		103.1708

																																58		0.818688		91.693056						1.179003		94.32024

																																59		0.747406		83.709472						1.076871		86.14968

																																60		0.681733		76.354096						0.982712		78.61696

																																61		0.621304		69.586048						0.896015		71.6812

																																62		0.565769		63.366128						0.816288		65.30304

																																63		0.51479		57.65648						0.743057		59.44456

																																64		0.468044		52.420928						0.675869		54.06952

																																65		0.425227		47.625424						0.614292		49.14336

																																66		0.386049		43.237488						0.557917		44.63336

																																67		0.350235		39.22632						0.506357		40.50856

																																68		0.317529		35.563248						0.459245		36.7396

																																69		0.287687		32.220944						0.416239		33.29912

																																70		0.260483		29.174096						0.377015		30.1612

																																71		0.235705		26.39896						0.341272		27.30176

																																72		0.213156		23.873472						0.308729		24.69832

																																73		0.19265		21.5768						0.279123		22.32984

																																74		0.174018		19.490016						0.25221		20.1768

																																75		0.157101		17.595312						0.227764		18.22112

																																76		0.141751		15.876112						0.205574		16.44592

																																77		0.127834		14.317408						0.185447		14.83576

																																78		0.115224		12.905088						0.167204		13.37632

																																79		0.103806		11.626272						0.150679		12.05432

																																80		0.093474		10.469088						0.13572		10.8576

																																81		0.084131		9.422672						0.122188		9.77504

																																82		0.075686		8.476832						0.109953		8.79624

																																83		0.068058		7.622496						0.098898		7.91184

																																84		0.061172		6.851264						0.088915		7.1132

																																85		0.054959		6.155408						0.079904		6.39232

																																86		0.049356		5.527872						0.071777		5.74216

																																87		0.044307		4.962384

																																88		0.039758		4.452896

																																89		0.035662		3.994144

																																90		0.031975		3.5812

																																91		0.028659		3.209808

																																92		0.025678		2.875936

																																93		0.022998		2.575776

																																94		0.020591		2.306192

																																95		0.018429		2.064048

																																96		0.016489		1.846768

																																97		0.014748		1.651776

																																98		0.013187		1.476944

																																99		0.011787		1.320144





		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0



0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0



0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

		0		0		0		0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0



Measured (hit strip)

Calculated

Adjacent strip

Intermediate routing line

Time [ns]

Amplitude [arb. units]

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0



Measured

Calculated

Time [ns]

Amplitude [arb. units]

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0




